
ENGAGEMENT-18:
Déposer sous GI-23, doc.12, le programme d’efficacité énergétique déposé lors de la cause tarifaire 1999-2000.

PROPOSED DEMAND SIDE MANAGEMENT  PLAN

FOR GAZIFÈRE

Prepared by: Michael Singleton

Future Thoughts Consulting

June 11, 1999

Original:  1999-06-29
GI-15


Document 1


46 pages en liasse











Requête 3430-99

EXECUTIVE SUMMARY

The following discussion outlines a series of proposed Demand Side Management (DSM) initiatives for Gazifère.  The discussion begins with a review of Gazifère’s market and current energy efficiency efforts and then focuses on the recommended approach, the program specifications and the expected results.  It concludes with a discussion of performance based incentive mechanisms.

The programs are intended to be realistic expressions of what is achievable in Gazifère’s market.  The approach taken involves relying as much as possible on the DSM planning efforts that have taken place in Ontario.  This was seen as an effective way to develop appropriate programs while minimizing the up-front planning and development costs.

The proposed programs are expected to cost Gazifère $312,000 in Year 1 (both direct and indirect costs).  The associated savings are approximately 623,000 m3 per year.  This is a highly cost-effective portfolio of programs.  As well, the programs are designed to accommodate changes in the marketplace and to evolve as the utility evolves.

TABLE OF CONTENTS

1. Background…………………………………………………………………….…….. 1

2. Gazifère’s Market…………….……………………………………………………... 1

3. Current Marketplace for Energy Efficiency...……………………………………….. 3

4. Recommended Approach……………………………………………………………...6

5. Proposed Programs……………………………………………………………..……..8

5.1 Residential Sector ………………………………………………...….………….9

5.2 Commercial Sector ……………………………………………….……………14

5.3 Industrial/Commercial Custom Energy Management Services (CEMS)………16

5.4 Residential/Commercial Construction: Infrastructure Support..………..….…..18

6. Total Budget and Savings…….……………………………………….……………..19

7. Next Steps……………………………………………………………………………21

8. Performance Based Incentives……………………………………………………….22

Appendix A   DSM Program Development

Appendix B   Technology Data and Screening Results

1. BACKGROUND

Demand-side Management (DSM) plans as developed by utilities, governments or other agencies typically consist of a number of steps or components.  The level of effort involved in each component is dependent upon a number of factors including data availability, marketplace characteristics and budgetary constraints.  A full discussion of the design and development of a comprehensive DSM plan is provided in Appendix A.  

The Plan presented here begins with a discussion of Gazifère’s current levels of effort related to DSM and then presents the approach recommended for future program development. Program descriptions, costs and deliverables for each new program area are provided along with the rationale for the program.   

Gazifère is a small utility with limited resources.  As such, the basic intent of this planning exercise is to design a series of DSM programs that respect the spirit of a comprehensive approach as detailed in Appendix A without undertaking the significant costs associated with such an approach.  The methodology is to rely on other utility experience for much of the supporting data and analysis, while using information specific to Gazifère for developing savings estimates for each market. 
2. GAZIFÈRE’S MARKET
Any DSM programs that Gazifère undertakes must be done in the context of the current marketplace.  Gazifère is a relatively small gas utility with all of its customers in the immediate Hull area.  It supplies approximately 200 million cubic metres of gas annually.  Of this, roughly half is to three very large industrial customers, while the remainder is supplied to about 21,000 residential and 2,000 commercial customers.  Much of this load is new load, having come on to the system in the past ten years.  These facts affect the nature and scope of the energy efficiency programs the utility should consider.  Specifically,

· All program efforts must acknowledge the relatively small size and market power of Gazifère.  The utility should focus on its own set of customers first and participate with caution in large province-wide efforts.

· When feasible, the utility may wish to partner with strategic allies such as the federal and provincial governments or other utilities in the delivery of programs that advance the goals of the utility.  Irrespective of any joint efforts, Gazifère will need to closely monitor events at both the federal and provincial levels as many new programs are currently being developed – some of which could be delivered to Gazifère customers.  The new provincial energy agency’s mandate in particular may impact the nature of the programs.

· The large customers represent an opportunity for tailored, customized projects. A large volume program that addresses the specific needs of these customers should be considered.

· Gazifère already has some well established delivery channels such as the rental and financing programs.  These represent low cost and effective means of getting higher efficiency equipment into the market.  They should continue to be used in any DSM program development.

· Many of Gazifère’s residential customers are new homes.  These homes are, by nature, much more efficient than older homes.  As well, Gazifère has already delivered a variety of more efficient technologies to the marketplace (see Section 3).  These facts mean that average loads have decreased noticeably over the past ten years.  However, it also means that the potential for energy efficiency improvements is now lower than what it was in the past.  This has been the Ontario experience as well, and it has meant that the newest menus of energy efficiency programs tend to have less aggressive targets than the earliest programs.

3. CURRENT MARKETPLACE FOR ENERGY EFFICIENCY

Any forecast of savings due to DSM must acknowledge both the current levels of technical efficiency in the market and any past or on-going utility/government energy efficiency initiatives.  Often, this entails significant data collection and modelling exercises aimed at producing detailed forecasts of technical, economic and achievable potential savings estimates.  For Gazifère’s purposes, these exercises are not recommended at this time for two reasons: First, a large body of this information has already been compiled in Ontario and is available for use (see Section 4).  Second, as part of its operating practices, Gazifère has developed a variety of data that supports an analysis of the marketplace. 

Of particular interest is the average load data of the past ten years.  Figure 1 shows the average residential load for the period 1987 to 1997.  The increase in the first three years was driven largely by oil to gas conversions.  After 1990, it is evident that a significant decrease in average residential consumption has occurred.  This is due to the combined effects of a smaller and more efficient building stock (largely new) and the adoption of more efficient equipment/practices – most notably higher efficiency furnaces, tank temperature set-back and higher energy factor water heaters.  In the case of furnaces,  government regulation since 1992 has meant all new furnaces are mid-efficiency type or better.  As well, since 1994 Gazifère has predominantly rented high efficiency condensing type furnaces. The changes in the furnace market combined with Gazifère’s  initiatives aimed at lowering water heating demand
 have made significant contributions to the overall efficiency of the housing stock with average load decreasing by approximately 10% since 1990. 

[image: image1.wmf]2500

2600

2700

2800

2900

3000

3100

3200

1987

1988

1989

1990

1991

1992

1993

1994

1995

1996

1997

Figure 1.  Residential Average Load

In the industrial sector, a similar pattern in average load has occurred.  Figure 2 shows average industrial load over the same period.  Clearly, a significant decrease in the average load for the industrial customers has occurred over the same period.  

Figure 2.  Industrial Average Load
[image: image2.wmf]0

50,000,000

100,000,000

150,000,000

200,000,000

1990

1991

1992

1993

1994

1995

1996

1997

1998

YEAR

m3

Note:  Consumption of E.B. Eddy and Bowater only.

The fact that average load has decreased in both markets is important since it may limit the future potential reduction in average load that is possible due to energy efficiency improvements.  In the case of the residential sector, this is likely the case as many customers already have energy efficient equipment.  Further improvements to efficiency will be smaller and more costly.

As indicated, Gazifère is already active in a number of energy efficiency efforts.  Table 1 summarizes the current menu of DSM type activities. These programs and efforts have been operated mainly for customer service reasons and as such, have not been deemed DSM by the utility.  They are clearly DSM-type activities, however, and any programs conceived as part of this planning exercise must start with a recognition that significant energy efficiency improvements to the stock have already occurred.  This will no doubt also affect the total potential improvement in the future.

Table 1.  Current Energy Efficiency Programs

PROGRAM
TARGET SECTOR
DESCRIPTION

Rental Program:  

Water Heater Tank Procurement, Setback and Sizing
Residential and Commercial
Gazifère buys higher efficiency tanks (EF>.65 and ASHRAE 90.1 IES) for rental program and lowers tank temp setting during service calls.  Proper sizing of tank based on load.

Rental Program:

H.E. Furnaces
Residential
Predominantly high efficiency furnaces in rental program.

Maintenance and Inspection and Equipment Replacement
Residential and Commercial
Defective appliance upgrades to higher efficiency.  Maintenance scheduled to maximize performance. Higher efficiency motors installed at failure.  Set-back thermostats and proper filter usage recommended.

Customer Feedback 
Residential and Commercial
High bill complaints and insufficient hot water calls are investigated with corrective actions recommended.

4.   RECOMMENDED APPROACH

Appendix A presents a comprehensive methodology for the development of a DSM plan.  

While this approach is rigorous, it is also time-consuming and expensive.  As well, it largely ignores the well-developed body of expertise and documentation that has already been established in the field of DSM planning in Canada.  Gazifère has the opportunity to short-cut much of the analysis presented in Appendix A by capitalizing on the recent planning efforts undertaken in Ontario by Union Gas and Enbridge Consumers Gas.  These planning efforts represent the very best in planning approaches developed in Canada.  Specifically, it is recommended that: 

· Technologies identified by Enbridge Consumers Gas in their Year 2000 rate case
 be accepted “as is” in the development of the Gazifère plan.  A comprehensive list of technologies is provided in Appendix B.  Per unit savings, costs, equipment life and Total Resource Cost Test results (pass or fail) are shown for each technology.  Technologies that are cost effective from a societal perspective (Total Resource Cost Test) and meet the market needs of Gazifère have been included in one or more program designs.

· The generic program types and focus used in Ontario be adopted by Gazifère.  Programs will be designed around sectors (residential, commercial, etc) and decision type (new, replacement and retrofit).

· Gazifère propose a portfolio of programs that are aimed specifically at an overall market transformation to higher efficiency.  Market transformation represents the next generation of DSM programs wherein the traditional customer focused incentive programs are re-oriented towards an up-stream delivery channel focus.

· Gazifère propose a portfolio of programs that are consistent with the size of the market, add customer value and strive to minimize utility costs.

· Gazifère use a staged approach to the implementation of DSM whereby a selection of programs are initiated in Year 1 and allowed to develop over a two to three year time horizon.  Some of these programs will be infrastructure support in nature and will not garner savings in the first year.

· Gazifère develop an electronic measurement and tracking tool which will accurately track numbers of participants, net savings and utility costs.  This tool and the resulting data will provide the foundation for any evaluation activities the utility undertakes.  It will also provide a “paper trail” of efforts and allow for justification of expenditures. 

· Using the tracking information as a base, conduct research and analysis in support of the savings, cost and number of participants estimates (load impact evaluation) and monitor the effectiveness of the program delivery (process impact evaluation).

Note that by capitalizing on the significant experience in Ontario, Gazifère can minimize the up-front DSM planning effort but still be assured of proposing a well-rounded portfolio of cost effective DSM programs. The following discussion outlines a proposed portfolio of programs with a focus on first year participants, costs and savings.  Year one is assumed to coincide with Gazifère’s first full year of program activities.  While a staged approach over a number of years is recommended for the development of the programs, subsequent year estimates have not been made due to the uncertain nature of many of the infrastructure support efforts.

5.   PROPOSED PROGRAMS

The following discussion presents the proposed portfolio of programs.  Program savings are estimated using the per unit natural gas savings provided in Appendix B, estimates of the number of participants based on current and expected Gazifère activities, and free rider estimates as appropriate.  The per unit savings estimates represent annual savings.  The free rider estimates are based on current sales data where available, program experience in Ontario and expert opinion.

Program costs are determined using a bottom-up approach that calculates both incentive cost and program delivery/support costs.

The net savings and cost estimates are provided in table form for each sector where savings are estimated – residential and commercial - and for the total portfolio.

5.1   Residential Sector

Residential Water Heating:  Component 1.  Tank Procurement.

The Company will continue its practice of procuring higher efficiency water heater tanks for use in the rental program.  The tanks have a minimum energy factor (EF) rating that is three percentage points higher than the government standard.  Gazifère procures 2,000 tanks annually for the rental program.  Per unit savings are 49 m3.  Net savings for this component are thus estimated at 98,000 m3 per year.

The incremental cost of procuring the higher efficiency tanks is built into the cost of the tanks and covered by the rental rates.

Residential Water Heating:  Component 2.  Water Heater Service Calls.

All residential calls related to water heater service requirements will receive a package of energy savings measures.  These include: tank temperature setback, pipe insulation, faucet aerator and showerhead.  The pipe insulation would be installed as part of the service call and the showerhead and aerator left with the customer.  Annual service calls are estimated at 1,500 and the per service call savings
 are 160 m3 per year.  This yields an annual savings of 240,000 m3.

The measures will be provided to customers at no charge.  The entire cost of the package to Gazifère is estimated at $20 per customer.  Assuming 1,500 service calls annually gives a total incentive cost to the utility of $30,000 per year.  Program support costs related to operating the program include initiatives such as bill advertising.  These costs are estimated at $5,000 per year.  Total cost to the utility is thus $35,000.  No accommodation of either user pay or assistance from the regional water authority (Outaouais Urban Community) is made in this program design, however either of these would lower the cost of this initiative.  Partnering with the water authority in particular may be a very cost effective way of delivering the program.

Residential Space Heating:  Component 1.  High Efficiency Furnace Promotion.

The Company will promote high efficiency (condensing) furnaces in replacement and conversion opportunities through promotional materials and the use of incentives.  The focus of the incentive effort will be two-fold: promotional materials for customers and incentives for channel partners.  Dealers and contractors will receive a $200 incentive for high efficiency furnaces purchased in replacement and conversion opportunities.

While dealers and contractors are the key channel partners for delivering the program, the ability to rent the equipment from Gazifère is an important feature for successful implementation.  In the past, the rental program has played an important role as an avenue for customers to receive equipment.  Continuing this capability will support the promotional efforts of the program.

High efficiency furnaces will penetrate the market via two avenues: (1) replacements of lower efficiency natural gas furnaces in the existing stock and (2) conversions from other fuels to natural gas.  

In the replacement market, there are currently approximately 18,000 residential space heating customers in Gazifère’s franchise area.  Of these, approximately 5,400 are owned and rented by Gazifère.  Since 1995, the rental program has focused on high efficiency furnaces and as such these units have an 87% share of new rentals and a 44% share overall equating to roughly 2,380 units.  The remainder of the space heating market (ie. non-rentals) has a lower percentage of high efficiency furnaces.  For this assessment, a 10% share is assumed (1,260 units).  In combination, the market share estimates mean that there are approximately  3,640 high efficiency furnaces and 14,360 conventional and mid efficiency furnaces in the franchise.  Assuming an equipment life of 20 years means that 720 (14,360/20) conventional and mid-efficiency furnaces are replaced annually.  This is the target market for the furnace replacement program.  

The target market represents the total potential for the furnace replacement program.  Of this, the program can be expected to achieve approximately 50% of the total potential.  This equates to 360 units.  This is the achievable potential for the program.  Note as well that a free rider estimate is specified for this program as there is already a naturally occurring penetration of high efficiency furnaces.  The free rider estimate is 30% which is based on current market share data.
  The free rider estimate implies that 30% of participants would decide to install a high efficiency furnace in the absence of the program.  These participants are not included in the quantification of program savings, however they are included in the calculation of total program costs as they do receive the incentive.  The per unit natural gas savings are 679 m3 per year.  Combining the number of participant, free rider and per unit savings estimate gives a net annual savings  of  171,108 m3 in the replacement market.

For conversions from other fuels, the number of new space heating customers in the conversion market has averaged 400 per year over the past few years. Using the same assumptions as for the replacement market, it assumed that 50% will choose high efficiency furnaces under the program, with 30% of those being free riders.   Thus 200 customers in the conversion market will choose high efficiency, 60 of which are free riders. Combining the number of participant, free rider and per unit savings estimate gives a net annual savings of 95,060 m3 in the conversion market.

Utility costs for this component are estimated at $122,000.  This is derived assuming an incentive of $200 per unit applied to all participants plus annual advertising and support costs of $10,000.

Residential Space Heating:  Component 2.  Fireplace Efficiency Level Support

The Company will promote EcoLogo
 fireplaces and will support federal and provincial agencies in the support of minimum efficiency ratings for natural gas fireplaces when appropriate.  The Company will also collect the relevant data related to average efficiency levels for fireplaces in the franchise and the various equipment costs.  Since these data have not yet been collected, it is premature to attempt to estimate the savings for the program.  The costs for this program are considered minimal.

Total Residential Sector Results.

Table 2 provides details on the program  results for the  residential  sector.   Over  600,000 m3 savings (net of free riders) are expected from this portfolio at an expected cost to Gazifère of $157,000 in Year 1.  Incentives for high efficiency furnaces are the largest component of the total program costs.

Table 2.   RESIDENTIAL SECTOR PROGRAMS


# OF        PARTIC
FREE RIDERS
SAVINGS     PER PARTIC

M3
TOTAL NET SAVINGS

M3
INCENTIVES
DIRECT SUPPORT COSTS
TOTAL COSTS

WATER HEATING
COMP 1
2000
0
49
98,000
  $  -
 $  -
 $  -


COMP 2
1500
0
160
240,000
$      30,000
$     5,000
$    35,000











SPACE HEATING
COMP 1
560
30%
679
266,168
 $      112,000
$   10,000
$   122,000


COMP 2
0
0
0
-
  $  -
 $  -
 $  -

TOTAL RESIDENTIAL

4060
N/A
N/A
604,168
$    142,000
$   15,000
$ 157,000

5.2   Commercial Sector

Commercial Water Heating:  Component 1.  Tank Procurement.

The Company will continue its practice of procuring higher efficiency tanks for use in commercial applications in the rental program.  Many of the tanks are assumed to be residential tanks in commercial applications.  As such, the per unit savings and costs are the same as those specified in the residential discussion.  Gazifère currently procures approximately 100 tanks annually for the commercial rental program.  Per unit savings are 49 m3.  Net savings for this component are thus estimated at 4,900 m3 per year

This component also includes an accommodation for the rental of larger commercial tanks.  The focus for this effort will be the continued procurement and rental of ASHRAE 90.1B commercial tanks which have a higher energy rating and lower heat loss than the standard commercial tank.  A projection of 20 units in Year one reflects the relatively small number of customers which use these tanks.  Per unit savings are 700 m3 giving a total net savings of 14,000 m3.

No incremental program costs for the commercial procurement effort are specified since this is the continuation of an existing procurement policy.

Commercial Space Heating:  Component 1.  Higher Efficiency Boilers.

The Company will promote the use of higher efficiency mid-range and condensing commercial boilers using both an incentive mechanism and general awareness campaigns aimed at commercial dealers and contractors.  Incentives for higher efficiency commercial boilers will be set at $0.05/m3 of savings up to a maximum of $2,000.  It is expected that the average incentive will be $1,000.  The incentive and awareness campaigns will focus on contractors and consulting engineers.  Part of this effort will utilize a registry of qualified dealers who will be responsible for delivering the program.

Participation is expected to be minimal initially as the infrastructure needs at least a year to get established.  First year activities thus are purely support costs.  The cost of the registry and supporting awareness information is estimated at $5,000.

Total Commercial Sector Results.

Table 3 provides the program results and the total commercial sector activities.  Savings are projected to be approximately 19,000 m3 with total program costs of $5,000. 

Table 3.   COMMERCIAL SECTOR PROGRAMS 



# OF        PARTIC
FREE RIDERS
SAVINGS     PER PARTIC

M3
TOTAL  NET SAVINGS

M3
INCENTIVES
DIRECT SUPPORT COSTS
TOTAL COSTS

WATER HEATING
COMP 1
100
0%
49
4,900
$             -
$             -
$          -


COMP 1a
20
0%
700
14,000
$             -
$             -
$          -











SPACE HEATING
COMP 1
0
0%
0
-
$             -
$     5,000
$   5,000











TOTAL COMMERCIAL

180
N/A
N/A
18,900
$             -
$     5,000
$  5,000

5.3   Industrial/Commercial Custom Energy Management Services (CEMS).
Gazifère has a small number of large volume industrial customers.  There are also a selection of larger commercial customers (termed fringe industrial) that can benefit from industrial style technologies and service offerings.  Both of these customer types are the focus of the CEMS program.  The program leverages services currently offered through third parties such as consulting engineers and energy services companies. Gazifère is responsible for the customer/third party introduction and initial project mediation. As well, Gazifère will provide partial funding of the initial audit. The third parties are responsible for delivering the energy efficient technologies and energy conservation measures.  As part of the obligation of the third party receiving customer leads, they are responsible for reporting implemented savings back to the utility.

The program uses a comprehensive approach to the market wherein no specific measure or technology is initially promoted, but the mechanism to identify and promote higher efficiency opportunities is established. This then allows volumes from all implemented measures, regardless of technology, to be claimed towards the DSM program.  The savings potential is identified through an up-front audit delivered by the engineering firm or energy services company.  

Gazifère will support this initial audit component by paying one-third of the audit cost up to a maximum of $5,000.  This commitment by the utility is intended to both alleviate customer perceived risk and ensure that the audit and any eventual energy efficiency retrofits are properly reported back to Gazifère.  Note that both Union Gas and Enbridge Consumers Gas in Ontario offer similar programs and have found that support of the audit is a very effective way of building interest in the savings potential for the customer.  Most customers that have an audit performed do go on to implement at least some of the energy efficiency upgrades.

Freeridership and life expectancy of measures is considered on a case by case basis, dependent on customer knowledge, market factor conditions and technology installed. 

Within the CEMS program, energy savings opportunities are evaluated within a number of potential areas.  These include:

· Monitoring and Targeting (M&T) where a metering and tracking system is installed to educate energy users on conservation techniques.

· Boiler system evaluations including boiler audits and tune-ups.

· Heating equipment maintenance and replacement including rooftop units and make-up air systems.

· Process measures such as burner systems, dryers or compressed air.

· Waste heat recovery analysis (pinch technologies).

Experience in Ontario indicates that potential savings are significant in all of the above areas.  As an example, the Steam Saver audit program offered by Enbridge Consumers Gas has identified average savings of 16% within a simple payback period of ~1.6 years. Savings at specific sites vary depending on the boiler application, quality of system design, and equipment condition.

As this program is primarily an infrastructure support effort initially, no savings have been estimated at this point.  However, it is expected that ~10% of industrial gas consumption could be economically achievable within a 2-3 year sales cycle. The cost of initiating the program relates to two requirements.  First, there will be introductory mailings, meeting costs and some small general expenses.  Second, an external consultant will be needed to assist in developing both the list of key deliverables for the audit and the terms of reference for the identification of potential partners.  Incremental costs for all of these efforts are estimated at $10,000.  In Year 1, it is forecast that three customers will take advantage of the audit.  The cost is estimated at $5,000 for each for a total cost of $15,000 in audit incentives.  Total program costs are thus $25,000.  With the successful development of the infrastructure, savings should begin by Year 2.

5.4  Residential/Commercial Construction: Infrastructure Support

Gazifère will undertake to support federal and provincial initiatives related to the implementation of better construction practices in the residential and commercial sectors.  This component recognizes that significant improvements in construction practices in Quebec have already occurred – especially in the residential sector.  However, there are still specific opportunities related to supporting higher building codes and training trades workers etc.  This effort could also include facilitating or supporting the delivery of federal/provincial initiatives aimed at promoting energy efficiency in new construction.  Specific programs that may apply include the federal Model National Energy Codes and the Commercial Building Incentive Programs.  

As this is purely an infrastructure support program, no savings or cost estimates are specified in Year 1.  

6.  TOTAL BUDGET AND SAVINGS

Table 4 provides the total savings and direct costs for the entire portfolio of programs in Year 1, where Year 1 is assumed to begin in October 2000. Total first year direct costs 
 are expected to be $187,000 while savings are approximately 623,000 m3 per year.  Costs and savings for subsequent years have not been established pending results of the infrastructure support efforts.  Note as well that some program related expenditures may occur in FY1999.  These are not accounted for in this assessment.

Table 4.   TOTAL PROGRAM RESULTS AND DIRECT COSTS

SECTOR
TOTAL NET SAVINGS (M3)
INCENTIVES
DIRECT SUPPORT COSTS
TOTAL COSTS
COST PER

M3 SAVED

RESIDENTIAL


604,168
$        142,000
$    15,000
$    157,000
$      .260

COMMERCIAL


18,900

$      5,000
$       5,000
$      .265

INDUSTRIAL



$         15,000
$     10,000
$       25,000


NEW CONSTR








TOTAL


623,068
$      157,000
$    30,000
$    187,000
$      .300

Table 5 provides the total budget for Year 1.  It includes both the direct costs as per  Table 4 and all indirect costs which include research related costs, overheads etc.  The overhead cost represents one full time equivalent (FTE) employee.  Other costs include research and external consulting costs.  Total cost for all DSM activities in Year 1 is estimated at $312,000.

Table 5.   TOTAL DIRECT AND INDIRECT COSTS


COST TYPE
YEAR 1 COST

1
Incentives
$157,000

2
Support Costs

Total Direct Costs (1,2)
$30,000

$187,000

3
Research
$25,000

4
Overheads
$100,000


Total Costs (1,2,3,4)
$312,000

 Referring to Table 4, the cost per m3 savings value provides a useful indicator for comparative purposes.  It is an index of total direct costs divided by total first year savings.  Table 6 provides the costs and projected savings for the first DSM plans filed by Union Gas and Enbridge Consumers Gas by major program area.  It also shows the cost per m3 saved index.  As can be seen, Gazifère’s index falls between the two large Ontario utilities.  More important however is the trend that has occurred in Ontario where the index has dropped significantly as the utilities gained experience with their programming activities.  It is expected that Gazifère’s index would begin to drop as program experience is gained.  Note as well that both Ontario utilities have very low industrial indices as compared to the other sectors.  This is typical since industrial programs usually deliver significant savings at minimal cost to the utility.  Gazifère can expect similar results once its industrial program is operationalized.

Table 6.   Other Utility Programs



GAZIFÈRE

ENBRIDGE CONSUMERS GAS

1995 PLAN


UNION GAS

1997 PLAN



SECTOR
SAVINGS (M3)
TOTAL COSTS
COST PER M3 SAVED
SAVINGS (M3)
TOTAL COSTS
COST PER M3 SAVED
SAVINGS (M3)
TOTAL COSTS
COST PER M3 SAVED












RESIDENTIAL
604,168
$   157,000
$     0.260
803,000
$ 1,044,000
$    1.300
3,232,000
$ 1,050,000
$    0.325

COMMERCIAL
18,900
$     5,000
$     0.265
294,000
$    360,000
$    1,224
624,000
$    800,000
$    1.283

INDUSTRIAL

$     25,000

891,000
$  1,247,000
$    1.400
7,395,000
$    500,000
$     .068

AGRICULTURE






32,000
$    50,000
$     1.55












TOTAL
623,068
$ 187,000
$     0.300
1,988,000
$ 2,651,000
$   1.334
11,283,000
$ 2,400,000
$    0.213

Total costs are direct costs, excluding overheads.

7.   NEXT STEPS 

· Operationalizing this Plan – The need to develop an implementation/business plan.  Staff commitments, training needs, marketing data and literature and infrastructure support requirements need to be confirmed and built into the business plan. As indicated, it is expected that one full time equivalent (FTE) resource will be needed in Year 1 as well as some specialized consulting services in some program areas – notably industrial.  Gazifère may wish to allocate a number of people initially to get the programs started.  Resources could then be cut back as the programs are established.  Note that it is important that programs be developed and delivered in all areas in the same time frame.  This helps to establish the energy efficiency message in the marketplace and also builds synergy between the various programs.  The synergistic effects are especially important since many of the delivery agents operate in more than one market.

· Develop monitoring and evaluation plans and tools.  The short term requirement is for a tracking tool which allows for monthly reporting of number of customers, net savings, incentive and support costs.  This tool can be as simple as a spreadsheet which is manually updated or a more sophisticated automated system. 

· Build on the current programs and develop new programs.  Beyond Year 1, Gazifère will need to fine-tune the existing menu of programs based on their initial successes and may also need to put in place new program components.  In particular, the infrastructure support efforts have higher uncertainty than the other program components and careful monitoring of market reaction to the programs will be required.

8.  PERFORMANCE BASED INCENTIVES

The use of Shared Savings Incentive Mechanisms (SSM) to promote energy efficiency at utilities is becoming more common in Canada and the U.S.  The basic rationale is that energy efficiency represents a new business undertaking for utilities which does not contribute to profits.  This concept is underscored by traditional regulatory practices which generally link the earnings of a utility to its total sales.  Because energy efficiency decreases load, the fundamental orientation of conventional regulatory practice penalizes energy efficiency investments.  Shared savings incentives to reward utility DSM activities were first proposed in the U.S. in 1988 as a way to address this regulatory bias.  They are intended to compensate the utility for the extra costs and efforts associated with operating DSM programs.  Note that a separate mechanism – the Lost-Revenue Adjustment Mechanism or LRAM is often used in conjunction with the SSM to compensate specifically for the lost revenues.  As such the LRAM is mainly intended to reduce or eliminate one of the major disincentives to DSM, but it does not necessarily provide a positive incentive to promote DSM.

The basic idea with an SSM is that the benefits of cost effective energy efficiency improvements promoted by the utility can be shared among the customers participating in the utility program, all utility ratepayers, and the utility.  For the participants, the energy (natural gas) bill is lowered.  For the utility ratepayers, the costs of providing natural gas are reduced as compared to the utility doing nothing to promote energy efficiency.  For the utility, a fraction of the net savings to all ratepayers is retained as earnings.  There are a variety of models used to determine the exact amount of the SSM and the selection of the approach is usually made in the context of the utility’s specific circumstances.  In Ontario, both Union Gas and Enbridge Consumers Gas in Ontario have proposed the use of SSMs to the Ontario Energy Board.

Studies conducted by the American Council for an Energy Efficient Economy
 indicate that for energy efficiency efforts, utilities that make use of an SSM generally out-perform utilities that do not have an SSM.  There are a variety of reasons for this, however the main impact likely relates to the allocation of corporate resources to the energy efficiency activities.  Energy efficiency activities compete with other corporate resources and if DSM activities are seen to be profitable, they are more likely to receive appropriate consideration in the context of the other activities.  In addition, DSM activities are a non-traditional activity for the utility which require significant resources and effort.

Recent evidence in Ontario suggests that support for the SSM concept will come from the majority of parties in the stakeholder process.  Both industry and environmental advocates see the use of the SSM as a way of both rewarding the utility for legitimate DSM activities and ensuring that there is an economic argument for those activities.  While it is acknowledged that the gas utilities continue to operate in a regulated environment, it is also accepted that that environment is increasingly competitive and there needs to be a “business case” developed for all activities.  The SSM supports the development of the business case for DSM.

The adoption of an SSM is important to the utility, customers and the regulatory authority.  It gives the appropriate signals to all parties regarding the commitment to energy efficiency.

APPENDIX A

DSM PROGRAM DEVELOPMENT

DSM PROGRAM DEVELOPMENT

DSM program design, development and implementation has evolved significantly since the first efforts undertaken by U.S. electric utilities.  In Ontario, the major natural gas utilities – Enbridge Consumers Gas and Union Gas have been delivering energy efficiency programs for a number of years.  Both utilities have developed and filed comprehensive DSM plans with the regulatory authority – the Ontario Energy Board (OEB).  These plans represent the state-of-the-art with respect to DSM planning.  The process in Ontario has identified a number of key objectives and components for any DSM plan.  These are discussed in detail below.

1.  DSM Principles and Objectives 

The following is a list of principles and objectives currently used by the gas utilities in Ontario to assist in selecting and prioritizing individual DSM initiatives.

1.1  DSM Principles

· Facilitate the efficient use of gas by customers in each market segment by developing and delivering customer-valued DSM programs.

· Foster and support DSM innovation and experimentation, new technologies and methodologies.

· Aspire towards permanent market transformation where customer attitudes and actions place a priority on energy efficiency.

· Ensure that the DSM efforts do not result in undue rate impacts on customers.

· Employ a user pay principle subject where cost recovery will not unduly restrict program participation.

1.2  DSM Objectives

· Develop and implement a societal cost effective portfolio of DSM programs that reduces natural gas consumption.  These programs will:

· fulfill customer needs,

· identify and address market barriers,

· to the degree possible and practical, ensure that lost opportunities are captured;

· allocate to, and appropriately recover, DSM program costs and revenue impacts from the individual rate classes.

· Conduct effective monitoring and evaluation for each program to provide measurable feedback on customer participation and satisfaction, program delivery mechanisms, load impacts, and emissions reductions.

· Build upon existing market expertise to reduce duplication of effort by utilizing the opportunities to partner with other stakeholders.

· Ensure open dialogue with interested or affected parties through a formal consultative process.

2.  Framework for the Development of a Portfolio of DSM Programs

There are a number of components required to develop a defensible plan.  The following sections highlight the typical approach used in many jurisdictions.  The level of effort will vary dependent upon data availability, market characteristics and budgetary constraints, however, most plans are generally developed using this format. 
 2.1  Select Screening Methodology

 DSM programs and the measures they promote are expected to be cost effective.  The most commonly used set of tests used by utilities to screen DSM initiatives are those developed in the 1980’s by the California Energy Commission.  Of these, the “Societal Cost Test” which measures the costs and benefits of DSM from a societal perspective is the hurdle test for DSM programs currently offered by the gas utilities in Ontario.
 In this test, the benefits are expressed in terms of the avoided cost of natural gas.  The costs consist of incremental equipment cost and utility program costs.  The test as applied in Ontario also allows for the use of monetary values for emissions reductions as an added benefit, and both Enbridge Consumers Gas and Union Gas make use of this feature.

As a second-level screen, the utilities consider the “Rate-payer Impact Measure Test” (RIM).  This test measures the affect on rates of the implementation of a DSM initiative.  While this is not a hurdle test, the expectation is that the results of this test for the portfolio of programs will not be considered “undue”.

There are a variety of software tools that are used in the cost effectiveness analysis of DSM programs. Enbridge Consumers Gas and Union Gas both use the same Excel based spreadsheet model which allows for the expression of streams of costs and benefits in a single Net Present Value (NPV) number.  

2.2  Develop Avoided Costs
Avoided or marginal cost(s) represent the benefits from the implementation of a DSM program.  They are usually expressed in terms of forecast streams of expenditures that the utility undertakes to supply incremental natural gas.  As such, they consist of throughput purchases, storage costs and investments in facilities and equipment (including construction) associated with the delivery of an incremental supply of natural gas. 

2.3   Develop Relevant Market Data and Information 

Certain market data is required to support the development of the planning projections and assumptions.  This includes information regarding the number and type of customers, the nature of their facilities and equipment, and projections of how these are expected to change over time.  Typically, gas utilities have reasonably good data on number of customers by class and numbers of specific types of technologies (water heaters, furnaces etc.).  Less certain are the data related to other specific loads (commercial boilers, for example) and the forecasts of the various components.  It is necessary to make certain assumptions for the missing data and develop forecasts where appropriate. 

2.4  Develop List of Cost Effective Technologies to be Included in Programs

Ultimately, the portfolio of programs will rely on specific equipment to deliver the energy efficiency savings.  As indicated, all technologies are expected to be cost effective from the societal perspective.  A list of technologies that meet this criterion is required to feed the eventual program designs.  Certain specific information is required for each technology considered.  This information represents the basics for cost effectiveness analysis.  For both the existing (base case) technology and the energy efficient technology, the requirements are:

· annual usage, 

· installed cost,

· expected equipment life. 

Based on this information, estimates of incremental cost and savings are used in conjunction with the avoided costs to determine the cost effectiveness for each technology considered.  Those that are cost effective are then considered for inclusion in a program or programs.

Both Enbridge Consumers Gas and Union Gas have developed well-documented lists of energy efficient technologies covering a variety of residential, commercial and industrial equipment types.  This information resides in the public domain and represents an excellent foundation for Gazifere’s efforts in this area.

2.5  Develop and Screen Potential Programs and Select Candidate Programs

For our purposes, “program” is defined as a set of cost effective DSM measures, using a number of delivery channels to encourage decision makers to make energy efficiency investment choices.  This means that the screening process for programs is based on a composite of the included measures, the forecasted penetration of those measures, their freeridership value, and all direct program costs. Overhead costs and other indirect expenditures are included at the aggregate level. Together these provide for an analysis of the total costs and benefits for the delivery of DSM activities in total.

In this process, the selection of candidate programs is more accurately described as a selection of the level of effort among programs and the emphasis given to program elements. This process is usually an iterative one that includes a variety of more qualitative considerations such as timing, resource constraints, market characteristics and competitive forces.  The goal is to have a defensible set of programs that meet the criteria defined at the outset. 

2.6  Develop Monitoring and Evaluation (M&E) Strategies

M&E is undertaken for a number of reasons.  The Regulator needs to ensure that program  expectations are tracked and evaluated.  There may be both Lost Revenue Adjustment Mechanisms (LRAM) or Shared Savings Mechanisms (SSM) that the Regulator adopts.  Both require rigourous tracking and evaluation.  The utility also needs to ensure that its programs are delivered cost effectively and meet shareholder expectations.  Evaluation can also assist in fine-tuning program designs as the programs are rolled out.

M&E plans usually include two general types of evaluation: impact and process.  Impact evaluations focus on the actual impacts of the programs – number of participants, savings and costs.  Impact evaluations require that these data are collected in a consistent and documented manner.  Most utilities develop an electronic tracking system to support this exercise.  For LRAM variance reporting, the data is normally updated monthly.  Process evaluations focus on how well the various delivery mechanisms operated and are more qualitative in nature.  Process evaluations often rely on surveys, focus group research etc. to collect the required information.  

While there is a significant amount of previous experience from other utilities to draw on, M&E plans are very specific to the franchise. Experience in Ontario also indicates that they need to be developed as part of the planning stage, not as an afterthought.  Research requirements are often easy to identify in a planning scenario but become less so when the focus shifts to implementation.

2.7  Intervenor and Regulatory Review 

The consultative process is an important facet of securing regulatory acceptance.  The Ontario experience clearly shows that involvement of the various intervenors at the earliest stages of the DSM Plan is critical for the development of a Plan that all the various parties agree to. 

APPENDIX B

LIST OF MEASURES

� INCORPORER Excel.Sheet.8  ���





� INCORPORER Excel.Sheet.8  ���








� Gazifère procures higher Energy Factor tanks for the rental program and lowers tank temperature settings during service calls.


� “2000 Demand Side Management Plan” – RP-1999-0001 – as filed with the Ontario Energy Board.


3. Note that the savings estimate is not equal to the sum of the individual measures.  Instead an estimate that accommodates the interactive effects of the four measures is specified.  


4. Average annual high efficiency furnace sales for the period 1996 through 1998 were 31% of total market.


� EcoLogo is a national environmental labelling organization that is developing labelling standards based on environmental/energy efficiency considerations.  


� Direct costs are for program implementation and incentives.  They do not include overheads or supporting research costs.


� Regulatory Incentives for Demand-Side Management, Chapter 12.  American Council for an Energy Efficient Economy. May, 1992.


� For a full discussion, see the “Standard Practice for Cost-Benefit Analysis of Conservation and Load Management Programs”, California Energy Commission, 1987.





� While “undue” has not been clearly defined, it is generally understood that rate impacts should be less than 1%.





1
Original:  2000-11-03
GI-23


Document 12


46 pages en liasse


Requête 3446-20






[image: image3.wmf]2500

2600

2700

2800

2900

3000

3100

3200

1987

1988

1989

1990

1991

1992

1993

1994

1995

1996

1997

[image: image4.wmf]0

50,000,000

100,000,000

150,000,000

200,000,000

1990

1991

1992

1993

1994

1995

1996

1997

1998

YEAR

m3

_985548809.xls
Chart2

		1987.0

		1988.0

		1989.0

		1990.0

		1991.0

		1992.0

		1993.0

		1994.0

		1995.0

		1996.0

		1997.0



Gazifère Inc.

2975.0

3042.0

3076.0

3099.0

3032.0

3012.0

2909.0

2852.0

2761.0

2765.0

2726.0



TARIF 9 (2)

		GAZIFÈRE INC.

		COÛT TOTAL DU GAZ

		TARIF 9

		Tarifs  proposés le 1er octobre 1998

		COÛT TOTAL DU GAZ										OCT.		NOV.		DÉC.		JAN.		FÉV.		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		Volumes (m3)								Volume		600000		900000		2200000		2500000		2000000		2000000		1800000		800000		600000		500000		500000		600000		15000000

										quotidien

										maximal

		Obligation mensuelle minimale								190000		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$5,700		$68,400

		Prix de la livraison

								Hiver		Eté

		Premier 1,000,000 m3						0.0524		0.0479		$28,740		$43,110		$52,400		$52,400		$52,400		$52,400		$47,900		$38,320		$28,740		$23,950		$23,950		$28,740		$473,050

		Excédent 1,000,000 m3						0.0497		0.0452		$0		$0		$59,640		$74,550		$49,700		$49,700		$36,160		$0		$0		$0		$0		$0		$269,750

		Compression fuel credit						-0.008296		0.008296		($4,978)		($7,466)		($18,251)		($20,740)		($16,592)		($16,592)		($14,933)		($6,637)		($4,978)		($4,148)		($4,148)		($4,978)		($124,440)

		Prix du gaz						0.0941		0.0941		$56,460		$84,690		$207,020		$235,250		$188,200		$188,200		$169,380		$75,280		$56,460		$47,050		$47,050		$56,460		$1,411,500

		Coût total du gaz ($)										$85,922		$126,034		$306,509		$347,160		$279,408		$279,408		$244,207		$112,663		$85,922		$72,552		$72,552		$85,922		$2,098,260

		Tarif unitaire moyen										0.143204		0.140037		0.139322		0.138864		0.139704		0.139704		0.135671		0.140829		0.143204		0.145104		0.145104		0.143204		0.1398840

																																excluant marchandise				$686,760

								Prix unitaire total						0.1398840

								Moins: prix du gaz						0.0941000

														0.0457840

								Moins: crédit service-T						0.0379000

														0.0078840



&Ls:/budadmin/cause/cause99/&F/&A



TARIF 9

		GAZIFÈRE INC.

		COÛT TOTAL DU GAZ

		TARIF 9

		Tarifs  proposés le 1er octobre 1998

		COÛT TOTAL DU GAZ										OCT.		NOV.		DÉC.		JAN.		FÉV.		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		Volumes (m3)								Volume		4800000		4100000		4200000		4900000		3700000		3200000		4800000		4200000		4200000		3900000		3900000		4100000		50000000

										quotidien

										maximal

		Obligation mensuelle minimale								198296		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$5,949		$71,387

		Prix de la livraison

								Hiver		Eté

		Premier 1,000,000 m3						0.0524		0.0479		$47,900		$47,900		$52,400		$52,400		$52,400		$52,400		$47,900		$47,900		$47,900		$47,900		$47,900		$47,900		$592,800

		Excédent 1,000,000 m3						0.0497		0.0452		$171,760		$140,120		$159,040		$193,830		$134,190		$109,340		$171,760		$144,640		$144,640		$131,080		$131,080		$140,120		$1,771,600

		Compression fuel credit						-0.008296		0.008296		($39,821)		($34,014)		($34,843)		($40,650)		($30,695)		($26,547)		($39,821)		($34,843)		($34,843)		($32,354)		($32,354)		($34,014)		($414,800)

		Prix du gaz						0.0941		0.0941		$451,680		$385,810		$395,220		$461,090		$348,170		$301,120		$451,680		$395,220		$395,220		$366,990		$366,990		$385,810		$4,705,000

		Coût total du gaz ($)										$637,468		$545,765		$577,766		$672,618		$510,014		$442,262		$637,468		$558,866		$558,866		$519,564		$519,564		$545,765		$6,725,987

		Tarif unitaire moyen										0.132806		0.133113		0.137563		0.137269		0.137842		0.138207		0.132806		0.133063		0.133063		0.133222		0.133222		0.133113		0.1345197

																																excluant marchandise				$2,020,987

								Prix unitaire total						0.1345197

								Moins: prix du gaz						0.0941000

														0.0404197

								Moins: crédit service-T						0.0379000

														0.0025197



&Ls:/budadmin/cause/cause99/&F/&A



TARIF 5

		GAZIFÈRE INC.

		COÛT TOTAL DU GAZ

		TARIF 5

		Tarifs proposés le 1er octobre 1998

		COÛT TOTAL DU GAZ										OCT.		NOV.		DÉC.		JAN.		FÉV.		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		Volumes (m3)										2800000		2700000		2900000		2700000		2700000		2900000		2700000		2400000		2700000		2300000		2700000		2800000		32300000

										Volume

										souscrit

		Obligation mensuelle minimale								110000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$33,000		$396,000

		Prix de la livraison

								Hiver		Été

		Pour tout volume						0.0538		0.0518		$145,040		$139,860		$156,020		$145,260		$145,260		$156,020		$139,860		$124,320		$139,860		$119,140		$139,860		$145,040		$1,695,540

		Compression fuel credit						-0.008296		0.008296		($23,229)		($22,399)		($24,058)		($22,399)		($22,399)		($24,058)		($22,399)		($19,910)		($22,399)		($19,081)		($22,399)		($23,229)		($267,961)

		Prix du gaz						0.0941		0.0941		$263,480		$254,070		$272,890		$254,070		$254,070		$272,890		$254,070		$225,840		$254,070		$216,430		$254,070		$263,480		$3,039,430

		Coût total du gaz										$418,291		$404,531		$437,852		$409,931		$409,931		$437,852		$404,531		$363,250		$404,531		$349,489		$404,531		$418,291		$4,863,009

		Tarif unitaire moyen										0.149390		0.149826		0.150983		0.151826		0.151826		0.150983		0.149826		0.151354		0.149826		0.151952		0.149826		0.149390		0.1505576

																																excluant marchandise				$1,823,579

																		Coéfficient d'utilisation

								Prix unitaire total						0.1505576

																		Volume souscrit:				110000

								Moins: prix du gaz						0.0941000				x nombre de jours				365

																		Consommation annuelle				40150000

														0.0564576

																		Consommation réel				32300000

								Moins:crédit service-T						0.0379000

																		Coéfficient d'utilisation

														0.0185576				réel:				0.804483188



&Ls:\budadmin\cause\cause99\&F\&A



TARIF 3

		GAZIFÈRE INC.

		COÛT TOTAL DU GAZ

		TARIF 3

		Tarifs proposés le 1er octobre 1998

		COÛT TOTAL DU GAZ										OCT.		NOV.		DÉC.		JAN.		FÉV.		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		Volumes (m3)										62500		300000		310000		310000		280000		310000		300000		62500		62500		62500		62500		62500		2185000

										Volume

										souscrit

		Obligation mensuelle minimale								10000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$2,000		$24,000

		Prix de la livraison

								Hiver		Été

		Tous les volumes						0.1126		0.1026		$6,413		$30,780		$34,906		$34,906		$31,528		$34,906		$30,780		$6,413		$6,413		$6,413		$6,413		$6,413		$236,281

												$0		$0		$0		$0		$0		$0		$0		$0		$0		$0		$0		$0		$0

		Compression fuel credit						0.008296		0.008296		($519)		($2,489)		($2,572)		($2,572)		($2,323)		($2,572)		($2,489)		($519)		($519)		($519)		($519)		($519)		($18,127)

		Prix du gaz						0.0941		0.0941		$5,881		$28,230		$29,171		$29,171		$26,348		$29,171		$28,230		$5,881		$5,881		$5,881		$5,881		$5,881		$205,609

		Coût total du gaz ($)										$13,775		$58,521		$63,505		$63,505		$57,553		$63,505		$58,521		$13,775		$13,775		$13,775		$13,775		$13,775		$447,763

		Tarif unitaire moyen										0.220404		0.195071		0.204856		0.204856		0.205547		0.204856		0.195071		0.220404		0.220404		0.220404		0.220404		0.220404		0.2049257

																																excluant marchandise				$242,154

																		Coéfficient d'utilisation

								Prix unitaire total						0.2049257

																		Volume souscrit:				10000

								Moins: prix du gaz						0.0941000				x nombre de jours				365

																		Consommation annuelle				3650000

														0.1108257

																		Consommation réel				2185000

								Moins:crédit service-T						0.0379000

																		Coéfficient d'utilisation

														0.0729257				réel:				0.598630137



&L&F



Commercial-proposé (2)

		GAZIFÈRE INC.

		Commercial, tarif 1

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

								7%		11%		17%		21%		17%		14%		8%		4%		0.25%		0.25%		0.25%		0.25%		100.00%

		Volumes (m3)						1,611		2,533		3,915		4,837		3,916		3,225		1,843		921		58		58		58		58		23,033

		Obligation mensuelle min						16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		192.00

		Prix au volume retiré

		de 0 à 100 m3				0.2028		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		11.76		11.76		11.76		11.76		209.29

		de 100 à 320 m3				0.1928		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		0.00		0.00		0.00		0.00		339.33

		de 320 à 1,000 m3				0.1828		124.30		124.30		124.30		124.30		124.30		124.30		124.30		109.86		0.00		0.00		0.00		0.00		979.99

		de 1,000 à 3,200 m3				0.1728		105.58		264.90		380.16		380.16		380.16		380.16		145.67		0.00		0.00		0.00		0.00		0.00		2036.79

		de 3,200 à 10,000 m3				0.1528		0.00		0.00		109.25		250.13		109.40		3.82		0.00		0.00		0.00		0.00		0.00		0.00		472.61

		excédent				0.1378		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00

		Prix de gaz				0.0941		151.60		238.36		368.40		455.16		368.50		303.47		173.43		86.67		5.46		5.46		5.46		5.46		2167.41

		Ventes ($)						460.18		706.26		1060.81		1288.46		1061.06		890.45		522.10		275.22		33.22		33.22		33.22		33.22		6397.42

		TPS (7%)						32.21		49.44		74.26		90.19		74.27		62.33		36.55		19.27		2.33		2.33		2.33		2.33		447.82

		TVQ  (6.5)						32.01		49.12		73.78		89.61		73.80		61.93		36.31		19.14		2.31		2.31		2.31		2.31		444.94

		Total						524.39		804.82		1208.85		1468.26		1209.13		1014.72		594.96		313.63		37.86		37.86		37.86		37.86		7290.18



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause99\&F\&A



client. existante propose (2)

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Clientèle existante - haute efficacité"

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")						5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)						131		183		314		445		497		366		262		157		78		52		52		79		2,616

		Obligation mensuelle min						9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré

		de 0 à 50 m3				0.1850		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$111.00

		de 50 à 100 m3				0.1800		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$5.04		$0.36		$0.36		$5.22		$82.98

		de 100 à 320 m3				0.1750		$5.43		$14.53		$37.45		$38.50		$38.50		$38.50		$28.35		$9.98		$0.00		$0.00		$0.00		$0.00		$211.23

		de 320 à 1000 m3				0.1700		$0.00		$0.00		$0.00		$21.25		$30.09		$7.82		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$59.16

		excédent				0.1650		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0941		$12.33		$17.22		$29.55		$41.87		$46.77		$34.44		$24.65		$14.77		$7.34		$4.89		$4.89		$7.43		$246.17

		Ventes ($)						$45.00		$59.00		$94.25		$128.87		$142.61		$108.01		$80.25		$52.00		$30.63		$23.50		$23.50		$30.90		$818.53

																												TPS				57.3

																												TVQ				65.69

																												TOTAL				$941.52



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



gi-2 - doc. 5

		Gazifère Inc.

		Utilisation moyenne normalisée (m3) (1)

		Résidentiel avec chauffage

		Cause Tarifaire 1999

		Années fiscales		1987.0		1988.0		1989.0		1990.0		1991.0		1992.0		1993.0		1994.0		1995.0		1996.0		1997.0

		Gazifère Inc.		2975.0		3042.0		3076.0		3099.0		3032.0		3012.0		2909.0		2852.0		2761.0		2765.0		2726.0

		Note:		(1) Nous avons utilisé une température de référence de 18°C pour les années 1987 à 1991 inclusivement car les

				données à une température de référence de 14°C n'étaient pas facilement accessibles.  Nous avons utilisé une

				température de référence de 14°C pour les années 1992 à 1997.



&L&"MS Sans Serif,Regular"s:\budadmin\cause\cause99\&F\&A



gi-2 - doc. 5

		



&A

Page &P

Gazifère Inc.



gi2 - doc. 2

		GAZIFÈRE INC.

		ÉTAT ANNUEL DU NOMBRE DE CLIENTS,

		DES VOLUMES ET DES REVENUS

		CAUSE TARIFAIRE 1999

		NO DE								NOMBRE (1)		VOLUMES (2)		REVENUS (3)

		LIGNE				DESCRIPTION				DE CLIENTS		(1000 m3)		(000$)

										1		2		3

						RÉSIDENTIEL SANS CHAUFFAGE

		1				Tarif 2				1,227		1,154.1		432.5

						RÉSIDENTIEL AVEC CHAUFFAGE

		2				Tarif 2				18,825		48,541.3		14,576.5

		3				TOTAL RÉSIDENTIEL				20,052		49,695.4		15,009.0

						COMMERCIAL SANS CHAUFFAGE

		4				Tarif 1				203		3,145.4		847.1

		5				Tarif 2				50		909.5		234.3

		6				Total				253		4,054.9		1,081.4

						COMMERCIAL AVEC CHAUFFAGE

		7				Tarif 1				1,836		43,735.2		10,988.9

		8				Tarif 2				368		6,304.3		1,621.8

		9				Tarif 3				4		457.0		96.3

		10.0				Total				2,208		50,496.5		12,707.0

						COMMERCIAL INTERRUPTIBLE

		11.0				Tarif 9				1		1,919.7		272.2

		12.0				TOTAL COMMERCIAL				2,462		56,471.2		14,060.6

						INDUSTRIEL SANS CHAUFFAGE

		13.0				Tarif 1				3		701.8		160.8

		14.0				Tarif 3				2		3,162.5		627.8

		15.0				Tarif 3 - Service de livraison				2		3,595.0		382.0

		16.0				Tarif 5				0		0.0		0.0

		17.0				Total				7		7,459.3		1,170.6

						INDUSTRIEL AVEC CHAUFFAGE

		18.0				Tarif 1				2		1,930.3		436.5

						INDUSTRIEL - INTERRUPTIBLE

		19.0				Tarif 9				1		6,390.7		894.8

		20.0				Tarif 9 - Service de livraison				4		60,949.0		2,709.2

		21.0				Total				5		67,339.7		3,604.0

		22.0				TOTAL INDUSTRIEL				14		76,729.3		5,211.1

		23.0				GRAND TOTAL				22,528		182,895.9		34,280.7

		NOTES:				(1) Voir GI-2, document 2, page 2 de 3, colonne 5.

						(2) Voir GI-2, document 3, volumes de la colonne 13, du 30 octobre 1998.

						(3) Voir GI-2, document 3, revenus de la colonne 13, du 30 octobre 1998.

														GI-2

														DOCUMENT 2

				ORIGINAL: 1998-07-08										PAGE 1 DE 3

				RÉVISÉ: 1998-10-30										REQUÊTE 3406-98

				RÉVISÉ: 1998-11-11



&L&"MS Sans Serif,Regular"&8s:\budadmin\cause\cause99\&F\&A



mensuelle

		GAZIFÈRE INC.																																																																								*

		ÉVOLUTION MENSUELLE DU NOMBRE DE CLIENTS,																																																																								*

		DES VOLUMES ET DES REVENUS																																																																								*

		CAUSE TARIFAIRE 1999

																																																																										*

		NO DE

		LIGNE				DESCRIPTION		OCT		NOV		DEC		JANV		FEVR		MARS		AVRIL		MAI		JUIN		JUIL		AOUT		SEPT		CUMULATIF		AVERAGE																																				CUMULATIF				*

								1		2		3		4		5		6		7		8		9		10		11		12		13		NUMBER OF CUS.																																				13				*

						RÉSIDENTIEL SANS CHAUFFAGE																																																																				*

						Tarif 2																																																																				*

		1.0				Clients (nombre)		1,116		1,147		1,175		1,189		1,201		1,225		1,243		1,221		1,229		1,252		1,229		1,227		14,454		1,205																																				0.0				*

		2				Volumes (1000 m3)		57.4		87.0		125.0		214.1		101.0		134.1		128.8		86.7		66.9		56.6		44.9		51.6		1,154.1																																						0.0				*

		3				Revenus (000 $)		25.3		33.5		43.5		65.4		37.4		46.3		45.0		33.8		28.6		26.2		22.8		24.7		432.5																																						0.0				*

		4.0				Utilisation moy/facture		51		76		106		180		84		109		104		71		54		45		36		42		80

																																																																										*

						RÉSIDENTIEL AVEC CHAUFFAGE																																																																				*

						Tarif 2																																																																				*

		5.0				Clients (nombre)		17,995		18,117		18,258		18,376		18,437		18,429		18,437		18,463		18,523		18,631		18,753		18,825		221,244		18,437																																				0.0				*

		6				Volumes (1000 m3)		2,229.7		3,578.6		6,854.4		8,349.0		8,484.5		7,044.9		4,911.1		2,516.5		1,386.2		1,055.6		1,063.1		1,067.6		48,541.3																																						0.0				*

		7				Revenus (000 $)		747.9		1,096.8		1,934.1		2,314.3		2,349.0		1,983.8		1,440.8		825.9		532.9		447.4		451.0		452.6		14,576.5																																						0.0				*

		8				Utilisation moy/facture		124		198		375		454		460		382		266		136		75		57		57		57		219

						TOTAL RÉSIDENTIEL																																																																				*

		9.0				Clients (nombre)		19,111		19,264		19,433		19,565		19,638		19,654		19,680		19,684		19,752		19,883		19,982		20,052		235,698		19,642																																				0.0				*

		10.0				Volumes (1000 m3)		2,287.1		3,665.7		6,979.4		8,563.1		8,585.4		7,179.0		5,040.0		2,603.3		1,453.1		1,112.2		1,108.0		1,119.2		49,695.4																																						0.0				*

		11.0				Revenus (000 $)		773.2		1,130.3		1,977.6		2,379.7		2,386.4		2,030.1		1,485.8		859.7		561.5		473.6		473.8		477.3		15,009.0																																						0.0				*

		12				Utilisation moy/facture		120		190		359		438		437		365		256		132		74		56		55		56		211

																																																																										*

						COMMERCIAL SANS CHAUFFAGE																																																																				*

						Tarif 1																																																																				*

		13.0				Clients (nombre)		201		206		200		205		199		206		210		205		201		209		201		203		2,446		204																																				0.0				*

		14				Volumes (1000 m3)		194.1		230.9		275.7		302.6		313.8		308.7		334.9		263.5		252.7		270.7		184.1		213.7		3,145.4																																						0.0				*

		15				Revenus (000 $)		53.7		63.0		73.8		80.4		83.0		82.1		88.3		70.6		68.4		72.9		51.8		59.1		847.1																																						0.0				*

		16				Utilisation moy/facture		966		1121		1379		1476		1577		1498		1595		1285		1257		1295		916		1053		1286

																																																																										*

						Tarif 2																																																																				*

		17.0				Clients (nombre)		50		50		55		51		52		48		49		49		49		50		50		50		603		50																																				0.0				*

		18.0				Volumes (1000 m3)		45.6		76.0		98.7		106.2		102.2		45.4		104.6		93.8		78.1		60.3		53.1		45.5		909.5																																						0.0				*

		19.0				Revenus (000 $)		12.0		19.6		25.3		27.1		26.1		11.9		26.7		24.0		20.1		15.7		13.8		12.0		234.3																																						0.0				*

		20				Utilisation moy/facture		912		1521		1794		2083		1965		945		2135		1914		1594		1206		1062		910		1508

																																																																										*

						Total commercial sans chauffage																																																																				*

		21.0				Clients (nombre)		251		256		255		256		251		254		259		254		250		259		251		253		3,049		254																																				0.0				*

		22.0				Volumes (1000 m3)		239.8		306.9		374.4		408.8		416.0		354.0		439.5		357.3		330.8		331.0		237.2		259.2		4,054.9																																						0.0				*

		23.0				Revenus (000 $)		65.7		82.6		99.1		107.5		109.1		94.0		115.0		94.6		88.5		88.6		65.6		71.1		1,081.4																																						0.0				*

		24				Utilisation moy/facture		955		1199		1468		1597		1657		1394		1697		1407		1323		1278		945		1024		1330

																														GI-2

																														DOCUMENT 3

																														PAGE 1 DE 4

						Original:   1998-07-08																								REQUÊTE 3406-98

						Révisé: 1998-10-30

						COMMERCIAL AVEC CHAUFFAGE																																																																				*

						Tarif 1																																																																				*

		25.0				Clients (nombre)		1,706		1,764		1,807		1,847		1,848		1,848		1,842		1,864		1,852		1,828		1,824		1,836		21,866		1,822																																				0.0				*

		26.0				Volumes (1000 m3)		1,790.8		3,319.5		5,666.7		7,797.3		7,786.8		6,854.1		4,221.0		2,370.0		1,250.4		893.5		894.3		890.7		43,735.2																																						0.0				*

		27.0				Revenus (000 $)		476.5		846.3		1,396.3		1,897.9		1,892.8		1,677.2		1,064.4		625.1		344.7		256.6		255.6		255.5		10,988.9																																						0.0				*

		28				Utilisation moy/facture		1050		1882		3136		4222		4214		3709		2292		1271		675		489		490		485		2000

																																																																										*

						Tarif 2																																																																				*

		29.0				Clients (nombre)		367		372		369		368		371		371		371		369		372		368		371		368		4,437		370																																				0.0				*

		30.0				Volumes (1000 m3)		243.2		483.3		966.5		1,058.4		1,134.4		968.2		670.8		341.4		137.4		100.0		100.7		100.0		6,304.3																																						0.0				*

		31.0				Revenus (000 $)		65.1		125.1		245.0		267.7		286.7		245.5		171.6		89.6		38.5		28.9		29.2		28.9		1,621.8																																						0.0				*

		32				Utilisation moy/facture		663		1299		2619		2876		3058		2610		1808		925		369		272		272		272		1421

						Tarif 3

		33.0				Clients (nombre)		4		4		4		4		4		4		4		4		4		4		4		4		48		4																																				0.0				*

		34.0				Volumes (1000 m3)		36.3		34.3		47.6		45.3		44.8		47.0		41.6		35.7		31.9		32.6		30.2		29.8		457.0																																						0.0				*

		35.0				Revenus (000 $)		7.5		7.1		10.2		9.7		9.7		10.1		8.6		7.4		6.6		6.9		6.3		6.2		96.3																																						0.0				*

		36				Utilisation moy/facture		9063		8573		11904		11337		11190		11760		10403		8921		7970		8149		7540		7441		9521

						Total commercial avec chauffage																																																																				*

		37.0				Clients (nombre)		2,077		2,140		2,180		2,219		2,223		2,223		2,217		2,237		2,228		2,200		2,199		2,208		26,351		2,196																																				0.0				*

		38.0				Volumes (1000 m3)		2,070.3		3,837.1		6,680.9		8,901.0		8,966.0		7,869.3		4,933.4		2,747.1		1,419.7		1,026.1		1,025.2		1,020.5		50,496.5																																						0.0				*

		39.0				Revenus (000 $)		549.1		978.5		1,651.5		2,175.3		2,189.2		1,932.8		1,244.6		722.1		389.8		292.4		291.1		290.6		12,707.0																																						0.0				*

		40.0				Utilisation moy/facture		10775		11754		17659		18434		18461		18078		14502		11117		9015		8909		8302		8198		1916

																																																																										*

						COMMERCIAL INTERRUPTIBLE

						Tarif 9

		41.0				Clients (nombre)		1.0		1.0		1.0		1.0		1.0		1.0		1.0		1.0		1.0		1.0		1.0		1.0		12		1

		42.0				Volumes (1000 m3)		123.2		174.1		213.677		251.026		226.386		224.032		181.1		146.8		94.2		82.8		97.0		105.4		1,919.7

		43.0				Revenus (000 $)		17.2		24.2		30.599999999999998		35.8		32.4		32.1		25.2		20.5		13.2		11.7		13.600000000000001		14.700000000000001		272.2

		44				Utilisation moy/facture		123200		174100		213677		251026		226386		224032		181100		146800		94200		82800		97000		105400		159977

						TOTAL COMMERCIAL																																																																				*

		45.0				Clients (nombre)		2,329		2,397		2,436		2,476		2,475		2,478		2,477		2,492		2,479		2,460		2,451		2,462		29,412		2,451																																				0.0				*

		46.0				Volumes (1000 m3)		2,433.2		4,318.1		7,268.9		9,560.9		9,608.3		8,447.4		5,554.0		3,251.2		1,844.7		1,439.9		1,359.4		1,385.0		56,471.2																																						0.0				*

		47.0				Revenus (000 $)		632.0		1,085.3		1,781.2		2,318.6		2,330.7		2,058.9		1,384.8		837.2		491.5		392.7		370.3		376.4		14,060.6																																						0.0				*

		48				Utilisation moy/facture		1045		1801		2984		3861		3882		3409		2242		1305		744		585		555		563		1920

																														GI-2

																														DOCUMENT 3

						Original:   1998-07-08																								PAGE 2 DE 4

						Révisé: 1998-10-30																								REQUÊTE 3406-98

						INDUSTRIEL SANS CHAUFFAGE																																																																				*

						Tarif 1																																																																				*

		49.0				Clients (nombre)		3		3		3		3		3		3		3		3		3		3		3		3		36		3																																				0.0				*

		50.0				Volumes (1000 m3)		85.6		79.1		60.0		33.5		50.3		36.3		26.5		33.5		77.5		54.8		39.0		125.7		701.8																																						0.0				*

		51.0				Revenus (000 $)		19.4		18.1		13.9		7.8		11.7		8.6		6.4		7.7		17.5		12.5		9.0		28.2		160.8																																						0.0				*

		52				Utilisation moy/facture		28533		26367		20000		11167		16767		12100		8833		11167		25833		18267		13000		41900		19494

																																																																										*

						Tarif 3

		53.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24		2

		54.0				Volumes (1000 m3)		211.4		319.0		188.9		266.6		278.9		242.7		167.3		349.9		338.2		353.3		191.6		254.7		3,162.5

		55.0				Revenus (000 $)		41.8		61.7		39.6		54.8		57.3		50.2		33.6		67.5		65.3		68.1		38.1		49.8		627.8

		56				Utilisation moy/facture		105700		159500		94450		133300		139450		121350		83650		174950		169100		176650		95800		127350		131771

						Tarif 3  - Service de livraison

		57.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24		2

		58.0				Volumes (1000 m3)		182.3		415.9		429.8		429.8		388.2		429.8		415.9		182.3		178.4		182.3		182.3		178.4		3,595.0

		59.0				Revenus (000 $)		19.1		41.6		47.2		47.2		42.9		47.2		41.6		19.1		18.8		19.1		19.1		18.8		382.0

		60				Utilisation moy/facture		91127		207945		214877		214877		194085		214877		207945		91127		89195		91127		91127		89195		149792

						Tarif 5

		61.0				Clients (nombre)		0		0		0		0		0		0		0		0		0		0		0		0		0		0

		62.0				Volumes (1000 m3)		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0

		63.0				Revenus (000 $)		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0

		64				Utilisation moy/facture		0		0		0		0		0		0		0		0		0		0		0		0		0

						Total industriel sans chauffage																																																																				*

		65.0				Clients (nombre)		7		7		7		7		7		7		7		7		7		7		7		7		84		7																																				0.0				*

		66.0				Volumes (1000 m3)		479.3		814.0		678.7		729.9		717.4		708.8		609.7		565.7		594.1		590.4		412.9		558.8		7,459.3																																						0.0				*

		67.0				Revenus (000 $)		80.3		121.4		100.7		109.8		111.9		106.0		81.6		94.3		101.6		99.7		66.2		96.8		1,170.6																																						0.0				*

		68				Utilisation moy/facture		134233		185867		114450		144467		156217		133450		92483		186117		194933		194917		108800		169250		88801

						INDUSTRIEL AVEC CHAUFFAGE

						Tarif 1

		69.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24		2

		70.0				Volumes (1000 m3)		91.9		160.9		225.7		248.8		236.5		191.7		179.3		119.3		109.3		134.3		111.3		121.3		1,930.3

		71.0				Revenus (000 $)		20.9		36.4		50.8		56.0		53.2		43.2		40.5		27.1		24.9		30.5		25.4		27.6		436.5

		72				Utilisation moy/facture		45950		80450		112850		124400		118250		95850		89650		59650		54650		67150		55650		60650		80429

						Total industriel avec chauffage

		73.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24		2

		74.0				Volumes (1000 m3)		91.9		160.9		225.7		248.8		236.5		191.7		179.3		119.3		109.3		134.3		111.3		121.3		1,930.3

		75.0				Revenus (000 $)		20.9		36.4		50.8		56.0		53.2		43.2		40.5		27.1		24.9		30.5		25.4		27.6		436.5

		76				Utilisation moy/facture		45950		80450		112850		124400		118250		95850		89650		59650		54650		67150		55650		60650		80429

																														DOCUMENT 3

						Original:   1998-07-08																								PAGE 3 DE 4

						Révisé: 1998-10-30																								REQUÊTE 3406-98

						Révisé: 1998-11-11

						INDUSTRIEL INTERRUPTIBLE																														*

						Tarif 9																														*

		77.0				Clients (nombre)		1		1		1		1		1		1		1		1		1		1		1		1		12		1		*

		78.0				Volumes (1000 m3)		505.0		447.5		465.1		292.1		349.3		443.2		362.2		409.2		719.2		470.2		895.1		1,032.6		6,390.7				*

		79.0				Revenus (000 $)		70.2		62.3		66.8		42.2		50.4		63.7		50.6		57.1		99.6		65.5		123.8		142.6		894.8				*

		80				Utilisation moy/facture		505000		447500		465100		292100		349300		443200		362200		409200		719200		470200		895100		1032600		532558				*

																																				*

						Tarif 9  - Service de livraison																														*

		81.0				Clients (nombre)		4		4		4		4		4		4		4		4		4		4		4		4		48		4		*

		82.0				Volumes (1000 m3)		7,796.6		4,556.0		4,807.7		4,742.9		4,768.2		5,397.1		5,035.0		5,318.0		4,410.7		4,411.1		4,393.2		5,312.5		60,949.0				*

		83.0				Revenus (000 $)		343.2		195.3		226.7		221.9		227.2		255.2		216.2		228.1		188.7		187.5		186.7		231.7		2,709.2				*

		84				Utilisation moy/facture		1949150		1139000		1201925		1185725		1192050		1349275		1258750		1329500		1102675		1102775		1098300		1328125		1269771				*

						Total Industriel Interruptible

		85				Clients (nombre)		5.0		5.0		5.0		5.0		5.0		5.0		5.0		5.0		5.0		5.0		5.0		5.0		60		5

		86.0				Volumes (1000 m3)		8,301.6		5,003.5		5,272.8		5,035.0		5,117.5		5,840.3		5,397.2		5,727.2		5,129.9		4,881.3		5,288.3		6,345.1		67,339.7

		87.0				Revenus (000 $)		413.4		257.6		293.5		264.1		277.6		318.9		266.8		285.2		288.3		253.0		310.5		374.3		3,604.0

		88.0				Utilisation moy/facture		1660320		1000700		1054560		1007000		1023500		1168060		1079440		1145440		1025980		976260		1057660		1269020		1122328				*

						TOTAL INDUSTRIEL																														*

		89.0				Clients (nombre)		14		14		14		14		14		14		14		14		14		14		14		14		168		14		*

		90.0				Volumes (1000 m3)		8,872.8		5,978.4		6,177.2		6,013.7		6,071.4		6,740.8		6,186.2		6,412.2		5,833.3		5,606.0		5,812.5		7,025.2		76,729.3				*

		91.0				Revenus (000 $)		514.6		415.4		445.0		429.9		442.8		468.1		388.9		406.6		414.8		383.2		402.1		498.7		5,211.1				*

		92.0				Utilisation moy/facture		633768		427028		441225		429547		433669		481482		441871		458011		416664		400425		415175		501799		456722				*

																																				*

						GRAND TOTAL																														*

		93.0				Clients (nombre)		21,454		21,675		21,883		22,055		22,127		22,146		22,171		22,190		22,245		22,357		22,447		22,528		265,278		22,107		*

		94.0				Volumes (1000 m3)		13,593.1		13,962.2		20,425.4		24,137.7		24,265.1		22,367.1		16,780.2		12,266.6		9,131.1		8,158.0		8,279.9		9,529.4		182,895.9				*

		95.0				Revenus (000 $)		1,919.8		2,631.0		4,203.8		5,128.2		5,159.9		4,557.1		3,259.5		2,103.5		1,467.8		1,249.5		1,246.2		1,352.4		34,280.7				*

		96.0				Utilisation moy/facture		634		644		933		1094		1097		1010		757		553		410		365		369		423		689				*

																														GI-2

																														DOCUMENT 3

																														PAGE 4 DE 4

						Original:   1998-07-08																								REQUÊTE 3406-98

						Révisé: 1998-10-30

						Révisé: 1998-11-11

		|::

																																				*

																																				*

																																				*

																																				*

																																				*

																																				*

																																				*

																																				*

																																				*

																																				*

		GAZIFERE INC.

		EVOLUTION MENSUELLE PAR TARIF DU NOMBRE DE CLIENTS,

		DES VOLUMES ET DES REVENUS DE GAZ

		CAUSE TARIFAIRE 1998

		NO DE

		LIGNE				DESCRIPTION		OCT		NOV		DEC		JANV		FEVR		MARS		AVRIL		MAI		JUIN		JUIL		AOUT		SEPT		CUMULATIF

								1		2		3		4		5		6		7		8		9		10		11		12		13

						Tarif 1

		1.0				Clients (nombre)		1,912		1,975		2,012		2,057		2,052		2,059		2,057		2,074		2,058		2,042		2,030		2,044		24,372

		2.0				Volumes (1000 m3)		2,162.5		3,790.4		6,228.1		8,382.2		8,387.4		7,390.7		4,761.7		2,786.3		1,689.9		1,353.3		1,228.7		1,351.4		49,512.8

		3.0				Revenus (000 $)		570.5		963.8		1,534.8		2,042.1		2,040.7		1,811.1		1,199.6		730.5		455.5		372.5		341.8		370.4		12,433.3

						Tarif 2

		4.0				Clients (nombre)		19,528		19,686		19,857		19,984		20,061		20,073		20,100		20,102		20,173		20,301		20,403		20,470		240,738

		5.0				Volumes (1000 m3)		2,575.9		4,225.0		8,044.6		9,727.7		9,822.0		8,192.6		5,815.4		3,038.5		1,668.6		1,272.5		1,261.9		1,264.7		56,909.2

		6.0				Revenus (000 $)		850.3		1,275.0		2,247.9		2,674.5		2,699.2		2,287.5		1,684.1		973.3		620.1		518.2		516.8		518.2		16,865.1

						Tarif 3

		7.0				Clients (nombre)		6		6		6		6		6		6		6		6		6		6		6		6		72

		8.0				Volumes (1000 m3)		247.7		353.3		236.5		311.9		323.7		289.7		208.9		385.6		370.1		385.9		221.8		284.5		3,619.5

		9.0				Revenus (000 $)		49.3		68.8		49.8		64.5		67.0		60.3		42.2		74.9		71.9		75.0		44.4		56.0		724.1

						Tarif 3 - T-service volumes

		10.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24

		11.0				Volumes (1000 m3)		182.3		415.9		429.8		429.8		388.2		429.8		415.9		182.3		178.4		182.3		182.3		178.4		3,595.0

		12.0				Revenus (000 $)		19.1		41.6		47.2		47.2		42.9		47.2		41.6		19.1		18.8		19.1		19.1		18.8		382.0

						Tarif 5

		13.0				Clients (nombre)		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0

		14.0				Volumes (1000 m3)		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0

		15.0				Revenus (000 $)		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0		0.0

						Tarif 9

		16.0				Clients (nombre)		2		2		2		2		2		2		2		2		2		2		2		2		24

		17.0				Volumes (1000 m3)		628.2		621.6		678.8		543.1		575.7		667.2		543.3		556.0		813.4		553.0		992.1		1,138.0		8,310.4

		18.0				Revenus (000 $)		87.4		86.5		97.4		78.0		82.8		95.8		75.8		77.6		112.8		77.2		137.4		157.3		1,166.0

						Tarif 9 - T-service volumes

		19.0				Clients (nombre)		4		4		4		4		4		4		4		4		4		4		4		4		48

		20.0				Volumes (1000 m3)		7,796.6		4,556.0		4,807.7		4,742.9		4,768.2		5,397.1		5,035.0		5,318.0		4,410.7		4,411.1		4,393.2		5,312.5		60,949.0

		21.0				Revenus (000 $)		343.2		195.3		226.7		221.9		227.2		255.2		216.2		228.1		188.7		187.5		186.7		231.7		2,708.3

						Total

		22.0				Clients (nombre)		21,454		21,675		21,883		22,055		22,127		22,146		22,171		22,190		22,245		22,357		22,447		22,528		265,278

		23.0				Volumes (1000 m3)		13,593.1		13,962.2		20,425.4		24,137.7		24,265.1		22,367.1		16,780.2		12,266.6		9,131.1		8,158.0		8,279.9		9,529.4		182,895.9

		24.0				Revenus (000 $)		1,919.8		2,631.0		4,203.8		5,128.2		5,159.9		4,557.1		3,259.5		2,103.5		1,467.8		1,249.5		1,246.2		1,352.4		34,278.8



&L&"MS Sans Serif,Regular"s:\budadmin\cause\cause99\&F\&A



# de clients

		GAZIFÈRE INC.

		ÉVOLUTION DU NOMBRE DE CLIENTS

		CAUSE TARIFAIRE 1999

																		ADDITIONS								ADDITIONS

														CLIENTS				NETTES				CLIENTS				NETTES				CLIENTS

		NO DE				DESCRIPTION								AU				DE CLIENTS				AU				DE CLIENTS				AU

		LIGNE												30-09-97 (1)				1998.0				30-09-98				1999.0				30-09-99 (2)

														1				2				3				4				5

		1				RÉSIDENTIEL SANS CHAUFFAGE

		2						Tarif 2						1,012				121				1,133				94				1,227

		3				RÉSIDENTIEL AVEC CHAUFFAGE

		4						Tarif 2						16,720				1,226				17,946				879				18,825

		5				TOTAL RÉSIDENTIEL								17,732				1,347				19,079				973				20,052

		6				COMMERCIAL SANS CHAUFFAGE

		7						Tarif 1						203				0				203				0				203

		8						Tarif 2						50				0				50				0				50

		9.0						Tarif 3						0				0				0				0				0

		10.0						Total						253				0				253				0				253

		11.0				COMMERCIAL AVEC CHAUFFAGE

		12.0						Tarif 1						1,567				133				1,700				136				1,836

		13.0						Tarif 2						368				0				368				0				368

		14.0						Tarif 3						3				1				4				0				4

		15.0

		16.0						Total						1,938				134				2,072				136				2,208

						COMMERCIAL INTERRUPTIBLE

		17.0						Tarif 9						1				0				1				0				1

		18.0				TOTAL COMMERCIAL								2,192				134				2,326				136				2,462

		19.0				INDUSTRIEL SANS CHAUFFAGE

		20.0						Tarif 1						4				(1)				3				0				3

		21.0						Tarif 3						1				1				2				0				2

		22.0						Tarif 3 - service de livraison						1				1				2				0				2

		23.0						Tarif 5						0				0				0				0				0

		24.0						Total						6				1				7				0				7

		25.0				INDUSTRIEL AVEC CHAUFFAGE

		26.0						Tarif 1						2				0				2				0				2

		27.0				INTERRUPTIBLE

		28.0						Tarif 9						3				(2)				1				0				1

		29.0						Tarif 9 - service de livraison						1				3				4				0				4

		30.0						Total						4				1				5				0				5

		31.0				TOTAL INDUSTRIEL								12				2				14				0				14

		32.0				GRAND TOTAL DE CLIENTS								19,936				1,483				21,419				1,109				22,528

		NOTES:				(1) Voir Etat de la mise en marche, Approvisionnement et marge brute de l'entreprise de gaz (septembre 1997).

						(2) Voir GI-2, document 3, nombre de clients de la colonne 12.

																												GI-2

		ORIGINAL: 1998-07-08																										DOCUMENT 2

																												PAGE 2 DE 3

																												REQUÊTE 3406-98



&L&"MS Sans Serif,Regular"s:\budadmin\cause\cause99\&F\&A



Tarif moyen

		GAZIFÈRE INC.

		ÉTAT ANNUEL DU NOMBRE DE CLIENTS

		DES VOLUMES ET DES REVENUS PAR TARIF

		CAUSE TARIFAIRE 1999

																								REVENUS

		NO DE										NOMBRE				VOLUMES				REVENUS				MOYENS

		LIGNE				DESCRIPTION						DE CLIENTS				(1000 m3)				(000$)				($/m3)

												1				2				3				4=3/2

		1.0				TARIF 1						2,044				49,512.7				12,433.3				0.2511

		2.0				TARIF 2						20,470				56,909.2				16,865.1				0.2964

		3.0				TARIF 3						6				3,619.5				724.1				0.2001

		4.0				TARIF 3 - service de livraison						2				3,595.0				382.0				0.1063

		5.0				TARIF 9						2				8,310.4				1,167.0				0.1404

		6.0				TARIF 9 - service de livraison						4				60,949.0				2,709.2				0.0445

		8.0				TOTAL						22,528		(1)		182,895.9		(2)		34,280.7		(3)		0.1874

		NOTES:		(1) Voir GI-2, document 3, page 4 de 4, ligne 93, colonne 12.

				(2) Voir GI-2, document 3, page 4 de 4, ligne 94, colonne 13, du 30 octobre 1998.

				(3) Voir GI-2, document 3, page 4 de 4, ligne 95 colonne 13, du 30 octobre 1998.

																						GI-2

																						DOCUMENT 2

		ORIGINAL :  1998-07-08																				PAGE 3 DE 3

		RÉVISÉ: 1998-10-30																				REQUÊTE 3406-98

		RÉVISÉ: 1998-11-11



&L&"MS Sans Serif,Regular"s:\budadmin\cause\cause99\&F\&A



Position conc.

		GAZIFÈRE INC.																																		GAZIFÈRE INC.

		POSITION CONCURRENTIELLE																																		POSITION CONCURRENTIELLE

		CAUSE TARIFAIRE 1999																																		CAUSE TARIFAIRE 1999

		SECTEUR RÉSIDENTIEL (1)

																																				SECTEUR COMMERCIAL

										Gaz naturel								Autre source				(Avantage)

																																								Gaz naturel								Autres sources						(Avantage) Désavantage

										Consommation												Gaz "tarifs en vigueur"						Gaz "tarifs proposés"

										de gaz		Tarifs		Tarifs				Huile				vs huile						vs huile

												en vigueur		proposés				36,9 ¢/litre				%						%												Consommation														Gaz "tarifs en vigueur"				Gaz "tarifs proposés"				Gaz "tarifs en vigueur"				Gaz "tarifs proposés"

										1		2		3				4				5						6												de gaz		Tarifs		Tarifs						Huile				vs électricité				vs électricité				vs huile				vs huile

																																										en vigueur (1)		proposés (1)				Électricité (2)		24,94 ¢/litre				%				%				%				%

																																								1		2		3				4		5				6				7				8				9

		1. CONVERSION										$947		$983				$1,273				(25.61)						(22.78)

		Type de fournaise								Moyenne efficacité								conventionnelle

																																				-Scénario I				41,500		$10,671		$11,040				$25,569		$10,063				(58.27)				(56.82)				6.04				9.71

										Gaz naturel								Autre source				(Avantage)														-Scénario II				200,000		$47,200		$48,980				$88,505		$48,494				(46.67)				(44.66)				(2.67)				1.00

										Consommation												Gaz "tarifs en vigueur"						Gaz "tarifs proposés"

										de gaz		Tarifs		Tarifs								vs électricité						vs électricité

												en vigueur		proposés				Électricité (4)				%						%

										1		2		3				4				5						6

		2. NOUVELLE CONSTRUCTION										$797		$826				$1,256				(36.54)						(34.24)

		Type de fournaise								Haute efficacité

										Gaz naturel								Autre source				(Avantage)

										Consommation												Gaz "tarifs en vigueur"						Gaz "tarifs proposés"

										de gaz		Tarifs		Tarifs				Huile				vs huile						vs huile

												en vigueur		proposés				36,9 ¢/litre				%						%

										1		2		3				4				5						6

		3. CLIENTÈLE EXISTANTE (2)																																		Notes:		(1)  Selon le Tarif 1 - service général.

																																						(2)  Selon les tarifs en vigueur le 1er mai 1998.

		A. Scénario I										$947		$983				$1,095				(13.52)						(10.23)

		-Type de fournaise								Moyenne efficacité								Haute efficacité

		B. Scénario II										$870		$902				$1,095				(20.55)						(17.63)

		-Type de fournaise								Haute efficacité								Haute efficacité

		Notes:		(1)  Tous les montants en argent incluent les taxes de vente pour le secteur résidentiel seulement.

				(2)  Uniquement l'huile à chauffage est considérée comme une alternative pour les clients existants.

				(3)  Comprend la consommation pour l'eau chaude domestique.

				(4)  Selon les tarifs en vigueur le 1er mai 1998.																								GI-2																																						GI-2

																												Document 5																																						Document 5

																												Page 1 de 3																																						Page 2 de 3

		Original:  1998-07-08																										Requête 3406-98						Original:  1998-07-08																																Requête 3406-98

		Révisé: 1998-11-06																																Révisé: 1998-11-06



&L&"MS Sans Serif,Regular"s:\budadmin\cause\cause99\&F\&A



conversion

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Conversion et clientèle existante - moyenne efficacité"

		Tarifs selon la D-98-01 + pass-on au 1er mai 1998

										OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")								5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)								138		220		358		495		523		358		275		165		55		55		55		55		2,752

		Obligation mensuelle min								9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré						à partir du

								1er mai 98

		de 0 à 50 m3				0.1749		0.1785		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$107.10

		de 50 à 100 m3				0.1699		0.1735		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$0.87		$0.87		$0.87		$0.87		$72.87

		de 100 à 320 m3				0.1649		0.1685		$6.40		$20.22		$37.07		$37.07		$37.07		$37.07		$29.49		$10.95		$0.00		$0.00		$0.00		$0.00		$215.34

		de 320 à 1000 m3				0.1599		0.1635		$0.00		$0.00		$6.21		$28.61		$33.19		$6.21		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$74.23

		excédent				0.1549		0.1585		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0739		0.0894		$12.34		$19.67		$32.01		$44.25		$46.76		$32.01		$24.59		$14.75		$4.92		$4.92		$4.92		$4.92		$246.03

		Ventes ($)								$45.34		$66.49		$101.89		$136.54		$143.62		$101.89		$80.67		$52.30		$23.71		$23.71		$23.71		$23.71		$823.57

																														TPS				57.65

																														TVQ				66.09

																														TOTAL				$947.31



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



conversion - propose

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Conversion et clientèle existante - moyenne efficacité"

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")						5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)						138		220		358		495		523		358		275		165		55		55		55		55		2,752

		Obligation mensuelle min						9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré

		de 0 à 50 m3				0.1850		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$111.00

		de 50 à 100 m3				0.1800		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$0.90		$0.90		$0.90		$0.90		$75.60

		de 100 à 320 m3				0.1750		$6.65		$21.00		$38.50		$38.50		$38.50		$38.50		$30.63		$11.38		$0.00		$0.00		$0.00		$0.00		$223.65

		de 320 à 1000 m3				0.1700		$0.00		$0.00		$6.46		$29.75		$34.51		$6.46		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$77.18

		excédent				0.1650		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0941		$12.99		$20.70		$33.69		$46.58		$49.21		$33.69		$25.88		$15.53		$5.18		$5.18		$5.18		$5.18		$258.96

		Ventes ($)						$46.89		$68.95		$105.90		$142.08		$149.47		$105.90		$83.75		$54.15		$24.33		$24.33		$24.33		$24.33		$854.39

																												TPS				59.81

																												TVQ				68.57

																												TOTAL				$982.77



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



nouvelle const

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Nouvelle construction - haute efficacité"

		Tarifs selon la D-98-01 + pass-on au 1er mai 1998

										OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")								5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)								112		179		292		404		426		292		224		135		45		45		45		44		2,243

		Obligation mensuelle min								9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré						à partir du

								1er mai 98

		de 0 à 50 m3				0.1749		0.1785		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.03		$8.03		$8.03		$7.85		$103.35

		de 50 à 100 m3				0.1699		0.1735		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$0.00		$0.00		$0.00		$0.00		$69.40

		de 100 à 320 m3				0.1649		0.1685		$2.02		$13.31		$32.35		$37.07		$37.07		$32.35		$20.89		$5.90		$0.00		$0.00		$0.00		$0.00		$180.97

		de 320 à 1000 m3				0.1599		0.1635		$0.00		$0.00		$0.00		$13.73		$17.33		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$31.07

		excédent				0.1549		0.1585		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0739		0.0894		$10.01		$16.00		$26.10		$36.12		$38.08		$26.10		$20.03		$12.07		$4.02		$4.02		$4.02		$3.93		$200.52

		Ventes ($)								$38.63		$55.91		$85.06		$113.52		$119.09		$85.06		$67.52		$44.57		$21.06		$21.06		$21.06		$20.79		$693.31

																														TPS				48.53

																														TVQ				55.64

																														TOTAL				$797.48



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



nouvelle const -propose

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Nouvelle construction - haute efficacité"

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")						5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)						112		179		292		404		426		292		224		135		45		45		45		44		2,243

		Obligation mensuelle min						9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré

		de 0 à 50 m3				0.1850		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$8.33		$8.33		$8.33		$8.14		$107.12

		de 50 à 100 m3				0.1800		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$0.00		$0.00		$0.00		$0.00		$72.00

		de 100 à 320 m3				0.1750		$2.10		$13.83		$33.60		$38.50		$38.50		$33.60		$21.70		$6.13		$0.00		$0.00		$0.00		$0.00		$187.95

		de 320 à 1000 m3				0.1700		$0.00		$0.00		$0.00		$14.28		$18.02		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$32.30

		excédent				0.1650		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0941		$10.54		$16.84		$27.48		$38.02		$40.09		$27.48		$21.08		$12.70		$4.23		$4.23		$4.23		$4.14		$211.07

		Ventes ($)						$39.89		$57.92		$88.33		$118.05		$123.86		$88.33		$70.03		$46.08		$21.56		$21.56		$21.56		$21.28		$718.43

																												TPS				50.29

																												TVQ				57.65

																												TOTAL				$826.37



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



clientele existante

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Clientèle existante - haute efficacité"

		Tarifs selon la D-98-01 + pass-on au 1er mai 1998

										OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")								5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)								125		199		324		448		473		324		249		149		50		50		50		49		2,490

		Obligation mensuelle min								9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré						à partir du

								1er mai 98

		de 0 à 50 m3				0.1749		0.1785		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.93		$8.75		$106.92

		de 50 à 100 m3				0.1699		0.1735		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$8.68		$0.00		$0.00		$0.00		$0.00		$69.40

		de 100 à 320 m3				0.1649		0.1685		$4.21		$16.68		$37.07		$37.07		$37.07		$37.07		$25.11		$8.26		$0.00		$0.00		$0.00		$0.00		$202.54

		de 320 à 1000 m3				0.1599		0.1635		$0.00		$0.00		$0.65		$20.93		$25.02		$0.65		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$47.25

		excédent				0.1549		0.1585		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0739		0.0894		$11.18		$17.79		$28.97		$40.05		$42.29		$28.97		$22.26		$13.32		$4.47		$4.47		$4.47		$4.38		$222.61

		Ventes ($)								$41.99		$61.07		$93.29		$124.65		$130.97		$93.29		$73.97		$48.18		$22.40		$22.40		$22.40		$22.13		$756.72

																														TPS				52.97

																														TVQ				60.73

																														TOTAL				$870.42



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



client. existante propose

		Gazifère Inc.

		Résidentiel, tarif 2

		Scénario d'un client "Clientèle existante - haute efficacité"

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		(Cloche dans les "feasibility guidelines")						5%		8%		13%		18%		19%		13%		10%		6%		2%		2%		2%		2%		100%

		Volumes (m3)						125		199		324		448		473		324		249		149		50		50		50		49		2,490

		Obligation mensuelle min						9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		9.00		108.00

		Prix au volume retiré

		de 0 à 50 m3				0.1850		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.25		$9.07		$110.82

		de 50 à 100 m3				0.1800		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$9.00		$0.00		$0.00		$0.00		$0.00		$72.00

		de 100 à 320 m3				0.1750		$4.38		$17.33		$38.50		$38.50		$38.50		$38.50		$26.08		$8.58		$0.00		$0.00		$0.00		$0.00		$210.35

		de 320 à 1000 m3				0.1700		$0.00		$0.00		$0.68		$21.76		$26.01		$0.68		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$49.13

		excédent				0.1650		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00		$0.00

		Prix de gaz				0.0941		$11.76		$18.73		$30.49		$42.16		$44.51		$30.49		$23.43		$14.02		$4.71		$4.71		$4.71		$4.61		$234.31

		Ventes ($)						$43.39		$63.30		$96.92		$129.67		$136.27		$96.92		$76.76		$49.85		$22.96		$22.96		$22.96		$22.68		$784.60

																												TPS				54.92

																												TVQ				62.96

																												TOTAL				$902.48



&L&"MS Sans Serif,Regular"&10s:\budadmin\cause\cause99\&F\&A



Commercial-vigueur

		GAZIFÈRE INC.

		Commercial, tarif 1

		Tarifs selon la D-98-01 + pass-on au 1er mai 1998

										OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

										7%		11%		17%		21%		17%		14%		8%		4%		0.25%		0.25%		0.25%		0.25%		100.00%

		Volumes (m3)								2,932		4,718		7,003		8,565		7,068		5,970		3,380		1,586		69		69		70		70		41,500

		Obligation mensuelle min								16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		192.00

		Prix au volume retiré						à partir du

								1er mai 98

		de 0 à 100 m3				0.1947		0.1986		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		13.70		13.70		13.90		13.90		214.09

		de 100 à 320 m3				0.1847		0.1886		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		0.00		0.00		0.00		0.00		331.94

		de 320 à 1,000 m3				0.1747		0.1786		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		0.00		0.00		0.00		0.00		971.58

		de 1,000 à 3,200 m3				0.1647		0.1686		325.74		370.92		370.92		370.92		370.92		370.92		370.92		98.80		0.00		0.00		0.00		0.00		2650.05

		de 3,200 à 10,000 m3				0.1447		0.1486		0.00		225.57		565.13		797.24		574.78		411.62		26.75		0.00		0.00		0.00		0.00		0.00		2601.09

		excédent				0.1297		0.1336		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00

		Prix de gaz				0.0739		0.0894		262.12		421.79		626.07		765.71		631.88		533.72		302.17		141.79		6.17		6.17		6.26		6.26		3710.10

		Ventes ($)								786.66		1217.08		1760.91		2132.67		1776.38		1515.06		898.64		439.39		35.87		35.87		36.16		36.16		10670.86

		TPS (7%)								55.07		85.20		123.26		149.29		124.35		106.05		62.90		30.76		2.51		2.51		2.53		2.53		746.96

		TVQ  (6.5)								54.71		84.65		122.47		148.33		123.55		105.37		62.50		30.56		2.49		2.49		2.51		2.51		742.16

		Total								896.43		1386.93		2006.65		2430.28		2024.28		1726.49		1024.05		500.70		40.88		40.88		41.21		41.21		12159.98



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause98\&F\&A



Commercial-vigueur (sce.2)

		GAZIFÈRE INC.

		Commercial, tarif 1

		Tarifs selon la D-98-01 + pass-on au 1er mai 1998

										OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

										7.39%		10.59%		14.70%		17.50%		14.81%		12.84%		8.19%		4.97%		2.25%		2.25%		2.25%		2.25%

		Volumes (m3)								14,778		21,188		29,393		34,999		29,627		25,685		16,384		9,946		4,500		4,500		4,500		4,500		200,000

		Obligation mensuelle min								16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		192.00

		Prix au volume retiré						à partir du

								1er mai 98

		de 0 à 100 m3				0.1947		0.1986		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		19.86		238.32

		de 100 à 320 m3				0.1847		0.1886		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		41.49		497.90

		de 320 à 1,000 m3				0.1747		0.1786		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		121.45		1457.38

		de 1,000 à 3,200 m3				0.1647		0.1686		370.92		370.92		370.92		370.92		370.92		370.92		370.92		370.92		370.92		370.92		370.92		370.92		4451.04

		de 3,200 à 10,000 m3				0.1447		0.1486		1010.48		1010.48		1010.48		1010.48		1010.48		1010.48		1010.48		1002.46		193.18		193.18		193.18		193.18		8848.54

		excédent				0.1297		0.1336		638.34		1494.72		2590.90		3339.87		2622.17		2095.52		852.90		0.00		0.00		0.00		0.00		0.00		13634.41

		Prix de gaz				0.0739		0.0894		1321.15		1894.21		2627.73		3128.91		2648.65		2296.24		1464.73		889.17		402.30		402.30		402.30		402.30		17880.00

		Ventes ($)								3539.69		4969.12		6798.84		8048.98		6851.02		5971.96		3897.83		2461.35		1165.20		1165.20		1165.20		1165.20		47199.59

		TPS (7%)								247.78		347.84		475.92		563.43		479.57		418.04		272.85		172.29		81.56		81.56		81.56		81.56		3303.97

		TVQ  (6.5)								246.19		345.60		472.86		559.81		476.49		415.35		271.09		171.19		81.04		81.04		81.04		81.04		3282.73

		Total								4033.66		5662.57		7747.62		9172.21		7807.08		6805.34		4441.77		2804.83		1327.80		1327.80		1327.80		1327.80		53786.29



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause99\&F\&A



Commercial-proposé

		GAZIFÈRE INC.

		Commercial, tarif 1

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

								7%		11%		17%		21%		17%		14%		8%		4%		0.25%		0.25%		0.25%		0.25%		100.00%

		Volumes (m3)						2,932		4,718		7,003		8,565		7,068		5,970		3,380		1,586		69		69		70		70		41,500

		Obligation mensuelle min						16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		192.00

		Prix au volume retiré

		de 0 à 100 m3				0.2028		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		13.99		13.99		14.20		14.20		218.62

		de 100 à 320 m3				0.1928		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		0.00		0.00		0.00		0.00		339.33

		de 320 à 1,000 m3				0.1828		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		0.00		0.00		0.00		0.00		994.43

		de 1,000 à 3,200 m3				0.1728		333.85		380.16		380.16		380.16		380.16		380.16		380.16		101.26		0.00		0.00		0.00		0.00		2716.07

		de 3,200 à 10,000 m3				0.1528		0.00		231.95		581.10		819.77		591.03		423.26		27.50		0.00		0.00		0.00		0.00		0.00		2674.61

		excédent				0.1378		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00		0.00

		Prix de gaz				0.0941		275.90		443.96		658.98		805.97		665.10		561.78		318.06		149.24		6.49		6.49		6.59		6.59		3905.15

		Ventes ($)						812.75		1259.07		1823.24		2208.90		1839.29		1568.19		928.72		453.50		36.49		36.49		36.78		36.78		11040.21

		TPS (7%)						56.89		88.14		127.63		154.62		128.75		109.77		65.01		31.75		2.55		2.55		2.57		2.57		772.81

		TVQ  (6.5)						56.53		87.57		126.81		153.63		127.92		109.07		64.59		31.54		2.54		2.54		2.56		2.56		767.85

		Total						926.17		1434.78		2077.67		2517.15		2095.96		1787.03		1058.33		516.79		41.58		41.58		41.92		41.92		12580.87



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause99\&F\&A



Commercial-proposé (sce.2)

		GAZIFÈRE INC.

		Commercial, tarif 1

								OCT.		NOV.		DÉC		JAN.		FÉV		MARS		AVRIL		MAI		JUIN		JUIL.		AOÛT		SEPT.		TOTAL

		VENTES

		Volumes (m3)						14,778		21,188		29,393		34,999		29,627		25,685		16,384		9,946		4,500		4,500		4,500		4,500		200,000

		Obligation mensuelle min						16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		16.00		192.00

		Prix au volume retiré

		de 0 à 100 m3				0.2028		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		20.28		243.36

		de 100 à 320 m3				0.1928		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		42.42		508.99

		de 320 à 1,000 m3				0.1828		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		124.30		1491.65

		de 1,000 à 3,200 m3				0.1728		380.16		380.16		380.16		380.16		380.16		380.16		380.16		380.16		380.16		380.16		380.16		380.16		4561.92

		de 3,200 à 10,000 m3				0.1528		1039.04		1039.04		1039.04		1039.04		1039.04		1039.04		1039.04		1030.79		198.64		198.64		198.64		198.64		9098.63

		excédent				0.1378		658.41		1541.71		2672.36		3444.86		2704.60		2161.39		879.72		0.00		0.00		0.00		0.00		0.00		14063.04

		Prix de gaz				0.0941		1390.61		1993.79		2765.88		3293.41		2787.90		2416.96		1541.73		935.92		423.45		423.45		423.45		423.45		18820.00

		Ventes ($)						3671.22		5157.70		7060.44		8360.47		7114.70		6200.55		4043.65		2549.87		1205.25		1205.25		1205.25		1205.25		48979.59

		TPS (7%)						256.99		361.04		494.23		585.23		498.03		434.04		283.06		178.49		84.37		84.37		84.37		84.37		3428.57

		TVQ  (6.5)						255.33		358.72		491.05		581.47		494.83		431.25		281.24		177.34		83.83		83.83		83.83		83.83		3406.53

		Total						4183.54		5877.45		8045.72		9527.17		8107.56		7065.84		4607.94		2905.70		1373.44		1373.44		1373.44		1373.44		55814.69



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause99\&F\&A



Hypothèses

		GAZIFÈRE INC.

		POSITION CONCURRENTIELLE

		HYPOTHÈSES

		CAUSE TARIFAIRE 1999

		Prix utilisé pour le combustible seulement

				1)  Électricité:

				2)  Gaz naturel:		Tarifs en vigueur selon la décision D-98-49 de

						la Régie de l'énergie.

						Tarifs proposés dans le présent dossier tarifaire (voir GI-21,

						document 4, colonne 5).

				3) Huile (Résidentiel):		Prix établi en fonction d'un sondage maison effectué

						auprès de différents fournisseurs de la région.

				4) Huile (Commercial):		Prix fourni par le service "Economic Studies" de Consumers

						Gas à Toronto.  Selon leur connaissance du marché actuel,

						un prix raisonnable pour l'huile #2 dans l'Outaouais serait de

						24.94 cents du litre pour l'année témoin 1998-1999.

		Rendement énergétique des équipements de chauffage

		Secteur résidentiel:

				Gaz naturel				Huile

				Moyenne efficacité:  80%				Conventionnelle:  65%				100%

				Haute efficacité:  93%				Haute efficacité:  80%

												GI-2

												Document 5

												Page 3 de 3

		Original:  1998-07-08										Requête 3406-98

		Révisé: 1998-11-06



&L&"MS Sans Serif,Regular"S:\budadmin\cause\cause99\&F\&A




_988475144.xls
Chart1

		1990

		1991

		1992

		1993

		1994

		1995

		1996

		1997

		1998



YEAR

m3

160033799

132253688

132559757

43933565

25330746

45007900

70584100

78766900

68229621



eb eddy & bowater

		

		GAZIFÈRE INC.

		STATISTICS ON LARGE VOLUME CUSTOMERS

		E.B. EDDY & BOWATER

		1990-1998 ACTUALS

						1990		1991		1992		1993		1994		1995		1996		1997		1998

		CONSUMPTION				160,033,799		132,253,688		132,559,757		43,933,565		25,330,746		45,007,900		70,584,100		78,766,900		68,229,621



&Ls:\budadmin\volumes\&F\&A



eb eddy & bowater

		



YEAR

m3




