RESIDENTIAL WATER HEATER PROCUREMENT POLICY SPECIFICATIONS

a) Background Information/Product Description:

· Gazifère will procure residential water heater tanks for its water heater rental customers that have a minimum energy factor (EF) rating that is three percentage points higher than the government standard of 0.62 EF.

· This will be an ongoing procurement policy for each fiscal year.

b) Business Objective:

· The total number of residential water heater tanks procured for fiscal year 2000/2001 is estimated at 2,000 tanks.

· This procurement policy represents m³ savings of:

· 49 m³ for each water heater tank.

· This procurement policy represents CO2 savings of:

· 1,880 grams of CO2/ m³ per year (Environment Canada’s estimates for Canada).

· Total procurement policy savings based on the above participation rate are 98,000 m³, and 184 tonnes of CO2.

c) Executional Guidelines:

· Gazifère previously procured residential water heater tanks via Enbridge Consumers Gas (ECG). The viability of this option ended when ECG unbundled their services.

· Gazifère now procures residential water heater tanks locally from Convex.

· Water heater tanks are manufactured by GSW, and Bradford White.

d) Tracking/Measurement Requirements:

· This procurement policy will require tracking of the number of residential water heaters installed on a monthly basis.

· There will be an audit component of the Policy, which will include a comprehensive look at actual installations measured by monthly installation reports, against stock acquired. The audit will take place at the end of the fiscal year.

Original : 2000-10-17

GI-23



Document 2



Page 1 de 2


Requête 3446-2000
1
Original : 2000-10-17

GI-23



Document 2



Page 2 de 2


Requête 3446-2000

