Figure 7 – Summary of 2002 DSM Programs Estimated Impact & Budget

Measures
# of

Partic.
Free

Riders
Saving

/Partic.

(m³)
Total

Annual

Gas

Savings

(m³)
Total

Annual

CO2
Savings

(tonnes)
Total

Annual

Water Savings

(000 L)
Equip

Life

(Yrs)
Total Cost

All Partic.

Res Gas &Wtr Savings Pgm


   Low-flow Showerheads
2780
10%
  84
210,168
   395
105,084
11
$45,478

   Faucet Aerators
2780
10%
  15
  37,530
    71
  10,008
11
6,867

   Pipe Wrap
3050
  0%
  15
  45,750
    86
-
20
12,930

   Tank Turn Down
2900
  0%
  90
261,000
   491
-
20
4,940

   Pgm Communications







10,000

   CUO Contribution







(10,000)

Sub-total



554,448
1,043
115,092

$70,215

Res Water Htr Procurement 
1800
0%
  44
  79,200
   149
-

n/a

Residential Gas Furnace Pgm


   High Efficiency Furnaces
  250
30%
679
118,825
   223
-
20
$25,000

   Programmable Thermostats
  250
11%
166
  36,935
    69
-
20
18,525

   Pgm Communications







17,000

Sub-total



155,760
   292
-

$60,525

Comm Wtr Htr Procurement


   Residential Tanks
    35
  0%
  44
    1,540
      3
-
20
n/a

   Commercial Tanks
    35
  0%
700
  24,500
    46
-
20
n/a

Sub-total



  26,040
    49
-

n/a

Multi-Res Gas & Water Savings Pgm


   Low-flow Showerheads
1000
10%
52
  46,800
    88
  23,625
11
$3,300

   Faucet Aerators
1000
10%
15
  13,500
    25
    3,600
11
2,470

   Pgm Communications







10,000

Sub-total



  60,300
   113
  27,225

$15,770

Comm/Ind HE Boiler Pgm
  50
  0%
1,100
  55,000
   103
-
25
$12,500

   Pgm Communications







5,000

Sub-total



55,000
   103
-

$17,500

Comm Design Assistance Pgm
     2
10%
n/a
n/a
n/a
-
-
$7,000

   Pgm Communications







3,000

Sub-total







$10,000

Comm/Ind Market Research







$25,000

Program Audits







$20,000

Market Impacts







$25,000

Load Impacts







$10,000

DSM Admin. Staff – FTE







$44,200

Internal Communications







$1,000

Broadscale Communications







$7,500

Web-site Update







$4,000

Computer Programming







$10,000

DSM Program Implementation







$25,000

Contingency







$10,000

Overheads







$20,000

Future DSM Pgm Planning







$25,000

TOTAL (All Measures)



930,748
1,749
142,317

$400,418

Original : 2001-08-10

37

Révisée 1: 2001-10-15

Révisée 2: 2002-03-13

Révisée 3: 2002-04-23


