GRAND COUNCIL OF THE CREES (Eeyou Istchee) /

CREE REGIONAL AUTHORITY

INFORMATON REQUEST NO. 1



Please provide the information for each Cree community:

1. annual and if possible monthly energy sales (i.e. consumption) in Gwh and its costs in $ Can., broken down by categories – institutional, domestic/residential and commercial.  Separately, if possible, for the last three years.

2. the number of residential clients (i.e. households) for each of the communities.

3. the maximum or average load on a monthly basis for individual communities, ideally for several years.

4. Information on locally installed equipment or transmission capacity, if they also in practice impose limits on electricity usage;

5. A frequency distribution of energy usage for the domestic/residential sector on an annual basis.

6. a) 
The number of households per community served by Hydro-Québec?

b) For each community, the average load per household?

c) The residential load shape for each of the following time scales:

i) hourly shape, for each day of the week, and seasonal differences in hourly load shape;

ii) daily load shape, across a typical week, for each month and/or season and/or annually;

iii) monthly load shape across a year.

d) 
Please provide similar information to 6c) for commercial and industrial l
loads;

7. Any historical data showing historical values of the quantities requested in question 6.

8. Any projections that Hydro-Québec has made or used of the quantities requested in question 6.

9. Provide a copy of the agreements in force between Hydro-Québec and its clients of the autonomous grid.

· If the information as requested has not been collected by Hydro-Québec, please provide the information available.

Document #: 666485


