GAZIFÈRE INC.

PLAN D’EFFICACITÉ ÉNERGÉTIQUE

OBJECTIFS MENSUALISÉS

CAUSE TARIFAIRE 2004

Summary of Proposed 2004 DSM Programs Estimated Impact & Budget
Measures
# of

Partic.
Free

Rider
Saving

/Partic.

(m³)
Total

effective

Gas

Savings

(m³)
Total

Annual

CO2
Savings

(tonnes)
Total

Annual

Water Savings

(000 L)
Equip

Life

(Yrs)
Total Cost

All Partic.











Res Gas &Wtr Savings Pgm









   Low-flow Showerheads
  750
10%
  93
  36,107
118
28,350
08
$13,060

   Faucet Aerators
1500
10%
  17
  12,691
  43
  5,400
08
3,705

   Pipe Wrap
1800
  0%
  15
  15,625
  51
-
20
8,600

   Tank Turn Down
1500
  0%
  90
  76,391
254
-
08
2,260

   Pgm Communications







8,000

Sub-total



140,814
466
33,750

$35,625











Res Water Htr Procurement 
1900
0%
  44
  48,814
157
-

n/a











Residential Gas Furnace Pgm









   High Efficiency Furnaces
    60
30%
679
  13,927
  54
-
20
$6,000

   Programmable Thermostats
    60
11%
195
  5,080
  20
-
20
3,846

   Pgm Communications







5,000

Sub-total



  19,007
  74
-

$14,846











Novoclimat
      3
  0%
972
    729
    5
-

$4,500

   Pgm Communications







$2,000

Sub-total



    729
    5
-

$6,500











EnerGuide for Houses
    12
  0%
439
  2,851
  25
-

$0

   Pgm. Communications







$8,000

Sub-total



  2,851
  25
-

$8,000











Comm Wtr Htr Procurement









   Residential Tanks
    15
  0%
  49
      398
    1
-
08
n/a

   Commercial Tanks
    40
  0%
700
  18,673
  53
-
12
n/a

Sub-total



  19,071
  54
-

n/a











Multi-Res Gas & Water Savings Pgm









   Low-flow Showerheads
360
10%
58
  10,179
    35
    8,505
08
$1,900

   Faucet Aerators
360
10%
17
    2,978
    10
    1,296
08
889

   Pgm Communications







2,000

Sub-total



  13,157
    45
    9,801

$4,789











Comm/Ind HE Boiler Pgm
    30
  0%
1,100
 16,962
    62
-
20
$15,000

   Pgm Communications







5,000

Sub-total


1,100
  16,962
    62
-

$20,000











Comm Design Assistance Pgm
     2
10%
n/a
n/a
n/a
-
-
$7,000

   Pgm Communications







3,000

Sub-total







$10,000

Measures
# of

Partic.
Free

Rider
Saving

/Partic.

(m³)
Total

Annual

Gas

Savings

(m³)
Total

Annual

CO2
Savings

(tonnes)
Total

Annual

Water Savings

(000 L)
Equip

Life

(Yrs)
Total Cost

All Partic.

EE Municipal Buildings
       1*
  0%
  100,000
0
188
n/a
n/a
$25,000

   Contribution to AEE







$5,000

Sub-total







$30,000











EE Institutional
      2
  0%
  100,000
0
376
n/a
n/a
$50,000

   Pgm. Communications







$2,000

Sub-total







$52,000











Comm Market Research







$20,000











Total program costs - All Measuress



261,405
1,437
43,551

$201,760











Fixed Costs:









Program Audits







0

Market Impacts







$10,000

Load Impacts







0

Broadscale Communications







$10,000

Web-site Update







$4,000

Computer Programming







$10,000

DSM Program Implementation







$25,000

Contingency







$10,000

Overheads







$10,000

Future DSM Pgm Planning







$10,000

Total Fixed Costs







$89,000











Salaries:









DSM Admin. Staff – FTE







$44,200

Add’nl DSM Staff – contractor







$60,000

Total Salaries







$104,200











GRAND TOTAL



261,405
1,437
43,551

$394,960

*The one participant is considered to be the new City of Gatineau, representing all its municipal buildings combined.

Original :  2003-08-15

GI-15



Document 4



Page 1 de 2



Requête 3514-2003


