D-2008-155, R-3523-2003, 2008 12 19
D-2008-155, R-3523-2003, 2008 12 19 
Appendix II
32

APPENDIX II

Gazifère Inc.
Conditions of Natural Gas Service 

Original: 2009-02-16



GI-8





Document 1





32 pages






Requête 3523-2003
GAZIFÈRE INC. 
CONDITIONS OF NATURAL GAS SERVICE 
As approved by the Régie de l’énergie

in Decision D-2008-155
INTRODUCTORY NOTE

These Conditions of service have been set by the Régie de l’énergie pursuant to An Act Respecting the Régie de l’énergie (R.S.Q., c. R-6.01). Any customer who disagrees with the application of any of these conditions by the distributor may submit a complaint to it in accordance with the complaint review procedure established by the distributor and approved by the Régie de l’énergie pursuant to Decision D-98-25, File R‑3392‑97, May 13, 1998, Appendix B. If the customer does not agree with the distributor’s decision concerning his complaint, he may then ask the Régie to review it in accordance with the provisions of Chapter 7 of the aforementioned Act (sections 86 to 101).
TABLE OF CONTENTS
51.
CHAPTER 1 – APPLICATION


51.1
Application


51.2
Information


51.3
Definitions


72.
CHAPTER 2 – DISTRIBUTION SYSTEM


72.1
Distribution system


72.1.1
Accessibility


72.1.2
Relocation or modification


83.
CHAPTER 3 – SERVICES


83.1
Natural gas services


83.2
Choice of services


94.
CHAPTER 4 – NATURAL GAS SERVICE REQUEST AND CONTRACT


94.1
Natural gas service request


94.1.1
Service request procedures


94.1.1.1
Address connected to the distribution system


94.1.1.2
Address not connected to the distribution system


94.1.2
Conditions for acceptance of a service request


104.2
Information to be provided for a natural gas service request


104.2.1
Individual:


104.2.2
Other person:


114.3
Connection charges


114.3.1
Cost of work and profitability of investment


114.3.2
Financial contribution from the customer


124.4
Time required by the distributor to provide natural gas distribution service


124.4.1
Address connected to the distribution system


124.4.2
Address not connected to the distribution system


124.5
Format, execution and effective date of contract


124.5.1
Format


134.5.2
Execution and effective date


134.6
Confirmation of acceptance of the natural gas service request


144.7
Contract term


144.8
Contract amendment


144.9
Contract termination


144.9.1
Written contract


144.9.2
Other contract


154.10
Act of god


165.
CHAPTER 5 – MEASUREMENT


165.1
Metering equipment


165.1.1
Metering equipment belonging to the distributor


165.1.2
Location of and access to the metering equipment


165.1.3
Metering equipment belonging to the customer


175.2
Measurement of volume of natural gas withdrawn


175.3
Reading of metering equipment


175.3.1
Reading by the distributor


175.3.2
Frequency of readings


175.3.3
Reading by the customer


185.4
Volume of natural gas withdrawn by the customer


185.5
Defective metering equipment


196.
CHAPTER 6 – BILLING


196.1
Billing methods


196.1.1
Volume of natural gas billed


196.1.2
Contractual obligations


196.1.3
Correction of error


206.1.4
Billing period covered by the correction


206.2
Bills


206.2.1
Issue


206.2.2
Sending


216.2.3
Delivery


216.2.4
Information appearing on the bill


227.
CHAPTER 7 – PAYMENT


227.1
Due date


227.2
Terms


227.2.1
Payment methods


227.2.2
Offset prohibition


237.2.3
Budget billing plan


237.3
Liability


237.3.1
Written contract


247.3.2
Other contract


258.
CHAPTER 8 – DEPOSIT


258.1
Requirement


258.1.1
Domestic use


258.1.1.1
Natural gas service request


258.1.1.2
During the term of the contract


268.1.2
Other uses


268.1.2.1
Natural gas service request


268.1.2.2
During the term of the contract


268.2
Amount


268.2.1
Domestic use


278.2.2
Other uses


278.3
Payment


278.4
Retention period


288.5
Interest on the cash deposit


288.5.1
Interest rate


288.5.2
Payment of interest


288.6
Use or remittance to the customer


288.6.1
Use of the deposit


288.6.1.1
During the term of the contract


288.6.1.2
On termination of the contract


298.6.2
Remittance of the deposit


309.
CHAPTER 9 – COLLECTION


309.1
Payment arrangement


309.2
Payment default


309.3
Late payment charge


309.4
Collection procedures


309.4.1
Collection notices


319.4.2
Interruption for non-payment


329.5
Reconnection




1. CHAPTER 1 – APPLICATION
1.1 Application
The provisions hereof establish the conditions of natural gas service of Gazifère Inc. (the distributor) in its exclusive distribution territory.
1.2 Information
The distributor shall inform its customers of these conditions of service. 
1.3 Definitions
In this document, the following terms shall have the meaning ascribed to them: 

billing Address

The address where the bill is sent to the customer
Connection

The fact of connecting a new service address to the distribution system 
Contract

The agreement between a customer and the distributor for one or more natural gas services supplied by the distributor to a service address
Customer

Any individual or corporation, partnership or body that has entered into a contract with the distributor
Customer delivery point

The location immediately after the distributor’s metering equipment where it makes the natural gas available to the customer
Domestic use
Utilization of the natural gas service for applications related exclusively to occupying a personal residence, apartments in a housing cooperative or a non-profit housing organization, or the use of common areas in a condominium.

metering equipment
Any equipment or set of equipment used to measure the natural gas withdrawn by the customer, including in particular a meter equipped with or without a remote reading device.

Minimum annual obligation

Minimum annual volume of natural gas, for each contract year, that the customer agrees to pay, in accordance with the Rates, whether or not he withdraws the natural gas 
Monthly fixed charge
A fixed amount billed monthly to the customer.
Natural gas service 

One or more of the distributor’s following services: natural gas supply service, natural gas compressor fuel service, transportation service, distribution service

Payment arrangement
The agreement between the customer and the distributor to spread the payment of the unpaid amounts owing on the due date over a period of time and to provide for full payment of the bills issued during the period covered by the agreement. 

Pressure factor

The coefficient applied to the natural gas volume withdrawn by the customer in order to account for the atmospheric pressure and the delivery pressure
Rates
All of the rates and rate conditions applicable to the customer and the distributor, as set by the Régie de l’énergie
service address
The address that is or will be connected to the distribution system
2. CHAPTER 2 – DISTRIBUTION SYSTEM
2.1 Distribution system 

The distributor shall determine the location of its distribution system.

The distributor shall own the distribution system and shall supply, install, operate and maintain the system up to the customer delivery point.

At any time, only the distributor or its authorized representative may modify or alter its distribution system in any manner. 
.

2.1.1 Accessibility
The customer shall make the distribution system accessible to the distributor at any time and shall maintain the premises in a manner that permits the distributor to operate the system in accordance with the applicable legislation.

2.1.2 Relocation or modification
A person who requests that the distribution system be relocated or modified shall be the owner of the property where the service address is located or declare and warrant having, in this regard, all the authorizations and permissions required from the owner of the premises. The person making the request shall provide the distributor, upon request, with sworn proof.

If the distributor relocates or modifies its distribution system following a request made under the preceding paragraph, the distributor may bill the person making the request for the cost of the work based on an estimate it has provided to him in advance or based on the actual cost of the work. The method of billing the cost of the work shall be determined when the relocation or modification request is made. 
If a request to relocate or modify the system is withdrawn, the distributor may bill the person making the request if work has already been undertaken or completed. The amount shall then be based on the actual cost of the work.
3. CHAPTER 3 – SERVICES

3.1 Natural gas services

The distribution service shall be offered exclusively by the distributor in its territory, as provided in An Act Respecting the Régie de l’énergie.

The following services may, at the option of the customer, be obtained from the distributor, or subject to the Rates, obtained by the customer himself from one or more suppliers:

1° gas supply service;

2° compressor fuel service;

3° transportation service.
The distributor shall provide these services by default, in accordance with the Rates, unless the customer notifies it of his intention to provide them himself. 

3.2 Choice of services

The conditions relating to the distributor’s services or the services provided by the customer are specified in the Rates.

4. CHAPTER 4 – NATURAL GAS SERVICE REQUEST AND
CONTRACT
4.1 Natural gas service request
4.1.1 Service request procedures
4.1.1.1
Address connected to the distribution system
The service request may be made to the distributor by telephone, mail, e‑mail, fax or on the distributor’s Internet site.

Following acceptance of the request for natural gas service, the distributor shall bill the customer the amount set out in the Rates for opening an account in his name at the service address.
4.1.1.2
Address not connected to the distribution system
The service request shall be made to the distributor in writing on the prescribed form.

The person making the request shall be the owner of the property where the service address is located or declare and warrant having, in this regard, all the authorizations and permissions required from the owner of the property. The person making the request shall provide the distributor, upon request, with sworn proof.

Following acceptance of the request for natural gas service, the distributor shall bill the customer the amount set out in the Rates for opening an account in his name at the service address.
4.1.2 Conditions for acceptance of a service request
Acceptance of a service request by the distributor may be subject to:

1° payment of a deposit in accordance with section 8.1;

2° payment, in accordance with Chapter 7, of the amounts owing to the distributor by a customer if the customer continues to occupy the service address covered by the request after the date the natural gas is required.
4.2 Information to be provided for a natural gas service request
4.2.1 Individual:

1° Mandatory information
a) Family name and given name
b) Service address covered by the natural gas service request

c) Billing address, if different from the address covered by the natural gas service request 
d) Telephone number(s)
e) Date for which service is requested
f) Date of birth 

g) Other active accounts with the distributor

h) Last address occupied during the 12 months preceding the request
2° Optional information
a) Fax number
b) E-mail address
c) Reading of the metering equipment 
4.2.2 Other person:

1° Mandatory information
a) Name of person
b) Business name
c) Service address covered by the natural gas service request

d) Billing address, if different from the address covered by the natural gas service request

e) Telephone number(s)
f) Name of contact person
g) Date for which service is requested
h) Other active accounts with the distributor

i) Last address occupied during the 12 months preceding the request 

2° Optional information
a) Fax number
b) E-mail address
c) Reading of the metering equipment 
4.3 Connection charges 

4.3.1 Cost of work and profitability of investment

If the service address is not connected to the distribution system, the distributor shall estimate the cost of the work required and the revenues generated by connecting the service address to the distribution system.

If a connection request is withdrawn, the distributor may bill the person making the request if the work has already been undertaken or completed. The amount shall then be based on the actual cost of the work. 
4.3.2 Financial contribution from the customer
If the revenues generated from connecting the service address to the distribution system do not allow the distributor to make a profitable investment, based on the estimated cost of the work required, in accordance with the conditions approved by the Régie de l’énergie, the distributor may, at the end of the contract, agree with the customer on a financial contribution payable by the customer. It may also agree, with the customer, on a minimum annual obligation. 
If a financial contribution is required, it shall be payable in a single payment or in several instalments before the work is started. The distributor shall provide the customer with the details of the financial contribution required.
If a financial contribution is required, the distributor and the customer shall agree before the work is started, in particular, on:

1° the amount of the financial contribution requested from the customer;

2° the payment terms of the financial contribution requested from the customer;

3° the conditions permitting repayment, in whole or in part, of the contribution requested from the customer, if applicable.
The distributor may repay, in whole or in part, in accordance with certain profitability conditions set out in writing when the contract is signed, the financial contribution paid by the customer to make the investment profitable.
Notwithstanding the payment of a financial contribution by the customer, the distributor shall remain the exclusive owner of the distribution system.
4.4 Time required by the distributor to provide natural gas distribution service
4.4.1 Address connected to the distribution system
The natural gas shall be made available to the customer immediately if the metering equipment is not turned off or sealed.

If the metering equipment is turned off or sealed, time will be required. This may generally vary from 1 to 5 business days. However, it may be longer if the customer so requests or if there are constraints relating to the metering equipment. In the case of metering equipment-related constraints, the time required shall be based on each situation and the customer shall be informed of it.
4.4.2 Address not connected to the distribution system
If the connection requires only a service installation to connect the service address to the existing distribution system, the time between the acceptance of the service request and the natural gas being made available to the customer shall be 30 business days.

However, it may be longer if the customer so requests or if there are constraints relating to construction. In the case of construction-related constraints, the distributor shall notify the person making the request.
If, in addition to the service installation, the connection requires work on the existing distribution system, the time required by the distributor shall be based on each situation and the person making the request shall be notified.
4.5 Format, execution and effective date of contract

4.5.1 Format

The contract shall be in writing in the following cases: 

1° the customer is billed under rates 3 to 9;

2° the customer takes charge of its transportation service or is a buy/sell customer;

3° the customer has to pay a financial contribution to the distributor;

4° the customer requests natural gas service at an address not connected to the distribution system, in accordance with section 4.1.1.2.
4.5.2 Execution and effective date
The contract shall be executed when the distributor informs the new customer that it accepts the natural gas service request. Service shall start on the agreed date.

If there is no natural gas service request, the occupant shall be deemed to have executed a contract when he starts to occupy the service address where the natural gas is made available to him. The occupant is the person who has use of the building or the premises located at the service address.

If a contract with a customer has ended and no contract has been executed with a new customer for the service address, the owner of the building where the service address is located shall be deemed to have executed a contract if he fails to inform the distributor of his intentions with respect to the natural gas service within 15 days following delivery by the distributor of written notice to that effect.

4.6 Confirmation of acceptance of the natural gas service request
Following acceptance of the service request, the distributor shall confirm with the customer in writing the mandatory information obtained, stating that the meter reading provided by the customer, if applicable, may differ from the meter reading used for billing and excluding the list of the customer’s other active accounts.  

The distributor shall also provide the following information in writing:

1° the applicable rate(s);

2° the amount and the terms and conditions of the financial contribution, if required;

3° information regarding alternative payment methods available to the customer for paying his bill;

4° the fact that all customers at the same service address are jointly liable for full payment of the bills on which they are specifically identified;

5° the fact that a contract that is not in writing shall remain in effect until cancelled by the customer or, if necessary, by the distributor;
6° the requirement for a deposit, if applicable, and the conditions for repayment thereof.
4.7 Contract term
If the contract is not in writing, it shall remain in force until cancelled.

If the contract is in writing, its term shall be stated therein.

The distributor may require that the contract term be the same for all the services it provides.

The minimum term of a written contract shall be the term stated in the Rates based on the applicable services.

4.8 Contract amendment
The customer shall be responsible for notifying the distributor of any change in the information provided since the natural gas service request.

The customer may also submit a request for a contract amendment. If the request complies with the Rates and these Conditions of Service and if it is profitable and operationally possible for the distributor to accept it, the contract may be amended or replaced by a new contract.

A written contract may not be amended verbally.

In each case provided for in this section, the confirmation referred to in section 4.6 shall not be sent to the customer.
4.9 Contract termination
4.9.1 Written contract

The contract is terminated on the date specified.

Notwithstanding the foregoing, the distributor may terminate the contract if the customer has interfered with the distributor’s pipes, mains, metering or other equipment, or used the distributor’s natural gas service without its consent.
4.9.2 Other contract

The customer may terminate the contract by informing the distributor that he has ceased or will cease requiring natural gas service. He may do so verbally, except between December 1 and March 1, when termination must be in writing and the time after which natural gas service will no longer be required must be specified.

However, if the customer does not inform the distributor that he has ceased or will cease requiring natural gas service, the distributor may terminate the contract at one of the following times:

1° when it sees the customer has ceased requiring natural gas service and that no other contract has been signed for the service address; or
2° on the effective date of a new contract with a person requesting natural gas service for the service address in question, except in the case of a customer who owes an amount of money to the distributor and will continue to occupy the service address after the date the gas is required.

Notwithstanding the foregoing, the distributor may terminate the contract if the customer has interfered with the distributor’s pipes, mains, metering or other equipment, or used the distributor’s natural gas service without its consent.
4.10 Act of god
In the event of an act of God, the obligations of the parties are set out in the Rates.

5. CHAPTER 5 – MEASUREMENT
5.1 Metering equipment
5.1.1 Metering equipment belonging to the distributor
The distributor shall determine the type of metering equipment to be used at the customer delivery point. It shall install, operate and maintain metering equipment to measure the natural gas withdrawn by the customer.

The customer may not modify or alter the distributor’s metering equipment.

5.1.2 Location of and access to the metering equipment
The distributor shall determine the location of its metering equipment.

The distributor shall hold, at no cost, all rights of entry, rights-of-way and accesses to its metering equipment. The customer shall take the necessary steps to enable the distributor to exercise those rights at the following times:

1° at any time for reasons of safety;

2° between 8:00 a.m. and 9:00 p.m. from Monday to Friday except for statutory holidays or at any other time agreed with the customer, for any other reason.

The customer shall not interfere with access to the distributor’s metering equipment.

5.1.3 Metering equipment belonging to the customer
The customer may install, operate and maintain in pipes belonging to him his own metering equipment at his own expense.

However, the customer’s equipment shall be installed downstream from the distributor’s metering equipment.

The metering equipment that belongs to the customer shall be installed, operated and maintained in a manner that does not interfere with the distributor’s activities.

5.2 Measurement of volume of natural gas withdrawn
The metering equipment shall indicate the volume of natural gas withdrawn by the customer, either in metric or in imperial units. For billing purposes, the imperial units shall be converted to metric units.

Depending on the type of metering equipment used, a pressure factor may be applied.

5.3 Reading of metering equipment
5.3.1 Reading by the distributor

The distributor shall choose the reading method to be used. The reading of the metering equipment may be done on site or by a remote device.
However, if the customer requests a reading method other than the one chosen by the distributor, the distributor may bill the customer for the actual costs of the reading method requested by the customer.

5.3.2 Frequency of readings
The distributor shall read the metering equipment with all reasonable diligence using a method that is compatible with the efficient operation of its business.

The distributor shall read the metering equipment every two (2) months.

To the extent possible, however, the distributor shall read the metering equipment daily for customers who take charge of their transportation service, or monthly for customers served under rates 3 to 9.

When the meter reader does not have access to a customer’s meter for more than four (4) months from the date of the last reading, the distributor shall take the necessary steps to have the meter read as soon as possible.

5.3.3 Reading by the customer
When the distributor has not obtained a reading in accordance with section 5.3.2, it shall forward a meter reading card to the customer, who is then required to call in the reading to the distributor by telephone.
However, upon arrival at the service address and at the end of the contract, the customer shall provide the distributor, at the distributor’s request, a reading of the metering equipment. Otherwise, the distributor shall estimate the volume withdrawn and the distributor may revise that estimate when the distributor obtains a reading of the metering equipment.

5.4 Volume of natural gas withdrawn by the customer
The volume of natural gas withdrawn shall be calculated by determining the difference between two (2) consecutive readings of the metering equipment. If the distributor does not obtain a reading of the metering equipment before the bill is issued, the distributor shall estimate the volume of natural gas withdrawn by the customer.

5.5 Defective metering equipment
If the customer doubts the accuracy of the distributor’s metering equipment, he shall so notify the distributor as soon as possible. 

If the distributor determines that there is a defect in the metering equipment that may have an impact on the billing, it shall so inform the customer as soon as possible.
The customer and the distributor may, at any time, request verification of the metering equipment in accordance with the Electricity and Gas Inspection Act, R.S.C. 1985, c. E‑4.

If the customer initiates a request for verification of the metering equipment, which according to the distributor is not inaccurate, the distributor shall inform the customer and is authorized to bill him the fees set out in the Rates if the metering equipment proves to be accurate within the allowable limits.

6. CHAPTER 6 – BILLING
6.1 Billing methods
6.1.1 Volume of natural gas billed
The distributor shall bill the customer monthly for the actual or estimated volume of natural gas withdrawn at the service address.

The billing shall be based on the actual or estimated volume of each metering device. However, if the distributor uses more than one metering device at a single customer delivery point, the billing shall be based on the sum of the volumes withdrawn at those various metering devices as though there were only one.

When a customer served under a rate other than Rate 1 or 2 is billed on the basis of an estimate, his bill shall be revised and forwarded to him when the actual volume is known.

6.1.2 Contractual obligations

If applicable, the distributor shall bill the customer a minimum annual obligation or a financial contribution in accordance with section 4.3.2.

If the customer asks the distributor to turn off and seal the metering equipment temporarily, he shall continue to be billed the monthly fixed charge set out in the Rates.

6.1.3 Correction of error

If the customer notes an error in his bill, he shall so inform the distributor.
If the distributor notes or is informed of an error on the customer’s bill, it shall analyse the bill and notify the customer of the results. If a correction is required, it shall issue a corrected bill. The corrected bill shall replace any other bill issued for the billing period in question.
If the correction results in an amount owing to the distributor by the customer, the customer may agree on a payment arrangement with the distributor to pay the amount owing, without any late payment charge or interest, as long as he complies with the agreed payment dates.
6.1.4 Billing period covered by the correction
If the correction results in an amount owing to the distributor by the customer, the period covered by the retroactive correction may not exceed three (3) years from the issue date of the corrected bill resulting from the analysis referred to in section 6.1.3.

However, the retroactive correction shall apply to the entire period affected by the error in the following cases:

1° the distributor was unable to read the metering equipment because it was unable to exercise its rights of access thereto and was also unable to obtain the reading from the customer in accordance with section 5.3.3;

2° the customer has interfered with the distributor’s pipes, mains, metering or other equipment, or used the distributor’s natural gas without its consent;

3° the error is the result of intentional damage to the distributor’s metering equipment;

4° the customer was aware of the billing error or the defect in the metering equipment and failed to inform the distributor thereof.

If the retroactive correction results in an amount owing to the customer by the distributor, it covers the entire period affected.
6.2 Bills
6.2.1 Issue
Except when a contract ends, the distributor shall issue a bill within a maximum of six (6) business days following:

1° the last day of the month; or 

2° the date the metering equipment was read.
6.2.2 Sending
The bill shall be sent to the customer the business day after it is issued, except in the case of customers billed in accordance with the system applicable to high-pressure meters. In such cases, the bill shall be sent six (6) business days after it is issued. 
6.2.3 Delivery
The distributor shall send the bill to the customer monthly in accordance with section 6.1.1.

The bill shall be sent by any means selected by the distributor, in particular by mail.

6.2.4 Information appearing on the bill
The bill shall include at least the following items:

1° Distributor’s telephone number(s);
2° Telephone number in case of emergency;

3° Billing date;

4° Name of customer;

5° Account number;

6° Service address;

7° Billing address;
8° Applicable rate;

9° Billing period;

10° Consumption, specifying whether actual or estimated;

11° Total amount billed;

12° Amount in arrears and late payment charge;
13° Due date;

14° Monthly fixed charge, if applicable;

15° Amount of last payment;

16° Interest on deposit, if applicable.
7. CHAPTER 7 – PAYMENT

7.1 Due date

There shall be at least 15 days between the billing date and the due date indicated on the bill.

The customer shall pay the total amount payable that appears on the bill no later than the due date shown thereon. 
The customer may contact the distributor at any time to propose a payment arrangement as provided in section 9.1.

7.2 Terms
7.2.1 Payment methods
The customer shall pay his bill in Canadian dollars in one of the following ways:

1° through his financial institution, in particular by automatic withdrawal or by Internet;

2° by mail (for cheques and money orders);

3° in person at the distributor’s head office.

Regardless of the method of payment selected, payment is made when the distributor receives the payment from the customer.

The distributor shall bill the customer the fees provided in the Rates for each cheque returned by a financial institution, except in the case of an error for which the distributor is responsible.
7.2.2 Offset prohibition
Unless he has obtained the distributor’s express written consent, the customer may not deduct from his payment any sum, regardless of whether the distributor owes the customer such a sum or whether the customer claims that such a sum is owed to him by the distributor.
7.2.3 Budget billing plan
A customer using natural gas for heating under rates 1 or 2 and who, at the time of the application, is not in arrears, may subscribe at any time, and at no additional cost, to the budget billing plan, on the terms established by the distributor. (for review and approval, page 77 of the decision)
The budget billing plan runs for 11 months, from September of the current year to July of the following year.

The distributor shall determine the amount of the payment when the customer subscribes to the budget billing plan.

The amount of the monthly payment shall be revised twice a year: in March or April, and when the plan is renewed in September.

The balance or excess in the budget billing plan shall be debited or credited on the July bill. In August, the customer is billed for that month’s consumption. The budget billing plan begins again in September of each year.

The distributor shall inform the customer of the amount of the monthly payment when it is determined or revised, as the case may be, by indicating it on the bill.

A customer who wishes to unsubscribe from the budget billing plan may so inform the distributor at any time, without prior notice. The budget billing plan shall be terminated on the customer’s next bill.

The distributor may terminate a customer’s budget billing plan from the second consecutive month in which the monthly payment is received after the due date. The customer’s bill shall include a notification that the budget billing plan has been terminated.
7.3 Liability
7.3.1 Written contract

All customers who have signed the same contract shall be jointly liable for full payment of the natural gas bills.

7.3.2 Other contract

All customers at the same service address shall be jointly liable for full payment of the natural gas bills on which they are specifically identified.

8. CHAPTER 8 – DEPOSIT

8.1 Requirement 

If the distributor requires a deposit for natural gas service at a service address, it shall inform the customer of the reasons for it.

The customer may pay the deposit in cash or by providing equivalent security in order to guarantee payment for natural gas services. 

If the deposit is paid in cash and the customer is an individual, the individual shall provide his social insurance number. The distributor may use the social insurance number for tax purposes only.

8.1.1 Domestic use
8.1.1.1
Natural gas service request
When service is requested, the distributor may require a deposit in the following cases:

1° the customer has been unduly negligent in the past in paying his natural gas bills on time;

2° the customer fails to provide the following mandatory information in accordance with section 4.2.1: family name and given name, date of birth and last address occupied in the 12 months preceding the request;

3° the customer has in the past interfered with the distributor’s pipes, mains, metering or other equipment, or has used the distributor’s natural gas without its consent.

8.1.1.2
During the term of the contract

The distributor may require a deposit in the following cases:

1° the customer’s natural gas service has been interrupted by the distributor for non-payment of a bill on the due date.
However, the distributor shall not require a deposit from a customer using natural gas for space heating if the service interruption for non-payment and the reconnection both occur between December 1 and March 1 of the following year;

2° the customer has in the past interfered with the distributor’s pipes, mains, metering or other equipment, or has used the distributor’s natural gas without its consent.

8.1.2 Other uses

8.1.2.1
Natural gas service request
When service is requested, the distributor may require a deposit:
8.1.2.2
During the term of the contract

The distributor may require a deposit in the following cases:

1° the customer has failed to pay a natural gas bill on the due date during the last 12 months;

2° the customer has in the past interfered with the distributor’s pipes, mains, metering or other equipment, or has used the distributor’s natural gas without its consent;

3° at a particular time during the last 24 months, the customer has used or was under the protection of the Bankruptcy and Insolvency Act, R.S.C. 1985, c. B-3, the Companies’ Creditors Arrangement Act, R.S.C. 1985, c. C-36, or the Farm Debt Mediation Act, S.C. 1997, c. 21.
8.2 Amount

The amount of the deposit required by the distributor shall be based on estimated or historical volumes withdrawn at the service address during a 12-month period.

8.2.1 Domestic use

If the customer’s service is interrupted for non-payment, in accordance with section 9.4.2, for the first time during the last 12 months, the amount of the deposit shall not exceed the amount of the highest bill during a 12-month period. 
In any other situation, the amount of the deposit shall not exceed the sum of the amounts of the two (2) highest consecutive bills during a 12-month period.

8.2.2 Other uses

The amount of the deposit shall not exceed the sum of the two (2) highest consecutive bills during a 12-month period.

8.3 Payment
The cash deposit shall be paid to the distributor in accordance with the payment methods as specified in section 7.2.1. The payment of any other security shall be made in accordance with the terms and conditions thereof. The distributor shall confirm in writing the payment of the deposit. 
If the metering equipment is turned off and sealed, the deposit shall be paid before the metering equipment is unsealed and turned on by the distributor. 
If the metering equipment is not turned off or sealed, the deposit shall be paid within the time indicated by the distributor, in accordance with section 7.1.

The distributor shall transfer any cash deposit to a trust account.

8.4 Retention period
A deposit may be initially retained for:

1° 12 consecutive months if it involves a customer who uses natural gas for domestic use;

2° 36 consecutive months if it involves a customer who uses natural gas for any other use.

If the customer does not pay at least one natural gas bill on the due date during the deposit retention period, the distributor shall renew the deposit retention period for a period equal to the initial retention period.

8.5 Interest on the cash deposit
8.5.1 Interest rate
The deposit shall produce interest that belongs to the customer.

The annual interest rate on the deposit shall be established on January 1 of each year as follows: 97% multiplied by the average prime rate of the distributor’s main bankers at that date less 2.5%.

The distributor shall submit to the Régie de l’énergie, no later than January 30 of each year, a declaration showing the rate and the source of the information used to establish it.

8.5.2 Payment of interest
During the deposit retention period, the distributor shall credit the interest earned on the deposit in the bill issued on the anniversary date of the deposit.

8.6 Use or remittance to the customer
8.6.1 Use of the deposit
8.6.1.1
During the term of the contract

During a contract term and notwithstanding a customer’s request to that effect, the distributor may not apply the deposit to a natural gas bill.

However, in the case of a service interruption for non-payment under section 9.4.2, if the bill issued following the interruption for non-payment is unpaid on the due date, the distributor may, without prejudice to its other rights and recourses, apply by offsetting the cash deposit or the proceeds from the disposition of any other security provided by the customer against the bill.

8.6.1.2
On termination of the contract

The distributor may, without prejudice to its other rights and recourses, apply by offsetting the cash deposit or the proceeds from the disposition of any other security provided against a bill the customer has not paid.

After application to the unpaid bill, any balance from the cash deposit or other security shall be returned to the customer.

8.6.2 Remittance of the deposit

Within 30 days of the expiration of the deposit retention period, the distributor shall reimburse the customer his total cash deposit with any interest not yet credited, or return the security it holds to the customer. Reimbursement may be made by cheque if the customer so requests.

9. CHAPTER 9 – COLLECTION
9.1 Payment arrangement
The customer may contact the distributor at any time to propose a payment arrangement. The objective of the arrangement shall be to spread any amounts unpaid by the due date over a period of time as well as provide for full payment of the bills issued during the period covered by the arrangement.
The distributor shall inform the customer of this possibility on any collection notice sent to him.

9.2 Payment default
The customer shall immediately pay in full any amount unpaid on the due date.
9.3 Late payment charge
A late payment charge shall be added to the unpaid balance in accordance with the terms and conditions set out in the Rates.

9.4 Collection procedures
With the exception of the cases specifically covered by An Act respecting the mode of payment for electric and gas service in certain buildings, R.S.Q., c. M-37, the collection procedures for non-payment on the due date shall be as follows.

9.4.1 Collection notices
1° Reminder:
If a bill remains unpaid after the due date, a reminder shall appear on the customer’s next bill. The bill shall notify the customer that he may contact the distributor to propose a payment arrangement.

2° Initial notice:

If a bill remains unpaid following the reminder, the distributor shall send a written notice under separate cover to the billing address. The notice shall inform the customer that failing payment, natural gas service may be interrupted, and that he may contact the distributor to propose a payment arrangement.

The distributor shall bill the notice charge as set out in the Rates.

3° Final notice :

If a bill remains unpaid after the reminder and the initial notice have been sent, the distributor shall deliver a final notice to a domestic-use customer, using a method that provides proof of delivery. The final notice shall inform the customer that if he fails to make payment, natural gas service may be interrupted, and that he may contact the distributor to propose a payment arrangement.

Before interrupting service for non-payment between December 1 and March 1 of the following year, the distributor shall contact a domestic-use customer who uses natural gas for space heating in order to propose a payment arrangement.

In the case of customers using natural gas for other uses, the distributor shall deliver a final notice to the service address, or send a final notice under separate cover to the billing address, using a method that provides proof of delivery.

The distributor shall bill the notice charge as set out in the Rates.

9.4.2 Interruption for non-payment

If the amount indicated in the final notice or agreed to under a payment arrangement remains unpaid, the distributor may interrupt natural gas service. In that event, the distributor shall request that the customer notify the owner of the property affected by the interruption, if applicable.

However, between December 1 and March 1 of the following year, the distributor may interrupt the natural gas service of a domestic-use customer who uses it for space heating in the following cases only:
1° the customer and the distributor have not entered into a payment arrangement; or
2° the customer is not complying with the payment arrangement reached with the distributor.
9.5 Reconnection 

Following a service interruption for non-payment, the distributor shall reconnect the service when the customer pays the amounts owing, the reconnection charges set out in the Rates and any deposit required.
Appendix II (32 pages)





M. H.	_________


R. C.	_________


L. P.	_________









