


1


Gaz Métro Limited Partnership
Conditions of Natural Gas Service 



GAZ MÉTRO LIMITED PARTNERSHIP
CONDITIONS OF NATURAL GAS SERVICE 
As approved by the Régie de l’énergie

In Décision D-2009-XXX
INTRODUCTORY NOTE
These Conditions of Service have been set by the Régie de l’énergie pursuant to the Act Respecting the Régie de l’énergie (R.S.Q., c. R-6.01). Any customer who disagrees with the application of any of these conditions by the distributor may submit a complaint to the distributor in accordance with the complaint review procedure established by the distributor and approved by the Régie de l’énergie in Decision D-98-25, File R‑3392‑97, May 13, 1998, Appendix M. If the customer does not agree with the distributor’s decision concerning his complaint, he may then ask the Régie to review it in accordance with the provisions of Chapter 7 of the aforementioned Act (Sections 86 to 101). 


TABLE OF CONTENTS

51.
CHAPTER 1 – APPLICATION


51.1
Application


51.2
Information


51.3
Definitions


72.
CHAPTER 2 – DISTRIBUTION system


72.1
Distribution system


72.1.1
Accessibility


72.1.2
Relocation or modification


83.
CHAPTeR 3 – SERVICES


83.1
Natural gas services


83.2
Choice of services


94.
CHAPTER 4 – natural gas service request and CONTRAcT


94.1
Natural gas service request


94.1.1
Service request procedure


94.1.1.1
Address connected to the distribution system


94.1.1.2
Address not connected to the distribution system


94.1.2
Conditions for acceptance of a service request


104.2
Information to be provided for natural gas service request


104.2.1
Individual:


104.2.2
Other person:


114.3
Service connection charges


114.3.1
Cost of work and profitability of investment


114.3.2
Financial contribution from the customer


124.4
Lead times required by the distributor to provide natural gas distribution service


124.4.1
Address connected to the distribution system


124.4.2
Address not connected to the distribution system


124.5
Form, execution and effective date of contract


124.5.1
Form


134.5.2
Execution and effective date


134.6
Confirmation of acceptance of natural gas service request


144.7
Contract term


144.8
Contract amendment


144.9
Contract termination


144.9.1
Written contract


154.9.2
Other contract


154.10
Force majeure


165.
CHAPTER 5 – MEASURement


165.1
Metering equipment


165.1.1
Metering equipment belonging to the distributor


165.1.2
Location of and access to the metering equipment


165.1.3
Metering equipment belonging to the customer


175.2
Measurement of volume of natural gas withdrawn


175.3
Reading of metering equipment


175.3.1
Reading by the distributor


175.3.2
Frequency of readings


175.3.3
Reading by the customer


185.4
Volume of natural gas withdrawn by the customer


185.5
Defective metering equipment


196.
CHAPTER 6 – BILLING


196.1
Billing methods


196.1.1
Volume of natural gas billed


196.1.2
Contractual obligations


196.1.3
Correction of error


206.1.4
Billing period covered by the correction


206.2
Bills


206.2.1
Issue


216.2.2
Sending


216.2.3
Delivery


216.2.4
Information appearing on the bill


237.
CHAPTER 7 – PAYMENT


237.1
Due date


237.2
Terms


237.2.1
Payment methods


237.2.2
Offset prohibition


247.2.3
Equal payments plan


247.3
Liability


247.3.1
Written contract


257.3.2
Other contract


268.
CHAPTER 8 – DEPOSIT


268.1
Requirement


268.1.1
Domestic use


268.1.1.1
Natural gas service request


268.1.1.2
During the term of the contract


278.1.2
Other uses


278.1.2.1
Natural gas service request


278.1.2.2
During the term of the contract


278.2
Amount


288.2.1
Domestic use


288.2.2
Other uses


288.3
Payment


288.4
Retention period


298.5
Interest on cash deposit


298.5.1
Interest rate


298.5.2
Payment of interest


298.6
Use or remittance to the customer


298.6.1
Use of the deposit


298.6.1.1
During the term of the contract


308.6.1.2
On termination of the contract


308.6.2
Return of the deposit


319.
CHAPTER 9 – COLLECTION


319.1
Payment agreement


319.2
Payment default


319.3
Late payment charge


319.4
Collection procedures


319.4.1
Collection notices


329.4.2
Collection visit


329.4.3
Interruption for non-payment


339.5
Reconnection




1. CHAPTER 1 – APPLICATION
1.1 Application
The provisions hereof establish the conditions of natural gas service of Gaz Métro Limited Partnership (the distributor) in its exclusive distribution territory.
1.2 Information
The distributor shall inform its customers of these conditions of service. 
1.3 Definitions
In this document, the following terms shall have the meaning ascribed to them: 


Billing address
Address to which the customer’s bill is sent.
Connection

Connection of a new service address to the distribution system. 

Contract

Agreement between a customer and the distributor for one or more natural gas services supplied by the distributor to a service address.
Customer

Any individual or corporation, partnership or body that has entered into a contract with the distributor.
Customer delivery point

Point, immediately after the distributor’s metering equipment, at which the distributor makes the natural gas available to the customer.
Domestic use

Utilization of the natural gas service for applications related exclusively to the occupation of a personal residence or of apartments in a housing cooperative or non-profit housing organization, or to the use of common areas in a condominium.

Institution

Governmental, paragovernmental, religious or non-profit organization operating in the public or para-public fields of education, health or welfare.

Metering equipment
Any equipment used to measure the natural gas withdrawn by the customer, including in particular a meter, with or without a remote reading device.

Minimum annual obligation

Minimum annual volume of natural gas, for each contract year, that the customer agrees to pay, in accordance with the Tariff, whether or not he withdraws the natural gas. 

Multiplier factor

The coefficient applied to the measurement of the volume of natural gas withdrawn by the customer in order to take account of the characteristics of the metering equipment.
Natural gas service 

One or more of the distributor’s following services: natural gas supply service, natural gas compressor fuel service, transportation and load-balancing service, distribution service.
Payment agreement
Agreement between the customer and the distributor to spread the payment of the unpaid amounts owing on the due date over a period of time and to provide for full payment of the bills issued during the period covered by the agreement. 

Pressure factor

The coefficient applied to the measurement of the natural gas volume withdrawn by the customer in order to take account of the atmospheric pressure and the delivery pressure.
service address
Address that is or will be connected to the distribution system.

Tariff
The schedule of rates and rate conditions applicable to the customer and the distributor, as fixed by the Régie de l’énergie.
2. CHAPTER 2 – DISTRIBUTION system
2.1 Distribution system
The distributor shall determine the location of its distribution system.
The distributor shall own the distribution system and shall supply, install, operate and maintain the system up to the customer delivery point.
No one other than the distributor or its authorized agent may at any time or in any way modify or alter its distribution system in any manner.
2.1.1 Accessibility
The customer shall make the distribution system accessible to the distributor at any time and shall maintain the premises in a manner that permits the distributor to operate the system in accordance with the applicable legislation.
2.1.2 Relocation or modification

A person who requests a relocation or modification of the distribution system must be the owner of the building where the service address is located or declare and warrant having, in this regard, all the authorizations and permissions required from the owner of the premises. The person making the request shall provide the distributor, upon request, with any evidence so attesting.

If the distributor relocates or modifies its distribution system following a request made under the preceding paragraph, the distributor may bill the person making the request for the cost of work, in accordance with an estimate it has provided to him in advance or in accordance with the actual cost of work. The method of billing the cost of work shall be determined when the relocation or modification request is made. 
If a request to relocate or modify the system is withdrawn, the distributor may bill the person making the request if work has already been undertaken or completed. The amount shall then be based on the actual cost of work.
3. CHAPTeR 3 – SERVICES

3.1 Natural gas services
The distribution service shall be offered exclusively by the distributor in its territory, as provided in the Act Respecting the Régie de l’énergie.

The following services may, at the option of the customer, be obtained from the distributor, or subject to the Tariff, obtained by the customer himself from one or more suppliers:

1. gas supply service, including make-up gas service;

2. compressor fuel service;

3. transportation service;

4. load-balancing service.

The distributor shall provide these services by default, in accordance with the Tariff, unless the customer notifies the distributor of his intention to provide them himself. 
3.2 
Choice of services
The conditions relating to the distributor’s services or the customer-provided services are specified in the Tariff.

4. CHAPTER 4 – natural gas service request and
CONTRAcT
4.1 Natural gas service request
4.1.1 Service request procedure
4.1.1.1 Address connected to the distribution system
The service request may be made to the distributor by telephone, mail, e-mail or fax or on the distributor’s Internet site. The request shall be in writing if the person making the request does not intend to occupy the address in question.
4.1.1.2 Address not connected to the distribution system
The service request may be made to the distributor in the manner provided in Section 4.1.1.1 or to one of its representatives duly authorized for this purpose. The list of duly authorized representatives may be obtained from the distributor. 
The person making the request must be the owner of the building where the service address is located or declare and warrant having, for this purpose, all the required authorizations and permissions from the owner of the building. The person making the request shall provide the distributor, upon request, any evidence so attesting.

4.1.2 Conditions for acceptance of a service request
Acceptance of a service request by the distributor may be subject to:

1. payment of a deposit in accordance with Section 8.1;

2. payment, in accordance with Chapter 7, of the amounts owing to the distributor by a customer if the customer continues to occupy the service address covered by the request after the date the natural gas is required.
4.2 Information to be provided for natural gas service request
4.2.1 Individual:

1. Mandatory information
(a)  Family name and given name
(b) Service address covered by the natural gas service request
(c) Billing address, if different from address covered by the natural gas service request 
(d) Telephone number(s)
(e) Date for which service is requested
(f) Date of birth 

(g) Other active accounts with the distributor
(h) Last address occupied during the 12 months preceding the request
2. Optional information
(a) Fax number
(b) E-mail address
a) 
(c) Reading of the metering equipment 
4.2.2 Other person:

1. Mandatory information
(a) Name of person
(b) Business name
(c) Service address covered by the natural gas service request
(d) Billing address, if different from address covered by the natural gas service request
(e) Telephone number(s)
(f) Name of contact person
(g) Date for which service is requested
(h) Other active accounts with the distributor
(i) Last address occupied during the 12 months preceding the request 

2. Optional information
(a) Fax number
(b) E-mail address
a) 
(c) Reading of the metering equipment 
4.3 Service connection charges 

4.3.1 Cost of work and profitability of investment
If the service address is not connected to the distribution system, the distributor shall estimate the cost of the work required and the revenues generated by connection of the service address to the distribution system.
If a connection request is withdrawn, the distributor may bill the person making the request if the work has already been undertaken or completed. The amount shall then be based on the actual cost of the work. 
4.3.2 Financial contribution from the customer
If the revenues generated from connection of the service address to the distribution system do not allow the distributor to earn a return on its investment, based on the estimated cost of the work required, in accordance with the conditions approved by the Régie de l’énergie, the distributor may, on entering into the contract, agree with the customer on a financial contribution payable by the customer. It may also agree with the customer on a minimum annual obligation. 
If a financial contribution is required, it shall be payable in a single payment before the work is started or paid in instalments over the contract term. The distributor shall provide the customer with the details of the financial contribution required.
If a financial contribution is required, the distributor and the customer shall agree before the work is started on matters including:

1. the amount of the financial contribution requested from the customer;

2. the terms of payment of the financial contribution requested from the customer;

3. the conditions for repayment, in whole or in part, of the contribution requested from the customer, where applicable.
The distributor may repay, in whole or in part, in accordance with certain profitability conditions set out in writing when the contract is entered into, the financial contribution paid by the customer to make the investment economic.
Notwithstanding the payment of a financial contribution by the customer, the distributor shall remain the exclusive owner of the distribution system. 


4.4 Lead times required by the distributor to provide natural gas distribution service
4.4.1 Address connected to the distribution system
The natural gas shall be made available to the customer immediately if the metering equipment is not turned off or sealed.
If the metering equipment is turned off or sealed, the distributor will require one (1) to five (5) business days to establish service. However, the time required may be longer if the customer so requests or there are constraints relating to the metering equipment. In the case of metering-equipment-related constraints, the time required shall be determined for each case and the customer shall be informed of it.
4.4.2 Address not connected to the distribution system
If the service connection requires only a line to connect the service address to the existing distribution system, the time between the acceptance of the service request and the natural gas being made available to the customer shall be:

1. 30 business days for domestic use;
2. 40 business days for other use.

However, it may be longer if the customer so requests or if there are constraints relating to construction. In the case of construction-related constraints, the distributor shall notify the person making the request.
If, in addition to the line, the service connection requires work on the existing distribution system, the time required by the distributor shall be determined for each case and the person making the request shall be notified.
4.5 Form, execution and effective date of contract
4.5.1 
4.5.2 Form

The contract shall be in writing in the following cases: 

1. the customer is billed Distribution Rate DM, D3, D4 or D5;
2. the customer is subject to a minimum annual obligation;

3. the customer has entered into a fixed-price gas supply agreement;

4. the customer has to pay a financial contribution to the distributor.

4.5.3 Execution and effective date
The contract shall be executed when the distributor informs the new customer that it accepts the natural gas service request. Service shall start on the agreed date.

If there is no natural gas service request, the occupant shall be deemed to have executed a contract when he starts to occupy the service address where the natural gas is made available to him. The occupant is the person who has use of the building or the premises located at the service address.

If a contract with a customer has ended and that no contract has been executed with a new customer for the service address, the owner of the building where the service address is located shall be deemed to have executed a contract if he fails to inform the distributor of his intentions with respect to the natural gas service within 12 business days following delivery by the distributor of written notice to that effect. 
4.6 Confirmation of acceptance of natural gas service request
Following acceptance of the service request, the distributor shall provide to the customer in writing the mandatory information obtained, excluding the list of the customer’s other active accounts, with an explanation that the meter reading provided by the customer, if any, may differ from the meter reading used for the billing.
The distributor shall also provide the following information in writing:

1. the applicable rate(s);

2. the amount and the terms and conditions of the financial contribution, if required;

3. information regarding alternative payment methods available to the customer for paying his bill;

4. the fact that all customers at the same address are jointly and severally liable for  full payment of the bills on which they are identified by name;

5. the fact that a contract that is not in writing shall remain in effect until cancelled by the customer or, as the case may be, by the distributor;

6. the requirement for a deposit, if applicable, and the conditions of repayment thereof.

4.7 Contract term
If the contract is not in writing, it shall remain in force and effect until cancelled.

If the contract is in writing, its term shall be stated therein.
The distributor may require that the contract term be the same for all the services it provides.

The minimum term of a written contract shall be the term stated in the Tariff according to the applicable services.

4.8 
4.9 Contract amendment
The customer shall be responsible for notifying the distributor of any change to the information provided since the natural gas service request.
The customer may also submit a request for a contract amendment. If the request complies with the Tariff and the Conditions of Service and if it is economically and operationally possible for the distributor to accept it, the contract may be amended or replaced by a new contract.
A written contract may not be amended verbally.

In each case provided in this Section, the confirmation referred to in Section 4.6 shall not be sent to the customer.
4.10 
4.11 Contract termination
4.11.1 Written contract

The contract is terminated on the date specified.

Notwithstanding the foregoing, the distributor may terminate the contract if the customer has interfered with the distributor’s pipes, mains, metering equipment or other equipment, or used the distributor’s natural gas service without its consent.
4.11.2 Other contract

The customer may terminate the contract by informing the distributor that he has ceased or will cease receiving natural gas service. He may do so verbally and must specify the time after which natural gas service is no longer required.
Where the customer does not inform the distributor that he has ceased or will cease receiving natural gas service, the distributor may terminate the contract at one of the following times:

1. when it sees the customer has ceased receiving natural gas service and that no other contract has been entered into for the service address; or
2. on the effective date of a new contract with a person receiving natural gas service for the service address in question, except in the case of a customer who owes an amount of money to the distributor and will continue to occupy the service address after the date the gas is required.

Notwithstanding the foregoing, the distributor may terminate the contract if the customer has interfered with the distributor’s pipes, mains, metering equipment or other equipment, or used the distributor’s natural gas service without its consent.
4.12 Force majeure
In the event of a force majeure the obligations of the parties are set out in the Tariff.

5. CHAPTER 5 – MEASURement
5.1 
5.2 Metering equipment
5.2.1 Metering equipment belonging to the distributor
The distributor shall determine the type of metering equipment to be used at the customer delivery point. It shall install, operate and maintain metering equipment to measure the natural gas withdrawn by the customer.
The customer may not modify or tamper with the distributor’s metering equipment.
5.2.2 Location of and access to the metering equipment
The distributor shall determine the location of its metering equipment.
The distributor shall hold, at no cost, all rights of entry, rights-of-way and rights of access to its metering equipment. The customer shall take the necessary steps to enable the distributor to exercise those rights at the following times:

1. at any time for reasons of safety;

2. between 8:00 a.m. and 9:00 p.m. from Monday to Friday except for statutory holidays or at any other time agreed with the customer, for any other reason.

The customer shall not interfere with access to the distributor’s metering equipment.

5.2.3 Metering equipment belonging to the customer
The customer may install, operate and maintain on pipes belonging to him his own metering equipment at his own expense.

However, the customer’s equipment shall be installed downstream from the distributor’s metering equipment.

Customer metering equipment shall be installed, operated and maintained in a manner that does not interfere with the distributor’s activities.

5.3 Measurement of volume of natural gas withdrawn 
The metering equipment shall indicate the volume of natural gas withdrawn by the customer, either in metric or imperial units. For billing purposes, imperial units shall be converted to metric units.
Depending on the type of metering equipment used, a multiplier factor and a pressure factor may also be applied.
5.4 Reading of metering equipment
5.4.1 Reading by the distributor

The distributor shall choose the reading method to be used. The reading of the metering equipment may be done on site or by a remote device.
However, if the customer requests a reading method other than the one chosen by the distributor, the distributor may bill the customer for the actual costs incurred as a result of using the reading method requested by the customer.
5.4.2 Frequency of readings
The distributor shall read the metering equipment with all reasonable diligence using a method consistent with the efficient operation of its business.

The distributor shall read the metering equipment every two (2) months.

However, if the natural gas is used for some purpose other than space heating by domestic-use customers or by institutions billed at Rate D1, the distributor shall read the metering equipment every 12 months. 
Furthermore, if the natural gas is billed at Rate D4, D5 or D3 and D5 in combination, the distributor shall read the metering equipment every day. If the natural gas is billed at Rate DM, the distributor shall read the metering equipment every month.
5.4.3 Reading by the customer
When the distributor has not obtained a reading in accordance with Section 5.3.2, it may ask the customer to take the reading and communicate it to the distributor.

In addition, upon arriving at the service address and at the end of the contract, he shall provide to the distributor, at the distributor’s request, a reading of the metering equipment. Otherwise, the distributor shall estimate the volume withdrawn and the distributor may revise that estimate when the distributor obtains a reading of the metering equipment.
5.5 Volume of natural gas withdrawn by the customer
The volume of natural gas withdrawn shall be calculated by determining the difference between two (2) consecutive readings of the metering equipment. If the distributor does not obtain a reading of the metering equipment before the bill is issued, the distributor shall estimate the volume of natural gas withdrawn by the customer. 
5.6 Defective metering equipment
If the customer doubts the accuracy of the distributor’s metering equipment, he shall so notify the distributor as soon as possible. 
If the distributor determines that there is a defect in the metering equipment that may have an impact on the billing, it shall so inform the customer as soon as possible.
The customer and the distributor may, at any time, request verification of the metering equipment in accordance with the Electricity and Gas Inspection Act, R.S.C. 1985, c. E-4.

If the customer initiates a request for verification of the metering equipment and the distributor does not doubt its accuracy, the distributor shall so inform the customer and shall be authorized to bill him the fees in the Tariff if the metering equipment proved to be accurate within the allowable limits.
6. CHAPTER 6 – BILLING
6.1 Billing methods
6.1.1 Volume of natural gas billed
The distributor shall bill the customer monthly for the actual or estimated volume of natural gas withdrawn at the service address.
However, the distributor may bill every two (2) months a residential or institutional customer billed at Rate D1 who withdraws less than 1,000 m³ of natural gas per year.

The billing shall be based on the actual or estimated volume at each metering equipment. However, if the distributor uses more than one metering equipment at a single customer delivery point, the billing shall be based on the sum of the volumes withdrawn at those metering equipments as though there were only one.

When a customer billed at a rate other than Rate D1 is billed on a basis of an estimated volume, his bill shall be revised and sent to him when the actual volume is known.
6.1.2 Contractual obligations

If applicable, the distributor shall bill the customer a minimum annual obligation and/or a financial contribution in accordance with Section 4.3.2.

If the customer asks the distributor to turn off and seal the metering equipment, the base fees in the Tariff shall no longer be billed from the turn-off date agreed by the customer and the distributor.

6.1.3 Correction of error

If the customer notes an error on his bill, he shall so inform the distributor.
If the distributor notes or is informed of an error on the customer’s bill, it shall analyse the bill and notify the customer of the results. If a correction is required, it shall issue a corrected bill. The corrected bill shall replace any other bill issued for the billing period in question.
If the correction results in an amount owing to the distributor by the customer, the customer may spread the payments over a period equal to the re-billed period without any late payment charge or interest as long as he complies with the agreed payment dates.
6.1.4 Billing period covered by the correction

If the correction results in an amount owing to the distributor by the customer, the period covered by the retroactive correction may not exceed three (3) years from the issue date of the corrected bill arising from the analysis referred to in Section 6.1.3.

However, the retroactive correction shall apply to the entire period affected by the error in the following cases:

1. the distributor was unable to read the metering equipment because it was unable to exercise its rights of access thereto and was also unable to obtain the reading from the customer in accordance with Section 5.3.3;

2. the customer has interfered with the distributor’s pipes, mains, metering equipment or other equipment, or used the distributor’s natural gas without its consent;

3. the error is the result of intentional damage to the distributor’s metering equipment;

4. the customer was aware of the billing error or the defect in the metering equipment and failed to inform the distributor thereof.

If the retroactive correction results in an amount owing to the customer by the distributor, it shall cover the entire period affected.
6.2 
6.2.1 
6.3 Bills
6.3.1 Issue
Except when a contract ends, the distributor shall issue the bill within a maximum of six (6) business days following:

1. the last day of the month; or 

2. the date the metering equipment was read.

6.3.2 Sending
The bill shall be sent to the customer the business day after it is issued.

6.3.3 Delivery
The distributor shall send the bill to the customer every month or every two (2) months in accordance with Section 6.1.1.

The bill shall be sent by any means selected by the distributor, including by mail, unless the customer asks the distributor to send it electronically.
The customer may ask the distributor to group his bills for delivery. The distributor may bill the customer the actual costs of that service. If it does, the distributor shall notify the customer of the cost of that service before grouping the bills.
6.3.4 Information appearing on the bill
The bill shall include at least the following items:

1. Distributor’s telephone number;

2. Telephone number in case of emergency;

3. Billing date;

4. Name of customer;

5. Account number;

6. Meter number;

7. Service address;

8. Applicable rate;

9. Period billed; 
10. Consumption, specifying whether actual or estimated;

11. Total amount;

12. Amount in arrears and late payment charge;

13. Due date;

14. Consumption history available, if applicable;

15. Minimum annual obligation, if applicable;

16. Amount and date of last payment;

17. Amount of financial contribution requested from customer to make the investment economic, if applicable;

18. Amount of deposit and interest paid, if applicable.

7. CHAPTER 7 – PAYMENT

7.1 Due date
There shall be at least 12 business days between the date the bill is sent and the due date shown thereon. However, if bills are grouped as provided in Section 6.2.3, the time elapsed may be less than 12 business days because each bill shall retain its own due date shown thereon.

The customer shall pay the total amount billed that appears on the bill no later than the due date shown thereon. 
The customer may contact the distributor at any time to propose a payment agreement as provided in Section 9.1.

7.2 
7.2.1 
7.3 Terms
7.3.1 Payment methods
The customer shall pay his bill in Canadian dollars in one of the following ways:

1. through his financial institution, in particular by automatic withdrawal or by Internet;

2. by mail (for cheques and money orders);

3. in person at the distributor’s head office.

Regardless of the method of payment selected, the payment date shall be the date the distributor receives the payment from the customer.
The distributor shall bill the customer the fee provided in the Tariff for each cheque returned by a financial institution, except in the case of an error for which the distributor is responsible.
7.3.2 Offset prohibition
The customer may not, without the distributor’s written consent, deduct from his payment an amount owed to the customer by the distributor or a customer claim against the distributor.
7.3.3 Equal payments plan 
The customer whose natural gas service is billed periodically every month or two (2) months, at the reading dates determined by the distributor, and who, when he so requests, does not have an unpaid balance at the due date, may avail himself, at any time and at no additional cost, of the equal payments plan.

The distributor shall determine the amount of the monthly instalments when the customer opts for the equal payments plan. The amount shall be based on the consumption history at the service address, the average temperature for the last five years, the price of natural gas service and the number of monthly instalments between the time the customer opts for and the June or July renewal date. 

The monthly instalment shall be revised at least once a year, on the June or July renewal date. 

When the equal payments plan is renewed in June or July, any debit balance in excess of the monthly instalment shall be spread over the next 12 months and any credit balance that is equal to or less than the new monthly instalment shall be applied to the customer’s next bill. A credit balance that exceeds the new monthly instalment shall be refunded by cheque. 

The distributor shall inform the customer in writing of the amount of the monthly instalment when it is established or revised, as applicable. It shall also inform him of the conditions of the equal payments plan.

A customer who no longer wishes to avail himself of the equal payments plan shall so inform the distributor and may do so at any time without notice. The equal payments plan shall end on the customer’s next bill.

The distributor may terminate the equal payments plan after the second consecutive month in which the distributor receives the payment of the monthly instalment after the due date. The customer shall be informed of the termination of the equal payments plan by means of the bill.

7.4 Liability
7.4.1 Written contract
All customers who have entered into the same contract shall be jointly and severally liable for full payment of the natural gas bills.
7.4.2 Other contract

All customers at the same service address shall be jointly and severally liable for full payment of the natural gas bills on which they are identified by name.

8. CHAPTER 8 – DEPOSIT

8.1 Requirement
If the distributor requires a deposit for natural gas service at a service address, it shall inform the customer of the reasons for it.
The customer may satisfy the deposit requirement by paying a cash amount or by providing equivalent security in order to guarantee payment for natural gas services. 
If the deposit is paid in cash and the customer is an individual, the individual shall provide his social insurance number. The distributor may use the social insurance number for tax purposes only. 
8.1.1 Domestic use

8.1.1.1 Natural gas service request
When service is requested, the distributor may require a deposit in the following cases:

1. the customer fails to provide the following mandatory information in accordance with Section 4.2.1: family name and given name, date of birth and last address occupied in the 12 months preceding the request;

2. the customer has in the past interfered with the distributor’s pipes, mains, metering equipment or other equipment, or has used the distributor’s natural gas without its consent.
8.1.1.2 During the term of the contract
The distributor may require a deposit in the following cases:

1. the customer’s natural gas service has been interrupted by the distributor for non-payment of a bill on the due date.
However, the distributor shall not require a deposit from a customer using natural gas for space heating if the service interruption for non-payment and the reconnection both occur between December 1 and March 1 of the following year;
2. the customer has in the past interfered with the distributor’s pipes, mains, metering equipment or other equipment, or has used the distributor’s natural gas without its consent.
8.1.2 Other uses

8.1.2.1 Natural gas service request
When service is requested, the distributor may require a deposit in the following cases:

1. based on a credit check of the person making the request, if the distributor feels it is necessary;

2. the customer has in the past interfered with the distributor’s pipes, mains, metering equipment or other equipment, or has used the distributor’s natural gas without its consent.
8.1.2.2 During the term of the contract

The distributor may require a deposit in the following cases:

1. the customer has failed to pay a natural gas bill on the due date during the last 12 months;

2. the customer has in the past interfered with the distributor’s pipes, mains, metering equipment or other equipment, or has used the distributor’s natural gas without its consent;
3. at some point during the last 24 months, the customer has availed himself of or was under the protection of the provisions of the Bankruptcy and Insolvency Act, R.S.C. 1985, c. B-3, the Companies’ Creditors Arrangement Act, R.S.C. 1985, c. C-36, or the Farm Debt Mediation Act, S.C. 1997, c. 21.

8.2 Amount
The amount of the deposit required by the distributor shall be based on estimated or historical volumes withdrawn at the service address during a 12-month period.

8.2.1 Domestic use

If the customer’s service is interrupted for non-payment, in accordance with Section 9.4.3, for the first time in 12 months, the amount of the deposit shall not exceed the amount of the highest bill during a 12-month period. 
In any other situation, the amount of the deposit shall not exceed the sum of the amounts of the highest two (2) consecutive bills during a 12-month period. 
8.2.2 Other uses

The amount of the deposit shall not exceed the sum of the amounts of the highest two (2) consecutive bills during a 12-month period.
8.3 Payment
The cash deposit shall be paid to the distributor in accordance with the payment methods as specified in Section 7.2.1. The remittance of any other security shall be made in accordance with the terms and conditions thereof. The distributor shall confirm in writing the payment of the deposit. 
If the metering equipment is turned off and sealed, the deposit shall be paid before the metering equipment is unsealed and turned on by the distributor. 
If the metering equipment is not turned off or sealed, the deposit shall be paid within the time indicated by the distributor, in accordance with Section 7.1.

The distributor shall transfer any cash deposit to a trust account.
8.4 Retention period
A deposit may be initially retained for:

1. 12 consecutive months if it involves a customer who uses natural gas for domestic use;

2. 36 consecutive months if it involves a customer who uses natural gas for any other use.

If the customer does not pay at least one natural gas bill on the due date during the deposit retention period, the distributor shall renew the deposit retention period for a period equal to the initial retention period.
8.5 Interest on cash deposit
8.5.1 Interest rate
The deposit shall produce interest that belongs to the customer.
The annual interest rate on the deposit shall be established on January 1 of each year as follows: 97% multiplied by the average prime rate of the distributor’s main bankers at that date less 2.5%.

The distributor shall submit to the Régie de l’énergie, no later than January 30 of each year, a report showing the rate and the source of the information used to establish it. 
8.5.2 Payment of interest
During the deposit retention period, the distributor shall credit the interest produced by the deposit on the first bill issued at the beginning of each calendar year.
8.6 Use or remittance to the customer
8.6.1 Use of the deposit
8.6.1.1 During the term of the contract 
During a contract term and notwithstanding a customer’s request to that effect, the distributor may not apply the deposit to a natural gas bill.
However, in the case of a service interruption for non-payment, as provided in Section 9.4.3, if the bill issued following the interruption for non-payment is unpaid on the due date, the distributor may, without prejudice to its other rights and recourses, apply against the bill, by offsetting, the cash deposit or the proceeds from the disposition of any other security provided by the customer.
8.6.1.2 On termination of the contract
If a contract is terminated as provided in Section 4.9, the distributor may, without prejudice to its other rights and recourses, apply against a bill the customer has not paid, by offsetting, the cash deposit or the proceeds from the disposition of any other security provided by the customer.
After application to the unpaid bill, any balance from the cash deposit or other security shall be returned to the customer.
8.6.2 Return of the deposit
Within 30 days of the expiration of the deposit retention period, the distributor shall refund to the customer by cheque his total cash deposit with interest not yet credited or return the security it holds to the customer.
9. CHAPTER 9 – COLLECTION
9.1 Payment agreement
The customer may contact the distributor at any time to propose a payment agreement to spread the payment of the unpaid amounts owing on the due date over a period of time and to provide for full payment of the bills issued during the period covered by the agreement.
The distributor shall inform the customer of this possibility on any collection notice sent to him.
9.2 Payment default
The customer shall immediately pay in full any unpaid amount on the due date.
9.3 Late payment charge
A late payment charge shall be added to the unpaid balance in accordance with the terms and conditions set out in the Tariff.

9.4 Collection procedures
With the exception of the cases specifically covered by the Act respecting the mode of payment for electric and gas service in certain buildings, R.S.Q., c. M-37, the collection procedures for non-payment on the due date shall be as follows.

9.4.1 Collection notices
1. Reminder
If a bill remains unpaid after the due date, the distributor shall send a written reminder to the billing address or communicate a reminder by telephone.

2. Final notice
If a bill remains unpaid following the reminder, the distributor shall send final written notice under separate cover to the billing address using a 
method that provides proof of delivery. The notice shall inform the customer that unless payment is made, natural gas service may be interrupted. 
Before interrupting service for non-payment between December 1 and March 1 of the following year, the distributor shall contact a domestic-use customer who uses the natural gas for space heating to propose a payment agreement.
9.4.2 Collection visit

If the bill is not fully paid following the final notice and there is no payment agreement or a payment agreement has not been complied with, the distributor may visit the service address to collect the amounts payable on the date of that visit. 
The distributor may make such a collection visit from 8:00 a.m. to 8:00 p.m., from Monday to Saturday. 
Between December 1 and March 1 of the following year, the distributor may make a collection visit to the service address of a domestic-use customer who uses the natural gas for space heating, to propose a payment agreement.
Following a collection visit, the collection charges provided in the Tariff shall be billed to the customer who pays his bill before service is interrupted.
9.4.3 Interruption for non-payment

At the time of the collection visit, if the amount demanded in the final notice or agreed to under a payment agreement remains unpaid, the distributor may interrupt natural gas service. In that event, the distributor shall ask the customer to notify the owner of the building affected by the interruption, if applicable.
However, between December 1 and March 1 of the following year, the distributor may only interrupt the natural gas service of a domestic-use customer who uses natural gas for space heating in the following cases:
1. the customer and the distributor have not entered into a payment agreement; or
2. the customer is not complying with the payment agreement entered into with the distributor.
9.5 Reconnection
Following a service interruption for non-payment, the distributor shall reconnect the service when the customer pays the amounts owing and the reconnection charges set out in the Tariff and any deposit required.









Appendix I (33 pages)





M. H.	_________


R. C.	_________


L. P.	_________









