
[image: image1.png]


BEFORE THE RÉGIE DE L'ÉNERGIE

IN THE MATTER OF:

HYDRO QUÉBEC DISTRIBUTION

Demande du Distributeur relative à l'établissement des tarifs 

d'électricité pour l'année tarifaire 2007-2008

DOSSIER R-3644-2007

[image: image2.jpg]


30 October 2007

[image: image3.jpg]|lEC



My name is Robert D. Knecht.  I am a Principal and the Treasurer of Industrial Economics, Incorporated (“IEc”), a consulting firm located at 2067 Massachusetts Avenue, Cambridge, MA 02140.  As part of my consulting practice, I prepare analyses and expert testimony in the field of regulatory economics.  In Canada, I have submitted expert evidence in regulatory proceedings in Québec, Ontario, Alberta, New Brunswick, Nova Scotia, Manitoba, and Prince Edward Island.  In matters regarding Hydro Québec Distribution (“HQD”), I have submitted evidence before the Régie in dockets R-3477-2001, R-3492-2002 (Phases 1 and 2), R-3541-2004, 3563-2005,  R-3579-2005, and R-3610-2006.  I obtained a B.S. degree in Economics from the Massachusetts Institute of Technology in 1978, and a M.S. degree in Management from the Sloan School of Management at M.I.T. in 1982, with concentrations in applied economics and finance.  My curriculum vitae and a schedule of my expert evidence presented to regulatory tribunals are attached as Exhibit RDK-1.

I was retained by l'Association québécoise des consommateurs industriels d'électricité (“AQCIE”) and the Conseil de l'industrie forestière du Québec (“CIFQ”) to evaluate the following aspects of HQD’s filing:

· Allocation of post-patrimonial generating costs;

· Allocation of transmission costs;

· Allocation of HQD’s energy efficiency program (“PGEÉ”) costs;

· Revenue allocation, and tracking historical cross-subsidies;

· Rate design for Rate L.

At this writing, I believe that the conclusions in this evidence are final, although my analysis of certain topics is continuing.  If this ongoing analysis requires me to modify my primary conclusions and recommendations or to modify the substance of my analysis, I will notify the Régie and the other parties promptly.

[image: image4.jpg]


pLEASE PROVIDE THE BACKGROUND FOR YOUR EVIDENCE IN RESPECT OF THE ALLOCATION OF POST-PATRIMONIAL GENERATION COSTS.

In Decision D-2007-12, the Régie directed that HQD implement “the hourly method” for allocating post-patrimonial generating costs in this proceeding.  HQD indicates that it has adopted that methodology.  

My clients have asked me to address this issue for two reasons.  First, they have asked that I confirm that HQD has correctly implemented the methodology approved by the Régie.  In my experience, it is very unusual for a regulator to not permit parties (and presumably its own staff) to check the work of a utility in its implementation of an approved methodology.

Second, my clients have asked me to evaluate whether the results of the methodology as implemented in this case are consistent with the economic assumptions that underpin the Régie’s D-2007-12 decision.  Most regulatory decisions, particularly cost allocation decisions, are based on the economic context in which they were made.  If those economic circumstances change, the methodology may no longer be appropriate.  Thus, even if the Régie requires that the hourly method be applied in this proceeding, it may wish to understand whether the economic assumptions that underpin that methodology remain valid going into the future.  
are the results of hqd’s allocation of post-patrimonial generating costs in this proceeding consistent with the results presented in docket R-3610-2006, upon which the régie made its decision?

They are not.  A summary of the results of the hourly cost allocation methodology, applied in 2007 and 2008, are shown in Table IEc-1 below, for the major rate classes.

	Table IEc-1

Post-Patrimonial Delivered Supply Costs

Hourly Method

Cents per kWh

	
	2007
	2008
	Percent

	Rate D
	8.95
	9.08
	1.5%

	Rate G
	9.01
	9.26
	2.8%

	Rate M
	8.66
	9.19
	6.1%

	Rate L
	8.47
	9.29
	9.7%

	Total HQD
	8.71
	9.21
	5.7%


However, Table IEc-1 does not give a completely accurate picture of the results of the hourly cost allocation method, because it does not adjust for transmission and distribution losses.  Because larger customers take service at a higher voltage than smaller customers, the transformation and line loss rates are noticeably lower.  Thus, a more accurate comparison would be the price paid by each class per kWh of energy supplied to the transmission grid, rather than price per kWh paid at the meter.  This comparison is shown in Table IEc-2 below.

	Table IEc-2

Post-Patrimonial Supply Costs at the Generator

Hourly Method

Cents per kWh

	
	2007
	2008
	Percent

	Rate D
	8.20
	8.32
	1.5%

	Rate G
	8.25
	8.49
	2.8%

	Rate M
	7.98
	8.47
	6.1%

	Rate L
	8.02
	8.80
	9.7%

	Total HQD
	8.10
	8.57
	5.7%


These tables give rise to two observations.  First, the hourly method is an unstable cost allocation methodology.  The increase in allocated unit costs for Rate L customers is more than six times that for Rate D customers.   Second, the 2008 allocation exhibits a pattern that is extremely unusual, namely one in which the cost of serving high load factor industrial load is deemed to be more expensive per kWh than the cost of serving low load factor Rate D load.

In 2007, the cost allocation pattern is, for the most part, directionally consistent with normal cost allocation results, in which the low load factor residential and small commercial classes exhibit higher rates than the higher load factor medium and large industrial rate classes.
  

However, although the 2007 results are directionally reasonable, there is very little variation in the magnitude of the unit costs.  There is only a 3 percent range from lowest to highest average cost per kWh, far lower than that for all electric utility cost allocation studies with which I am familiar.
  Thus, the 2007 results indicate that (a) there is very little peak-demand related cost being allocated, and (b) there is very little energy cost differentiation from hour to hour, either between on-peak and off-peak hours and from season to season.

The 2008 results are not directionally reasonable.  Unless class post-patrimonial load profiles have changed substantially since R-3610-2006, the large industrial post-patrimonial load exhibits a higher load factor than the other rate classes, and much higher than that for the residential class.
  Moreover, large industrial loads represent a larger portion of off-peak demands than residential customers, and off-peak power costs are lower than on-peak power costs.

In contrast to the normal cost allocation (or market) results, the hourly method for 2008 suggests that high load factor Rate L customers are the most expensive customers to serve, followed by the low load factor Rate G and medium load factor Rate M customers.  Most paradoxically, the low load factor Rate D customers have the lowest allocated unit cost.  

In short, the hourly method in 2008 is producing results that are not consistent with the most basic principles of electricity supply economics, namely that at least some component of costs is related to peak demands, and that energy costs in on-peak periods are higher than energy costs in off-peak periods.

what factors are causing the post-patrimonial results to change so dramatically from last year’s results?  

I do not know.  

In reviewing HQD’s application, I had developed a set of hypotheses about why HQD’s methodology produced the counter-intuitive results shown above, including the following:

· The overall post-patrimonial load shape is “thin” and unstable, in that it represents a small residual difference between the overall HQD load and the patrimonial load specified in Decree 1277-2001, and that the patrimonial load shape does not match the actual load shape;

· As it showed in the 2007 filing, HQD may be attempting to time its “take” of its patrimonial entitlement in order to reduce post-patrimonial supply costs;

· HQD’s allocation of its hourly patrimonial entitlements, including its still undocumented and unexplained “smoothing” mechanism, may be producing class post-patrimonial load patterns that are even less reasonable than they have been in the past;

· HQD’s treatment of its stranded costs, associated with losses on the resale of the excess supply that it has procured, are being disproportionately assigned to off-peak hours, thereby unfairly burdening high load factor customers;

· Because the hourly cost method includes both fixed and variable costs in the hourly cost of supply, HQD may (correctly) decide to take more volume from the supply option that offers the lowest variable cost during off-peak periods, but which actually costs more per kWh in the hourly cost allocation method.

Unfortunately, I am not able to evaluate which of these issues contribute to the unusual results, due to insufficient information.

is hqd’s method of allocating the stranded costs associated with excess capacity consistent with cost causation?

As I understand HQD’s hourly methodology, the costs and revenues associated with energy that is purchased from suppliers and re-sold to off-system customers are assigned to the specific hours in which those sales and purchases were made.  In effect, any net losses on those re-sales will be assigned to a particular set of hours.

This approach is not consistent with cost causation.  The need to re-sell excess power is not caused by loads from any particular customer or class -- that need results from inaccurate forecasting.  In effect, it is not the loads in any particular hour that give rise to those losses -- it is the absence of the expected loads.  It is not logical to assign the costs associated with loads that did not appear to an arbitrary subset of the loads that are now expected.

In the alternative (and under the assumption that I have correctly interpreted HQD’s approach despite the lack of information), I recommend that any net losses on capacity re-sales be allocated broadly to all customer classes.  While there is no theoretically perfect method for allocating stranded costs (because they are not caused by loads at all), I suggest that these costs be allocated in proportion to all other post-patrimonial generation costs, or in proportion to all other generation costs.

Also, it is not clear to me that that this specific aspect of the hourly cost allocation methodology was fully vetted by the Régie in its D-2007-12 decision.  It is certainly possible that “tweaking” the hourly cost allocation methodology in this respect will result in an allocation that is more consistent with that in the R-3610-2006 proceeding. 

are the results from hqd’s implementation of the hourly method in this proceeding consistent with the economic logic in the régie’s d-2007-12 decsion?  

They do not appear to be.

In reaching its decision, the Régie made the following conclusions with respect to cost causation:

· The hourly method of cost allocation recognizes that the overall post-patrimonial load profile is different from the patrimonial load profile, while the global load factor method does not.

· The hourly method produced cost allocation results that were consistent with a capacity cost of $10 per kW per year in the test year.  By way of contrast, the global load factor method produced cost allocation results that were reasonably consistent with the avoided capacity cost of a combustion turbine unit of some $80 per kW per year.

· In the short-run, the capacity cost of $10 per kW per year was consistent with the cost of capacity as measured by HQD’s short-term contracts and interruptible credits.  The Régie observed that a low-cost of power in the short-run is not surprising due to the excess capacity situation that HQD faces through 2009-2010.

· The hourly method is more consistent with the realities of the market, and that it will adapt to seasonal and time-of-use supply and market fluctuations.

could the difference between the overall hqd load and the legislated patrimonial load give rise to the results shown in table iec-2?

At the outset, I note that the Régie’s argument is very well taken that, by government decree, the patrimonial load comprises a larger proportion of on-peak hours than it does for off-peak hours.  As such, if I assume that post-patrimonial load is independently procured under a least-cost supply plan, it is reasonable to reflect that difference in the cost allocation methodology.
    

However, while it is theoretically possible for this situation to cause bizarre results, the only reasonable way for that to happen would be if HQD’s allocation of patrimonial load somehow results in post-patrimonial load shapes in which large industrial demand has a lower load factor than residential demand.  That result was certainly not the case in the last proceeding, as shown in Figure IEc-1 below.  (Note that I have used last year’s post-patrimonial load shape because the 2008 data are not available.)  

[image: image5.jpg]



As shown in Figure IEc-1, the load pattern for the residential class shows that it varies considerably from hour to hour over the course of the year, and it matches fairly closely the overall HQD post-patrimonial load shape.  Thus, if HQD is purchasing power to meet this specific load shape, it must recognize that it must secure sufficient capacity to meet the residential system demand.  The industrial demand, by contrast, exhibits a much more stable load shape.  Thus, unless load shapes have changed significantly in 2008, the load factor for the large industrial class is considerably higher than that for the residential class.

Based on the load shapes shown in Figure IEc-1, the difference in load patterns between patrimonial and post-patrimonial loads could very well result in a narrowing of the gap in rates between customers who consume little during off-peak hours and customers who consume more during off-peak hours, as it did in the 2007 proceeding.  Nevertheless, this difference most certainly does not justify a finding that post-patrimonial costs appear to be higher for off-peak hours than for on-peak hours.

could the régie’s conclusion that the capacity-related costs of post-patrimonial supply are relatively low cause the unusual results?  

No.  Again, the Régie’s conclusion is well taken that capacity costs are currently lower than the cost of a new combustion turbine unit. 
  

However, the Régie’s conclusion that near-term peaking costs for HQD supply are relatively low would also justify a narrowing of the gap between unit costs for high load factor and low load factor customers.  In the last proceeding, the Régie observed that the hourly cost allocation methodology produced results that were reasonably consistent with a $10 per kW per year of peak demand cost.
  

Moreover, the Régie appeared to recognize that, at some point in the future, the cost of capacity may increase.  

However, in this proceeding, the results of HQD’s implementation of the hourly method imply that capacity costs are actually less than zero!  That is, HQD’s method implies that it would be less expensive to procure capacity during on-peak periods than during off-peak periods.

does the conclusion that the hourly method is more consistent with market realities apply to the analytical results  presented by hqd in this proceeding? 

It does not.  Market prices tend to exhibit peak demand charges as well as hourly energy prices that are higher during on-peak than off-peak periods.  The hourly method produces the opposite results in 2008.  

As noted above, I currently do not know why the hourly method is not producing rational results for 2008.  Nevertheless, the “big picture”  is that the hourly method is producing a cost allocation result for 2008 that is not consistent with the economic rationale used by the Régie in adopting that method in D-2007-12, it is not consistent with market price patterns, it is not consistent with cost allocation results at any electric utility rate proceeding that I have participated in, and it defies common sense.

How do the results of hqd’s allocation compare with market price patterns?

HQD’s results are inconsistent with market price patterns.  To evaluate the impact, I applied the forecast post-patrimonial load for 2007-2008 from last year’s proceeding to the actual locational marginal prices (“LMPs”) for the NYISO, for both residential and large industrial loads.  A comparison of the average rates is shown in the table below.  Please note that this analysis does not include any demand-related costs -- including demand-related costs would substantially increase the relative cost of residential rates in the NYISO analysis.

	Table IEc-3

Comparison of 2007 Supply Costs

Cents per kWh

	
	2008 Post-Patrimonial
	Jan-Oct 2007 NYISO LMPs
	Percent Difference

	Rate D
	8.32
	5.60
	48.6 %

	Rate G
	8.49
	5.70
	48.9%

	Rate M
	8.47
	5.59
	51.5%

	Rate L
	8.80
	5.50
	60.0%

	Source:  HQD-11, Document 3, Table 9A, R-3610-2006 HQD-16, Document 3, Question 2, NYISO, HQ Zone.


Note that Table IEc-3 demonstrates two issues.  First, the NYISO LMPs, when applied to post-patrimonial load, do not indicate that average variable rates should be higher for large industrial customers than for residential customers.  Second, Table IEc-3 indicates that if HQD had purchased its post-patrimonial supplies on the spot market, its costs would likely have been substantially lower than those incurred in 2007 (which average approximately 9.34 cents per kWh).  Moreover, if HQD were to allocate this enormous premium, which was incurred to insure that HQD had sufficient capacity to meet its needs, on the basis of post-patrimonial peak demands, the residential unit costs would far exceed those for the large industrial costs.

Are the results consistent with hqd’s longer-term assessment of avoided costs associated with its pgee programs?  

No they are not.  As shown in HQD-11, Document 3, Table 25C, columns (2) and (3), and confirmed in AQCIE/CIFQ-II-16, the avoided cost for longer term supplies to large industrial customers is lower than that for any other rate class.  Thus HQD’s long-run replacement cost calculations are directionally consistent with market price patterns, while the 2008 allocation of post-patrimonial costs is not.  A summary for the major rate classes is shown in Table IEc-4 below. 

	Table IEc-4

Comparison of Future Supply Costs

Cents per kWh

	
	2008 Post-Patrimonial
	LR Avoided Costs
	Percent Difference

	Rate D
	8.32
	9.04
	 8.7%

	Rate G
	8.49
	9.04
	 6.5%

	Rate M
	8.47
	8.97
	 5.9%

	Rate L
	8.80
	8.64
	-1.8%

	Source:  HQD-11, Document 3, Tables 9A and 25C


what are the implications of the hourly cost allocation method for future hqd post-patrimonial supply procurements?

As I indicated last year, the hourly cost allocation method essentially transfers cost allocation responsibility from the Régie to the parties who enter into supply contracts.  Consider the case of a baseload supply contract.  One way to structure that contract would be to negotiate a high fixed charge and constant variable charge for all hours of supply.  An alternative way to structure that contract would be to set a lower fixed charge, with variable charges that vary between on- and off-peak periods or even based on market spot prices.  Even if these two alternatives are structured to result in the same overall cost to HQD, they will result in very different cost allocation schemes.

In contrast to HQD’s current post-patrimonial supply procurement policy, the following attributes of a supply policy would be more consistent with the hourly cost allocation methodology:

· HQD should not be paying inordinate costs for capacity in off-peak periods.  Capacity is readily available for off-peak periods and there is no need to pay premiums.

· Prices paid for energy should vary between on-peak and off-peak periods, reflecting market conditions.

· HQD should purchase a significant share of its supplies at spot market prices, rather than entering into fixed long-term contracts (which can result in stranded cost problems).

· HQD should not be paying demand charges for capacity that exceed the $10 or $20 per kW per year, in light of the excess capacity situation identified by the Régie.  

Overall, what are your recommendations in this proceeding regarding post-patrimonial generation cost allocation?

Because there is no information available regarding the reasons for the bizarre and counter-intuitive results produced by HQD’s implementation of the hourly method in this proceeding, I can only suggest that the Régie direct HQD to modify the allocation of stranded costs to eliminate the unreasonable assignment of costs to off-peak periods.  If that correction does not result in post-patrimonial unit costs that are directionally consistent with those presented in R-3610-2006, I recommend that post-patrimonial generation unit costs for each class be derived in proportion to the long-run avoided cost of generation.

[image: image6.jpg]


please provide your understanding of the regulatory background regarding the allocation of transmission costs for this proceeding.

In R-3549-2004, the Régie considered the issues of how to allocate TransÉnergie’s transmission costs between in-province customers (HQD) and point-to-point service, as well as the issue of designing the rates for both types of customers.

With respect to cost allocation, the Régie determined in D-2006-66 that transmission costs should be sub-functionalized into generation integration, network, attachment and other interconnection categories.  The Régie directed that these cost categories then be classified and allocated separately. 

Regarding rate design, however, the Régie decided that it would not rely on the cost allocation methodology, either for determining the overall magnitude of the costs or for designing the rates by which those revenue requirements are collected, at least for the test period.  The charge to HQD is based on a flat dollar amount, which was determined by sharing the costs between HQD and point-to-point customers on a 1 CP basis.  The rates for point-to-point customers are based only on demand charges, and do not reflect the energy cost classification method determined by the Régie.
 

In Docket R-3610-2006, the issue arose as to how the Régie’s decisions regarding transmission cost allocation and transmission rate design should be reflected in the distributor’s cost allocation study.  Parties to that proceeding generally advocated either (a) reflecting the transmission utility’s rate design and retaining the 1 CP method; or (b) reflecting the transmission cost allocation methodology that has no impact on transmission rate design.  These two alternatives display the dilemma faced by HQD in last year’s proceeding.

In D-2007-12, the Régie concluded that the determination of the transmission tariff charge was not based on a 1 CP tariff design, but was in fact more akin to a lump sum charge.  The Régie further concluded that the allocation of these costs on a single coincident peak basis was not consistent with cost causation, and it directed HQD to make its filing for the 2008 test year based on the transmission cost allocation decision.  However, the Régie indicated that it believed that the subject merits further debate in this proceeding. 

did hqd address the régie’s concerns in the current proceeding?

HQD made its filing using a cost allocation method that is consistent with the Régie’s cost allocation decision, supplemented by a more detailed allocation of the customer attachment costs that was not clearly defined in D-2006-66.
  However, HQD has not provided any additional analysis with respect to the Régie’s request for a more detailed debate.

what are your thoughts and recommendations regarding this issue?

I continue to believe that cost causation at the distribution level for regulated transmission service should reflect the tariff design of the transmission utility.  While the Régie’s conclusion is very well taken that the tariff charge paid by HQD is essentially a lump sum, it is also clear that the magnitude of that lump sum is determined by a coincident peak allocation.  And by “revealed preference,” the Régie has also concluded that point-to-point transmission service tariffs should not reflect cost causation, because point-to-point tariffs are 100 percent demand-based.

In addition, as a general rule, the cost causation implications for transmission costs are best addressed in a transmission rate proceeding, not a distribution rate proceeding.  In a transmission proceeding, the experts who are best acquainted with cost causation on the transmission grid are available, as are transmission rate design experts.  That evidence is available only partially (and that indirectly) in a distribution rate proceeding.  As such, it is very difficult to develop an approach for distribution cost causation that is somehow different than that reflected in the rates that the distribution utility pays.

Finally, I note that one reason that a cost-based transmission tariff may not have been developed in a transmission rate proceeding is that the transmission utility was concerned about over- or under-recovery of its costs, if something other than a lump sum charge were adopted for native load service.  However, I am advised that the Régie has now adopted a reconciliation mechanism (“compte d’écart”) for transmission service in D-2007-08.  With a reconciliation mechanism in place, it may be much easier for TransÉnergie to accept a cost-based transmission tariff.

However, if, in the end, the Régie does not accept the principle that cost causation should reflect the rates paid, I accept the cost allocation methodology offered by HQD because it is consistent with the Régie’s decision in the transmission proceeding.  Moreover, I do not believe that a distribution rate proceeding is the appropriate venue to develop a third methodology that is not consistent with either the transmission cost causation decision or the transmission rate design decision.    

[image: image7.wmf]Figure IEc-1

HQD Post Patrimonial Load Patterns

Test Year 2007:  Load Duration Curves

0

200

400

600

800

1000

1200

1400

1600

1800

2000

0

500

1000

1500

2000

2500

3000

3500

4000

4500

5000

5500

6000

6500

7000

7500

8000

8500

MW

Res.

Ind.

Total

how does hqd propose to allocate PGEÉ costs in this proceeding?

Up to the present filing, HQD allocated PGEÉ costs on the basis of overall generation costs.  The apparent economic rationale for that approach was that any reduction in load associated with conservation programs would allow other customers to benefit from the use of the low-cost patrimonial pool. 

In the current filing, HQD proposes to allocate the costs of the PGEÉ program on the basis of avoided costs actually achieved by the programs, based both on the reduced volumes and on the long-run incremental cost of supplying each class.  In the alternative, HQD suggests that a direct assignment of the costs of the programs to each rate class would be reasonable.

what are the economic and cost-causation considerations associated with allocating PGEÉ costs?

Three factors should be considered:  the rate effect, the net incremental cost effect, and the allocative effect.

If HQD subsidizes a conservation program for a particular customer, that customer receives the benefit of the program in the form of lower electric bills.  For example, a subsidized weatherization program will leave the customer with just as warm a house but with lower utility bills.
  This effect suggests that the costs of the program should be directly assigned to the customer or customer class that benefits from the program.

The net incremental cost effect is the net savings to the utility associated with the program.  That savings represents the difference between the costs avoided by the utility (the incremental cost of supply, transmission and distribution) and the lost revenues associated with the load reduction.  To the extent that the incremental tariff rates are set lower than the avoided cost, there is a net benefit to the utility.  That is, if the marginal tariff charge is 7 cents per kWh, and the incremental cost of service is 9 cents per kWh, the net incremental cost effect is 2 cents per kWh.  

The allocative effects represent the shifts in allocated costs that are associated with a particular demand reduction program.  These effects include both the allocation of the net incremental cost effect, as well as the reallocation of generation, transmission and distribution costs that result from the program.  For HQD, the allocative effects are particularly complex, given the nature of the patrimonial generation cost allocation mechanism.

It is important to recognize that the allocative effects are the primary motivation for the current methodology, namely that all classes are benefiting proportionally from any reductions in loads.  Without a clear justification for allocative cross-benefits, the current method is not supported by economic principles.

what are the specific allocative effects that can occur in hqd’s cost allocation methodology?

To address this issue, I constructed a simple two-class model, shown in Exhibit IEc-2.  It consists of a relatively low load factor residential class and a high load factor industrial class, with the “base case” parameters shown in the left-most third of the exhibit.  

I then consider the effects of two types of demand reduction programs.  The first is a program targeted at winter season consumption for the residential class (which would be fairly typical for a demand management program).  The second is a program targeted at an overall reduction for the industrial class (which would also be fairly typical).

Consider the first example, shown in the middle of the exhibit.  In HQD’s cost allocation methodology, the first effect of any conservation program is the reduction of the patrimonial load entitlement (assuming that government decrees continue to follow the historical pattern).  Thus, in this example, the conservation program causes a reduction in both residential load and residential patrimonial load, and an increase in industrial patrimonial load.

However, the load reduction has a second, more complicated effect, on patrimonial load average costs.  The reduction in peak season demand for the residential class improves the load factor for that class.  Under the approved patrimonial generation cost allocation methodology (which I use in this exhibit), this improved load factor, in conjunction with the volume mix shift, results in a slight reduction in the unit cost of patrimonial load for the residential class, and an increase in the patrimonial load unit cost for the industrial class.  

With respect to post-patrimonial generation costs, I have modeled those costs as a constant variable amount, because the hourly method of generation cost allocation has virtually no time of use signal at all.

In addition, note that the reduction in load for the residential class causes transmission and distribution demand-related and energy-related costs to be shifted to the industrial class.

In the end, the net cost savings associated with a reduction in the residential winter load primarily benefits the residential class, although there is a relatively small allocative benefit to the industrial class (only about 14 percent of the total benefit).

Let me turn to the second example.  In this case, the conservation program does not result in any improvement in the load factor for the industrial class, because there is very little room for any improvement to be made.  (Industrial demand-side management programs generally cannot target peak period demand, because there is no pronounced peak.)  It is simply an across-the-board reduction in demand.  (I have structured this second example such that the overall MWh reduction is about the same as in the residential example.)

In this case, paralleling the previous example, the reduction in industrial load causes the patrimonial entitlement to shift from the industrial class to the residential class.  However, in this example, the reduction in industrial load causes the patrimonial unit costs for both residential and industrial customers to decline.

As in the previous example, this example shows that demand-related and energy-related transmission and distribution costs will shift from the industrial class to the residential class.

The net impact in this example is that the majority of the cost savings to HQD are related to the industrial class, but that the residential exhibits a material allocative benefit (of about 27 percent).

what do you conclude from your analysis of allocative effects?

Obviously, the magnitude of the allocative benefits will depend on the specific parameters of each PGEÉ program.  However, I believe that my examples are directionally representative of the impacts and reasonably representative of the relative magnitude of the impacts.  

Based on the examples shown, as well as alternative simulations of those examples, I conclude that the net allocative benefits to classes other than those for which the PGEÉ programs are targeted is relatively small.  Therefore, I conclude that the economic rationale for the existing mechanism is weak, under current economic conditions and cost allocation methodologies.  For that reason, I conclude that either the avoided cost approach proposed by HQD or the direct assignment approach are far superior to the current method.

However, if an allocative method is pursued, it must recognize the fundamental differences between programs targeted at high load factor customers and those targeted at low load factor customers.   That is, there is a much stronger economic rationale for low load factor customers to contribute to the costs of programs targeted at high load factor customers than there is for high load factor customers to contribute to programs targeted at low load factor customers.

what is your assessment of the two alternatives offered by hqd?

HQD’s avoided cost method assigns the costs of the programs based on the specific volumes avoided for a particular class, priced at the long-run incremental cost of supply.  The direct assignment method simply assigns the specific costs of the program to each rate class.  

It is important to recognize that, if the programs are equally cost effective (as  measured by dollars invested to achieve a dollar reduction in avoided cost), the results of these two methods will be identical.
  However, if, for example, the PGEÉ program for the Rate L class is less cost-effective than one for the Rate D class, then the Rate D class will contribute to the cost for the Rate L program under HQD’s proposed methodology.

which approach do you recommend?

I recommend that the direct assignment method be adopted, for three reasons.  

First, there is no reason why one class should cross-subsidize the program for a different class, merely because load reductions can be achieved more efficiently at the first class than for the other class.  As I demonstrated above, the allocative effects of a PGEÉ program are relatively small, and therefore there is little reason to redistribute the costs of the program.

Second, it is my understanding that part of the focus of HQD’s effort for load reduction will be targeted at low-income customers.  As such, it may become difficult to segregate expenditures designed for load reduction with simple economic transfers to low-income residential customers.  Because business customers do not contribute in any causal way to the need for residential assistance programs, no such costs should be assigned to those customers.  For that reason, it would be simpler and less contentious to simply assign the costs of each program directly to the class that benefits from it.

Third, the direct assignment method is much simpler, in that it does not require a somewhat subjective evaluation of how much energy has been reduced from any particular conservation program.  Under HQD’s method, the parties to a regulatory proceeding would need to scrutinize the savings associated with each and every PGEÉ program, to insure that HQD’s assessment of the kWh savings for each rate class are reasonable.  Under a direct assignment method, the regulator need only look at HQD’s books, to see where the money was spent.

[image: image8.wmf]Figure IEc-1

HQD Post Patrimonial Load Patterns

Test Year 2007:  Load Duration Curves

0

200

400

600

800

1000

1200

1400

1600

1800

2000

0

500

1000

1500

2000

2500

3000

3500

4000

4500

5000

5500

6000

6500

7000

7500

8000

8500

MW

Res.

Ind.

Total

please provide a brief background of the regulatory issues surrounding revenue allocation for this proceeding.

As the Régie is well-aware, the regulation of HQD is subject to the unusual (and quite possibly unique) requirement that rates may not be adjusted in order to cause changes in historical levels of cross-subsidization.  How that cross-subsidization is measured has been a matter of some debate over the past several rate proceedings.  

Nevertheless, in the last proceeding (R-3610-2006), the Régie approved a methodology proposed by HQD which measures the increase in allocated per-kWh cost from proceeding to proceeding, based on a consistent cost allocation methodology.   That is, HQD simulates its cost allocation methodology for the prior test year and for the proposed test year with the same cost allocation methodology.  The difference in the per-kWh allocated costs between those two simulations is deemed, under this methodology, to be the necessary difference in rates that would result in no change in cross-subsidies.

Thus, in Docket R-3610-2006, the Régie implicitly adopted a new base level of cross-subsidies.

In the last proceeding, however, the Régie did not use its new cross-subsidy approach for revenue allocation.  Instead, it approved an across-the-board rate increase for all rate classes.  The effect of this decision on the increases or decreases in cross-subsidies, is shown in Table IEc-5 below, as measured as a percent of rates.  (Note that this table is based on values updated for D-2007-12 issued by the Régie.) 

	Table IEc-5

cross-subsidy analysis

decision d-2007-12

	
	No Subsidy Change Increase
	Across-the-Board Increase
	Change in Cross-Subsidy (%)
	Change in Cross-Subsidy ($mm)

	Domestique
	2.8%
	1.9%
	-0.9%
	(36)

	Petite Puissance
	1.7%
	1.9%
	 0.2%
	  3

	Moyenne Puissance
	1.1%
	1.9%
	 0.8%
	 15

	Grande Puissance
	1.0%
	1.9%
	 0.9%
	 18

	Total
	1.9%
	1.9%
	0.0%
	 0

	Source:  Exhibit IEc-3


As Table IEc-5 shows, the effect of applying the across-the-board rate increase in the previous docket resulted in an increase in cross-subsidies to the residential rate classes of approximately $36 million, primarily from the medium and large demand classes.  Unless that increase is reversed in the current or future proceedings, this would represent a permanent increase in cross-subsidies paid by those classes.

In the current proceeding, HQD has again prepared its cross-subsidization analysis.  For demonstration purposes, HQD has assumed that an across-the-board rate increase will again be applied.  However, HQD has suggested that any differential increase be the subject of debate among the parties and the decision of the Régie.  The cross-subsidization effects based on HQD’s filing are shown in Table IEc-6 below.  Of course, changes in the cost allocation methodology may have an effect on the cross-subsidization factors. 

	Table IEc-6

cross-subsidy analysis

r-3644-2007 hqd filed

	
	No Subsidy Change Increase
	HQD Proposed  Increase
	Change in Cross-Subsidy (%)
	Change in Cross-Subsidy ($mm)

	Domestique
	4.4%
	2.9%
	(1.5%)
	(61)

	Petite Puissance
	0.9%
	2.9%
	 2.0%
	 26

	Moyenne Puissance
	2.6%
	2.9%
	 0.3%
	   5

	Grande Puissance
	1.4%
	2.9%
	1.6%
	 30

	Total
	2.9%
	2.9%
	0.0%
	  0

	Source:  Exhibit IEc-3


As Table IEc-6 shows, if HQD’s “straw man” proposal for a near across-the-board increase were to be adopted in this proceeding, it would result in an increase in cross-subsidies to the residential classes of some $60 million, provided this time by the small and large demand rate classes.  

what are the primary considerations of regulators for evaluating revenue allocation decisions?

As a general rule, regulators consider three primary factors when determining how a rate increase is shared among the various rate classes.  First, most regulators consider cost to be the primary consideration, and that the objective of revenue allocation is to move rates more into line with allocated costs under future rates than under prior rates.  

This objective of “moving toward cost-based rates” is tempered by two other considerations.  These are the principle of “rate gradualism” (often referred to as avoiding “rate shock”) and the principle of “value of service.”  

While it is difficult to pin down exactly what the principle of gradualism requires, many regulators rely on a “rule of thumb” that the rate increase for a particular class be no more than 1.5 or 2.0 times the system average increase.  (Generally, for smaller overall increases, regulators are more comfortable with a higher multiple.)  Thus, for example, under a “two-times” rule, if the system average rate increase is 3.2 percent, no class is assigned more than a 6.4 percent increase.

The principle of “value of service” is that classes who place a higher value on the utility service may be assigned a larger increase than those classes that value the service less highly.  This criterion is generally interpreted to mean that customers whose demand will be less affected by a rate increase (i.e., the demand is less price elastic) may be assigned a larger increase.  In practice, this criterion is often used to justify lower rate increases for customers or customer classes who are likely to lose load (e.g., bypass rates).

in the context of hqd’s regulatory environment, what are your revenue allocation recommendations in this proceeding?

If the Régie determines that the traditional principle of moving rates more into line with allocated costs is, at least in part, precluded by the legislation for HQD, the next best alternative would simply be to keep rates in line with allocated costs (including the historical cross-subsidy), as tempered by the principles of gradualism and value of service.

In the context of this proceeding, both the increase in the cross-subsidies in the last proceeding and the potential increases in cross-subsidies in this proceeding should be recognized.  In addition, the Régie should recognize the increase in cross-subsidies paid by each of the classes in the prior year.

To get rates back into line with the base level cross-subsidies, as established in the prior proceeding, the rate increases shown in Table IEc-7 would be required.

	Table IEc-7

2008 revenue allocation 

no change to 2007 or 2008 cross-subsidies

	
	Cumulative 07-08 Increase
	Less:  2007 Increase
	Net 2008 Increase

	Domestique
	7.3%
	1.9%
	5.3%

	Petite Puissance
	2.6%
	1.9%
	0.7%

	Moyenne Puissance
	3.7%
	1.9%
	1.8%

	Grande Puissance
	2.4%
	1.9%
	0.4%

	Total
	4.9%
	1.9%
	2.9%


Thus, to keep cross-subsidies at constant level relative to those in place going into the R-3610-2006 proceeding, it would be necessary to assign a 5.3 percent increase to the domestic class, with lower increase to the other rate classes.  The 5.3 percent factor would be about 1.8 times the system average increase, which I would consider to be within the usual constraints for rate gradualism.  I also note that this approach results in a relatively low rate increase for the large industrial classes.  Such an increase is consistent with the value of service principle, in that it recognizes the losses of industrial load from plant shutdowns that HQD has experienced over the past few years, as well as the precarious condition of a number of forest products and chemical operations.

do you have any other recommendations with respect to revenue allocation?

HQD appears to conclude that the methodology approved by the Régie in last year’s proceeding should apply only one year at a time, and be evaluated on a separate basis in each year.  While I agree that the change in cross-subsidies should be measured on a year by year basis, I recommend that the effects of any variations in cross-subsidies be tracked on a cumulative basis.  

Participants in rate proceedings often have short memories.  It may be easy for some participants to forget that the business rate classes paid an extra $35 million in cross-subsidies in 2007, and are at some risk of adding $60 million on top of that in 2008.  In total, that would amount to some $130 million in extra cross-subsidies over the two years, even without accumulating interest on the overpayments.
  

Conversely, there will likely come a time in the future when the “no change in cross-subsidy” rate increases imply that the rate increases for the business classes are higher than those for the residential class.  At that time, it may be politically expedient for HQD to propose to assign disproportionate rate increases to the business classes, while ignoring the history of increasing cross-subsidy payments from those classes.  

If a tracking mechanism is in place, the Régie will be well aware of the history of cross-subsidies, and it may choose to mitigate the rate increases to the business classes and draw down the accumulated cross-subsidy excesses.

What other considerations exist with respect to revenue allocation in this proceeding, that relate to the need for a tracking mechanism for increases and decreases in cross-subsidies?

First, even if the rate increase that I recommend in this proceeding is adopted, the overpayment from 2007 is not returned to those customers.  If a tracking mechanism is in place, this overpayment will be remembered in the future. 

Second, HQD’s overall rate increase may be modified in this proceeding, as may its cost allocation results.  Changes to either or both of these assumptions will affect the magnitude of the class rate increases shown in Table IEc-7 above.  It is certainly possible that these changes will cause the class rate increases to violate the principle of gradualism.
  The Régie may therefore need to move away from a strict cost-based approach, and adopt a judgmental approach.

Third, the Régie may determine that it would prefer a phased approach to recognizing changes in historical cross-subsidies, and opt for a more gradual approach than that shown in Table IEc-7.

By establishing a tracking mechanism, the Régie will be able to apply its regulatory judgment, while providing explicit recognition of the increases in the cross-subsidies that result from the use of that judgment.

[image: image9.jpg]INDUSTRIAL ECONOMICS, INCORPORATED



what are the important features of the rate l tariff design for this proceeding?

The Rate L tariff consists of both demand and energy charges.  As a general rule, demand charges are designed to recover costs that are classified as demand-related, and energy charges are designed to recover costs that are classified as energy-related.  (Some utilities will set demand charges modestly below allocated demand costs, in recognition that the individual customer peak does not always match up with the coincident peak measure used in the cost allocation study.  The need for this adjustment is less appropriate for HQD, because it already uses such a broad peak  for allocating the demand-related portion of generation costs in the load factor method.)

It is important to recognize that, if rates are not designed in this way, the tariff design will result in intra-class cross-subsidization.

For example, suppose HQD decided to eliminate the Rate L demand charge entirely, and collect all revenue from an energy charge.  However, because HQD’s cost allocation methodology classifies costs into demand components and energy components, the cost of service per kWh is different from customer to customer.  Thus, for example, under HQD’s methodology (as filed in this proceeding), a customer with a 100 percent load factor would cost approximate 3.9 cents per kWh to serve, while a customer with a 60 percent load factor would cost about 4.8 cents per kWh to serve, a 24 percent difference.

If rates for both types of customer were set at the same average per-kWh rate, it is clear that the high load factor customer would cross-subsidize the low load factor customer.  While this is obviously an extreme example, a similar but less extreme pattern would result if HQD simply over-recovered the energy-related costs in its energy charge.

However, over the last several rate proceedings, HQD has been following a pattern of assigning disproportionate increases to the Rate L energy charges and lower increases to the demand charges.  This policy will necessarily result in larger rate increases for high load factor rate customers than for lower load factor customers.

In last year’s proceeding, I demonstrated that HQD’s proposed changes were not consistent with the cost classification in its own cost allocation study.  Based on my analysis, HQD should have been imposing larger increases on its demand charges than on its energy charges.  

However, it is my understanding that HQD has defended its approach on the grounds that (a) the change in transmission cost methodology will increase the energy-related portion of costs allocated to Rate L customers significantly, and (b) it wanted to increase energy charges in order to create a greater incentive for conservation by Rate L customers.

Neither of these defenses stands up to scrutiny.

First, I have updated my analysis from last year in Table IEc-8 below, which shows my derivation of the estimated energy-related costs assigned to Rate L on a per kWh basis.  In my 2006 analysis, only generation costs were classified as energy-related under the load factor method, and both patrimonial and post-patrimonial generation costs were split between demand and energy components using the load factor method.   As updated, I have now assumed that only patrimonial generation costs require a split, and that all post-patrimonial costs are assumed to be energy-related.  I also have reclassified energy costs pursuant to HQD’s filed methodology.      

	TAble IEC-8

Comparison of rate l energy costs and energy charges

	
	2006-2007
	2007-2008

	HQD Patrimonial Cost ($mm)
	$4,063.5
	$4,063.5

	Energy Component of Patrimonial Costs (300 CP)
	67.2%
	67.1%

	HQD Post-Patrimonial Costs ($mm)
	$ 367.7
	$ 555.9

	Energy Component of Post-Patrimonial Costs
	67.2%
	100%

	HQD Energy-Related Generation Costs ($mm)
	$3,341
	$3,644.8

	Rate L Share of Energy 
	25.8%
	24.8%

	Rate L Generation Energy Costs ($mm)
	$ 861.6
	$ 905.6

	Rate L Transmission Energy Costs ($mm)
	--
	$ 201.3

	Rate L Energy Costs $mm
	$ 861.6
	$1,106.8

	Rate L Consumption (GWh)
	45,708
	43,623

	Rate L Unit Energy Cost (cts/kWh)
	1.89
	2.54

	Rate L Revenue/Cost Ratio
	115.6%
	110.0%

	Cost-Based Rate L Energy Charge (cents/kWh)
	2.18
	2.79

	HQD Proposed Energy Charge (cents/kWh)
	2.84
	2.91

	Note:  2006-2007 post-patrimonial costs are offset by deferral account amount.


Thus, HQD is proposing to set the energy charge for Rate L some 4.3 percent higher than energy-related costs, even using very generous assumptions about the classification of costs.  As such, this proposal is not justified on a cost basis.

HQD’s other argument, namely that this approach will encourage conservation, is also unpersuasive.  At large industrial operations, energy efficiency programs generally target loads during all hours of the year, including both peak and off-peak consumption levels.  Shifting costs from demand charges to energy charges will likely not create any meaningful additional incentives to conserve.  

What it will do, however, is reduce the incentive for large industrial customers from maintaining a level load.  That is, customers will have less incentive to use energy efficiently.  Under HQD’s tariff, the energy charge is the same regardless of whether it is a peak period or an off-peak period, or whether it applies to a customer with a very high load factor or to a customer with a more temperature sensitive peak demand.  The demand charge, by contrast, applies only to the customer’s peak demand.  Thus, by proposing disproportionate increases to the energy charge, HQD encourages less efficient behavior by Rate L customers.

Therefore, I recommend that, in this proceeding, HQD assign no increase at all to the Rate L energy charge, and recover its revenue requirement increase entirely from increases in the demand charge.

is there an alternative approach for achieving the same ends of reducing intra-class cross-subsidization?

As I noted earlier, the problem with the HQD approach is that it will exacerbate cross-subsidization within the Rate L class.  Establishing excessively high energy charges will cause high load factor industrial customers to subsidize lower load factor wholesale and institutional customers.

If the Régie decides that HQD’s conservation argument should trump cost causality as modeled in the cost allocation study, the intra-class cross-subsidization problem can be addressed by splitting the Rate L class into separate rate classes.  By segregating lower load factor institutional and wholesale customers from high load factor industrial customers, the problem of intra-class cross-subsidization is much reduced.  In that way, HQD and the Régie can continue to impose disproportionate increases to energy charges for high load factor Rate L customers without increasing subsidies to the other customer classes.

Unfortunately, I am unable to assess the potential impacts of such an approach, as HQD has declined to provide intra-class information about different segments within the Rate L class.  Thus, if the Régie wishes to continue to impose disproportionate increases to the Rate L energy charge beyond this proceeding, I recommend that it establish a working group to determine how best to segregate the Rate L class between high and lower load factor customers.

in your evidence last year, you encouraged hqd to explore innovative approaches to rate design, including the possibility of a stepped-rate such as that in place in british columbia.  please comment on the applicability of the stepped rate for the current proceeding.

I begin with a caveat.  In this proceeding, AQCIE/CIFQ have retained Dr. El-Ramly to explain more fully the nature of the stepped rate in British Columbia, and to identify the issues and concerns that apply to such a rate.  Based on his direct experience with those rates, Dr. El-Ramly has a better understanding of the specifics and I defer to him.  My comments are more theoretical in nature, and they apply to the regulatory régime in Québec.

As the Régie is well-aware, under HQD’s existing tariff structure, the marginal tariff charge for an additional unit of electrical energy in Rate L is well below the incremental cost of supplying that unit of electricity, for many hours in the year.
  As such, customers are receiving inefficient price signals with respect to decisions to increase or decrease their consumption levels.  The stepped rate is a tariff device that is intended to reduce that problem.

At the outset, I observe that a large industrial operation may achieve the potential avoided cost savings of a stepped rate in two ways.  First, it may invest in conservation equipment, thereby reducing its energy consumption with no reduction in plan output.  Second, the plant may simply reduce its overall output.  For example, a large pulp and paper manufacturer may simply shut down one of its paper machines, because it will be able to save 9 or 10 cents a kWh by doing so.  Of course, shutting down an operating line will result in job loss and other economic disruptions, that may not have been the intent of the policymaker.  

Also, by way of introduction, I observe that a stepped rate is not a perfect solution, but is one that represents a balancing act.  Under a stepped rate, a customer is able to obtain low-cost power for some significant portion of its baseline demand level, and it pays a higher, replacement cost charge for consumption above that level.  Thus, the stepped rate really only provides the proper economic signals for that portion of a customer’s demand that is priced at the replacement cost rate.  

In effect, the stepped rate, at best, can only affect incremental decisions involving a relatively small amount of energy consumption at large industrial facilities.  This is certainly not the most economically efficient solution.   For example, suppose HQD serves 20 large industrial customers, each with 50 MW of load, for a total load of 1,000 MW.  If each of those customers reduced its load by 10 percent, HQD’s need to procure post-patrimonial energy would be reduced by 100 MW.  However, HQD would see the same reduction in post-patrimonial energy if two of those plants were to simply shut down.    

Unfortunately, to make the economic signals for all types of decisions consistent, HQD would need to price all energy at the marginal replacement cost.  To the extent that HQD needed to continue to share the benefits of the patrimonial entitlement, it would need to do so through a fixed and permanent entitlement.  Under such an approach, if a plant shut down, it would be able to sell its historical entitlement to other customers.

Of course, such an approach would be politically unacceptable.  Under such a program, customers would effectively be paid to shut down.  However, without such a program, it must be recognized that a stepped rate is by no means a panacea.  It will only affect marginal production and marginal investment decisions, and will not send reasonable price signals for major expansions or plant closures.

Second, it is important to recognize that a stepped rate implies that there is a historical entitlement to low-cost patrimonial load for every customer.  As Dr. El-Ramly notes, the nature and length of that entitlement are critically important for evaluating the effectiveness of the stepped rate, for marginal decisions.

To understand this issue, consider the possibility of a conservation investment.  Suppose the firm could reduce its energy consumption by 10 percent with no loss of plant output by making an investment in its processes.  In practice, it is likely that the firm would require several years of savings, even at replacement cost pricing, for it to undertake that investment.  Thus, for the stepped rate to work properly, the historical entitlement of that firm to low-cost power must remain in effect for many years.  If the historical entitlement is reduced in only a few years, the firm will not have the economic incentive to make the conservation investment.

However, this approach creates something of a problem in the Québec context.  Heretofore, patrimonial entitlements are reallocated each year amongst the various rate classes based on forecast load (within the government decree).  Thus, if some large industrial customers reduce their loads in response to the price signal, the overall volume of patrimonial load assigned to large industrial customers will decline almost immediately.  Since the proper economic signals for a stepped rate require that historical entitlements remain constant, the stepped rate concept creates something of a dilemma in the Québec context.
  That is, a stepped rate would require a non-proportional allocation of the patrimonial load within a rate class, thereby re-opening the policy question regarding the overall allocation of the patrimonial load among the rate classes.

This problem is compounded by the approved reconciliation mechanism for post-patrimonial generation costs.  For example, suppose that the stepped rate mechanism results in a significant reduction in large industrial load, with the concomitant loss of revenue at the high replacement cost rate.  Thus, overall post-patrimonial revenues and costs decline.  However, in HQD’s reconciliation mechanism, the reduction of industrial load will reduce the class’s entitlement to the patrimonial load.   In effect, the cost savings will be shared among all classes, but the lost revenues will relate only to the large industrial class.  Thus, the net effect of a successful stepped rate would be a substantial re-assignment of costs to the large industrial class.

Thus, before adopting any such program, I encourage the Régie to fully consider the potential inconsistencies between the variable patrimonial entitlement policy of the government and the need for a fixed entitlement in the stepped rate design.   In conjunction with the observations presented by Dr. El-Ramly, to the extent that the Board deems that a continued evaluation of this possibility is merited, I suggest that this evaluation be made in the context of a collaborative effort between HQD, the large industrial customers, and other interested parties.

[image: image10.wmf]Residential

Industrial

Total

Residential

Industrial

Total

Residential

Industrial

Total

Total Load (GWh)

60,000

            

 

40,000

            

 

100,000

          

 

58,500

            

 

40,000

            

 

98,500

            

 

60,000

            

 

38,502

            

 

98,502

            

 

  Patrimonial 

54,000

            

 

36,000

            

 

90,000

            

 

53,452

            

 

36,548

            

 

90,000

            

 

54,821

            

 

35,179

            

 

90,000

            

 

  Post-Patrimonial

6,000

              

 

4,000

              

 

10,000

            

 

5,048

              

 

3,452

              

 

8,500

              

 

5,179

              

 

3,323

              

 

8,502

              

 

Load Factor

50.0%

95.0%

61.7%

50.6%

95.0%

62.5%

50.0%

95.4%

61.4%

Energy Loss Factor

9.1%

5.6%

7.700%

9.1%

5.6%

7.679%

9.1%

5.6%

7.732%

Demand Loss Factor

9.1%

5.6%

8.191%

9.1%

5.6%

8.166%

8.219%

Peak Demand (MW)

13,699

            

 

4,807

              

 

18,505

            

 

13,199

            

 

4,807

              

 

18,005

            

 

13,699

            

 

4,607

              

 

18,305

            

 

Patrimonial Unit Cost

30.51

$            

 

23.48

$            

 

27.70

$            

 

30.48

$            

 

23.64

$            

 

27.70

$            

 

30.46

$            

 

23.39

$            

 

27.70

$            

 

Post-Patrimonial Unit Cost

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

90.00

$            

 

Total ($/MWh)

36.46

$            

 

30.13

$            

 

35.61

$            

 

29.37

$            

 

35.60

$            

 

29.14

$            

 

Patrimonial Cost

1,648

              

 

845

                 

 

2,493

              

 

1,629

              

 

864

                 

 

2,493

              

 

1,670

              

 

823

                 

 

2,493

              

 

Post-Patrimonial Cost

540

                 

 

360

                 

 

900

                 

 

454

                 

 

311

                 

 

765

                 

 

466

                 

 

299

                 

 

765

                 

 

Total ($mm)

2,188

              

 

1,205

              

 

3,393

              

 

2,083

              

 

1,175

              

 

3,258

              

 

2,136

              

 

1,122

              

 

3,258

              

 

T&D Energy

486

                 

 

314

                 

 

800

                 

 

481

                 

 

319

                 

 

800

                 

 

493

                 

 

307

                 

 

800

                 

 

T&D Demand

746

                 

 

254

                 

 

1,000

              

 

739

                 

 

261

                 

 

1,000

              

 

754

                 

 

246

                 

 

1,000

              

 

T&D Customer

1,000

              

 

-

                  

 

1,000

              

 

1,000

              

 

-

                  

 

1,000

              

 

1,000

              

 

-

                  

 

1,000

              

 

Total Costs ($mm)

4,420

              

 

1,773

              

 

6,193

              

 

4,304

              

 

1,754

              

 

6,058

              

 

4,384

              

 

1,674

              

 

6,058

              

 

Change in Costs

(116)

                

 

(19)

                  

 

(135)

                

 

(36)

                  

 

(99)

                  

 

(135)

                

 

ALLOCATIVE IMPLICATIONS OF DEMAND SIDE MANAGEMENT PROGRAMS:  SCENARIO ANALYSIS

EXHIBIT IEc-2



Base Case Scenario

 Scenario 1:  Reduce Residential Load by 500 

MW for 3000 Winter Hours 

 Scenario 2:  Reduce Industrial Load by 180 

MW for All Hours @ 95% LF 

Based on my analysis completed to date, my recommendations are as follows:

· Correct the HQD hourly cost allocation methodology for a mis-allocation of stranded costs.  If this correction does not produce allocation results that are reasonably consistent with the results for the R-3610-2006 proceeding, replace the hourly cost allocation methodology with unit costs that are proportional to HQD’s longer-term avoided generation costs;

· Continue to use the 1CP method for allocating transmission costs, until the Régie determines how transmission cost causation should most reasonably be reflected in transmission rates, in the context of a transmission rate proceeding;

· Allocate PGEÉ costs using the direct assignment method, unless and until the inter-class cost allocation effects can be properly reflected in an avoided cost allocation method;

· Assign different rate increases to the various classes, based on maintaining a constant level of cross-subsidies consistent with the Régie’s D-2007-12 decision;

· Establish a procedure for monitoring dollar cross-subsidy changes by rate class, beginning with the R-3610-2006 proceeding;

· Assign the entire Rate L increase to the demand charges in that tariff, or, in the alternative, establish a collaborative effort between HQD and large industrial customers to evaluate the potential for segregating the Rate L class between large industrial loads and other customers.

· If it is deemed necessary, begin a collaborative effort between HQD, large industrial customers, and other interested parties to evaluate a potential stepped rate for Rate L, and its implications for the allocation of patrimonial loads.

EXHIBIT IEc-1

CURRICULUM VITAE AND

EXPERT TESTIMONY SCHEDULE

OF

ROBERT D. KNECHT

ROBERT D. KNECHT

Robert D. Knecht specializes in the practical application of economics, finance and management theory to issues facing public and private sector clients.  Mr. Knecht has more than twenty years of consulting experience, focusing primarily on the energy, metals, and mining industries.  He has consulted to industry, law firms, and government clients, both in the U.S. and internationally.  He has participated in strategic and business planning studies, project evaluations, litigation and regulatory proceedings and policy analyses.  His practice currently focuses primarily on utility regulation, and he has provided analysis and expert testimony in numerous U.S. and Canadian jurisdictions.  In addition, as Treasurer of IEc since 1995, Mr. Knecht is responsible for the firm's accounting, finance and tax planning, as well as administration of the firm's retirement plans.  Mr. Knecht's consulting assignments include the following projects:

 For the Pennsylvania Office of Small Business Advocate, Mr. Knecht provides analysis and expert testimony in industry restructuring, base rates and purchased energy cost proceedings involving electric, steam and natural gas distribution utilities.  Mr. Knecht has analyzed the economics and financial issues of electric industry restructuring, stranded cost determination, fair rate of return, claimed utility expenses, cost allocation methods and rate design issues.

 For independent power producers and industrial customers in Alberta, Mr. Knecht has provided analysis and expert testimony in a variety of electric industry proceedings, including industry restructuring, cost unbundling, stranded cost recovery, transmission rate design, cost allocation and rate design.  

 For industrial customers in Québec, Mr. Knecht has prepared economic analysis and expert testimony in regulatory proceedings regarding cost allocation, compliance with legislative requirements for cross-subsidization, and rate design.

 As part of  international teams of experts, Mr. Knecht has prepared the economic and financial analysis for industry restructuring studies involving the steel and iron ore industries in Venezuela, Poland, and Nigeria.

 For the U.S. Department of Justice and for several private sector clients, Mr. Knecht has prepared analyses of economic damages in a variety of litigation matters, including ERISA discrimination, breach of contract, fraudulent conveyance, natural resource damages and anti-trust cases.

 Mr. Knecht participates in numerous projects with colleagues at IEc preparing economic and environmental analyses associated with energy and utility industries for the U.S. Environmental Protection Agency.

Mr. Knecht holds a M.S. in Management from the Sloan School of Management at M.I.T., with concentrations in applied economics and finance.  He also holds a B.S. in Economics from M.I.T.  Prior to joining Industrial Economics as a principal in 1989, Mr. Knecht worked for seven years as an economic and management consultant at Marshall Bartlett, Incorporated.  He also worked for two years as an economist in the Energy Group of Data Resources, Incorporated.

Industrial Economics, Incorporated

2067 Massachusetts Avenue

Cambridge, MA 02140   USA

617.354.0074 | 617.354.0463 fax

August, 2006










www.indecon.com

EXHIBIT IEc-2

ALLOCATION OF PGEÉ COSTS

TWO-CLASS EXAMPLE

[image: image11.wmf]Increase with 

No Change in 

Cross-

Subsidy

Régie 

Approved 

Increase

Increase in 

Cross-

Subsidy 

(Percent)

Base 

Revenues 

($mm)

Increase in 

Cross-

Subsidy 

($mm)

2007 Test Year

Domestique

2.80%

1.92%

-0.88%

4,050

            

 

(35.6)

             

 

Petite Puissance

1.70%

1.92%

0.22%

1,275

            

 

2.8

                

 

Moyenne Puissance

1.10%

1.92%

0.82%

1,830

            

 

15.0

              

 

Grande Puissance

1.00%

1.92%

0.92%

1,971

            

 

18.1

              

 

Total

1.92%

1.92%

0.00%

9,126

            

 

0.3

                

 

2008 Test Year

HQD 

Proposed 

Increase

Domestique

4.4%

2.9%

-1.5%

4,165

            

 

(60.6)

             

 

Petite Puissance

0.9%

2.9%

2.0%

1,294

            

 

26.1

              

 

Moyenne Puissance

2.6%

2.9%

0.3%

1,879

            

 

5.0

                

 

Grande Puissance

1.4%

2.9%

1.6%

1,929

            

 

30.0

              

 

Total

2.91%

2.91%

0.00%

9,267

            

 

0.4

                

 

2008 Increase to Reverse 2007/2008 Cross-Subsidy Changes

Gross

Less 2007

Net 2008

Proposed 

Revenue

Domestique

7.28%

1.92%

5.26%

4,384

            

 

Petite Puissance

2.64%

1.92%

0.70%

1,303

            

 

Moyenne Puissance

3.74%

1.92%

1.78%

1,913

            

 

Grande Puissance

2.36%

1.92%

0.44%

1,937

            

 

Total

4.89%

1.92%

2.91%

9,537

            

 

Sources

HQD-15 Document 4, Tables R-22 c) and R-22 d), pages 60-61.

R-3610-2006, HQD-12, Document 1, Table 28.

Note:  It is not clear why HQD's cross-subsidy change figures do not total to zero, but

the difference is likely due to rounding and adjustments for the differences between test year

and rate revenue years.  The effects of this discrepancy are small.

ANALYSIS OF CUMULATIVE CHANGES IN CROSS-SUBSIDIES

EXHIBIT IEc-3



EXHIBIT IEc-3

ANALYSIS OF CUMULATIVE CHANGES IN 

CROSS-SUBSIDIES AMONG RATE CLASSES

 

EXHIBIT IEc-4

PARTIAL AND FULL PLANT CLOSURES

IN QUÉBEC

	EXHIBIT IEc-4

LARGE INDUSTRIAL PLANT CLOSURES

	Facility
	Location
	Year
	Complete
	Partial

	Fonte et affinage
	
	
	
	

	Norsk Hydro Canada Inc.
	Becancour
	2007
	X
	

	
	
	
	
	

	Divers manufacturiers
	
	
	
	

	Goodyear Canada, Inc.
	Salaberry-Valleyfield
	2007
	
	X

	
	
	
	
	

	Industrie du bois
	
	
	
	

	Louisiana Pacific Canada Ltée
	St-Michel-Des-Saints
	2006
	X
	

	
	
	
	
	

	Métaux - autres
	
	
	
	

	CFA Société en Commandite
	Granby
	2005
	X
	

	Wolverine Tube (Canada) Inc.
	Montreal Est
	2006
	X
	

	
	
	
	
	

	Pâtes et papiers
	
	
	
	

	Domtar
	Lebel sur Quevillon
	2005
	X
	

	Katahdin Pâte Québec Inc.
	Port-Cartier
	2006
	
	X

	Cascades Canada Inc.
	Jonquiere
	2006
	
	X

	Bowater Forest Products
	Dolbeau
	2007
	
	X

	Bowater Forest Products
	Gatineau
	2007
	
	X

	Kruger Wayagamack Inc.
	Trois-Rivieres
	2007
	
	X

	Domtar Inc.
	Gatineau
	2007
	X
	

	Smurfit Stone
	New Richmond
	2005
	X
	

	
	
	
	
	

	Textiles
	
	
	
	

	Les Services Drummondville Inc.
	Drumondvill
	2006
	X
	

	
	
	
	
	

	Minéraux non métalliques
	
	
	
	

	Owens Corning Canada
	Candiac
	2007
	X
	

	
	
	
	
	

	Industries chimiques
	
	
	
	

	Basell Canada Inc.
	Varennes
	2008
	X
	

	
	
	
	
	

	Sidérurgie
	
	
	
	

	Domfer Poudres Métalliques Ltée
	Montréal
	2007
	X
	

	
	
	
	
	

	Source:  AQCIE, CIFQ
	
	
	
	


2.  allocation of transmission costs








prepared on behalf of:


l'Association québécoise des consommateurs


industriels d'électricité (AQCIE)


Conseil de l'industrie forestière du Québec (CIFQ)


 


prepared evidence of:


Robert D. Knecht


Industrial Economics, Incorporated


2067 Massachusetts Avenue


Cambridge, MA 02140





3.  PGEÉ cost  allocation 





Introduction














1. post-patrimonial Generating cost allocation








Conclusions and recommendations








4.  revenue  allocation and cross-subsidization





� EMBED Excel.Chart.8 \s ���





5.  tariff design for rate l




















� Of note, however, is the fact that the Rate L unit cost rate, once adjusted for line losses, is higher than that for the Rate M customers, despite the fact that the load factor for Rate L customers is considerably higher than that for Rate M customers.  In 2007, the 300 CP load factor for Rate L was 94.8 percent and for Rate M it was 77.8 percent. 


� For example, New Brunswick uses a cost allocation methodology that is quite favorable to low load factor customers, relative to many jurisdictions.  However, in its current filing, the allocated unit cost for residential customers is 13 percent higher than that for transmission voltage large industrial customers.


� Note that this conclusion is applicable whether peaks are measured at overall system peak demand periods or at periods when post-patrimonial loads peak.  Because the Régie has determined that HQD is essentially procuring post-patrimonial supplies specifically to serve only post-patrimonial load, independent of patrimonial supplies, my analysis in this proceeding focuses only on post-patrimonial load shapes (to the extent available). 


� Because HQD purchases its post-patrimonial load on an integrated basis with its patrimonial load, and because HQD’s post-patrimonial purchases appear to be subject to a number of policy constraints that would more appropriately be absorbed by all loads, I have in the past argued that it is not reasonable to allocate the two pools of costs separately.  For this proceeding, I accept the Régie’s determination that separate cost allocation methods should be used.


� I retain concerns about the use of short-term capacity costs for cost allocation purposes.  Over the longer-term, it is unlikely that HQD will be able to rely on spot supplies or interruptible loads for all its post-patrimonial peaking needs, and it will need to enter into longer-term arrangements for peaking supplies.  With a $10 per kW per year peak demand price signal, customers will have very little economic incentive to flatten their loads or reduce consumption during peak demand periods.  By way of follow-up to last year’s proceeding, I note that PJM (the enormous regional transmission organization that manages the electricity markets for the U.S. Middle Atlantic states and beyond) has recently modified its market pricing system to include a capacity “RPM” auction, in order to better assure resource adequacy.  The RPM auction sets an upper bound capacity cost based on the cost of a new combustion turbine unit.  That limit is set at approximately $200 per MW-day, or about US$75 per annual kW, which is reasonably consistent with the values used by HQD and me in last year’s proceeding for capacity.   Moreover, the market auction prices for 2008-2009 capacity in the largest portion of PJM have recently been approximately half of that, while prices in selected areas have been as high as $200 per MW-day.  Thus, over time, the Régie can probably expect that market prices for capacity will rise considerably, and will be higher than the $10 per kW that served as the economic basis for D-2007-12.  As noted elsewhere, it is apparent that HQD has been paying a substantial premium to retain secure capacity.


� While I agree that, in 2007, the hourly method produced results that were similar to an “alternative methodology” with a $10 per kW demand cost, that “alternative methodology” had virtually no variation in time-of-use energy costs.  Thus, the “alternative methodology” would also understate the higher energy costs for on-peak periods that occur in all deregulated electricity markets.  Nevertheless, for the purpose of this proceeding, I accept the Régie’s implicit conclusion that the energy costs should reflect the specifications in HQD’s supply contracts, rather than real-life market conditions.


� The specifics are detailed in my evidence in R-3610-2006, at pages 13-14.


� Hydro-Québec Open Access Transmission Tariff, Decisions D-2007-08 and D-2007-34, Schedules 9 and 10.


� As in R-3610-2006, HQD proposes to segregate the specific facilities associated with customers who are interconnected at transmission voltage from those connected at distribution voltage.  These cost pools are then allocated among the separate groups on the basis of class NCP.


� From a technical perspective, the rate effect is offset by the contribution that the customer must make to the conservation program.  If HQD’s PGEÉ programs are designed only for programs that would not be otherwise economically viable for the customer, and only to the extent necessary to make them viable, the rate effect would be zero.  In practice, however, such fine tailoring is impossible.  For example, if HQD were to set the tail block charge for its residential rates at the long-run incremental cost of service, there would be very little economic justification for any utility-subsidized demand side management program, because the customers would face the correct economic signals to make their own decisions.


� Exhibit HQD-11, Document 3, Table 25C appears to suggest that the PGEÉ programs for the special contracts class have been particularly cost-effective, while those for the Rates G and M classes are relatively less so.  The two methods produce reasonably similar allocation effects for Rates D and L.


� See Exhibit IEc-4 for a list of partial and full plant closures of large industrial customers.


� Note that the $35 million applies to 2007.  Without a differential increase in 2008, the cross-subsidies would increase by $60 million, thereby implying 2008 cross-subsidies of $95 million.  When added to the $35 million in 2007, the total is $130 million.  Technically, of course, it would be correct to add interest to the overpayments, much in the way HQD adds interest to its under-recoveries in its reconciliation (also called “pass through”) calculations.


� For example, correcting or modifying the allocation of post-patrimonial generating costs to produce directionally reasonable results in 2008 may require the cost-based rate increase for the residential classes to be higher than that shown in Table IEc-7. 


� Note that the tariff charge for an incremental unit of electricity for a Rate L customer should generally include both the demand and energy charges for that class.  If the goal of a stepped rate is to give industrial concerns the economic incentives to invest in energy-saving equipment, such equipment will reduce both demand and energy charges.  Of course, if the goal is to simply give industrial concerns an incentive to intermittently reduce  plant output during high cost periods, a stepped rate based on long-run incremental cost is not the correct mechanism.  Under those conditions, an hourly time-of-use rate based on the marginal cost of post-patrimonial supply would be the correct approach.  As Dr. El-Ramly indicates, both of those options are available in BC, thereby adding complexity and administrative cost to such a program.


� In theory, this problem might be addressed by ratcheting up the rate for the lower-cost component of the stepped rate, to reflect the lost patrimonial load.  However, this approach will also weaken the economic signals for conservation, particularly for multi-plant firms.  If a firm recognizes that conservation investments at one plant are going to increase the rates at all its other plants, it will be less inclined to make those investments.





3

[image: image1.png]

_1255080570.xls
Chart1

		0		0		0

		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400

		2401		2401		2401

		2402		2402		2402

		2403		2403		2403

		2404		2404		2404

		2405		2405		2405

		2406		2406		2406

		2407		2407		2407

		2408		2408		2408

		2409		2409		2409

		2410		2410		2410

		2411		2411		2411

		2412		2412		2412

		2413		2413		2413

		2414		2414		2414

		2415		2415		2415

		2416		2416		2416

		2417		2417		2417

		2418		2418		2418

		2419		2419		2419

		2420		2420		2420

		2421		2421		2421

		2422		2422		2422

		2423		2423		2423

		2424		2424		2424

		2425		2425		2425

		2426		2426		2426

		2427		2427		2427

		2428		2428		2428

		2429		2429		2429

		2430		2430		2430

		2431		2431		2431

		2432		2432		2432

		2433		2433		2433

		2434		2434		2434

		2435		2435		2435

		2436		2436		2436

		2437		2437		2437

		2438		2438		2438

		2439		2439		2439

		2440		2440		2440

		2441		2441		2441

		2442		2442		2442

		2443		2443		2443

		2444		2444		2444

		2445		2445		2445

		2446		2446		2446

		2447		2447		2447

		2448		2448		2448

		2449		2449		2449

		2450		2450		2450

		2451		2451		2451

		2452		2452		2452

		2453		2453		2453

		2454		2454		2454

		2455		2455		2455

		2456		2456		2456

		2457		2457		2457

		2458		2458		2458

		2459		2459		2459

		2460		2460		2460

		2461		2461		2461

		2462		2462		2462

		2463		2463		2463

		2464		2464		2464

		2465		2465		2465

		2466		2466		2466

		2467		2467		2467

		2468		2468		2468

		2469		2469		2469

		2470		2470		2470

		2471		2471		2471

		2472		2472		2472

		2473		2473		2473

		2474		2474		2474

		2475		2475		2475

		2476		2476		2476

		2477		2477		2477

		2478		2478		2478

		2479		2479		2479

		2480		2480		2480

		2481		2481		2481

		2482		2482		2482

		2483		2483		2483

		2484		2484		2484

		2485		2485		2485

		2486		2486		2486

		2487		2487		2487

		2488		2488		2488

		2489		2489		2489

		2490		2490		2490

		2491		2491		2491

		2492		2492		2492

		2493		2493		2493

		2494		2494		2494

		2495		2495		2495

		2496		2496		2496

		2497		2497		2497

		2498		2498		2498

		2499		2499		2499

		2500		2500		2500

		2501		2501		2501

		2502		2502		2502

		2503		2503		2503

		2504		2504		2504

		2505		2505		2505

		2506		2506		2506

		2507		2507		2507

		2508		2508		2508

		2509		2509		2509

		2510		2510		2510

		2511		2511		2511

		2512		2512		2512

		2513		2513		2513

		2514		2514		2514

		2515		2515		2515

		2516		2516		2516

		2517		2517		2517

		2518		2518		2518

		2519		2519		2519

		2520		2520		2520

		2521		2521		2521

		2522		2522		2522

		2523		2523		2523

		2524		2524		2524

		2525		2525		2525

		2526		2526		2526

		2527		2527		2527

		2528		2528		2528

		2529		2529		2529

		2530		2530		2530

		2531		2531		2531

		2532		2532		2532

		2533		2533		2533

		2534		2534		2534

		2535		2535		2535

		2536		2536		2536

		2537		2537		2537

		2538		2538		2538

		2539		2539		2539

		2540		2540		2540

		2541		2541		2541

		2542		2542		2542

		2543		2543		2543

		2544		2544		2544

		2545		2545		2545

		2546		2546		2546

		2547		2547		2547

		2548		2548		2548

		2549		2549		2549

		2550		2550		2550

		2551		2551		2551

		2552		2552		2552

		2553		2553		2553

		2554		2554		2554

		2555		2555		2555

		2556		2556		2556

		2557		2557		2557

		2558		2558		2558

		2559		2559		2559

		2560		2560		2560

		2561		2561		2561

		2562		2562		2562

		2563		2563		2563

		2564		2564		2564

		2565		2565		2565

		2566		2566		2566

		2567		2567		2567

		2568		2568		2568

		2569		2569		2569

		2570		2570		2570

		2571		2571		2571

		2572		2572		2572

		2573		2573		2573

		2574		2574		2574

		2575		2575		2575

		2576		2576		2576

		2577		2577		2577

		2578		2578		2578

		2579		2579		2579

		2580		2580		2580

		2581		2581		2581

		2582		2582		2582

		2583		2583		2583

		2584		2584		2584

		2585		2585		2585

		2586		2586		2586

		2587		2587		2587

		2588		2588		2588

		2589		2589		2589

		2590		2590		2590

		2591		2591		2591

		2592		2592		2592

		2593		2593		2593

		2594		2594		2594

		2595		2595		2595

		2596		2596		2596

		2597		2597		2597

		2598		2598		2598

		2599		2599		2599

		2600		2600		2600

		2601		2601		2601

		2602		2602		2602

		2603		2603		2603

		2604		2604		2604

		2605		2605		2605

		2606		2606		2606

		2607		2607		2607

		2608		2608		2608

		2609		2609		2609

		2610		2610		2610

		2611		2611		2611

		2612		2612		2612

		2613		2613		2613

		2614		2614		2614

		2615		2615		2615

		2616		2616		2616

		2617		2617		2617

		2618		2618		2618

		2619		2619		2619

		2620		2620		2620

		2621		2621		2621

		2622		2622		2622

		2623		2623		2623

		2624		2624		2624

		2625		2625		2625

		2626		2626		2626

		2627		2627		2627

		2628		2628		2628

		2629		2629		2629

		2630		2630		2630

		2631		2631		2631

		2632		2632		2632

		2633		2633		2633

		2634		2634		2634

		2635		2635		2635

		2636		2636		2636

		2637		2637		2637

		2638		2638		2638

		2639		2639		2639

		2640		2640		2640

		2641		2641		2641

		2642		2642		2642

		2643		2643		2643

		2644		2644		2644

		2645		2645		2645

		2646		2646		2646

		2647		2647		2647

		2648		2648		2648

		2649		2649		2649

		2650		2650		2650

		2651		2651		2651

		2652		2652		2652

		2653		2653		2653

		2654		2654		2654

		2655		2655		2655

		2656		2656		2656

		2657		2657		2657

		2658		2658		2658

		2659		2659		2659

		2660		2660		2660

		2661		2661		2661

		2662		2662		2662

		2663		2663		2663

		2664		2664		2664

		2665		2665		2665

		2666		2666		2666

		2667		2667		2667

		2668		2668		2668

		2669		2669		2669

		2670		2670		2670

		2671		2671		2671

		2672		2672		2672

		2673		2673		2673

		2674		2674		2674

		2675		2675		2675

		2676		2676		2676

		2677		2677		2677

		2678		2678		2678

		2679		2679		2679

		2680		2680		2680

		2681		2681		2681

		2682		2682		2682

		2683		2683		2683

		2684		2684		2684

		2685		2685		2685

		2686		2686		2686

		2687		2687		2687

		2688		2688		2688

		2689		2689		2689

		2690		2690		2690

		2691		2691		2691

		2692		2692		2692

		2693		2693		2693

		2694		2694		2694

		2695		2695		2695

		2696		2696		2696

		2697		2697		2697

		2698		2698		2698

		2699		2699		2699

		2700		2700		2700

		2701		2701		2701

		2702		2702		2702

		2703		2703		2703

		2704		2704		2704

		2705		2705		2705

		2706		2706		2706

		2707		2707		2707

		2708		2708		2708

		2709		2709		2709

		2710		2710		2710

		2711		2711		2711

		2712		2712		2712

		2713		2713		2713

		2714		2714		2714

		2715		2715		2715

		2716		2716		2716

		2717		2717		2717

		2718		2718		2718

		2719		2719		2719

		2720		2720		2720

		2721		2721		2721

		2722		2722		2722

		2723		2723		2723

		2724		2724		2724

		2725		2725		2725

		2726		2726		2726

		2727		2727		2727

		2728		2728		2728

		2729		2729		2729

		2730		2730		2730

		2731		2731		2731

		2732		2732		2732

		2733		2733		2733

		2734		2734		2734

		2735		2735		2735

		2736		2736		2736

		2737		2737		2737

		2738		2738		2738

		2739		2739		2739

		2740		2740		2740

		2741		2741		2741

		2742		2742		2742

		2743		2743		2743

		2744		2744		2744

		2745		2745		2745

		2746		2746		2746

		2747		2747		2747

		2748		2748		2748

		2749		2749		2749

		2750		2750		2750

		2751		2751		2751

		2752		2752		2752

		2753		2753		2753

		2754		2754		2754

		2755		2755		2755

		2756		2756		2756

		2757		2757		2757

		2758		2758		2758

		2759		2759		2759

		2760		2760		2760

		2761		2761		2761

		2762		2762		2762

		2763		2763		2763

		2764		2764		2764

		2765		2765		2765

		2766		2766		2766

		2767		2767		2767

		2768		2768		2768

		2769		2769		2769

		2770		2770		2770

		2771		2771		2771

		2772		2772		2772

		2773		2773		2773

		2774		2774		2774

		2775		2775		2775

		2776		2776		2776

		2777		2777		2777

		2778		2778		2778

		2779		2779		2779

		2780		2780		2780

		2781		2781		2781

		2782		2782		2782

		2783		2783		2783

		2784		2784		2784

		2785		2785		2785

		2786		2786		2786

		2787		2787		2787

		2788		2788		2788

		2789		2789		2789

		2790		2790		2790

		2791		2791		2791

		2792		2792		2792

		2793		2793		2793

		2794		2794		2794

		2795		2795		2795

		2796		2796		2796

		2797		2797		2797

		2798		2798		2798

		2799		2799		2799

		2800		2800		2800

		2801		2801		2801

		2802		2802		2802

		2803		2803		2803

		2804		2804		2804

		2805		2805		2805

		2806		2806		2806

		2807		2807		2807

		2808		2808		2808

		2809		2809		2809

		2810		2810		2810

		2811		2811		2811

		2812		2812		2812

		2813		2813		2813

		2814		2814		2814

		2815		2815		2815

		2816		2816		2816

		2817		2817		2817

		2818		2818		2818

		2819		2819		2819

		2820		2820		2820

		2821		2821		2821

		2822		2822		2822

		2823		2823		2823

		2824		2824		2824

		2825		2825		2825

		2826		2826		2826

		2827		2827		2827

		2828		2828		2828

		2829		2829		2829

		2830		2830		2830

		2831		2831		2831

		2832		2832		2832

		2833		2833		2833

		2834		2834		2834

		2835		2835		2835

		2836		2836		2836

		2837		2837		2837

		2838		2838		2838

		2839		2839		2839

		2840		2840		2840

		2841		2841		2841

		2842		2842		2842

		2843		2843		2843

		2844		2844		2844

		2845		2845		2845

		2846		2846		2846

		2847		2847		2847

		2848		2848		2848

		2849		2849		2849

		2850		2850		2850

		2851		2851		2851

		2852		2852		2852

		2853		2853		2853

		2854		2854		2854

		2855		2855		2855

		2856		2856		2856

		2857		2857		2857

		2858		2858		2858

		2859		2859		2859

		2860		2860		2860

		2861		2861		2861

		2862		2862		2862

		2863		2863		2863

		2864		2864		2864

		2865		2865		2865

		2866		2866		2866

		2867		2867		2867

		2868		2868		2868

		2869		2869		2869

		2870		2870		2870

		2871		2871		2871

		2872		2872		2872

		2873		2873		2873

		2874		2874		2874

		2875		2875		2875

		2876		2876		2876

		2877		2877		2877

		2878		2878		2878

		2879		2879		2879

		2880		2880		2880

		2881		2881		2881

		2882		2882		2882

		2883		2883		2883

		2884		2884		2884

		2885		2885		2885

		2886		2886		2886

		2887		2887		2887

		2888		2888		2888

		2889		2889		2889

		2890		2890		2890

		2891		2891		2891

		2892		2892		2892

		2893		2893		2893

		2894		2894		2894

		2895		2895		2895

		2896		2896		2896

		2897		2897		2897

		2898		2898		2898

		2899		2899		2899

		2900		2900		2900

		2901		2901		2901

		2902		2902		2902

		2903		2903		2903

		2904		2904		2904

		2905		2905		2905

		2906		2906		2906

		2907		2907		2907

		2908		2908		2908

		2909		2909		2909

		2910		2910		2910

		2911		2911		2911

		2912		2912		2912

		2913		2913		2913

		2914		2914		2914

		2915		2915		2915

		2916		2916		2916

		2917		2917		2917

		2918		2918		2918

		2919		2919		2919

		2920		2920		2920

		2921		2921		2921

		2922		2922		2922

		2923		2923		2923

		2924		2924		2924

		2925		2925		2925

		2926		2926		2926

		2927		2927		2927

		2928		2928		2928

		2929		2929		2929

		2930		2930		2930

		2931		2931		2931

		2932		2932		2932

		2933		2933		2933

		2934		2934		2934

		2935		2935		2935

		2936		2936		2936

		2937		2937		2937

		2938		2938		2938

		2939		2939		2939

		2940		2940		2940

		2941		2941		2941

		2942		2942		2942

		2943		2943		2943

		2944		2944		2944

		2945		2945		2945

		2946		2946		2946

		2947		2947		2947

		2948		2948		2948

		2949		2949		2949

		2950		2950		2950

		2951		2951		2951

		2952		2952		2952

		2953		2953		2953

		2954		2954		2954

		2955		2955		2955

		2956		2956		2956

		2957		2957		2957

		2958		2958		2958

		2959		2959		2959

		2960		2960		2960

		2961		2961		2961

		2962		2962		2962

		2963		2963		2963

		2964		2964		2964

		2965		2965		2965

		2966		2966		2966

		2967		2967		2967

		2968		2968		2968

		2969		2969		2969

		2970		2970		2970

		2971		2971		2971

		2972		2972		2972

		2973		2973		2973

		2974		2974		2974

		2975		2975		2975

		2976		2976		2976

		2977		2977		2977

		2978		2978		2978

		2979		2979		2979

		2980		2980		2980

		2981		2981		2981

		2982		2982		2982

		2983		2983		2983

		2984		2984		2984

		2985		2985		2985

		2986		2986		2986

		2987		2987		2987

		2988		2988		2988

		2989		2989		2989

		2990		2990		2990

		2991		2991		2991

		2992		2992		2992

		2993		2993		2993

		2994		2994		2994

		2995		2995		2995

		2996		2996		2996

		2997		2997		2997

		2998		2998		2998

		2999		2999		2999

		3000		3000		3000

		3001		3001		3001

		3002		3002		3002

		3003		3003		3003

		3004		3004		3004

		3005		3005		3005

		3006		3006		3006

		3007		3007		3007

		3008		3008		3008

		3009		3009		3009

		3010		3010		3010

		3011		3011		3011

		3012		3012		3012

		3013		3013		3013

		3014		3014		3014

		3015		3015		3015

		3016		3016		3016

		3017		3017		3017

		3018		3018		3018

		3019		3019		3019

		3020		3020		3020

		3021		3021		3021

		3022		3022		3022

		3023		3023		3023

		3024		3024		3024

		3025		3025		3025

		3026		3026		3026

		3027		3027		3027

		3028		3028		3028

		3029		3029		3029

		3030		3030		3030

		3031		3031		3031

		3032		3032		3032

		3033		3033		3033

		3034		3034		3034

		3035		3035		3035

		3036		3036		3036

		3037		3037		3037

		3038		3038		3038

		3039		3039		3039

		3040		3040		3040

		3041		3041		3041

		3042		3042		3042

		3043		3043		3043

		3044		3044		3044

		3045		3045		3045

		3046		3046		3046

		3047		3047		3047

		3048		3048		3048

		3049		3049		3049

		3050		3050		3050

		3051		3051		3051

		3052		3052		3052

		3053		3053		3053

		3054		3054		3054

		3055		3055		3055

		3056		3056		3056

		3057		3057		3057

		3058		3058		3058

		3059		3059		3059

		3060		3060		3060

		3061		3061		3061

		3062		3062		3062

		3063		3063		3063

		3064		3064		3064

		3065		3065		3065

		3066		3066		3066

		3067		3067		3067

		3068		3068		3068

		3069		3069		3069

		3070		3070		3070

		3071		3071		3071

		3072		3072		3072

		3073		3073		3073

		3074		3074		3074

		3075		3075		3075

		3076		3076		3076

		3077		3077		3077

		3078		3078		3078

		3079		3079		3079

		3080		3080		3080

		3081		3081		3081

		3082		3082		3082

		3083		3083		3083

		3084		3084		3084

		3085		3085		3085

		3086		3086		3086

		3087		3087		3087

		3088		3088		3088

		3089		3089		3089

		3090		3090		3090

		3091		3091		3091

		3092		3092		3092

		3093		3093		3093

		3094		3094		3094

		3095		3095		3095

		3096		3096		3096

		3097		3097		3097

		3098		3098		3098

		3099		3099		3099

		3100		3100		3100

		3101		3101		3101

		3102		3102		3102

		3103		3103		3103

		3104		3104		3104

		3105		3105		3105

		3106		3106		3106

		3107		3107		3107

		3108		3108		3108

		3109		3109		3109

		3110		3110		3110

		3111		3111		3111

		3112		3112		3112

		3113		3113		3113

		3114		3114		3114

		3115		3115		3115

		3116		3116		3116

		3117		3117		3117

		3118		3118		3118

		3119		3119		3119

		3120		3120		3120

		3121		3121		3121

		3122		3122		3122

		3123		3123		3123

		3124		3124		3124

		3125		3125		3125

		3126		3126		3126

		3127		3127		3127

		3128		3128		3128

		3129		3129		3129

		3130		3130		3130

		3131		3131		3131

		3132		3132		3132

		3133		3133		3133

		3134		3134		3134

		3135		3135		3135

		3136		3136		3136

		3137		3137		3137

		3138		3138		3138

		3139		3139		3139

		3140		3140		3140

		3141		3141		3141

		3142		3142		3142

		3143		3143		3143

		3144		3144		3144

		3145		3145		3145

		3146		3146		3146

		3147		3147		3147

		3148		3148		3148

		3149		3149		3149

		3150		3150		3150

		3151		3151		3151

		3152		3152		3152

		3153		3153		3153

		3154		3154		3154

		3155		3155		3155

		3156		3156		3156

		3157		3157		3157

		3158		3158		3158

		3159		3159		3159

		3160		3160		3160

		3161		3161		3161

		3162		3162		3162

		3163		3163		3163

		3164		3164		3164

		3165		3165		3165

		3166		3166		3166

		3167		3167		3167

		3168		3168		3168

		3169		3169		3169

		3170		3170		3170

		3171		3171		3171

		3172		3172		3172

		3173		3173		3173

		3174		3174		3174

		3175		3175		3175

		3176		3176		3176

		3177		3177		3177

		3178		3178		3178

		3179		3179		3179

		3180		3180		3180

		3181		3181		3181

		3182		3182		3182

		3183		3183		3183

		3184		3184		3184

		3185		3185		3185

		3186		3186		3186

		3187		3187		3187

		3188		3188		3188

		3189		3189		3189

		3190		3190		3190

		3191		3191		3191

		3192		3192		3192

		3193		3193		3193

		3194		3194		3194

		3195		3195		3195

		3196		3196		3196

		3197		3197		3197

		3198		3198		3198

		3199		3199		3199

		3200		3200		3200

		3201		3201		3201

		3202		3202		3202

		3203		3203		3203

		3204		3204		3204

		3205		3205		3205

		3206		3206		3206

		3207		3207		3207

		3208		3208		3208

		3209		3209		3209

		3210		3210		3210

		3211		3211		3211

		3212		3212		3212

		3213		3213		3213

		3214		3214		3214

		3215		3215		3215

		3216		3216		3216

		3217		3217		3217

		3218		3218		3218

		3219		3219		3219

		3220		3220		3220

		3221		3221		3221

		3222		3222		3222

		3223		3223		3223

		3224		3224		3224

		3225		3225		3225

		3226		3226		3226

		3227		3227		3227

		3228		3228		3228

		3229		3229		3229

		3230		3230		3230

		3231		3231		3231

		3232		3232		3232

		3233		3233		3233

		3234		3234		3234

		3235		3235		3235

		3236		3236		3236

		3237		3237		3237

		3238		3238		3238

		3239		3239		3239

		3240		3240		3240

		3241		3241		3241

		3242		3242		3242

		3243		3243		3243

		3244		3244		3244

		3245		3245		3245

		3246		3246		3246

		3247		3247		3247

		3248		3248		3248

		3249		3249		3249

		3250		3250		3250

		3251		3251		3251

		3252		3252		3252

		3253		3253		3253

		3254		3254		3254

		3255		3255		3255

		3256		3256		3256

		3257		3257		3257

		3258		3258		3258

		3259		3259		3259

		3260		3260		3260

		3261		3261		3261

		3262		3262		3262

		3263		3263		3263

		3264		3264		3264

		3265		3265		3265

		3266		3266		3266

		3267		3267		3267

		3268		3268		3268

		3269		3269		3269

		3270		3270		3270

		3271		3271		3271

		3272		3272		3272

		3273		3273		3273

		3274		3274		3274

		3275		3275		3275

		3276		3276		3276

		3277		3277		3277

		3278		3278		3278

		3279		3279		3279

		3280		3280		3280

		3281		3281		3281

		3282		3282		3282

		3283		3283		3283

		3284		3284		3284

		3285		3285		3285

		3286		3286		3286

		3287		3287		3287

		3288		3288		3288

		3289		3289		3289

		3290		3290		3290

		3291		3291		3291

		3292		3292		3292

		3293		3293		3293

		3294		3294		3294

		3295		3295		3295

		3296		3296		3296

		3297		3297		3297

		3298		3298		3298

		3299		3299		3299

		3300		3300		3300

		3301		3301		3301

		3302		3302		3302

		3303		3303		3303

		3304		3304		3304

		3305		3305		3305

		3306		3306		3306

		3307		3307		3307

		3308		3308		3308

		3309		3309		3309

		3310		3310		3310

		3311		3311		3311

		3312		3312		3312

		3313		3313		3313

		3314		3314		3314

		3315		3315		3315

		3316		3316		3316

		3317		3317		3317

		3318		3318		3318

		3319		3319		3319

		3320		3320		3320

		3321		3321		3321

		3322		3322		3322

		3323		3323		3323

		3324		3324		3324

		3325		3325		3325

		3326		3326		3326

		3327		3327		3327

		3328		3328		3328

		3329		3329		3329

		3330		3330		3330

		3331		3331		3331

		3332		3332		3332

		3333		3333		3333

		3334		3334		3334

		3335		3335		3335

		3336		3336		3336

		3337		3337		3337

		3338		3338		3338

		3339		3339		3339

		3340		3340		3340

		3341		3341		3341

		3342		3342		3342

		3343		3343		3343

		3344		3344		3344

		3345		3345		3345

		3346		3346		3346

		3347		3347		3347

		3348		3348		3348

		3349		3349		3349

		3350		3350		3350

		3351		3351		3351

		3352		3352		3352

		3353		3353		3353

		3354		3354		3354

		3355		3355		3355

		3356		3356		3356

		3357		3357		3357

		3358		3358		3358

		3359		3359		3359

		3360		3360		3360

		3361		3361		3361

		3362		3362		3362

		3363		3363		3363

		3364		3364		3364

		3365		3365		3365

		3366		3366		3366

		3367		3367		3367

		3368		3368		3368

		3369		3369		3369

		3370		3370		3370

		3371		3371		3371

		3372		3372		3372

		3373		3373		3373

		3374		3374		3374

		3375		3375		3375

		3376		3376		3376

		3377		3377		3377

		3378		3378		3378

		3379		3379		3379

		3380		3380		3380

		3381		3381		3381

		3382		3382		3382

		3383		3383		3383

		3384		3384		3384

		3385		3385		3385

		3386		3386		3386

		3387		3387		3387

		3388		3388		3388

		3389		3389		3389

		3390		3390		3390

		3391		3391		3391

		3392		3392		3392

		3393		3393		3393

		3394		3394		3394

		3395		3395		3395

		3396		3396		3396

		3397		3397		3397

		3398		3398		3398

		3399		3399		3399

		3400		3400		3400

		3401		3401		3401

		3402		3402		3402

		3403		3403		3403

		3404		3404		3404

		3405		3405		3405

		3406		3406		3406

		3407		3407		3407

		3408		3408		3408

		3409		3409		3409

		3410		3410		3410

		3411		3411		3411

		3412		3412		3412

		3413		3413		3413

		3414		3414		3414

		3415		3415		3415

		3416		3416		3416

		3417		3417		3417

		3418		3418		3418

		3419		3419		3419

		3420		3420		3420

		3421		3421		3421

		3422		3422		3422

		3423		3423		3423

		3424		3424		3424

		3425		3425		3425

		3426		3426		3426

		3427		3427		3427

		3428		3428		3428

		3429		3429		3429

		3430		3430		3430

		3431		3431		3431

		3432		3432		3432

		3433		3433		3433

		3434		3434		3434

		3435		3435		3435

		3436		3436		3436

		3437		3437		3437

		3438		3438		3438

		3439		3439		3439

		3440		3440		3440

		3441		3441		3441

		3442		3442		3442

		3443		3443		3443

		3444		3444		3444

		3445		3445		3445

		3446		3446		3446

		3447		3447		3447

		3448		3448		3448

		3449		3449		3449

		3450		3450		3450

		3451		3451		3451

		3452		3452		3452

		3453		3453		3453

		3454		3454		3454

		3455		3455		3455

		3456		3456		3456

		3457		3457		3457

		3458		3458		3458

		3459		3459		3459

		3460		3460		3460

		3461		3461		3461

		3462		3462		3462

		3463		3463		3463

		3464		3464		3464

		3465		3465		3465

		3466		3466		3466

		3467		3467		3467

		3468		3468		3468

		3469		3469		3469

		3470		3470		3470

		3471		3471		3471

		3472		3472		3472

		3473		3473		3473

		3474		3474		3474

		3475		3475		3475

		3476		3476		3476

		3477		3477		3477

		3478		3478		3478

		3479		3479		3479

		3480		3480		3480

		3481		3481		3481

		3482		3482		3482

		3483		3483		3483

		3484		3484		3484

		3485		3485		3485

		3486		3486		3486

		3487		3487		3487

		3488		3488		3488

		3489		3489		3489

		3490		3490		3490

		3491		3491		3491

		3492		3492		3492

		3493		3493		3493

		3494		3494		3494

		3495		3495		3495

		3496		3496		3496

		3497		3497		3497

		3498		3498		3498

		3499		3499		3499

		3500		3500		3500

		3501		3501		3501

		3502		3502		3502

		3503		3503		3503

		3504		3504		3504

		3505		3505		3505

		3506		3506		3506

		3507		3507		3507

		3508		3508		3508

		3509		3509		3509

		3510		3510		3510

		3511		3511		3511

		3512		3512		3512

		3513		3513		3513

		3514		3514		3514

		3515		3515		3515

		3516		3516		3516

		3517		3517		3517

		3518		3518		3518

		3519		3519		3519

		3520		3520		3520

		3521		3521		3521

		3522		3522		3522

		3523		3523		3523

		3524		3524		3524

		3525		3525		3525

		3526		3526		3526

		3527		3527		3527

		3528		3528		3528

		3529		3529		3529

		3530		3530		3530

		3531		3531		3531

		3532		3532		3532

		3533		3533		3533

		3534		3534		3534

		3535		3535		3535

		3536		3536		3536

		3537		3537		3537

		3538		3538		3538

		3539		3539		3539

		3540		3540		3540

		3541		3541		3541

		3542		3542		3542

		3543		3543		3543

		3544		3544		3544

		3545		3545		3545

		3546		3546		3546

		3547		3547		3547

		3548		3548		3548

		3549		3549		3549

		3550		3550		3550

		3551		3551		3551

		3552		3552		3552

		3553		3553		3553

		3554		3554		3554

		3555		3555		3555

		3556		3556		3556

		3557		3557		3557

		3558		3558		3558

		3559		3559		3559

		3560		3560		3560

		3561		3561		3561

		3562		3562		3562

		3563		3563		3563

		3564		3564		3564

		3565		3565		3565

		3566		3566		3566

		3567		3567		3567

		3568		3568		3568

		3569		3569		3569

		3570		3570		3570

		3571		3571		3571

		3572		3572		3572

		3573		3573		3573

		3574		3574		3574

		3575		3575		3575

		3576		3576		3576

		3577		3577		3577

		3578		3578		3578

		3579		3579		3579

		3580		3580		3580

		3581		3581		3581

		3582		3582		3582

		3583		3583		3583

		3584		3584		3584

		3585		3585		3585

		3586		3586		3586

		3587		3587		3587

		3588		3588		3588

		3589		3589		3589

		3590		3590		3590

		3591		3591		3591

		3592		3592		3592

		3593		3593		3593

		3594		3594		3594

		3595		3595		3595

		3596		3596		3596

		3597		3597		3597

		3598		3598		3598

		3599		3599		3599

		3600		3600		3600

		3601		3601		3601

		3602		3602		3602

		3603		3603		3603

		3604		3604		3604

		3605		3605		3605

		3606		3606		3606

		3607		3607		3607

		3608		3608		3608

		3609		3609		3609

		3610		3610		3610

		3611		3611		3611

		3612		3612		3612

		3613		3613		3613

		3614		3614		3614

		3615		3615		3615

		3616		3616		3616

		3617		3617		3617

		3618		3618		3618

		3619		3619		3619

		3620		3620		3620

		3621		3621		3621

		3622		3622		3622

		3623		3623		3623

		3624		3624		3624

		3625		3625		3625

		3626		3626		3626

		3627		3627		3627

		3628		3628		3628

		3629		3629		3629

		3630		3630		3630

		3631		3631		3631

		3632		3632		3632

		3633		3633		3633

		3634		3634		3634

		3635		3635		3635

		3636		3636		3636

		3637		3637		3637

		3638		3638		3638

		3639		3639		3639

		3640		3640		3640

		3641		3641		3641

		3642		3642		3642

		3643		3643		3643

		3644		3644		3644

		3645		3645		3645

		3646		3646		3646

		3647		3647		3647

		3648		3648		3648

		3649		3649		3649

		3650		3650		3650

		3651		3651		3651

		3652		3652		3652

		3653		3653		3653

		3654		3654		3654

		3655		3655		3655

		3656		3656		3656

		3657		3657		3657

		3658		3658		3658

		3659		3659		3659

		3660		3660		3660

		3661		3661		3661

		3662		3662		3662

		3663		3663		3663

		3664		3664		3664

		3665		3665		3665

		3666		3666		3666

		3667		3667		3667

		3668		3668		3668

		3669		3669		3669

		3670		3670		3670

		3671		3671		3671

		3672		3672		3672

		3673		3673		3673

		3674		3674		3674

		3675		3675		3675

		3676		3676		3676

		3677		3677		3677

		3678		3678		3678

		3679		3679		3679

		3680		3680		3680

		3681		3681		3681

		3682		3682		3682

		3683		3683		3683

		3684		3684		3684

		3685		3685		3685

		3686		3686		3686

		3687		3687		3687

		3688		3688		3688

		3689		3689		3689

		3690		3690		3690

		3691		3691		3691

		3692		3692		3692

		3693		3693		3693

		3694		3694		3694

		3695		3695		3695

		3696		3696		3696

		3697		3697		3697

		3698		3698		3698

		3699		3699		3699

		3700		3700		3700

		3701		3701		3701

		3702		3702		3702

		3703		3703		3703

		3704		3704		3704

		3705		3705		3705

		3706		3706		3706

		3707		3707		3707

		3708		3708		3708

		3709		3709		3709

		3710		3710		3710

		3711		3711		3711

		3712		3712		3712

		3713		3713		3713

		3714		3714		3714

		3715		3715		3715

		3716		3716		3716

		3717		3717		3717

		3718		3718		3718

		3719		3719		3719

		3720		3720		3720

		3721		3721		3721

		3722		3722		3722

		3723		3723		3723

		3724		3724		3724

		3725		3725		3725

		3726		3726		3726

		3727		3727		3727

		3728		3728		3728

		3729		3729		3729

		3730		3730		3730

		3731		3731		3731

		3732		3732		3732

		3733		3733		3733

		3734		3734		3734

		3735		3735		3735

		3736		3736		3736

		3737		3737		3737

		3738		3738		3738

		3739		3739		3739

		3740		3740		3740

		3741		3741		3741

		3742		3742		3742

		3743		3743		3743

		3744		3744		3744

		3745		3745		3745

		3746		3746		3746

		3747		3747		3747

		3748		3748		3748

		3749		3749		3749

		3750		3750		3750

		3751		3751		3751

		3752		3752		3752

		3753		3753		3753

		3754		3754		3754

		3755		3755		3755

		3756		3756		3756

		3757		3757		3757

		3758		3758		3758

		3759		3759		3759

		3760		3760		3760

		3761		3761		3761

		3762		3762		3762

		3763		3763		3763

		3764		3764		3764

		3765		3765		3765

		3766		3766		3766

		3767		3767		3767

		3768		3768		3768

		3769		3769		3769

		3770		3770		3770

		3771		3771		3771

		3772		3772		3772

		3773		3773		3773

		3774		3774		3774

		3775		3775		3775

		3776		3776		3776

		3777		3777		3777

		3778		3778		3778

		3779		3779		3779

		3780		3780		3780

		3781		3781		3781

		3782		3782		3782

		3783		3783		3783

		3784		3784		3784

		3785		3785		3785

		3786		3786		3786

		3787		3787		3787

		3788		3788		3788

		3789		3789		3789

		3790		3790		3790

		3791		3791		3791

		3792		3792		3792

		3793		3793		3793

		3794		3794		3794

		3795		3795		3795

		3796		3796		3796

		3797		3797		3797

		3798		3798		3798

		3799		3799		3799

		3800		3800		3800

		3801		3801		3801

		3802		3802		3802

		3803		3803		3803

		3804		3804		3804

		3805		3805		3805

		3806		3806		3806

		3807		3807		3807

		3808		3808		3808

		3809		3809		3809

		3810		3810		3810

		3811		3811		3811

		3812		3812		3812

		3813		3813		3813

		3814		3814		3814

		3815		3815		3815

		3816		3816		3816

		3817		3817		3817

		3818		3818		3818

		3819		3819		3819

		3820		3820		3820

		3821		3821		3821

		3822		3822		3822

		3823		3823		3823

		3824		3824		3824

		3825		3825		3825

		3826		3826		3826

		3827		3827		3827

		3828		3828		3828

		3829		3829		3829

		3830		3830		3830

		3831		3831		3831

		3832		3832		3832

		3833		3833		3833

		3834		3834		3834

		3835		3835		3835

		3836		3836		3836

		3837		3837		3837

		3838		3838		3838

		3839		3839		3839

		3840		3840		3840

		3841		3841		3841

		3842		3842		3842

		3843		3843		3843

		3844		3844		3844

		3845		3845		3845

		3846		3846		3846

		3847		3847		3847

		3848		3848		3848

		3849		3849		3849

		3850		3850		3850

		3851		3851		3851

		3852		3852		3852

		3853		3853		3853

		3854		3854		3854

		3855		3855		3855

		3856		3856		3856

		3857		3857		3857

		3858		3858		3858

		3859		3859		3859

		3860		3860		3860

		3861		3861		3861

		3862		3862		3862

		3863		3863		3863

		3864		3864		3864

		3865		3865		3865

		3866		3866		3866

		3867		3867		3867

		3868		3868		3868

		3869		3869		3869

		3870		3870		3870

		3871		3871		3871

		3872		3872		3872

		3873		3873		3873

		3874		3874		3874

		3875		3875		3875

		3876		3876		3876

		3877		3877		3877

		3878		3878		3878

		3879		3879		3879

		3880		3880		3880

		3881		3881		3881

		3882		3882		3882

		3883		3883		3883

		3884		3884		3884

		3885		3885		3885

		3886		3886		3886

		3887		3887		3887

		3888		3888		3888

		3889		3889		3889

		3890		3890		3890

		3891		3891		3891

		3892		3892		3892

		3893		3893		3893

		3894		3894		3894

		3895		3895		3895

		3896		3896		3896

		3897		3897		3897

		3898		3898		3898

		3899		3899		3899

		3900		3900		3900

		3901		3901		3901

		3902		3902		3902

		3903		3903		3903

		3904		3904		3904

		3905		3905		3905

		3906		3906		3906

		3907		3907		3907

		3908		3908		3908

		3909		3909		3909

		3910		3910		3910

		3911		3911		3911

		3912		3912		3912

		3913		3913		3913

		3914		3914		3914

		3915		3915		3915

		3916		3916		3916

		3917		3917		3917

		3918		3918		3918

		3919		3919		3919

		3920		3920		3920

		3921		3921		3921

		3922		3922		3922

		3923		3923		3923

		3924		3924		3924

		3925		3925		3925

		3926		3926		3926

		3927		3927		3927

		3928		3928		3928

		3929		3929		3929

		3930		3930		3930

		3931		3931		3931

		3932		3932		3932

		3933		3933		3933

		3934		3934		3934

		3935		3935		3935

		3936		3936		3936

		3937		3937		3937

		3938		3938		3938

		3939		3939		3939

		3940		3940		3940

		3941		3941		3941

		3942		3942		3942

		3943		3943		3943

		3944		3944		3944

		3945		3945		3945

		3946		3946		3946

		3947		3947		3947

		3948		3948		3948

		3949		3949		3949

		3950		3950		3950

		3951		3951		3951

		3952		3952		3952

		3953		3953		3953

		3954		3954		3954

		3955		3955		3955

		3956		3956		3956

		3957		3957		3957

		3958		3958		3958

		3959		3959		3959

		3960		3960		3960

		3961		3961		3961

		3962		3962		3962

		3963		3963		3963

		3964		3964		3964

		3965		3965		3965

		3966		3966		3966

		3967		3967		3967

		3968		3968		3968

		3969		3969		3969

		3970		3970		3970

		3971		3971		3971

		3972		3972		3972

		3973		3973		3973

		3974		3974		3974

		3975		3975		3975

		3976		3976		3976

		3977		3977		3977

		3978		3978		3978

		3979		3979		3979

		3980		3980		3980

		3981		3981		3981

		3982		3982		3982

		3983		3983		3983

		3984		3984		3984

		3985		3985		3985

		3986		3986		3986

		3987		3987		3987

		3988		3988		3988

		3989		3989		3989

		3990		3990		3990

		3991		3991		3991

		3992		3992		3992

		3993		3993		3993

		3994		3994		3994

		3995		3995		3995

		3996		3996		3996

		3997		3997		3997

		3998		3998		3998

		3999		3999		3999

		4000		4000		4000

		4001		4001		4001

		4002		4002		4002

		4003		4003		4003

		4004		4004		4004

		4005		4005		4005

		4006		4006		4006

		4007		4007		4007

		4008		4008		4008

		4009		4009		4009

		4010		4010		4010

		4011		4011		4011

		4012		4012		4012

		4013		4013		4013

		4014		4014		4014

		4015		4015		4015

		4016		4016		4016

		4017		4017		4017

		4018		4018		4018

		4019		4019		4019

		4020		4020		4020

		4021		4021		4021

		4022		4022		4022

		4023		4023		4023

		4024		4024		4024

		4025		4025		4025

		4026		4026		4026

		4027		4027		4027

		4028		4028		4028

		4029		4029		4029

		4030		4030		4030

		4031		4031		4031

		4032		4032		4032

		4033		4033		4033

		4034		4034		4034

		4035		4035		4035

		4036		4036		4036

		4037		4037		4037

		4038		4038		4038

		4039		4039		4039

		4040		4040		4040

		4041		4041		4041

		4042		4042		4042

		4043		4043		4043

		4044		4044		4044

		4045		4045		4045

		4046		4046		4046

		4047		4047		4047

		4048		4048		4048

		4049		4049		4049

		4050		4050		4050

		4051		4051		4051

		4052		4052		4052

		4053		4053		4053

		4054		4054		4054

		4055		4055		4055

		4056		4056		4056

		4057		4057		4057

		4058		4058		4058

		4059		4059		4059

		4060		4060		4060

		4061		4061		4061

		4062		4062		4062

		4063		4063		4063

		4064		4064		4064

		4065		4065		4065

		4066		4066		4066

		4067		4067		4067

		4068		4068		4068

		4069		4069		4069

		4070		4070		4070

		4071		4071		4071

		4072		4072		4072

		4073		4073		4073

		4074		4074		4074

		4075		4075		4075

		4076		4076		4076

		4077		4077		4077

		4078		4078		4078

		4079		4079		4079

		4080		4080		4080

		4081		4081		4081

		4082		4082		4082

		4083		4083		4083

		4084		4084		4084

		4085		4085		4085

		4086		4086		4086

		4087		4087		4087

		4088		4088		4088

		4089		4089		4089

		4090		4090		4090

		4091		4091		4091

		4092		4092		4092

		4093		4093		4093

		4094		4094		4094

		4095		4095		4095

		4096		4096		4096

		4097		4097		4097

		4098		4098		4098

		4099		4099		4099

		4100		4100		4100

		4101		4101		4101

		4102		4102		4102

		4103		4103		4103

		4104		4104		4104

		4105		4105		4105

		4106		4106		4106

		4107		4107		4107

		4108		4108		4108

		4109		4109		4109

		4110		4110		4110

		4111		4111		4111

		4112		4112		4112

		4113		4113		4113

		4114		4114		4114

		4115		4115		4115

		4116		4116		4116

		4117		4117		4117

		4118		4118		4118

		4119		4119		4119

		4120		4120		4120

		4121		4121		4121

		4122		4122		4122

		4123		4123		4123

		4124		4124		4124

		4125		4125		4125

		4126		4126		4126

		4127		4127		4127

		4128		4128		4128

		4129		4129		4129

		4130		4130		4130

		4131		4131		4131

		4132		4132		4132

		4133		4133		4133

		4134		4134		4134

		4135		4135		4135

		4136		4136		4136

		4137		4137		4137

		4138		4138		4138

		4139		4139		4139

		4140		4140		4140

		4141		4141		4141

		4142		4142		4142

		4143		4143		4143

		4144		4144		4144

		4145		4145		4145

		4146		4146		4146

		4147		4147		4147

		4148		4148		4148

		4149		4149		4149

		4150		4150		4150

		4151		4151		4151

		4152		4152		4152

		4153		4153		4153

		4154		4154		4154

		4155		4155		4155

		4156		4156		4156

		4157		4157		4157

		4158		4158		4158

		4159		4159		4159

		4160		4160		4160

		4161		4161		4161

		4162		4162		4162

		4163		4163		4163

		4164		4164		4164

		4165		4165		4165

		4166		4166		4166

		4167		4167		4167

		4168		4168		4168

		4169		4169		4169

		4170		4170		4170

		4171		4171		4171

		4172		4172		4172

		4173		4173		4173

		4174		4174		4174

		4175		4175		4175

		4176		4176		4176

		4177		4177		4177

		4178		4178		4178

		4179		4179		4179

		4180		4180		4180

		4181		4181		4181

		4182		4182		4182

		4183		4183		4183

		4184		4184		4184

		4185		4185		4185

		4186		4186		4186

		4187		4187		4187

		4188		4188		4188

		4189		4189		4189

		4190		4190		4190

		4191		4191		4191

		4192		4192		4192

		4193		4193		4193

		4194		4194		4194

		4195		4195		4195

		4196		4196		4196

		4197		4197		4197

		4198		4198		4198

		4199		4199		4199

		4200		4200		4200

		4201		4201		4201

		4202		4202		4202

		4203		4203		4203

		4204		4204		4204

		4205		4205		4205

		4206		4206		4206

		4207		4207		4207

		4208		4208		4208

		4209		4209		4209

		4210		4210		4210

		4211		4211		4211

		4212		4212		4212

		4213		4213		4213

		4214		4214		4214

		4215		4215		4215

		4216		4216		4216

		4217		4217		4217

		4218		4218		4218

		4219		4219		4219

		4220		4220		4220

		4221		4221		4221

		4222		4222		4222

		4223		4223		4223

		4224		4224		4224

		4225		4225		4225

		4226		4226		4226

		4227		4227		4227

		4228		4228		4228

		4229		4229		4229

		4230		4230		4230

		4231		4231		4231

		4232		4232		4232

		4233		4233		4233

		4234		4234		4234

		4235		4235		4235

		4236		4236		4236

		4237		4237		4237

		4238		4238		4238

		4239		4239		4239

		4240		4240		4240

		4241		4241		4241

		4242		4242		4242

		4243		4243		4243

		4244		4244		4244

		4245		4245		4245

		4246		4246		4246

		4247		4247		4247

		4248		4248		4248

		4249		4249		4249

		4250		4250		4250

		4251		4251		4251

		4252		4252		4252

		4253		4253		4253

		4254		4254		4254

		4255		4255		4255

		4256		4256		4256

		4257		4257		4257

		4258		4258		4258

		4259		4259		4259

		4260		4260		4260

		4261		4261		4261

		4262		4262		4262

		4263		4263		4263

		4264		4264		4264

		4265		4265		4265

		4266		4266		4266

		4267		4267		4267

		4268		4268		4268

		4269		4269		4269

		4270		4270		4270

		4271		4271		4271

		4272		4272		4272

		4273		4273		4273

		4274		4274		4274

		4275		4275		4275

		4276		4276		4276

		4277		4277		4277

		4278		4278		4278

		4279		4279		4279

		4280		4280		4280

		4281		4281		4281

		4282		4282		4282

		4283		4283		4283

		4284		4284		4284

		4285		4285		4285

		4286		4286		4286

		4287		4287		4287

		4288		4288		4288

		4289		4289		4289

		4290		4290		4290

		4291		4291		4291

		4292		4292		4292

		4293		4293		4293

		4294		4294		4294

		4295		4295		4295

		4296		4296		4296

		4297		4297		4297

		4298		4298		4298

		4299		4299		4299

		4300		4300		4300

		4301		4301		4301

		4302		4302		4302

		4303		4303		4303

		4304		4304		4304

		4305		4305		4305

		4306		4306		4306

		4307		4307		4307

		4308		4308		4308

		4309		4309		4309

		4310		4310		4310

		4311		4311		4311

		4312		4312		4312

		4313		4313		4313

		4314		4314		4314

		4315		4315		4315

		4316		4316		4316

		4317		4317		4317

		4318		4318		4318

		4319		4319		4319

		4320		4320		4320

		4321		4321		4321

		4322		4322		4322

		4323		4323		4323

		4324		4324		4324

		4325		4325		4325

		4326		4326		4326

		4327		4327		4327

		4328		4328		4328

		4329		4329		4329

		4330		4330		4330

		4331		4331		4331

		4332		4332		4332

		4333		4333		4333

		4334		4334		4334

		4335		4335		4335

		4336		4336		4336

		4337		4337		4337

		4338		4338		4338

		4339		4339		4339

		4340		4340		4340

		4341		4341		4341

		4342		4342		4342

		4343		4343		4343

		4344		4344		4344

		4345		4345		4345

		4346		4346		4346

		4347		4347		4347

		4348		4348		4348

		4349		4349		4349

		4350		4350		4350

		4351		4351		4351

		4352		4352		4352

		4353		4353		4353

		4354		4354		4354

		4355		4355		4355

		4356		4356		4356

		4357		4357		4357

		4358		4358		4358

		4359		4359		4359

		4360		4360		4360

		4361		4361		4361

		4362		4362		4362

		4363		4363		4363

		4364		4364		4364

		4365		4365		4365

		4366		4366		4366

		4367		4367		4367

		4368		4368		4368

		4369		4369		4369

		4370		4370		4370

		4371		4371		4371

		4372		4372		4372

		4373		4373		4373

		4374		4374		4374

		4375		4375		4375

		4376		4376		4376

		4377		4377		4377

		4378		4378		4378

		4379		4379		4379

		4380		4380		4380

		4381		4381		4381

		4382		4382		4382

		4383		4383		4383

		4384		4384		4384

		4385		4385		4385

		4386		4386		4386

		4387		4387		4387

		4388		4388		4388

		4389		4389		4389

		4390		4390		4390

		4391		4391		4391

		4392		4392		4392

		4393		4393		4393

		4394		4394		4394

		4395		4395		4395

		4396		4396		4396

		4397		4397		4397

		4398		4398		4398

		4399		4399		4399

		4400		4400		4400

		4401		4401		4401

		4402		4402		4402

		4403		4403		4403

		4404		4404		4404

		4405		4405		4405

		4406		4406		4406

		4407		4407		4407

		4408		4408		4408

		4409		4409		4409

		4410		4410		4410

		4411		4411		4411

		4412		4412		4412

		4413		4413		4413

		4414		4414		4414

		4415		4415		4415

		4416		4416		4416

		4417		4417		4417

		4418		4418		4418

		4419		4419		4419

		4420		4420		4420

		4421		4421		4421

		4422		4422		4422

		4423		4423		4423

		4424		4424		4424

		4425		4425		4425

		4426		4426		4426

		4427		4427		4427

		4428		4428		4428

		4429		4429		4429

		4430		4430		4430

		4431		4431		4431

		4432		4432		4432

		4433		4433		4433

		4434		4434		4434

		4435		4435		4435

		4436		4436		4436

		4437		4437		4437

		4438		4438		4438

		4439		4439		4439

		4440		4440		4440

		4441		4441		4441

		4442		4442		4442

		4443		4443		4443

		4444		4444		4444

		4445		4445		4445

		4446		4446		4446

		4447		4447		4447

		4448		4448		4448

		4449		4449		4449

		4450		4450		4450

		4451		4451		4451

		4452		4452		4452

		4453		4453		4453

		4454		4454		4454

		4455		4455		4455

		4456		4456		4456

		4457		4457		4457

		4458		4458		4458

		4459		4459		4459

		4460		4460		4460

		4461		4461		4461

		4462		4462		4462

		4463		4463		4463

		4464		4464		4464

		4465		4465		4465

		4466		4466		4466

		4467		4467		4467

		4468		4468		4468

		4469		4469		4469

		4470		4470		4470

		4471		4471		4471

		4472		4472		4472

		4473		4473		4473

		4474		4474		4474

		4475		4475		4475

		4476		4476		4476

		4477		4477		4477

		4478		4478		4478

		4479		4479		4479

		4480		4480		4480

		4481		4481		4481

		4482		4482		4482

		4483		4483		4483

		4484		4484		4484

		4485		4485		4485

		4486		4486		4486

		4487		4487		4487

		4488		4488		4488

		4489		4489		4489

		4490		4490		4490

		4491		4491		4491

		4492		4492		4492

		4493		4493		4493

		4494		4494		4494

		4495		4495		4495

		4496		4496		4496

		4497		4497		4497

		4498		4498		4498

		4499		4499		4499

		4500		4500		4500

		4501		4501		4501

		4502		4502		4502

		4503		4503		4503

		4504		4504		4504

		4505		4505		4505

		4506		4506		4506

		4507		4507		4507

		4508		4508		4508

		4509		4509		4509

		4510		4510		4510

		4511		4511		4511

		4512		4512		4512

		4513		4513		4513

		4514		4514		4514

		4515		4515		4515

		4516		4516		4516

		4517		4517		4517

		4518		4518		4518

		4519		4519		4519

		4520		4520		4520

		4521		4521		4521

		4522		4522		4522

		4523		4523		4523

		4524		4524		4524

		4525		4525		4525

		4526		4526		4526

		4527		4527		4527

		4528		4528		4528

		4529		4529		4529

		4530		4530		4530

		4531		4531		4531

		4532		4532		4532

		4533		4533		4533

		4534		4534		4534

		4535		4535		4535

		4536		4536		4536

		4537		4537		4537

		4538		4538		4538

		4539		4539		4539

		4540		4540		4540

		4541		4541		4541

		4542		4542		4542

		4543		4543		4543

		4544		4544		4544

		4545		4545		4545

		4546		4546		4546

		4547		4547		4547

		4548		4548		4548

		4549		4549		4549

		4550		4550		4550

		4551		4551		4551

		4552		4552		4552

		4553		4553		4553

		4554		4554		4554

		4555		4555		4555

		4556		4556		4556

		4557		4557		4557

		4558		4558		4558

		4559		4559		4559

		4560		4560		4560

		4561		4561		4561

		4562		4562		4562

		4563		4563		4563

		4564		4564		4564

		4565		4565		4565

		4566		4566		4566

		4567		4567		4567

		4568		4568		4568

		4569		4569		4569

		4570		4570		4570

		4571		4571		4571

		4572		4572		4572

		4573		4573		4573

		4574		4574		4574

		4575		4575		4575

		4576		4576		4576

		4577		4577		4577

		4578		4578		4578

		4579		4579		4579

		4580		4580		4580

		4581		4581		4581

		4582		4582		4582

		4583		4583		4583

		4584		4584		4584

		4585		4585		4585

		4586		4586		4586

		4587		4587		4587

		4588		4588		4588

		4589		4589		4589

		4590		4590		4590

		4591		4591		4591

		4592		4592		4592

		4593		4593		4593

		4594		4594		4594

		4595		4595		4595

		4596		4596		4596

		4597		4597		4597

		4598		4598		4598

		4599		4599		4599

		4600		4600		4600

		4601		4601		4601

		4602		4602		4602

		4603		4603		4603

		4604		4604		4604

		4605		4605		4605

		4606		4606		4606

		4607		4607		4607

		4608		4608		4608

		4609		4609		4609

		4610		4610		4610

		4611		4611		4611

		4612		4612		4612

		4613		4613		4613

		4614		4614		4614

		4615		4615		4615

		4616		4616		4616

		4617		4617		4617

		4618		4618		4618

		4619		4619		4619

		4620		4620		4620

		4621		4621		4621

		4622		4622		4622

		4623		4623		4623

		4624		4624		4624

		4625		4625		4625

		4626		4626		4626

		4627		4627		4627

		4628		4628		4628

		4629		4629		4629

		4630		4630		4630

		4631		4631		4631

		4632		4632		4632

		4633		4633		4633

		4634		4634		4634

		4635		4635		4635

		4636		4636		4636

		4637		4637		4637

		4638		4638		4638

		4639		4639		4639

		4640		4640		4640

		4641		4641		4641

		4642		4642		4642

		4643		4643		4643

		4644		4644		4644

		4645		4645		4645

		4646		4646		4646

		4647		4647		4647

		4648		4648		4648

		4649		4649		4649

		4650		4650		4650

		4651		4651		4651

		4652		4652		4652

		4653		4653		4653

		4654		4654		4654

		4655		4655		4655

		4656		4656		4656

		4657		4657		4657

		4658		4658		4658

		4659		4659		4659

		4660		4660		4660

		4661		4661		4661

		4662		4662		4662

		4663		4663		4663

		4664		4664		4664

		4665		4665		4665

		4666		4666		4666

		4667		4667		4667

		4668		4668		4668

		4669		4669		4669

		4670		4670		4670

		4671		4671		4671

		4672		4672		4672

		4673		4673		4673

		4674		4674		4674

		4675		4675		4675

		4676		4676		4676

		4677		4677		4677

		4678		4678		4678

		4679		4679		4679

		4680		4680		4680

		4681		4681		4681

		4682		4682		4682

		4683		4683		4683

		4684		4684		4684

		4685		4685		4685

		4686		4686		4686

		4687		4687		4687

		4688		4688		4688

		4689		4689		4689

		4690		4690		4690

		4691		4691		4691

		4692		4692		4692

		4693		4693		4693

		4694		4694		4694

		4695		4695		4695

		4696		4696		4696

		4697		4697		4697

		4698		4698		4698

		4699		4699		4699

		4700		4700		4700

		4701		4701		4701

		4702		4702		4702

		4703		4703		4703

		4704		4704		4704

		4705		4705		4705

		4706		4706		4706

		4707		4707		4707

		4708		4708		4708

		4709		4709		4709

		4710		4710		4710

		4711		4711		4711

		4712		4712		4712

		4713		4713		4713

		4714		4714		4714

		4715		4715		4715

		4716		4716		4716

		4717		4717		4717

		4718		4718		4718

		4719		4719		4719

		4720		4720		4720

		4721		4721		4721

		4722		4722		4722

		4723		4723		4723

		4724		4724		4724

		4725		4725		4725

		4726		4726		4726

		4727		4727		4727

		4728		4728		4728

		4729		4729		4729

		4730		4730		4730

		4731		4731		4731

		4732		4732		4732

		4733		4733		4733

		4734		4734		4734

		4735		4735		4735

		4736		4736		4736

		4737		4737		4737

		4738		4738		4738

		4739		4739		4739

		4740		4740		4740

		4741		4741		4741

		4742		4742		4742

		4743		4743		4743

		4744		4744		4744

		4745		4745		4745

		4746		4746		4746

		4747		4747		4747

		4748		4748		4748

		4749		4749		4749

		4750		4750		4750

		4751		4751		4751

		4752		4752		4752

		4753		4753		4753

		4754		4754		4754

		4755		4755		4755

		4756		4756		4756

		4757		4757		4757

		4758		4758		4758

		4759		4759		4759

		4760		4760		4760

		4761		4761		4761

		4762		4762		4762

		4763		4763		4763

		4764		4764		4764

		4765		4765		4765

		4766		4766		4766

		4767		4767		4767

		4768		4768		4768

		4769		4769		4769

		4770		4770		4770

		4771		4771		4771

		4772		4772		4772

		4773		4773		4773

		4774		4774		4774

		4775		4775		4775

		4776		4776		4776

		4777		4777		4777

		4778		4778		4778

		4779		4779		4779

		4780		4780		4780

		4781		4781		4781

		4782		4782		4782

		4783		4783		4783

		4784		4784		4784

		4785		4785		4785

		4786		4786		4786

		4787		4787		4787

		4788		4788		4788

		4789		4789		4789

		4790		4790		4790

		4791		4791		4791

		4792		4792		4792

		4793		4793		4793

		4794		4794		4794

		4795		4795		4795

		4796		4796		4796

		4797		4797		4797

		4798		4798		4798

		4799		4799		4799

		4800		4800		4800

		4801		4801		4801

		4802		4802		4802

		4803		4803		4803

		4804		4804		4804

		4805		4805		4805

		4806		4806		4806

		4807		4807		4807

		4808		4808		4808

		4809		4809		4809

		4810		4810		4810

		4811		4811		4811

		4812		4812		4812

		4813		4813		4813

		4814		4814		4814

		4815		4815		4815

		4816		4816		4816

		4817		4817		4817

		4818		4818		4818

		4819		4819		4819

		4820		4820		4820

		4821		4821		4821

		4822		4822		4822

		4823		4823		4823

		4824		4824		4824

		4825		4825		4825

		4826		4826		4826

		4827		4827		4827

		4828		4828		4828

		4829		4829		4829

		4830		4830		4830

		4831		4831		4831

		4832		4832		4832

		4833		4833		4833

		4834		4834		4834

		4835		4835		4835

		4836		4836		4836

		4837		4837		4837

		4838		4838		4838

		4839		4839		4839

		4840		4840		4840

		4841		4841		4841

		4842		4842		4842

		4843		4843		4843

		4844		4844		4844

		4845		4845		4845

		4846		4846		4846

		4847		4847		4847

		4848		4848		4848

		4849		4849		4849

		4850		4850		4850

		4851		4851		4851

		4852		4852		4852

		4853		4853		4853

		4854		4854		4854

		4855		4855		4855

		4856		4856		4856

		4857		4857		4857

		4858		4858		4858

		4859		4859		4859

		4860		4860		4860

		4861		4861		4861

		4862		4862		4862

		4863		4863		4863

		4864		4864		4864

		4865		4865		4865

		4866		4866		4866

		4867		4867		4867

		4868		4868		4868

		4869		4869		4869

		4870		4870		4870

		4871		4871		4871

		4872		4872		4872

		4873		4873		4873

		4874		4874		4874

		4875		4875		4875

		4876		4876		4876

		4877		4877		4877

		4878		4878		4878

		4879		4879		4879

		4880		4880		4880

		4881		4881		4881

		4882		4882		4882

		4883		4883		4883

		4884		4884		4884

		4885		4885		4885

		4886		4886		4886

		4887		4887		4887

		4888		4888		4888

		4889		4889		4889

		4890		4890		4890

		4891		4891		4891

		4892		4892		4892

		4893		4893		4893

		4894		4894		4894

		4895		4895		4895

		4896		4896		4896

		4897		4897		4897

		4898		4898		4898

		4899		4899		4899

		4900		4900		4900

		4901		4901		4901

		4902		4902		4902

		4903		4903		4903

		4904		4904		4904

		4905		4905		4905

		4906		4906		4906

		4907		4907		4907

		4908		4908		4908

		4909		4909		4909

		4910		4910		4910

		4911		4911		4911

		4912		4912		4912

		4913		4913		4913

		4914		4914		4914

		4915		4915		4915

		4916		4916		4916

		4917		4917		4917

		4918		4918		4918

		4919		4919		4919

		4920		4920		4920

		4921		4921		4921

		4922		4922		4922

		4923		4923		4923

		4924		4924		4924

		4925		4925		4925

		4926		4926		4926

		4927		4927		4927

		4928		4928		4928

		4929		4929		4929

		4930		4930		4930

		4931		4931		4931

		4932		4932		4932

		4933		4933		4933

		4934		4934		4934

		4935		4935		4935

		4936		4936		4936

		4937		4937		4937

		4938		4938		4938

		4939		4939		4939

		4940		4940		4940

		4941		4941		4941

		4942		4942		4942

		4943		4943		4943

		4944		4944		4944

		4945		4945		4945

		4946		4946		4946

		4947		4947		4947

		4948		4948		4948

		4949		4949		4949

		4950		4950		4950

		4951		4951		4951

		4952		4952		4952

		4953		4953		4953

		4954		4954		4954

		4955		4955		4955

		4956		4956		4956

		4957		4957		4957

		4958		4958		4958

		4959		4959		4959

		4960		4960		4960

		4961		4961		4961

		4962		4962		4962

		4963		4963		4963

		4964		4964		4964

		4965		4965		4965

		4966		4966		4966

		4967		4967		4967

		4968		4968		4968

		4969		4969		4969

		4970		4970		4970

		4971		4971		4971

		4972		4972		4972

		4973		4973		4973

		4974		4974		4974

		4975		4975		4975

		4976		4976		4976

		4977		4977		4977

		4978		4978		4978

		4979		4979		4979

		4980		4980		4980

		4981		4981		4981

		4982		4982		4982

		4983		4983		4983

		4984		4984		4984

		4985		4985		4985

		4986		4986		4986

		4987		4987		4987

		4988		4988		4988

		4989		4989		4989

		4990		4990		4990

		4991		4991		4991

		4992		4992		4992

		4993		4993		4993

		4994		4994		4994

		4995		4995		4995

		4996		4996		4996

		4997		4997		4997

		4998		4998		4998

		4999		4999		4999

		5000		5000		5000

		5001		5001		5001

		5002		5002		5002

		5003		5003		5003

		5004		5004		5004

		5005		5005		5005

		5006		5006		5006

		5007		5007		5007

		5008		5008		5008

		5009		5009		5009

		5010		5010		5010

		5011		5011		5011

		5012		5012		5012

		5013		5013		5013

		5014		5014		5014

		5015		5015		5015

		5016		5016		5016

		5017		5017		5017

		5018		5018		5018

		5019		5019		5019

		5020		5020		5020

		5021		5021		5021

		5022		5022		5022

		5023		5023		5023

		5024		5024		5024

		5025		5025		5025

		5026		5026		5026

		5027		5027		5027

		5028		5028		5028

		5029		5029		5029

		5030		5030		5030

		5031		5031		5031

		5032		5032		5032

		5033		5033		5033

		5034		5034		5034

		5035		5035		5035

		5036		5036		5036

		5037		5037		5037

		5038		5038		5038

		5039		5039		5039

		5040		5040		5040

		5041		5041		5041

		5042		5042		5042

		5043		5043		5043

		5044		5044		5044

		5045		5045		5045

		5046		5046		5046

		5047		5047		5047

		5048		5048		5048

		5049		5049		5049

		5050		5050		5050

		5051		5051		5051

		5052		5052		5052

		5053		5053		5053

		5054		5054		5054

		5055		5055		5055

		5056		5056		5056

		5057		5057		5057

		5058		5058		5058

		5059		5059		5059

		5060		5060		5060

		5061		5061		5061

		5062		5062		5062

		5063		5063		5063

		5064		5064		5064

		5065		5065		5065

		5066		5066		5066

		5067		5067		5067

		5068		5068		5068

		5069		5069		5069

		5070		5070		5070

		5071		5071		5071

		5072		5072		5072

		5073		5073		5073

		5074		5074		5074

		5075		5075		5075

		5076		5076		5076

		5077		5077		5077

		5078		5078		5078

		5079		5079		5079

		5080		5080		5080

		5081		5081		5081

		5082		5082		5082

		5083		5083		5083

		5084		5084		5084

		5085		5085		5085

		5086		5086		5086

		5087		5087		5087

		5088		5088		5088

		5089		5089		5089

		5090		5090		5090

		5091		5091		5091

		5092		5092		5092

		5093		5093		5093

		5094		5094		5094

		5095		5095		5095

		5096		5096		5096

		5097		5097		5097

		5098		5098		5098

		5099		5099		5099

		5100		5100		5100

		5101		5101		5101

		5102		5102		5102

		5103		5103		5103

		5104		5104		5104

		5105		5105		5105

		5106		5106		5106

		5107		5107		5107

		5108		5108		5108

		5109		5109		5109

		5110		5110		5110

		5111		5111		5111

		5112		5112		5112

		5113		5113		5113

		5114		5114		5114

		5115		5115		5115

		5116		5116		5116

		5117		5117		5117

		5118		5118		5118

		5119		5119		5119

		5120		5120		5120

		5121		5121		5121

		5122		5122		5122

		5123		5123		5123

		5124		5124		5124

		5125		5125		5125

		5126		5126		5126

		5127		5127		5127

		5128		5128		5128

		5129		5129		5129

		5130		5130		5130

		5131		5131		5131

		5132		5132		5132

		5133		5133		5133

		5134		5134		5134

		5135		5135		5135

		5136		5136		5136

		5137		5137		5137

		5138		5138		5138

		5139		5139		5139

		5140		5140		5140

		5141		5141		5141

		5142		5142		5142

		5143		5143		5143

		5144		5144		5144

		5145		5145		5145

		5146		5146		5146

		5147		5147		5147

		5148		5148		5148

		5149		5149		5149

		5150		5150		5150

		5151		5151		5151

		5152		5152		5152

		5153		5153		5153

		5154		5154		5154

		5155		5155		5155

		5156		5156		5156

		5157		5157		5157

		5158		5158		5158

		5159		5159		5159

		5160		5160		5160

		5161		5161		5161

		5162		5162		5162

		5163		5163		5163

		5164		5164		5164

		5165		5165		5165

		5166		5166		5166

		5167		5167		5167

		5168		5168		5168

		5169		5169		5169

		5170		5170		5170

		5171		5171		5171

		5172		5172		5172

		5173		5173		5173

		5174		5174		5174

		5175		5175		5175

		5176		5176		5176

		5177		5177		5177

		5178		5178		5178

		5179		5179		5179

		5180		5180		5180

		5181		5181		5181

		5182		5182		5182

		5183		5183		5183

		5184		5184		5184

		5185		5185		5185

		5186		5186		5186

		5187		5187		5187

		5188		5188		5188

		5189		5189		5189

		5190		5190		5190

		5191		5191		5191

		5192		5192		5192

		5193		5193		5193

		5194		5194		5194

		5195		5195		5195

		5196		5196		5196

		5197		5197		5197

		5198		5198		5198

		5199		5199		5199

		5200		5200		5200

		5201		5201		5201

		5202		5202		5202

		5203		5203		5203

		5204		5204		5204

		5205		5205		5205

		5206		5206		5206

		5207		5207		5207

		5208		5208		5208

		5209		5209		5209

		5210		5210		5210

		5211		5211		5211

		5212		5212		5212

		5213		5213		5213

		5214		5214		5214

		5215		5215		5215

		5216		5216		5216

		5217		5217		5217

		5218		5218		5218

		5219		5219		5219

		5220		5220		5220

		5221		5221		5221

		5222		5222		5222

		5223		5223		5223

		5224		5224		5224

		5225		5225		5225

		5226		5226		5226

		5227		5227		5227

		5228		5228		5228

		5229		5229		5229

		5230		5230		5230

		5231		5231		5231

		5232		5232		5232

		5233		5233		5233

		5234		5234		5234

		5235		5235		5235

		5236		5236		5236

		5237		5237		5237

		5238		5238		5238

		5239		5239		5239

		5240		5240		5240

		5241		5241		5241

		5242		5242		5242

		5243		5243		5243

		5244		5244		5244

		5245		5245		5245

		5246		5246		5246

		5247		5247		5247

		5248		5248		5248

		5249		5249		5249

		5250		5250		5250

		5251		5251		5251

		5252		5252		5252

		5253		5253		5253

		5254		5254		5254

		5255		5255		5255

		5256		5256		5256

		5257		5257		5257

		5258		5258		5258

		5259		5259		5259

		5260		5260		5260

		5261		5261		5261

		5262		5262		5262

		5263		5263		5263

		5264		5264		5264

		5265		5265		5265

		5266		5266		5266

		5267		5267		5267

		5268		5268		5268

		5269		5269		5269

		5270		5270		5270

		5271		5271		5271

		5272		5272		5272

		5273		5273		5273

		5274		5274		5274

		5275		5275		5275

		5276		5276		5276

		5277		5277		5277

		5278		5278		5278

		5279		5279		5279

		5280		5280		5280

		5281		5281		5281

		5282		5282		5282

		5283		5283		5283

		5284		5284		5284

		5285		5285		5285

		5286		5286		5286

		5287		5287		5287

		5288		5288		5288

		5289		5289		5289

		5290		5290		5290

		5291		5291		5291

		5292		5292		5292

		5293		5293		5293

		5294		5294		5294

		5295		5295		5295

		5296		5296		5296

		5297		5297		5297

		5298		5298		5298

		5299		5299		5299

		5300		5300		5300

		5301		5301		5301

		5302		5302		5302

		5303		5303		5303

		5304		5304		5304

		5305		5305		5305

		5306		5306		5306

		5307		5307		5307

		5308		5308		5308

		5309		5309		5309

		5310		5310		5310

		5311		5311		5311

		5312		5312		5312

		5313		5313		5313

		5314		5314		5314

		5315		5315		5315

		5316		5316		5316

		5317		5317		5317

		5318		5318		5318

		5319		5319		5319

		5320		5320		5320

		5321		5321		5321

		5322		5322		5322

		5323		5323		5323

		5324		5324		5324

		5325		5325		5325

		5326		5326		5326

		5327		5327		5327

		5328		5328		5328

		5329		5329		5329

		5330		5330		5330

		5331		5331		5331

		5332		5332		5332

		5333		5333		5333

		5334		5334		5334

		5335		5335		5335

		5336		5336		5336

		5337		5337		5337

		5338		5338		5338

		5339		5339		5339

		5340		5340		5340

		5341		5341		5341

		5342		5342		5342

		5343		5343		5343

		5344		5344		5344

		5345		5345		5345

		5346		5346		5346

		5347		5347		5347

		5348		5348		5348

		5349		5349		5349

		5350		5350		5350

		5351		5351		5351

		5352		5352		5352

		5353		5353		5353

		5354		5354		5354

		5355		5355		5355

		5356		5356		5356

		5357		5357		5357

		5358		5358		5358

		5359		5359		5359

		5360		5360		5360

		5361		5361		5361

		5362		5362		5362

		5363		5363		5363

		5364		5364		5364

		5365		5365		5365

		5366		5366		5366

		5367		5367		5367

		5368		5368		5368

		5369		5369		5369

		5370		5370		5370

		5371		5371		5371

		5372		5372		5372

		5373		5373		5373

		5374		5374		5374

		5375		5375		5375

		5376		5376		5376

		5377		5377		5377

		5378		5378		5378

		5379		5379		5379

		5380		5380		5380

		5381		5381		5381

		5382		5382		5382

		5383		5383		5383

		5384		5384		5384

		5385		5385		5385

		5386		5386		5386

		5387		5387		5387

		5388		5388		5388

		5389		5389		5389

		5390		5390		5390

		5391		5391		5391

		5392		5392		5392

		5393		5393		5393

		5394		5394		5394

		5395		5395		5395

		5396		5396		5396

		5397		5397		5397

		5398		5398		5398

		5399		5399		5399

		5400		5400		5400

		5401		5401		5401

		5402		5402		5402

		5403		5403		5403

		5404		5404		5404

		5405		5405		5405

		5406		5406		5406

		5407		5407		5407

		5408		5408		5408

		5409		5409		5409

		5410		5410		5410

		5411		5411		5411

		5412		5412		5412

		5413		5413		5413

		5414		5414		5414

		5415		5415		5415

		5416		5416		5416

		5417		5417		5417

		5418		5418		5418

		5419		5419		5419

		5420		5420		5420

		5421		5421		5421

		5422		5422		5422

		5423		5423		5423

		5424		5424		5424

		5425		5425		5425

		5426		5426		5426

		5427		5427		5427

		5428		5428		5428

		5429		5429		5429

		5430		5430		5430

		5431		5431		5431

		5432		5432		5432

		5433		5433		5433

		5434		5434		5434

		5435		5435		5435

		5436		5436		5436

		5437		5437		5437

		5438		5438		5438

		5439		5439		5439

		5440		5440		5440

		5441		5441		5441

		5442		5442		5442

		5443		5443		5443

		5444		5444		5444

		5445		5445		5445

		5446		5446		5446

		5447		5447		5447

		5448		5448		5448

		5449		5449		5449

		5450		5450		5450

		5451		5451		5451

		5452		5452		5452

		5453		5453		5453

		5454		5454		5454

		5455		5455		5455

		5456		5456		5456

		5457		5457		5457

		5458		5458		5458

		5459		5459		5459

		5460		5460		5460

		5461		5461		5461

		5462		5462		5462

		5463		5463		5463

		5464		5464		5464

		5465		5465		5465

		5466		5466		5466

		5467		5467		5467

		5468		5468		5468

		5469		5469		5469

		5470		5470		5470

		5471		5471		5471

		5472		5472		5472

		5473		5473		5473

		5474		5474		5474

		5475		5475		5475

		5476		5476		5476

		5477		5477		5477

		5478		5478		5478

		5479		5479		5479

		5480		5480		5480

		5481		5481		5481

		5482		5482		5482

		5483		5483		5483

		5484		5484		5484

		5485		5485		5485

		5486		5486		5486

		5487		5487		5487

		5488		5488		5488

		5489		5489		5489

		5490		5490		5490

		5491		5491		5491

		5492		5492		5492

		5493		5493		5493

		5494		5494		5494

		5495		5495		5495

		5496		5496		5496

		5497		5497		5497

		5498		5498		5498

		5499		5499		5499

		5500		5500		5500

		5501		5501		5501

		5502		5502		5502

		5503		5503		5503

		5504		5504		5504

		5505		5505		5505

		5506		5506		5506

		5507		5507		5507

		5508		5508		5508

		5509		5509		5509

		5510		5510		5510

		5511		5511		5511

		5512		5512		5512

		5513		5513		5513

		5514		5514		5514

		5515		5515		5515

		5516		5516		5516

		5517		5517		5517

		5518		5518		5518

		5519		5519		5519

		5520		5520		5520

		5521		5521		5521

		5522		5522		5522

		5523		5523		5523

		5524		5524		5524

		5525		5525		5525

		5526		5526		5526

		5527		5527		5527

		5528		5528		5528

		5529		5529		5529

		5530		5530		5530

		5531		5531		5531

		5532		5532		5532

		5533		5533		5533

		5534		5534		5534

		5535		5535		5535

		5536		5536		5536

		5537		5537		5537

		5538		5538		5538

		5539		5539		5539

		5540		5540		5540

		5541		5541		5541

		5542		5542		5542

		5543		5543		5543

		5544		5544		5544

		5545		5545		5545

		5546		5546		5546

		5547		5547		5547

		5548		5548		5548

		5549		5549		5549

		5550		5550		5550

		5551		5551		5551

		5552		5552		5552

		5553		5553		5553

		5554		5554		5554

		5555		5555		5555

		5556		5556		5556

		5557		5557		5557

		5558		5558		5558

		5559		5559		5559

		5560		5560		5560

		5561		5561		5561

		5562		5562		5562

		5563		5563		5563

		5564		5564		5564

		5565		5565		5565

		5566		5566		5566

		5567		5567		5567

		5568		5568		5568

		5569		5569		5569

		5570		5570		5570

		5571		5571		5571

		5572		5572		5572

		5573		5573		5573

		5574		5574		5574

		5575		5575		5575

		5576		5576		5576

		5577		5577		5577

		5578		5578		5578

		5579		5579		5579

		5580		5580		5580

		5581		5581		5581

		5582		5582		5582

		5583		5583		5583

		5584		5584		5584

		5585		5585		5585

		5586		5586		5586

		5587		5587		5587

		5588		5588		5588

		5589		5589		5589

		5590		5590		5590

		5591		5591		5591

		5592		5592		5592

		5593		5593		5593

		5594		5594		5594

		5595		5595		5595

		5596		5596		5596

		5597		5597		5597

		5598		5598		5598

		5599		5599		5599

		5600		5600		5600

		5601		5601		5601

		5602		5602		5602

		5603		5603		5603

		5604		5604		5604

		5605		5605		5605

		5606		5606		5606

		5607		5607		5607

		5608		5608		5608

		5609		5609		5609

		5610		5610		5610

		5611		5611		5611

		5612		5612		5612

		5613		5613		5613

		5614		5614		5614

		5615		5615		5615

		5616		5616		5616

		5617		5617		5617

		5618		5618		5618

		5619		5619		5619

		5620		5620		5620

		5621		5621		5621

		5622		5622		5622

		5623		5623		5623

		5624		5624		5624

		5625		5625		5625

		5626		5626		5626

		5627		5627		5627

		5628		5628		5628

		5629		5629		5629

		5630		5630		5630

		5631		5631		5631

		5632		5632		5632

		5633		5633		5633

		5634		5634		5634

		5635		5635		5635

		5636		5636		5636

		5637		5637		5637

		5638		5638		5638

		5639		5639		5639

		5640		5640		5640

		5641		5641		5641

		5642		5642		5642

		5643		5643		5643

		5644		5644		5644

		5645		5645		5645

		5646		5646		5646

		5647		5647		5647

		5648		5648		5648

		5649		5649		5649

		5650		5650		5650

		5651		5651		5651

		5652		5652		5652

		5653		5653		5653

		5654		5654		5654

		5655		5655		5655

		5656		5656		5656

		5657		5657		5657

		5658		5658		5658

		5659		5659		5659

		5660		5660		5660

		5661		5661		5661

		5662		5662		5662

		5663		5663		5663

		5664		5664		5664

		5665		5665		5665

		5666		5666		5666

		5667		5667		5667

		5668		5668		5668

		5669		5669		5669

		5670		5670		5670

		5671		5671		5671

		5672		5672		5672

		5673		5673		5673

		5674		5674		5674

		5675		5675		5675

		5676		5676		5676

		5677		5677		5677

		5678		5678		5678

		5679		5679		5679

		5680		5680		5680

		5681		5681		5681

		5682		5682		5682

		5683		5683		5683

		5684		5684		5684

		5685		5685		5685

		5686		5686		5686

		5687		5687		5687

		5688		5688		5688

		5689		5689		5689

		5690		5690		5690

		5691		5691		5691

		5692		5692		5692

		5693		5693		5693

		5694		5694		5694

		5695		5695		5695

		5696		5696		5696

		5697		5697		5697

		5698		5698		5698

		5699		5699		5699

		5700		5700		5700

		5701		5701		5701

		5702		5702		5702

		5703		5703		5703

		5704		5704		5704

		5705		5705		5705

		5706		5706		5706

		5707		5707		5707

		5708		5708		5708

		5709		5709		5709

		5710		5710		5710

		5711		5711		5711

		5712		5712		5712

		5713		5713		5713

		5714		5714		5714

		5715		5715		5715

		5716		5716		5716

		5717		5717		5717

		5718		5718		5718

		5719		5719		5719

		5720		5720		5720

		5721		5721		5721

		5722		5722		5722

		5723		5723		5723

		5724		5724		5724

		5725		5725		5725

		5726		5726		5726

		5727		5727		5727

		5728		5728		5728

		5729		5729		5729

		5730		5730		5730

		5731		5731		5731

		5732		5732		5732

		5733		5733		5733

		5734		5734		5734

		5735		5735		5735

		5736		5736		5736

		5737		5737		5737

		5738		5738		5738

		5739		5739		5739

		5740		5740		5740

		5741		5741		5741

		5742		5742		5742

		5743		5743		5743

		5744		5744		5744

		5745		5745		5745

		5746		5746		5746

		5747		5747		5747

		5748		5748		5748

		5749		5749		5749

		5750		5750		5750

		5751		5751		5751

		5752		5752		5752

		5753		5753		5753

		5754		5754		5754

		5755		5755		5755

		5756		5756		5756

		5757		5757		5757

		5758		5758		5758

		5759		5759		5759

		5760		5760		5760

		5761		5761		5761

		5762		5762		5762

		5763		5763		5763

		5764		5764		5764

		5765		5765		5765

		5766		5766		5766

		5767		5767		5767

		5768		5768		5768

		5769		5769		5769

		5770		5770		5770

		5771		5771		5771

		5772		5772		5772

		5773		5773		5773

		5774		5774		5774

		5775		5775		5775

		5776		5776		5776

		5777		5777		5777

		5778		5778		5778

		5779		5779		5779

		5780		5780		5780

		5781		5781		5781

		5782		5782		5782

		5783		5783		5783

		5784		5784		5784

		5785		5785		5785

		5786		5786		5786

		5787		5787		5787

		5788		5788		5788

		5789		5789		5789

		5790		5790		5790

		5791		5791		5791

		5792		5792		5792

		5793		5793		5793

		5794		5794		5794

		5795		5795		5795

		5796		5796		5796

		5797		5797		5797

		5798		5798		5798

		5799		5799		5799

		5800		5800		5800

		5801		5801		5801

		5802		5802		5802

		5803		5803		5803

		5804		5804		5804

		5805		5805		5805

		5806		5806		5806

		5807		5807		5807

		5808		5808		5808

		5809		5809		5809

		5810		5810		5810

		5811		5811		5811

		5812		5812		5812

		5813		5813		5813

		5814		5814		5814

		5815		5815		5815

		5816		5816		5816

		5817		5817		5817

		5818		5818		5818

		5819		5819		5819

		5820		5820		5820

		5821		5821		5821

		5822		5822		5822

		5823		5823		5823

		5824		5824		5824

		5825		5825		5825

		5826		5826		5826

		5827		5827		5827

		5828		5828		5828

		5829		5829		5829

		5830		5830		5830

		5831		5831		5831

		5832		5832		5832

		5833		5833		5833

		5834		5834		5834

		5835		5835		5835

		5836		5836		5836

		5837		5837		5837

		5838		5838		5838

		5839		5839		5839

		5840		5840		5840

		5841		5841		5841

		5842		5842		5842

		5843		5843		5843

		5844		5844		5844

		5845		5845		5845

		5846		5846		5846

		5847		5847		5847

		5848		5848		5848

		5849		5849		5849

		5850		5850		5850

		5851		5851		5851

		5852		5852		5852

		5853		5853		5853

		5854		5854		5854

		5855		5855		5855

		5856		5856		5856

		5857		5857		5857

		5858		5858		5858

		5859		5859		5859

		5860		5860		5860

		5861		5861		5861

		5862		5862		5862

		5863		5863		5863

		5864		5864		5864

		5865		5865		5865

		5866		5866		5866

		5867		5867		5867

		5868		5868		5868

		5869		5869		5869

		5870		5870		5870

		5871		5871		5871

		5872		5872		5872

		5873		5873		5873

		5874		5874		5874

		5875		5875		5875

		5876		5876		5876

		5877		5877		5877

		5878		5878		5878

		5879		5879		5879

		5880		5880		5880

		5881		5881		5881

		5882		5882		5882

		5883		5883		5883

		5884		5884		5884

		5885		5885		5885

		5886		5886		5886

		5887		5887		5887

		5888		5888		5888

		5889		5889		5889

		5890		5890		5890

		5891		5891		5891

		5892		5892		5892

		5893		5893		5893

		5894		5894		5894

		5895		5895		5895

		5896		5896		5896

		5897		5897		5897

		5898		5898		5898

		5899		5899		5899

		5900		5900		5900

		5901		5901		5901

		5902		5902		5902

		5903		5903		5903

		5904		5904		5904

		5905		5905		5905

		5906		5906		5906

		5907		5907		5907

		5908		5908		5908

		5909		5909		5909

		5910		5910		5910

		5911		5911		5911

		5912		5912		5912

		5913		5913		5913

		5914		5914		5914

		5915		5915		5915

		5916		5916		5916

		5917		5917		5917

		5918		5918		5918

		5919		5919		5919

		5920		5920		5920

		5921		5921		5921

		5922		5922		5922

		5923		5923		5923

		5924		5924		5924

		5925		5925		5925

		5926		5926		5926

		5927		5927		5927

		5928		5928		5928

		5929		5929		5929

		5930		5930		5930

		5931		5931		5931

		5932		5932		5932

		5933		5933		5933

		5934		5934		5934

		5935		5935		5935

		5936		5936		5936

		5937		5937		5937

		5938		5938		5938

		5939		5939		5939

		5940		5940		5940

		5941		5941		5941

		5942		5942		5942

		5943		5943		5943

		5944		5944		5944

		5945		5945		5945

		5946		5946		5946

		5947		5947		5947

		5948		5948		5948

		5949		5949		5949

		5950		5950		5950

		5951		5951		5951

		5952		5952		5952

		5953		5953		5953

		5954		5954		5954

		5955		5955		5955

		5956		5956		5956

		5957		5957		5957

		5958		5958		5958

		5959		5959		5959

		5960		5960		5960

		5961		5961		5961

		5962		5962		5962

		5963		5963		5963

		5964		5964		5964

		5965		5965		5965

		5966		5966		5966

		5967		5967		5967

		5968		5968		5968

		5969		5969		5969

		5970		5970		5970

		5971		5971		5971

		5972		5972		5972

		5973		5973		5973

		5974		5974		5974

		5975		5975		5975

		5976		5976		5976

		5977		5977		5977

		5978		5978		5978

		5979		5979		5979

		5980		5980		5980

		5981		5981		5981

		5982		5982		5982

		5983		5983		5983

		5984		5984		5984

		5985		5985		5985

		5986		5986		5986

		5987		5987		5987

		5988		5988		5988

		5989		5989		5989

		5990		5990		5990

		5991		5991		5991

		5992		5992		5992

		5993		5993		5993

		5994		5994		5994

		5995		5995		5995

		5996		5996		5996

		5997		5997		5997

		5998		5998		5998

		5999		5999		5999

		6000		6000		6000

		6001		6001		6001

		6002		6002		6002

		6003		6003		6003

		6004		6004		6004

		6005		6005		6005

		6006		6006		6006

		6007		6007		6007

		6008		6008		6008

		6009		6009		6009

		6010		6010		6010

		6011		6011		6011

		6012		6012		6012

		6013		6013		6013

		6014		6014		6014

		6015		6015		6015

		6016		6016		6016

		6017		6017		6017

		6018		6018		6018

		6019		6019		6019

		6020		6020		6020

		6021		6021		6021

		6022		6022		6022

		6023		6023		6023

		6024		6024		6024

		6025		6025		6025

		6026		6026		6026

		6027		6027		6027

		6028		6028		6028

		6029		6029		6029

		6030		6030		6030

		6031		6031		6031

		6032		6032		6032

		6033		6033		6033

		6034		6034		6034

		6035		6035		6035

		6036		6036		6036

		6037		6037		6037

		6038		6038		6038

		6039		6039		6039

		6040		6040		6040

		6041		6041		6041

		6042		6042		6042

		6043		6043		6043

		6044		6044		6044

		6045		6045		6045

		6046		6046		6046

		6047		6047		6047

		6048		6048		6048

		6049		6049		6049

		6050		6050		6050

		6051		6051		6051

		6052		6052		6052

		6053		6053		6053

		6054		6054		6054

		6055		6055		6055

		6056		6056		6056

		6057		6057		6057

		6058		6058		6058

		6059		6059		6059

		6060		6060		6060

		6061		6061		6061

		6062		6062		6062

		6063		6063		6063

		6064		6064		6064

		6065		6065		6065

		6066		6066		6066

		6067		6067		6067

		6068		6068		6068

		6069		6069		6069

		6070		6070		6070

		6071		6071		6071

		6072		6072		6072

		6073		6073		6073

		6074		6074		6074

		6075		6075		6075

		6076		6076		6076

		6077		6077		6077

		6078		6078		6078

		6079		6079		6079

		6080		6080		6080

		6081		6081		6081

		6082		6082		6082

		6083		6083		6083

		6084		6084		6084

		6085		6085		6085

		6086		6086		6086

		6087		6087		6087

		6088		6088		6088

		6089		6089		6089

		6090		6090		6090

		6091		6091		6091

		6092		6092		6092

		6093		6093		6093

		6094		6094		6094

		6095		6095		6095

		6096		6096		6096

		6097		6097		6097

		6098		6098		6098

		6099		6099		6099

		6100		6100		6100

		6101		6101		6101

		6102		6102		6102

		6103		6103		6103

		6104		6104		6104

		6105		6105		6105

		6106		6106		6106

		6107		6107		6107

		6108		6108		6108

		6109		6109		6109

		6110		6110		6110

		6111		6111		6111

		6112		6112		6112

		6113		6113		6113

		6114		6114		6114

		6115		6115		6115

		6116		6116		6116

		6117		6117		6117

		6118		6118		6118

		6119		6119		6119

		6120		6120		6120

		6121		6121		6121

		6122		6122		6122

		6123		6123		6123

		6124		6124		6124

		6125		6125		6125

		6126		6126		6126

		6127		6127		6127

		6128		6128		6128

		6129		6129		6129

		6130		6130		6130

		6131		6131		6131

		6132		6132		6132

		6133		6133		6133

		6134		6134		6134

		6135		6135		6135

		6136		6136		6136

		6137		6137		6137

		6138		6138		6138

		6139		6139		6139

		6140		6140		6140

		6141		6141		6141

		6142		6142		6142

		6143		6143		6143

		6144		6144		6144

		6145		6145		6145

		6146		6146		6146

		6147		6147		6147

		6148		6148		6148

		6149		6149		6149

		6150		6150		6150

		6151		6151		6151

		6152		6152		6152

		6153		6153		6153

		6154		6154		6154

		6155		6155		6155

		6156		6156		6156

		6157		6157		6157

		6158		6158		6158

		6159		6159		6159

		6160		6160		6160

		6161		6161		6161

		6162		6162		6162

		6163		6163		6163

		6164		6164		6164

		6165		6165		6165

		6166		6166		6166

		6167		6167		6167

		6168		6168		6168

		6169		6169		6169

		6170		6170		6170

		6171		6171		6171

		6172		6172		6172

		6173		6173		6173

		6174		6174		6174

		6175		6175		6175

		6176		6176		6176

		6177		6177		6177

		6178		6178		6178

		6179		6179		6179

		6180		6180		6180

		6181		6181		6181

		6182		6182		6182

		6183		6183		6183

		6184		6184		6184

		6185		6185		6185

		6186		6186		6186

		6187		6187		6187

		6188		6188		6188

		6189		6189		6189

		6190		6190		6190

		6191		6191		6191

		6192		6192		6192

		6193		6193		6193

		6194		6194		6194

		6195		6195		6195

		6196		6196		6196

		6197		6197		6197

		6198		6198		6198

		6199		6199		6199

		6200		6200		6200

		6201		6201		6201

		6202		6202		6202

		6203		6203		6203

		6204		6204		6204

		6205		6205		6205

		6206		6206		6206

		6207		6207		6207

		6208		6208		6208

		6209		6209		6209

		6210		6210		6210

		6211		6211		6211

		6212		6212		6212

		6213		6213		6213

		6214		6214		6214

		6215		6215		6215

		6216		6216		6216

		6217		6217		6217

		6218		6218		6218

		6219		6219		6219

		6220		6220		6220

		6221		6221		6221

		6222		6222		6222

		6223		6223		6223

		6224		6224		6224

		6225		6225		6225

		6226		6226		6226

		6227		6227		6227

		6228		6228		6228

		6229		6229		6229

		6230		6230		6230

		6231		6231		6231

		6232		6232		6232

		6233		6233		6233

		6234		6234		6234

		6235		6235		6235

		6236		6236		6236

		6237		6237		6237

		6238		6238		6238

		6239		6239		6239

		6240		6240		6240

		6241		6241		6241

		6242		6242		6242

		6243		6243		6243

		6244		6244		6244

		6245		6245		6245

		6246		6246		6246

		6247		6247		6247

		6248		6248		6248

		6249		6249		6249

		6250		6250		6250

		6251		6251		6251

		6252		6252		6252

		6253		6253		6253

		6254		6254		6254

		6255		6255		6255

		6256		6256		6256

		6257		6257		6257

		6258		6258		6258

		6259		6259		6259

		6260		6260		6260

		6261		6261		6261

		6262		6262		6262

		6263		6263		6263

		6264		6264		6264

		6265		6265		6265

		6266		6266		6266

		6267		6267		6267

		6268		6268		6268

		6269		6269		6269

		6270		6270		6270

		6271		6271		6271

		6272		6272		6272

		6273		6273		6273

		6274		6274		6274

		6275		6275		6275

		6276		6276		6276

		6277		6277		6277

		6278		6278		6278

		6279		6279		6279

		6280		6280		6280

		6281		6281		6281

		6282		6282		6282

		6283		6283		6283

		6284		6284		6284

		6285		6285		6285

		6286		6286		6286

		6287		6287		6287

		6288		6288		6288

		6289		6289		6289

		6290		6290		6290

		6291		6291		6291

		6292		6292		6292

		6293		6293		6293

		6294		6294		6294

		6295		6295		6295

		6296		6296		6296

		6297		6297		6297

		6298		6298		6298

		6299		6299		6299

		6300		6300		6300

		6301		6301		6301

		6302		6302		6302

		6303		6303		6303

		6304		6304		6304

		6305		6305		6305

		6306		6306		6306

		6307		6307		6307

		6308		6308		6308

		6309		6309		6309

		6310		6310		6310

		6311		6311		6311

		6312		6312		6312

		6313		6313		6313

		6314		6314		6314

		6315		6315		6315

		6316		6316		6316

		6317		6317		6317

		6318		6318		6318

		6319		6319		6319

		6320		6320		6320

		6321		6321		6321

		6322		6322		6322

		6323		6323		6323

		6324		6324		6324

		6325		6325		6325

		6326		6326		6326

		6327		6327		6327

		6328		6328		6328

		6329		6329		6329

		6330		6330		6330

		6331		6331		6331

		6332		6332		6332

		6333		6333		6333

		6334		6334		6334

		6335		6335		6335

		6336		6336		6336

		6337		6337		6337

		6338		6338		6338

		6339		6339		6339

		6340		6340		6340

		6341		6341		6341

		6342		6342		6342

		6343		6343		6343

		6344		6344		6344

		6345		6345		6345

		6346		6346		6346

		6347		6347		6347

		6348		6348		6348

		6349		6349		6349

		6350		6350		6350

		6351		6351		6351

		6352		6352		6352

		6353		6353		6353

		6354		6354		6354

		6355		6355		6355

		6356		6356		6356

		6357		6357		6357

		6358		6358		6358

		6359		6359		6359

		6360		6360		6360

		6361		6361		6361

		6362		6362		6362

		6363		6363		6363

		6364		6364		6364

		6365		6365		6365

		6366		6366		6366

		6367		6367		6367

		6368		6368		6368

		6369		6369		6369

		6370		6370		6370

		6371		6371		6371

		6372		6372		6372

		6373		6373		6373

		6374		6374		6374

		6375		6375		6375

		6376		6376		6376

		6377		6377		6377

		6378		6378		6378

		6379		6379		6379

		6380		6380		6380

		6381		6381		6381

		6382		6382		6382

		6383		6383		6383

		6384		6384		6384

		6385		6385		6385

		6386		6386		6386

		6387		6387		6387

		6388		6388		6388

		6389		6389		6389

		6390		6390		6390

		6391		6391		6391

		6392		6392		6392

		6393		6393		6393

		6394		6394		6394

		6395		6395		6395

		6396		6396		6396

		6397		6397		6397

		6398		6398		6398

		6399		6399		6399

		6400		6400		6400

		6401		6401		6401

		6402		6402		6402

		6403		6403		6403

		6404		6404		6404

		6405		6405		6405

		6406		6406		6406

		6407		6407		6407

		6408		6408		6408

		6409		6409		6409

		6410		6410		6410

		6411		6411		6411

		6412		6412		6412

		6413		6413		6413

		6414		6414		6414

		6415		6415		6415

		6416		6416		6416

		6417		6417		6417

		6418		6418		6418

		6419		6419		6419

		6420		6420		6420

		6421		6421		6421

		6422		6422		6422

		6423		6423		6423

		6424		6424		6424

		6425		6425		6425

		6426		6426		6426

		6427		6427		6427

		6428		6428		6428

		6429		6429		6429

		6430		6430		6430

		6431		6431		6431

		6432		6432		6432

		6433		6433		6433

		6434		6434		6434

		6435		6435		6435

		6436		6436		6436

		6437		6437		6437

		6438		6438		6438

		6439		6439		6439

		6440		6440		6440

		6441		6441		6441

		6442		6442		6442

		6443		6443		6443

		6444		6444		6444

		6445		6445		6445

		6446		6446		6446

		6447		6447		6447

		6448		6448		6448

		6449		6449		6449

		6450		6450		6450

		6451		6451		6451

		6452		6452		6452

		6453		6453		6453

		6454		6454		6454

		6455		6455		6455

		6456		6456		6456

		6457		6457		6457

		6458		6458		6458

		6459		6459		6459

		6460		6460		6460

		6461		6461		6461

		6462		6462		6462

		6463		6463		6463

		6464		6464		6464

		6465		6465		6465

		6466		6466		6466

		6467		6467		6467

		6468		6468		6468

		6469		6469		6469

		6470		6470		6470

		6471		6471		6471

		6472		6472		6472

		6473		6473		6473

		6474		6474		6474

		6475		6475		6475

		6476		6476		6476

		6477		6477		6477

		6478		6478		6478

		6479		6479		6479

		6480		6480		6480

		6481		6481		6481

		6482		6482		6482

		6483		6483		6483

		6484		6484		6484

		6485		6485		6485

		6486		6486		6486

		6487		6487		6487

		6488		6488		6488

		6489		6489		6489

		6490		6490		6490

		6491		6491		6491

		6492		6492		6492

		6493		6493		6493

		6494		6494		6494

		6495		6495		6495

		6496		6496		6496

		6497		6497		6497

		6498		6498		6498

		6499		6499		6499

		6500		6500		6500

		6501		6501		6501

		6502		6502		6502

		6503		6503		6503

		6504		6504		6504

		6505		6505		6505

		6506		6506		6506

		6507		6507		6507

		6508		6508		6508

		6509		6509		6509

		6510		6510		6510

		6511		6511		6511

		6512		6512		6512

		6513		6513		6513

		6514		6514		6514

		6515		6515		6515

		6516		6516		6516

		6517		6517		6517

		6518		6518		6518

		6519		6519		6519

		6520		6520		6520

		6521		6521		6521

		6522		6522		6522

		6523		6523		6523

		6524		6524		6524

		6525		6525		6525

		6526		6526		6526

		6527		6527		6527

		6528		6528		6528

		6529		6529		6529

		6530		6530		6530

		6531		6531		6531

		6532		6532		6532

		6533		6533		6533

		6534		6534		6534

		6535		6535		6535

		6536		6536		6536

		6537		6537		6537

		6538		6538		6538

		6539		6539		6539

		6540		6540		6540

		6541		6541		6541

		6542		6542		6542

		6543		6543		6543

		6544		6544		6544

		6545		6545		6545

		6546		6546		6546

		6547		6547		6547

		6548		6548		6548

		6549		6549		6549

		6550		6550		6550

		6551		6551		6551

		6552		6552		6552

		6553		6553		6553

		6554		6554		6554

		6555		6555		6555

		6556		6556		6556

		6557		6557		6557

		6558		6558		6558

		6559		6559		6559

		6560		6560		6560

		6561		6561		6561

		6562		6562		6562

		6563		6563		6563

		6564		6564		6564

		6565		6565		6565

		6566		6566		6566

		6567		6567		6567

		6568		6568		6568

		6569		6569		6569

		6570		6570		6570

		6571		6571		6571

		6572		6572		6572

		6573		6573		6573

		6574		6574		6574

		6575		6575		6575

		6576		6576		6576

		6577		6577		6577

		6578		6578		6578

		6579		6579		6579

		6580		6580		6580

		6581		6581		6581

		6582		6582		6582

		6583		6583		6583

		6584		6584		6584

		6585		6585		6585

		6586		6586		6586

		6587		6587		6587

		6588		6588		6588

		6589		6589		6589

		6590		6590		6590

		6591		6591		6591

		6592		6592		6592

		6593		6593		6593

		6594		6594		6594

		6595		6595		6595

		6596		6596		6596

		6597		6597		6597

		6598		6598		6598

		6599		6599		6599

		6600		6600		6600

		6601		6601		6601

		6602		6602		6602

		6603		6603		6603

		6604		6604		6604

		6605		6605		6605

		6606		6606		6606

		6607		6607		6607

		6608		6608		6608

		6609		6609		6609

		6610		6610		6610

		6611		6611		6611

		6612		6612		6612

		6613		6613		6613

		6614		6614		6614

		6615		6615		6615

		6616		6616		6616

		6617		6617		6617

		6618		6618		6618

		6619		6619		6619

		6620		6620		6620

		6621		6621		6621

		6622		6622		6622

		6623		6623		6623

		6624		6624		6624

		6625		6625		6625

		6626		6626		6626

		6627		6627		6627

		6628		6628		6628

		6629		6629		6629

		6630		6630		6630

		6631		6631		6631

		6632		6632		6632

		6633		6633		6633

		6634		6634		6634

		6635		6635		6635

		6636		6636		6636

		6637		6637		6637

		6638		6638		6638

		6639		6639		6639

		6640		6640		6640

		6641		6641		6641

		6642		6642		6642

		6643		6643		6643

		6644		6644		6644

		6645		6645		6645

		6646		6646		6646

		6647		6647		6647

		6648		6648		6648

		6649		6649		6649

		6650		6650		6650

		6651		6651		6651

		6652		6652		6652

		6653		6653		6653

		6654		6654		6654

		6655		6655		6655

		6656		6656		6656

		6657		6657		6657

		6658		6658		6658

		6659		6659		6659

		6660		6660		6660

		6661		6661		6661

		6662		6662		6662

		6663		6663		6663

		6664		6664		6664

		6665		6665		6665

		6666		6666		6666

		6667		6667		6667

		6668		6668		6668

		6669		6669		6669

		6670		6670		6670

		6671		6671		6671

		6672		6672		6672

		6673		6673		6673

		6674		6674		6674

		6675		6675		6675

		6676		6676		6676

		6677		6677		6677

		6678		6678		6678

		6679		6679		6679

		6680		6680		6680

		6681		6681		6681

		6682		6682		6682

		6683		6683		6683

		6684		6684		6684

		6685		6685		6685

		6686		6686		6686

		6687		6687		6687

		6688		6688		6688

		6689		6689		6689

		6690		6690		6690

		6691		6691		6691

		6692		6692		6692

		6693		6693		6693

		6694		6694		6694

		6695		6695		6695

		6696		6696		6696

		6697		6697		6697

		6698		6698		6698

		6699		6699		6699

		6700		6700		6700

		6701		6701		6701

		6702		6702		6702

		6703		6703		6703

		6704		6704		6704

		6705		6705		6705

		6706		6706		6706

		6707		6707		6707

		6708		6708		6708

		6709		6709		6709

		6710		6710		6710

		6711		6711		6711

		6712		6712		6712

		6713		6713		6713

		6714		6714		6714

		6715		6715		6715

		6716		6716		6716

		6717		6717		6717

		6718		6718		6718

		6719		6719		6719

		6720		6720		6720

		6721		6721		6721

		6722		6722		6722

		6723		6723		6723

		6724		6724		6724

		6725		6725		6725

		6726		6726		6726

		6727		6727		6727

		6728		6728		6728

		6729		6729		6729

		6730		6730		6730

		6731		6731		6731

		6732		6732		6732

		6733		6733		6733

		6734		6734		6734

		6735		6735		6735

		6736		6736		6736

		6737		6737		6737

		6738		6738		6738

		6739		6739		6739

		6740		6740		6740

		6741		6741		6741

		6742		6742		6742

		6743		6743		6743

		6744		6744		6744

		6745		6745		6745

		6746		6746		6746

		6747		6747		6747

		6748		6748		6748

		6749		6749		6749

		6750		6750		6750

		6751		6751		6751

		6752		6752		6752

		6753		6753		6753

		6754		6754		6754

		6755		6755		6755

		6756		6756		6756

		6757		6757		6757

		6758		6758		6758

		6759		6759		6759

		6760		6760		6760

		6761		6761		6761

		6762		6762		6762

		6763		6763		6763

		6764		6764		6764

		6765		6765		6765

		6766		6766		6766

		6767		6767		6767

		6768		6768		6768

		6769		6769		6769

		6770		6770		6770

		6771		6771		6771

		6772		6772		6772

		6773		6773		6773

		6774		6774		6774

		6775		6775		6775

		6776		6776		6776

		6777		6777		6777

		6778		6778		6778

		6779		6779		6779

		6780		6780		6780

		6781		6781		6781

		6782		6782		6782

		6783		6783		6783

		6784		6784		6784

		6785		6785		6785

		6786		6786		6786

		6787		6787		6787

		6788		6788		6788

		6789		6789		6789

		6790		6790		6790

		6791		6791		6791

		6792		6792		6792

		6793		6793		6793

		6794		6794		6794

		6795		6795		6795

		6796		6796		6796

		6797		6797		6797

		6798		6798		6798

		6799		6799		6799

		6800		6800		6800

		6801		6801		6801

		6802		6802		6802

		6803		6803		6803

		6804		6804		6804

		6805		6805		6805

		6806		6806		6806

		6807		6807		6807

		6808		6808		6808

		6809		6809		6809

		6810		6810		6810

		6811		6811		6811

		6812		6812		6812

		6813		6813		6813

		6814		6814		6814

		6815		6815		6815

		6816		6816		6816

		6817		6817		6817

		6818		6818		6818

		6819		6819		6819

		6820		6820		6820

		6821		6821		6821

		6822		6822		6822

		6823		6823		6823

		6824		6824		6824

		6825		6825		6825

		6826		6826		6826

		6827		6827		6827

		6828		6828		6828

		6829		6829		6829

		6830		6830		6830

		6831		6831		6831

		6832		6832		6832

		6833		6833		6833

		6834		6834		6834

		6835		6835		6835

		6836		6836		6836

		6837		6837		6837

		6838		6838		6838

		6839		6839		6839

		6840		6840		6840

		6841		6841		6841

		6842		6842		6842

		6843		6843		6843

		6844		6844		6844

		6845		6845		6845

		6846		6846		6846

		6847		6847		6847

		6848		6848		6848

		6849		6849		6849

		6850		6850		6850

		6851		6851		6851

		6852		6852		6852

		6853		6853		6853

		6854		6854		6854

		6855		6855		6855

		6856		6856		6856

		6857		6857		6857

		6858		6858		6858

		6859		6859		6859

		6860		6860		6860

		6861		6861		6861

		6862		6862		6862

		6863		6863		6863

		6864		6864		6864

		6865		6865		6865

		6866		6866		6866

		6867		6867		6867

		6868		6868		6868

		6869		6869		6869

		6870		6870		6870

		6871		6871		6871

		6872		6872		6872

		6873		6873		6873

		6874		6874		6874

		6875		6875		6875

		6876		6876		6876

		6877		6877		6877

		6878		6878		6878

		6879		6879		6879

		6880		6880		6880

		6881		6881		6881

		6882		6882		6882

		6883		6883		6883

		6884		6884		6884

		6885		6885		6885

		6886		6886		6886

		6887		6887		6887

		6888		6888		6888

		6889		6889		6889

		6890		6890		6890

		6891		6891		6891

		6892		6892		6892

		6893		6893		6893

		6894		6894		6894

		6895		6895		6895

		6896		6896		6896

		6897		6897		6897

		6898		6898		6898

		6899		6899		6899

		6900		6900		6900

		6901		6901		6901

		6902		6902		6902

		6903		6903		6903

		6904		6904		6904

		6905		6905		6905

		6906		6906		6906

		6907		6907		6907

		6908		6908		6908

		6909		6909		6909

		6910		6910		6910

		6911		6911		6911

		6912		6912		6912

		6913		6913		6913

		6914		6914		6914

		6915		6915		6915

		6916		6916		6916

		6917		6917		6917

		6918		6918		6918

		6919		6919		6919

		6920		6920		6920

		6921		6921		6921

		6922		6922		6922

		6923		6923		6923

		6924		6924		6924

		6925		6925		6925

		6926		6926		6926

		6927		6927		6927

		6928		6928		6928

		6929		6929		6929

		6930		6930		6930

		6931		6931		6931

		6932		6932		6932

		6933		6933		6933

		6934		6934		6934

		6935		6935		6935

		6936		6936		6936

		6937		6937		6937

		6938		6938		6938

		6939		6939		6939

		6940		6940		6940

		6941		6941		6941

		6942		6942		6942

		6943		6943		6943

		6944		6944		6944

		6945		6945		6945

		6946		6946		6946

		6947		6947		6947

		6948		6948		6948

		6949		6949		6949

		6950		6950		6950

		6951		6951		6951

		6952		6952		6952

		6953		6953		6953

		6954		6954		6954

		6955		6955		6955

		6956		6956		6956

		6957		6957		6957

		6958		6958		6958

		6959		6959		6959

		6960		6960		6960

		6961		6961		6961

		6962		6962		6962

		6963		6963		6963

		6964		6964		6964

		6965		6965		6965

		6966		6966		6966

		6967		6967		6967

		6968		6968		6968

		6969		6969		6969

		6970		6970		6970

		6971		6971		6971

		6972		6972		6972

		6973		6973		6973

		6974		6974		6974

		6975		6975		6975

		6976		6976		6976

		6977		6977		6977

		6978		6978		6978

		6979		6979		6979

		6980		6980		6980

		6981		6981		6981

		6982		6982		6982

		6983		6983		6983

		6984		6984		6984

		6985		6985		6985

		6986		6986		6986

		6987		6987		6987

		6988		6988		6988

		6989		6989		6989

		6990		6990		6990

		6991		6991		6991

		6992		6992		6992

		6993		6993		6993

		6994		6994		6994

		6995		6995		6995

		6996		6996		6996

		6997		6997		6997

		6998		6998		6998

		6999		6999		6999

		7000		7000		7000

		7001		7001		7001

		7002		7002		7002

		7003		7003		7003

		7004		7004		7004

		7005		7005		7005

		7006		7006		7006

		7007		7007		7007

		7008		7008		7008

		7009		7009		7009

		7010		7010		7010

		7011		7011		7011

		7012		7012		7012

		7013		7013		7013

		7014		7014		7014

		7015		7015		7015

		7016		7016		7016

		7017		7017		7017

		7018		7018		7018

		7019		7019		7019

		7020		7020		7020

		7021		7021		7021

		7022		7022		7022

		7023		7023		7023

		7024		7024		7024

		7025		7025		7025

		7026		7026		7026

		7027		7027		7027

		7028		7028		7028

		7029		7029		7029

		7030		7030		7030

		7031		7031		7031

		7032		7032		7032

		7033		7033		7033

		7034		7034		7034

		7035		7035		7035

		7036		7036		7036

		7037		7037		7037

		7038		7038		7038

		7039		7039		7039

		7040		7040		7040

		7041		7041		7041

		7042		7042		7042

		7043		7043		7043

		7044		7044		7044

		7045		7045		7045

		7046		7046		7046

		7047		7047		7047

		7048		7048		7048

		7049		7049		7049

		7050		7050		7050

		7051		7051		7051

		7052		7052		7052

		7053		7053		7053

		7054		7054		7054

		7055		7055		7055

		7056		7056		7056

		7057		7057		7057

		7058		7058		7058

		7059		7059		7059

		7060		7060		7060

		7061		7061		7061

		7062		7062		7062

		7063		7063		7063

		7064		7064		7064

		7065		7065		7065

		7066		7066		7066

		7067		7067		7067

		7068		7068		7068

		7069		7069		7069

		7070		7070		7070

		7071		7071		7071

		7072		7072		7072

		7073		7073		7073

		7074		7074		7074

		7075		7075		7075

		7076		7076		7076

		7077		7077		7077

		7078		7078		7078

		7079		7079		7079

		7080		7080		7080

		7081		7081		7081

		7082		7082		7082

		7083		7083		7083

		7084		7084		7084

		7085		7085		7085

		7086		7086		7086

		7087		7087		7087

		7088		7088		7088

		7089		7089		7089

		7090		7090		7090

		7091		7091		7091

		7092		7092		7092

		7093		7093		7093

		7094		7094		7094

		7095		7095		7095

		7096		7096		7096

		7097		7097		7097

		7098		7098		7098

		7099		7099		7099

		7100		7100		7100

		7101		7101		7101

		7102		7102		7102

		7103		7103		7103

		7104		7104		7104

		7105		7105		7105

		7106		7106		7106

		7107		7107		7107

		7108		7108		7108

		7109		7109		7109

		7110		7110		7110

		7111		7111		7111

		7112		7112		7112

		7113		7113		7113

		7114		7114		7114

		7115		7115		7115

		7116		7116		7116

		7117		7117		7117

		7118		7118		7118

		7119		7119		7119

		7120		7120		7120

		7121		7121		7121

		7122		7122		7122

		7123		7123		7123

		7124		7124		7124

		7125		7125		7125

		7126		7126		7126

		7127		7127		7127

		7128		7128		7128

		7129		7129		7129

		7130		7130		7130

		7131		7131		7131

		7132		7132		7132

		7133		7133		7133

		7134		7134		7134

		7135		7135		7135

		7136		7136		7136

		7137		7137		7137

		7138		7138		7138

		7139		7139		7139

		7140		7140		7140

		7141		7141		7141

		7142		7142		7142

		7143		7143		7143

		7144		7144		7144

		7145		7145		7145

		7146		7146		7146

		7147		7147		7147

		7148		7148		7148

		7149		7149		7149

		7150		7150		7150

		7151		7151		7151

		7152		7152		7152

		7153		7153		7153

		7154		7154		7154

		7155		7155		7155

		7156		7156		7156

		7157		7157		7157

		7158		7158		7158

		7159		7159		7159

		7160		7160		7160

		7161		7161		7161

		7162		7162		7162

		7163		7163		7163

		7164		7164		7164

		7165		7165		7165

		7166		7166		7166

		7167		7167		7167

		7168		7168		7168

		7169		7169		7169

		7170		7170		7170

		7171		7171		7171

		7172		7172		7172

		7173		7173		7173

		7174		7174		7174

		7175		7175		7175

		7176		7176		7176

		7177		7177		7177

		7178		7178		7178

		7179		7179		7179

		7180		7180		7180

		7181		7181		7181

		7182		7182		7182

		7183		7183		7183

		7184		7184		7184

		7185		7185		7185

		7186		7186		7186

		7187		7187		7187

		7188		7188		7188

		7189		7189		7189

		7190		7190		7190

		7191		7191		7191

		7192		7192		7192

		7193		7193		7193

		7194		7194		7194

		7195		7195		7195

		7196		7196		7196

		7197		7197		7197

		7198		7198		7198

		7199		7199		7199

		7200		7200		7200

		7201		7201		7201

		7202		7202		7202

		7203		7203		7203

		7204		7204		7204

		7205		7205		7205

		7206		7206		7206

		7207		7207		7207

		7208		7208		7208

		7209		7209		7209

		7210		7210		7210

		7211		7211		7211

		7212		7212		7212

		7213		7213		7213

		7214		7214		7214

		7215		7215		7215

		7216		7216		7216

		7217		7217		7217

		7218		7218		7218

		7219		7219		7219

		7220		7220		7220

		7221		7221		7221

		7222		7222		7222

		7223		7223		7223

		7224		7224		7224

		7225		7225		7225

		7226		7226		7226

		7227		7227		7227

		7228		7228		7228

		7229		7229		7229

		7230		7230		7230

		7231		7231		7231

		7232		7232		7232

		7233		7233		7233

		7234		7234		7234

		7235		7235		7235

		7236		7236		7236

		7237		7237		7237

		7238		7238		7238

		7239		7239		7239

		7240		7240		7240

		7241		7241		7241

		7242		7242		7242

		7243		7243		7243

		7244		7244		7244

		7245		7245		7245

		7246		7246		7246

		7247		7247		7247

		7248		7248		7248

		7249		7249		7249

		7250		7250		7250

		7251		7251		7251

		7252		7252		7252

		7253		7253		7253

		7254		7254		7254

		7255		7255		7255

		7256		7256		7256

		7257		7257		7257

		7258		7258		7258

		7259		7259		7259

		7260		7260		7260

		7261		7261		7261

		7262		7262		7262

		7263		7263		7263

		7264		7264		7264

		7265		7265		7265

		7266		7266		7266

		7267		7267		7267

		7268		7268		7268

		7269		7269		7269

		7270		7270		7270

		7271		7271		7271

		7272		7272		7272

		7273		7273		7273

		7274		7274		7274

		7275		7275		7275

		7276		7276		7276

		7277		7277		7277

		7278		7278		7278

		7279		7279		7279

		7280		7280		7280

		7281		7281		7281

		7282		7282		7282

		7283		7283		7283

		7284		7284		7284

		7285		7285		7285

		7286		7286		7286

		7287		7287		7287

		7288		7288		7288

		7289		7289		7289

		7290		7290		7290

		7291		7291		7291

		7292		7292		7292

		7293		7293		7293

		7294		7294		7294

		7295		7295		7295

		7296		7296		7296

		7297		7297		7297

		7298		7298		7298

		7299		7299		7299

		7300		7300		7300

		7301		7301		7301

		7302		7302		7302

		7303		7303		7303

		7304		7304		7304

		7305		7305		7305

		7306		7306		7306

		7307		7307		7307

		7308		7308		7308

		7309		7309		7309

		7310		7310		7310

		7311		7311		7311

		7312		7312		7312

		7313		7313		7313

		7314		7314		7314

		7315		7315		7315

		7316		7316		7316

		7317		7317		7317

		7318		7318		7318

		7319		7319		7319

		7320		7320		7320

		7321		7321		7321

		7322		7322		7322

		7323		7323		7323

		7324		7324		7324

		7325		7325		7325

		7326		7326		7326

		7327		7327		7327

		7328		7328		7328

		7329		7329		7329

		7330		7330		7330

		7331		7331		7331

		7332		7332		7332

		7333		7333		7333

		7334		7334		7334

		7335		7335		7335

		7336		7336		7336

		7337		7337		7337

		7338		7338		7338

		7339		7339		7339

		7340		7340		7340

		7341		7341		7341

		7342		7342		7342

		7343		7343		7343

		7344		7344		7344

		7345		7345		7345

		7346		7346		7346

		7347		7347		7347

		7348		7348		7348

		7349		7349		7349

		7350		7350		7350

		7351		7351		7351

		7352		7352		7352

		7353		7353		7353

		7354		7354		7354

		7355		7355		7355

		7356		7356		7356

		7357		7357		7357

		7358		7358		7358

		7359		7359		7359

		7360		7360		7360

		7361		7361		7361

		7362		7362		7362

		7363		7363		7363

		7364		7364		7364

		7365		7365		7365

		7366		7366		7366

		7367		7367		7367

		7368		7368		7368

		7369		7369		7369

		7370		7370		7370

		7371		7371		7371

		7372		7372		7372

		7373		7373		7373

		7374		7374		7374

		7375		7375		7375

		7376		7376		7376

		7377		7377		7377

		7378		7378		7378

		7379		7379		7379

		7380		7380		7380

		7381		7381		7381

		7382		7382		7382

		7383		7383		7383

		7384		7384		7384

		7385		7385		7385

		7386		7386		7386

		7387		7387		7387

		7388		7388		7388

		7389		7389		7389

		7390		7390		7390

		7391		7391		7391

		7392		7392		7392

		7393		7393		7393

		7394		7394		7394

		7395		7395		7395

		7396		7396		7396

		7397		7397		7397

		7398		7398		7398

		7399		7399		7399

		7400		7400		7400

		7401		7401		7401

		7402		7402		7402

		7403		7403		7403

		7404		7404		7404

		7405		7405		7405

		7406		7406		7406

		7407		7407		7407

		7408		7408		7408

		7409		7409		7409

		7410		7410		7410

		7411		7411		7411

		7412		7412		7412

		7413		7413		7413

		7414		7414		7414

		7415		7415		7415

		7416		7416		7416

		7417		7417		7417

		7418		7418		7418

		7419		7419		7419

		7420		7420		7420

		7421		7421		7421

		7422		7422		7422

		7423		7423		7423

		7424		7424		7424

		7425		7425		7425

		7426		7426		7426

		7427		7427		7427

		7428		7428		7428

		7429		7429		7429

		7430		7430		7430

		7431		7431		7431

		7432		7432		7432

		7433		7433		7433

		7434		7434		7434

		7435		7435		7435

		7436		7436		7436

		7437		7437		7437

		7438		7438		7438

		7439		7439		7439

		7440		7440		7440

		7441		7441		7441

		7442		7442		7442

		7443		7443		7443

		7444		7444		7444

		7445		7445		7445

		7446		7446		7446

		7447		7447		7447

		7448		7448		7448

		7449		7449		7449

		7450		7450		7450

		7451		7451		7451

		7452		7452		7452

		7453		7453		7453

		7454		7454		7454

		7455		7455		7455

		7456		7456		7456

		7457		7457		7457

		7458		7458		7458

		7459		7459		7459

		7460		7460		7460

		7461		7461		7461

		7462		7462		7462

		7463		7463		7463

		7464		7464		7464

		7465		7465		7465

		7466		7466		7466

		7467		7467		7467

		7468		7468		7468

		7469		7469		7469

		7470		7470		7470

		7471		7471		7471

		7472		7472		7472

		7473		7473		7473

		7474		7474		7474

		7475		7475		7475

		7476		7476		7476

		7477		7477		7477

		7478		7478		7478

		7479		7479		7479

		7480		7480		7480

		7481		7481		7481

		7482		7482		7482

		7483		7483		7483

		7484		7484		7484

		7485		7485		7485

		7486		7486		7486

		7487		7487		7487

		7488		7488		7488

		7489		7489		7489

		7490		7490		7490

		7491		7491		7491

		7492		7492		7492

		7493		7493		7493

		7494		7494		7494

		7495		7495		7495

		7496		7496		7496

		7497		7497		7497

		7498		7498		7498

		7499		7499		7499

		7500		7500		7500

		7501		7501		7501

		7502		7502		7502

		7503		7503		7503

		7504		7504		7504

		7505		7505		7505

		7506		7506		7506

		7507		7507		7507

		7508		7508		7508

		7509		7509		7509

		7510		7510		7510

		7511		7511		7511

		7512		7512		7512

		7513		7513		7513

		7514		7514		7514

		7515		7515		7515

		7516		7516		7516

		7517		7517		7517

		7518		7518		7518

		7519		7519		7519

		7520		7520		7520

		7521		7521		7521

		7522		7522		7522

		7523		7523		7523

		7524		7524		7524

		7525		7525		7525

		7526		7526		7526

		7527		7527		7527

		7528		7528		7528

		7529		7529		7529

		7530		7530		7530

		7531		7531		7531

		7532		7532		7532

		7533		7533		7533

		7534		7534		7534

		7535		7535		7535

		7536		7536		7536

		7537		7537		7537

		7538		7538		7538

		7539		7539		7539

		7540		7540		7540

		7541		7541		7541

		7542		7542		7542

		7543		7543		7543

		7544		7544		7544

		7545		7545		7545

		7546		7546		7546

		7547		7547		7547

		7548		7548		7548

		7549		7549		7549

		7550		7550		7550

		7551		7551		7551

		7552		7552		7552

		7553		7553		7553

		7554		7554		7554

		7555		7555		7555

		7556		7556		7556

		7557		7557		7557

		7558		7558		7558

		7559		7559		7559

		7560		7560		7560

		7561		7561		7561

		7562		7562		7562

		7563		7563		7563

		7564		7564		7564

		7565		7565		7565

		7566		7566		7566

		7567		7567		7567

		7568		7568		7568

		7569		7569		7569

		7570		7570		7570

		7571		7571		7571

		7572		7572		7572

		7573		7573		7573

		7574		7574		7574

		7575		7575		7575

		7576		7576		7576

		7577		7577		7577

		7578		7578		7578

		7579		7579		7579

		7580		7580		7580

		7581		7581		7581

		7582		7582		7582

		7583		7583		7583

		7584		7584		7584

		7585		7585		7585

		7586		7586		7586

		7587		7587		7587

		7588		7588		7588

		7589		7589		7589

		7590		7590		7590

		7591		7591		7591

		7592		7592		7592

		7593		7593		7593

		7594		7594		7594

		7595		7595		7595

		7596		7596		7596

		7597		7597		7597

		7598		7598		7598

		7599		7599		7599

		7600		7600		7600

		7601		7601		7601

		7602		7602		7602

		7603		7603		7603

		7604		7604		7604

		7605		7605		7605

		7606		7606		7606

		7607		7607		7607

		7608		7608		7608

		7609		7609		7609

		7610		7610		7610

		7611		7611		7611

		7612		7612		7612

		7613		7613		7613

		7614		7614		7614

		7615		7615		7615

		7616		7616		7616

		7617		7617		7617

		7618		7618		7618

		7619		7619		7619

		7620		7620		7620

		7621		7621		7621

		7622		7622		7622

		7623		7623		7623

		7624		7624		7624

		7625		7625		7625

		7626		7626		7626

		7627		7627		7627

		7628		7628		7628

		7629		7629		7629

		7630		7630		7630

		7631		7631		7631

		7632		7632		7632

		7633		7633		7633

		7634		7634		7634

		7635		7635		7635

		7636		7636		7636

		7637		7637		7637

		7638		7638		7638

		7639		7639		7639

		7640		7640		7640

		7641		7641		7641

		7642		7642		7642

		7643		7643		7643

		7644		7644		7644

		7645		7645		7645

		7646		7646		7646

		7647		7647		7647

		7648		7648		7648

		7649		7649		7649

		7650		7650		7650

		7651		7651		7651

		7652		7652		7652

		7653		7653		7653

		7654		7654		7654

		7655		7655		7655

		7656		7656		7656

		7657		7657		7657

		7658		7658		7658

		7659		7659		7659

		7660		7660		7660

		7661		7661		7661

		7662		7662		7662

		7663		7663		7663

		7664		7664		7664

		7665		7665		7665

		7666		7666		7666

		7667		7667		7667

		7668		7668		7668

		7669		7669		7669

		7670		7670		7670

		7671		7671		7671

		7672		7672		7672

		7673		7673		7673

		7674		7674		7674

		7675		7675		7675

		7676		7676		7676

		7677		7677		7677

		7678		7678		7678

		7679		7679		7679

		7680		7680		7680

		7681		7681		7681

		7682		7682		7682

		7683		7683		7683

		7684		7684		7684

		7685		7685		7685

		7686		7686		7686

		7687		7687		7687

		7688		7688		7688

		7689		7689		7689

		7690		7690		7690

		7691		7691		7691

		7692		7692		7692

		7693		7693		7693

		7694		7694		7694

		7695		7695		7695

		7696		7696		7696

		7697		7697		7697

		7698		7698		7698

		7699		7699		7699

		7700		7700		7700

		7701		7701		7701

		7702		7702		7702

		7703		7703		7703

		7704		7704		7704

		7705		7705		7705

		7706		7706		7706

		7707		7707		7707

		7708		7708		7708

		7709		7709		7709

		7710		7710		7710

		7711		7711		7711

		7712		7712		7712

		7713		7713		7713

		7714		7714		7714

		7715		7715		7715

		7716		7716		7716

		7717		7717		7717

		7718		7718		7718

		7719		7719		7719

		7720		7720		7720

		7721		7721		7721

		7722		7722		7722

		7723		7723		7723

		7724		7724		7724

		7725		7725		7725

		7726		7726		7726

		7727		7727		7727

		7728		7728		7728

		7729		7729		7729

		7730		7730		7730

		7731		7731		7731

		7732		7732		7732

		7733		7733		7733

		7734		7734		7734

		7735		7735		7735

		7736		7736		7736

		7737		7737		7737

		7738		7738		7738

		7739		7739		7739

		7740		7740		7740

		7741		7741		7741

		7742		7742		7742

		7743		7743		7743

		7744		7744		7744

		7745		7745		7745

		7746		7746		7746

		7747		7747		7747

		7748		7748		7748

		7749		7749		7749

		7750		7750		7750

		7751		7751		7751

		7752		7752		7752

		7753		7753		7753

		7754		7754		7754

		7755		7755		7755

		7756		7756		7756

		7757		7757		7757

		7758		7758		7758

		7759		7759		7759

		7760		7760		7760

		7761		7761		7761

		7762		7762		7762

		7763		7763		7763

		7764		7764		7764

		7765		7765		7765

		7766		7766		7766

		7767		7767		7767

		7768		7768		7768

		7769		7769		7769

		7770		7770		7770

		7771		7771		7771

		7772		7772		7772

		7773		7773		7773

		7774		7774		7774

		7775		7775		7775

		7776		7776		7776

		7777		7777		7777

		7778		7778		7778

		7779		7779		7779

		7780		7780		7780

		7781		7781		7781

		7782		7782		7782

		7783		7783		7783

		7784		7784		7784

		7785		7785		7785

		7786		7786		7786

		7787		7787		7787

		7788		7788		7788

		7789		7789		7789

		7790		7790		7790

		7791		7791		7791

		7792		7792		7792

		7793		7793		7793

		7794		7794		7794

		7795		7795		7795

		7796		7796		7796

		7797		7797		7797

		7798		7798		7798

		7799		7799		7799

		7800		7800		7800

		7801		7801		7801

		7802		7802		7802

		7803		7803		7803

		7804		7804		7804

		7805		7805		7805

		7806		7806		7806

		7807		7807		7807

		7808		7808		7808

		7809		7809		7809

		7810		7810		7810

		7811		7811		7811

		7812		7812		7812

		7813		7813		7813

		7814		7814		7814

		7815		7815		7815

		7816		7816		7816

		7817		7817		7817

		7818		7818		7818

		7819		7819		7819

		7820		7820		7820

		7821		7821		7821

		7822		7822		7822

		7823		7823		7823

		7824		7824		7824

		7825		7825		7825

		7826		7826		7826

		7827		7827		7827

		7828		7828		7828

		7829		7829		7829

		7830		7830		7830

		7831		7831		7831

		7832		7832		7832

		7833		7833		7833

		7834		7834		7834

		7835		7835		7835

		7836		7836		7836

		7837		7837		7837

		7838		7838		7838

		7839		7839		7839

		7840		7840		7840

		7841		7841		7841

		7842		7842		7842

		7843		7843		7843

		7844		7844		7844

		7845		7845		7845

		7846		7846		7846

		7847		7847		7847

		7848		7848		7848

		7849		7849		7849

		7850		7850		7850

		7851		7851		7851

		7852		7852		7852

		7853		7853		7853

		7854		7854		7854

		7855		7855		7855

		7856		7856		7856

		7857		7857		7857

		7858		7858		7858

		7859		7859		7859

		7860		7860		7860

		7861		7861		7861

		7862		7862		7862

		7863		7863		7863

		7864		7864		7864

		7865		7865		7865

		7866		7866		7866

		7867		7867		7867

		7868		7868		7868

		7869		7869		7869

		7870		7870		7870

		7871		7871		7871

		7872		7872		7872

		7873		7873		7873

		7874		7874		7874

		7875		7875		7875

		7876		7876		7876

		7877		7877		7877

		7878		7878		7878

		7879		7879		7879

		7880		7880		7880

		7881		7881		7881

		7882		7882		7882

		7883		7883		7883

		7884		7884		7884

		7885		7885		7885

		7886		7886		7886

		7887		7887		7887

		7888		7888		7888

		7889		7889		7889

		7890		7890		7890

		7891		7891		7891

		7892		7892		7892

		7893		7893		7893

		7894		7894		7894

		7895		7895		7895

		7896		7896		7896

		7897		7897		7897

		7898		7898		7898

		7899		7899		7899

		7900		7900		7900

		7901		7901		7901

		7902		7902		7902

		7903		7903		7903

		7904		7904		7904

		7905		7905		7905

		7906		7906		7906

		7907		7907		7907

		7908		7908		7908

		7909		7909		7909

		7910		7910		7910

		7911		7911		7911

		7912		7912		7912

		7913		7913		7913

		7914		7914		7914

		7915		7915		7915

		7916		7916		7916

		7917		7917		7917

		7918		7918		7918

		7919		7919		7919

		7920		7920		7920

		7921		7921		7921

		7922		7922		7922

		7923		7923		7923

		7924		7924		7924

		7925		7925		7925

		7926		7926		7926

		7927		7927		7927

		7928		7928		7928

		7929		7929		7929

		7930		7930		7930

		7931		7931		7931

		7932		7932		7932

		7933		7933		7933

		7934		7934		7934

		7935		7935		7935

		7936		7936		7936

		7937		7937		7937

		7938		7938		7938

		7939		7939		7939

		7940		7940		7940

		7941		7941		7941

		7942		7942		7942

		7943		7943		7943

		7944		7944		7944

		7945		7945		7945

		7946		7946		7946

		7947		7947		7947

		7948		7948		7948

		7949		7949		7949

		7950		7950		7950

		7951		7951		7951

		7952		7952		7952

		7953		7953		7953

		7954		7954		7954

		7955		7955		7955

		7956		7956		7956

		7957		7957		7957

		7958		7958		7958

		7959		7959		7959

		7960		7960		7960

		7961		7961		7961

		7962		7962		7962

		7963		7963		7963

		7964		7964		7964

		7965		7965		7965

		7966		7966		7966

		7967		7967		7967

		7968		7968		7968

		7969		7969		7969

		7970		7970		7970

		7971		7971		7971

		7972		7972		7972

		7973		7973		7973

		7974		7974		7974

		7975		7975		7975

		7976		7976		7976

		7977		7977		7977

		7978		7978		7978

		7979		7979		7979

		7980		7980		7980

		7981		7981		7981

		7982		7982		7982

		7983		7983		7983

		7984		7984		7984

		7985		7985		7985

		7986		7986		7986

		7987		7987		7987

		7988		7988		7988

		7989		7989		7989

		7990		7990		7990

		7991		7991		7991

		7992		7992		7992

		7993		7993		7993

		7994		7994		7994

		7995		7995		7995

		7996		7996		7996

		7997		7997		7997

		7998		7998		7998

		7999		7999		7999

		8000		8000		8000

		8001		8001		8001

		8002		8002		8002

		8003		8003		8003

		8004		8004		8004

		8005		8005		8005

		8006		8006		8006

		8007		8007		8007

		8008		8008		8008

		8009		8009		8009

		8010		8010		8010

		8011		8011		8011

		8012		8012		8012

		8013		8013		8013

		8014		8014		8014

		8015		8015		8015

		8016		8016		8016

		8017		8017		8017

		8018		8018		8018

		8019		8019		8019

		8020		8020		8020

		8021		8021		8021

		8022		8022		8022

		8023		8023		8023

		8024		8024		8024

		8025		8025		8025

		8026		8026		8026

		8027		8027		8027

		8028		8028		8028

		8029		8029		8029

		8030		8030		8030

		8031		8031		8031

		8032		8032		8032

		8033		8033		8033

		8034		8034		8034

		8035		8035		8035

		8036		8036		8036

		8037		8037		8037

		8038		8038		8038

		8039		8039		8039

		8040		8040		8040

		8041		8041		8041

		8042		8042		8042

		8043		8043		8043

		8044		8044		8044

		8045		8045		8045

		8046		8046		8046

		8047		8047		8047

		8048		8048		8048

		8049		8049		8049

		8050		8050		8050

		8051		8051		8051

		8052		8052		8052

		8053		8053		8053

		8054		8054		8054

		8055		8055		8055

		8056		8056		8056

		8057		8057		8057

		8058		8058		8058

		8059		8059		8059

		8060		8060		8060

		8061		8061		8061

		8062		8062		8062

		8063		8063		8063

		8064		8064		8064

		8065		8065		8065

		8066		8066		8066

		8067		8067		8067

		8068		8068		8068

		8069		8069		8069

		8070		8070		8070

		8071		8071		8071

		8072		8072		8072

		8073		8073		8073

		8074		8074		8074

		8075		8075		8075

		8076		8076		8076

		8077		8077		8077

		8078		8078		8078

		8079		8079		8079

		8080		8080		8080

		8081		8081		8081

		8082		8082		8082

		8083		8083		8083

		8084		8084		8084

		8085		8085		8085

		8086		8086		8086

		8087		8087		8087

		8088		8088		8088

		8089		8089		8089

		8090		8090		8090

		8091		8091		8091

		8092		8092		8092

		8093		8093		8093

		8094		8094		8094

		8095		8095		8095

		8096		8096		8096

		8097		8097		8097

		8098		8098		8098

		8099		8099		8099

		8100		8100		8100

		8101		8101		8101

		8102		8102		8102

		8103		8103		8103

		8104		8104		8104

		8105		8105		8105

		8106		8106		8106

		8107		8107		8107

		8108		8108		8108

		8109		8109		8109

		8110		8110		8110

		8111		8111		8111

		8112		8112		8112

		8113		8113		8113

		8114		8114		8114

		8115		8115		8115

		8116		8116		8116

		8117		8117		8117

		8118		8118		8118

		8119		8119		8119

		8120		8120		8120

		8121		8121		8121

		8122		8122		8122

		8123		8123		8123

		8124		8124		8124

		8125		8125		8125

		8126		8126		8126

		8127		8127		8127

		8128		8128		8128

		8129		8129		8129

		8130		8130		8130

		8131		8131		8131

		8132		8132		8132

		8133		8133		8133

		8134		8134		8134

		8135		8135		8135

		8136		8136		8136

		8137		8137		8137

		8138		8138		8138

		8139		8139		8139

		8140		8140		8140

		8141		8141		8141

		8142		8142		8142

		8143		8143		8143

		8144		8144		8144

		8145		8145		8145

		8146		8146		8146

		8147		8147		8147

		8148		8148		8148

		8149		8149		8149

		8150		8150		8150

		8151		8151		8151

		8152		8152		8152

		8153		8153		8153

		8154		8154		8154

		8155		8155		8155

		8156		8156		8156

		8157		8157		8157

		8158		8158		8158

		8159		8159		8159

		8160		8160		8160

		8161		8161		8161

		8162		8162		8162

		8163		8163		8163

		8164		8164		8164

		8165		8165		8165

		8166		8166		8166

		8167		8167		8167

		8168		8168		8168

		8169		8169		8169

		8170		8170		8170

		8171		8171		8171

		8172		8172		8172

		8173		8173		8173

		8174		8174		8174

		8175		8175		8175

		8176		8176		8176

		8177		8177		8177

		8178		8178		8178

		8179		8179		8179

		8180		8180		8180

		8181		8181		8181

		8182		8182		8182

		8183		8183		8183

		8184		8184		8184

		8185		8185		8185

		8186		8186		8186

		8187		8187		8187

		8188		8188		8188

		8189		8189		8189

		8190		8190		8190

		8191		8191		8191

		8192		8192		8192

		8193		8193		8193

		8194		8194		8194

		8195		8195		8195

		8196		8196		8196

		8197		8197		8197

		8198		8198		8198

		8199		8199		8199

		8200		8200		8200

		8201		8201		8201

		8202		8202		8202

		8203		8203		8203

		8204		8204		8204

		8205		8205		8205

		8206		8206		8206

		8207		8207		8207

		8208		8208		8208

		8209		8209		8209

		8210		8210		8210

		8211		8211		8211

		8212		8212		8212

		8213		8213		8213

		8214		8214		8214

		8215		8215		8215

		8216		8216		8216

		8217		8217		8217

		8218		8218		8218

		8219		8219		8219

		8220		8220		8220

		8221		8221		8221

		8222		8222		8222

		8223		8223		8223

		8224		8224		8224

		8225		8225		8225

		8226		8226		8226

		8227		8227		8227

		8228		8228		8228

		8229		8229		8229

		8230		8230		8230

		8231		8231		8231

		8232		8232		8232

		8233		8233		8233

		8234		8234		8234

		8235		8235		8235

		8236		8236		8236

		8237		8237		8237

		8238		8238		8238

		8239		8239		8239

		8240		8240		8240

		8241		8241		8241

		8242		8242		8242

		8243		8243		8243

		8244		8244		8244

		8245		8245		8245

		8246		8246		8246

		8247		8247		8247

		8248		8248		8248

		8249		8249		8249

		8250		8250		8250

		8251		8251		8251

		8252		8252		8252

		8253		8253		8253

		8254		8254		8254

		8255		8255		8255

		8256		8256		8256

		8257		8257		8257

		8258		8258		8258

		8259		8259		8259

		8260		8260		8260

		8261		8261		8261

		8262		8262		8262

		8263		8263		8263

		8264		8264		8264

		8265		8265		8265

		8266		8266		8266

		8267		8267		8267

		8268		8268		8268

		8269		8269		8269

		8270		8270		8270

		8271		8271		8271

		8272		8272		8272

		8273		8273		8273

		8274		8274		8274

		8275		8275		8275

		8276		8276		8276

		8277		8277		8277

		8278		8278		8278

		8279		8279		8279

		8280		8280		8280

		8281		8281		8281

		8282		8282		8282

		8283		8283		8283

		8284		8284		8284

		8285		8285		8285

		8286		8286		8286

		8287		8287		8287

		8288		8288		8288

		8289		8289		8289

		8290		8290		8290

		8291		8291		8291

		8292		8292		8292

		8293		8293		8293

		8294		8294		8294

		8295		8295		8295

		8296		8296		8296

		8297		8297		8297

		8298		8298		8298

		8299		8299		8299

		8300		8300		8300

		8301		8301		8301

		8302		8302		8302

		8303		8303		8303

		8304		8304		8304

		8305		8305		8305

		8306		8306		8306

		8307		8307		8307

		8308		8308		8308

		8309		8309		8309

		8310		8310		8310

		8311		8311		8311

		8312		8312		8312

		8313		8313		8313

		8314		8314		8314

		8315		8315		8315

		8316		8316		8316

		8317		8317		8317

		8318		8318		8318

		8319		8319		8319

		8320		8320		8320

		8321		8321		8321

		8322		8322		8322

		8323		8323		8323

		8324		8324		8324

		8325		8325		8325

		8326		8326		8326

		8327		8327		8327

		8328		8328		8328

		8329		8329		8329

		8330		8330		8330

		8331		8331		8331

		8332		8332		8332

		8333		8333		8333

		8334		8334		8334

		8335		8335		8335

		8336		8336		8336

		8337		8337		8337

		8338		8338		8338

		8339		8339		8339

		8340		8340		8340

		8341		8341		8341

		8342		8342		8342

		8343		8343		8343

		8344		8344		8344

		8345		8345		8345

		8346		8346		8346

		8347		8347		8347

		8348		8348		8348

		8349		8349		8349

		8350		8350		8350

		8351		8351		8351

		8352		8352		8352

		8353		8353		8353

		8354		8354		8354

		8355		8355		8355

		8356		8356		8356

		8357		8357		8357

		8358		8358		8358

		8359		8359		8359

		8360		8360		8360

		8361		8361		8361

		8362		8362		8362

		8363		8363		8363

		8364		8364		8364

		8365		8365		8365

		8366		8366		8366

		8367		8367		8367

		8368		8368		8368

		8369		8369		8369

		8370		8370		8370

		8371		8371		8371

		8372		8372		8372

		8373		8373		8373

		8374		8374		8374

		8375		8375		8375

		8376		8376		8376

		8377		8377		8377

		8378		8378		8378

		8379		8379		8379

		8380		8380		8380

		8381		8381		8381

		8382		8382		8382

		8383		8383		8383

		8384		8384		8384

		8385		8385		8385

		8386		8386		8386

		8387		8387		8387

		8388		8388		8388

		8389		8389		8389

		8390		8390		8390

		8391		8391		8391

		8392		8392		8392

		8393		8393		8393

		8394		8394		8394

		8395		8395		8395

		8396		8396		8396

		8397		8397		8397

		8398		8398		8398

		8399		8399		8399

		8400		8400		8400

		8401		8401		8401

		8402		8402		8402

		8403		8403		8403

		8404		8404		8404

		8405		8405		8405

		8406		8406		8406

		8407		8407		8407

		8408		8408		8408

		8409		8409		8409

		8410		8410		8410

		8411		8411		8411

		8412		8412		8412

		8413		8413		8413

		8414		8414		8414

		8415		8415		8415

		8416		8416		8416

		8417		8417		8417

		8418		8418		8418

		8419		8419		8419

		8420		8420		8420

		8421		8421		8421

		8422		8422		8422

		8423		8423		8423

		8424		8424		8424

		8425		8425		8425

		8426		8426		8426

		8427		8427		8427

		8428		8428		8428

		8429		8429		8429

		8430		8430		8430

		8431		8431		8431

		8432		8432		8432

		8433		8433		8433

		8434		8434		8434

		8435		8435		8435

		8436		8436		8436

		8437		8437		8437

		8438		8438		8438

		8439		8439		8439

		8440		8440		8440

		8441		8441		8441

		8442		8442		8442

		8443		8443		8443

		8444		8444		8444

		8445		8445		8445

		8446		8446		8446

		8447		8447		8447

		8448		8448		8448

		8449		8449		8449

		8450		8450		8450

		8451		8451		8451

		8452		8452		8452

		8453		8453		8453

		8454		8454		8454

		8455		8455		8455

		8456		8456		8456

		8457		8457		8457

		8458		8458		8458

		8459		8459		8459

		8460		8460		8460

		8461		8461		8461

		8462		8462		8462

		8463		8463		8463

		8464		8464		8464

		8465		8465		8465

		8466		8466		8466

		8467		8467		8467

		8468		8468		8468

		8469		8469		8469

		8470		8470		8470

		8471		8471		8471

		8472		8472		8472

		8473		8473		8473

		8474		8474		8474

		8475		8475		8475

		8476		8476		8476

		8477		8477		8477

		8478		8478		8478

		8479		8479		8479

		8480		8480		8480

		8481		8481		8481

		8482		8482		8482

		8483		8483		8483

		8484		8484		8484

		8485		8485		8485

		8486		8486		8486

		8487		8487		8487

		8488		8488		8488

		8489		8489		8489

		8490		8490		8490

		8491		8491		8491

		8492		8492		8492

		8493		8493		8493

		8494		8494		8494

		8495		8495		8495

		8496		8496		8496

		8497		8497		8497

		8498		8498		8498

		8499		8499		8499

		8500		8500		8500

		8501		8501		8501

		8502		8502		8502

		8503		8503		8503

		8504		8504		8504

		8505		8505		8505

		8506		8506		8506

		8507		8507		8507

		8508		8508		8508

		8509		8509		8509

		8510		8510		8510

		8511		8511		8511

		8512		8512		8512

		8513		8513		8513

		8514		8514		8514

		8515		8515		8515

		8516		8516		8516

		8517		8517		8517

		8518		8518		8518

		8519		8519		8519

		8520		8520		8520

		8521		8521		8521

		8522		8522		8522

		8523		8523		8523

		8524		8524		8524

		8525		8525		8525

		8526		8526		8526

		8527		8527		8527

		8528		8528		8528

		8529		8529		8529

		8530		8530		8530

		8531		8531		8531

		8532		8532		8532

		8533		8533		8533

		8534		8534		8534

		8535		8535		8535

		8536		8536		8536

		8537		8537		8537

		8538		8538		8538

		8539		8539		8539

		8540		8540		8540

		8541		8541		8541

		8542		8542		8542

		8543		8543		8543

		8544		8544		8544

		8545		8545		8545

		8546		8546		8546

		8547		8547		8547

		8548		8548		8548

		8549		8549		8549

		8550		8550		8550

		8551		8551		8551

		8552		8552		8552

		8553		8553		8553

		8554		8554		8554

		8555		8555		8555

		8556		8556		8556

		8557		8557		8557

		8558		8558		8558

		8559		8559		8559

		8560		8560		8560

		8561		8561		8561

		8562		8562		8562

		8563		8563		8563

		8564		8564		8564

		8565		8565		8565

		8566		8566		8566

		8567		8567		8567

		8568		8568		8568

		8569		8569		8569

		8570		8570		8570

		8571		8571		8571

		8572		8572		8572

		8573		8573		8573

		8574		8574		8574

		8575		8575		8575

		8576		8576		8576

		8577		8577		8577

		8578		8578		8578

		8579		8579		8579

		8580		8580		8580

		8581		8581		8581

		8582		8582		8582

		8583		8583		8583

		8584		8584		8584

		8585		8585		8585

		8586		8586		8586

		8587		8587		8587

		8588		8588		8588

		8589		8589		8589

		8590		8590		8590

		8591		8591		8591

		8592		8592		8592

		8593		8593		8593

		8594		8594		8594

		8595		8595		8595

		8596		8596		8596

		8597		8597		8597

		8598		8598		8598

		8599		8599		8599

		8600		8600		8600

		8601		8601		8601

		8602		8602		8602

		8603		8603		8603

		8604		8604		8604

		8605		8605		8605

		8606		8606		8606

		8607		8607		8607

		8608		8608		8608

		8609		8609		8609

		8610		8610		8610

		8611		8611		8611

		8612		8612		8612

		8613		8613		8613

		8614		8614		8614

		8615		8615		8615

		8616		8616		8616

		8617		8617		8617

		8618		8618		8618

		8619		8619		8619

		8620		8620		8620

		8621		8621		8621

		8622		8622		8622

		8623		8623		8623

		8624		8624		8624

		8625		8625		8625

		8626		8626		8626

		8627		8627		8627

		8628		8628		8628

		8629		8629		8629

		8630		8630		8630

		8631		8631		8631

		8632		8632		8632

		8633		8633		8633

		8634		8634		8634

		8635		8635		8635

		8636		8636		8636

		8637		8637		8637

		8638		8638		8638

		8639		8639		8639

		8640		8640		8640

		8641		8641		8641

		8642		8642		8642

		8643		8643		8643

		8644		8644		8644

		8645		8645		8645

		8646		8646		8646

		8647		8647		8647

		8648		8648		8648

		8649		8649		8649

		8650		8650		8650

		8651		8651		8651

		8652		8652		8652

		8653		8653		8653

		8654		8654		8654

		8655		8655		8655

		8656		8656		8656

		8657		8657		8657

		8658		8658		8658

		8659		8659		8659

		8660		8660		8660

		8661		8661		8661

		8662		8662		8662

		8663		8663		8663

		8664		8664		8664

		8665		8665		8665

		8666		8666		8666

		8667		8667		8667

		8668		8668		8668

		8669		8669		8669

		8670		8670		8670

		8671		8671		8671

		8672		8672		8672

		8673		8673		8673

		8674		8674		8674

		8675		8675		8675

		8676		8676		8676

		8677		8677		8677

		8678		8678		8678

		8679		8679		8679

		8680		8680		8680

		8681		8681		8681

		8682		8682		8682

		8683		8683		8683

		8684		8684		8684

		8685		8685		8685

		8686		8686		8686

		8687		8687		8687

		8688		8688		8688

		8689		8689		8689

		8690		8690		8690

		8691		8691		8691

		8692		8692		8692

		8693		8693		8693

		8694		8694		8694

		8695		8695		8695

		8696		8696		8696

		8697		8697		8697

		8698		8698		8698

		8699		8699		8699

		8700		8700		8700

		8701		8701		8701

		8702		8702		8702

		8703		8703		8703

		8704		8704		8704

		8705		8705		8705

		8706		8706		8706

		8707		8707		8707

		8708		8708		8708

		8709		8709		8709

		8710		8710		8710

		8711		8711		8711

		8712		8712		8712

		8713		8713		8713

		8714		8714		8714

		8715		8715		8715

		8716		8716		8716

		8717		8717		8717

		8718		8718		8718

		8719		8719		8719

		8720		8720		8720

		8721		8721		8721

		8722		8722		8722

		8723		8723		8723

		8724		8724		8724

		8725		8725		8725

		8726		8726		8726

		8727		8727		8727

		8728		8728		8728

		8729		8729		8729

		8730		8730		8730

		8731		8731		8731

		8732		8732		8732

		8733		8733		8733

		8734		8734		8734

		8735		8735		8735

		8736		8736		8736

		8737		8737		8737

		8738		8738		8738

		8739		8739		8739

		8740		8740		8740

		8741		8741		8741

		8742		8742		8742

		8743		8743		8743

		8744		8744		8744

		8745		8745		8745

		8746		8746		8746

		8747		8747		8747

		8748		8748		8748

		8749		8749		8749

		8750		8750		8750

		8751		8751		8751

		8752		8752		8752

		8753		8753		8753

		8754		8754		8754

		8755		8755		8755

		8756		8756		8756

		8757		8757		8757

		8758		8758		8758

		8759		8759		8759

		8760		8760		8760



Res.

Ind.

Total

MW

Figure IEc-1
HQD Post Patrimonial Load Patterns
Test Year 2007:  Load Duration Curves

1192

963

2720

1159

949

2716

1157

862

2682

1114

987

2678

1105

876

2658

1085

893

2499

1095

861

2467

970

789

2350

938

805

2250

942

820

2214

925

797

2177

1263

428

2107

1253

432

2069

1246

431

2068

1155

447

2053

854

697

2043

1172

447

2032

1175

450

2031

1189

418

2019

1215

429

2010

1154

447

2006

1125

438

2002

1192

434

1996

1171

428

1991

1127

444

1989

1209

413

1969

1104

448

1968

1163

426

1965

1179

423

1949

1108

441

1947

1061

435

1939

1124

412

1939

1107

443

1934

1085

436

1929

1152

422

1924

1057

432

1909

1117

414

1907

1028

430

1905

1191

396

1903

760

723

1900

1018

432

1898

1066

409

1887

1172

401

1880

1047

414

1866

1123

399

1845

1034

414

1838

1068

419

1832

1028

412

1831

1018

408

1828

1024

414

1821

1018

438

1816

1011

434

1815

1040

419

1811

993

441

1810

1054

407

1810

1044

414

1810

986

423

1806

941

420

1804

986

437

1802

973

410

1800

1067

414

1794

994

429

1792

1002

400

1790

932

430

1789

921

422

1779

1096

393

1777

912

430

1773

961

438

1772

973

424

1772

911

424

1771

947

425

1770

1027

415

1770

961

433

1768

914

426

1766

964

429

1753

935

407

1747

941

411

1746

932

401

1743

924

435

1740

940

430

1737

928

442

1732

924

438

1731

936

434

1726

940

405

1724

861

434

1721

954

430

1720

934

422

1715

928

404

1714

903

436

1711

931

407

1709

905

441

1709

1047

386

1709

854

435

1705

897

436

1704

903

434

1703

879

443

1703

927

434

1702

867

426

1702

906

437

1702

859

419

1701

947

402

1696

878

440

1690

977

413

1688

856

442

1687

904

427

1685

873

442

1682

912

398

1681

984

404

1680

505

658

1679

940

417

1669

893

441

1669

886

434

1667

864

435

1666

992

344

1665

954

400

1664

942

404

1661

1014

385

1654

871

424

1650

629

663

1650

990

338

1649

893

432

1648

855

434

1635

850

431

1633

846

430

1632

900

402

1631

873

420

1630

827

404

1627

837

421

1622

928

397

1622

863

427

1621

852

420

1619

835

429

1618

858

400

1615

789

414

1613

787

435

1611

839

430

1610

811

436

1608

826

423

1606

785

435

1606

837

414

1604

854

389

1604

823

426

1603

843

424

1602

811

432

1602

826

428

1601

831

432

1600

776

410

1600

856

445

1599

735

442

1597

884

395

1596

902

391

1596

947

339

1596

800

423

1595

769

415

1594

791

436

1589

783

437

1587

817

421

1586

818

412

1586

738

438

1586

800

441

1586

873

404

1586

960

384

1586

931

378

1586

798

441

1585

823

430

1585

808

398

1585

787

437

1584

903

391

1584

782

440

1583

766

446

1583

783

443

1583

875

405

1583

906

396

1583

705

445

1582

786

436

1582

918

382

1582

793

447

1581

781

443

1581

813

409

1581

761

452

1581

882

396

1581

980

366

1581

919

344

1581

732

433

1580

893

407

1580

846

417

1580

918

381

1580

907

385

1580

894

381

1580

782

440

1579

709

446

1579

799

431

1578

923

366

1578

812

434

1577

793

441

1577

721

436

1577

878

401

1577

718

437

1576

769

443

1576

906

378

1576

905

381

1576

782

444

1575

836

441

1575

810

440

1575

895

408

1575

777

455

1574

755

446

1574

824

447

1574

780

439

1574

904

388

1574

872

404

1573

880

416

1573

859

409

1573

896

380

1573

920

382

1573

786

416

1572

796

414

1572

787

436

1572

917

375

1572

914

387

1572

725

424

1571

783

438

1571

780

444

1571

777

441

1571

818

393

1571

819

391

1571

691

446

1570

894

400

1570

794

411

1569

773

448

1569

856

412

1569

716

429

1568

820

434

1568

807

435

1568

758

415

1568

782

428

1568

765

442

1567

871

415

1567

830

415

1567

903

396

1567

796

431

1566

741

442

1566

915

378

1566

902

386

1566

781

440

1565

723

423

1565

759

413

1565

781

448

1565

831

415

1565

782

440

1564

775

443

1564

888

409

1564

901

402

1563

810

434

1562

736

447

1562

874

392

1562

816

420

1561

800

424

1561

813

429

1561

941

375

1561

797

421

1560

783

432

1560

764

445

1560

882

359

1560

737

448

1558

893

377

1558

805

393

1557

755

444

1557

801

397

1556

770

444

1556

814

450

1555

762

444

1555

789

420

1554

799

431

1554

777

438

1554

809

446

1552

799

425

1552

683

445

1552

960

364

1552

762

443

1551

882

375

1551

801

421

1549

787

427

1548

722

410

1547

789

422

1547

815

405

1546

754

443

1543

810

443

1543

889

399

1542

909

331

1541

787

413

1540

606

571

1539

909

386

1539

687

428

1536

771

437

1536

880

376

1536

898

387

1536

784

434

1535

795

418

1534

877

372

1533

770

426

1530

688

416

1530

865

399

1530

781

425

1525

791

421

1525

729

402

1525

758

448

1524

719

414

1524

708

410

1523

673

435

1523

786

391

1522

766

422

1522

729

411

1521

917

378

1521

866

343

1520

767

420

1519

835

393

1519

880

387

1519

871

339

1518

757

418

1517

740

442

1517

772

417

1517

758

424

1517

738

429

1517

741

438

1515

767

418

1513

681

429

1513

837

397

1513

756

420

1512

758

416

1512

758

436

1511

745

425

1508

815

398

1508

847

395

1506

865

402

1506

776

423

1505

737

434

1505

712

440

1504

822

395

1503

830

408

1503

807

405

1503

743

415

1502

755

387

1502

682

429

1501

826

382

1501

752

451

1499

737

440

1499

710

436

1497

850

376

1497

849

380

1497

724

408

1496

857

382

1496

854

388

1496

744

425

1495

676

424

1495

825

387

1495

754

413

1494

831

398

1494

726

432

1493

766

384

1493

774

409

1493

824

395

1493

709

424

1492

718

440

1492

735

423

1492

853

372

1492

828

378

1492

852

386

1492

698

441

1491

811

409

1491

815

379

1491

819

382

1491

819

398

1491

758

425

1490

720

441

1490

807

406

1490

903

364

1490

726

445

1489

749

430

1489

769

441

1489

740

423

1489

819

385

1489

711

434

1488

770

422

1488

728

421

1488

816

399

1488

827

390

1488

865

391

1488

743

418

1487

737

417

1487

818

367

1487

898

371

1487

819

354

1487

712

440

1486

796

400

1486

709

442

1485

727

425

1485

729

439

1485

763

414

1485

822

386

1485

746

421

1484

833

373

1484

821

385

1484

893

371

1484

707

423

1483

740

439

1483

709

430

1483

714

391

1483

763

408

1483

683

413

1483

794

394

1483

836

346

1483

822

397

1482

717

423

1482

874

364

1482

832

406

1482

807

360

1482

740

419

1481

695

449

1481

759

412

1481

765

407

1481

780

407

1481

832

407

1481

857

362

1481

841

339

1481

771

415

1480

753

414

1480

779

399

1480

802

409

1480

819

404

1480

728

422

1479

757

427

1479

718

426

1479

812

376

1479

818

370

1479

840

336

1479

727

425

1478

800

380

1478

671

447

1478

686

441

1478

682

443

1478

840

369

1478

832

372

1478

746

408

1477

705

443

1477

838

384

1477

706

436

1477

683

417

1477

767

379

1477

837

337

1477

764

420

1476

723

423

1476

826

391

1476

726

423

1476

715

427

1476

708

420

1475

736

423

1475

715

419

1475

761

418

1475

712

427

1475

808

421

1475

745

419

1474

727

422

1474

819

405

1474

751

423

1474

745

410

1474

728

419

1474

739

419

1474

731

426

1474

783

412

1474

835

339

1474

709

447

1473

721

413

1473

750

407

1473

691

442

1473

667

418

1473

798

394

1473

781

422

1472

681

397

1472

812

409

1472

721

425

1472

725

424

1472

750

438

1472

718

424

1472

789

369

1472

835

385

1472

846

331

1472

720

419

1471

690

420

1471

771

406

1471

737

422

1471

771

408

1471

801

417

1471

832

402

1471

828

341

1471

663

413

1470

709

399

1470

745

418

1470

760

422

1470

796

392

1470

795

370

1470

769

375

1470

833

366

1470

691

433

1469

746

410

1469

815

374

1469

816

370

1469

798

363

1469

702

439

1468

701

438

1468

704

415

1468

755

411

1468

771

373

1468

688

421

1467

683

446

1467

652

423

1467

748

396

1467

766

409

1467

724

419

1467

706

429

1467

718

421

1466

716

425

1466

721

421

1466

728

419

1466

779

411

1466

789

375

1466

829

375

1466

696

395

1465

754

392

1465

753

440

1465

714

426

1465

697

430

1465

880

375

1465

776

406

1464

746

403

1464

676

405

1464

720

427

1464

745

408

1464

708

425

1464

854

371

1464

692

441

1463

726

412

1463

738

421

1463

717

381

1463

811

403

1463

727

417

1462

715

424

1462

719

419

1462

698

414

1462

735

416

1462

679

417

1462

755

421

1462

803

370

1462

807

368

1462

841

358

1462

713

421

1461

724

415

1461

797

389

1461

735

416

1461

695

440

1461

717

422

1461

721

416

1460

664

417

1459

715

418

1459

737

440

1459

690

451

1458

748

422

1458

700

428

1458

725

415

1458

741

411

1458

717

414

1457

747

413

1457

790

366

1457

814

366

1457

767

373

1457

709

422

1456

795

382

1456

731

415

1455

714

418

1455

656

416

1455

810

389

1455

744

380

1455

717

418

1454

854

370

1454

811

406

1454

817

342

1453

758

417

1452

647

441

1452

705

420

1452

684

390

1452

690

414

1452

680

423

1452

718

423

1452

702

422

1452

811

403

1452

701

438

1451

738

420

1451

790

414

1451

742

412

1451

817

381

1451

810

367

1451

807

409

1450

743

382

1449

654

448

1449

794

389

1449

779

423

1449

792

370

1449

867

380

1449

826

329

1449

670

395

1448

717

417

1447

719

456

1447

692

439

1447

776

386

1447

821

374

1447

776

409

1446

719

415

1446

781

371

1446

788

378

1446

791

377

1446

713

463

1445

697

460

1445

745

408

1445

790

393

1445

735

383

1445

704

458

1444

713

415

1444

741

407

1444

849

358

1444

775

407

1443

717

456

1442

710

459

1441

722

440

1441

727

386

1441

810

361

1441

803

378

1441

825

325

1441

739

413

1438

757

423

1438

710

425

1438

787

385

1438

779

385

1438

721

413

1438

750

409

1437

744

378

1437

834

387

1437

778

379

1437

833

361

1437

652

483

1436

675

389

1436

647

440

1436

711

415

1436

729

408

1436

811

359

1436

817

390

1436

699

422

1435

666

443

1435

781

378

1435

802

386

1435

836

393

1435

787

371

1434

729

444

1433

659

477

1433

732

377

1433

840

393

1433

782

416

1432

694

441

1431

641

441

1431

715

413

1431

809

358

1431

728

445

1430

630

439

1430

688

435

1430

759

419

1430

764

395

1430

811

376

1430

838

388

1430

700

433

1429

721

425

1429

710

439

1429

713

416

1429

857

372

1429

832

363

1429

717

382

1428

771

380

1428

666

414

1427

695

392

1427

697

420

1427

704

422

1426

768

377

1426

727

409

1425

636

442

1425

757

423

1424

661

439

1424

818

385

1424

750

367

1424

845

379

1423

650

444

1422

721

406

1422

783

364

1422

738

412

1421

620

440

1421

664

463

1419

732

400

1419

781

363

1419

763

367

1418

801

375

1418

830

351

1418

757

369

1417

708

409

1417

829

387

1417

686

432

1416

751

371

1416

756

370

1416

750

383

1416

791

376

1416

690

411

1414

763

410

1414

789

383

1414

808

384

1413

795

369

1413

845

366

1413

766

395

1413

718

436

1412

659

469

1412

699

434

1412

754

390

1412

682

411

1411

621

440

1411

683

438

1411

810

383

1411

722

410

1411

745

428

1411

786

374

1411

822

357

1411

821

356

1411

669

430

1410

685

421

1410

778

381

1410

675

414

1409

683

414

1409

678

444

1409

709

406

1408

685

442

1408

748

351

1408

682

405

1407

753

404

1407

696

409

1407

758

373

1407

758

365

1407

738

367

1407

773

377

1406

677

444

1405

779

373

1405

667

409

1404

630

436

1404

774

378

1404

809

359

1404

738

357

1404

685

444

1403

649

413

1403

748

378

1403

769

363

1403

745

366

1403

749

369

1403

748

369

1403

729

369

1402

813

366

1402

660

437

1401

751

365

1401

654

467

1400

666

430

1400

659

434

1400

736

383

1400

633

403

1399

602

440

1399

680

436

1399

754

388

1399

774

352

1398

730

368

1397

775

391

1397

646

401

1396

798

381

1396

609

441

1395

701

404

1393

659

414

1393

728

360

1393

660

430

1392

624

439

1391

628

432

1391

642

430

1390

679

396

1388

747

400

1386

737

401

1385

696

387

1381

672

401

1381

654

406

1379

674

388

1377

667

389

1372

654

396

1371

686

396

1371

634

401

1369

609

394

1369

646

405

1364

661

400

1364

636

409

1362

611

389

1359

507

574

1358

658

400

1356

629

392

1352

662

390

1349

643

390

1345

675

395

1342

471

573

1341

622

392

1339

675

404

1337

638

399

1335

644

390

1333

675

392

1333

644

386

1332

657

396

1331

653

401

1331

616

399

1329

601

388

1328

600

389

1328

603

398

1327

621

398

1326

631

394

1326

639

393

1322

617

396

1321

672

394

1320

581

389

1319

613

394

1318

619

395

1318

575

394

1317

617

400

1317

573

390

1310

568

392

1310

603

395

1309

605

394

1308

648

395

1308

618

390

1305

603

398

1305

606

395

1305

611

396

1303

639

390

1303

640

397

1303

608

394

1302

625

394

1300

598

386

1300

581

386

1297

608

389

1297

594

400

1297

607

386

1297

627

390

1297

608

396

1297

604

388

1295

581

389

1295

559

390

1295

604

391

1293

476

559

1293

558

389

1292

595

396

1292

466

513

1291

599

395

1288

600

390

1287

583

397

1287

641

390

1284

638

398

1284

606

384

1283

629

384

1283

594

388

1282

630

392

1281

585

397

1281

570

397

1281

581

389

1280

592

393

1280

434

564

1280

623

387

1279

595

392

1279

546

386

1277

618

400

1277

556

384

1275

552

390

1275

573

394

1274

590

386

1273

543

381

1270

602

398

1267

576

391

1267

581

395

1266

574

389

1265

628

387

1264

571

388

1264

547

383

1261

586

389

1261

606

387

1260

568

383

1258

579

393

1257

539

387

1255

533

393

1255

573

388

1252

589

392

1249

566

384

1247

592

394

1247

562

395

1246

562

390

1246

582

392

1244

581

392

1244

583

390

1242

521

387

1242

620

381

1241

561

393

1241

593

392

1239

622

384

1239

605

382

1238

559

387

1237

573

394

1237

563

386

1236

586

381

1235

587

387

1235

532

389

1233

551

386

1230

551

391

1229

583

388

1229

541

393

1228

545

391

1228

517

385

1226

547

389

1224

511

382

1223

513

386

1221

566

386

1221

516

389

1220

499

382

1220

544

386

1219

534

388

1217

541

387

1216

551

385

1215

547

385

1214

534

392

1213

535

384

1212

548

390

1212

547

384

1212

576

382

1211

563

390

1209

591

386

1209

341

523

1209

514

382

1208

543

401

1208

498

381

1207

567

385

1206

543

386

1205

536

388

1205

532

384

1205

533

394

1203

520

390

1202

528

385

1201

519

388

1201

525

386

1200

530

384

1200

538

375

1199

413

468

1197

513

393

1195

375

459

1195

534

381

1194

541

389

1193

520

384

1192

515

450

1192

496

373

1191

537

391

1191

512

371

1190

561

389

1190

562

385

1189

554

382

1188

508

388

1188

464

444

1188

438

461

1188

524

379

1187

529

388

1187

478

378

1186

417

457

1186

440

461

1186

471

461

1185

424

457

1185

524

447

1185

370

463

1184

449

447

1183

503

388

1182

401

461

1182

523

386

1181

504

388

1181

504

384

1181

456

452

1181

519

379

1180

505

389

1180

421

449

1180

424

462

1180

449

440

1180

442

454

1179

530

448

1179

385

457

1178

504

385

1177

445

449

1177

443

443

1177

442

449

1177

518

375

1175

429

469

1175

538

377

1174

401

444

1174

413

459

1174

412

456

1174

432

452

1174

428

451

1174

427

453

1174

425

447

1173

436

458

1172

525

448

1172

527

446

1171

423

439

1170

444

458

1170

361

463

1170

525

447

1170

421

450

1169

444

447

1169

518

376

1168

376

457

1168

428

445

1167

445

446

1166

436

450

1165

505

379

1164

461

379

1164

384

474

1163

373

450

1163

507

449

1163

536

381

1162

362

468

1160

427

459

1158

455

458

1156

389

445

1156

415

446

1155

484

445

1155

426

447

1155

533

383

1154

442

456

1154

374

472

1154

498

446

1153

427

456

1152

424

448

1152

467

373

1151

439

450

1151

393

460

1151

504

390

1150

385

449

1150

509

376

1149

462

456

1149

438

461

1148

486

439

1148

524

448

1148

524

387

1147

454

461

1147

374

472

1147

503

446

1147

515

436

1147

508

439

1147

467

444

1146

419

447

1146

365

461

1146

446

465

1146

405

447

1145

400

464

1145

403

457

1145

456

459

1145

438

438

1145

490

385

1144

367

456

1144

449

450

1144

417

458

1144

355

457

1144

490

384

1143

411

456

1143

544

384

1142

405

445

1142

454

449

1142

481

386

1141

390

444

1141

349

455

1141

371

454

1141

357

466

1141

360

452

1141

397

457

1140

354

449

1140

337

457

1140

453

454

1140

402

442

1140

417

429

1139

417

455

1139

432

453

1139

373

448

1139

406

437

1139

447

447

1139

365

444

1138

439

442

1138

500

367

1137

379

461

1137

340

451

1137

382

454

1137

512

442

1137

505

436

1136

341

471

1136

326

474

1136

358

460

1136

393

442

1136

357

463

1136

350

456

1136

512

445

1136

485

381

1135

411

438

1135

410

443

1135

389

444

1135

424

456

1135

443

452

1135

441

444

1135

433

460

1135

406

447

1135

352

452

1135

531

372

1134

485

379

1134

524

421

1134

412

454

1134

333

458

1134

428

454

1134

437

448

1134

416

449

1134

428

451

1134

355

451

1134

376

445

1134

414

447

1134

362

448

1134

394

463

1134

445

449

1134

447

445

1134

389

444

1134

362

449

1134

431

435

1134

404

438

1133

478

452

1133

444

471

1133

344

468

1133

420

454

1133

335

454

1133

389

460

1133

484

433

1133

543

376

1132

389

436

1132

436

451

1132

350

459

1132

364

449

1132

399

456

1132

482

382

1131

384

446

1131

429

444

1131

445

455

1131

389

445

1131

405

449

1131

403

446

1131

373

452

1131

505

379

1130

376

443

1130

375

443

1130

381

454

1130

355

470

1130

391

448

1130

375

449

1130

446

448

1130

403

442

1130

396

446

1130

449

380

1129

390

447

1129

388

444

1129

327

465

1129

449

443

1129

443

459

1129

340

458

1129

377

450

1129

412

447

1129

530

369

1128

408

452

1128

444

459

1128

368

455

1128

375

457

1128

363

450

1128

367

448

1128

397

451

1128

392

431

1127

491

439

1127

403

441

1127

352

451

1127

337

473

1127

399

441

1127

387

447

1127

345

444

1127

339

457

1127

476

452

1126

348

461

1126

343

452

1126

442

446

1126

345

452

1126

369

452

1126

373

455

1126

357

462

1126

331

458

1126

410

442

1126

370

449

1125

422

444

1125

519

425

1125

382

461

1125

443

447

1125

364

454

1125

361

453

1125

338

454

1125

377

456

1125

378

441

1125

348

446

1125

388

448

1124

510

426

1124

422

448

1124

356

457

1124

401

447

1124

387

443

1124

373

463

1124

442

443

1124

430

453

1124

327

455

1124

468

369

1123

390

440

1123

433

447

1123

428

447

1123

383

452

1123

400

448

1123

452

453

1123

482

375

1122

410

445

1122

479

372

1121

475

381

1121

415

444

1121

428

441

1121

404

445

1121

454

436

1121

510

432

1121

381

439

1121

471

445

1121

404

453

1121

380

456

1121

327

462

1121

390

451

1121

423

454

1121

464

374

1120

503

426

1120

444

428

1120

372

462

1120

387

463

1120

360

451

1120

355

441

1120

422

454

1120

417

449

1120

341

451

1120

423

456

1120

432

450

1120

469

375

1119

502

381

1119

492

437

1119

359

438

1119

471

433

1119

400

432

1119

411

433

1119

487

427

1119

364

453

1119

426

433

1119

406

447

1119

436

446

1119

422

452

1119

427

446

1119

339

450

1119

384

464

1119

425

432

1118

367

446

1118

386

442

1118

388

455

1118

406

451

1118

431

455

1118

389

430

1118

360

457

1118

345

458

1118

466

432

1118

328

456

1118

468

372

1117

463

383

1117

381

446

1117

343

450

1117

371

446

1117

347

440

1117

373

452

1117

378

441

1117

395

438

1117

372

458

1117

396

451

1117

368

453

1117

361

462

1117

434

449

1117

395

429

1117

468

384

1116

415

437

1116

450

448

1116

363

459

1116

406

458

1116

401

448

1116

351

444

1116

366

436

1115

461

449

1115

374

452

1115

345

457

1115

376

431

1115

399

445

1114

432

441

1114

373

452

1114

350

434

1114

363

450

1114

343

461

1114

380

451

1114

485

375

1113

386

442

1113

355

448

1113

355

458

1113

359

441

1113

477

380

1112

385

441

1112

474

374

1111

450

383

1111

387

451

1111

433

371

1110

464

378

1110

470

375

1110

490

431

1110

402

437

1110

456

451

1110

361

464

1110

354

454

1110

486

431

1110

400

439

1110

444

366

1109

420

449

1109

351

455

1109

432

445

1109

359

464

1109

432

443

1108

322

468

1108

430

450

1108

347

460

1108

441

449

1108

386

464

1108

413

432

1107

512

417

1107

474

378

1106

374

447

1105

386

462

1105

471

373

1104

363

442

1104

342

445

1104

325

450

1104

349

450

1104

370

444

1104

456

378

1103

461

377

1103

398

443

1103

391

439

1103

394

448

1103

325

452

1103

409

458

1103

354

446

1102

365

447

1102

346

453

1102

307

460

1102

398

439

1102

400

447

1102

397

434

1102

392

444

1102

451

371

1101

338

443

1101

437

429

1100

361

458

1100

338

444

1100

373

455

1100

470

375

1099

456

382

1099

471

436

1099

483

434

1099

409

447

1099

377

444

1099

470

369

1098

489

372

1098

494

421

1098

457

434

1098

374

442

1098

397

435

1098

454

376

1097

427

444

1097

368

459

1097

381

452

1097

387

431

1097

326

451

1097

329

462

1097

367

458

1097

470

377

1096

455

374

1096

393

440

1096

437

375

1095

474

430

1095

366

434

1095

333

432

1095

350

454

1095

476

380

1094

456

376

1094

448

374

1094

452

381

1094

441

442

1094

356

446

1094

383

432

1094

357

437

1094

380

456

1094

440

438

1094

404

440

1093

376

416

1093

376

437

1093

397

447

1093

486

389

1093

464

381

1092

446

372

1092

433

376

1092

356

430

1092

352

464

1092

426

437

1092

364

444

1092

410

454

1092

387

454

1092

467

439

1092

462

372

1091

400

440

1091

319

456

1091

361

452

1091

413

448

1091

392

444

1091

454

363

1090

399

440

1090

376

422

1090

445

372

1089

453

375

1089

481

375

1089

423

443

1089

363

449

1089

403

445

1089

445

372

1088

452

369

1088

332

435

1088

369

495

1088

458

370

1087

454

375

1087

438

437

1087

317

448

1087

375

441

1087

476

373

1086

457

435

1085

341

445

1085

434

376

1084

476

426

1084

371

432

1084

349

438

1084

386

433

1084

370

424

1084

376

448

1084

376

450

1083

318

466

1083

344

465

1083

357

450

1083

332

442

1083

357

441

1083

443

425

1083

461

372

1082

435

423

1082

369

439

1082

356

442

1082

390

440

1081

400

432

1081

357

440

1081

407

440

1081

433

439

1081

372

421

1081

347

441

1081

308

449

1081

384

433

1081

486

420

1081

430

392

1081

442

374

1080

401

435

1080

327

434

1080

461

427

1080

335

438

1080

301

455

1080

434

442

1080

354

444

1080

319

449

1080

410

449

1080

394

442

1080

459

373

1079

368

426

1079

359

433

1079

299

446

1079

341

446

1079

311

451

1079

366

433

1079

444

379

1078

322

434

1078

360

444

1078

375

436

1078

422

445

1078

400

422

1078

440

369

1077

369

436

1077

329

442

1077

340

454

1077

448

374

1076

376

431

1076

315

447

1076

398

450

1076

355

437

1076

423

370

1075

407

380

1075

382

440

1075

326

450

1075

325

437

1075

338

447

1075

362

451

1075

396

422

1075

374

395

1075

484

368

1074

418

442

1074

372

445

1074

426

434

1074

335

443

1074

409

368

1073

403

455

1073

397

451

1073

450

423

1073

455

387

1073

444

356

1071

439

375

1071

436

372

1071

443

370

1071

451

429

1071

426

445

1071

339

431

1071

439

394

1071

307

450

1070

437

371

1069

401

433

1069

430

371

1068

428

372

1068

471

375

1068

331

442

1068

399

445

1068

339

426

1068

331

443

1068

322

436

1068

424

389

1068

467

419

1067

359

440

1067

339

443

1067

343

430

1067

311

442

1067

326

439

1067

427

435

1067

365

424

1067

382

436

1067

387

431

1067

475

370

1066

438

370

1066

428

369

1066

448

371

1066

368

483

1066

304

442

1066

398

437

1066

352

442

1066

433

366

1065

445

365

1064

436

432

1064

305

461

1064

304

446

1064

316

445

1064

445

426

1063

328

429

1063

411

446

1063

320

449

1063

348

428

1063

407

401

1063

424

368

1062

463

420

1062

446

375

1061

428

376

1061

426

376

1061

438

375

1061

337

443

1061

339

421

1061

415

374

1060

389

445

1060

282

445

1060

301

441

1060

388

419

1060

421

384

1060

441

365

1059

418

373

1059

383

422

1059

367

435

1059

353

419

1059

443

369

1058

419

437

1058

413

393

1058

428

378

1058

397

394

1058

380

392

1058

419

366

1057

430

371

1057

336

424

1057

344

427

1057

309

455

1057

367

436

1057

428

369

1056

320

425

1056

453

371

1055

352

447

1055

337

450

1055

388

433

1055

409

431

1055

329

431

1055

325

459

1055

375

386

1055

415

394

1054

363

396

1054

428

365

1053

396

439

1053

307

449

1053

407

396

1053

458

393

1053

409

391

1053

457

371

1052

419

374

1052

397

434

1052

342

437

1052

447

390

1052

420

368

1051

329

440

1051

440

389

1051

411

385

1051

423

370

1050

388

425

1050

364

414

1050

394

390

1050

459

390

1050

383

381

1050

421

394

1050

411

388

1050

409

388

1050

363

405

1050

441

364

1049

422

368

1049

450

415

1049

351

431

1049

322

439

1049

358

440

1049

318

448

1049

301

434

1049

311

450

1049

445

396

1049

372

395

1049

469

394

1049

417

368

1048

320

442

1048

400

447

1048

362

397

1048

412

389

1048

417

381

1048

459

416

1047

337

426

1047

368

448

1047

301

431

1047

407

394

1047

409

399

1047

411

388

1047

401

395

1047

412

383

1047

403

386

1047

424

371

1046

450

366

1046

403

433

1046

331

430

1046

373

437

1046

331

425

1046

310

435

1046

399

388

1046

417

371

1045

394

362

1045

439

419

1045

294

448

1045

301

449

1045

405

389

1045

385

424

1044

351

448

1044

332

430

1044

360

434

1044

307

436

1044

370

424

1044

441

417

1044

365

397

1044

388

373

1043

442

419

1043

410

415

1043

359

434

1043

315

447

1043

395

397

1043

402

384

1043

431

369

1042

323

432

1042

344

437

1042

412

387

1042

402

396

1042

367

389

1042

329

426

1041

341

435

1041

328

427

1041

391

440

1041

327

437

1041

369

388

1041

405

388

1041

461

390

1041

428

375

1041

366

380

1041

381

401

1041

377

442

1040

439

433

1040

412

390

1040

389

364

1039

371

431

1039

466

409

1039

293

438

1039

327

426

1039

357

396

1039

370

376

1039

323

442

1038

310

422

1038

438

380

1038

426

366

1037

409

424

1037

314

442

1037

283

439

1037

428

392

1037

354

391

1037

392

388

1037

399

389

1037

396

369

1036

425

365

1036

331

446

1036

383

437

1036

267

441

1036

388

397

1036

358

389

1036

372

392

1036

469

336

1035

286

427

1035

324

435

1035

355

433

1035

392

424

1035

351

392

1035

413

384

1035

390

392

1035

399

389

1035

361

386

1035

334

428

1034

316

453

1034

344

425

1034

379

392

1034

330

444

1033

377

435

1033

398

390

1033

413

368

1032

436

415

1032

325

429

1032

379

425

1032

355

420

1032

412

369

1031

459

408

1031

350

422

1031

341

416

1031

364

425

1031

418

357

1030

412

369

1030

425

372

1030

426

373

1030

308

425

1030

359

426

1030

340

425

1030

329

427

1030

324

423

1030

384

393

1030

359

433

1029

326

430

1029

320

430

1029

327

427

1029

390

430

1029

347

433

1029

345

432

1029

343

422

1029

303

443

1029

349

416

1029

399

384

1029

379

423

1028

420

434

1028

332

432

1028

349

444

1028

353

435

1028

371

415

1028

393

386

1028

321

431

1027

325

439

1027

286

439

1027

346

436

1027

434

368

1026

308

443

1026

330

428

1026

382

381

1026

375

422

1025

350

437

1025

301

439

1025

315

415

1025

456

384

1025

429

367

1024

312

438

1024

310

437

1024

362

425

1024

399

368

1023

302

435

1023

413

364

1022

395

366

1022

408

373

1022

330

442

1022

378

359

1021

358

416

1021

396

389

1021

375

390

1021

407

364

1019

285

423

1019

296

421

1019

394

418

1019

406

373

1018

400

367

1018

427

413

1018

367

415

1018

380

415

1018

351

419

1018

387

412

1018

337

428

1018

341

430

1018

409

367

1017

386

370

1017

391

367

1017

336

409

1017

318

428

1017

300

444

1017

291

431

1017

334

415

1017

341

416

1016

349

429

1016

327

423

1016

408

423

1016

370

435

1016

300

432

1016

279

431

1016

336

430

1016

342

430

1016

330

414

1016

338

416

1016

405

414

1015

299

419

1015

339

427

1015

313

423

1015

345

426

1015

328

434

1015

376

357

1014

446

363

1014

422

367

1014

294

429

1014

333

406

1014

301

426

1014

392

377

1014

431

375

1013

319

417

1013

293

436

1013

402

364

1012

364

409

1012

336

404

1012

291

421

1012

391

391

1012

372

388

1012

367

359

1011

395

357

1011

363

415

1011

247

409

1011

323

422

1011

338

419

1011

431

421

1011

415

365

1010

393

361

1010

408

378

1010

400

367

1010

333

410

1010

308

424

1010

325

424

1010

332

425

1010

328

423

1010

382

420

1010

327

422

1010

343

431

1010

304

444

1010

315

424

1010

379

384

1010

394

366

1009

361

363

1009

397

370

1009

395

373

1009

362

431

1009

380

383

1009

413

364

1008

402

371

1008

398

371

1008

424

407

1008

353

408

1008

365

423

1008

349

375

1008

374

368

1007

443

372

1007

319

413

1007

305

421

1007

308

425

1007

384

374

1006

362

394

1006

407

421

1006

304

419

1006

346

426

1006

278

431

1006

341

422

1006

396

364

1005

378

371

1005

377

371

1005

393

373

1005

406

372

1005

336

388

1005

347

375

1005

402

363

1004

399

368

1004

420

371

1004

340

386

1004

359

367

1003

366

370

1003

391

374

1003

375

369

1003

370

383

1003

393

375

1003

414

409

1003

390

417

1003

320

423

1003

301

428

1003

274

428

1003

346

424

1003

381

386

1003

375

382

1003

388

380

1003

360

371

1002

361

373

1002

420

375

1002

411

369

1001

382

366

1001

419

359

1000

381

399

1000

339

384

1000

273

447

1000

324

436

1000

293

425

1000

379

383

1000

357

374

999

416

373

999

388

370

999

383

378

999

417

373

999

361

407

999

346

385

999

322

428

999

436

407

999

400

409

999

408

362

998

395

367

998

364

364

998

448

371

998

395

372

998

351

408

998

276

425

998

422

410

998

424

383

998

406

360

997

391

357

997

356

368

997

316

424

997

304

422

997

301

414

997

371

394

997

355

358

996

360

360

996

349

362

996

383

367

996

360

363

996

384

371

996

333

387

996

247

466

996

341

411

996

388

357

995

391

370

995

374

383

995

293

426

995

311

422

995

402

409

995

333

386

995

392

358

994

378

357

994

379

370

994

382

370

994

365

376

994

409

362

994

317

429

994

295

428

994

364

365

994

392

360

993

387

372

993

391

369

993

324

422

993

314

423

993

334

410

993

326

417

993

377

369

992

379

363

992

384

368

992

399

366

992

330

410

992

359

420

992

346

414

992

351

378

992

385

360

991

411

372

991

381

371

991

349

410

991

299

421

991

361

383

991

399

365

990

392

369

990

334

385

990

288

425

990

413

381

990

376

361

989

350

362

989

347

365

989

388

370

989

319

433

989

294

432

989

358

424

989

381

389

989

400

360

988

382

367

988

373

363

988

434

372

988

383

368

988

383

370

988

376

372

988

342

381

988

332

403

988

272

429

988

307

412

988

357

385

988

385

370

987

388

367

987

371

374

987

369

378

987

390

399

987

312

420

987

336

394

987

402

382

987

378

361

986

430

369

986

333

380

986

342

418

986

412

359

985

385

359

985

356

359

985

374

369

985

331

424

985

310

469

985

381

362

984

383

366

984

362

397

984

315

415

984

319

421

984

341

366

983

348

402

983

303

425

983

363

393

983

349

424

983

331

422

983

296

414

983

325

377

983

422

358

982

430

367

982

310

415

982

293

422

982

351

401

982

358

367

981

406

369

981

384

366

981

407

365

981

366

372

981

354

403

981

318

418

981

373

370

980

326

402

980

308

428

980

261

414

980

373

363

979

323

417

979

313

414

979

281

420

979

308

419

979

355

356

978

410

361

978

394

368

978

407

407

978

403

407

978

340

404

978

297

417

978

327

417

978

269

431

978

378

423

978

262

433

978

338

420

978

409

391

978

423

363

977

373

367

977

336

366

977

434

367

977

334

366

977

355

405

977

340

418

977

307

409

977

370

426

977

317

403

977

291

421

977

315

416

977

363

388

977

327

417

977

378

359

976

391

364

976

424

364

976

333

362

976

369

371

976

278

420

976

284

422

976

323

414

976

277

408

976

314

409

976

343

428

976

340

456

976

266

409

976

339

402

976

351

396

976

325

378

976

376

358

975

351

365

975

268

419

975

297

413

975

282

414

975

274

422

975

333

412

975

296

424

975

300

387

975

367

359

974

378

363

974

387

414

974

271

419

974

300

425

974

308

421

974

277

414

974

348

395

974

370

396

974

394

379

974

357

381

974

322

381

974

377

356

973

365

394

973

343

413

973

321

407

973

312

413

973

297

410

973

297

423

973

267

428

973

309

421

973

339

387

973

328

371

973

362

379

973

328

416

973

303

424

972

394

421

972

391

359

971

374

371

971

409

361

971

376

371

971

356

388

971

308

405

971

260

419

971

372

408

971

349

402

971

344

386

971

351

388

971

411

366

970

353

366

970

290

416

970

324

405

970

375

399

970

352

383

970

346

381

970

416

360

969

357

358

969

323

404

969

297

429

969

344

392

969

311

386

969

378

363

968

388

411

968

285

400

968

292

387

968

346

388

968

345

360

967

340

400

967

323

402

967

330

387

967

342

384

967

308

384

967

415

358

966

362

368

966

335

398

966

309

458

966

297

408

966

309

418

966

276

395

966

375

382

966

295

389

966

346

428

965

270

420

965

285

386

965

290

398

965

297

395

965

334

405

965

409

401

965

330

400

965

342

387

965

397

385

965

326

378

964

321

455

964

375

384

964

345

389

964

404

386

964

351

384

964

297

385

964

361

362

963

302

416

963

332

413

963

285

413

963

339

401

963

365

387

963

381

385

963

298

396

963

312

369

963

357

375

962

307

407

962

270

410

962

306

411

962

336

384

962

339

384

962

388

365

962

413

327

961

354

366

961

316

408

961

211

412

961

287

416

961

344

396

961

384

397

961

346

397

961

349

382

961

388

390

961

305

372

961

360

381

961

351

372

961

380

354

960

273

420

960

328

405

960

301

395

960

304

394

960

359

369

960

310

373

960

295

406

959

325

401

959

322

401

959

316

395

959

339

380

959

307

374

959

345

383

959

355

379

959

356

383

959

333

392

959

338

389

959

408

366

958

264

419

958

365

424

958

393

382

958

346

382

958

318

379

958

341

380

958

325

383

958

289

409

957

339

389

957

330

384

957

342

379

957

360

359

956

359

363

956

370

359

956

288

405

956

345

417

956

322

404

956

316

410

956

399

384

956

348

377

956

400

378

956

334

398

956

355

388

956

355

385

956

395

363

955

310

414

955

265

434

955

356

403

955

320

396

955

346

381

955

371

382

955

294

382

955

354

362

954

409

357

954

345

364

954

354

370

954

274

414

954

286

420

954

286

469

954

278

408

954

313

400

954

369

394

954

297

397

954

346

385

954

336

385

954

363

386

954

410

355

953

354

361

953

348

392

953

309

409

953

260

402

953

318

396

953

316

411

953

238

429

953

320

401

953

300

399

953

355

376

953

310

369

953

352

365

953

324

381

953

351

360

952

356

376

952

307

405

952

278

389

952

341

379

952

358

384

952

400

380

952

302

379

952

316

366

952

333

384

952

300

386

952

335

408

951

291

472

951

323

379

951

319

386

951

329

381

951

342

380

951

329

381

951

341

380

951

327

380

951

353

362

950

341

392

950

358

396

950

378

392

950

343

377

950

326

403

950

325

379

950

379

376

950

358

373

949

311

407

949

284

408

949

291

410

949

283

414

949

283

425

949

303

401

949

306

388

949

321

393

949

358

386

949

313

391

949

374

384

949

288

375

949

337

377

949

369

367

948

383

361

948

293

406

948

298

406

948

321

402

948

312

395

948

334

394

948

277

390

948

344

379

948

330

378

948

321

411

947

251

423

947

238

420

947

292

392

947

293

432

947

377

380

947

328

378

947

371

386

947

323

386

947

322

389

947

321

378

947

304

377

947

345

374

947

371

352

946

368

370

946

402

362

946

275

411

946

259

413

946

289

403

946

331

396

946

347

397

946

335

390

946

324

386

946

392

377

946

307

374

946

324

390

946

349

374

946

248

418

945

292

413

945

351

409

945

270

415

945

298

450

945

257

404

945

343

384

945

290

377

945

329

366

945

337

378

945

335

375

945

339

381

945

371

359

944

387

365

944

357

366

944

279

402

944

183

423

944

331

409

944

284

405

944

278

409

944

331

422

944

320

393

944

285

385

944

332

393

944

297

398

944

331

380

944

311

377

944

309

377

944

335

378

944

327

378

944

351

387

944

348

375

944

344

378

944

342

375

944

327

364

943

347

367

943

359

361

943

372

408

943

330

416

943

290

401

943

251

421

943

259

411

943

278

404

943

304

452

943

265

392

943

324

397

943

306

395

943

276

390

943

327

384

943

278

382

943

334

383

943

315

384

943

332

378

943

297

377

943

375

379

943

291

377

943

378

371

942

282

409

942

285

402

942

289

414

942

264

402

942

285

397

942

294

410

942

320

384

942

333

379

942

366

383

942

337

377

942

379

389

942

338

376

942

327

379

942

334

373

942

351

363

941

298

416

941

248

427

941

266

396

941

368

393

941

274

405

941

274

394

941

253

396

941

354

383

941

323

385

941

293

377

941

280

377

941

353

369

940

352

358

940

275

405

940

254

415

940

252

416

940

280

408

940

265

419

940

317

384

940

327

379

940

304

391

940

313

378

940

332

379

940

280

384

940

349

356

939

359

368

939

327

387

939

330

389

939

293

406

939

288

412

939

295

410

939

308

392

939

367

383

939

316

388

939

327

380

939

330

376

939

308

410

938

249

420

938

301

426

938

306

419

938

283

401

938

254

400

938

357

386

938

329

391

938

280

390

938

341

387

938

392

360

937

237

423

937

272

415

937

233

394

937

277

405

937

317

400

937

328

395

937

325

381

937

318

397

937

331

379

937

331

377

937

330

383

937

357

355

936

360

365

936

381

391

936

243

418

936

254

408

936

303

406

936

281

396

936

326

382

936

336

379

936

348

382

936

357

359

935

309

396

935

287

464

935

311

399

935

270

392

935

319

397

935

319

394

935

370

386

935

344

379

935

324

376

935

285

382

935

287

381

935

318

392

935

339

362

934

319

358

934

338

385

934

367

402

934

354

381

934

271

397

934

290

385

934

304

386

934

333

376

934

336

363

933

318

386

933

320

406

933

245

398

933

268

400

933

337

394

933

253

394

933

316

386

933

326

383

933

317

379

933

325

375

933

354

354

932

363

360

932

323

358

932

254

402

932

361

394

932

272

383

932

318

386

932

302

390

932

317

374

932

368

382

932

325

378

932

354

359

931

312

359

931

328

377

931

314

403

931

342

434

931

239

399

931

336

375

931

347

374

931

334

381

930

339

389

930

336

381

930

257

409

930

277

416

930

277

409

930

250

412

930

295

402

930

311

386

930

370

386

930

352

375

930

275

384

929

288

408

929

323

390

929

299

372

929

278

379

929

336

383

929

365

379

929

336

378

929

366

362

928

292

389

928

312

389

928

272

388

928

313

410

928

284

389

928

339

357

927

325

361

927

323

389

927

268

409

927

328

402

927

228

422

927

323

412

927

224

419

927

299

396

927

300

403

927

360

411

927

379

393

927

295

386

927

318

381

927

353

381

927

331

367

927

340

376

927

344

356

926

361

362

926

323

361

926

327

371

926

355

381

926

287

397

926

294

395

926

317

400

926

293

389

926

276

405

926

236

428

926

290

397

926

328

399

926

296

415

926

307

396

926

249

387

926

311

389

926

315

378

926

373

383

926

351

378

926

302

410

925

356

396

925

261

402

925

262

411

925

270

398

925

329

384

925

239

398

925

308

394

925

279

398

925

267

373

925

295

382

925

275

395

925

302

381

925

331

372

925

332

366

925

268

386

924

364

385

924

295

415

924

240

421

924

284

403

924

274

397

924

307

401

924

288

394

924

306

386

924

301

385

924

377

378

924

388

370

924

326

375

924

350

361

923

339

363

923

264

376

923

370

378

923

321

383

923

220

448

923

248

419

923

271

404

923

249

412

923

323

408

923

263

413

923

260

405

923

284

392

923

284

398

923

253

387

923

309

388

923

313

378

923

331

375

923

356

380

923

325

377

923

339

362

922

336

382

922

321

384

922

322

386

922

271

434

922

299

403

922

277

413

922

267

395

922

278

397

922

279

403

922

285

393

922

291

391

922

267

377

922

323

399

922

243

391

922

230

395

922

301

398

922

308

381

922

282

387

922

311

380

922

312

390

921

276

386

921

280

406

921

267

402

921

260

400

921

298

403

921

250

406

921

279

407

921

343

395

921

321

397

921

308

388

921

279

399

921

274

396

921

314

393

921

301

404

921

338

383

921

312

382

921

373

385

921

322

373

921

339

367

920

293

368

920

286

420

920

294

396

920

273

401

920

288

404

920

321

388

920

312

393

920

270

399

920

319

399

920

304

388

920

375

378

920

268

375

920

320

389

920

306

360

919

332

358

919

375

388

919

357

391

919

303

381

919

297

445

919

256

394

919

276

388

919

345

394

919

317

392

919

283

400

919

314

397

919

346

391

919

353

388

919

299

395

919

316

379

919

303

376

919

282

388

919

295

386

919

324

377

919

316

391

919

321

373

919

325

367

919

267

385

919

299

356

918

385

360

918

301

376

918

312

391

918

306

385

918

264

388

918

310

405

918

302

442

918

261

398

918

247

392

918

243

398

918

318

380

918

290

393

918

306

382

918

255

379

918

306

381

918

322

375

918

325

367

918

338

356

917

342

359

917

263

378

917

270

387

917

318

410

917

268

420

917

259

463

917

240

402

917

245

400

917

286

408

917

291

398

917

326

397

917

275

397

917

294

400

917

277

391

917

315

388

917

299

371

917

247

378

917

305

379

917

275

395

917

316

374

917

295

367

917

330

379

917

322

374

917

313

374

917

312

373

917

301

404

917

301

353

916

373

381

916

289

367

916

323

369

916

255

379

916

308

392

916

304

384

916

247

403

916

272

395

916

222

391

916

268

397

916

275

398

916

278

392

916

229

395

916

305

390

916

284

397

916

240

400

916

336

381

916

284

403

916

379

390

916

306

392

916

282

391

916

239

387

916

300

377

916

355

395

916

291

385

916

256

378

916

295

381

916

303

383

916

309

399

916

362

383

916

327

370

916

315

374

916

305

401

916

357

351

915

374

361

915

319

356

915

281

364

915

339

378

915

362

382

915

317

380

915

315

376

915

340

398

915

284

395

915

282

394

915

297

408

915

262

409

915

308

418

915

284

398

915

292

387

915

298

390

915

271

407

915

276

396

915

327

380

915

244

417

915

307

387

915

299

396

915

302

390

915

292

399

915

270

393

915

268

393

915

344

394

915

375

382

915

314

390

915

357

372

915

283

374

915

325

355

914

326

354

914

298

362

914

312

376

914

316

378

914

266

407

914

266

412

914

260

413

914

270

396

914

267

452

914

267

394

914

262

395

914

273

395

914

290

394

914

291

390

914

338

398

914

366

396

914

284

393

914

357

392

914

300

378

914

309

377

914

351

373

914

308

383

914

291

386

914

324

385

914

314

373

914

337

364

913

325

382

913

321

386

913

296

377

913

300

385

913

293

385

913

329

382

913

253

388

913

354

389

913

295

385

913

260

398

913

324

379

913

345

393

913

257

414

913

318

403

913

294

388

913

209

386

913

246

400

913

318

405

913

279

390

913

317

386

913

243

389

913

286

388

913

245

387

913

286

402

913

295

394

913

328

400

913

279

394

913

281

392

913

338

390

913

295

390

913

264

392

913

262

376

913

252

379

913

357

390

913

288

384

913

305

374

913

337

376

913

300

389

913

359

388

913

300

376

913

315

380

913

327

354

912

306

377

912

330

358

912

282

375

912

296

385

912

308

384

912

275

397

912

283

389

912

247

405

912

310

401

912

237

392

912

230

392

912

271

405

912

268

402

912

290

389

912

243

395

912

299

392

912

270

396

912

357

388

912

263

399

912

288

391

912

248

398

912

292

368

912

353

392

912

360

379

912

353

388

912

352

392

912

365

383

912

314

376

912

308

372

912

349

364

911

325

361

911

357

361

911

336

356

911

325

362

911

349

358

911

316

370

911

251

376

911

309

398

911

269

406

911

302

396

911

229

411

911

263

394

911

254

401

911

251

400

911

297

391

911

295

387

911

280

398

911

276

393

911

253

389

911

303

390

911

264

399

911

287

389

911

354

394

911

279

374

911

351

385

911

338

383

911

283

374

911

308

396

911

309

395

911

370

324

910

340

357

910

326

362

910

289

397

910

299

393

910

310

386

910

344

391

910

285

402

910

245

414

910

298

439

910

264

390

910

258

399

910

235

391

910

344

390

910

271

402

910

304

400

910

276

391

910

304

383

910

291

382

910

351

394

910

313

383

910

319

388

910

319

358

909

331

359

909

309

358

909

318

362

909

319

372

909

342

378

909

269

377

909

315

380

909

304

384

909

300

396

909

304

383

909

337

395

909

351

392

909

257

414

909

273

453

909

254

402

909

273

395

909

260

393

909

217

390

909

218

391

909

326

378

909

246

392

909

302

394

909

294

388

909

335

390

909

293

394

909

289

393

909

282

387

909

315

383

909

322

382

909

355

390

909

291

387

909

286

386

909

273

389

909

304

389

909

352

387

909

309

371

909

305

386

909

323

380

909

330

355

908

293

373

908

362

376

908

307

373

908

315

377

908

366

386

908

306

378

908

307

388

908

287

393

908

271

411

908

277

395

908

276

389

908

261

399

908

224

396

908

211

394

908

313

385

908

322

387

908

327

386

908

272

403

908

270

398

908

286

409

908

348

393

908

299

393

908

297

405

908

241

380

908

258

396

908

263

376

908

310

385

908

312

369

908

292

397

908

312

385

907

291

360

907

299

372

907

298

384

907

328

375

907

328

395

907

324

381

907

339

380

907

267

407

907

255

402

907

278

420

907

277

388

907

248

404

907

288

405

907

338

395

907

276

391

907

208

388

907

206

391

907

236

398

907

300

385

907

287

392

907

279

396

907

292

391

907

324

401

907

293

396

907

290

392

907

278

363

907

286

382

907

292

388

907

336

376

907

252

385

907

311

371

907

315

382

907

268

367

907

317

356

906

312

354

906

325

358

906

322

356

906

346

365

906

319

359

906

353

365

906

322

363

906

333

367

906

298

387

906

302

379

906

242

400

906

273

451

906

288

393

906

270

404

906

285

382

906

311

395

906

319

382

906

242

393

906

343

388

906

297

397

906

278

388

906

278

393

906

278

395

906

269

421

906

292

390

906

367

389

906

258

374

906

305

388

906

304

376

906

308

384

906

318

391

906

297

376

906

303

379

906

271

386

906

311

388

906

318

377

906

312

384

906

323

380

905

328

377

905

277

379

905

269

374

905

364

396

905

263

407

905

279

393

905

272

449

905

246

409

905

261

406

905

314

428

905

269

389

905

296

403

905

282

388

905

268

394

905

287

393

905

274

392

905

282

393

905

270

391

905

317

388

905

269

395

905

276

392

905

305

390

905

310

390

905

310

388

905

364

386

905

280

387

905

288

388

905

347

382

905

353

387

905

294

382

905

307

387

905

272

390

905

292

389

905

308

373

905

309

370

905

314

383

905

261

384

905

321

364

904

358

363

904

354

364

904

258

374

904

260

377

904

315

384

904

307

392

904

287

394

904

307

380

904

280

443

904

311

419

904

265

413

904

247

407

904

255

396

904

262

403

904

210

388

904

263

400

904

302

389

904

280

381

904

277

390

904

326

382

904

241

388

904

299

393

904

302

387

904

293

388

904

296

388

904

268

394

904

247

384

904

291

390

904

285

393

904

297

405

904

292

391

904

350

386

904

301

387

904

271

395

904

285

393

904

296

384

904

300

376

904

293

376

904

318

384

904

346

392

904

363

381

904

304

389

904

352

383

904

309

374

904

359

376

904

311

381

904

310

384

904

304

391

904

312

332

903

297

343

903

354

358

903

338

357

903

323

356

903

335

378

903

303

373

903

317

370

903

330

361

903

292

382

903

353

390

903

312

377

903

279

387

903

297

394

903

243

400

903

308

409

903

259

395

903

257

391

903

206

394

903

248

401

903

282

389

903

280

389

903

237

394

903

287

406

903

305

383

903

336

399

903

288

388

903

266

389

903

346

387

903

261

388

903

292

382

903

272

389

903

310

384

903

303

379

903

283

383

903

305

394

903

277

368

903

342

358

902

323

360

902

372

349

902

318

359

902

346

383

902

241

379

902

269

387

902

335

391

902

301

381

902

311

375

902

287

390

902

302

382

902

324

387

902

197

403

902

265

407

902

277

408

902

273

448

902

225

386

902

205

401

902

219

389

902

271

394

902

296

379

902

265

397

902

293

387

902

291

388

902

343

394

902

368

386

902

262

389

902

273

388

902

257

363

902

286

383

902

258

378

902

262

375

902

313

389

902

351

385

902

264

361

902

307

387

902

320

378

902

304

391

902

276

372

902

350

382

901

248

378

901

356

383

901

285

396

901

302

391

901

337

386

901

304

392

901

332

392

901

274

420

901

250

408

901

261

404

901

221

390

901

272

394

901

322

385

901

244

391

901

288

383

901

352

383

901

366

379

901

345

378

901

293

383

901

303

374

901

319

385

901

286

375

901

322

378

901

303

361

900

330

365

900

374

360

900

311

387

900

350

352

900

330

357

900

302

386

900

305

379

900

256

387

900

297

380

900

297

392

900

279

392

900

218

427

900

294

399

900

248

405

900

244

395

900

235

420

900

273

436

900

268

449

900

312

428

900

281

394

900

222

382

900

214

390

900

249

398

900

242

386

900

328

390

900

234

388

900

297

387

900

264

389

900

314

390

900

253

393

900

303

382

900

285

382

900

315

381

900

298

374

900

302

394

900

325

381

900

283

377

900

288

376

900

310

380

900

305

377

900

334

342

899

313

352

899

319

356

899

290

359

899

363

361

899

313

358

899

295

345

899

341

358

899

318

357

899

325

354

899

302

374

899

297

384

899

312

379

899

268

388

899

269

394

899

284

394

899

273

401

899

258

390

899

238

400

899

279

407

899

322

391

899

310

388

899

288

386

899

289

391

899

283

390

899

270

371

899

358

382

899

343

386

899

354

383

899

311

371

899

328

378

899

332

359

898

318

359

898

324

358

898

294

376

898

300

382

898

293

383

898

300

385

898

293

377

898

330

390

898

256

405

898

263

392

898

260

401

898

265

396

898

255

397

898

244

396

898

208

394

898

275

386

898

287

381

898

271

390

898

295

394

898

335

385

898

273

390

898

236

381

898

336

395

898

289

379

898

294

375

898

361

372

898

351

358

897

295

347

897

296

359

897

323

358

897

311

361

897

317

362

897

326

360

897

359

377

897

354

380

897

353

392

897

291

381

897

302

386

897

263

384

897

249

387

897

301

389

897

291

383

897

336

416

897

232

404

897

259

451

897

264

408

897

270

385

897

266

397

897

301

385

897

254

386

897

240

390

897

295

387

897

293

388

897

275

386

897

293

372

897

328

374

897

316

378

897

305

378

897

324

355

896

319

362

896

374

352

896

326

366

896

292

376

896

295

376

896

324

378

896

298

384

896

286

389

896

254

456

896

244

405

896

286

397

896

267

406

896

229

406

896

195

396

896

284

387

896

277

395

896

272

398

896

289

393

896

282

390

896

298

388

896

289

380

896

251

375

896

312

378

896

271

370

896

346

382

896

359

374

896

285

377

896

317

361

895

319

362

895

310

359

895

326

360

895

300

389

895

306

374

895

320

379

895

303

380

895

304

385

895

302

377

895

313

373

895

280

378

895

289

388

895

197

453

895

270

447

895

266

438

895

275

399

895

300

380

895

289

387

895

310

367

895

310

369

895

348

387

895

238

375

895

336

357

894

292

355

894

344

364

894

282

353

894

339

362

894

306

361

894

302

385

894

352

379

894

298

379

894

284

386

894

276

442

894

285

389

894

256

387

894

285

382

894

230

386

894

246

385

894

237

386

894

243

371

894

294

371

894

286

379

894

296

376

894

263

375

894

308

360

893

310

352

893

315

363

893

342

358

893

322

356

893

323

358

893

318

357

893

290

377

893

301

373

893

300

369

893

321

374

893

295

378

893

252

384

893

297

388

893

326

391

893

261

394

893

316

374

893

295

383

893

203

448

893

254

415

893

227

392

893

271

396

893

280

390

893

291

382

893

216

387

893

307

374

893

291

376

893

305

372

893

301

383

893

359

353

892

332

356

892

280

351

892

283

360

892

310

379

892

289

360

892

358

372

892

300

378

892

320

378

892

300

384

892

277

375

892

244

400

892

260

404

892

301

399

892

258

409

892

257

398

892

281

412

892

252

396

892

248

403

892

263

402

892

240

390

892

211

389

892

199

388

892

311

384

892

215

411

892

327

389

892

234

377

892

265

385

892

300

386

892

247

372

892

330

346

891

340

353

891

308

359

891

321

358

891

303

384

891

319

362

891

312

357

891

302

383

891

297

378

891

293

375

891

209

389

891

351

386

891

282

384

891

326

399

891

292

447

891

303

442

891

292

449

891

295

404

891

291

405

891

270

446

891

263

402

891

247

453

891

234

407

891

292

406

891

235

409

891

274

436

891

240

385

891

247

392

891

296

375

891

271

387

891

251

372

891

283

377

891

282

373

891

308

348

890

291

355

890

320

387

890

254

397

890

336

384

890

276

385

890

237

386

890

311

415

890

254

396

890

268

449

890

246

399

890

235

408

890

229

399

890

230

399

890

249

402

890

273

393

890

307

398

890

254

396

890

238

381

890

287

391

890

336

387

890

262

390

890

288

394

890

306

375

890

299

371

890

266

377

890

345

374

890

332

357

889

331

356

889

343

348

889

320

359

889

314

361

889

303

360

889

311

367

889

313

379

889

278

404

889

295

381

889

261

393

889

275

429

889

243

403

889

265

396

889

276

433

889

251

403

889

289

405

889

283

386

889

257

410

889

279

386

889

235

390

889

344

381

889

267

381

889

279

384

889

335

378

889

276

379

889

283

369

889

312

374

889

301

383

889

354

324

888

307

360

888

357

359

888

339

359

888

288

372

888

258

373

888

308

378

888

300

391

888

279

402

888

236

400

888

215

407

888

232

395

888

272

405

888

243

397

888

272

385

888

197

396

888

266

407

888

286

384

888

271

396

888

318

379

888

254

371

888

292

376

888

346

380

888

348

373

888

280

377

888

301

368

887

282

342

887

275

350

887

346

358

887

306

365

887

245

379

887

254

401

887

264

402

887

230

396

887

245

402

887

251

403

887

231

398

887

257

404

887

283

398

887

313

378

887

272

391

887

249

387

887

267

376

887

298

369

887

298

370

887

309

375

887

303

379

887

320

349

886

306

347

886

273

350

886

312

362

886

307

359

886

361

361

886

342

357

886

320

377

886

333

382

886

262

374

886

289

386

886

287

380

886

287

383

886

290

379

886

298

388

886

250

392

886

278

408

886

275

402

886

252

393

886

272

401

886

259

387

886

320

378

886

266

387

886

278

387

886

317

394

886

332

387

886

268

394

886

273

392

886

283

390

886

268

388

886

236

379

886

313

371

886

265

363

886

300

369

886

295

380

886

296

386

886

280

376

886

301

367

886

313

348

885

286

355

885

306

357

885

302

361

885

322

355

885

278

376

885

301

381

885

276

382

885

265

395

885

257

444

885

240

392

885

257

451

885

237

396

885

266

386

885

253

406

885

293

399

885

204

397

885

197

393

885

281

385

885

301

384

885

266

360

885

345

380

885

280

379

885

331

364

884

308

353

884

322

361

884

257

360

884

299

364

884

340

381

884

356

379

884

276

383

884

250

382

884

220

432

884

307

405

884

307

405

884

246

389

884

244

397

884

204

401

884

190

403

884

243

405

884

282

402

884

244

390

884

240

398

884

219

391

884

258

379

884

294

381

884

270

377

884

283

378

884

295

373

884

312

378

884

309

371

884

301

369

884

312

367

884

297

374

884

297

355

883

300

354

883

305

359

883

297

360

883

282

348

883

333

382

883

290

378

883

284

375

883

213

387

883

252

399

883

245

399

883

254

396

883

255

387

883

264

386

883

271

389

883

283

389

883

289

392

883

300

380

883

302

380

883

300

372

883

296

371

883

281

372

883

237

382

883

249

378

883

303

354

882

329

356

882

306

358

882

258

372

882

263

384

882

340

384

882

298

389

882

240

371

882

251

401

882

256

393

882

249

406

882

296

400

882

262

435

882

236

399

882

262

398

882

257

402

882

241

393

882

233

400

882

240

394

882

236

387

882

198

391

882

257

392

882

253

390

882

232

398

882

216

404

882

260

392

882

288

390

882

214

403

882

198

401

882

196

388

882

274

390

882

277

393

882

293

385

882

284

386

882

243

377

882

338

366

882

283

376

882

281

375

882

303

370

882

256

369

882

220

384

882

289

376

882

311

376

882

311

355

881

321

354

881

310

356

881

314

364

881

296

382

881

264

363

881

314

362

881

231

372

881

333

378

881

318

378

881

242

374

881

327

383

881

249

390

881

216

383

881

279

399

881

259

446

881

258

400

881

235

399

881

241

395

881

246

402

881

251

402

881

242

396

881

225

390

881

262

383

881

235

401

881

217

408

881

205

393

881

200

392

881

202

395

881

239

397

881

280

403

881

280

403

881

249

390

881

250

394

881

255

410

881

268

390

881

242

391

881

278

381

881

291

380

881

269

385

881

291

370

881

293

368

881

286

374

881

301

378

881

328

371

881

260

366

881

283

387

881

286

365

880

334

356

880

332

356

880

239

384

880

306

370

880

237

408

880

280

397

880

255

444

880

252

392

880

272

410

880

245

395

880

259

404

880

246

399

880

236

405

880

222

397

880

254

386

880

222

397

880

228

398

880

237

399

880

244

402

880

248

395

880

245

394

880

259

394

880

272

392

880

248

387

880

252

383

880

245

387

880

197

402

880

250

395

880

261

386

880

195

405

880

220

403

880

281

388

880

285

394

880

291

387

880

298

366

880

279

372

880

290

364

880

296

366

880

284

375

880

289

370

880

294

364

880

278

374

880

308

338

879

320

355

879

320

350

879

326

361

879

308

356

879

300

364

879

299

367

879

280

385

879

283

376

879

273

382

879

282

384

879

318

391

879

287

379

879

262

398

879

259

448

879

283

440

879

234

401

879

238

402

879

258

402

879

242

407

879

245

403

879

266

400

879

243

393

879

248

387

879

232

393

879

256

381

879

229

396

879

253

384

879

252

387

879

207

390

879

295

389

879

230

414

879

204

393

879

287

371

879

293

369

879

284

370

879

295

381

879

280

355

878

338

355

878

293

386

878

305

379

878

298

359

878

307

365

878

349

381

878

265

385

878

285

375

878

305

382

878

296

421

878

191

444

878

317

400

878

247

395

878

241

402

878

249

400

878

253

390

878

246

387

878

203

383

878

275

404

878

275

407

878

236

392

878

203

390

878

217

391

878

207

391

878

258

392

878

265

390

878

250

393

878

275

395

878

184

400

878

190

395

878

286

386

878

308

393

878

247

371

878

260

387

878

255

385

878

272

367

878

338

376

878

304

371

878

259

368

878

287

375

878

332

338

877

313

346

877

309

350

877

332

359

877

309

355

877

300

356

877

276

373

877

330

388

877

303

375

877

330

379

877

275

373

877

278

383

877

281

377

877

282

386

877

300

402

877

253

406

877

238

393

877

272

398

877

261

443

877

249

392

877

263

397

877

262

404

877

245

403

877

252

404

877

265

375

877

244

393

877

253

391

877

239

390

877

245

403

877

249

403

877

206

395

877

282

395

877

246

379

877

261

392

877

300

369

877

246

372

877

295

364

877

277

373

877

303

366

877

331

349

876

302

358

876

317

350

876

295

353

876

318

353

876

320

354

876

287

383

876

341

352

876

297

376

876

303

378

876

281

399

876

283

426

876

259

402

876

211

394

876

202

410

876

248

398

876

240

388

876

231

390

876

236

410

876

206

390

876

270

376

876

238

402

876

195

386

876

191

383

876

262

397

876

223

397

876

219

400

876

202

387

876

255

384

876

203

388

876

194

392

876

238

388

876

185

406

876

253

399

876

255

388

876

280

384

876

280

374

876

303

377

876

293

371

876

330

378

876

247

370

876

310

365

875

289

362

875

274

347

875

348

356

875

297

352

875

291

376

875

314

363

875

304

383

875

280

371

875

335

381

875

283

377

875

287

372

875

297

378

875

248

385

875

275

389

875

249

388

875

238

401

875

247

394

875

280

390

875

213

394

875

251

396

875

202

396

875

196

401

875

255

401

875

253

444

875

185

387

875

254

388

875

251

392

875

219

392

875

228

391

875

200

381

875

219

396

875

245

400

875

259

391

875

270

382

875

190

390

875

220

397

875

223

387

875

277

393

875

249

386

875

309

377

875

292

367

875

300

372

875

296

365

875

275

378

875

288

369

875

282

368

875

296

377

875

300

355

874

312

349

874

298

346

874

310

378

874

296

375

874

283

373

874

278

386

874

281

379

874

332

380

874

290

376

874

268

438

874

220

378

874

242

398

874

233

396

874

238

390

874

215

402

874

252

401

874

271

397

874

266

397

874

239

394

874

248

383

874

238

398

874

196

386

874

197

381

874

252

400

874

271

393

874

261

392

874

197

404

874

275

389

874

277

372

874

296

370

874

305

363

873

268

362

873

277

343

873

275

346

873

301

349

873

273

375

873

280

377

873

333

378

873

287

372

873

282

386

873

298

374

873

348

381

873

287

379

873

342

385

873

270

381

873

225

382

873

271

385

873

235

386

873

313

389

873

325

393

873

264

385

873

281

386

873

198

393

873

204

395

873

229

399

873

213

393

873

282

397

873

232

387

873

254

394

873

220

392

873

209

412

873

234

391

873

279

404

873

280

407

873

241

387

873

181

395

873

204

401

873

246

404

873

242

393

873

269

383

873

248

389

873

199

393

873

275

392

873

185

390

873

262

384

873

275

397

873

258

384

873

243

395

873

259

391

873

200

396

873

243

399

873

254

395

873

240

378

873

277

387

873

267

361

873

301

374

873

317

371

873

354

365

873

290

370

873

263

364

873

279

356

872

304

348

872

295

363

872

276

353

872

310

358

872

296

354

872

279

382

872

307

378

872

336

367

872

297

382

872

288

376

872

297

386

872

310

382

872

275

377

872

248

377

872

227

379

872

279

384

872

286

382

872

265

386

872

323

386

872

283

382

872

256

394

872

242

393

872

218

400

872

244

398

872

282

391

872

226

405

872

242

400

872

230

394

872

254

389

872

259

406

872

200

387

872

258

385

872

242

402

872

193

384

872

235

401

872

239

400

872

177

390

872

238

395

872

246

398

872

226

397

872

273

395

872

255

385

872

245

388

872

251

387

872

225

384

872

221

383

872

200

391

872

253

393

872

241

397

872

244

383

872

318

390

872

250

370

872

337

375

872

296

367

872

286

378

872

288

365

872

269

359

871

338

366

871

288

364

871

283

360

871

286

349

871

265

353

871

308

358

871

300

350

871

345

359

871

320

353

871

303

344

871

261

374

871

335

370

871

280

370

871

274

379

871

301

384

871

331

376

871

210

375

871

212

391

871

349

381

871

266

380

871

289

377

871

275

383

871

279

380

871

284

395

871

163

402

871

238

394

871

262

390

871

207

385

871

269

380

871

250

410

871

224

396

871

218

379

871

233

387

871

266

391

871

239

395

871

242

386

871

212

396

871

242

399

871

250

392

871

258

384

871

188

391

871

198

382

871

181

395

871

227

384

871

258

386

871

238

397

871

250

387

871

308

389

871

290

375

871

300

383

871

331

373

871

274

373

871

290

370

871

292

364

870

310

357

870

337

354

870

292

355

870

306

352

870

308

344

870

311

359

870

306

354

870

294

355

870

252

357

870

328

379

870

351

352

870

334

375

870

313

350

870

331

383

870

251

394

870

269

384

870

283

383

870

242

375

870

278

400

870

281

375

870

284

380

870

251

374

870

275

374

870

294

390

870

248

397

870

298

397

870

281

404

870

288

404

870

253

395

870

227

399

870

242

392

870

244

389

870

238

396

870

277

397

870

260

394

870

205

392

870

232

399

870

241

396

870

231

392

870

199

388

870

189

384

870

190

387

870

200

388

870

274

390

870

265

372

870

187

392

870

268

378

870

194

388

870

229

404

870

283

384

870

237

367

870

280

371

870

318

369

870

304

365

869

298

355

869

291

345

869

295

357

869

327

355

869

290

357

869

323

354

869

267

348

869

288

386

869

297

381

869

315

375

869

269

383

869

328

387

869

269

380

869

270

384

869

197

429

869

275

394

869

273

381

869

181

395

869

253

401

869

208

379

869

269

394

869

260

392

869

222

397

869

255

399

869

224

397

869

261

389

869

233

394

869

227

386

869

244

396

869

199

385

869

203

383

869

211

392

869

197

387

869

190

391

869

242

385

869

253

392

869

255

385

869

242

389

869

203

387

869

209

391

869

336

371

869

287

366

869

291

368

869

288

372

869

337

323

868

339

353

868

316

351

868

309

346

868

341

346

868

300

356

868

291

354

868

294

349

868

284

352

868

267

346

868

312

354

868

294

381

868

258

379

868

327

390

868

288

385

868

253

378

868

273

376

868

211

384

868

270

389

868

262

381

868

256

382

868

238

380

868

178

391

868

249

390

868

227

400

868

269

425

868

258

399

868

220

393

868

246

400

868

225

396

868

246

390

868

233

397

868

236

396

868

273

402

868

261

437

868

259

390

868

225

390

868

232

400

868

236

388

868

198

386

868

192

391

868

249

399

868

196

384

868

192

382

868

205

384

868

231

390

868

332

363

868

241

373

868

318

376

868

249

362

868

340

361

867

298

356

867

308

338

867

280

364

867

284

356

867

299

350

867

274

345

867

283

350

867

285

359

867

313

381

867

283

367

867

243

367

867

269

377

867

261

380

867

299

376

867

321

383

867

278

382

867

268

382

867

256

387

867

230

374

867

269

392

867

245

391

867

266

400

867

257

387

867

240

391

867

172

400

867

288

395

867

266

387

867

297

402

867

265

387

867

280

391

867

244

391

867

227

395

867

273

407

867

252

395

867

280

395

867

234

392

867

242

387

867

255

396

867

232

394

867

242

389

867

281

398

867

267

405

867

190

394

867

252

386

867

185

399

867

272

409

867

224

383

867

276

384

867

285

380

867

286

371

867

281

369

867

326

327

866

299

366

866

306

349

866

300

344

866

261

352

866

300

358

866

292

348

866

294

352

866

291

351

866

321

359

866

271

356

866

295

344

866

280

366

866

325

377

866

309

354

866

289

383

866

312

385

866

288

370

866

236

376

866

278

377

866

250

378

866

302

375

866

267

376

866

252

384

866

270

380

866

224

372

866

217

389

866

257

380

866

199

387

866

214

386

866

287

382

866

258

386

866

214

383

866

275

386

866

242

398

866

305

390

866

251

390

866

234

393

866

178

392

866

273

406

866

219

386

866

287

399

866

245

388

866

227

390

866

271

397

866

256

403

866

238

400

866

255

398

866

241

389

866

179

404

866

181

402

866

197

395

866

189

384

866

187

386

866

221

388

866

176

391

866

204

383

866

259

389

866

301

396

866

271

390

866

283

370

866

292

357

866

284

367

866

298

367

866

312

335

865

333

353

865

293

356

865

301

339

865

259

350

865

267

349

865

304

349

865

312

352

865

316

340

865

313

357

865

302

363

865

263

375

865

262

366

865

328

387

865

270

378

865

328

381

865

337

379

865

329

378

865

294

385

865

329

381

865

263

379

865

264

379

865

282

377

865

287

390

865

338

381

865

257

383

865

174

397

865

258

388

865

307

395

865

252

394

865

311

390

865

167

397

865

256

394

865

251

393

865

238

400

865

252

388

865

195

387

865

288

397

865

241

397

865

256

398

865

243

395

865

193

396

865

258

391

865

212

381

865

218

381

865

234

391

865

245

392

865

284

404

865

263

384

865

224

405

865

227

390

865

256

383

865

236

395

865

241

392

865

254

394

865

241

395

865

243

391

865

238

387

865

263

386

865

257

399

865

211

388

865

257

381

865

249

384

865

270

385

865

260

383

865

325

381

865

280

376

865

326

374

865

271

370

865

266

374

865

296

357

864

300

353

864

283

360

864

295

348

864

310

353

864

311

344

864

261

346

864

292

350

864

344

354

864

335

351

864

303

353

864

302

358

864

265

389

864

282

360

864

276

370

864

292

384

864

263

388

864

327

386

864

255

389

864

274

389

864

298

386

864

284

376

864

272

384

864

264

384

864

227

409

864

281

409

864

234

404

864

235

394

864

183

398

864

209

399

864

276

385

864

224

390

864

232

393

864

241

388

864

242

399

864

244

403

864

250

401

864

214

396

864

228

392

864

255

386

864

207

382

864

233

380

864

236

389

864

215

399

864

189

385

864

299

398

864

206

382

864

301

365

863

272

359

863

340

355

863

287

364

863

275

364

863

307

354

863

289

360

863

287

355

863

279

362

863

288

366

863

341

345

863

294

347

863

287

354

863

266

346

863

300

352

863

288

377

863

331

370

863

212

383

863

304

380

863

274

378

863

294

377

863

267

382

863

273

372

863

323

390

863

336

380

863

341

376

863

276

378

863

298

377

863

266

379

863

248

384

863

229

385

863

268

384

863

264

381

863

255

385

863

316

390

863

187

384

863

205

396

863

186

399

863

273

381

863

252

394

863

266

388

863

205

401

863

263

400

863

237

393

863

234

387

863

251

388

863

273

394

863

264

387

863

260

399

863

255

396

863

218

386

863

218

384

863

237

398

863

210

392

863

257

392

863

255

387

863

259

385

863

191

388

863

284

368

863

326

371

863

229

378

863

330

352

862

300

347

862

261

342

862

259

349

862

300

351

862

294

374

862

276

383

862

303

372

862

291

380

862

269

392

862

337

377

862

268

378

862

269

373

862

256

381

862

280

365

862

255

373

862

272

381

862

269

380

862

253

383

862

262

373

862

244

390

862

204

378

862

208

383

862

262

384

862

267

383

862

199

397

862

285

392

862

252

387

862

255

392

862

269

380

862

186

395

862

297

397

862

243

400

862

223

400

862

257

389

862

238

401

862

240

389

862

210

376

862

249

386

862

296

405

862

254

398

862

223

403

862

232

404

862

236

392

862

232

396

862

267

392

862

246

400

862

247

387

862

250

391

862

229

387

862

243

393

862

271

398

862

238

389

862

252

399

862

239

399

862

221

394

862

258

400

862

254

395

862

245

383

862

254

382

862

219

398

862

247

394

862

241

394

862

251

400

862

240

387

862

314

340

861

320

350

861

283

356

861

292

348

861

254

350

861

303

356

861

255

354

861

320

348

861

280

350

861

318

353

861

301

353

861

269

356

861

317

385

861

278

366

861

273

394

861

300

398

861

320

389

861

277

377

861

262

381

861

277

374

861

235

368

861

307

389

861

257

386

861

205

388

861

283

396

861

239

393

861

253

400

861

250

390

861

293

396

861

243

394

861

185

395

861

238

395

861

177

396

861

169

404

861

233

400

861

219

399

861

228

397

861

203

378

861

212

391

861

247

395

861

186

395

861

202

399

861

240

403

861

243

399

861

244

387

861

236

390

861

256

383

861

246

392

861

234

394

861

233

395

861

236

387

861

270

391

861

253

389

861

218

381

861

258

387

861

210

397

861

243

399

861

212

393

861

217

388

861

230

394

861

196

390

861

256

391

861

194

385

861

219

391

861

331

375

861

336

360

860

297

340

860

290

350

860

310

354

860

266

347

860

326

357

860

281

353

860

308

348

860

331

355

860

283

357

860

264

354

860

297

353

860

322

381

860

317

386

860

269

373

860

257

378

860

290

385

860

322

384

860

331

384

860

229

378

860

321

379

860

255

379

860

271

379

860

258

384

860

273

383

860

250

387

860

217

386

860

258

386

860

181

393

860

262

385

860

290

381

860

181

392

860

244

399

860

192

408

860

213

404

860

286

390

860

243

398

860

191

391

860

249

398

860

231

395

860

252

396

860

190

401

860

252

402

860

258

381

860

242

383

860

266

396

860

237

398

860

198

405

860

256

392

860

224

395

860

215

375

860

258

398

860

229

393

860

225

393

860

220

391

860

222

391

860

221

392

860

238

395

860

244

394

860

237

399

860

270

388

860

226

390

860

250

402

860

237

399

860

224

399

860

260

390

860

254

400

860

224

395

860

240

389

860

266

395

860

240

397

860

222

400

860

239

398

860

246

402

860

244

394

860

230

393

860

195

386

860

282

368

860

313

345

859

287

360

859

286

355

859

301

340

859

279

359

859

285

349

859

257

351

859

301

360

859

302

351

859

263

371

859

280

383

859

313

389

859

332

385

859

251

391

859

331

383

859

277

373

859

276

371

859

265

375

859

279

373

859

281

385

859

266

370

859

255

376

859

215

373

859

277

384

859

274

372

859

217

386

859

273

378

859

261

379

859

266

387

859

281

384

859

197

383

859

239

395

859

199

384

859

191

388

859

269

388

859

186

395

859

262

396

859

223

399

859

256

387

859

266

382

859

290

379

859

250

408

859

307

389

859

235

398

859

189

394

859

236

390

859

245

390

859

242

399

859

226

400

859

255

388

859

188

400

859

192

396

859

243

400

859

240

400

859

217

398

859

222

396

859

205

386

859

237

390

859

217

376

859

240

382

859

238

376

859

260

399

859

241

394

859

256

393

859

263

389

859

232

384

859

215

394

859

254

389

859

208

392

859

213

384

859

217

388

859

225

397

859

243

393

859

244

393

859

215

383

859

247

396

859

210

401

859

226

393

859

226

393

859

196

395

859

304

356

858

295

368

858

279

345

858

289

346

858

266

365

858

289

355

858

307

355

858

297

369

858

228

384

858

291

371

858

281

384

858

262

378

858

254

373

858

314

379

858

241

382

858

268

381

858

261

383

858

249

386

858

271

377

858

262

373

858

262

378

858

254

387

858

246

380

858

228

375

858

274

388

858

304

387

858

250

388

858

261

384

858

176

396

858

214

387

858

313

391

858

262

378

858

198

392

858

239

378

858

223

395

858

259

407

858

238

398

858

247

399

858

239

385

858

261

379

858

214

378

858

195

393

858

227

398

858

200

388

858

247

387

858

252

386

858

246

394

858

220

397

858

238

397

858

255

385

858

244

394

858

222

392

858

260

398

858

265

395

858

245

390

858

258

394

858

221

387

858

213

390

858

232

390

858

258

392

858

233

392

858

248

385

858

203

391

858

210

386

858

236

394

858

222

390

858

248

385

858

210

388

858

297

362

857

322

359

857

300

350

857

300

358

857

310

353

857

321

361

857

327

356

857

287

364

857

282

380

857

274

391

857

311

389

857

312

391

857

271

377

857

265

380

857

293

378

857

298

378

857

277

370

857

257

382

857

199

384

857

221

372

857

203

375

857

266

387

857

271

375

857

268

378

857

202

381

857

213

386

857

279

373

857

267

381

857

252

387

857

236

383

857

253

394

857

285

384

857

246

387

857

240

387

857

256

397

857

265

394

857

254

391

857

192

392

857

198

387

857

209

386

857

189

396

857

230

382

857

232

401

857

240

395

857

237

395

857

196

399

857

192

402

857

198

400

857

251

384

857

227

394

857

235

390

857

251

401

857

243

387

857

239

389

857

231

393

857

216

385

857

235

394

857

224

383

857

209

382

857

234

391

857

251

381

857

210

394

857

229

394

857

250

401

857

237

390

857

220

399

857

203

390

857

235

391

857

203

385

857

225

395

857

218

400

857

234

391

857

229

392

857

239

392

857

245

399

857

223

389

857

245

385

857

231

398

857

294

355

856

294

361

856

287

356

856

294

345

856

244

351

856

254

352

856

300

355

856

338

347

856

340

353

856

314

346

856

278

355

856

290

366

856

280

386

856

293

365

856

267

378

856

276

381

856

315

383

856

270

376

856

316

377

856

283

371

856

268

383

856

278

382

856

200

383

856

267

380

856

211

381

856

277

380

856

284

377

856

265

380

856

269

375

856

293

384

856

259

382

856

244

387

856

260

380

856

194

390

856

184

389

856

203

383

856

253

388

856

301

387

856

267

380

856

207

381

856

183

397

856

238

389

856

189

392

856

258

393

856

231

391

856

196

399

856

247

389

856

202

381

856

195

387

856

195

387

856

201

382

856

254

381

856

260

398

856

239

411

856

210

393

856

232

383

856

236

396

856

203

385

856

200

384

856

209

398

856

189

399

856

181

396

856

209

399

856

244

403

856

255

385

856

213

377

856

243

393

856

257

385

856

221

386

856

245

395

856

226

388

856

208

389

856

254

391

856

214

400

856

231

397

856

249

398

856

233

397

856

244

396

856

236

398

856

258

383

856

257

388

856

271

394

856

237

383

856

234

388

856

241

389

856

216

383

856

225

390

856

212

390

856

253

386

856

250

384

856

210

384

856

246

400

856

234

393

856

238

390

856

190

397

856

198

397

856

194

386

856

188

377

856

184

382

856

197

391

856

233

389

856

225

407

856

298

355

855

329

364

855

287

362

855

319

353

855

320

344

855

277

352

855

309

352

855

285

350

855

281

383

855

319

376

855

302

354

855

283

362

855

222

379

855

301

391

855

325

382

855

268

377

855

291

376

855

292

378

855

276

377

855

229

372

855

256

380

855

258

380

855

277

377

855

285

372

855

332

376

855

248

387

855

235

381

855

222

383

855

266

381

855

226

374

855

231

387

855

266

381

855

283

386

855

325

385

855

269

383

855

269

374

855

226

388

855

200

394

855

205

382

855

288

382

855

321

383

855

254

383

855

262

383

855

205

391

855

227

401

855

262

394

855

244

399

855

246

387

855

283

379

855

271

383

855

228

400

855

232

401

855

240

398

855

264

382

855

241

394

855

225

390

855

234

397

855

224

398

855

239

399

855

219

399

855

236

389

855

241

393

855

197

380

855

266

396

855

249

388

855

203

375

855

224

382

855

230

399

855

189

398

855

202

401

855

190

405

855

248

393

855

229

390

855

238

385

855

205

385

855

235

388

855

259

382

855

253

380

855

240

388

855

220

376

855

254

382

855

230

398

855

253

392

855

215

388

855

247

391

855

209

397

855

249

394

855

249

397

855

259

377

855

208

378

855

230

395

855

233

390

855

253

384

855

253

383

855

253

388

855

248

390

855

199

394

855

225

400

855

248

386

855

192

393

855

197

392

855

199

394

855

193

398

855

225

386

855

185

388

855

256

380

855

272

366

854

291

344

854

290

347

854

256

351

854

335

358

854

334

357

854

295

353

854

282

356

854

237

360

854

313

387

854

311

389

854

294

378

854

303

383

854

276

377

854

289

379

854

246

385

854

257

382

854

222

380

854

260

388

854

308

385

854

268

379

854

215

379

854

235

382

854

256

384

854

258

384

854

245

388

854

261

378

854

225

391

854

240

394

854

196

391

854

213

392

854

239

391

854

314

394

854

270

384

854

277

381

854

244

385

854

248

390

854

209

379

854

252

387

854

212

385

854

246

400

854

265

395

854

275

389

854

268

392

854

283

388

854

296

396

854

280

392

854

252

379

854

303

391

854

200

394

854

250

400

854

231

392

854

229

397

854

221

394

854

262

380

854

198

400

854

242

403

854

228

388

854

192

377

854

258

379

854

209

385

854

240

392

854

226

403

854

237

396

854

253

387

854

207

382

854

265

388

854

240

390

854

251

388

854

242

388

854

242

394

854

207

382

854

184

394

854

215

392

854

237

389

854

231

388

854

210

375

854

220

390

854

222

385

854

236

387

854

232

378

854

254

388

854

225

389

854

218

391

854

250

392

854

230

396

854

253

394

854

239

394

854

251

395

854

222

391

854

256

398

854

254

393

854

216

386

854

236

390

854

232

392

854

239

391

854

202

386

854

249

392

854

246

396

854

221

395

854

213

379

854

224

387

854

250

397

854

251

399

854

248

384

854

208

384

854

248

398

854

235

384

854

209

378

854

203

386

854

253

384

854

217

398

854

198

390

854

192

379

854

185

381

854

289

361

853

256

368

853

263

346

853

298

337

853

304

357

853

285

353

853

283

355

853

236

364

853

279

364

853

291

355

853

301

393

853

241

375

853

272

377

853

267

374

853

253

378

853

279

373

853

215

374

853

232

379

853

270

374

853

314

377

853

275

374

853

254

378

853

202

380

853

288

389

853

215

380

853

273

382

853

333

368

853

260

377

853

246

386

853

251

380

853

213

389

853

261

393

853

263

385

853

281

389

853

282

378

853

241

385

853

200

383

853

199

397

853

180

395

853

198

403

853

244

396

853

245

395

853

202

381

853

194

399

853

224

399

853

249

389

853

227

384

853

195

380

853

251

377

853

197

390

853

250

387

853

250

398

853

249

393

853

254

393

853

246

399

853

248

398

853

228

395

853

230

400

853

190

390

853

216

399

853

253

386

853

194

388

853

210

379

853

250

387

853

232

398

853

236

400

853

239

386

853

242

388

853

201

390

853

252

386

853

238

385

853

240

386

853

249

392

853

262

388

853

253

383

853

251

388

853

233

384

853

229

387

853

249

383

853

212

389

853

214

389

853

207

399

853

224

400

853

257

395

853

232

391

853

237

388

853

235

392

853

252

388

853

197

390

853

207

376

853

239

395

853

230

391

853

246

385

853

247

387

853

187

389

853

197

387

853

214

394

853

200

392

853

199

389

853

255

384

853

271

365

853

292

361

852

294

366

852

272

361

852

294

345

852

293

347

852

255

344

852

255

346

852

251

350

852

253

343

852

307

354

852

297

356

852

292

368

852

286

377

852

257

379

852

276

384

852

257

377

852

317

388

852

261

382

852

218

378

852

224

366

852

333

374

852

300

380

852

250

374

852

238

380

852

213

380

852

215

380

852

262

380

852

254

382

852

276

380

852

247

389

852

263

379

852

257

382

852

216

377

852

270

390

852

201

382

852

265

376

852

249

391

852

252

399

852

189

395

852

246

385

852

248

384

852

250

396

852

254

383

852

247

388

852

216

379

852

195

384

852

208

397

852

198

394

852

187

405

852

240

392

852

279

398

852

257

391

852

242

387

852

242

394

852

174

395

852

233

392

852

188

388

852

191

386

852

232

399

852

248

389

852

199

373

852

203

378

852

246

392

852

253

404

852

223

400

852

247

402

852

246

402

852

251

396

852

180

396

852

190

402

852

250

403

852

253

380

852

192

385

852

254

384

852

264

380

852

247

386

852

240

398

852

232

389

852

235

385

852

230

384

852

237

385

852

209

383

852

223

387

852

221

386

852

256

390

852

217

381

852

213

386

852

224

393

852

251

384

852

247

392

852

208

390

852

257

380

852

226

399

852

219

402

852

248

387

852

212

398

852

203

385

852

242

390

852

236

388

852

248

388

852

253

384

852

228

397

852

236

388

852

197

389

852

296

358

851

282

345

851

272

354

851

278

358

851

290

354

851

321

356

851

307

353

851

278

379

851

306

367

851

310

362

851

290

357

851

276

386

851

269

381

851

293

384

851

296

369

851

331

366

851

259

373

851

232

377

851

335

373

851

259

371

851

278

378

851

214

378

851

274

381

851

264

377

851

215

377

851

244

385

851

260

392

851

258

382

851

217

397

851

259

377

851

257

388

851

271

391

851

194

395

851

185

401

851

251

397

851

257

379

851

241

386

851

202

387

851

218

398

851

216

387

851

196

390

851

233

392

851

196

391

851

248

388

851

233

394

851

252

399

851

221

402

851

199

376

851

183

384

851

205

388

851

223

396

851

192

398

851

201

371

851

202

383

851

251

387

851

203

398

851

198

384

851

197

384

851

242

385

851

247

394

851

237

389

851

212

384

851

212

382

851

212

383

851

222

382

851

223

382

851

262

386

851

220

391

851

224

393

851

223

392

851

206

384

851

255

382

851

246

392

851

229

393

851

220

399

851

233

399

851

233

391

851

237

386

851

242

388

851

235

384

851

223

395

851

249

395

851

179

383

851

230

380

851

190

381

851

188

384

851

300

345

850

265

353

850

287

362

850

287

352

850

259

346

850

254

352

850

274

350

850

302

347

850

279

361

850

273

385

850

308

385

850

284

360

850

260

371

850

287

383

850

276

379

850

246

372

850

280

382

850

269

369

850

267

372

850

231

380

850

277

385

850

222

378

850

251

380

850

216

385

850

260

380

850

184

388

850

206

384

850

185

389

850

263

383

850

254

382

850

262

374

850

266

381

850

280

376

850

200

384

850

252

396

850

260

396

850

261

386

850

292

393

850

241

388

850

284

381

850

239

389

850

235

394

850

198

380

850

203

399

850

220

395

850

246

382

850

206

381

850

198

384

850

235

397

850

233

394

850

253

394

850

199

389

850

247

394

850

257

391

850

232

392

850

227

389

850

226

391

850

249

385

850

214

380

850

243

390

850

212

382

850

207

382

850

246

393

850

261

388

850

222

387

850

235

380

850

209

386

850

219

390

850

240

390

850

239

395

850

241

385

850

196

385

850

218

383

850

217

393

850

238

392

850

229

394

850

240

383

850

198

387

850

235

397

850

175

385

850

222

403

850

269

363

849

262

365

849

325

357

849

301

347

849

272

353

849

261

342

849

298

353

849

308

357

849

303

351

849

270

361

849

259

389

849

276

382

849

295

374

849

241

368

849

320

376

849

318

364

849

274

385

849

266

379

849

281

382

849

264

377

849

205

385

849

229

385

849

258

384

849

255

383

849

198

383

849

206

389

849

262

390

849

280

385

849

195

381

849

229

395

849

243

386

849

195

385

849

247

387

849

209

403

849

224

386

849

191

390

849

196

393

849

228

404

849

240

394

849

190

392

849

253

385

849

254

378

849

251

380

849

238

391

849

247

389

849

205

387

849

229

397

849

246

386

849

210

380

849

250

396

849

228

390

849

240

393

849

210

384

849

205

398

849

226

394

849

247

388

849

238

429

849

307

339

848

311

354

848

293

345

848

280

366

848

291

359

848

231

373

848

266

380

848

243

365

848

238

379

848

271

386

848

317

374

848

266

377

848

252

378

848

234

373

848

251

376

848

258

381

848

270

368

848

281

376

848

207

381

848

220

389

848

252

383

848

271

383

848

262

384

848

201

385

848

257

395

848

257

387

848

195

393

848

199

381

848

211

388

848

216

396

848

241

384

848

235

391

848

197

377

848

220

384

848

199

377

848

227

386

848

204

384

848

237

385

848

238

384

848

259

378

848

217

386

848

253

390

848

216

383

848

202

392

848

235

392

848

202

385

848

240

395

848

247

392

848

248

396

848

192

391

848

164

387

848

183

382

848

180

381

848

312

346

847

308

352

847

323

356

847

228

361

847

275

358

847

205

376

847

300

369

847

276

384

847

255

374

847

271

380

847

246

383

847

234

398

847

297

386

847

205

382

847

262

377

847

269

368

847

194

380

847

239

393

847

295

391

847

257

390

847

247

398

847

271

392

847

204

397

847

269

381

847

287

381

847

241

383

847

249

381

847

215

377

847

196

375

847

196

379

847

235

385

847

234

388

847

269

395

847

226

399

847

239

385

847

248

382

847

206

374

847

227

385

847

241

388

847

217

380

847

202

380

847

237

384

847

245

385

847

239

387

847

203

392

847

235

391

847

186

389

847

196

396

847

184

397

847

183

400

847

255

376

847

300

345

846

254

343

846

241

357

846

316

342

846

273

354

846

282

351

846

295

353

846

231

357

846

278

361

846

301

368

846

279

364

846

283

362

846

273

383

846

258

383

846

273

380

846

225

379

846

253

383

846

307

382

846

257

379

846

268

381

846

282

374

846

213

380

846

202

382

846

181

400

846

227

395

846

234

391

846

188

386

846

229

396

846

220

383

846

206

388

846

244

382

846

239

385

846

201

396

846

240

384

846

199

383

846

206

371

846

242

391

846

202

391

846

218

394

846

213

389

846

199

390

846

243

433

846

238

385

846

253

373

846

285

364

845

280

351

845

331

348

845

281

354

845

274

353

845

266

358

845

243

379

845

246

373

845

269

371

845

260

376

845

248

380

845

247

376

845

279

394

845

226

380

845

288

380

845

182

386

845

167

389

845

223

394

845

222

392

845

195

387

845

217

382

845

232

396

845

239

383

845

209

384

845

242

400

845

207

383

845

198

388

845

242

391

845

188

389

845

197

394

845

210

397

845

173

381

845

284

358

844

257

333

844

278

352

844

221

368

844

294

354

844

204

385

844

247

373

844

259

373

844

286

376

844

249

373

844

256

380

844

250

381

844

274

374

844

260

375

844

254

377

844

288

390

844

265

376

844

242

399

844

213

394

844

226

392

844

229

393

844

229

391

844

196

376

844

191

378

844

226

386

844

193

384

844

245

388

844

248

396

844

258

381

844

242

395

844

216

394

844

226

380

844

314

391

844

301

339

843

322

347

843

273

351

843

253

349

843

319

378

843

232

376

843

267

383

843

265

379

843

223

375

843

267

389

843

304

387

843

226

397

843

250

378

843

240

386

843

197

381

843

232

375

843

216

390

843

217

384

843

209

375

843

206

376

843

222

390

843

205

388

843

242

382

843

203

395

843

244

380

843

192

380

843

292

339

842

252

366

842

294

355

842

245

388

842

281

379

842

294

368

842

241

378

842

218

384

842

263

379

842

253

385

842

260

379

842

185

385

842

206

392

842

215

382

842

230

381

842

182

381

842

236

383

842

192

390

842

190

384

842

198

372

842

187

378

842

195

378

842

196

379

842

202

379

842

205

378

842

197

384

842

226

391

842

238

383

842

200

392

842

300

401

842

265

355

841

278

345

841

243

343

841

278

353

841

249

350

841

333

358

841

271

358

841

269

363

841

236

360

841

276

378

841

266

380

841

264

384

841

267

367

841

265

381

841

266

366

841

220

371

841

270

371

841

223

385

841

266

377

841

189

393

841

220

390

841

243

394

841

233

382

841

251

378

841

231

389

841

202

383

841

246

386

841

193

387

841

235

394

841

164

383

841

231

382

841

304

381

841

286

345

840

277

360

840

316

356

840

232

365

840

264

360

840

316

359

840

262

364

840

300

367

840

283

354

840

302

350

840

269

363

840

294

359

840

290

360

840

273

381

840

287

369

840

276

372

840

268

376

840

301

389

840

275

381

840

247

379

840

250

379

840

229

382

840

200

377

840

199

383

840

199

398

840

232

391

840

195

385

840

199

380

840

198

383

840

288

340

839

229

366

839

290

354

839

278

378

839

295

350

839

275

378

839

272

364

839

264

374

839

255

377

839

278

373

839

241

364

839

272

367

839

255

375

839

252

370

839

229

385

839

210

378

839

284

384

839

281

380

839

251

378

839

259

373

839

250

426

839

232

378

839

198

380

839

190

383

839

252

376

839

210

378

839

187

387

839

247

382

839

291

401

839

226

358

838

240

353

838

309

374

838

272

379

838

296

351

838

276

383

838

290

387

838

279

376

838

256

369

838

232

371

838

260

368

838

263

369

838

249

377

838

271

377

838

226

382

838

238

395

838

218

392

838

238

380

838

232

392

838

230

383

838

198

378

838

229

387

838

201

379

838

220

374

838

200

375

838

192

384

838

213

394

838

203

397

838

249

392

838

268

350

837

278

358

837

273

346

837

327

353

837

223

362

837

308

380

837

274

374

837

292

365

837

251

378

837

260

382

837

252

376

837

282

376

837

306

378

837

263

373

837

219

375

837

265

380

837

216

389

837

209

387

837

228

387

837

211

386

837

223

389

837

230

384

837

238

385

837

190

392

837

214

395

837

253

341

836

273

347

836

270

345

836

255

359

836

278

357

836

288

355

836

290

351

836

293

353

836

276

370

836

313

381

836

255

379

836

283

372

836

232

370

836

213

375

836

267

377

836

211

373

836

263

372

836

277

385

836

236

386

836

245

377

836

239

369

836

196

381

836

196

380

836

229

382

836

236

387

836

205

375

836

207

384

836

236

384

836

232

375

836

242

379

836

194

386

836

230

390

836

239

378

836

190

395

836

275

351

835

274

347

835

296

347

835

268

344

835

267

359

835

238

355

835

272

364

835

281

368

835

266

366

835

261

381

835

300

381

835

265

371

835

255

374

835

262

372

835

267

376

835

280

360

835

270

369

835

254

383

835

222

375

835

261

380

835

219

372

835

189

394

835

232

379

835

250

391

835

193

377

835

240

380

835

231

386

835

182

386

835

194

381

835

201

383

835

226

399

835

233

390

835

204

370

835

209

383

835

194

384

835

231

383

835

222

386

835

177

393

835

278

359

834

270

360

834

268

346

834

287

359

834

285

355

834

267

357

834

287

350

834

270

362

834

270

385

834

277

364

834

224

372

834

257

370

834

294

387

834

194

381

834

255

371

834

265

375

834

211

374

834

238

378

834

232

386

834

230

379

834

222

396

834

230

392

834

208

386

834

245

376

834

195

389

834

226

390

834

290

355

833

258

356

833

224

360

833

298

350

833

279

348

833

296

353

833

246

361

833

259

376

833

254

372

833

231

363

833

299

377

833

260

383

833

307

374

833

252

369

833

252

372

833

262

377

833

235

383

833

231

391

833

243

384

833

247

377

833

279

378

833

274

385

833

195

385

833

183

385

833

243

377

833

206

379

833

191

381

833

220

392

833

202

379

833

226

383

833

186

394

833

298

358

832

228

358

832

224

360

832

322

356

832

287

355

832

286

352

832

272

362

832

271

364

832

270

359

832

294

376

832

272

364

832

243

375

832

244

374

832

197

383

832

186

384

832

188

382

832

322

354

831

279

358

831

225

361

831

307

360

831

219

362

831

277

376

831

272

351

831

254

366

831

266

366

831

230

369

831

268

381

831

265

373

831

290

367

831

264

369

831

266

373

831

269

393

831

198

379

831

188

378

831

210

381

831

189

397

831

189

382

831

194

379

831

199

387

831

188

384

831

234

385

831

185

385

831

189

384

831

227

381

831

246

397

831

277

347

830

315

344

830

314

352

830

268

349

830

261

355

830

260

357

830

232

367

830

254

372

830

217

373

830

263

380

830

248

378

830

254

373

830

303

378

830

263

379

830

291

360

830

206

383

830

271

375

830

225

382

830

193

370

830

246

374

830

188

381

830

200

375

830

196

387

830

242

390

830

291

350

829

278

357

829

293

357

829

289

351

829

237

355

829

260

361

829

267

366

829

256

381

829

287

366

829

298

378

829

188

374

829

188

385

829

186

384

829

289

387

829

275

365

828

296

351

828

269

347

828

258

351

828

288

354

828

293

351

828

269

349

828

292

361

828

263

369

828

258

360

828

248

375

828

250

366

828

252

372

828

248

374

828

222

368

828

287

377

828

192

376

828

253

367

828

250

373

828

239

372

828

183

385

828

182

384

828

199

367

828

237

380

828

226

387

828

185

387

828

235

381

828

235

394

828

223

403

828

271

341

827

264

345

827

277

357

827

275

364

827

254

355

827

252

361

827

218

359

827

288

352

827

202

371

827

280

366

827

220

377

827

259

382

827

190

377

827

197

370

827

189

373

827

210

390

827

226

383

827

266

346

826

260

352

826

296

356

826

261

357

826

300

377

826

319

359

826

285

351

826

258

359

826

281

359

826

232

358

826

288

356

826

297

381

826

251

375

826

262

371

826

265

369

826

218

366

826

291

370

826

261

414

826

236

375

826

232

380

826

185

381

826

240

377

826

228

372

826

289

356

825

292

354

825

309

359

825

316

347

825

213

357

825

268

358

825

265

357

825

273

355

825

220

370

825

253

365

825

264

370

825

246

375

825

213

386

825

234

381

825

235

387

825

211

386

825

215

393

825

228

397

825

303

359

824

318

352

824

222

353

824

255

354

824

283

383

824

241

375

824

258

366

824

285

387

824

250

375

824

208

389

824

182

378

824

254

356

823

262

349

823

289

354

823

265

345

823

274

350

823

292

360

823

272

351

823

274

352

823

267

354

823

252

356

823

283

377

823

236

368

823

218

371

823

235

379

823

250

375

823

246

369

823

189

375

823

231

382

823

236

377

823

179

374

823

288

381

823

269

348

822

300

354

822

297

354

822

313

349

822

311

348

822

255

351

822

258

347

822

264

352

822

274

358

822

252

379

822

282

380

822

200

369

822

262

364

822

238

382

822

189

375

822

184

396

822

228

383

822

193

376

822

189

374

822

256

356

821

277

345

821

311

340

821

279

357

821

239

350

821

247

362

821

240

358

821

246

378

821

257

369

821

216

364

821

217

379

821

236

374

821

239

394

821

174

381

821

189

379

821

173

383

821

236

392

821

258

348

820

231

339

820

252

352

820

266

357

820

230

361

820

266

358

820

263

358

820

271

354

820

247

379

820

306

369

820

189

381

820

238

382

820

226

382

820

185

391

820

193

408

820

228

388

820

262

355

819

289

346

819

265

340

819

252

350

819

272

358

819

260

350

819

279

350

819

221

361

819

259

366

819

246

375

819

279

379

819

258

363

819

253

368

819

262

374

819

203

416

819

189

377

819

294

384

819

258

346

818

259

354

818

259

355

818

219

358

818

249

370

818

248

376

818

212

384

818

260

343

817

258

346

817

264

353

817

253

365

817

203

428

817

182

385

817

270

339

816

279

344

816

265

346

816

308

349

816

297

362

816

278

367

816

274

370

816

296

370

816

245

370

816

267

346

815

271

338

815

233

355

815

302

352

815

284

352

815

231

350

815

274

348

815

274

350

815

264

348

815

249

360

815

251

367

815

187

402

815

199

390

815

225

431

815

258

348

814

249

344

814

247

356

814

223

354

814

230

360

814

261

350

814

240

373

814

290

382

814

227

428

814

277

398

814

268

343

813

307

350

813

270

353

813

271

356

813

253

357

813

222

370

813

301

380

813

245

421

813

254

353

812

256

340

812

298

354

812

257

356

812

181

394

812

222

353

811

259

379

811

212

390

811

255

390

811

263

356

810

215

351

810

259

340

810

295

345

810

229

338

810

224

355

810

217

346

810

202

393

810

273

344

809

261

346

809

244

343

809

263

352

809

274

336

808

274

341

808

258

348

808

250

350

808

273

337

808

234

342

808

259

335

808

253

342

808

248

357

808

284

339

808

299

353

808

264

404

808

214

400

808

255

335

807

222

339

807

279

346

807

287

343

807

251

348

807

261

346

807

286

351

807

259

346

807

233

419

807

223

423

807

188

400

807

302

344

806

259

345

806

257

354

806

292

346

806

290

353

806

237

400

806

256

358

805

290

367

805

298

373

805

269

354

805

224

385

805

253

404

805

302

345

804

251

349

804

237

381

804

226

422

804

267

345

803

258

353

803

232

340

803

250

346

803

217

416

803

216

400

803

251

351

802

289

343

802

284

352

802

221

341

802

255

346

801

264

344

801

190

382

801

270

333

800

240

354

800

276

356

800

246

364

800

269

338

800

211

378

800

255

397

798

265

343

797

260

353

797

258

358

797

180

393

796

247

386

796

178

401

795

253

339

794

248

339

794

254

348

794

258

353

794

193

377

794

200

389

794

210

388

793

236

419

793

176

377

793

200

389

793

250

354

792

264

346

792

244

382

792

226

388

792

213

386

792

201

388

792

204

399

792

258

343

791

239

351

791

251

341

791

284

373

791

248

395

791

198

394

791

214

417

791

160

391

791

253

329

790

234

348

790

246

354

790

234

353

790

206

391

790

181

378

790

172

386

790

263

389

790

230

346

789

242

342

789

280

363

789

286

358

789

221

379

789

212

379

789

193

384

789

231

331

788

227

345

788

233

348

788

221

333

788

250

340

787

234

346

787

240

354

787

283

341

787

240

412

787

236

326

786

272

352

786

279

346

786

224

372

786

218

378

786

210

416

786

187

393

786

264

335

785

243

357

785

240

349

785

220

329

785

242

338

785

204

413

785

261

373

785

175

381

785

272

316

784

285

346

784

271

340

784

259

339

784

189

418

784

180

388

784

262

390

784

233

350

783

243

353

783

179

385

783

191

392

783

208

346

782

254

345

782

254

340

782

187

397

782

264

364

782

189

384

782

190

386

782

190

384

781

267

373

781

249

389

781

255

331

780

274

338

780

207

341

780

210

338

780

250

353

780

192

396

780

241

387

780

229

336

779

277

346

779

243

341

779

242

347

779

269

353

779

224

342

779

167

381

779

195

401

779

181

386

779

227

399

779

242

345

778

255

343

778

222

349

778

237

336

778

266

343

778

238

355

778

240

355

778

192

389

778

168

385

778

176

380

778

248

330

777

251

349

777

219

330

777

233

341

777

215

355

777

233

343

777

247

331

777

237

341

777

266

354

776

222

350

776

268

348

776

228

341

776

199

341

776

223

337

776

191

385

776

241

377

776

184

392

776

272

350

775

221

329

775

237

341

775

233

346

775

228

347

775

225

346

775

244

352

775

198

386

775

232

356

775

164

388

775

273

336

774

236

335

774

230

341

774

235

336

774

238

339

774

231

334

774

214

380

774

247

347

774

167

389

774

167

387

774

238

337

773

268

342

773

238

341

773

237

336

773

203

333

773

235

334

773

226

350

773

203

333

773

209

381

773

225

389

773

262

333

772

217

351

772

281

340

772

225

344

772

207

330

772

215

336

772

203

385

772

167

381

772

260

316

771

214

325

771

283

337

771

228

341

771

230

355

771

227

347

771

231

337

771

202

344

771

231

343

771

267

339

771

233

352

771

268

360

771

251

387

771

177

375

771

226

400

771

233

360

770

213

327

770

231

339

770

237

336

770

229

339

770

210

332

770

188

379

770

195

377

770

220

389

770

259

315

769

248

331

769

231

336

769

261

348

769

213

342

769

214

342

769

207

360

769

268

369

769

182

390

769

232

389

769

237

332

768

204

331

768

248

335

768

251

339

768

242

334

768

227

338

768

217

337

768

244

332

768

219

342

768

236

347

768

269

349

768

204

382

768

263

341

767

251

329

767

231

338

767

209

335

767

220

340

767

241

345

766

223

318

766

235

336

766

228

340

766

264

341

766

193

340

766

224

337

766

210

371

766

217

389

766

176

382

766

230

342

765

232

339

765

236

335

765

223

344

765

256

359

765

257

351

765

196

339

765

202

339

765

236

339

765

161

382

765

269

313

764

239

341

764

265

346

764

229

343

764

237

334

764

237

337

764

232

340

764

234

333

764

223

336

764

258

345

764

230

351

764

206

379

764

174

374

764

218

332

763

217

334

763

227

345

763

230

334

763

215

322

763

271

343

763

229

335

763

236

345

763

191

337

763

236

331

763

231

339

763

266

346

763

252

340

763

225

339

763

234

376

763

151

381

763

271

311

762

252

339

762

248

323

762

233

337

762

243

335

762

234

347

762

235

343

762

196

334

762

222

353

762

192

334

762

238

347

762

223

337

762

206

335

762

227

340

762

196

335

762

256

341

762

251

336

762

250

332

762

267

344

762

248

382

762

181

383

762

168

383

762

218

390

762

250

328

761

230

332

761

217

338

761

199

330

761

232

336

761

237

333

761

266

331

761

267

339

761

230

337

761

200

337

761

235

331

761

226

339

761

222

358

761

204

327

761

229

347

761

171

361

761

231

379

761

207

399

761

223

382

761

176

378

761

236

383

761

190

393

761

266

310

760

229

333

760

232

337

760

256

332

760

255

341

760

257

341

760

186

343

760

224

338

760

194

339

760

257

340

760

179

370

760

206

374

760

159

381

760

251

375

760

261

313

759

229

338

759

224

337

759

212

364

759

221

340

759

256

339

759

204

377

759

164

386

759

214

336

758

257

337

758

200

331

758

232

339

758

228

336

758

241

336

758

256

341

758

258

339

758

222

350

758

231

338

758

239

364

758

226

337

758

243

338

758

215

338

758

214

336

758

162

375

758

176

386

758

232

383

758

149

380

758

181

392

758

231

330

757

218

342

757

232

331

757

240

335

757

220

338

757

218

358

757

247

339

757

231

336

757

156

392

757

182

380

757

163

392

757

218

331

756

194

332

756

235

336

756

253

341

756

242

330

756

208

346

756

221

343

756

225

324

756

251

348

756

224

337

756

217

334

756

213

362

756

214

338

756

218

341

756

153

382

756

264

307

755

231

342

755

225

334

755

220

335

755

243

329

755

209

340

755

239

333

755

218

338

755

210

326

755

229

323

755

240

342

755

252

344

755

210

347

755

215

338

755

209

337

755

206

367

755

164

383

755

172

379

755

236

325

754

228

336

754

259

348

754

228

334

754

222

339

754

205

331

754

229

329

754

239

320

754

224

338

754

227

337

754

254

341

754

228

340

754

213

335

754

220

339

754

254

339

754

231

381

754

232

334

753

262

331

753

255

341

753

223

337

753

220

336

753

234

337

753

214

335

753

210

339

753

229

340

753

161

382

753

214

385

753

177

374

753

139

383

753

158

397

753

205

396

753

169

389

753

244

325

752

207

351

752

197

326

752

252

337

752

223

337

752

221

341

752

233

339

752

194

406

752

235

331

751

206

340

751

224

338

751

229

338

751

221

339

751

250

342

751

196

327

751

227

344

751

219

347

751

246

336

751

246

360

751

212

358

751

213

349

751

206

343

751

217

336

751

194

334

751

259

334

751

232

338

751

230

336

750

234

324

750

211

321

750

219

339

750

223

338

750

214

330

750

204

339

750

197

400

750

196

395

750

156

395

750

247

376

750

260

311

749

230

329

749

214

330

749

225

332

749

232

346

749

244

324

749

235

335

749

229

336

749

251

344

749

211

342

749

223

329

749

215

336

749

175

383

749

201

411

749

214

380

749

166

386

749

244

378

749

236

327

748

250

334

748

225

340

748

189

327

748

214

335

748

188

330

748

218

330

748

211

355

748

220

340

748

194

323

748

226

337

748

182

390

748

161

382

748

210

327

747

262

336

747

215

336

747

209

342

747

221

336

747

225

339

747

256

311

746

209

333

746

189

335

746

188

331

746

190

332

746

231

335

746

246

352

746

217

334

746

181

339

746

196

369

746

231

378

746

237

375

746

190

376

746

156

383

746

150

374

746

242

320

745

232

330

745

199

323

745

219

337

745

208

329

745

207

359

745

210

360

745

182

338

745

238

344

745

209

331

745

197

376

745

184

384

745

212

379

745

239

379

745

248

343

744

208

327

744

244

339

744

202

346

744

247

335

744

234

337

744

199

336

744

200

336

744

193

400

744

169

383

744

154

392

744

208

337

743

238

333

743

191

321

743

193

323

743

212

335

743

184

329

743

219

325

743

245

337

743

245

341

743

149

379

743

194

375

743

155

378

743

153

380

743

153

381

743

155

371

743

149

375

743

237

323

742

197

330

742

226

340

742

183

334

742

228

334

742

186

339

742

208

338

742

166

371

742

180

360

742

213

396

742

199

408

742

177

369

742

176

386

742

165

383

742

233

377

742

221

330

741

190

330

741

210

336

741

235

336

741

184

334

741

175

376

741

243

357

741

154

375

741

218

337

740

224

343

740

238

333

740

220

336

740

205

330

740

178

332

740

213

340

740

185

379

740

146

389

740

188

368

740

151

373

740

222

344

739

200

339

739

213

331

739

223

340

739

245

366

739

185

367

739

177

380

739

235

349

739

207

369

739

173

369

739

146

376

739

221

378

739

202

328

738

221

335

738

214

338

738

208

336

738

182

332

738

231

335

738

179

376

738

173

377

738

222

372

738

219

333

737

241

346

737

263

331

737

208

338

737

189

327

737

205

336

737

210

334

737

218

339

737

216

370

737

190

323

736

210

334

736

202

333

736

178

370

736

179

375

736

249

332

735

207

334

735

236

336

735

220

338

735

257

344

735

162

368

735

166

373

735

210

330

734

240

335

734

188

374

734

170

371

734

207

380

734

165

383

734

138

375

734

205

334

733

189

330

733

215

329

733

173

334

733

203

336

733

204

334

733

209

330

733

249

362

733

208

346

732

181

324

732

208

332

732

212

379

732

238

344

731

221

340

731

216

329

731

214

331

731

199

328

731

247

329

731

208

333

731

205

325

731

194

344

731

208

333

731

218

336

731

198

367

731

142

386

731

157

379

731

163

384

731

161

384

731

204

332

730

195

333

730

146

391

730

230

325

729

208

332

729

248

330

729

200

333

729

205

348

729

198

337

729

156

374

729

213

342

729

186

351

729

186

399

729

147

376

729

147

369

729

214

329

728

210

334

728

196

333

728

215

335

728

195

332

728

200

381

728

152

368

728

163

379

728

174

405

728

157

381

728

143

372

728

244

307

727

233

307

727

220

329

727

179

326

727

210

340

727

179

380

727

147

377

727

216

322

726

207

338

726

189

360

726

212

334

726

198

379

726

171

374

726

193

332

725

200

337

725

148

372

725

208

332

724

216

363

724

192

353

724

234

344

724

148

377

724

146

366

724

218

325

723

205

344

723

194

338

723

136

373

723

197

376

723

135

370

723

193

326

722

256

329

722

183

344

722

202

343

722

195

350

722

229

341

722

226

344

722

223

331

722

199

336

722

149

378

722

131

371

722

202

337

721

214

338

721

208

329

721

225

337

721

187

335

721

202

348

721

172

372

721

190

375

721

131

373

721

208

388

721

148

381

721

152

381

721

147

379

721

154

369

721

157

376

721

169

375

721

166

383

721

202

345

720

209

368

720

181

399

720

150

376

720

223

353

719

195

334

719

195

332

719

232

333

719

147

381

719

199

334

718

181

342

718

206

338

718

203

386

718

146

375

718

224

322

717

205

343

717

188

328

717

181

391

717

133

372

717

140

367

717

205

326

716

234

334

716

134

387

716

229

336

715

225

373

715

174

361

715

163

375

715

137

365

715

222

307

714

206

332

714

184

354

714

193

347

714

165

372

714

160

383

714

132

370

714

190

337

713

201

343

713

189

342

713

178

367

713

144

390

713

163

370

713

182

395

713

208

366

713

220

330

712

233

338

712

230

335

712

224

343

712

160

379

712

133

374

712

145

369

712

140

374

712

121

372

712

226

341

711

141

369

711

176

391

711

216

339

710

217

367

710

144

364

710

140

363

710

152

371

710

138

374

710

244

327

709

186

330

709

227

366

709

147

359

709

156

369

709

158

360

709

137

371

709

158

375

709

139

373

709

136

375

709

166

401

709

148

377

709

185

335

708

157

332

708

184

361

708

185

369

708

154

369

708

180

395

708

138

365

708

178

394

708

149

378

708

143

378

708

178

332

707

211

373

707

175

393

707

139

361

707

164

367

707

183

390

707

149

379

707

222

368

707

199

325

706

194

328

706

158

330

706

195

388

706

156

367

706

159

380

706

156

370

706

148

375

706

187

378

706

218

318

705

225

335

705

170

341

705

154

371

705

144

368

705

154

370

705

221

326

704

225

331

704

185

343

704

145

387

704

150

357

704

178

372

704

152

387

704

151

377

704

143

369

704

151

366

704

162

372

704

157

378

704

171

366

703

170

367

703

209

372

703

222

367

703

208

369

703

212

332

703

200

363

703

132

367

703

186

387

703

127

364

703

210

318

702

196

332

702

212

339

702

152

369

702

207

367

702

202

367

702

137

375

702

211

304

701

186

336

701

200

324

701

177

336

701

149

365

701

146

357

701

147

382

701

165

371

701

173

372

701

153

361

701

147

367

701

141

364

701

159

369

701

174

388

701

134

376

701

127

372

701

144

380

701

150

382

701

164

381

701

182

395

701

174

395

701

180

369

701

205

347

701

137

369

701

157

373

701

174

395

701

151

372

701

159

366

701

151

369

701

180

372

701

147

371

701

155

363

701

147

373

701

171

372

701

157

387

701

153

368

701

182

375

701

172

389

701

147

370

701

163

368

701

157

394

701

189

367

701

160

365

701

152

375

701

182

374

701

152

375

701

173

374

701

174

389

701

137

366

701

146

375

701

167

392

701

168

391

701

137

377

701

152

378

701

184

372

701

175

376

701

130

375

701

227

359

701

213

326

700

216

338

700

204

368

700

179

361

700

197

382

700

165

376

700

149

372

700

211

342

700

137

381

700

222

336

699

181

334

699

139

369

699

180

394

699

150

371

699

141

376

699

214

325

698

200

334

698

215

346

698

201

374

698

145

357

698

137

365

698

143

369

698

177

364

698

137

364

698

130

375

698

210

322

697

207

304

697

178

327

697

175

332

697

226

331

697

148

366

697

133

365

697

146

369

697

177

360

697

139

370

697

140

362

697

147

377

697

155

325

696

178

359

696

134

364

696

148

372

696

216

335

695

177

332

695

186

341

695

221

355

695

148

352

695

169

357

695

185

372

695

174

385

695

137

380

695

179

340

694

172

326

694

219

338

694

172

337

694

172

330

694

156

319

694

180

376

694

183

363

694

140

365

694

209

320

693

191

327

693

227

325

693

166

346

693

207

342

693

213

340

693

136

369

693

147

362

693

128

370

693

127

369

693

189

322

692

190

343

692

219

335

692

180

340

692

173

346

692

124

376

692

142

369

692

141

373

692

136

376

692

175

328

691

180

345

691

157

364

691

189

320

690

171

334

690

206

344

690

217

333

690

212

360

690

211

361

690

169

380

690

202

316

689

207

340

689

216

333

689

174

328

689

213

350

689

141

373

689

132

376

689

203

302

688

203

302

688

165

338

688

172

328

688

163

374

688

139

369

688

116

364

688

193

366

688

211

338

687

204

338

687

209

339

687

146

359

687

196

369

687

166

337

686

178

342

686

183

338

686

199

338

686

160

388

685

121

375

684

138

374

684

181

322

683

180

336

683

161

337

683

203

340

683

145

360

683

133

364

683

145

369

683

189

361

683

136

373

683

137

372

683

208

336

682

144

379

682

139

363

682

146

368

682

165

381

682

143

370

682

166

378

682

129

362

682

203

359

681

191

364

681

130

376

681

167

329

680

196

338

680

143

374

680

168

356

680

135

367

680

201

337

679

169

343

679

122

360

679

208

351

678

150

363

678

164

366

678

179

371

678

174

369

678

149

359

678

188

363

678

197

339

677

173

341

677

148

370

677

139

365

677

139

369

677

186

372

677

170

341

676

198

337

676

204

335

676

116

364

676

147

359

676

184

365

676

195

363

676

174

337

675

135

372

673

203

332

671

200

351

671

147

365

671

125

360

671

123

370

671

164

327

670

108

359

670

134

369

669

168

339

668

118

376

668

115

363

668

174

358

668

126

365

668

138

376

667

127

374

667

140

356

666

138

370

666

130

366

666

118

375

666

116

367

665

120

364

665

164

341

664

154

333

663

167

341

663

155

321

663

163

362

663

129

362

662

115

367

662

126

367

662

129

357

662

181

338

661

150

362

661

110

353

661

135

366

660

157

342

659

191

343

659

122

365

659

109

387

658

120

369

658

135

371

657

180

353

657

99

356

657

115

367

655

123

362

655

121

361

655

132

362

654

125

365

654

114

365

654

121

363

654

122

364

654

156

368

654

151

316

653

161

333

653

127

363

653

139

368

653

127

358

652

110

355

652

123

368

652

129

351

652

124

356

651

129

358

651

169

330

650

130

365

650

140

361

650

119

366

650

112

382

650

158

371

649

158

365

649

126

350

649

120

353

649

97

358

649

108

357

648

129

356

648

127

368

648

164

370

648

117

363

648

146

340

647

157

330

647

131

359

647

124

363

647

139

382

647

144

368

647

126

351

647

165

363

647

117

354

647

180

357

647

129

355

646

139

381

646

122

358

646

122

353

645

180

355

645

121

367

644

121

364

644

113

368

644

113

379

644

120

363

644

126

349

643

122

367

643

125

368

643

115

357

643

127

357

642

129

366

642

121

364

642

121

357

642

129

362

642

135

377

642

108

362

642

149

361

642

117

365

641

176

330

641

111

360

641

176

350

640

148

326

639

147

370

639

112

371

638

144

360

638

133

377

638

109

359

638

119

356

638

143

374

637

119

359

637

110

369

637

117

365

636

142

359

636

183

348

635

137

378

635

115

358

635

119

367

635

139

369

635

122

359

634

129

375

634

135

378

634

114

363

634

163

358

634

100

361

633

118

363

633

168

328

633

137

353

633

116

355

633

165

350

633

126

356

632

126

351

632

117

356

632

119

362

632

108

360

632

116

362

632

109

357

632

137

317

631

125

363

631

122

366

631

160

360

631

124

356

631

119

359

631

115

362

631

139

366

631

119

355

630

116

359

630

117

368

630

125

356

630

148

363

630

105

370

630

103

361

630

137

371

630

120

355

630

115

354

630

108

355

630

168

357

629

163

360

629

141

375

629

136

375

629

136

371

629

110

357

629

157

361

628

152

358

628

146

365

628

114

359

628

119

362

628

111

364

628

117

350

628

100

351

627

128

360

627

127

361

627

111

364

627

115

358

627

159

354

626

147

356

626

155

358

626

159

358

626

108

359

625

118

363

625

157

335

625

112

356

625

122

366

625

117

352

625

112

362

625

106

354

625

103

355

625

164

351

625

112

351

625

167

352

625

115

346

624

140

368

624

99

350

624

120

355

624

117

351

624

111

353

624

121

368

624

108

356

624

104

354

624

136

360

624

106

357

624

114

356

624

168

350

623

126

361

623

138

352

623

128

372

623

142

357

623

98

358

623

116

355

623

108

368

623

101

361

623

99

364

623

111

355

623

153

349

622

108

356

622

112

357

622

112

354

622

105

356

622

111

358

622

110

364

621

125

371

621

103

355

621

112

355

621

115

354

621

111

362

621

166

347

620

98

349

620

112

359

620

148

337

620

111

355

620

117

362

620

100

370

620

101

359

620

110

352

620

112

361

620

126

355

619

159

354

619

122

368

619

117

355

619

112

356

619

140

364

619

129

339

619

101

370

619

102

356

619

107

357

619

151

354

619

117

364

618

102

357

618

103

352

618

102

359

618

105

356

618

114

344

618

111

369

617

173

342

617

114

356

617

105

368

617

106

359

617

100

356

617

101

357

617

109

353

617

150

355

617

114

363

616

128

365

616

101

356

616

112

353

616

110

360

616

113

359

616

123

351

615

94

347

615

117

354

615

102

361

615

122

343

615

101

360

615

112

342

615

108

359

615

123

348

614

153

353

614

132

361

614

94

356

614

100

352

614

104

349

614

115

352

614

112

355

614

108

359

614

111

353

613

108

354

613

124

351

613

143

343

613

110

352

613

110

360

613

138

358

613

115

352

613

119

352

612

97

349

612

110

355

612

112

347

612

112

363

612

107

362

612

158

349

611

160

350

611

119

345

611

116

369

611

134

363

611

109

354

610

105

354

610

114

349

610

128

353

610

105

356

610

108

353

610

114

354

610

114

355

610

105

362

610

110

364

610

104

355

609

111

352

609

131

360

609

120

368

609

110

352

609

150

357

608

148

330

608

112

370

608

108

348

608

99

361

608

164

337

607

112

352

607

111

355

607

112

359

607

102

353

607

124

367

607

106

359

607

116

345

606

118

355

606

139

361

606

132

368

606

102

362

606

124

364

606

111

352

606

114

357

606

131

365

606

103

362

606

120

346

605

114

346

605

116

343

605

145

350

605

152

351

605

118

348

605

107

359

605

119

348

605

114

349

605

117

346

605

90

346

605

106

354

605

125

351

605

104

358

605

115

367

605

111

368

605

112

351

605

120

367

605

137

355

605

98

368

605

113

351

604

155

346

604

103

354

604

108

362

604

156

354

604

104

356

604

105

349

604

111

366

604

121

367

604

107

351

604

111

348

604

103

366

604

121

365

604

155

343

603

107

349

603

148

353

603

109

360

603

93

342

603

104

349

603

104

360

603

128

364

603

109

360

603

115

356

603

100

355

603

127

347

603

102

352

603

99

361

603

120

367

603

111

353

603

135

352

603

105

352

603

101

366

603

135

365

603

105

351

603

105

351

603

153

347

602

143

358

602

101

354

602

104

349

602

109

357

602

123

364

602

129

365

602

148

354

602

98

330

602

110

354

602

111

353

602

101

355

602

108

352

602

101

357

602

104

365

602

131

365

602

141

361

602

98

363

602

121

366

602

107

357

602

114

350

602

111

351

602

129

359

602

152

342

601

114

341

601

110

346

601

149

352

601

98

362

601

125

360

601

108

354

601

125

341

601

101

355

601

122

350

601

115

362

601

113

365

601

116

364

601

111

361

601

126

358

601

118

364

601

123

360

601

111

347

601

128

362

601

106

353

601

104

350

600

122

358

600

99

355

600

130

358

600

133

359

600

100

362

600

133

354

600

125

357

600

104

361

600

105

351

600

111

344

599

98

354

599

112

348

599

112

354

599

141

356

599

103

362

599

101

353

599

115

361

599

136

346

599

111

367

599

124

363

599

106

359

599

94

361

599

116

363

599

107

347

598

147

348

598

144

350

598

132

360

598

99

355

598

103

361

598

110

345

598

106

346

598

128

358

598

100

355

598

114

364

598

111

359

598

103

357

598

104

358

598

108

353

598

113

351

598

127

361

598

129

356

598

134

359

598

103

361

598

123

362

598

99

362

598

104

360

598

106

358

597

149

349

597

99

360

597

104

350

597

104

361

597

108

354

597

100

357

597

98

360

597

105

357

597

98

367

597

111

353

597

106

363

597

121

355

597

114

351

597

100

356

597

122

354

597

126

363

597

102

351

597

100

362

597

98

356

597

125

361

597

100

362

597

90

351

596

104

348

596

142

346

596

148

346

596

144

351

596

137

354

596

90

355

596

101

363

596

106

346

596

99

355

596

114

353

596

98

355

596

128

342

596

119

345

596

101

353

596

124

360

596

103

357

596

107

337

596

113

357

596

106

348

596

117

358

596

127

350

596

106

346

596

119

363

596

139

345

596

148

345

595

146

346

595

146

358

595

165

332

595

110

353

595

129

352

595

113

358

595

103

356

595

108

346

595

123

359

595

100

354

595

97

365

595

143

350

594

115

340

594

99

323

594

107

355

594

98

367

594

99

358

594

112

358

594

121

354

594

134

358

594

111

355

593

111

358

593

115

359

593

92

339

592

98

360

592

131

351

592

114

357

592

123

343

591



Postpatrim_2007

		HQD-16, document 3, Demande de renseignements no 2 de l'AQCIE-CIFQ, Question 13-C

		Profil postpatrimonial après ajustement à la courbe du décret 1277-2001 - Année 2007 (MW)

		Mois		Jour		Heure		Datevalue		D_DM		DH		G		G9		M		L		H		DT		Eclairage		Contrats		Total				Date		Residential		Ind.		Total

		1		1		1		1/1/07 0:00		285		- 0		82		3		119		196		- 0		7		6		143		842				1/1/07 0:00		292		339		842

		1		1		2		1/1/07 1:00		244		- 0		78		3		111		189		- 0		4		6		141		777				1/1/07 1:00		248		330		777

		1		1		3		1/1/07 2:00		226		- 0		77		3		109		189		- 0		5		6		141		757				1/1/07 2:00		231		330		757

		1		1		4		1/1/07 3:00		176		- 0		73		3		98		183		- 0		5		6		139		683				1/1/07 3:00		181		322		683

		1		1		5		1/1/07 4:00		181		- 0		72		3		99		183		- 0		8		6		139		692				1/1/07 4:00		189		322		692

		1		1		6		1/1/07 5:00		178		- 0		72		3		99		182		- 0		11		6		138		690				1/1/07 5:00		189		320		690

		1		1		7		1/1/07 6:00		194		- 0		72		3		104		186		- 0		11		6		140		716				1/1/07 6:00		205		326		716

		1		1		8		1/1/07 7:00		260		- 0		74		3		115		195		- 0		14		5		141		808				1/1/07 7:00		274		336		808

		1		1		9		1/1/07 8:00		297		- 0		77		3		121		202		- 0		16		- 0		143		859				1/1/07 8:00		313		345		859

		1		1		10		1/1/07 9:00		258		- 0		75		3		115		198		- 0		16		- 0		143		808				1/1/07 9:00		274		341		808

		1		1		11		1/1/07 10:00		243		- 0		72		3		110		193		- 0		21		- 0		142		785				1/1/07 10:00		264		335		785

		1		1		12		1/1/07 11:00		205		- 0		66		3		103		186		- 0		19		- 0		136		717				1/1/07 11:00		224		322		717

		1		1		13		1/1/07 12:00		193		- 0		63		3		100		183		- 0		17		- 0		139		697				1/1/07 12:00		210		322		697

		1		1		14		1/1/07 13:00		210		- 0		64		3		106		186		- 0		20		- 0		139		729				1/1/07 13:00		230		325		729

		1		1		15		1/1/07 14:00		197		- 0		64		3		102		181		- 0		21		- 0		137		705				1/1/07 14:00		218		318		705

		1		1		16		1/1/07 15:00		183		- 0		65		3		97		181		- 0		26		- 0		139		693				1/1/07 15:00		209		320		693

		1		1		17		1/1/07 16:00		303		- 0		78		4		120		197		- 0		29		5		141		877				1/1/07 16:00		332		338		877

		1		1		18		1/1/07 17:00		274		- 0		76		4		117		196		- 0		27		7		143		843				1/1/07 17:00		301		339		843

		1		1		19		1/1/07 18:00		285		- 0		77		4		119		197		- 0		29		7		143		861				1/1/07 18:00		314		340		861

		1		1		20		1/1/07 19:00		280		- 0		76		4		116		196		- 0		27		7		143		848				1/1/07 19:00		307		339		848

		1		1		21		1/1/07 20:00		185		- 0		71		4		98		185		- 0		33		7		140		723				1/1/07 20:00		218		325		723

		1		1		22		1/1/07 21:00		182		- 0		67		4		95		180		- 0		28		7		138		702				1/1/07 21:00		210		318		702

		1		1		23		1/1/07 22:00		174		- 0		67		4		92		179		- 0		28		7		137		689				1/1/07 22:00		202		316		689

		1		1		24		1/1/07 23:00		216		- 0		68		4		105		183		- 0		26		7		137		745				1/1/07 23:00		242		320		745

		1		2		1		1/2/07 0:00		200		- 0		75		4		100		167		- 0		22		6		140		714				1/2/07 0:00		222		307		714

		1		2		2		1/2/07 1:00		199		- 0		75		4		99		166		- 0		8		6		138		697				1/2/07 1:00		207		304		697

		1		2		3		1/2/07 2:00		195		- 0		74		4		98		165		- 0		8		6		137		688				1/2/07 2:00		203		302		688

		1		2		4		1/2/07 3:00		205		- 0		75		4		100		165		- 0		6		6		139		701				1/2/07 3:00		211		304		701

		1		2		5		1/2/07 4:00		196		- 0		75		4		99		164		- 0		7		6		138		688				1/2/07 4:00		203		302		688

		1		2		6		1/2/07 5:00		251		- 0		77		4		108		174		- 0		8		6		141		769				1/2/07 5:00		259		315		769

		1		2		7		1/2/07 6:00		317		- 0		81		4		121		184		- 0		9		6		143		866				1/2/07 6:00		326		327		866

		1		2		8		1/2/07 7:00		327		- 0		80		4		120		181		- 0		10		5		142		868				1/2/07 7:00		337		323		868

		1		2		9		1/2/07 8:00		251		- 0		76		4		104		175		- 0		10		- 0		138		759				1/2/07 8:00		261		313		759

		1		2		10		1/2/07 9:00		256		- 0		76		4		104		176		- 0		13		- 0		137		764				1/2/07 9:00		269		313		764

		1		2		11		1/2/07 10:00		240		- 0		75		4		100		175		- 0		16		- 0		136		746				1/2/07 10:00		256		311		746

		1		2		12		1/2/07 11:00		241		- 0		74		4		100		175		- 0		19		- 0		136		749				1/2/07 11:00		260		311		749

		1		2		13		1/2/07 12:00		251		- 0		74		4		101		175		- 0		20		- 0		136		762				1/2/07 12:00		271		311		762

		1		2		14		1/2/07 13:00		242		- 0		77		3		102		171		- 0		22		- 0		136		755				1/2/07 13:00		264		307		755

		1		2		15		1/2/07 14:00		225		- 0		76		3		98		171		- 0		19		- 0		136		727				1/2/07 14:00		244		307		727

		1		2		16		1/2/07 15:00		244		- 0		76		4		104		174		- 0		22		- 0		136		760				1/2/07 15:00		266		310		760

		1		2		17		1/2/07 16:00		444		- 0		89		4		132		195		- 0		25		5		141		1,035				1/2/07 16:00		469		336		1,035

		1		2		18		1/2/07 17:00		388		- 0		87		4		124		187		- 0		25		7		140		961				1/2/07 17:00		413		327		961

		1		2		19		1/2/07 18:00		332		- 0		85		4		116		185		- 0		22		7		139		888				1/2/07 18:00		354		324		888

		1		2		20		1/2/07 19:00		352		- 0		86		4		119		185		- 0		18		7		139		910				1/2/07 19:00		370		324		910

		1		2		21		1/2/07 20:00		255		- 0		82		4		103		179		- 0		17		7		137		784				1/2/07 20:00		272		316		784

		1		2		22		1/2/07 21:00		218		- 0		79		4		97		172		- 0		15		7		135		727				1/2/07 21:00		233		307		727

		1		2		23		1/2/07 22:00		249		- 0		80		4		105		179		- 0		11		7		137		771				1/2/07 22:00		260		316		771

		1		2		24		1/2/07 23:00		305		- 0		84		4		124		192		- 0		7		7		143		865				1/2/07 23:00		312		335		865

		1		3		1		1/3/07 0:00		207		- 0		65		3		87		191		- 0		13		6		139		712				1/3/07 0:00		220		330		712

		1		3		2		1/3/07 1:00		194		- 0		64		4		86		189		- 0		19		6		137		700				1/3/07 1:00		213		326		700

		1		3		3		1/3/07 2:00		193		- 0		64		3		86		187		- 0		21		6		138		698				1/3/07 2:00		214		325		698

		1		3		4		1/3/07 3:00		231		- 0		67		4		94		199		- 0		21		6		140		762				1/3/07 3:00		252		339		762

		1		3		5		1/3/07 4:00		244		- 0		68		4		98		193		- 0		18		6		140		772				1/3/07 4:00		262		333		772

		1		3		6		1/3/07 5:00		308		- 0		73		4		114		207		- 0		23		6		142		876				1/3/07 5:00		331		349		876

		1		3		7		1/3/07 6:00		229		- 0		71		4		100		194		- 0		21		6		134		761				1/3/07 6:00		250		328		761

		1		3		8		1/3/07 7:00		214		- 0		72		6		103		193		- 0		22		5		134		748				1/3/07 7:00		236		327		748

		1		3		9		1/3/07 8:00		229		- 0		75		6		110		189		- 0		19		- 0		134		762				1/3/07 8:00		248		323		762

		1		3		10		1/3/07 9:00		197		- 0		79		6		104		189		- 0		19		- 0		133		726				1/3/07 9:00		216		322		726

		1		3		11		1/3/07 10:00		213		- 0		77		6		108		195		- 0		17		- 0		134		749				1/3/07 10:00		230		329		749

		1		3		12		1/3/07 11:00		312		- 0		85		5		125		208		- 0		18		- 0		138		891				1/3/07 11:00		330		346		891

		1		3		13		1/3/07 12:00		219		- 0		79		5		108		192		- 0		17		- 0		133		754				1/3/07 12:00		236		325		754

		1		3		14		1/3/07 13:00		217		- 0		80		6		113		200		- 0		20		- 0		132		768				1/3/07 13:00		237		332		768

		1		3		15		1/3/07 14:00		213		- 0		80		5		113		198		- 0		17		- 0		134		761				1/3/07 14:00		230		332		761

		1		3		16		1/3/07 15:00		220		- 0		80		4		113		204		- 0		18		- 0		133		773				1/3/07 15:00		238		337		773

		1		3		17		1/3/07 16:00		331		- 0		88		4		127		216		- 0		26		5		139		936				1/3/07 16:00		357		355		936

		1		3		18		1/3/07 17:00		248		- 0		78		4		108		202		- 0		22		7		131		800				1/3/07 17:00		270		333		800

		1		3		19		1/3/07 18:00		212		- 0		75		3		99		196		- 0		20		7		134		745				1/3/07 18:00		232		330		745

		1		3		20		1/3/07 19:00		212		- 0		74		4		100		197		- 0		23		7		134		751				1/3/07 19:00		235		331		751

		1		3		21		1/3/07 20:00		225		- 0		72		3		101		193		- 0		19		7		132		752				1/3/07 20:00		244		325		752

		1		3		22		1/3/07 21:00		239		- 0		74		4		106		205		- 0		19		7		138		791				1/3/07 21:00		258		343		791

		1		3		23		1/3/07 22:00		291		- 0		75		4		119		220		- 0		14		7		143		873				1/3/07 22:00		305		363		873

		1		3		24		1/3/07 23:00		238		- 0		71		3		107		212		- 0		12		7		142		792				1/3/07 23:00		250		354		792

		1		4		1		1/4/07 0:00		285		- 0		76		4		113		218		- 0		7		6		143		852				1/4/07 0:00		292		361		852

		1		4		2		1/4/07 1:00		301		- 0		74		4		115		222		- 0		9		6		143		875				1/4/07 1:00		310		365		875

		1		4		3		1/4/07 2:00		236		- 0		72		4		104		216		- 0		7		6		141		785				1/4/07 2:00		243		357		785

		1		4		4		1/4/07 3:00		293		- 0		77		4		113		222		- 0		11		6		143		869				1/4/07 3:00		304		365		869

		1		4		5		1/4/07 4:00		289		- 0		75		4		114		219		- 0		8		6		143		857				1/4/07 4:00		297		362		857

		1		4		6		1/4/07 5:00		291		- 0		74		4		114		216		- 0		13		6		140		858				1/4/07 5:00		304		356		858

		1		4		7		1/4/07 6:00		201		- 0		72		7		101		202		- 0		17		6		135		740				1/4/07 6:00		218		337		740

		1		4		8		1/4/07 7:00		191		- 0		77		8		108		203		- 0		17		5		134		743				1/4/07 7:00		208		337		743

		1		4		9		1/4/07 8:00		200		- 0		83		10		113		204		- 0		17		- 0		134		761				1/4/07 8:00		217		338		761

		1		4		10		1/4/07 9:00		172		- 0		86		10		107		192		- 0		21		- 0		134		722				1/4/07 9:00		193		326		722

		1		4		11		1/4/07 10:00		191		- 0		86		11		113		193		- 0		19		- 0		134		747				1/4/07 10:00		210		327		747

		1		4		12		1/4/07 11:00		197		- 0		86		10		112		197		- 0		21		- 0		134		756				1/4/07 11:00		218		331		756

		1		4		13		1/4/07 12:00		195		- 0		86		9		113		201		- 0		19		- 0		135		758				1/4/07 12:00		214		336		758

		1		4		14		1/4/07 13:00		197		- 0		88		10		114		198		- 0		21		- 0		134		763				1/4/07 13:00		218		332		763

		1		4		15		1/4/07 14:00		196		- 0		87		9		116		199		- 0		21		- 0		135		763				1/4/07 14:00		217		334		763

		1		4		16		1/4/07 15:00		156		- 0		83		7		102		194		- 0		22		- 0		133		697				1/4/07 15:00		178		327		697

		1		4		17		1/4/07 16:00		367		- 0		98		7		140		226		- 0		27		5		140		1,009				1/4/07 16:00		394		366		1,009

		1		4		18		1/4/07 17:00		414		- 0		91		5		144		228		- 0		29		7		141		1,058				1/4/07 17:00		443		369		1,058

		1		4		19		1/4/07 18:00		374		- 0		84		5		131		225		- 0		25		7		140		990				1/4/07 18:00		399		365		990

		1		4		20		1/4/07 19:00		391		- 0		85		5		134		226		- 0		22		7		138		1,008				1/4/07 19:00		413		364		1,008

		1		4		21		1/4/07 20:00		278		- 0		79		5		114		207		- 0		22		7		138		850				1/4/07 20:00		300		345		850

		1		4		22		1/4/07 21:00		207		- 0		72		4		101		201		- 0		23		7		135		750				1/4/07 21:00		230		336		750

		1		4		23		1/4/07 22:00		213		- 0		72		4		100		206		- 0		18		7		136		755				1/4/07 22:00		231		342		755

		1		4		24		1/4/07 23:00		280		- 0		75		4		115		214		- 0		18		7		141		855				1/4/07 23:00		298		355		855

		1		5		1		1/5/07 0:00		289		- 0		73		4		113		224		- 0		12		6		141		863				1/5/07 0:00		301		365		863

		1		5		2		1/5/07 1:00		284		- 0		71		4		113		227		- 0		11		6		141		858				1/5/07 1:00		295		368		858

		1		5		3		1/5/07 2:00		226		- 0		67		4		101		221		- 0		7		6		139		770				1/5/07 2:00		233		360		770

		1		5		4		1/5/07 3:00		264		- 0		71		4		107		225		- 0		11		6		140		828				1/5/07 3:00		275		365		828

		1		5		5		1/5/07 4:00		282		- 0		70		4		111		226		- 0		12		6		140		852				1/5/07 4:00		294		366		852

		1		5		6		1/5/07 5:00		236		- 0		67		4		99		214		- 0		15		6		135		777				1/5/07 5:00		251		349		777

		1		5		7		1/5/07 6:00		228		- 0		71		7		106		211		- 0		14		6		134		778				1/5/07 6:00		242		345		778

		1		5		8		1/5/07 7:00		186		- 0		74		9		105		202		- 0		19		5		132		733				1/5/07 7:00		205		334		733

		1		5		9		1/5/07 8:00		195		- 0		83		11		111		198		- 0		19		- 0		132		749				1/5/07 8:00		214		330		749

		1		5		10		1/5/07 9:00		186		- 0		85		11		111		196		- 0		16		- 0		132		738				1/5/07 9:00		202		328		738

		1		5		11		1/5/07 10:00		252		- 0		93		11		139		220		- 0		17		- 0		139		871				1/5/07 10:00		269		359		871

		1		5		12		1/5/07 11:00		246		- 0		89		12		131		216		- 0		19		- 0		137		850				1/5/07 11:00		265		353		850

		1		5		13		1/5/07 12:00		253		- 0		89		10		134		221		- 0		19		- 0		138		863				1/5/07 12:00		272		359		863

		1		5		14		1/5/07 13:00		247		- 0		92		11		140		222		- 0		21		- 0		140		873				1/5/07 13:00		268		362		873

		1		5		15		1/5/07 14:00		258		- 0		92		11		135		218		- 0		21		- 0		138		872				1/5/07 14:00		279		356		872

		1		5		16		1/5/07 15:00		182		- 0		85		8		111		206		- 0		24		- 0		134		751				1/5/07 15:00		206		340		751

		1		5		17		1/5/07 16:00		242		- 0		90		8		116		216		- 0		26		5		134		837				1/5/07 16:00		268		350		837

		1		5		18		1/5/07 17:00		293		- 0		84		6		120		219		- 0		31		7		136		896				1/5/07 17:00		324		355		896

		1		5		19		1/5/07 18:00		270		- 0		81		6		113		219		- 0		24		7		136		856				1/5/07 18:00		294		355		856

		1		5		20		1/5/07 19:00		192		- 0		75		6		97		201		- 0		27		7		132		737				1/5/07 19:00		219		333		737

		1		5		21		1/5/07 20:00		182		- 0		71		5		93		200		- 0		24		7		132		714				1/5/07 20:00		206		332		714

		1		5		22		1/5/07 21:00		218		- 0		70		6		102		206		- 0		21		7		135		764				1/5/07 21:00		239		341		764

		1		5		23		1/5/07 22:00		279		- 0		73		6		117		225		- 0		20		7		141		866				1/5/07 22:00		299		366		866

		1		5		24		1/5/07 23:00		265		- 0		72		5		112		224		- 0		20		7		140		845				1/5/07 23:00		285		364		845

		1		6		1		1/6/07 0:00		247		- 0		61		5		84		212		- 0		19		6		142		776				1/6/07 0:00		266		354		776

		1		6		2		1/6/07 1:00		225		- 0		59		5		80		206		- 0		16		6		140		737				1/6/07 1:00		241		346		737

		1		6		3		1/6/07 2:00		282		- 0		62		5		87		217		- 0		21		6		142		824				1/6/07 2:00		303		359		824

		1		6		4		1/6/07 3:00		311		- 0		62		4		89		221		- 0		18		6		143		855				1/6/07 3:00		329		364		855

		1		6		5		1/6/07 4:00		320		- 0		65		4		91		223		- 0		18		6		143		871				1/6/07 4:00		338		366		871

		1		6		6		1/6/07 5:00		282		- 0		62		5		84		206		- 0		20		6		139		804				1/6/07 5:00		302		345		804

		1		6		7		1/6/07 6:00		237		- 0		66		8		84		202		- 0		20		6		135		758				1/6/07 6:00		257		337		758

		1		6		8		1/6/07 7:00		334		- 0		81		11		111		217		- 0		23		5		134		915				1/6/07 7:00		357		351		915

		1		6		9		1/6/07 8:00		350		- 0		89		13		119		217		- 0		21		- 0		135		946				1/6/07 8:00		371		352		946

		1		6		10		1/6/07 9:00		329		- 0		92		13		118		216		- 0		25		- 0		138		932				1/6/07 9:00		354		354		932

		1		6		11		1/6/07 10:00		285		- 0		92		14		114		211		- 0		28		- 0		135		877				1/6/07 10:00		313		346		877

		1		6		12		1/6/07 11:00		377		- 0		94		13		124		221		- 0		29		- 0		139		997				1/6/07 11:00		406		360		997

		1		6		13		1/6/07 12:00		202		- 0		85		10		95		201		- 0		26		- 0		135		754				1/6/07 12:00		228		336		754

		1		6		14		1/6/07 13:00		256		- 0		90		12		107		208		- 0		30		- 0		137		840				1/6/07 13:00		286		345		840

		1		6		15		1/6/07 14:00		295		- 0		92		12		112		211		- 0		25		- 0		138		886				1/6/07 14:00		320		349		886

		1		6		16		1/6/07 15:00		387		- 0		97		9		125		225		- 0		28		- 0		140		1,010				1/6/07 15:00		415		365		1,010

		1		6		17		1/6/07 16:00		477		- 0		99		8		134		237		- 0		28		5		142		1,130				1/6/07 16:00		505		379		1,130

		1		6		18		1/6/07 17:00		533		- 0		94		7		135		242		- 0		29		7		143		1,189				1/6/07 17:00		562		385		1,189

		1		6		19		1/6/07 18:00		454		- 0		89		6		120		226		- 0		30		7		142		1,074				1/6/07 18:00		484		368		1,074

		1		6		20		1/6/07 19:00		501		- 0		91		6		125		227		- 0		29		7		142		1,128				1/6/07 19:00		530		369		1,128

		1		6		21		1/6/07 20:00		394		- 0		82		6		109		218		- 0		28		7		140		982				1/6/07 20:00		422		358		982

		1		6		22		1/6/07 21:00		300		- 0		70		5		91		209		- 0		22		7		138		843				1/6/07 21:00		322		347		843

		1		6		23		1/6/07 22:00		228		- 0		64		5		78		197		- 0		21		7		135		735				1/6/07 22:00		249		332		735

		1		6		24		1/6/07 23:00		319		- 0		68		5		96		211		- 0		20		7		142		868				1/6/07 23:00		339		353		868

		1		7		1		1/7/07 0:00		223		- 0		58		5		80		200		- 0		15		6		144		731				1/7/07 0:00		238		344		731

		1		7		2		1/7/07 1:00		245		- 0		59		4		83		202		- 0		20		6		144		764				1/7/07 1:00		265		346		764

		1		7		3		1/7/07 2:00		251		- 0		59		4		82		206		- 0		21		6		144		775				1/7/07 2:00		272		350		775

		1		7		4		1/7/07 3:00		314		- 0		63		4		91		214		- 0		22		6		146		860				1/7/07 3:00		336		360		860

		1		7		5		1/7/07 4:00		263		- 0		60		4		83		202		- 0		22		6		144		784				1/7/07 4:00		285		346		784

		1		7		6		1/7/07 5:00		312		- 0		63		5		94		209		- 0		28		6		146		863				1/7/07 5:00		340		355		863

		1		7		7		1/7/07 6:00		235		- 0		63		7		87		202		- 0		28		6		139		767				1/7/07 6:00		263		341		767

		1		7		8		1/7/07 7:00		283		- 0		71		11		102		205		- 0		29		5		141		847				1/7/07 7:00		312		346		847

		1		7		9		1/7/07 8:00		223		- 0		76		13		97		192		- 0		28		- 0		137		767				1/7/07 8:00		251		329		767

		1		7		10		1/7/07 9:00		229		- 0		79		12		102		192		- 0		26		- 0		139		780				1/7/07 9:00		255		331		780

		1		7		11		1/7/07 10:00		226		- 0		80		12		105		199		- 0		24		- 0		141		787				1/7/07 10:00		250		340		787

		1		7		12		1/7/07 11:00		252		- 0		82		12		111		204		- 0		25		- 0		143		830				1/7/07 11:00		277		347		830

		1		7		13		1/7/07 12:00		273		- 0		83		10		117		211		- 0		23		- 0		146		864				1/7/07 12:00		296		357		864

		1		7		14		1/7/07 13:00		272		- 0		84		10		119		218		- 0		20		- 0		146		870				1/7/07 13:00		292		364		870

		1		7		15		1/7/07 14:00		265		- 0		82		10		115		216		- 0		22		- 0		146		855				1/7/07 14:00		287		362		855

		1		7		16		1/7/07 15:00		231		- 0		76		7		96		203		- 0		24		- 0		140		778				1/7/07 15:00		255		343		778

		1		7		17		1/7/07 16:00		205		- 0		75		6		86		197		- 0		33		5		136		743				1/7/07 16:00		238		333		743

		1		7		18		1/7/07 17:00		243		- 0		73		5		88		202		- 0		28		7		138		784				1/7/07 17:00		271		340		784

		1		7		19		1/7/07 18:00		224		- 0		69		5		83		197		- 0		26		7		137		748				1/7/07 18:00		250		334		748

		1		7		20		1/7/07 19:00		247		- 0		70		5		86		200		- 0		27		7		138		780				1/7/07 19:00		274		338		780

		1		7		21		1/7/07 20:00		242		- 0		67		5		85		202		- 0		26		7		140		773				1/7/07 20:00		268		342		773

		1		7		22		1/7/07 21:00		276		- 0		64		5		85		204		- 0		26		7		140		806				1/7/07 21:00		302		344		806

		1		7		23		1/7/07 22:00		318		- 0		66		4		90		216		- 0		22		7		145		867				1/7/07 22:00		340		361		867

		1		7		24		1/7/07 23:00		241		- 0		60		4		76		205		- 0		18		7		143		754				1/7/07 23:00		259		348		754

		1		8		1		1/8/07 0:00		253		- 0		81		4		126		220		- 0		16		6		143		849				1/8/07 0:00		269		363		849

		1		8		2		1/8/07 1:00		257		- 0		81		4		125		223		- 0		15		6		143		854				1/8/07 1:00		272		366		854

		1		8		3		1/8/07 2:00		238		- 0		78		3		121		213		- 0		18		6		143		821				1/8/07 2:00		256		356		821

		1		8		4		1/8/07 3:00		190		- 0		74		3		110		210		- 0		17		6		141		752				1/8/07 3:00		207		351		752

		1		8		5		1/8/07 4:00		270		- 0		78		4		124		221		- 0		17		6		143		863				1/8/07 4:00		287		364		863

		1		8		6		1/8/07 5:00		280		- 0		79		4		129		225		- 0		21		6		143		887				1/8/07 5:00		301		368		887

		1		8		7		1/8/07 6:00		219		- 0		74		4		113		210		- 0		21		6		139		785				1/8/07 6:00		240		349		785

		1		8		8		1/8/07 7:00		204		- 0		74		4		109		198		- 0		24		5		136		754				1/8/07 7:00		228		334		754

		1		8		9		1/8/07 8:00		205		- 0		75		3		109		198		- 0		27		- 0		136		753				1/8/07 8:00		232		334		753

		1		8		10		1/8/07 9:00		206		- 0		80		4		108		203		- 0		23		- 0		135		759				1/8/07 9:00		229		338		759

		1		8		11		1/8/07 10:00		176		- 0		80		4		102		199		- 0		23		- 0		135		718				1/8/07 10:00		199		334		718

		1		8		12		1/8/07 11:00		209		- 0		81		4		113		201		- 0		22		- 0		137		767				1/8/07 11:00		231		338		767

		1		8		13		1/8/07 12:00		199		- 0		77		3		109		201		- 0		25		- 0		137		751				1/8/07 12:00		224		338		751

		1		8		14		1/8/07 13:00		230		- 0		79		3		117		207		- 0		25		- 0		139		801				1/8/07 13:00		255		346		801

		1		8		15		1/8/07 14:00		246		- 0		80		3		122		208		- 0		23		- 0		140		822				1/8/07 14:00		269		348		822

		1		8		16		1/8/07 15:00		227		- 0		81		3		117		211		- 0		24		- 0		140		802				1/8/07 15:00		251		351		802

		1		8		17		1/8/07 16:00		207		- 0		80		3		105		189		- 0		27		4		135		750				1/8/07 16:00		234		324		750

		1		8		18		1/8/07 17:00		213		- 0		72		4		101		188		- 0		24		7		135		742				1/8/07 17:00		237		323		742

		1		8		19		1/8/07 18:00		219		- 0		75		4		105		194		- 0		29		7		137		769				1/8/07 18:00		248		331		769

		1		8		20		1/8/07 19:00		273		- 0		78		4		123		210		- 0		27		7		143		864				1/8/07 19:00		300		353		864

		1		8		21		1/8/07 20:00		277		- 0		79		4		121		208		- 0		29		7		141		866				1/8/07 20:00		306		349		866

		1		8		22		1/8/07 21:00		282		- 0		80		4		123		212		- 0		29		7		143		881				1/8/07 21:00		311		355		881

		1		8		23		1/8/07 22:00		202		- 0		73		4		107		204		- 0		25		7		141		763				1/8/07 22:00		227		345		763

		1		8		24		1/8/07 23:00		161		- 0		69		4		99		198		- 0		25		7		138		701				1/8/07 23:00		186		336		701

		1		9		1		1/9/07 0:00		146		- 0		73		4		101		199		- 0		20		6		138		686				1/9/07 0:00		166		337		686

		1		9		2		1/9/07 1:00		203		- 0		79		4		115		210		- 0		19		6		140		776				1/9/07 1:00		222		350		776

		1		9		3		1/9/07 2:00		211		- 0		80		4		118		209		- 0		11		6		140		778				1/9/07 2:00		222		349		778

		1		9		4		1/9/07 3:00		202		- 0		77		4		116		211		- 0		15		6		140		772				1/9/07 3:00		217		351		772

		1		9		5		1/9/07 4:00		257		- 0		81		4		128		219		- 0		15		6		142		852				1/9/07 4:00		272		361		852

		1		9		6		1/9/07 5:00		266		- 0		81		4		129		219		- 0		17		6		141		864				1/9/07 5:00		283		360		864

		1		9		7		1/9/07 6:00		271		- 0		82		4		132		221		- 0		18		6		141		875				1/9/07 6:00		289		362		875

		1		9		8		1/9/07 7:00		203		- 0		74		4		110		203		- 0		19		5		136		754				1/9/07 7:00		222		339		754

		1		9		9		1/9/07 8:00		210		- 0		75		3		112		207		- 0		19		- 0		136		764				1/9/07 8:00		229		343		764

		1		9		10		1/9/07 9:00		204		- 0		77		4		113		206		- 0		26		- 0		136		765				1/9/07 9:00		230		342		765

		1		9		11		1/9/07 10:00		198		- 0		77		4		109		196		- 0		23		- 0		134		741				1/9/07 10:00		221		330		741

		1		9		12		1/9/07 11:00		232		- 0		77		4		121		210		- 0		26		- 0		138		808				1/9/07 11:00		258		348		808

		1		9		13		1/9/07 12:00		264		- 0		81		4		134		222		- 0		24		- 0		142		871				1/9/07 12:00		288		364		871

		1		9		14		1/9/07 13:00		275		- 0		79		4		133		218		- 0		27		- 0		140		876				1/9/07 13:00		302		358		876

		1		9		15		1/9/07 14:00		275		- 0		81		3		134		215		- 0		25		- 0		140		874				1/9/07 14:00		300		355		874

		1		9		16		1/9/07 15:00		252		- 0		82		3		128		212		- 0		28		- 0		139		845				1/9/07 15:00		280		351		845

		1		9		17		1/9/07 16:00		203		- 0		79		4		108		204		- 0		29		3		135		765				1/9/07 16:00		232		339		765

		1		9		18		1/9/07 17:00		237		- 0		79		4		113		207		- 0		31		7		136		813				1/9/07 17:00		268		343		813

		1		9		19		1/9/07 18:00		195		- 0		77		4		104		199		- 0		30		7		133		749				1/9/07 18:00		225		332		749

		1		9		20		1/9/07 19:00		199		- 0		77		4		108		200		- 0		26		7		134		755				1/9/07 19:00		225		334		755

		1		9		21		1/9/07 20:00		204		- 0		77		4		111		198		- 0		26		7		136		763				1/9/07 20:00		230		334		763

		1		9		22		1/9/07 21:00		226		- 0		80		4		119		212		- 0		24		7		138		808				1/9/07 21:00		250		350		808

		1		9		23		1/9/07 22:00		256		- 0		82		4		132		222		- 0		19		7		142		863				1/9/07 22:00		275		364		863

		1		9		24		1/9/07 23:00		241		- 0		80		4		131		223		- 0		21		7		142		849				1/9/07 23:00		262		365		849

		1		10		1		1/10/07 0:00		207		- 0		64		4		99		205		- 0		17		6		138		740				1/10/07 0:00		224		343		740

		1		10		2		1/10/07 1:00		241		- 0		65		4		108		207		- 0		23		6		139		792				1/10/07 1:00		264		346		792

		1		10		3		1/10/07 2:00		177		- 0		63		3		91		197		- 0		23		6		137		698				1/10/07 2:00		200		334		698

		1		10		4		1/10/07 3:00		199		- 0		65		4		96		201		- 0		22		6		139		731				1/10/07 3:00		221		340		731

		1		10		5		1/10/07 4:00		219		- 0		67		4		102		205		- 0		22		6		140		766				1/10/07 4:00		241		345		766

		1		10		6		1/10/07 5:00		285		- 0		72		5		119		212		- 0		22		6		142		863				1/10/07 5:00		307		354		863

		1		10		7		1/10/07 6:00		191		- 0		69		8		102		195		- 0		23		6		134		728				1/10/07 6:00		214		329		728

		1		10		8		1/10/07 7:00		205		- 0		80		11		117		202		- 0		24		5		134		779				1/10/07 7:00		229		336		779

		1		10		9		1/10/07 8:00		184		- 0		87		13		118		197		- 0		21		- 0		134		754				1/10/07 8:00		205		331		754

		1		10		10		1/10/07 9:00		196		- 0		92		12		124		195		- 0		23		- 0		135		777				1/10/07 9:00		219		330		777

		1		10		11		1/10/07 10:00		190		- 0		93		13		124		196		- 0		23		- 0		131		770				1/10/07 10:00		213		327		770

		1		10		12		1/10/07 11:00		231		- 0		96		12		134		204		- 0		22		- 0		137		836				1/10/07 11:00		253		341		836

		1		10		13		1/10/07 12:00		173		- 0		91		11		121		192		- 0		17		- 0		131		736				1/10/07 12:00		190		323		736

		1		10		14		1/10/07 13:00		176		- 0		93		13		125		199		- 0		18		- 0		133		756				1/10/07 13:00		194		332		756

		1		10		15		1/10/07 14:00		184		- 0		92		12		123		197		- 0		16		- 0		134		758				1/10/07 14:00		200		331		758

		1		10		16		1/10/07 15:00		167		- 0		89		10		116		195		- 0		22		- 0		135		733				1/10/07 15:00		189		330		733

		1		10		17		1/10/07 16:00		394		- 0		103		8		157		225		- 0		25		3		141		1,057				1/10/07 16:00		419		366		1,057

		1		10		18		1/10/07 17:00		366		- 0		90		6		147		218		- 0		22		7		139		995				1/10/07 17:00		388		357		995

		1		10		19		1/10/07 18:00		196		- 0		78		5		110		200		- 0		24		7		135		755				1/10/07 18:00		220		335		755

		1		10		20		1/10/07 19:00		206		- 0		76		5		109		199		- 0		23		7		134		760				1/10/07 19:00		229		333		760

		1		10		21		1/10/07 20:00		205		- 0		75		5		109		195		- 0		24		7		134		754				1/10/07 20:00		229		329		754

		1		10		22		1/10/07 21:00		210		- 0		71		5		109		201		- 0		22		7		136		760				1/10/07 21:00		232		337		760

		1		10		23		1/10/07 22:00		241		- 0		71		5		120		213		- 0		21		7		142		819				1/10/07 22:00		262		355		819

		1		10		24		1/10/07 23:00		159		- 0		65		5		98		201		- 0		20		7		139		694				1/10/07 23:00		179		340		694

		1		11		1		1/11/07 0:00		260		- 0		75		4		115		218		- 0		18		6		140		837				1/11/07 0:00		278		358		837

		1		11		2		1/11/07 1:00		265		- 0		76		4		118		217		- 0		12		6		143		840				1/11/07 1:00		277		360		840

		1		11		3		1/11/07 2:00		269		- 0		75		4		117		216		- 0		15		6		142		844				1/11/07 2:00		284		358		844

		1		11		4		1/11/07 3:00		274		- 0		75		4		117		219		- 0		15		6		142		853				1/11/07 3:00		289		361		853

		1		11		5		1/11/07 4:00		293		- 0		74		4		119		216		- 0		17		6		141		870				1/11/07 4:00		310		357		870

		1		11		6		1/11/07 5:00		218		- 0		71		5		103		200		- 0		17		6		136		756				1/11/07 5:00		235		336		756

		1		11		7		1/11/07 6:00		319		- 0		81		9		127		208		- 0		15		6		134		899				1/11/07 6:00		334		342		899

		1		11		8		1/11/07 7:00		428		- 0		95		12		160		218		- 0		16		5		138		1,071				1/11/07 7:00		444		356		1,071

		1		11		9		1/11/07 8:00		293		- 0		99		14		146		200		- 0		19		- 0		132		903				1/11/07 8:00		312		332		903

		1		11		10		1/11/07 9:00		196		- 0		95		13		125		191		- 0		18		- 0		134		771				1/11/07 9:00		214		325		771

		1		11		11		1/11/07 10:00		173		- 0		94		14		124		187		- 0		18		- 0		134		743				1/11/07 10:00		191		321		743

		1		11		12		1/11/07 11:00		174		- 0		93		13		121		189		- 0		19		- 0		134		743				1/11/07 11:00		193		323		743

		1		11		13		1/11/07 12:00		182		- 0		92		11		124		190		- 0		15		- 0		136		752				1/11/07 12:00		197		326		752

		1		11		14		1/11/07 13:00		182		- 0		93		13		127		195		- 0		17		- 0		135		761				1/11/07 13:00		199		330		761

		1		11		15		1/11/07 14:00		184		- 0		94		12		127		195		- 0		20		- 0		136		768				1/11/07 14:00		204		331		768

		1		11		16		1/11/07 15:00		178		- 0		88		9		118		196		- 0		19		- 0		134		742				1/11/07 15:00		197		330		742

		1		11		17		1/11/07 16:00		425		- 0		104		9		163		231		- 0		26		3		140		1,101				1/11/07 16:00		451		371		1,101

		1		11		18		1/11/07 17:00		366		- 0		92		6		144		218		- 0		25		7		139		997				1/11/07 17:00		391		357		997

		1		11		19		1/11/07 18:00		434		- 0		93		7		153		229		- 0		24		7		141		1,087				1/11/07 18:00		458		370		1,087

		1		11		20		1/11/07 19:00		371		- 0		89		6		140		221		- 0		21		7		139		993				1/11/07 19:00		392		360		993

		1		11		21		1/11/07 20:00		409		- 0		88		6		144		226		- 0		17		7		140		1,037				1/11/07 20:00		426		366		1,037

		1		11		22		1/11/07 21:00		216		- 0		75		5		106		201		- 0		16		7		135		761				1/11/07 21:00		232		336		761

		1		11		23		1/11/07 22:00		194		- 0		72		5		100		198		- 0		14		7		134		724				1/11/07 22:00		208		332		724

		1		11		24		1/11/07 23:00		188		- 0		72		5		99		203		- 0		14		7		134		721				1/11/07 23:00		202		337		721

		1		12		1		1/12/07 0:00		209		- 0		61		5		101		208		- 0		13		6		136		739				1/12/07 0:00		222		344		739

		1		12		2		1/12/07 1:00		195		- 0		61		4		97		203		- 0		19		6		135		721				1/12/07 1:00		214		338		721

		1		12		3		1/12/07 2:00		214		- 0		60		4		100		211		- 0		18		6		135		749				1/12/07 2:00		232		346		749

		1		12		4		1/12/07 3:00		150		- 0		58		4		83		197		- 0		19		6		133		650				1/12/07 3:00		169		330		650

		1		12		5		1/12/07 4:00		168		- 0		60		4		88		207		- 0		22		6		136		692				1/12/07 4:00		190		343		692

		1		12		6		1/12/07 5:00		268		- 0		68		5		110		216		- 0		22		6		139		833				1/12/07 5:00		290		355		833

		1		12		7		1/12/07 6:00		178		- 0		67		8		96		194		- 0		22		6		130		701				1/12/07 6:00		200		324		701

		1		12		8		1/12/07 7:00		235		- 0		82		12		119		201		- 0		20		5		134		807				1/12/07 7:00		255		335		807

		1		12		9		1/12/07 8:00		212		- 0		89		14		120		197		- 0		24		- 0		129		786				1/12/07 8:00		236		326		786

		1		12		10		1/12/07 9:00		207		- 0		92		13		121		198		- 0		24		- 0		133		788				1/12/07 9:00		231		331		788

		1		12		11		1/12/07 10:00		190		- 0		94		14		118		193		- 0		25		- 0		129		763				1/12/07 10:00		215		322		763

		1		12		12		1/12/07 11:00		195		- 0		94		13		118		186		- 0		28		- 0		132		766				1/12/07 11:00		223		318		766

		1		12		13		1/12/07 12:00		188		- 0		91		11		116		190		- 0		23		- 0		131		750				1/12/07 12:00		211		321		750

		1		12		14		1/12/07 13:00		175		- 0		93		14		116		194		- 0		24		- 0		129		745				1/12/07 13:00		199		323		745

		1		12		15		1/12/07 14:00		197		- 0		94		12		119		197		- 0		24		- 0		132		775				1/12/07 14:00		221		329		775

		1		12		16		1/12/07 15:00		256		- 0		96		10		129		210		- 0		23		- 0		135		858				1/12/07 15:00		279		345		858

		1		12		17		1/12/07 16:00		535		- 0		113		9		173		243		- 0		31		3		141		1,247				1/12/07 16:00		566		384		1,247

		1		12		18		1/12/07 17:00		520		- 0		101		7		167		246		- 0		27		7		139		1,214				1/12/07 17:00		547		385		1,214

		1		12		19		1/12/07 18:00		481		- 0		94		7		155		238		- 0		28		7		138		1,149				1/12/07 18:00		509		376		1,149

		1		12		20		1/12/07 19:00		460		- 0		91		6		150		237		- 0		25		7		138		1,113				1/12/07 19:00		485		375		1,113

		1		12		21		1/12/07 20:00		422		- 0		90		6		141		231		- 0		19		7		133		1,049				1/12/07 20:00		441		364		1,049

		1		12		22		1/12/07 21:00		383		- 0		84		5		133		224		- 0		17		7		136		988				1/12/07 21:00		400		360		988

		1		12		23		1/12/07 22:00		220		- 0		74		4		102		207		- 0		12		7		132		758				1/12/07 22:00		232		339		758

		1		12		24		1/12/07 23:00		224		- 0		72		4		101		206		- 0		5		7		132		751				1/12/07 23:00		229		338		751

		1		13		1		1/13/07 0:00		190		- 0		55		4		75		201		- 0		7		6		138		677				1/13/07 0:00		197		339		677

		1		13		2		1/13/07 1:00		199		- 0		57		4		76		199		- 0		17		6		136		695				1/13/07 1:00		216		335		695

		1		13		3		1/13/07 2:00		193		- 0		54		4		73		199		- 0		15		6		137		682				1/13/07 2:00		208		336		682

		1		13		4		1/13/07 3:00		265		- 0		57		3		85		202		- 0		16		6		138		772				1/13/07 3:00		281		340		772

		1		13		5		1/13/07 4:00		193		- 0		55		4		73		200		- 0		18		6		138		687				1/13/07 4:00		211		338		687

		1		13		6		1/13/07 5:00		258		- 0		59		5		86		206		- 0		19		6		140		779				1/13/07 5:00		277		346		779

		1		13		7		1/13/07 6:00		236		- 0		60		7		86		196		- 0		26		6		135		753				1/13/07 6:00		262		331		753

		1		13		8		1/13/07 7:00		222		- 0		69		11		95		190		- 0		22		5		134		749				1/13/07 7:00		244		324		749

		1		13		9		1/13/07 8:00		217		- 0		78		13		104		189		- 0		22		- 0		131		754				1/13/07 8:00		239		320		754

		1		13		10		1/13/07 9:00		231		- 0		84		13		110		198		- 0		22		- 0		131		790				1/13/07 9:00		253		329		790

		1		13		11		1/13/07 10:00		281		- 0		86		14		122		206		- 0		16		- 0		134		860				1/13/07 10:00		297		340		860

		1		13		12		1/13/07 11:00		276		- 0		85		12		122		209		- 0		15		- 0		135		854				1/13/07 11:00		291		344		854

		1		13		13		1/13/07 12:00		216		- 0		80		10		110		200		- 0		15		- 0		139		770				1/13/07 12:00		231		339		770

		1		13		14		1/13/07 13:00		259		- 0		84		13		122		209		- 0		14		- 0		142		843				1/13/07 13:00		273		351		843

		1		13		15		1/13/07 14:00		244		- 0		84		12		117		207		- 0		14		- 0		141		820				1/13/07 14:00		258		348		820

		1		13		16		1/13/07 15:00		284		- 0		83		9		121		215		- 0		14		- 0		141		867				1/13/07 15:00		298		356		867

		1		13		17		1/13/07 16:00		227		- 0		77		7		97		202		- 0		21		3		133		768				1/13/07 16:00		248		335		768

		1		13		18		1/13/07 17:00		236		- 0		69		5		92		199		- 0		20		7		133		760				1/13/07 17:00		256		332		760

		1		13		19		1/13/07 18:00		221		- 0		69		5		87		199		- 0		17		7		134		740				1/13/07 18:00		238		333		740

		1		13		20		1/13/07 19:00		274		- 0		73		5		99		208		- 0		15		7		138		819				1/13/07 19:00		289		346		819

		1		13		21		1/13/07 20:00		300		- 0		71		4		102		213		- 0		19		7		140		855				1/13/07 20:00		319		353		855

		1		13		22		1/13/07 21:00		308		- 0		64		4		100		217		- 0		14		7		142		857				1/13/07 21:00		322		359		857

		1		13		23		1/13/07 22:00		237		- 0		57		4		86		206		- 0		11		7		137		744				1/13/07 22:00		248		343		744

		1		13		24		1/13/07 23:00		220		- 0		54		3		80		201		- 0		5		7		134		705				1/13/07 23:00		225		335		705

		1		14		1		1/14/07 0:00		259		- 0		53		3		86		200		- 0		3		6		136		747				1/14/07 0:00		262		336		747

		1		14		2		1/14/07 1:00		215		- 0		52		3		76		196		- 0		4		6		139		692				1/14/07 1:00		219		335		692

		1		14		3		1/14/07 2:00		270		- 0		54		3		86		203		- 0		1		6		140		763				1/14/07 2:00		271		343		763

		1		14		4		1/14/07 3:00		260		- 0		51		3		83		201		- 0		3		6		130		737				1/14/07 3:00		263		331		737

		1		14		5		1/14/07 4:00		228		- 0		50		3		82		204		- 0		5		6		134		712				1/14/07 4:00		233		338		712

		1		14		6		1/14/07 5:00		271		- 0		52		4		90		206		- 0		12		6		131		771				1/14/07 5:00		283		337		771

		1		14		7		1/14/07 6:00		236		- 0		57		6		91		208		- 0		17		6		133		756				1/14/07 6:00		253		341		756

		1		14		8		1/14/07 7:00		300		- 0		71		10		115		216		- 0		16		5		135		868				1/14/07 7:00		316		351		868

		1		14		9		1/14/07 8:00		292		- 0		79		12		122		212		- 0		17		- 0		134		868				1/14/07 8:00		309		346		868

		1		14		10		1/14/07 9:00		295		- 0		83		12		125		206		- 0		13		- 0		132		867				1/14/07 9:00		308		338		867

		1		14		11		1/14/07 10:00		284		- 0		84		13		125		212		- 0		16		- 0		132		866				1/14/07 10:00		300		344		866

		1		14		12		1/14/07 11:00		276		- 0		81		12		119		210		- 0		18		- 0		135		852				1/14/07 11:00		294		345		852

		1		14		13		1/14/07 12:00		196		- 0		74		10		102		198		- 0		20		- 0		131		731				1/14/07 12:00		216		329		731

		1		14		14		1/14/07 13:00		216		- 0		76		11		107		203		- 0		19		- 0		133		766				1/14/07 13:00		235		336		766

		1		14		15		1/14/07 14:00		170		- 0		71		9		94		195		- 0		21		- 0		132		693				1/14/07 14:00		191		327		693

		1		14		16		1/14/07 15:00		228		- 0		70		7		102		206		- 0		23		- 0		133		768				1/14/07 15:00		251		339		768

		1		14		17		1/14/07 16:00		288		- 0		74		6		107		220		- 0		32		3		130		861				1/14/07 16:00		320		350		861

		1		14		18		1/14/07 17:00		309		- 0		66		5		103		220		- 0		32		7		126		868				1/14/07 17:00		341		346		868

		1		14		19		1/14/07 18:00		299		- 0		66		5		101		218		- 0		34		7		135		865				1/14/07 18:00		333		353		865

		1		14		20		1/14/07 19:00		306		- 0		67		5		100		218		- 0		31		7		136		870				1/14/07 19:00		337		354		870

		1		14		21		1/14/07 20:00		203		- 0		59		5		80		204		- 0		26		7		132		715				1/14/07 20:00		229		336		715

		1		14		22		1/14/07 21:00		199		- 0		55		5		75		199		- 0		28		7		126		693				1/14/07 21:00		227		325		693

		1		14		23		1/14/07 22:00		220		- 0		53		4		74		198		- 0		24		7		129		709				1/14/07 22:00		244		327		709

		1		14		24		1/14/07 23:00		233		- 0		53		4		73		204		- 0		23		7		125		722				1/14/07 23:00		256		329		722

		1		15		1		1/15/07 0:00		250		- 0		76		4		122		215		- 0		20		6		124		816				1/15/07 0:00		270		339		816

		1		15		2		1/15/07 1:00		258		- 0		76		4		123		217		- 0		17		6		134		835				1/15/07 1:00		275		351		835

		1		15		3		1/15/07 2:00		224		- 0		75		3		117		211		- 0		15		6		140		791				1/15/07 2:00		239		351		791

		1		15		4		1/15/07 3:00		273		- 0		76		4		126		218		- 0		14		6		142		859				1/15/07 3:00		287		360		859

		1		15		5		1/15/07 4:00		274		- 0		76		4		127		218		- 0		15		6		142		863				1/15/07 4:00		289		360		863

		1		15		6		1/15/07 5:00		281		- 0		77		4		126		215		- 0		19		6		141		868				1/15/07 5:00		300		356		868

		1		15		7		1/15/07 6:00		191		- 0		72		4		104		195		- 0		17		6		134		721				1/15/07 6:00		208		329		721

		1		15		8		1/15/07 7:00		254		- 0		74		4		116		201		- 0		19		5		136		808				1/15/07 7:00		273		337		808

		1		15		9		1/15/07 8:00		220		- 0		76		4		111		198		- 0		17		- 0		135		761				1/15/07 8:00		237		333		761

		1		15		10		1/15/07 9:00		217		- 0		80		4		113		201		- 0		20		- 0		135		770				1/15/07 9:00		237		336		770

		1		15		11		1/15/07 10:00		265		- 0		83		4		123		204		- 0		23		- 0		136		839				1/15/07 10:00		288		340		839

		1		15		12		1/15/07 11:00		206		- 0		80		4		110		202		- 0		22		- 0		134		758				1/15/07 11:00		228		336		758

		1		15		13		1/15/07 12:00		193		- 0		77		4		108		195		- 0		22		- 0		134		733				1/15/07 12:00		215		329		733

		1		15		14		1/15/07 13:00		199		- 0		78		3		110		204		- 0		22		- 0		135		751				1/15/07 13:00		221		339		751

		1		15		15		1/15/07 14:00		211		- 0		78		3		113		205		- 0		27		- 0		136		773				1/15/07 14:00		238		341		773

		1		15		16		1/15/07 15:00		208		- 0		79		3		110		202		- 0		25		- 0		135		762				1/15/07 15:00		233		337		762

		1		15		17		1/15/07 16:00		316		- 0		90		4		129		218		- 0		28		3		138		926				1/15/07 16:00		344		356		926

		1		15		18		1/15/07 17:00		384		- 0		85		4		133		223		- 0		24		7		139		998				1/15/07 17:00		408		362		998

		1		15		19		1/15/07 18:00		215		- 0		77		4		105		200		- 0		27		7		134		768				1/15/07 18:00		242		334		768

		1		15		20		1/15/07 19:00		174		- 0		76		4		96		192		- 0		25		7		133		706				1/15/07 19:00		199		325		706

		1		15		21		1/15/07 20:00		212		- 0		78		4		104		200		- 0		25		7		134		764				1/15/07 20:00		237		334		764

		1		15		22		1/15/07 21:00		222		- 0		77		4		108		206		- 0		21		7		135		779				1/15/07 21:00		243		341		779

		1		15		23		1/15/07 22:00		196		- 0		76		4		103		201		- 0		23		7		136		745				1/15/07 22:00		219		337		745

		1		15		24		1/15/07 23:00		245		- 0		78		4		113		208		- 0		22		7		138		815				1/15/07 23:00		267		346		815

		1		16		1		1/16/07 0:00		268		- 0		83		4		128		215		- 0		19		6		140		863				1/16/07 0:00		287		355		863

		1		16		2		1/16/07 1:00		269		- 0		83		4		128		219		- 0		14		6		137		861				1/16/07 1:00		283		356		861

		1		16		3		1/16/07 2:00		275		- 0		82		4		130		222		- 0		17		6		133		870				1/16/07 2:00		292		355		870

		1		16		4		1/16/07 3:00		271		- 0		82		4		126		216		- 0		15		6		139		859				1/16/07 3:00		286		355		859

		1		16		5		1/16/07 4:00		243		- 0		79		4		119		210		- 0		15		6		138		814				1/16/07 4:00		258		348		814

		1		16		6		1/16/07 5:00		205		- 0		77		4		110		207		- 0		13		6		135		757				1/16/07 5:00		218		342		757

		1		16		7		1/16/07 6:00		194		- 0		74		4		107		204		- 0		14		6		134		737				1/16/07 6:00		208		338		737

		1		16		8		1/16/07 7:00		220		- 0		77		3		112		206		- 0		17		5		135		775				1/16/07 7:00		237		341		775

		1		16		9		1/16/07 8:00		193		- 0		75		3		107		197		- 0		21		- 0		134		731				1/16/07 8:00		214		331		731

		1		16		10		1/16/07 9:00		172		- 0		76		3		104		195		- 0		22		- 0		133		706				1/16/07 9:00		194		328		706

		1		16		11		1/16/07 10:00		212		- 0		78		3		112		197		- 0		20		- 0		134		757				1/16/07 10:00		232		331		757

		1		16		12		1/16/07 11:00		203		- 0		79		3		110		203		- 0		21		- 0		135		754				1/16/07 11:00		224		338		754

		1		16		13		1/16/07 12:00		205		- 0		77		3		111		203		- 0		22		- 0		134		754				1/16/07 12:00		227		337		754

		1		16		14		1/16/07 13:00		188		- 0		77		3		109		198		- 0		20		- 0		134		729				1/16/07 13:00		208		332		729

		1		16		15		1/16/07 14:00		205		- 0		80		3		116		204		- 0		23		- 0		136		766				1/16/07 14:00		228		340		766

		1		16		16		1/16/07 15:00		211		- 0		82		3		118		206		- 0		22		- 0		135		777				1/16/07 15:00		233		341		777

		1		16		17		1/16/07 16:00		334		- 0		92		4		138		223		- 0		20		3		139		954				1/16/07 16:00		354		362		954

		1		16		18		1/16/07 17:00		438		- 0		93		4		152		231		- 0		24		7		141		1,091				1/16/07 17:00		462		372		1,091

		1		16		19		1/16/07 18:00		289		- 0		87		4		126		211		- 0		24		7		137		885				1/16/07 18:00		313		348		885

		1		16		20		1/16/07 19:00		248		- 0		85		4		119		205		- 0		23		7		136		827				1/16/07 19:00		271		341		827

		1		16		21		1/16/07 20:00		210		- 0		82		4		110		201		- 0		21		7		135		769				1/16/07 20:00		231		336		769

		1		16		22		1/16/07 21:00		209		- 0		79		4		109		200		- 0		20		7		135		763				1/16/07 21:00		229		335		763

		1		16		23		1/16/07 22:00		196		- 0		77		4		108		203		- 0		19		7		133		747				1/16/07 22:00		215		336		747

		1		16		24		1/16/07 23:00		265		- 0		83		4		135		220		- 0		18		7		140		871				1/16/07 23:00		283		360		871

		1		17		1		1/17/07 0:00		219		- 0		71		4		98		199		- 0		16		6		136		749				1/17/07 0:00		235		335		749

		1		17		2		1/17/07 1:00		267		- 0		75		4		108		205		- 0		12		6		139		816				1/17/07 1:00		279		344		816

		1		17		3		1/17/07 2:00		231		- 0		73		4		100		198		- 0		12		6		137		762				1/17/07 2:00		243		335		762

		1		17		4		1/17/07 3:00		232		- 0		71		4		99		200		- 0		8		6		135		757				1/17/07 3:00		240		335		757

		1		17		5		1/17/07 4:00		208		- 0		72		4		97		195		- 0		12		6		134		727				1/17/07 4:00		220		329		727

		1		17		6		1/17/07 5:00		284		- 0		76		5		114		208		- 0		16		6		137		846				1/17/07 5:00		300		345		846

		1		17		7		1/17/07 6:00		457		- 0		90		8		155		232		- 0		14		6		141		1,104				1/17/07 6:00		471		373		1,104

		1		17		8		1/17/07 7:00		604		- 0		108		12		200		248		- 0		18		5		144		1,339				1/17/07 7:00		622		392		1,339

		1		17		9		1/17/07 8:00		477		- 0		115		15		192		233		- 0		19		- 0		140		1,191				1/17/07 8:00		496		373		1,191

		1		17		10		1/17/07 9:00		478		- 0		121		13		194		238		- 0		20		- 0		143		1,207				1/17/07 9:00		498		381		1,207

		1		17		11		1/17/07 10:00		488		- 0		122		14		195		238		- 0		23		- 0		144		1,223				1/17/07 10:00		511		382		1,223

		1		17		12		1/17/07 11:00		409		- 0		114		13		178		232		- 0		24		- 0		139		1,110				1/17/07 11:00		433		371		1,110

		1		17		13		1/17/07 12:00		351		- 0		106		12		162		218		- 0		25		- 0		139		1,014				1/17/07 12:00		376		357		1,014

		1		17		14		1/17/07 13:00		259		- 0		104		14		146		203		- 0		23		- 0		139		887				1/17/07 13:00		282		342		887

		1		17		15		1/17/07 14:00		272		- 0		103		12		147		207		- 0		25		- 0		136		903				1/17/07 14:00		297		343		903

		1		17		16		1/17/07 15:00		333		- 0		103		10		154		217		- 0		22		- 0		139		978				1/17/07 15:00		355		356		978

		1		17		17		1/17/07 16:00		605		- 0		121		9		198		247		- 0		24		3		145		1,352				1/17/07 16:00		629		392		1,352

		1		17		18		1/17/07 17:00		580		- 0		105		7		185		244		- 0		24		7		144		1,295				1/17/07 17:00		604		388		1,295

		1		17		19		1/17/07 18:00		521		- 0		103		7		173		243		- 0		23		7		143		1,219				1/17/07 18:00		544		386		1,219

		1		17		20		1/17/07 19:00		514		- 0		98		7		168		239		- 0		20		7		142		1,194				1/17/07 19:00		534		381		1,194

		1		17		21		1/17/07 20:00		421		- 0		90		7		149		225		- 0		20		7		140		1,059				1/17/07 20:00		441		365		1,059

		1		17		22		1/17/07 21:00		218		- 0		77		6		110		201		- 0		19		7		135		773				1/17/07 21:00		237		336		773

		1		17		23		1/17/07 22:00		217		- 0		73		5		109		200		- 0		19		7		135		765				1/17/07 22:00		236		335		765

		1		17		24		1/17/07 23:00		219		- 0		72		5		106		200		- 0		18		7		137		764				1/17/07 23:00		237		337		764

		1		18		1		1/18/07 0:00		445		- 0		93		5		144		230		- 0		16		6		142		1,082				1/18/07 0:00		461		372		1,082

		1		18		2		1/18/07 1:00		454		- 0		94		5		142		230		- 0		5		6		143		1,079				1/18/07 1:00		459		373		1,079

		1		18		3		1/18/07 2:00		459		- 0		93		5		142		238		- 0		5		6		143		1,092				1/18/07 2:00		464		381		1,092

		1		18		4		1/18/07 3:00		440		- 0		92		5		136		233		- 0		6		6		142		1,061				1/18/07 3:00		446		375		1,061

		1		18		5		1/18/07 4:00		577		- 0		99		5		158		245		- 0		6		6		145		1,242				1/18/07 4:00		583		390		1,242

		1		18		6		1/18/07 5:00		617		- 0		101		6		167		248		- 0		8		6		146		1,300				1/18/07 5:00		625		394		1,300

		1		18		7		1/18/07 6:00		892		- 0		118		9		220		275		- 0		12		6		152		1,685				1/18/07 6:00		904		427		1,685

		1		18		8		1/18/07 7:00		773		- 0		128		12		226		265		- 0		13		3		151		1,572				1/18/07 7:00		786		416		1,572

		1		18		9		1/18/07 8:00		903		- 0		145		15		265		274		- 0		11		- 0		152		1,766				1/18/07 8:00		914		426		1,766

		1		18		10		1/18/07 9:00		549		- 0		131		14		200		243		- 0		9		- 0		146		1,292				1/18/07 9:00		558		389		1,292

		1		18		11		1/18/07 10:00		531		- 0		129		14		202		242		- 0		15		- 0		144		1,277				1/18/07 10:00		546		386		1,277

		1		18		12		1/18/07 11:00		569		- 0		129		14		206		243		- 0		12		- 0		146		1,319				1/18/07 11:00		581		389		1,319

		1		18		13		1/18/07 12:00		508		- 0		127		12		195		242		- 0		13		- 0		145		1,242				1/18/07 12:00		521		387		1,242

		1		18		14		1/18/07 13:00		464		- 0		125		13		193		234		- 0		14		- 0		144		1,186				1/18/07 13:00		478		378		1,186

		1		18		15		1/18/07 14:00		563		- 0		128		12		207		248		- 0		12		- 0		146		1,317				1/18/07 14:00		575		394		1,317

		1		18		16		1/18/07 15:00		502		- 0		121		10		185		243		- 0		14		- 0		146		1,220				1/18/07 15:00		516		389		1,220

		1		18		17		1/18/07 16:00		783		- 0		136		8		225		271		- 0		17		3		152		1,595				1/18/07 16:00		800		423		1,595

		1		18		18		1/18/07 17:00		906		- 0		129		8		237		280		- 0		18		7		155		1,740				1/18/07 17:00		924		435		1,740

		1		18		19		1/18/07 18:00		942		- 0		126		8		234		284		- 0		19		7		154		1,772				1/18/07 18:00		961		438		1,772

		1		18		20		1/18/07 19:00		854		- 0		123		7		219		273		- 0		17		7		151		1,650				1/18/07 19:00		871		424		1,650

		1		18		21		1/18/07 20:00		836		- 0		119		7		215		271		- 0		16		7		149		1,619				1/18/07 20:00		852		420		1,619

		1		18		22		1/18/07 21:00		624		- 0		108		7		178		252		- 0		14		7		147		1,335				1/18/07 21:00		638		399		1,335

		1		18		23		1/18/07 22:00		531		- 0		100		6		163		242		- 0		12		7		144		1,205				1/18/07 22:00		543		386		1,205

		1		18		24		1/18/07 23:00		384		- 0		90		5		134		226		- 0		11		7		141		998				1/18/07 23:00		395		367		998

		1		19		1		1/19/07 0:00		213		- 0		73		5		98		206		- 0		12		6		134		748				1/19/07 0:00		225		340		748

		1		19		2		1/19/07 1:00		229		- 0		75		5		97		201		- 0		14		6		128		755				1/19/07 1:00		243		329		755

		1		19		3		1/19/07 2:00		247		- 0		76		5		100		205		- 0		12		6		134		784				1/19/07 2:00		259		339		784

		1		19		4		1/19/07 3:00		320		- 0		78		5		110		220		- 0		12		6		137		889				1/19/07 3:00		332		357		889

		1		19		5		1/19/07 4:00		332		- 0		79		5		112		220		- 0		10		6		138		902				1/19/07 4:00		342		358		902

		1		19		6		1/19/07 5:00		463		- 0		89		6		136		233		- 0		13		6		140		1,086				1/19/07 5:00		476		373		1,086

		1		19		7		1/19/07 6:00		624		- 0		102		8		174		251		- 0		15		6		142		1,322				1/19/07 6:00		639		393		1,322

		1		19		8		1/19/07 7:00		824		- 0		124		11		224		275		- 0		13		3		146		1,622				1/19/07 7:00		837		421		1,622

		1		19		9		1/19/07 8:00		570		- 0		120		13		192		247		- 0		11		- 0		142		1,295				1/19/07 8:00		581		389		1,295

		1		19		10		1/19/07 9:00		591		- 0		129		13		197		243		- 0		10		- 0		145		1,328				1/19/07 9:00		601		388		1,328

		1		19		11		1/19/07 10:00		534		- 0		125		14		191		240		- 0		13		- 0		143		1,261				1/19/07 10:00		547		383		1,261

		1		19		12		1/19/07 11:00		564		- 0		125		13		192		241		- 0		17		- 0		145		1,297				1/19/07 11:00		581		386		1,297

		1		19		13		1/19/07 12:00		632		- 0		129		13		208		255		- 0		14		- 0		146		1,396				1/19/07 12:00		646		401		1,396

		1		19		14		1/19/07 13:00		452		- 0		118		14		179		232		- 0		15		- 0		141		1,151				1/19/07 13:00		467		373		1,151

		1		19		15		1/19/07 14:00		426		- 0		116		13		170		225		- 0		18		- 0		141		1,109				1/19/07 14:00		444		366		1,109

		1		19		16		1/19/07 15:00		492		- 0		118		11		178		229		- 0		20		- 0		142		1,190				1/19/07 15:00		512		371		1,190

		1		19		17		1/19/07 16:00		546		- 0		119		9		175		241		- 0		22		3		142		1,258				1/19/07 16:00		568		383		1,258

		1		19		18		1/19/07 17:00		644		- 0		114		7		188		245		- 0		23		7		144		1,372				1/19/07 17:00		667		389		1,372

		1		19		19		1/19/07 18:00		620		- 0		109		7		179		243		- 0		24		7		143		1,332				1/19/07 18:00		644		386		1,332

		1		19		20		1/19/07 19:00		584		- 0		105		8		173		244		- 0		22		7		140		1,283				1/19/07 19:00		606		384		1,283

		1		19		21		1/19/07 20:00		454		- 0		98		7		151		234		- 0		20		7		140		1,111				1/19/07 20:00		474		374		1,111

		1		19		22		1/19/07 21:00		410		- 0		90		7		139		229		- 0		21		7		140		1,042				1/19/07 21:00		431		369		1,042

		1		19		23		1/19/07 22:00		282		- 0		80		5		115		213		- 0		18		7		137		857				1/19/07 22:00		300		350		857

		1		19		24		1/19/07 23:00		216		- 0		75		5		98		203		- 0		13		7		133		749				1/19/07 23:00		229		336		749

		1		20		1		1/20/07 0:00		206		- 0		67		5		79		193		- 0		15		6		133		704				1/20/07 0:00		221		326		704

		1		20		2		1/20/07 1:00		278		- 0		71		5		88		207		- 0		11		6		136		802				1/20/07 1:00		289		343		802

		1		20		3		1/20/07 2:00		256		- 0		69		5		84		196		- 0		10		6		135		761				1/20/07 2:00		266		331		761

		1		20		4		1/20/07 3:00		261		- 0		68		5		85		201		- 0		12		6		135		774				1/20/07 3:00		273		336		774

		1		20		5		1/20/07 4:00		347		- 0		73		4		96		214		- 0		12		6		139		892				1/20/07 4:00		359		353		892

		1		20		6		1/20/07 5:00		402		- 0		76		5		107		217		- 0		13		6		141		966				1/20/07 5:00		415		358		966

		1		20		7		1/20/07 6:00		615		- 0		90		9		145		241		- 0		13		6		146		1,264				1/20/07 6:00		628		387		1,264

		1		20		8		1/20/07 7:00		592		- 0		94		13		157		241		- 0		14		3		146		1,260				1/20/07 7:00		606		387		1,260

		1		20		9		1/20/07 8:00		661		- 0		115		14		184		251		- 0		18		- 0		145		1,388				1/20/07 8:00		679		396		1,388

		1		20		10		1/20/07 9:00		505		- 0		110		13		160		231		- 0		13		- 0		144		1,175				1/20/07 9:00		518		375		1,175

		1		20		11		1/20/07 10:00		436		- 0		106		15		153		221		- 0		18		- 0		142		1,090				1/20/07 10:00		454		363		1,090

		1		20		12		1/20/07 11:00		294		- 0		95		13		125		208		- 0		14		- 0		140		890				1/20/07 11:00		308		348		890

		1		20		13		1/20/07 12:00		194		- 0		88		11		104		197		- 0		15		- 0		136		746				1/20/07 12:00		209		333		746

		1		20		14		1/20/07 13:00		192		- 0		89		14		106		192		- 0		16		- 0		135		744				1/20/07 13:00		208		327		744

		1		20		15		1/20/07 14:00		159		- 0		88		11		97		191		- 0		13		- 0		135		694				1/20/07 14:00		172		326		694

		1		20		16		1/20/07 15:00		215		- 0		88		9		104		202		- 0		14		- 0		137		770				1/20/07 15:00		229		339		770

		1		20		17		1/20/07 16:00		452		- 0		103		9		139		232		- 0		18		2		143		1,099				1/20/07 16:00		470		375		1,099

		1		20		18		1/20/07 17:00		568		- 0		104		7		150		247		- 0		21		7		145		1,249				1/20/07 17:00		589		392		1,249

		1		20		19		1/20/07 18:00		545		- 0		101		7		142		246		- 0		18		7		144		1,209				1/20/07 18:00		563		390		1,209

		1		20		20		1/20/07 19:00		457		- 0		94		7		129		238		- 0		19		7		142		1,094				1/20/07 19:00		476		380		1,094

		1		20		21		1/20/07 20:00		392		- 0		85		7		115		219		- 0		20		7		140		985				1/20/07 20:00		412		359		985

		1		20		22		1/20/07 21:00		277		- 0		74		6		94		213		- 0		19		7		138		828				1/20/07 21:00		296		351		828

		1		20		23		1/20/07 22:00		224		- 0		66		5		83		203		- 0		20		7		136		744				1/20/07 22:00		244		339		744

		1		20		24		1/20/07 23:00		236		- 0		65		5		83		203		- 0		18		7		138		754				1/20/07 23:00		254		341		754

		1		21		1		1/21/07 0:00		231		- 0		66		5		82		203		- 0		19		6		139		751				1/21/07 0:00		250		342		751

		1		21		2		1/21/07 1:00		272		- 0		68		5		86		211		- 0		12		6		141		802				1/21/07 1:00		284		352		802

		1		21		3		1/21/07 2:00		249		- 0		67		4		82		207		- 0		12		6		141		769				1/21/07 2:00		261		348		769

		1		21		4		1/21/07 3:00		360		- 0		72		5		97		217		- 0		14		6		144		915				1/21/07 3:00		374		361		915

		1		21		5		1/21/07 4:00		380		- 0		73		5		99		217		- 0		12		6		143		937				1/21/07 4:00		392		360		937

		1		21		6		1/21/07 5:00		529		- 0		80		6		122		239		- 0		15		6		145		1,142				1/21/07 5:00		544		384		1,142

		1		21		7		1/21/07 6:00		657		- 0		94		8		149		255		- 0		18		6		149		1,337				1/21/07 6:00		675		404		1,337

		1		21		8		1/21/07 7:00		685		- 0		104		11		169		252		- 0		16		3		152		1,393				1/21/07 7:00		701		404		1,393

		1		21		9		1/21/07 8:00		641		- 0		113		13		172		248		- 0		17		- 0		152		1,356				1/21/07 8:00		658		400		1,356

		1		21		10		1/21/07 9:00		601		- 0		117		12		168		240		- 0		17		- 0		150		1,305				1/21/07 9:00		618		390		1,305

		1		21		11		1/21/07 10:00		591		- 0		115		13		173		243		- 0		17		- 0		146		1,297				1/21/07 10:00		608		389		1,297

		1		21		12		1/21/07 11:00		555		- 0		114		13		165		241		- 0		18		- 0		147		1,252				1/21/07 11:00		573		388		1,252

		1		21		13		1/21/07 12:00		421		- 0		104		12		141		229		- 0		18		- 0		146		1,071				1/21/07 12:00		439		375		1,071

		1		21		14		1/21/07 13:00		369		- 0		102		12		133		218		- 0		16		- 0		142		991				1/21/07 13:00		385		360		991

		1		21		15		1/21/07 14:00		395		- 0		102		11		137		225		- 0		17		- 0		144		1,031				1/21/07 14:00		412		369		1,031

		1		21		16		1/21/07 15:00		524		- 0		105		9		150		242		- 0		17		- 0		147		1,193				1/21/07 15:00		541		389		1,193

		1		21		17		1/21/07 16:00		708		- 0		114		8		165		257		- 0		19		2		152		1,425				1/21/07 16:00		727		409		1,425

		1		21		18		1/21/07 17:00		920		- 0		116		7		182		265		- 0		20		7		152		1,669				1/21/07 17:00		940		417		1,669

		1		21		19		1/21/07 18:00		756		- 0		109		7		160		254		- 0		20		7		152		1,464				1/21/07 18:00		776		406		1,464

		1		21		20		1/21/07 19:00		610		- 0		103		7		142		245		- 0		20		7		147		1,281				1/21/07 19:00		630		392		1,281

		1		21		21		1/21/07 20:00		624		- 0		100		6		139		243		- 0		17		7		147		1,284				1/21/07 20:00		641		390		1,284

		1		21		22		1/21/07 21:00		574		- 0		91		6		128		238		- 0		17		7		148		1,209				1/21/07 21:00		591		386		1,209

		1		21		23		1/21/07 22:00		399		- 0		79		6		101		216		- 0		17		7		144		969				1/21/07 22:00		416		360		969

		1		21		24		1/21/07 23:00		299		- 0		75		5		84		202		- 0		16		7		142		830				1/21/07 23:00		315		344		830

		1		22		1		1/22/07 0:00		293		- 0		90		5		125		219		- 0		15		6		141		893				1/22/07 0:00		308		360		893

		1		22		2		1/22/07 1:00		334		- 0		93		5		132		220		- 0		19		6		142		950				1/22/07 1:00		353		362		950

		1		22		3		1/22/07 2:00		277		- 0		88		5		120		208		- 0		18		6		140		864				1/22/07 2:00		295		348		864

		1		22		4		1/22/07 3:00		361		- 0		93		5		134		218		- 0		17		6		141		976				1/22/07 3:00		378		359		976

		1		22		5		1/22/07 4:00		431		- 0		96		5		147		229		- 0		17		6		145		1,076				1/22/07 4:00		448		374		1,076

		1		22		6		1/22/07 5:00		595		- 0		106		5		178		248		- 0		16		6		148		1,303				1/22/07 5:00		611		396		1,303

		1		22		7		1/22/07 6:00		546		- 0		107		6		171		247		- 0		16		6		148		1,246				1/22/07 6:00		562		395		1,246

		1		22		8		1/22/07 7:00		926		- 0		123		6		232		280		- 0		14		5		150		1,737				1/22/07 7:00		940		430		1,737

		1		22		9		1/22/07 8:00		834		- 0		124		6		222		279		- 0		16		- 0		152		1,633				1/22/07 8:00		850		431		1,633

		1		22		10		1/22/07 9:00		887		- 0		129		7		229		278		- 0		16		- 0		156		1,703				1/22/07 9:00		903		434		1,703

		1		22		11		1/22/07 10:00		830		- 0		127		6		223		275		- 0		16		- 0		155		1,632				1/22/07 10:00		846		430		1,632

		1		22		12		1/22/07 11:00		664		- 0		118		6		194		261		- 0		18		- 0		150		1,411				1/22/07 11:00		682		411		1,411

		1		22		13		1/22/07 12:00		739		- 0		124		6		206		269		- 0		17		- 0		151		1,512				1/22/07 12:00		756		420		1,512

		1		22		14		1/22/07 13:00		576		- 0		117		6		181		252		- 0		18		- 0		148		1,297				1/22/07 13:00		594		400		1,297

		1		22		15		1/22/07 14:00		604		- 0		116		6		184		251		- 0		17		- 0		147		1,326				1/22/07 14:00		621		398		1,326

		1		22		16		1/22/07 15:00		797		- 0		128		8		212		272		- 0		20		- 0		149		1,586				1/22/07 15:00		817		421		1,586

		1		22		17		1/22/07 16:00		735		- 0		126		9		204		270		- 0		22		3		148		1,517				1/22/07 16:00		757		418		1,517

		1		22		18		1/22/07 17:00		799		- 0		132		10		212		268		- 0		19		3		144		1,586				1/22/07 17:00		818		412		1,586

		1		22		19		1/22/07 18:00		943		- 0		132		8		228		282		- 0		18		7		151		1,768				1/22/07 18:00		961		433		1,768

		1		22		20		1/22/07 19:00		782		- 0		126		6		203		270		- 0		15		7		151		1,560				1/22/07 19:00		797		421		1,560

		1		22		21		1/22/07 20:00		774		- 0		126		6		201		264		- 0		13		7		149		1,540				1/22/07 20:00		787		413		1,540

		1		22		22		1/22/07 21:00		590		- 0		114		5		171		243		- 0		10		7		147		1,287				1/22/07 21:00		600		390		1,287

		1		22		23		1/22/07 22:00		634		- 0		117		5		184		257		- 0		12		7		148		1,364				1/22/07 22:00		646		405		1,364

		1		22		24		1/22/07 23:00		540		- 0		109		5		166		245		- 0		11		7		146		1,229				1/22/07 23:00		551		391		1,229

		1		23		1		1/23/07 0:00		438		- 0		104		5		155		230		- 0		7		6		142		1,088				1/23/07 0:00		445		372		1,088

		1		23		2		1/23/07 1:00		435		- 0		105		5		155		230		- 0		10		6		142		1,089				1/23/07 1:00		445		372		1,089

		1		23		3		1/23/07 2:00		423		- 0		104		5		152		229		- 0		7		6		142		1,068				1/23/07 2:00		430		371		1,068

		1		23		4		1/23/07 3:00		410		- 0		103		5		150		226		- 0		7		6		142		1,048				1/23/07 3:00		417		368		1,048

		1		23		5		1/23/07 4:00		498		- 0		105		5		164		237		- 0		7		6		142		1,164				1/23/07 4:00		505		379		1,164

		1		23		6		1/23/07 5:00		521		- 0		107		5		169		242		- 0		7		6		143		1,201				1/23/07 5:00		528		385		1,201

		1		23		7		1/23/07 6:00		602		- 0		112		5		188		249		- 0		11		6		145		1,318				1/23/07 6:00		613		394		1,318

		1		23		8		1/23/07 7:00		594		- 0		109		5		180		246		- 0		10		3		145		1,293				1/23/07 7:00		604		391		1,293

		1		23		9		1/23/07 8:00		671		- 0		114		5		200		262		- 0		11		- 0		143		1,407				1/23/07 8:00		682		405		1,407

		1		23		10		1/23/07 9:00		582		- 0		109		5		186		243		- 0		12		- 0		145		1,282				1/23/07 9:00		594		388		1,282

		1		23		11		1/23/07 10:00		507		- 0		106		5		174		237		- 0		17		- 0		142		1,187				1/23/07 10:00		524		379		1,187

		1		23		12		1/23/07 11:00		460		- 0		102		4		165		237		- 0		19		- 0		135		1,121				1/23/07 11:00		479		372		1,121

		1		23		13		1/23/07 12:00		418		- 0		100		4		159		230		- 0		18		- 0		142		1,071				1/23/07 12:00		436		372		1,071

		1		23		14		1/23/07 13:00		290		- 0		92		4		137		210		- 0		16		- 0		137		886				1/23/07 13:00		306		347		886

		1		23		15		1/23/07 14:00		297		- 0		93		4		137		213		- 0		16		- 0		139		899				1/23/07 14:00		313		352		899

		1		23		16		1/23/07 15:00		425		- 0		99		4		160		232		- 0		17		- 0		142		1,080				1/23/07 15:00		442		374		1,080

		1		23		17		1/23/07 16:00		580		- 0		110		5		185		250		- 0		15		2		146		1,292				1/23/07 16:00		595		396		1,292

		1		23		18		1/23/07 17:00		571		- 0		107		5		179		245		- 0		19		7		141		1,273				1/23/07 17:00		590		386		1,273

		1		23		19		1/23/07 18:00		539		- 0		106		5		174		243		- 0		20		7		144		1,237				1/23/07 18:00		559		387		1,237

		1		23		20		1/23/07 19:00		528		- 0		104		5		171		245		- 0		19		7		144		1,224				1/23/07 19:00		547		389		1,224

		1		23		21		1/23/07 20:00		398		- 0		96		5		147		218		- 0		20		7		139		1,030				1/23/07 20:00		418		357		1,030

		1		23		22		1/23/07 21:00		299		- 0		91		5		132		217		- 0		18		7		139		906				1/23/07 21:00		317		356		906

		1		23		23		1/23/07 22:00		280		- 0		91		5		130		216		- 0		17		7		139		883				1/23/07 22:00		297		355		883

		1		23		24		1/23/07 23:00		195		- 0		82		4		113		204		- 0		14		7		136		755				1/23/07 23:00		209		340		755

		1		24		1		1/24/07 0:00		250		- 0		76		5		104		205		- 0		17		6		140		803				1/24/07 0:00		267		345		803

		1		24		2		1/24/07 1:00		255		- 0		76		5		105		204		- 0		18		6		140		809				1/24/07 1:00		273		344		809

		1		24		3		1/24/07 2:00		224		- 0		73		5		97		198		- 0		17		6		138		758				1/24/07 2:00		241		336		758

		1		24		4		1/24/07 3:00		223		- 0		75		5		98		193		- 0		19		6		137		756				1/24/07 3:00		242		330		756

		1		24		5		1/24/07 4:00		222		- 0		74		5		97		198		- 0		17		6		135		755				1/24/07 4:00		239		333		755

		1		24		6		1/24/07 5:00		298		- 0		80		5		116		210		- 0		19		6		140		876				1/24/07 5:00		317		350		876

		1		24		7		1/24/07 6:00		528		- 0		98		9		167		241		- 0		23		6		144		1,215				1/24/07 6:00		551		385		1,215

		1		24		8		1/24/07 7:00		578		- 0		110		13		190		241		- 0		20		3		145		1,300				1/24/07 7:00		598		386		1,300

		1		24		9		1/24/07 8:00		578		- 0		122		15		202		245		- 0		22		- 0		144		1,328				1/24/07 8:00		600		389		1,328

		1		24		10		1/24/07 9:00		521		- 0		123		13		193		241		- 0		18		- 0		146		1,255				1/24/07 9:00		539		387		1,255

		1		24		11		1/24/07 10:00		589		- 0		130		14		214		251		- 0		22		- 0		138		1,359				1/24/07 10:00		611		389		1,359

		1		24		12		1/24/07 11:00		537		- 0		122		14		199		239		- 0		19		- 0		145		1,275				1/24/07 11:00		556		384		1,275

		1		24		13		1/24/07 12:00		528		- 0		124		12		197		244		- 0		24		- 0		146		1,275				1/24/07 12:00		552		390		1,275

		1		24		14		1/24/07 13:00		549		- 0		127		13		207		244		- 0		24		- 0		146		1,310				1/24/07 13:00		573		390		1,310

		1		24		15		1/24/07 14:00		610		- 0		131		13		220		255		- 0		23		- 0		148		1,399				1/24/07 14:00		633		403		1,399

		1		24		16		1/24/07 15:00		493		- 0		119		11		194		240		- 0		24		- 0		145		1,226				1/24/07 15:00		517		385		1,226

		1		24		17		1/24/07 16:00		605		- 0		124		9		199		252		- 0		29		2		149		1,369				1/24/07 16:00		634		401		1,369

		1		24		18		1/24/07 17:00		799		- 0		122		8		220		273		- 0		27		7		150		1,606				1/24/07 17:00		826		423		1,606

		1		24		19		1/24/07 18:00		762		- 0		118		8		213		270		- 0		27		7		150		1,554				1/24/07 18:00		789		420		1,554

		1		24		20		1/24/07 19:00		798		- 0		120		9		218		277		- 0		25		7		149		1,603				1/24/07 19:00		823		426		1,603

		1		24		21		1/24/07 20:00		568		- 0		108		7		179		251		- 0		17		7		146		1,281				1/24/07 20:00		585		397		1,281

		1		24		22		1/24/07 21:00		526		- 0		101		7		173		242		- 0		15		7		145		1,216				1/24/07 21:00		541		387		1,216

		1		24		23		1/24/07 22:00		417		- 0		93		6		150		229		- 0		13		7		142		1,057				1/24/07 22:00		430		371		1,057

		1		24		24		1/24/07 23:00		392		- 0		88		5		140		222		- 0		10		7		141		1,004				1/24/07 23:00		402		363		1,004

		1		25		1		1/25/07 0:00		212		- 0		78		6		101		203		- 0		7		6		136		750				1/25/07 0:00		219		339		750

		1		25		2		1/25/07 1:00		209		- 0		74		5		99		200		- 0		11		6		136		740				1/25/07 1:00		220		336		740

		1		25		3		1/25/07 2:00		222		- 0		75		6		103		204		- 0		10		6		136		764				1/25/07 2:00		232		340		764

		1		25		4		1/25/07 3:00		196		- 0		74		5		96		202		- 0		11		6		136		726				1/25/07 3:00		207		338		726

		1		25		5		1/25/07 4:00		211		- 0		73		4		97		202		- 0		10		6		133		738				1/25/07 4:00		221		335		738

		1		25		6		1/25/07 5:00		342		- 0		83		5		124		219		- 0		12		6		140		931				1/25/07 5:00		354		359		931

		1		25		7		1/25/07 6:00		570		- 0		98		9		172		244		- 0		16		6		145		1,261				1/25/07 6:00		586		389		1,261

		1		25		8		1/25/07 7:00		558		- 0		107		14		183		248		- 0		15		3		146		1,274				1/25/07 7:00		573		394		1,274

		1		25		9		1/25/07 8:00		498		- 0		117		15		189		242		- 0		15		- 0		144		1,221				1/25/07 8:00		513		386		1,221

		1		25		10		1/25/07 9:00		339		- 0		110		14		160		219		- 0		16		- 0		139		996				1/25/07 9:00		355		358		996

		1		25		11		1/25/07 10:00		215		- 0		102		14		134		203		- 0		16		- 0		136		820				1/25/07 10:00		231		339		820

		1		25		12		1/25/07 11:00		187		- 0		97		13		125		197		- 0		16		- 0		136		773				1/25/07 11:00		203		333		773

		1		25		13		1/25/07 12:00		162		- 0		94		11		117		191		- 0		17		- 0		135		727				1/25/07 12:00		179		326		727

		1		25		14		1/25/07 13:00		169		- 0		96		13		122		192		- 0		20		- 0		135		748				1/25/07 13:00		189		327		748

		1		25		15		1/25/07 14:00		176		- 0		95		12		121		193		- 0		20		- 0		134		751				1/25/07 14:00		196		327		751

		1		25		16		1/25/07 15:00		213		- 0		94		10		128		206		- 0		21		- 0		136		808				1/25/07 15:00		234		342		808

		1		25		17		1/25/07 16:00		403		- 0		109		9		163		232		- 0		20		2		138		1,075				1/25/07 16:00		423		370		1,075

		1		25		18		1/25/07 17:00		499		- 0		103		7		171		242		- 0		21		7		142		1,192				1/25/07 17:00		520		384		1,192

		1		25		19		1/25/07 18:00		496		- 0		100		8		166		239		- 0		23		7		140		1,180				1/25/07 18:00		519		379		1,180

		1		25		20		1/25/07 19:00		434		- 0		98		8		157		237		- 0		22		7		141		1,103				1/25/07 19:00		456		378		1,103

		1		25		21		1/25/07 20:00		410		- 0		95		7		148		237		- 0		18		7		139		1,061				1/25/07 20:00		428		376		1,061

		1		25		22		1/25/07 21:00		356		- 0		89		7		134		231		- 0		17		7		139		980				1/25/07 21:00		373		370		980

		1		25		23		1/25/07 22:00		221		- 0		77		6		106		210		- 0		12		7		136		775				1/25/07 22:00		233		346		775

		1		25		24		1/25/07 23:00		200		- 0		74		5		100		203		- 0		14		7		135		738				1/25/07 23:00		214		338		738

		1		26		1		1/26/07 0:00		246		- 0		74		6		106		216		- 0		12		6		137		803				1/26/07 0:00		258		353		803

		1		26		2		1/26/07 1:00		285		- 0		75		6		114		222		- 0		9		6		139		856				1/26/07 1:00		294		361		856

		1		26		3		1/26/07 2:00		226		- 0		72		5		99		209		- 0		10		6		136		763				1/26/07 2:00		236		345		763

		1		26		4		1/26/07 3:00		225		- 0		72		4		98		212		- 0		9		6		135		762				1/26/07 3:00		234		347		762

		1		26		5		1/26/07 4:00		216		- 0		72		4		93		207		- 0		10		6		133		742				1/26/07 4:00		226		340		742

		1		26		6		1/26/07 5:00		361		- 0		81		5		120		229		- 0		8		6		138		948				1/26/07 5:00		369		367		948

		1		26		7		1/26/07 6:00		463		- 0		89		9		149		239		- 0		11		6		139		1,106				1/26/07 6:00		474		378		1,106

		1		26		8		1/26/07 7:00		558		- 0		103		13		182		247		- 0		16		3		142		1,265				1/26/07 7:00		574		389		1,265

		1		26		9		1/26/07 8:00		501		- 0		115		14		183		241		- 0		13		- 0		141		1,208				1/26/07 8:00		514		382		1,208

		1		26		10		1/26/07 9:00		363		- 0		110		13		160		221		- 0		15		- 0		138		1,021				1/26/07 9:00		378		359		1,021

		1		26		11		1/26/07 10:00		285		- 0		104		13		145		216		- 0		16		- 0		137		916				1/26/07 10:00		301		353		916

		1		26		12		1/26/07 11:00		142		- 0		93		13		110		193		- 0		13		- 0		132		696				1/26/07 11:00		155		325		696

		1		26		13		1/26/07 12:00		174		- 0		93		11		118		202		- 0		15		- 0		133		746				1/26/07 12:00		189		335		746

		1		26		14		1/26/07 13:00		157		- 0		96		13		118		200		- 0		16		- 0		134		733				1/26/07 13:00		173		334		733

		1		26		15		1/26/07 14:00		168		- 0		94		12		120		200		- 0		15		- 0		134		742				1/26/07 14:00		183		334		742

		1		26		16		1/26/07 15:00		269		- 0		98		11		136		217		- 0		17		- 0		138		885				1/26/07 15:00		286		355		885

		1		26		17		1/26/07 16:00		417		- 0		106		9		158		237		- 0		17		2		139		1,084				1/26/07 16:00		434		376		1,084

		1		26		18		1/26/07 17:00		587		- 0		109		7		181		256		- 0		16		7		142		1,305				1/26/07 17:00		603		398		1,305

		1		26		19		1/26/07 18:00		515		- 0		102		8		165		248		- 0		21		7		140		1,205				1/26/07 18:00		536		388		1,205

		1		26		20		1/26/07 19:00		439		- 0		97		8		151		235		- 0		17		7		141		1,094				1/26/07 19:00		456		376		1,094

		1		26		21		1/26/07 20:00		366		- 0		90		7		135		231		- 0		16		7		136		988				1/26/07 20:00		382		367		988

		1		26		22		1/26/07 21:00		391		- 0		88		7		136		234		- 0		15		7		139		1,018				1/26/07 21:00		406		373		1,018

		1		26		23		1/26/07 22:00		215		- 0		74		5		101		206		- 0		13		7		134		754				1/26/07 22:00		228		340		754

		1		26		24		1/26/07 23:00		229		- 0		75		5		104		211		- 0		13		7		136		779				1/26/07 23:00		242		347		779

		1		27		1		1/27/07 0:00		240		- 0		69		5		84		205		- 0		15		6		136		760				1/27/07 0:00		255		341		760

		1		27		2		1/27/07 1:00		244		- 0		68		5		82		205		- 0		13		6		136		760				1/27/07 1:00		257		341		760

		1		27		3		1/27/07 2:00		244		- 0		68		5		82		204		- 0		12		6		137		758				1/27/07 2:00		256		341		758

		1		27		4		1/27/07 3:00		252		- 0		68		5		81		204		- 0		12		6		137		766				1/27/07 3:00		264		341		766

		1		27		5		1/27/07 4:00		242		- 0		67		5		79		205		- 0		13		6		136		753				1/27/07 4:00		255		341		753

		1		27		6		1/27/07 5:00		407		- 0		75		5		104		222		- 0		16		6		141		977				1/27/07 5:00		423		363		977

		1		27		7		1/27/07 6:00		651		- 0		91		9		149		248		- 0		21		6		146		1,320				1/27/07 6:00		672		394		1,320

		1		27		8		1/27/07 7:00		568		- 0		99		13		154		236		- 0		18		3		145		1,235				1/27/07 7:00		586		381		1,235

		1		27		9		1/27/07 8:00		624		- 0		111		14		173		245		- 0		20		- 0		145		1,333				1/27/07 8:00		644		390		1,333

		1		27		10		1/27/07 9:00		589		- 0		116		14		174		241		- 0		18		- 0		145		1,297				1/27/07 9:00		607		386		1,297

		1		27		11		1/27/07 10:00		450		- 0		109		15		154		229		- 0		18		- 0		143		1,117				1/27/07 10:00		468		372		1,117

		1		27		12		1/27/07 11:00		376		- 0		104		13		139		220		- 0		17		- 0		141		1,010				1/27/07 11:00		393		361		1,010

		1		27		13		1/27/07 12:00		308		- 0		98		11		126		216		- 0		17		- 0		139		914				1/27/07 12:00		325		355		914

		1		27		14		1/27/07 13:00		193		- 0		91		13		104		197		- 0		15		- 0		132		745				1/27/07 13:00		208		329		745

		1		27		15		1/27/07 14:00		184		- 0		90		12		101		193		- 0		15		- 0		135		731				1/27/07 14:00		199		328		731

		1		27		16		1/27/07 15:00		377		- 0		99		11		133		218		- 0		15		- 0		140		994				1/27/07 15:00		392		358		994

		1		27		17		1/27/07 16:00		610		- 0		109		9		160		246		- 0		17		2		144		1,297				1/27/07 16:00		627		390		1,297

		1		27		18		1/27/07 17:00		641		- 0		108		7		156		251		- 0		16		7		145		1,331				1/27/07 17:00		657		396		1,331

		1		27		19		1/27/07 18:00		568		- 0		104		8		143		243		- 0		19		7		144		1,235				1/27/07 18:00		587		387		1,235

		1		27		20		1/27/07 19:00		613		- 0		104		8		150		241		- 0		16		7		143		1,283				1/27/07 19:00		629		384		1,283

		1		27		21		1/27/07 20:00		518		- 0		96		8		136		240		- 0		18		7		141		1,162				1/27/07 20:00		536		381		1,162

		1		27		22		1/27/07 21:00		459		- 0		86		8		121		230		- 0		16		7		140		1,066				1/27/07 21:00		475		370		1,066

		1		27		23		1/27/07 22:00		338		- 0		74		7		100		219		- 0		13		7		139		897				1/27/07 22:00		351		358		897

		1		27		24		1/27/07 23:00		238		- 0		68		6		83		202		- 0		14		7		135		752				1/27/07 23:00		252		337		752

		1		28		1		1/28/07 0:00		246		- 0		65		5		84		199		- 0		12		6		140		758				1/28/07 0:00		258		339		758

		1		28		2		1/28/07 1:00		250		- 0		62		5		82		200		- 0		17		6		139		761				1/28/07 1:00		267		339		761

		1		28		3		1/28/07 2:00		209		- 0		62		5		75		194		- 0		16		6		137		704				1/28/07 2:00		225		331		704

		1		28		4		1/28/07 3:00		216		- 0		61		5		74		198		- 0		14		6		137		712				1/28/07 3:00		230		335		712

		1		28		5		1/28/07 4:00		231		- 0		64		5		77		193		- 0		17		6		137		729				1/28/07 4:00		248		330		729

		1		28		6		1/28/07 5:00		393		- 0		74		6		102		215		- 0		16		6		142		954				1/28/07 5:00		409		357		954

		1		28		7		1/28/07 6:00		601		- 0		86		10		138		235		- 0		19		6		146		1,241				1/28/07 6:00		620		381		1,241

		1		28		8		1/28/07 7:00		603		- 0		96		14		155		240		- 0		20		3		147		1,279				1/28/07 7:00		623		387		1,279

		1		28		9		1/28/07 8:00		678		- 0		108		15		175		241		- 0		18		- 0		146		1,381				1/28/07 8:00		696		387		1,381

		1		28		10		1/28/07 9:00		483		- 0		103		14		152		225		- 0		17		- 0		142		1,137				1/28/07 9:00		500		367		1,137

		1		28		11		1/28/07 10:00		520		- 0		109		15		161		230		- 0		18		- 0		145		1,199				1/28/07 10:00		538		375		1,199

		1		28		12		1/28/07 11:00		358		- 0		98		13		131		216		- 0		18		- 0		142		975				1/28/07 11:00		376		358		975

		1		28		13		1/28/07 12:00		365		- 0		98		12		131		217		- 0		20		- 0		142		985				1/28/07 12:00		385		359		985

		1		28		14		1/28/07 13:00		271		- 0		93		13		116		206		- 0		18		- 0		140		858				1/28/07 13:00		289		346		858

		1		28		15		1/28/07 14:00		217		- 0		89		11		103		197		- 0		19		- 0		138		774				1/28/07 14:00		236		335		774

		1		28		16		1/28/07 15:00		359		- 0		93		9		123		214		- 0		21		- 0		140		960				1/28/07 15:00		380		354		960

		1		28		17		1/28/07 16:00		547		- 0		100		9		145		239		- 0		20		2		146		1,206				1/28/07 16:00		567		385		1,206

		1		28		18		1/28/07 17:00		656		- 0		103		8		154		247		- 0		19		7		148		1,342				1/28/07 17:00		675		395		1,342

		1		28		19		1/28/07 18:00		656		- 0		101		8		151		245		- 0		19		7		147		1,333				1/28/07 18:00		675		392		1,333

		1		28		20		1/28/07 19:00		592		- 0		98		8		138		236		- 0		13		7		146		1,238				1/28/07 19:00		605		382		1,238

		1		28		21		1/28/07 20:00		518		- 0		91		6		126		228		- 0		13		7		144		1,134				1/28/07 20:00		531		372		1,134

		1		28		22		1/28/07 21:00		435		- 0		83		6		110		220		- 0		11		7		143		1,014				1/28/07 21:00		446		363		1,014

		1		28		23		1/28/07 22:00		399		- 0		77		5		100		212		- 0		11		7		143		953				1/28/07 22:00		410		355		953

		1		28		24		1/28/07 23:00		238		- 0		68		4		76		192		- 0		9		7		137		731				1/28/07 23:00		247		329		731

		1		29		1		1/29/07 0:00		169		- 0		80		4		100		197		- 0		6		6		135		697				1/29/07 0:00		175		332		697

		1		29		2		1/29/07 1:00		213		- 0		80		4		108		202		- 0		11		6		135		759				1/29/07 1:00		224		337		759

		1		29		3		1/29/07 2:00		206		- 0		81		4		107		200		- 0		8		6		135		748				1/29/07 2:00		214		335		748

		1		29		4		1/29/07 3:00		294		- 0		87		4		122		210		- 0		10		6		138		872				1/29/07 3:00		304		348		872

		1		29		5		1/29/07 4:00		281		- 0		86		4		120		209		- 0		9		6		138		854				1/29/07 4:00		290		347		854

		1		29		6		1/29/07 5:00		225		- 0		82		4		111		203		- 0		10		6		131		773				1/29/07 5:00		235		334		773

		1		29		7		1/29/07 6:00		427		- 0		95		5		152		228		- 0		11		6		142		1,066				1/29/07 6:00		438		370		1,066

		1		29		8		1/29/07 7:00		661		- 0		107		5		192		255		- 0		11		3		146		1,381				1/29/07 7:00		672		401		1,381

		1		29		9		1/29/07 8:00		591		- 0		106		5		182		251		- 0		17		- 0		145		1,297				1/29/07 8:00		608		396		1,297

		1		29		10		1/29/07 9:00		588		- 0		111		6		187		249		- 0		18		- 0		146		1,305				1/29/07 9:00		606		395		1,305

		1		29		11		1/29/07 10:00		506		- 0		108		5		175		242		- 0		19		- 0		144		1,200				1/29/07 10:00		525		386		1,200

		1		29		12		1/29/07 11:00		442		- 0		104		5		162		240		- 0		21		- 0		143		1,117				1/29/07 11:00		463		383		1,117

		1		29		13		1/29/07 12:00		398		- 0		100		4		152		230		- 0		19		- 0		141		1,045				1/29/07 12:00		417		371		1,045

		1		29		14		1/29/07 13:00		334		- 0		96		4		141		220		- 0		17		- 0		140		952				1/29/07 13:00		351		360		952

		1		29		15		1/29/07 14:00		350		- 0		99		4		145		219		- 0		17		- 0		140		974				1/29/07 14:00		367		359		974

		1		29		16		1/29/07 15:00		386		- 0		99		4		146		224		- 0		21		- 0		140		1,019				1/29/07 15:00		407		364		1,019

		1		29		17		1/29/07 16:00		559		- 0		111		4		174		249		- 0		22		2		146		1,266				1/29/07 16:00		581		395		1,266

		1		29		18		1/29/07 17:00		559		- 0		107		5		168		247		- 0		20		7		146		1,257				1/29/07 17:00		579		393		1,257

		1		29		19		1/29/07 18:00		613		- 0		109		5		179		249		- 0		18		7		145		1,326				1/29/07 18:00		631		394		1,326

		1		29		20		1/29/07 19:00		502		- 0		102		5		161		233		- 0		16		7		143		1,168				1/29/07 19:00		518		376		1,168

		1		29		21		1/29/07 20:00		437		- 0		99		4		151		232		- 0		16		7		143		1,089				1/29/07 20:00		453		375		1,089

		1		29		22		1/29/07 21:00		439		- 0		98		4		149		232		- 0		15		7		143		1,087				1/29/07 21:00		454		375		1,087

		1		29		23		1/29/07 22:00		385		- 0		95		4		140		223		- 0		11		7		141		1,005				1/29/07 22:00		396		364		1,005

		1		29		24		1/29/07 23:00		265		- 0		88		4		118		208		- 0		8		7		139		836				1/29/07 23:00		273		347		836

		1		30		1		1/30/07 0:00		200		- 0		77		4		114		206		- 0		8		6		140		756				1/30/07 0:00		208		346		756

		1		30		2		1/30/07 1:00		164		- 0		77		4		108		205		- 0		19		6		139		722				1/30/07 1:00		183		344		722

		1		30		3		1/30/07 2:00		144		- 0		73		4		102		200		- 0		21		6		138		688				1/30/07 2:00		165		338		688

		1		30		4		1/30/07 3:00		150		- 0		73		4		103		197		- 0		21		6		137		690				1/30/07 3:00		171		334		690

		1		30		5		1/30/07 4:00		205		- 0		75		4		115		207		- 0		23		6		140		775				1/30/07 4:00		228		347		775

		1		30		6		1/30/07 5:00		216		- 0		76		4		120		213		- 0		24		6		141		800				1/30/07 5:00		240		354		800

		1		30		7		1/30/07 6:00		256		- 0		80		4		131		221		- 0		23		6		141		863				1/30/07 6:00		279		362		863

		1		30		8		1/30/07 7:00		236		- 0		77		4		122		209		- 0		29		3		137		816				1/30/07 7:00		265		346		816

		1		30		9		1/30/07 8:00		203		- 0		78		4		113		201		- 0		27		- 0		136		761				1/30/07 8:00		230		337		761

		1		30		10		1/30/07 9:00		186		- 0		79		3		110		198		- 0		24		- 0		136		736				1/30/07 9:00		210		334		736

		1		30		11		1/30/07 10:00		189		- 0		79		4		111		200		- 0		19		- 0		136		738				1/30/07 10:00		208		336		738

		1		30		12		1/30/07 11:00		214		- 0		81		3		122		209		- 0		20		- 0		139		790				1/30/07 11:00		234		348		790

		1		30		13		1/30/07 12:00		266		- 0		83		3		137		222		- 0		14		- 0		142		867				1/30/07 12:00		280		364		867

		1		30		14		1/30/07 13:00		250		- 0		86		3		138		221		- 0		16		- 0		144		858				1/30/07 13:00		266		365		858

		1		30		15		1/30/07 14:00		241		- 0		86		3		140		224		- 0		15		- 0		144		853				1/30/07 14:00		256		368		853

		1		30		16		1/30/07 15:00		235		- 0		84		3		137		222		- 0		17		- 0		144		842				1/30/07 15:00		252		366		842

		1		30		17		1/30/07 16:00		198		- 0		79		4		114		207		- 0		25		2		137		765				1/30/07 16:00		223		344		765

		1		30		18		1/30/07 17:00		204		- 0		82		4		111		203		- 0		23		7		135		768				1/30/07 17:00		227		338		768

		1		30		19		1/30/07 18:00		198		- 0		79		4		110		203		- 0		20		7		135		755				1/30/07 18:00		218		338		755

		1		30		20		1/30/07 19:00		199		- 0		79		4		111		202		- 0		21		7		136		757				1/30/07 19:00		220		338		757

		1		30		21		1/30/07 20:00		206		- 0		78		4		114		204		- 0		22		7		137		771				1/30/07 20:00		228		341		771

		1		30		22		1/30/07 21:00		266		- 0		84		4		135		222		- 0		20		7		143		880				1/30/07 21:00		286		365		880

		1		30		23		1/30/07 22:00		195		- 0		76		4		120		213		- 0		20		7		142		777				1/30/07 22:00		215		355		777

		1		30		24		1/30/07 23:00		151		- 0		72		4		112		203		- 0		19		7		138		705				1/30/07 23:00		170		341		705

		1		31		1		1/31/07 0:00		242		- 0		72		4		108		213		- 0		21		6		143		810				1/31/07 0:00		263		356		810

		1		31		2		1/31/07 1:00		281		- 0		73		4		114		217		- 0		15		6		141		851				1/31/07 1:00		296		358		851

		1		31		3		1/31/07 2:00		187		- 0		69		4		97		203		- 0		15		6		140		722				1/31/07 2:00		202		343		722

		1		31		4		1/31/07 3:00		211		- 0		69		4		101		202		- 0		16		6		142		751				1/31/07 3:00		227		344		751

		1		31		5		1/31/07 4:00		270		- 0		74		5		116		218		- 0		17		6		144		850				1/31/07 4:00		287		362		850

		1		31		6		1/31/07 5:00		216		- 0		70		5		103		204		- 0		19		6		139		762				1/31/07 5:00		235		343		762

		1		31		7		1/31/07 6:00		269		- 0		77		9		119		213		- 0		18		6		139		850				1/31/07 6:00		287		352		850

		1		31		8		1/31/07 7:00		230		- 0		82		12		124		207		- 0		19		3		137		814				1/31/07 7:00		249		344		814

		1		31		9		1/31/07 8:00		188		- 0		91		13		124		198		- 0		22		- 0		134		770				1/31/07 8:00		210		332		770

		1		31		10		1/31/07 9:00		166		- 0		93		12		121		196		- 0		22		- 0		135		746				1/31/07 9:00		188		331		746

		1		31		11		1/31/07 10:00		165		- 0		94		13		123		199		- 0		23		- 0		131		748				1/31/07 10:00		188		330		748

		1		31		12		1/31/07 11:00		176		- 0		95		12		126		197		- 0		20		- 0		137		762				1/31/07 11:00		196		334		762

		1		31		13		1/31/07 12:00		170		- 0		90		11		123		195		- 0		20		- 0		137		746				1/31/07 12:00		190		332		746

		1		31		14		1/31/07 13:00		200		- 0		95		12		139		201		- 0		22		- 0		138		807				1/31/07 13:00		222		339		807

		1		31		15		1/31/07 14:00		194		- 0		95		11		138		211		- 0		21		- 0		140		810				1/31/07 14:00		215		351		810

		1		31		16		1/31/07 15:00		181		- 0		90		9		125		200		- 0		19		- 0		137		761				1/31/07 15:00		200		337		761

		1		31		17		1/31/07 16:00		189		- 0		88		8		118		200		- 0		28		1		137		768				1/31/07 16:00		217		337		768

		1		31		18		1/31/07 17:00		300		- 0		86		6		135		219		- 0		26		6		135		914				1/31/07 17:00		326		354		914

		1		31		19		1/31/07 18:00		207		- 0		77		7		112		206		- 0		23		7		135		774				1/31/07 18:00		230		341		774

		1		31		20		1/31/07 19:00		177		- 0		74		7		105		197		- 0		27		7		135		730				1/31/07 19:00		204		332		730

		1		31		21		1/31/07 20:00		197		- 0		73		6		107		201		- 0		26		7		136		753				1/31/07 20:00		223		337		753

		1		31		22		1/31/07 21:00		199		- 0		71		6		108		206		- 0		22		7		137		756				1/31/07 21:00		221		343		756

		1		31		23		1/31/07 22:00		275		- 0		74		6		128		222		- 0		20		7		141		872				1/31/07 22:00		295		363		872

		1		31		24		1/31/07 23:00		268		- 0		74		6		123		222		- 0		20		7		144		863				1/31/07 23:00		288		366		863

		2		1		1		2/1/07 0:00		207		- 0		72		6		103		212		- 0		15		6		141		762				2/1/07 0:00		222		353		762

		2		1		2		2/1/07 1:00		216		- 0		71		5		103		214		- 0		14		6		141		771				2/1/07 1:00		230		355		771

		2		1		3		2/1/07 2:00		208		- 0		73		5		101		209		- 0		14		6		141		758				2/1/07 2:00		222		350		758

		2		1		4		2/1/07 3:00		286		- 0		75		5		112		217		- 0		14		6		141		857				2/1/07 3:00		300		358		857

		2		1		5		2/1/07 4:00		295		- 0		76		4		113		214		- 0		15		6		139		864				2/1/07 4:00		310		353		864

		2		1		6		2/1/07 5:00		214		- 0		73		5		96		198		- 0		14		6		136		742				2/1/07 5:00		228		334		742

		2		1		7		2/1/07 6:00		398		- 0		92		9		139		222		- 0		15		6		142		1,022				2/1/07 6:00		413		364		1,022

		2		1		8		2/1/07 7:00		446		- 0		104		13		162		231		- 0		18		3		143		1,120				2/1/07 7:00		464		374		1,120

		2		1		9		2/1/07 8:00		289		- 0		105		13		143		218		- 0		23		- 0		141		931				2/1/07 8:00		312		359		931

		2		1		10		2/1/07 9:00		345		- 0		114		12		157		217		- 0		22		- 0		142		1,011				2/1/07 9:00		367		359		1,011

		2		1		11		2/1/07 10:00		256		- 0		109		12		142		209		- 0		17		- 0		141		886				2/1/07 10:00		273		350		886

		2		1		12		2/1/07 11:00		176		- 0		103		12		121		199		- 0		15		- 0		138		763				2/1/07 11:00		191		337		763

		2		1		13		2/1/07 12:00		146		- 0		98		10		111		193		- 0		12		- 0		137		706				2/1/07 12:00		158		330		706

		2		1		14		2/1/07 13:00		177		- 0		102		11		123		197		- 0		15		- 0		137		762				2/1/07 13:00		192		334		762

		2		1		15		2/1/07 14:00		206		- 0		103		10		127		201		- 0		15		- 0		140		802				2/1/07 14:00		221		341		802

		2		1		16		2/1/07 15:00		192		- 0		99		9		121		206		- 0		16		- 0		140		782				2/1/07 15:00		208		346		782

		2		1		17		2/1/07 16:00		351		- 0		108		8		149		225		- 0		23		1		143		1,007				2/1/07 16:00		374		368		1,007

		2		1		18		2/1/07 17:00		496		- 0		110		7		168		244		- 0		24		6		146		1,202				2/1/07 17:00		520		390		1,202

		2		1		19		2/1/07 18:00		513		- 0		106		7		167		246		- 0		21		7		146		1,213				2/1/07 18:00		534		392		1,213

		2		1		20		2/1/07 19:00		403		- 0		97		7		146		227		- 0		20		7		143		1,050				2/1/07 19:00		423		370		1,050

		2		1		21		2/1/07 20:00		342		- 0		91		6		133		219		- 0		18		7		140		956				2/1/07 20:00		360		359		956

		2		1		22		2/1/07 21:00		300		- 0		89		6		123		219		- 0		19		7		137		899				2/1/07 21:00		319		356		899

		2		1		23		2/1/07 22:00		178		- 0		77		5		97		201		- 0		12		7		136		713				2/1/07 22:00		190		337		713

		2		1		24		2/1/07 23:00		296		- 0		80		5		120		213		- 0		10		7		139		870				2/1/07 23:00		306		352		870

		2		2		1		2/2/07 0:00		190		- 0		68		4		94		205		- 0		12		6		140		720				2/2/07 0:00		202		345		720

		2		2		2		2/2/07 1:00		167		- 0		67		5		87		198		- 0		13		6		138		683				2/2/07 1:00		180		336		683

		2		2		3		2/2/07 2:00		182		- 0		67		5		90		205		- 0		19		6		138		713				2/2/07 2:00		201		343		713

		2		2		4		2/2/07 3:00		190		- 0		69		5		90		204		- 0		15		6		139		717				2/2/07 3:00		205		343		717

		2		2		5		2/2/07 4:00		221		- 0		70		4		96		207		- 0		17		6		140		762				2/2/07 4:00		238		347		762

		2		2		6		2/2/07 5:00		293		- 0		74		4		110		213		- 0		17		6		140		857				2/2/07 5:00		310		353		857

		2		2		7		2/2/07 6:00		209		- 0		75		8		101		202		- 0		22		6		136		758				2/2/07 6:00		231		338		758

		2		2		8		2/2/07 7:00		259		- 0		88		11		122		206		- 0		23		3		139		851				2/2/07 7:00		282		345		851

		2		2		9		2/2/07 8:00		188		- 0		92		13		114		190		- 0		22		- 0		136		755				2/2/07 8:00		210		326		755

		2		2		10		2/2/07 9:00		168		- 0		98		12		112		191		- 0		21		- 0		136		737				2/2/07 9:00		189		327		737

		2		2		11		2/2/07 10:00		202		- 0		99		13		124		197		- 0		18		- 0		132		785				2/2/07 10:00		220		329		785

		2		2		12		2/2/07 11:00		258		- 0		101		13		140		208		- 0		16		- 0		139		875				2/2/07 11:00		274		347		875

		2		2		13		2/2/07 12:00		241		- 0		98		11		136		207		- 0		18		- 0		139		850				2/2/07 12:00		259		346		850

		2		2		14		2/2/07 13:00		262		- 0		100		13		141		205		- 0		15		- 0		138		873				2/2/07 13:00		277		343		873

		2		2		15		2/2/07 14:00		247		- 0		100		12		140		212		- 0		14		- 0		140		866				2/2/07 14:00		261		352		866

		2		2		16		2/2/07 15:00		248		- 0		97		9		138		205		- 0		15		- 0		141		853				2/2/07 15:00		263		346		853

		2		2		17		2/2/07 16:00		186		- 0		89		7		107		195		- 0		19		1		135		740				2/2/07 16:00		205		330		740

		2		2		18		2/2/07 17:00		250		- 0		88		6		115		208		- 0		24		6		139		835				2/2/07 17:00		274		347		835

		2		2		19		2/2/07 18:00		183		- 0		79		6		99		197		- 0		25		7		136		731				2/2/07 18:00		208		333		731

		2		2		20		2/2/07 19:00		214		- 0		78		6		105		195		- 0		22		7		136		763				2/2/07 19:00		236		331		763

		2		2		21		2/2/07 20:00		214		- 0		78		5		104		195		- 0		21		7		136		761				2/2/07 20:00		235		331		761

		2		2		22		2/2/07 21:00		278		- 0		77		6		118		217		- 0		22		7		141		866				2/2/07 21:00		300		358		866

		2		2		23		2/2/07 22:00		227		- 0		72		5		106		213		- 0		19		7		141		790				2/2/07 22:00		246		354		790

		2		2		24		2/2/07 23:00		163		- 0		64		5		90		203		- 0		15		7		139		686				2/2/07 23:00		178		342		686

		2		3		1		2/3/07 0:00		255		- 0		66		4		85		210		- 0		17		6		142		786				2/3/07 0:00		272		352		786

		2		3		2		2/3/07 1:00		255		- 0		65		5		83		207		- 0		13		6		141		776				2/3/07 1:00		268		348		776

		2		3		3		2/3/07 2:00		255		- 0		64		5		82		211		- 0		14		6		142		779				2/3/07 2:00		269		353		779

		2		3		4		2/3/07 3:00		237		- 0		64		5		78		204		- 0		14		6		140		749				2/3/07 3:00		251		344		749

		2		3		5		2/3/07 4:00		309		- 0		68		4		89		216		- 0		16		6		141		849				2/3/07 4:00		325		357		849

		2		3		6		2/3/07 5:00		328		- 0		68		4		92		217		- 0		20		6		139		875				2/3/07 5:00		348		356		875

		2		3		7		2/3/07 6:00		329		- 0		77		8		100		217		- 0		25		6		141		903				2/3/07 6:00		354		358		903

		2		3		8		2/3/07 7:00		368		- 0		89		12		118		218		- 0		23		2		141		971				2/3/07 7:00		391		359		971

		2		3		9		2/3/07 8:00		215		- 0		90		13		101		198		- 0		22		- 0		138		778				2/3/07 8:00		237		336		778

		2		3		10		2/3/07 9:00		209		- 0		93		12		101		190		- 0		16		- 0		134		756				2/3/07 9:00		225		324		756

		2		3		11		2/3/07 10:00		186		- 0		92		13		97		190		- 0		19		- 0		135		731				2/3/07 10:00		205		325		731

		2		3		12		2/3/07 11:00		213		- 0		90		12		102		192		- 0		16		- 0		131		755				2/3/07 11:00		229		323		755

		2		3		13		2/3/07 12:00		286		- 0		93		9		117		204		- 0		15		- 0		136		859				2/3/07 12:00		301		340		859

		2		3		14		2/3/07 13:00		244		- 0		92		12		110		200		- 0		15		- 0		135		808				2/3/07 13:00		259		335		808

		2		3		15		2/3/07 14:00		281		- 0		95		11		121		210		- 0		11		- 0		138		866				2/3/07 14:00		292		348		866

		2		3		16		2/3/07 15:00		254		- 0		89		9		109		201		- 0		17		- 0		137		815				2/3/07 15:00		271		338		815

		2		3		17		2/3/07 16:00		282		- 0		89		7		104		208		- 0		19		1		139		849				2/3/07 16:00		301		347		849

		2		3		18		2/3/07 17:00		308		- 0		88		6		104		216		- 0		24		6		140		892				2/3/07 17:00		332		356		892

		2		3		19		2/3/07 18:00		212		- 0		81		6		87		199		- 0		19		7		136		746				2/3/07 18:00		231		335		746

		2		3		20		2/3/07 19:00		234		- 0		82		6		89		207		- 0		20		7		138		782				2/3/07 19:00		254		345		782

		2		3		21		2/3/07 20:00		225		- 0		74		5		86		207		- 0		15		7		135		755				2/3/07 20:00		240		342		755

		2		3		22		2/3/07 21:00		314		- 0		72		5		95		215		- 0		16		7		137		862				2/3/07 21:00		330		352		862

		2		3		23		2/3/07 22:00		261		- 0		66		5		90		215		- 0		15		7		141		800				2/3/07 22:00		276		356		800

		2		3		24		2/3/07 23:00		236		- 0		63		5		82		208		- 0		15		7		140		756				2/3/07 23:00		251		348		756

		2		4		1		2/4/07 0:00		228		- 0		59		4		85		218		- 0		11		6		146		758				2/4/07 0:00		239		364		758

		2		4		2		2/4/07 1:00		204		- 0		56		5		77		209		- 0		19		6		144		719				2/4/07 1:00		223		353		719

		2		4		3		2/4/07 2:00		199		- 0		55		5		78		215		- 0		17		6		148		724				2/4/07 2:00		216		363		724

		2		4		4		2/4/07 3:00		234		- 0		56		5		82		213		- 0		22		6		146		765				2/4/07 3:00		256		359		765

		2		4		5		2/4/07 4:00		193		- 0		54		4		72		204		- 0		22		6		142		698				2/4/07 4:00		215		346		698

		2		4		6		2/4/07 5:00		194		- 0		54		4		73		199		- 0		25		6		139		694				2/4/07 5:00		219		338		694

		2		4		7		2/4/07 6:00		223		- 0		60		8		85		204		- 0		29		6		140		755				2/4/07 6:00		252		344		755

		2		4		8		2/4/07 7:00		292		- 0		73		12		104		206		- 0		28		2		138		855				2/4/07 7:00		320		344		855

		2		4		9		2/4/07 8:00		287		- 0		82		13		114		206		- 0		24		- 0		138		864				2/4/07 8:00		311		344		864

		2		4		10		2/4/07 9:00		278		- 0		90		12		116		199		- 0		20		- 0		138		853				2/4/07 9:00		298		337		853

		2		4		11		2/4/07 10:00		273		- 0		91		12		119		208		- 0		19		- 0		140		861				2/4/07 10:00		292		348		861

		2		4		12		2/4/07 11:00		209		- 0		86		11		108		205		- 0		16		- 0		141		775				2/4/07 11:00		225		346		775

		2		4		13		2/4/07 12:00		214		- 0		85		9		108		204		- 0		11		- 0		140		772				2/4/07 12:00		225		344		772

		2		4		14		2/4/07 13:00		170		- 0		82		12		101		202		- 0		11		- 0		140		718				2/4/07 13:00		181		342		718

		2		4		15		2/4/07 14:00		152		- 0		80		10		95		198		- 0		9		- 0		139		683				2/4/07 14:00		161		337		683

		2		4		16		2/4/07 15:00		204		- 0		80		8		99		207		- 0		15		- 0		140		751				2/4/07 15:00		219		347		751

		2		4		17		2/4/07 16:00		283		- 0		80		6		105		217		- 0		21		1		140		853				2/4/07 16:00		304		357		853

		2		4		18		2/4/07 17:00		224		- 0		74		5		85		200		- 0		22		6		136		751				2/4/07 17:00		246		336		751

		2		4		19		2/4/07 18:00		287		- 0		77		5		98		212		- 0		21		7		140		847				2/4/07 18:00		308		352		847

		2		4		20		2/4/07 19:00		289		- 0		75		5		97		215		- 0		22		7		139		848				2/4/07 19:00		311		354		848

		2		4		21		2/4/07 20:00		247		- 0		71		4		87		208		- 0		19		7		135		778				2/4/07 20:00		266		343		778

		2		4		22		2/4/07 21:00		185		- 0		61		4		73		199		- 0		19		7		139		687				2/4/07 21:00		204		338		687

		2		4		23		2/4/07 22:00		188		- 0		59		4		71		203		- 0		18		7		141		690				2/4/07 22:00		206		344		690

		2		4		24		2/4/07 23:00		229		- 0		59		4		76		214		- 0		17		7		146		751				2/4/07 23:00		246		360		751

		2		5		1		2/5/07 0:00		178		- 0		77		3		106		204		- 0		16		6		140		731				2/5/07 0:00		194		344		731

		2		5		2		2/5/07 1:00		194		- 0		78		3		109		207		- 0		16		6		140		755				2/5/07 1:00		210		347		755

		2		5		3		2/5/07 2:00		156		- 0		76		3		100		197		- 0		16		6		140		694				2/5/07 2:00		172		337		694

		2		5		4		2/5/07 3:00		216		- 0		77		3		113		209		- 0		17		6		141		783				2/5/07 3:00		233		350		783

		2		5		5		2/5/07 4:00		208		- 0		77		3		111		209		- 0		18		6		141		773				2/5/07 4:00		226		350		773

		2		5		6		2/5/07 5:00		266		- 0		82		3		123		213		- 0		19		6		140		853				2/5/07 5:00		285		353		853

		2		5		7		2/5/07 6:00		279		- 0		82		3		124		209		- 0		21		6		138		862				2/5/07 6:00		300		347		862

		2		5		8		2/5/07 7:00		186		- 0		78		4		101		198		- 0		24		2		136		728				2/5/07 7:00		210		334		728

		2		5		9		2/5/07 8:00		201		- 0		83		4		108		200		- 0		23		- 0		137		756				2/5/07 8:00		224		337		756

		2		5		10		2/5/07 9:00		206		- 0		88		4		110		200		- 0		17		- 0		137		762				2/5/07 9:00		223		337		762

		2		5		11		2/5/07 10:00		153		- 0		88		4		100		194		- 0		19		- 0		136		694				2/5/07 10:00		172		330		694

		2		5		12		2/5/07 11:00		213		- 0		90		3		114		204		- 0		15		- 0		137		776				2/5/07 11:00		228		341		776

		2		5		13		2/5/07 12:00		248		- 0		89		3		122		203		- 0		17		- 0		137		819				2/5/07 12:00		265		340		819

		2		5		14		2/5/07 13:00		263		- 0		91		3		132		215		- 0		14		- 0		137		855				2/5/07 13:00		277		352		855

		2		5		15		2/5/07 14:00		251		- 0		89		3		130		214		- 0		14		- 0		141		841				2/5/07 14:00		265		355		841

		2		5		16		2/5/07 15:00		268		- 0		89		3		130		218		- 0		11		- 0		141		859				2/5/07 15:00		279		359		859

		2		5		17		2/5/07 16:00		207		- 0		85		3		107		203		- 0		19		1		136		761				2/5/07 16:00		226		339		761

		2		5		18		2/5/07 17:00		207		- 0		80		3		103		201		- 0		16		6		136		752				2/5/07 17:00		223		337		752

		2		5		19		2/5/07 18:00		207		- 0		81		3		104		201		- 0		19		7		136		758				2/5/07 18:00		226		337		758

		2		5		20		2/5/07 19:00		189		- 0		81		3		98		198		- 0		19		7		135		731				2/5/07 19:00		208		333		731

		2		5		21		2/5/07 20:00		213		- 0		81		3		103		203		- 0		18		7		136		763				2/5/07 20:00		231		339		763

		2		5		22		2/5/07 21:00		289		- 0		87		3		122		211		- 0		20		7		139		877				2/5/07 21:00		309		350		877

		2		5		23		2/5/07 22:00		272		- 0		84		3		119		216		- 0		15		7		140		856				2/5/07 22:00		287		356		856

		2		5		24		2/5/07 23:00		211		- 0		80		3		108		207		- 0		16		7		140		771				2/5/07 23:00		227		347		771

		2		6		1		2/6/07 0:00		161		- 0		76		3		102		193		- 0		14		6		135		691				2/6/07 0:00		175		328		691

		2		6		2		2/6/07 1:00		162		- 0		76		3		102		198		- 0		15		6		138		701				2/6/07 1:00		177		336		701

		2		6		3		2/6/07 2:00		159		- 0		75		3		101		194		- 0		18		6		138		695				2/6/07 2:00		177		332		695

		2		6		4		2/6/07 3:00		169		- 0		75		3		103		196		- 0		16		6		139		708				2/6/07 3:00		185		335		708

		2		6		5		2/6/07 4:00		177		- 0		76		3		105		198		- 0		18		6		136		719				2/6/07 4:00		195		334		719

		2		6		6		2/6/07 5:00		212		- 0		79		3		113		202		- 0		21		6		141		777				2/6/07 5:00		233		343		777

		2		6		7		2/6/07 6:00		273		- 0		82		3		125		207		- 0		21		6		138		856				2/6/07 6:00		294		345		856

		2		6		8		2/6/07 7:00		280		- 0		82		3		129		215		- 0		18		2		140		869				2/6/07 7:00		298		355		869

		2		6		9		2/6/07 8:00		225		- 0		82		3		113		195		- 0		22		- 0		136		777				2/6/07 8:00		247		331		777

		2		6		10		2/6/07 9:00		216		- 0		83		3		112		196		- 0		18		- 0		137		764				2/6/07 9:00		234		333		764

		2		6		11		2/6/07 10:00		236		- 0		82		3		117		201		- 0		17		- 0		138		794				2/6/07 10:00		253		339		794

		2		6		12		2/6/07 11:00		222		- 0		81		3		115		204		- 0		15		- 0		137		777				2/6/07 11:00		237		341		777

		2		6		13		2/6/07 12:00		280		- 0		86		2		134		215		- 0		11		- 0		139		868				2/6/07 12:00		291		354		868

		2		6		14		2/6/07 13:00		272		- 0		88		2		136		216		- 0		12		- 0		140		867				2/6/07 13:00		284		356		867

		2		6		15		2/6/07 14:00		259		- 0		87		3		134		212		- 0		13		- 0		141		849				2/6/07 14:00		272		353		849

		2		6		16		2/6/07 15:00		271		- 0		88		3		134		209		- 0		14		- 0		140		859				2/6/07 15:00		285		349		859

		2		6		17		2/6/07 16:00		191		- 0		83		3		107		194		- 0		19		1		136		734				2/6/07 16:00		210		330		734

		2		6		18		2/6/07 17:00		211		- 0		85		3		109		199		- 0		20		6		138		771				2/6/07 17:00		231		337		771

		2		6		19		2/6/07 18:00		201		- 0		83		3		106		194		- 0		17		7		136		748				2/6/07 18:00		218		330		748

		2		6		20		2/6/07 19:00		217		- 0		82		3		111		199		- 0		18		7		137		774				2/6/07 19:00		235		336		774

		2		6		21		2/6/07 20:00		241		- 0		85		3		117		203		- 0		18		7		137		810				2/6/07 20:00		259		340		810

		2		6		22		2/6/07 21:00		275		- 0		88		3		128		210		- 0		19		7		139		868				2/6/07 21:00		294		349		868

		2		6		23		2/6/07 22:00		259		- 0		86		3		129		213		- 0		13		7		141		851				2/6/07 22:00		272		354		851

		2		6		24		2/6/07 23:00		216		- 0		83		3		121		204		- 0		14		7		142		789				2/6/07 23:00		230		346		789

		2		7		1		2/7/07 0:00		204		- 0		67		3		104		212		- 0		14		6		146		757				2/7/07 0:00		218		358		757

		2		7		2		2/7/07 1:00		199		- 0		68		3		104		209		- 0		12		6		146		748				2/7/07 1:00		211		355		748

		2		7		3		2/7/07 2:00		210		- 0		68		3		104		212		- 0		12		6		146		761				2/7/07 2:00		222		358		761

		2		7		4		2/7/07 3:00		194		- 0		66		4		103		213		- 0		13		6		146		745				2/7/07 3:00		207		359		745

		2		7		5		2/7/07 4:00		228		- 0		69		3		112		218		- 0		18		6		146		800				2/7/07 4:00		246		364		800

		2		7		6		2/7/07 5:00		164		- 0		65		4		96		199		- 0		16		6		141		692				2/7/07 5:00		180		340		692

		2		7		7		2/7/07 6:00		268		- 0		75		7		123		207		- 0		25		6		140		852				2/7/07 6:00		293		347		852

		2		7		8		2/7/07 7:00		269		- 0		85		12		137		210		- 0		17		2		139		871				2/7/07 7:00		286		349		871

		2		7		9		2/7/07 8:00		256		- 0		95		14		144		206		- 0		19		- 0		140		873				2/7/07 8:00		275		346		873

		2		7		10		2/7/07 9:00		243		- 0		99		13		145		206		- 0		18		- 0		140		864				2/7/07 9:00		261		346		864

		2		7		11		2/7/07 10:00		246		- 0		101		14		145		203		- 0		15		- 0		139		862				2/7/07 10:00		261		342		862

		2		7		12		2/7/07 11:00		243		- 0		100		12		142		205		- 0		12		- 0		139		852				2/7/07 11:00		255		344		852

		2		7		13		2/7/07 12:00		241		- 0		97		10		143		208		- 0		14		- 0		138		852				2/7/07 12:00		255		346		852

		2		7		14		2/7/07 13:00		235		- 0		101		12		148		212		- 0		9		- 0		139		856				2/7/07 13:00		244		351		856

		2		7		15		2/7/07 14:00		242		- 0		101		12		145		210		- 0		12		- 0		140		861				2/7/07 14:00		254		350		861

		2		7		16		2/7/07 15:00		245		- 0		95		10		142		212		- 0		11		- 0		139		854				2/7/07 15:00		256		351		854

		2		7		17		2/7/07 16:00		196		- 0		89		7		117		204		- 0		17		1		138		769				2/7/07 16:00		213		342		769

		2		7		18		2/7/07 17:00		201		- 0		80		5		113		197		- 0		16		6		137		756				2/7/07 17:00		217		334		756

		2		7		19		2/7/07 18:00		237		- 0		80		6		121		204		- 0		16		7		138		808				2/7/07 18:00		253		342		808

		2		7		20		2/7/07 19:00		283		- 0		83		6		134		213		- 0		17		7		141		883				2/7/07 19:00		300		354		883

		2		7		21		2/7/07 20:00		276		- 0		80		6		128		210		- 0		14		7		140		860				2/7/07 20:00		290		350		860

		2		7		22		2/7/07 21:00		189		- 0		72		5		111		205		- 0		13		7		141		744				2/7/07 21:00		202		346		744

		2		7		23		2/7/07 22:00		146		- 0		68		4		97		193		- 0		8		7		140		663				2/7/07 22:00		154		333		663

		2		7		24		2/7/07 23:00		156		- 0		67		4		102		202		- 0		10		7		144		693				2/7/07 23:00		166		346		693

		2		8		1		2/8/07 0:00		181		- 0		64		4		104		215		- 0		8		6		145		726				2/8/07 0:00		189		360		726

		2		8		2		2/8/07 1:00		199		- 0		65		4		106		218		- 0		13		6		146		759				2/8/07 1:00		212		364		759

		2		8		3		2/8/07 2:00		202		- 0		65		4		105		216		- 0		11		6		146		756				2/8/07 2:00		213		362		756

		2		8		4		2/8/07 3:00		199		- 0		66		4		104		213		- 0		13		6		145		751				2/8/07 3:00		212		358		751

		2		8		5		2/8/07 4:00		196		- 0		64		3		101		215		- 0		14		6		145		745				2/8/07 4:00		210		360		745

		2		8		6		2/8/07 5:00		158		- 0		63		3		91		201		- 0		15		6		140		677				2/8/07 5:00		173		341		677

		2		8		7		2/8/07 6:00		239		- 0		73		7		115		206		- 0		22		6		140		809				2/8/07 6:00		261		346		809

		2		8		8		2/8/07 7:00		272		- 0		85		11		135		206		- 0		19		2		139		869				2/8/07 7:00		291		345		869

		2		8		9		2/8/07 8:00		237		- 0		95		14		139		203		- 0		17		- 0		140		846				2/8/07 8:00		254		343		846

		2		8		10		2/8/07 9:00		245		- 0		98		13		143		212		- 0		20		- 0		141		871				2/8/07 9:00		265		353		871

		2		8		11		2/8/07 10:00		241		- 0		99		12		144		208		- 0		18		- 0		141		862				2/8/07 10:00		259		349		862

		2		8		12		2/8/07 11:00		232		- 0		98		12		141		209		- 0		19		- 0		141		852				2/8/07 11:00		251		350		852

		2		8		13		2/8/07 12:00		164		- 0		91		10		123		195		- 0		18		- 0		137		738				2/8/07 12:00		182		332		738

		2		8		14		2/8/07 13:00		160		- 0		94		12		124		193		- 0		18		- 0		139		740				2/8/07 13:00		178		332		740

		2		8		15		2/8/07 14:00		167		- 0		93		12		125		202		- 0		19		- 0		141		760				2/8/07 14:00		186		343		760

		2		8		16		2/8/07 15:00		183		- 0		90		10		125		202		- 0		19		- 0		142		771				2/8/07 15:00		202		344		771

		2		8		17		2/8/07 16:00		265		- 0		92		7		132		212		- 0		19		1		140		868				2/8/07 16:00		284		352		868

		2		8		18		2/8/07 17:00		272		- 0		84		6		127		211		- 0		20		6		139		864				2/8/07 17:00		292		350		864

		2		8		19		2/8/07 18:00		272		- 0		79		6		125		217		- 0		21		7		139		865				2/8/07 18:00		293		356		865

		2		8		20		2/8/07 19:00		277		- 0		79		6		125		218		- 0		18		7		139		869				2/8/07 19:00		295		357		869

		2		8		21		2/8/07 20:00		230		- 0		74		5		117		215		- 0		18		7		142		808				2/8/07 20:00		248		357		808

		2		8		22		2/8/07 21:00		194		- 0		70		5		106		208		- 0		19		7		141		751				2/8/07 21:00		213		349		751

		2		8		23		2/8/07 22:00		131		- 0		63		4		88		201		- 0		15		7		139		647				2/8/07 22:00		146		340		647

		2		8		24		2/8/07 23:00		173		- 0		65		3		101		211		- 0		11		7		143		714				2/8/07 23:00		184		354		714

		2		9		1		2/9/07 0:00		170		- 0		65		4		90		207		- 0		10		6		138		691				2/9/07 0:00		180		345		691

		2		9		2		2/9/07 1:00		164		- 0		65		4		89		202		- 0		6		6		139		676				2/9/07 1:00		170		341		676

		2		9		3		2/9/07 2:00		158		- 0		64		4		87		201		- 0		10		6		138		668				2/9/07 2:00		168		339		668

		2		9		4		2/9/07 3:00		156		- 0		64		4		85		202		- 0		8		6		139		664				2/9/07 3:00		164		341		664

		2		9		5		2/9/07 4:00		155		- 0		63		3		83		201		- 0		12		6		140		663				2/9/07 4:00		167		341		663

		2		9		6		2/9/07 5:00		226		- 0		69		3		101		211		- 0		18		6		141		775				2/9/07 5:00		244		352		775

		2		9		7		2/9/07 6:00		260		- 0		74		8		111		208		- 0		17		6		137		821				2/9/07 6:00		277		345		821

		2		9		8		2/9/07 7:00		190		- 0		81		11		109		206		- 0		16		2		137		751				2/9/07 7:00		206		343		751

		2		9		9		2/9/07 8:00		194		- 0		90		13		119		203		- 0		15		- 0		132		767				2/9/07 8:00		209		335		767

		2		9		10		2/9/07 9:00		188		- 0		91		12		118		200		- 0		18		- 0		135		762				2/9/07 9:00		206		335		762

		2		9		11		2/9/07 10:00		248		- 0		101		13		140		210		- 0		19		- 0		136		868				2/9/07 10:00		267		346		868

		2		9		12		2/9/07 11:00		239		- 0		100		12		137		216		- 0		15		- 0		136		856				2/9/07 11:00		254		352		856

		2		9		13		2/9/07 12:00		238		- 0		99		10		136		215		- 0		16		- 0		137		850				2/9/07 12:00		254		352		850

		2		9		14		2/9/07 13:00		225		- 0		99		13		137		217		- 0		16		- 0		140		846				2/9/07 13:00		241		357		846

		2		9		15		2/9/07 14:00		205		- 0		96		11		130		211		- 0		17		- 0		142		811				2/9/07 14:00		222		353		811

		2		9		16		2/9/07 15:00		212		- 0		92		9		128		213		- 0		21		- 0		142		815				2/9/07 15:00		233		355		815

		2		9		17		2/9/07 16:00		236		- 0		89		7		118		209		- 0		22		1		137		818				2/9/07 16:00		258		346		818

		2		9		18		2/9/07 17:00		199		- 0		81		6		104		199		- 0		21		6		137		753				2/9/07 17:00		220		336		753

		2		9		19		2/9/07 18:00		208		- 0		79		6		104		203		- 0		19		7		137		762				2/9/07 18:00		227		340		762

		2		9		20		2/9/07 19:00		210		- 0		79		6		106		207		- 0		21		7		136		771				2/9/07 19:00		231		343		771

		2		9		21		2/9/07 20:00		201		- 0		75		5		101		203		- 0		19		7		137		748				2/9/07 20:00		220		340		748

		2		9		22		2/9/07 21:00		287		- 0		76		5		117		218		- 0		21		7		140		871				2/9/07 21:00		308		358		871

		2		9		23		2/9/07 22:00		181		- 0		68		5		97		209		- 0		14		7		141		722				2/9/07 22:00		195		350		722

		2		9		24		2/9/07 23:00		171		- 0		65		4		93		202		- 0		15		7		139		695				2/9/07 23:00		186		341		695

		2		10		1		2/10/07 0:00		192		- 0		58		4		75		202		- 0		15		6		140		693				2/10/07 0:00		207		342		693

		2		10		2		2/10/07 1:00		184		- 0		59		4		72		198		- 0		14		6		139		676				2/10/07 1:00		198		337		676

		2		10		3		2/10/07 2:00		188		- 0		58		4		71		201		- 0		15		6		139		683				2/10/07 2:00		203		340		683

		2		10		4		2/10/07 3:00		200		- 0		58		4		72		201		- 0		13		6		139		693				2/10/07 3:00		213		340		693

		2		10		5		2/10/07 4:00		210		- 0		60		3		74		201		- 0		16		6		140		711				2/10/07 4:00		226		341		711

		2		10		6		2/10/07 5:00		326		- 0		66		4		90		213		- 0		18		6		141		864				2/10/07 5:00		344		354		864

		2		10		7		2/10/07 6:00		245		- 0		67		7		84		201		- 0		22		6		138		771				2/10/07 6:00		267		339		771

		2		10		8		2/10/07 7:00		128		- 0		74		12		78		190		- 0		20		2		136		639				2/10/07 7:00		148		326		639

		2		10		9		2/10/07 8:00		147		- 0		84		13		87		193		- 0		20		- 0		136		680				2/10/07 8:00		167		329		680

		2		10		10		2/10/07 9:00		135		- 0		87		13		86		186		- 0		20		- 0		135		663				2/10/07 9:00		155		321		663

		2		10		11		2/10/07 10:00		132		- 0		86		13		86		182		- 0		19		- 0		134		653				2/10/07 10:00		151		316		653

		2		10		12		2/10/07 11:00		117		- 0		83		11		82		184		- 0		20		- 0		133		631				2/10/07 11:00		137		317		631

		2		10		13		2/10/07 12:00		225		- 0		90		11		105		201		- 0		23		- 0		138		794				2/10/07 12:00		248		339		794

		2		10		14		2/10/07 13:00		280		- 0		94		12		118		204		- 0		21		- 0		135		865				2/10/07 13:00		301		339		865

		2		10		15		2/10/07 14:00		280		- 0		93		11		116		212		- 0		20		- 0		138		871				2/10/07 14:00		300		350		871

		2		10		16		2/10/07 15:00		237		- 0		87		10		104		208		- 0		22		- 0		137		806				2/10/07 15:00		259		345		806

		2		10		17		2/10/07 16:00		209		- 0		83		7		91		201		- 0		25		1		136		753				2/10/07 16:00		234		337		753

		2		10		18		2/10/07 17:00		286		- 0		85		7		100		215		- 0		24		5		139		860				2/10/07 17:00		310		354		860

		2		10		19		2/10/07 18:00		268		- 0		81		6		95		212		- 0		23		7		138		829				2/10/07 18:00		291		350		829

		2		10		20		2/10/07 19:00		219		- 0		79		6		86		201		- 0		24		7		137		758				2/10/07 19:00		243		338		758

		2		10		21		2/10/07 20:00		259		- 0		78		6		91		208		- 0		20		7		138		807				2/10/07 20:00		279		346		807

		2		10		22		2/10/07 21:00		206		- 0		68		6		79		201		- 0		19		7		136		721				2/10/07 21:00		225		337		721

		2		10		23		2/10/07 22:00		277		- 0		68		5		89		208		- 0		18		7		137		810				2/10/07 22:00		295		345		810

		2		10		24		2/10/07 23:00		243		- 0		64		4		83		210		- 0		14		7		141		765				2/10/07 23:00		257		351		765

		2		11		1		2/11/07 0:00		191		- 0		57		5		73		200		- 0		16		6		140		689				2/11/07 0:00		207		340		689

		2		11		2		2/11/07 1:00		204		- 0		57		5		74		196		- 0		18		6		140		699				2/11/07 1:00		222		336		699

		2		11		3		2/11/07 2:00		190		- 0		55		5		72		198		- 0		19		6		141		687				2/11/07 2:00		209		339		687

		2		11		4		2/11/07 3:00		196		- 0		57		5		72		194		- 0		20		6		139		689				2/11/07 3:00		216		333		689

		2		11		5		2/11/07 4:00		204		- 0		57		4		73		196		- 0		22		6		135		697				2/11/07 4:00		226		331		697

		2		11		6		2/11/07 5:00		241		- 0		60		4		81		205		- 0		25		6		141		763				2/11/07 5:00		266		346		763

		2		11		7		2/11/07 6:00		313		- 0		66		8		96		208		- 0		28		6		137		863				2/11/07 6:00		341		345		863

		2		11		8		2/11/07 7:00		260		- 0		71		12		101		204		- 0		24		2		135		808				2/11/07 7:00		284		339		808

		2		11		9		2/11/07 8:00		217		- 0		79		13		98		197		- 0		27		- 0		135		768				2/11/07 8:00		244		332		768

		2		11		10		2/11/07 9:00		287		- 0		90		13		116		206		- 0		21		- 0		138		870				2/11/07 9:00		308		344		870

		2		11		11		2/11/07 10:00		271		- 0		90		14		119		209		- 0		23		- 0		138		863				2/11/07 10:00		294		347		863

		2		11		12		2/11/07 11:00		276		- 0		90		12		118		213		- 0		18		- 0		139		866				2/11/07 11:00		294		352		866

		2		11		13		2/11/07 12:00		261		- 0		90		11		115		217		- 0		17		- 0		141		851				2/11/07 12:00		278		358		851

		2		11		14		2/11/07 13:00		238		- 0		87		12		113		215		- 0		16		- 0		141		823				2/11/07 13:00		254		356		823

		2		11		15		2/11/07 14:00		213		- 0		85		11		107		212		- 0		21		- 0		141		790				2/11/07 14:00		234		353		790

		2		11		16		2/11/07 15:00		238		- 0		81		9		105		213		- 0		19		- 0		141		806				2/11/07 15:00		257		354		806

		2		11		17		2/11/07 16:00		226		- 0		75		7		90		204		- 0		26		- 0		136		763				2/11/07 16:00		252		340		763

		2		11		18		2/11/07 17:00		226		- 0		73		5		88		203		- 0		21		5		136		757				2/11/07 17:00		247		339		757

		2		11		19		2/11/07 18:00		264		- 0		74		5		91		206		- 0		23		7		137		807				2/11/07 18:00		287		343		807

		2		11		20		2/11/07 19:00		307		- 0		77		5		98		216		- 0		20		7		139		869				2/11/07 19:00		327		355		869

		2		11		21		2/11/07 20:00		310		- 0		72		5		95		212		- 0		25		7		139		864				2/11/07 20:00		335		351		864

		2		11		22		2/11/07 21:00		281		- 0		69		4		89		213		- 0		19		7		141		822				2/11/07 21:00		300		354		822

		2		11		23		2/11/07 22:00		182		- 0		60		4		70		198		- 0		19		7		139		679				2/11/07 22:00		201		337		679

		2		11		24		2/11/07 23:00		229		- 0		60		4		77		208		- 0		17		7		144		746				2/11/07 23:00		246		352		746

		2		12		1		2/12/07 0:00		207		- 0		81		3		109		204		- 0		18		6		135		763				2/12/07 0:00		225		339		763

		2		12		2		2/12/07 1:00		253		- 0		84		3		118		210		- 0		16		6		137		828				2/12/07 1:00		269		347		828

		2		12		3		2/12/07 2:00		239		- 0		84		3		115		211		- 0		12		6		137		807				2/12/07 2:00		251		348		807

		2		12		4		2/12/07 3:00		197		- 0		81		3		105		206		- 0		14		6		136		749				2/12/07 3:00		211		342		749

		2		12		5		2/12/07 4:00		202		- 0		82		3		106		201		- 0		15		6		135		751				2/12/07 4:00		217		336		751

		2		12		6		2/12/07 5:00		188		- 0		81		3		104		199		- 0		17		6		137		737				2/12/07 5:00		205		336		737

		2		12		7		2/12/07 6:00		363		- 0		93		4		138		221		- 0		18		6		141		984				2/12/07 6:00		381		362		984

		2		12		8		2/12/07 7:00		508		- 0		100		4		166		242		- 0		15		2		144		1,181				2/12/07 7:00		523		386		1,181

		2		12		9		2/12/07 8:00		441		- 0		103		4		158		236		- 0		20		- 0		141		1,103				2/12/07 8:00		461		377		1,103

		2		12		10		2/12/07 9:00		436		- 0		105		5		156		227		- 0		16		- 0		142		1,088				2/12/07 9:00		452		369		1,088

		2		12		11		2/12/07 10:00		419		- 0		105		5		152		228		- 0		18		- 0		143		1,069				2/12/07 10:00		437		371		1,069

		2		12		12		2/12/07 11:00		338		- 0		98		4		139		224		- 0		16		- 0		142		961				2/12/07 11:00		354		366		961

		2		12		13		2/12/07 12:00		280		- 0		95		4		128		213		- 0		15		- 0		140		876				2/12/07 12:00		295		353		876

		2		12		14		2/12/07 13:00		185		- 0		87		4		109		203		- 0		15		- 0		136		739				2/12/07 13:00		200		339		739

		2		12		15		2/12/07 14:00		200		- 0		89		4		111		202		- 0		14		- 0		136		756				2/12/07 14:00		214		338		756

		2		12		16		2/12/07 15:00		271		- 0		94		4		124		214		- 0		16		- 0		140		863				2/12/07 15:00		287		354		863

		2		12		17		2/12/07 16:00		346		- 0		99		4		137		221		- 0		15		- 0		141		963				2/12/07 16:00		361		362		963

		2		12		18		2/12/07 17:00		468		- 0		103		4		156		237		- 0		17		5		144		1,135				2/12/07 17:00		485		381		1,135

		2		12		19		2/12/07 18:00		398		- 0		100		4		141		226		- 0		15		7		142		1,032				2/12/07 18:00		413		368		1,032

		2		12		20		2/12/07 19:00		361		- 0		96		4		134		215		- 0		16		7		141		973				2/12/07 19:00		377		356		973

		2		12		21		2/12/07 20:00		263		- 0		91		4		117		206		- 0		15		7		139		841				2/12/07 20:00		278		345		841

		2		12		22		2/12/07 21:00		275		- 0		93		4		120		211		- 0		16		7		140		866				2/12/07 21:00		291		351		866

		2		12		23		2/12/07 22:00		186		- 0		85		3		101		196		- 0		14		7		137		729				2/12/07 22:00		200		333		729

		2		12		24		2/12/07 23:00		192		- 0		83		3		102		200		- 0		11		7		136		733				2/12/07 23:00		203		336		733

		2		13		1		2/13/07 0:00		181		- 0		87		3		104		193		- 0		7		6		135		717				2/13/07 0:00		188		328		717

		2		13		2		2/13/07 1:00		187		- 0		86		3		106		197		- 0		8		6		136		730				2/13/07 1:00		195		333		730

		2		13		3		2/13/07 2:00		184		- 0		86		3		105		197		- 0		9		6		135		725				2/13/07 2:00		193		332		725

		2		13		4		2/13/07 3:00		208		- 0		86		3		110		200		- 0		15		6		136		764				2/13/07 3:00		223		336		764

		2		13		5		2/13/07 4:00		204		- 0		85		3		109		199		- 0		10		6		136		753				2/13/07 4:00		214		335		753

		2		13		6		2/13/07 5:00		174		- 0		81		3		102		195		- 0		12		6		135		709				2/13/07 5:00		186		330		709

		2		13		7		2/13/07 6:00		155		- 0		79		3		98		193		- 0		19		6		135		689				2/13/07 6:00		174		328		689

		2		13		8		2/13/07 7:00		142		- 0		79		3		96		192		- 0		22		2		135		670				2/13/07 7:00		164		327		670

		2		13		9		2/13/07 8:00		175		- 0		84		3		105		195		- 0		20		- 0		137		719				2/13/07 8:00		195		332		719

		2		13		10		2/13/07 9:00		191		- 0		84		3		108		197		- 0		21		- 0		138		743				2/13/07 9:00		212		335		743

		2		13		11		2/13/07 10:00		183		- 0		83		3		110		197		- 0		21		- 0		137		733				2/13/07 10:00		204		334		733

		2		13		12		2/13/07 11:00		248		- 0		86		3		126		207		- 0		18		- 0		139		826				2/13/07 11:00		266		346		826

		2		13		13		2/13/07 12:00		244		- 0		84		3		125		210		- 0		18		- 0		139		823				2/13/07 12:00		262		349		823

		2		13		14		2/13/07 13:00		237		- 0		86		3		128		211		- 0		15		- 0		141		820				2/13/07 13:00		252		352		820

		2		13		15		2/13/07 14:00		234		- 0		86		3		128		210		- 0		18		- 0		140		819				2/13/07 14:00		252		350		819

		2		13		16		2/13/07 15:00		241		- 0		87		3		130		210		- 0		17		- 0		141		828				2/13/07 15:00		258		351		828

		2		13		17		2/13/07 16:00		160		- 0		80		3		102		197		- 0		21		- 0		137		699				2/13/07 16:00		181		334		699

		2		13		18		2/13/07 17:00		402		- 0		97		4		145		228		- 0		22		5		143		1,046				2/13/07 17:00		424		371		1,046

		2		13		19		2/13/07 18:00		270		- 0		91		4		124		211		- 0		27		7		141		875				2/13/07 18:00		297		352		875

		2		13		20		2/13/07 19:00		302		- 0		93		4		127		213		- 0		25		7		141		912				2/13/07 19:00		327		354		912

		2		13		21		2/13/07 20:00		181		- 0		86		3		105		195		- 0		21		7		138		736				2/13/07 20:00		202		333		736

		2		13		22		2/13/07 21:00		195		- 0		86		4		107		200		- 0		20		7		138		758				2/13/07 21:00		215		338		758

		2		13		23		2/13/07 22:00		180		- 0		82		4		106		196		- 0		16		7		137		728				2/13/07 22:00		196		333		728

		2		13		24		2/13/07 23:00		170		- 0		82		3		106		198		- 0		17		7		137		721				2/13/07 23:00		187		335		721

		2		14		1		2/14/07 0:00		149		- 0		64		4		84		194		- 0		12		6		139		653				2/14/07 0:00		161		333		653

		2		14		2		2/14/07 1:00		143		- 0		66		4		84		191		- 0		14		6		139		647				2/14/07 1:00		157		330		647

		2		14		3		2/14/07 2:00		161		- 0		67		4		86		198		- 0		13		6		139		675				2/14/07 2:00		174		337		675

		2		14		4		2/14/07 3:00		169		- 0		67		4		88		199		- 0		14		6		139		686				2/14/07 3:00		183		338		686

		2		14		5		2/14/07 4:00		194		- 0		68		4		94		198		- 0		12		6		140		718				2/14/07 4:00		206		338		718

		2		14		6		2/14/07 5:00		305		- 0		77		5		116		214		- 0		13		6		139		876				2/14/07 5:00		318		353		876

		2		14		7		2/14/07 6:00		245		- 0		77		7		111		207		- 0		16		6		139		807				2/14/07 6:00		261		346		807

		2		14		8		2/14/07 7:00		403		- 0		96		10		156		225		- 0		17		1		143		1,051				2/14/07 7:00		420		368		1,051

		2		14		9		2/14/07 8:00		340		- 0		107		13		156		218		- 0		20		- 0		142		996				2/14/07 8:00		360		360		996

		2		14		10		2/14/07 9:00		259		- 0		107		12		142		210		- 0		21		- 0		141		892				2/14/07 9:00		280		351		892

		2		14		11		2/14/07 10:00		219		- 0		107		12		135		203		- 0		24		- 0		140		841				2/14/07 10:00		243		343		841

		2		14		12		2/14/07 11:00		186		- 0		102		11		124		194		- 0		17		- 0		139		773				2/14/07 11:00		203		333		773

		2		14		13		2/14/07 12:00		168		- 0		100		10		120		192		- 0		16		- 0		137		743				2/14/07 12:00		184		329		743

		2		14		14		2/14/07 13:00		256		- 0		107		12		143		209		- 0		19		- 0		141		887				2/14/07 13:00		275		350		887

		2		14		15		2/14/07 14:00		176		- 0		100		11		121		199		- 0		20		- 0		136		762				2/14/07 14:00		196		335		762

		2		14		16		2/14/07 15:00		338		- 0		109		10		152		216		- 0		18		- 0		143		985				2/14/07 15:00		356		359		985

		2		14		17		2/14/07 16:00		417		- 0		112		8		163		231		- 0		20		- 0		144		1,095				2/14/07 16:00		437		375		1,095

		2		14		18		2/14/07 17:00		595		- 0		114		7		188		252		- 0		21		5		147		1,329				2/14/07 17:00		616		399		1,329

		2		14		19		2/14/07 18:00		587		- 0		112		7		183		248		- 0		18		7		146		1,308				2/14/07 18:00		605		394		1,308

		2		14		20		2/14/07 19:00		486		- 0		104		7		168		243		- 0		19		7		146		1,180				2/14/07 19:00		505		389		1,180

		2		14		21		2/14/07 20:00		464		- 0		101		7		159		241		- 0		17		7		145		1,141				2/14/07 20:00		481		386		1,141

		2		14		22		2/14/07 21:00		364		- 0		94		6		140		226		- 0		13		7		143		992				2/14/07 21:00		377		369		992

		2		14		23		2/14/07 22:00		225		- 0		84		5		111		207		- 0		9		7		139		787				2/14/07 22:00		234		346		787

		2		14		24		2/14/07 23:00		203		- 0		80		4		105		204		- 0		6		7		138		747				2/14/07 23:00		209		342		747

		2		15		1		2/15/07 0:00		187		- 0		70		5		99		212		- 0		5		6		141		724				2/15/07 0:00		192		353		724

		2		15		2		2/15/07 1:00		161		- 0		68		5		92		206		- 0		12		6		140		692				2/15/07 1:00		173		346		692

		2		15		3		2/15/07 2:00		178		- 0		69		4		95		206		- 0		15		6		141		714				2/15/07 2:00		193		347		714

		2		15		4		2/15/07 3:00		157		- 0		67		4		89		203		- 0		12		6		140		679				2/15/07 3:00		169		343		679

		2		15		5		2/15/07 4:00		225		- 0		72		4		103		213		- 0		13		6		142		778				2/15/07 4:00		238		355		778

		2		15		6		2/15/07 5:00		286		- 0		76		4		116		215		- 0		17		6		141		861				2/15/07 5:00		303		356		861

		2		15		7		2/15/07 6:00		184		- 0		76		7		99		200		- 0		16		6		137		725				2/15/07 6:00		200		337		725

		2		15		8		2/15/07 7:00		211		- 0		87		11		117		207		- 0		16		1		138		788				2/15/07 7:00		227		345		788

		2		15		9		2/15/07 8:00		180		- 0		91		13		119		200		- 0		14		- 0		134		751				2/15/07 8:00		194		334		751

		2		15		10		2/15/07 9:00		192		- 0		97		12		124		197		- 0		15		- 0		133		772				2/15/07 9:00		207		330		772

		2		15		11		2/15/07 10:00		180		- 0		96		13		122		201		- 0		16		- 0		138		765				2/15/07 10:00		196		339		765

		2		15		12		2/15/07 11:00		190		- 0		96		12		124		203		- 0		17		- 0		138		780				2/15/07 11:00		207		341		780

		2		15		13		2/15/07 12:00		237		- 0		99		10		142		215		- 0		18		- 0		139		861				2/15/07 12:00		255		354		861

		2		15		14		2/15/07 13:00		245		- 0		100		12		144		213		- 0		14		- 0		137		865				2/15/07 13:00		259		350		865

		2		15		15		2/15/07 14:00		247		- 0		98		12		141		207		- 0		19		- 0		139		863				2/15/07 14:00		266		346		863

		2		15		16		2/15/07 15:00		234		- 0		94		10		139		209		- 0		19		- 0		140		843				2/15/07 15:00		253		349		843

		2		15		17		2/15/07 16:00		196		- 0		86		8		114		199		- 0		17		- 0		136		754				2/15/07 16:00		213		335		754

		2		15		18		2/15/07 17:00		187		- 0		78		5		106		198		- 0		20		5		136		735				2/15/07 17:00		207		334		735

		2		15		19		2/15/07 18:00		194		- 0		75		6		105		199		- 0		16		7		135		737				2/15/07 18:00		210		334		737

		2		15		20		2/15/07 19:00		219		- 0		75		6		110		203		- 0		19		7		136		774				2/15/07 19:00		238		339		774

		2		15		21		2/15/07 20:00		283		- 0		80		6		125		213		- 0		16		7		137		867				2/15/07 20:00		299		350		867

		2		15		22		2/15/07 21:00		241		- 0		75		6		117		212		- 0		13		7		141		812				2/15/07 21:00		254		353		812

		2		15		23		2/15/07 22:00		175		- 0		69		5		101		202		- 0		14		7		140		713				2/15/07 22:00		189		342		713

		2		15		24		2/15/07 23:00		176		- 0		66		4		100		203		- 0		9		7		140		704				2/15/07 23:00		185		343		704

		2		16		1		2/16/07 0:00		235		- 0		72		5		104		212		- 0		8		6		141		783				2/16/07 0:00		243		353		783

		2		16		2		2/16/07 1:00		199		- 0		69		4		96		208		- 0		6		6		140		729				2/16/07 1:00		205		348		729

		2		16		3		2/16/07 2:00		201		- 0		70		4		97		206		- 0		7		6		140		732				2/16/07 2:00		208		346		732

		2		16		4		2/16/07 3:00		194		- 0		68		4		93		208		- 0		8		6		140		721				2/16/07 3:00		202		348		721

		2		16		5		2/16/07 4:00		230		- 0		71		3		101		214		- 0		10		6		141		778				2/16/07 4:00		240		355		778

		2		16		6		2/16/07 5:00		299		- 0		74		4		115		219		- 0		12		6		140		870				2/16/07 5:00		311		359		870

		2		16		7		2/16/07 6:00		208		- 0		74		7		101		202		- 0		15		6		136		750				2/16/07 6:00		223		338		750

		2		16		8		2/16/07 7:00		254		- 0		87		10		123		207		- 0		16		1		138		836				2/16/07 7:00		270		345		836

		2		16		9		2/16/07 8:00		187		- 0		95		12		116		202		- 0		15		- 0		137		765				2/16/07 8:00		202		339		765

		2		16		10		2/16/07 9:00		176		- 0		95		12		114		195		- 0		14		- 0		135		741				2/16/07 9:00		190		330		741

		2		16		11		2/16/07 10:00		190		- 0		97		12		120		195		- 0		14		- 0		132		761				2/16/07 10:00		204		327		761

		2		16		12		2/16/07 11:00		246		- 0		100		12		134		205		- 0		15		- 0		137		849				2/16/07 11:00		261		342		849

		2		16		13		2/16/07 12:00		255		- 0		100		10		138		212		- 0		12		- 0		137		865				2/16/07 12:00		267		349		865

		2		16		14		2/16/07 13:00		238		- 0		100		12		139		214		- 0		19		- 0		137		859				2/16/07 13:00		257		351		859

		2		16		15		2/16/07 14:00		249		- 0		98		11		137		211		- 0		17		- 0		136		860				2/16/07 14:00		266		347		860

		2		16		16		2/16/07 15:00		258		- 0		97		9		137		214		- 0		18		- 0		139		872				2/16/07 15:00		276		353		872

		2		16		17		2/16/07 16:00		191		- 0		87		7		110		203		- 0		19		- 0		136		753				2/16/07 16:00		210		339		753

		2		16		18		2/16/07 17:00		201		- 0		82		5		106		203		- 0		20		5		137		759				2/16/07 17:00		221		340		759

		2		16		19		2/16/07 18:00		201		- 0		79		6		103		203		- 0		19		7		136		754				2/16/07 18:00		220		339		754

		2		16		20		2/16/07 19:00		229		- 0		78		5		109		205		- 0		22		7		136		791				2/16/07 19:00		251		341		791

		2		16		21		2/16/07 20:00		285		- 0		80		5		120		210		- 0		19		7		139		865				2/16/07 20:00		304		349		865

		2		16		22		2/16/07 21:00		285		- 0		77		5		118		213		- 0		18		7		140		864				2/16/07 21:00		303		353		864

		2		16		23		2/16/07 22:00		189		- 0		66		5		96		204		- 0		16		7		140		723				2/16/07 22:00		205		344		723

		2		16		24		2/16/07 23:00		141		- 0		62		4		87		202		- 0		16		7		140		659				2/16/07 23:00		157		342		659

		2		17		1		2/17/07 0:00		212		- 0		62		5		78		201		- 0		17		6		140		722				2/17/07 0:00		229		341		722

		2		17		2		2/17/07 1:00		187		- 0		61		5		74		198		- 0		9		6		140		680				2/17/07 1:00		196		338		680

		2		17		3		2/17/07 2:00		169		- 0		59		5		71		199		- 0		12		6		139		661				2/17/07 2:00		181		338		661

		2		17		4		2/17/07 3:00		202		- 0		61		5		73		200		- 0		14		6		138		700				2/17/07 3:00		216		338		700

		2		17		5		2/17/07 4:00		210		- 0		61		4		75		204		- 0		14		6		139		712				2/17/07 4:00		224		343		712

		2		17		6		2/17/07 5:00		283		- 0		64		4		87		212		- 0		19		6		140		815				2/17/07 5:00		302		352		815

		2		17		7		2/17/07 6:00		228		- 0		65		7		83		199		- 0		19		6		136		744				2/17/07 6:00		247		335		744

		2		17		8		2/17/07 7:00		274		- 0		79		10		103		208		- 0		22		1		139		835				2/17/07 7:00		296		347		835

		2		17		9		2/17/07 8:00		203		- 0		85		12		99		193		- 0		20		- 0		136		749				2/17/07 8:00		223		329		749

		2		17		10		2/17/07 9:00		201		- 0		87		12		101		189		- 0		18		- 0		136		743				2/17/07 9:00		219		325		743

		2		17		11		2/17/07 10:00		291		- 0		94		13		126		200		- 0		17		- 0		138		879				2/17/07 10:00		308		338		879

		2		17		12		2/17/07 11:00		255		- 0		92		12		119		204		- 0		13		- 0		140		835				2/17/07 11:00		268		344		835

		2		17		13		2/17/07 12:00		210		- 0		87		10		110		200		- 0		10		- 0		140		767				2/17/07 12:00		220		340		767

		2		17		14		2/17/07 13:00		231		- 0		91		12		119		202		- 0		13		- 0		141		809				2/17/07 13:00		244		343		809

		2		17		15		2/17/07 14:00		214		- 0		89		11		113		202		- 0		10		- 0		140		779				2/17/07 14:00		224		342		779

		2		17		16		2/17/07 15:00		220		- 0		87		9		110		208		- 0		13		- 0		140		788				2/17/07 15:00		233		348		788

		2		17		17		2/17/07 16:00		301		- 0		85		7		114		215		- 0		20		- 0		139		881				2/17/07 16:00		321		354		881

		2		17		18		2/17/07 17:00		195		- 0		79		5		89		199		- 0		20		5		136		728				2/17/07 17:00		215		335		728

		2		17		19		2/17/07 18:00		306		- 0		86		6		102		217		- 0		25		7		139		889				2/17/07 18:00		331		356		889

		2		17		20		2/17/07 19:00		198		- 0		78		6		86		201		- 0		20		7		135		731				2/17/07 19:00		218		336		731

		2		17		21		2/17/07 20:00		211		- 0		74		6		86		200		- 0		20		7		135		738				2/17/07 20:00		231		335		738

		2		17		22		2/17/07 21:00		219		- 0		70		5		83		200		- 0		17		7		136		735				2/17/07 21:00		236		336		735

		2		17		23		2/17/07 22:00		272		- 0		69		5		91		212		- 0		14		7		139		807				2/17/07 22:00		286		351		807

		2		17		24		2/17/07 23:00		210		- 0		62		4		80		204		- 0		16		7		140		722				2/17/07 23:00		226		344		722

		2		18		1		2/18/07 0:00		298		- 0		68		4		90		202		- 0		13		6		138		821				2/18/07 0:00		311		340		821

		2		18		2		2/18/07 1:00		231		- 0		68		4		81		198		- 0		9		6		137		734				2/18/07 1:00		240		335		734

		2		18		3		2/18/07 2:00		239		- 0		69		4		80		200		- 0		6		6		137		743				2/18/07 2:00		245		337		743

		2		18		4		2/18/07 3:00		247		- 0		68		4		80		197		- 0		12		6		137		751				2/18/07 3:00		259		334		751

		2		18		5		2/18/07 4:00		235		- 0		68		4		79		204		- 0		10		6		137		743				2/18/07 4:00		245		341		743

		2		18		6		2/18/07 5:00		397		- 0		78		4		105		224		- 0		14		6		142		970				2/18/07 5:00		411		366		970

		2		18		7		2/18/07 6:00		623		- 0		90		8		144		250		- 0		15		6		148		1,284				2/18/07 6:00		638		398		1,284

		2		18		8		2/18/07 7:00		568		- 0		103		11		156		244		- 0		14		1		148		1,244				2/18/07 7:00		582		392		1,244

		2		18		9		2/18/07 8:00		586		- 0		113		14		166		247		- 0		13		- 0		148		1,288				2/18/07 8:00		599		395		1,288

		2		18		10		2/18/07 9:00		516		- 0		115		14		160		238		- 0		16		- 0		146		1,205				2/18/07 9:00		532		384		1,205

		2		18		11		2/18/07 10:00		425		- 0		107		14		147		225		- 0		15		- 0		144		1,077				2/18/07 10:00		440		369		1,077

		2		18		12		2/18/07 11:00		298		- 0		97		13		121		211		- 0		12		- 0		141		893				2/18/07 11:00		310		352		893

		2		18		13		2/18/07 12:00		194		- 0		86		10		99		199		- 0		16		- 0		137		741				2/18/07 12:00		210		336		741

		2		18		14		2/18/07 13:00		157		- 0		85		12		91		194		- 0		15		- 0		134		688				2/18/07 13:00		172		328		688

		2		18		15		2/18/07 14:00		195		- 0		87		10		98		195		- 0		18		- 0		136		739				2/18/07 14:00		213		331		739

		2		18		16		2/18/07 15:00		204		- 0		86		8		96		199		- 0		17		- 0		137		747				2/18/07 15:00		221		336		747

		2		18		17		2/18/07 16:00		406		- 0		95		7		121		225		- 0		28		- 0		143		1,026				2/18/07 16:00		434		368		1,026

		2		18		18		2/18/07 17:00		460		- 0		97		6		125		232		- 0		21		5		143		1,089				2/18/07 17:00		481		375		1,089

		2		18		19		2/18/07 18:00		434		- 0		94		6		117		229		- 0		23		7		142		1,052				2/18/07 18:00		457		371		1,052

		2		18		20		2/18/07 19:00		321		- 0		86		5		101		212		- 0		19		7		141		891				2/18/07 19:00		340		353		891

		2		18		21		2/18/07 20:00		326		- 0		85		5		99		209		- 0		17		7		139		889				2/18/07 20:00		343		348		889

		2		18		22		2/18/07 21:00		243		- 0		73		5		82		203		- 0		13		7		138		762				2/18/07 21:00		256		341		762

		2		18		23		2/18/07 22:00		220		- 0		68		4		75		197		- 0		12		7		136		719				2/18/07 22:00		232		333		719

		2		18		24		2/18/07 23:00		321		- 0		69		4		86		207		- 0		10		7		141		845				2/18/07 23:00		331		348		845

		2		19		1		2/19/07 0:00		302		- 0		79		4		105		212		- 0		7		6		140		855				2/19/07 0:00		309		352		855

		2		19		2		2/19/07 1:00		311		- 0		79		4		103		210		- 0		9		6		138		861				2/19/07 1:00		320		348		861

		2		19		3		2/19/07 2:00		241		- 0		76		4		89		199		- 0		10		6		137		762				2/19/07 2:00		251		336		762

		2		19		4		2/19/07 3:00		307		- 0		78		4		100		204		- 0		9		6		138		846				2/19/07 3:00		316		342		846

		2		19		5		2/19/07 4:00		213		- 0		74		4		84		195		- 0		10		6		136		722				2/19/07 4:00		223		331		722

		2		19		6		2/19/07 5:00		226		- 0		75		4		87		200		- 0		8		6		137		744				2/19/07 5:00		234		337		744

		2		19		7		2/19/07 6:00		374		- 0		83		4		111		220		- 0		9		6		141		948				2/19/07 6:00		383		361		948

		2		19		8		2/19/07 7:00		398		- 0		84		5		118		219		- 0		12		1		142		978				2/19/07 7:00		410		361		978

		2		19		9		2/19/07 8:00		406		- 0		93		5		124		218		- 0		13		- 0		141		1,000				2/19/07 8:00		419		359		1,000

		2		19		10		2/19/07 9:00		412		- 0		98		5		125		225		- 0		17		- 0		142		1,024				2/19/07 9:00		429		367		1,024

		2		19		11		2/19/07 10:00		372		- 0		94		5		122		223		- 0		19		- 0		141		976				2/19/07 10:00		391		364		976

		2		19		12		2/19/07 11:00		430		- 0		98		4		128		224		- 0		20		- 0		142		1,046				2/19/07 11:00		450		366		1,046

		2		19		13		2/19/07 12:00		350		- 0		93		4		117		218		- 0		21		- 0		141		944				2/19/07 12:00		371		359		944

		2		19		14		2/19/07 13:00		301		- 0		90		4		110		214		- 0		19		- 0		141		879				2/19/07 13:00		320		355		879

		2		19		15		2/19/07 14:00		327		- 0		93		4		115		220		- 0		23		- 0		141		923				2/19/07 14:00		350		361		923

		2		19		16		2/19/07 15:00		432		- 0		100		4		128		228		- 0		21		- 0		143		1,055				2/19/07 15:00		453		371		1,055

		2		19		17		2/19/07 16:00		571		- 0		105		4		144		247		- 0		22		- 0		145		1,239				2/19/07 16:00		593		392		1,239

		2		19		18		2/19/07 17:00		592		- 0		106		4		144		252		- 0		26		5		148		1,277				2/19/07 17:00		618		400		1,277

		2		19		19		2/19/07 18:00		564		- 0		105		4		142		244		- 0		19		7		144		1,229				2/19/07 18:00		583		388		1,229

		2		19		20		2/19/07 19:00		558		- 0		103		4		139		237		- 0		18		7		145		1,211				2/19/07 19:00		576		382		1,211

		2		19		21		2/19/07 20:00		407		- 0		95		4		119		225		- 0		15		7		142		1,014				2/19/07 20:00		422		367		1,014

		2		19		22		2/19/07 21:00		345		- 0		89		4		109		220		- 0		18		7		140		932				2/19/07 21:00		363		360		932

		2		19		23		2/19/07 22:00		183		- 0		81		4		82		196		- 0		13		7		136		702				2/19/07 22:00		196		332		702

		2		19		24		2/19/07 23:00		238		- 0		81		4		89		197		- 0		12		7		135		762				2/19/07 23:00		250		332		762

		2		20		1		2/20/07 0:00		417		- 0		108		4		152		225		- 0		7		6		143		1,062				2/20/07 0:00		424		368		1,062

		2		20		2		2/20/07 1:00		420		- 0		108		4		150		226		- 0		8		6		143		1,066				2/20/07 1:00		428		369		1,066

		2		20		3		2/20/07 2:00		353		- 0		104		4		139		219		- 0		4		6		139		969				2/20/07 2:00		357		358		969

		2		20		4		2/20/07 3:00		368		- 0		101		4		139		221		- 0		5		6		142		988				2/20/07 3:00		373		363		988

		2		20		5		2/20/07 4:00		462		- 0		108		4		157		231		- 0		7		6		144		1,119				2/20/07 4:00		469		375		1,119

		2		20		6		2/20/07 5:00		428		- 0		105		4		151		223		- 0		5		6		143		1,065				2/20/07 5:00		433		366		1,065

		2		20		7		2/20/07 6:00		543		- 0		110		4		174		240		- 0		8		6		146		1,230				2/20/07 6:00		551		386		1,230

		2		20		8		2/20/07 7:00		611		- 0		114		4		186		249		- 0		8		1		146		1,318				2/20/07 7:00		619		395		1,318

		2		20		9		2/20/07 8:00		599		- 0		113		4		182		246		- 0		9		- 0		148		1,302				2/20/07 8:00		608		394		1,302

		2		20		10		2/20/07 9:00		524		- 0		112		4		176		238		- 0		11		- 0		146		1,212				2/20/07 9:00		535		384		1,212

		2		20		11		2/20/07 10:00		526		- 0		113		4		177		246		- 0		15		- 0		147		1,228				2/20/07 10:00		541		393		1,228

		2		20		12		2/20/07 11:00		435		- 0		108		4		161		230		- 0		13		- 0		144		1,094				2/20/07 11:00		448		374		1,094

		2		20		13		2/20/07 12:00		409		- 0		107		4		157		228		- 0		19		- 0		144		1,068				2/20/07 12:00		428		372		1,068

		2		20		14		2/20/07 13:00		297		- 0		100		3		137		212		- 0		15		- 0		142		906				2/20/07 13:00		312		354		906

		2		20		15		2/20/07 14:00		263		- 0		98		4		130		209		- 0		17		- 0		141		861				2/20/07 14:00		280		350		861

		2		20		16		2/20/07 15:00		379		- 0		105		3		152		223		- 0		16		- 0		143		1,022				2/20/07 15:00		395		366		1,022

		2		20		17		2/20/07 16:00		487		- 0		112		4		172		240		- 0		17		- 0		145		1,177				2/20/07 16:00		504		385		1,177

		2		20		18		2/20/07 17:00		741		- 0		125		5		204		265		- 0		17		4		151		1,512				2/20/07 17:00		758		416		1,512

		2		20		19		2/20/07 18:00		633		- 0		120		5		188		256		- 0		21		7		150		1,379				2/20/07 18:00		654		406		1,379

		2		20		20		2/20/07 19:00		570		- 0		119		5		177		247		- 0		13		7		150		1,287				2/20/07 19:00		583		397		1,287

		2		20		21		2/20/07 20:00		639		- 0		120		5		190		248		- 0		15		7		148		1,371				2/20/07 20:00		654		396		1,371

		2		20		22		2/20/07 21:00		567		- 0		119		4		180		243		- 0		14		7		146		1,280				2/20/07 21:00		581		389		1,280

		2		20		23		2/20/07 22:00		507		- 0		113		4		170		243		- 0		12		7		145		1,201				2/20/07 22:00		519		388		1,201

		2		20		24		2/20/07 23:00		408		- 0		105		4		154		231		- 0		7		7		143		1,060				2/20/07 23:00		415		374		1,060

		2		21		1		2/21/07 0:00		259		- 0		79		4		102		201		- 0		10		6		137		800				2/21/07 0:00		269		338		800

		2		21		2		2/21/07 1:00		257		- 0		79		4		103		206		- 0		7		6		138		801				2/21/07 1:00		264		344		801

		2		21		3		2/21/07 2:00		220		- 0		79		4		96		203		- 0		9		6		137		753				2/21/07 2:00		229		340		753

		2		21		4		2/21/07 3:00		204		- 0		77		4		92		198		- 0		8		6		136		726				2/21/07 3:00		212		334		726

		2		21		5		2/21/07 4:00		228		- 0		80		4		98		202		- 0		8		6		137		765				2/21/07 4:00		236		339		765

		2		21		6		2/21/07 5:00		461		- 0		97		5		141		233		- 0		9		6		144		1,096				2/21/07 5:00		470		377		1,096

		2		21		7		2/21/07 6:00		605		- 0		109		9		175		252		- 0		12		6		148		1,317				2/21/07 6:00		617		400		1,317

		2		21		8		2/21/07 7:00		558		- 0		116		12		186		248		- 0		12		1		149		1,281				2/21/07 7:00		570		397		1,281

		2		21		9		2/21/07 8:00		712		- 0		139		15		227		260		- 0		17		- 0		151		1,521				2/21/07 8:00		729		411		1,521

		2		21		10		2/21/07 9:00		524		- 0		134		14		198		236		- 0		19		- 0		145		1,270				2/21/07 9:00		543		381		1,270

		2		21		11		2/21/07 10:00		587		- 0		138		14		215		247		- 0		22		- 0		147		1,369				2/21/07 10:00		609		394		1,369

		2		21		12		2/21/07 11:00		533		- 0		135		14		197		245		- 0		26		- 0		145		1,295				2/21/07 11:00		559		390		1,295

		2		21		13		2/21/07 12:00		550		- 0		136		12		204		246		- 0		18		- 0		146		1,310				2/21/07 12:00		568		392		1,310

		2		21		14		2/21/07 13:00		480		- 0		132		14		193		237		- 0		19		- 0		145		1,220				2/21/07 13:00		499		382		1,220

		2		21		15		2/21/07 14:00		443		- 0		128		12		185		234		- 0		18		- 0		145		1,164				2/21/07 14:00		461		379		1,164

		2		21		16		2/21/07 15:00		509		- 0		127		11		190		246		- 0		24		- 0		147		1,255				2/21/07 15:00		533		393		1,255

		2		21		17		2/21/07 16:00		582		- 0		126		9		192		251		- 0		21		- 0		147		1,327				2/21/07 16:00		603		398		1,327

		2		21		18		2/21/07 17:00		513		- 0		113		7		172		242		- 0		21		3		146		1,217				2/21/07 17:00		534		388		1,217

		2		21		19		2/21/07 18:00		615		- 0		112		7		187		245		- 0		28		7		145		1,345				2/21/07 18:00		643		390		1,345

		2		21		20		2/21/07 19:00		591		- 0		109		7		184		251		- 0		26		7		145		1,321				2/21/07 19:00		617		396		1,321

		2		21		21		2/21/07 20:00		541		- 0		107		7		173		244		- 0		21		7		146		1,246				2/21/07 20:00		562		390		1,246

		2		21		22		2/21/07 21:00		442		- 0		100		6		155		234		- 0		22		7		144		1,110				2/21/07 21:00		464		378		1,110

		2		21		23		2/21/07 22:00		245		- 0		86		6		115		204		- 0		15		7		139		817				2/21/07 22:00		260		343		817

		2		21		24		2/21/07 23:00		211		- 0		80		4		107		201		- 0		13		7		137		760				2/21/07 23:00		224		338		760

		2		22		1		2/22/07 0:00		256		- 0		76		6		110		216		- 0		10		6		141		820				2/22/07 0:00		266		357		820

		2		22		2		2/22/07 1:00		283		- 0		77		5		114		218		- 0		19		6		140		864				2/22/07 1:00		302		358		864

		2		22		3		2/22/07 2:00		285		- 0		77		5		112		215		- 0		15		6		140		856				2/22/07 2:00		300		355		856

		2		22		4		2/22/07 3:00		288		- 0		77		5		115		218		- 0		22		6		140		872				2/22/07 3:00		310		358		872

		2		22		5		2/22/07 4:00		291		- 0		77		4		113		213		- 0		21		6		139		865				2/22/07 4:00		312		352		865

		2		22		6		2/22/07 5:00		232		- 0		75		4		102		203		- 0		22		6		137		782				2/22/07 5:00		254		340		782

		2		22		7		2/22/07 6:00		268		- 0		80		8		115		207		- 0		25		6		138		848				2/22/07 6:00		293		345		848

		2		22		8		2/22/07 7:00		371		- 0		97		12		149		216		- 0		24		1		141		1,011				2/22/07 7:00		395		357		1,011

		2		22		9		2/22/07 8:00		272		- 0		101		14		140		207		- 0		23		- 0		140		897				2/22/07 8:00		295		347		897

		2		22		10		2/22/07 9:00		158		- 0		98		13		115		190		- 0		23		- 0		134		732				2/22/07 9:00		181		324		732

		2		22		11		2/22/07 10:00		175		- 0		98		14		119		188		- 0		19		- 0		135		748				2/22/07 10:00		194		323		748

		2		22		12		2/22/07 11:00		237		- 0		103		13		138		200		- 0		20		- 0		133		844				2/22/07 11:00		257		333		844

		2		22		13		2/22/07 12:00		202		- 0		96		11		127		197		- 0		19		- 0		136		788				2/22/07 12:00		221		333		788

		2		22		14		2/22/07 13:00		138		- 0		94		13		112		184		- 0		18		- 0		135		694				2/22/07 13:00		156		319		694

		2		22		15		2/22/07 14:00		237		- 0		102		12		142		204		- 0		16		- 0		139		852				2/22/07 14:00		253		343		852

		2		22		16		2/22/07 15:00		253		- 0		97		10		141		207		- 0		21		- 0		138		867				2/22/07 15:00		274		345		867

		2		22		17		2/22/07 16:00		155		- 0		87		7		104		196		- 0		23		- 0		136		707				2/22/07 16:00		178		332		707

		2		22		18		2/22/07 17:00		234		- 0		88		6		117		207		- 0		24		3		139		817				2/22/07 17:00		258		346		817

		2		22		19		2/22/07 18:00		183		- 0		78		6		102		196		- 0		25		7		136		732				2/22/07 18:00		208		332		732

		2		22		20		2/22/07 19:00		186		- 0		78		6		103		195		- 0		23		7		135		733				2/22/07 19:00		209		330		733

		2		22		21		2/22/07 20:00		192		- 0		79		6		103		199		- 0		25		7		135		746				2/22/07 20:00		217		334		746

		2		22		22		2/22/07 21:00		292		- 0		80		6		122		212		- 0		20		7		137		874				2/22/07 21:00		312		349		874

		2		22		23		2/22/07 22:00		273		- 0		77		5		118		215		- 0		17		7		139		851				2/22/07 22:00		290		354		851

		2		22		24		2/22/07 23:00		225		- 0		73		5		108		213		- 0		15		7		141		787				2/22/07 23:00		240		354		787

		2		23		1		2/23/07 0:00		212		- 0		77		4		95		203		- 0		13		6		136		747				2/23/07 0:00		225		339		747

		2		23		2		2/23/07 1:00		211		- 0		75		4		95		203		- 0		7		6		136		737				2/23/07 1:00		218		339		737

		2		23		3		2/23/07 2:00		203		- 0		75		4		92		204		- 0		7		6		136		727				2/23/07 2:00		210		340		727

		2		23		4		2/23/07 3:00		209		- 0		75		3		92		203		- 0		11		6		135		735				2/23/07 3:00		220		338		735

		2		23		5		2/23/07 4:00		220		- 0		76		3		94		204		- 0		12		6		134		751				2/23/07 4:00		232		338		751

		2		23		6		2/23/07 5:00		282		- 0		80		4		108		214		- 0		16		6		139		849				2/23/07 5:00		298		353		849

		2		23		7		2/23/07 6:00		553		- 0		97		8		161		250		- 0		20		5		144		1,237				2/23/07 6:00		573		394		1,237

		2		23		8		2/23/07 7:00		615		- 0		114		12		191		262		- 0		21		- 0		147		1,362				2/23/07 7:00		636		409		1,362

		2		23		9		2/23/07 8:00		389		- 0		112		14		162		238		- 0		18		- 0		142		1,075				2/23/07 8:00		407		380		1,075

		2		23		10		2/23/07 9:00		326		- 0		112		13		152		225		- 0		15		- 0		141		983				2/23/07 9:00		341		366		983

		2		23		11		2/23/07 10:00		185		- 0		103		13		121		203		- 0		14		- 0		138		776				2/23/07 10:00		199		341		776

		2		23		12		2/23/07 11:00		167		- 0		98		12		115		201		- 0		15		- 0		137		745				2/23/07 11:00		182		338		745

		2		23		13		2/23/07 12:00		180		- 0		98		10		119		203		- 0		14		- 0		136		760				2/23/07 12:00		194		339		760

		2		23		14		2/23/07 13:00		177		- 0		99		12		122		204		- 0		16		- 0		136		766				2/23/07 13:00		193		340		766

		2		23		15		2/23/07 14:00		167		- 0		99		11		116		204		- 0		14		- 0		135		746				2/23/07 14:00		181		339		746

		2		23		16		2/23/07 15:00		170		- 0		94		10		113		203		- 0		16		- 0		136		742				2/23/07 15:00		186		339		742

		2		23		17		2/23/07 16:00		282		- 0		99		7		130		220		- 0		21		- 0		141		900				2/23/07 16:00		303		361		900

		2		23		18		2/23/07 17:00		432		- 0		105		6		152		235		- 0		23		3		139		1,096				2/23/07 17:00		455		374		1,096

		2		23		19		2/23/07 18:00		451		- 0		101		7		151		238		- 0		24		7		143		1,121				2/23/07 18:00		475		381		1,121

		2		23		20		2/23/07 19:00		389		- 0		97		7		139		228		- 0		23		7		141		1,030				2/23/07 19:00		412		369		1,030

		2		23		21		2/23/07 20:00		352		- 0		92		6		130		226		- 0		21		7		141		977				2/23/07 20:00		373		367		977

		2		23		22		2/23/07 21:00		193		- 0		77		6		98		203		- 0		20		7		137		740				2/23/07 21:00		213		340		740

		2		23		23		2/23/07 22:00		207		- 0		75		5		98		201		- 0		19		7		136		748				2/23/07 22:00		226		337		748

		2		23		24		2/23/07 23:00		249		- 0		75		5		103		207		- 0		16		7		136		797				2/23/07 23:00		265		343		797

		2		24		1		2/24/07 0:00		245		- 0		71		5		81		202		- 0		12		6		138		760				2/24/07 0:00		257		340		760

		2		24		2		2/24/07 1:00		252		- 0		70		5		81		203		- 0		4		6		136		759				2/24/07 1:00		256		339		759

		2		24		3		2/24/07 2:00		250		- 0		71		5		80		202		- 0		4		6		137		754				2/24/07 2:00		254		339		754

		2		24		4		2/24/07 3:00		278		- 0		70		5		82		204		- 0		5		6		137		787				2/24/07 3:00		283		341		787

		2		24		5		2/24/07 4:00		209		- 0		70		4		74		203		- 0		7		6		136		710				2/24/07 4:00		216		339		710

		2		24		6		2/24/07 5:00		320		- 0		75		5		92		217		- 0		6		6		140		860				2/24/07 5:00		326		357		860

		2		24		7		2/24/07 6:00		612		- 0		87		9		132		241		- 0		10		5		143		1,239				2/24/07 6:00		622		384		1,239

		2		24		8		2/24/07 7:00		626		- 0		105		13		157		245		- 0		13		- 0		145		1,303				2/24/07 7:00		639		390		1,303

		2		24		9		2/24/07 8:00		660		- 0		122		15		178		243		- 0		14		- 0		145		1,377				2/24/07 8:00		674		388		1,377

		2		24		10		2/24/07 9:00		594		- 0		126		14		171		246		- 0		9		- 0		149		1,309				2/24/07 9:00		603		395		1,309

		2		24		11		2/24/07 10:00		457		- 0		118		15		154		226		- 0		11		- 0		143		1,123				2/24/07 10:00		468		369		1,123

		2		24		12		2/24/07 11:00		368		- 0		111		13		136		216		- 0		10		- 0		141		994				2/24/07 11:00		378		357		994

		2		24		13		2/24/07 12:00		273		- 0		103		11		119		210		- 0		10		- 0		140		867				2/24/07 12:00		283		350		867

		2		24		14		2/24/07 13:00		205		- 0		100		13		108		199		- 0		10		- 0		137		772				2/24/07 13:00		215		336		772

		2		24		15		2/24/07 14:00		213		- 0		97		12		106		199		- 0		10		- 0		138		776				2/24/07 14:00		223		337		776

		2		24		16		2/24/07 15:00		210		- 0		94		10		103		199		- 0		14		- 0		138		766				2/24/07 15:00		224		337		766

		2		24		17		2/24/07 16:00		519		- 0		107		8		144		234		- 0		19		- 0		143		1,174				2/24/07 16:00		538		377		1,174

		2		24		18		2/24/07 17:00		630		- 0		113		6		155		254		- 0		23		3		147		1,331				2/24/07 17:00		653		401		1,331

		2		24		19		2/24/07 18:00		584		- 0		108		7		145		252		- 0		18		7		146		1,267				2/24/07 18:00		602		398		1,267

		2		24		20		2/24/07 19:00		574		- 0		105		7		142		249		- 0		18		7		145		1,247				2/24/07 19:00		592		394		1,247

		2		24		21		2/24/07 20:00		627		- 0		105		7		147		253		- 0		13		7		144		1,303				2/24/07 20:00		640		397		1,303

		2		24		22		2/24/07 21:00		545		- 0		95		6		132		244		- 0		16		7		145		1,190				2/24/07 21:00		561		389		1,190

		2		24		23		2/24/07 22:00		297		- 0		78		5		95		217		- 0		11		7		140		849				2/24/07 22:00		308		357		849

		2		24		24		2/24/07 23:00		229		- 0		71		4		81		206		- 0		9		7		138		745				2/24/07 23:00		238		344		745

		2		25		1		2/25/07 0:00		288		- 0		68		6		91		212		- 0		9		6		142		822				2/25/07 0:00		297		354		822

		2		25		2		2/25/07 1:00		310		- 0		69		6		92		214		- 0		11		6		142		851				2/25/07 1:00		321		356		851

		2		25		3		2/25/07 2:00		304		- 0		66		5		90		213		- 0		12		6		143		840				2/25/07 2:00		316		356		840

		2		25		4		2/25/07 3:00		311		- 0		66		5		91		214		- 0		12		6		142		847				2/25/07 3:00		323		356		847

		2		25		5		2/25/07 4:00		327		- 0		68		4		91		207		- 0		11		6		140		856				2/25/07 4:00		338		347		856

		2		25		6		2/25/07 5:00		244		- 0		67		5		82		206		- 0		14		6		139		764				2/25/07 5:00		258		345		764

		2		25		7		2/25/07 6:00		379		- 0		75		9		108		222		- 0		16		5		141		955				2/25/07 6:00		395		363		955

		2		25		8		2/25/07 7:00		535		- 0		95		12		145		237		- 0		19		- 0		145		1,188				2/25/07 7:00		554		382		1,188

		2		25		9		2/25/07 8:00		425		- 0		101		14		139		222		- 0		20		- 0		143		1,064				2/25/07 8:00		445		365		1,064

		2		25		10		2/25/07 9:00		239		- 0		95		12		109		201		- 0		17		- 0		139		812				2/25/07 9:00		256		340		812

		2		25		11		2/25/07 10:00		189		- 0		91		13		100		193		- 0		20		- 0		138		745				2/25/07 10:00		209		331		745

		2		25		12		2/25/07 11:00		198		- 0		92		12		102		194		- 0		16		- 0		136		750				2/25/07 11:00		214		330		750

		2		25		13		2/25/07 12:00		225		- 0		90		11		105		205		- 0		17		- 0		137		789				2/25/07 12:00		242		342		789

		2		25		14		2/25/07 13:00		266		- 0		93		13		120		213		- 0		15		- 0		140		860				2/25/07 13:00		281		353		860

		2		25		15		2/25/07 14:00		256		- 0		91		12		116		214		- 0		17		- 0		140		846				2/25/07 14:00		273		354		846

		2		25		16		2/25/07 15:00		201		- 0		85		9		96		204		- 0		20		- 0		137		752				2/25/07 15:00		221		341		752

		2		25		17		2/25/07 16:00		215		- 0		81		7		91		203		- 0		18		- 0		136		752				2/25/07 16:00		233		339		752

		2		25		18		2/25/07 17:00		334		- 0		87		6		106		220		- 0		27		3		142		926				2/25/07 17:00		361		362		926

		2		25		19		2/25/07 18:00		272		- 0		85		6		95		215		- 0		22		7		140		842				2/25/07 18:00		294		355		842

		2		25		20		2/25/07 19:00		207		- 0		79		6		83		203		- 0		16		7		137		739				2/25/07 19:00		223		340		739

		2		25		21		2/25/07 20:00		218		- 0		76		4		82		199		- 0		17		7		137		741				2/25/07 20:00		235		336		741

		2		25		22		2/25/07 21:00		276		- 0		72		4		85		209		- 0		16		7		137		806				2/25/07 21:00		292		346		806

		2		25		23		2/25/07 22:00		273		- 0		69		4		82		214		- 0		17		7		139		806				2/25/07 22:00		290		353		806

		2		25		24		2/25/07 23:00		221		- 0		64		4		71		204		- 0		13		7		140		724				2/25/07 23:00		234		344		724

		2		26		1		2/26/07 0:00		197		- 0		81		4		104		201		- 0		11		6		137		742				2/26/07 0:00		208		338		742

		2		26		2		2/26/07 1:00		262		- 0		87		4		121		208		- 0		11		6		138		837				2/26/07 1:00		273		346		837

		2		26		3		2/26/07 2:00		231		- 0		85		4		111		202		- 0		11		6		136		785				2/26/07 2:00		242		338		785

		2		26		4		2/26/07 3:00		203		- 0		83		4		105		199		- 0		12		6		137		749				2/26/07 3:00		215		336		749

		2		26		5		2/26/07 4:00		188		- 0		81		4		101		200		- 0		10		6		137		729				2/26/07 4:00		198		337		729

		2		26		6		2/26/07 5:00		207		- 0		83		4		104		203		- 0		11		6		138		756				2/26/07 5:00		218		341		756

		2		26		7		2/26/07 6:00		311		- 0		88		4		128		216		- 0		14		5		142		906				2/26/07 6:00		325		358		906

		2		26		8		2/26/07 7:00		456		- 0		98		4		156		225		- 0		14		- 0		144		1,098				2/26/07 7:00		470		369		1,098

		2		26		9		2/26/07 8:00		511		- 0		111		5		170		238		- 0		19		- 0		146		1,200				2/26/07 8:00		530		384		1,200

		2		26		10		2/26/07 9:00		558		- 0		117		5		177		245		- 0		18		- 0		146		1,267				2/26/07 9:00		576		391		1,267

		2		26		11		2/26/07 10:00		490		- 0		116		5		171		242		- 0		18		- 0		146		1,188				2/26/07 10:00		508		388		1,188

		2		26		12		2/26/07 11:00		400		- 0		110		5		154		229		- 0		18		- 0		144		1,059				2/26/07 11:00		418		373		1,059

		2		26		13		2/26/07 12:00		362		- 0		104		4		148		228		- 0		16		- 0		143		1,005				2/26/07 12:00		378		371		1,005

		2		26		14		2/26/07 13:00		337		- 0		104		4		143		223		- 0		16		- 0		143		970				2/26/07 13:00		353		366		970

		2		26		15		2/26/07 14:00		362		- 0		104		4		149		228		- 0		15		- 0		143		1,005				2/26/07 14:00		377		371		1,005

		2		26		16		2/26/07 15:00		331		- 0		103		3		139		222		- 0		14		- 0		142		954				2/26/07 15:00		345		364		954

		2		26		17		2/26/07 16:00		408		- 0		107		3		149		232		- 0		18		- 0		144		1,061				2/26/07 16:00		426		376		1,061

		2		26		18		2/26/07 17:00		634		- 0		115		4		181		252		- 0		27		3		148		1,364				2/26/07 17:00		661		400		1,364

		2		26		19		2/26/07 18:00		574		- 0		113		4		170		248		- 0		18		7		145		1,280				2/26/07 18:00		592		393		1,280

		2		26		20		2/26/07 19:00		571		- 0		113		4		169		246		- 0		24		7		146		1,279				2/26/07 19:00		595		392		1,279

		2		26		21		2/26/07 20:00		437		- 0		106		4		149		232		- 0		17		7		144		1,097				2/26/07 20:00		454		376		1,097

		2		26		22		2/26/07 21:00		379		- 0		102		4		139		225		- 0		21		7		142		1,018				2/26/07 21:00		400		367		1,018

		2		26		23		2/26/07 22:00		336		- 0		98		4		130		221		- 0		18		7		140		953				2/26/07 22:00		354		361		953

		2		26		24		2/26/07 23:00		196		- 0		87		4		104		201		- 0		19		7		137		755				2/26/07 23:00		215		338		755

		2		27		1		2/27/07 0:00		218		- 0		90		3		110		195		- 0		13		6		139		774				2/27/07 0:00		231		334		774

		2		27		2		2/27/07 1:00		179		- 0		88		3		103		195		- 0		16		6		137		728				2/27/07 1:00		195		332		728

		2		27		3		2/27/07 2:00		202		- 0		90		4		107		197		- 0		12		6		139		758				2/27/07 2:00		214		336		758

		2		27		4		2/27/07 3:00		205		- 0		89		4		108		203		- 0		14		6		139		768				2/27/07 3:00		219		342		768

		2		27		5		2/27/07 4:00		251		- 0		92		4		117		205		- 0		13		6		140		827				2/27/07 4:00		264		345		827

		2		27		6		2/27/07 5:00		364		- 0		98		4		138		221		- 0		14		6		140		986				2/27/07 5:00		378		361		986

		2		27		7		2/27/07 6:00		454		- 0		100		4		156		231		- 0		16		5		144		1,110				2/27/07 6:00		470		375		1,110

		2		27		8		2/27/07 7:00		466		- 0		102		4		159		231		- 0		16		- 0		144		1,122				2/27/07 7:00		482		375		1,122

		2		27		9		2/27/07 8:00		424		- 0		102		4		153		227		- 0		19		- 0		143		1,071				2/27/07 8:00		443		370		1,071

		2		27		10		2/27/07 9:00		410		- 0		104		4		151		222		- 0		18		- 0		143		1,053				2/27/07 9:00		428		365		1,053

		2		27		11		2/27/07 10:00		355		- 0		103		3		145		218		- 0		21		- 0		143		989				2/27/07 10:00		376		361		989

		2		27		12		2/27/07 11:00		300		- 0		101		3		135		214		- 0		19		- 0		142		915				2/27/07 11:00		319		356		915

		2		27		13		2/27/07 12:00		279		- 0		96		3		131		205		- 0		19		- 0		141		874				2/27/07 12:00		298		346		874

		2		27		14		2/27/07 13:00		188		- 0		90		3		113		200		- 0		16		- 0		139		750				2/27/07 13:00		204		339		750

		2		27		15		2/27/07 14:00		183		- 0		93		3		114		198		- 0		16		- 0		138		744				2/27/07 14:00		199		336		744

		2		27		16		2/27/07 15:00		193		- 0		91		3		114		199		- 0		16		- 0		138		755				2/27/07 15:00		209		337		755

		2		27		17		2/27/07 16:00		361		- 0		101		3		146		220		- 0		18		- 0		143		992				2/27/07 16:00		379		363		992

		2		27		18		2/27/07 17:00		520		- 0		112		4		173		244		- 0		25		3		147		1,228				2/27/07 17:00		545		391		1,228

		2		27		19		2/27/07 18:00		483		- 0		111		4		166		242		- 0		21		7		146		1,181				2/27/07 18:00		504		388		1,181

		2		27		20		2/27/07 19:00		481		- 0		112		4		168		242		- 0		22		7		146		1,182				2/27/07 19:00		503		388		1,182

		2		27		21		2/27/07 20:00		425		- 0		107		4		156		228		- 0		21		7		144		1,092				2/27/07 20:00		446		372		1,092

		2		27		22		2/27/07 21:00		303		- 0		98		4		134		218		- 0		20		7		143		926				2/27/07 21:00		323		361		926

		2		27		23		2/27/07 22:00		196		- 0		90		4		112		203		- 0		18		7		139		769				2/27/07 22:00		214		342		769

		2		27		24		2/27/07 23:00		184		- 0		87		3		111		199		- 0		16		7		137		744				2/27/07 23:00		200		336		744

		2		28		1		2/28/07 0:00		261		- 0		76		4		107		215		- 0		17		6		142		829				2/28/07 0:00		278		357		829

		2		28		2		2/28/07 1:00		218		- 0		74		4		101		210		- 0		15		6		142		771				2/28/07 1:00		233		352		771

		2		28		3		2/28/07 2:00		217		- 0		74		4		100		205		- 0		12		6		142		761				2/28/07 2:00		229		347		761

		2		28		4		2/28/07 3:00		218		- 0		73		4		100		209		- 0		12		6		142		764				2/28/07 3:00		230		351		764

		2		28		5		2/28/07 4:00		295		- 0		79		4		113		209		- 0		13		6		139		860				2/28/07 4:00		308		348		860

		2		28		6		2/28/07 5:00		218		- 0		77		5		101		199		- 0		13		6		137		757				2/28/07 5:00		231		336		757

		2		28		7		2/28/07 6:00		324		- 0		87		9		130		216		- 0		15		5		141		927				2/28/07 6:00		339		357		927

		2		28		8		2/28/07 7:00		486		- 0		105		12		176		239		- 0		18		- 0		145		1,181				2/28/07 7:00		504		384		1,181

		2		28		9		2/28/07 8:00		433		- 0		112		13		175		236		- 0		16		- 0		144		1,129				2/28/07 8:00		449		380		1,129

		2		28		10		2/28/07 9:00		391		- 0		115		12		169		226		- 0		18		- 0		142		1,073				2/28/07 9:00		409		368		1,073

		2		28		11		2/28/07 10:00		337		- 0		113		13		160		224		- 0		12		- 0		138		996				2/28/07 10:00		349		362		996

		2		28		12		2/28/07 11:00		332		- 0		110		13		155		221		- 0		18		- 0		141		989				2/28/07 11:00		350		362		989

		2		28		13		2/28/07 12:00		168		- 0		96		10		118		200		- 0		16		- 0		134		741				2/28/07 12:00		184		334		741

		2		28		14		2/28/07 13:00		143		- 0		95		12		113		197		- 0		14		- 0		135		708				2/28/07 13:00		157		332		708

		2		28		15		2/28/07 14:00		189		- 0		98		12		122		199		- 0		21		- 0		139		780				2/28/07 14:00		210		338		780

		2		28		16		2/28/07 15:00		213		- 0		97		10		125		202		- 0		19		- 0		138		803				2/28/07 15:00		232		340		803

		2		28		17		2/28/07 16:00		375		- 0		107		8		154		227		- 0		21		- 0		142		1,036				2/28/07 16:00		396		369		1,036

		2		28		18		2/28/07 17:00		488		- 0		110		6		170		246		- 0		25		3		147		1,195				2/28/07 17:00		513		393		1,195

		2		28		19		2/28/07 18:00		398		- 0		99		6		148		231		- 0		21		7		143		1,052				2/28/07 18:00		419		374		1,052

		2		28		20		2/28/07 19:00		400		- 0		98		6		149		225		- 0		22		7		143		1,049				2/28/07 19:00		422		368		1,049

		2		28		21		2/28/07 20:00		408		- 0		98		6		148		228		- 0		20		7		141		1,056				2/28/07 20:00		428		369		1,056

		2		28		22		2/28/07 21:00		287		- 0		88		5		124		213		- 0		16		7		141		882				2/28/07 21:00		303		354		882

		2		28		23		2/28/07 22:00		179		- 0		79		4		100		201		- 0		15		7		137		723				2/28/07 22:00		194		338		723

		2		28		24		2/28/07 23:00		188		- 0		77		4		101		199		- 0		11		7		137		722				2/28/07 23:00		199		336		722

		3		1		1		3/1/07 0:00		222		- 0		63		4		105		215		- 0		28		6		138		780				3/1/07 0:00		250		353		780

		3		1		2		3/1/07 1:00		261		- 0		65		4		113		219		- 0		11		6		139		819				3/1/07 1:00		272		358		819

		3		1		3		3/1/07 2:00		276		- 0		64		4		113		215		- 0		12		6		139		828				3/1/07 2:00		288		354		828

		3		1		4		3/1/07 3:00		293		- 0		65		4		115		214		- 0		14		6		139		851				3/1/07 3:00		307		353		851

		3		1		5		3/1/07 4:00		291		- 0		65		4		116		215		- 0		16		6		139		852				3/1/07 4:00		307		354		852

		3		1		6		3/1/07 5:00		389		- 0		73		4		138		229		- 0		22		6		140		1,001				3/1/07 5:00		411		369		1,001

		3		1		7		3/1/07 6:00		297		- 0		71		9		125		211		- 0		23		4		139		879				3/1/07 6:00		320		350		879

		3		1		8		3/1/07 7:00		299		- 0		80		12		140		217		- 0		20		- 0		141		909				3/1/07 7:00		319		358		909

		3		1		9		3/1/07 8:00		274		- 0		87		13		141		218		- 0		22		- 0		141		897				3/1/07 8:00		296		359		897

		3		1		10		3/1/07 9:00		265		- 0		93		13		144		218		- 0		18		- 0		142		892				3/1/07 9:00		283		360		892

		3		1		11		3/1/07 10:00		258		- 0		90		13		140		214		- 0		22		- 0		141		878				3/1/07 10:00		280		355		878

		3		1		12		3/1/07 11:00		291		- 0		91		13		149		218		- 0		15		- 0		142		919				3/1/07 11:00		306		360		919

		3		1		13		3/1/07 12:00		278		- 0		89		11		144		215		- 0		13		- 0		140		890				3/1/07 12:00		291		355		890

		3		1		14		3/1/07 13:00		342		- 0		94		13		169		224		- 0		17		- 0		143		1,003				3/1/07 13:00		359		367		1,003

		3		1		15		3/1/07 14:00		344		- 0		93		12		168		225		- 0		12		- 0		143		997				3/1/07 14:00		356		368		997

		3		1		16		3/1/07 15:00		341		- 0		92		10		165		231		- 0		16		- 0		143		999				3/1/07 15:00		357		374		999

		3		1		17		3/1/07 16:00		271		- 0		83		8		131		217		- 0		19		- 0		140		869				3/1/07 16:00		290		357		869

		3		1		18		3/1/07 17:00		293		- 0		79		6		129		220		- 0		24		3		141		895				3/1/07 17:00		317		361		895

		3		1		19		3/1/07 18:00		311		- 0		78		6		129		221		- 0		20		6		138		909				3/1/07 18:00		331		359		909

		3		1		20		3/1/07 19:00		301		- 0		76		6		130		223		- 0		20		6		141		904				3/1/07 19:00		321		364		904

		3		1		21		3/1/07 20:00		293		- 0		75		6		127		215		- 0		17		6		141		881				3/1/07 20:00		310		356		881

		3		1		22		3/1/07 21:00		358		- 0		74		6		138		230		- 0		16		6		141		971				3/1/07 21:00		374		371		971

		3		1		23		3/1/07 22:00		243		- 0		68		5		112		214		- 0		11		6		134		794				3/1/07 22:00		254		348		794

		3		1		24		3/1/07 23:00		261		- 0		66		5		120		219		- 0		17		6		140		834				3/1/07 23:00		278		359		834

		3		2		1		3/2/07 0:00		278		- 0		65		4		109		212		- 0		15		6		139		828				3/2/07 0:00		293		351		828

		3		2		2		3/2/07 1:00		271		- 0		63		5		107		217		- 0		18		6		139		825				3/2/07 1:00		289		356		825

		3		2		3		3/2/07 2:00		273		- 0		64		5		105		217		- 0		16		6		137		823				3/2/07 2:00		289		354		823

		3		2		4		3/2/07 3:00		273		- 0		64		4		106		220		- 0		19		6		134		825				3/2/07 3:00		292		354		825

		3		2		5		3/2/07 4:00		299		- 0		65		4		111		220		- 0		22		6		139		866				3/2/07 4:00		321		359		866

		3		2		6		3/2/07 5:00		395		- 0		71		5		129		231		- 0		21		6		142		999				3/2/07 5:00		416		373		999

		3		2		7		3/2/07 6:00		312		- 0		68		9		119		217		- 0		24		4		140		894				3/2/07 6:00		336		357		894

		3		2		8		3/2/07 7:00		275		- 0		74		12		125		212		- 0		25		- 0		139		862				3/2/07 7:00		300		351		862

		3		2		9		3/2/07 8:00		254		- 0		83		14		129		211		- 0		20		- 0		139		850				3/2/07 8:00		274		350		850

		3		2		10		3/2/07 9:00		306		- 0		91		13		147		218		- 0		17		- 0		140		932				3/2/07 9:00		323		358		932

		3		2		11		3/2/07 10:00		345		- 0		94		15		160		223		- 0		19		- 0		141		998				3/2/07 10:00		364		364		998

		3		2		12		3/2/07 11:00		344		- 0		94		14		159		228		- 0		22		- 0		142		1,003				3/2/07 11:00		366		370		1,003

		3		2		13		3/2/07 12:00		310		- 0		89		11		151		223		- 0		17		- 0		141		943				3/2/07 12:00		327		364		943

		3		2		14		3/2/07 13:00		273		- 0		89		13		148		218		- 0		17		- 0		141		899				3/2/07 13:00		290		359		899

		3		2		15		3/2/07 14:00		273		- 0		89		12		146		217		- 0		19		- 0		138		894				3/2/07 14:00		292		355		894

		3		2		16		3/2/07 15:00		337		- 0		91		10		155		228		- 0		21		- 0		139		981				3/2/07 15:00		358		367		981

		3		2		17		3/2/07 16:00		237		- 0		80		8		116		215		- 0		22		- 0		139		818				3/2/07 16:00		259		354		818

		3		2		18		3/2/07 17:00		289		- 0		79		6		123		222		- 0		23		3		140		886				3/2/07 17:00		312		362		886

		3		2		19		3/2/07 18:00		328		- 0		78		6		127		228		- 0		25		6		141		940				3/2/07 18:00		353		369		940

		3		2		20		3/2/07 19:00		305		- 0		75		6		121		221		- 0		27		6		138		898				3/2/07 19:00		332		359		898

		3		2		21		3/2/07 20:00		297		- 0		76		6		122		219		- 0		23		6		140		889				3/2/07 20:00		320		359		889

		3		2		22		3/2/07 21:00		340		- 0		72		5		126		224		- 0		20		6		141		936				3/2/07 21:00		360		365		936

		3		2		23		3/2/07 22:00		285		- 0		69		5		118		221		- 0		16		6		139		859				3/2/07 22:00		301		360		859

		3		2		24		3/2/07 23:00		263		- 0		63		5		111		219		- 0		16		6		138		821				3/2/07 23:00		279		357		821

		3		3		1		3/3/07 0:00		293		- 0		56		4		92		219		- 0		16		6		140		825				3/3/07 0:00		309		359		825

		3		3		2		3/3/07 1:00		279		- 0		56		5		89		214		- 0		20		6		139		808				3/3/07 1:00		299		353		808

		3		3		3		3/3/07 2:00		283		- 0		57		4		89		211		- 0		24		6		139		813				3/3/07 2:00		307		350		813

		3		3		4		3/3/07 3:00		298		- 0		56		4		88		213		- 0		20		6		139		824				3/3/07 3:00		318		352		824

		3		3		5		3/3/07 4:00		320		- 0		57		4		92		219		- 0		15		6		139		854				3/3/07 4:00		335		358		854

		3		3		6		3/3/07 5:00		419		- 0		63		5		108		230		- 0		15		6		142		988				3/3/07 5:00		434		372		988

		3		3		7		3/3/07 6:00		348		- 0		62		8		101		221		- 0		15		3		140		899				3/3/07 6:00		363		361		899

		3		3		8		3/3/07 7:00		297		- 0		70		12		109		213		- 0		21		- 0		140		861				3/3/07 7:00		318		353		861

		3		3		9		3/3/07 8:00		295		- 0		77		14		118		211		- 0		21		- 0		129		865				3/3/07 8:00		316		340		865

		3		3		10		3/3/07 9:00		357		- 0		85		13		134		222		- 0		21		- 0		141		974				3/3/07 9:00		378		363		974

		3		3		11		3/3/07 10:00		365		- 0		88		15		142		230		- 0		18		- 0		137		996				3/3/07 10:00		383		367		996

		3		3		12		3/3/07 11:00		343		- 0		87		13		135		221		- 0		16		- 0		142		956				3/3/07 11:00		359		363		956

		3		3		13		3/3/07 12:00		260		- 0		80		11		119		213		- 0		18		- 0		140		841				3/3/07 12:00		278		353		841

		3		3		14		3/3/07 13:00		233		- 0		78		14		115		207		- 0		17		- 0		139		803				3/3/07 13:00		250		346		803

		3		3		15		3/3/07 14:00		244		- 0		79		12		118		211		- 0		16		- 0		139		819				3/3/07 14:00		260		350		819

		3		3		16		3/3/07 15:00		294		- 0		80		10		123		220		- 0		20		- 0		141		889				3/3/07 15:00		314		361		889

		3		3		17		3/3/07 16:00		372		- 0		80		8		127		226		- 0		22		- 0		142		978				3/3/07 16:00		394		368		978

		3		3		18		3/3/07 17:00		309		- 0		72		6		105		216		- 0		29		2		139		878				3/3/07 17:00		338		355		878

		3		3		19		3/3/07 18:00		299		- 0		76		6		104		221		- 0		27		6		140		879				3/3/07 18:00		326		361		879

		3		3		20		3/3/07 19:00		304		- 0		74		6		103		216		- 0		30		6		140		880				3/3/07 19:00		334		356		880

		3		3		21		3/3/07 20:00		309		- 0		71		6		103		218		- 0		23		6		141		877				3/3/07 20:00		332		359		877

		3		3		22		3/3/07 21:00		337		- 0		67		6		103		221		- 0		21		6		142		904				3/3/07 21:00		358		363		904

		3		3		23		3/3/07 22:00		385		- 0		64		6		108		224		- 0		23		6		142		958				3/3/07 22:00		408		366		958

		3		3		24		3/3/07 23:00		324		- 0		59		5		96		219		- 0		21		6		140		871				3/3/07 23:00		345		359		871

		3		4		1		3/4/07 0:00		285		- 0		57		4		93		215		- 0		13		6		139		812				3/4/07 0:00		298		354		812

		3		4		2		3/4/07 1:00		253		- 0		55		5		85		206		- 0		14		6		138		762				3/4/07 1:00		267		344		762

		3		4		3		3/4/07 2:00		194		- 0		51		5		74		199		- 0		10		6		136		676				3/4/07 2:00		204		335		676

		3		4		4		3/4/07 3:00		189		- 0		52		4		73		197		- 0		14		6		135		671				3/4/07 3:00		203		332		671

		3		4		5		3/4/07 4:00		205		- 0		53		4		76		197		- 0		12		6		136		690				3/4/07 4:00		217		333		690

		3		4		6		3/4/07 5:00		413		- 0		62		5		111		226		- 0		17		6		141		982				3/4/07 5:00		430		367		982

		3		4		7		3/4/07 6:00		313		- 0		60		9		102		216		- 0		18		3		139		860				3/4/07 6:00		331		355		860

		3		4		8		3/4/07 7:00		306		- 0		69		12		112		215		- 0		17		- 0		139		869				3/4/07 7:00		323		354		869

		3		4		9		3/4/07 8:00		281		- 0		78		14		118		214		- 0		19		- 0		138		863				3/4/07 8:00		300		352		863

		3		4		10		3/4/07 9:00		288		- 0		83		13		119		216		- 0		20		- 0		140		879				3/4/07 9:00		308		356		879

		3		4		11		3/4/07 10:00		352		- 0		87		14		140		227		- 0		22		- 0		142		985				3/4/07 10:00		374		369		985

		3		4		12		3/4/07 11:00		365		- 0		87		12		140		226		- 0		19		- 0		142		992				3/4/07 11:00		384		368		992

		3		4		13		3/4/07 12:00		302		- 0		81		10		128		222		- 0		21		- 0		138		902				3/4/07 12:00		323		360		902

		3		4		14		3/4/07 13:00		262		- 0		79		11		123		215		- 0		20		- 0		136		846				3/4/07 13:00		282		351		846

		3		4		15		3/4/07 14:00		259		- 0		78		10		121		215		- 0		22		- 0		139		845				3/4/07 14:00		281		354		845

		3		4		16		3/4/07 15:00		314		- 0		77		7		123		217		- 0		24		- 0		140		903				3/4/07 15:00		338		357		903

		3		4		17		3/4/07 16:00		379		- 0		75		6		125		227		- 0		27		- 0		142		981				3/4/07 16:00		406		369		981

		3		4		18		3/4/07 17:00		272		- 0		70		5		100		219		- 0		26		1		139		832				3/4/07 17:00		298		358		832

		3		4		19		3/4/07 18:00		306		- 0		73		5		104		224		- 0		25		6		140		884				3/4/07 18:00		331		364		884

		3		4		20		3/4/07 19:00		316		- 0		71		5		105		223		- 0		28		6		141		894				3/4/07 19:00		344		364		894

		3		4		21		3/4/07 20:00		361		- 0		72		5		109		224		- 0		26		6		141		944				3/4/07 20:00		387		365		944

		3		4		22		3/4/07 21:00		400		- 0		67		5		109		223		- 0		24		6		141		976				3/4/07 21:00		424		364		976

		3		4		23		3/4/07 22:00		320		- 0		60		4		92		215		- 0		20		6		138		856				3/4/07 22:00		340		353		856

		3		4		24		3/4/07 23:00		306		- 0		59		4		87		215		- 0		16		6		139		831				3/4/07 23:00		322		354		831

		3		5		1		3/5/07 0:00		336		- 0		79		4		141		228		- 0		11		6		139		943				3/5/07 0:00		347		367		943

		3		5		2		3/5/07 1:00		381		- 0		82		4		147		233		- 0		12		6		140		1,005				3/5/07 1:00		393		373		1,005

		3		5		3		3/5/07 2:00		377		- 0		83		4		145		233		- 0		14		6		141		1,003				3/5/07 2:00		391		374		1,003

		3		5		4		3/5/07 3:00		368		- 0		80		4		141		227		- 0		16		6		139		981				3/5/07 3:00		384		366		981

		3		5		5		3/5/07 4:00		285		- 0		76		4		121		215		- 0		16		6		138		861				3/5/07 4:00		301		353		861

		3		5		6		3/5/07 5:00		306		- 0		79		4		126		220		- 0		17		6		138		897				3/5/07 5:00		323		358		897

		3		5		7		3/5/07 6:00		404		- 0		82		4		143		232		- 0		21		3		140		1,030				3/5/07 6:00		425		372		1,030

		3		5		8		3/5/07 7:00		372		- 0		80		4		143		226		- 0		27		- 0		140		992				3/5/07 7:00		399		366		992

		3		5		9		3/5/07 8:00		522		- 0		95		4		175		245		- 0		26		- 0		145		1,212				3/5/07 8:00		548		390		1,212

		3		5		10		3/5/07 9:00		464		- 0		96		5		168		241		- 0		26		- 0		143		1,143				3/5/07 9:00		490		384		1,143

		3		5		11		3/5/07 10:00		426		- 0		95		4		162		238		- 0		26		- 0		143		1,094				3/5/07 10:00		452		381		1,094

		3		5		12		3/5/07 11:00		324		- 0		89		4		140		224		- 0		25		- 0		132		939				3/5/07 11:00		349		356		939

		3		5		13		3/5/07 12:00		252		- 0		84		4		127		216		- 0		26		- 0		136		844				3/5/07 12:00		278		352		844

		3		5		14		3/5/07 13:00		283		- 0		85		4		135		221		- 0		25		- 0		138		891				3/5/07 13:00		308		359		891

		3		5		15		3/5/07 14:00		286		- 0		85		4		137		224		- 0		25		- 0		137		897				3/5/07 14:00		311		361		897

		3		5		16		3/5/07 15:00		279		- 0		85		4		130		222		- 0		26		- 0		137		883				3/5/07 15:00		305		359		883

		3		5		17		3/5/07 16:00		357		- 0		89		3		140		230		- 0		28		- 0		140		987				3/5/07 16:00		385		370		987

		3		5		18		3/5/07 17:00		474		- 0		92		4		158		246		- 0		30		1		144		1,150				3/5/07 17:00		504		390		1,150

		3		5		19		3/5/07 18:00		548		- 0		96		4		165		249		- 0		33		6		143		1,244				3/5/07 18:00		581		392		1,244

		3		5		20		3/5/07 19:00		448		- 0		91		4		153		238		- 0		29		6		142		1,112				3/5/07 19:00		477		380		1,112

		3		5		21		3/5/07 20:00		416		- 0		89		4		146		231		- 0		32		6		140		1,066				3/5/07 20:00		448		371		1,066

		3		5		22		3/5/07 21:00		311		- 0		85		4		127		224		- 0		28		6		139		923				3/5/07 21:00		339		363		923

		3		5		23		3/5/07 22:00		278		- 0		80		3		120		216		- 0		28		6		138		870				3/5/07 22:00		306		354		870

		3		5		24		3/5/07 23:00		296		- 0		79		4		126		223		- 0		23		6		139		896				3/5/07 23:00		319		362		896

		3		6		1		3/6/07 0:00		314		- 0		85		3		139		221		- 0		25		6		141		934				3/6/07 0:00		339		362		934

		3		6		2		3/6/07 1:00		302		- 0		83		3		135		216		- 0		20		6		140		906				3/6/07 1:00		322		356		906

		3		6		3		3/6/07 2:00		279		- 0		84		4		132		220		- 0		24		6		140		889				3/6/07 2:00		303		360		889

		3		6		4		3/6/07 3:00		282		- 0		81		3		130		219		- 0		25		6		140		886				3/6/07 3:00		307		359		886

		3		6		5		3/6/07 4:00		273		- 0		82		3		130		215		- 0		23		6		139		872				3/6/07 4:00		296		354		872

		3		6		6		3/6/07 5:00		287		- 0		85		4		133		218		- 0		26		6		140		899				3/6/07 5:00		313		358		899

		3		6		7		3/6/07 6:00		376		- 0		85		3		150		225		- 0		33		3		142		1,017				3/6/07 6:00		409		367		1,017

		3		6		8		3/6/07 7:00		406		- 0		88		3		156		233		- 0		32		- 0		142		1,061				3/6/07 7:00		438		375		1,061

		3		6		9		3/6/07 8:00		501		- 0		95		4		177		248		- 0		32		- 0		146		1,203				3/6/07 8:00		533		394		1,203

		3		6		10		3/6/07 9:00		461		- 0		95		4		171		240		- 0		29		- 0		145		1,144				3/6/07 9:00		490		385		1,144

		3		6		11		3/6/07 10:00		426		- 0		92		4		165		238		- 0		30		- 0		144		1,099				3/6/07 10:00		456		382		1,099

		3		6		12		3/6/07 11:00		415		- 0		90		4		160		235		- 0		29		- 0		144		1,078				3/6/07 11:00		444		379		1,078

		3		6		13		3/6/07 12:00		281		- 0		84		3		135		217		- 0		25		- 0		140		885				3/6/07 12:00		306		357		885

		3		6		14		3/6/07 13:00		272		- 0		85		3		137		220		- 0		25		- 0		140		883				3/6/07 13:00		297		360		883

		3		6		15		3/6/07 14:00		278		- 0		82		3		137		221		- 0		24		- 0		140		885				3/6/07 14:00		302		361		885

		3		6		16		3/6/07 15:00		281		- 0		84		3		135		220		- 0		26		- 0		140		888				3/6/07 15:00		307		360		888

		3		6		17		3/6/07 16:00		354		- 0		86		3		147		226		- 0		29		- 0		142		988				3/6/07 16:00		383		368		988

		3		6		18		3/6/07 17:00		498		- 0		94		4		172		242		- 0		31		1		146		1,187				3/6/07 17:00		529		388		1,187

		3		6		19		3/6/07 18:00		528		- 0		98		4		179		247		- 0		33		6		146		1,241				3/6/07 18:00		561		393		1,241

		3		6		20		3/6/07 19:00		453		- 0		94		4		164		238		- 0		29		6		144		1,131				3/6/07 19:00		482		382		1,131

		3		6		21		3/6/07 20:00		351		- 0		89		4		146		229		- 0		28		6		141		994				3/6/07 20:00		379		370		994

		3		6		22		3/6/07 21:00		260		- 0		82		3		129		218		- 0		23		6		139		860				3/6/07 21:00		283		357		860

		3		6		23		3/6/07 22:00		264		- 0		80		4		130		216		- 0		21		6		134		855				3/6/07 22:00		285		350		855

		3		6		24		3/6/07 23:00		310		- 0		81		4		150		225		- 0		15		6		136		927				3/6/07 23:00		325		361		927

		3		7		1		3/7/07 0:00		282		- 0		71		4		117		212		- 0		13		6		141		846				3/7/07 0:00		295		353		846

		3		7		2		3/7/07 1:00		264		- 0		70		4		113		216		- 0		13		6		141		827				3/7/07 1:00		277		357		827

		3		7		3		3/7/07 2:00		265		- 0		70		4		114		217		- 0		14		6		141		831				3/7/07 2:00		279		358		831

		3		7		4		3/7/07 3:00		317		- 0		72		4		124		223		- 0		13		6		142		900				3/7/07 3:00		330		365		900

		3		7		5		3/7/07 4:00		291		- 0		70		4		120		219		- 0		11		6		128		850				3/7/07 4:00		302		347		850

		3		7		6		3/7/07 5:00		308		- 0		72		5		125		224		- 0		14		6		131		885				3/7/07 5:00		322		355		885

		3		7		7		3/7/07 6:00		365		- 0		76		9		140		233		- 0		13		3		130		968				3/7/07 6:00		378		363		968

		3		7		8		3/7/07 7:00		370		- 0		87		13		161		235		- 0		16		- 0		135		1,017				3/7/07 7:00		386		370		1,017

		3		7		9		3/7/07 8:00		372		- 0		98		15		173		234		- 0		17		- 0		130		1,039				3/7/07 8:00		389		364		1,039

		3		7		10		3/7/07 9:00		343		- 0		102		14		168		232		- 0		18		- 0		131		1,009				3/7/07 9:00		361		363		1,009

		3		7		11		3/7/07 10:00		376		- 0		102		15		173		229		- 0		18		- 0		133		1,045				3/7/07 10:00		394		362		1,045

		3		7		12		3/7/07 11:00		279		- 0		96		13		150		216		- 0		16		- 0		129		899				3/7/07 11:00		295		345		899

		3		7		13		3/7/07 12:00		348		- 0		98		13		162		228		- 0		12		- 0		135		996				3/7/07 12:00		360		363		996

		3		7		14		3/7/07 13:00		217		- 0		91		15		136		207		- 0		12		- 0		131		810				3/7/07 13:00		229		338		810

		3		7		15		3/7/07 14:00		252		- 0		96		14		145		217		- 0		15		- 0		131		869				3/7/07 14:00		267		348		869

		3		7		16		3/7/07 15:00		305		- 0		94		12		151		222		- 0		14		- 0		136		934				3/7/07 15:00		319		358		934

		3		7		17		3/7/07 16:00		433		- 0		99		9		171		243		- 0		17		- 0		140		1,111				3/7/07 16:00		450		383		1,111

		3		7		18		3/7/07 17:00		544		- 0		97		7		181		247		- 0		19		1		139		1,236				3/7/07 17:00		563		386		1,236

		3		7		19		3/7/07 18:00		523		- 0		91		7		177		243		- 0		24		6		141		1,212				3/7/07 18:00		547		384		1,212

		3		7		20		3/7/07 19:00		460		- 0		89		6		168		241		- 0		25		6		138		1,134				3/7/07 19:00		485		379		1,134

		3		7		21		3/7/07 20:00		380		- 0		84		6		149		229		- 0		22		6		135		1,012				3/7/07 20:00		402		364		1,012

		3		7		22		3/7/07 21:00		312		- 0		78		6		133		223		- 0		18		6		132		908				3/7/07 21:00		330		355		908

		3		7		23		3/7/07 22:00		242		- 0		74		5		117		214		- 0		17		6		132		807				3/7/07 22:00		259		346		807

		3		7		24		3/7/07 23:00		353		- 0		76		5		140		225		- 0		17		6		134		956				3/7/07 23:00		370		359		956

		3		8		1		3/8/07 0:00		297		- 0		68		4		118		218		- 0		17		6		128		856				3/8/07 0:00		314		346		856

		3		8		2		3/8/07 1:00		287		- 0		67		4		116		221		- 0		16		6		130		849				3/8/07 1:00		303		351		849

		3		8		3		3/8/07 2:00		244		- 0		65		4		109		214		- 0		16		6		139		797				3/8/07 2:00		260		353		797

		3		8		4		3/8/07 3:00		294		- 0		67		4		118		217		- 0		19		6		140		865				3/8/07 3:00		313		357		865

		3		8		5		3/8/07 4:00		312		- 0		68		4		119		216		- 0		17		6		140		882				3/8/07 4:00		329		356		882

		3		8		6		3/8/07 5:00		296		- 0		71		5		117		212		- 0		24		6		141		871				3/8/07 5:00		320		353		871

		3		8		7		3/8/07 6:00		402		- 0		77		9		142		230		- 0		24		3		143		1,030				3/8/07 6:00		426		373		1,030

		3		8		8		3/8/07 7:00		379		- 0		86		13		157		225		- 0		20		- 0		143		1,023				3/8/07 7:00		399		368		1,023

		3		8		9		3/8/07 8:00		324		- 0		92		15		153		221		- 0		21		- 0		139		967				3/8/07 8:00		345		360		967

		3		8		10		3/8/07 9:00		263		- 0		92		15		145		210		- 0		19		- 0		138		883				3/8/07 9:00		282		348		883

		3		8		11		3/8/07 10:00		267		- 0		93		16		150		212		- 0		15		- 0		141		894				3/8/07 10:00		282		353		894

		3		8		12		3/8/07 11:00		332		- 0		96		15		166		223		- 0		15		- 0		142		989				3/8/07 11:00		347		365		989

		3		8		13		3/8/07 12:00		287		- 0		93		12		157		216		- 0		12		- 0		140		918				3/8/07 12:00		299		356		918

		3		8		14		3/8/07 13:00		316		- 0		96		15		169		221		- 0		17		- 0		141		976				3/8/07 13:00		333		362		976

		3		8		15		3/8/07 14:00		323		- 0		95		13		167		224		- 0		13		- 0		142		977				3/8/07 14:00		336		366		977

		3		8		16		3/8/07 15:00		346		- 0		93		11		167		228		- 0		14		- 0		143		1,002				3/8/07 15:00		360		371		1,002

		3		8		17		3/8/07 16:00		268		- 0		84		8		131		219		- 0		17		- 0		140		867				3/8/07 16:00		285		359		867

		3		8		18		3/8/07 17:00		365		- 0		81		7		145		230		- 0		22		1		142		993				3/8/07 17:00		387		372		993

		3		8		19		3/8/07 18:00		388		- 0		82		7		147		230		- 0		20		6		143		1,022				3/8/07 18:00		408		373		1,022

		3		8		20		3/8/07 19:00		295		- 0		76		6		127		222		- 0		20		6		141		893				3/8/07 19:00		315		363		893

		3		8		21		3/8/07 20:00		303		- 0		75		6		128		222		- 0		16		6		140		895				3/8/07 20:00		319		362		895

		3		8		22		3/8/07 21:00		375		- 0		76		6		143		229		- 0		13		6		141		989				3/8/07 21:00		388		370		989

		3		8		23		3/8/07 22:00		325		- 0		71		6		129		224		- 0		12		6		140		913				3/8/07 22:00		337		364		913

		3		8		24		3/8/07 23:00		305		- 0		68		5		124		224		- 0		9		6		140		881				3/8/07 23:00		314		364		881

		3		9		1		3/9/07 0:00		360		- 0		73		5		124		228		- 0		8		6		142		946				3/9/07 0:00		368		370		946

		3		9		2		3/9/07 1:00		333		- 0		71		4		116		223		- 0		16		6		141		911				3/9/07 1:00		349		364		911

		3		9		3		3/9/07 2:00		332		- 0		71		4		114		223		- 0		14		6		142		906				3/9/07 2:00		346		365		906

		3		9		4		3/9/07 3:00		327		- 0		72		4		111		221		- 0		12		6		141		894				3/9/07 3:00		339		362		894

		3		9		5		3/9/07 4:00		318		- 0		73		4		109		216		- 0		14		6		140		880				3/9/07 4:00		332		356		880

		3		9		6		3/9/07 5:00		509		- 0		82		5		143		241		- 0		15		6		146		1,147				3/9/07 5:00		524		387		1,147

		3		9		7		3/9/07 6:00		631		- 0		87		9		167		251		- 0		17		3		144		1,308				3/9/07 6:00		648		395		1,308

		3		9		8		3/9/07 7:00		645		- 0		100		12		186		248		- 0		17		- 0		142		1,349				3/9/07 7:00		662		390		1,349

		3		9		9		3/9/07 8:00		555		- 0		108		13		184		245		- 0		16		- 0		143		1,264				3/9/07 8:00		571		388		1,264

		3		9		10		3/9/07 9:00		517		- 0		114		12		186		243		- 0		15		- 0		146		1,233				3/9/07 9:00		532		389		1,233

		3		9		11		3/9/07 10:00		372		- 0		109		13		161		229		- 0		16		- 0		144		1,043				3/9/07 10:00		388		373		1,043

		3		9		12		3/9/07 11:00		416		- 0		107		12		164		231		- 0		17		- 0		145		1,092				3/9/07 11:00		433		376		1,092

		3		9		13		3/9/07 12:00		334		- 0		101		12		147		223		- 0		17		- 0		142		975				3/9/07 12:00		351		365		975

		3		9		14		3/9/07 13:00		283		- 0		100		12		141		220		- 0		15		- 0		142		914				3/9/07 13:00		298		362		914

		3		9		15		3/9/07 14:00		251		- 0		95		11		133		215		- 0		20		- 0		141		866				3/9/07 14:00		271		356		866

		3		9		16		3/9/07 15:00		289		- 0		95		10		136		216		- 0		20		- 0		142		909				3/9/07 15:00		309		358		909

		3		9		17		3/9/07 16:00		443		- 0		100		7		157		240		- 0		25		- 0		144		1,116				3/9/07 16:00		468		384		1,116

		3		9		18		3/9/07 17:00		545		- 0		95		6		165		243		- 0		21		1		143		1,221				3/9/07 17:00		566		386		1,221

		3		9		19		3/9/07 18:00		663		- 0		101		7		174		253		- 0		23		6		143		1,371				3/9/07 18:00		686		396		1,371

		3		9		20		3/9/07 19:00		513		- 0		93		6		157		246		- 0		24		6		145		1,191				3/9/07 19:00		537		391		1,191

		3		9		21		3/9/07 20:00		521		- 0		93		6		159		254		- 0		22		6		147		1,208				3/9/07 20:00		543		401		1,208

		3		9		22		3/9/07 21:00		391		- 0		82		6		131		234		- 0		17		6		144		1,010				3/9/07 21:00		408		378		1,010

		3		9		23		3/9/07 22:00		246		- 0		71		5		102		213		- 0		12		6		140		794				3/9/07 22:00		258		353		794

		3		9		24		3/9/07 23:00		331		- 0		73		5		116		218		- 0		10		6		140		899				3/9/07 23:00		341		358		899

		3		10		1		3/10/07 0:00		375		- 0		63		5		98		219		- 0		10		6		141		918				3/10/07 0:00		385		360		918

		3		10		2		3/10/07 1:00		327		- 0		60		4		92		217		- 0		7		6		140		854				3/10/07 1:00		334		357		854

		3		10		3		3/10/07 2:00		427		- 0		63		5		102		225		- 0		7		6		142		977				3/10/07 2:00		434		367		977

		3		10		4		3/10/07 3:00		367		- 0		61		5		95		219		- 0		7		6		141		900				3/10/07 3:00		374		360		900

		3		10		5		3/10/07 4:00		355		- 0		62		4		92		220		- 0		6		6		141		886				3/10/07 4:00		361		361		886

		3		10		6		3/10/07 5:00		347		- 0		64		5		97		218		- 0		10		6		141		888				3/10/07 5:00		357		359		888

		3		10		7		3/10/07 6:00		531		- 0		72		10		128		232		- 0		12		3		144		1,132				3/10/07 6:00		543		376		1,132

		3		10		8		3/10/07 7:00		472		- 0		83		13		139		228		- 0		17		- 0		144		1,098				3/10/07 7:00		489		372		1,098

		3		10		9		3/10/07 8:00		407		- 0		90		16		140		221		- 0		18		- 0		144		1,036				3/10/07 8:00		425		365		1,036

		3		10		10		3/10/07 9:00		280		- 0		88		14		121		208		- 0		21		- 0		141		873				3/10/07 9:00		301		349		873

		3		10		11		3/10/07 10:00		274		- 0		88		14		125		206		- 0		21		- 0		138		866				3/10/07 10:00		295		344		866

		3		10		12		3/10/07 11:00		283		- 0		88		13		123		205		- 0		20		- 0		139		871				3/10/07 11:00		303		344		871

		3		10		13		3/10/07 12:00		283		- 0		87		12		124		211		- 0		25		- 0		142		884				3/10/07 12:00		308		353		884

		3		10		14		3/10/07 13:00		364		- 0		94		15		150		224		- 0		27		- 0		143		1,017				3/10/07 13:00		391		367		1,017

		3		10		15		3/10/07 14:00		314		- 0		88		14		132		220		- 0		22		- 0		143		933				3/10/07 14:00		336		363		933

		3		10		16		3/10/07 15:00		358		- 0		89		11		142		227		- 0		26		- 0		144		996				3/10/07 15:00		384		371		996

		3		10		17		3/10/07 16:00		293		- 0		79		8		113		219		- 0		29		- 0		142		884				3/10/07 16:00		322		361		884

		3		10		18		3/10/07 17:00		438		- 0		83		6		131		230		- 0		33		1		145		1,068				3/10/07 17:00		471		375		1,068

		3		10		19		3/10/07 18:00		499		- 0		88		6		138		236		- 0		34		6		147		1,154				3/10/07 18:00		533		383		1,154

		3		10		20		3/10/07 19:00		376		- 0		80		7		118		224		- 0		31		6		141		981				3/10/07 19:00		407		365		981

		3		10		21		3/10/07 20:00		381		- 0		76		6		113		221		- 0		28		6		140		971				3/10/07 20:00		409		361		971

		3		10		22		3/10/07 21:00		320		- 0		69		6		101		218		- 0		26		6		140		887				3/10/07 21:00		346		358		887

		3		10		23		3/10/07 22:00		254		- 0		62		5		88		207		- 0		25		6		139		786				3/10/07 22:00		279		346		786

		3		10		24		3/10/07 23:00		409		- 0		66		5		110		228		- 0		21		6		141		986				3/10/07 23:00		430		369		986

		3		11		1		3/11/07 0:00		291		- 0		57		5		92		212		- 0		17		6		137		816				3/11/07 0:00		308		349		816

		3		11		2		3/11/07 1:00		304		- 0		57		5		93		211		- 0		9		6		138		822				3/11/07 1:00		313		349		822

		3		11		3		3/11/07 2:00		303		- 0		58		4		95		211		- 0		8		6		137		822				3/11/07 2:00		311		348		822

		3		11		4		3/11/07 3:00		306		- 0		59		4		93		208		- 0		10		6		139		825				3/11/07 3:00		316		347		825

		3		11		5		3/11/07 4:00		363		- 0		60		4		100		216		- 0		11		6		136		896				3/11/07 4:00		374		352		896

		3		11		6		3/11/07 5:00		386		- 0		64		5		107		222		- 0		16		6		140		946				3/11/07 5:00		402		362		946

		3		11		7		3/11/07 6:00		355		- 0		64		9		106		212		- 0		17		3		137		902				3/11/07 6:00		372		349		902

		3		11		8		3/11/07 7:00		481		- 0		80		13		143		237		- 0		21		- 0		144		1,119				3/11/07 7:00		502		381		1,119

		3		11		9		3/11/07 8:00		330		- 0		86		14		130		218		- 0		22		- 0		140		940				3/11/07 8:00		352		358		940

		3		11		10		3/11/07 9:00		273		- 0		85		13		122		215		- 0		21		- 0		140		870				3/11/07 9:00		294		355		870

		3		11		11		3/11/07 10:00		363		- 0		90		14		149		227		- 0		19		- 0		139		1,001				3/11/07 10:00		382		366		1,001

		3		11		12		3/11/07 11:00		357		- 0		85		12		145		223		- 0		16		- 0		140		979				3/11/07 11:00		373		363		979

		3		11		13		3/11/07 12:00		349		- 0		84		11		141		229		- 0		20		- 0		142		976				3/11/07 12:00		369		371		976

		3		11		14		3/11/07 13:00		287		- 0		83		12		132		220		- 0		19		- 0		141		894				3/11/07 13:00		306		361		894

		3		11		15		3/11/07 14:00		303		- 0		82		11		132		222		- 0		22		- 0		139		911				3/11/07 14:00		325		361		911

		3		11		16		3/11/07 15:00		366		- 0		81		8		139		227		- 0		26		- 0		142		990				3/11/07 15:00		392		369		990

		3		11		17		3/11/07 16:00		315		- 0		74		7		113		218		- 0		27		- 0		140		893				3/11/07 16:00		342		358		893

		3		11		18		3/11/07 17:00		316		- 0		70		6		109		217		- 0		26		1		140		886				3/11/07 17:00		342		357		886

		3		11		19		3/11/07 18:00		313		- 0		72		6		106		219		- 0		26		6		140		888				3/11/07 18:00		339		359		888

		3		11		20		3/11/07 19:00		328		- 0		73		5		109		221		- 0		29		6		140		911				3/11/07 19:00		357		361		911

		3		11		21		3/11/07 20:00		407		- 0		74		5		122		233		- 0		24		6		142		1,013				3/11/07 20:00		431		375		1,013

		3		11		22		3/11/07 21:00		418		- 0		66		5		115		230		- 0		25		6		142		1,007				3/11/07 21:00		443		372		1,007

		3		11		23		3/11/07 22:00		296		- 0		60		4		94		215		- 0		18		6		137		830				3/11/07 22:00		314		352		830

		3		11		24		3/11/07 23:00		306		- 0		57		4		90		214		- 0		21		6		139		837				3/11/07 23:00		327		353		837

		3		12		1		3/12/07 0:00		368		- 0		78		3		146		229		- 0		15		6		137		984				3/12/07 0:00		383		366		984

		3		12		2		3/12/07 1:00		322		- 0		77		3		137		220		- 0		16		6		136		917				3/12/07 1:00		338		356		917

		3		12		3		3/12/07 2:00		364		- 0		80		3		145		231		- 0		19		6		139		988				3/12/07 2:00		383		370		988

		3		12		4		3/12/07 3:00		370		- 0		78		3		146		231		- 0		21		6		139		995				3/12/07 3:00		391		370		995

		3		12		5		3/12/07 4:00		380		- 0		78		3		148		231		- 0		22		6		140		1,008				3/12/07 4:00		402		371		1,008

		3		12		6		3/12/07 5:00		300		- 0		76		3		126		220		- 0		21		6		138		891				3/12/07 5:00		321		358		891

		3		12		7		3/12/07 6:00		270		- 0		73		4		121		219		- 0		27		1		137		852				3/12/07 6:00		297		356		852

		3		12		8		3/12/07 7:00		313		- 0		77		5		131		222		- 0		27		- 0		135		910				3/12/07 7:00		340		357		910

		3		12		9		3/12/07 8:00		327		- 0		80		5		136		224		- 0		30		- 0		135		935				3/12/07 8:00		357		359		935

		3		12		10		3/12/07 9:00		291		- 0		83		5		133		222		- 0		27		- 0		137		898				3/12/07 9:00		318		359		898

		3		12		11		3/12/07 10:00		282		- 0		81		5		132		219		- 0		24		- 0		139		882				3/12/07 10:00		306		358		882

		3		12		12		3/12/07 11:00		296		- 0		80		4		134		223		- 0		21		- 0		139		897				3/12/07 11:00		317		362		897

		3		12		13		3/12/07 12:00		369		- 0		84		4		154		233		- 0		19		- 0		137		999				3/12/07 12:00		388		370		999

		3		12		14		3/12/07 13:00		377		- 0		82		4		153		233		- 0		21		- 0		138		1,008				3/12/07 13:00		398		371		1,008

		3		12		15		3/12/07 14:00		380		- 0		83		4		155		233		- 0		17		- 0		137		1,009				3/12/07 14:00		397		370		1,009

		3		12		16		3/12/07 15:00		374		- 0		84		4		154		234		- 0		21		- 0		139		1,009				3/12/07 15:00		395		373		1,009

		3		12		17		3/12/07 16:00		337		- 0		80		3		138		227		- 0		20		- 0		139		944				3/12/07 16:00		357		366		944

		3		12		18		3/12/07 17:00		298		- 0		74		3		123		216		- 0		22		1		138		876				3/12/07 17:00		320		354		876

		3		12		19		3/12/07 18:00		279		- 0		77		4		119		214		- 0		23		6		137		859				3/12/07 18:00		302		351		859

		3		12		20		3/12/07 19:00		286		- 0		79		4		123		218		- 0		23		6		137		877				3/12/07 19:00		309		355		877

		3		12		21		3/12/07 20:00		298		- 0		79		4		126		220		- 0		24		6		136		893				3/12/07 20:00		322		356		893

		3		12		22		3/12/07 21:00		368		- 0		82		3		141		231		- 0		23		6		138		993				3/12/07 21:00		391		369		993

		3		12		23		3/12/07 22:00		321		- 0		78		3		133		224		- 0		18		6		138		922				3/12/07 22:00		339		362		922

		3		12		24		3/12/07 23:00		371		- 0		80		3		143		228		- 0		17		6		139		987				3/12/07 23:00		388		367		987

		3		13		1		3/13/07 0:00		312		- 0		80		3		140		221		- 0		20		6		137		919				3/13/07 0:00		332		358		919

		3		13		2		3/13/07 1:00		245		- 0		75		3		129		213		- 0		15		6		139		826				3/13/07 1:00		260		352		826

		3		13		3		3/13/07 2:00		262		- 0		77		3		132		214		- 0		12		6		139		845				3/13/07 2:00		274		353		845

		3		13		4		3/13/07 3:00		265		- 0		75		3		131		217		- 0		18		6		138		853				3/13/07 3:00		283		355		853

		3		13		5		3/13/07 4:00		275		- 0		74		3		132		216		- 0		14		6		139		858				3/13/07 4:00		289		355		858

		3		13		6		3/13/07 5:00		301		- 0		76		4		138		218		- 0		17		6		139		899				3/13/07 5:00		318		357		899

		3		13		7		3/13/07 6:00		318		- 0		74		3		141		217		- 0		18		1		139		911				3/13/07 6:00		336		356		911

		3		13		8		3/13/07 7:00		380		- 0		77		3		156		227		- 0		19		- 0		141		1,004				3/13/07 7:00		399		368		1,004

		3		13		9		3/13/07 8:00		338		- 0		76		3		144		220		- 0		21		- 0		141		943				3/13/07 8:00		359		361		943

		3		13		10		3/13/07 9:00		380		- 0		82		3		158		225		- 0		20		- 0		142		1,010				3/13/07 9:00		400		367		1,010

		3		13		11		3/13/07 10:00		366		- 0		80		3		159		229		- 0		16		- 0		141		994				3/13/07 10:00		382		370		994

		3		13		12		3/13/07 11:00		310		- 0		76		3		146		216		- 0		13		- 0		140		903				3/13/07 11:00		323		356		903

		3		13		13		3/13/07 12:00		255		- 0		74		3		136		212		- 0		13		- 0		137		830				3/13/07 12:00		268		349		830

		3		13		14		3/13/07 13:00		243		- 0		75		3		141		218		- 0		15		- 0		138		833				3/13/07 13:00		258		356		833

		3		13		15		3/13/07 14:00		245		- 0		77		3		143		221		- 0		10		- 0		138		836				3/13/07 14:00		255		359		836

		3		13		16		3/13/07 15:00		241		- 0		76		3		137		213		- 0		14		- 0		138		822				3/13/07 15:00		255		351		822

		3		13		17		3/13/07 16:00		355		- 0		80		3		157		231		- 0		21		- 0		141		988				3/13/07 16:00		376		372		988

		3		13		18		3/13/07 17:00		301		- 0		75		3		133		218		- 0		22		1		140		893				3/13/07 17:00		323		358		893

		3		13		19		3/13/07 18:00		296		- 0		78		4		131		217		- 0		22		6		140		893				3/13/07 18:00		318		357		893

		3		13		20		3/13/07 19:00		279		- 0		80		4		131		217		- 0		21		6		139		877				3/13/07 19:00		300		356		877

		3		13		21		3/13/07 20:00		299		- 0		80		3		136		219		- 0		19		6		140		902				3/13/07 20:00		318		359		902

		3		13		22		3/13/07 21:00		365		- 0		84		3		155		232		- 0		19		6		142		1,006				3/13/07 21:00		384		374		1,006

		3		13		23		3/13/07 22:00		350		- 0		81		3		153		231		- 0		16		6		141		981				3/13/07 22:00		366		372		981

		3		13		24		3/13/07 23:00		251		- 0		75		3		136		220		- 0		15		6		138		845				3/13/07 23:00		266		358		845

		3		14		1		3/14/07 0:00		302		- 0		68		4		132		237		- 0		10		6		148		907				3/14/07 0:00		312		385		907

		3		14		2		3/14/07 1:00		312		- 0		66		4		130		235		- 0		13		6		147		913				3/14/07 1:00		325		382		913

		3		14		3		3/14/07 2:00		289		- 0		65		4		129		234		- 0		7		6		148		881				3/14/07 2:00		296		382		881

		3		14		4		3/14/07 3:00		299		- 0		64		4		130		231		- 0		11		6		148		892				3/14/07 3:00		310		379		892

		3		14		5		3/14/07 4:00		323		- 0		67		4		138		234		- 0		11		6		147		930				3/14/07 4:00		334		381		930

		3		14		6		3/14/07 5:00		257		- 0		64		4		116		212		- 0		13		6		141		813				3/14/07 5:00		270		353		813

		3		14		7		3/14/07 6:00		359		- 0		68		9		146		228		- 0		17		1		143		971				3/14/07 6:00		376		371		971

		3		14		8		3/14/07 7:00		360		- 0		81		12		166		225		- 0		15		- 0		144		1,003				3/14/07 7:00		375		369		1,003

		3		14		9		3/14/07 8:00		321		- 0		89		14		173		223		- 0		13		- 0		143		977				3/14/07 8:00		334		366		977

		3		14		10		3/14/07 9:00		268		- 0		93		13		165		221		- 0		13		- 0		143		915				3/14/07 9:00		281		364		915

		3		14		11		3/14/07 10:00		242		- 0		91		14		163		218		- 0		15		- 0		142		884				3/14/07 10:00		257		360		884

		3		14		12		3/14/07 11:00		237		- 0		89		13		159		216		- 0		15		- 0		141		870				3/14/07 11:00		252		357		870

		3		14		13		3/14/07 12:00		215		- 0		86		12		156		216		- 0		11		- 0		142		838				3/14/07 12:00		226		358		838

		3		14		14		3/14/07 13:00		201		- 0		88		14		153		214		- 0		12		- 0		143		825				3/14/07 13:00		213		357		825

		3		14		15		3/14/07 14:00		218		- 0		90		13		156		215		- 0		13		- 0		142		846				3/14/07 14:00		231		357		846

		3		14		16		3/14/07 15:00		244		- 0		86		9		158		221		- 0		20		- 0		142		881				3/14/07 15:00		264		363		881

		3		14		17		3/14/07 16:00		339		- 0		89		8		171		228		- 0		22		- 0		145		1,002				3/14/07 16:00		361		373		1,002

		3		14		18		3/14/07 17:00		293		- 0		77		5		145		219		- 0		25		1		143		909				3/14/07 17:00		318		362		909

		3		14		19		3/14/07 18:00		287		- 0		76		6		139		217		- 0		23		5		142		895				3/14/07 18:00		310		359		895

		3		14		20		3/14/07 19:00		297		- 0		75		6		141		216		- 0		22		6		143		906				3/14/07 19:00		319		359		906

		3		14		21		3/14/07 20:00		279		- 0		73		6		136		222		- 0		20		6		142		884				3/14/07 20:00		299		364		884

		3		14		22		3/14/07 21:00		350		- 0		76		5		154		230		- 0		21		6		144		987				3/14/07 21:00		371		374		987

		3		14		23		3/14/07 22:00		261		- 0		68		5		132		219		- 0		18		6		142		850				3/14/07 22:00		279		361		850

		3		14		24		3/14/07 23:00		254		- 0		65		4		128		217		- 0		16		6		143		834				3/14/07 23:00		270		360		834

		3		15		1		3/15/07 0:00		288		- 0		63		5		134		238		- 0		14		6		147		894				3/15/07 0:00		302		385		894

		3		15		2		3/15/07 1:00		294		- 0		61		5		131		237		- 0		9		6		147		891				3/15/07 1:00		303		384		891

		3		15		3		3/15/07 2:00		283		- 0		61		5		128		239		- 0		10		6		147		878				3/15/07 2:00		293		386		878

		3		15		4		3/15/07 3:00		300		- 0		61		4		131		240		- 0		11		6		147		900				3/15/07 3:00		311		387		900

		3		15		5		3/15/07 4:00		307		- 0		63		3		133		239		- 0		14		6		147		913				3/15/07 4:00		321		386		913

		3		15		6		3/15/07 5:00		262		- 0		60		4		118		222		- 0		13		6		142		827				3/15/07 5:00		275		364		827

		3		15		7		3/15/07 6:00		308		- 0		62		9		132		226		- 0		18		1		140		896				3/15/07 6:00		326		366		896

		3		15		8		3/15/07 7:00		355		- 0		77		12		161		240		- 0		15		- 0		143		1,003				3/15/07 7:00		370		383		1,003

		3		15		9		3/15/07 8:00		277		- 0		85		15		155		220		- 0		14		- 0		140		907				3/15/07 8:00		291		360		907

		3		15		10		3/15/07 9:00		214		- 0		85		13		149		218		- 0		14		- 0		140		832				3/15/07 9:00		228		358		832

		3		15		11		3/15/07 10:00		214		- 0		86		14		152		221		- 0		9		- 0		141		837				3/15/07 10:00		223		362		837

		3		15		12		3/15/07 11:00		212		- 0		84		13		151		218		- 0		12		- 0		142		832				3/15/07 11:00		224		360		832

		3		15		13		3/15/07 12:00		227		- 0		85		10		158		221		- 0		9		- 0		143		853				3/15/07 12:00		236		364		853

		3		15		14		3/15/07 13:00		216		- 0		86		14		159		219		- 0		12		- 0		142		847				3/15/07 13:00		228		361		847

		3		15		15		3/15/07 14:00		251		- 0		91		13		179		229		- 0		13		- 0		147		923				3/15/07 14:00		264		376		923

		3		15		16		3/15/07 15:00		219		- 0		82		10		151		221		- 0		13		- 0		144		840				3/15/07 15:00		232		365		840

		3		15		17		3/15/07 16:00		234		- 0		75		8		136		214		- 0		20		- 0		141		827				3/15/07 16:00		254		355		827

		3		15		18		3/15/07 17:00		340		- 0		74		6		149		233		- 0		17		1		142		962				3/15/07 17:00		357		375		962

		3		15		19		3/15/07 18:00		364		- 0		74		6		152		235		- 0		19		5		143		999				3/15/07 18:00		383		378		999

		3		15		20		3/15/07 19:00		355		- 0		75		6		151		240		- 0		19		6		143		995				3/15/07 19:00		374		383		995

		3		15		21		3/15/07 20:00		303		- 0		69		5		138		230		- 0		16		6		142		909				3/15/07 20:00		319		372		909

		3		15		22		3/15/07 21:00		253		- 0		64		5		123		218		- 0		15		6		140		825				3/15/07 21:00		268		358		825

		3		15		23		3/15/07 22:00		278		- 0		64		5		133		231		- 0		13		6		145		875				3/15/07 22:00		291		376		875

		3		15		24		3/15/07 23:00		277		- 0		61		4		133		236		- 0		10		6		147		876				3/15/07 23:00		287		383		876

		3		16		1		3/16/07 0:00		323		- 0		63		5		130		236		- 0		13		6		146		922				3/16/07 0:00		336		382		922

		3		16		2		3/16/07 1:00		324		- 0		62		4		126		233		- 0		15		6		145		915				3/16/07 1:00		339		378		915

		3		16		3		3/16/07 2:00		304		- 0		61		4		118		232		- 0		16		6		145		886				3/16/07 2:00		320		377		886

		3		16		4		3/16/07 3:00		317		- 0		61		4		119		234		- 0		18		6		144		903				3/16/07 3:00		335		378		903

		3		16		5		3/16/07 4:00		290		- 0		59		4		118		233		- 0		20		6		145		874				3/16/07 4:00		310		378		874

		3		16		6		3/16/07 5:00		278		- 0		58		4		107		217		- 0		18		6		139		826				3/16/07 5:00		296		356		826

		3		16		7		3/16/07 6:00		341		- 0		63		8		128		222		- 0		25		1		140		928				3/16/07 6:00		366		362		928

		3		16		8		3/16/07 7:00		330		- 0		75		11		141		221		- 0		21		- 0		142		941				3/16/07 7:00		351		363		941

		3		16		9		3/16/07 8:00		270		- 0		83		13		147		219		- 0		19		- 0		141		892				3/16/07 8:00		289		360		892

		3		16		10		3/16/07 9:00		251		- 0		85		13		144		213		- 0		13		- 0		141		860				3/16/07 9:00		264		354		860

		3		16		11		3/16/07 10:00		236		- 0		85		14		143		210		- 0		13		- 0		140		841				3/16/07 10:00		249		350		841

		3		16		12		3/16/07 11:00		226		- 0		83		12		138		210		- 0		13		- 0		140		821				3/16/07 11:00		239		350		821

		3		16		13		3/16/07 12:00		211		- 0		82		11		138		213		- 0		13		- 0		142		810				3/16/07 12:00		224		355		810

		3		16		14		3/16/07 13:00		213		- 0		85		14		146		218		- 0		12		- 0		143		831				3/16/07 13:00		225		361		831

		3		16		15		3/16/07 14:00		217		- 0		85		12		147		222		- 0		12		- 0		144		839				3/16/07 14:00		229		366		839

		3		16		16		3/16/07 15:00		212		- 0		80		10		139		218		- 0		18		- 0		143		820				3/16/07 15:00		230		361		820

		3		16		17		3/16/07 16:00		257		- 0		75		8		131		218		- 0		18		- 0		140		847				3/16/07 16:00		275		358		847

		3		16		18		3/16/07 17:00		310		- 0		72		5		133		220		- 0		16		1		140		897				3/16/07 17:00		326		360		897

		3		16		19		3/16/07 18:00		306		- 0		71		6		126		219		- 0		20		5		141		895				3/16/07 18:00		326		360		895

		3		16		20		3/16/07 19:00		294		- 0		70		6		122		222		- 0		20		6		140		881				3/16/07 19:00		314		362		881

		3		16		21		3/16/07 20:00		342		- 0		72		5		136		231		- 0		16		6		142		949				3/16/07 20:00		358		373		949

		3		16		22		3/16/07 21:00		292		- 0		65		5		121		224		- 0		22		6		139		875				3/16/07 21:00		314		363		875

		3		16		23		3/16/07 22:00		244		- 0		61		4		110		219		- 0		14		6		139		797				3/16/07 22:00		258		358		797

		3		16		24		3/16/07 23:00		291		- 0		61		4		122		235		- 0		14		6		144		878				3/16/07 23:00		305		379		878

		3		17		1		3/17/07 0:00		335		- 0		54		5		104		236		- 0		15		6		146		901				3/17/07 0:00		350		382		901

		3		17		2		3/17/07 1:00		333		- 0		52		5		101		232		- 0		19		6		147		894				3/17/07 1:00		352		379		894

		3		17		3		3/17/07 2:00		324		- 0		53		5		100		234		- 0		16		6		147		884				3/17/07 2:00		340		381		884

		3		17		4		3/17/07 3:00		353		- 0		52		4		100		235		- 0		20		6		146		916				3/17/07 3:00		373		381		916

		3		17		5		3/17/07 4:00		338		- 0		52		4		99		232		- 0		21		6		145		897				3/17/07 4:00		359		377		897

		3		17		6		3/17/07 5:00		312		- 0		48		4		91		218		- 0		21		6		140		841				3/17/07 5:00		333		358		841

		3		17		7		3/17/07 6:00		426		- 0		56		8		114		229		- 0		22		1		142		998				3/17/07 6:00		448		371		998

		3		17		8		3/17/07 7:00		389		- 0		67		12		130		233		- 0		28		- 0		140		999				3/17/07 7:00		417		373		999

		3		17		9		3/17/07 8:00		303		- 0		76		14		128		214		- 0		22		- 0		140		899				3/17/07 8:00		325		354		899

		3		17		10		3/17/07 9:00		248		- 0		78		13		123		207		- 0		17		- 0		138		823				3/17/07 9:00		265		345		823

		3		17		11		3/17/07 10:00		252		- 0		79		14		127		207		- 0		16		- 0		139		834				3/17/07 10:00		268		346		834

		3		17		12		3/17/07 11:00		257		- 0		78		13		132		213		- 0		21		- 0		142		856				3/17/07 11:00		278		355		856

		3		17		13		3/17/07 12:00		255		- 0		76		11		131		218		- 0		15		- 0		143		849				3/17/07 12:00		270		361		849

		3		17		14		3/17/07 13:00		274		- 0		81		14		147		228		- 0		19		- 0		145		908				3/17/07 13:00		293		373		908

		3		17		15		3/17/07 14:00		281		- 0		80		12		148		231		- 0		20		- 0		145		918				3/17/07 14:00		301		376		918

		3		17		16		3/17/07 15:00		283		- 0		78		10		138		228		- 0		20		- 0		145		903				3/17/07 15:00		303		373		903

		3		17		17		3/17/07 16:00		244		- 0		68		7		113		216		- 0		27		- 0		140		813				3/17/07 16:00		271		356		813

		3		17		18		3/17/07 17:00		319		- 0		66		5		112		217		- 0		22		1		135		876				3/17/07 17:00		341		352		876

		3		17		19		3/17/07 18:00		392		- 0		73		6		123		233		- 0		28		5		142		1,002				3/17/07 18:00		420		375		1,002

		3		17		20		3/17/07 19:00		382		- 0		71		6		125		230		- 0		29		6		142		991				3/17/07 19:00		411		372		991

		3		17		21		3/17/07 20:00		328		- 0		64		5		110		224		- 0		26		6		140		904				3/17/07 20:00		354		364		904

		3		17		22		3/17/07 21:00		283		- 0		55		5		97		220		- 0		24		6		140		831				3/17/07 21:00		307		360		831

		3		17		23		3/17/07 22:00		280		- 0		52		4		95		220		- 0		17		6		142		816				3/17/07 22:00		297		362		816

		3		17		24		3/17/07 23:00		342		- 0		53		4		107		237		- 0		20		6		145		915				3/17/07 23:00		362		382		915

		3		18		1		3/18/07 0:00		355		- 0		54		5		111		232		- 0		15		6		146		923				3/18/07 0:00		370		378		923

		3		18		2		3/18/07 1:00		328		- 0		53		5		108		237		- 0		18		6		146		902				3/18/07 1:00		346		383		902

		3		18		3		3/18/07 2:00		319		- 0		53		5		106		236		- 0		14		6		146		886				3/18/07 2:00		333		382		886

		3		18		4		3/18/07 3:00		308		- 0		52		4		102		233		- 0		20		6		146		870				3/18/07 3:00		328		379		870

		3		18		5		3/18/07 4:00		342		- 0		51		4		101		228		- 0		16		6		144		892				3/18/07 4:00		358		372		892

		3		18		6		3/18/07 5:00		304		- 0		49		5		95		215		- 0		18		6		141		832				3/18/07 5:00		322		356		832

		3		18		7		3/18/07 6:00		331		- 0		53		8		104		213		- 0		20		1		139		870				3/18/07 6:00		351		352		870

		3		18		8		3/18/07 7:00		402		- 0		68		12		134		229		- 0		18		- 0		142		1,004				3/18/07 7:00		420		371		1,004

		3		18		9		3/18/07 8:00		375		- 0		79		14		142		233		- 0		18		- 0		142		1,003				3/18/07 8:00		393		375		1,003

		3		18		10		3/18/07 9:00		278		- 0		78		13		130		219		- 0		20		- 0		140		878				3/18/07 9:00		298		359		878

		3		18		11		3/18/07 10:00		241		- 0		77		14		126		208		- 0		17		- 0		139		822				3/18/07 10:00		258		347		822

		3		18		12		3/18/07 11:00		247		- 0		77		13		127		219		- 0		17		- 0		141		840				3/18/07 11:00		264		360		840

		3		18		13		3/18/07 12:00		234		- 0		76		10		125		220		- 0		13		- 0		142		821				3/18/07 12:00		247		362		821

		3		18		14		3/18/07 13:00		282		- 0		81		11		144		227		- 0		17		- 0		145		907				3/18/07 13:00		299		372		907

		3		18		15		3/18/07 14:00		262		- 0		78		11		132		222		- 0		18		- 0		144		866				3/18/07 14:00		280		366		866

		3		18		16		3/18/07 15:00		263		- 0		71		8		124		222		- 0		17		- 0		144		848				3/18/07 15:00		280		366		848

		3		18		17		3/18/07 16:00		264		- 0		66		7		115		217		- 0		23		- 0		142		834				3/18/07 16:00		287		359		834

		3		18		18		3/18/07 17:00		297		- 0		62		5		108		221		- 0		24		1		140		857				3/18/07 17:00		321		361		857

		3		18		19		3/18/07 18:00		354		- 0		67		5		116		230		- 0		24		5		141		942				3/18/07 18:00		378		371		942

		3		18		20		3/18/07 19:00		330		- 0		67		5		110		225		- 0		23		6		140		906				3/18/07 19:00		353		365		906

		3		18		21		3/18/07 20:00		305		- 0		62		5		101		216		- 0		22		6		140		857				3/18/07 20:00		327		356		857

		3		18		22		3/18/07 21:00		293		- 0		57		4		96		218		- 0		23		6		141		840				3/18/07 21:00		316		359		840

		3		18		23		3/18/07 22:00		346		- 0		56		4		104		230		- 0		16		6		146		908				3/18/07 22:00		362		376		908

		3		18		24		3/18/07 23:00		319		- 0		54		3		97		229		- 0		15		6		146		870				3/18/07 23:00		334		375		870

		3		19		1		3/19/07 0:00		270		- 0		68		3		132		223		- 0		9		6		141		853				3/19/07 0:00		279		364		853

		3		19		2		3/19/07 1:00		269		- 0		69		3		130		219		- 0		9		6		142		846				3/19/07 1:00		278		361		846

		3		19		3		3/19/07 2:00		291		- 0		69		3		136		222		- 0		9		6		142		879				3/19/07 2:00		300		364		879

		3		19		4		3/19/07 3:00		276		- 0		67		3		131		222		- 0		11		6		142		857				3/19/07 3:00		287		364		857

		3		19		5		3/19/07 4:00		260		- 0		65		3		123		217		- 0		6		6		141		820				3/19/07 4:00		266		358		820

		3		19		6		3/19/07 5:00		281		- 0		63		3		124		215		- 0		9		6		139		839				3/19/07 5:00		290		354		839

		3		19		7		3/19/07 6:00		275		- 0		62		3		126		217		- 0		10		1		138		834				3/19/07 6:00		285		355		834

		3		19		8		3/19/07 7:00		296		- 0		67		3		132		216		- 0		16		- 0		138		868				3/19/07 7:00		312		354		868

		3		19		9		3/19/07 8:00		309		- 0		74		4		139		219		- 0		15		- 0		139		898				3/19/07 8:00		324		358		898

		3		19		10		3/19/07 9:00		310		- 0		78		4		141		224		- 0		15		- 0		138		911				3/19/07 9:00		325		362		911

		3		19		11		3/19/07 10:00		338		- 0		79		4		148		230		- 0		16		- 0		140		954				3/19/07 10:00		354		370		954

		3		19		12		3/19/07 11:00		310		- 0		76		4		142		223		- 0		16		- 0		139		910				3/19/07 11:00		326		362		910

		3		19		13		3/19/07 12:00		305		- 0		77		4		140		224		- 0		17		- 0		139		906				3/19/07 12:00		322		363		906

		3		19		14		3/19/07 13:00		246		- 0		73		4		131		219		- 0		15		- 0		138		826				3/19/07 13:00		261		357		826

		3		19		15		3/19/07 14:00		237		- 0		71		3		128		219		- 0		16		- 0		138		813				3/19/07 14:00		253		357		813

		3		19		16		3/19/07 15:00		253		- 0		74		3		134		219		- 0		18		- 0		139		841				3/19/07 15:00		271		358		841

		3		19		17		3/19/07 16:00		277		- 0		72		3		131		215		- 0		18		- 0		138		854				3/19/07 16:00		295		353		854

		3		19		18		3/19/07 17:00		326		- 0		69		3		132		220		- 0		23		1		138		911				3/19/07 17:00		349		358		911

		3		19		19		3/19/07 18:00		375		- 0		77		3		145		232		- 0		20		5		140		998				3/19/07 18:00		395		372		998

		3		19		20		3/19/07 19:00		385		- 0		76		4		142		231		- 0		21		6		141		1,005				3/19/07 19:00		406		372		1,005

		3		19		21		3/19/07 20:00		321		- 0		75		3		132		221		- 0		21		6		138		917				3/19/07 20:00		342		359		917

		3		19		22		3/19/07 21:00		299		- 0		73		3		127		224		- 0		20		6		138		891				3/19/07 21:00		319		362		891

		3		19		23		3/19/07 22:00		216		- 0		66		3		109		211		- 0		20		6		136		768				3/19/07 22:00		236		347		768

		3		19		24		3/19/07 23:00		263		- 0		69		3		123		217		- 0		15		6		140		836				3/19/07 23:00		278		357		836

		3		20		1		3/20/07 0:00		277		- 0		72		3		147		230		- 0		17		6		146		898				3/20/07 0:00		294		376		898

		3		20		2		3/20/07 1:00		268		- 0		72		3		144		229		- 0		5		6		146		873				3/20/07 1:00		273		375		873

		3		20		3		3/20/07 2:00		285		- 0		73		3		146		230		- 0		7		6		146		896				3/20/07 2:00		292		376		896

		3		20		4		3/20/07 3:00		291		- 0		71		3		145		230		- 0		4		6		146		896				3/20/07 3:00		295		376		896

		3		20		5		3/20/07 4:00		298		- 0		71		3		148		231		- 0		8		6		146		912				3/20/07 4:00		306		377		912

		3		20		6		3/20/07 5:00		320		- 0		70		3		150		226		- 0		7		5		145		926				3/20/07 5:00		327		371		926

		3		20		7		3/20/07 6:00		304		- 0		65		3		142		223		- 0		7		1		144		889				3/20/07 6:00		311		367		889

		3		20		8		3/20/07 7:00		261		- 0		65		3		132		209		- 0		13		- 0		141		823				3/20/07 7:00		274		350		823

		3		20		9		3/20/07 8:00		284		- 0		70		3		137		214		- 0		13		- 0		139		860				3/20/07 8:00		297		353		860

		3		20		10		3/20/07 9:00		250		- 0		70		3		132		213		- 0		14		- 0		139		822				3/20/07 9:00		264		352		822

		3		20		11		3/20/07 10:00		270		- 0		73		3		139		217		- 0		12		- 0		139		854				3/20/07 10:00		282		356		854

		3		20		12		3/20/07 11:00		255		- 0		71		3		136		210		- 0		14		- 0		139		828				3/20/07 11:00		269		349		828

		3		20		13		3/20/07 12:00		248		- 0		72		3		140		214		- 0		13		- 0		141		830				3/20/07 12:00		261		355		830

		3		20		14		3/20/07 13:00		233		- 0		71		3		138		215		- 0		14		- 0		141		814				3/20/07 13:00		247		356		814

		3		20		15		3/20/07 14:00		253		- 0		72		2		149		228		- 0		10		- 0		143		859				3/20/07 14:00		263		371		859

		3		20		16		3/20/07 15:00		282		- 0		76		3		161		232		- 0		14		- 0		145		913				3/20/07 15:00		296		377		913

		3		20		17		3/20/07 16:00		253		- 0		69		2		137		219		- 0		14		- 0		140		835				3/20/07 16:00		267		359		835

		3		20		18		3/20/07 17:00		275		- 0		69		2		135		216		- 0		16		1		139		853				3/20/07 17:00		291		355		853

		3		20		19		3/20/07 18:00		361		- 0		76		3		154		230		- 0		20		5		141		991				3/20/07 18:00		381		371		991

		3		20		20		3/20/07 19:00		345		- 0		76		3		150		227		- 0		17		6		141		966				3/20/07 19:00		362		368		966

		3		20		21		3/20/07 20:00		313		- 0		75		3		141		218		- 0		17		6		140		912				3/20/07 20:00		330		358		912

		3		20		22		3/20/07 21:00		249		- 0		72		3		130		217		- 0		18		6		140		834				3/20/07 21:00		267		357		834

		3		20		23		3/20/07 22:00		249		- 0		70		3		135		223		- 0		13		6		141		840				3/20/07 22:00		262		364		840

		3		20		24		3/20/07 23:00		269		- 0		72		3		150		232		- 0		9		6		144		885				3/20/07 23:00		278		376		885

		3		21		1		3/21/07 0:00		281		- 0		62		3		126		229		- 0		7		6		148		863				3/21/07 0:00		288		377		863

		3		21		2		3/21/07 1:00		269		- 0		61		3		126		233		- 0		11		6		150		859				3/21/07 1:00		280		383		859

		3		21		3		3/21/07 2:00		274		- 0		60		3		126		230		- 0		8		6		150		857				3/21/07 2:00		282		380		857

		3		21		4		3/21/07 3:00		270		- 0		61		3		124		231		- 0		8		6		148		851				3/21/07 3:00		278		379		851

		3		21		5		3/21/07 4:00		314		- 0		61		3		130		233		- 0		9		6		147		905				3/21/07 4:00		323		380		905

		3		21		6		3/21/07 5:00		281		- 0		58		4		126		228		- 0		13		5		146		862				3/21/07 5:00		294		374		862

		3		21		7		3/21/07 6:00		257		- 0		58		8		124		217		- 0		17		1		141		822				3/21/07 6:00		274		358		822

		3		21		8		3/21/07 7:00		349		- 0		76		12		165		232		- 0		16		- 0		144		994				3/21/07 7:00		365		376		994

		3		21		9		3/21/07 8:00		272		- 0		84		14		162		225		- 0		17		- 0		142		916				3/21/07 8:00		289		367		916

		3		21		10		3/21/07 9:00		222		- 0		89		13		157		219		- 0		15		- 0		141		854				3/21/07 9:00		237		360		854

		3		21		11		3/21/07 10:00		203		- 0		84		14		149		209		- 0		14		- 0		137		810				3/21/07 10:00		217		346		810

		3		21		12		3/21/07 11:00		210		- 0		85		12		153		212		- 0		12		- 0		141		824				3/21/07 11:00		222		353		824

		3		21		13		3/21/07 12:00		207		- 0		85		12		154		219		- 0		12		- 0		143		831				3/21/07 12:00		219		362		831

		3		21		14		3/21/07 13:00		219		- 0		90		13		175		226		- 0		12		- 0		146		881				3/21/07 13:00		231		372		881

		3		21		15		3/21/07 14:00		231		- 0		90		12		179		233		- 0		10		- 0		146		902				3/21/07 14:00		241		379		902

		3		21		16		3/21/07 15:00		209		- 0		84		10		160		223		- 0		12		- 0		145		844				3/21/07 15:00		221		368		844

		3		21		17		3/21/07 16:00		218		- 0		76		7		140		216		- 0		22		- 0		142		821				3/21/07 16:00		240		358		821

		3		21		18		3/21/07 17:00		234		- 0		70		5		139		219		- 0		18		1		142		827				3/21/07 17:00		252		361		827

		3		21		19		3/21/07 18:00		347		- 0		73		6		156		238		- 0		22		5		140		987				3/21/07 18:00		369		378		987

		3		21		20		3/21/07 19:00		298		- 0		69		6		144		228		- 0		18		6		142		911				3/21/07 19:00		316		370		911

		3		21		21		3/21/07 20:00		301		- 0		69		6		143		227		- 0		22		6		142		916				3/21/07 20:00		323		369		916

		3		21		22		3/21/07 21:00		251		- 0		64		5		133		220		- 0		18		6		143		841				3/21/07 21:00		269		363		841

		3		21		23		3/21/07 22:00		289		- 0		66		5		150		237		- 0		11		6		148		913				3/21/07 22:00		300		385		913

		3		21		24		3/21/07 23:00		268		- 0		61		4		140		234		- 0		11		6		148		872				3/21/07 23:00		279		382		872

		3		22		1		3/22/07 0:00		253		- 0		57		5		133		241		- 0		6		6		148		849				3/22/07 0:00		259		389		849

		3		22		2		3/22/07 1:00		243		- 0		57		5		124		232		- 0		9		6		147		822				3/22/07 1:00		252		379		822

		3		22		3		3/22/07 2:00		265		- 0		57		4		125		237		- 0		8		6		148		850				3/22/07 2:00		273		385		850

		3		22		4		3/22/07 3:00		267		- 0		57		4		124		235		- 0		9		6		147		849				3/22/07 3:00		276		382		849

		3		22		5		3/22/07 4:00		272		- 0		56		3		125		236		- 0		9		6		147		855				3/22/07 4:00		281		383		855

		3		22		6		3/22/07 5:00		312		- 0		57		4		128		233		- 0		12		5		145		896				3/22/07 5:00		324		378		896

		3		22		7		3/22/07 6:00		273		- 0		57		8		124		215		- 0		14		1		140		832				3/22/07 6:00		287		355		832

		3		22		8		3/22/07 7:00		240		- 0		68		12		136		215		- 0		15		- 0		139		824				3/22/07 7:00		255		354		824

		3		22		9		3/22/07 8:00		225		- 0		80		14		147		215		- 0		13		- 0		140		835				3/22/07 8:00		238		355		835

		3		22		10		3/22/07 9:00		211		- 0		84		14		152		218		- 0		13		- 0		142		833				3/22/07 9:00		224		360		833

		3		22		11		3/22/07 10:00		206		- 0		83		14		153		217		- 0		12		- 0		142		827				3/22/07 10:00		218		359		827

		3		22		12		3/22/07 11:00		248		- 0		87		14		171		228		- 0		10		- 0		146		904				3/22/07 11:00		258		374		904

		3		22		13		3/22/07 12:00		238		- 0		88		12		175		233		- 0		10		- 0		145		901				3/22/07 12:00		248		378		901

		3		22		14		3/22/07 13:00		237		- 0		90		14		180		229		- 0		14		- 0		147		911				3/22/07 13:00		251		376		911

		3		22		15		3/22/07 14:00		242		- 0		89		13		180		232		- 0		13		- 0		147		916				3/22/07 14:00		255		379		916

		3		22		16		3/22/07 15:00		246		- 0		85		11		171		231		- 0		14		- 0		146		904				3/22/07 15:00		260		377		904

		3		22		17		3/22/07 16:00		245		- 0		76		7		153		229		- 0		16		- 0		145		871				3/22/07 16:00		261		374		871

		3		22		18		3/22/07 17:00		249		- 0		65		5		132		217		- 0		16		1		140		825				3/22/07 17:00		265		357		825

		3		22		19		3/22/07 18:00		297		- 0		65		6		138		229		- 0		20		5		141		903				3/22/07 18:00		317		370		903

		3		22		20		3/22/07 19:00		287		- 0		67		6		136		225		- 0		19		6		140		887				3/22/07 19:00		306		365		887

		3		22		21		3/22/07 20:00		312		- 0		66		5		134		220		- 0		18		6		141		903				3/22/07 20:00		330		361		903

		3		22		22		3/22/07 21:00		253		- 0		61		5		126		222		- 0		19		6		142		835				3/22/07 21:00		272		364		835

		3		22		23		3/22/07 22:00		306		- 0		63		5		143		238		- 0		15		6		146		922				3/22/07 22:00		321		384		922

		3		22		24		3/22/07 23:00		267		- 0		57		4		136		235		- 0		9		6		148		862				3/22/07 23:00		276		383		862

		3		23		1		3/23/07 0:00		278		- 0		58		4		122		221		- 0		14		6		147		852				3/23/07 0:00		292		368		852

		3		23		2		3/23/07 1:00		274		- 0		58		5		120		230		- 0		12		6		147		852				3/23/07 1:00		286		377		852

		3		23		3		3/23/07 2:00		292		- 0		58		4		120		231		- 0		15		6		147		872				3/23/07 2:00		307		378		872

		3		23		4		3/23/07 3:00		278		- 0		55		4		115		227		- 0		17		6		147		849				3/23/07 3:00		295		374		849

		3		23		5		3/23/07 4:00		327		- 0		58		3		121		232		- 0		15		6		146		909				3/23/07 4:00		342		378		909

		3		23		6		3/23/07 5:00		275		- 0		53		3		109		217		- 0		17		5		143		823				3/23/07 5:00		292		360		823

		3		23		7		3/23/07 6:00		266		- 0		56		8		115		213		- 0		18		1		139		815				3/23/07 6:00		284		352		815

		3		23		8		3/23/07 7:00		291		- 0		70		12		141		216		- 0		21		- 0		141		891				3/23/07 7:00		312		357		891

		3		23		9		3/23/07 8:00		253		- 0		80		13		142		216		- 0		16		- 0		140		861				3/23/07 8:00		269		356		861

		3		23		10		3/23/07 9:00		215		- 0		82		13		139		210		- 0		16		- 0		140		815				3/23/07 9:00		231		350		815

		3		23		11		3/23/07 10:00		223		- 0		85		14		147		212		- 0		17		- 0		141		838				3/23/07 10:00		240		353		838

		3		23		12		3/23/07 11:00		208		- 0		83		13		142		212		- 0		15		- 0		142		814				3/23/07 11:00		223		354		814

		3		23		13		3/23/07 12:00		228		- 0		81		12		147		225		- 0		13		- 0		143		849				3/23/07 12:00		241		368		849

		3		23		14		3/23/07 13:00		225		- 0		82		14		150		220		- 0		11		- 0		140		841				3/23/07 13:00		236		360		841

		3		23		15		3/23/07 14:00		254		- 0		86		13		165		233		- 0		15		- 0		144		909				3/23/07 14:00		269		377		909

		3		23		16		3/23/07 15:00		212		- 0		77		10		137		221		- 0		18		- 0		139		814				3/23/07 15:00		230		360		814

		3		23		17		3/23/07 16:00		233		- 0		73		7		124		211		- 0		18		- 0		138		804				3/23/07 16:00		251		349		804

		3		23		18		3/23/07 17:00		335		- 0		70		5		137		227		- 0		24		1		141		939				3/23/07 17:00		359		368		939

		3		23		19		3/23/07 18:00		310		- 0		70		6		124		226		- 0		23		5		141		906				3/23/07 18:00		333		367		906

		3		23		20		3/23/07 19:00		317		- 0		70		6		131		227		- 0		22		6		140		920				3/23/07 19:00		339		367		920

		3		23		21		3/23/07 20:00		284		- 0		65		5		122		225		- 0		18		6		138		865				3/23/07 20:00		302		363		865

		3		23		22		3/23/07 21:00		270		- 0		63		5		118		219		- 0		18		6		136		836				3/23/07 21:00		288		355		836

		3		23		23		3/23/07 22:00		264		- 0		60		4		116		225		- 0		17		6		143		835				3/23/07 22:00		281		368		835

		3		23		24		3/23/07 23:00		287		- 0		59		4		118		228		- 0		16		6		144		862				3/23/07 23:00		303		372		862

		3		24		1		3/24/07 0:00		290		- 0		46		5		100		236		- 0		18		6		149		850				3/24/07 0:00		308		385		850

		3		24		2		3/24/07 1:00		302		- 0		47		5		101		236		- 0		15		6		149		861				3/24/07 1:00		317		385		861

		3		24		3		3/24/07 2:00		298		- 0		46		5		98		238		- 0		15		6		149		854				3/24/07 2:00		313		387		854

		3		24		4		3/24/07 3:00		284		- 0		47		4		92		230		- 0		16		6		147		826				3/24/07 3:00		300		377		826

		3		24		5		3/24/07 4:00		292		- 0		47		4		93		232		- 0		16		6		148		837				3/24/07 4:00		308		380		837

		3		24		6		3/24/07 5:00		302		- 0		46		4		97		230		- 0		18		5		146		849				3/24/07 5:00		320		376		849

		3		24		7		3/24/07 6:00		295		- 0		45		8		94		219		- 0		24		1		140		826				3/24/07 6:00		319		359		826

		3		24		8		3/24/07 7:00		276		- 0		59		12		109		217		- 0		17		- 0		140		829				3/24/07 7:00		293		357		829

		3		24		9		3/24/07 8:00		247		- 0		68		15		117		215		- 0		17		- 0		138		817				3/24/07 8:00		264		353		817

		3		24		10		3/24/07 9:00		242		- 0		72		13		119		215		- 0		17		- 0		140		818				3/24/07 9:00		259		355		818

		3		24		11		3/24/07 10:00		287		- 0		76		15		138		229		- 0		20		- 0		144		908				3/24/07 10:00		307		373		908

		3		24		12		3/24/07 11:00		273		- 0		76		13		137		231		- 0		17		- 0		146		893				3/24/07 11:00		290		377		893

		3		24		13		3/24/07 12:00		263		- 0		72		11		133		232		- 0		17		- 0		145		873				3/24/07 12:00		280		377		873

		3		24		14		3/24/07 13:00		259		- 0		76		14		139		228		- 0		17		- 0		145		877				3/24/07 13:00		276		373		877

		3		24		15		3/24/07 14:00		248		- 0		75		13		139		229		- 0		15		- 0		146		865				3/24/07 14:00		263		375		865

		3		24		16		3/24/07 15:00		240		- 0		72		10		134		233		- 0		17		- 0		146		852				3/24/07 15:00		257		379		852

		3		24		17		3/24/07 16:00		297		- 0		68		7		129		238		- 0		18		- 0		146		904				3/24/07 16:00		315		384		904

		3		24		18		3/24/07 17:00		276		- 0		60		5		107		223		- 0		24		1		144		840				3/24/07 17:00		300		367		840

		3		24		19		3/24/07 18:00		270		- 0		63		6		101		221		- 0		22		5		140		828				3/24/07 18:00		292		361		828

		3		24		20		3/24/07 19:00		278		- 0		62		6		103		225		- 0		23		6		143		846				3/24/07 19:00		301		368		846

		3		24		21		3/24/07 20:00		286		- 0		61		6		104		226		- 0		20		6		141		851				3/24/07 20:00		306		367		851

		3		24		22		3/24/07 21:00		309		- 0		54		5		103		232		- 0		24		6		146		881				3/24/07 21:00		333		378		881

		3		24		23		3/24/07 22:00		305		- 0		52		5		101		230		- 0		20		6		147		866				3/24/07 22:00		325		377		866

		3		24		24		3/24/07 23:00		303		- 0		51		4		96		232		- 0		19		6		149		860				3/24/07 23:00		322		381		860

		3		25		1		3/25/07 0:00		315		- 0		52		4		100		231		- 0		18		6		147		873				3/25/07 0:00		333		378		873

		3		25		2		3/25/07 1:00		298		- 0		52		4		97		230		- 0		21		6		146		855				3/25/07 1:00		319		376		855

		3		25		3		3/25/07 2:00		290		- 0		51		4		93		228		- 0		19		6		146		838				3/25/07 2:00		309		374		838

		3		25		4		3/25/07 3:00		336		- 0		52		4		100		236		- 0		20		6		147		901				3/25/07 3:00		356		383		901

		3		25		5		3/25/07 4:00		255		- 0		49		3		88		219		- 0		25		6		144		789				3/25/07 4:00		280		363		789

		3		25		6		3/25/07 5:00		261		- 0		48		3		88		216		- 0		25		5		142		789				3/25/07 5:00		286		358		789

		3		25		7		3/25/07 6:00		229		- 0		46		6		83		204		- 0		28		1		140		735				3/25/07 6:00		257		344		735

		3		25		8		3/25/07 7:00		242		- 0		51		7		92		208		- 0		27		- 0		141		768				3/25/07 7:00		269		349		768

		3		25		9		3/25/07 8:00		208		- 0		54		9		86		196		- 0		26		- 0		138		716				3/25/07 8:00		234		334		716

		3		25		10		3/25/07 9:00		191		- 0		58		9		85		199		- 0		21		- 0		140		702				3/25/07 9:00		212		339		702

		3		25		11		3/25/07 10:00		182		- 0		58		8		84		198		- 0		17		- 0		140		686				3/25/07 10:00		199		338		686

		3		25		12		3/25/07 11:00		292		- 0		63		9		107		219		- 0		18		- 0		143		851				3/25/07 11:00		310		362		851

		3		25		13		3/25/07 12:00		302		- 0		64		7		114		231		- 0		16		- 0		147		881				3/25/07 12:00		318		378		881

		3		25		14		3/25/07 13:00		291		- 0		63		8		117		237		- 0		13		- 0		146		875				3/25/07 13:00		304		383		875

		3		25		15		3/25/07 14:00		262		- 0		64		8		111		230		- 0		16		- 0		148		839				3/25/07 14:00		278		378		839

		3		25		16		3/25/07 15:00		260		- 0		62		7		109		228		- 0		17		- 0		148		831				3/25/07 15:00		277		376		831

		3		25		17		3/25/07 16:00		294		- 0		59		6		109		233		- 0		19		- 0		148		867				3/25/07 16:00		313		381		867

		3		25		18		3/25/07 17:00		313		- 0		55		5		101		225		- 0		18		1		145		863				3/25/07 17:00		331		370		863

		3		25		19		3/25/07 18:00		314		- 0		60		4		101		222		- 0		22		5		145		872				3/25/07 18:00		336		367		872

		3		25		20		3/25/07 19:00		298		- 0		59		4		97		220		- 0		20		6		144		849				3/25/07 19:00		318		364		849

		3		25		21		3/25/07 20:00		317		- 0		57		4		98		224		- 0		18		6		146		871				3/25/07 20:00		335		370		871

		3		25		22		3/25/07 21:00		250		- 0		49		4		84		214		- 0		18		6		146		771				3/25/07 21:00		268		360		771

		3		25		23		3/25/07 22:00		179		- 0		44		3		70		202		- 0		12		6		141		659				3/25/07 22:00		191		343		659

		3		25		24		3/25/07 23:00		305		- 0		48		3		89		230		- 0		14		6		148		843				3/25/07 23:00		319		378		843

		3		26		1		3/26/07 0:00		274		- 0		66		3		128		222		- 0		5		6		142		846				3/26/07 0:00		279		364		846

		3		26		2		3/26/07 1:00		306		- 0		69		3		138		232		- 0		9		6		145		908				3/26/07 1:00		315		377		908

		3		26		3		3/26/07 2:00		246		- 0		64		3		117		217		- 0		10		6		141		805				3/26/07 2:00		256		358		805

		3		26		4		3/26/07 3:00		275		- 0		65		3		126		221		- 0		8		6		141		846				3/26/07 3:00		283		362		846

		3		26		5		3/26/07 4:00		275		- 0		66		3		122		216		- 0		12		6		134		834				3/26/07 4:00		287		350		834

		3		26		6		3/26/07 5:00		273		- 0		60		3		121		217		- 0		12		5		134		826				3/26/07 5:00		285		351		826

		3		26		7		3/26/07 6:00		286		- 0		59		3		123		215		- 0		12		1		135		833				3/26/07 6:00		298		350		833

		3		26		8		3/26/07 7:00		335		- 0		63		3		133		216		- 0		15		- 0		136		900				3/26/07 7:00		350		352		900

		3		26		9		3/26/07 8:00		391		- 0		73		3		147		225		- 0		18		- 0		137		994				3/26/07 8:00		409		362		994

		3		26		10		3/26/07 9:00		299		- 0		70		4		132		212		- 0		14		- 0		138		870				3/26/07 9:00		313		350		870

		3		26		11		3/26/07 10:00		316		- 0		73		3		137		218		- 0		14		- 0		139		900				3/26/07 10:00		330		357		900

		3		26		12		3/26/07 11:00		262		- 0		70		3		127		213		- 0		10		- 0		138		823				3/26/07 11:00		272		351		823

		3		26		13		3/26/07 12:00		272		- 0		69		3		131		214		- 0		11		- 0		140		840				3/26/07 12:00		283		354		840

		3		26		14		3/26/07 13:00		253		- 0		68		3		128		218		- 0		10		- 0		140		820				3/26/07 13:00		263		358		820

		3		26		15		3/26/07 14:00		292		- 0		72		3		148		230		- 0		10		- 0		144		899				3/26/07 14:00		302		374		899

		3		26		16		3/26/07 15:00		289		- 0		70		3		140		224		- 0		10		- 0		143		879				3/26/07 15:00		299		367		879

		3		26		17		3/26/07 16:00		257		- 0		66		3		126		214		- 0		14		- 0		140		820				3/26/07 16:00		271		354		820

		3		26		18		3/26/07 17:00		287		- 0		62		2		122		211		- 0		15		- 0		139		840				3/26/07 17:00		302		350		840

		3		26		19		3/26/07 18:00		271		- 0		66		3		120		214		- 0		15		5		138		832				3/26/07 18:00		286		352		832

		3		26		20		3/26/07 19:00		257		- 0		65		3		118		210		- 0		17		6		138		815				3/26/07 19:00		274		348		815

		3		26		21		3/26/07 20:00		251		- 0		67		3		118		212		- 0		12		6		140		809				3/26/07 20:00		263		352		809

		3		26		22		3/26/07 21:00		263		- 0		66		3		117		210		- 0		11		6		140		815				3/26/07 21:00		274		350		815

		3		26		23		3/26/07 22:00		258		- 0		66		3		123		220		- 0		14		6		142		832				3/26/07 22:00		272		362		832

		3		26		24		3/26/07 23:00		278		- 0		66		3		126		223		- 0		12		6		143		856				3/26/07 23:00		290		366		856

		3		27		1		3/27/07 0:00		258		- 0		67		3		132		218		- 0		11		6		145		840				3/27/07 0:00		269		363		840

		3		27		2		3/27/07 1:00		251		- 0		68		3		132		214		- 0		7		6		145		826				3/27/07 1:00		258		359		826

		3		27		3		3/27/07 2:00		270		- 0		69		3		139		221		- 0		8		6		145		861				3/27/07 2:00		278		366		861

		3		27		4		3/27/07 3:00		293		- 0		69		3		140		227		- 0		8		6		146		893				3/27/07 3:00		301		373		893

		3		27		5		3/27/07 4:00		277		- 0		69		3		140		222		- 0		6		6		145		867				3/27/07 4:00		283		367		867

		3		27		6		3/27/07 5:00		275		- 0		66		3		132		217		- 0		9		5		143		850				3/27/07 5:00		284		360		850

		3		27		7		3/27/07 6:00		281		- 0		63		3		132		216		- 0		10		1		143		848				3/27/07 6:00		291		359		848

		3		27		8		3/27/07 7:00		282		- 0		62		3		129		210		- 0		13		- 0		140		839				3/27/07 7:00		295		350		839

		3		27		9		3/27/07 8:00		287		- 0		68		3		129		214		- 0		15		- 0		140		855				3/27/07 8:00		302		354		855

		3		27		10		3/27/07 9:00		295		- 0		69		3		132		214		- 0		14		- 0		140		866				3/27/07 9:00		309		354		866

		3		27		11		3/27/07 10:00		261		- 0		67		3		127		212		- 0		13		- 0		140		823				3/27/07 10:00		274		352		823

		3		27		12		3/27/07 11:00		252		- 0		66		3		133		212		- 0		15		- 0		142		823				3/27/07 11:00		267		354		823

		3		27		13		3/27/07 12:00		246		- 0		66		3		130		214		- 0		11		- 0		142		812				3/27/07 12:00		257		356		812

		3		27		14		3/27/07 13:00		276		- 0		67		3		144		227		- 0		11		- 0		145		873				3/27/07 13:00		287		372		873

		3		27		15		3/27/07 14:00		299		- 0		70		3		153		230		- 0		13		- 0		146		914				3/27/07 14:00		312		376		914

		3		27		16		3/27/07 15:00		287		- 0		70		3		153		222		- 0		13		- 0		147		893				3/27/07 15:00		300		369		893

		3		27		17		3/27/07 16:00		268		- 0		68		2		139		219		- 0		15		- 0		143		855				3/27/07 16:00		283		362		855

		3		27		18		3/27/07 17:00		256		- 0		65		2		130		213		- 0		17		- 0		142		825				3/27/07 17:00		273		355		825

		3		27		19		3/27/07 18:00		259		- 0		68		3		129		208		- 0		20		5		140		833				3/27/07 18:00		279		348		833

		3		27		20		3/27/07 19:00		255		- 0		70		3		130		211		- 0		17		6		140		831				3/27/07 19:00		272		351		831

		3		27		21		3/27/07 20:00		246		- 0		70		3		125		208		- 0		18		6		140		815				3/27/07 20:00		264		348		815

		3		27		22		3/27/07 21:00		246		- 0		70		3		125		211		- 0		15		6		139		814				3/27/07 21:00		261		350		814

		3		27		23		3/27/07 22:00		235		- 0		68		3		129		218		- 0		14		6		142		815				3/27/07 22:00		249		360		815

		3		27		24		3/27/07 23:00		273		- 0		71		3		147		227		- 0		15		6		145		888				3/27/07 23:00		288		372		888

		3		28		1		3/28/07 0:00		263		- 0		59		3		122		234		- 0		11		6		151		849				3/28/07 0:00		274		385		849

		3		28		2		3/28/07 1:00		263		- 0		59		3		119		229		- 0		9		6		150		838				3/28/07 1:00		272		379		838

		3		28		3		3/28/07 2:00		281		- 0		61		3		122		229		- 0		10		6		151		862				3/28/07 2:00		291		380		862

		3		28		4		3/28/07 3:00		283		- 0		60		3		123		231		- 0		11		6		150		868				3/28/07 3:00		294		381		868

		3		28		5		3/28/07 4:00		272		- 0		61		3		126		235		- 0		16		6		151		869				3/28/07 4:00		288		386		869

		3		28		6		3/28/07 5:00		299		- 0		61		3		129		230		- 0		14		4		149		889				3/28/07 5:00		313		379		889

		3		28		7		3/28/07 6:00		307		- 0		60		4		135		229		- 0		21		- 0		148		905				3/28/07 6:00		328		377		905

		3		28		8		3/28/07 7:00		263		- 0		59		5		123		214		- 0		18		- 0		145		826				3/28/07 7:00		281		359		826

		3		28		9		3/28/07 8:00		275		- 0		63		6		123		208		- 0		21		- 0		143		838				3/28/07 8:00		296		351		838

		3		28		10		3/28/07 9:00		288		- 0		66		6		125		212		- 0		19		- 0		143		858				3/28/07 9:00		307		355		858

		3		28		11		3/28/07 10:00		264		- 0		65		6		120		207		- 0		15		- 0		143		819				3/28/07 10:00		279		350		819

		3		28		12		3/28/07 11:00		279		- 0		65		6		126		210		- 0		15		- 0		144		844				3/28/07 11:00		294		354		844

		3		28		13		3/28/07 12:00		274		- 0		64		6		125		207		- 0		16		- 0		144		836				3/28/07 12:00		290		351		836

		3		28		14		3/28/07 13:00		275		- 0		67		6		129		211		- 0		15		- 0		146		851				3/28/07 13:00		290		357		851

		3		28		15		3/28/07 14:00		316		- 0		71		6		148		228		- 0		12		- 0		149		931				3/28/07 14:00		328		377		931

		3		28		16		3/28/07 15:00		294		- 0		66		5		134		218		- 0		13		- 0		147		878				3/28/07 15:00		307		365		878

		3		28		17		3/28/07 16:00		278		- 0		60		4		119		210		- 0		18		- 0		143		833				3/28/07 16:00		296		353		833

		3		28		18		3/28/07 17:00		280		- 0		61		4		122		215		- 0		14		- 0		144		840				3/28/07 17:00		294		359		840

		3		28		19		3/28/07 18:00		270		- 0		62		4		116		210		- 0		18		5		142		827				3/28/07 18:00		288		352		827

		3		28		20		3/28/07 19:00		272		- 0		62		4		117		209		- 0		17		6		142		829				3/28/07 19:00		289		351		829

		3		28		21		3/28/07 20:00		274		- 0		62		3		119		209		- 0		19		6		144		836				3/28/07 20:00		293		353		836

		3		28		22		3/28/07 21:00		281		- 0		60		3		122		222		- 0		16		6		147		858				3/28/07 21:00		297		369		858

		3		28		23		3/28/07 22:00		262		- 0		61		3		121		222		- 0		14		6		148		836				3/28/07 22:00		276		370		836

		3		28		24		3/28/07 23:00		271		- 0		63		3		134		235		- 0		11		6		151		873				3/28/07 23:00		282		386		873

		3		29		1		3/29/07 0:00		262		- 0		56		3		121		234		- 0		13		6		144		839				3/29/07 0:00		275		378		839

		3		29		2		3/29/07 1:00		264		- 0		57		3		121		229		- 0		12		6		149		841				3/29/07 1:00		276		378		841

		3		29		3		3/29/07 2:00		266		- 0		57		3		125		236		- 0		10		6		148		852				3/29/07 2:00		276		384		852

		3		29		4		3/29/07 3:00		266		- 0		57		4		124		237		- 0		14		6		149		856				3/29/07 3:00		280		386		856

		3		29		5		3/29/07 4:00		285		- 0		58		4		125		233		- 0		12		6		148		869				3/29/07 4:00		297		381		869

		3		29		6		3/29/07 5:00		305		- 0		59		4		131		230		- 0		16		4		144		893				3/29/07 5:00		321		374		893

		3		29		7		3/29/07 6:00		271		- 0		57		8		125		220		- 0		19		- 0		140		840				3/29/07 6:00		290		360		840

		3		29		8		3/29/07 7:00		246		- 0		66		11		135		219		- 0		14		- 0		138		830				3/29/07 7:00		260		357		830

		3		29		9		3/29/07 8:00		223		- 0		77		15		145		222		- 0		14		- 0		133		829				3/29/07 8:00		237		355		829

		3		29		10		3/29/07 9:00		204		- 0		81		14		146		215		- 0		15		- 0		143		818				3/29/07 9:00		219		358		818

		3		29		11		3/29/07 10:00		230		- 0		85		15		165		228		- 0		12		- 0		146		881				3/29/07 10:00		242		374		881

		3		29		12		3/29/07 11:00		252		- 0		87		13		174		231		- 0		11		- 0		147		917				3/29/07 11:00		263		378		917

		3		29		13		3/29/07 12:00		233		- 0		84		12		168		231		- 0		12		- 0		148		887				3/29/07 12:00		245		379		887

		3		29		14		3/29/07 13:00		199		- 0		83		14		168		230		- 0		6		- 0		146		847				3/29/07 13:00		205		376		847

		3		29		15		3/29/07 14:00		203		- 0		84		13		171		235		- 0		9		- 0		148		863				3/29/07 14:00		212		383		863

		3		29		16		3/29/07 15:00		196		- 0		81		10		165		236		- 0		8		- 0		149		844				3/29/07 15:00		204		385		844

		3		29		17		3/29/07 16:00		259		- 0		79		8		160		239		- 0		10		- 0		148		902				3/29/07 16:00		269		387		902

		3		29		18		3/29/07 17:00		258		- 0		63		5		134		222		- 0		14		- 0		142		839				3/29/07 17:00		272		364		839

		3		29		19		3/29/07 18:00		252		- 0		62		6		130		221		- 0		18		5		141		834				3/29/07 18:00		270		362		834

		3		29		20		3/29/07 19:00		249		- 0		61		6		129		224		- 0		17		6		142		835				3/29/07 19:00		266		366		835

		3		29		21		3/29/07 20:00		280		- 0		64		6		144		237		- 0		15		6		141		893				3/29/07 20:00		295		378		893

		3		29		22		3/29/07 21:00		263		- 0		61		6		142		240		- 0		17		6		145		879				3/29/07 21:00		280		385		879

		3		29		23		3/29/07 22:00		196		- 0		53		4		118		222		- 0		10		6		145		755				3/29/07 22:00		206		367		755

		3		29		24		3/29/07 23:00		257		- 0		56		4		145		245		- 0		8		6		144		864				3/29/07 23:00		265		389		864

		3		30		1		3/30/07 0:00		265		- 0		51		4		130		244		- 0		9		6		147		857				3/30/07 0:00		274		391		857

		3		30		2		3/30/07 1:00		261		- 0		54		5		128		245		- 0		12		6		149		861				3/30/07 1:00		273		394		861

		3		30		3		3/30/07 2:00		264		- 0		55		4		124		240		- 0		12		6		146		851				3/30/07 2:00		276		386		851

		3		30		4		3/30/07 3:00		264		- 0		53		4		117		235		- 0		12		6		148		838				3/30/07 3:00		276		383		838

		3		30		5		3/30/07 4:00		255		- 0		52		3		117		237		- 0		15		6		148		834				3/30/07 4:00		270		385		834

		3		30		6		3/30/07 5:00		290		- 0		51		4		120		233		- 0		14		4		147		863				3/30/07 5:00		304		380		863

		3		30		7		3/30/07 6:00		283		- 0		51		8		120		225		- 0		17		- 0		144		847				3/30/07 6:00		300		369		847

		3		30		8		3/30/07 7:00		248		- 0		64		11		132		219		- 0		12		- 0		142		829				3/30/07 7:00		260		361		829

		3		30		9		3/30/07 8:00		232		- 0		73		14		140		220		- 0		14		- 0		141		833				3/30/07 8:00		246		361		833

		3		30		10		3/30/07 9:00		217		- 0		80		13		144		217		- 0		15		- 0		141		826				3/30/07 9:00		232		358		826

		3		30		11		3/30/07 10:00		204		- 0		80		14		144		218		- 0		17		- 0		143		819				3/30/07 10:00		221		361		819

		3		30		12		3/30/07 11:00		242		- 0		82		13		157		227		- 0		16		- 0		145		882				3/30/07 11:00		258		372		882

		3		30		13		3/30/07 12:00		239		- 0		83		12		163		236		- 0		13		- 0		148		893				3/30/07 12:00		252		384		893

		3		30		14		3/30/07 13:00		160		- 0		78		13		138		217		- 0		11		- 0		144		761				3/30/07 13:00		171		361		761

		3		30		15		3/30/07 14:00		209		- 0		83		12		159		232		- 0		13		- 0		147		855				3/30/07 14:00		222		379		855

		3		30		16		3/30/07 15:00		215		- 0		79		10		156		236		- 0		13		- 0		148		858				3/30/07 15:00		228		384		858

		3		30		17		3/30/07 16:00		193		- 0		69		8		124		217		- 0		14		- 0		143		769				3/30/07 16:00		207		360		769

		3		30		18		3/30/07 17:00		244		- 0		63		6		127		226		- 0		19		- 0		143		828				3/30/07 17:00		263		369		828

		3		30		19		3/30/07 18:00		274		- 0		63		6		124		225		- 0		19		5		140		856				3/30/07 18:00		293		365		856

		3		30		20		3/30/07 19:00		251		- 0		63		6		122		223		- 0		20		6		141		832				3/30/07 19:00		271		364		832

		3		30		21		3/30/07 20:00		242		- 0		61		5		121		224		- 0		17		6		142		819				3/30/07 20:00		259		366		819

		3		30		22		3/30/07 21:00		254		- 0		58		5		121		230		- 0		20		6		144		837				3/30/07 21:00		274		374		837

		3		30		23		3/30/07 22:00		274		- 0		56		4		128		237		- 0		15		6		146		866				3/30/07 22:00		289		383		866

		3		30		24		3/30/07 23:00		260		- 0		55		4		125		235		- 0		13		6		148		846				3/30/07 23:00		273		383		846

		3		31		1		3/31/07 0:00		285		- 0		46		5		106		241		- 0		16		6		150		855				3/31/07 0:00		301		391		855

		3		31		2		3/31/07 1:00		293		- 0		45		4		102		240		- 0		18		6		149		857				3/31/07 1:00		311		389		857

		3		31		3		3/31/07 2:00		286		- 0		45		4		103		243		- 0		15		6		150		853				3/31/07 2:00		301		393		853

		3		31		4		3/31/07 3:00		296		- 0		46		4		101		239		- 0		17		6		150		859				3/31/07 3:00		313		389		859

		3		31		5		3/31/07 4:00		293		- 0		45		3		100		241		- 0		19		6		150		857				3/31/07 4:00		312		391		857

		3		31		6		3/31/07 5:00		305		- 0		43		3		97		234		- 0		20		4		148		855				3/31/07 5:00		325		382		855

		3		31		7		3/31/07 6:00		331		- 0		47		8		110		234		- 0		23		- 0		146		897				3/31/07 6:00		354		380		897

		3		31		8		3/31/07 7:00		267		- 0		57		11		113		215		- 0		21		- 0		141		826				3/31/07 7:00		288		356		826

		3		31		9		3/31/07 8:00		246		- 0		68		13		123		217		- 0		24		- 0		142		832				3/31/07 8:00		270		359		832

		3		31		10		3/31/07 9:00		236		- 0		72		13		125		219		- 0		22		- 0		141		828				3/31/07 9:00		258		360		828

		3		31		11		3/31/07 10:00		228		- 0		74		13		127		217		- 0		24		- 0		139		823				3/31/07 10:00		252		356		823

		3		31		12		3/31/07 11:00		257		- 0		75		12		136		226		- 0		23		- 0		145		875				3/31/07 11:00		280		371		875

		3		31		13		3/31/07 12:00		272		- 0		77		12		147		238		- 0		21		- 0		147		913				3/31/07 12:00		293		385		913

		3		31		14		3/31/07 13:00		242		- 0		79		14		144		228		- 0		20		- 0		138		865				3/31/07 13:00		262		366		865

		3		31		15		3/31/07 14:00		237		- 0		77		13		140		235		- 0		21		- 0		144		868				3/31/07 14:00		258		379		868

		3		31		16		3/31/07 15:00		238		- 0		73		10		135		237		- 0		19		- 0		140		852				3/31/07 15:00		257		377		852

		3		31		17		3/31/07 16:00		281		- 0		67		8		132		243		- 0		21		- 0		140		891				3/31/07 16:00		302		383		891

		3		31		18		3/31/07 17:00		255		- 0		58		5		107		225		- 0		23		- 0		142		816				3/31/07 17:00		278		367		816

		3		31		19		3/31/07 18:00		268		- 0		62		6		108		223		- 0		24		5		142		837				3/31/07 18:00		292		365		837

		3		31		20		3/31/07 19:00		249		- 0		57		6		103		227		- 0		25		6		143		816				3/31/07 19:00		274		370		816

		3		31		21		3/31/07 20:00		332		- 0		59		5		120		238		- 0		23		6		143		926				3/31/07 20:00		355		381		926

		3		31		22		3/31/07 21:00		304		- 0		49		5		110		235		- 0		23		6		148		881				3/31/07 21:00		327		383		881

		3		31		23		3/31/07 22:00		274		- 0		45		4		104		238		- 0		16		6		149		838				3/31/07 22:00		290		387		838

		3		31		24		3/31/07 23:00		281		- 0		44		4		111		246		- 0		19		6		152		861				3/31/07 23:00		300		398		861

		4		1		1		4/1/07 0:00		304		- 0		43		4		103		243		- 0		13		6		143		860				4/1/07 0:00		317		386		860

		4		1		2		4/1/07 1:00		307		- 0		43		4		99		246		- 0		13		6		143		861				4/1/07 1:00		320		389		861

		4		1		3		4/1/07 2:00		312		- 0		43		4		99		247		- 0		15		6		143		868				4/1/07 2:00		327		390		868

		4		1		4		4/1/07 3:00		314		- 0		43		3		98		244		- 0		14		6		143		865				4/1/07 3:00		328		387		865

		4		1		5		4/1/07 4:00		296		- 0		42		3		92		238		- 0		17		6		143		836				4/1/07 4:00		313		381		836

		4		1		6		4/1/07 5:00		335		- 0		45		3		100		247		- 0		18		4		145		897				4/1/07 5:00		353		392		897

		4		1		7		4/1/07 6:00		275		- 0		46		7		95		237		- 0		22		- 0		144		826				4/1/07 6:00		297		381		826

		4		1		8		4/1/07 7:00		367		- 0		62		10		125		254		- 0		23		- 0		145		987				4/1/07 7:00		390		399		987

		4		1		9		4/1/07 8:00		315		- 0		71		12		128		241		- 0		23		- 0		144		934				4/1/07 8:00		338		385		934

		4		1		10		4/1/07 9:00		297		- 0		77		12		128		236		- 0		20		- 0		144		915				4/1/07 9:00		317		380		915

		4		1		11		4/1/07 10:00		287		- 0		76		12		128		247		- 0		21		- 0		145		916				4/1/07 10:00		308		392		916

		4		1		12		4/1/07 11:00		227		- 0		72		11		114		232		- 0		19		- 0		143		819				4/1/07 11:00		246		375		819

		4		1		13		4/1/07 12:00		247		- 0		71		10		114		236		- 0		19		- 0		144		841				4/1/07 12:00		266		380		841

		4		1		14		4/1/07 13:00		242		- 0		70		12		115		233		- 0		17		- 0		143		833				4/1/07 13:00		259		376		833

		4		1		15		4/1/07 14:00		253		- 0		70		12		118		239		- 0		16		- 0		142		851				4/1/07 14:00		269		381		851

		4		1		16		4/1/07 15:00		256		- 0		66		9		110		237		- 0		17		- 0		144		840				4/1/07 15:00		273		381		840

		4		1		17		4/1/07 16:00		272		- 0		63		6		104		240		- 0		21		- 0		144		851				4/1/07 16:00		293		384		851

		4		1		18		4/1/07 17:00		310		- 0		58		5		104		238		- 0		23		- 0		144		883				4/1/07 17:00		333		382		883

		4		1		19		4/1/07 18:00		313		- 0		63		4		104		246		- 0		22		5		145		902				4/1/07 18:00		335		391		902

		4		1		20		4/1/07 19:00		290		- 0		60		4		98		242		- 0		22		6		143		866				4/1/07 19:00		312		385		866

		4		1		21		4/1/07 20:00		264		- 0		57		4		92		239		- 0		19		6		144		824				4/1/07 20:00		283		383		824

		4		1		22		4/1/07 21:00		292		- 0		50		4		93		245		- 0		19		6		144		854				4/1/07 21:00		311		389		854

		4		1		23		4/1/07 22:00		299		- 0		48		3		90		245		- 0		18		6		143		852				4/1/07 22:00		317		388		852

		4		1		24		4/1/07 23:00		315		- 0		46		3		87		242		- 0		17		6		143		859				4/1/07 23:00		332		385		859

		4		2		1		4/2/07 0:00		239		- 0		66		3		142		248		- 0		12		6		143		859				4/2/07 0:00		251		391		859

		4		2		2		4/2/07 1:00		234		- 0		65		3		137		245		- 0		11		6		143		842				4/2/07 1:00		245		388		842

		4		2		3		4/2/07 2:00		296		- 0		70		3		151		252		- 0		13		6		144		935				4/2/07 2:00		309		396		935

		4		2		4		4/2/07 3:00		271		- 0		66		3		144		252		- 0		14		6		144		901				4/2/07 3:00		285		396		901

		4		2		5		4/2/07 4:00		273		- 0		69		3		147		253		- 0		16		6		144		910				4/2/07 4:00		289		397		910

		4		2		6		4/2/07 5:00		227		- 0		63		2		125		236		- 0		20		4		143		820				4/2/07 5:00		247		379		820

		4		2		7		4/2/07 6:00		238		- 0		63		3		129		238		- 0		23		- 0		143		835				4/2/07 6:00		261		381		835

		4		2		8		4/2/07 7:00		278		- 0		66		3		137		245		- 0		22		- 0		144		895				4/2/07 7:00		300		389		895

		4		2		9		4/2/07 8:00		337		- 0		76		4		152		260		- 0		24		- 0		147		999				4/2/07 8:00		361		407		999

		4		2		10		4/2/07 9:00		340		- 0		80		4		154		261		- 0		24		- 0		148		1,012				4/2/07 9:00		364		409		1,012

		4		2		11		4/2/07 10:00		306		- 0		77		3		145		243		- 0		21		- 0		144		939				4/2/07 10:00		327		387		939

		4		2		12		4/2/07 11:00		327		- 0		79		3		151		256		- 0		21		- 0		146		983				4/2/07 11:00		348		402		983

		4		2		13		4/2/07 12:00		279		- 0		75		3		139		249		- 0		20		- 0		144		910				4/2/07 12:00		299		393		910

		4		2		14		4/2/07 13:00		244		- 0		73		3		132		239		- 0		17		- 0		143		852				4/2/07 13:00		261		382		852

		4		2		15		4/2/07 14:00		247		- 0		74		3		134		234		- 0		20		- 0		144		856				4/2/07 14:00		267		378		856

		4		2		16		4/2/07 15:00		276		- 0		75		3		138		240		- 0		21		- 0		144		899				4/2/07 15:00		297		384		899

		4		2		17		4/2/07 16:00		292		- 0		75		3		137		247		- 0		20		- 0		144		918				4/2/07 16:00		312		391		918

		4		2		18		4/2/07 17:00		331		- 0		71		3		139		248		- 0		17		- 0		144		953				4/2/07 17:00		348		392		953

		4		2		19		4/2/07 18:00		340		- 0		75		3		143		252		- 0		22		5		145		984				4/2/07 18:00		362		397		984

		4		2		20		4/2/07 19:00		292		- 0		72		4		132		242		- 0		18		6		144		910				4/2/07 19:00		310		386		910

		4		2		21		4/2/07 20:00		232		- 0		70		3		122		232		- 0		19		6		143		826				4/2/07 20:00		251		375		826

		4		2		22		4/2/07 21:00		238		- 0		69		3		123		237		- 0		17		6		142		836				4/2/07 21:00		255		379		836

		4		2		23		4/2/07 22:00		227		- 0		67		3		121		235		- 0		19		6		143		821				4/2/07 22:00		246		378		821

		4		2		24		4/2/07 23:00		284		- 0		71		3		142		243		- 0		14		6		144		906				4/2/07 23:00		298		387		906

		4		3		1		4/3/07 0:00		253		- 0		70		3		139		239		- 0		17		6		139		865				4/3/07 0:00		270		378		865

		4		3		2		4/3/07 1:00		266		- 0		71		3		142		238		- 0		14		6		132		871				4/3/07 1:00		280		370		871

		4		3		3		4/3/07 2:00		270		- 0		71		3		142		235		- 0		12		6		125		864				4/3/07 2:00		282		360		864

		4		3		4		4/3/07 3:00		255		- 0		70		3		140		231		- 0		14		6		142		860				4/3/07 3:00		269		373		860

		4		3		5		4/3/07 4:00		260		- 0		70		3		141		235		- 0		14		6		144		871				4/3/07 4:00		274		379		871

		4		3		6		4/3/07 5:00		277		- 0		70		3		146		237		- 0		14		6		144		897				4/3/07 5:00		291		381		897

		4		3		7		4/3/07 6:00		253		- 0		68		3		134		234		- 0		18		4		143		857				4/3/07 6:00		271		377		857

		4		3		8		4/3/07 7:00		243		- 0		66		3		133		231		- 0		21		- 0		143		839				4/3/07 7:00		264		374		839

		4		3		9		4/3/07 8:00		256		- 0		70		3		134		233		- 0		21		- 0		144		861				4/3/07 8:00		277		377		861

		4		3		10		4/3/07 9:00		284		- 0		73		3		138		229		- 0		22		- 0		145		895				4/3/07 9:00		306		374		895

		4		3		11		4/3/07 10:00		280		- 0		74		3		139		237		- 0		20		- 0		145		898				4/3/07 10:00		300		382		898

		4		3		12		4/3/07 11:00		279		- 0		72		3		140		233		- 0		18		- 0		145		891				4/3/07 11:00		297		378		891

		4		3		13		4/3/07 12:00		255		- 0		72		3		136		234		- 0		19		- 0		144		863				4/3/07 12:00		274		378		863

		4		3		14		4/3/07 13:00		229		- 0		71		3		131		232		- 0		19		- 0		143		828				4/3/07 13:00		248		375		828

		4		3		15		4/3/07 14:00		224		- 0		71		3		133		231		- 0		17		- 0		144		824				4/3/07 14:00		241		375		824

		4		3		16		4/3/07 15:00		234		- 0		70		3		134		233		- 0		21		- 0		144		839				4/3/07 15:00		255		377		839

		4		3		17		4/3/07 16:00		272		- 0		72		3		134		227		- 0		16		- 0		143		866				4/3/07 16:00		288		370		866

		4		3		18		4/3/07 17:00		276		- 0		68		2		132		232		- 0		20		- 0		143		874				4/3/07 17:00		296		375		874

		4		3		19		4/3/07 18:00		279		- 0		68		3		131		231		- 0		19		- 0		143		873				4/3/07 18:00		298		374		873

		4		3		20		4/3/07 19:00		296		- 0		72		3		135		236		- 0		19		5		144		909				4/3/07 19:00		315		380		909

		4		3		21		4/3/07 20:00		250		- 0		71		3		130		234		- 0		18		6		143		855				4/3/07 20:00		268		377		855

		4		3		22		4/3/07 21:00		238		- 0		70		3		129		229		- 0		16		6		143		833				4/3/07 21:00		254		372		833

		4		3		23		4/3/07 22:00		283		- 0		70		3		146		239		- 0		15		6		145		907				4/3/07 22:00		298		384		907

		4		3		24		4/3/07 23:00		233		- 0		67		3		146		236		- 0		10		6		143		845				4/3/07 23:00		243		379		845

		4		4		1		4/4/07 0:00		266		- 0		58		3		115		236		- 0		13		6		140		838				4/4/07 0:00		279		376		838

		4		4		2		4/4/07 1:00		280		- 0		56		3		123		235		- 0		11		6		141		855				4/4/07 1:00		291		376		855

		4		4		3		4/4/07 2:00		280		- 0		57		3		120		237		- 0		12		6		141		855				4/4/07 2:00		292		378		855

		4		4		4		4/4/07 3:00		270		- 0		56		3		117		231		- 0		13		6		141		836				4/4/07 3:00		283		372		836

		4		4		5		4/4/07 4:00		274		- 0		56		3		119		228		- 0		13		6		141		840				4/4/07 4:00		287		369		840

		4		4		6		4/4/07 5:00		310		- 0		61		3		132		238		- 0		19		6		144		913				4/4/07 5:00		329		382		913

		4		4		7		4/4/07 6:00		270		- 0		62		7		125		229		- 0		21		3		142		858				4/4/07 6:00		291		371		858

		4		4		8		4/4/07 7:00		284		- 0		74		11		143		238		- 0		22		- 0		147		918				4/4/07 7:00		306		385		918

		4		4		9		4/4/07 8:00		321		- 0		87		14		165		238		- 0		21		- 0		143		988				4/4/07 8:00		342		381		988

		4		4		10		4/4/07 9:00		315		- 0		92		14		170		242		- 0		18		- 0		145		996				4/4/07 9:00		333		387		996

		4		4		11		4/4/07 10:00		319		- 0		92		15		172		240		- 0		21		- 0		146		1,004				4/4/07 10:00		340		386		1,004

		4		4		12		4/4/07 11:00		244		- 0		86		12		152		231		- 0		18		- 0		143		886				4/4/07 11:00		262		374		886

		4		4		13		4/4/07 12:00		222		- 0		81		12		143		232		- 0		19		- 0		143		853				4/4/07 12:00		241		375		853

		4		4		14		4/4/07 13:00		213		- 0		85		14		146		230		- 0		18		- 0		143		848				4/4/07 13:00		231		373		848

		4		4		15		4/4/07 14:00		205		- 0		82		12		140		228		- 0		15		- 0		142		825				4/4/07 14:00		220		370		825

		4		4		16		4/4/07 15:00		213		- 0		80		11		140		225		- 0		19		- 0		142		830				4/4/07 15:00		232		367		830

		4		4		17		4/4/07 16:00		273		- 0		78		8		143		240		- 0		19		- 0		142		903				4/4/07 16:00		292		382		903

		4		4		18		4/4/07 17:00		304		- 0		69		6		140		242		- 0		18		- 0		144		922				4/4/07 17:00		322		386		922

		4		4		19		4/4/07 18:00		361		- 0		67		6		148		253		- 0		20		- 0		146		1,000				4/4/07 18:00		381		399		1,000

		4		4		20		4/4/07 19:00		334		- 0		70		6		146		244		- 0		22		5		144		971				4/4/07 19:00		356		388		971

		4		4		21		4/4/07 20:00		281		- 0		67		6		135		241		- 0		17		6		143		896				4/4/07 20:00		298		384		896

		4		4		22		4/4/07 21:00		245		- 0		60		6		121		229		- 0		17		6		142		826				4/4/07 21:00		262		371		826

		4		4		23		4/4/07 22:00		247		- 0		60		5		121		226		- 0		18		6		143		826				4/4/07 22:00		265		369		826

		4		4		24		4/4/07 23:00		283		- 0		60		4		132		233		- 0		14		6		143		876				4/4/07 23:00		297		376		876

		4		5		1		4/5/07 0:00		270		- 0		54		4		128		242		- 0		11		6		142		858				4/5/07 0:00		281		384		858

		4		5		2		4/5/07 1:00		290		- 0		57		4		139		248		- 0		12		6		143		901				4/5/07 1:00		302		391		901

		4		5		3		4/5/07 2:00		351		- 0		60		5		162		269		- 0		12		6		146		1,011				4/5/07 2:00		363		415		1,011

		4		5		4		4/5/07 3:00		287		- 0		54		4		129		240		- 0		10		6		142		872				4/5/07 3:00		297		382		872

		4		5		5		4/5/07 4:00		274		- 0		54		3		132		242		- 0		14		6		143		868				4/5/07 4:00		288		385		868

		4		5		6		4/5/07 5:00		277		- 0		56		4		127		235		- 0		17		6		142		863				4/5/07 5:00		294		377		863

		4		5		7		4/5/07 6:00		258		- 0		57		6		119		229		- 0		20		6		144		839				4/5/07 6:00		278		373		839

		4		5		8		4/5/07 7:00		232		- 0		67		10		131		224		- 0		18		3		142		828				4/5/07 7:00		250		366		828

		4		5		9		4/5/07 8:00		224		- 0		78		12		143		223		- 0		17		- 0		141		839				4/5/07 8:00		241		364		839

		4		5		10		4/5/07 9:00		215		- 0		84		12		144		221		- 0		16		- 0		142		833				4/5/07 9:00		231		363		833

		4		5		11		4/5/07 10:00		202		- 0		83		14		146		226		- 0		16		- 0		140		826				4/5/07 10:00		218		366		826

		4		5		12		4/5/07 11:00		251		- 0		89		12		169		242		- 0		17		- 0		144		924				4/5/07 11:00		268		386		924

		4		5		13		4/5/07 12:00		261		- 0		88		12		170		243		- 0		14		- 0		141		929				4/5/07 12:00		275		384		929

		4		5		14		4/5/07 13:00		241		- 0		89		13		171		245		- 0		12		- 0		143		913				4/5/07 13:00		253		388		913

		4		5		15		4/5/07 14:00		205		- 0		85		11		159		236		- 0		13		- 0		142		852				4/5/07 14:00		218		378		852

		4		5		16		4/5/07 15:00		228		- 0		83		10		164		241		- 0		11		- 0		143		880				4/5/07 15:00		239		384		880

		4		5		17		4/5/07 16:00		249		- 0		77		7		152		241		- 0		14		- 0		143		882				4/5/07 16:00		263		384		882

		4		5		18		4/5/07 17:00		252		- 0		64		5		144		240		- 0		15		- 0		142		863				4/5/07 17:00		267		382		863

		4		5		19		4/5/07 18:00		261		- 0		60		6		137		235		- 0		15		- 0		142		855				4/5/07 18:00		276		377		855

		4		5		20		4/5/07 19:00		287		- 0		65		6		141		241		- 0		15		- 0		145		900				4/5/07 19:00		302		386		900

		4		5		21		4/5/07 20:00		297		- 0		64		6		143		245		- 0		15		5		145		921				4/5/07 20:00		312		390		921

		4		5		22		4/5/07 21:00		284		- 0		59		6		137		244		- 0		13		6		144		893				4/5/07 21:00		297		388		893

		4		5		23		4/5/07 22:00		252		- 0		56		5		128		241		- 0		12		6		143		841				4/5/07 22:00		264		384		841

		4		5		24		4/5/07 23:00		256		- 0		55		4		136		249		- 0		13		6		143		862				4/5/07 23:00		269		392		862

		4		6		1		4/6/07 0:00		369		- 0		60		5		182		290		- 0		13		6		150		1,075				4/6/07 0:00		382		440		1,075

		4		6		2		4/6/07 1:00		299		- 0		55		4		155		263		- 0		9		6		147		938				4/6/07 1:00		308		410		938

		4		6		3		4/6/07 2:00		395		- 0		61		4		179		290		- 0		9		6		150		1,093				4/6/07 2:00		404		440		1,093

		4		6		4		4/6/07 3:00		376		- 0		58		4		169		277		- 0		12		6		148		1,050				4/6/07 3:00		388		425		1,050

		4		6		5		4/6/07 4:00		373		- 0		57		3		168		276		- 0		12		6		148		1,044				4/6/07 4:00		385		424		1,044

		4		6		6		4/6/07 5:00		325		- 0		53		3		139		245		- 0		14		6		144		930				4/6/07 5:00		339		389		930

		4		6		7		4/6/07 6:00		300		- 0		55		6		130		233		- 0		20		6		146		895				4/6/07 6:00		320		379		895

		4		6		8		4/6/07 7:00		254		- 0		65		11		139		227		- 0		19		3		145		863				4/6/07 7:00		273		372		863

		4		6		9		4/6/07 8:00		263		- 0		77		13		158		235		- 0		14		- 0		144		905				4/6/07 8:00		277		379		905

		4		6		10		4/6/07 9:00		244		- 0		83		13		160		229		- 0		14		- 0		144		888				4/6/07 9:00		258		373		888

		4		6		11		4/6/07 10:00		231		- 0		84		13		160		224		- 0		12		- 0		143		867				4/6/07 10:00		243		367		867

		4		6		12		4/6/07 11:00		256		- 0		85		13		165		229		- 0		13		- 0		145		905				4/6/07 11:00		269		374		905

		4		6		13		4/6/07 12:00		224		- 0		83		11		160		232		- 0		12		- 0		144		866				4/6/07 12:00		236		376		866

		4		6		14		4/6/07 13:00		192		- 0		83		14		158		230		- 0		10		- 0		141		827				4/6/07 13:00		202		371		827

		4		6		15		4/6/07 14:00		214		- 0		84		13		165		228		- 0		10		- 0		138		852				4/6/07 14:00		224		366		852

		4		6		16		4/6/07 15:00		220		- 0		81		10		163		235		- 0		9		- 0		137		855				4/6/07 15:00		229		372		855

		4		6		17		4/6/07 16:00		240		- 0		77		8		151		239		- 0		13		- 0		139		868				4/6/07 16:00		253		378		868

		4		6		18		4/6/07 17:00		237		- 0		64		5		139		235		- 0		14		- 0		143		837				4/6/07 17:00		251		378		837

		4		6		19		4/6/07 18:00		254		- 0		60		5		138		238		- 0		12		- 0		141		849				4/6/07 18:00		266		379		849

		4		6		20		4/6/07 19:00		287		- 0		65		6		141		236		- 0		16		- 0		144		895				4/6/07 19:00		303		380		895

		4		6		21		4/6/07 20:00		273		- 0		61		7		136		236		- 0		15		4		140		872				4/6/07 20:00		288		376		872

		4		6		22		4/6/07 21:00		243		- 0		57		6		126		238		- 0		17		6		144		837				4/6/07 21:00		260		382		837

		4		6		23		4/6/07 22:00		265		- 0		55		5		133		241		- 0		11		6		140		856				4/6/07 22:00		276		381		856

		4		6		24		4/6/07 23:00		402		- 0		63		4		189		286		- 0		11		6		146		1,107				4/6/07 23:00		413		432		1,107

		4		7		1		4/7/07 0:00		303		- 0		46		4		101		240		- 0		12		6		143		856				4/7/07 0:00		315		383		856

		4		7		2		4/7/07 1:00		312		- 0		44		4		102		238		- 0		16		6		143		865				4/7/07 1:00		328		381		865

		4		7		3		4/7/07 2:00		317		- 0		45		4		103		244		- 0		13		6		144		877				4/7/07 2:00		330		388		877

		4		7		4		4/7/07 3:00		353		- 0		45		4		109		257		- 0		14		6		145		934				4/7/07 3:00		367		402		934

		4		7		5		4/7/07 4:00		308		- 0		43		3		99		248		- 0		15		6		142		863				4/7/07 4:00		323		390		863

		4		7		6		4/7/07 5:00		313		- 0		42		3		95		239		- 0		18		6		144		859				4/7/07 5:00		331		383		859

		4		7		7		4/7/07 6:00		333		- 0		49		7		108		243		- 0		21		6		146		913				4/7/07 6:00		354		389		913

		4		7		8		4/7/07 7:00		271		- 0		58		11		110		233		- 0		23		3		145		854				4/7/07 7:00		294		378		854

		4		7		9		4/7/07 8:00		255		- 0		67		13		119		225		- 0		17		- 0		142		839				4/7/07 8:00		272		367		839

		4		7		10		4/7/07 9:00		249		- 0		72		13		121		223		- 0		18		- 0		144		841				4/7/07 9:00		267		367		841

		4		7		11		4/7/07 10:00		236		- 0		73		14		120		222		- 0		17		- 0		143		825				4/7/07 10:00		253		365		825

		4		7		12		4/7/07 11:00		235		- 0		71		12		115		222		- 0		18		- 0		143		817				4/7/07 11:00		253		365		817

		4		7		13		4/7/07 12:00		254		- 0		72		12		120		232		- 0		18		- 0		145		853				4/7/07 12:00		272		377		853

		4		7		14		4/7/07 13:00		257		- 0		75		13		130		231		- 0		19		- 0		139		864				4/7/07 13:00		276		370		864

		4		7		15		4/7/07 14:00		268		- 0		75		14		130		236		- 0		15		- 0		140		879				4/7/07 14:00		283		376		879

		4		7		16		4/7/07 15:00		306		- 0		73		11		131		246		- 0		17		- 0		143		927				4/7/07 15:00		323		389		927

		4		7		17		4/7/07 16:00		264		- 0		65		8		108		236		- 0		17		- 0		143		842				4/7/07 16:00		281		379		842

		4		7		18		4/7/07 17:00		262		- 0		57		6		99		234		- 0		21		- 0		143		823				4/7/07 17:00		283		377		823

		4		7		19		4/7/07 18:00		275		- 0		58		6		98		233		- 0		19		- 0		143		832				4/7/07 18:00		294		376		832

		4		7		20		4/7/07 19:00		285		- 0		60		6		101		238		- 0		18		- 0		145		854				4/7/07 19:00		303		383		854

		4		7		21		4/7/07 20:00		262		- 0		56		6		94		239		- 0		17		3		140		819				4/7/07 20:00		279		379		819

		4		7		22		4/7/07 21:00		281		- 0		50		6		93		235		- 0		19		6		146		835				4/7/07 21:00		300		381		835

		4		7		23		4/7/07 22:00		324		- 0		47		5		100		241		- 0		16		6		143		882				4/7/07 22:00		340		384		882

		4		7		24		4/7/07 23:00		292		- 0		43		4		90		229		- 0		14		6		140		820				4/7/07 23:00		306		369		820

		4		8		1		4/8/07 0:00		341		- 0		43		4		106		248		- 0		12		6		142		903				4/8/07 0:00		353		390		903

		4		8		2		4/8/07 1:00		326		- 0		41		4		97		235		- 0		11		6		142		862				4/8/07 1:00		337		377		862

		4		8		3		4/8/07 2:00		352		- 0		42		4		104		242		- 0		14		6		144		908				4/8/07 2:00		366		386		908

		4		8		4		4/8/07 3:00		322		- 0		43		4		96		236		- 0		15		6		143		865				4/8/07 3:00		337		379		865

		4		8		5		4/8/07 4:00		321		- 0		42		3		96		237		- 0		15		6		143		863				4/8/07 4:00		336		380		863

		4		8		6		4/8/07 5:00		314		- 0		42		3		93		231		- 0		19		6		143		852				4/8/07 5:00		333		374		852

		4		8		7		4/8/07 6:00		274		- 0		45		7		91		227		- 0		22		6		143		816				4/8/07 6:00		296		370		816

		4		8		8		4/8/07 7:00		292		- 0		55		10		111		232		- 0		23		3		143		869				4/8/07 7:00		315		375		869

		4		8		9		4/8/07 8:00		256		- 0		64		13		116		227		- 0		21		- 0		137		834				4/8/07 8:00		277		364		834

		4		8		10		4/8/07 9:00		239		- 0		68		12		115		227		- 0		18		- 0		142		821				4/8/07 9:00		257		369		821

		4		8		11		4/8/07 10:00		238		- 0		71		13		119		230		- 0		16		- 0		142		830				4/8/07 10:00		254		372		830

		4		8		12		4/8/07 11:00		259		- 0		72		13		127		236		- 0		19		- 0		141		866				4/8/07 11:00		278		377		866

		4		8		13		4/8/07 12:00		249		- 0		71		10		120		237		- 0		17		- 0		143		848				4/8/07 12:00		266		380		848

		4		8		14		4/8/07 13:00		285		- 0		73		13		135		237		- 0		16		- 0		144		902				4/8/07 13:00		301		381		902

		4		8		15		4/8/07 14:00		274		- 0		71		12		129		242		- 0		15		- 0		144		886				4/8/07 14:00		289		386		886

		4		8		16		4/8/07 15:00		290		- 0		70		9		127		240		- 0		14		- 0		145		895				4/8/07 15:00		304		385		895

		4		8		17		4/8/07 16:00		286		- 0		63		7		116		241		- 0		15		- 0		143		871				4/8/07 16:00		301		384		871

		4		8		18		4/8/07 17:00		326		- 0		57		5		114		245		- 0		18		- 0		146		910				4/8/07 17:00		344		391		910

		4		8		19		4/8/07 18:00		283		- 0		51		4		103		234		- 0		16		- 0		143		833				4/8/07 18:00		299		377		833

		4		8		20		4/8/07 19:00		346		- 0		60		4		111		239		- 0		18		- 0		146		924				4/8/07 19:00		364		385		924

		4		8		21		4/8/07 20:00		310		- 0		55		4		103		232		- 0		21		3		144		871				4/8/07 20:00		331		376		871

		4		8		22		4/8/07 21:00		312		- 0		48		4		100		235		- 0		17		6		143		865				4/8/07 21:00		329		378		865

		4		8		23		4/8/07 22:00		326		- 0		45		3		91		233		- 0		15		6		143		863				4/8/07 22:00		341		376		863

		4		8		24		4/8/07 23:00		333		- 0		44		3		89		238		- 0		15		6		143		873				4/8/07 23:00		348		381		873

		4		9		1		4/9/07 0:00		249		- 0		64		3		144		236		- 0		13		6		142		858				4/9/07 0:00		262		378		858

		4		9		2		4/9/07 1:00		244		- 0		64		3		148		237		- 0		12		6		143		855				4/9/07 1:00		256		380		855

		4		9		3		4/9/07 2:00		247		- 0		63		3		147		237		- 0		11		6		143		855				4/9/07 2:00		258		380		855

		4		9		4		4/9/07 3:00		259		- 0		63		3		150		234		- 0		10		6		143		867				4/9/07 3:00		269		377		867

		4		9		5		4/9/07 4:00		256		- 0		62		3		146		236		- 0		12		6		142		862				4/9/07 4:00		268		378		862

		4		9		6		4/9/07 5:00		252		- 0		61		3		142		238		- 0		13		6		142		857				4/9/07 5:00		265		380		857

		4		9		7		4/9/07 6:00		274		- 0		63		4		143		234		- 0		16		6		144		883				4/9/07 6:00		290		378		883

		4		9		8		4/9/07 7:00		243		- 0		63		4		130		228		- 0		22		3		143		835				4/9/07 7:00		265		371		835

		4		9		9		4/9/07 8:00		237		- 0		67		4		129		223		- 0		21		- 0		143		824				4/9/07 8:00		258		366		824

		4		9		10		4/9/07 9:00		232		- 0		71		4		129		229		- 0		20		- 0		143		828				4/9/07 9:00		252		372		828

		4		9		11		4/9/07 10:00		233		- 0		71		4		134		236		- 0		19		- 0		140		837				4/9/07 10:00		252		376		837

		4		9		12		4/9/07 11:00		224		- 0		70		3		127		230		- 0		16		- 0		143		814				4/9/07 11:00		240		373		814

		4		9		13		4/9/07 12:00		250		- 0		71		3		139		230		- 0		17		- 0		144		853				4/9/07 12:00		267		374		853

		4		9		14		4/9/07 13:00		254		- 0		71		3		147		232		- 0		15		- 0		141		862				4/9/07 13:00		269		373		862

		4		9		15		4/9/07 14:00		233		- 0		72		3		151		234		- 0		13		- 0		139		845				4/9/07 14:00		246		373		845

		4		9		16		4/9/07 15:00		247		- 0		74		3		150		239		- 0		14		- 0		141		867				4/9/07 15:00		261		380		867

		4		9		17		4/9/07 16:00		254		- 0		70		2		144		239		- 0		15		- 0		144		869				4/9/07 16:00		269		383		869

		4		9		18		4/9/07 17:00		261		- 0		61		2		137		234		- 0		15		- 0		143		854				4/9/07 17:00		276		377		854

		4		9		19		4/9/07 18:00		262		- 0		62		2		137		234		- 0		15		- 0		143		855				4/9/07 18:00		277		377		855

		4		9		20		4/9/07 19:00		270		- 0		67		2		138		236		- 0		17		- 0		143		873				4/9/07 19:00		287		379		873

		4		9		21		4/9/07 20:00		289		- 0		68		3		143		234		- 0		16		3		145		900				4/9/07 20:00		305		379		900

		4		9		22		4/9/07 21:00		260		- 0		66		3		135		231		- 0		17		6		142		859				4/9/07 21:00		277		373		859

		4		9		23		4/9/07 22:00		242		- 0		66		3		134		233		- 0		13		6		142		839				4/9/07 22:00		255		375		839

		4		9		24		4/9/07 23:00		247		- 0		64		2		145		239		- 0		15		6		142		861				4/9/07 23:00		262		381		861

		4		10		1		4/10/07 0:00		244		- 0		68		2		149		239		- 0		12		6		142		862				4/10/07 0:00		256		381		862

		4		10		2		4/10/07 1:00		240		- 0		67		2		147		235		- 0		13		6		143		853				4/10/07 1:00		253		378		853

		4		10		3		4/10/07 2:00		246		- 0		68		2		149		235		- 0		11		6		143		860				4/10/07 2:00		257		378		860

		4		10		4		4/10/07 3:00		248		- 0		68		2		143		228		- 0		12		6		143		850				4/10/07 3:00		260		371		850

		4		10		5		4/10/07 4:00		238		- 0		65		3		137		224		- 0		16		6		142		831				4/10/07 4:00		254		366		831

		4		10		6		4/10/07 5:00		242		- 0		65		2		140		226		- 0		14		6		143		838				4/10/07 5:00		256		369		838

		4		10		7		4/10/07 6:00		258		- 0		63		2		141		228		- 0		18		6		143		859				4/10/07 6:00		276		371		859

		4		10		8		4/10/07 7:00		290		- 0		65		2		146		230		- 0		21		3		145		902				4/10/07 7:00		311		375		902

		4		10		9		4/10/07 8:00		249		- 0		65		2		131		223		- 0		17		- 0		143		831				4/10/07 8:00		266		366		831

		4		10		10		4/10/07 9:00		235		- 0		67		3		128		223		- 0		16		- 0		144		815				4/10/07 9:00		251		367		815

		4		10		11		4/10/07 10:00		239		- 0		69		3		134		230		- 0		16		- 0		144		835				4/10/07 10:00		255		374		835

		4		10		12		4/10/07 10:59		231		- 0		69		3		135		229		- 0		17		- 0		145		828				4/10/07 10:59		248		374		828

		4		10		13		4/10/07 11:59		281		- 0		72		3		157		239		- 0		14		- 0		146		913				4/10/07 11:59		295		385		913

		4		10		14		4/10/07 12:59		269		- 0		71		2		152		230		- 0		15		- 0		145		883				4/10/07 12:59		284		375		883

		4		10		15		4/10/07 13:59		236		- 0		70		3		151		230		- 0		11		- 0		143		844				4/10/07 13:59		247		373		844

		4		10		16		4/10/07 14:59		243		- 0		71		2		158		230		- 0		11		- 0		143		858				4/10/07 14:59		254		373		858

		4		10		17		4/10/07 15:59		254		- 0		69		2		148		231		- 0		11		- 0		144		859				4/10/07 15:59		265		375		859

		4		10		18		4/10/07 16:59		260		- 0		63		2		144		234		- 0		16		- 0		144		863				4/10/07 16:59		276		378		863

		4		10		19		4/10/07 17:59		265		- 0		64		2		141		230		- 0		14		- 0		143		859				4/10/07 17:59		279		373		859

		4		10		20		4/10/07 18:59		282		- 0		69		3		143		233		- 0		18		- 0		145		892				4/10/07 18:59		300		378		892

		4		10		21		4/10/07 19:59		282		- 0		67		3		144		232		- 0		20		3		145		895				4/10/07 19:59		302		377		895

		4		10		22		4/10/07 20:59		268		- 0		67		3		142		224		- 0		12		6		141		862				4/10/07 20:59		280		365		862

		4		10		23		4/10/07 21:59		236		- 0		65		3		143		228		- 0		16		6		142		839				4/10/07 21:59		252		370		839

		4		10		24		4/10/07 22:59		240		- 0		66		3		162		235		- 0		10		6		143		866				4/10/07 22:59		250		378		866

		4		11		1		4/10/07 23:59		293		- 0		56		3		131		235		- 0		10		6		143		876				4/10/07 23:59		303		378		876

		4		11		2		4/11/07 0:59		282		- 0		56		3		123		235		- 0		16		6		142		863				4/11/07 0:59		298		377		863

		4		11		3		4/11/07 1:59		276		- 0		55		3		123		237		- 0		13		6		142		854				4/11/07 1:59		289		379		854

		4		11		4		4/11/07 2:59		281		- 0		56		3		121		228		- 0		15		6		141		851				4/11/07 2:59		296		369		851

		4		11		5		4/11/07 3:59		264		- 0		54		3		117		224		- 0		16		6		142		827				4/11/07 3:59		280		366		827

		4		11		6		4/11/07 4:59		298		- 0		59		3		126		235		- 0		22		6		143		892				4/11/07 4:59		320		378		892

		4		11		7		4/11/07 5:59		306		- 0		60		8		131		234		- 0		22		6		141		907				4/11/07 5:59		328		375		907

		4		11		8		4/11/07 6:59		340		- 0		75		12		160		248		- 0		22		3		146		1,006				4/11/07 6:59		362		394		1,006

		4		11		9		4/11/07 7:59		304		- 0		83		14		163		235		- 0		22		- 0		143		964				4/11/07 7:59		326		378		964

		4		11		10		4/11/07 8:59		319		- 0		91		13		173		239		- 0		20		- 0		145		1,000				4/11/07 8:59		339		384		1,000

		4		11		11		4/11/07 9:59		318		- 0		92		14		174		241		- 0		18		- 0		147		1,005				4/11/07 9:59		336		388		1,005

		4		11		12		4/11/07 10:59		274		- 0		86		13		161		235		- 0		19		- 0		133		920				4/11/07 10:59		293		368		920

		4		11		13		4/11/07 11:59		227		- 0		82		11		147		223		- 0		16		- 0		142		848				4/11/07 11:59		243		365		848

		4		11		14		4/11/07 12:59		198		- 0		82		13		146		225		- 0		18		- 0		139		821				4/11/07 12:59		216		364		821

		4		11		15		4/11/07 13:59		204		- 0		83		12		144		225		- 0		18		- 0		143		828				4/11/07 13:59		222		368		828

		4		11		16		4/11/07 14:59		211		- 0		79		10		142		226		- 0		19		- 0		143		831				4/11/07 14:59		230		369		831

		4		11		17		4/11/07 15:59		218		- 0		76		8		135		226		- 0		18		- 0		142		823				4/11/07 15:59		236		368		823

		4		11		18		4/11/07 16:59		243		- 0		65		5		131		228		- 0		19		- 0		144		835				4/11/07 16:59		262		372		835

		4		11		19		4/11/07 17:59		265		- 0		63		5		130		229		- 0		20		- 0		143		855				4/11/07 17:59		285		372		855

		4		11		20		4/11/07 18:59		292		- 0		68		5		136		231		- 0		21		- 0		142		895				4/11/07 18:59		313		373		895

		4		11		21		4/11/07 19:59		285		- 0		65		5		132		227		- 0		21		3		143		880				4/11/07 19:59		306		370		880

		4		11		22		4/11/07 20:59		246		- 0		61		5		123		224		- 0		21		6		142		829				4/11/07 20:59		267		366		829

		4		11		23		4/11/07 21:59		248		- 0		59		4		121		226		- 0		16		6		144		825				4/11/07 21:59		264		370		825

		4		11		24		4/11/07 22:59		288		- 0		57		4		131		231		- 0		15		6		144		877				4/11/07 22:59		303		375		877

		4		12		1		4/11/07 23:59		266		- 0		56		4		127		242		- 0		15		6		143		859				4/11/07 23:59		281		385		859

		4		12		2		4/12/07 0:59		262		- 0		56		4		122		241		- 0		14		6		143		847				4/12/07 0:59		276		384		847

		4		12		3		4/12/07 1:59		254		- 0		55		3		117		238		- 0		14		6		143		831				4/12/07 1:59		268		381		831

		4		12		4		4/12/07 2:59		279		- 0		55		3		122		238		- 0		14		6		140		857				4/12/07 2:59		293		378		857

		4		12		5		4/12/07 3:59		270		- 0		56		3		115		240		- 0		17		6		143		850				4/12/07 3:59		287		383		850

		4		12		6		4/12/07 4:59		265		- 0		58		3		111		232		- 0		17		6		144		837				4/12/07 4:59		282		376		837

		4		12		7		4/12/07 5:59		343		- 0		65		8		135		245		- 0		22		6		149		973				4/12/07 5:59		365		394		973

		4		12		8		4/12/07 6:59		268		- 0		72		12		136		235		- 0		25		3		148		898				4/12/07 6:59		293		383		898

		4		12		9		4/12/07 7:59		324		- 0		88		14		164		237		- 0		22		- 0		148		999				4/12/07 7:59		346		385		999

		4		12		10		4/12/07 8:59		311		- 0		91		13		166		240		- 0		23		- 0		145		990				4/12/07 8:59		334		385		990

		4		12		11		4/12/07 9:59		312		- 0		92		14		167		235		- 0		21		- 0		145		986				4/12/07 9:59		333		380		986

		4		12		12		4/12/07 10:59		263		- 0		87		13		155		232		- 0		19		- 0		143		912				4/12/07 10:59		282		375		912

		4		12		13		4/12/07 11:59		201		- 0		85		10		139		228		- 0		17		- 0		143		823				4/12/07 11:59		218		371		823

		4		12		14		4/12/07 12:59		198		- 0		84		13		142		230		- 0		19		- 0		143		830				4/12/07 12:59		217		373		830

		4		12		15		4/12/07 13:59		206		- 0		82		12		144		229		- 0		18		- 0		143		834				4/12/07 13:59		224		372		834

		4		12		16		4/12/07 14:59		213		- 0		80		11		143		230		- 0		19		- 0		141		838				4/12/07 14:59		232		371		838

		4		12		17		4/12/07 15:59		252		- 0		76		8		136		233		- 0		21		- 0		143		868				4/12/07 15:59		273		376		868

		4		12		18		4/12/07 16:59		292		- 0		67		6		134		235		- 0		20		- 0		144		899				4/12/07 16:59		312		379		899

		4		12		19		4/12/07 17:59		277		- 0		61		5		127		232		- 0		22		- 0		144		867				4/12/07 17:59		299		376		867

		4		12		20		4/12/07 18:59		288		- 0		66		5		131		234		- 0		20		- 0		144		888				4/12/07 18:59		308		378		888

		4		12		21		4/12/07 19:59		259		- 0		63		5		124		235		- 0		17		3		144		850				4/12/07 19:59		276		379		850

		4		12		22		4/12/07 20:59		238		- 0		60		5		121		237		- 0		18		6		144		829				4/12/07 20:59		256		381		829

		4		12		23		4/12/07 21:59		283		- 0		58		4		127		246		- 0		15		6		143		882				4/12/07 21:59		298		389		882

		4		12		24		4/12/07 22:59		251		- 0		55		4		123		238		- 0		12		6		142		830				4/12/07 22:59		263		380		830

		4		13		1		4/12/07 23:59		266		- 0		53		4		123		239		- 0		15		6		143		849				4/12/07 23:59		281		382		849

		4		13		2		4/13/07 0:59		281		- 0		54		3		125		240		- 0		11		6		144		864				4/13/07 0:59		292		384		864

		4		13		3		4/13/07 1:59		285		- 0		54		3		126		242		- 0		12		6		144		872				4/13/07 1:59		297		386		872

		4		13		4		4/13/07 2:59		280		- 0		54		3		122		242		- 0		10		6		143		860				4/13/07 2:59		290		385		860

		4		13		5		4/13/07 3:59		280		- 0		53		3		123		242		- 0		14		6		143		865				4/13/07 3:59		294		385		865

		4		13		6		4/13/07 4:59		281		- 0		54		3		117		234		- 0		17		6		144		857				4/13/07 4:59		298		378		857

		4		13		7		4/13/07 5:59		281		- 0		56		7		120		231		- 0		21		6		144		866				4/13/07 5:59		302		375		866

		4		13		8		4/13/07 6:59		285		- 0		68		11		140		239		- 0		19		1		145		909				4/13/07 6:59		304		384		909

		4		13		9		4/13/07 7:59		264		- 0		78		13		145		237		- 0		16		- 0		141		895				4/13/07 7:59		280		378		895

		4		13		10		4/13/07 8:59		226		- 0		80		12		140		230		- 0		20		- 0		142		850				4/13/07 8:59		246		372		850

		4		13		11		4/13/07 9:59		215		- 0		81		13		141		226		- 0		17		- 0		144		836				4/13/07 9:59		232		370		836

		4		13		12		4/13/07 10:59		217		- 0		82		13		141		232		- 0		15		- 0		144		843				4/13/07 10:59		232		376		843

		4		13		13		4/13/07 11:59		259		- 0		86		10		162		240		- 0		17		- 0		146		921				4/13/07 11:59		276		386		921

		4		13		14		4/13/07 12:59		249		- 0		86		13		166		243		- 0		15		- 0		145		918				4/13/07 12:59		264		388		918

		4		13		15		4/13/07 13:59		243		- 0		86		12		159		244		- 0		13		- 0		143		900				4/13/07 13:59		256		387		900

		4		13		16		4/13/07 14:59		225		- 0		79		11		142		236		- 0		13		- 0		143		848				4/13/07 14:59		238		379		848

		4		13		17		4/13/07 15:59		220		- 0		73		8		128		234		- 0		15		- 0		145		823				4/13/07 15:59		235		379		823

		4		13		18		4/13/07 16:59		250		- 0		64		6		123		228		- 0		15		- 0		145		831				4/13/07 16:59		265		373		831

		4		13		19		4/13/07 17:59		285		- 0		63		5		135		235		- 0		16		- 0		146		885				4/13/07 17:59		301		381		885

		4		13		20		4/13/07 18:59		249		- 0		64		6		122		232		- 0		18		- 0		144		835				4/13/07 18:59		267		376		835

		4		13		21		4/13/07 19:59		257		- 0		63		5		121		230		- 0		19		3		142		840				4/13/07 19:59		276		372		840

		4		13		22		4/13/07 20:59		244		- 0		60		5		118		238		- 0		16		6		145		833				4/13/07 20:59		260		383		833

		4		13		23		4/13/07 21:59		256		- 0		58		4		124		241		- 0		15		6		145		848				4/13/07 21:59		271		386		848

		4		13		24		4/13/07 22:59		268		- 0		54		4		124		240		- 0		12		6		142		850				4/13/07 22:59		280		382		850

		4		14		1		4/13/07 23:59		320		- 0		45		4		102		239		- 0		11		6		144		870				4/13/07 23:59		331		383		870

		4		14		2		4/14/07 0:59		309		- 0		45		3		99		240		- 0		13		6		144		860				4/14/07 0:59		322		384		860

		4		14		3		4/14/07 1:59		414		- 0		49		3		120		266		- 0		13		6		147		1,018				4/14/07 1:59		427		413		1,018

		4		14		4		4/14/07 2:59		364		- 0		44		3		103		249		- 0		11		6		139		919				4/14/07 2:59		375		388		919

		4		14		5		4/14/07 3:59		315		- 0		44		3		93		240		- 0		16		6		144		860				4/14/07 3:59		331		384		860

		4		14		6		4/14/07 4:59		323		- 0		45		3		93		239		- 0		19		6		146		873				4/14/07 4:59		342		385		873

		4		14		7		4/14/07 5:59		285		- 0		45		7		94		229		- 0		22		6		145		833				4/14/07 5:59		307		374		833

		4		14		8		4/14/07 6:59		273		- 0		58		11		111		224		- 0		21		1		144		842				4/14/07 6:59		294		368		842

		4		14		9		4/14/07 7:59		253		- 0		67		13		117		221		- 0		19		- 0		143		832				4/14/07 7:59		272		364		832

		4		14		10		4/14/07 8:59		254		- 0		73		13		125		224		- 0		15		- 0		145		850				4/14/07 8:59		269		369		850

		4		14		11		4/14/07 9:59		277		- 0		76		13		134		231		- 0		16		- 0		144		891				4/14/07 9:59		293		375		891

		4		14		12		4/14/07 10:59		304		- 0		77		12		141		242		- 0		14		- 0		144		933				4/14/07 10:59		318		386		933

		4		14		13		4/14/07 11:59		256		- 0		72		10		128		234		- 0		14		- 0		142		856				4/14/07 11:59		270		376		856

		4		14		14		4/14/07 12:59		250		- 0		75		13		132		235		- 0		16		- 0		144		863				4/14/07 12:59		266		379		863

		4		14		15		4/14/07 13:59		242		- 0		75		12		131		230		- 0		13		- 0		144		847				4/14/07 13:59		255		374		847

		4		14		16		4/14/07 14:59		247		- 0		73		11		128		232		- 0		12		- 0		141		844				4/14/07 14:59		259		373		844

		4		14		17		4/14/07 15:59		256		- 0		67		8		121		237		- 0		15		- 0		143		847				4/14/07 15:59		271		380		847

		4		14		18		4/14/07 16:59		307		- 0		60		6		116		241		- 0		13		- 0		146		890				4/14/07 16:59		320		387		890

		4		14		19		4/14/07 17:59		286		- 0		58		5		109		237		- 0		14		- 0		143		852				4/14/07 17:59		300		380		852

		4		14		20		4/14/07 18:59		267		- 0		58		5		100		236		- 0		20		- 0		141		828				4/14/07 18:59		287		377		828

		4		14		21		4/14/07 19:59		310		- 0		58		6		109		247		- 0		16		3		144		893				4/14/07 19:59		326		391		893

		4		14		22		4/14/07 20:59		339		- 0		51		5		109		247		- 0		18		6		144		919				4/14/07 20:59		357		391		919

		4		14		23		4/14/07 21:59		300		- 0		47		4		100		229		- 0		17		6		145		848				4/14/07 21:59		317		374		848

		4		14		24		4/14/07 22:59		315		- 0		44		4		101		240		- 0		14		6		141		865				4/14/07 22:59		329		381		865

		4		15		1		4/14/07 23:59		423		- 0		44		4		127		269		- 0		13		6		146		1,032				4/14/07 23:59		436		415		1,032

		4		15		2		4/15/07 0:59		462		- 0		46		4		136		282		- 0		12		6		148		1,095				4/15/07 0:59		474		430		1,095

		4		15		3		4/15/07 1:59		489		- 0		46		4		135		278		- 0		14		6		148		1,120				4/15/07 1:59		503		426		1,120

		4		15		4		4/15/07 2:59		510		- 0		47		3		134		272		- 0		14		6		149		1,134				4/15/07 2:59		524		421		1,134

		4		15		5		4/15/07 3:59		334		- 0		40		3		99		238		- 0		15		6		143		878				4/15/07 3:59		349		381		878

		4		15		6		4/15/07 4:59		316		- 0		41		3		95		234		- 0		16		6		142		855				4/15/07 4:59		332		376		855

		4		15		7		4/15/07 5:59		315		- 0		46		7		100		237		- 0		20		6		144		875				4/15/07 5:59		335		381		875

		4		15		8		4/15/07 6:59		267		- 0		55		11		109		222		- 0		20		1		144		829				4/15/07 6:59		287		366		829

		4		15		9		4/15/07 7:59		263		- 0		65		13		116		219		- 0		17		- 0		141		835				4/15/07 7:59		280		360		835

		4		15		10		4/15/07 8:59		241		- 0		69		12		117		220		- 0		17		- 0		143		819				4/15/07 8:59		258		363		819

		4		15		11		4/15/07 9:59		300		- 0		74		14		137		232		- 0		15		- 0		144		915				4/15/07 9:59		315		376		915

		4		15		12		4/15/07 10:59		281		- 0		71		12		133		234		- 0		17		- 0		145		894				4/15/07 10:59		298		379		894

		4		15		13		4/15/07 11:59		257		- 0		69		10		127		229		- 0		12		- 0		142		845				4/15/07 11:59		269		371		845

		4		15		14		4/15/07 12:59		272		- 0		70		11		134		237		- 0		11		- 0		140		875				4/15/07 12:59		283		377		875

		4		15		15		4/15/07 13:59		252		- 0		70		10		128		233		- 0		12		- 0		144		849				4/15/07 13:59		264		377		849

		4		15		16		4/15/07 14:59		267		- 0		66		8		127		232		- 0		12		- 0		141		853				4/15/07 14:59		279		373		853

		4		15		17		4/15/07 15:59		271		- 0		60		6		116		234		- 0		15		- 0		142		844				4/15/07 15:59		286		376		844

		4		15		18		4/15/07 16:59		277		- 0		52		4		108		228		- 0		14		- 0		142		826				4/15/07 16:59		291		370		826

		4		15		19		4/15/07 17:59		299		- 0		52		4		108		238		- 0		15		- 0		141		858				4/15/07 17:59		314		379		858

		4		15		20		4/15/07 18:59		314		- 0		57		4		108		236		- 0		16		- 0		143		877				4/15/07 18:59		330		379		877

		4		15		21		4/15/07 19:59		299		- 0		54		4		101		233		- 0		17		3		144		856				4/15/07 19:59		316		377		856

		4		15		22		4/15/07 20:59		315		- 0		46		3		98		227		- 0		16		6		139		851				4/15/07 20:59		331		366		851

		4		15		23		4/15/07 21:59		341		- 0		44		3		96		236		- 0		15		6		143		884				4/15/07 21:59		356		379		884

		4		15		24		4/15/07 22:59		444		- 0		44		3		112		263		- 0		15		6		145		1,031				4/15/07 22:59		459		408		1,031

		4		16		1		4/15/07 23:59		206		- 0		60		3		158		237		- 0		11		6		142		821				4/15/07 23:59		217		379		821

		4		16		2		4/16/07 0:59		243		- 0		63		3		170		248		- 0		6		6		142		881				4/16/07 0:59		249		390		881

		4		16		3		4/16/07 1:59		221		- 0		59		3		158		243		- 0		8		6		142		839				4/16/07 1:59		229		385		839

		4		16		4		4/16/07 2:59		240		- 0		60		2		163		242		- 0		8		6		142		863				4/16/07 2:59		248		384		863

		4		16		5		4/16/07 3:59		358		- 0		68		3		208		278		- 0		10		6		148		1,079				4/16/07 3:59		368		426		1,079

		4		16		6		4/16/07 4:59		402		- 0		69		3		215		282		- 0		15		6		147		1,139				4/16/07 4:59		417		429		1,139

		4		16		7		4/16/07 5:59		265		- 0		55		3		147		232		- 0		12		6		142		861				4/16/07 5:59		277		374		861

		4		16		8		4/16/07 6:59		263		- 0		59		4		146		229		- 0		14		1		141		857				4/16/07 6:59		277		370		857

		4		16		9		4/16/07 7:59		301		- 0		67		4		149		234		- 0		15		- 0		144		914				4/16/07 7:59		316		378		914

		4		16		10		4/16/07 8:59		292		- 0		72		5		149		233		- 0		14		- 0		145		908				4/16/07 8:59		306		378		908

		4		16		11		4/16/07 9:59		260		- 0		74		4		151		229		- 0		15		- 0		144		877				4/16/07 9:59		275		373		877

		4		16		12		4/16/07 10:59		289		- 0		76		3		156		235		- 0		14		- 0		146		919				4/16/07 10:59		303		381		919

		4		16		13		4/16/07 11:59		255		- 0		72		3		148		229		- 0		11		- 0		141		859				4/16/07 11:59		266		370		859

		4		16		14		4/16/07 12:59		237		- 0		71		3		149		231		- 0		12		- 0		142		844				4/16/07 12:59		249		373		844

		4		16		15		4/16/07 13:59		244		- 0		73		3		158		231		- 0		11		- 0		142		862				4/16/07 13:59		255		373		862

		4		16		16		4/16/07 14:59		237		- 0		73		2		152		234		- 0		13		- 0		140		852				4/16/07 14:59		250		374		852

		4		16		17		4/16/07 15:59		254		- 0		71		2		149		233		- 0		13		- 0		143		866				4/16/07 15:59		267		376		866

		4		16		18		4/16/07 16:59		251		- 0		62		2		140		234		- 0		15		- 0		143		848				4/16/07 16:59		266		377		848

		4		16		19		4/16/07 17:59		260		- 0		62		2		145		239		- 0		12		- 0		142		862				4/16/07 17:59		272		381		862

		4		16		20		4/16/07 18:59		256		- 0		65		2		146		239		- 0		13		- 0		141		862				4/16/07 18:59		269		380		862

		4		16		21		4/16/07 19:59		250		- 0		63		3		139		235		- 0		10		3		141		845				4/16/07 19:59		260		376		845

		4		16		22		4/16/07 20:59		246		- 0		63		2		146		240		- 0		11		6		142		857				4/16/07 20:59		257		382		857

		4		16		23		4/16/07 21:59		321		- 0		69		2		176		257		- 0		11		6		146		988				4/16/07 21:59		332		403		988

		4		16		24		4/16/07 22:59		246		- 0		64		2		167		253		- 0		8		6		144		890				4/16/07 22:59		254		397		890

		4		17		1		4/16/07 23:59		273		- 0		70		2		185		256		- 0		6		6		146		944				4/16/07 23:59		279		402		944

		4		17		2		4/17/07 0:59		186		- 0		63		2		153		235		- 0		7		6		142		794				4/17/07 0:59		193		377		794

		4		17		3		4/17/07 1:59		171		- 0		60		2		144		229		- 0		8		6		141		760				4/17/07 1:59		179		370		760

		4		17		4		4/17/07 2:59		154		- 0		58		2		139		225		- 0		8		6		143		735				4/17/07 2:59		162		368		735

		4		17		5		4/17/07 3:59		253		- 0		67		2		180		253		- 0		7		6		145		913				4/17/07 3:59		260		398		913

		4		17		6		4/17/07 4:59		381		- 0		74		2		221		282		- 0		11		6		149		1,127				4/17/07 4:59		392		431		1,127

		4		17		7		4/17/07 5:59		320		- 0		66		2		192		264		- 0		13		6		146		1,010				4/17/07 5:59		333		410		1,010

		4		17		8		4/17/07 6:59		249		- 0		62		2		157		238		- 0		14		1		141		865				4/17/07 6:59		263		379		865

		4		17		9		4/17/07 7:59		246		- 0		63		2		143		227		- 0		14		- 0		141		838				4/17/07 7:59		260		368		838

		4		17		10		4/17/07 8:59		274		- 0		69		2		148		235		- 0		13		- 0		145		886				4/17/07 8:59		287		380		886

		4		17		11		4/17/07 9:59		265		- 0		70		2		144		237		- 0		13		- 0		146		877				4/17/07 9:59		278		383		877

		4		17		12		4/17/07 10:59		258		- 0		70		2		148		236		- 0		12		- 0		145		873				4/17/07 10:59		270		381		873

		4		17		13		4/17/07 11:59		241		- 0		69		2		147		234		- 0		11		- 0		144		848				4/17/07 11:59		252		378		848

		4		17		14		4/17/07 12:59		241		- 0		72		2		155		239		- 0		11		- 0		145		866				4/17/07 12:59		252		384		866

		4		17		15		4/17/07 13:59		227		- 0		73		2		158		237		- 0		11		- 0		143		852				4/17/07 13:59		238		380		852

		4		17		16		4/17/07 14:59		230		- 0		73		2		160		239		- 0		11		- 0		143		858				4/17/07 14:59		241		382		858

		4		17		17		4/17/07 15:59		261		- 0		71		2		151		238		- 0		15		- 0		145		884				4/17/07 15:59		276		383		884

		4		17		18		4/17/07 16:59		256		- 0		66		2		147		236		- 0		14		- 0		144		866				4/17/07 16:59		270		380		866

		4		17		19		4/17/07 17:59		253		- 0		64		2		145		229		- 0		14		- 0		143		850				4/17/07 17:59		267		372		850

		4		17		20		4/17/07 18:59		270		- 0		69		2		146		231		- 0		13		- 0		142		874				4/17/07 18:59		283		373		874

		4		17		21		4/17/07 19:59		239		- 0		66		3		141		227		- 0		13		3		142		833				4/17/07 19:59		252		369		833

		4		17		22		4/17/07 20:59		248		- 0		66		2		144		230		- 0		11		6		143		851				4/17/07 20:59		259		373		851

		4		17		23		4/17/07 21:59		243		- 0		65		2		155		233		- 0		12		6		143		859				4/17/07 21:59		255		376		859

		4		17		24		4/17/07 22:59		356		- 0		79		2		241		294		- 0		9		6		150		1,138				4/17/07 22:59		365		444		1,138

		4		18		1		4/17/07 23:59		189		- 0		48		2		117		235		- 0		8		6		141		745				4/17/07 23:59		197		376		745

		4		18		2		4/18/07 0:59		172		- 0		47		2		112		225		- 0		6		6		142		713				4/18/07 0:59		178		367		713

		4		18		3		4/18/07 1:59		164		- 0		46		2		111		225		- 0		7		6		141		703				4/18/07 1:59		171		366		703

		4		18		4		4/18/07 2:59		163		- 0		46		2		112		228		- 0		7		6		139		703				4/18/07 2:59		170		367		703

		4		18		5		4/18/07 3:59		178		- 0		45		2		118		233		- 0		10		6		141		734				4/18/07 3:59		188		374		734

		4		18		6		4/18/07 4:59		291		- 0		50		3		155		254		- 0		9		6		142		909				4/18/07 4:59		300		396		909

		4		18		7		4/18/07 5:59		272		- 0		50		7		139		230		- 0		11		6		141		856				4/18/07 5:59		283		371		856

		4		18		8		4/18/07 6:59		241		- 0		62		10		151		240		- 0		12		1		143		862				4/18/07 6:59		253		383		862

		4		18		9		4/18/07 7:59		218		- 0		72		12		155		238		- 0		13		- 0		142		850				4/18/07 7:59		231		380		850

		4		18		10		4/18/07 8:59		214		- 0		79		13		160		236		- 0		15		- 0		142		860				4/18/07 8:59		229		378		860

		4		18		11		4/18/07 9:59		213		- 0		83		14		169		239		- 0		12		- 0		143		873				4/18/07 9:59		225		382		873

		4		18		12		4/18/07 10:59		200		- 0		80		12		168		238		- 0		13		- 0		142		852				4/18/07 10:59		213		380		852

		4		18		13		4/18/07 11:59		199		- 0		80		10		161		236		- 0		11		- 0		142		839				4/18/07 11:59		210		378		839

		4		18		14		4/18/07 12:59		190		- 0		84		13		178		245		- 0		9		- 0		139		857				4/18/07 12:59		199		384		857

		4		18		15		4/18/07 13:59		200		- 0		86		12		188		237		- 0		10		- 0		138		871				4/18/07 13:59		210		375		871

		4		18		16		4/18/07 14:59		216		- 0		81		10		178		236		- 0		8		- 0		136		866				4/18/07 14:59		224		372		866

		4		18		17		4/18/07 15:59		222		- 0		76		7		159		235		- 0		10		- 0		142		851				4/18/07 15:59		232		377		851

		4		18		18		4/18/07 16:59		230		- 0		63		5		147		233		- 0		13		- 0		142		832				4/18/07 16:59		243		375		832

		4		18		19		4/18/07 17:59		253		- 0		57		5		148		241		- 0		15		- 0		140		858				4/18/07 17:59		268		381		858

		4		18		20		4/18/07 18:59		235		- 0		59		5		140		236		- 0		13		- 0		142		830				4/18/07 18:59		248		378		830

		4		18		21		4/18/07 19:59		254		- 0		58		5		140		239		- 0		14		2		144		856				4/18/07 19:59		268		383		856

		4		18		22		4/18/07 20:59		277		- 0		55		5		160		247		- 0		10		6		143		902				4/18/07 20:59		287		390		902

		4		18		23		4/18/07 21:59		401		- 0		65		5		210		288		- 0		10		6		150		1,135				4/18/07 21:59		411		438		1,135

		4		18		24		4/18/07 22:59		168		- 0		47		3		133		233		- 0		7		6		143		741				4/18/07 22:59		175		376		741

		4		19		1		4/18/07 23:59		139		- 0		46		4		123		241		- 0		5		6		149		713				4/18/07 23:59		144		390		713

		4		19		2		4/19/07 0:59		106		- 0		41		4		103		225		- 0		6		6		146		638				4/19/07 0:59		112		371		638

		4		19		3		4/19/07 1:59		138		- 0		45		4		117		241		- 0		7		6		146		704				4/19/07 1:59		145		387		704

		4		19		4		4/19/07 2:59		137		- 0		43		4		111		226		- 0		6		6		148		680				4/19/07 2:59		143		374		680

		4		19		5		4/19/07 3:59		121		- 0		41		3		105		218		- 0		9		6		147		650				4/19/07 3:59		130		365		650

		4		19		6		4/19/07 4:59		195		- 0		45		3		123		235		- 0		9		6		142		759				4/19/07 4:59		204		377		759

		4		19		7		4/19/07 5:59		320		- 0		54		6		166		255		- 0		15		6		143		966				4/19/07 5:59		335		398		966

		4		19		8		4/19/07 6:59		246		- 0		63		11		152		230		- 0		16		1		143		862				4/19/07 6:59		262		373		862

		4		19		9		4/19/07 7:59		224		- 0		75		12		169		230		- 0		11		- 0		138		861				4/19/07 7:59		235		368		861

		4		19		10		4/19/07 8:59		208		- 0		82		14		169		232		- 0		13		- 0		140		857				4/19/07 8:59		221		372		857

		4		19		11		4/19/07 9:59		206		- 0		83		14		173		233		- 0		9		- 0		140		859				4/19/07 9:59		215		373		859

		4		19		12		4/19/07 10:59		205		- 0		83		12		169		232		- 0		10		- 0		142		853				4/19/07 10:59		215		374		853

		4		19		13		4/19/07 11:59		206		- 0		86		11		185		240		- 0		10		- 0		143		881				4/19/07 11:59		216		383		881

		4		19		14		4/19/07 12:59		193		- 0		86		13		180		233		- 0		10		- 0		142		857				4/19/07 12:59		203		375		857

		4		19		15		4/19/07 13:59		199		- 0		89		14		191		245		- 0		10		- 0		144		891				4/19/07 13:59		209		389		891

		4		19		16		4/19/07 14:59		201		- 0		83		10		180		241		- 0		10		- 0		143		868				4/19/07 14:59		211		384		868

		4		19		17		4/19/07 15:59		219		- 0		77		7		158		236		- 0		13		- 0		143		853				4/19/07 15:59		232		379		853

		4		19		18		4/19/07 16:59		234		- 0		64		5		149		240		- 0		12		- 0		143		847				4/19/07 16:59		246		383		847

		4		19		19		4/19/07 17:59		248		- 0		60		5		149		240		- 0		13		- 0		143		858				4/19/07 17:59		261		383		858

		4		19		20		4/19/07 18:59		242		- 0		61		6		141		237		- 0		14		- 0		143		844				4/19/07 18:59		256		380		844

		4		19		21		4/19/07 19:59		244		- 0		60		6		138		240		- 0		14		1		143		846				4/19/07 19:59		258		383		846

		4		19		22		4/19/07 20:59		251		- 0		58		5		144		245		- 0		12		6		143		864				4/19/07 20:59		263		388		864

		4		19		23		4/19/07 21:59		377		- 0		66		4		212		299		- 0		11		6		149		1,124				4/19/07 21:59		388		448		1,124

		4		19		24		4/19/07 22:59		225		- 0		52		3		153		255		- 0		9		6		143		847				4/19/07 22:59		234		398		847

		4		20		1		4/19/07 23:59		401		- 0		63		3		194		295		- 0		9		6		150		1,122				4/19/07 23:59		410		445		1,122

		4		20		2		4/20/07 0:59		398		- 0		64		4		195		302		- 0		10		6		150		1,128				4/20/07 0:59		408		452		1,128

		4		20		3		4/20/07 1:59		405		- 0		64		4		188		295		- 0		10		6		149		1,121				4/20/07 1:59		415		444		1,121

		4		20		4		4/20/07 2:59		379		- 0		61		3		182		290		- 0		11		6		150		1,081				4/20/07 2:59		390		440		1,081

		4		20		5		4/20/07 3:59		428		- 0		63		2		192		299		- 0		11		6		151		1,151				4/20/07 3:59		439		450		1,151

		4		20		6		4/20/07 4:59		308		- 0		56		2		151		265		- 0		13		6		146		947				4/20/07 4:59		321		411		947

		4		20		7		4/20/07 5:59		250		- 0		53		6		129		237		- 0		15		6		144		841				4/20/07 5:59		265		381		841

		4		20		8		4/20/07 6:59		230		- 0		65		10		144		243		- 0		18		1		144		855				4/20/07 6:59		248		387		855

		4		20		9		4/20/07 7:59		220		- 0		74		13		152		242		- 0		15		- 0		139		855				4/20/07 7:59		235		381		855

		4		20		10		4/20/07 8:59		202		- 0		82		13		162		240		- 0		13		- 0		140		852				4/20/07 8:59		215		380		852

		4		20		11		4/20/07 9:59		201		- 0		80		13		155		232		- 0		12		- 0		143		836				4/20/07 9:59		213		375		836

		4		20		12		4/20/07 10:59		210		- 0		79		12		158		240		- 0		12		- 0		143		855				4/20/07 10:59		222		383		855

		4		20		13		4/20/07 11:59		221		- 0		78		10		162		242		- 0		8		- 0		143		863				4/20/07 11:59		229		385		863

		4		20		14		4/20/07 12:59		203		- 0		82		13		173		247		- 0		9		- 0		144		871				4/20/07 12:59		212		391		871

		4		20		15		4/20/07 13:59		206		- 0		80		13		167		246		- 0		11		- 0		143		866				4/20/07 13:59		217		389		866

		4		20		16		4/20/07 14:59		275		- 0		90		11		211		275		- 0		10		- 0		148		1,019				4/20/07 14:59		285		423		1,019

		4		20		17		4/20/07 15:59		233		- 0		71		7		145		242		- 0		13		- 0		143		854				4/20/07 15:59		246		385		854

		4		20		18		4/20/07 16:59		253		- 0		61		5		138		244		- 0		13		- 0		143		857				4/20/07 16:59		266		387		857

		4		20		19		4/20/07 17:59		264		- 0		57		5		137		241		- 0		13		- 0		143		859				4/20/07 17:59		277		384		859

		4		20		20		4/20/07 18:59		259		- 0		59		5		130		236		- 0		14		- 0		144		846				4/20/07 18:59		273		380		846

		4		20		21		4/20/07 19:59		253		- 0		58		6		126		235		- 0		14		1		142		836				4/20/07 19:59		267		377		836

		4		20		22		4/20/07 20:59		266		- 0		55		5		130		240		- 0		12		6		142		856				4/20/07 20:59		278		382		856

		4		20		23		4/20/07 21:59		357		- 0		59		5		165		270		- 0		10		6		145		1,018				4/20/07 21:59		367		415		1,018

		4		20		24		4/20/07 22:59		333		- 0		54		4		162		273		- 0		9		6		145		986				4/20/07 22:59		342		418		986

		4		21		1		4/20/07 23:59		442		- 0		46		4		127		271		- 0		8		6		144		1,049				4/20/07 23:59		450		415		1,049

		4		21		2		4/21/07 0:59		479		- 0		47		3		134		287		- 0		13		6		150		1,119				4/21/07 0:59		492		437		1,119

		4		21		3		4/21/07 1:59		492		- 0		49		4		136		286		- 0		13		6		150		1,136				4/21/07 1:59		505		436		1,136

		4		21		4		4/21/07 2:59		480		- 0		48		3		127		272		- 0		14		6		149		1,098				4/21/07 2:59		494		421		1,098

		4		21		5		4/21/07 3:59		492		- 0		49		3		130		279		- 0		18		6		147		1,124				4/21/07 3:59		510		426		1,124

		4		21		6		4/21/07 4:59		318		- 0		42		3		92		230		- 0		17		6		143		851				4/21/07 4:59		335		373		851

		4		21		7		4/21/07 5:59		272		- 0		45		6		91		222		- 0		18		5		145		805				4/21/07 5:59		290		367		805

		4		21		8		4/21/07 6:59		266		- 0		55		10		108		223		- 0		24		1		144		831				4/21/07 6:59		290		367		831

		4		21		9		4/21/07 7:59		247		- 0		66		13		117		225		- 0		23		- 0		144		835				4/21/07 7:59		270		369		835

		4		21		10		4/21/07 8:59		256		- 0		73		13		126		227		- 0		18		- 0		145		859				4/21/07 8:59		274		372		859

		4		21		11		4/21/07 9:59		248		- 0		73		14		123		221		- 0		18		- 0		145		841				4/21/07 9:59		266		366		841

		4		21		12		4/21/07 10:59		245		- 0		72		12		122		224		- 0		18		- 0		145		838				4/21/07 10:59		263		369		838

		4		21		13		4/21/07 11:59		288		- 0		76		10		136		237		- 0		16		- 0		146		909				4/21/07 11:59		304		383		909

		4		21		14		4/21/07 12:59		279		- 0		79		13		140		239		- 0		17		- 0		146		912				4/21/07 12:59		296		385		912

		4		21		15		4/21/07 13:59		259		- 0		77		12		135		237		- 0		14		- 0		145		879				4/21/07 13:59		273		382		879

		4		21		16		4/21/07 14:59		273		- 0		75		10		133		237		- 0		14		- 0		146		886				4/21/07 14:59		287		383		886

		4		21		17		4/21/07 15:59		289		- 0		71		7		126		246		- 0		18		- 0		146		904				4/21/07 15:59		307		392		904

		4		21		18		4/21/07 16:59		311		- 0		63		5		118		248		- 0		17		- 0		147		907				4/21/07 16:59		328		395		907

		4		21		19		4/21/07 17:59		320		- 0		60		5		114		240		- 0		17		- 0		146		901				4/21/07 17:59		337		386		901

		4		21		20		4/21/07 18:59		315		- 0		60		5		112		248		- 0		22		- 0		147		909				4/21/07 18:59		337		395		909

		4		21		21		4/21/07 19:59		265		- 0		55		6		98		235		- 0		17		1		145		822				4/21/07 19:59		282		380		822

		4		21		22		4/21/07 20:59		304		- 0		49		5		103		239		- 0		17		6		144		867				4/21/07 20:59		321		383		867

		4		21		23		4/21/07 21:59		293		- 0		45		4		96		234		- 0		13		6		144		837				4/21/07 21:59		306		378		837

		4		21		24		4/21/07 22:59		315		- 0		45		3		99		243		- 0		13		6		144		869				4/21/07 22:59		328		387		869

		4		22		1		4/21/07 23:59		375		- 0		41		4		118		265		- 0		13		6		146		968				4/21/07 23:59		388		411		968

		4		22		2		4/22/07 0:59		454		- 0		43		4		128		271		- 0		13		6		148		1,067				4/22/07 0:59		467		419		1,067

		4		22		3		4/22/07 1:59		273		- 0		34		4		90		232		- 0		11		6		141		791				4/22/07 1:59		284		373		791

		4		22		4		4/22/07 2:59		394		- 0		40		3		114		261		- 0		13		6		146		978				4/22/07 2:59		407		407		978

		4		22		5		4/22/07 3:59		445		- 0		41		3		122		268		- 0		14		6		148		1,047				4/22/07 3:59		459		416		1,047

		4		22		6		4/22/07 4:59		333		- 0		37		3		95		238		- 0		16		6		143		871				4/22/07 4:59		349		381		871

		4		22		7		4/22/07 5:59		361		- 0		43		7		108		245		- 0		20		5		146		936				4/22/07 5:59		381		391		936

		4		22		8		4/22/07 6:59		293		- 0		54		10		115		237		- 0		17		1		145		872				4/22/07 6:59		310		382		872

		4		22		9		4/22/07 7:59		306		- 0		66		13		132		235		- 0		18		- 0		144		913				4/22/07 7:59		324		379		913

		4		22		10		4/22/07 8:59		294		- 0		70		12		133		232		- 0		18		- 0		145		903				4/22/07 8:59		312		377		903

		4		22		11		4/22/07 9:59		274		- 0		70		12		133		229		- 0		13		- 0		143		875				4/22/07 9:59		287		372		875

		4		22		12		4/22/07 10:59		267		- 0		69		13		133		238		- 0		15		- 0		146		879				4/22/07 10:59		282		384		879

		4		22		13		4/22/07 11:59		254		- 0		69		10		131		238		- 0		14		- 0		146		863				4/22/07 11:59		268		384		863

		4		22		14		4/22/07 12:59		251		- 0		70		12		136		236		- 0		13		- 0		145		863				4/22/07 12:59		264		381		863

		4		22		15		4/22/07 13:59		245		- 0		70		11		134		238		- 0		12		- 0		144		854				4/22/07 13:59		257		382		854

		4		22		16		4/22/07 14:59		242		- 0		64		8		125		239		- 0		12		- 0		144		835				4/22/07 14:59		254		383		835

		4		22		17		4/22/07 15:59		263		- 0		62		6		120		240		- 0		14		- 0		145		850				4/22/07 15:59		277		385		850

		4		22		18		4/22/07 16:59		270		- 0		54		4		113		239		- 0		14		- 0		145		839				4/22/07 16:59		284		384		839

		4		22		19		4/22/07 17:59		282		- 0		53		4		108		240		- 0		15		- 0		146		847				4/22/07 17:59		297		386		847

		4		22		20		4/22/07 18:59		289		- 0		55		4		106		243		- 0		18		- 0		146		861				4/22/07 18:59		307		389		861

		4		22		21		4/22/07 19:59		302		- 0		57		4		108		244		- 0		16		1		147		879				4/22/07 19:59		318		391		879

		4		22		22		4/22/07 20:59		281		- 0		48		4		96		233		- 0		17		6		145		829				4/22/07 20:59		298		378		829

		4		22		23		4/22/07 21:59		312		- 0		45		3		97		241		- 0		15		6		145		864				4/22/07 21:59		327		386		864

		4		22		24		4/22/07 22:59		462		- 0		50		3		124		278		- 0		14		6		148		1,084				4/22/07 22:59		476		426		1,084

		4		23		1		4/22/07 23:59		249		- 0		65		2		164		249		- 0		12		6		145		893				4/22/07 23:59		261		394		893

		4		23		2		4/23/07 0:59		358		- 0		75		2		223		297		- 0		12		6		152		1,125				4/23/07 0:59		370		449		1,125

		4		23		3		4/23/07 1:59		311		- 0		70		2		197		282		- 0		10		6		149		1,027				4/23/07 1:59		321		431		1,027

		4		23		4		4/23/07 2:59		241		- 0		62		3		155		249		- 0		10		6		145		870				4/23/07 2:59		251		394		870

		4		23		5		4/23/07 3:59		238		- 0		62		2		152		242		- 0		11		6		144		858				4/23/07 3:59		249		386		858

		4		23		6		4/23/07 4:59		245		- 0		61		2		149		242		- 0		12		6		144		861				4/23/07 4:59		257		386		861

		4		23		7		4/23/07 5:59		242		- 0		59		3		151		245		- 0		13		5		144		864				4/23/07 5:59		255		389		864

		4		23		8		4/23/07 6:59		254		- 0		60		3		145		243		- 0		16		1		146		868				4/23/07 6:59		270		389		868

		4		23		9		4/23/07 7:59		273		- 0		66		4		148		242		- 0		16		- 0		146		895				4/23/07 7:59		289		388		895

		4		23		10		4/23/07 8:59		272		- 0		71		4		148		247		- 0		15		- 0		147		904				4/23/07 8:59		287		394		904

		4		23		11		4/23/07 9:59		252		- 0		71		3		141		239		- 0		19		- 0		146		873				4/23/07 9:59		271		385		873

		4		23		12		4/23/07 10:59		269		- 0		72		3		148		240		- 0		15		- 0		146		894				4/23/07 10:59		284		386		894

		4		23		13		4/23/07 11:59		271		- 0		71		3		148		242		- 0		15		- 0		147		896				4/23/07 11:59		286		389		896

		4		23		14		4/23/07 12:59		253		- 0		69		3		146		238		- 0		16		- 0		146		870				4/23/07 12:59		269		384		870

		4		23		15		4/23/07 13:59		237		- 0		67		3		143		235		- 0		13		- 0		146		844				4/23/07 13:59		250		381		844

		4		23		16		4/23/07 14:59		248		- 0		68		3		138		234		- 0		14		- 0		146		852				4/23/07 14:59		262		380		852

		4		23		17		4/23/07 15:59		289		- 0		68		3		142		241		- 0		18		- 0		147		908				4/23/07 15:59		307		388		908

		4		23		18		4/23/07 16:59		308		- 0		61		3		139		234		- 0		16		- 0		147		907				4/23/07 16:59		324		381		907

		4		23		19		4/23/07 17:59		299		- 0		63		3		137		229		- 0		17		- 0		145		893				4/23/07 17:59		316		374		893

		4		23		20		4/23/07 18:59		284		- 0		67		3		138		238		- 0		16		- 0		146		892				4/23/07 18:59		300		384		892

		4		23		21		4/23/07 19:59		268		- 0		65		4		135		237		- 0		15		1		146		870				4/23/07 19:59		283		383		870

		4		23		22		4/23/07 20:59		285		- 0		67		3		138		238		- 0		15		6		147		898				4/23/07 20:59		300		385		898

		4		23		23		4/23/07 21:59		257		- 0		66		3		135		236		- 0		14		6		141		858				4/23/07 21:59		271		377		858

		4		23		24		4/23/07 22:59		254		- 0		63		3		136		237		- 0		12		6		144		855				4/23/07 22:59		266		381		855

		4		24		1		4/23/07 23:59		254		- 0		67		3		149		235		- 0		12		6		145		871				4/23/07 23:59		266		380		871

		4		24		2		4/24/07 0:59		252		- 0		67		3		148		237		- 0		10		6		144		868				4/24/07 0:59		262		381		868

		4		24		3		4/24/07 1:59		246		- 0		68		3		153		239		- 0		10		6		143		868				4/24/07 1:59		256		382		868

		4		24		4		4/24/07 2:59		252		- 0		66		3		153		239		- 0		13		6		146		878				4/24/07 2:59		265		385		878

		4		24		5		4/24/07 3:59		254		- 0		65		3		149		234		- 0		10		6		145		865				4/24/07 3:59		264		379		865

		4		24		6		4/24/07 4:59		247		- 0		65		3		150		228		- 0		15		6		145		858				4/24/07 4:59		262		373		858

		4		24		7		4/24/07 5:59		243		- 0		63		2		149		233		- 0		19		5		145		858				4/24/07 5:59		262		378		858

		4		24		8		4/24/07 6:59		267		- 0		62		3		142		231		- 0		15		1		146		865				4/24/07 6:59		282		377		865

		4		24		9		4/24/07 7:59		276		- 0		66		3		148		234		- 0		14		- 0		145		886				4/24/07 7:59		290		379		886

		4		24		10		4/24/07 8:59		248		- 0		65		3		131		224		- 0		16		- 0		145		831				4/24/07 8:59		264		369		831

		4		24		11		4/24/07 9:59		231		- 0		69		3		128		226		- 0		18		- 0		144		818				4/24/07 9:59		249		370		818

		4		24		12		4/24/07 10:59		235		- 0		68		2		133		227		- 0		19		- 0		146		830				4/24/07 10:59		254		373		830

		4		24		13		4/24/07 11:59		279		- 0		69		3		151		235		- 0		18		- 0		145		900				4/24/07 11:59		297		380		900

		4		24		14		4/24/07 12:59		258		- 0		69		2		148		233		- 0		17		- 0		144		872				4/24/07 12:59		275		377		872

		4		24		15		4/24/07 13:59		255		- 0		69		2		149		237		- 0		14		- 0		143		869				4/24/07 13:59		269		380		869

		4		24		16		4/24/07 14:59		226		- 0		69		2		151		237		- 0		15		- 0		141		842				4/24/07 14:59		241		378		842

		4		24		17		4/24/07 15:59		241		- 0		69		2		146		237		- 0		13		- 0		145		852				4/24/07 15:59		254		382		852

		4		24		18		4/24/07 16:59		272		- 0		65		2		145		234		- 0		15		- 0		145		879				4/24/07 16:59		287		379		879

		4		24		19		4/24/07 17:59		255		- 0		63		2		144		231		- 0		15		- 0		143		853				4/24/07 17:59		270		374		853

		4		24		20		4/24/07 18:59		242		- 0		65		3		139		225		- 0		15		- 0		145		834				4/24/07 18:59		257		370		834

		4		24		21		4/24/07 19:59		237		- 0		65		3		140		227		- 0		15		1		145		833				4/24/07 19:59		252		372		833

		4		24		22		4/24/07 20:59		248		- 0		65		3		145		227		- 0		11		6		144		851				4/24/07 20:59		259		371		851

		4		24		23		4/24/07 21:59		247		- 0		64		3		156		235		- 0		10		6		145		866				4/24/07 21:59		257		380		866

		4		24		24		4/24/07 22:59		347		- 0		79		2		234		286		- 0		12		6		152		1,119				4/24/07 22:59		359		438		1,119

		4		25		1		4/24/07 23:59		392		- 0		63		2		177		281		- 0		8		6		151		1,081				4/24/07 23:59		400		432		1,081

		4		25		2		4/25/07 0:59		428		- 0		65		2		184		290		- 0		11		6		152		1,138				4/25/07 0:59		439		442		1,138

		4		25		3		4/25/07 1:59		389		- 0		63		2		179		289		- 0		11		6		151		1,091				4/25/07 1:59		400		440		1,091

		4		25		4		4/25/07 2:59		410		- 0		65		2		186		293		- 0		12		6		151		1,125				4/25/07 2:59		422		444		1,125

		4		25		5		4/25/07 3:59		294		- 0		55		3		141		252		- 0		15		6		146		911				4/25/07 3:59		309		398		911

		4		25		6		4/25/07 4:59		263		- 0		54		3		132		236		- 0		13		6		144		852				4/25/07 4:59		276		380		852

		4		25		7		4/25/07 5:59		271		- 0		56		7		135		232		- 0		18		5		145		871				4/25/07 5:59		289		377		871

		4		25		8		4/25/07 6:59		222		- 0		65		10		134		229		- 0		14		1		145		821				4/25/07 6:59		236		374		821

		4		25		9		4/25/07 7:59		201		- 0		73		12		137		225		- 0		21		- 0		145		813				4/25/07 7:59		222		370		813

		4		25		10		4/25/07 8:59		204		- 0		78		12		147		230		- 0		18		- 0		145		835				4/25/07 8:59		222		375		835

		4		25		11		4/25/07 9:59		228		- 0		83		14		155		230		- 0		14		- 0		145		870				4/25/07 9:59		242		375		870

		4		25		12		4/25/07 10:59		234		- 0		81		13		154		231		- 0		14		- 0		146		872				4/25/07 10:59		248		377		872

		4		25		13		4/25/07 11:59		239		- 0		82		11		159		236		- 0		11		- 0		146		884				4/25/07 11:59		250		382		884

		4		25		14		4/25/07 12:59		207		- 0		82		13		156		226		- 0		13		- 0		145		841				4/25/07 12:59		220		371		841

		4		25		15		4/25/07 13:59		213		- 0		82		12		160		229		- 0		13		- 0		145		855				4/25/07 13:59		226		374		855

		4		25		16		4/25/07 14:59		212		- 0		78		10		153		234		- 0		13		- 0		145		846				4/25/07 14:59		225		379		846

		4		25		17		4/25/07 15:59		266		- 0		77		8		153		240		- 0		13		- 0		147		903				4/25/07 15:59		279		387		903

		4		25		18		4/25/07 16:59		279		- 0		66		5		144		237		- 0		16		- 0		146		893				4/25/07 16:59		295		383		893

		4		25		19		4/25/07 17:59		260		- 0		58		5		131		232		- 0		18		- 0		146		851				4/25/07 17:59		278		378		851

		4		25		20		4/25/07 18:59		251		- 0		61		6		129		231		- 0		17		- 0		145		840				4/25/07 18:59		268		376		840

		4		25		21		4/25/07 19:59		245		- 0		60		6		126		233		- 0		17		1		144		833				4/25/07 19:59		262		377		833

		4		25		22		4/25/07 20:59		286		- 0		60		6		138		240		- 0		16		6		146		897				4/25/07 20:59		302		386		897

		4		25		23		4/25/07 21:59		262		- 0		56		5		130		229		- 0		12		6		145		844				4/25/07 21:59		274		374		844

		4		25		24		4/25/07 22:59		265		- 0		55		4		145		242		- 0		13		6		144		874				4/25/07 22:59		278		386		874

		4		26		1		4/25/07 23:59		194		- 0		48		4		126		242		- 0		9		6		143		772				4/25/07 23:59		203		385		772

		4		26		2		4/26/07 0:59		194		- 0		47		4		124		240		- 0		10		6		142		768				4/26/07 0:59		204		382		768

		4		26		3		4/26/07 1:59		200		- 0		49		4		123		238		- 0		9		6		143		773				4/26/07 1:59		209		381		773

		4		26		4		4/26/07 2:59		269		- 0		52		4		144		258		- 0		9		6		146		889				4/26/07 2:59		278		404		889

		4		26		5		4/26/07 3:59		359		- 0		57		3		171		281		- 0		12		6		150		1,039				4/26/07 3:59		371		431		1,039

		4		26		6		4/26/07 4:59		341		- 0		55		3		153		258		- 0		14		6		147		977				4/26/07 4:59		355		405		977

		4		26		7		4/26/07 5:59		250		- 0		53		7		127		229		- 0		16		5		144		831				4/26/07 5:59		266		373		831

		4		26		8		4/26/07 6:59		261		- 0		67		10		148		237		- 0		15		1		145		885				4/26/07 6:59		276		382		885

		4		26		9		4/26/07 7:59		220		- 0		75		13		153		229		- 0		14		- 0		144		848				4/26/07 7:59		234		373		848

		4		26		10		4/26/07 8:59		210		- 0		81		13		159		235		- 0		12		- 0		145		854				4/26/07 8:59		222		380		854

		4		26		11		4/26/07 9:59		215		- 0		85		13		167		238		- 0		12		- 0		141		872				4/26/07 9:59		227		379		872

		4		26		12		4/26/07 10:59		205		- 0		83		12		164		234		- 0		9		- 0		144		851				4/26/07 10:59		214		378		851

		4		26		13		4/26/07 11:59		197		- 0		82		11		167		239		- 0		8		- 0		143		847				4/26/07 11:59		205		382		847

		4		26		14		4/26/07 12:59		189		- 0		86		13		182		243		- 0		10		- 0		144		866				4/26/07 12:59		199		387		866

		4		26		15		4/26/07 13:59		192		- 0		85		12		177		239		- 0		8		- 0		144		856				4/26/07 13:59		200		383		856

		4		26		16		4/26/07 14:59		206		- 0		82		10		174		242		- 0		8		- 0		144		866				4/26/07 14:59		214		386		866

		4		26		17		4/26/07 15:59		222		- 0		75		7		157		243		- 0		9		- 0		144		855				4/26/07 15:59		231		387		855

		4		26		18		4/26/07 16:59		237		- 0		63		4		146		233		- 0		12		- 0		144		838				4/26/07 16:59		249		377		838

		4		26		19		4/26/07 17:59		254		- 0		58		5		147		236		- 0		13		- 0		144		856				4/26/07 17:59		267		380		856

		4		26		20		4/26/07 18:59		264		- 0		60		5		142		237		- 0		14		- 0		145		867				4/26/07 18:59		278		382		867

		4		26		21		4/26/07 19:59		264		- 0		60		6		142		240		- 0		15		1		144		872				4/26/07 19:59		279		384		872

		4		26		22		4/26/07 20:59		253		- 0		55		5		140		239		- 0		13		6		142		855				4/26/07 20:59		266		381		855

		4		26		23		4/26/07 21:59		302		- 0		58		4		163		261		- 0		9		6		146		949				4/26/07 21:59		311		407		949

		4		26		24		4/26/07 22:59		310		- 0		60		3		179		280		- 0		12		6		148		999				4/26/07 22:59		322		428		999

		4		27		1		4/26/07 23:59		290		- 0		58		4		146		263		- 0		12		6		147		925				4/26/07 23:59		302		410		925

		4		27		2		4/27/07 0:59		346		- 0		60		4		167		284		- 0		13		6		149		1,029				4/27/07 0:59		359		433		1,029

		4		27		3		4/27/07 1:59		328		- 0		58		4		152		270		- 0		12		6		148		977				4/27/07 1:59		340		418		977

		4		27		4		4/27/07 2:59		264		- 0		55		3		128		255		- 0		14		6		145		870				4/27/07 2:59		278		400		870

		4		27		5		4/27/07 3:59		267		- 0		55		3		131		254		- 0		14		6		145		876				4/27/07 3:59		281		399		876

		4		27		6		4/27/07 4:59		266		- 0		53		3		124		242		- 0		17		6		144		855				4/27/07 4:59		283		386		855

		4		27		7		4/27/07 5:59		280		- 0		55		7		133		242		- 0		18		5		146		886				4/27/07 5:59		298		388		886

		4		27		8		4/27/07 6:59		237		- 0		64		10		136		237		- 0		16		1		146		846				4/27/07 6:59		253		383		846

		4		27		9		4/27/07 7:59		248		- 0		78		12		158		239		- 0		15		- 0		145		897				4/27/07 7:59		263		384		897

		4		27		10		4/27/07 8:59		224		- 0		82		12		156		235		- 0		14		- 0		145		868				4/27/07 8:59		238		380		868

		4		27		11		4/27/07 9:59		237		- 0		85		13		163		240		- 0		12		- 0		147		897				4/27/07 9:59		249		387		897

		4		27		12		4/27/07 10:59		223		- 0		83		11		157		240		- 0		12		- 0		146		873				4/27/07 10:59		235		386		873

		4		27		13		4/27/07 11:59		209		- 0		81		10		159		234		- 0		13		- 0		144		850				4/27/07 11:59		222		378		850

		4		27		14		4/27/07 12:59		200		- 0		84		12		167		237		- 0		11		- 0		144		856				4/27/07 12:59		211		381		856

		4		27		15		4/27/07 13:59		207		- 0		82		12		163		241		- 0		10		- 0		145		859				4/27/07 13:59		217		386		859

		4		27		16		4/27/07 14:59		208		- 0		79		10		152		239		- 0		10		- 0		145		842				4/27/07 14:59		218		384		842

		4		27		17		4/27/07 15:59		236		- 0		73		7		139		235		- 0		15		- 0		145		850				4/27/07 15:59		251		380		850

		4		27		18		4/27/07 16:59		283		- 0		66		5		140		245		- 0		14		- 0		147		900				4/27/07 16:59		297		392		900

		4		27		19		4/27/07 17:59		290		- 0		63		5		137		245		- 0		14		- 0		147		901				4/27/07 17:59		304		392		901

		4		27		20		4/27/07 18:59		285		- 0		65		5		138		243		- 0		16		- 0		146		897				4/27/07 18:59		301		389		897

		4		27		21		4/27/07 19:59		263		- 0		62		5		131		236		- 0		14		1		144		856				4/27/07 19:59		277		380		856

		4		27		22		4/27/07 20:59		260		- 0		59		5		126		236		- 0		14		6		145		851				4/27/07 20:59		274		381		851

		4		27		23		4/27/07 21:59		262		- 0		58		4		133		245		- 0		12		6		144		864				4/27/07 21:59		274		389		864

		4		27		24		4/27/07 22:59		319		- 0		59		3		161		276		- 0		12		6		148		985				4/27/07 22:59		331		424		985

		4		28		1		4/27/07 23:59		374		- 0		46		4		117		267		- 0		13		6		147		974				4/27/07 23:59		387		414		974

		4		28		2		4/28/07 0:59		443		- 0		50		4		133		284		- 0		14		6		151		1,085				4/28/07 0:59		457		435		1,085

		4		28		3		4/28/07 1:59		476		- 0		52		4		137		287		- 0		15		6		152		1,127				4/28/07 1:59		491		439		1,127

		4		28		4		4/28/07 2:59		387		- 0		46		3		113		259		- 0		16		6		148		978				4/28/07 2:59		403		407		978

		4		28		5		4/28/07 3:59		359		- 0		46		3		109		261		- 0		13		6		147		943				4/28/07 3:59		372		408		943

		4		28		6		4/28/07 4:59		307		- 0		42		3		94		241		- 0		18		6		144		855				4/28/07 4:59		325		385		855

		4		28		7		4/28/07 5:59		331		- 0		48		6		106		245		- 0		20		5		147		909				4/28/07 5:59		351		392		909

		4		28		8		4/28/07 6:59		243		- 0		55		10		107		233		- 0		16		1		146		811				4/28/07 6:59		259		379		811

		4		28		9		4/28/07 7:59		229		- 0		66		12		115		232		- 0		19		- 0		144		818				4/28/07 7:59		248		376		818

		4		28		10		4/28/07 8:59		266		- 0		74		13		127		235		- 0		15		- 0		144		874				4/28/07 8:59		281		379		874

		4		28		11		4/28/07 9:59		289		- 0		76		14		137		237		- 0		15		- 0		147		916				4/28/07 9:59		304		384		916

		4		28		12		4/28/07 10:59		268		- 0		75		12		131		231		- 0		13		- 0		146		877				4/28/07 10:59		281		377		877

		4		28		13		4/28/07 11:59		253		- 0		73		11		130		238		- 0		17		- 0		146		869				4/28/07 11:59		270		384		869

		4		28		14		4/28/07 12:59		223		- 0		74		13		127		238		- 0		12		- 0		145		833				4/28/07 12:59		235		383		833

		4		28		15		4/28/07 13:59		235		- 0		74		12		132		244		- 0		12		- 0		145		852				4/28/07 13:59		247		389		852

		4		28		16		4/28/07 14:59		248		- 0		69		10		127		244		- 0		12		- 0		144		854				4/28/07 14:59		260		388		854

		4		28		17		4/28/07 15:59		271		- 0		65		7		117		244		- 0		16		- 0		146		865				4/28/07 15:59		287		390		865

		4		28		18		4/28/07 16:59		294		- 0		57		4		110		243		- 0		19		- 0		146		873				4/28/07 16:59		313		389		873

		4		28		19		4/28/07 17:59		328		- 0		59		5		111		246		- 0		17		- 0		147		913				4/28/07 17:59		345		393		913

		4		28		20		4/28/07 18:59		314		- 0		61		5		111		245		- 0		18		- 0		147		901				4/28/07 18:59		332		392		901

		4		28		21		4/28/07 19:59		322		- 0		59		5		111		251		- 0		18		1		147		915				4/28/07 19:59		340		398		915

		4		28		22		4/28/07 20:59		291		- 0		49		5		100		240		- 0		17		6		145		854				4/28/07 20:59		308		385		854

		4		28		23		4/28/07 21:59		281		- 0		46		4		96		242		- 0		13		6		145		834				4/28/07 21:59		294		387		834

		4		28		24		4/28/07 22:59		310		- 0		45		4		100		248		- 0		15		6		145		873				4/28/07 22:59		325		393		873

		4		29		1		4/28/07 23:59		433		- 0		47		5		135		277		- 0		12		6		149		1,063				4/28/07 23:59		445		426		1,063

		4		29		2		4/29/07 0:59		479		- 0		46		4		133		282		- 0		11		6		149		1,110				4/29/07 0:59		490		431		1,110

		4		29		3		4/29/07 1:59		428		- 0		46		4		127		272		- 0		14		6		147		1,043				4/29/07 1:59		442		419		1,043

		4		29		4		4/29/07 2:59		412		- 0		44		4		122		264		- 0		12		6		143		1,008				4/29/07 2:59		424		407		1,008

		4		29		5		4/29/07 3:59		448		- 0		46		3		124		272		- 0		15		6		148		1,062				4/29/07 3:59		463		420		1,062

		4		29		6		4/29/07 4:59		334		- 0		42		3		102		242		- 0		17		6		144		891				4/29/07 4:59		351		386		891

		4		29		7		4/29/07 5:59		303		- 0		44		7		104		234		- 0		18		5		145		860				4/29/07 5:59		321		379		860

		4		29		8		4/29/07 6:59		318		- 0		57		10		121		234		- 0		21		1		146		907				4/29/07 6:59		339		380		907

		4		29		9		4/29/07 7:59		316		- 0		68		12		133		236		- 0		20		- 0		145		930				4/29/07 7:59		336		381		930

		4		29		10		4/29/07 8:59		305		- 0		73		12		134		237		- 0		16		- 0		146		923				4/29/07 8:59		321		383		923

		4		29		11		4/29/07 9:59		265		- 0		72		12		129		234		- 0		16		- 0		141		870				4/29/07 9:59		281		375		870

		4		29		12		4/29/07 10:59		256		- 0		71		11		125		234		- 0		17		- 0		144		859				4/29/07 10:59		273		378		859

		4		29		13		4/29/07 11:59		251		- 0		67		9		124		230		- 0		12		- 0		143		837				4/29/07 11:59		263		373		837

		4		29		14		4/29/07 12:59		249		- 0		69		11		128		232		- 0		11		- 0		143		844				4/29/07 12:59		260		375		844

		4		29		15		4/29/07 13:59		256		- 0		69		11		126		235		- 0		12		- 0		144		854				4/29/07 13:59		268		379		854

		4		29		16		4/29/07 14:59		272		- 0		65		8		122		234		- 0		12		- 0		143		856				4/29/07 14:59		284		377		856

		4		29		17		4/29/07 15:59		284		- 0		61		6		114		241		- 0		14		- 0		145		864				4/29/07 15:59		298		386		864

		4		29		18		4/29/07 16:59		317		- 0		56		4		110		238		- 0		19		- 0		146		890				4/29/07 16:59		336		384		890

		4		29		19		4/29/07 17:59		297		- 0		53		3		105		236		- 0		17		- 0		141		853				4/29/07 17:59		314		377		853

		4		29		20		4/29/07 18:59		290		- 0		54		3		100		239		- 0		17		- 0		143		846				4/29/07 18:59		307		382		846

		4		29		21		4/29/07 19:59		314		- 0		56		3		101		235		- 0		18		1		145		874				4/29/07 19:59		332		380		874

		4		29		22		4/29/07 20:59		288		- 0		48		3		92		236		- 0		15		6		142		830				4/29/07 20:59		303		378		830

		4		29		23		4/29/07 21:59		321		- 0		45		3		92		238		- 0		17		6		143		865				4/29/07 21:59		338		381		865

		4		29		24		4/29/07 22:59		507		- 0		51		3		121		279		- 0		12		6		146		1,125				4/29/07 22:59		519		425		1,125

		4		30		1		4/29/07 23:59		276		- 0		66		2		168		252		- 0		11		6		145		926				4/29/07 23:59		287		397		926

		4		30		2		4/30/07 0:59		350		- 0		76		2		215		292		- 0		13		6		150		1,104				4/30/07 0:59		363		442		1,104

		4		30		3		4/30/07 1:59		283		- 0		68		2		173		261		- 0		10		6		145		948				4/30/07 1:59		293		406		948

		4		30		4		4/30/07 2:59		272		- 0		64		3		164		251		- 0		12		6		144		915				4/30/07 2:59		284		395		915

		4		30		5		4/30/07 3:59		254		- 0		63		2		152		242		- 0		10		6		143		873				4/30/07 3:59		264		385		873

		4		30		6		4/30/07 4:59		250		- 0		60		2		142		238		- 0		15		6		142		856				4/30/07 4:59		265		380		856

		4		30		7		4/30/07 5:59		232		- 0		58		3		134		233		- 0		18		4		142		823				4/30/07 5:59		250		375		823

		4		30		8		4/30/07 6:59		272		- 0		62		3		143		232		- 0		18		- 0		144		874				4/30/07 6:59		290		376		874

		4		30		9		4/30/07 7:59		233		- 0		65		3		129		224		- 0		20		- 0		144		819				4/30/07 7:59		253		368		819

		4		30		10		4/30/07 8:59		267		- 0		71		3		144		230		- 0		18		- 0		145		878				4/30/07 8:59		285		375		878

		4		30		11		4/30/07 9:59		232		- 0		73		3		132		225		- 0		14		- 0		144		823				4/30/07 9:59		246		369		823

		4		30		12		4/30/07 10:59		267		- 0		73		3		149		239		- 0		15		- 0		145		891				4/30/07 10:59		282		384		891

		4		30		13		4/30/07 11:59		277		- 0		72		3		149		238		- 0		14		- 0		145		897				4/30/07 11:59		291		383		897

		4		30		14		4/30/07 12:59		253		- 0		69		3		146		238		- 0		15		- 0		144		867				4/30/07 12:59		268		382		867

		4		30		15		4/30/07 13:59		241		- 0		70		2		153		237		- 0		14		- 0		142		860				4/30/07 13:59		255		379		860

		4		30		16		4/30/07 14:59		247		- 0		69		3		149		236		- 0		14		- 0		143		859				4/30/07 14:59		261		379		859

		4		30		17		4/30/07 15:59		247		- 0		67		2		138		234		- 0		15		- 0		143		847				4/30/07 15:59		262		377		847

		4		30		18		4/30/07 16:59		272		- 0		59		2		136		238		- 0		15		- 0		144		866				4/30/07 16:59		287		382		866

		4		30		19		4/30/07 17:59		281		- 0		62		2		136		235		- 0		16		- 0		143		875				4/30/07 17:59		297		378		875

		4		30		20		4/30/07 18:59		269		- 0		66		3		135		233		- 0		15		- 0		143		864				4/30/07 18:59		284		376		864

		4		30		21		4/30/07 19:59		256		- 0		64		3		133		228		- 0		14		1		143		841				4/30/07 19:59		270		371		841

		4		30		22		4/30/07 20:59		259		- 0		65		3		137		233		- 0		12		5		142		857				4/30/07 20:59		271		375		857

		4		30		23		4/30/07 21:59		251		- 0		65		3		136		235		- 0		13		6		142		851				4/30/07 21:59		264		377		851

		4		30		24		4/30/07 22:59		269		- 0		66		2		154		248		- 0		10		6		144		900				4/30/07 22:59		279		392		900

		5		1		1		4/30/07 23:59		286		- 0		73		2		176		259		- 0		9		6		147		959				4/30/07 23:59		295		406		959

		5		1		2		5/1/07 0:59		295		- 0		72		2		180		262		- 0		12		6		147		977				5/1/07 0:59		307		409		977

		5		1		3		5/1/07 1:59		379		- 0		80		2		219		284		- 0		10		6		152		1,132				5/1/07 1:59		389		436		1,132

		5		1		4		5/1/07 2:59		273		- 0		67		2		163		248		- 0		9		6		146		915				5/1/07 2:59		282		394		915

		5		1		5		5/1/07 3:59		244		- 0		64		2		151		241		- 0		12		6		146		867				5/1/07 3:59		256		387		867

		5		1		6		5/1/07 4:59		243		- 0		64		2		151		240		- 0		12		6		145		863				5/1/07 4:59		255		385		863

		5		1		7		5/1/07 5:59		238		- 0		62		2		148		241		- 0		16		4		146		858				5/1/07 5:59		254		387		858

		5		1		8		5/1/07 6:59		249		- 0		62		2		145		235		- 0		14		- 0		144		852				5/1/07 6:59		263		379		852

		5		1		9		5/1/07 7:59		256		- 0		65		3		143		234		- 0		15		- 0		145		860				5/1/07 7:59		271		379		860

		5		1		10		5/1/07 8:59		286		- 0		68		2		148		238		- 0		16		- 0		144		902				5/1/07 8:59		302		382		902

		5		1		11		5/1/07 9:59		291		- 0		68		3		147		235		- 0		16		- 0		145		904				5/1/07 9:59		307		380		904

		5		1		12		5/1/07 10:59		292		- 0		69		2		149		239		- 0		16		- 0		145		912				5/1/07 10:59		308		384		912

		5		1		13		5/1/07 11:59		243		- 0		68		2		143		236		- 0		14		- 0		146		852				5/1/07 11:59		257		382		852

		5		1		14		5/1/07 12:59		246		- 0		68		2		147		238		- 0		12		- 0		146		860				5/1/07 12:59		258		384		860

		5		1		15		5/1/07 13:59		240		- 0		69		2		149		231		- 0		11		- 0		145		848				5/1/07 13:59		251		376		848

		5		1		16		5/1/07 14:59		232		- 0		68		2		144		230		- 0		12		- 0		144		832				5/1/07 14:59		244		374		832

		5		1		17		5/1/07 15:59		245		- 0		66		2		140		235		- 0		13		- 0		146		848				5/1/07 15:59		258		381		848

		5		1		18		5/1/07 16:59		268		- 0		62		2		140		236		- 0		18		- 0		146		872				5/1/07 16:59		286		382		872

		5		1		19		5/1/07 17:59		270		- 0		63		2		140		235		- 0		14		- 0		145		870				5/1/07 17:59		284		380		870

		5		1		20		5/1/07 18:59		259		- 0		65		3		136		229		- 0		16		- 0		145		853				5/1/07 18:59		275		374		853

		5		1		21		5/1/07 19:59		280		- 0		69		3		140		236		- 0		15		1		145		889				5/1/07 19:59		295		381		889

		5		1		22		5/1/07 20:59		238		- 0		66		3		137		233		- 0		16		5		144		844				5/1/07 20:59		254		377		844

		5		1		23		5/1/07 21:59		243		- 0		66		3		145		233		- 0		11		6		145		853				5/1/07 21:59		254		378		853

		5		1		24		5/1/07 22:59		236		- 0		68		3		155		233		- 0		10		6		147		858				5/1/07 22:59		246		380		858

		5		2		1		5/1/07 23:59		216		- 0		54		2		127		229		- 0		8		6		143		786				5/1/07 23:59		224		372		786

		5		2		2		5/2/07 0:59		202		- 0		53		2		123		229		- 0		8		6		142		766				5/2/07 0:59		210		371		766

		5		2		3		5/2/07 1:59		257		- 0		57		2		141		243		- 0		9		6		144		859				5/2/07 1:59		266		387		859

		5		2		4		5/2/07 2:59		333		- 0		62		2		164		257		- 0		7		6		147		978				5/2/07 2:59		340		404		978

		5		2		5		5/2/07 3:59		413		- 0		66		3		187		281		- 0		12		6		151		1,118				5/2/07 3:59		425		432		1,118

		5		2		6		5/2/07 4:59		253		- 0		54		3		130		237		- 0		14		6		146		843				5/2/07 4:59		267		383		843

		5		2		7		5/2/07 5:59		254		- 0		56		8		135		238		- 0		15		4		145		855				5/2/07 5:59		269		383		855

		5		2		8		5/2/07 6:59		264		- 0		66		11		152		240		- 0		12		- 0		145		890				5/2/07 6:59		276		385		890

		5		2		9		5/2/07 7:59		257		- 0		78		14		168		243		- 0		13		- 0		144		917				5/2/07 7:59		270		387		917

		5		2		10		5/2/07 8:59		223		- 0		84		13		170		239		- 0		14		- 0		147		890				5/2/07 8:59		237		386		890

		5		2		11		5/2/07 9:59		227		- 0		87		13		171		225		- 0		13		- 0		146		882				5/2/07 9:59		240		371		882

		5		2		12		5/2/07 10:59		217		- 0		85		13		166		228		- 0		13		- 0		146		867				5/2/07 10:59		230		374		867

		5		2		13		5/2/07 11:59		202		- 0		84		11		166		234		- 0		13		- 0		145		854				5/2/07 11:59		215		379		854

		5		2		14		5/2/07 12:59		182		- 0		85		12		164		231		- 0		10		- 0		145		828				5/2/07 12:59		192		376		828

		5		2		15		5/2/07 13:59		184		- 0		83		12		163		236		- 0		10		- 0		145		834				5/2/07 13:59		194		381		834

		5		2		16		5/2/07 14:59		192		- 0		82		10		167		239		- 0		13		- 0		146		849				5/2/07 14:59		205		385		849

		5		2		17		5/2/07 15:59		218		- 0		76		7		151		239		- 0		11		- 0		146		849				5/2/07 15:59		229		385		849

		5		2		18		5/2/07 16:59		242		- 0		66		5		150		241		- 0		16		- 0		145		866				5/2/07 16:59		258		386		866

		5		2		19		5/2/07 17:59		233		- 0		61		4		139		231		- 0		13		- 0		144		825				5/2/07 17:59		246		375		825

		5		2		20		5/2/07 18:59		256		- 0		63		4		143		233		- 0		12		- 0		145		857				5/2/07 18:59		268		378		857

		5		2		21		5/2/07 19:59		257		- 0		65		5		141		230		- 0		12		1		145		856				5/2/07 19:59		269		375		856

		5		2		22		5/2/07 20:59		242		- 0		61		4		138		226		- 0		13		5		145		834				5/2/07 20:59		255		371		834

		5		2		23		5/2/07 21:59		257		- 0		59		4		142		227		- 0		12		6		147		855				5/2/07 21:59		269		374		855

		5		2		24		5/2/07 22:59		301		- 0		63		4		184		259		- 0		7		6		146		971				5/2/07 22:59		308		405		971

		5		3		1		5/2/07 23:59		210		- 0		51		3		130		236		- 0		8		6		142		786				5/2/07 23:59		218		378		786

		5		3		2		5/3/07 0:59		214		- 0		51		3		130		236		- 0		7		6		143		789				5/3/07 0:59		221		379		789

		5		3		3		5/3/07 1:59		198		- 0		48		3		123		232		- 0		8		6		142		760				5/3/07 1:59		206		374		760

		5		3		4		5/3/07 2:59		392		- 0		60		3		175		284		- 0		9		6		151		1,080				5/3/07 2:59		401		435		1,080

		5		3		5		5/3/07 3:59		419		- 0		62		3		180		289		- 0		9		6		152		1,121				5/3/07 3:59		428		441		1,121

		5		3		6		5/3/07 4:59		285		- 0		52		3		136		245		- 0		15		6		146		888				5/3/07 4:59		300		391		888

		5		3		7		5/3/07 5:59		250		- 0		53		8		128		230		- 0		15		4		145		834				5/3/07 5:59		265		375		834

		5		3		8		5/3/07 6:59		279		- 0		67		11		149		233		- 0		14		- 0		144		898				5/3/07 6:59		293		377		898

		5		3		9		5/3/07 7:59		231		- 0		78		13		154		230		- 0		20		- 0		144		870				5/3/07 7:59		251		374		870

		5		3		10		5/3/07 8:59		214		- 0		84		13		158		230		- 0		14		- 0		145		858				5/3/07 8:59		228		375		858

		5		3		11		5/3/07 9:59		190		- 0		83		14		157		225		- 0		10		- 0		144		822				5/3/07 9:59		200		369		822

		5		3		12		5/3/07 10:59		201		- 0		81		13		157		228		- 0		10		- 0		145		836				5/3/07 10:59		211		373		836

		5		3		13		5/3/07 11:59		205		- 0		83		12		165		231		- 0		11		- 0		146		852				5/3/07 11:59		216		377		852

		5		3		14		5/3/07 12:59		193		- 0		86		13		173		233		- 0		9		- 0		147		853				5/3/07 12:59		202		380		853

		5		3		15		5/3/07 13:59		195		- 0		87		13		174		238		- 0		7		- 0		143		857				5/3/07 13:59		202		381		857

		5		3		16		5/3/07 14:59		203		- 0		81		10		166		239		- 0		10		- 0		147		857				5/3/07 14:59		213		386		857

		5		3		17		5/3/07 15:59		224		- 0		75		8		154		236		- 0		11		- 0		146		854				5/3/07 15:59		235		382		854

		5		3		18		5/3/07 16:59		245		- 0		64		4		146		238		- 0		11		- 0		146		854				5/3/07 16:59		256		384		854

		5		3		19		5/3/07 17:59		249		- 0		59		5		137		234		- 0		14		- 0		145		842				5/3/07 17:59		263		379		842

		5		3		20		5/3/07 18:59		252		- 0		60		5		133		234		- 0		13		- 0		145		843				5/3/07 18:59		265		379		843

		5		3		21		5/3/07 19:59		269		- 0		63		5		138		240		- 0		12		1		146		873				5/3/07 19:59		281		386		873

		5		3		22		5/3/07 20:59		249		- 0		55		5		129		235		- 0		12		5		145		835				5/3/07 20:59		261		380		835

		5		3		23		5/3/07 21:59		257		- 0		56		4		139		245		- 0		12		6		147		867				5/3/07 21:59		269		392		867

		5		3		24		5/3/07 22:59		308		- 0		58		4		168		261		- 0		8		6		147		961				5/3/07 22:59		316		408		961

		5		4		1		5/3/07 23:59		331		- 0		52		3		155		267		- 0		12		6		146		973				5/3/07 23:59		343		413		973

		5		4		2		5/4/07 0:59		260		- 0		49		3		133		247		- 0		10		6		143		852				5/4/07 0:59		270		390		852

		5		4		3		5/4/07 1:59		309		- 0		53		3		144		261		- 0		11		6		145		933				5/4/07 1:59		320		406		933

		5		4		4		5/4/07 2:59		368		- 0		57		3		159		275		- 0		11		6		148		1,028				5/4/07 2:59		379		423		1,028

		5		4		5		5/4/07 3:59		389		- 0		59		3		165		284		- 0		12		6		149		1,069				5/4/07 3:59		401		433		1,069

		5		4		6		5/4/07 4:59		276		- 0		49		3		118		243		- 0		12		6		146		853				5/4/07 4:59		288		389		853

		5		4		7		5/4/07 5:59		288		- 0		52		8		125		237		- 0		17		4		145		878				5/4/07 5:59		305		382		878

		5		4		8		5/4/07 6:59		263		- 0		65		12		143		230		- 0		12		- 0		144		870				5/4/07 6:59		275		374		870

		5		4		9		5/4/07 7:59		264		- 0		76		13		152		232		- 0		13		- 0		143		892				5/4/07 7:59		277		375		892

		5		4		10		5/4/07 8:59		204		- 0		80		12		152		228		- 0		15		- 0		144		835				5/4/07 8:59		219		372		835

		5		4		11		5/4/07 9:59		198		- 0		81		13		155		230		- 0		13		- 0		144		834				5/4/07 9:59		211		374		834

		5		4		12		5/4/07 10:59		208		- 0		79		13		152		231		- 0		15		- 0		144		843				5/4/07 10:59		223		375		843

		5		4		13		5/4/07 11:59		208		- 0		80		11		151		231		- 0		11		- 0		144		837				5/4/07 11:59		219		375		837

		5		4		14		5/4/07 12:59		202		- 0		83		14		162		232		- 0		13		- 0		145		851				5/4/07 12:59		215		377		851

		5		4		15		5/4/07 13:59		206		- 0		82		12		164		234		- 0		9		- 0		146		853				5/4/07 13:59		215		380		853

		5		4		16		5/4/07 14:59		206		- 0		79		10		159		239		- 0		10		- 0		146		850				5/4/07 14:59		216		385		850

		5		4		17		5/4/07 15:59		223		- 0		72		7		138		234		- 0		15		- 0		144		834				5/4/07 15:59		238		378		834

		5		4		18		5/4/07 16:59		245		- 0		62		5		139		240		- 0		13		- 0		144		849				5/4/07 16:59		258		384		849

		5		4		19		5/4/07 17:59		259		- 0		58		5		135		238		- 0		14		- 0		144		853				5/4/07 17:59		273		382		853

		5		4		20		5/4/07 18:59		259		- 0		57		5		127		233		- 0		12		- 0		144		838				5/4/07 18:59		271		377		838

		5		4		21		5/4/07 19:59		264		- 0		60		5		128		240		- 0		17		1		144		859				5/4/07 19:59		281		384		859

		5		4		22		5/4/07 20:59		250		- 0		55		5		122		236		- 0		13		5		143		830				5/4/07 20:59		263		379		830

		5		4		23		5/4/07 21:59		264		- 0		55		4		131		242		- 0		10		6		146		858				5/4/07 21:59		274		388		858

		5		4		24		5/4/07 22:59		389		- 0		61		3		180		290		- 0		10		6		150		1,090				5/4/07 22:59		399		440		1,090

		5		5		1		5/4/07 23:59		234		- 0		36		3		83		224		- 0		11		6		142		739				5/4/07 23:59		245		366		739

		5		5		2		5/5/07 0:59		200		- 0		34		3		75		211		- 0		8		6		140		678				5/5/07 0:59		208		351		678

		5		5		3		5/5/07 1:59		211		- 0		34		3		76		214		- 0		10		6		141		695				5/5/07 1:59		221		355		695

		5		5		4		5/5/07 2:59		240		- 0		34		2		79		220		- 0		9		6		142		733				5/5/07 2:59		249		362		733

		5		5		5		5/5/07 3:59		285		- 0		38		3		87		229		- 0		13		6		144		805				5/5/07 3:59		298		373		805

		5		5		6		5/5/07 4:59		451		- 0		40		3		115		259		- 0		15		6		150		1,039				5/5/07 4:59		466		409		1,039

		5		5		7		5/5/07 5:59		316		- 0		41		8		99		222		- 0		17		4		146		853				5/5/07 5:59		333		368		853

		5		5		8		5/5/07 6:59		273		- 0		54		12		112		216		- 0		18		- 0		144		830				5/5/07 6:59		291		360		830

		5		5		9		5/5/07 7:59		251		- 0		62		15		119		219		- 0		11		- 0		145		822				5/5/07 7:59		262		364		822

		5		5		10		5/5/07 8:59		258		- 0		70		13		127		222		- 0		12		- 0		146		848				5/5/07 8:59		270		368		848

		5		5		11		5/5/07 9:59		239		- 0		69		15		125		220		- 0		14		- 0		147		828				5/5/07 9:59		253		367		828

		5		5		12		5/5/07 10:59		255		- 0		70		12		128		220		- 0		14		- 0		148		847				5/5/07 10:59		269		368		847

		5		5		13		5/5/07 11:59		247		- 0		70		12		134		229		- 0		13		- 0		148		853				5/5/07 11:59		260		377		853

		5		5		14		5/5/07 12:59		365		- 0		88		15		198		268		- 0		11		- 0		148		1,093				5/5/07 12:59		376		416		1,093

		5		5		15		5/5/07 13:59		326		- 0		82		14		177		256		- 0		10		- 0		148		1,012				5/5/07 13:59		336		404		1,012

		5		5		16		5/5/07 14:59		314		- 0		76		11		165		253		- 0		12		- 0		149		980				5/5/07 14:59		326		402		980

		5		5		17		5/5/07 15:59		317		- 0		69		7		143		244		- 0		13		- 0		145		939				5/5/07 15:59		330		389		939

		5		5		18		5/5/07 16:59		311		- 0		57		5		128		240		- 0		13		- 0		147		902				5/5/07 16:59		324		387		902

		5		5		19		5/5/07 17:59		421		- 0		63		5		156		271		- 0		14		- 0		152		1,082				5/5/07 17:59		435		423		1,082

		5		5		20		5/5/07 18:59		318		- 0		55		4		119		243		- 0		12		- 0		147		898				5/5/07 18:59		330		390		898

		5		5		21		5/5/07 19:59		290		- 0		53		5		107		239		- 0		14		1		148		858				5/5/07 19:59		304		387		858

		5		5		22		5/5/07 20:59		303		- 0		46		4		103		242		- 0		13		5		148		863				5/5/07 20:59		316		390		863

		5		5		23		5/5/07 21:59		459		- 0		47		3		135		284		- 0		12		6		152		1,099				5/5/07 21:59		471		436		1,099

		5		5		24		5/5/07 22:59		192		- 0		32		3		76		215		- 0		8		6		136		671				5/5/07 22:59		200		351		671

		5		6		1		5/5/07 23:59		143		- 0		29		3		70		205		- 0		9		6		137		601				5/5/07 23:59		152		342		601

		5		6		2		5/6/07 0:59		241		- 0		36		3		102		246		- 0		7		6		149		791				5/6/07 0:59		248		395		791

		5		6		3		5/6/07 1:59		140		- 0		29		2		65		206		- 0		8		6		139		595				5/6/07 1:59		148		345		595

		5		6		4		5/6/07 2:59		193		- 0		32		2		83		230		- 0		8		6		144		698				5/6/07 2:59		201		374		698

		5		6		5		5/6/07 3:59		148		- 0		30		2		67		202		- 0		7		6		141		603				5/6/07 3:59		155		343		603

		5		6		6		5/6/07 4:59		289		- 0		32		2		92		236		- 0		12		6		144		813				5/6/07 4:59		301		380		813

		5		6		7		5/6/07 5:59		398		- 0		41		7		128		260		- 0		16		4		149		1,003				5/6/07 5:59		414		409		1,003

		5		6		8		5/6/07 6:59		279		- 0		50		10		120		236		- 0		14		- 0		148		856				5/6/07 6:59		293		384		856

		5		6		9		5/6/07 7:59		266		- 0		56		12		122		233		- 0		15		- 0		143		848				5/6/07 7:59		281		376		848

		5		6		10		5/6/07 8:59		261		- 0		64		12		129		227		- 0		18		- 0		146		857				5/6/07 8:59		279		373		857

		5		6		11		5/6/07 9:59		247		- 0		66		13		131		233		- 0		13		- 0		147		850				5/6/07 9:59		260		380		850

		5		6		12		5/6/07 10:59		256		- 0		66		13		130		235		- 0		11		- 0		146		857				5/6/07 10:59		267		381		857

		5		6		13		5/6/07 11:59		264		- 0		63		9		130		235		- 0		9		- 0		148		860				5/6/07 11:59		273		383		860

		5		6		14		5/6/07 12:59		330		- 0		74		11		175		266		- 0		11		- 0		150		1,016				5/6/07 12:59		341		416		1,016

		5		6		15		5/6/07 13:59		394		- 0		80		11		199		286		- 0		10		- 0		152		1,133				5/6/07 13:59		404		438		1,133

		5		6		16		5/6/07 14:59		393		- 0		74		8		188		293		- 0		11		- 0		152		1,121				5/6/07 14:59		404		445		1,121

		5		6		17		5/6/07 15:59		363		- 0		65		6		158		271		- 0		12		- 0		151		1,025				5/6/07 15:59		375		422		1,025

		5		6		18		5/6/07 16:59		442		- 0		59		4		169		283		- 0		12		- 0		153		1,121				5/6/07 16:59		454		436		1,121

		5		6		19		5/6/07 17:59		397		- 0		54		3		149		275		- 0		12		- 0		149		1,037				5/6/07 17:59		409		424		1,037

		5		6		20		5/6/07 18:59		379		- 0		54		3		139		268		- 0		11		- 0		149		1,003				5/6/07 18:59		390		417		1,003

		5		6		21		5/6/07 19:59		459		- 0		60		4		149		281		- 0		12		1		152		1,119				5/6/07 19:59		471		433		1,119

		5		6		22		5/6/07 20:59		425		- 0		49		3		130		269		- 0		14		5		150		1,045				5/6/07 20:59		439		419		1,045

		5		6		23		5/6/07 21:59		256		- 0		38		3		85		226		- 0		12		6		143		769				5/6/07 21:59		268		369		769

		5		6		24		5/6/07 22:59		144		- 0		31		2		62		209		- 0		9		6		138		602				5/6/07 22:59		153		347		602

		5		7		1		5/6/07 23:59		142		- 0		52		2		128		225		- 0		7		6		140		701				5/6/07 23:59		149		365		701

		5		7		2		5/7/07 0:59		141		- 0		51		2		125		226		- 0		7		6		140		697				5/7/07 0:59		148		366		697

		5		7		3		5/7/07 1:59		115		- 0		49		2		112		215		- 0		7		6		138		645				5/7/07 1:59		122		353		645

		5		7		4		5/7/07 2:59		109		- 0		46		2		108		209		- 0		6		6		137		624				5/7/07 2:59		115		346		624

		5		7		5		5/7/07 3:59		119		- 0		48		2		112		211		- 0		7		6		138		643				5/7/07 3:59		126		349		643

		5		7		6		5/7/07 4:59		177		- 0		48		2		131		226		- 0		8		6		141		739				5/7/07 4:59		185		367		739

		5		7		7		5/7/07 5:59		279		- 0		57		2		177		260		- 0		14		4		146		939				5/7/07 5:59		293		406		939

		5		7		8		5/7/07 6:59		387		- 0		69		3		215		283		- 0		13		- 0		149		1,119				5/7/07 6:59		400		432		1,119

		5		7		9		5/7/07 7:59		246		- 0		63		3		146		240		- 0		12		- 0		144		854				5/7/07 7:59		258		384		854

		5		7		10		5/7/07 8:59		240		- 0		66		3		149		241		- 0		12		- 0		146		857				5/7/07 8:59		252		387		857

		5		7		11		5/7/07 9:59		234		- 0		70		3		148		242		- 0		11		- 0		146		854				5/7/07 9:59		245		388		854

		5		7		12		5/7/07 10:59		239		- 0		69		3		148		242		- 0		11		- 0		146		858				5/7/07 10:59		250		388		858

		5		7		13		5/7/07 11:59		244		- 0		69		2		161		254		- 0		10		- 0		147		887				5/7/07 11:59		254		401		887

		5		7		14		5/7/07 12:59		285		- 0		73		3		188		269		- 0		12		- 0		148		978				5/7/07 12:59		297		417		978

		5		7		15		5/7/07 13:59		366		- 0		80		3		229		290		- 0		10		- 0		153		1,130				5/7/07 13:59		376		443		1,130

		5		7		16		5/7/07 14:59		365		- 0		83		2		227		291		- 0		10		- 0		152		1,130				5/7/07 14:59		375		443		1,130

		5		7		17		5/7/07 15:59		311		- 0		76		2		209		282		- 0		12		- 0		150		1,042				5/7/07 15:59		323		432		1,042

		5		7		18		5/7/07 16:59		393		- 0		68		2		213		290		- 0		10		- 0		151		1,127				5/7/07 16:59		403		441		1,127

		5		7		19		5/7/07 17:59		398		- 0		69		2		205		282		- 0		13		- 0		151		1,119				5/7/07 17:59		411		433		1,119

		5		7		20		5/7/07 18:59		363		- 0		69		3		197		281		- 0		13		- 0		150		1,076				5/7/07 18:59		376		431		1,076

		5		7		21		5/7/07 19:59		339		- 0		68		3		175		260		- 0		14		1		148		1,008				5/7/07 19:59		353		408		1,008

		5		7		22		5/7/07 20:59		338		- 0		70		3		180		273		- 0		12		5		149		1,031				5/7/07 20:59		350		422		1,031

		5		7		23		5/7/07 21:59		340		- 0		69		3		189		281		- 0		11		6		150		1,049				5/7/07 21:59		351		431		1,049

		5		7		24		5/7/07 22:59		171		- 0		54		2		125		229		- 0		7		6		141		736				5/7/07 22:59		178		370		736

		5		8		1		5/7/07 23:59		140		- 0		59		2		131		217		- 0		6		6		140		701				5/7/07 23:59		146		357		701

		5		8		2		5/8/07 0:59		159		- 0		60		2		138		230		- 0		7		6		141		742				5/8/07 0:59		166		371		742

		5		8		3		5/8/07 1:59		144		- 0		58		2		131		217		- 0		6		6		140		704				5/8/07 1:59		150		357		704

		5		8		4		5/8/07 2:59		139		- 0		57		2		130		218		- 0		6		6		139		698				5/8/07 2:59		145		357		698

		5		8		5		5/8/07 3:59		141		- 0		57		2		129		213		- 0		7		6		139		695				5/8/07 3:59		148		352		695

		5		8		6		5/8/07 4:59		172		- 0		56		2		139		219		- 0		8		6		141		742				5/8/07 4:59		180		360		742

		5		8		7		5/8/07 5:59		214		- 0		59		2		164		241		- 0		12		4		141		838				5/8/07 5:59		226		382		838

		5		8		8		5/8/07 6:59		253		- 0		62		2		158		242		- 0		12		- 0		144		872				5/8/07 6:59		265		386		872

		5		8		9		5/8/07 7:59		249		- 0		64		2		149		232		- 0		12		- 0		146		854				5/8/07 7:59		261		378		854

		5		8		10		5/8/07 8:59		246		- 0		65		2		148		237		- 0		13		- 0		145		856				5/8/07 8:59		259		382		856

		5		8		11		5/8/07 9:59		232		- 0		68		2		155		241		- 0		12		- 0		146		856				5/8/07 9:59		244		387		856

		5		8		12		5/8/07 10:59		233		- 0		67		2		154		238		- 0		11		- 0		147		851				5/8/07 10:59		244		385		851

		5		8		13		5/8/07 11:59		233		- 0		67		2		159		243		- 0		11		- 0		147		862				5/8/07 11:59		244		390		862

		5		8		14		5/8/07 12:59		265		- 0		72		2		187		258		- 0		10		- 0		147		940				5/8/07 12:59		275		405		940

		5		8		15		5/8/07 13:59		322		- 0		81		2		238		284		- 0		10		- 0		151		1,088				5/8/07 13:59		332		435		1,088

		5		8		16		5/8/07 14:59		316		- 0		81		2		236		284		- 0		11		- 0		150		1,080				5/8/07 14:59		327		434		1,080

		5		8		17		5/8/07 15:59		327		- 0		77		2		218		275		- 0		9		- 0		149		1,057				5/8/07 15:59		336		424		1,057

		5		8		18		5/8/07 16:59		326		- 0		69		2		200		261		- 0		10		- 0		148		1,017				5/8/07 16:59		336		409		1,017

		5		8		19		5/8/07 17:59		366		- 0		74		2		216		272		- 0		10		- 0		150		1,090				5/8/07 17:59		376		422		1,090

		5		8		20		5/8/07 18:59		243		- 0		63		2		146		237		- 0		12		- 0		146		849				5/8/07 18:59		255		383		849

		5		8		21		5/8/07 19:59		247		- 0		66		3		147		234		- 0		13		1		146		856				5/8/07 19:59		260		380		856

		5		8		22		5/8/07 20:59		247		- 0		66		3		152		239		- 0		10		5		144		865				5/8/07 20:59		257		383		865

		5		8		23		5/8/07 21:59		355		- 0		79		2		225		284		- 0		11		6		152		1,115				5/8/07 21:59		366		436		1,115

		5		8		24		5/8/07 22:59		156		- 0		60		2		152		233		- 0		6		6		142		758				5/8/07 22:59		162		375		758

		5		9		1		5/8/07 23:59		102		- 0		44		2		96		209		- 0		5		6		140		603				5/8/07 23:59		107		349		603

		5		9		2		5/9/07 0:59		114		- 0		45		2		104		215		- 0		5		6		140		630				5/9/07 0:59		119		355		630

		5		9		3		5/9/07 1:59		102		- 0		42		2		94		208		- 0		5		6		139		598				5/9/07 1:59		107		347		598

		5		9		4		5/9/07 2:59		104		- 0		42		2		94		206		- 0		7		6		138		599				5/9/07 2:59		111		344		599

		5		9		5		5/9/07 3:59		108		- 0		42		2		95		203		- 0		6		6		138		601				5/9/07 3:59		114		341		601

		5		9		6		5/9/07 4:59		184		- 0		46		2		128		227		- 0		12		6		142		746				5/9/07 4:59		196		369		746

		5		9		7		5/9/07 5:59		273		- 0		55		7		162		247		- 0		14		4		146		908				5/9/07 5:59		287		393		908

		5		9		8		5/9/07 6:59		214		- 0		67		10		163		242		- 0		12		- 0		146		855				5/9/07 6:59		226		388		855

		5		9		9		5/9/07 7:59		194		- 0		75		15		169		236		- 0		13		- 0		145		848				5/9/07 7:59		207		381		848

		5		9		10		5/9/07 8:59		183		- 0		82		14		177		234		- 0		11		- 0		146		847				5/9/07 8:59		194		380		847

		5		9		11		5/9/07 9:59		185		- 0		84		14		181		237		- 0		12		- 0		146		859				5/9/07 9:59		197		383		859

		5		9		12		5/9/07 10:59		190		- 0		82		13		174		237		- 0		11		- 0		145		852				5/9/07 10:59		201		382		852

		5		9		13		5/9/07 11:59		185		- 0		84		11		178		243		- 0		9		- 0		147		856				5/9/07 11:59		194		390		856

		5		9		14		5/9/07 12:59		178		- 0		87		14		191		244		- 0		9		- 0		140		863				5/9/07 12:59		187		384		863

		5		9		15		5/9/07 13:59		166		- 0		88		13		193		249		- 0		8		- 0		148		865				5/9/07 13:59		174		397		865

		5		9		16		5/9/07 14:59		176		- 0		83		11		184		240		- 0		8		- 0		148		850				5/9/07 14:59		184		388		850

		5		9		17		5/9/07 15:59		190		- 0		78		7		174		246		- 0		10		- 0		148		855				5/9/07 15:59		200		394		855

		5		9		18		5/9/07 16:59		226		- 0		67		4		168		239		- 0		10		- 0		144		857				5/9/07 16:59		236		383		857

		5		9		19		5/9/07 17:59		258		- 0		62		4		177		244		- 0		10		- 0		144		899				5/9/07 17:59		268		388		899

		5		9		20		5/9/07 18:59		237		- 0		62		4		158		241		- 0		13		- 0		146		860				5/9/07 18:59		250		387		860

		5		9		21		5/9/07 19:59		233		- 0		64		4		152		239		- 0		13		1		147		853				5/9/07 19:59		246		386		853

		5		9		22		5/9/07 20:59		280		- 0		65		4		175		242		- 0		12		5		147		928				5/9/07 20:59		292		389		928

		5		9		23		5/9/07 21:59		242		- 0		61		3		174		246		- 0		8		6		146		886				5/9/07 21:59		250		392		886

		5		9		24		5/9/07 22:59		87		- 0		46		2		106		202		- 0		5		6		137		592				5/9/07 22:59		92		339		592

		5		10		1		5/9/07 23:59		193		- 0		55		3		179		276		- 0		4		6		153		869				5/9/07 23:59		197		429		869

		5		10		2		5/10/07 0:59		243		- 0		61		3		214		308		- 0		4		6		158		996				5/10/07 0:59		247		466		996

		5		10		3		5/10/07 1:59		499		- 0		96		3		411		469		- 0		6		6		189		1,679				5/10/07 1:59		505		658		1,679

		5		10		4		5/10/07 2:59		336		- 0		70		3		267		357		- 0		5		6		166		1,209				5/10/07 2:59		341		523		1,209

		5		10		5		5/10/07 3:59		214		- 0		57		3		189		294		- 0		6		6		154		923				5/10/07 3:59		220		448		923

		5		10		6		5/10/07 4:59		105		- 0		38		2		103		213		- 0		6		6		140		613				5/10/07 4:59		111		353		613

		5		10		7		5/10/07 5:59		266		- 0		55		7		173		251		- 0		9		4		146		912				5/10/07 5:59		275		397		912

		5		10		8		5/10/07 6:59		209		- 0		65		10		165		243		- 0		11		- 0		146		848				5/10/07 6:59		220		389		848

		5		10		9		5/10/07 7:59		195		- 0		75		14		170		238		- 0		11		- 0		146		850				5/10/07 7:59		206		384		850

		5		10		10		5/10/07 8:59		194		- 0		83		13		184		234		- 0		10		- 0		144		862				5/10/07 8:59		204		378		862

		5		10		11		5/10/07 9:59		239		- 0		97		15		243		268		- 0		8		- 0		141		1,011				5/10/07 9:59		247		409		1,011

		5		10		12		5/10/07 10:59		176		- 0		85		14		184		243		- 0		8		- 0		146		856				5/10/07 10:59		184		389		856

		5		10		13		5/10/07 11:59		178		- 0		85		11		180		242		- 0		7		- 0		147		850				5/10/07 11:59		185		389		850

		5		10		14		5/10/07 12:59		170		- 0		87		14		198		248		- 0		8		- 0		143		868				5/10/07 12:59		178		391		868

		5		10		15		5/10/07 13:59		203		- 0		95		13		230		265		- 0		8		- 0		147		961				5/10/07 13:59		211		412		961

		5		10		16		5/10/07 14:59		189		- 0		88		10		204		256		- 0		8		- 0		147		902				5/10/07 14:59		197		403		902

		5		10		17		5/10/07 15:59		194		- 0		81		8		174		248		- 0		11		- 0		148		863				5/10/07 15:59		205		396		863

		5		10		18		5/10/07 16:59		213		- 0		67		5		166		244		- 0		12		- 0		147		854				5/10/07 16:59		225		391		854

		5		10		19		5/10/07 17:59		234		- 0		62		4		165		245		- 0		11		- 0		146		867				5/10/07 17:59		245		391		867

		5		10		20		5/10/07 18:59		230		- 0		62		4		154		247		- 0		10		- 0		147		854				5/10/07 18:59		240		394		854

		5		10		21		5/10/07 19:59		225		- 0		63		4		156		249		- 0		14		1		146		859				5/10/07 19:59		239		395		859

		5		10		22		5/10/07 20:59		307		- 0		68		4		193		278		- 0		11		5		150		1,017				5/10/07 20:59		318		428		1,017

		5		10		23		5/10/07 21:59		180		- 0		56		3		142		242		- 0		10		6		142		781				5/10/07 21:59		190		384		781

		5		10		24		5/10/07 22:59		84		- 0		45		2		102		214		- 0		6		6		137		596				5/10/07 22:59		90		351		596

		5		11		1		5/10/07 23:59		111		- 0		42		2		108		225		- 0		6		6		140		641				5/10/07 23:59		117		365		641

		5		11		2		5/11/07 0:59		111		- 0		42		2		104		224		- 0		6		6		141		636				5/11/07 0:59		117		365		636

		5		11		3		5/11/07 1:59		140		- 0		44		2		119		239		- 0		7		6		143		701				5/11/07 1:59		147		382		701

		5		11		4		5/11/07 2:59		212		- 0		53		2		171		280		- 0		8		6		152		884				5/11/07 2:59		220		432		884

		5		11		5		5/11/07 3:59		180		- 0		49		2		141		250		- 0		7		6		147		782				5/11/07 3:59		187		397		782

		5		11		6		5/11/07 4:59		114		- 0		37		2		93		208		- 0		6		6		138		605				5/11/07 4:59		120		346		605

		5		11		7		5/11/07 5:59		228		- 0		52		6		154		249		- 0		11		3		144		847				5/11/07 5:59		239		393		847

		5		11		8		5/11/07 6:59		239		- 0		64		10		169		239		- 0		9		- 0		146		875				5/11/07 6:59		248		385		875

		5		11		9		5/11/07 7:59		206		- 0		75		13		169		239		- 0		11		- 0		147		860				5/11/07 7:59		217		386		860

		5		11		10		5/11/07 8:59		199		- 0		83		12		176		237		- 0		9		- 0		146		862				5/11/07 8:59		208		383		862

		5		11		11		5/11/07 9:59		191		- 0		83		13		174		237		- 0		12		- 0		146		856				5/11/07 9:59		203		383		856

		5		11		12		5/11/07 10:59		194		- 0		84		13		170		241		- 0		11		- 0		141		855				5/11/07 10:59		205		382		855

		5		11		13		5/11/07 11:59		186		- 0		85		11		172		245		- 0		10		- 0		146		854				5/11/07 11:59		196		391		854

		5		11		14		5/11/07 12:59		189		- 0		87		12		177		239		- 0		10		- 0		145		859				5/11/07 12:59		199		384		859

		5		11		15		5/11/07 13:59		179		- 0		88		12		180		243		- 0		12		- 0		145		859				5/11/07 13:59		191		388		859

		5		11		16		5/11/07 14:59		175		- 0		87		10		181		253		- 0		11		- 0		146		863				5/11/07 14:59		186		399		863

		5		11		17		5/11/07 15:59		200		- 0		79		8		162		245		- 0		13		- 0		147		854				5/11/07 15:59		213		392		854

		5		11		18		5/11/07 16:59		226		- 0		65		6		153		244		- 0		13		- 0		147		854				5/11/07 16:59		239		391		854

		5		11		19		5/11/07 17:59		246		- 0		61		4		155		247		- 0		12		- 0		141		865				5/11/07 17:59		258		388		865

		5		11		20		5/11/07 18:59		268		- 0		64		4		168		262		- 0		12		- 0		144		921				5/11/07 18:59		280		406		921

		5		11		21		5/11/07 19:59		317		- 0		67		5		180		270		- 0		13		1		140		992				5/11/07 19:59		330		410		992

		5		11		22		5/11/07 20:59		304		- 0		64		4		181		274		- 0		11		5		141		984				5/11/07 20:59		315		415		984

		5		11		23		5/11/07 21:59		171		- 0		50		3		124		235		- 0		8		6		141		738				5/11/07 21:59		179		376		738

		5		11		24		5/11/07 22:59		92		- 0		42		3		96		215		- 0		6		6		139		599				5/11/07 22:59		98		354		599

		5		12		1		5/11/07 23:59		198		- 0		34		3		86		222		- 0		6		6		146		700				5/11/07 23:59		204		368		700

		5		12		2		5/12/07 0:59		221		- 0		35		3		92		231		- 0		10		6		147		746				5/12/07 0:59		231		378		746

		5		12		3		5/12/07 1:59		286		- 0		39		3		114		273		- 0		10		6		148		878				5/12/07 1:59		296		421		878

		5		12		4		5/12/07 2:59		302		- 0		40		3		115		278		- 0		9		6		137		890				5/12/07 2:59		311		415		890

		5		12		5		5/12/07 3:59		226		- 0		35		2		90		242		- 0		11		6		133		746				5/12/07 3:59		237		375		746

		5		12		6		5/12/07 4:59		154		- 0		28		2		69		211		- 0		10		6		126		607				5/12/07 4:59		164		337		607

		5		12		7		5/12/07 5:59		471		- 0		47		7		149		282		- 0		16		3		145		1,119				5/12/07 5:59		487		427		1,119

		5		12		8		5/12/07 6:59		274		- 0		53		11		120		236		- 0		14		- 0		146		855				5/12/07 6:59		288		382		855

		5		12		9		5/12/07 7:59		249		- 0		62		13		128		237		- 0		14		- 0		146		850				5/12/07 7:59		263		383		850

		5		12		10		5/12/07 8:59		243		- 0		69		13		128		234		- 0		14		- 0		145		846				5/12/07 8:59		257		379		846

		5		12		11		5/12/07 9:59		235		- 0		71		15		132		232		- 0		13		- 0		148		845				5/12/07 9:59		248		380		845

		5		12		12		5/12/07 10:59		238		- 0		70		13		130		235		- 0		14		- 0		148		848				5/12/07 10:59		252		383		848

		5		12		13		5/12/07 11:59		241		- 0		71		11		133		236		- 0		13		- 0		146		850				5/12/07 11:59		254		382		850

		5		12		14		5/12/07 12:59		234		- 0		72		14		135		235		- 0		13		- 0		141		845				5/12/07 12:59		247		376		845

		5		12		15		5/12/07 13:59		219		- 0		70		14		128		243		- 0		12		- 0		148		833				5/12/07 13:59		231		391		833

		5		12		16		5/12/07 14:59		240		- 0		69		10		132		247		- 0		13		- 0		147		857				5/12/07 14:59		253		394		857

		5		12		17		5/12/07 15:59		253		- 0		62		8		116		241		- 0		14		- 0		148		843				5/12/07 15:59		267		389		843

		5		12		18		5/12/07 16:59		266		- 0		54		5		112		246		- 0		13		- 0		148		845				5/12/07 16:59		279		394		845

		5		12		19		5/12/07 17:59		274		- 0		53		5		108		241		- 0		14		- 0		149		844				5/12/07 17:59		288		390		844

		5		12		20		5/12/07 18:59		280		- 0		52		4		105		243		- 0		15		- 0		148		847				5/12/07 18:59		295		391		847

		5		12		21		5/12/07 19:59		270		- 0		51		5		97		242		- 0		15		- 0		145		824				5/12/07 19:59		285		387		824

		5		12		22		5/12/07 20:59		285		- 0		44		4		96		243		- 0		16		5		146		840				5/12/07 20:59		301		389		840

		5		12		23		5/12/07 21:59		391		- 0		46		4		122		272		- 0		16		6		149		1,006				5/12/07 21:59		407		421		1,006

		5		12		24		5/12/07 22:59		235		- 0		36		3		87		239		- 0		13		6		143		762				5/12/07 22:59		248		382		762

		5		13		1		5/12/07 23:59		200		- 0		32		3		77		218		- 0		12		6		142		690				5/12/07 23:59		212		360		690

		5		13		2		5/13/07 0:59		157		- 0		30		3		68		207		- 0		9		6		140		620				5/13/07 0:59		166		347		620

		5		13		3		5/13/07 1:59		149		- 0		29		3		65		209		- 0		9		6		140		611				5/13/07 1:59		158		349		611

		5		13		4		5/13/07 2:59		157		- 0		29		3		67		210		- 0		11		6		140		623				5/13/07 2:59		168		350		623

		5		13		5		5/13/07 3:59		200		- 0		32		3		76		219		- 0		11		6		142		690				5/13/07 3:59		211		361		690

		5		13		6		5/13/07 4:59		494		- 0		40		3		129		279		- 0		16		6		153		1,121				5/13/07 4:59		510		432		1,121

		5		13		7		5/13/07 5:59		304		- 0		39		8		101		235		- 0		17		3		148		855				5/13/07 5:59		321		383		855

		5		13		8		5/13/07 6:59		264		- 0		52		11		115		233		- 0		17		- 0		147		839				5/13/07 6:59		281		380		839

		5		13		9		5/13/07 7:59		246		- 0		60		13		120		233		- 0		19		- 0		147		837				5/13/07 7:59		265		380		837

		5		13		10		5/13/07 8:59		246		- 0		65		14		123		225		- 0		17		- 0		147		836				5/13/07 8:59		263		372		836

		5		13		11		5/13/07 9:59		248		- 0		68		14		131		229		- 0		14		- 0		145		850				5/13/07 9:59		262		374		850

		5		13		12		5/13/07 10:59		253		- 0		68		14		129		228		- 0		12		- 0		148		852				5/13/07 10:59		265		376		852

		5		13		13		5/13/07 11:59		254		- 0		66		10		128		234		- 0		12		- 0		147		850				5/13/07 11:59		266		381		850

		5		13		14		5/13/07 12:59		242		- 0		68		11		136		239		- 0		11		- 0		149		856				5/13/07 12:59		253		388		856

		5		13		15		5/13/07 13:59		249		- 0		69		11		139		249		- 0		13		- 0		149		879				5/13/07 13:59		262		398		879

		5		13		16		5/13/07 14:59		314		- 0		68		9		157		267		- 0		13		- 0		150		978				5/13/07 14:59		327		417		978

		5		13		17		5/13/07 15:59		280		- 0		56		6		123		243		- 0		14		- 0		147		870				5/13/07 15:59		294		390		870

		5		13		18		5/13/07 16:59		287		- 0		49		5		113		242		- 0		14		- 0		145		856				5/13/07 16:59		301		387		856

		5		13		19		5/13/07 17:59		310		- 0		48		3		112		237		- 0		13		- 0		149		872				5/13/07 17:59		323		386		872

		5		13		20		5/13/07 18:59		342		- 0		52		3		117		247		- 0		14		- 0		149		925				5/13/07 18:59		356		396		925

		5		13		21		5/13/07 19:59		289		- 0		50		4		99		237		- 0		15		- 0		150		843				5/13/07 19:59		304		387		843

		5		13		22		5/13/07 20:59		299		- 0		45		4		93		244		- 0		15		5		150		854				5/13/07 20:59		314		394		854

		5		13		23		5/13/07 21:59		468		- 0		48		3		123		283		- 0		15		6		151		1,099				5/13/07 21:59		483		434		1,099

		5		13		24		5/13/07 22:59		171		- 0		32		2		63		207		- 0		12		6		141		635				5/13/07 22:59		183		348		635

		5		14		1		5/13/07 23:59		369		- 0		71		2		210		293		- 0		12		6		153		1,117				5/13/07 23:59		381		446		1,117

		5		14		2		5/14/07 0:59		242		- 0		60		2		162		255		- 0		9		6		146		882				5/14/07 0:59		251		401		882

		5		14		3		5/14/07 1:59		305		- 0		65		2		184		275		- 0		11		6		149		997				5/14/07 1:59		316		424		997

		5		14		4		5/14/07 2:59		399		- 0		67		3		206		290		- 0		11		6		153		1,135				5/14/07 2:59		410		443		1,135

		5		14		5		5/14/07 3:59		356		- 0		66		3		198		285		- 0		13		6		151		1,077				5/14/07 3:59		369		436		1,077

		5		14		6		5/14/07 4:59		389		- 0		65		2		198		285		- 0		13		6		152		1,110				5/14/07 4:59		402		437		1,110

		5		14		7		5/14/07 5:59		245		- 0		55		3		139		245		- 0		15		3		147		851				5/14/07 5:59		260		392		851

		5		14		8		5/14/07 6:59		254		- 0		55		3		137		237		- 0		17		- 0		146		848				5/14/07 6:59		271		383		848

		5		14		9		5/14/07 7:59		250		- 0		58		3		137		235		- 0		18		- 0		146		846				5/14/07 7:59		268		381		846

		5		14		10		5/14/07 8:59		255		- 0		66		3		140		234		- 0		18		- 0		147		863				5/14/07 8:59		273		381		863

		5		14		11		5/14/07 9:59		257		- 0		67		3		138		237		- 0		15		- 0		147		864				5/14/07 9:59		272		384		864

		5		14		12		5/14/07 10:59		269		- 0		68		3		139		238		- 0		13		- 0		148		877				5/14/07 10:59		282		386		877

		5		14		13		5/14/07 11:59		248		- 0		65		2		134		236		- 0		14		- 0		148		848				5/14/07 11:59		262		384		848

		5		14		14		5/14/07 12:59		241		- 0		65		2		136		238		- 0		12		- 0		147		842				5/14/07 12:59		253		385		842

		5		14		15		5/14/07 13:59		236		- 0		67		2		143		243		- 0		13		- 0		148		852				5/14/07 13:59		249		391		852

		5		14		16		5/14/07 14:59		248		- 0		67		2		144		236		- 0		13		- 0		148		858				5/14/07 14:59		261		384		858

		5		14		17		5/14/07 15:59		256		- 0		64		2		133		237		- 0		14		- 0		147		854				5/14/07 15:59		270		384		854

		5		14		18		5/14/07 16:59		261		- 0		55		2		127		235		- 0		14		- 0		146		840				5/14/07 16:59		275		381		840

		5		14		19		5/14/07 17:59		269		- 0		57		2		129		238		- 0		16		- 0		146		857				5/14/07 17:59		285		384		857

		5		14		20		5/14/07 18:59		267		- 0		60		2		128		228		- 0		15		- 0		146		846				5/14/07 18:59		282		374		846

		5		14		21		5/14/07 19:59		267		- 0		62		3		129		230		- 0		13		- 0		146		850				5/14/07 19:59		280		376		850

		5		14		22		5/14/07 20:59		263		- 0		61		3		128		234		- 0		14		5		147		854				5/14/07 20:59		277		381		854

		5		14		23		5/14/07 21:59		257		- 0		62		3		131		240		- 0		12		6		148		859				5/14/07 21:59		269		388		859

		5		14		24		5/14/07 22:59		284		- 0		60		2		143		246		- 0		13		6		148		903				5/14/07 22:59		297		394		903

		5		15		1		5/14/07 23:59		380		- 0		79		2		220		290		- 0		10		6		154		1,141				5/14/07 23:59		390		444		1,141

		5		15		2		5/15/07 0:59		319		- 0		75		2		204		275		- 0		10		6		151		1,041				5/15/07 0:59		329		426		1,041

		5		15		3		5/15/07 1:59		265		- 0		69		2		182		263		- 0		10		6		148		946				5/15/07 1:59		275		411		946

		5		15		4		5/15/07 2:59		311		- 0		72		2		195		266		- 0		8		6		147		1,007				5/15/07 2:59		319		413		1,007

		5		15		5		5/15/07 3:59		259		- 0		67		2		177		255		- 0		8		6		147		921				5/15/07 3:59		267		402		921

		5		15		6		5/15/07 4:59		325		- 0		71		2		205		276		- 0		12		6		150		1,047				5/15/07 4:59		337		426		1,047

		5		15		7		5/15/07 5:59		375		- 0		73		2		224		291		- 0		14		3		153		1,135				5/15/07 5:59		389		444		1,135

		5		15		8		5/15/07 6:59		245		- 0		61		2		153		239		- 0		13		- 0		147		860				5/15/07 6:59		258		386		860

		5		15		9		5/15/07 7:59		247		- 0		64		2		149		237		- 0		15		- 0		147		862				5/15/07 7:59		262		384		862

		5		15		10		5/15/07 8:59		259		- 0		65		2		146		236		- 0		16		- 0		147		871				5/15/07 8:59		275		383		871

		5		15		11		5/15/07 9:59		252		- 0		66		2		144		236		- 0		15		- 0		147		862				5/15/07 9:59		267		383		862

		5		15		12		5/15/07 10:59		239		- 0		66		2		142		232		- 0		12		- 0		146		839				5/15/07 10:59		251		378		839

		5		15		13		5/15/07 11:59		233		- 0		66		2		145		233		- 0		14		- 0		146		840				5/15/07 11:59		247		379		840

		5		15		14		5/15/07 12:59		236		- 0		68		2		151		233		- 0		15		- 0		147		853				5/15/07 12:59		251		380		853

		5		15		15		5/15/07 13:59		236		- 0		69		2		154		239		- 0		10		- 0		148		857				5/15/07 13:59		246		387		857

		5		15		16		5/15/07 14:59		227		- 0		70		2		158		241		- 0		13		- 0		146		857				5/15/07 14:59		240		387		857

		5		15		17		5/15/07 15:59		232		- 0		68		2		154		237		- 0		12		- 0		148		854				5/15/07 15:59		244		385		854

		5		15		18		5/15/07 16:59		245		- 0		62		2		147		235		- 0		13		- 0		147		851				5/15/07 16:59		258		382		851

		5		15		19		5/15/07 17:59		255		- 0		62		2		144		234		- 0		12		- 0		146		856				5/15/07 17:59		267		380		856

		5		15		20		5/15/07 18:59		250		- 0		63		2		138		230		- 0		15		- 0		146		844				5/15/07 18:59		265		376		844

		5		15		21		5/15/07 19:59		230		- 0		64		3		134		225		- 0		15		- 0		145		816				5/15/07 19:59		245		370		816

		5		15		22		5/15/07 20:59		241		- 0		65		3		145		236		- 0		13		5		147		855				5/15/07 20:59		254		383		855

		5		15		23		5/15/07 21:59		249		- 0		66		3		161		245		- 0		12		6		148		889				5/15/07 21:59		261		393		889

		5		15		24		5/15/07 22:59		320		- 0		76		2		221		278		- 0		8		6		151		1,063				5/15/07 22:59		328		429		1,063

		5		16		1		5/15/07 23:59		109		- 0		44		2		93		206		- 0		7		6		139		606				5/15/07 23:59		116		345		606

		5		16		2		5/16/07 0:59		99		- 0		43		2		92		209		- 0		5		6		139		596				5/16/07 0:59		104		348		596

		5		16		3		5/16/07 1:59		109		- 0		43		2		93		208		- 0		5		6		138		605				5/16/07 1:59		114		346		605

		5		16		4		5/16/07 2:59		103		- 0		43		2		94		207		- 0		7		6		139		601				5/16/07 2:59		110		346		601

		5		16		5		5/16/07 3:59		110		- 0		43		2		95		205		- 0		6		6		138		605				5/16/07 3:59		116		343		605

		5		16		6		5/16/07 4:59		227		- 0		51		2		143		238		- 0		11		6		144		822				5/16/07 4:59		238		382		822

		5		16		7		5/16/07 5:59		247		- 0		55		8		145		235		- 0		15		3		148		855				5/16/07 5:59		262		383		855

		5		16		8		5/16/07 6:59		209		- 0		66		11		152		232		- 0		11		- 0		145		827				5/16/07 6:59		220		377		827

		5		16		9		5/16/07 7:59		201		- 0		75		14		163		235		- 0		12		- 0		145		846				5/16/07 7:59		213		380		846

		5		16		10		5/16/07 8:59		191		- 0		82		13		167		236		- 0		11		- 0		146		846				5/16/07 8:59		202		382		846

		5		16		11		5/16/07 9:59		194		- 0		84		15		169		236		- 0		13		- 0		145		856				5/16/07 9:59		207		381		856

		5		16		12		5/16/07 10:59		202		- 0		84		14		172		236		- 0		12		- 0		147		866				5/16/07 10:59		214		383		866

		5		16		13		5/16/07 11:59		187		- 0		84		12		173		236		- 0		11		- 0		147		849				5/16/07 11:59		198		383		849

		5		16		14		5/16/07 12:59		171		- 0		88		15		183		245		- 0		10		- 0		148		860				5/16/07 12:59		181		393		860

		5		16		15		5/16/07 13:59		166		- 0		87		14		185		248		- 0		10		- 0		148		858				5/16/07 13:59		176		396		858

		5		16		16		5/16/07 14:59		175		- 0		84		11		182		249		- 0		8		- 0		148		856				5/16/07 14:59		183		397		856

		5		16		17		5/16/07 15:59		202		- 0		77		8		165		243		- 0		11		- 0		146		853				5/16/07 15:59		213		389		853

		5		16		18		5/16/07 16:59		224		- 0		67		5		157		242		- 0		14		- 0		147		856				5/16/07 16:59		238		389		856

		5		16		19		5/16/07 17:59		249		- 0		61		4		147		238		- 0		13		- 0		147		860				5/16/07 17:59		262		385		860

		5		16		20		5/16/07 18:59		238		- 0		60		4		140		229		- 0		12		- 0		144		828				5/16/07 18:59		250		373		828

		5		16		21		5/16/07 19:59		231		- 0		61		5		140		238		- 0		12		- 0		146		833				5/16/07 19:59		243		384		833

		5		16		22		5/16/07 20:59		237		- 0		59		4		147		242		- 0		11		5		148		854				5/16/07 20:59		248		390		854

		5		16		23		5/16/07 21:59		347		- 0		68		4		206		288		- 0		10		6		152		1,081				5/16/07 21:59		357		440		1,081

		5		16		24		5/16/07 22:59		181		- 0		52		3		141		237		- 0		7		6		142		770				5/16/07 22:59		188		379		770

		5		17		1		5/16/07 23:59		124		- 0		43		3		104		220		- 0		7		6		139		647				5/16/07 23:59		131		359		647

		5		17		2		5/17/07 0:59		119		- 0		42		3		99		218		- 0		7		6		138		632				5/17/07 0:59		126		356		632

		5		17		3		5/17/07 1:59		104		- 0		41		2		94		214		- 0		8		6		138		607				5/17/07 1:59		112		352		607

		5		17		4		5/17/07 2:59		112		- 0		41		2		93		214		- 0		7		6		138		612				5/17/07 2:59		119		352		612

		5		17		5		5/17/07 3:59		157		- 0		45		3		111		231		- 0		8		6		140		701				5/17/07 3:59		165		371		701

		5		17		6		5/17/07 4:59		196		- 0		46		3		125		237		- 0		10		6		142		764				5/17/07 4:59		206		379		764

		5		17		7		5/17/07 5:59		243		- 0		52		8		136		246		- 0		18		3		147		853				5/17/07 5:59		261		393		853

		5		17		8		5/17/07 6:59		218		- 0		62		11		144		242		- 0		14		- 0		144		834				5/17/07 6:59		232		386		834

		5		17		9		5/17/07 7:59		213		- 0		72		13		154		236		- 0		13		- 0		144		845				5/17/07 7:59		226		380		845

		5		17		10		5/17/07 8:59		194		- 0		80		13		166		246		- 0		11		- 0		145		855				5/17/07 8:59		205		391		855

		5		17		11		5/17/07 9:59		198		- 0		82		14		170		235		- 0		11		- 0		144		854				5/17/07 9:59		209		379		854

		5		17		12		5/17/07 10:59		190		- 0		83		12		170		243		- 0		10		- 0		141		850				5/17/07 10:59		200		384		850

		5		17		13		5/17/07 11:59		196		- 0		83		12		174		241		- 0		9		- 0		147		861				5/17/07 11:59		205		388		861

		5		17		14		5/17/07 12:59		179		- 0		85		13		179		247		- 0		7		- 0		148		859				5/17/07 12:59		186		395		859

		5		17		15		5/17/07 13:59		180		- 0		85		13		177		245		- 0		9		- 0		147		856				5/17/07 13:59		189		392		856

		5		17		16		5/17/07 14:59		189		- 0		82		11		174		249		- 0		10		- 0		148		862				5/17/07 14:59		199		397		862

		5		17		17		5/17/07 15:59		206		- 0		74		8		154		251		- 0		11		- 0		146		851				5/17/07 15:59		217		397		851

		5		17		18		5/17/07 16:59		225		- 0		61		4		140		249		- 0		13		- 0		146		838				5/17/07 16:59		238		395		838

		5		17		19		5/17/07 17:59		238		- 0		57		4		142		250		- 0		14		- 0		146		850				5/17/07 17:59		252		396		850

		5		17		20		5/17/07 18:59		245		- 0		57		4		138		244		- 0		12		- 0		146		847				5/17/07 18:59		257		390		847

		5		17		21		5/17/07 19:59		233		- 0		60		4		137		252		- 0		14		- 0		146		847				5/17/07 19:59		247		398		847

		5		17		22		5/17/07 20:59		240		- 0		57		4		135		252		- 0		12		5		147		852				5/17/07 20:59		252		399		852

		5		17		23		5/17/07 21:59		289		- 0		59		4		158		268		- 0		9		6		148		941				5/17/07 21:59		298		416		941

		5		17		24		5/17/07 22:59		198		- 0		50		3		134		248		- 0		8		6		143		790				5/17/07 22:59		206		391		790

		5		18		1		5/17/07 23:59		171		- 0		45		3		114		238		- 0		8		6		142		727				5/17/07 23:59		179		380		727

		5		18		2		5/18/07 0:59		142		- 0		41		3		99		224		- 0		8		6		138		661				5/18/07 0:59		150		362		661

		5		18		3		5/18/07 1:59		116		- 0		39		2		91		217		- 0		10		6		138		619				5/18/07 1:59		126		355		619

		5		18		4		5/18/07 2:59		165		- 0		42		2		105		231		- 0		8		6		141		701				5/18/07 2:59		173		372		701

		5		18		5		5/18/07 3:59		168		- 0		42		2		104		231		- 0		10		6		141		704				5/18/07 3:59		178		372		704

		5		18		6		5/18/07 4:59		408		- 0		55		3		175		298		- 0		12		6		151		1,109				5/18/07 4:59		420		449		1,109

		5		18		7		5/18/07 5:59		255		- 0		49		7		125		247		- 0		16		3		145		847				5/18/07 5:59		271		392		847

		5		18		8		5/18/07 6:59		239		- 0		61		11		142		242		- 0		13		- 0		145		854				5/18/07 6:59		252		387		854

		5		18		9		5/18/07 7:59		211		- 0		72		13		148		240		- 0		12		- 0		145		841				5/18/07 7:59		223		385		841

		5		18		10		5/18/07 8:59		194		- 0		77		14		151		238		- 0		12		- 0		145		830				5/18/07 8:59		206		383		830

		5		18		11		5/18/07 9:59		201		- 0		81		15		161		244		- 0		11		- 0		141		854				5/18/07 9:59		212		385		854

		5		18		12		5/18/07 10:59		195		- 0		82		13		159		243		- 0		11		- 0		146		849				5/18/07 10:59		206		389		849

		5		18		13		5/18/07 11:59		201		- 0		82		11		163		240		- 0		13		- 0		147		858				5/18/07 11:59		214		387		858

		5		18		14		5/18/07 12:59		190		- 0		83		13		164		242		- 0		11		- 0		143		848				5/18/07 12:59		201		385		848

		5		18		15		5/18/07 13:59		180		- 0		84		12		172		248		- 0		9		- 0		147		852				5/18/07 13:59		189		395		852

		5		18		16		5/18/07 14:59		194		- 0		79		10		157		250		- 0		10		- 0		147		847				5/18/07 14:59		204		397		847

		5		18		17		5/18/07 15:59		215		- 0		73		7		147		254		- 0		12		- 0		147		855				5/18/07 15:59		227		401		855

		5		18		18		5/18/07 16:59		235		- 0		63		4		141		253		- 0		11		- 0		147		854				5/18/07 16:59		246		400		854

		5		18		19		5/18/07 17:59		250		- 0		58		4		139		249		- 0		12		- 0		147		859				5/18/07 17:59		262		396		859

		5		18		20		5/18/07 18:59		250		- 0		59		4		137		246		- 0		12		- 0		148		855				5/18/07 18:59		262		394		855

		5		18		21		5/18/07 19:59		249		- 0		59		4		130		250		- 0		11		- 0		146		850				5/18/07 19:59		260		396		850

		5		18		22		5/18/07 20:59		245		- 0		58		4		130		247		- 0		12		5		148		848				5/18/07 20:59		257		395		848

		5		18		23		5/18/07 21:59		286		- 0		56		4		144		260		- 0		11		6		148		915				5/18/07 21:59		297		408		915

		5		18		24		5/18/07 22:59		177		- 0		48		3		118		236		- 0		8		6		143		740				5/18/07 22:59		185		379		740

		5		19		1		5/18/07 23:59		134		- 0		32		2		66		205		- 0		8		6		141		596				5/18/07 23:59		142		346		596

		5		19		2		5/19/07 0:59		137		- 0		30		3		64		205		- 0		9		6		141		595				5/19/07 0:59		146		346		595

		5		19		3		5/19/07 1:59		140		- 0		31		2		63		207		- 0		7		6		141		598				5/19/07 1:59		147		348		598

		5		19		4		5/19/07 2:59		139		- 0		31		2		63		205		- 0		9		6		141		596				5/19/07 2:59		148		346		596

		5		19		5		5/19/07 3:59		216		- 0		33		2		74		223		- 0		11		6		143		709				5/19/07 3:59		227		366		709

		5		19		6		5/19/07 4:59		348		- 0		36		2		100		248		- 0		16		6		148		905				5/19/07 4:59		364		396		905

		5		19		7		5/19/07 5:59		298		- 0		41		7		103		241		- 0		15		3		150		858				5/19/07 5:59		313		391		858

		5		19		8		5/19/07 6:59		259		- 0		51		11		113		237		- 0		18		- 0		148		836				5/19/07 6:59		277		385		836

		5		19		9		5/19/07 7:59		247		- 0		62		13		128		238		- 0		14		- 0		148		850				5/19/07 7:59		261		386		850

		5		19		10		5/19/07 8:59		247		- 0		68		14		134		238		- 0		12		- 0		139		851				5/19/07 8:59		259		377		851

		5		19		11		5/19/07 9:59		232		- 0		70		14		137		236		- 0		14		- 0		149		852				5/19/07 9:59		246		385		852

		5		19		12		5/19/07 10:59		234		- 0		71		13		135		238		- 0		14		- 0		146		852				5/19/07 10:59		248		384		852

		5		19		13		5/19/07 11:59		235		- 0		72		11		142		248		- 0		13		- 0		149		870				5/19/07 11:59		248		397		870

		5		19		14		5/19/07 12:59		214		- 0		76		15		147		250		- 0		9		- 0		149		859				5/19/07 12:59		223		399		859

		5		19		15		5/19/07 13:59		258		- 0		77		13		160		260		- 0		10		- 0		149		927				5/19/07 13:59		268		409		927

		5		19		16		5/19/07 14:59		317		- 0		80		10		182		277		- 0		9		- 0		153		1,029				5/19/07 14:59		326		430		1,029

		5		19		17		5/19/07 15:59		246		- 0		65		8		130		248		- 0		10		- 0		149		857				5/19/07 15:59		256		397		857

		5		19		18		5/19/07 16:59		269		- 0		58		4		120		246		- 0		14		- 0		150		861				5/19/07 16:59		283		396		861

		5		19		19		5/19/07 17:59		318		- 0		59		3		135		266		- 0		12		- 0		150		943				5/19/07 17:59		330		416		943

		5		19		20		5/19/07 18:59		285		- 0		54		4		117		248		- 0		13		- 0		149		870				5/19/07 18:59		298		397		870

		5		19		21		5/19/07 19:59		278		- 0		54		4		107		244		- 0		14		- 0		149		850				5/19/07 19:59		292		393		850

		5		19		22		5/19/07 20:59		294		- 0		47		4		107		246		- 0		13		5		149		865				5/19/07 20:59		307		395		865

		5		19		23		5/19/07 21:59		466		- 0		50		4		142		297		- 0		12		6		155		1,133				5/19/07 21:59		478		452		1,133

		5		19		24		5/19/07 22:59		151		- 0		32		3		71		213		- 0		8		6		141		626				5/19/07 22:59		159		354		626

		5		20		1		5/19/07 23:59		137		- 0		30		2		71		208		- 0		8		6		142		605				5/19/07 23:59		145		350		605

		5		20		2		5/20/07 0:59		150		- 0		29		3		72		218		- 0		7		6		143		628				5/20/07 0:59		157		361		628

		5		20		3		5/20/07 1:59		253		- 0		36		3		107		262		- 0		8		6		152		826				5/20/07 1:59		261		414		826

		5		20		4		5/20/07 2:59		139		- 0		29		2		66		211		- 0		9		6		142		603				5/20/07 2:59		148		353		603

		5		20		5		5/20/07 3:59		143		- 0		28		2		66		209		- 0		9		6		142		605				5/20/07 3:59		152		351		605

		5		20		6		5/20/07 4:59		148		- 0		26		2		68		210		- 0		12		6		140		611				5/20/07 4:59		160		350		611

		5		20		7		5/20/07 5:59		421		- 0		44		6		144		279		- 0		15		3		153		1,064				5/20/07 5:59		436		432		1,064

		5		20		8		5/20/07 6:59		271		- 0		50		11		123		242		- 0		14		- 0		150		862				5/20/07 6:59		285		392		862

		5		20		9		5/20/07 7:59		257		- 0		58		14		125		233		- 0		12		- 0		148		847				5/20/07 7:59		269		381		847

		5		20		10		5/20/07 8:59		243		- 0		66		13		137		237		- 0		13		- 0		150		859				5/20/07 8:59		256		387		859

		5		20		11		5/20/07 9:59		240		- 0		68		13		141		237		- 0		12		- 0		150		862				5/20/07 9:59		252		387		862

		5		20		12		5/20/07 10:59		241		- 0		67		12		141		244		- 0		11		- 0		150		865				5/20/07 10:59		252		394		865

		5		20		13		5/20/07 11:59		244		- 0		66		9		139		243		- 0		11		- 0		149		862				5/20/07 11:59		255		392		862

		5		20		14		5/20/07 12:59		325		- 0		76		12		185		274		- 0		9		- 0		154		1,034				5/20/07 12:59		334		428		1,034

		5		20		15		5/20/07 13:59		349		- 0		77		11		198		279		- 0		10		- 0		154		1,079				5/20/07 13:59		359		433		1,079

		5		20		16		5/20/07 14:59		332		- 0		73		8		184		283		- 0		9		- 0		152		1,041				5/20/07 14:59		341		435		1,041

		5		20		17		5/20/07 15:59		412		- 0		69		6		179		292		- 0		10		- 0		156		1,124				5/20/07 15:59		422		448		1,124

		5		20		18		5/20/07 16:59		455		- 0		60		4		172		288		- 0		12		- 0		156		1,146				5/20/07 16:59		467		444		1,146

		5		20		19		5/20/07 17:59		393		- 0		54		3		151		281		- 0		10		- 0		152		1,046				5/20/07 17:59		403		433		1,046

		5		20		20		5/20/07 18:59		289		- 0		51		3		121		254		- 0		11		- 0		148		877				5/20/07 18:59		300		402		877

		5		20		21		5/20/07 19:59		426		- 0		60		4		148		283		- 0		12		- 0		154		1,087				5/20/07 19:59		438		437		1,087

		5		20		22		5/20/07 20:59		316		- 0		47		3		111		251		- 0		10		5		148		891				5/20/07 20:59		326		399		891

		5		20		23		5/20/07 21:59		206		- 0		37		3		79		223		- 0		11		6		144		710				5/20/07 21:59		217		367		710

		5		20		24		5/20/07 22:59		135		- 0		32		2		60		209		- 0		9		6		142		596				5/20/07 22:59		144		351		596

		5		21		1		5/20/07 23:59		192		- 0		57		2		140		243		- 0		8		6		146		794				5/20/07 23:59		200		389		794

		5		21		2		5/21/07 0:59		166		- 0		54		2		128		239		- 0		9		6		144		749				5/21/07 0:59		175		383		749

		5		21		3		5/21/07 1:59		155		- 0		52		2		120		227		- 0		8		6		143		713				5/21/07 1:59		163		370		713

		5		21		4		5/21/07 2:59		169		- 0		50		2		125		236		- 0		8		6		144		739				5/21/07 2:59		177		380		739

		5		21		5		5/21/07 3:59		189		- 0		52		2		131		242		- 0		9		6		144		775				5/21/07 3:59		198		386		775

		5		21		6		5/21/07 4:59		201		- 0		51		2		136		243		- 0		9		6		145		793				5/21/07 4:59		210		388		793

		5		21		7		5/21/07 5:59		382		- 0		63		2		202		291		- 0		17		3		154		1,114				5/21/07 5:59		399		445		1,114

		5		21		8		5/21/07 6:59		249		- 0		55		3		136		246		- 0		16		- 0		149		854				5/21/07 6:59		265		395		854

		5		21		9		5/21/07 7:59		247		- 0		58		3		137		242		- 0		15		- 0		148		849				5/21/07 7:59		262		390		849

		5		21		10		5/21/07 8:59		242		- 0		63		3		138		239		- 0		15		- 0		148		848				5/21/07 8:59		257		387		848

		5		21		11		5/21/07 9:59		243		- 0		66		3		138		240		- 0		14		- 0		148		851				5/21/07 9:59		257		388		851

		5		21		12		5/21/07 10:59		250		- 0		65		3		137		237		- 0		13		- 0		148		853				5/21/07 10:59		263		385		853

		5		21		13		5/21/07 11:59		244		- 0		65		3		137		246		- 0		14		- 0		147		856				5/21/07 11:59		258		393		856

		5		21		14		5/21/07 12:59		230		- 0		66		3		142		250		- 0		14		- 0		149		855				5/21/07 12:59		244		399		855

		5		21		15		5/21/07 13:59		255		- 0		70		3		160		258		- 0		12		- 0		149		907				5/21/07 13:59		267		407		907

		5		21		16		5/21/07 14:59		237		- 0		66		3		138		246		- 0		13		- 0		150		852				5/21/07 14:59		250		396		852

		5		21		17		5/21/07 15:59		250		- 0		64		2		132		246		- 0		15		- 0		148		857				5/21/07 15:59		265		394		857

		5		21		18		5/21/07 16:59		268		- 0		56		2		126		237		- 0		12		- 0		148		849				5/21/07 16:59		280		385		849

		5		21		19		5/21/07 17:59		270		- 0		55		2		126		241		- 0		11		- 0		148		853				5/21/07 17:59		281		389		853

		5		21		20		5/21/07 18:59		258		- 0		59		3		127		242		- 0		13		- 0		149		851				5/21/07 18:59		271		391		851

		5		21		21		5/21/07 19:59		263		- 0		61		3		127		241		- 0		12		- 0		148		854				5/21/07 19:59		275		389		854

		5		21		22		5/21/07 20:59		255		- 0		59		3		127		243		- 0		13		5		149		854				5/21/07 20:59		268		392		854

		5		21		23		5/21/07 21:59		263		- 0		59		3		133		246		- 0		12		6		148		869				5/21/07 21:59		275		394		869

		5		21		24		5/21/07 22:59		403		- 0		68		2		190		299		- 0		9		6		155		1,134				5/21/07 22:59		412		454		1,134

		5		22		1		5/21/07 23:59		266		- 0		71		2		187		266		- 0		8		6		148		954				5/21/07 23:59		274		414		954

		5		22		2		5/22/07 0:59		206		- 0		65		2		160		244		- 0		10		6		145		837				5/22/07 0:59		216		389		837

		5		22		3		5/22/07 1:59		321		- 0		74		2		203		279		- 0		10		6		151		1,046				5/22/07 1:59		331		430		1,046

		5		22		4		5/22/07 2:59		372		- 0		75		2		217		286		- 0		9		6		153		1,121				5/22/07 2:59		381		439		1,121

		5		22		5		5/22/07 3:59		246		- 0		66		2		175		256		- 0		9		6		146		907				5/22/07 3:59		255		402		907

		5		22		6		5/22/07 4:59		371		- 0		73		2		219		293		- 0		13		6		153		1,131				5/22/07 4:59		384		446		1,131

		5		22		7		5/22/07 5:59		237		- 0		60		2		151		248		- 0		15		3		146		863				5/22/07 5:59		252		394		863

		5		22		8		5/22/07 6:59		242		- 0		61		2		150		243		- 0		12		- 0		148		857				5/22/07 6:59		254		391		857

		5		22		9		5/22/07 7:59		235		- 0		61		2		137		231		- 0		15		- 0		144		824				5/22/07 7:59		250		375		824

		5		22		10		5/22/07 8:59		265		- 0		64		2		145		237		- 0		14		- 0		143		871				5/22/07 8:59		279		380		871

		5		22		11		5/22/07 9:59		258		- 0		67		2		145		236		- 0		15		- 0		145		869				5/22/07 9:59		273		381		869

		5		22		12		5/22/07 10:59		255		- 0		66		2		144		237		- 0		14		- 0		143		862				5/22/07 10:59		269		380		862

		5		22		13		5/22/07 11:59		234		- 0		66		2		141		233		- 0		13		- 0		144		833				5/22/07 11:59		247		377		833

		5		22		14		5/22/07 12:59		234		- 0		68		2		151		242		- 0		12		- 0		145		855				5/22/07 12:59		246		387		855

		5		22		15		5/22/07 13:59		227		- 0		69		2		151		241		- 0		14		- 0		147		850				5/22/07 13:59		241		388		850

		5		22		16		5/22/07 14:59		226		- 0		70		2		157		246		- 0		13		- 0		147		861				5/22/07 14:59		239		393		861

		5		22		17		5/22/07 15:59		235		- 0		66		2		142		235		- 0		15		- 0		144		840				5/22/07 15:59		250		379		840

		5		22		18		5/22/07 16:59		253		- 0		63		2		147		235		- 0		13		- 0		147		859				5/22/07 16:59		266		382		859

		5		22		19		5/22/07 17:59		251		- 0		62		2		135		231		- 0		15		- 0		146		841				5/22/07 17:59		266		377		841

		5		22		20		5/22/07 18:59		248		- 0		64		3		138		233		- 0		12		- 0		146		842				5/22/07 18:59		260		379		842

		5		22		21		5/22/07 19:59		241		- 0		66		3		139		228		- 0		18		- 0		145		839				5/22/07 19:59		259		373		839

		5		22		22		5/22/07 20:59		240		- 0		66		3		142		236		- 0		14		5		147		852				5/22/07 20:59		254		383		852

		5		22		23		5/22/07 21:59		235		- 0		64		3		144		240		- 0		12		6		148		852				5/22/07 21:59		247		388		852

		5		22		24		5/22/07 22:59		333		- 0		75		2		202		277		- 0		11		6		150		1,057				5/22/07 22:59		344		427		1,057

		5		23		1		5/22/07 23:59		171		- 0		48		2		102		219		- 0		7		6		140		696				5/22/07 23:59		178		359		696

		5		23		2		5/23/07 0:59		161		- 0		48		2		101		215		- 0		7		6		141		680				5/23/07 0:59		168		356		680

		5		23		3		5/23/07 1:59		171		- 0		49		2		104		220		- 0		8		6		141		700				5/23/07 1:59		179		361		700

		5		23		4		5/23/07 2:59		191		- 0		48		2		109		225		- 0		7		6		142		731				5/23/07 2:59		198		367		731

		5		23		5		5/23/07 3:59		175		- 0		47		2		108		221		- 0		9		6		140		708				5/23/07 3:59		184		361		708

		5		23		6		5/23/07 4:59		246		- 0		50		2		127		238		- 0		13		6		144		827				5/23/07 4:59		259		382		827

		5		23		7		5/23/07 5:59		430		- 0		59		2		183		276		- 0		14		3		152		1,120				5/23/07 5:59		444		428		1,120

		5		23		8		5/23/07 6:59		279		- 0		53		3		134		236		- 0		11		- 0		143		859				5/23/07 6:59		290		379		859

		5		23		9		5/23/07 7:59		277		- 0		55		3		130		235		- 0		13		- 0		146		860				5/23/07 7:59		290		381		860

		5		23		10		5/23/07 8:59		264		- 0		59		3		130		232		- 0		19		- 0		147		855				5/23/07 8:59		283		379		855

		5		23		11		5/23/07 9:59		265		- 0		61		3		129		232		- 0		17		- 0		146		853				5/23/07 9:59		282		378		853

		5		23		12		5/23/07 10:59		247		- 0		60		3		120		228		- 0		15		- 0		146		819				5/23/07 10:59		262		374		819

		5		23		13		5/23/07 11:59		260		- 0		59		3		122		229		- 0		11		- 0		146		830				5/23/07 11:59		271		375		830

		5		23		14		5/23/07 12:59		260		- 0		62		3		135		235		- 0		11		- 0		148		855				5/23/07 12:59		271		383		855

		5		23		15		5/23/07 13:59		265		- 0		63		3		139		238		- 0		10		- 0		148		866				5/23/07 13:59		275		386		866

		5		23		16		5/23/07 14:59		269		- 0		62		3		142		236		- 0		14		- 0		146		872				5/23/07 14:59		283		382		872

		5		23		17		5/23/07 15:59		268		- 0		57		2		125		235		- 0		16		- 0		146		850				5/23/07 15:59		284		381		850

		5		23		18		5/23/07 16:59		263		- 0		54		3		118		232		- 0		16		- 0		146		833				5/23/07 16:59		279		378		833

		5		23		19		5/23/07 17:59		273		- 0		53		2		121		234		- 0		15		- 0		146		845				5/23/07 17:59		288		380		845

		5		23		20		5/23/07 18:59		272		- 0		54		3		122		234		- 0		15		- 0		147		847				5/23/07 18:59		287		381		847

		5		23		21		5/23/07 19:59		260		- 0		55		3		117		240		- 0		14		- 0		145		833				5/23/07 19:59		274		385		833

		5		23		22		5/23/07 20:59		272		- 0		56		3		120		241		- 0		11		5		147		854				5/23/07 20:59		283		388		854

		5		23		23		5/23/07 21:59		273		- 0		55		3		128		247		- 0		11		6		148		871				5/23/07 21:59		284		395		871

		5		23		24		5/23/07 22:59		336		- 0		61		2		168		279		- 0		13		6		150		1,016				5/23/07 22:59		349		429		1,016

		5		24		1		5/23/07 23:59		107		- 0		42		2		89		213		- 0		6		6		138		604				5/23/07 23:59		113		351		604

		5		24		2		5/24/07 0:59		106		- 0		42		2		89		212		- 0		6		6		136		599				5/24/07 0:59		112		348		599

		5		24		3		5/24/07 1:59		116		- 0		42		2		91		213		- 0		7		6		138		615				5/24/07 1:59		123		351		615

		5		24		4		5/24/07 2:59		111		- 0		42		2		89		212		- 0		7		6		136		605				5/24/07 2:59		118		348		605

		5		24		5		5/24/07 3:59		116		- 0		42		2		93		210		- 0		7		6		138		614				5/24/07 3:59		123		348		614

		5		24		6		5/24/07 4:59		203		- 0		46		2		126		237		- 0		11		6		143		774				5/24/07 4:59		214		380		774

		5		24		7		5/24/07 5:59		251		- 0		54		8		145		241		- 0		15		3		147		863				5/24/07 5:59		266		388		863

		5		24		8		5/24/07 6:59		228		- 0		64		11		153		239		- 0		13		- 0		146		853				5/24/07 6:59		241		385		853

		5		24		9		5/24/07 7:59		203		- 0		76		13		168		238		- 0		13		- 0		141		852				5/24/07 7:59		216		379		852

		5		24		10		5/24/07 8:59		190		- 0		83		14		174		236		- 0		10		- 0		147		853				5/24/07 8:59		200		383		853

		5		24		11		5/24/07 9:59		185		- 0		85		14		175		234		- 0		10		- 0		147		849				5/24/07 9:59		195		381		849

		5		24		12		5/24/07 10:59		183		- 0		84		15		175		237		- 0		12		- 0		147		852				5/24/07 10:59		195		384		852

		5		24		13		5/24/07 11:59		183		- 0		84		10		179		244		- 0		9		- 0		148		857				5/24/07 11:59		192		392		857

		5		24		14		5/24/07 12:59		174		- 0		87		14		186		245		- 0		7		- 0		147		860				5/24/07 12:59		181		392		860

		5		24		15		5/24/07 13:59		174		- 0		88		13		193		249		- 0		7		- 0		146		869				5/24/07 13:59		181		395		869

		5		24		16		5/24/07 14:59		179		- 0		84		10		188		248		- 0		7		- 0		147		862				5/24/07 14:59		186		395		862

		5		24		17		5/24/07 15:59		195		- 0		78		8		171		253		- 0		10		- 0		148		863				5/24/07 15:59		205		401		863

		5		24		18		5/24/07 16:59		219		- 0		65		4		158		252		- 0		9		- 0		148		855				5/24/07 16:59		228		400		855

		5		24		19		5/24/07 17:59		232		- 0		60		4		162		252		- 0		10		- 0		146		866				5/24/07 17:59		242		398		866

		5		24		20		5/24/07 18:59		248		- 0		58		4		160		247		- 0		8		- 0		147		872				5/24/07 18:59		256		394		872

		5		24		21		5/24/07 19:59		231		- 0		61		4		151		251		- 0		13		- 0		148		860				5/24/07 19:59		244		399		860

		5		24		22		5/24/07 20:59		255		- 0		58		4		163		260		- 0		10		5		147		902				5/24/07 20:59		265		407		902

		5		24		23		5/24/07 21:59		248		- 0		59		3		174		267		- 0		9		6		147		913				5/24/07 21:59		257		414		913

		5		24		24		5/24/07 22:59		121		- 0		45		3		114		218		- 0		6		6		140		652				5/24/07 22:59		127		358		652

		5		25		1		5/24/07 23:59		119		- 0		39		2		95		224		- 0		6		6		139		631				5/24/07 23:59		125		363		631

		5		25		2		5/25/07 0:59		100		- 0		38		3		88		218		- 0		6		6		140		597				5/25/07 0:59		106		358		597

		5		25		3		5/25/07 1:59		106		- 0		38		2		87		215		- 0		6		6		139		599				5/25/07 1:59		112		354		599

		5		25		4		5/25/07 2:59		103		- 0		39		2		88		220		- 0		6		6		140		603				5/25/07 2:59		109		360		603

		5		25		5		5/25/07 3:59		111		- 0		39		2		86		216		- 0		7		6		139		606				5/25/07 3:59		118		355		606

		5		25		6		5/25/07 4:59		175		- 0		40		2		107		228		- 0		10		6		141		708				5/25/07 4:59		185		369		708

		5		25		7		5/25/07 5:59		389		- 0		59		7		193		291		- 0		9		1		152		1,103				5/25/07 5:59		398		443		1,103

		5		25		8		5/25/07 6:59		221		- 0		62		11		150		254		- 0		11		- 0		147		855				5/25/07 6:59		232		401		855

		5		25		9		5/25/07 7:59		200		- 0		73		15		160		250		- 0		8		- 0		147		852				5/25/07 7:59		208		397		852

		5		25		10		5/25/07 8:59		189		- 0		79		13		166		250		- 0		10		- 0		147		853				5/25/07 8:59		199		397		853

		5		25		11		5/25/07 9:59		184		- 0		80		14		169		247		- 0		10		- 0		148		851				5/25/07 9:59		194		395		851

		5		25		12		5/25/07 10:59		188		- 0		79		14		167		247		- 0		10		- 0		147		852				5/25/07 10:59		198		394		852

		5		25		13		5/25/07 11:59		179		- 0		80		11		169		257		- 0		8		- 0		148		852				5/25/07 11:59		187		405		852

		5		25		14		5/25/07 12:59		174		- 0		82		14		169		253		- 0		7		- 0		147		846				5/25/07 12:59		181		400		846

		5		25		15		5/25/07 13:59		177		- 0		82		14		169		254		- 0		8		- 0		147		851				5/25/07 13:59		185		401		851

		5		25		16		5/25/07 14:59		184		- 0		80		10		170		261		- 0		8		- 0		147		860				5/25/07 14:59		192		408		860

		5		25		17		5/25/07 15:59		204		- 0		75		8		161		259		- 0		9		- 0		145		860				5/25/07 15:59		213		404		860

		5		25		18		5/25/07 16:59		228		- 0		64		4		149		251		- 0		12		- 0		147		855				5/25/07 16:59		240		398		855

		5		25		19		5/25/07 17:59		241		- 0		58		4		140		250		- 0		10		- 0		147		851				5/25/07 17:59		251		397		851

		5		25		20		5/25/07 18:59		242		- 0		58		4		146		252		- 0		11		- 0		148		861				5/25/07 18:59		253		400		861

		5		25		21		5/25/07 19:59		229		- 0		59		4		139		253		- 0		13		- 0		146		844				5/25/07 19:59		242		399		844

		5		25		22		5/25/07 20:59		239		- 0		56		4		136		260		- 0		11		4		148		859				5/25/07 20:59		250		408		859

		5		25		23		5/25/07 21:59		343		- 0		60		4		186		296		- 0		9		6		151		1,055				5/25/07 21:59		352		447		1,055

		5		25		24		5/25/07 22:59		142		- 0		42		3		108		229		- 0		6		6		141		677				5/25/07 22:59		148		370		677

		5		26		1		5/25/07 23:59		131		- 0		29		2		68		212		- 0		6		6		142		596				5/25/07 23:59		137		354		596

		5		26		2		5/26/07 0:59		134		- 0		27		3		66		214		- 0		7		6		142		599				5/26/07 0:59		141		356		599

		5		26		3		5/26/07 1:59		188		- 0		31		2		84		241		- 0		7		6		147		706				5/26/07 1:59		195		388		706

		5		26		4		5/26/07 2:59		191		- 0		32		2		81		235		- 0		6		6		147		700				5/26/07 2:59		197		382		700

		5		26		5		5/26/07 3:59		136		- 0		29		2		64		216		- 0		7		6		142		602				5/26/07 3:59		143		358		602

		5		26		6		5/26/07 4:59		158		- 0		27		2		68		216		- 0		10		6		141		629				5/26/07 4:59		168		357		629

		5		26		7		5/26/07 5:59		438		- 0		43		7		140		276		- 0		13		1		153		1,071				5/26/07 5:59		451		429		1,071

		5		26		8		5/26/07 6:59		272		- 0		53		10		120		241		- 0		14		- 0		149		860				5/26/07 6:59		286		390		860

		5		26		9		5/26/07 7:59		251		- 0		63		14		132		236		- 0		13		- 0		146		855				5/26/07 7:59		264		382		855

		5		26		10		5/26/07 8:59		238		- 0		68		13		139		241		- 0		12		- 0		149		861				5/26/07 8:59		250		390		861

		5		26		11		5/26/07 9:59		237		- 0		71		14		143		241		- 0		12		- 0		149		868				5/26/07 9:59		249		390		868

		5		26		12		5/26/07 10:59		229		- 0		69		13		137		244		- 0		11		- 0		148		852				5/26/07 10:59		240		392		852

		5		26		13		5/26/07 11:59		316		- 0		79		11		177		271		- 0		11		- 0		152		1,016				5/26/07 11:59		327		423		1,016

		5		26		14		5/26/07 12:59		279		- 0		79		14		167		258		- 0		10		- 0		151		957				5/26/07 12:59		289		409		957

		5		26		15		5/26/07 13:59		312		- 0		81		13		185		277		- 0		8		- 0		153		1,029				5/26/07 13:59		320		430		1,029

		5		26		16		5/26/07 14:59		243		- 0		70		9		139		256		- 0		10		- 0		150		877				5/26/07 14:59		253		406		877

		5		26		17		5/26/07 15:59		254		- 0		63		7		130		251		- 0		12		- 0		149		867				5/26/07 15:59		266		400		867

		5		26		18		5/26/07 16:59		266		- 0		56		4		116		250		- 0		13		- 0		148		852				5/26/07 16:59		279		398		852

		5		26		19		5/26/07 17:59		277		- 0		55		4		113		249		- 0		16		- 0		147		861				5/26/07 17:59		293		396		861

		5		26		20		5/26/07 18:59		281		- 0		54		4		109		247		- 0		16		- 0		150		862				5/26/07 18:59		297		397		862

		5		26		21		5/26/07 19:59		282		- 0		53		4		106		246		- 0		14		- 0		150		854				5/26/07 19:59		296		396		854

		5		26		22		5/26/07 20:59		358		- 0		48		4		125		275		- 0		12		3		151		977				5/26/07 20:59		370		426		977

		5		26		23		5/26/07 21:59		464		- 0		48		4		139		297		- 0		12		6		155		1,126				5/26/07 21:59		476		452		1,126

		5		26		24		5/26/07 22:59		202		- 0		33		3		82		229		- 0		9		6		144		707				5/26/07 22:59		211		373		707

		5		27		1		5/26/07 23:59		136		- 0		28		2		67		208		- 0		8		6		142		598				5/26/07 23:59		144		350		598

		5		27		2		5/27/07 0:59		136		- 0		27		3		66		208		- 0		7		6		142		594				5/27/07 0:59		143		350		594

		5		27		3		5/27/07 1:59		141		- 0		27		2		66		210		- 0		8		6		142		601				5/27/07 1:59		149		352		601

		5		27		4		5/27/07 2:59		151		- 0		28		2		68		211		- 0		8		6		143		619				5/27/07 2:59		159		354		619

		5		27		5		5/27/07 3:59		140		- 0		27		2		64		207		- 0		9		6		142		597				5/27/07 3:59		149		349		597

		5		27		6		5/27/07 4:59		214		- 0		28		2		80		230		- 0		11		6		143		715				5/27/07 4:59		225		373		715

		5		27		7		5/27/07 5:59		454		- 0		44		7		152		290		- 0		17		1		155		1,121				5/27/07 5:59		471		445		1,121

		5		27		8		5/27/07 6:59		266		- 0		50		11		121		242		- 0		14		- 0		150		854				5/27/07 6:59		280		392		854

		5		27		9		5/27/07 7:59		242		- 0		60		14		131		241		- 0		15		- 0		150		852				5/27/07 7:59		257		391		852

		5		27		10		5/27/07 8:59		242		- 0		68		13		134		238		- 0		15		- 0		141		851				5/27/07 8:59		257		379		851

		5		27		11		5/27/07 9:59		239		- 0		71		13		140		237		- 0		13		- 0		142		854				5/27/07 9:59		252		379		854

		5		27		12		5/27/07 10:59		249		- 0		70		12		136		237		- 0		13		- 0		141		858				5/27/07 10:59		262		378		858

		5		27		13		5/27/07 11:59		281		- 0		72		10		154		254		- 0		13		- 0		141		926				5/27/07 11:59		294		395		926

		5		27		14		5/27/07 12:59		258		- 0		75		12		148		253		- 0		11		- 0		141		899				5/27/07 12:59		269		394		899

		5		27		15		5/27/07 13:59		359		- 0		81		12		188		292		- 0		12		- 0		140		1,084				5/27/07 13:59		371		432		1,084

		5		27		16		5/27/07 14:59		382		- 0		78		8		187		293		- 0		9		- 0		146		1,103				5/27/07 14:59		391		439		1,103

		5		27		17		5/27/07 15:59		366		- 0		66		6		152		271		- 0		14		- 0		144		1,018				5/27/07 15:59		380		415		1,018

		5		27		18		5/27/07 16:59		291		- 0		51		4		115		248		- 0		14		- 0		142		866				5/27/07 16:59		305		390		866

		5		27		19		5/27/07 17:59		294		- 0		51		4		108		247		- 0		13		- 0		142		859				5/27/07 17:59		307		389		859

		5		27		20		5/27/07 18:59		298		- 0		52		4		109		249		- 0		13		- 0		141		865				5/27/07 18:59		311		390		865

		5		27		21		5/27/07 19:59		289		- 0		52		4		104		248		- 0		14		- 0		143		854				5/27/07 19:59		303		391		854

		5		27		22		5/27/07 20:59		449		- 0		52		3		134		282		- 0		12		3		145		1,080				5/27/07 20:59		461		427		1,080

		5		27		23		5/27/07 21:59		279		- 0		40		3		92		243		- 0		11		6		139		814				5/27/07 21:59		290		382		814

		5		27		24		5/27/07 22:59		146		- 0		32		2		63		211		- 0		9		6		135		604				5/27/07 22:59		155		346		604

		5		28		1		5/27/07 23:59		146		- 0		52		2		127		227		- 0		7		6		134		701				5/27/07 23:59		153		361		701

		5		28		2		5/28/07 0:59		118		- 0		48		2		115		217		- 0		6		6		139		651				5/28/07 0:59		124		356		651

		5		28		3		5/28/07 1:59		141		- 0		51		2		127		226		- 0		6		6		141		701				5/28/07 1:59		147		367		701

		5		28		4		5/28/07 2:59		148		- 0		51		2		127		227		- 0		6		6		142		708				5/28/07 2:59		154		369		708

		5		28		5		5/28/07 3:59		138		- 0		49		2		122		219		- 0		7		6		141		683				5/28/07 3:59		145		360		683

		5		28		6		5/28/07 4:59		145		- 0		48		2		127		225		- 0		11		6		142		706				5/28/07 4:59		156		367		706

		5		28		7		5/28/07 5:59		179		- 0		51		2		145		242		- 0		12		1		143		776				5/28/07 5:59		191		385		776

		5		28		8		5/28/07 6:59		369		- 0		69		3		224		300		- 0		12		- 0		154		1,130				5/28/07 6:59		381		454		1,130

		5		28		9		5/28/07 7:59		246		- 0		63		3		158		240		- 0		11		- 0		147		867				5/28/07 7:59		257		387		867

		5		28		10		5/28/07 8:59		231		- 0		68		3		152		239		- 0		11		- 0		148		852				5/28/07 8:59		242		387		852

		5		28		11		5/28/07 9:59		227		- 0		70		3		151		238		- 0		14		- 0		148		851				5/28/07 9:59		241		386		851

		5		28		12		5/28/07 10:59		230		- 0		68		3		151		240		- 0		9		- 0		149		850				5/28/07 10:59		239		389		850

		5		28		13		5/28/07 11:59		245		- 0		70		3		167		247		- 0		9		- 0		149		890				5/28/07 11:59		254		396		890

		5		28		14		5/28/07 12:59		233		- 0		70		3		165		245		- 0		9		- 0		148		872				5/28/07 12:59		242		393		872

		5		28		15		5/28/07 13:59		334		- 0		85		3		236		296		- 0		9		- 0		154		1,117				5/28/07 13:59		343		450		1,117

		5		28		16		5/28/07 14:59		326		- 0		83		2		221		285		- 0		9		- 0		153		1,080				5/28/07 14:59		335		438		1,080

		5		28		17		5/28/07 15:59		241		- 0		67		2		155		242		- 0		10		- 0		148		866				5/28/07 15:59		251		390		866

		5		28		18		5/28/07 16:59		275		- 0		60		2		162		254		- 0		10		- 0		148		910				5/28/07 16:59		285		402		910

		5		28		19		5/28/07 17:59		394		- 0		72		2		219		293		- 0		11		- 0		154		1,145				5/28/07 17:59		405		447		1,145

		5		28		20		5/28/07 18:59		367		- 0		71		3		206		284		- 0		9		- 0		153		1,093				5/28/07 18:59		376		437		1,093

		5		28		21		5/28/07 19:59		380		- 0		75		3		215		293		- 0		10		- 0		154		1,129				5/28/07 19:59		390		447		1,129

		5		28		22		5/28/07 20:59		377		- 0		74		3		205		289		- 0		9		3		153		1,113				5/28/07 20:59		386		442		1,113

		5		28		23		5/28/07 21:59		301		- 0		67		3		181		266		- 0		9		6		149		982				5/28/07 21:59		310		415		982

		5		28		24		5/28/07 22:59		140		- 0		53		2		121		218		- 0		6		6		141		687				5/28/07 22:59		146		359		687

		5		29		1		5/28/07 23:59		138		- 0		58		2		136		222		- 0		6		6		142		710				5/28/07 23:59		144		364		710

		5		29		2		5/29/07 0:59		89		- 0		52		2		114		208		- 0		5		6		139		615				5/29/07 0:59		94		347		615

		5		29		3		5/29/07 1:59		95		- 0		52		2		116		212		- 0		5		6		139		627				5/29/07 1:59		100		351		627

		5		29		4		5/29/07 2:59		93		- 0		51		2		114		210		- 0		5		6		139		620				5/29/07 2:59		98		349		620

		5		29		5		5/29/07 3:59		88		- 0		50		2		111		204		- 0		5		6		138		603				5/29/07 3:59		93		342		603

		5		29		6		5/29/07 4:59		136		- 0		52		2		135		223		- 0		5		6		141		701				5/29/07 4:59		141		364		701

		5		29		7		5/29/07 5:59		148		- 0		53		2		143		231		- 0		8		1		143		729				5/29/07 5:59		156		374		729

		5		29		8		5/29/07 6:59		218		- 0		60		2		179		255		- 0		9		- 0		145		868				5/29/07 6:59		227		400		868

		5		29		9		5/29/07 7:59		246		- 0		63		2		169		246		- 0		10		- 0		147		882				5/29/07 7:59		256		393		882

		5		29		10		5/29/07 8:59		230		- 0		67		2		168		244		- 0		10		- 0		147		867				5/29/07 8:59		240		391		867

		5		29		11		5/29/07 9:59		220		- 0		68		2		164		243		- 0		11		- 0		148		856				5/29/07 9:59		231		391		856

		5		29		12		5/29/07 10:59		224		- 0		68		2		168		246		- 0		10		- 0		147		866				5/29/07 10:59		234		393		866

		5		29		13		5/29/07 11:59		246		- 0		73		2		190		261		- 0		11		- 0		148		930				5/29/07 11:59		257		409		930

		5		29		14		5/29/07 12:59		260		- 0		77		2		205		269		- 0		11		- 0		150		974				5/29/07 12:59		271		419		974

		5		29		15		5/29/07 13:59		291		- 0		85		2		247		293		- 0		8		- 0		153		1,079				5/29/07 13:59		299		446		1,079

		5		29		16		5/29/07 14:59		251		- 0		75		2		196		264		- 0		8		- 0		149		946				5/29/07 14:59		259		413		946

		5		29		17		5/29/07 15:59		268		- 0		76		2		202		270		- 0		10		- 0		150		976				5/29/07 15:59		278		420		976

		5		29		18		5/29/07 16:59		297		- 0		71		2		204		274		- 0		11		- 0		150		1,010				5/29/07 16:59		308		424		1,010

		5		29		19		5/29/07 17:59		232		- 0		63		2		154		249		- 0		11		- 0		149		860				5/29/07 17:59		243		398		860

		5		29		20		5/29/07 18:59		232		- 0		63		2		150		246		- 0		10		- 0		148		852				5/29/07 18:59		242		394		852

		5		29		21		5/29/07 19:59		229		- 0		67		3		151		246		- 0		12		- 0		148		855				5/29/07 19:59		241		394		855

		5		29		22		5/29/07 20:59		232		- 0		66		3		153		245		- 0		11		3		149		861				5/29/07 20:59		243		394		861

		5		29		23		5/29/07 21:59		342		- 0		78		2		237		297		- 0		10		6		154		1,127				5/29/07 21:59		352		451		1,127

		5		29		24		5/29/07 22:59		161		- 0		62		2		161		237		- 0		6		6		144		779				5/29/07 22:59		167		381		779

		5		30		1		5/29/07 23:59		104		- 0		42		2		97		214		- 0		5		6		140		610				5/29/07 23:59		109		354		610

		5		30		2		5/30/07 0:59		99		- 0		42		2		101		213		- 0		6		6		141		610				5/30/07 0:59		105		354		610

		5		30		3		5/30/07 1:59		96		- 0		42		2		98		213		- 0		5		6		141		602				5/30/07 1:59		101		354		602

		5		30		4		5/30/07 2:59		98		- 0		41		2		99		213		- 0		5		6		141		604				5/30/07 2:59		103		354		604

		5		30		5		5/30/07 3:59		98		- 0		41		2		100		209		- 0		6		6		140		602				5/30/07 3:59		104		349		602

		5		30		6		5/30/07 4:59		152		- 0		43		3		123		227		- 0		7		6		142		701				5/30/07 4:59		159		369		701

		5		30		7		5/30/07 5:59		310		- 0		62		8		215		290		- 0		10		1		152		1,048				5/30/07 5:59		320		442		1,048

		5		30		8		5/30/07 6:59		214		- 0		64		10		166		242		- 0		11		- 0		148		855				5/30/07 6:59		225		390		855

		5		30		9		5/30/07 7:59		192		- 0		75		14		173		241		- 0		10		- 0		146		851				5/30/07 7:59		202		387		851

		5		30		10		5/30/07 8:59		180		- 0		85		12		183		243		- 0		11		- 0		148		860				5/30/07 8:59		191		391		860

		5		30		11		5/30/07 9:59		172		- 0		84		13		179		240		- 0		10		- 0		146		845				5/30/07 9:59		182		386		845

		5		30		12		5/30/07 10:59		176		- 0		85		12		175		239		- 0		9		- 0		146		842				5/30/07 10:59		185		385		842

		5		30		13		5/30/07 11:59		176		- 0		86		10		184		250		- 0		9		- 0		145		861				5/30/07 11:59		185		395		861

		5		30		14		5/30/07 12:59		158		- 0		88		13		187		245		- 0		9		- 0		144		845				5/30/07 12:59		167		389		845

		5		30		15		5/30/07 13:59		158		- 0		90		12		199		250		- 0		9		- 0		147		865				5/30/07 13:59		167		397		865

		5		30		16		5/30/07 14:59		164		- 0		88		10		197		253		- 0		8		- 0		147		867				5/30/07 14:59		172		400		867

		5		30		17		5/30/07 15:59		186		- 0		80		7		175		250		- 0		10		- 0		149		856				5/30/07 15:59		196		399		856

		5		30		18		5/30/07 16:59		208		- 0		67		4		163		250		- 0		10		- 0		148		851				5/30/07 16:59		218		398		851

		5		30		19		5/30/07 17:59		228		- 0		63		4		161		247		- 0		10		- 0		148		861				5/30/07 17:59		238		395		861

		5		30		20		5/30/07 18:59		224		- 0		61		4		159		249		- 0		10		- 0		148		855				5/30/07 18:59		234		397		855

		5		30		21		5/30/07 19:59		216		- 0		63		4		156		247		- 0		11		- 0		148		846				5/30/07 19:59		227		395		846

		5		30		22		5/30/07 20:59		225		- 0		61		4		158		250		- 0		10		3		148		859				5/30/07 20:59		235		398		859

		5		30		23		5/30/07 21:59		281		- 0		65		4		202		279		- 0		7		6		146		990				5/30/07 21:59		288		425		990

		5		30		24		5/30/07 22:59		128		- 0		49		3		128		228		- 0		5		6		136		683				5/30/07 22:59		133		364		683

		5		31		1		5/30/07 23:59		113		- 0		44		2		121		232		- 0		5		6		144		668				5/30/07 23:59		118		376		668

		5		31		2		5/31/07 0:59		103		- 0		42		2		108		217		- 0		5		6		142		625				5/31/07 0:59		108		359		625

		5		31		3		5/31/07 1:59		186		- 0		53		3		181		290		- 0		5		6		154		878				5/31/07 1:59		191		444		878

		5		31		4		5/31/07 2:59		192		- 0		54		2		184		298		- 0		5		6		155		895				5/31/07 2:59		197		453		895

		5		31		5		5/31/07 3:59		198		- 0		54		2		181		294		- 0		5		6		154		893				5/31/07 3:59		203		448		893

		5		31		6		5/31/07 4:59		98		- 0		38		2		100		210		- 0		6		6		140		600				5/31/07 4:59		104		350		600

		5		31		7		5/31/07 5:59		245		- 0		53		7		175		258		- 0		11		1		147		898				5/31/07 5:59		256		405		898

		5		31		8		5/31/07 6:59		259		- 0		70		11		207		269		- 0		9		- 0		150		975				5/31/07 6:59		268		419		975

		5		31		9		5/31/07 7:59		186		- 0		75		14		179		244		- 0		12		- 0		148		858				5/31/07 7:59		198		392		858

		5		31		10		5/31/07 8:59		171		- 0		82		14		182		247		- 0		9		- 0		148		853				5/31/07 8:59		180		395		853

		5		31		11		5/31/07 9:59		169		- 0		86		15		194		245		- 0		9		- 0		147		866				5/31/07 9:59		178		392		866

		5		31		12		5/31/07 10:59		168		- 0		87		15		187		247		- 0		9		- 0		149		861				5/31/07 10:59		177		396		861

		5		31		13		5/31/07 11:59		165		- 0		87		11		184		247		- 0		9		- 0		148		852				5/31/07 11:59		174		395		852

		5		31		14		5/31/07 12:59		154		- 0		91		14		201		254		- 0		9		- 0		148		871				5/31/07 12:59		163		402		871

		5		31		15		5/31/07 13:59		176		- 0		96		14		227		274		- 0		7		- 0		149		944				5/31/07 13:59		183		423		944

		5		31		16		5/31/07 14:59		161		- 0		85		12		190		257		- 0		8		- 0		147		861				5/31/07 14:59		169		404		861

		5		31		17		5/31/07 15:59		189		- 0		78		8		167		254		- 0		9		- 0		149		853				5/31/07 15:59		198		403		853

		5		31		18		5/31/07 16:59		213		- 0		68		5		160		250		- 0		11		- 0		148		855				5/31/07 16:59		224		398		855

		5		31		19		5/31/07 17:59		224		- 0		63		4		161		255		- 0		9		- 0		145		861				5/31/07 17:59		233		400		861

		5		31		20		5/31/07 18:59		240		- 0		61		4		162		258		- 0		9		- 0		148		882				5/31/07 18:59		249		406		882

		5		31		21		5/31/07 19:59		232		- 0		62		4		152		252		- 0		11		- 0		148		862				5/31/07 19:59		243		400		862

		5		31		22		5/31/07 20:59		242		- 0		58		4		151		255		- 0		11		3		146		869				5/31/07 20:59		253		401		869

		5		31		23		5/31/07 21:59		217		- 0		55		3		156		254		- 0		9		6		143		843				5/31/07 21:59		226		397		843

		5		31		24		5/31/07 22:59		85		- 0		41		3		101		215		- 0		5		6		140		596				5/31/07 22:59		90		355		596

		6		1		1		5/31/07 23:59		146		- 0		41		2		116		244		- 0		6		6		143		704				5/31/07 23:59		152		387		704

		6		1		2		6/1/07 0:59		91		- 0		38		3		95		222		- 0		7		5		140		601				6/1/07 0:59		98		362		601

		6		1		3		6/1/07 1:59		93		- 0		37		2		93		219		- 0		6		5		141		597				6/1/07 1:59		99		360		597

		6		1		4		6/1/07 2:59		92		- 0		36		2		90		218		- 0		6		5		142		592				6/1/07 2:59		98		360		592

		6		1		5		6/1/07 3:59		102		- 0		37		2		92		217		- 0		7		5		140		602				6/1/07 3:59		109		357		602

		6		1		6		6/1/07 4:59		119		- 0		33		2		95		221		- 0		7		5		140		623				6/1/07 4:59		126		361		623

		6		1		7		6/1/07 5:59		389		- 0		57		8		215		308		- 0		11		1		156		1,145				6/1/07 5:59		400		464		1,145

		6		1		8		6/1/07 6:59		223		- 0		56		11		159		246		- 0		10		- 0		146		852				6/1/07 6:59		233		392		852

		6		1		9		6/1/07 7:59		205		- 0		67		16		166		241		- 0		11		- 0		146		851				6/1/07 7:59		216		387		851

		6		1		10		6/1/07 8:59		183		- 0		75		14		171		246		- 0		12		- 0		147		848				6/1/07 8:59		195		393		848

		6		1		11		6/1/07 9:59		187		- 0		77		15		180		241		- 0		11		- 0		146		857				6/1/07 9:59		198		387		857

		6		1		12		6/1/07 10:59		186		- 0		77		13		174		243		- 0		10		- 0		147		851				6/1/07 10:59		196		390		851

		6		1		13		6/1/07 11:59		189		- 0		76		11		172		246		- 0		11		- 0		148		854				6/1/07 11:59		200		394		854

		6		1		14		6/1/07 12:59		177		- 0		81		15		179		246		- 0		12		- 0		148		859				6/1/07 12:59		189		394		859

		6		1		15		6/1/07 13:59		185		- 0		82		13		187		250		- 0		13		- 0		143		873				6/1/07 13:59		198		393		873

		6		1		16		6/1/07 14:59		192		- 0		77		11		186		248		- 0		12		- 0		147		873				6/1/07 14:59		204		395		873

		6		1		17		6/1/07 15:59		205		- 0		71		7		165		251		- 0		14		- 0		148		861				6/1/07 15:59		219		399		861

		6		1		18		6/1/07 16:59		224		- 0		59		4		154		251		- 0		15		- 0		148		855				6/1/07 16:59		239		399		855

		6		1		19		6/1/07 17:59		229		- 0		57		4		153		248		- 0		15		- 0		148		853				6/1/07 17:59		244		396		853

		6		1		20		6/1/07 18:59		231		- 0		57		4		152		248		- 0		14		- 0		147		853				6/1/07 18:59		245		395		853

		6		1		21		6/1/07 19:59		235		- 0		56		4		144		252		- 0		15		- 0		148		854				6/1/07 19:59		250		400		854

		6		1		22		6/1/07 20:59		249		- 0		54		4		139		253		- 0		14		3		147		863				6/1/07 20:59		263		400		863

		6		1		23		6/1/07 21:59		306		- 0		56		4		172		282		- 0		13		6		151		989				6/1/07 21:59		319		433		989

		6		1		24		6/1/07 22:59		150		- 0		43		3		122		235		- 0		10		6		144		712				6/1/07 22:59		160		379		712

		6		2		1		6/1/07 23:59		115		- 0		33		3		79		214		- 0		7		6		144		600				6/1/07 23:59		122		358		600

		6		2		2		6/2/07 0:59		167		- 0		33		3		98		239		- 0		7		5		149		701				6/2/07 0:59		174		388		701

		6		2		3		6/2/07 1:59		196		- 0		41		3		119		260		- 0		8		5		153		785				6/2/07 1:59		204		413		785

		6		2		4		6/2/07 2:59		168		- 0		34		2		98		243		- 0		7		5		150		707				6/2/07 2:59		175		393		707

		6		2		5		6/2/07 3:59		243		- 0		35		2		121		270		- 0		7		5		156		839				6/2/07 3:59		250		426		839

		6		2		6		6/2/07 4:59		151		- 0		27		3		85		224		- 0		7		5		147		649				6/2/07 4:59		158		371		649

		6		2		7		6/2/07 5:59		221		- 0		33		8		108		234		- 0		10		1		145		761				6/2/07 5:59		231		379		761

		6		2		8		6/2/07 6:59		391		- 0		57		13		195		296		- 0		13		- 0		157		1,121				6/2/07 6:59		404		453		1,121

		6		2		9		6/2/07 7:59		312		- 0		63		16		182		272		- 0		13		- 0		152		1,010				6/2/07 7:59		325		424		1,010

		6		2		10		6/2/07 8:59		278		- 0		68		14		170		252		- 0		12		- 0		149		943				6/2/07 8:59		290		401		943

		6		2		11		6/2/07 9:59		292		- 0		74		16		193		269		- 0		12		- 0		150		1,006				6/2/07 9:59		304		419		1,006

		6		2		12		6/2/07 10:59		308		- 0		73		14		189		266		- 0		11		- 0		151		1,013				6/2/07 10:59		319		417		1,013

		6		2		13		6/2/07 11:59		317		- 0		74		14		197		275		- 0		11		- 0		152		1,041				6/2/07 11:59		328		427		1,041

		6		2		14		6/2/07 12:59		250		- 0		74		15		172		254		- 0		11		- 0		148		925				6/2/07 12:59		261		402		925

		6		2		15		6/2/07 13:59		282		- 0		81		14		197		277		- 0		12		- 0		152		1,014				6/2/07 13:59		294		429		1,014

		6		2		16		6/2/07 14:59		337		- 0		79		11		206		286		- 0		12		- 0		152		1,084				6/2/07 14:59		349		438		1,084

		6		2		17		6/2/07 15:59		310		- 0		65		8		165		267		- 0		13		- 0		150		979				6/2/07 15:59		323		417		979

		6		2		18		6/2/07 16:59		275		- 0		47		4		132		248		- 0		13		- 0		147		867				6/2/07 16:59		288		395		867

		6		2		19		6/2/07 17:59		423		- 0		59		5		171		275		- 0		14		- 0		154		1,100				6/2/07 17:59		437		429		1,100

		6		2		20		6/2/07 18:59		418		- 0		57		5		179		284		- 0		14		- 0		157		1,114				6/2/07 18:59		432		441		1,114

		6		2		21		6/2/07 19:59		418		- 0		59		5		169		287		- 0		14		- 0		156		1,108				6/2/07 19:59		432		443		1,108

		6		2		22		6/2/07 20:59		391		- 0		49		5		140		262		- 0		14		3		152		1,015				6/2/07 20:59		405		414		1,015

		6		2		23		6/2/07 21:59		248		- 0		37		4		104		227		- 0		13		6		146		785				6/2/07 21:59		261		373		785

		6		2		24		6/2/07 22:59		122		- 0		30		3		73		208		- 0		9		6		143		592				6/2/07 22:59		131		351		592

		6		3		1		6/2/07 23:59		260		- 0		35		3		131		270		- 0		9		6		155		868				6/2/07 23:59		269		425		868

		6		3		2		6/3/07 0:59		267		- 0		38		3		138		273		- 0		8		5		156		889				6/3/07 0:59		275		429		889

		6		3		3		6/3/07 1:59		272		- 0		36		3		137		284		- 0		8		5		159		904				6/3/07 1:59		280		443		904

		6		3		4		6/3/07 2:59		301		- 0		38		3		153		295		- 0		8		5		163		966				6/3/07 2:59		309		458		966

		6		3		5		6/3/07 3:59		360		- 0		38		3		168		317		- 0		8		5		166		1,066				6/3/07 3:59		368		483		1,066

		6		3		6		6/3/07 4:59		275		- 0		28		2		131		271		- 0		8		5		155		876				6/3/07 4:59		283		426		876

		6		3		7		6/3/07 5:59		143		- 0		27		5		86		210		- 0		10		1		139		622				6/3/07 5:59		153		349		622

		6		3		8		6/3/07 6:59		416		- 0		53		11		194		290		- 0		13		- 0		154		1,131				6/3/07 6:59		429		444		1,131

		6		3		9		6/3/07 7:59		310		- 0		59		14		172		259		- 0		11		- 0		148		973				6/3/07 7:59		321		407		973

		6		3		10		6/3/07 8:59		323		- 0		69		16		190		257		- 0		10		- 0		149		1,014				6/3/07 8:59		333		406		1,014

		6		3		11		6/3/07 9:59		344		- 0		76		15		216		281		- 0		12		- 0		149		1,092				6/3/07 9:59		356		430		1,092

		6		3		12		6/3/07 10:59		284		- 0		69		15		178		260		- 0		13		- 0		148		966				6/3/07 10:59		297		408		966

		6		3		13		6/3/07 11:59		353		- 0		76		12		217		292		- 0		14		- 0		154		1,118				6/3/07 11:59		367		446		1,118

		6		3		14		6/3/07 12:59		331		- 0		82		14		221		291		- 0		11		- 0		154		1,104				6/3/07 12:59		342		445		1,104

		6		3		15		6/3/07 13:59		342		- 0		77		12		213		292		- 0		12		- 0		154		1,102				6/3/07 13:59		354		446		1,102

		6		3		16		6/3/07 14:59		352		- 0		73		8		208		293		- 0		13		- 0		154		1,102				6/3/07 14:59		365		447		1,102

		6		3		17		6/3/07 15:59		380		- 0		68		5		188		295		- 0		14		- 0		153		1,103				6/3/07 15:59		394		448		1,103

		6		3		18		6/3/07 16:59		381		- 0		54		4		163		288		- 0		16		- 0		146		1,052				6/3/07 16:59		397		434		1,052

		6		3		19		6/3/07 17:59		407		- 0		53		3		168		290		- 0		16		- 0		153		1,089				6/3/07 17:59		423		443		1,089

		6		3		20		6/3/07 18:59		255		- 0		44		4		122		248		- 0		14		- 0		145		831				6/3/07 18:59		269		393		831

		6		3		21		6/3/07 19:59		403		- 0		54		4		155		289		- 0		15		- 0		153		1,074				6/3/07 19:59		418		442		1,074

		6		3		22		6/3/07 20:59		304		- 0		42		3		113		254		- 0		13		3		146		878				6/3/07 20:59		317		400		878

		6		3		23		6/3/07 21:59		192		- 0		32		3		78		219		- 0		11		6		140		681				6/3/07 21:59		203		359		681

		6		3		24		6/3/07 22:59		153		- 0		29		3		69		217		- 0		10		6		143		629				6/3/07 22:59		163		360		629

		6		4		1		6/3/07 23:59		179		- 0		56		2		163		256		- 0		8		6		146		815				6/3/07 23:59		187		402		815

		6		4		2		6/4/07 0:59		114		- 0		50		2		130		234		- 0		7		5		141		684				6/4/07 0:59		121		375		684

		6		4		3		6/4/07 1:59		117		- 0		50		2		135		234		- 0		7		5		142		692				6/4/07 1:59		124		376		692

		6		4		4		6/4/07 2:59		109		- 0		47		2		128		226		- 0		7		5		141		665				6/4/07 2:59		116		367		665

		6		4		5		6/4/07 3:59		94		- 0		45		2		119		222		- 0		6		5		139		633				6/4/07 3:59		100		361		633

		6		4		6		6/4/07 4:59		127		- 0		46		2		138		234		- 0		7		5		142		701				6/4/07 4:59		134		376		701

		6		4		7		6/4/07 5:59		129		- 0		46		2		138		229		- 0		7		1		140		693				6/4/07 5:59		136		369		693

		6		4		8		6/4/07 6:59		336		- 0		66		3		234		299		- 0		10		- 0		154		1,102				6/4/07 6:59		346		453		1,102

		6		4		9		6/4/07 7:59		274		- 0		63		3		191		263		- 0		10		- 0		145		949				6/4/07 7:59		284		408		949

		6		4		10		6/4/07 8:59		222		- 0		63		3		156		249		- 0		13		- 0		145		850				6/4/07 8:59		235		394		850

		6		4		11		6/4/07 9:59		219		- 0		66		3		162		252		- 0		12		- 0		140		854				6/4/07 9:59		231		392		854

		6		4		12		6/4/07 10:59		217		- 0		63		3		159		250		- 0		12		- 0		145		849				6/4/07 10:59		229		395		849

		6		4		13		6/4/07 11:59		217		- 0		64		3		162		252		- 0		12		- 0		145		854				6/4/07 11:59		229		397		854

		6		4		14		6/4/07 12:59		216		- 0		65		3		169		253		- 0		12		- 0		144		861				6/4/07 12:59		228		397		861

		6		4		15		6/4/07 13:59		207		- 0		65		3		168		255		- 0		12		- 0		144		855				6/4/07 13:59		219		399		855

		6		4		16		6/4/07 14:59		211		- 0		67		2		169		255		- 0		12		- 0		145		862				6/4/07 14:59		223		400		862

		6		4		17		6/4/07 15:59		220		- 0		63		2		156		245		- 0		14		- 0		146		846				6/4/07 15:59		234		391		846

		6		4		18		6/4/07 16:59		236		- 0		56		2		156		252		- 0		13		- 0		146		860				6/4/07 16:59		249		398		860

		6		4		19		6/4/07 17:59		242		- 0		56		2		156		249		- 0		14		- 0		145		865				6/4/07 17:59		256		394		865

		6		4		20		6/4/07 18:59		298		- 0		60		3		185		266		- 0		14		- 0		147		973				6/4/07 18:59		312		413		973

		6		4		21		6/4/07 19:59		244		- 0		58		3		155		244		- 0		13		- 0		145		862				6/4/07 19:59		257		389		862

		6		4		22		6/4/07 20:59		237		- 0		61		3		154		248		- 0		14		3		145		865				6/4/07 20:59		251		393		865

		6		4		23		6/4/07 21:59		314		- 0		68		3		198		277		- 0		13		6		150		1,029				6/4/07 21:59		327		427		1,029

		6		4		24		6/4/07 22:59		298		- 0		70		3		215		302		- 0		11		6		153		1,057				6/4/07 22:59		309		455		1,057

		6		5		1		6/4/07 23:59		141		- 0		59		2		149		236		- 0		8		6		143		743				6/4/07 23:59		149		379		743

		6		5		2		6/5/07 0:59		126		- 0		58		2		141		232		- 0		7		5		142		712				6/5/07 0:59		133		374		712

		6		5		3		6/5/07 1:59		110		- 0		55		2		134		223		- 0		6		5		141		676				6/5/07 1:59		116		364		676

		6		5		4		6/5/07 2:59		101		- 0		50		2		127		217		- 0		7		5		140		648				6/5/07 2:59		108		357		648

		6		5		5		6/5/07 3:59		121		- 0		52		2		141		230		- 0		6		5		142		701				6/5/07 3:59		127		372		701

		6		5		6		6/5/07 4:59		109		- 0		50		2		133		222		- 0		6		5		141		668				6/5/07 4:59		115		363		668

		6		5		7		6/5/07 5:59		130		- 0		51		2		142		225		- 0		7		1		140		698				6/5/07 5:59		137		365		698

		6		5		8		6/5/07 6:59		196		- 0		60		2		182		248		- 0		10		- 0		144		842				6/5/07 6:59		206		392		842

		6		5		9		6/5/07 7:59		228		- 0		62		2		174		250		- 0		10		- 0		144		871				6/5/07 7:59		238		394		871

		6		5		10		6/5/07 8:59		220		- 0		62		2		160		247		- 0		13		- 0		145		851				6/5/07 8:59		233		392		851

		6		5		11		6/5/07 9:59		222		- 0		67		2		162		244		- 0		14		- 0		145		855				6/5/07 9:59		236		389		855

		6		5		12		6/5/07 10:59		218		- 0		68		2		165		249		- 0		13		- 0		146		860				6/5/07 10:59		231		395		860

		6		5		13		6/5/07 11:59		224		- 0		67		2		165		244		- 0		12		- 0		146		859				6/5/07 11:59		236		390		859

		6		5		14		6/5/07 12:59		208		- 0		69		2		168		248		- 0		13		- 0		146		854				6/5/07 12:59		221		394		854

		6		5		15		6/5/07 13:59		208		- 0		72		2		180		254		- 0		10		- 0		146		872				6/5/07 13:59		218		400		872

		6		5		16		6/5/07 14:59		202		- 0		68		2		166		248		- 0		11		- 0		146		844				6/5/07 14:59		213		394		844

		6		5		17		6/5/07 15:59		224		- 0		67		2		164		248		- 0		13		- 0		145		863				6/5/07 15:59		237		393		863

		6		5		18		6/5/07 16:59		228		- 0		61		2		156		241		- 0		15		- 0		145		849				6/5/07 16:59		243		386		849

		6		5		19		6/5/07 17:59		226		- 0		61		2		157		247		- 0		15		- 0		146		855				6/5/07 17:59		241		393		855

		6		5		20		6/5/07 18:59		233		- 0		62		2		156		244		- 0		14		- 0		145		856				6/5/07 18:59		247		389		856

		6		5		21		6/5/07 19:59		231		- 0		64		3		155		245		- 0		14		- 0		145		859				6/5/07 19:59		245		390		859

		6		5		22		6/5/07 20:59		226		- 0		65		3		153		239		- 0		15		3		144		847				6/5/07 20:59		241		383		847

		6		5		23		6/5/07 21:59		283		- 0		75		3		218		272		- 0		13		6		149		1,019				6/5/07 21:59		296		421		1,019

		6		5		24		6/5/07 22:59		323		- 0		79		2		257		302		- 0		10		6		156		1,134				6/5/07 22:59		333		458		1,134

		6		6		1		6/5/07 23:59		97		- 0		40		2		95		210		- 0		7		6		140		597				6/5/07 23:59		104		350		597

		6		6		2		6/6/07 0:59		109		- 0		41		2		107		216		- 0		7		5		143		630				6/6/07 0:59		116		359		630

		6		6		3		6/6/07 1:59		138		- 0		44		2		126		234		- 0		6		5		146		701				6/6/07 1:59		144		380		701

		6		6		4		6/6/07 2:59		118		- 0		41		2		112		220		- 0		6		5		143		647				6/6/07 2:59		124		363		647

		6		6		5		6/6/07 3:59		99		- 0		40		2		102		209		- 0		5		5		140		603				6/6/07 3:59		104		349		603

		6		6		6		6/6/07 4:59		120		- 0		39		2		109		212		- 0		6		5		139		632				6/6/07 4:59		126		351		632

		6		6		7		6/6/07 5:59		355		- 0		63		6		231		300		- 0		9		1		153		1,119				6/6/07 5:59		364		453		1,119

		6		6		8		6/6/07 6:59		225		- 0		59		11		171		242		- 0		9		- 0		145		863				6/6/07 6:59		234		387		863

		6		6		9		6/6/07 7:59		197		- 0		71		13		178		242		- 0		12		- 0		144		857				6/6/07 7:59		209		386		857

		6		6		10		6/6/07 8:59		176		- 0		78		12		182		241		- 0		12		- 0		145		846				6/6/07 8:59		188		386		846

		6		6		11		6/6/07 9:59		189		- 0		80		13		180		239		- 0		13		- 0		142		856				6/6/07 9:59		202		381		856

		6		6		12		6/6/07 10:59		183		- 0		80		12		180		243		- 0		12		- 0		144		856				6/6/07 10:59		195		387		856

		6		6		13		6/6/07 11:59		184		- 0		78		10		176		246		- 0		12		- 0		145		851				6/6/07 11:59		196		391		851

		6		6		14		6/6/07 12:59		177		- 0		81		13		182		246		- 0		11		- 0		142		852				6/6/07 12:59		188		388		852

		6		6		15		6/6/07 13:59		182		- 0		82		12		180		243		- 0		13		- 0		144		856				6/6/07 13:59		195		387		856

		6		6		16		6/6/07 14:59		187		- 0		82		10		181		238		- 0		14		- 0		144		856				6/6/07 14:59		201		382		856

		6		6		17		6/6/07 15:59		201		- 0		73		8		164		238		- 0		14		- 0		144		842				6/6/07 15:59		215		382		842

		6		6		18		6/6/07 16:59		223		- 0		61		5		150		230		- 0		16		- 0		142		828				6/6/07 16:59		239		372		828

		6		6		19		6/6/07 17:59		240		- 0		58		4		158		236		- 0		14		- 0		145		856				6/6/07 17:59		254		381		856

		6		6		20		6/6/07 18:59		234		- 0		56		5		155		236		- 0		15		- 0		145		847				6/6/07 18:59		249		381		847

		6		6		21		6/6/07 19:59		247		- 0		54		6		152		236		- 0		15		- 0		144		854				6/6/07 19:59		262		380		854

		6		6		22		6/6/07 20:59		250		- 0		52		6		155		239		- 0		14		3		145		864				6/6/07 20:59		264		384		864

		6		6		23		6/6/07 21:59		374		- 0		60		5		220		288		- 0		12		6		154		1,118				6/6/07 21:59		386		442		1,118

		6		6		24		6/6/07 22:59		131		- 0		40		4		120		215		- 0		9		6		141		666				6/6/07 22:59		140		356		666

		6		7		1		6/6/07 23:59		105		- 0		36		4		95		204		- 0		10		6		136		594				6/6/07 23:59		115		340		594

		6		7		2		6/7/07 0:59		101		- 0		35		3		97		215		- 0		10		5		140		607				6/7/07 0:59		111		355		607

		6		7		3		6/7/07 1:59		99		- 0		34		3		97		218		- 0		8		5		141		605				6/7/07 1:59		107		359		605

		6		7		4		6/7/07 2:59		111		- 0		35		2		102		221		- 0		7		5		142		625				6/7/07 2:59		118		363		625

		6		7		5		6/7/07 3:59		143		- 0		38		2		123		237		- 0		7		5		145		701				6/7/07 3:59		150		382		701

		6		7		6		6/7/07 4:59		112		- 0		32		2		99		208		- 0		7		5		140		605				6/7/07 4:59		119		348		605

		6		7		7		6/7/07 5:59		251		- 0		47		6		166		245		- 0		11		1		145		871				6/7/07 5:59		262		390		871

		6		7		8		6/7/07 6:59		227		- 0		60		12		169		235		- 0		12		- 0		143		858				6/7/07 6:59		239		378		858

		6		7		9		6/7/07 7:59		201		- 0		71		13		171		233		- 0		14		- 0		144		847				6/7/07 7:59		215		377		847

		6		7		10		6/7/07 8:59		187		- 0		79		13		177		237		- 0		12		- 0		144		848				6/7/07 8:59		199		381		848

		6		7		11		6/7/07 9:59		185		- 0		81		14		180		232		- 0		11		- 0		143		847				6/7/07 9:59		196		375		847

		6		7		12		6/7/07 10:59		186		- 0		81		13		177		237		- 0		12		- 0		143		850				6/7/07 10:59		198		380		850

		6		7		13		6/7/07 11:59		191		- 0		83		10		177		237		- 0		11		- 0		144		853				6/7/07 11:59		202		381		853

		6		7		14		6/7/07 12:59		186		- 0		84		12		182		237		- 0		11		- 0		143		855				6/7/07 12:59		197		380		855

		6		7		15		6/7/07 13:59		180		- 0		85		11		179		243		- 0		11		- 0		143		852				6/7/07 13:59		191		386		852

		6		7		16		6/7/07 14:59		184		- 0		82		10		177		241		- 0		11		- 0		144		849				6/7/07 14:59		195		385		849

		6		7		17		6/7/07 15:59		198		- 0		75		9		165		244		- 0		13		- 0		144		848				6/7/07 15:59		211		388		848

		6		7		18		6/7/07 16:59		221		- 0		63		6		147		236		- 0		15		- 0		139		826				6/7/07 16:59		236		375		826

		6		7		19		6/7/07 17:59		234		- 0		58		4		152		244		- 0		13		- 0		143		849				6/7/07 17:59		247		387		849

		6		7		20		6/7/07 18:59		235		- 0		57		5		152		243		- 0		13		- 0		145		851				6/7/07 18:59		248		388		851

		6		7		21		6/7/07 19:59		228		- 0		58		6		154		253		- 0		14		- 0		146		859				6/7/07 19:59		242		399		859

		6		7		22		6/7/07 20:59		239		- 0		56		6		147		250		- 0		13		3		146		860				6/7/07 20:59		252		396		860

		6		7		23		6/7/07 21:59		313		- 0		62		4		192		289		- 0		12		6		150		1,027				6/7/07 21:59		325		439		1,027

		6		7		24		6/7/07 22:59		172		- 0		49		4		139		241		- 0		9		6		142		762				6/7/07 22:59		181		383		762

		6		8		1		6/7/07 23:59		109		- 0		37		4		99		226		- 0		8		6		142		630				6/7/07 23:59		117		368		630

		6		8		2		6/8/07 0:59		96		- 0		36		4		94		219		- 0		8		5		141		603				6/8/07 0:59		104		360		603

		6		8		3		6/8/07 1:59		95		- 0		35		4		91		221		- 0		8		5		141		599				6/8/07 1:59		103		362		599

		6		8		4		6/8/07 2:59		94		- 0		35		2		90		222		- 0		7		5		141		596				6/8/07 2:59		101		363		596

		6		8		5		6/8/07 3:59		96		- 0		35		3		90		220		- 0		8		5		141		597				6/8/07 3:59		104		361		597

		6		8		6		6/8/07 4:59		155		- 0		34		2		114		237		- 0		9		5		144		701				6/8/07 4:59		164		381		701

		6		8		7		6/8/07 5:59		364		- 0		52		6		197		302		- 0		12		1		148		1,083				6/8/07 5:59		376		450		1,083

		6		8		8		6/8/07 6:59		221		- 0		57		12		155		250		- 0		12		- 0		144		851				6/8/07 6:59		233		394		851

		6		8		9		6/8/07 7:59		192		- 0		70		13		165		253		- 0		11		- 0		146		850				6/8/07 7:59		203		399		850

		6		8		10		6/8/07 8:59		184		- 0		77		13		170		254		- 0		10		- 0		145		853				6/8/07 8:59		194		399		853

		6		8		11		6/8/07 9:59		185		- 0		76		13		163		244		- 0		10		- 0		141		833				6/8/07 9:59		195		385		833

		6		8		12		6/8/07 10:59		177		- 0		80		12		167		248		- 0		12		- 0		145		841				6/8/07 10:59		189		393		841

		6		8		13		6/8/07 11:59		177		- 0		78		11		163		250		- 0		12		- 0		144		835				6/8/07 11:59		189		394		835

		6		8		14		6/8/07 12:59		180		- 0		82		13		177		258		- 0		9		- 0		138		857				6/8/07 12:59		189		396		857

		6		8		15		6/8/07 13:59		180		- 0		83		11		176		256		- 0		10		- 0		145		860				6/8/07 13:59		190		401		860

		6		8		16		6/8/07 14:59		188		- 0		77		10		170		254		- 0		10		- 0		146		854				6/8/07 14:59		198		400		854

		6		8		17		6/8/07 15:59		197		- 0		72		8		158		258		- 0		12		- 0		145		849				6/8/07 15:59		209		403		849

		6		8		18		6/8/07 16:59		221		- 0		63		5		152		253		- 0		11		- 0		146		852				6/8/07 16:59		232		399		852

		6		8		19		6/8/07 17:59		229		- 0		56		4		150		255		- 0		13		- 0		148		854				6/8/07 17:59		242		403		854

		6		8		20		6/8/07 18:59		240		- 0		55		5		146		255		- 0		12		- 0		147		860				6/8/07 18:59		252		402		860

		6		8		21		6/8/07 19:59		237		- 0		54		5		140		253		- 0		15		- 0		146		851				6/8/07 19:59		252		399		851

		6		8		22		6/8/07 20:59		251		- 0		50		5		135		250		- 0		15		3		146		855				6/8/07 20:59		266		396		855

		6		8		23		6/8/07 21:59		338		- 0		54		4		182		298		- 0		13		6		150		1,044				6/8/07 21:59		351		448		1,044

		6		8		24		6/8/07 22:59		187		- 0		42		4		131		255		- 0		8		6		146		779				6/8/07 22:59		195		401		779

		6		9		1		6/8/07 23:59		117		- 0		30		3		77		217		- 0		8		6		143		601				6/8/07 23:59		125		360		601

		6		9		2		6/9/07 0:59		115		- 0		29		4		77		220		- 0		8		5		144		602				6/9/07 0:59		123		364		602

		6		9		3		6/9/07 1:59		130		- 0		29		3		81		232		- 0		7		5		146		635				6/9/07 1:59		137		378		635

		6		9		4		6/9/07 2:59		134		- 0		28		2		78		229		- 0		7		5		146		629				6/9/07 2:59		141		375		629

		6		9		5		6/9/07 3:59		122		- 0		27		2		72		221		- 0		7		5		144		602				6/9/07 3:59		129		365		602

		6		9		6		6/9/07 4:59		128		- 0		25		2		74		219		- 0		11		5		142		606				6/9/07 4:59		139		361		606

		6		9		7		6/9/07 5:59		390		- 0		44		7		162		300		- 0		13		1		155		1,073				6/9/07 5:59		403		455		1,073

		6		9		8		6/9/07 6:59		249		- 0		51		12		136		251		- 0		11		- 0		147		856				6/9/07 6:59		260		398		856

		6		9		9		6/9/07 7:59		281		- 0		64		14		171		271		- 0		10		- 0		139		949				6/9/07 7:59		291		410		949

		6		9		10		6/9/07 8:59		231		- 0		69		14		160		256		- 0		12		- 0		147		889				6/9/07 8:59		243		403		889

		6		9		11		6/9/07 9:59		212		- 0		70		14		155		248		- 0		11		- 0		147		858				6/9/07 9:59		223		395		858

		6		9		12		6/9/07 10:59		215		- 0		69		14		150		252		- 0		11		- 0		148		859				6/9/07 10:59		226		400		859

		6		9		13		6/9/07 11:59		272		- 0		74		11		183		273		- 0		12		- 0		149		976				6/9/07 11:59		284		422		976

		6		9		14		6/9/07 12:59		237		- 0		76		13		180		271		- 0		12		- 0		149		938				6/9/07 12:59		249		420		938

		6		9		15		6/9/07 13:59		237		- 0		75		11		171		271		- 0		11		- 0		148		923				6/9/07 13:59		248		419		923

		6		9		16		6/9/07 14:59		217		- 0		69		10		148		262		- 0		10		- 0		147		864				6/9/07 14:59		227		409		864

		6		9		17		6/9/07 15:59		226		- 0		63		8		135		263		- 0		13		- 0		148		856				6/9/07 15:59		239		411		856

		6		9		18		6/9/07 16:59		245		- 0		56		6		130		260		- 0		14		- 0		147		858				6/9/07 16:59		259		407		858

		6		9		19		6/9/07 17:59		259		- 0		54		4		129		260		- 0		14		- 0		146		866				6/9/07 17:59		273		406		866

		6		9		20		6/9/07 18:59		267		- 0		52		5		127		258		- 0		14		- 0		146		870				6/9/07 18:59		281		404		870

		6		9		21		6/9/07 19:59		267		- 0		50		6		119		260		- 0		14		- 0		149		864				6/9/07 19:59		281		409		864

		6		9		22		6/9/07 20:59		296		- 0		44		6		121		270		- 0		15		3		149		904				6/9/07 20:59		311		419		904

		6		9		23		6/9/07 21:59		431		- 0		47		5		160		313		- 0		13		6		158		1,133				6/9/07 21:59		444		471		1,133

		6		9		24		6/9/07 22:59		119		- 0		28		4		74		221		- 0		9		6		143		603				6/9/07 22:59		128		364		603

		6		10		1		6/9/07 23:59		131		- 0		26		4		81		225		- 0		9		6		143		624				6/9/07 23:59		140		368		624

		6		10		2		6/10/07 0:59		174		- 0		29		4		98		248		- 0		8		5		147		713				6/10/07 0:59		182		395		713

		6		10		3		6/10/07 1:59		251		- 0		33		4		130		292		- 0		8		5		156		879				6/10/07 1:59		259		448		879

		6		10		4		6/10/07 2:59		260		- 0		32		3		133		291		- 0		8		5		158		890				6/10/07 2:59		268		449		890

		6		10		5		6/10/07 3:59		260		- 0		32		3		129		282		- 0		8		5		156		874				6/10/07 3:59		268		438		874

		6		10		6		6/10/07 4:59		206		- 0		23		3		102		248		- 0		7		5		148		742				6/10/07 4:59		213		396		742

		6		10		7		6/10/07 5:59		142		- 0		24		6		87		219		- 0		10		1		139		628				6/10/07 5:59		152		358		628

		6		10		8		6/10/07 6:59		359		- 0		51		13		194		292		- 0		13		- 0		153		1,074				6/10/07 6:59		372		445		1,074

		6		10		9		6/10/07 7:59		288		- 0		58		13		174		269		- 0		14		- 0		147		963				6/10/07 7:59		302		416		963

		6		10		10		6/10/07 8:59		224		- 0		61		12		149		252		- 0		14		- 0		146		858				6/10/07 8:59		238		398		858

		6		10		11		6/10/07 9:59		207		- 0		66		13		149		255		- 0		14		- 0		147		851				6/10/07 9:59		221		402		851

		6		10		12		6/10/07 10:59		216		- 0		64		12		145		250		- 0		13		- 0		146		846				6/10/07 10:59		229		396		846

		6		10		13		6/10/07 11:59		226		- 0		64		10		153		254		- 0		12		- 0		146		865				6/10/07 11:59		238		400		865

		6		10		14		6/10/07 12:59		220		- 0		66		12		149		257		- 0		14		- 0		147		864				6/10/07 12:59		234		404		864

		6		10		15		6/10/07 13:59		225		- 0		66		12		145		255		- 0		13		- 0		146		862				6/10/07 13:59		238		401		862

		6		10		16		6/10/07 14:59		232		- 0		64		8		141		253		- 0		15		- 0		146		858				6/10/07 14:59		247		399		858

		6		10		17		6/10/07 15:59		263		- 0		60		5		142		256		- 0		16		- 0		146		888				6/10/07 15:59		279		402		888

		6		10		18		6/10/07 16:59		315		- 0		53		3		149		263		- 0		16		- 0		146		944				6/10/07 16:59		331		409		944

		6		10		19		6/10/07 17:59		374		- 0		52		3		154		281		- 0		16		- 0		149		1,029				6/10/07 17:59		390		430		1,029

		6		10		20		6/10/07 18:59		430		- 0		55		4		172		301		- 0		15		- 0		154		1,131				6/10/07 18:59		445		455		1,131

		6		10		21		6/10/07 19:59		426		- 0		53		4		154		290		- 0		15		- 0		152		1,094				6/10/07 19:59		441		442		1,094

		6		10		22		6/10/07 20:59		440		- 0		48		4		149		297		- 0		16		3		154		1,110				6/10/07 20:59		456		451		1,110

		6		10		23		6/10/07 21:59		196		- 0		32		3		83		230		- 0		13		6		142		703				6/10/07 21:59		209		372		703

		6		10		24		6/10/07 22:59		136		- 0		26		2		65		213		- 0		12		6		141		602				6/10/07 22:59		148		354		602

		6		11		1		6/10/07 23:59		311		- 0		69		2		241		313		- 0		11		6		155		1,108				6/10/07 23:59		322		468		1,108

		6		11		2		6/11/07 0:59		209		- 0		59		2		189		279		- 0		9		5		148		900				6/11/07 0:59		218		427		900

		6		11		3		6/11/07 1:59		148		- 0		51		2		151		249		- 0		8		5		143		757				6/11/07 1:59		156		392		757

		6		11		4		6/11/07 2:59		127		- 0		47		2		141		245		- 0		7		5		142		716				6/11/07 2:59		134		387		716

		6		11		5		6/11/07 3:59		139		- 0		50		2		148		247		- 0		7		5		142		740				6/11/07 3:59		146		389		740

		6		11		6		6/11/07 4:59		134		- 0		48		2		148		244		- 0		8		5		142		731				6/11/07 4:59		142		386		731

		6		11		7		6/11/07 5:59		337		- 0		66		3		248		307		- 0		11		1		154		1,126				6/11/07 5:59		348		461		1,126

		6		11		8		6/11/07 6:59		227		- 0		58		3		175		262		- 0		10		- 0		146		880				6/11/07 6:59		237		408		880

		6		11		9		6/11/07 7:59		211		- 0		63		3		163		255		- 0		13		- 0		144		853				6/11/07 7:59		224		399		853

		6		11		10		6/11/07 8:59		206		- 0		68		3		164		251		- 0		14		- 0		144		850				6/11/07 8:59		220		395		850

		6		11		11		6/11/07 9:59		195		- 0		68		3		156		246		- 0		13		- 0		143		824				6/11/07 9:59		208		389		824

		6		11		12		6/11/07 10:59		206		- 0		70		3		157		248		- 0		14		- 0		142		841				6/11/07 10:59		220		390		841

		6		11		13		6/11/07 11:59		199		- 0		69		3		155		243		- 0		14		- 0		143		825				6/11/07 11:59		213		386		825

		6		11		14		6/11/07 12:59		203		- 0		68		3		156		249		- 0		15		- 0		143		838				6/11/07 12:59		218		392		838

		6		11		15		6/11/07 13:59		207		- 0		68		3		158		250		- 0		16		- 0		144		845				6/11/07 13:59		223		394		845

		6		11		16		6/11/07 14:59		200		- 0		71		3		163		251		- 0		16		- 0		145		848				6/11/07 14:59		216		396		848

		6		11		17		6/11/07 15:59		209		- 0		67		2		157		248		- 0		17		- 0		144		844				6/11/07 15:59		226		392		844

		6		11		18		6/11/07 16:59		220		- 0		61		2		150		243		- 0		16		- 0		143		836				6/11/07 16:59		236		386		836

		6		11		19		6/11/07 17:59		232		- 0		61		2		153		244		- 0		17		- 0		145		853				6/11/07 17:59		249		389		853

		6		11		20		6/11/07 18:59		233		- 0		60		3		155		242		- 0		16		- 0		146		855				6/11/07 18:59		249		388		855

		6		11		21		6/11/07 19:59		240		- 0		61		3		151		243		- 0		15		- 0		145		859				6/11/07 19:59		255		388		859

		6		11		22		6/11/07 20:59		233		- 0		61		3		148		244		- 0		15		3		145		852				6/11/07 20:59		248		389		852

		6		11		23		6/11/07 21:59		239		- 0		60		3		157		244		- 0		13		6		144		865				6/11/07 21:59		252		388		865

		6		11		24		6/11/07 22:59		313		- 0		67		3		202		279		- 0		12		6		150		1,032				6/11/07 22:59		325		429		1,032

		6		12		1		6/11/07 23:59		281		- 0		73		2		227		287		- 0		12		6		151		1,039				6/11/07 23:59		293		438		1,039

		6		12		2		6/12/07 0:59		165		- 0		61		2		161		238		- 0		10		5		143		785				6/12/07 0:59		175		381		785

		6		12		3		6/12/07 1:59		125		- 0		53		2		137		224		- 0		9		5		140		696				6/12/07 1:59		134		364		696

		6		12		4		6/12/07 2:59		114		- 0		53		2		137		219		- 0		8		5		141		679				6/12/07 2:59		122		360		679

		6		12		5		6/12/07 3:59		91		- 0		49		2		118		192		- 0		7		5		138		602				6/12/07 3:59		98		330		602

		6		12		6		6/12/07 4:59		91		- 0		47		1		118		193		- 0		8		5		130		594				6/12/07 4:59		99		323		594

		6		12		7		6/12/07 5:59		139		- 0		52		2		149		218		- 0		8		1		141		709				6/12/07 5:59		147		359		709

		6		12		8		6/12/07 6:59		289		- 0		67		2		229		269		- 0		10		- 0		150		1,015				6/12/07 6:59		299		419		1,015

		6		12		9		6/12/07 7:59		249		- 0		66		2		193		254		- 0		11		- 0		146		921				6/12/07 7:59		260		400		921

		6		12		10		6/12/07 8:59		226		- 0		66		2		166		240		- 0		13		- 0		145		858				6/12/07 8:59		239		385		858

		6		12		11		6/12/07 9:59		220		- 0		65		2		157		236		- 0		12		- 0		143		835				6/12/07 9:59		232		379		835

		6		12		12		6/12/07 10:59		216		- 0		66		2		158		236		- 0		14		- 0		143		834				6/12/07 10:59		230		379		834

		6		12		13		6/12/07 11:59		215		- 0		68		2		159		240		- 0		14		- 0		142		840				6/12/07 11:59		229		382		840

		6		12		14		6/12/07 12:59		210		- 0		69		2		166		242		- 0		14		- 0		144		849				6/12/07 12:59		224		386		849

		6		12		15		6/12/07 13:59		211		- 0		70		2		171		238		- 0		16		- 0		146		853				6/12/07 13:59		227		384		853

		6		12		16		6/12/07 14:59		212		- 0		69		2		167		244		- 0		16		- 0		144		854				6/12/07 14:59		228		388		854

		6		12		17		6/12/07 15:59		213		- 0		68		2		160		238		- 0		17		- 0		143		842				6/12/07 15:59		230		381		842

		6		12		18		6/12/07 16:59		224		- 0		63		2		159		240		- 0		17		- 0		144		848				6/12/07 16:59		241		384		848

		6		12		19		6/12/07 17:59		231		- 0		63		2		157		239		- 0		15		- 0		143		850				6/12/07 17:59		246		382		850

		6		12		20		6/12/07 18:59		246		- 0		61		2		155		236		- 0		15		- 0		143		858				6/12/07 18:59		261		379		858

		6		12		21		6/12/07 19:59		234		- 0		62		3		149		235		- 0		16		- 0		143		843				6/12/07 19:59		250		378		843

		6		12		22		6/12/07 20:59		228		- 0		61		3		148		234		- 0		17		3		143		836				6/12/07 20:59		245		377		836

		6		12		23		6/12/07 21:59		226		- 0		61		3		163		243		- 0		14		6		146		862				6/12/07 21:59		240		389		862

		6		12		24		6/12/07 22:59		296		- 0		69		2		221		275		- 0		12		6		150		1,030				6/12/07 22:59		308		425		1,030

		6		13		1		6/12/07 23:59		141		- 0		44		2		115		221		- 0		9		6		142		678				6/12/07 23:59		150		363		678

		6		13		2		6/13/07 0:59		124		- 0		43		2		110		221		- 0		8		5		141		654				6/13/07 0:59		132		362		654

		6		13		3		6/13/07 1:59		106		- 0		40		2		99		210		- 0		8		5		139		610				6/13/07 1:59		114		349		610

		6		13		4		6/13/07 2:59		98		- 0		39		2		99		207		- 0		8		5		139		596				6/13/07 2:59		106		346		596

		6		13		5		6/13/07 3:59		99		- 0		40		2		104		215		- 0		9		5		139		613				6/13/07 3:59		108		354		613

		6		13		6		6/13/07 4:59		148		- 0		44		2		133		228		- 0		8		5		141		709				6/13/07 4:59		156		369		709

		6		13		7		6/13/07 5:59		281		- 0		58		8		200		274		- 0		12		1		148		982				6/13/07 5:59		293		422		982

		6		13		8		6/13/07 6:59		197		- 0		66		12		175		248		- 0		13		- 0		145		856				6/13/07 6:59		210		393		856

		6		13		9		6/13/07 7:59		193		- 0		75		14		175		239		- 0		13		- 0		142		850				6/13/07 7:59		206		381		850

		6		13		10		6/13/07 8:59		192		- 0		84		12		184		243		- 0		15		- 0		142		871				6/13/07 8:59		207		385		871

		6		13		11		6/13/07 9:59		195		- 0		85		13		185		237		- 0		13		- 0		142		869				6/13/07 9:59		208		379		869

		6		13		12		6/13/07 10:59		182		- 0		84		12		176		237		- 0		14		- 0		142		847				6/13/07 10:59		196		379		847

		6		13		13		6/13/07 11:59		197		- 0		84		11		179		236		- 0		13		- 0		140		862				6/13/07 11:59		210		376		862

		6		13		14		6/13/07 12:59		181		- 0		85		13		178		239		- 0		14		- 0		141		853				6/13/07 12:59		195		380		853

		6		13		15		6/13/07 13:59		169		- 0		87		11		181		239		- 0		13		- 0		142		842				6/13/07 13:59		182		381		842

		6		13		16		6/13/07 14:59		182		- 0		88		10		185		245		- 0		13		- 0		142		865				6/13/07 14:59		195		387		865

		6		13		17		6/13/07 15:59		204		- 0		80		8		173		245		- 0		15		- 0		141		866				6/13/07 15:59		219		386		866

		6		13		18		6/13/07 16:59		217		- 0		70		5		165		242		- 0		15		- 0		141		856				6/13/07 16:59		232		383		856

		6		13		19		6/13/07 17:59		225		- 0		64		4		160		238		- 0		14		- 0		131		836				6/13/07 17:59		239		369		836

		6		13		20		6/13/07 18:59		212		- 0		62		5		155		240		- 0		13		- 0		142		830				6/13/07 18:59		225		382		830

		6		13		21		6/13/07 19:59		223		- 0		62		6		152		238		- 0		15		- 0		142		838				6/13/07 19:59		238		380		838

		6		13		22		6/13/07 20:59		219		- 0		60		5		146		238		- 0		13		2		142		826				6/13/07 20:59		232		380		826

		6		13		23		6/13/07 21:59		224		- 0		58		4		154		246		- 0		11		6		145		848				6/13/07 21:59		235		391		848

		6		13		24		6/13/07 22:59		345		- 0		68		5		233		302		- 0		11		6		155		1,124				6/13/07 22:59		356		457		1,124

		6		14		1		6/13/07 23:59		106		- 0		34		4		98		211		- 0		8		6		138		605				6/13/07 23:59		114		349		605

		6		14		2		6/14/07 0:59		100		- 0		33		4		95		216		- 0		8		5		138		601				6/14/07 0:59		108		354		601

		6		14		3		6/14/07 1:59		102		- 0		33		3		97		216		- 0		8		5		138		602				6/14/07 1:59		110		354		602

		6		14		4		6/14/07 2:59		99		- 0		32		2		92		216		- 0		8		5		139		594				6/14/07 2:59		107		355		594

		6		14		5		6/14/07 3:59		103		- 0		34		2		96		214		- 0		8		5		139		602				6/14/07 3:59		111		353		602

		6		14		6		6/14/07 4:59		111		- 0		36		2		103		207		- 0		8		5		138		611				6/14/07 4:59		119		345		611

		6		14		7		6/14/07 5:59		376		- 0		60		7		229		291		- 0		12		1		153		1,129				6/14/07 5:59		388		444		1,129

		6		14		8		6/14/07 6:59		220		- 0		63		11		171		238		- 0		10		- 0		144		857				6/14/07 6:59		230		382		857

		6		14		9		6/14/07 7:59		202		- 0		76		13		178		234		- 0		12		- 0		144		858				6/14/07 7:59		214		378		858

		6		14		10		6/14/07 8:59		191		- 0		84		13		180		232		- 0		12		- 0		143		855				6/14/07 8:59		203		375		855

		6		14		11		6/14/07 9:59		189		- 0		86		14		180		232		- 0		10		- 0		141		852				6/14/07 9:59		199		373		852

		6		14		12		6/14/07 10:59		186		- 0		85		12		179		234		- 0		13		- 0		142		851				6/14/07 10:59		199		376		851

		6		14		13		6/14/07 11:59		191		- 0		88		9		184		235		- 0		12		- 0		143		861				6/14/07 11:59		203		378		861

		6		14		14		6/14/07 12:59		182		- 0		87		13		184		235		- 0		10		- 0		142		854				6/14/07 12:59		192		377		854

		6		14		15		6/14/07 13:59		172		- 0		87		12		184		241		- 0		11		- 0		143		851				6/14/07 13:59		183		384		851

		6		14		16		6/14/07 14:59		193		- 0		82		10		179		235		- 0		10		- 0		143		852				6/14/07 14:59		203		378		852

		6		14		17		6/14/07 15:59		211		- 0		76		7		167		239		- 0		13		- 0		143		855				6/14/07 15:59		224		382		855

		6		14		18		6/14/07 16:59		237		- 0		63		5		157		235		- 0		14		- 0		142		853				6/14/07 16:59		251		377		853

		6		14		19		6/14/07 17:59		244		- 0		59		4		158		237		- 0		14		- 0		144		860				6/14/07 17:59		258		381		860

		6		14		20		6/14/07 18:59		255		- 0		57		5		161		236		- 0		14		- 0		144		871				6/14/07 18:59		269		380		871

		6		14		21		6/14/07 19:59		246		- 0		57		5		155		236		- 0		12		- 0		143		854				6/14/07 19:59		258		379		854

		6		14		22		6/14/07 20:59		273		- 0		54		5		159		250		- 0		11		2		144		899				6/14/07 20:59		284		394		899

		6		14		23		6/14/07 21:59		358		- 0		59		4		206		287		- 0		11		6		152		1,082				6/14/07 21:59		369		439		1,082

		6		14		24		6/14/07 22:59		120		- 0		39		3		109		218		- 0		7		6		139		642				6/14/07 22:59		127		357		642

		6		15		1		6/14/07 23:59		121		- 0		36		3		102		224		- 0		8		6		142		642				6/14/07 23:59		129		366		642

		6		15		2		6/15/07 0:59		100		- 0		34		3		94		213		- 0		8		5		141		597				6/15/07 0:59		108		354		597

		6		15		3		6/15/07 1:59		100		- 0		33		2		93		220		- 0		8		5		142		604				6/15/07 1:59		108		362		604

		6		15		4		6/15/07 2:59		101		- 0		33		2		93		218		- 0		8		5		142		603				6/15/07 2:59		109		360		603

		6		15		5		6/15/07 3:59		103		- 0		34		2		94		217		- 0		9		5		142		607				6/15/07 3:59		112		359		607

		6		15		6		6/15/07 4:59		155		- 0		38		2		115		233		- 0		10		5		143		700				6/15/07 4:59		165		376		700

		6		15		7		6/15/07 5:59		388		- 0		57		7		219		301		- 0		15		1		156		1,145				6/15/07 5:59		403		457		1,145

		6		15		8		6/15/07 6:59		222		- 0		60		11		164		247		- 0		13		- 0		147		864				6/15/07 6:59		235		394		864

		6		15		9		6/15/07 7:59		200		- 0		72		14		170		245		- 0		12		- 0		146		861				6/15/07 7:59		212		391		861

		6		15		10		6/15/07 8:59		194		- 0		77		13		168		242		- 0		11		- 0		146		851				6/15/07 8:59		205		388		851

		6		15		11		6/15/07 9:59		177		- 0		82		14		172		245		- 0		14		- 0		145		849				6/15/07 9:59		191		390		849

		6		15		12		6/15/07 10:59		185		- 0		80		13		162		235		- 0		13		- 0		144		831				6/15/07 10:59		198		379		831

		6		15		13		6/15/07 11:59		196		- 0		79		12		168		240		- 0		13		- 0		145		854				6/15/07 11:59		209		385		854

		6		15		14		6/15/07 12:59		187		- 0		82		13		174		238		- 0		11		- 0		146		850				6/15/07 12:59		198		384		850

		6		15		15		6/15/07 13:59		185		- 0		82		12		172		244		- 0		12		- 0		146		853				6/15/07 13:59		197		390		853

		6		15		16		6/15/07 14:59		182		- 0		80		12		168		247		- 0		14		- 0		146		849				6/15/07 14:59		196		393		849

		6		15		17		6/15/07 15:59		207		- 0		73		8		151		247		- 0		15		- 0		145		845				6/15/07 15:59		222		392		845

		6		15		18		6/15/07 16:59		231		- 0		63		6		146		247		- 0		15		- 0		145		852				6/15/07 16:59		246		392		852

		6		15		19		6/15/07 17:59		228		- 0		58		4		141		249		- 0		15		- 0		145		841				6/15/07 17:59		243		394		841

		6		15		20		6/15/07 18:59		235		- 0		54		5		134		247		- 0		15		- 0		144		835				6/15/07 18:59		250		391		835

		6		15		21		6/15/07 19:59		223		- 0		53		6		129		250		- 0		16		- 0		144		821				6/15/07 19:59		239		394		821

		6		15		22		6/15/07 20:59		239		- 0		52		6		136		257		- 0		14		1		147		852				6/15/07 20:59		253		404		852

		6		15		23		6/15/07 21:59		267		- 0		50		4		149		272		- 0		11		6		148		907				6/15/07 21:59		278		420		907

		6		15		24		6/15/07 22:59		261		- 0		46		5		160		284		- 0		10		6		150		922				6/15/07 22:59		271		434		922

		6		16		1		6/15/07 23:59		123		- 0		25		4		72		217		- 0		9		6		143		598				6/15/07 23:59		132		360		598

		6		16		2		6/16/07 0:59		122		- 0		25		4		72		223		- 0		10		5		145		606				6/16/07 0:59		132		368		606

		6		16		3		6/16/07 1:59		173		- 0		27		4		88		246		- 0		9		5		149		701				6/16/07 1:59		182		395		701

		6		16		4		6/16/07 2:59		228		- 0		28		2		102		266		- 0		8		5		153		793				6/16/07 2:59		236		419		793

		6		16		5		6/16/07 3:59		236		- 0		31		3		108		267		- 0		9		5		154		813				6/16/07 3:59		245		421		813

		6		16		6		6/16/07 4:59		140		- 0		23		2		71		215		- 0		10		5		142		608				6/16/07 4:59		150		357		608

		6		16		7		6/16/07 5:59		293		- 0		36		7		128		256		- 0		14		1		149		884				6/16/07 5:59		307		405		884

		6		16		8		6/16/07 6:59		303		- 0		49		12		148		252		- 0		14		- 0		148		926				6/16/07 6:59		317		400		926

		6		16		9		6/16/07 7:59		238		- 0		60		14		141		239		- 0		12		- 0		148		853				6/16/07 7:59		250		387		853

		6		16		10		6/16/07 8:59		237		- 0		68		13		146		239		- 0		12		- 0		147		862				6/16/07 8:59		249		386		862

		6		16		11		6/16/07 9:59		229		- 0		71		14		150		239		- 0		13		- 0		144		860				6/16/07 9:59		242		383		860

		6		16		12		6/16/07 10:59		220		- 0		70		14		143		238		- 0		15		- 0		147		847				6/16/07 10:59		235		385		847

		6		16		13		6/16/07 11:59		221		- 0		70		12		145		241		- 0		13		- 0		147		847				6/16/07 11:59		234		388		847

		6		16		14		6/16/07 12:59		218		- 0		74		14		157		251		- 0		11		- 0		148		873				6/16/07 12:59		229		399		873

		6		16		15		6/16/07 13:59		212		- 0		72		12		144		252		- 0		11		- 0		148		852				6/16/07 13:59		223		400		852

		6		16		16		6/16/07 14:59		229		- 0		70		10		142		250		- 0		11		- 0		142		854				6/16/07 14:59		240		392		854

		6		16		17		6/16/07 15:59		238		- 0		64		8		133		251		- 0		12		- 0		147		853				6/16/07 15:59		250		398		853

		6		16		18		6/16/07 16:59		255		- 0		55		6		122		248		- 0		14		- 0		147		847				6/16/07 16:59		269		395		847

		6		16		19		6/16/07 17:59		273		- 0		53		4		122		251		- 0		14		- 0		148		866				6/16/07 17:59		287		399		866

		6		16		20		6/16/07 18:59		275		- 0		52		6		122		251		- 0		13		- 0		146		865				6/16/07 18:59		288		397		865

		6		16		21		6/16/07 19:59		275		- 0		52		6		120		257		- 0		13		- 0		147		870				6/16/07 19:59		288		404		870

		6		16		22		6/16/07 20:59		285		- 0		43		6		110		259		- 0		11		1		146		862				6/16/07 20:59		296		405		862

		6		16		23		6/16/07 21:59		388		- 0		46		4		145		293		- 0		12		6		154		1,048				6/16/07 21:59		400		447		1,048

		6		16		24		6/16/07 22:59		136		- 0		30		4		77		223		- 0		10		6		142		628				6/16/07 22:59		146		365		628

		6		17		1		6/16/07 23:59		231		- 0		24		4		101		262		- 0		9		6		150		787				6/16/07 23:59		240		412		787

		6		17		2		6/17/07 0:59		275		- 0		27		5		118		285		- 0		8		5		155		879				6/17/07 0:59		283		440		879

		6		17		3		6/17/07 1:59		283		- 0		26		4		118		290		- 0		9		5		157		891				6/17/07 1:59		292		447		891

		6		17		4		6/17/07 2:59		294		- 0		24		3		115		285		- 0		9		5		157		891				6/17/07 2:59		303		442		891

		6		17		5		6/17/07 3:59		282		- 0		25		3		116		293		- 0		10		5		156		891				6/17/07 3:59		292		449		891

		6		17		6		6/17/07 4:59		138		- 0		17		2		66		218		- 0		8		5		140		595				6/17/07 4:59		146		358		595

		6		17		7		6/17/07 5:59		240		- 0		25		6		101		245		- 0		11		1		142		771				6/17/07 5:59		251		387		771

		6		17		8		6/17/07 6:59		394		- 0		49		13		173		289		- 0		13		- 0		151		1,081				6/17/07 6:59		407		440		1,081

		6		17		9		6/17/07 7:59		337		- 0		59		14		174		271		- 0		14		- 0		148		1,018				6/17/07 7:59		351		419		1,018

		6		17		10		6/17/07 8:59		253		- 0		61		13		139		242		- 0		13		- 0		145		867				6/17/07 8:59		266		387		867

		6		17		11		6/17/07 9:59		236		- 0		63		13		135		248		- 0		13		- 0		145		853				6/17/07 9:59		249		393		853

		6		17		12		6/17/07 10:59		241		- 0		63		12		134		252		- 0		13		- 0		146		862				6/17/07 10:59		254		398		862

		6		17		13		6/17/07 11:59		245		- 0		61		11		142		258		- 0		14		- 0		144		876				6/17/07 11:59		259		402		876

		6		17		14		6/17/07 12:59		287		- 0		69		13		168		278		- 0		13		- 0		147		974				6/17/07 12:59		300		425		974

		6		17		15		6/17/07 13:59		292		- 0		68		11		166		277		- 0		11		- 0		147		972				6/17/07 13:59		303		424		972

		6		17		16		6/17/07 14:59		254		- 0		59		8		131		250		- 0		12		- 0		146		860				6/17/07 14:59		266		396		860

		6		17		17		6/17/07 15:59		282		- 0		54		5		127		255		- 0		14		- 0		145		882				6/17/07 15:59		296		400		882

		6		17		18		6/17/07 16:59		282		- 0		47		4		117		257		- 0		15		- 0		145		867				6/17/07 16:59		297		402		867

		6		17		19		6/17/07 17:59		420		- 0		52		3		153		288		- 0		13		- 0		151		1,081				6/17/07 17:59		433		439		1,081

		6		17		20		6/17/07 18:59		392		- 0		49		3		133		275		- 0		16		- 0		148		1,016				6/17/07 18:59		408		423		1,016

		6		17		21		6/17/07 19:59		447		- 0		53		4		149		296		- 0		14		- 0		153		1,115				6/17/07 19:59		461		449		1,115

		6		17		22		6/17/07 20:59		407		- 0		43		4		126		284		- 0		13		1		150		1,028				6/17/07 20:59		420		434		1,028

		6		17		23		6/17/07 21:59		211		- 0		30		3		75		227		- 0		11		6		140		703				6/17/07 21:59		222		367		703

		6		17		24		6/17/07 22:59		145		- 0		25		2		61		214		- 0		11		6		140		604				6/17/07 22:59		156		354		604

		6		18		1		6/17/07 23:59		334		- 0		72		2		240		315		- 0		10		6		153		1,133				6/17/07 23:59		344		468		1,133

		6		18		2		6/18/07 0:59		327		- 0		72		3		238		318		- 0		10		5		155		1,127				6/18/07 0:59		337		473		1,127

		6		18		3		6/18/07 1:59		297		- 0		68		2		223		308		- 0		8		5		153		1,064				6/18/07 1:59		305		461		1,064

		6		18		4		6/18/07 2:59		265		- 0		63		2		208		297		- 0		8		5		150		1,000				6/18/07 2:59		273		447		1,000

		6		18		5		6/18/07 3:59		310		- 0		65		2		227		313		- 0		8		5		153		1,083				6/18/07 3:59		318		466		1,083

		6		18		6		6/18/07 4:59		346		- 0		65		2		232		316		- 0		9		5		154		1,130				6/18/07 4:59		355		470		1,130

		6		18		7		6/18/07 5:59		297		- 0		62		2		209		294		- 0		11		1		149		1,026				6/18/07 5:59		308		443		1,026

		6		18		8		6/18/07 6:59		215		- 0		57		3		157		259		- 0		13		- 0		145		849				6/18/07 6:59		228		404		849

		6		18		9		6/18/07 7:59		222		- 0		61		3		154		254		- 0		13		- 0		143		850				6/18/07 7:59		235		397		850

		6		18		10		6/18/07 8:59		219		- 0		64		3		148		250		- 0		13		- 0		142		838				6/18/07 8:59		232		392		838

		6		18		11		6/18/07 9:59		219		- 0		66		3		155		252		- 0		14		- 0		142		850				6/18/07 9:59		233		394		850

		6		18		12		6/18/07 10:59		233		- 0		65		3		151		253		- 0		14		- 0		142		861				6/18/07 10:59		247		395		861

		6		18		13		6/18/07 11:59		211		- 0		64		3		148		254		- 0		11		- 0		142		834				6/18/07 11:59		222		396		834

		6		18		14		6/18/07 12:59		214		- 0		66		3		153		255		- 0		12		- 0		144		847				6/18/07 12:59		226		399		847

		6		18		15		6/18/07 13:59		221		- 0		65		3		156		257		- 0		11		- 0		144		857				6/18/07 13:59		232		401		857

		6		18		16		6/18/07 14:59		213		- 0		69		2		155		259		- 0		13		- 0		144		854				6/18/07 14:59		226		403		854

		6		18		17		6/18/07 15:59		227		- 0		65		2		149		251		- 0		13		- 0		143		849				6/18/07 15:59		240		394		849

		6		18		18		6/18/07 16:59		240		- 0		59		2		145		250		- 0		14		- 0		143		853				6/18/07 16:59		254		393		853

		6		18		19		6/18/07 17:59		235		- 0		57		2		144		257		- 0		12		- 0		145		852				6/18/07 17:59		247		402		852

		6		18		20		6/18/07 18:59		234		- 0		58		2		143		257		- 0		12		- 0		145		852				6/18/07 18:59		246		402		852

		6		18		21		6/18/07 19:59		235		- 0		59		3		146		254		- 0		11		- 0		145		853				6/18/07 19:59		246		399		853

		6		18		22		6/18/07 20:59		237		- 0		60		3		143		253		- 0		11		1		145		853				6/18/07 20:59		248		398		853

		6		18		23		6/18/07 21:59		265		- 0		63		3		167		270		- 0		12		6		146		930				6/18/07 21:59		277		416		930

		6		18		24		6/18/07 22:59		326		- 0		64		2		197		299		- 0		11		6		151		1,055				6/18/07 22:59		337		450		1,055

		6		19		1		6/18/07 23:59		332		- 0		78		2		239		316		- 0		9		6		155		1,136				6/18/07 23:59		341		471		1,136

		6		19		2		6/19/07 0:59		312		- 0		78		3		230		303		- 0		7		5		153		1,091				6/19/07 0:59		319		456		1,091

		6		19		3		6/19/07 1:59		155		- 0		61		2		154		240		- 0		6		5		142		765				6/19/07 1:59		161		382		765

		6		19		4		6/19/07 2:59		244		- 0		67		2		197		273		- 0		7		5		148		943				6/19/07 2:59		251		421		943

		6		19		5		6/19/07 3:59		172		- 0		58		2		158		250		- 0		8		5		143		796				6/19/07 3:59		180		393		796

		6		19		6		6/19/07 4:59		192		- 0		57		2		162		246		- 0		7		5		144		815				6/19/07 4:59		199		390		815

		6		19		7		6/19/07 5:59		317		- 0		68		2		228		298		- 0		9		1		152		1,075				6/19/07 5:59		326		450		1,075

		6		19		8		6/19/07 6:59		332		- 0		68		2		223		295		- 0		9		- 0		151		1,079				6/19/07 6:59		341		446		1,079

		6		19		9		6/19/07 7:59		229		- 0		60		2		160		251		- 0		11		- 0		144		857				6/19/07 7:59		240		395		857

		6		19		10		6/19/07 8:59		225		- 0		64		2		158		251		- 0		11		- 0		145		856				6/19/07 8:59		236		396		856

		6		19		11		6/19/07 9:59		226		- 0		65		2		158		254		- 0		11		- 0		144		860				6/19/07 9:59		237		398		860

		6		19		12		6/19/07 10:59		218		- 0		65		2		160		255		- 0		12		- 0		144		855				6/19/07 10:59		230		399		855

		6		19		13		6/19/07 11:59		214		- 0		65		2		165		251		- 0		9		- 0		145		851				6/19/07 11:59		223		396		851

		6		19		14		6/19/07 12:59		214		- 0		68		2		166		257		- 0		9		- 0		146		862				6/19/07 12:59		223		403		862

		6		19		15		6/19/07 13:59		255		- 0		72		2		201		272		- 0		9		- 0		147		958				6/19/07 13:59		264		419		958

		6		19		16		6/19/07 14:59		245		- 0		73		2		197		269		- 0		9		- 0		146		940				6/19/07 14:59		254		415		940

		6		19		17		6/19/07 15:59		218		- 0		65		2		163		250		- 0		10		- 0		145		853				6/19/07 15:59		228		395		853

		6		19		18		6/19/07 16:59		234		- 0		61		2		167		254		- 0		10		- 0		144		872				6/19/07 16:59		244		398		872

		6		19		19		6/19/07 17:59		241		- 0		60		2		161		250		- 0		12		- 0		145		870				6/19/07 17:59		253		395		870

		6		19		20		6/19/07 18:59		253		- 0		64		2		178		264		- 0		9		- 0		145		915				6/19/07 18:59		262		409		915

		6		19		21		6/19/07 19:59		219		- 0		64		3		156		254		- 0		11		- 0		146		853				6/19/07 19:59		230		400		853

		6		19		22		6/19/07 20:59		224		- 0		63		3		154		251		- 0		13		1		145		854				6/19/07 20:59		237		396		854

		6		19		23		6/19/07 21:59		260		- 0		70		2		201		283		- 0		9		6		148		978				6/19/07 21:59		269		431		978

		6		19		24		6/19/07 22:59		317		- 0		76		2		253		319		- 0		9		6		155		1,136				6/19/07 22:59		326		474		1,136

		6		20		1		6/19/07 23:59		95		- 0		39		2		94		218		- 0		5		6		139		597				6/19/07 23:59		100		357		597

		6		20		2		6/20/07 0:59		94		- 0		38		2		96		215		- 0		5		5		140		596				6/20/07 0:59		99		355		596

		6		20		3		6/20/07 1:59		95		- 0		40		2		99		214		- 0		6		5		141		602				6/20/07 1:59		101		355		602

		6		20		4		6/20/07 2:59		106		- 0		39		2		103		217		- 0		6		5		142		620				6/20/07 2:59		112		359		620

		6		20		5		6/20/07 3:59		102		- 0		36		2		99		211		- 0		6		5		141		602				6/20/07 3:59		108		352		602

		6		20		6		6/20/07 4:59		110		- 0		35		2		100		208		- 0		7		5		138		605				6/20/07 4:59		117		346		605

		6		20		7		6/20/07 5:59		295		- 0		52		8		193		277		- 0		8		1		148		983				6/20/07 5:59		303		425		983

		6		20		8		6/20/07 6:59		233		- 0		61		12		186		256		- 0		10		- 0		144		903				6/20/07 6:59		243		400		903

		6		20		9		6/20/07 7:59		202		- 0		69		13		185		248		- 0		11		- 0		145		873				6/20/07 7:59		213		393		873

		6		20		10		6/20/07 8:59		193		- 0		76		14		178		241		- 0		10		- 0		144		856				6/20/07 8:59		203		385		856

		6		20		11		6/20/07 9:59		180		- 0		78		13		181		246		- 0		10		- 0		144		853				6/20/07 9:59		190		390		853

		6		20		12		6/20/07 10:59		190		- 0		79		13		179		240		- 0		10		- 0		144		856				6/20/07 10:59		200		384		856

		6		20		13		6/20/07 11:59		185		- 0		78		11		181		248		- 0		10		- 0		145		858				6/20/07 11:59		195		393		858

		6		20		14		6/20/07 12:59		176		- 0		81		14		186		250		- 0		10		- 0		145		861				6/20/07 12:59		186		395		861

		6		20		15		6/20/07 13:59		173		- 0		81		12		192		254		- 0		10		- 0		144		864				6/20/07 13:59		183		398		864

		6		20		16		6/20/07 14:59		179		- 0		78		10		182		255		- 0		9		- 0		145		859				6/20/07 14:59		188		400		859

		6		20		17		6/20/07 15:59		197		- 0		71		9		168		254		- 0		12		- 0		144		856				6/20/07 15:59		209		398		856

		6		20		18		6/20/07 16:59		215		- 0		61		6		165		253		- 0		12		- 0		145		858				6/20/07 16:59		227		398		858

		6		20		19		6/20/07 17:59		270		- 0		58		4		188		264		- 0		12		- 0		145		942				6/20/07 17:59		282		409		942

		6		20		20		6/20/07 18:59		258		- 0		55		5		176		261		- 0		11		- 0		145		911				6/20/07 18:59		269		406		911

		6		20		21		6/20/07 19:59		239		- 0		52		6		148		251		- 0		12		- 0		145		852				6/20/07 19:59		251		396		852

		6		20		22		6/20/07 20:59		241		- 0		50		6		146		249		- 0		12		1		145		850				6/20/07 20:59		253		394		850

		6		20		23		6/20/07 21:59		369		- 0		59		5		217		302		- 0		11		6		154		1,121				6/20/07 21:59		380		456		1,121

		6		20		24		6/20/07 22:59		142		- 0		42		4		127		231		- 0		7		6		141		700				6/20/07 22:59		149		372		700

		6		21		1		6/20/07 23:59		111		- 0		37		4		105		224		- 0		7		6		139		633				6/20/07 23:59		118		363		633

		6		21		2		6/21/07 0:59		93		- 0		36		4		98		216		- 0		6		5		139		598				6/21/07 0:59		99		355		598

		6		21		3		6/21/07 1:59		95		- 0		36		4		100		217		- 0		6		5		140		602				6/21/07 1:59		101		357		602

		6		21		4		6/21/07 2:59		96		- 0		36		2		99		222		- 0		6		5		140		606				6/21/07 2:59		102		362		606

		6		21		5		6/21/07 3:59		92		- 0		35		2		96		223		- 0		6		5		137		597				6/21/07 3:59		98		360		597

		6		21		6		6/21/07 4:59		99		- 0		33		2		95		221		- 0		6		5		136		597				6/21/07 4:59		105		357		597

		6		21		7		6/21/07 5:59		363		- 0		57		8		220		309		- 0		9		1		153		1,120				6/21/07 5:59		372		462		1,120

		6		21		8		6/21/07 6:59		216		- 0		60		13		172		257		- 0		11		- 0		142		870				6/21/07 6:59		227		399		870

		6		21		9		6/21/07 7:59		191		- 0		71		14		175		257		- 0		11		- 0		142		861				6/21/07 7:59		202		399		861

		6		21		10		6/21/07 8:59		182		- 0		78		14		179		255		- 0		10		- 0		141		859				6/21/07 8:59		192		396		859

		6		21		11		6/21/07 9:59		180		- 0		78		14		175		251		- 0		10		- 0		141		849				6/21/07 9:59		190		392		849

		6		21		12		6/21/07 10:59		190		- 0		78		12		171		247		- 0		9		- 0		142		850				6/21/07 10:59		199		389		850

		6		21		13		6/21/07 11:59		178		- 0		80		11		177		256		- 0		11		- 0		143		856				6/21/07 11:59		189		399		856

		6		21		14		6/21/07 12:59		170		- 0		83		14		183		255		- 0		11		- 0		141		856				6/21/07 12:59		181		396		856

		6		21		15		6/21/07 13:59		169		- 0		84		11		181		253		- 0		11		- 0		143		852				6/21/07 13:59		180		396		852

		6		21		16		6/21/07 14:59		178		- 0		80		10		179		255		- 0		11		- 0		143		855				6/21/07 14:59		189		398		855

		6		21		17		6/21/07 15:59		196		- 0		74		7		167		256		- 0		13		- 0		143		856				6/21/07 15:59		209		399		856

		6		21		18		6/21/07 16:59		224		- 0		63		5		157		254		- 0		13		- 0		141		857				6/21/07 16:59		237		395		857

		6		21		19		6/21/07 17:59		226		- 0		57		4		156		259		- 0		14		- 0		144		861				6/21/07 17:59		240		403		861

		6		21		20		6/21/07 18:59		229		- 0		58		5		156		256		- 0		14		- 0		143		861				6/21/07 18:59		243		399		861

		6		21		21		6/21/07 19:59		230		- 0		58		6		152		257		- 0		13		- 0		143		859				6/21/07 19:59		243		400		859

		6		21		22		6/21/07 20:59		246		- 0		53		6		152		260		- 0		12		1		139		868				6/21/07 20:59		258		399		868

		6		21		23		6/21/07 21:59		349		- 0		62		5		212		313		- 0		12		6		151		1,110				6/21/07 21:59		361		464		1,110

		6		21		24		6/21/07 22:59		142		- 0		42		4		124		239		- 0		9		6		138		704				6/21/07 22:59		151		377		704

		6		22		1		6/21/07 23:59		103		- 0		33		3		95		229		- 0		8		6		140		617				6/21/07 23:59		111		369		617

		6		22		2		6/22/07 0:59		96		- 0		33		4		92		223		- 0		7		5		138		598				6/22/07 0:59		103		361		598

		6		22		3		6/22/07 1:59		91		- 0		33		3		90		227		- 0		7		5		140		597				6/22/07 1:59		98		367		597

		6		22		4		6/22/07 2:59		91		- 0		33		2		89		226		- 0		7		5		141		594				6/22/07 2:59		98		367		594

		6		22		5		6/22/07 3:59		97		- 0		35		2		91		225		- 0		7		5		140		602				6/22/07 3:59		104		365		602

		6		22		6		6/22/07 4:59		114		- 0		35		2		100		227		- 0		8		5		139		631				6/22/07 4:59		122		366		631

		6		22		7		6/22/07 5:59		341		- 0		57		7		212		310		- 0		11		1		154		1,092				6/22/07 5:59		352		464		1,092

		6		22		8		6/22/07 6:59		220		- 0		59		12		156		259		- 0		12		- 0		145		862				6/22/07 6:59		232		404		862

		6		22		9		6/22/07 7:59		191		- 0		71		14		166		256		- 0		11		- 0		145		855				6/22/07 7:59		202		401		855

		6		22		10		6/22/07 8:59		179		- 0		77		14		170		256		- 0		11		- 0		146		852				6/22/07 8:59		190		402		852

		6		22		11		6/22/07 9:59		181		- 0		78		14		169		255		- 0		11		- 0		143		851				6/22/07 9:59		192		398		851

		6		22		12		6/22/07 10:59		183		- 0		79		14		170		254		- 0		13		- 0		145		857				6/22/07 10:59		196		399		857

		6		22		13		6/22/07 11:59		187		- 0		77		11		167		261		- 0		11		- 0		144		860				6/22/07 11:59		198		405		860

		6		22		14		6/22/07 12:59		179		- 0		79		13		171		257		- 0		13		- 0		145		857				6/22/07 12:59		192		402		857

		6		22		15		6/22/07 13:59		179		- 0		79		11		170		260		- 0		11		- 0		145		855				6/22/07 13:59		190		405		855

		6		22		16		6/22/07 14:59		187		- 0		78		11		171		256		- 0		11		- 0		144		857				6/22/07 14:59		198		400		857

		6		22		17		6/22/07 15:59		203		- 0		71		8		159		254		- 0		13		- 0		145		853				6/22/07 15:59		216		399		853

		6		22		18		6/22/07 16:59		227		- 0		62		6		151		254		- 0		13		- 0		146		859				6/22/07 16:59		240		400		859

		6		22		19		6/22/07 17:59		230		- 0		57		4		148		256		- 0		14		- 0		147		856				6/22/07 17:59		244		403		856

		6		22		20		6/22/07 18:59		253		- 0		57		5		163		267		- 0		12		- 0		146		904				6/22/07 18:59		265		413		904

		6		22		21		6/22/07 19:59		237		- 0		56		6		149		264		- 0		13		- 0		146		871				6/22/07 19:59		250		410		871

		6		22		22		6/22/07 20:59		237		- 0		53		5		139		257		- 0		13		1		146		852				6/22/07 20:59		250		403		852

		6		22		23		6/22/07 21:59		318		- 0		58		4		182		294		- 0		12		6		148		1,022				6/22/07 21:59		330		442		1,022

		6		22		24		6/22/07 22:59		194		- 0		49		4		143		270		- 0		9		6		146		819				6/22/07 22:59		203		416		819

		6		23		1		6/22/07 23:59		122		- 0		26		4		72		222		- 0		9		6		143		602				6/22/07 23:59		131		365		602

		6		23		2		6/23/07 0:59		166		- 0		30		4		93		248		- 0		8		5		147		701				6/23/07 0:59		174		395		701

		6		23		3		6/23/07 1:59		172		- 0		31		3		94		247		- 0		8		5		148		708				6/23/07 1:59		180		395		708

		6		23		4		6/23/07 2:59		192		- 0		31		2		99		261		- 0		9		5		150		749				6/23/07 2:59		201		411		749

		6		23		5		6/23/07 3:59		191		- 0		32		2		96		258		- 0		8		5		150		742				6/23/07 3:59		199		408		742

		6		23		6		6/23/07 4:59		133		- 0		23		2		69		219		- 0		8		5		142		602				6/23/07 4:59		141		361		602

		6		23		7		6/23/07 5:59		194		- 0		28		6		90		228		- 0		14		1		141		703				6/23/07 5:59		208		369		703

		6		23		8		6/23/07 6:59		359		- 0		51		13		172		287		- 0		14		- 0		150		1,046				6/23/07 6:59		373		437		1,046

		6		23		9		6/23/07 7:59		371		- 0		66		15		201		309		- 0		11		- 0		152		1,125				6/23/07 7:59		382		461		1,125

		6		23		10		6/23/07 8:59		318		- 0		66		13		173		279		- 0		14		- 0		146		1,010				6/23/07 8:59		332		425		1,010

		6		23		11		6/23/07 9:59		301		- 0		68		15		171		269		- 0		12		- 0		145		979				6/23/07 9:59		313		414		979

		6		23		12		6/23/07 10:59		379		- 0		75		14		205		293		- 0		11		- 0		147		1,123				6/23/07 10:59		390		440		1,123

		6		23		13		6/23/07 11:59		393		- 0		75		12		206		301		- 0		12		- 0		144		1,142				6/23/07 11:59		405		445		1,142

		6		23		14		6/23/07 12:59		321		- 0		74		13		194		288		- 0		11		- 0		142		1,044				6/23/07 12:59		332		430		1,044

		6		23		15		6/23/07 13:59		221		- 0		66		12		151		243		- 0		11		- 0		135		839				6/23/07 13:59		232		378		839

		6		23		16		6/23/07 14:59		241		- 0		64		9		148		248		- 0		10		- 0		136		857				6/23/07 14:59		251		384		857

		6		23		17		6/23/07 15:59		415		- 0		69		7		182		289		- 0		11		- 0		144		1,119				6/23/07 15:59		426		433		1,119

		6		23		18		6/23/07 16:59		398		- 0		58		4		156		273		- 0		12		- 0		142		1,043				6/23/07 16:59		410		415		1,043

		6		23		19		6/23/07 17:59		251		- 0		44		3		106		231		- 0		13		- 0		133		782				6/23/07 17:59		264		364		782

		6		23		20		6/23/07 18:59		232		- 0		40		4		97		224		- 0		11		- 0		133		741				6/23/07 18:59		243		357		741

		6		23		21		6/23/07 19:59		202		- 0		38		4		85		218		- 0		11		- 0		132		689				6/23/07 19:59		213		350		689

		6		23		22		6/23/07 20:59		154		- 0		28		3		66		202		- 0		11		1		130		595				6/23/07 20:59		165		332		595

		6		23		23		6/23/07 21:59		163		- 0		27		3		67		209		- 0		10		6		133		617				6/23/07 21:59		173		342		617

		6		23		24		6/23/07 22:59		325		- 0		32		3		104		268		- 0		11		6		148		897				6/23/07 22:59		336		416		897

		6		24		1		6/23/07 23:59		116		- 0		38		2		90		212		- 0		9		6		129		601				6/23/07 23:59		125		341		601

		6		24		2		6/24/07 0:59		117		- 0		38		2		91		215		- 0		7		5		136		613				6/24/07 0:59		124		351		613

		6		24		3		6/24/07 1:59		103		- 0		38		2		88		213		- 0		8		5		140		597				6/24/07 1:59		111		353		597

		6		24		4		6/24/07 2:59		103		- 0		36		2		88		213		- 0		7		5		140		595				6/24/07 2:59		110		353		595

		6		24		5		6/24/07 3:59		108		- 0		35		2		89		215		- 0		7		5		141		603				6/24/07 3:59		115		356		603

		6		24		6		6/24/07 4:59		107		- 0		34		2		88		213		- 0		7		5		140		596				6/24/07 4:59		114		353		596

		6		24		7		6/24/07 5:59		120		- 0		34		2		91		214		- 0		8		1		139		610				6/24/07 5:59		128		353		610

		6		24		8		6/24/07 6:59		170		- 0		41		3		109		228		- 0		10		- 0		141		701				6/24/07 6:59		180		369		701

		6		24		9		6/24/07 7:59		420		- 0		55		3		185		293		- 0		13		- 0		154		1,123				6/24/07 7:59		433		447		1,123

		6		24		10		6/24/07 8:59		414		- 0		61		3		185		293		- 0		14		- 0		154		1,123				6/24/07 8:59		428		447		1,123

		6		24		11		6/24/07 9:59		374		- 0		59		3		171		283		- 0		14		- 0		150		1,055				6/24/07 9:59		388		433		1,055

		6		24		12		6/24/07 10:59		351		- 0		57		3		160		274		- 0		14		- 0		149		1,008				6/24/07 10:59		365		423		1,008

		6		24		13		6/24/07 11:59		313		- 0		53		3		141		256		- 0		15		- 0		146		927				6/24/07 11:59		328		402		927

		6		24		14		6/24/07 12:59		413		- 0		61		3		188		299		- 0		15		- 0		155		1,134				6/24/07 12:59		428		454		1,134

		6		24		15		6/24/07 13:59		395		- 0		58		3		181		293		- 0		14		- 0		154		1,099				6/24/07 13:59		409		447		1,099

		6		24		16		6/24/07 14:59		422		- 0		60		3		186		293		- 0		15		- 0		155		1,134				6/24/07 14:59		437		448		1,134

		6		24		17		6/24/07 15:59		419		- 0		60		3		183		296		- 0		17		- 0		155		1,132				6/24/07 15:59		436		451		1,132

		6		24		18		6/24/07 16:59		377		- 0		51		2		153		269		- 0		17		- 0		149		1,019				6/24/07 16:59		394		418		1,019

		6		24		19		6/24/07 17:59		426		- 0		56		2		176		293		- 0		17		- 0		154		1,125				6/24/07 17:59		443		447		1,125

		6		24		20		6/24/07 18:59		410		- 0		54		2		170		290		- 0		17		- 0		154		1,097				6/24/07 18:59		427		444		1,097

		6		24		21		6/24/07 19:59		375		- 0		52		3		156		288		- 0		16		- 0		152		1,041				6/24/07 19:59		391		440		1,041

		6		24		22		6/24/07 20:59		429		- 0		55		3		166		304		- 0		15		1		155		1,128				6/24/07 20:59		444		459		1,128

		6		24		23		6/24/07 21:59		333		- 0		47		3		136		278		- 0		13		6		150		965				6/24/07 21:59		346		428		965

		6		24		24		6/24/07 22:59		169		- 0		37		2		93		234		- 0		11		6		142		694				6/24/07 22:59		180		376		694

		6		25		1		6/24/07 23:59		293		- 0		46		3		157		269		- 0		8		6		157		938				6/24/07 23:59		301		426		938

		6		25		2		6/25/07 0:59		598		- 0		66		3		286		388		- 0		8		5		183		1,539				6/25/07 0:59		606		571		1,539

		6		25		3		6/25/07 1:59		959		- 0		100		4		483		570		- 0		11		5		219		2,350				6/25/07 1:59		970		789		2,350

		6		25		4		6/25/07 2:59		1,147		- 0		104		5		549		630		- 0		10		5		232		2,682				6/25/07 2:59		1,157		862		2,682

		6		25		5		6/25/07 3:59		1,094		- 0		108		4		560		642		- 0		11		5		234		2,658				6/25/07 3:59		1,105		876		2,658

		6		25		6		6/25/07 4:59		844		- 0		76		3		408		491		- 0		10		5		206		2,043				6/25/07 4:59		854		697		2,043

		6		25		7		6/25/07 5:59		458		- 0		54		3		254		342		- 0		8		1		171		1,291				6/25/07 5:59		466		513		1,291

		6		25		8		6/25/07 6:59		148		- 0		33		2		98		195		- 0		9		- 0		140		625				6/25/07 6:59		157		335		625

		6		25		9		6/25/07 7:59		158		- 0		36		2		98		192		- 0		10		- 0		136		633				6/25/07 7:59		168		328		633

		6		25		10		6/25/07 8:59		201		- 0		43		2		113		195		- 0		11		- 0		137		703				6/25/07 8:59		212		332		703

		6		25		11		6/25/07 9:59		256		- 0		48		3		132		213		- 0		13		- 0		141		805				6/25/07 9:59		269		354		805

		6		25		12		6/25/07 10:59		343		- 0		56		3		160		231		- 0		13		- 0		145		952				6/25/07 10:59		356		376		952

		6		25		13		6/25/07 11:59		235		- 0		50		3		128		207		- 0		12		- 0		140		774				6/25/07 11:59		247		347		774

		6		25		14		6/25/07 12:59		201		- 0		50		3		121		203		- 0		12		- 0		139		729				6/25/07 12:59		213		342		729

		6		25		15		6/25/07 13:59		220		- 0		54		2		131		216		- 0		12		- 0		140		775				6/25/07 13:59		232		356		775

		6		25		16		6/25/07 14:59		290		- 0		62		3		159		235		- 0		12		- 0		144		906				6/25/07 14:59		302		379		906

		6		25		17		6/25/07 15:59		350		- 0		61		2		164		247		- 0		13		- 0		146		983				6/25/07 15:59		363		393		983

		6		25		18		6/25/07 16:59		342		- 0		50		2		147		236		- 0		12		- 0		145		934				6/25/07 16:59		354		381		934

		6		25		19		6/25/07 17:59		224		- 0		43		2		110		210		- 0		11		- 0		139		739				6/25/07 17:59		235		349		739

		6		25		20		6/25/07 18:59		201		- 0		41		2		102		205		- 0		10		- 0		137		700				6/25/07 18:59		211		342		700

		6		25		21		6/25/07 19:59		166		- 0		40		2		93		194		- 0		10		- 0		136		641				6/25/07 19:59		176		330		641

		6		25		22		6/25/07 20:59		194		- 0		43		3		102		209		- 0		11		1		138		701				6/25/07 20:59		205		347		701

		6		25		23		6/25/07 21:59		139		- 0		38		3		84		194		- 0		9		6		136		608				6/25/07 21:59		148		330		608

		6		25		24		6/25/07 22:59		140		- 0		38		2		90		198		- 0		8		6		139		620				6/25/07 22:59		148		337		620

		6		26		1		6/25/07 23:59		146		- 0		57		2		147		235		- 0		8		6		140		741				6/25/07 23:59		154		375		741

		6		26		2		6/26/07 0:59		125		- 0		55		2		137		226		- 0		8		5		139		697				6/26/07 0:59		133		365		697

		6		26		3		6/26/07 1:59		102		- 0		53		2		127		217		- 0		8		5		138		652				6/26/07 1:59		110		355		652

		6		26		4		6/26/07 2:59		92		- 0		49		2		119		213		- 0		7		5		137		624				6/26/07 2:59		99		350		624

		6		26		5		6/26/07 3:59		83		- 0		47		2		115		209		- 0		7		5		137		605				6/26/07 3:59		90		346		605

		6		26		6		6/26/07 4:59		91		- 0		45		2		115		212		- 0		6		5		137		612				6/26/07 4:59		97		349		612

		6		26		7		6/26/07 5:59		130		- 0		50		2		142		229		- 0		7		1		140		701				6/26/07 5:59		137		369		701

		6		26		8		6/26/07 6:59		284		- 0		62		2		212		278		- 0		9		- 0		148		995				6/26/07 6:59		293		426		995

		6		26		9		6/26/07 7:59		344		- 0		70		2		239		296		- 0		11		- 0		152		1,113				6/26/07 7:59		355		448		1,113

		6		26		10		6/26/07 8:59		252		- 0		62		2		177		249		- 0		11		- 0		143		898				6/26/07 8:59		263		392		898

		6		26		11		6/26/07 9:59		234		- 0		63		2		167		244		- 0		11		- 0		144		866				6/26/07 9:59		245		388		866

		6		26		12		6/26/07 10:59		231		- 0		62		2		164		243		- 0		13		- 0		144		861				6/26/07 10:59		244		387		861

		6		26		13		6/26/07 11:59		223		- 0		65		2		167		245		- 0		13		- 0		145		861				6/26/07 11:59		236		390		861

		6		26		14		6/26/07 12:59		225		- 0		67		2		177		250		- 0		13		- 0		143		877				6/26/07 12:59		238		393		877

		6		26		15		6/26/07 13:59		245		- 0		71		2		199		266		- 0		14		- 0		145		943				6/26/07 13:59		259		411		943

		6		26		16		6/26/07 14:59		213		- 0		65		2		168		250		- 0		14		- 0		144		857				6/26/07 14:59		227		394		857

		6		26		17		6/26/07 15:59		222		- 0		64		2		167		248		- 0		14		- 0		144		862				6/26/07 15:59		236		392		862

		6		26		18		6/26/07 16:59		242		- 0		59		2		161		239		- 0		14		- 0		144		861				6/26/07 16:59		256		383		861

		6		26		19		6/26/07 17:59		240		- 0		58		2		158		237		- 0		13		- 0		143		852				6/26/07 17:59		253		380		852

		6		26		20		6/26/07 18:59		263		- 0		62		2		177		245		- 0		14		- 0		143		907				6/26/07 18:59		277		388		907

		6		26		21		6/26/07 19:59		237		- 0		62		3		158		244		- 0		14		- 0		144		863				6/26/07 19:59		251		388		863

		6		26		22		6/26/07 20:59		238		- 0		60		3		149		243		- 0		15		1		143		853				6/26/07 20:59		253		386		853

		6		26		23		6/26/07 21:59		223		- 0		62		3		162		247		- 0		12		6		143		857				6/26/07 21:59		235		390		857

		6		26		24		6/26/07 22:59		331		- 0		74		3		249		299		- 0		12		6		153		1,126				6/26/07 22:59		343		452		1,126

		6		27		1		6/26/07 23:59		101		- 0		40		2		96		208		- 0		9		6		137		598				6/26/07 23:59		110		345		598

		6		27		2		6/27/07 0:59		97		- 0		39		2		98		215		- 0		9		5		139		605				6/27/07 0:59		106		354		605

		6		27		3		6/27/07 1:59		93		- 0		40		2		98		216		- 0		6		5		139		600				6/27/07 1:59		99		355		600

		6		27		4		6/27/07 2:59		95		- 0		39		2		99		216		- 0		6		5		139		601				6/27/07 2:59		101		355		601

		6		27		5		6/27/07 3:59		95		- 0		38		2		99		214		- 0		6		5		139		599				6/27/07 3:59		101		353		599

		6		27		6		6/27/07 4:59		100		- 0		36		2		103		209		- 0		6		5		137		598				6/27/07 4:59		106		346		598

		6		27		7		6/27/07 5:59		313		- 0		59		7		220		290		- 0		9		1		149		1,049				6/27/07 5:59		322		439		1,049

		6		27		8		6/27/07 6:59		200		- 0		63		11		182		255		- 0		9		- 0		144		864				6/27/07 6:59		209		399		864

		6		27		9		6/27/07 7:59		189		- 0		70		13		185		247		- 0		11		- 0		141		858				6/27/07 7:59		200		388		858

		6		27		10		6/27/07 8:59		180		- 0		77		13		185		244		- 0		12		- 0		141		852				6/27/07 8:59		192		385		852

		6		27		11		6/27/07 9:59		182		- 0		78		14		180		245		- 0		12		- 0		143		853				6/27/07 9:59		194		388		853

		6		27		12		6/27/07 10:59		177		- 0		78		12		171		237		- 0		13		- 0		140		827				6/27/07 10:59		190		377		827

		6		27		13		6/27/07 11:59		185		- 0		79		11		174		237		- 0		15		- 0		140		840				6/27/07 11:59		200		377		840

		6		27		14		6/27/07 12:59		186		- 0		82		12		184		238		- 0		15		- 0		133		851				6/27/07 12:59		201		371		851

		6		27		15		6/27/07 13:59		182		- 0		82		12		180		239		- 0		15		- 0		138		848				6/27/07 13:59		197		377		848

		6		27		16		6/27/07 14:59		188		- 0		79		9		177		241		- 0		14		- 0		142		851				6/27/07 14:59		202		383		851

		6		27		17		6/27/07 15:59		204		- 0		73		6		166		241		- 0		16		- 0		143		848				6/27/07 15:59		220		384		848

		6		27		18		6/27/07 16:59		222		- 0		61		4		158		242		- 0		17		- 0		143		847				6/27/07 16:59		239		385		847

		6		27		19		6/27/07 17:59		236		- 0		55		5		156		242		- 0		19		- 0		143		856				6/27/07 17:59		255		385		856

		6		27		20		6/27/07 18:59		236		- 0		55		4		157		243		- 0		17		- 0		144		854				6/27/07 18:59		253		387		854

		6		27		21		6/27/07 19:59		238		- 0		55		4		155		241		- 0		16		- 0		143		852				6/27/07 19:59		254		384		852

		6		27		22		6/27/07 20:59		238		- 0		54		4		151		242		- 0		15		1		143		849				6/27/07 20:59		253		385		849

		6		27		23		6/27/07 21:59		293		- 0		57		4		182		262		- 0		14		6		145		962				6/27/07 21:59		307		407		962

		6		27		24		6/27/07 22:59		254		- 0		53		3		180		263		- 0		12		6		144		914				6/27/07 22:59		266		407		914

		6		28		1		6/27/07 23:59		155		- 0		43		3		126		233		- 0		10		6		139		714				6/27/07 23:59		165		372		714

		6		28		2		6/28/07 0:59		137		- 0		42		3		119		230		- 0		8		5		139		683				6/28/07 0:59		145		369		683

		6		28		3		6/28/07 1:59		102		- 0		38		2		102		218		- 0		8		5		137		612				6/28/07 1:59		110		355		612

		6		28		4		6/28/07 2:59		112		- 0		38		2		104		218		- 0		8		5		137		624				6/28/07 2:59		120		355		624

		6		28		5		6/28/07 3:59		106		- 0		37		2		101		219		- 0		8		5		137		617				6/28/07 3:59		114		356		617

		6		28		6		6/28/07 4:59		148		- 0		39		3		124		234		- 0		9		5		139		701				6/28/07 4:59		157		373		701

		6		28		7		6/28/07 5:59		357		- 0		62		8		234		304		- 0		11		1		151		1,128				6/28/07 5:59		368		455		1,128

		6		28		8		6/28/07 6:59		208		- 0		62		12		168		242		- 0		12		- 0		141		846				6/28/07 6:59		220		383		846

		6		28		9		6/28/07 7:59		196		- 0		73		14		177		244		- 0		14		- 0		135		853				6/28/07 7:59		210		379		853

		6		28		10		6/28/07 8:59		183		- 0		78		12		170		233		- 0		14		- 0		137		827				6/28/07 8:59		197		370		827

		6		28		11		6/28/07 9:59		185		- 0		80		13		179		241		- 0		14		- 0		136		848				6/28/07 9:59		199		377		848

		6		28		12		6/28/07 10:59		177		- 0		82		13		171		238		- 0		16		- 0		139		835				6/28/07 10:59		193		377		835

		6		28		13		6/28/07 11:59		174		- 0		81		10		168		236		- 0		15		- 0		139		823				6/28/07 11:59		189		375		823

		6		28		14		6/28/07 12:59		173		- 0		82		13		172		237		- 0		15		- 0		137		829				6/28/07 12:59		188		374		829

		6		28		15		6/28/07 13:59		172		- 0		82		12		172		238		- 0		16		- 0		140		831				6/28/07 13:59		188		378		831

		6		28		16		6/28/07 14:59		182		- 0		79		9		173		239		- 0		16		- 0		141		839				6/28/07 14:59		198		380		839

		6		28		17		6/28/07 15:59		193		- 0		74		6		160		240		- 0		17		- 0		141		831				6/28/07 15:59		210		381		831

		6		28		18		6/28/07 16:59		218		- 0		64		4		156		242		- 0		18		- 0		141		842				6/28/07 16:59		236		383		842

		6		28		19		6/28/07 17:59		231		- 0		59		4		153		241		- 0		17		- 0		141		847				6/28/07 17:59		248		382		847

		6		28		20		6/28/07 18:59		235		- 0		56		4		152		246		- 0		16		- 0		141		851				6/28/07 18:59		251		387		851

		6		28		21		6/28/07 19:59		233		- 0		58		5		152		247		- 0		17		- 0		140		853				6/28/07 19:59		250		387		853

		6		28		22		6/28/07 20:59		248		- 0		56		6		144		239		- 0		16		1		141		852				6/28/07 20:59		264		380		852

		6		28		23		6/28/07 21:59		251		- 0		55		4		151		245		- 0		14		6		142		867				6/28/07 21:59		265		387		867

		6		28		24		6/28/07 22:59		370		- 0		64		3		215		303		- 0		13		6		149		1,123				6/28/07 22:59		383		452		1,123

		6		29		1		6/28/07 23:59		172		- 0		43		3		127		244		- 0		12		6		140		745				6/28/07 23:59		184		384		745

		6		29		2		6/29/07 0:59		148		- 0		41		3		119		239		- 0		11		5		141		706				6/29/07 0:59		159		380		706

		6		29		3		6/29/07 1:59		133		- 0		39		3		112		239		- 0		11		5		140		682				6/29/07 1:59		144		379		682

		6		29		4		6/29/07 2:59		125		- 0		38		3		105		231		- 0		10		5		140		657				6/29/07 2:59		135		371		657

		6		29		5		6/29/07 3:59		129		- 0		38		2		107		236		- 0		9		5		140		667				6/29/07 3:59		138		376		667

		6		29		6		6/29/07 4:59		173		- 0		41		3		126		249		- 0		9		5		141		748				6/29/07 4:59		182		390		748

		6		29		7		6/29/07 5:59		350		- 0		58		8		210		301		- 0		11		1		151		1,091				6/29/07 5:59		361		452		1,091

		6		29		8		6/29/07 6:59		204		- 0		62		12		170		254		- 0		13		- 0		144		859				6/29/07 6:59		217		398		859

		6		29		9		6/29/07 7:59		194		- 0		70		13		168		248		- 0		12		- 0		140		846				6/29/07 7:59		206		388		846

		6		29		10		6/29/07 8:59		195		- 0		79		13		173		239		- 0		12		- 0		143		854				6/29/07 8:59		207		382		854

		6		29		11		6/29/07 9:59		178		- 0		80		13		168		249		- 0		14		- 0		141		842				6/29/07 9:59		192		390		842

		6		29		12		6/29/07 10:59		198		- 0		84		12		175		252		- 0		13		- 0		142		876				6/29/07 10:59		211		394		876

		6		29		13		6/29/07 11:59		183		- 0		81		12		165		240		- 0		13		- 0		141		836				6/29/07 11:59		196		381		836

		6		29		14		6/29/07 12:59		176		- 0		84		14		170		242		- 0		14		- 0		142		842				6/29/07 12:59		190		384		842

		6		29		15		6/29/07 13:59		181		- 0		84		11		169		245		- 0		14		- 0		142		845				6/29/07 13:59		195		387		845

		6		29		16		6/29/07 14:59		175		- 0		79		9		162		239		- 0		14		- 0		142		820				6/29/07 14:59		189		381		820

		6		29		17		6/29/07 15:59		194		- 0		76		7		157		248		- 0		15		- 0		139		837				6/29/07 15:59		209		387		837

		6		29		18		6/29/07 16:59		212		- 0		67		4		151		252		- 0		17		- 0		141		844				6/29/07 16:59		229		393		844

		6		29		19		6/29/07 17:59		214		- 0		61		5		145		251		- 0		16		- 0		141		834				6/29/07 17:59		230		392		834

		6		29		20		6/29/07 18:59		233		- 0		60		5		149		250		- 0		15		- 0		143		855				6/29/07 18:59		248		393		855

		6		29		21		6/29/07 19:59		230		- 0		60		6		144		252		- 0		17		- 0		142		850				6/29/07 19:59		247		394		850

		6		29		22		6/29/07 20:59		241		- 0		56		6		139		251		- 0		16		1		140		850				6/29/07 20:59		257		391		850

		6		29		23		6/29/07 21:59		237		- 0		54		4		141		260		- 0		14		6		141		857				6/29/07 21:59		251		401		857

		6		29		24		6/29/07 22:59		333		- 0		60		4		205		312		- 0		11		6		153		1,083				6/29/07 22:59		344		465		1,083

		6		30		1		6/29/07 23:59		121		- 0		28		3		75		218		- 0		9		6		140		600				6/29/07 23:59		130		358		600

		6		30		2		6/30/07 0:59		120		- 0		28		3		76		217		- 0		8		5		141		598				6/30/07 0:59		128		358		598

		6		30		3		6/30/07 1:59		134		- 0		29		3		83		231		- 0		9		5		143		637				6/30/07 1:59		143		374		637

		6		30		4		6/30/07 2:59		166		- 0		31		3		93		248		- 0		8		5		147		701				6/30/07 2:59		174		395		701

		6		30		5		6/30/07 3:59		224		- 0		34		3		113		268		- 0		9		5		151		807				6/30/07 3:59		233		419		807

		6		30		6		6/30/07 4:59		125		- 0		25		3		75		218		- 0		8		5		141		600				6/30/07 4:59		133		359		600

		6		30		7		6/30/07 5:59		191		- 0		34		6		105		240		- 0		9		1		141		728				6/30/07 5:59		200		381		728

		6		30		8		6/30/07 6:59		374		- 0		58		12		199		310		- 0		13		- 0		153		1,120				6/30/07 6:59		387		463		1,120

		6		30		9		6/30/07 7:59		315		- 0		61		13		183		277		- 0		13		- 0		146		1,010				6/30/07 7:59		328		423		1,010

		6		30		10		6/30/07 8:59		248		- 0		66		12		159		257		- 0		12		- 0		144		898				6/30/07 8:59		260		401		898

		6		30		11		6/30/07 9:59		220		- 0		68		13		153		254		- 0		12		- 0		142		862				6/30/07 9:59		232		396		862

		6		30		12		6/30/07 10:59		215		- 0		68		12		143		247		- 0		14		- 0		144		844				6/30/07 10:59		229		391		844

		6		30		13		6/30/07 11:59		231		- 0		67		12		143		246		- 0		15		- 0		146		861				6/30/07 11:59		246		392		861

		6		30		14		6/30/07 12:59		219		- 0		69		13		142		252		- 0		13		- 0		146		853				6/30/07 12:59		232		398		853

		6		30		15		6/30/07 13:59		227		- 0		69		11		147		254		- 0		14		- 0		143		865				6/30/07 13:59		241		397		865

		6		30		16		6/30/07 14:59		221		- 0		67		9		141		254		- 0		15		- 0		146		853				6/30/07 14:59		236		400		853

		6		30		17		6/30/07 15:59		261		- 0		64		6		145		264		- 0		16		- 0		144		902				6/30/07 15:59		277		408		902

		6		30		18		6/30/07 16:59		278		- 0		56		4		132		260		- 0		17		- 0		144		891				6/30/07 16:59		295		404		891

		6		30		19		6/30/07 17:59		300		- 0		53		4		131		264		- 0		18		- 0		146		917				6/30/07 17:59		318		410		917

		6		30		20		6/30/07 18:59		354		- 0		56		5		150		286		- 0		16		- 0		149		1,016				6/30/07 18:59		370		435		1,016

		6		30		21		6/30/07 19:59		415		- 0		59		5		164		297		- 0		15		- 0		153		1,108				6/30/07 19:59		430		450		1,108

		6		30		22		6/30/07 20:59		411		- 0		49		5		145		293		- 0		15		1		152		1,071				6/30/07 20:59		426		445		1,071

		6		30		23		6/30/07 21:59		366		- 0		44		5		123		274		- 0		12		6		149		978				6/30/07 21:59		378		423		978

		6		30		24		6/30/07 22:59		149		- 0		32		3		71		220		- 0		11		6		140		631				6/30/07 22:59		160		360		631

		7		1		1		6/30/07 23:59		143		- 0		46		3		122		232		- 0		8		6		140		701				6/30/07 23:59		151		372		701

		7		1		2		7/1/07 0:59		98		- 0		42		3		100		218		- 0		7		5		138		610				7/1/07 0:59		105		356		610

		7		1		3		7/1/07 1:59		94		- 0		41		3		97		218		- 0		6		5		137		603				7/1/07 1:59		100		355		603

		7		1		4		7/1/07 2:59		97		- 0		39		3		97		218		- 0		7		5		138		604				7/1/07 2:59		104		356		604

		7		1		5		7/1/07 3:59		91		- 0		39		2		97		216		- 0		7		5		139		596				7/1/07 3:59		98		355		596

		7		1		6		7/1/07 4:59		94		- 0		37		2		98		216		- 0		6		5		139		598				7/1/07 4:59		100		355		598

		7		1		7		7/1/07 5:59		115		- 0		41		3		109		221		- 0		7		1		138		634				7/1/07 5:59		122		359		634

		7		1		8		7/1/07 6:59		164		- 0		45		3		128		234		- 0		8		- 0		138		721				7/1/07 6:59		172		372		721

		7		1		9		7/1/07 7:59		376		- 0		60		4		212		304		- 0		12		- 0		151		1,118				7/1/07 7:59		388		455		1,118

		7		1		10		7/1/07 8:59		326		- 0		60		4		185		282		- 0		13		- 0		145		1,015				7/1/07 8:59		339		427		1,015

		7		1		11		7/1/07 9:59		256		- 0		55		4		147		249		- 0		13		- 0		145		869				7/1/07 9:59		269		394		869

		7		1		12		7/1/07 10:59		250		- 0		55		4		141		245		- 0		15		- 0		143		854				7/1/07 10:59		265		388		854

		7		1		13		7/1/07 11:59		254		- 0		57		3		144		248		- 0		13		- 0		144		862				7/1/07 11:59		267		392		862

		7		1		14		7/1/07 12:59		261		- 0		59		4		149		246		- 0		14		- 0		143		875				7/1/07 12:59		275		389		875

		7		1		15		7/1/07 13:59		246		- 0		61		4		151		248		- 0		14		- 0		144		869				7/1/07 13:59		260		392		869

		7		1		16		7/1/07 14:59		241		- 0		61		3		147		248		- 0		15		- 0		144		860				7/1/07 14:59		256		392		860

		7		1		17		7/1/07 15:59		262		- 0		60		3		140		241		- 0		14		- 0		144		864				7/1/07 15:59		276		385		864

		7		1		18		7/1/07 16:59		269		- 0		56		3		140		247		- 0		13		- 0		144		872				7/1/07 16:59		282		391		872

		7		1		19		7/1/07 17:59		336		- 0		63		2		167		265		- 0		13		- 0		145		991				7/1/07 17:59		349		410		991

		7		1		20		7/1/07 18:59		346		- 0		67		2		176		271		- 0		12		- 0		145		1,021				7/1/07 18:59		358		416		1,021

		7		1		21		7/1/07 19:59		403		- 0		69		3		191		289		- 0		12		- 0		148		1,116				7/1/07 19:59		415		437		1,116

		7		1		22		7/1/07 20:59		403		- 0		68		3		197		298		- 0		13		1		151		1,134				7/1/07 20:59		416		449		1,134

		7		1		23		7/1/07 21:59		247		- 0		57		2		146		255		- 0		9		6		143		865				7/1/07 21:59		256		398		865

		7		1		24		7/1/07 22:59		161		- 0		48		2		112		221		- 0		8		6		136		695				7/1/07 22:59		169		357		695

		7		2		1		7/1/07 23:59		134		- 0		34		2		86		205		- 0		9		6		138		613				7/1/07 23:59		143		343		613

		7		2		2		7/2/07 0:59		118		- 0		35		2		85		204		- 0		10		5		138		596				7/2/07 0:59		128		342		596

		7		2		3		7/2/07 1:59		118		- 0		36		2		87		206		- 0		9		5		141		603				7/2/07 1:59		127		347		603

		7		2		4		7/2/07 2:59		114		- 0		34		2		84		204		- 0		9		5		139		591				7/2/07 2:59		123		343		591

		7		2		5		7/2/07 3:59		113		- 0		35		2		87		209		- 0		9		5		141		601				7/2/07 3:59		122		350		601

		7		2		6		7/2/07 4:59		117		- 0		34		2		89		211		- 0		8		5		140		605				7/2/07 4:59		125		351		605

		7		2		7		7/2/07 5:59		128		- 0		35		2		95		213		- 0		10		1		139		623				7/2/07 5:59		138		352		623

		7		2		8		7/2/07 6:59		195		- 0		42		2		118		230		- 0		12		- 0		139		739				7/2/07 6:59		207		369		739

		7		2		9		7/2/07 7:59		403		- 0		63		2		202		302		- 0		14		- 0		153		1,139				7/2/07 7:59		417		455		1,139

		7		2		10		7/2/07 8:59		280		- 0		58		2		147		254		- 0		14		- 0		145		900				7/2/07 8:59		294		399		900

		7		2		11		7/2/07 9:59		266		- 0		58		2		135		247		- 0		14		- 0		144		867				7/2/07 9:59		280		391		867

		7		2		12		7/2/07 10:59		267		- 0		59		2		141		251		- 0		13		- 0		146		880				7/2/07 10:59		280		397		880

		7		2		13		7/2/07 11:59		261		- 0		57		2		137		248		- 0		12		- 0		146		863				7/2/07 11:59		273		394		863

		7		2		14		7/2/07 12:59		347		- 0		65		2		177		277		- 0		12		- 0		149		1,030				7/2/07 12:59		359		426		1,030

		7		2		15		7/2/07 13:59		405		- 0		70		2		207		302		- 0		14		- 0		145		1,146				7/2/07 13:59		419		447		1,146

		7		2		16		7/2/07 14:59		392		- 0		69		2		194		295		- 0		14		- 0		152		1,119				7/2/07 14:59		406		447		1,119

		7		2		17		7/2/07 15:59		296		- 0		57		2		144		259		- 0		14		- 0		146		918				7/2/07 15:59		310		405		918

		7		2		18		7/2/07 16:59		411		- 0		55		2		172		287		- 0		15		- 0		150		1,092				7/2/07 16:59		426		437		1,092

		7		2		19		7/2/07 17:59		422		- 0		57		2		178		294		- 0		14		- 0		152		1,119				7/2/07 17:59		436		446		1,119

		7		2		20		7/2/07 18:59		233		- 0		45		2		119		241		- 0		11		- 0		141		792				7/2/07 18:59		244		382		792

		7		2		21		7/2/07 19:59		337		- 0		53		2		154		276		- 0		12		- 0		148		983				7/2/07 19:59		349		424		983

		7		2		22		7/2/07 20:59		429		- 0		59		3		174		294		- 0		13		1		152		1,126				7/2/07 20:59		442		446		1,126

		7		2		23		7/2/07 21:59		279		- 0		51		2		135		260		- 0		12		6		145		891				7/2/07 21:59		291		405		891

		7		2		24		7/2/07 22:59		172		- 0		41		2		100		224		- 0		11		6		139		694				7/2/07 22:59		183		363		694

		7		3		1		7/2/07 23:59		306		- 0		80		2		226		296		- 0		9		6		151		1,076				7/2/07 23:59		315		447		1,076

		7		3		2		7/3/07 0:59		319		- 0		83		2		247		311		- 0		8		5		154		1,129				7/3/07 0:59		327		465		1,129

		7		3		3		7/3/07 1:59		298		- 0		83		2		244		307		- 0		9		5		153		1,102				7/3/07 1:59		307		460		1,102

		7		3		4		7/3/07 2:59		292		- 0		80		2		238		302		- 0		9		5		153		1,080				7/3/07 2:59		301		455		1,080

		7		3		5		7/3/07 3:59		181		- 0		64		2		174		253		- 0		8		5		144		831				7/3/07 3:59		189		397		831

		7		3		6		7/3/07 4:59		284		- 0		70		2		225		297		- 0		10		5		151		1,045				7/3/07 4:59		294		448		1,045

		7		3		7		7/3/07 5:59		252		- 0		67		2		212		284		- 0		10		1		149		978				7/3/07 5:59		262		433		978

		7		3		8		7/3/07 6:59		290		- 0		69		2		212		284		- 0		10		- 0		148		1,016				7/3/07 6:59		300		432		1,016

		7		3		9		7/3/07 7:59		222		- 0		66		2		165		250		- 0		12		- 0		144		861				7/3/07 7:59		234		394		861

		7		3		10		7/3/07 8:59		221		- 0		64		2		159		249		- 0		11		- 0		143		850				7/3/07 8:59		232		392		850

		7		3		11		7/3/07 9:59		230		- 0		67		2		158		245		- 0		13		- 0		142		857				7/3/07 9:59		243		387		857

		7		3		12		7/3/07 10:59		226		- 0		67		2		160		246		- 0		13		- 0		143		857				7/3/07 10:59		239		389		857

		7		3		13		7/3/07 11:59		215		- 0		68		2		163		246		- 0		12		- 0		143		850				7/3/07 11:59		227		389		850

		7		3		14		7/3/07 12:59		210		- 0		70		2		169		251		- 0		12		- 0		145		859				7/3/07 12:59		222		396		859

		7		3		15		7/3/07 13:59		211		- 0		70		2		170		251		- 0		13		- 0		144		860				7/3/07 13:59		224		395		860

		7		3		16		7/3/07 14:59		214		- 0		68		2		163		247		- 0		12		- 0		144		850				7/3/07 14:59		226		391		850

		7		3		17		7/3/07 15:59		226		- 0		67		2		159		243		- 0		13		- 0		143		853				7/3/07 15:59		239		386		853

		7		3		18		7/3/07 16:59		227		- 0		64		2		159		247		- 0		13		- 0		143		854				7/3/07 16:59		240		390		854

		7		3		19		7/3/07 17:59		237		- 0		61		2		153		245		- 0		14		- 0		143		854				7/3/07 17:59		251		388		854

		7		3		20		7/3/07 18:59		229		- 0		63		2		157		245		- 0		13		- 0		143		853				7/3/07 18:59		242		388		853

		7		3		21		7/3/07 19:59		235		- 0		64		3		151		244		- 0		14		- 0		141		850				7/3/07 19:59		249		385		850

		7		3		22		7/3/07 20:59		228		- 0		67		3		153		246		- 0		14		1		142		854				7/3/07 20:59		242		388		854

		7		3		23		7/3/07 21:59		218		- 0		65		2		159		249		- 0		13		6		144		857				7/3/07 21:59		231		393		857

		7		3		24		7/3/07 22:59		242		- 0		70		2		194		269		- 0		10		6		147		940				7/3/07 22:59		252		416		940

		7		4		1		7/3/07 23:59		102		- 0		43		2		99		215		- 0		6		6		138		610				7/3/07 23:59		108		353		610

		7		4		2		7/4/07 0:59		99		- 0		43		2		99		213		- 0		6		5		136		604				7/4/07 0:59		105		349		604

		7		4		3		7/4/07 1:59		96		- 0		44		2		102		214		- 0		6		5		139		607				7/4/07 1:59		102		353		607

		7		4		4		7/4/07 2:59		111		- 0		44		2		107		218		- 0		6		5		138		632				7/4/07 2:59		117		356		632

		7		4		5		7/4/07 3:59		104		- 0		41		2		103		214		- 0		6		5		138		613				7/4/07 3:59		110		352		613

		7		4		6		7/4/07 4:59		154		- 0		42		2		126		227		- 0		5		5		139		701				7/4/07 4:59		159		366		701

		7		4		7		7/4/07 5:59		219		- 0		55		6		180		261		- 0		7		1		144		872				7/4/07 5:59		226		405		872

		7		4		8		7/4/07 6:59		195		- 0		64		11		175		254		- 0		8		- 0		144		851				7/4/07 6:59		203		398		851

		7		4		9		7/4/07 7:59		191		- 0		71		13		179		246		- 0		10		- 0		144		853				7/4/07 7:59		201		390		853

		7		4		10		7/4/07 8:59		184		- 0		76		12		171		238		- 0		12		- 0		142		836				7/4/07 8:59		196		380		836

		7		4		11		7/4/07 9:59		179		- 0		80		12		174		243		- 0		11		- 0		140		839				7/4/07 9:59		190		383		839

		7		4		12		7/4/07 10:59		171		- 0		79		12		169		243		- 0		12		- 0		142		828				7/4/07 10:59		183		385		828

		7		4		13		7/4/07 11:59		170		- 0		81		11		170		242		- 0		12		- 0		142		828				7/4/07 11:59		182		384		828

		7		4		14		7/4/07 12:59		162		- 0		82		13		171		239		- 0		12		- 0		142		821				7/4/07 12:59		174		381		821

		7		4		15		7/4/07 13:59		171		- 0		82		11		172		242		- 0		12		- 0		143		833				7/4/07 13:59		183		385		833

		7		4		16		7/4/07 14:59		172		- 0		80		10		169		239		- 0		13		- 0		142		826				7/4/07 14:59		185		381		826

		7		4		17		7/4/07 15:59		203		- 0		75		8		163		240		- 0		14		- 0		142		845				7/4/07 15:59		217		382		845

		7		4		18		7/4/07 16:59		213		- 0		65		4		157		239		- 0		16		- 0		143		836				7/4/07 16:59		229		382		836

		7		4		19		7/4/07 17:59		224		- 0		58		5		152		237		- 0		16		- 0		143		835				7/4/07 17:59		240		380		835

		7		4		20		7/4/07 18:59		232		- 0		59		5		160		243		- 0		15		- 0		144		858				7/4/07 18:59		247		387		858

		7		4		21		7/4/07 19:59		232		- 0		60		5		154		242		- 0		15		- 0		144		852				7/4/07 19:59		247		386		852

		7		4		22		7/4/07 20:59		237		- 0		58		5		150		242		- 0		15		1		144		853				7/4/07 20:59		252		386		853

		7		4		23		7/4/07 21:59		229		- 0		58		5		159		248		- 0		14		6		147		865				7/4/07 21:59		243		395		865

		7		4		24		7/4/07 22:59		339		- 0		67		3		226		301		- 0		12		6		154		1,109				7/4/07 22:59		351		455		1,109

		7		5		1		7/4/07 23:59		145		- 0		45		4		125		230		- 0		9		6		141		705				7/4/07 23:59		154		371		705

		7		5		2		7/5/07 0:59		102		- 0		40		3		105		215		- 0		9		5		140		620				7/5/07 0:59		111		355		620

		7		5		3		7/5/07 1:59		105		- 0		41		3		107		216		- 0		7		5		140		625				7/5/07 1:59		112		356		625

		7		5		4		7/5/07 2:59		97		- 0		40		3		102		215		- 0		7		5		140		609				7/5/07 2:59		104		355		609

		7		5		5		7/5/07 3:59		96		- 0		40		2		101		213		- 0		6		5		139		603				7/5/07 3:59		102		352		603

		7		5		6		7/5/07 4:59		144		- 0		44		2		129		228		- 0		7		5		141		701				7/5/07 4:59		151		369		701

		7		5		7		7/5/07 5:59		239		- 0		54		7		188		261		- 0		8		1		146		904				7/5/07 5:59		247		407		904

		7		5		8		7/5/07 6:59		209		- 0		65		11		178		247		- 0		11		- 0		146		868				7/5/07 6:59		220		393		868

		7		5		9		7/5/07 7:59		203		- 0		75		13		178		234		- 0		10		- 0		143		856				7/5/07 7:59		213		377		856

		7		5		10		7/5/07 8:59		186		- 0		81		12		178		235		- 0		10		- 0		141		844				7/5/07 8:59		196		376		844

		7		5		11		7/5/07 9:59		183		- 0		82		13		172		229		- 0		10		- 0		141		830				7/5/07 9:59		193		370		830

		7		5		12		7/5/07 10:59		186		- 0		84		13		174		231		- 0		12		- 0		141		842				7/5/07 10:59		198		372		842

		7		5		13		7/5/07 11:59		203		- 0		83		11		176		234		- 0		12		- 0		141		860				7/5/07 11:59		215		375		860

		7		5		14		7/5/07 12:59		179		- 0		85		13		176		236		- 0		12		- 0		142		844				7/5/07 12:59		191		378		844

		7		5		15		7/5/07 13:59		175		- 0		86		12		180		240		- 0		12		- 0		138		842				7/5/07 13:59		187		378		842

		7		5		16		7/5/07 14:59		182		- 0		85		10		174		241		- 0		13		- 0		137		842				7/5/07 14:59		195		378		842

		7		5		17		7/5/07 15:59		202		- 0		82		7		167		244		- 0		14		- 0		141		857				7/5/07 15:59		216		385		857

		7		5		18		7/5/07 16:59		236		- 0		70		4		163		247		- 0		13		- 0		141		875				7/5/07 16:59		249		388		875

		7		5		19		7/5/07 17:59		237		- 0		62		5		153		245		- 0		15		- 0		141		858				7/5/07 17:59		252		386		858

		7		5		20		7/5/07 18:59		223		- 0		60		5		148		245		- 0		13		- 0		142		836				7/5/07 18:59		236		387		836

		7		5		21		7/5/07 19:59		228		- 0		61		5		153		251		- 0		14		- 0		143		854				7/5/07 19:59		242		394		854

		7		5		22		7/5/07 20:59		234		- 0		59		5		152		250		- 0		12		1		144		858				7/5/07 20:59		246		394		858

		7		5		23		7/5/07 21:59		273		- 0		62		4		179		268		- 0		10		6		146		949				7/5/07 21:59		283		414		949

		7		5		24		7/5/07 22:59		193		- 0		53		3		154		252		- 0		9		6		141		810				7/5/07 22:59		202		393		810

		7		6		1		7/5/07 23:59		114		- 0		40		4		107		226		- 0		7		6		138		642				7/5/07 23:59		121		364		642

		7		6		2		7/6/07 0:59		93		- 0		38		4		96		222		- 0		6		5		139		603				7/6/07 0:59		99		361		603

		7		6		3		7/6/07 1:59		92		- 0		37		3		96		223		- 0		6		5		140		602				7/6/07 1:59		98		363		602

		7		6		4		7/6/07 2:59		93		- 0		36		3		94		222		- 0		7		5		140		600				7/6/07 2:59		100		362		600

		7		6		5		7/6/07 3:59		92		- 0		36		2		93		218		- 0		7		5		140		594				7/6/07 3:59		99		358		594

		7		6		6		7/6/07 4:59		113		- 0		37		3		105		223		- 0		6		5		139		632				7/6/07 4:59		119		362		632

		7		6		7		7/6/07 5:59		285		- 0		56		7		199		283		- 0		9		1		149		989				7/6/07 5:59		294		432		989

		7		6		8		7/6/07 6:59		215		- 0		63		12		176		251		- 0		9		- 0		145		871				7/6/07 6:59		224		396		871

		7		6		9		7/6/07 7:59		204		- 0		71		14		170		236		- 0		10		- 0		144		850				7/6/07 7:59		214		380		850

		7		6		10		7/6/07 8:59		188		- 0		80		13		175		240		- 0		10		- 0		144		851				7/6/07 8:59		198		384		851

		7		6		11		7/6/07 9:59		187		- 0		82		14		170		236		- 0		9		- 0		143		842				7/6/07 9:59		196		379		842

		7		6		12		7/6/07 10:59		197		- 0		80		13		172		242		- 0		10		- 0		140		854				7/6/07 10:59		207		382		854

		7		6		13		7/6/07 11:59		193		- 0		82		11		176		245		- 0		12		- 0		141		859				7/6/07 11:59		205		386		859

		7		6		14		7/6/07 12:59		186		- 0		84		13		173		242		- 0		11		- 0		142		851				7/6/07 12:59		197		384		851

		7		6		15		7/6/07 13:59		173		- 0		84		12		179		250		- 0		11		- 0		144		854				7/6/07 13:59		184		394		854

		7		6		16		7/6/07 14:59		182		- 0		83		11		181		252		- 0		11		- 0		144		865				7/6/07 14:59		193		396		865

		7		6		17		7/6/07 15:59		202		- 0		75		8		164		248		- 0		13		- 0		144		854				7/6/07 15:59		215		392		854

		7		6		18		7/6/07 16:59		221		- 0		65		5		158		250		- 0		14		- 0		144		857				7/6/07 16:59		235		394		857

		7		6		19		7/6/07 17:59		229		- 0		60		6		154		249		- 0		14		- 0		144		856				7/6/07 17:59		243		393		856

		7		6		20		7/6/07 18:59		229		- 0		57		5		152		253		- 0		11		- 0		145		852				7/6/07 18:59		240		398		852

		7		6		21		7/6/07 19:59		234		- 0		58		5		152		256		- 0		12		- 0		144		862				7/6/07 19:59		246		400		862

		7		6		22		7/6/07 20:59		245		- 0		54		5		143		254		- 0		13		1		144		860				7/6/07 20:59		258		398		860

		7		6		23		7/6/07 21:59		345		- 0		64		5		201		299		- 0		12		6		151		1,083				7/6/07 21:59		357		450		1,083

		7		6		24		7/6/07 22:59		184		- 0		49		3		139		247		- 0		8		6		142		778				7/6/07 22:59		192		389		778

		7		7		1		7/6/07 23:59		106		- 0		34		4		81		216		- 0		6		6		142		594				7/6/07 23:59		112		358		594

		7		7		2		7/7/07 0:59		105		- 0		34		4		84		222		- 0		6		5		144		604				7/7/07 0:59		111		366		604

		7		7		3		7/7/07 1:59		106		- 0		34		4		83		226		- 0		6		5		144		608				7/7/07 1:59		112		370		608

		7		7		4		7/7/07 2:59		123		- 0		34		4		87		230		- 0		6		5		145		634				7/7/07 2:59		129		375		634

		7		7		5		7/7/07 3:59		108		- 0		33		3		79		221		- 0		6		5		143		598				7/7/07 3:59		114		364		598

		7		7		6		7/7/07 4:59		117		- 0		29		3		81		222		- 0		7		5		142		606				7/7/07 4:59		124		364		606

		7		7		7		7/7/07 5:59		172		- 0		35		8		106		232		- 0		8		1		140		701				7/7/07 5:59		180		372		701

		7		7		8		7/7/07 6:59		352		- 0		61		14		202		297		- 0		11		- 0		152		1,089				7/7/07 6:59		363		449		1,089

		7		7		9		7/7/07 7:59		286		- 0		67		14		184		268		- 0		11		- 0		145		975				7/7/07 7:59		297		413		975

		7		7		10		7/7/07 8:59		272		- 0		75		14		191		266		- 0		10		- 0		148		975				7/7/07 8:59		282		414		975

		7		7		11		7/7/07 9:59		232		- 0		73		15		176		254		- 0		10		- 0		146		906				7/7/07 9:59		242		400		906

		7		7		12		7/7/07 10:59		223		- 0		76		14		170		258		- 0		9		- 0		146		897				7/7/07 10:59		232		404		897

		7		7		13		7/7/07 11:59		263		- 0		78		12		189		273		- 0		11		- 0		149		975				7/7/07 11:59		274		422		975

		7		7		14		7/7/07 12:59		269		- 0		83		15		208		282		- 0		10		- 0		149		1,016				7/7/07 12:59		279		431		1,016

		7		7		15		7/7/07 13:59		294		- 0		86		13		221		291		- 0		10		- 0		151		1,066				7/7/07 13:59		304		442		1,066

		7		7		16		7/7/07 14:59		335		- 0		88		12		229		300		- 0		10		- 0		152		1,126				7/7/07 14:59		345		452		1,126

		7		7		17		7/7/07 15:59		234		- 0		67		7		148		254		- 0		12		- 0		146		868				7/7/07 15:59		246		400		868

		7		7		18		7/7/07 16:59		336		- 0		67		5		177		284		- 0		11		- 0		149		1,029				7/7/07 16:59		347		433		1,029

		7		7		19		7/7/07 17:59		394		- 0		67		5		189		300		- 0		12		- 0		151		1,118				7/7/07 17:59		406		451		1,118

		7		7		20		7/7/07 18:59		408		- 0		66		5		188		302		- 0		12		- 0		152		1,133				7/7/07 18:59		420		454		1,133

		7		7		21		7/7/07 19:59		413		- 0		65		6		184		306		- 0		11		- 0		150		1,135				7/7/07 19:59		424		456		1,135

		7		7		22		7/7/07 20:59		420		- 0		55		6		169		303		- 0		11		2		152		1,118				7/7/07 20:59		431		455		1,118

		7		7		23		7/7/07 21:59		204		- 0		40		5		105		240		- 0		10		6		140		749				7/7/07 21:59		214		380		749

		7		7		24		7/7/07 22:59		107		- 0		33		3		79		217		- 0		7		6		140		592				7/7/07 22:59		114		357		592

		7		8		1		7/7/07 23:59		105		- 0		32		4		86		215		- 0		6		6		140		593				7/7/07 23:59		111		355		593

		7		8		2		7/8/07 0:59		100		- 0		32		4		87		221		- 0		6		5		142		597				7/8/07 0:59		106		363		597

		7		8		3		7/8/07 1:59		184		- 0		37		3		131		267		- 0		5		5		151		784				7/8/07 1:59		189		418		784

		7		8		4		7/8/07 2:59		197		- 0		38		3		139		276		- 0		6		5		152		817				7/8/07 2:59		203		428		817

		7		8		5		7/8/07 3:59		116		- 0		31		2		90		225		- 0		6		5		143		619				7/8/07 3:59		122		368		619

		7		8		6		7/8/07 4:59		110		- 0		27		3		89		220		- 0		5		5		142		601				7/8/07 4:59		115		362		601

		7		8		7		7/8/07 5:59		112		- 0		29		7		93		209		- 0		7		3		136		596				7/8/07 5:59		119		345		596

		7		8		8		7/8/07 6:59		366		- 0		58		12		218		301		- 0		8		- 0		151		1,115				7/8/07 6:59		374		452		1,115

		7		8		9		7/8/07 7:59		303		- 0		65		13		202		276		- 0		10		- 0		147		1,015				7/8/07 7:59		313		423		1,015

		7		8		10		7/8/07 8:59		219		- 0		65		11		162		250		- 0		10		- 0		143		860				7/8/07 8:59		229		393		860

		7		8		11		7/8/07 9:59		214		- 0		68		13		169		249		- 0		10		- 0		141		864				7/8/07 9:59		224		390		864

		7		8		12		7/8/07 10:59		214		- 0		70		12		166		251		- 0		11		- 0		145		868				7/8/07 10:59		225		396		868

		7		8		13		7/8/07 11:59		220		- 0		68		10		161		249		- 0		12		- 0		144		864				7/8/07 11:59		232		393		864

		7		8		14		7/8/07 12:59		280		- 0		79		13		208		273		- 0		11		- 0		148		1,012				7/8/07 12:59		291		421		1,012

		7		8		15		7/8/07 13:59		309		- 0		81		11		218		280		- 0		11		- 0		145		1,056				7/8/07 13:59		320		425		1,056

		7		8		16		7/8/07 14:59		277		- 0		72		9		183		261		- 0		11		- 0		144		956				7/8/07 14:59		288		405		956

		7		8		17		7/8/07 15:59		262		- 0		62		7		155		257		- 0		11		- 0		144		899				7/8/07 15:59		273		401		899

		7		8		18		7/8/07 16:59		385		- 0		62		6		197		290		- 0		13		- 0		149		1,102				7/8/07 16:59		398		439		1,102

		7		8		19		7/8/07 17:59		268		- 0		51		3		149		256		- 0		11		- 0		143		881				7/8/07 17:59		279		399		881

		7		8		20		7/8/07 18:59		336		- 0		57		4		173		279		- 0		10		- 0		147		1,006				7/8/07 18:59		346		426		1,006

		7		8		21		7/8/07 19:59		392		- 0		58		5		179		294		- 0		11		- 0		151		1,089				7/8/07 19:59		403		445		1,089

		7		8		22		7/8/07 20:59		206		- 0		40		4		105		233		- 0		10		2		137		737				7/8/07 20:59		216		370		737

		7		8		23		7/8/07 21:59		166		- 0		35		3		91		223		- 0		8		6		135		668				7/8/07 21:59		174		358		668

		7		8		24		7/8/07 22:59		121		- 0		31		3		76		212		- 0		8		6		140		595				7/8/07 22:59		129		352		595

		7		9		1		7/8/07 23:59		168		- 0		49		2		139		232		- 0		9		6		137		742				7/8/07 23:59		177		369		742

		7		9		2		7/9/07 0:59		131		- 0		46		2		126		225		- 0		8		5		138		682				7/9/07 0:59		139		363		682

		7		9		3		7/9/07 1:59		127		- 0		45		2		125		227		- 0		8		5		140		680				7/9/07 1:59		135		367		680

		7		9		4		7/9/07 2:59		107		- 0		41		2		113		219		- 0		8		5		139		635				7/9/07 2:59		115		358		635

		7		9		5		7/9/07 3:59		113		- 0		42		2		115		217		- 0		8		5		140		642				7/9/07 3:59		121		357		642

		7		9		6		7/9/07 4:59		139		- 0		43		2		133		230		- 0		8		5		141		701				7/9/07 4:59		147		371		701

		7		9		7		7/9/07 5:59		161		- 0		46		3		142		232		- 0		9		3		139		734				7/9/07 5:59		170		371		734

		7		9		8		7/9/07 6:59		348		- 0		65		4		238		298		- 0		12		- 0		153		1,120				7/9/07 6:59		360		451		1,120

		7		9		9		7/9/07 7:59		221		- 0		62		5		166		249		- 0		12		- 0		146		861				7/9/07 7:59		233		395		861

		7		9		10		7/9/07 8:59		219		- 0		66		5		160		245		- 0		13		- 0		144		852				7/9/07 8:59		232		389		852

		7		9		11		7/9/07 9:59		223		- 0		69		5		158		242		- 0		12		- 0		143		852				7/9/07 9:59		235		385		852

		7		9		12		7/9/07 10:59		218		- 0		68		4		152		241		- 0		12		- 0		142		838				7/9/07 10:59		230		383		838

		7		9		13		7/9/07 11:59		220		- 0		69		3		154		240		- 0		13		- 0		142		841				7/9/07 11:59		233		382		841

		7		9		14		7/9/07 12:59		215		- 0		71		3		161		243		- 0		12		- 0		143		848				7/9/07 12:59		227		386		848

		7		9		15		7/9/07 13:59		217		- 0		72		3		162		241		- 0		13		- 0		143		852				7/9/07 13:59		230		384		852

		7		9		16		7/9/07 14:59		224		- 0		72		3		163		244		- 0		12		- 0		143		861				7/9/07 14:59		236		387		861

		7		9		17		7/9/07 15:59		231		- 0		69		2		153		242		- 0		11		- 0		143		851				7/9/07 15:59		242		385		851

		7		9		18		7/9/07 16:59		245		- 0		61		2		151		242		- 0		12		- 0		143		856				7/9/07 16:59		257		385		856

		7		9		19		7/9/07 17:59		250		- 0		60		2		150		243		- 0		14		- 0		144		863				7/9/07 17:59		264		387		863

		7		9		20		7/9/07 18:59		252		- 0		62		3		158		250		- 0		13		- 0		145		885				7/9/07 18:59		265		395		885

		7		9		21		7/9/07 19:59		245		- 0		61		3		152		246		- 0		13		- 0		145		865				7/9/07 19:59		258		391		865

		7		9		22		7/9/07 20:59		254		- 0		62		3		159		251		- 0		11		3		145		889				7/9/07 20:59		265		396		889

		7		9		23		7/9/07 21:59		361		- 0		68		3		211		289		- 0		11		6		132		1,081				7/9/07 21:59		372		421		1,081

		7		9		24		7/9/07 22:59		177		- 0		51		2		133		228		- 0		9		6		123		729				7/9/07 22:59		186		351		729

		7		10		1		7/9/07 23:59		312		- 0		80		2		234		298		- 0		10		6		136		1,078				7/9/07 23:59		322		434		1,078

		7		10		2		7/10/07 0:59		172		- 0		63		2		162		247		- 0		9		5		131		790				7/10/07 0:59		181		378		790

		7		10		3		7/10/07 1:59		131		- 0		58		2		142		229		- 0		8		5		132		707				7/10/07 1:59		139		361		707

		7		10		4		7/10/07 2:59		132		- 0		56		2		144		230		- 0		8		5		133		710				7/10/07 2:59		140		363		710

		7		10		5		7/10/07 3:59		131		- 0		56		2		142		231		- 0		7		5		134		708				7/10/07 3:59		138		365		708

		7		10		6		7/10/07 4:59		144		- 0		54		1		147		235		- 0		8		5		133		728				7/10/07 4:59		152		368		728

		7		10		7		7/10/07 5:59		168		- 0		55		1		159		243		- 0		9		3		132		771				7/10/07 5:59		177		375		771

		7		10		8		7/10/07 6:59		321		- 0		68		2		221		284		- 0		10		- 0		141		1,046				7/10/07 6:59		331		425		1,046

		7		10		9		7/10/07 7:59		226		- 0		63		2		165		248		- 0		12		- 0		137		853				7/10/07 7:59		238		385		853

		7		10		10		7/10/07 8:59		227		- 0		63		2		163		246		- 0		13		- 0		140		853				7/10/07 8:59		240		386		853

		7		10		11		7/10/07 9:59		223		- 0		65		2		164		247		- 0		14		- 0		143		859				7/10/07 9:59		237		390		859

		7		10		12		7/10/07 10:59		222		- 0		65		2		162		246		- 0		15		- 0		143		854				7/10/07 10:59		237		389		854

		7		10		13		7/10/07 11:59		224		- 0		64		2		164		242		- 0		13		- 0		143		852				7/10/07 11:59		237		385		852

		7		10		14		7/10/07 12:59		218		- 0		67		2		167		247		- 0		13		- 0		141		854				7/10/07 12:59		231		388		854

		7		10		15		7/10/07 13:59		211		- 0		66		2		163		245		- 0		15		- 0		141		844				7/10/07 13:59		226		386		844

		7		10		16		7/10/07 14:59		214		- 0		68		2		166		247		- 0		15		- 0		143		855				7/10/07 14:59		229		390		855

		7		10		17		7/10/07 15:59		221		- 0		68		2		162		243		- 0		17		- 0		142		855				7/10/07 15:59		238		385		855

		7		10		18		7/10/07 16:59		226		- 0		62		2		155		240		- 0		18		- 0		142		846				7/10/07 16:59		244		382		846

		7		10		19		7/10/07 17:59		238		- 0		60		2		154		237		- 0		16		- 0		141		849				7/10/07 17:59		254		378		849

		7		10		20		7/10/07 18:59		235		- 0		61		2		154		239		- 0		16		- 0		141		849				7/10/07 18:59		251		380		849

		7		10		21		7/10/07 19:59		235		- 0		63		3		148		238		- 0		16		- 0		140		841				7/10/07 19:59		251		378		841

		7		10		22		7/10/07 20:59		229		- 0		61		2		143		234		- 0		17		3		140		830				7/10/07 20:59		246		374		830

		7		10		23		7/10/07 21:59		233		- 0		62		3		157		244		- 0		14		6		143		862				7/10/07 21:59		247		387		862

		7		10		24		7/10/07 22:59		212		- 0		64		2		171		249		- 0		13		6		144		860				7/10/07 22:59		225		393		860

		7		11		1		7/10/07 23:59		138		- 0		46		2		117		222		- 0		9		6		137		676				7/10/07 23:59		147		359		676

		7		11		2		7/11/07 0:59		121		- 0		44		2		111		217		- 0		8		5		138		646				7/11/07 0:59		129		355		646

		7		11		3		7/11/07 1:59		105		- 0		43		2		104		209		- 0		7		5		138		612				7/11/07 1:59		112		347		612

		7		11		4		7/11/07 2:59		102		- 0		42		2		103		210		- 0		6		5		138		608				7/11/07 2:59		108		348		608

		7		11		5		7/11/07 3:59		110		- 0		42		2		108		213		- 0		7		5		138		624				7/11/07 3:59		117		351		624

		7		11		6		7/11/07 4:59		149		- 0		44		3		131		225		- 0		6		5		138		701				7/11/07 4:59		155		363		701

		7		11		7		7/11/07 5:59		359		- 0		66		7		245		304		- 0		8		3		152		1,144				7/11/07 5:59		367		456		1,144

		7		11		8		7/11/07 6:59		213		- 0		63		10		175		240		- 0		11		- 0		143		857				7/11/07 6:59		224		383		857

		7		11		9		7/11/07 7:59		194		- 0		72		12		178		240		- 0		15		- 0		143		852				7/11/07 7:59		209		383		852

		7		11		10		7/11/07 8:59		192		- 0		76		11		170		233		- 0		13		- 0		142		836				7/11/07 8:59		205		375		836

		7		11		11		7/11/07 9:59		185		- 0		78		12		172		235		- 0		14		- 0		132		828				7/11/07 9:59		199		367		828

		7		11		12		7/11/07 10:59		201		- 0		80		12		176		237		- 0		16		- 0		139		859				7/11/07 10:59		217		376		859

		7		11		13		7/11/07 11:59		196		- 0		82		11		177		242		- 0		16		- 0		139		865				7/11/07 11:59		212		381		865

		7		11		14		7/11/07 12:59		195		- 0		83		12		175		238		- 0		15		- 0		137		854				7/11/07 12:59		210		375		854

		7		11		15		7/11/07 13:59		191		- 0		83		11		172		236		- 0		15		- 0		138		847				7/11/07 13:59		206		374		847

		7		11		16		7/11/07 14:59		190		- 0		83		10		172		242		- 0		15		- 0		143		855				7/11/07 14:59		205		385		855

		7		11		17		7/11/07 15:59		205		- 0		77		7		165		245		- 0		16		- 0		141		856				7/11/07 15:59		221		386		856

		7		11		18		7/11/07 16:59		225		- 0		68		4		163		245		- 0		16		- 0		143		864				7/11/07 16:59		241		388		864

		7		11		19		7/11/07 17:59		223		- 0		61		4		156		242		- 0		16		- 0		143		846				7/11/07 17:59		239		385		846

		7		11		20		7/11/07 18:59		215		- 0		60		4		154		243		- 0		16		- 0		143		835				7/11/07 18:59		231		386		835

		7		11		21		7/11/07 19:59		225		- 0		60		4		152		243		- 0		15		- 0		143		843				7/11/07 19:59		240		386		843

		7		11		22		7/11/07 20:59		219		- 0		60		4		143		239		- 0		15		3		142		825				7/11/07 20:59		234		381		825

		7		11		23		7/11/07 21:59		236		- 0		60		3		153		247		- 0		14		6		144		862				7/11/07 21:59		250		391		862

		7		11		24		7/11/07 22:59		352		- 0		69		3		229		301		- 0		12		6		153		1,125				7/11/07 22:59		364		454		1,125

		7		12		1		7/11/07 23:59		247		- 0		56		3		173		267		- 0		10		6		147		909				7/11/07 23:59		257		414		909

		7		12		2		7/12/07 0:59		134		- 0		46		2		126		229		- 0		8		5		140		692				7/12/07 0:59		142		369		692

		7		12		3		7/12/07 1:59		122		- 0		45		2		119		223		- 0		7		5		139		662				7/12/07 1:59		129		362		662

		7		12		4		7/12/07 2:59		104		- 0		43		2		110		216		- 0		7		5		137		624				7/12/07 2:59		111		353		624

		7		12		5		7/12/07 3:59		101		- 0		42		2		108		216		- 0		7		5		140		622				7/12/07 3:59		108		356		622

		7		12		6		7/12/07 4:59		140		- 0		43		3		130		232		- 0		7		5		141		701				7/12/07 4:59		147		373		701

		7		12		7		7/12/07 5:59		348		- 0		66		9		241		306		- 0		10		3		154		1,136				7/12/07 5:59		358		460		1,136

		7		12		8		7/12/07 6:59		208		- 0		65		13		172		247		- 0		12		- 0		144		860				7/12/07 6:59		220		391		860

		7		12		9		7/12/07 7:59		193		- 0		74		14		172		243		- 0		11		- 0		141		848				7/12/07 7:59		204		384		848

		7		12		10		7/12/07 8:59		185		- 0		80		12		172		240		- 0		12		- 0		141		843				7/12/07 8:59		197		381		843

		7		12		11		7/12/07 9:59		171		- 0		83		12		172		244		- 0		11		- 0		142		835				7/12/07 9:59		182		386		835

		7		12		12		7/12/07 10:59		186		- 0		82		13		167		240		- 0		12		- 0		138		838				7/12/07 10:59		198		378		838

		7		12		13		7/12/07 11:59		180		- 0		83		11		166		242		- 0		14		- 0		139		835				7/12/07 11:59		194		381		835

		7		12		14		7/12/07 12:59		179		- 0		85		12		169		243		- 0		14		- 0		141		844				7/12/07 12:59		193		384		844

		7		12		15		7/12/07 13:59		168		- 0		84		12		167		237		- 0		14		- 0		141		824				7/12/07 13:59		182		378		824

		7		12		16		7/12/07 14:59		175		- 0		83		10		167		239		- 0		14		- 0		143		831				7/12/07 14:59		189		382		831

		7		12		17		7/12/07 15:59		191		- 0		78		8		159		243		- 0		16		- 0		141		836				7/12/07 15:59		207		384		836

		7		12		18		7/12/07 16:59		212		- 0		66		5		151		245		- 0		17		- 0		142		838				7/12/07 16:59		229		387		838

		7		12		19		7/12/07 17:59		222		- 0		62		5		153		248		- 0		16		- 0		143		849				7/12/07 17:59		238		391		849

		7		12		20		7/12/07 18:59		230		- 0		58		5		152		251		- 0		15		- 0		144		856				7/12/07 18:59		245		395		856

		7		12		21		7/12/07 19:59		227		- 0		63		5		149		247		- 0		16		- 0		143		850				7/12/07 19:59		243		390		850

		7		12		22		7/12/07 20:59		231		- 0		60		5		145		248		- 0		16		3		141		849				7/12/07 20:59		247		389		849

		7		12		23		7/12/07 21:59		230		- 0		60		5		153		253		- 0		12		6		146		864				7/12/07 21:59		242		399		864

		7		12		24		7/12/07 22:59		335		- 0		69		4		222		309		- 0		12		6		151		1,108				7/12/07 22:59		347		460		1,108

		7		13		1		7/12/07 23:59		173		- 0		50		3		138		249		- 0		9		6		141		769				7/12/07 23:59		182		390		769

		7		13		2		7/13/07 0:59		114		- 0		41		3		107		227		- 0		7		5		140		644				7/13/07 0:59		121		367		644

		7		13		3		7/13/07 1:59		97		- 0		38		3		96		219		- 0		7		5		139		605				7/13/07 1:59		104		358		605

		7		13		4		7/13/07 2:59		94		- 0		38		3		96		214		- 0		7		5		139		596				7/13/07 2:59		101		353		596

		7		13		5		7/13/07 3:59		103		- 0		39		2		96		214		- 0		8		5		138		606				7/13/07 3:59		111		352		606

		7		13		6		7/13/07 4:59		110		- 0		38		3		101		217		- 0		7		5		138		619				7/13/07 4:59		117		355		619

		7		13		7		7/13/07 5:59		346		- 0		61		8		221		294		- 0		10		3		152		1,094				7/13/07 5:59		356		446		1,094

		7		13		8		7/13/07 6:59		217		- 0		65		11		172		246		- 0		10		- 0		144		866				7/13/07 6:59		227		390		866

		7		13		9		7/13/07 7:59		200		- 0		72		13		170		241		- 0		12		- 0		141		850				7/13/07 7:59		212		382		850

		7		13		10		7/13/07 8:59		197		- 0		78		12		172		239		- 0		10		- 0		143		850				7/13/07 8:59		207		382		850

		7		13		11		7/13/07 9:59		198		- 0		80		12		173		239		- 0		11		- 0		143		857				7/13/07 9:59		209		382		857

		7		13		12		7/13/07 10:59		189		- 0		81		12		165		237		- 0		12		- 0		142		838				7/13/07 10:59		201		379		838

		7		13		13		7/13/07 11:59		187		- 0		81		10		166		241		- 0		12		- 0		142		840				7/13/07 11:59		199		383		840

		7		13		14		7/13/07 12:59		178		- 0		83		13		165		239		- 0		10		- 0		142		830				7/13/07 12:59		188		381		830

		7		13		15		7/13/07 13:59		177		- 0		82		12		160		236		- 0		12		- 0		141		819				7/13/07 13:59		189		377		819

		7		13		16		7/13/07 14:59		192		- 0		80		10		167		243		- 0		13		- 0		144		849				7/13/07 14:59		205		387		849

		7		13		17		7/13/07 15:59		192		- 0		76		8		156		244		- 0		16		- 0		142		834				7/13/07 15:59		208		386		834

		7		13		18		7/13/07 16:59		215		- 0		65		4		151		246		- 0		16		- 0		143		841				7/13/07 16:59		231		389		841

		7		13		19		7/13/07 17:59		234		- 0		58		5		150		248		- 0		15		- 0		144		853				7/13/07 17:59		249		392		853

		7		13		20		7/13/07 18:59		233		- 0		58		6		148		249		- 0		13		- 0		144		850				7/13/07 18:59		246		393		850

		7		13		21		7/13/07 19:59		233		- 0		58		6		145		250		- 0		14		- 0		144		851				7/13/07 19:59		247		394		851

		7		13		22		7/13/07 20:59		245		- 0		54		6		138		243		- 0		16		3		145		850				7/13/07 20:59		261		388		850

		7		13		23		7/13/07 21:59		344		- 0		61		5		196		289		- 0		15		6		151		1,067				7/13/07 21:59		359		440		1,067

		7		13		24		7/13/07 22:59		319		- 0		57		3		193		294		- 0		12		6		152		1,036				7/13/07 22:59		331		446		1,036

		7		14		1		7/13/07 23:59		113		- 0		32		3		80		214		- 0		8		6		141		597				7/13/07 23:59		121		355		597

		7		14		2		7/14/07 0:59		108		- 0		31		4		82		218		- 0		7		5		143		599				7/14/07 0:59		115		361		599

		7		14		3		7/14/07 1:59		106		- 0		32		4		81		221		- 0		7		5		144		601				7/14/07 1:59		113		365		601

		7		14		4		7/14/07 2:59		109		- 0		31		3		81		219		- 0		7		5		145		601				7/14/07 2:59		116		364		601

		7		14		5		7/14/07 3:59		108		- 0		33		2		83		222		- 0		7		5		145		605				7/14/07 3:59		115		367		605

		7		14		6		7/14/07 4:59		106		- 0		31		4		83		217		- 0		7		5		141		595				7/14/07 4:59		113		358		595

		7		14		7		7/14/07 5:59		162		- 0		38		8		109		233		- 0		9		3		139		701				7/14/07 5:59		171		372		701

		7		14		8		7/14/07 6:59		320		- 0		63		12		189		282		- 0		12		- 0		150		1,028				7/14/07 6:59		332		432		1,028

		7		14		9		7/14/07 7:59		232		- 0		65		13		155		251		- 0		12		- 0		140		867				7/14/07 7:59		244		391		867

		7		14		10		7/14/07 8:59		213		- 0		73		13		154		246		- 0		10		- 0		141		852				7/14/07 8:59		223		387		852

		7		14		11		7/14/07 9:59		212		- 0		76		14		155		250		- 0		10		- 0		141		860				7/14/07 9:59		222		391		860

		7		14		12		7/14/07 10:59		218		- 0		77		12		157		249		- 0		11		- 0		138		862				7/14/07 10:59		229		387		862

		7		14		13		7/14/07 11:59		208		- 0		78		11		154		247		- 0		12		- 0		143		854				7/14/07 11:59		220		390		854

		7		14		14		7/14/07 12:59		209		- 0		77		13		157		246		- 0		13		- 0		139		854				7/14/07 12:59		222		385		854

		7		14		15		7/14/07 13:59		207		- 0		78		12		158		250		- 0		14		- 0		142		860				7/14/07 13:59		221		392		860

		7		14		16		7/14/07 14:59		207		- 0		76		9		155		253		- 0		13		- 0		144		858				7/14/07 14:59		220		397		858

		7		14		17		7/14/07 15:59		228		- 0		72		7		147		251		- 0		15		- 0		142		862				7/14/07 15:59		243		393		862

		7		14		18		7/14/07 16:59		247		- 0		62		4		136		245		- 0		15		- 0		143		853				7/14/07 16:59		262		388		853

		7		14		19		7/14/07 17:59		256		- 0		60		5		135		247		- 0		14		- 0		144		861				7/14/07 17:59		270		391		861

		7		14		20		7/14/07 18:59		259		- 0		61		5		140		253		- 0		13		- 0		145		877				7/14/07 18:59		272		398		877

		7		14		21		7/14/07 19:59		258		- 0		59		5		134		252		- 0		13		- 0		145		866				7/14/07 19:59		271		397		866

		7		14		22		7/14/07 20:59		269		- 0		54		5		133		252		- 0		13		3		145		873				7/14/07 20:59		282		397		873

		7		14		23		7/14/07 21:59		409		- 0		58		5		177		300		- 0		13		6		152		1,119				7/14/07 21:59		422		452		1,119

		7		14		24		7/14/07 22:59		155		- 0		40		3		99		227		- 0		9		6		139		678				7/14/07 22:59		164		366		678

		7		15		1		7/14/07 23:59		107		- 0		34		3		89		213		- 0		7		6		138		597				7/14/07 23:59		114		351		597

		7		15		2		7/15/07 0:59		105		- 0		32		3		89		219		- 0		6		5		142		601				7/15/07 0:59		111		361		601

		7		15		3		7/15/07 1:59		114		- 0		32		3		94		225		- 0		7		5		143		624				7/15/07 1:59		121		368		624

		7		15		4		7/15/07 2:59		105		- 0		32		3		88		217		- 0		6		5		142		598				7/15/07 2:59		111		359		598

		7		15		5		7/15/07 3:59		116		- 0		33		3		95		223		- 0		6		5		143		625				7/15/07 3:59		122		366		625

		7		15		6		7/15/07 4:59		150		- 0		33		4		116		241		- 0		7		5		146		701				7/15/07 4:59		157		387		701

		7		15		7		7/15/07 5:59		131		- 0		32		7		101		216		- 0		6		3		137		633				7/15/07 5:59		137		353		633

		7		15		8		7/15/07 6:59		354		- 0		59		12		214		294		- 0		10		- 0		150		1,092				7/15/07 6:59		364		444		1,092

		7		15		9		7/15/07 7:59		236		- 0		59		13		159		246		- 0		10		- 0		144		868				7/15/07 7:59		246		390		868

		7		15		10		7/15/07 8:59		215		- 0		68		13		165		251		- 0		12		- 0		144		867				7/15/07 8:59		227		395		867

		7		15		11		7/15/07 9:59		220		- 0		71		13		170		249		- 0		12		- 0		138		873				7/15/07 9:59		232		387		873

		7		15		12		7/15/07 10:59		214		- 0		73		11		158		245		- 0		12		- 0		143		856				7/15/07 10:59		226		388		856

		7		15		13		7/15/07 11:59		230		- 0		70		8		157		248		- 0		12		- 0		144		870				7/15/07 11:59		242		392		870

		7		15		14		7/15/07 12:59		233		- 0		72		11		163		254		- 0		13		- 0		145		890				7/15/07 12:59		246		399		890

		7		15		15		7/15/07 13:59		234		- 0		71		9		167		260		- 0		14		- 0		145		900				7/15/07 13:59		248		405		900

		7		15		16		7/15/07 14:59		224		- 0		66		8		149		252		- 0		14		- 0		145		858				7/15/07 14:59		238		397		858

		7		15		17		7/15/07 15:59		246		- 0		60		5		140		254		- 0		14		- 0		145		863				7/15/07 15:59		260		399		863

		7		15		18		7/15/07 16:59		256		- 0		53		5		135		254		- 0		15		- 0		144		862				7/15/07 16:59		271		398		862

		7		15		19		7/15/07 17:59		411		- 0		58		3		185		296		- 0		16		- 0		150		1,119				7/15/07 17:59		427		446		1,119

		7		15		20		7/15/07 18:59		415		- 0		61		4		190		301		- 0		13		- 0		150		1,134				7/15/07 18:59		428		451		1,134

		7		15		21		7/15/07 19:59		420		- 0		64		3		185		302		- 0		12		- 0		151		1,139				7/15/07 19:59		432		453		1,139

		7		15		22		7/15/07 20:59		369		- 0		53		3		149		273		- 0		13		3		147		1,010				7/15/07 20:59		382		420		1,010

		7		15		23		7/15/07 21:59		231		- 0		42		2		108		237		- 0		10		6		140		776				7/15/07 21:59		241		377		776

		7		15		24		7/15/07 22:59		127		- 0		33		2		76		209		- 0		9		6		137		599				7/15/07 22:59		136		346		599

		7		16		1		7/15/07 23:59		334		- 0		73		2		233		303		- 0		11		6		154		1,115				7/15/07 23:59		345		457		1,115

		7		16		2		7/16/07 0:59		297		- 0		75		2		231		297		- 0		10		5		153		1,070				7/16/07 0:59		307		450		1,070

		7		16		3		7/16/07 1:59		190		- 0		63		2		173		254		- 0		9		5		144		840				7/16/07 1:59		199		398		840

		7		16		4		7/16/07 2:59		136		- 0		51		2		136		228		- 0		8		5		140		705				7/16/07 2:59		144		368		705

		7		16		5		7/16/07 3:59		137		- 0		52		2		139		230		- 0		8		5		139		712				7/16/07 3:59		145		369		712

		7		16		6		7/16/07 4:59		135		- 0		47		1		137		230		- 0		8		5		139		704				7/16/07 4:59		143		369		704

		7		16		7		7/16/07 5:59		131		- 0		48		2		136		227		- 0		9		3		138		694				7/16/07 5:59		140		365		694

		7		16		8		7/16/07 6:59		350		- 0		68		3		239		301		- 0		11		- 0		152		1,125				7/16/07 6:59		361		453		1,125

		7		16		9		7/16/07 7:59		226		- 0		60		3		163		250		- 0		12		- 0		145		860				7/16/07 7:59		238		395		860

		7		16		10		7/16/07 8:59		223		- 0		65		4		157		245		- 0		14		- 0		144		851				7/16/07 8:59		237		389		851

		7		16		11		7/16/07 9:59		223		- 0		66		5		154		242		- 0		14		- 0		143		848				7/16/07 9:59		237		385		848

		7		16		12		7/16/07 10:59		223		- 0		66		4		155		241		- 0		15		- 0		143		848				7/16/07 10:59		238		384		848

		7		16		13		7/16/07 11:59		219		- 0		69		4		160		247		- 0		15		- 0		144		857				7/16/07 11:59		234		391		857

		7		16		14		7/16/07 12:59		220		- 0		69		4		158		243		- 0		16		- 0		144		854				7/16/07 12:59		236		387		854

		7		16		15		7/16/07 13:59		218		- 0		69		2		161		243		- 0		17		- 0		145		855				7/16/07 13:59		235		388		855

		7		16		16		7/16/07 14:59		222		- 0		69		2		163		244		- 0		16		- 0		145		862				7/16/07 14:59		238		389		862

		7		16		17		7/16/07 15:59		234		- 0		67		2		156		237		- 0		17		- 0		144		857				7/16/07 15:59		251		381		857

		7		16		18		7/16/07 16:59		241		- 0		60		2		152		238		- 0		18		- 0		144		855				7/16/07 16:59		259		382		855

		7		16		19		7/16/07 17:59		236		- 0		60		2		154		239		- 0		17		- 0		144		853				7/16/07 17:59		253		383		853

		7		16		20		7/16/07 18:59		238		- 0		60		3		154		240		- 0		17		- 0		145		858				7/16/07 18:59		255		385		858

		7		16		21		7/16/07 19:59		234		- 0		61		3		151		243		- 0		17		- 0		145		853				7/16/07 19:59		251		388		853

		7		16		22		7/16/07 20:59		238		- 0		62		3		150		244		- 0		15		3		145		861				7/16/07 20:59		253		389		861

		7		16		23		7/16/07 21:59		229		- 0		62		3		150		248		- 0		15		6		146		858				7/16/07 21:59		244		394		858

		7		16		24		7/16/07 22:59		297		- 0		67		2		187		273		- 0		14		6		149		995				7/16/07 22:59		311		422		995

		7		17		1		7/16/07 23:59		269		- 0		73		2		197		271		- 0		12		6		149		979				7/16/07 23:59		281		420		979

		7		17		2		7/17/07 0:59		337		- 0		81		2		247		301		- 0		12		5		154		1,141				7/17/07 0:59		349		455		1,141

		7		17		3		7/17/07 1:59		326		- 0		81		2		244		300		- 0		12		5		154		1,125				7/17/07 1:59		338		454		1,125

		7		17		4		7/17/07 2:59		293		- 0		75		2		232		293		- 0		11		5		153		1,064				7/17/07 2:59		304		446		1,064

		7		17		5		7/17/07 3:59		238		- 0		67		2		203		270		- 0		10		5		148		945				7/17/07 3:59		248		418		945

		7		17		6		7/17/07 4:59		300		- 0		73		2		236		299		- 0		11		5		152		1,079				7/17/07 4:59		311		451		1,079

		7		17		7		7/17/07 5:59		315		- 0		75		2		253		309		- 0		12		3		153		1,121				7/17/07 5:59		327		462		1,121

		7		17		8		7/17/07 6:59		232		- 0		65		2		180		254		- 0		12		- 0		146		892				7/17/07 6:59		244		400		892

		7		17		9		7/17/07 7:59		221		- 0		67		2		166		241		- 0		12		- 0		143		853				7/17/07 7:59		233		384		853

		7		17		10		7/17/07 8:59		215		- 0		68		2		165		244		- 0		12		- 0		141		847				7/17/07 8:59		227		385		847

		7		17		11		7/17/07 9:59		208		- 0		73		2		167		244		- 0		14		- 0		143		850				7/17/07 9:59		222		387		850

		7		17		12		7/17/07 10:59		216		- 0		72		2		163		245		- 0		13		- 0		142		853				7/17/07 10:59		229		387		853

		7		17		13		7/17/07 11:59		218		- 0		72		2		163		232		- 0		14		- 0		143		843				7/17/07 11:59		232		375		843

		7		17		14		7/17/07 12:59		228		- 0		70		2		165		237		- 0		12		- 0		145		859				7/17/07 12:59		240		382		859

		7		17		15		7/17/07 13:59		224		- 0		72		2		171		232		- 0		14		- 0		144		859				7/17/07 13:59		238		376		859

		7		17		16		7/17/07 14:59		218		- 0		71		2		171		234		- 0		14		- 0		144		854				7/17/07 14:59		232		378		854

		7		17		17		7/17/07 15:59		220		- 0		68		2		164		237		- 0		15		- 0		143		850				7/17/07 15:59		235		380		850

		7		17		18		7/17/07 16:59		228		- 0		61		2		150		235		- 0		15		- 0		142		833				7/17/07 16:59		243		377		833

		7		17		19		7/17/07 17:59		236		- 0		61		2		158		237		- 0		17		- 0		143		855				7/17/07 17:59		253		380		855

		7		17		20		7/17/07 18:59		233		- 0		61		2		158		239		- 0		16		- 0		144		853				7/17/07 18:59		249		383		853

		7		17		21		7/17/07 19:59		224		- 0		62		3		144		235		- 0		16		- 0		142		826				7/17/07 19:59		240		377		826

		7		17		22		7/17/07 20:59		221		- 0		61		3		145		238		- 0		16		3		142		828				7/17/07 20:59		237		380		828

		7		17		23		7/17/07 21:59		226		- 0		62		3		157		244		- 0		14		6		144		855				7/17/07 21:59		240		388		855

		7		17		24		7/17/07 22:59		220		- 0		62		2		168		250		- 0		13		6		147		868				7/17/07 22:59		233		397		868

		7		18		1		7/17/07 23:59		155		- 0		48		2		121		227		- 0		9		6		140		707				7/17/07 23:59		164		367		707

		7		18		2		7/18/07 0:59		140		- 0		45		2		116		228		- 0		6		5		140		682				7/18/07 0:59		146		368		682

		7		18		3		7/18/07 1:59		120		- 0		44		2		111		223		- 0		7		5		140		653				7/18/07 1:59		127		363		653

		7		18		4		7/18/07 2:59		110		- 0		42		2		106		213		- 0		7		5		139		625				7/18/07 2:59		117		352		625

		7		18		5		7/18/07 3:59		121		- 0		43		2		113		217		- 0		8		5		139		648				7/18/07 3:59		129		356		648

		7		18		6		7/18/07 4:59		144		- 0		44		2		128		229		- 0		9		5		139		701				7/18/07 4:59		153		368		701

		7		18		7		7/18/07 5:59		358		- 0		65		6		231		300		- 0		11		3		152		1,126				7/18/07 5:59		369		452		1,126

		7		18		8		7/18/07 6:59		211		- 0		65		9		170		247		- 0		11		- 0		145		858				7/18/07 6:59		222		392		858

		7		18		9		7/18/07 7:59		200		- 0		73		10		173		241		- 0		12		- 0		143		851				7/18/07 7:59		212		384		851

		7		18		10		7/18/07 8:59		183		- 0		80		9		169		237		- 0		11		- 0		142		831				7/18/07 8:59		194		379		831

		7		18		11		7/18/07 9:59		175		- 0		82		9		167		233		- 0		14		- 0		142		822				7/18/07 9:59		189		375		822

		7		18		12		7/18/07 10:59		203		- 0		85		8		174		239		- 0		15		- 0		142		865				7/18/07 10:59		218		381		865

		7		18		13		7/18/07 11:59		204		- 0		84		7		168		234		- 0		16		- 0		142		855				7/18/07 11:59		220		376		855

		7		18		14		7/18/07 12:59		204		- 0		88		9		179		235		- 0		16		- 0		143		874				7/18/07 12:59		220		378		874

		7		18		15		7/18/07 13:59		202		- 0		88		8		178		236		- 0		16		- 0		143		871				7/18/07 13:59		218		379		871

		7		18		16		7/18/07 14:59		203		- 0		83		8		170		239		- 0		15		- 0		142		861				7/18/07 14:59		218		381		861

		7		18		17		7/18/07 15:59		203		- 0		79		6		159		232		- 0		17		- 0		142		838				7/18/07 15:59		220		374		838

		7		18		18		7/18/07 16:59		211		- 0		67		3		155		230		- 0		17		- 0		142		826				7/18/07 16:59		228		372		826

		7		18		19		7/18/07 17:59		228		- 0		61		3		149		234		- 0		17		- 0		142		834				7/18/07 17:59		245		376		834

		7		18		20		7/18/07 18:59		239		- 0		60		4		155		238		- 0		15		- 0		144		855				7/18/07 18:59		254		382		855

		7		18		21		7/18/07 19:59		236		- 0		61		4		145		233		- 0		16		- 0		143		839				7/18/07 19:59		252		376		839

		7		18		22		7/18/07 20:59		243		- 0		61		4		144		235		- 0		16		3		143		848				7/18/07 20:59		259		378		848

		7		18		23		7/18/07 21:59		245		- 0		59		3		147		242		- 0		13		6		145		861				7/18/07 21:59		258		387		861

		7		18		24		7/18/07 22:59		360		- 0		69		3		223		292		- 0		11		6		154		1,117				7/18/07 22:59		371		446		1,117

		7		19		1		7/18/07 23:59		184		- 0		47		3		119		232		- 0		10		6		143		743				7/18/07 23:59		194		375		743

		7		19		2		7/19/07 0:59		138		- 0		44		3		107		223		- 0		9		5		142		671				7/19/07 0:59		147		365		671

		7		19		3		7/19/07 1:59		115		- 0		44		2		100		214		- 0		9		5		142		631				7/19/07 1:59		124		356		631

		7		19		4		7/19/07 2:59		106		- 0		41		2		94		213		- 0		8		5		141		610				7/19/07 2:59		114		354		610

		7		19		5		7/19/07 3:59		106		- 0		40		2		94		214		- 0		8		5		141		610				7/19/07 3:59		114		355		610

		7		19		6		7/19/07 4:59		117		- 0		40		3		101		215		- 0		8		5		141		630				7/19/07 4:59		125		356		630

		7		19		7		7/19/07 5:59		172		- 0		48		7		138		238		- 0		10		3		142		757				7/19/07 5:59		182		380		757

		7		19		8		7/19/07 6:59		225		- 0		64		10		161		249		- 0		11		- 0		147		868				7/19/07 6:59		236		396		868

		7		19		9		7/19/07 7:59		209		- 0		73		10		162		240		- 0		12		- 0		146		852				7/19/07 7:59		221		386		852

		7		19		10		7/19/07 8:59		197		- 0		80		9		165		240		- 0		12		- 0		146		850				7/19/07 8:59		209		386		850

		7		19		11		7/19/07 9:59		200		- 0		83		11		164		237		- 0		12		- 0		145		851				7/19/07 9:59		212		382		851

		7		19		12		7/19/07 10:59		198		- 0		84		10		163		237		- 0		14		- 0		146		851				7/19/07 10:59		212		383		851

		7		19		13		7/19/07 11:59		188		- 0		84		9		158		239		- 0		13		- 0		144		835				7/19/07 11:59		201		383		835

		7		19		14		7/19/07 12:59		184		- 0		84		10		157		240		- 0		13		- 0		143		832				7/19/07 12:59		197		383		832

		7		19		15		7/19/07 13:59		193		- 0		85		9		165		244		- 0		15		- 0		145		856				7/19/07 13:59		208		389		856

		7		19		16		7/19/07 14:59		202		- 0		82		8		155		241		- 0		15		- 0		145		848				7/19/07 14:59		217		386		848

		7		19		17		7/19/07 15:59		228		- 0		78		7		152		244		- 0		16		- 0		145		870				7/19/07 15:59		244		389		870

		7		19		18		7/19/07 16:59		228		- 0		66		4		142		243		- 0		17		- 0		145		844				7/19/07 16:59		245		388		844

		7		19		19		7/19/07 17:59		238		- 0		63		5		144		242		- 0		16		- 0		146		854				7/19/07 17:59		254		388		854

		7		19		20		7/19/07 18:59		240		- 0		62		5		145		244		- 0		14		- 0		147		856				7/19/07 18:59		254		391		856

		7		19		21		7/19/07 19:59		242		- 0		62		5		139		243		- 0		14		- 0		147		852				7/19/07 19:59		256		390		852

		7		19		22		7/19/07 20:59		238		- 0		61		4		136		244		- 0		15		3		146		848				7/19/07 20:59		253		390		848

		7		19		23		7/19/07 21:59		240		- 0		60		4		142		250		- 0		12		6		149		862				7/19/07 21:59		252		399		862

		7		19		24		7/19/07 22:59		350		- 0		71		3		200		302		- 0		11		6		156		1,100				7/19/07 22:59		361		458		1,100

		7		20		1		7/19/07 23:59		155		- 0		42		3		102		232		- 0		8		6		142		688				7/19/07 23:59		163		374		688

		7		20		2		7/20/07 0:59		120		- 0		39		3		91		218		- 0		8		5		142		627				7/20/07 0:59		128		360		627

		7		20		3		7/20/07 1:59		107		- 0		40		3		90		222		- 0		7		5		141		616				7/20/07 1:59		114		363		616

		7		20		4		7/20/07 2:59		109		- 0		40		3		90		223		- 0		8		5		141		618				7/20/07 2:59		117		364		618

		7		20		5		7/20/07 3:59		106		- 0		39		2		89		222		- 0		6		5		141		612				7/20/07 3:59		112		363		612

		7		20		6		7/20/07 4:59		107		- 0		37		2		91		216		- 0		7		5		141		606				7/20/07 4:59		114		357		606

		7		20		7		7/20/07 5:59		315		- 0		53		6		178		285		- 0		9		3		151		1,000				7/20/07 5:59		324		436		1,000

		7		20		8		7/20/07 6:59		261		- 0		65		10		172		260		- 0		10		- 0		144		923				7/20/07 6:59		271		404		923

		7		20		9		7/20/07 7:59		223		- 0		71		11		158		244		- 0		11		- 0		147		865				7/20/07 7:59		234		391		865

		7		20		10		7/20/07 8:59		215		- 0		74		10		156		243		- 0		10		- 0		146		854				7/20/07 8:59		225		389		854

		7		20		11		7/20/07 9:59		211		- 0		78		11		159		240		- 0		11		- 0		142		851				7/20/07 9:59		222		382		851

		7		20		12		7/20/07 10:59		206		- 0		78		9		154		244		- 0		13		- 0		146		850				7/20/07 10:59		219		390		850

		7		20		13		7/20/07 11:59		206		- 0		80		10		156		244		- 0		12		- 0		147		854				7/20/07 11:59		218		391		854

		7		20		14		7/20/07 12:59		200		- 0		82		11		159		242		- 0		12		- 0		147		853				7/20/07 12:59		212		389		853

		7		20		15		7/20/07 13:59		197		- 0		84		10		159		250		- 0		13		- 0		147		861				7/20/07 13:59		210		397		861

		7		20		16		7/20/07 14:59		200		- 0		79		9		153		253		- 0		14		- 0		147		856				7/20/07 14:59		214		400		856

		7		20		17		7/20/07 15:59		214		- 0		74		7		143		252		- 0		15		- 0		145		849				7/20/07 15:59		229		397		849

		7		20		18		7/20/07 16:59		235		- 0		65		4		143		246		- 0		15		- 0		146		854				7/20/07 16:59		250		392		854

		7		20		19		7/20/07 17:59		233		- 0		60		4		137		250		- 0		15		- 0		146		844				7/20/07 17:59		248		396		844

		7		20		20		7/20/07 18:59		246		- 0		59		4		137		251		- 0		14		- 0		147		858				7/20/07 18:59		260		398		858

		7		20		21		7/20/07 19:59		247		- 0		60		5		134		252		- 0		13		- 0		147		859				7/20/07 19:59		260		399		859

		7		20		22		7/20/07 20:59		252		- 0		59		5		132		251		- 0		13		3		144		858				7/20/07 20:59		265		395		858

		7		20		23		7/20/07 21:59		340		- 0		61		4		168		285		- 0		10		6		152		1,025				7/20/07 21:59		350		437		1,025

		7		20		24		7/20/07 22:59		265		- 0		54		3		145		272		- 0		9		6		148		901				7/20/07 22:59		274		420		901

		7		21		1		7/20/07 23:59		117		- 0		34		3		70		218		- 0		7		6		142		596				7/20/07 23:59		124		360		596

		7		21		2		7/21/07 0:59		115		- 0		34		3		72		220		- 0		6		5		146		602				7/21/07 0:59		121		366		602

		7		21		3		7/21/07 1:59		114		- 0		35		3		73		221		- 0		6		5		146		603				7/21/07 1:59		120		367		603

		7		21		4		7/21/07 2:59		129		- 0		34		3		79		230		- 0		6		5		148		634				7/21/07 2:59		135		378		634

		7		21		5		7/21/07 3:59		133		- 0		35		2		83		234		- 0		6		5		148		647				7/21/07 3:59		139		382		647

		7		21		6		7/21/07 4:59		115		- 0		32		3		77		222		- 0		6		5		145		604				7/21/07 4:59		121		367		604

		7		21		7		7/21/07 5:59		175		- 0		37		6		98		233		- 0		7		3		142		701				7/21/07 5:59		182		375		701

		7		21		8		7/21/07 6:59		349		- 0		63		11		178		290		- 0		9		- 0		150		1,049				7/21/07 6:59		358		440		1,049

		7		21		9		7/21/07 7:59		381		- 0		77		11		203		293		- 0		10		- 0		155		1,130				7/21/07 7:59		391		448		1,130

		7		21		10		7/21/07 8:59		232		- 0		69		10		140		250		- 0		11		- 0		149		861				7/21/07 8:59		243		399		861

		7		21		11		7/21/07 9:59		230		- 0		73		11		146		251		- 0		12		- 0		149		872				7/21/07 9:59		242		400		872

		7		21		12		7/21/07 10:59		226		- 0		73		9		138		242		- 0		14		- 0		148		850				7/21/07 10:59		240		390		850

		7		21		13		7/21/07 11:59		233		- 0		75		10		145		243		- 0		12		- 0		149		865				7/21/07 11:59		245		392		865

		7		21		14		7/21/07 12:59		284		- 0		83		10		174		263		- 0		13		- 0		147		973				7/21/07 12:59		297		410		973

		7		21		15		7/21/07 13:59		270		- 0		80		9		166		256		- 0		14		- 0		149		944				7/21/07 13:59		284		405		944

		7		21		16		7/21/07 14:59		263		- 0		76		9		158		259		- 0		14		- 0		150		930				7/21/07 14:59		277		409		930

		7		21		17		7/21/07 15:59		241		- 0		67		6		133		255		- 0		15		- 0		148		866				7/21/07 15:59		256		403		866

		7		21		18		7/21/07 16:59		258		- 0		60		5		128		254		- 0		15		- 0		148		868				7/21/07 16:59		273		402		868

		7		21		19		7/21/07 17:59		257		- 0		59		5		124		259		- 0		16		- 0		148		867				7/21/07 17:59		273		407		867

		7		21		20		7/21/07 18:59		294		- 0		58		4		125		261		- 0		14		- 0		148		903				7/21/07 18:59		308		409		903

		7		21		21		7/21/07 19:59		272		- 0		57		5		115		258		- 0		12		- 0		146		865				7/21/07 19:59		284		404		865

		7		21		22		7/21/07 20:59		435		- 0		59		5		153		294		- 0		15		3		154		1,116				7/21/07 20:59		450		448		1,116

		7		21		23		7/21/07 21:59		398		- 0		55		4		143		291		- 0		13		6		155		1,063				7/21/07 21:59		411		446		1,063

		7		21		24		7/21/07 22:59		139		- 0		36		3		75		221		- 0		9		6		142		630				7/21/07 22:59		148		363		630

		7		22		1		7/21/07 23:59		119		- 0		32		3		76		216		- 0		7		6		142		601				7/21/07 23:59		126		358		601

		7		22		2		7/22/07 0:59		165		- 0		34		3		98		241		- 0		7		5		148		701				7/22/07 0:59		172		389		701

		7		22		3		7/22/07 1:59		158		- 0		35		3		93		232		- 0		7		5		149		682				7/22/07 1:59		165		381		682

		7		22		4		7/22/07 2:59		186		- 0		36		3		106		249		- 0		7		5		151		744				7/22/07 2:59		193		400		744

		7		22		5		7/22/07 3:59		180		- 0		32		2		103		249		- 0		6		5		150		729				7/22/07 3:59		186		399		729

		7		22		6		7/22/07 4:59		130		- 0		27		2		84		229		- 0		6		5		146		629				7/22/07 4:59		136		375		629

		7		22		7		7/22/07 5:59		114		- 0		28		6		82		214		- 0		7		3		140		594				7/22/07 5:59		121		354		594

		7		22		8		7/22/07 6:59		227		- 0		46		8		132		239		- 0		10		- 0		142		804				7/22/07 6:59		237		381		804

		7		22		9		7/22/07 7:59		378		- 0		68		11		201		298		- 0		12		- 0		153		1,121				7/22/07 7:59		390		451		1,121

		7		22		10		7/22/07 8:59		241		- 0		64		10		146		249		- 0		11		- 0		146		867				7/22/07 8:59		252		395		867

		7		22		11		7/22/07 9:59		243		- 0		67		10		149		250		- 0		11		- 0		144		873				7/22/07 9:59		254		394		873

		7		22		12		7/22/07 10:59		252		- 0		64		9		145		243		- 0		11		- 0		141		865				7/22/07 10:59		263		384		865

		7		22		13		7/22/07 11:59		371		- 0		75		9		195		282		- 0		12		- 0		150		1,094				7/22/07 11:59		383		432		1,094

		7		22		14		7/22/07 12:59		378		- 0		79		9		209		292		- 0		11		- 0		153		1,131				7/22/07 12:59		389		445		1,131

		7		22		15		7/22/07 13:59		315		- 0		75		8		179		272		- 0		12		- 0		150		1,010				7/22/07 13:59		327		422		1,010

		7		22		16		7/22/07 14:59		387		- 0		79		6		201		288		- 0		12		- 0		153		1,127				7/22/07 14:59		399		441		1,127

		7		22		17		7/22/07 15:59		286		- 0		66		4		150		256		- 0		13		- 0		147		922				7/22/07 15:59		299		403		922

		7		22		18		7/22/07 16:59		268		- 0		58		3		131		249		- 0		12		- 0		146		867				7/22/07 16:59		280		395		867

		7		22		19		7/22/07 17:59		419		- 0		61		3		168		294		- 0		13		- 0		151		1,109				7/22/07 17:59		432		445		1,109

		7		22		20		7/22/07 18:59		384		- 0		57		3		157		288		- 0		12		- 0		151		1,053				7/22/07 18:59		396		439		1,053

		7		22		21		7/22/07 19:59		387		- 0		62		4		162		299		- 0		11		- 0		151		1,076				7/22/07 19:59		398		450		1,076

		7		22		22		7/22/07 20:59		191		- 0		41		3		93		226		- 0		9		3		137		703				7/22/07 20:59		200		363		703

		7		22		23		7/22/07 21:59		180		- 0		39		3		85		221		- 0		9		6		140		683				7/22/07 21:59		189		361		683

		7		22		24		7/22/07 22:59		126		- 0		35		2		70		215		- 0		7		6		139		600				7/22/07 22:59		133		354		600

		7		23		1		7/22/07 23:59		345		- 0		74		2		218		302		- 0		10		6		156		1,113				7/22/07 23:59		355		458		1,113

		7		23		2		7/23/07 0:59		135		- 0		53		2		125		228		- 0		8		5		141		698				7/23/07 0:59		143		369		698

		7		23		3		7/23/07 1:59		139		- 0		52		2		124		229		- 0		8		5		141		701				7/23/07 1:59		147		370		701

		7		23		4		7/23/07 2:59		138		- 0		50		2		125		227		- 0		8		5		142		697				7/23/07 2:59		146		369		697

		7		23		5		7/23/07 3:59		145		- 0		49		2		124		228		- 0		7		5		141		702				7/23/07 3:59		152		369		702

		7		23		6		7/23/07 4:59		132		- 0		46		2		120		223		- 0		7		5		142		677				7/23/07 4:59		139		365		677

		7		23		7		7/23/07 5:59		165		- 0		50		2		134		235		- 0		8		3		142		738				7/23/07 5:59		173		377		738

		7		23		8		7/23/07 6:59		363		- 0		69		4		223		302		- 0		12		- 0		155		1,128				7/23/07 6:59		375		457		1,128

		7		23		9		7/23/07 7:59		232		- 0		61		3		152		255		- 0		12		- 0		148		864				7/23/07 7:59		244		403		864

		7		23		10		7/23/07 8:59		226		- 0		66		4		155		251		- 0		13		- 0		148		862				7/23/07 8:59		239		399		862

		7		23		11		7/23/07 9:59		228		- 0		67		4		147		242		- 0		13		- 0		146		847				7/23/07 9:59		241		388		847

		7		23		12		7/23/07 10:59		232		- 0		69		3		151		244		- 0		13		- 0		146		858				7/23/07 10:59		245		390		858

		7		23		13		7/23/07 11:59		230		- 0		67		3		151		247		- 0		14		- 0		147		860				7/23/07 11:59		244		394		860

		7		23		14		7/23/07 12:59		219		- 0		71		3		154		250		- 0		12		- 0		147		856				7/23/07 12:59		231		397		856

		7		23		15		7/23/07 13:59		217		- 0		72		3		154		249		- 0		13		- 0		147		854				7/23/07 13:59		230		396		854

		7		23		16		7/23/07 14:59		226		- 0		74		2		159		253		- 0		12		- 0		148		875				7/23/07 14:59		238		401		875

		7		23		17		7/23/07 15:59		227		- 0		71		2		152		247		- 0		14		- 0		147		859				7/23/07 15:59		241		394		859

		7		23		18		7/23/07 16:59		238		- 0		61		2		144		248		- 0		15		- 0		146		854				7/23/07 16:59		253		394		854

		7		23		19		7/23/07 17:59		236		- 0		62		2		145		251		- 0		13		- 0		147		856				7/23/07 17:59		249		398		856

		7		23		20		7/23/07 18:59		258		- 0		65		2		158		263		- 0		13		- 0		148		908				7/23/07 18:59		271		411		908

		7		23		21		7/23/07 19:59		237		- 0		64		3		147		254		- 0		13		- 0		147		864				7/23/07 19:59		250		401		864

		7		23		22		7/23/07 20:59		280		- 0		69		3		166		264		- 0		12		3		149		945				7/23/07 20:59		292		413		945

		7		23		23		7/23/07 21:59		361		- 0		76		3		204		298		- 0		12		6		154		1,114				7/23/07 21:59		373		452		1,114

		7		23		24		7/23/07 22:59		313		- 0		71		2		193		289		- 0		10		6		153		1,038				7/23/07 22:59		323		442		1,038

		7		24		1		7/23/07 23:59		291		- 0		77		2		209		298		- 0		10		6		151		1,045				7/23/07 23:59		301		449		1,045

		7		24		2		7/24/07 0:59		172		- 0		62		2		147		246		- 0		8		5		142		784				7/24/07 0:59		180		388		784

		7		24		3		7/24/07 1:59		131		- 0		56		2		127		228		- 0		8		5		141		699				7/24/07 1:59		139		369		699

		7		24		4		7/24/07 2:59		160		- 0		60		2		144		240		- 0		8		5		143		762				7/24/07 2:59		168		383		762

		7		24		5		7/24/07 3:59		149		- 0		55		2		134		237		- 0		8		5		142		731				7/24/07 3:59		157		379		731

		7		24		6		7/24/07 4:59		144		- 0		51		1		129		230		- 0		8		5		141		710				7/24/07 4:59		152		371		710

		7		24		7		7/24/07 5:59		143		- 0		51		1		130		226		- 0		8		4		140		704				7/24/07 5:59		151		366		704

		7		24		8		7/24/07 6:59		222		- 0		59		1		166		254		- 0		11		- 0		143		856				7/24/07 6:59		233		397		856

		7		24		9		7/24/07 7:59		276		- 0		63		2		174		264		- 0		12		- 0		148		939				7/24/07 7:59		288		412		939

		7		24		10		7/24/07 8:59		234		- 0		62		2		150		250		- 0		10		- 0		146		856				7/24/07 8:59		244		396		856

		7		24		11		7/24/07 9:59		221		- 0		64		2		151		249		- 0		11		- 0		147		845				7/24/07 9:59		232		396		845

		7		24		12		7/24/07 10:59		226		- 0		65		2		153		248		- 0		13		- 0		146		854				7/24/07 10:59		239		394		854

		7		24		13		7/24/07 11:59		226		- 0		67		2		159		252		- 0		12		- 0		148		866				7/24/07 11:59		238		400		866

		7		24		14		7/24/07 12:59		224		- 0		66		2		155		251		- 0		12		- 0		147		856				7/24/07 12:59		236		398		856

		7		24		15		7/24/07 13:59		212		- 0		69		2		165		258		- 0		12		- 0		147		865				7/24/07 13:59		224		405		865

		7		24		16		7/24/07 14:59		216		- 0		68		2		157		251		- 0		14		- 0		147		855				7/24/07 14:59		230		398		855

		7		24		17		7/24/07 15:59		224		- 0		65		2		156		253		- 0		13		- 0		146		860				7/24/07 15:59		237		399		860

		7		24		18		7/24/07 16:59		237		- 0		60		2		147		249		- 0		14		- 0		146		854				7/24/07 16:59		251		395		854

		7		24		19		7/24/07 17:59		241		- 0		60		2		148		247		- 0		15		- 0		146		859				7/24/07 17:59		256		393		859

		7		24		20		7/24/07 18:59		245		- 0		60		2		145		248		- 0		13		- 0		146		858				7/24/07 18:59		258		394		858

		7		24		21		7/24/07 19:59		240		- 0		62		3		147		250		- 0		15		- 0		146		863				7/24/07 19:59		255		396		863

		7		24		22		7/24/07 20:59		240		- 0		61		2		144		246		- 0		13		3		146		855				7/24/07 20:59		253		392		855

		7		24		23		7/24/07 21:59		344		- 0		71		3		205		289		- 0		12		6		153		1,082				7/24/07 21:59		356		442		1,082

		7		24		24		7/24/07 22:59		352		- 0		70		2		217		304		- 0		11		6		155		1,116				7/24/07 22:59		363		459		1,116

		7		25		1		7/24/07 23:59		111		- 0		44		2		92		213		- 0		6		6		141		615				7/24/07 23:59		117		354		615

		7		25		2		7/25/07 0:59		97		- 0		42		2		88		215		- 0		6		5		142		596				7/25/07 0:59		103		357		596

		7		25		3		7/25/07 1:59		101		- 0		41		2		89		215		- 0		6		5		142		602				7/25/07 1:59		107		357		602

		7		25		4		7/25/07 2:59		98		- 0		42		2		89		215		- 0		5		5		142		598				7/25/07 2:59		103		357		598

		7		25		5		7/25/07 3:59		94		- 0		42		2		92		215		- 0		6		5		141		597				7/25/07 3:59		100		356		597

		7		25		6		7/25/07 4:59		101		- 0		44		2		100		196		- 0		6		5		141		596				7/25/07 4:59		107		337		596

		7		25		7		7/25/07 5:59		151		- 0		50		6		131		220		- 0		7		4		140		709				7/25/07 5:59		158		360		709

		7		25		8		7/25/07 6:59		347		- 0		80		7		241		297		- 0		8		- 0		154		1,134				7/25/07 6:59		355		451		1,134

		7		25		9		7/25/07 7:59		214		- 0		74		8		164		236		- 0		9		- 0		146		851				7/25/07 7:59		223		382		851

		7		25		10		7/25/07 8:59		209		- 0		80		8		170		240		- 0		9		- 0		146		863				7/25/07 8:59		218		386		863

		7		25		11		7/25/07 9:59		207		- 0		82		8		163		237		- 0		10		- 0		144		852				7/25/07 9:59		217		381		852

		7		25		12		7/25/07 10:59		205		- 0		81		8		160		239		- 0		11		- 0		144		848				7/25/07 10:59		216		383		848

		7		25		13		7/25/07 11:59		203		- 0		83		7		163		241		- 0		10		- 0		145		852				7/25/07 11:59		213		386		852

		7		25		14		7/25/07 12:59		206		- 0		86		8		168		242		- 0		12		- 0		142		863				7/25/07 12:59		218		384		863

		7		25		15		7/25/07 13:59		203		- 0		83		9		162		244		- 0		12		- 0		144		855				7/25/07 13:59		215		388		855

		7		25		16		7/25/07 14:59		197		- 0		81		7		165		249		- 0		13		- 0		145		857				7/25/07 14:59		210		394		857

		7		25		17		7/25/07 15:59		214		- 0		76		6		153		249		- 0		15		- 0		145		857				7/25/07 15:59		229		394		857

		7		25		18		7/25/07 16:59		241		- 0		65		4		147		237		- 0		17		- 0		146		856				7/25/07 16:59		258		383		856

		7		25		19		7/25/07 17:59		242		- 0		60		4		142		238		- 0		16		- 0		143		844				7/25/07 17:59		258		381		844

		7		25		20		7/25/07 18:59		248		- 0		59		4		144		243		- 0		15		- 0		146		859				7/25/07 18:59		263		389		859

		7		25		21		7/25/07 19:59		248		- 0		61		5		137		242		- 0		14		- 0		144		851				7/25/07 19:59		262		386		851

		7		25		22		7/25/07 20:59		256		- 0		59		5		135		242		- 0		14		3		146		860				7/25/07 20:59		270		388		860

		7		25		23		7/25/07 21:59		299		- 0		62		4		159		266		- 0		11		6		148		955				7/25/07 21:59		310		414		955

		7		25		24		7/25/07 22:59		203		- 0		55		3		134		241		- 0		9		6		138		789				7/25/07 22:59		212		379		789

		7		26		1		7/25/07 23:59		106		- 0		41		3		88		212		- 0		8		6		138		602				7/25/07 23:59		114		350		602

		7		26		2		7/26/07 0:59		103		- 0		41		3		90		211		- 0		8		5		142		603				7/26/07 0:59		111		353		603

		7		26		3		7/26/07 1:59		97		- 0		40		3		87		216		- 0		7		5		142		598				7/26/07 1:59		104		358		598

		7		26		4		7/26/07 2:59		96		- 0		40		3		88		215		- 0		7		5		141		595				7/26/07 2:59		103		356		595

		7		26		5		7/26/07 3:59		100		- 0		39		2		90		212		- 0		8		5		141		598				7/26/07 3:59		108		353		598

		7		26		6		7/26/07 4:59		107		- 0		38		2		89		212		- 0		6		5		139		598				7/26/07 4:59		113		351		598

		7		26		7		7/26/07 5:59		155		- 0		44		5		117		228		- 0		8		4		140		701				7/26/07 5:59		163		368		701

		7		26		8		7/26/07 6:59		364		- 0		75		8		223		296		- 0		11		- 0		153		1,130				7/26/07 6:59		375		449		1,130

		7		26		9		7/26/07 7:59		223		- 0		70		9		161		247		- 0		11		- 0		145		867				7/26/07 7:59		234		392		867

		7		26		10		7/26/07 8:59		211		- 0		76		9		156		246		- 0		11		- 0		145		854				7/26/07 8:59		222		391		854

		7		26		11		7/26/07 9:59		211		- 0		81		8		159		246		- 0		10		- 0		148		862				7/26/07 9:59		221		394		862

		7		26		12		7/26/07 10:59		215		- 0		80		8		156		244		- 0		11		- 0		146		860				7/26/07 10:59		226		390		860

		7		26		13		7/26/07 11:59		216		- 0		80		8		160		243		- 0		11		- 0		147		865				7/26/07 11:59		227		390		865

		7		26		14		7/26/07 12:59		203		- 0		81		8		160		244		- 0		11		- 0		145		853				7/26/07 12:59		214		389		853

		7		26		15		7/26/07 13:59		204		- 0		83		9		162		251		- 0		10		- 0		145		864				7/26/07 13:59		214		396		864

		7		26		16		7/26/07 14:59		196		- 0		81		7		158		251		- 0		11		- 0		148		853				7/26/07 14:59		207		399		853

		7		26		17		7/26/07 15:59		212		- 0		76		5		148		253		- 0		12		- 0		147		853				7/26/07 15:59		224		400		853

		7		26		18		7/26/07 16:59		238		- 0		64		4		140		255		- 0		12		- 0		147		860				7/26/07 16:59		250		402		860

		7		26		19		7/26/07 17:59		238		- 0		61		4		140		253		- 0		12		- 0		148		857				7/26/07 17:59		250		401		857

		7		26		20		7/26/07 18:59		246		- 0		61		5		139		252		- 0		12		- 0		148		862				7/26/07 18:59		258		400		862

		7		26		21		7/26/07 19:59		245		- 0		60		5		135		250		- 0		11		- 0		148		854				7/26/07 19:59		256		398		854

		7		26		22		7/26/07 20:59		294		- 0		59		5		146		270		- 0		12		3		149		938				7/26/07 20:59		306		419		938

		7		26		23		7/26/07 21:59		338		- 0		59		4		166		291		- 0		11		6		153		1,028				7/26/07 21:59		349		444		1,028

		7		26		24		7/26/07 22:59		118		- 0		41		3		91		219		- 0		9		6		142		627				7/26/07 22:59		127		361		627

		7		27		1		7/26/07 23:59		103		- 0		37		3		80		216		- 0		8		6		142		593				7/26/07 23:59		111		358		593

		7		27		2		7/27/07 0:59		103		- 0		36		3		82		224		- 0		8		5		144		605				7/27/07 0:59		111		368		605

		7		27		3		7/27/07 1:59		109		- 0		35		3		83		224		- 0		7		5		145		611				7/27/07 1:59		116		369		611

		7		27		4		7/27/07 2:59		104		- 0		33		3		79		222		- 0		7		5		145		599				7/27/07 2:59		111		367		599

		7		27		5		7/27/07 3:59		150		- 0		38		2		105		244		- 0		7		5		150		701				7/27/07 3:59		157		394		701

		7		27		6		7/27/07 4:59		106		- 0		34		2		84		215		- 0		7		5		142		596				7/27/07 4:59		113		357		596

		7		27		7		7/27/07 5:59		132		- 0		38		5		100		221		- 0		8		4		140		650				7/27/07 5:59		140		361		650

		7		27		8		7/27/07 6:59		350		- 0		66		8		200		291		- 0		10		- 0		153		1,078				7/27/07 6:59		360		444		1,078

		7		27		9		7/27/07 7:59		366		- 0		80		9		224		296		- 0		10		- 0		149		1,134				7/27/07 7:59		376		445		1,134

		7		27		10		7/27/07 8:59		344		- 0		88		9		227		290		- 0		11		- 0		151		1,120				7/27/07 8:59		355		441		1,120

		7		27		11		7/27/07 9:59		222		- 0		76		8		157		240		- 0		10		- 0		144		859				7/27/07 9:59		232		384		859

		7		27		12		7/27/07 10:59		214		- 0		79		9		157		245		- 0		14		- 0		147		864				7/27/07 10:59		228		392		864

		7		27		13		7/27/07 11:59		219		- 0		80		8		160		247		- 0		11		- 0		147		872				7/27/07 11:59		230		394		872

		7		27		14		7/27/07 12:59		205		- 0		80		9		161		247		- 0		10		- 0		147		859				7/27/07 12:59		215		394		859

		7		27		15		7/27/07 13:59		211		- 0		81		8		161		250		- 0		11		- 0		147		869				7/27/07 13:59		222		397		869

		7		27		16		7/27/07 14:59		239		- 0		82		7		173		263		- 0		10		- 0		149		923				7/27/07 14:59		249		412		923

		7		27		17		7/27/07 15:59		226		- 0		74		6		145		252		- 0		11		- 0		147		860				7/27/07 15:59		237		399		860

		7		27		18		7/27/07 16:59		245		- 0		61		4		136		248		- 0		12		- 0		147		853				7/27/07 16:59		257		395		853

		7		27		19		7/27/07 17:59		283		- 0		60		4		150		267		- 0		12		- 0		148		924				7/27/07 17:59		295		415		924

		7		27		20		7/27/07 18:59		343		- 0		65		5		171		284		- 0		10		- 0		151		1,028				7/27/07 18:59		353		435		1,028

		7		27		21		7/27/07 19:59		319		- 0		65		5		160		273		- 0		12		- 0		149		983				7/27/07 19:59		331		422		983

		7		27		22		7/27/07 20:59		386		- 0		65		5		175		297		- 0		11		4		150		1,093				7/27/07 20:59		397		447		1,093

		7		27		23		7/27/07 21:59		277		- 0		59		4		147		272		- 0		9		6		148		920				7/27/07 21:59		286		420		920

		7		27		24		7/27/07 22:59		131		- 0		44		3		95		226		- 0		8		6		142		653				7/27/07 22:59		139		368		653

		7		28		1		7/27/07 23:59		219		- 0		42		4		104		268		- 0		7		6		154		804				7/27/07 23:59		226		422		804

		7		28		2		7/28/07 0:59		263		- 0		44		4		121		286		- 0		7		5		160		891				7/28/07 0:59		270		446		891

		7		28		3		7/28/07 1:59		469		- 0		59		4		189		383		- 0		7		5		176		1,293				7/28/07 1:59		476		559		1,293

		7		28		4		7/28/07 2:59		933		- 0		90		5		351		607		- 0		9		5		213		2,214				7/28/07 2:59		942		820		2,214

		7		28		5		7/28/07 3:59		253		- 0		45		2		123		287		- 0		6		5		159		881				7/28/07 3:59		259		446		881

		7		28		6		7/28/07 4:59		174		- 0		32		3		84		244		- 0		6		5		150		699				7/28/07 4:59		180		394		699

		7		28		7		7/28/07 5:59		127		- 0		32		6		73		209		- 0		8		4		143		603				7/28/07 5:59		135		352		603

		7		28		8		7/28/07 6:59		181		- 0		41		7		96		225		- 0		8		- 0		142		701				7/28/07 6:59		189		367		701

		7		28		9		7/28/07 7:59		170		- 0		49		9		101		219		- 0		7		- 0		141		697				7/28/07 7:59		177		360		697

		7		28		10		7/28/07 8:59		336		- 0		70		10		164		273		- 0		9		- 0		153		1,015				7/28/07 8:59		345		426		1,015

		7		28		11		7/28/07 9:59		233		- 0		63		9		135		248		- 0		9		- 0		147		844				7/28/07 9:59		242		395		844

		7		28		12		7/28/07 10:59		300		- 0		71		9		158		267		- 0		9		- 0		151		966				7/28/07 10:59		309		418		966

		7		28		13		7/28/07 11:59		179		- 0		61		8		115		225		- 0		9		- 0		143		740				7/28/07 11:59		188		368		740

		7		28		14		7/28/07 12:59		165		- 0		60		9		112		219		- 0		9		- 0		142		715				7/28/07 12:59		174		361		715

		7		28		15		7/28/07 13:59		152		- 0		59		9		109		223		- 0		8		- 0		142		701				7/28/07 13:59		160		365		701

		7		28		16		7/28/07 14:59		181		- 0		60		7		113		233		- 0		9		- 0		143		746				7/28/07 14:59		190		376		746

		7		28		17		7/28/07 15:59		215		- 0		59		6		114		243		- 0		11		- 0		145		792				7/28/07 15:59		226		388		792

		7		28		18		7/28/07 16:59		372		- 0		64		4		148		284		- 0		11		- 0		153		1,036				7/28/07 16:59		383		437		1,036

		7		28		19		7/28/07 17:59		224		- 0		51		3		99		232		- 0		10		- 0		144		763				7/28/07 17:59		234		376		763

		7		28		20		7/28/07 18:59		198		- 0		46		4		89		224		- 0		10		- 0		142		713				7/28/07 18:59		208		366		713

		7		28		21		7/28/07 19:59		422		- 0		61		5		139		287		- 0		12		- 0		155		1,080				7/28/07 19:59		434		442		1,080

		7		28		22		7/28/07 20:59		196		- 0		40		4		80		225		- 0		11		4		142		702				7/28/07 20:59		207		367		702

		7		28		23		7/28/07 21:59		144		- 0		34		4		65		211		- 0		9		6		142		614				7/28/07 21:59		153		353		614

		7		28		24		7/28/07 22:59		126		- 0		32		3		62		212		- 0		8		6		146		594				7/28/07 22:59		134		358		594

		7		29		1		7/28/07 23:59		177		- 0		34		3		91		239		- 0		6		6		151		707				7/28/07 23:59		183		390		707

		7		29		2		7/29/07 0:59		251		- 0		43		3		132		285		- 0		6		5		159		885				7/29/07 0:59		257		444		885

		7		29		3		7/29/07 1:59		264		- 0		40		3		129		287		- 0		6		5		160		895				7/29/07 1:59		270		447		895

		7		29		4		7/29/07 2:59		281		- 0		39		3		136		302		- 0		6		5		162		935				7/29/07 2:59		287		464		935

		7		29		5		7/29/07 3:59		249		- 0		41		3		132		286		- 0		6		5		158		880				7/29/07 3:59		255		444		880

		7		29		6		7/29/07 4:59		254		- 0		35		3		128		280		- 0		7		5		157		868				7/29/07 4:59		261		437		868

		7		29		7		7/29/07 5:59		116		- 0		31		5		81		211		- 0		6		4		143		597				7/29/07 5:59		122		354		597

		7		29		8		7/29/07 6:59		169		- 0		43		7		107		225		- 0		8		- 0		139		698				7/29/07 6:59		177		364		698

		7		29		9		7/29/07 7:59		350		- 0		63		10		176		282		- 0		10		- 0		152		1,044				7/29/07 7:59		360		434		1,044

		7		29		10		7/29/07 8:59		390		- 0		72		10		194		293		- 0		11		- 0		154		1,124				7/29/07 8:59		401		447		1,124

		7		29		11		7/29/07 9:59		365		- 0		73		9		185		284		- 0		10		- 0		152		1,078				7/29/07 9:59		375		436		1,078

		7		29		12		7/29/07 10:59		333		- 0		71		9		172		281		- 0		12		- 0		151		1,029				7/29/07 10:59		345		432		1,029

		7		29		13		7/29/07 11:59		298		- 0		72		7		165		271		- 0		10		- 0		150		974				7/29/07 11:59		308		421		974

		7		29		14		7/29/07 12:59		366		- 0		79		9		205		300		- 0		11		- 0		156		1,125				7/29/07 12:59		377		456		1,125

		7		29		15		7/29/07 13:59		277		- 0		70		8		169		270		- 0		9		- 0		150		954				7/29/07 13:59		286		420		954

		7		29		16		7/29/07 14:59		358		- 0		74		7		189		304		- 0		10		- 0		155		1,097				7/29/07 14:59		368		459		1,097

		7		29		17		7/29/07 15:59		394		- 0		68		5		178		303		- 0		12		- 0		155		1,116				7/29/07 15:59		406		458		1,116

		7		29		18		7/29/07 16:59		355		- 0		61		4		165		295		- 0		13		- 0		153		1,047				7/29/07 16:59		368		448		1,047

		7		29		19		7/29/07 17:59		206		- 0		48		2		110		246		- 0		11		- 0		143		766				7/29/07 17:59		217		389		766

		7		29		20		7/29/07 18:59		214		- 0		48		3		108		247		- 0		11		- 0		142		773				7/29/07 18:59		225		389		773

		7		29		21		7/29/07 19:59		385		- 0		64		4		157		298		- 0		12		- 0		153		1,073				7/29/07 19:59		397		451		1,073

		7		29		22		7/29/07 20:59		212		- 0		44		3		93		230		- 0		10		4		142		738				7/29/07 20:59		222		372		738

		7		29		23		7/29/07 21:59		170		- 0		39		3		81		230		- 0		9		6		141		678				7/29/07 21:59		179		371		678

		7		29		24		7/29/07 22:59		123		- 0		34		2		69		221		- 0		8		6		144		606				7/29/07 22:59		131		365		606

		7		30		1		7/29/07 23:59		154		- 0		52		2		127		235		- 0		9		6		144		728				7/29/07 23:59		163		379		728

		7		30		2		7/30/07 0:59		145		- 0		50		2		123		227		- 0		9		5		143		705				7/30/07 0:59		154		370		705

		7		30		3		7/30/07 1:59		105		- 0		44		2		105		217		- 0		9		5		142		628				7/30/07 1:59		114		359		628

		7		30		4		7/30/07 2:59		114		- 0		44		2		107		222		- 0		7		5		142		644				7/30/07 2:59		121		364		644

		7		30		5		7/30/07 3:59		111		- 0		45		2		107		217		- 0		8		5		142		637				7/30/07 3:59		119		359		637

		7		30		6		7/30/07 4:59		111		- 0		41		2		105		218		- 0		8		5		141		631				7/30/07 4:59		119		359		631

		7		30		7		7/30/07 5:59		152		- 0		44		2		121		230		- 0		10		4		142		704				7/30/07 5:59		162		372		704

		7		30		8		7/30/07 6:59		256		- 0		56		3		170		271		- 0		12		- 0		149		917				7/30/07 6:59		268		420		917

		7		30		9		7/30/07 7:59		323		- 0		62		3		186		278		- 0		13		- 0		152		1,016				7/30/07 7:59		336		430		1,016

		7		30		10		7/30/07 8:59		274		- 0		63		3		167		258		- 0		14		- 0		150		929				7/30/07 8:59		288		408		929

		7		30		11		7/30/07 9:59		242		- 0		62		3		148		249		- 0		13		- 0		149		866				7/30/07 9:59		255		398		866

		7		30		12		7/30/07 10:59		244		- 0		65		3		154		251		- 0		14		- 0		149		881				7/30/07 10:59		258		400		881

		7		30		13		7/30/07 11:59		246		- 0		65		2		160		255		- 0		14		- 0		149		892				7/30/07 11:59		260		404		892

		7		30		14		7/30/07 12:59		285		- 0		71		2		180		272		- 0		12		- 0		151		973				7/30/07 12:59		297		423		973

		7		30		15		7/30/07 13:59		250		- 0		69		2		163		257		- 0		13		- 0		150		905				7/30/07 13:59		263		407		905

		7		30		16		7/30/07 14:59		254		- 0		69		2		165		262		- 0		12		- 0		150		914				7/30/07 14:59		266		412		914

		7		30		17		7/30/07 15:59		241		- 0		64		2		148		251		- 0		14		- 0		148		869				7/30/07 15:59		255		399		869

		7		30		18		7/30/07 16:59		329		- 0		63		2		179		278		- 0		13		- 0		152		1,016				7/30/07 16:59		342		430		1,016

		7		30		19		7/30/07 17:59		387		- 0		67		2		197		294		- 0		14		- 0		154		1,116				7/30/07 17:59		401		448		1,116

		7		30		20		7/30/07 18:59		399		- 0		68		2		203		291		- 0		15		- 0		156		1,134				7/30/07 18:59		414		447		1,134

		7		30		21		7/30/07 19:59		385		- 0		73		3		199		293		- 0		15		- 0		155		1,123				7/30/07 19:59		400		448		1,123

		7		30		22		7/30/07 20:59		391		- 0		72		3		199		293		- 0		14		4		156		1,131				7/30/07 20:59		405		449		1,131

		7		30		23		7/30/07 21:59		296		- 0		63		2		173		276		- 0		12		6		152		980				7/30/07 21:59		308		428		980

		7		30		24		7/30/07 22:59		147		- 0		49		2		113		223		- 0		10		6		141		691				7/30/07 22:59		157		364		691

		7		31		1		7/30/07 23:59		315		- 0		83		2		238		296		- 0		10		6		154		1,104				7/30/07 23:59		325		450		1,104

		7		31		2		7/31/07 0:59		192		- 0		67		2		174		250		- 0		9		5		146		846				7/31/07 0:59		201		396		846

		7		31		3		7/31/07 1:59		176		- 0		66		2		169		251		- 0		8		5		145		822				7/31/07 1:59		184		396		822

		7		31		4		7/31/07 2:59		228		- 0		71		2		199		274		- 0		9		5		149		937				7/31/07 2:59		237		423		937

		7		31		5		7/31/07 3:59		160		- 0		61		2		157		242		- 0		8		5		143		778				7/31/07 3:59		168		385		778

		7		31		6		7/31/07 4:59		168		- 0		58		2		157		238		- 0		8		5		142		778				7/31/07 4:59		176		380		778

		7		31		7		7/31/07 5:59		300		- 0		70		2		225		283		- 0		10		4		152		1,046				7/31/07 5:59		310		435		1,046

		7		31		8		7/31/07 6:59		320		- 0		71		2		236		289		- 0		12		- 0		153		1,083				7/31/07 6:59		332		442		1,083

		7		31		9		7/31/07 7:59		226		- 0		64		2		169		249		- 0		12		- 0		147		870				7/31/07 7:59		238		396		870

		7		31		10		7/31/07 8:59		225		- 0		64		2		163		244		- 0		12		- 0		146		857				7/31/07 8:59		237		390		857

		7		31		11		7/31/07 9:59		220		- 0		67		2		161		245		- 0		12		- 0		146		853				7/31/07 9:59		232		391		853

		7		31		12		7/31/07 10:59		226		- 0		67		2		158		243		- 0		11		- 0		145		853				7/31/07 10:59		237		388		853

		7		31		13		7/31/07 11:59		216		- 0		66		2		154		243		- 0		12		- 0		144		837				7/31/07 11:59		228		387		837

		7		31		14		7/31/07 12:59		205		- 0		70		2		166		253		- 0		15		- 0		146		857				7/31/07 12:59		220		399		857

		7		31		15		7/31/07 13:59		211		- 0		70		2		163		248		- 0		13		- 0		145		852				7/31/07 13:59		224		393		852

		7		31		16		7/31/07 14:59		212		- 0		69		2		166		253		- 0		12		- 0		146		860				7/31/07 14:59		224		399		860

		7		31		17		7/31/07 15:59		223		- 0		67		2		157		247		- 0		12		- 0		145		853				7/31/07 15:59		235		392		853

		7		31		18		7/31/07 16:59		237		- 0		62		2		152		240		- 0		14		- 0		144		852				7/31/07 16:59		251		384		852

		7		31		19		7/31/07 17:59		233		- 0		62		2		154		246		- 0		14		- 0		145		855				7/31/07 17:59		247		391		855

		7		31		20		7/31/07 18:59		241		- 0		62		2		152		244		- 0		13		- 0		145		859				7/31/07 18:59		254		389		859

		7		31		21		7/31/07 19:59		233		- 0		65		3		149		242		- 0		13		- 0		144		849				7/31/07 19:59		246		386		849

		7		31		22		7/31/07 20:59		227		- 0		65		3		151		240		- 0		12		4		143		845				7/31/07 20:59		239		383		845

		7		31		23		7/31/07 21:59		235		- 0		64		2		164		247		- 0		12		6		148		878				7/31/07 21:59		247		395		878

		7		31		24		7/31/07 22:59		340		- 0		76		2		240		303		- 0		10		6		156		1,132				7/31/07 22:59		350		459		1,132

		8		1		1		7/31/07 23:59		101		- 0		42		2		90		205		- 0		7		6		141		595				7/31/07 23:59		108		346		595

		8		1		2		8/1/07 0:59		106		- 0		41		2		94		209		- 0		6		5		142		605				8/1/07 0:59		112		351		605

		8		1		3		8/1/07 1:59		105		- 0		40		2		93		209		- 0		6		5		142		602				8/1/07 1:59		111		351		602

		8		1		4		8/1/07 2:59		100		- 0		42		2		96		209		- 0		7		5		142		604				8/1/07 2:59		107		351		604

		8		1		5		8/1/07 3:59		99		- 0		40		2		95		207		- 0		7		5		141		596				8/1/07 3:59		106		348		596

		8		1		6		8/1/07 4:59		105		- 0		39		2		99		209		- 0		6		5		139		604				8/1/07 4:59		111		348		604

		8		1		7		8/1/07 5:59		166		- 0		47		6		139		228		- 0		7		4		141		739				8/1/07 5:59		173		369		739

		8		1		8		8/1/07 6:59		337		- 0		75		10		245		289		- 0		10		- 0		151		1,117				8/1/07 6:59		347		440		1,117

		8		1		9		8/1/07 7:59		211		- 0		69		11		170		244		- 0		10		- 0		143		858				8/1/07 7:59		221		387		858

		8		1		10		8/1/07 8:59		205		- 0		74		12		164		235		- 0		12		- 0		145		847				8/1/07 8:59		217		380		847

		8		1		11		8/1/07 9:59		199		- 0		78		12		169		234		- 0		11		- 0		146		849				8/1/07 9:59		210		380		849

		8		1		12		8/1/07 10:59		198		- 0		77		12		161		233		- 0		12		- 0		145		839				8/1/07 10:59		210		378		839

		8		1		13		8/1/07 11:59		197		- 0		77		9		165		238		- 0		12		- 0		146		845				8/1/07 11:59		209		384		845

		8		1		14		8/1/07 12:59		191		- 0		79		12		165		237		- 0		11		- 0		146		841				8/1/07 12:59		202		383		841

		8		1		15		8/1/07 13:59		191		- 0		80		11		173		244		- 0		12		- 0		146		857				8/1/07 13:59		203		390		857

		8		1		16		8/1/07 14:59		195		- 0		78		10		172		245		- 0		13		- 0		147		859				8/1/07 14:59		208		392		859

		8		1		17		8/1/07 15:59		207		- 0		75		8		158		245		- 0		13		- 0		146		851				8/1/07 15:59		220		391		851

		8		1		18		8/1/07 16:59		216		- 0		63		4		143		237		- 0		15		- 0		145		823				8/1/07 16:59		231		382		823

		8		1		19		8/1/07 17:59		232		- 0		57		4		148		242		- 0		14		- 0		144		841				8/1/07 17:59		246		386		841

		8		1		20		8/1/07 18:59		243		- 0		56		5		151		243		- 0		14		- 0		145		856				8/1/07 18:59		257		388		856

		8		1		21		8/1/07 19:59		239		- 0		62		5		147		244		- 0		13		- 0		144		853				8/1/07 19:59		252		388		853

		8		1		22		8/1/07 20:59		247		- 0		57		5		144		244		- 0		13		4		146		860				8/1/07 20:59		260		390		860

		8		1		23		8/1/07 21:59		312		- 0		59		5		171		267		- 0		11		6		147		976				8/1/07 21:59		323		414		976

		8		1		24		8/1/07 22:59		216		- 0		52		3		149		254		- 0		10		6		145		835				8/1/07 22:59		226		399		835

		8		2		1		8/1/07 23:59		141		- 0		48		3		122		236		- 0		8		6		143		707				8/1/07 23:59		149		379		707

		8		2		2		8/2/07 0:59		120		- 0		45		3		113		232		- 0		7		5		142		667				8/2/07 0:59		127		374		667

		8		2		3		8/2/07 1:59		107		- 0		43		3		105		221		- 0		7		5		142		634				8/2/07 1:59		114		363		634

		8		2		4		8/2/07 2:59		105		- 0		42		3		101		221		- 0		7		5		141		625				8/2/07 2:59		112		362		625

		8		2		5		8/2/07 3:59		108		- 0		43		2		104		220		- 0		7		5		142		631				8/2/07 3:59		115		362		631

		8		2		6		8/2/07 4:59		145		- 0		44		2		122		232		- 0		7		5		143		701				8/2/07 4:59		152		375		701

		8		2		7		8/2/07 5:59		309		- 0		62		7		209		297		- 0		9		4		151		1,049				8/2/07 5:59		318		448		1,049

		8		2		8		8/2/07 6:59		214		- 0		66		12		172		252		- 0		10		- 0		145		869				8/2/07 6:59		224		397		869

		8		2		9		8/2/07 7:59		202		- 0		73		13		168		243		- 0		11		- 0		147		858				8/2/07 7:59		213		390		858

		8		2		10		8/2/07 8:59		195		- 0		77		12		159		236		- 0		11		- 0		143		833				8/2/07 8:59		206		379		833

		8		2		11		8/2/07 9:59		188		- 0		80		12		162		234		- 0		12		- 0		141		830				8/2/07 9:59		200		375		830

		8		2		12		8/2/07 10:59		208		- 0		82		11		167		246		- 0		12		- 0		146		873				8/2/07 10:59		220		392		873

		8		2		13		8/2/07 11:59		184		- 0		78		11		158		241		- 0		12		- 0		146		830				8/2/07 11:59		196		387		830

		8		2		14		8/2/07 12:59		176		- 0		82		12		162		239		- 0		12		- 0		146		829				8/2/07 12:59		188		385		829

		8		2		15		8/2/07 13:59		183		- 0		86		12		169		244		- 0		14		- 0		146		853				8/2/07 13:59		197		390		853

		8		2		16		8/2/07 14:59		199		- 0		84		11		167		243		- 0		14		- 0		141		859				8/2/07 14:59		213		384		859

		8		2		17		8/2/07 15:59		202		- 0		76		8		153		244		- 0		14		- 0		146		843				8/2/07 15:59		216		390		843

		8		2		18		8/2/07 16:59		218		- 0		65		4		147		246		- 0		14		- 0		145		840				8/2/07 16:59		232		391		840

		8		2		19		8/2/07 17:59		232		- 0		60		5		148		246		- 0		15		- 0		146		852				8/2/07 17:59		247		392		852

		8		2		20		8/2/07 18:59		240		- 0		60		5		149		249		- 0		14		- 0		146		862				8/2/07 18:59		254		395		862

		8		2		21		8/2/07 19:59		221		- 0		62		5		136		242		- 0		14		- 0		145		825				8/2/07 19:59		235		387		825

		8		2		22		8/2/07 20:59		240		- 0		59		5		140		246		- 0		14		4		147		854				8/2/07 20:59		254		393		854

		8		2		23		8/2/07 21:59		306		- 0		62		4		175		280		- 0		11		6		149		994				8/2/07 21:59		317		429		994

		8		2		24		8/2/07 22:59		203		- 0		55		3		146		247		- 0		9		6		143		811				8/2/07 22:59		212		390		811

		8		3		1		8/2/07 23:59		149		- 0		44		3		116		237		- 0		8		6		141		704				8/2/07 23:59		157		378		704

		8		3		2		8/3/07 0:59		103		- 0		40		3		99		224		- 0		7		5		140		621				8/3/07 0:59		110		364		621

		8		3		3		8/3/07 1:59		113		- 0		41		3		100		227		- 0		6		5		140		635				8/3/07 1:59		119		367		635

		8		3		4		8/3/07 2:59		97		- 0		39		3		94		222		- 0		6		5		140		606				8/3/07 2:59		103		362		606

		8		3		5		8/3/07 3:59		104		- 0		40		2		96		221		- 0		6		5		139		613				8/3/07 3:59		110		360		613

		8		3		6		8/3/07 4:59		112		- 0		38		2		101		223		- 0		7		5		139		628				8/3/07 4:59		119		362		628

		8		3		7		8/3/07 5:59		190		- 0		46		6		143		252		- 0		8		4		142		791				8/3/07 5:59		198		394		791

		8		3		8		8/3/07 6:59		352		- 0		74		12		238		297		- 0		10		- 0		151		1,134				8/3/07 6:59		362		448		1,134

		8		3		9		8/3/07 7:59		222		- 0		68		13		170		244		- 0		11		- 0		143		871				8/3/07 7:59		233		387		871

		8		3		10		8/3/07 8:59		205		- 0		75		12		168		243		- 0		12		- 0		145		859				8/3/07 8:59		217		388		859

		8		3		11		8/3/07 9:59		200		- 0		78		12		167		247		- 0		12		- 0		146		861				8/3/07 9:59		212		393		861

		8		3		12		8/3/07 10:59		203		- 0		78		12		166		243		- 0		14		- 0		145		861				8/3/07 10:59		217		388		861

		8		3		13		8/3/07 11:59		203		- 0		79		11		162		241		- 0		13		- 0		145		854				8/3/07 11:59		216		386		854

		8		3		14		8/3/07 12:59		196		- 0		80		12		162		245		- 0		12		- 0		145		852				8/3/07 12:59		208		390		852

		8		3		15		8/3/07 13:59		187		- 0		78		11		155		243		- 0		12		- 0		144		831				8/3/07 13:59		199		387		831

		8		3		16		8/3/07 14:59		197		- 0		78		10		161		251		- 0		12		- 0		146		855				8/3/07 14:59		209		397		855

		8		3		17		8/3/07 15:59		218		- 0		73		8		155		245		- 0		14		- 0		145		858				8/3/07 15:59		232		390		858

		8		3		18		8/3/07 16:59		224		- 0		63		4		148		250		- 0		15		- 0		145		850				8/3/07 16:59		239		395		850

		8		3		19		8/3/07 17:59		234		- 0		59		5		147		249		- 0		15		- 0		145		855				8/3/07 17:59		249		394		855

		8		3		20		8/3/07 18:59		235		- 0		57		5		147		253		- 0		14		- 0		144		855				8/3/07 18:59		249		397		855

		8		3		21		8/3/07 19:59		228		- 0		60		6		137		255		- 0		14		- 0		145		845				8/3/07 19:59		242		400		845

		8		3		22		8/3/07 20:59		241		- 0		59		5		138		254		- 0		13		4		146		860				8/3/07 20:59		254		400		860

		8		3		23		8/3/07 21:59		383		- 0		67		5		200		311		- 0		11		6		152		1,134				8/3/07 21:59		394		463		1,134

		8		3		24		8/3/07 22:59		182		- 0		50		3		132		253		- 0		10		6		143		780				8/3/07 22:59		192		396		780

		8		4		1		8/3/07 23:59		109		- 0		34		3		77		216		- 0		8		6		142		596				8/3/07 23:59		117		358		596

		8		4		2		8/4/07 0:59		110		- 0		33		3		77		221		- 0		8		5		143		601				8/4/07 0:59		118		364		601

		8		4		3		8/4/07 1:59		112		- 0		33		3		77		225		- 0		8		5		142		605				8/4/07 1:59		120		367		605

		8		4		4		8/4/07 2:59		121		- 0		33		3		81		228		- 0		7		5		144		623				8/4/07 2:59		128		372		623

		8		4		5		8/4/07 3:59		129		- 0		33		2		81		226		- 0		7		5		145		629				8/4/07 3:59		136		371		629

		8		4		6		8/4/07 4:59		117		- 0		28		2		77		220		- 0		7		5		143		599				8/4/07 4:59		124		363		599

		8		4		7		8/4/07 5:59		132		- 0		33		6		91		219		- 0		10		4		140		636				8/4/07 5:59		142		359		636

		8		4		8		8/4/07 6:59		228		- 0		51		11		138		239		- 0		10		- 0		143		820				8/4/07 6:59		238		382		820

		8		4		9		8/4/07 7:59		381		- 0		74		14		212		290		- 0		12		- 0		152		1,136				8/4/07 7:59		393		442		1,136

		8		4		10		8/4/07 8:59		317		- 0		74		13		185		266		- 0		13		- 0		148		1,016				8/4/07 8:59		330		414		1,016

		8		4		11		8/4/07 9:59		240		- 0		71		12		153		248		- 0		12		- 0		144		880				8/4/07 9:59		252		392		880

		8		4		12		8/4/07 10:59		233		- 0		70		12		152		244		- 0		12		- 0		139		862				8/4/07 10:59		245		383		862

		8		4		13		8/4/07 11:59		247		- 0		74		11		163		253		- 0		12		- 0		142		903				8/4/07 11:59		259		395		903

		8		4		14		8/4/07 12:59		229		- 0		73		12		151		243		- 0		13		- 0		144		867				8/4/07 12:59		242		387		867

		8		4		15		8/4/07 13:59		228		- 0		73		10		152		244		- 0		13		- 0		145		866				8/4/07 13:59		241		389		866

		8		4		16		8/4/07 14:59		240		- 0		70		10		149		243		- 0		14		- 0		146		872				8/4/07 14:59		254		389		872

		8		4		17		8/4/07 15:59		234		- 0		64		7		131		250		- 0		16		- 0		146		849				8/4/07 15:59		250		396		849

		8		4		18		8/4/07 16:59		254		- 0		58		5		128		248		- 0		17		- 0		146		856				8/4/07 16:59		271		394		856

		8		4		19		8/4/07 17:59		285		- 0		56		4		131		255		- 0		16		- 0		144		892				8/4/07 17:59		301		399		892

		8		4		20		8/4/07 18:59		302		- 0		55		4		133		258		- 0		16		- 0		145		913				8/4/07 18:59		318		403		913

		8		4		21		8/4/07 19:59		308		- 0		55		5		132		262		- 0		15		- 0		146		923				8/4/07 19:59		323		408		923

		8		4		22		8/4/07 20:59		335		- 0		50		4		127		263		- 0		16		4		146		945				8/4/07 20:59		351		409		945

		8		4		23		8/4/07 21:59		408		- 0		51		4		150		293		- 0		14		6		152		1,078				8/4/07 21:59		422		445		1,078

		8		4		24		8/4/07 22:59		196		- 0		40		3		99		237		- 0		11		6		143		734				8/4/07 22:59		207		380		734

		8		5		1		8/4/07 23:59		128		- 0		31		2		77		216		- 0		10		6		142		613				8/4/07 23:59		138		358		613

		8		5		2		8/5/07 0:59		120		- 0		29		2		77		215		- 0		9		5		144		602				8/5/07 0:59		129		359		602

		8		5		3		8/5/07 1:59		118		- 0		28		2		75		216		- 0		9		5		145		598				8/5/07 1:59		127		361		598

		8		5		4		8/5/07 2:59		118		- 0		26		2		74		218		- 0		8		5		145		597				8/5/07 2:59		126		363		597

		8		5		5		8/5/07 3:59		170		- 0		30		2		98		246		- 0		8		5		148		708				8/5/07 3:59		178		394		708

		8		5		6		8/5/07 4:59		121		- 0		27		2		78		218		- 0		8		5		138		598				8/5/07 4:59		129		356		598

		8		5		7		8/5/07 5:59		173		- 0		32		6		103		232		- 0		9		4		142		701				8/5/07 5:59		182		374		701

		8		5		8		8/5/07 6:59		370		- 0		56		12		196		299		- 0		11		- 0		153		1,097				8/5/07 6:59		381		452		1,097

		8		5		9		8/5/07 7:59		326		- 0		67		13		182		274		- 0		12		- 0		142		1,016				8/5/07 7:59		338		416		1,016

		8		5		10		8/5/07 8:59		243		- 0		65		12		144		247		- 0		12		- 0		139		864				8/5/07 8:59		255		386		864

		8		5		11		8/5/07 9:59		240		- 0		69		13		144		244		- 0		14		- 0		138		862				8/5/07 9:59		254		382		862

		8		5		12		8/5/07 10:59		244		- 0		68		12		139		238		- 0		15		- 0		139		855				8/5/07 10:59		259		377		855

		8		5		13		8/5/07 11:59		243		- 0		67		11		138		240		- 0		14		- 0		140		852				8/5/07 11:59		257		380		852

		8		5		14		8/5/07 12:59		243		- 0		68		12		145		243		- 0		13		- 0		140		865				8/5/07 12:59		256		383		865

		8		5		15		8/5/07 13:59		263		- 0		69		10		157		255		- 0		14		- 0		140		908				8/5/07 13:59		277		395		908

		8		5		16		8/5/07 14:59		280		- 0		69		7		154		257		- 0		14		- 0		139		920				8/5/07 14:59		294		396		920

		8		5		17		8/5/07 15:59		300		- 0		62		5		146		263		- 0		14		- 0		140		931				8/5/07 15:59		314		403		931

		8		5		18		8/5/07 16:59		371		- 0		58		4		158		269		- 0		16		- 0		143		1,018				8/5/07 16:59		387		412		1,018

		8		5		19		8/5/07 17:59		431		- 0		61		4		175		299		- 0		14		- 0		150		1,134				8/5/07 17:59		445		449		1,134

		8		5		20		8/5/07 18:59		433		- 0		61		4		172		297		- 0		13		- 0		151		1,130				8/5/07 18:59		446		448		1,130

		8		5		21		8/5/07 19:59		436		- 0		63		4		169		295		- 0		13		- 0		148		1,129				8/5/07 19:59		449		443		1,129

		8		5		22		8/5/07 20:59		414		- 0		54		4		151		286		- 0		12		4		148		1,074				8/5/07 20:59		426		434		1,074

		8		5		23		8/5/07 21:59		198		- 0		42		3		93		229		- 0		11		6		139		720				8/5/07 21:59		209		368		720

		8		5		24		8/5/07 22:59		129		- 0		34		3		70		217		- 0		8		6		138		605				8/5/07 22:59		137		355		605

		8		6		1		8/5/07 23:59		232		- 0		64		2		191		274		- 0		8		6		147		924				8/5/07 23:59		240		421		924

		8		6		2		8/6/07 0:59		155		- 0		54		2		148		239		- 0		6		5		143		753				8/6/07 0:59		161		382		753

		8		6		3		8/6/07 1:59		148		- 0		56		2		147		239		- 0		7		5		139		743				8/6/07 1:59		155		378		743

		8		6		4		8/6/07 2:59		130		- 0		54		2		140		230		- 0		7		5		141		709				8/6/07 2:59		137		371		709

		8		6		5		8/6/07 3:59		141		- 0		53		2		144		234		- 0		6		5		142		729				8/6/07 3:59		147		376		729

		8		6		6		8/6/07 4:59		133		- 0		48		2		134		230		- 0		6		5		140		697				8/6/07 4:59		139		370		697

		8		6		7		8/6/07 5:59		156		- 0		50		2		150		241		- 0		8		5		142		755				8/6/07 5:59		164		383		755

		8		6		8		8/6/07 6:59		310		- 0		65		3		225		297		- 0		10		1		152		1,063				8/6/07 6:59		320		449		1,063

		8		6		9		8/6/07 7:59		287		- 0		67		3		201		276		- 0		12		- 0		145		991				8/6/07 7:59		299		421		991

		8		6		10		8/6/07 8:59		223		- 0		64		4		166		255		- 0		13		- 0		140		865				8/6/07 8:59		236		395		865

		8		6		11		8/6/07 9:59		224		- 0		67		4		157		250		- 0		12		- 0		140		854				8/6/07 9:59		236		390		854

		8		6		12		8/6/07 10:59		219		- 0		66		3		161		251		- 0		13		- 0		141		854				8/6/07 10:59		232		392		854

		8		6		13		8/6/07 11:59		213		- 0		67		3		157		254		- 0		13		- 0		145		852				8/6/07 11:59		226		399		852

		8		6		14		8/6/07 12:59		219		- 0		68		2		166		249		- 0		11		- 0		145		861				8/6/07 12:59		230		394		861

		8		6		15		8/6/07 13:59		208		- 0		68		3		161		256		- 0		11		- 0		146		852				8/6/07 13:59		219		402		852

		8		6		16		8/6/07 14:59		237		- 0		72		2		181		258		- 0		11		- 0		146		907				8/6/07 14:59		248		404		907

		8		6		17		8/6/07 15:59		224		- 0		65		2		161		252		- 0		13		- 0		146		863				8/6/07 15:59		237		398		863

		8		6		18		8/6/07 16:59		243		- 0		57		2		156		251		- 0		12		- 0		145		867				8/6/07 16:59		255		396		867

		8		6		19		8/6/07 17:59		246		- 0		56		2		150		248		- 0		12		- 0		144		858				8/6/07 17:59		258		392		858

		8		6		20		8/6/07 18:59		332		- 0		65		3		196		276		- 0		11		- 0		146		1,029				8/6/07 18:59		343		422		1,029

		8		6		21		8/6/07 19:59		249		- 0		62		3		154		246		- 0		12		- 0		143		869				8/6/07 19:59		261		389		869

		8		6		22		8/6/07 20:59		247		- 0		61		3		152		246		- 0		12		4		144		868				8/6/07 20:59		259		390		868

		8		6		23		8/6/07 21:59		361		- 0		72		3		218		302		- 0		12		6		153		1,126				8/6/07 21:59		373		455		1,126

		8		6		24		8/6/07 22:59		291		- 0		66		2		199		294		- 0		9		6		150		1,017				8/6/07 22:59		300		444		1,017

		8		7		1		8/6/07 23:59		317		- 0		83		2		236		303		- 0		8		6		149		1,103				8/6/07 23:59		325		452		1,103

		8		7		2		8/7/07 0:59		164		- 0		64		2		161		244		- 0		8		5		142		790				8/7/07 0:59		172		386		790

		8		7		3		8/7/07 1:59		195		- 0		71		2		185		266		- 0		7		5		144		876				8/7/07 1:59		202		410		876

		8		7		4		8/7/07 2:59		140		- 0		59		2		147		228		- 0		7		5		141		729				8/7/07 2:59		147		369		729

		8		7		5		8/7/07 3:59		139		- 0		59		2		151		235		- 0		7		5		141		739				8/7/07 3:59		146		376		739

		8		7		6		8/7/07 4:59		157		- 0		57		2		159		247		- 0		7		5		141		775				8/7/07 4:59		164		388		775

		8		7		7		8/7/07 5:59		174		- 0		60		2		171		252		- 0		7		5		142		812				8/7/07 5:59		181		394		812

		8		7		8		8/7/07 6:59		308		- 0		75		2		243		297		- 0		9		1		151		1,087				8/7/07 6:59		317		448		1,087

		8		7		9		8/7/07 7:59		340		- 0		80		2		248		288		- 0		10		- 0		146		1,114				8/7/07 7:59		350		434		1,114

		8		7		10		8/7/07 8:59		225		- 0		67		2		168		239		- 0		12		- 0		144		856				8/7/07 8:59		237		383		856

		8		7		11		8/7/07 9:59		222		- 0		69		2		162		247		- 0		11		- 0		145		858				8/7/07 9:59		233		392		858

		8		7		12		8/7/07 10:59		222		- 0		70		2		163		244		- 0		12		- 0		144		856				8/7/07 10:59		234		388		856

		8		7		13		8/7/07 11:59		212		- 0		69		2		164		250		- 0		12		- 0		143		851				8/7/07 11:59		224		393		851

		8		7		14		8/7/07 12:59		210		- 0		70		2		164		247		- 0		13		- 0		145		851				8/7/07 12:59		223		392		851

		8		7		15		8/7/07 13:59		211		- 0		72		2		168		249		- 0		13		- 0		146		860				8/7/07 13:59		224		395		860

		8		7		16		8/7/07 14:59		210		- 0		69		2		166		251		- 0		15		- 0		146		859				8/7/07 14:59		225		397		859

		8		7		17		8/7/07 15:59		214		- 0		67		2		160		245		- 0		14		- 0		145		849				8/7/07 15:59		228		390		849

		8		7		18		8/7/07 16:59		226		- 0		62		2		157		240		- 0		14		- 0		144		846				8/7/07 16:59		240		384		846

		8		7		19		8/7/07 17:59		233		- 0		64		2		158		240		- 0		15		- 0		145		858				8/7/07 17:59		248		385		858

		8		7		20		8/7/07 18:59		234		- 0		63		3		152		242		- 0		14		- 0		145		852				8/7/07 18:59		248		387		852

		8		7		21		8/7/07 19:59		225		- 0		66		3		154		246		- 0		14		1		145		854				8/7/07 19:59		239		391		854

		8		7		22		8/7/07 20:59		227		- 0		65		3		151		244		- 0		14		5		141		850				8/7/07 20:59		241		385		850

		8		7		23		8/7/07 21:59		222		- 0		65		3		157		246		- 0		13		6		145		857				8/7/07 21:59		235		391		857

		8		7		24		8/7/07 22:59		297		- 0		73		2		222		286		- 0		10		6		150		1,044				8/7/07 22:59		307		436		1,044

		8		8		1		8/7/07 23:59		154		- 0		50		2		120		233		- 0		9		6		142		715				8/7/07 23:59		163		375		715

		8		8		2		8/8/07 0:59		132		- 0		47		2		114		228		- 0		7		5		141		677				8/8/07 0:59		139		369		677

		8		8		3		8/8/07 1:59		128		- 0		47		2		113		231		- 0		7		5		141		673				8/8/07 1:59		135		372		673

		8		8		4		8/8/07 2:59		117		- 0		44		2		109		228		- 0		6		5		140		652				8/8/07 2:59		123		368		652

		8		8		5		8/8/07 3:59		143		- 0		49		2		125		236		- 0		6		5		142		708				8/8/07 3:59		149		378		708

		8		8		6		8/8/07 4:59		141		- 0		44		2		125		231		- 0		7		5		141		696				8/8/07 4:59		148		372		696

		8		8		7		8/8/07 5:59		298		- 0		63		7		222		298		- 0		9		5		151		1,053				8/8/07 5:59		307		449		1,053

		8		8		8		8/8/07 6:59		202		- 0		64		11		168		253		- 0		10		1		145		852				8/8/07 6:59		212		398		852

		8		8		9		8/8/07 7:59		194		- 0		73		12		175		242		- 0		12		- 0		142		851				8/8/07 7:59		206		384		851

		8		8		10		8/8/07 8:59		189		- 0		81		12		171		232		- 0		11		- 0		143		838				8/8/07 8:59		200		375		838

		8		8		11		8/8/07 9:59		192		- 0		83		12		174		242		- 0		11		- 0		143		857				8/8/07 9:59		203		385		857

		8		8		12		8/8/07 10:59		183		- 0		82		12		166		242		- 0		12		- 0		143		840				8/8/07 10:59		195		385		840

		8		8		13		8/8/07 11:59		190		- 0		83		11		170		241		- 0		13		- 0		144		852				8/8/07 11:59		203		385		852

		8		8		14		8/8/07 12:59		194		- 0		85		13		176		239		- 0		13		- 0		143		864				8/8/07 12:59		207		382		864

		8		8		15		8/8/07 13:59		185		- 0		84		12		168		241		- 0		14		- 0		142		846				8/8/07 13:59		199		383		846

		8		8		16		8/8/07 14:59		174		- 0		81		10		167		242		- 0		14		- 0		142		831				8/8/07 14:59		188		384		831

		8		8		17		8/8/07 15:59		201		- 0		76		8		157		242		- 0		16		- 0		142		843				8/8/07 15:59		217		384		843

		8		8		18		8/8/07 16:59		224		- 0		66		4		156		246		- 0		17		- 0		143		856				8/8/07 16:59		241		389		856

		8		8		19		8/8/07 17:59		211		- 0		59		5		148		240		- 0		17		- 0		143		822				8/8/07 17:59		228		383		822

		8		8		20		8/8/07 18:59		210		- 0		59		5		148		242		- 0		16		- 0		140		820				8/8/07 18:59		226		382		820

		8		8		21		8/8/07 19:59		239		- 0		62		5		146		242		- 0		16		1		140		851				8/8/07 19:59		255		382		851

		8		8		22		8/8/07 20:59		218		- 0		59		4		143		242		- 0		16		5		143		831				8/8/07 20:59		234		385		831

		8		8		23		8/8/07 21:59		231		- 0		59		4		155		249		- 0		12		6		144		859				8/8/07 21:59		243		393		859

		8		8		24		8/8/07 22:59		336		- 0		68		3		217		293		- 0		11		6		148		1,081				8/8/07 22:59		347		441		1,081

		8		9		1		8/8/07 23:59		166		- 0		51		3		137		243		- 0		10		6		143		758				8/8/07 23:59		176		386		758

		8		9		2		8/9/07 0:59		157		- 0		52		3		138		244		- 0		9		5		142		749				8/9/07 0:59		166		386		749

		8		9		3		8/9/07 1:59		134		- 0		46		2		123		237		- 0		7		5		136		692				8/9/07 1:59		141		373		692

		8		9		4		8/9/07 2:59		129		- 0		46		2		120		237		- 0		7		5		136		683				8/9/07 2:59		136		373		683

		8		9		5		8/9/07 3:59		129		- 0		48		2		124		235		- 0		7		5		141		692				8/9/07 3:59		136		376		692

		8		9		6		8/9/07 4:59		132		- 0		46		3		125		228		- 0		7		5		141		688				8/9/07 4:59		139		369		688

		8		9		7		8/9/07 5:59		320		- 0		67		7		227		290		- 0		9		5		152		1,077				8/9/07 5:59		329		442		1,077

		8		9		8		8/9/07 6:59		206		- 0		68		11		177		239		- 0		10		1		144		856				8/9/07 6:59		216		383		856

		8		9		9		8/9/07 7:59		186		- 0		76		13		173		234		- 0		13		- 0		146		840				8/9/07 7:59		199		380		840

		8		9		10		8/9/07 8:59		177		- 0		82		13		170		230		- 0		12		- 0		143		827				8/9/07 8:59		189		373		827

		8		9		11		8/9/07 9:59		194		- 0		84		12		174		231		- 0		13		- 0		145		853				8/9/07 9:59		207		376		853

		8		9		12		8/9/07 10:59		188		- 0		85		11		169		236		- 0		14		- 0		144		847				8/9/07 10:59		202		380		847

		8		9		13		8/9/07 11:59		187		- 0		85		10		171		242		- 0		15		- 0		144		854				8/9/07 11:59		202		386		854

		8		9		14		8/9/07 12:59		181		- 0		84		13		171		241		- 0		15		- 0		144		850				8/9/07 12:59		196		385		850

		8		9		15		8/9/07 13:59		171		- 0		83		12		168		240		- 0		15		- 0		144		832				8/9/07 13:59		186		384		832

		8		9		16		8/9/07 14:59		177		- 0		82		12		168		240		- 0		15		- 0		144		838				8/9/07 14:59		192		384		838

		8		9		17		8/9/07 15:59		202		- 0		78		9		162		239		- 0		16		- 0		144		850				8/9/07 15:59		218		383		850

		8		9		18		8/9/07 16:59		221		- 0		66		5		155		240		- 0		16		- 0		144		847				8/9/07 16:59		237		384		847

		8		9		19		8/9/07 17:59		220		- 0		59		5		151		239		- 0		16		- 0		145		836				8/9/07 17:59		236		384		836

		8		9		20		8/9/07 18:59		228		- 0		59		6		155		246		- 0		14		- 0		144		852				8/9/07 18:59		242		390		852

		8		9		21		8/9/07 19:59		217		- 0		62		5		145		248		- 0		16		1		142		835				8/9/07 19:59		233		390		835

		8		9		22		8/9/07 20:59		226		- 0		60		6		145		249		- 0		14		5		144		849				8/9/07 20:59		240		393		849

		8		9		23		8/9/07 21:59		237		- 0		57		5		146		249		- 0		12		6		143		854				8/9/07 21:59		249		392		854

		8		9		24		8/9/07 22:59		343		- 0		64		4		207		293		- 0		11		6		151		1,080				8/9/07 22:59		354		444		1,080

		8		10		1		8/9/07 23:59		148		- 0		45		3		123		234		- 0		10		6		141		709				8/9/07 23:59		158		375		709

		8		10		2		8/10/07 0:59		135		- 0		44		3		117		233		- 0		8		5		137		682				8/10/07 0:59		143		370		682

		8		10		3		8/10/07 1:59		128		- 0		41		3		110		226		- 0		7		5		140		660				8/10/07 1:59		135		366		660

		8		10		4		8/10/07 2:59		108		- 0		39		2		99		215		- 0		7		5		137		613				8/10/07 2:59		115		352		613

		8		10		5		8/10/07 3:59		104		- 0		38		3		99		213		- 0		7		5		139		609				8/10/07 3:59		111		352		609

		8		10		6		8/10/07 4:59		145		- 0		43		2		123		234		- 0		7		5		141		701				8/10/07 4:59		152		375		701

		8		10		7		8/10/07 5:59		285		- 0		57		7		202		280		- 0		10		5		148		994				8/10/07 5:59		295		428		994

		8		10		8		8/10/07 6:59		215		- 0		65		12		175		248		- 0		10		1		142		868				8/10/07 6:59		225		390		868

		8		10		9		8/10/07 7:59		198		- 0		73		13		169		240		- 0		12		- 0		144		849				8/10/07 7:59		210		384		849

		8		10		10		8/10/07 8:59		181		- 0		78		13		163		237		- 0		12		- 0		139		822				8/10/07 8:59		193		376		822

		8		10		11		8/10/07 9:59		190		- 0		81		14		167		236		- 0		12		- 0		143		842				8/10/07 9:59		202		379		842

		8		10		12		8/10/07 10:59		192		- 0		82		12		165		236		- 0		13		- 0		142		842				8/10/07 10:59		205		378		842

		8		10		13		8/10/07 11:59		196		- 0		82		12		165		232		- 0		13		- 0		143		843				8/10/07 11:59		209		375		843

		8		10		14		8/10/07 12:59		195		- 0		85		14		170		237		- 0		13		- 0		141		855				8/10/07 12:59		208		378		855

		8		10		15		8/10/07 13:59		192		- 0		86		11		171		232		- 0		14		- 0		139		846				8/10/07 13:59		206		371		846

		8		10		16		8/10/07 14:59		192		- 0		85		11		166		235		- 0		14		- 0		141		843				8/10/07 14:59		206		376		843

		8		10		17		8/10/07 15:59		218		- 0		80		8		163		239		- 0		15		- 0		141		864				8/10/07 15:59		233		380		864

		8		10		18		8/10/07 16:59		217		- 0		70		5		154		236		- 0		15		- 0		139		836				8/10/07 16:59		232		375		836

		8		10		19		8/10/07 17:59		226		- 0		63		5		146		237		- 0		16		- 0		142		836				8/10/07 17:59		242		379		836

		8		10		20		8/10/07 18:59		233		- 0		62		5		150		242		- 0		12		- 0		143		847				8/10/07 18:59		245		385		847

		8		10		21		8/10/07 19:59		230		- 0		62		5		146		248		- 0		12		1		143		846				8/10/07 19:59		242		391		846

		8		10		22		8/10/07 20:59		234		- 0		58		5		144		252		- 0		12		5		144		854				8/10/07 20:59		246		396		854

		8		10		23		8/10/07 21:59		376		- 0		69		4		214		297		- 0		11		6		150		1,127				8/10/07 21:59		387		447		1,127

		8		10		24		8/10/07 22:59		187		- 0		51		3		138		236		- 0		8		6		141		770				8/10/07 22:59		195		377		770

		8		11		1		8/10/07 23:59		119		- 0		31		3		79		209		- 0		8		6		141		596				8/10/07 23:59		127		350		596

		8		11		2		8/11/07 0:59		115		- 0		30		3		79		219		- 0		8		5		141		601				8/11/07 0:59		123		360		601

		8		11		3		8/11/07 1:59		189		- 0		35		3		110		252		- 0		8		5		148		750				8/11/07 1:59		197		400		750

		8		11		4		8/11/07 2:59		254		- 0		39		3		138		282		- 0		8		5		153		882				8/11/07 2:59		262		435		882

		8		11		5		8/11/07 3:59		159		- 0		33		2		97		233		- 0		7		5		145		682				8/11/07 3:59		166		378		682

		8		11		6		8/11/07 4:59		118		- 0		29		2		80		217		- 0		7		5		140		600				8/11/07 4:59		125		357		600

		8		11		7		8/11/07 5:59		163		- 0		35		7		108		234		- 0		10		5		140		701				8/11/07 5:59		173		374		701

		8		11		8		8/11/07 6:59		365		- 0		60		13		205		294		- 0		12		1		150		1,099				8/11/07 6:59		377		444		1,099

		8		11		9		8/11/07 7:59		252		- 0		63		14		161		252		- 0		13		- 0		144		898				8/11/07 7:59		265		396		898

		8		11		10		8/11/07 8:59		228		- 0		67		12		153		249		- 0		13		- 0		143		865				8/11/07 8:59		241		392		865

		8		11		11		8/11/07 9:59		220		- 0		72		13		157		251		- 0		13		- 0		143		869				8/11/07 9:59		233		394		869

		8		11		12		8/11/07 10:59		222		- 0		70		12		145		247		- 0		14		- 0		141		852				8/11/07 10:59		236		388		852

		8		11		13		8/11/07 11:59		227		- 0		70		10		151		245		- 0		13		- 0		144		860				8/11/07 11:59		240		389		860

		8		11		14		8/11/07 12:59		212		- 0		71		13		152		251		- 0		13		- 0		144		857				8/11/07 12:59		225		395		857

		8		11		15		8/11/07 13:59		220		- 0		74		12		156		251		- 0		12		- 0		143		867				8/11/07 13:59		232		394		867

		8		11		16		8/11/07 14:59		242		- 0		74		11		161		253		- 0		13		- 0		144		898				8/11/07 14:59		255		397		898

		8		11		17		8/11/07 15:59		239		- 0		65		9		143		252		- 0		15		- 0		142		865				8/11/07 15:59		254		394		865

		8		11		18		8/11/07 16:59		250		- 0		59		5		135		252		- 0		16		- 0		143		860				8/11/07 16:59		266		395		860

		8		11		19		8/11/07 17:59		262		- 0		58		5		133		255		- 0		15		- 0		142		870				8/11/07 17:59		277		397		870

		8		11		20		8/11/07 18:59		316		- 0		62		5		151		268		- 0		16		- 0		145		963				8/11/07 18:59		332		413		963

		8		11		21		8/11/07 19:59		319		- 0		59		5		143		265		- 0		16		1		143		951				8/11/07 19:59		335		408		951

		8		11		22		8/11/07 20:59		395		- 0		53		5		153		283		- 0		14		5		148		1,055				8/11/07 20:59		409		431		1,055

		8		11		23		8/11/07 21:59		235		- 0		43		4		111		244		- 0		12		6		142		796				8/11/07 21:59		247		386		796

		8		11		24		8/11/07 22:59		165		- 0		36		3		90		229		- 0		9		6		140		678				8/11/07 22:59		174		369		678

		8		12		1		8/11/07 23:59		116		- 0		29		3		76		217		- 0		7		6		142		595				8/11/07 23:59		123		359		595

		8		12		2		8/12/07 0:59		117		- 0		28		3		79		224		- 0		7		5		143		607				8/12/07 0:59		124		367		607

		8		12		3		8/12/07 1:59		167		- 0		31		3		98		242		- 0		7		5		147		701				8/12/07 1:59		174		389		701

		8		12		4		8/12/07 2:59		303		- 0		39		3		158		309		- 0		7		5		160		985				8/12/07 2:59		310		469		985

		8		12		5		8/12/07 3:59		269		- 0		36		2		135		279		- 0		7		5		154		889				8/12/07 3:59		276		433		889

		8		12		6		8/12/07 4:59		125		- 0		28		2		82		218		- 0		6		5		142		609				8/12/07 4:59		131		360		609

		8		12		7		8/12/07 5:59		135		- 0		31		6		93		220		- 0		9		5		140		638				8/12/07 5:59		144		360		638

		8		12		8		8/12/07 6:59		205		- 0		44		11		137		244		- 0		8		1		142		792				8/12/07 6:59		213		386		792

		8		12		9		8/12/07 7:59		376		- 0		67		14		213		291		- 0		11		- 0		152		1,124				8/12/07 7:59		387		443		1,124

		8		12		10		8/12/07 8:59		367		- 0		75		13		217		290		- 0		11		- 0		151		1,125				8/12/07 8:59		378		441		1,125

		8		12		11		8/12/07 9:59		363		- 0		76		14		217		280		- 0		13		- 0		151		1,115				8/12/07 9:59		376		431		1,115

		8		12		12		8/12/07 10:59		281		- 0		67		12		164		244		- 0		12		- 0		145		926				8/12/07 10:59		293		389		926

		8		12		13		8/12/07 11:59		304		- 0		70		10		177		256		- 0		13		- 0		147		977				8/12/07 11:59		317		403		977

		8		12		14		8/12/07 12:59		274		- 0		71		11		173		257		- 0		11		- 0		145		942				8/12/07 12:59		285		402		942

		8		12		15		8/12/07 13:59		318		- 0		80		10		205		281		- 0		11		- 0		150		1,055				8/12/07 13:59		329		431		1,055

		8		12		16		8/12/07 14:59		287		- 0		69		9		167		261		- 0		11		- 0		145		948				8/12/07 14:59		298		406		948

		8		12		17		8/12/07 15:59		375		- 0		70		6		188		285		- 0		11		- 0		148		1,084				8/12/07 15:59		386		433		1,084

		8		12		18		8/12/07 16:59		368		- 0		59		4		164		283		- 0		11		- 0		142		1,032				8/12/07 16:59		379		425		1,032

		8		12		19		8/12/07 17:59		443		- 0		58		4		178		302		- 0		11		- 0		147		1,142				8/12/07 17:59		454		449		1,142

		8		12		20		8/12/07 18:59		410		- 0		61		4		177		303		- 0		12		- 0		151		1,120				8/12/07 18:59		422		454		1,120

		8		12		21		8/12/07 19:59		401		- 0		60		4		165		298		- 0		12		1		150		1,091				8/12/07 19:59		413		448		1,091

		8		12		22		8/12/07 20:59		296		- 0		43		4		120		259		- 0		11		5		146		884				8/12/07 20:59		307		405		884

		8		12		23		8/12/07 21:59		180		- 0		33		3		84		223		- 0		11		6		141		681				8/12/07 21:59		191		364		681

		8		12		24		8/12/07 22:59		126		- 0		28		3		67		217		- 0		8		6		142		598				8/12/07 22:59		134		359		598

		8		13		1		8/12/07 23:59		201		- 0		62		2		183		266		- 0		8		6		146		873				8/12/07 23:59		209		412		873

		8		13		2		8/13/07 0:59		160		- 0		55		2		156		246		- 0		7		5		143		774				8/13/07 0:59		167		389		774

		8		13		3		8/13/07 1:59		131		- 0		52		2		140		233		- 0		7		5		141		710				8/13/07 1:59		138		374		710

		8		13		4		8/13/07 2:59		133		- 0		50		2		141		233		- 0		7		5		141		712				8/13/07 2:59		140		374		712

		8		13		5		8/13/07 3:59		134		- 0		51		2		143		228		- 0		7		5		141		711				8/13/07 3:59		141		369		711

		8		13		6		8/13/07 4:59		147		- 0		52		2		151		239		- 0		6		5		141		743				8/13/07 4:59		153		380		743

		8		13		7		8/13/07 5:59		197		- 0		57		2		182		254		- 0		8		5		144		849				8/13/07 5:59		205		398		849

		8		13		8		8/13/07 6:59		329		- 0		71		3		245		293		- 0		9		1		150		1,101				8/13/07 6:59		338		443		1,101

		8		13		9		8/13/07 7:59		219		- 0		64		3		164		250		- 0		11		- 0		145		855				8/13/07 7:59		230		395		855

		8		13		10		8/13/07 8:59		210		- 0		69		3		165		250		- 0		11		- 0		145		854				8/13/07 8:59		221		395		854

		8		13		11		8/13/07 9:59		198		- 0		70		3		155		242		- 0		13		- 0		144		825				8/13/07 9:59		211		386		825

		8		13		12		8/13/07 10:59		209		- 0		71		3		157		246		- 0		13		- 0		144		843				8/13/07 10:59		222		390		843

		8		13		13		8/13/07 11:59		203		- 0		71		2		160		249		- 0		13		- 0		145		844				8/13/07 11:59		216		394		844

		8		13		14		8/13/07 12:59		198		- 0		70		3		158		249		- 0		15		- 0		145		838				8/13/07 12:59		213		394		838

		8		13		15		8/13/07 13:59		205		- 0		72		3		165		254		- 0		13		- 0		146		857				8/13/07 13:59		218		400		857

		8		13		16		8/13/07 14:59		204		- 0		74		2		169		253		- 0		15		- 0		145		862				8/13/07 14:59		219		398		862

		8		13		17		8/13/07 15:59		212		- 0		70		2		157		250		- 0		14		- 0		144		849				8/13/07 15:59		226		394		849

		8		13		18		8/13/07 16:59		224		- 0		63		2		154		250		- 0		15		- 0		145		853				8/13/07 16:59		239		395		853

		8		13		19		8/13/07 17:59		234		- 0		62		2		156		250		- 0		13		- 0		144		862				8/13/07 17:59		247		394		862

		8		13		20		8/13/07 18:59		232		- 0		63		2		155		249		- 0		12		- 0		144		859				8/13/07 18:59		244		393		859

		8		13		21		8/13/07 19:59		226		- 0		66		3		153		252		- 0		14		1		145		860				8/13/07 19:59		240		397		860

		8		13		22		8/13/07 20:59		229		- 0		65		2		153		250		- 0		12		5		144		862				8/13/07 20:59		241		394		862

		8		13		23		8/13/07 21:59		266		- 0		66		3		170		260		- 0		10		6		145		926				8/13/07 21:59		276		405		926

		8		13		24		8/13/07 22:59		325		- 0		72		2		217		291		- 0		10		6		152		1,074				8/13/07 22:59		335		443		1,074

		8		14		1		8/13/07 23:59		258		- 0		70		2		200		280		- 0		9		6		148		973				8/13/07 23:59		267		428		973

		8		14		2		8/14/07 0:59		130		- 0		55		2		135		227		- 0		7		5		139		701				8/14/07 0:59		137		366		701

		8		14		3		8/14/07 1:59		130		- 0		55		2		135		224		- 0		7		5		140		698				8/14/07 1:59		137		364		698

		8		14		4		8/14/07 2:59		122		- 0		52		2		131		223		- 0		7		5		139		682				8/14/07 2:59		129		362		682

		8		14		5		8/14/07 3:59		118		- 0		51		2		128		221		- 0		7		5		139		671				8/14/07 3:59		125		360		671

		8		14		6		8/14/07 4:59		134		- 0		52		2		135		223		- 0		6		5		139		697				8/14/07 4:59		140		362		697

		8		14		7		8/14/07 5:59		167		- 0		55		1		155		234		- 0		7		5		140		764				8/14/07 5:59		174		374		764

		8		14		8		8/14/07 6:59		182		- 0		58		2		169		241		- 0		8		1		141		801				8/14/07 6:59		190		382		801

		8		14		9		8/14/07 7:59		330		- 0		78		2		251		300		- 0		9		- 0		150		1,119				8/14/07 7:59		339		450		1,119

		8		14		10		8/14/07 8:59		232		- 0		64		2		169		246		- 0		10		- 0		143		867				8/14/07 8:59		242		389		867

		8		14		11		8/14/07 9:59		222		- 0		67		2		163		247		- 0		12		- 0		144		857				8/14/07 9:59		234		391		857

		8		14		12		8/14/07 10:59		219		- 0		67		2		163		247		- 0		11		- 0		144		853				8/14/07 10:59		230		391		853

		8		14		13		8/14/07 11:59		217		- 0		68		2		167		248		- 0		12		- 0		144		857				8/14/07 11:59		229		392		857

		8		14		14		8/14/07 12:59		225		- 0		69		2		176		251		- 0		9		- 0		140		873				8/14/07 12:59		234		391		873

		8		14		15		8/14/07 13:59		207		- 0		69		2		169		250		- 0		10		- 0		143		850				8/14/07 13:59		217		393		850

		8		14		16		8/14/07 14:59		215		- 0		69		2		171		247		- 0		10		- 0		143		856				8/14/07 14:59		225		390		856

		8		14		17		8/14/07 15:59		221		- 0		66		2		165		246		- 0		12		- 0		144		855				8/14/07 15:59		233		390		855

		8		14		18		8/14/07 16:59		234		- 0		61		2		155		244		- 0		14		- 0		144		852				8/14/07 16:59		248		388		852

		8		14		19		8/14/07 17:59		240		- 0		61		2		156		241		- 0		13		- 0		143		855				8/14/07 17:59		253		384		855

		8		14		20		8/14/07 18:59		242		- 0		61		2		155		240		- 0		11		- 0		143		855				8/14/07 18:59		253		383		855

		8		14		21		8/14/07 19:59		234		- 0		64		3		153		241		- 0		12		1		144		853				8/14/07 19:59		246		385		853

		8		14		22		8/14/07 20:59		229		- 0		62		3		152		243		- 0		10		5		144		847				8/14/07 20:59		239		387		847

		8		14		23		8/14/07 21:59		268		- 0		66		2		187		260		- 0		10		6		144		943				8/14/07 21:59		278		404		943

		8		14		24		8/14/07 22:59		299		- 0		73		2		242		298		- 0		9		6		151		1,081				8/14/07 22:59		308		449		1,081

		8		15		1		8/14/07 23:59		103		- 0		41		2		95		208		- 0		8		6		139		601				8/14/07 23:59		111		347		601

		8		15		2		8/15/07 0:59		100		- 0		40		2		97		206		- 0		6		5		140		596				8/15/07 0:59		106		346		596

		8		15		3		8/15/07 1:59		99		- 0		41		2		97		213		- 0		6		5		139		603				8/15/07 1:59		105		352		603

		8		15		4		8/15/07 2:59		96		- 0		40		2		97		212		- 0		6		5		139		597				8/15/07 2:59		102		351		597

		8		15		5		8/15/07 3:59		106		- 0		41		2		103		217		- 0		6		5		139		619				8/15/07 3:59		112		356		619

		8		15		6		8/15/07 4:59		144		- 0		44		2		126		231		- 0		6		5		140		699				8/15/07 4:59		150		371		699

		8		15		7		8/15/07 5:59		242		- 0		52		7		181		263		- 0		8		5		145		901				8/15/07 5:59		250		408		901

		8		15		8		8/15/07 6:59		233		- 0		61		12		187		252		- 0		11		1		143		900				8/15/07 6:59		244		395		900

		8		15		9		8/15/07 7:59		193		- 0		68		13		168		244		- 0		12		- 0		144		843				8/15/07 7:59		205		388		843

		8		15		10		8/15/07 8:59		183		- 0		74		12		164		245		- 0		12		- 0		144		834				8/15/07 8:59		195		389		834

		8		15		11		8/15/07 9:59		186		- 0		78		14		169		241		- 0		11		- 0		143		842				8/15/07 9:59		197		384		842

		8		15		12		8/15/07 10:59		203		- 0		79		12		170		240		- 0		12		- 0		143		859				8/15/07 10:59		215		383		859

		8		15		13		8/15/07 11:59		183		- 0		79		9		167		242		- 0		11		- 0		144		836				8/15/07 11:59		194		386		836

		8		15		14		8/15/07 12:59		175		- 0		81		12		172		243		- 0		12		- 0		144		839				8/15/07 12:59		187		387		839

		8		15		15		8/15/07 13:59		173		- 0		79		12		170		242		- 0		12		- 0		143		831				8/15/07 13:59		185		385		831

		8		15		16		8/15/07 14:59		180		- 0		78		11		171		243		- 0		13		- 0		144		841				8/15/07 14:59		193		387		841

		8		15		17		8/15/07 15:59		196		- 0		72		8		160		242		- 0		15		- 0		144		837				8/15/07 15:59		211		386		837

		8		15		18		8/15/07 16:59		216		- 0		60		5		151		246		- 0		14		- 0		144		836				8/15/07 16:59		230		390		836

		8		15		19		8/15/07 17:59		238		- 0		57		5		153		244		- 0		15		- 0		144		855				8/15/07 17:59		253		388		855

		8		15		20		8/15/07 18:59		234		- 0		58		5		152		244		- 0		13		- 0		144		849				8/15/07 18:59		247		388		849

		8		15		21		8/15/07 19:59		231		- 0		60		5		146		239		- 0		16		1		143		839				8/15/07 19:59		247		382		839

		8		15		22		8/15/07 20:59		240		- 0		58		5		147		242		- 0		13		5		142		852				8/15/07 20:59		253		384		852

		8		15		23		8/15/07 21:59		309		- 0		62		4		189		276		- 0		11		6		147		1,003				8/15/07 21:59		320		423		1,003

		8		15		24		8/15/07 22:59		251		- 0		55		4		176		268		- 0		9		6		145		914				8/15/07 22:59		260		413		914

		8		16		1		8/15/07 23:59		123		- 0		46		2		121		235		- 0		7		6		141		681				8/15/07 23:59		130		376		681

		8		16		2		8/16/07 0:59		104		- 0		42		2		109		229		- 0		6		5		140		637				8/16/07 0:59		110		369		637

		8		16		3		8/16/07 1:59		98		- 0		42		2		106		230		- 0		7		5		140		630				8/16/07 1:59		105		370		630

		8		16		4		8/16/07 2:59		105		- 0		40		2		104		226		- 0		6		5		138		627				8/16/07 2:59		111		364		627

		8		16		5		8/16/07 3:59		96		- 0		41		2		103		226		- 0		6		5		135		615				8/16/07 3:59		102		361		615

		8		16		6		8/16/07 4:59		140		- 0		44		2		128		236		- 0		6		5		139		701				8/16/07 4:59		146		375		701

		8		16		7		8/16/07 5:59		201		- 0		51		7		163		249		- 0		9		5		141		827				8/16/07 5:59		210		390		827

		8		16		8		8/16/07 6:59		267		- 0		69		12		209		265		- 0		10		1		143		976				8/16/07 6:59		277		408		976

		8		16		9		8/16/07 7:59		201		- 0		74		13		175		241		- 0		12		- 0		138		854				8/16/07 7:59		213		379		854

		8		16		10		8/16/07 8:59		177		- 0		77		13		163		237		- 0		12		- 0		142		821				8/16/07 8:59		189		379		821

		8		16		11		8/16/07 9:59		178		- 0		78		14		166		236		- 0		11		- 0		138		822				8/16/07 9:59		189		374		822

		8		16		12		8/16/07 10:59		193		- 0		81		12		168		235		- 0		11		- 0		135		835				8/16/07 10:59		204		370		835

		8		16		13		8/16/07 11:59		186		- 0		80		11		169		238		- 0		12		- 0		145		840				8/16/07 11:59		198		383		840

		8		16		14		8/16/07 12:59		162		- 0		83		13		169		239		- 0		11		- 0		144		821				8/16/07 12:59		173		383		821

		8		16		15		8/16/07 13:59		179		- 0		82		12		168		236		- 0		12		- 0		145		833				8/16/07 13:59		191		381		833

		8		16		16		8/16/07 14:59		177		- 0		82		11		166		239		- 0		12		- 0		145		831				8/16/07 14:59		189		384		831

		8		16		17		8/16/07 15:59		194		- 0		77		9		157		239		- 0		15		- 0		144		835				8/16/07 15:59		209		383		835

		8		16		18		8/16/07 16:59		212		- 0		64		5		149		239		- 0		14		- 0		144		827				8/16/07 16:59		226		383		827

		8		16		19		8/16/07 17:59		224		- 0		59		6		155		247		- 0		14		- 0		145		850				8/16/07 17:59		238		392		850

		8		16		20		8/16/07 18:59		233		- 0		57		6		156		243		- 0		14		- 0		144		853				8/16/07 18:59		247		387		853

		8		16		21		8/16/07 19:59		234		- 0		60		6		151		246		- 0		14		1		144		855				8/16/07 19:59		248		390		855

		8		16		22		8/16/07 20:59		234		- 0		58		5		148		254		- 0		13		5		142		859				8/16/07 20:59		247		396		859

		8		16		23		8/16/07 21:59		363		- 0		66		5		215		301		- 0		10		6		151		1,117				8/16/07 21:59		373		452		1,117

		8		16		24		8/16/07 22:59		161		- 0		49		4		134		241		- 0		8		6		142		744				8/16/07 22:59		169		383		744

		8		17		1		8/16/07 23:59		96		- 0		35		3		91		222		- 0		7		6		139		598				8/16/07 23:59		103		361		598

		8		17		2		8/17/07 0:59		97		- 0		34		3		94		220		- 0		7		5		141		600				8/17/07 0:59		104		361		600

		8		17		3		8/17/07 1:59		97		- 0		34		3		94		225		- 0		6		5		141		604				8/17/07 1:59		103		366		604

		8		17		4		8/17/07 2:59		95		- 0		34		2		94		225		- 0		6		5		141		603				8/17/07 2:59		101		366		603

		8		17		5		8/17/07 3:59		94		- 0		35		2		93		222		- 0		6		5		140		597				8/17/07 3:59		100		362		597

		8		17		6		8/17/07 4:59		100		- 0		33		3		92		221		- 0		6		5		138		599				8/17/07 4:59		106		359		599

		8		17		7		8/17/07 5:59		172		- 0		40		6		130		236		- 0		7		5		139		736				8/17/07 5:59		179		375		736

		8		17		8		8/17/07 6:59		297		- 0		64		12		204		275		- 0		8		1		146		1,007				8/17/07 6:59		305		421		1,007

		8		17		9		8/17/07 7:59		243		- 0		69		14		193		259		- 0		11		- 0		143		932				8/17/07 7:59		254		402		932

		8		17		10		8/17/07 8:59		201		- 0		73		13		169		247		- 0		11		- 0		143		856				8/17/07 8:59		212		390		856

		8		17		11		8/17/07 9:59		192		- 0		75		14		166		247		- 0		10		- 0		145		848				8/17/07 9:59		202		392		848

		8		17		12		8/17/07 10:59		191		- 0		76		13		163		247		- 0		11		- 0		144		846				8/17/07 10:59		202		391		846

		8		17		13		8/17/07 11:59		194		- 0		76		11		165		247		- 0		9		- 0		145		847				8/17/07 11:59		203		392		847

		8		17		14		8/17/07 12:59		189		- 0		78		14		169		249		- 0		10		- 0		145		855				8/17/07 12:59		199		394		855

		8		17		15		8/17/07 13:59		192		- 0		79		13		173		247		- 0		11		- 0		144		858				8/17/07 13:59		203		391		858

		8		17		16		8/17/07 14:59		200		- 0		78		12		172		248		- 0		10		- 0		144		863				8/17/07 14:59		210		392		863

		8		17		17		8/17/07 15:59		212		- 0		74		9		160		252		- 0		12		- 0		135		854				8/17/07 15:59		224		387		854

		8		17		18		8/17/07 16:59		227		- 0		63		5		156		255		- 0		12		- 0		137		857				8/17/07 16:59		239		392		857

		8		17		19		8/17/07 17:59		249		- 0		59		4		162		259		- 0		14		- 0		143		891				8/17/07 17:59		263		402		891

		8		17		20		8/17/07 18:59		244		- 0		58		5		151		250		- 0		13		- 0		142		863				8/17/07 18:59		257		392		863

		8		17		21		8/17/07 19:59		235		- 0		62		5		144		248		- 0		11		1		144		851				8/17/07 19:59		246		392		851

		8		17		22		8/17/07 20:59		241		- 0		57		5		143		257		- 0		10		6		143		862				8/17/07 20:59		251		400		862

		8		17		23		8/17/07 21:59		365		- 0		68		5		209		312		- 0		8		6		151		1,124				8/17/07 21:59		373		463		1,124

		8		17		24		8/17/07 22:59		157		- 0		48		3		127		245		- 0		6		6		139		731				8/17/07 22:59		163		384		731

		8		18		1		8/17/07 23:59		114		- 0		32		3		79		223		- 0		7		6		142		604				8/17/07 23:59		121		365		604

		8		18		2		8/18/07 0:59		161		- 0		34		3		100		245		- 0		6		5		147		701				8/18/07 0:59		167		392		701

		8		18		3		8/18/07 1:59		188		- 0		36		3		108		258		- 0		6		5		148		752				8/18/07 1:59		194		406		752

		8		18		4		8/18/07 2:59		217		- 0		37		2		118		272		- 0		6		5		151		807				8/18/07 2:59		223		423		807

		8		18		5		8/18/07 3:59		254		- 0		37		2		129		290		- 0		7		5		153		877				8/18/07 3:59		261		443		877

		8		18		6		8/18/07 4:59		122		- 0		27		2		75		222		- 0		6		5		140		601				8/18/07 4:59		128		362		601

		8		18		7		8/18/07 5:59		139		- 0		29		7		83		219		- 0		8		5		137		626				8/18/07 5:59		147		356		626

		8		18		8		8/18/07 6:59		323		- 0		52		13		164		266		- 0		10		1		146		975				8/18/07 6:59		333		412		975

		8		18		9		8/18/07 7:59		354		- 0		64		15		193		276		- 0		10		- 0		138		1,050				8/18/07 7:59		364		414		1,050

		8		18		10		8/18/07 8:59		379		- 0		74		14		210		283		- 0		10		- 0		147		1,118				8/18/07 8:59		389		430		1,118

		8		18		11		8/18/07 9:59		361		- 0		73		14		202		279		- 0		9		- 0		145		1,084				8/18/07 9:59		370		424		1,084

		8		18		12		8/18/07 10:59		356		- 0		76		14		205		284		- 0		10		- 0		150		1,095				8/18/07 10:59		366		434		1,095

		8		18		13		8/18/07 11:59		367		- 0		77		11		209		290		- 0		11		- 0		151		1,117				8/18/07 11:59		378		441		1,117

		8		18		14		8/18/07 12:59		341		- 0		82		15		223		293		- 0		10		- 0		151		1,116				8/18/07 12:59		351		444		1,116

		8		18		15		8/18/07 13:59		307		- 0		80		13		210		293		- 0		9		- 0		152		1,064				8/18/07 13:59		316		445		1,064

		8		18		16		8/18/07 14:59		321		- 0		79		12		204		290		- 0		10		- 0		152		1,068				8/18/07 14:59		331		442		1,068

		8		18		17		8/18/07 15:59		383		- 0		75		9		202		305		- 0		14		- 0		152		1,140				8/18/07 15:59		397		457		1,140

		8		18		18		8/18/07 16:59		404		- 0		62		5		185		298		- 0		13		- 0		151		1,120				8/18/07 16:59		417		449		1,120

		8		18		19		8/18/07 17:59		411		- 0		61		5		178		303		- 0		12		- 0		151		1,121				8/18/07 17:59		423		454		1,121

		8		18		20		8/18/07 18:59		431		- 0		60		6		174		301		- 0		12		- 0		151		1,135				8/18/07 18:59		443		452		1,135

		8		18		21		8/18/07 19:59		437		- 0		62		5		176		299		- 0		12		1		151		1,144				8/18/07 19:59		449		450		1,144

		8		18		22		8/18/07 20:59		334		- 0		47		5		136		271		- 0		11		6		146		956				8/18/07 20:59		345		417		956

		8		18		23		8/18/07 21:59		149		- 0		33		4		84		225		- 0		9		6		140		649				8/18/07 21:59		158		365		649

		8		18		24		8/18/07 22:59		116		- 0		30		3		74		221		- 0		7		6		141		598				8/18/07 22:59		123		362		598

		8		19		1		8/18/07 23:59		162		- 0		33		2		99		244		- 0		6		6		147		701				8/18/07 23:59		168		391		701

		8		19		2		8/19/07 0:59		204		- 0		34		3		117		264		- 0		6		5		152		786				8/19/07 0:59		210		416		786

		8		19		3		8/19/07 1:59		266		- 0		37		3		138		296		- 0		7		5		157		909				8/19/07 1:59		273		453		909

		8		19		4		8/19/07 2:59		621		- 0		59		3		291		475		- 0		8		5		188		1,650				8/19/07 2:59		629		663		1,650

		8		19		5		8/19/07 3:59		267		- 0		36		3		137		292		- 0		6		5		156		902				8/19/07 3:59		273		448		902

		8		19		6		8/19/07 4:59		133		- 0		26		2		81		220		- 0		7		5		144		619				8/19/07 4:59		140		364		619

		8		19		7		8/19/07 5:59		135		- 0		27		7		85		217		- 0		7		5		140		623				8/19/07 5:59		142		357		623

		8		19		8		8/19/07 6:59		278		- 0		47		12		154		258		- 0		10		1		147		907				8/19/07 6:59		288		405		907

		8		19		9		8/19/07 7:59		342		- 0		65		15		204		285		- 0		13		- 0		152		1,076				8/19/07 7:59		355		437		1,076

		8		19		10		8/19/07 8:59		329		- 0		65		13		187		276		- 0		11		- 0		149		1,030				8/19/07 8:59		340		425		1,030

		8		19		11		8/19/07 9:59		251		- 0		63		14		159		258		- 0		10		- 0		146		901				8/19/07 9:59		261		404		901

		8		19		12		8/19/07 10:59		286		- 0		67		13		175		275		- 0		10		- 0		149		975				8/19/07 10:59		296		424		975

		8		19		13		8/19/07 11:59		320		- 0		69		11		187		279		- 0		10		- 0		149		1,026				8/19/07 11:59		330		428		1,026

		8		19		14		8/19/07 12:59		303		- 0		71		12		192		289		- 0		9		- 0		149		1,024				8/19/07 12:59		312		438		1,024

		8		19		15		8/19/07 13:59		348		- 0		79		11		217		309		- 0		9		- 0		153		1,126				8/19/07 13:59		357		462		1,126

		8		19		16		8/19/07 14:59		299		- 0		69		9		173		271		- 0		9		- 0		148		979				8/19/07 14:59		308		419		979

		8		19		17		8/19/07 15:59		334		- 0		62		6		167		283		- 0		9		- 0		148		1,010				8/19/07 15:59		343		431		1,010

		8		19		18		8/19/07 16:59		367		- 0		54		4		164		292		- 0		10		- 0		150		1,040				8/19/07 16:59		377		442		1,040

		8		19		19		8/19/07 17:59		431		- 0		53		4		170		307		- 0		12		- 0		152		1,129				8/19/07 17:59		443		459		1,129

		8		19		20		8/19/07 18:59		443		- 0		55		5		171		306		- 0		13		- 0		153		1,145				8/19/07 18:59		456		459		1,145

		8		19		21		8/19/07 19:59		440		- 0		52		5		160		301		- 0		12		1		152		1,123				8/19/07 19:59		452		453		1,123

		8		19		22		8/19/07 20:59		212		- 0		35		4		94		235		- 0		9		6		143		739				8/19/07 20:59		221		378		739

		8		19		23		8/19/07 21:59		177		- 0		31		4		79		230		- 0		9		6		142		677				8/19/07 21:59		186		372		677

		8		19		24		8/19/07 22:59		128		- 0		27		3		68		221		- 0		7		6		144		603				8/19/07 22:59		135		365		603

		8		20		1		8/19/07 23:59		131		- 0		46		2		133		236		- 0		6		6		141		701				8/19/07 23:59		137		377		701

		8		20		2		8/20/07 0:59		117		- 0		45		2		127		228		- 0		6		5		142		671				8/20/07 0:59		123		370		671

		8		20		3		8/20/07 1:59		109		- 0		44		2		121		226		- 0		6		5		141		655				8/20/07 1:59		115		367		655

		8		20		4		8/20/07 2:59		98		- 0		42		2		117		221		- 0		5		5		140		630				8/20/07 2:59		103		361		630

		8		20		5		8/20/07 3:59		102		- 0		41		2		116		220		- 0		6		5		140		632				8/20/07 3:59		108		360		632

		8		20		6		8/20/07 4:59		136		- 0		44		2		135		236		- 0		7		5		142		708				8/20/07 4:59		143		378		708

		8		20		7		8/20/07 5:59		174		- 0		49		2		156		244		- 0		7		5		142		779				8/20/07 5:59		181		386		779

		8		20		8		8/20/07 6:59		340		- 0		63		4		237		298		- 0		9		1		152		1,104				8/20/07 6:59		349		450		1,104

		8		20		9		8/20/07 7:59		230		- 0		58		4		167		253		- 0		11		- 0		142		865				8/20/07 7:59		241		395		865

		8		20		10		8/20/07 8:59		222		- 0		61		4		155		250		- 0		13		- 0		142		848				8/20/07 8:59		235		392		848

		8		20		11		8/20/07 9:59		217		- 0		65		4		157		252		- 0		11		- 0		145		852				8/20/07 9:59		228		397		852

		8		20		12		8/20/07 10:59		204		- 0		64		4		149		248		- 0		11		- 0		145		825				8/20/07 10:59		215		393		825

		8		20		13		8/20/07 11:59		213		- 0		64		3		149		243		- 0		13		- 0		144		828				8/20/07 11:59		226		387		828

		8		20		14		8/20/07 12:59		217		- 0		67		3		158		250		- 0		12		- 0		143		851				8/20/07 12:59		229		393		851

		8		20		15		8/20/07 13:59		208		- 0		69		3		159		253		- 0		12		- 0		146		851				8/20/07 13:59		220		399		851

		8		20		16		8/20/07 14:59		214		- 0		68		3		160		254		- 0		11		- 0		146		855				8/20/07 14:59		225		400		855

		8		20		17		8/20/07 15:59		221		- 0		65		2		152		253		- 0		12		- 0		146		851				8/20/07 15:59		233		399		851

		8		20		18		8/20/07 16:59		238		- 0		56		2		148		251		- 0		12		- 0		146		854				8/20/07 16:59		250		397		854

		8		20		19		8/20/07 17:59		239		- 0		56		2		146		254		- 0		12		- 0		145		854				8/20/07 17:59		251		399		854

		8		20		20		8/20/07 18:59		248		- 0		60		3		155		250		- 0		12		- 0		144		870				8/20/07 18:59		260		394		870

		8		20		21		8/20/07 19:59		255		- 0		57		3		153		248		- 0		11		1		143		871				8/20/07 19:59		266		391		871

		8		20		22		8/20/07 20:59		383		- 0		66		3		211		290		- 0		12		6		148		1,117				8/20/07 20:59		395		438		1,117

		8		20		23		8/20/07 21:59		364		- 0		64		3		212		294		- 0		10		6		153		1,105				8/20/07 21:59		374		447		1,105

		8		20		24		8/20/07 22:59		193		- 0		50		2		146		244		- 0		8		6		144		792				8/20/07 22:59		201		388		792

		8		21		1		8/20/07 23:59		195		- 0		61		2		169		253		- 0		8		6		144		838				8/20/07 23:59		203		397		838

		8		21		2		8/21/07 0:59		146		- 0		55		2		146		239		- 0		7		5		142		743				8/21/07 0:59		153		381		743

		8		21		3		8/21/07 1:59		131		- 0		53		2		138		232		- 0		8		5		141		709				8/21/07 1:59		139		373		709

		8		21		4		8/21/07 2:59		130		- 0		51		2		139		234		- 0		6		5		141		709				8/21/07 2:59		136		375		709

		8		21		5		8/21/07 3:59		123		- 0		51		2		136		235		- 0		7		5		140		698				8/21/07 3:59		130		375		698

		8		21		6		8/21/07 4:59		150		- 0		52		2		148		242		- 0		6		5		141		746				8/21/07 4:59		156		383		746

		8		21		7		8/21/07 5:59		140		- 0		50		2		147		237		- 0		7		5		140		727				8/21/07 5:59		147		377		727

		8		21		8		8/21/07 6:59		355		- 0		68		2		244		299		- 0		8		1		151		1,128				8/21/07 6:59		363		450		1,128

		8		21		9		8/21/07 7:59		233		- 0		61		2		172		257		- 0		9		- 0		141		874				8/21/07 7:59		242		398		874

		8		21		10		8/21/07 8:59		222		- 0		63		2		162		251		- 0		11		- 0		140		851				8/21/07 8:59		233		391		851

		8		21		11		8/21/07 9:59		217		- 0		65		2		160		249		- 0		12		- 0		145		850				8/21/07 9:59		229		394		850

		8		21		12		8/21/07 10:59		208		- 0		65		2		154		248		- 0		12		- 0		144		833				8/21/07 10:59		220		392		833

		8		21		13		8/21/07 11:59		214		- 0		66		2		157		246		- 0		12		- 0		145		842				8/21/07 11:59		226		391		842

		8		21		14		8/21/07 12:59		211		- 0		67		2		157		244		- 0		12		- 0		145		837				8/21/07 12:59		223		389		837

		8		21		15		8/21/07 13:59		207		- 0		68		2		164		249		- 0		11		- 0		145		846				8/21/07 13:59		218		394		846

		8		21		16		8/21/07 14:59		209		- 0		67		2		169		255		- 0		13		- 0		145		860				8/21/07 14:59		222		400		860

		8		21		17		8/21/07 15:59		223		- 0		66		2		160		243		- 0		13		- 0		145		852				8/21/07 15:59		236		388		852

		8		21		18		8/21/07 16:59		233		- 0		62		2		157		242		- 0		15		- 0		144		855				8/21/07 16:59		248		386		855

		8		21		19		8/21/07 17:59		239		- 0		61		2		153		242		- 0		14		- 0		144		856				8/21/07 17:59		253		386		856

		8		21		20		8/21/07 18:59		222		- 0		65		3		154		247		- 0		13		- 0		144		847				8/21/07 18:59		235		391		847

		8		21		21		8/21/07 19:59		227		- 0		67		3		148		239		- 0		15		1		143		843				8/21/07 19:59		242		382		843

		8		21		22		8/21/07 20:59		224		- 0		66		3		154		242		- 0		13		6		144		851				8/21/07 20:59		237		386		851

		8		21		23		8/21/07 21:59		222		- 0		63		2		165		256		- 0		10		6		144		868				8/21/07 21:59		232		400		868

		8		21		24		8/21/07 22:59		331		- 0		76		2		248		306		- 0		9		6		152		1,129				8/21/07 22:59		340		458		1,129

		8		22		1		8/21/07 23:59		122		- 0		40		2		102		222		- 0		7		6		140		642				8/21/07 23:59		129		362		642

		8		22		2		8/22/07 0:59		100		- 0		40		2		96		218		- 0		6		5		141		607				8/22/07 0:59		106		359		607

		8		22		3		8/22/07 1:59		100		- 0		39		2		95		214		- 0		6		5		139		601				8/22/07 1:59		106		353		601

		8		22		4		8/22/07 2:59		99		- 0		38		2		98		222		- 0		6		5		140		610				8/22/07 2:59		105		362		610

		8		22		5		8/22/07 3:59		101		- 0		38		2		98		222		- 0		6		5		140		612				8/22/07 3:59		107		362		612

		8		22		6		8/22/07 4:59		145		- 0		42		2		123		237		- 0		7		5		141		701				8/22/07 4:59		152		378		701

		8		22		7		8/22/07 5:59		293		- 0		56		8		204		283		- 0		8		5		145		1,003				8/22/07 5:59		301		428		1,003

		8		22		8		8/22/07 6:59		228		- 0		62		11		178		255		- 0		8		1		145		888				8/22/07 6:59		236		400		888

		8		22		9		8/22/07 7:59		197		- 0		71		13		171		239		- 0		10		- 0		144		845				8/22/07 7:59		207		383		845

		8		22		10		8/22/07 8:59		172		- 0		74		12		163		241		- 0		10		- 0		144		817				8/22/07 8:59		182		385		817

		8		22		11		8/22/07 9:59		184		- 0		78		12		168		245		- 0		10		- 0		139		835				8/22/07 9:59		194		384		835

		8		22		12		8/22/07 10:59		186		- 0		80		12		167		244		- 0		12		- 0		144		845				8/22/07 10:59		198		388		845

		8		22		13		8/22/07 11:59		173		- 0		80		9		167		243		- 0		12		- 0		144		828				8/22/07 11:59		185		387		828

		8		22		14		8/22/07 12:59		176		- 0		83		12		178		246		- 0		10		- 0		143		847				8/22/07 12:59		186		389		847

		8		22		15		8/22/07 13:59		177		- 0		83		11		182		244		- 0		10		- 0		145		853				8/22/07 13:59		187		389		853

		8		22		16		8/22/07 14:59		181		- 0		82		11		178		247		- 0		11		- 0		146		855				8/22/07 14:59		192		393		855

		8		22		17		8/22/07 15:59		202		- 0		75		7		161		245		- 0		11		- 0		144		846				8/22/07 15:59		213		389		846

		8		22		18		8/22/07 16:59		217		- 0		63		4		154		239		- 0		14		- 0		144		835				8/22/07 16:59		231		383		835

		8		22		19		8/22/07 17:59		231		- 0		59		5		158		243		- 0		11		- 0		145		851				8/22/07 17:59		242		388		851

		8		22		20		8/22/07 18:59		238		- 0		60		5		157		239		- 0		12		- 0		145		856				8/22/07 18:59		250		384		856

		8		22		21		8/22/07 19:59		222		- 0		60		5		143		233		- 0		14		1		144		823				8/22/07 19:59		236		377		823

		8		22		22		8/22/07 20:59		236		- 0		59		5		153		242		- 0		12		6		142		854				8/22/07 20:59		248		384		854

		8		22		23		8/22/07 21:59		314		- 0		63		5		191		274		- 0		9		6		148		1,011				8/22/07 21:59		323		422		1,011

		8		22		24		8/22/07 22:59		140		- 0		48		3		128		224		- 0		7		6		138		693				8/22/07 22:59		147		362		693

		8		23		1		8/22/07 23:59		134		- 0		46		3		121		233		- 0		7		6		140		689				8/22/07 23:59		141		373		689

		8		23		2		8/23/07 0:59		91		- 0		40		3		100		221		- 0		8		5		140		608				8/23/07 0:59		99		361		608

		8		23		3		8/23/07 1:59		88		- 0		39		3		96		221		- 0		6		5		140		599				8/23/07 1:59		94		361		599

		8		23		4		8/23/07 2:59		91		- 0		39		3		96		215		- 0		7		5		141		597				8/23/07 2:59		98		356		597

		8		23		5		8/23/07 3:59		93		- 0		39		2		96		213		- 0		7		5		141		595				8/23/07 3:59		100		354		595

		8		23		6		8/23/07 4:59		110		- 0		41		2		106		217		- 0		5		5		141		627				8/23/07 4:59		115		358		627

		8		23		7		8/23/07 5:59		264		- 0		53		7		186		267		- 0		8		5		148		937				8/23/07 5:59		272		415		937

		8		23		8		8/23/07 6:59		233		- 0		62		12		182		252		- 0		11		1		144		898				8/23/07 6:59		244		396		898

		8		23		9		8/23/07 7:59		199		- 0		69		14		179		242		- 0		11		- 0		144		858				8/23/07 7:59		210		386		858

		8		23		10		8/23/07 8:59		199		- 0		77		13		174		242		- 0		11		- 0		142		856				8/23/07 8:59		210		384		856

		8		23		11		8/23/07 9:59		191		- 0		76		14		171		242		- 0		11		- 0		143		848				8/23/07 9:59		202		385		848

		8		23		12		8/23/07 10:59		191		- 0		77		12		164		236		- 0		11		- 0		143		833				8/23/07 10:59		202		379		833

		8		23		13		8/23/07 11:59		197		- 0		79		10		173		243		- 0		11		- 0		141		854				8/23/07 11:59		208		384		854

		8		23		14		8/23/07 12:59		187		- 0		81		13		176		245		- 0		10		- 0		142		853				8/23/07 12:59		197		387		853

		8		23		15		8/23/07 13:59		187		- 0		81		12		182		248		- 0		9		- 0		142		861				8/23/07 13:59		196		390		861

		8		23		16		8/23/07 14:59		186		- 0		79		10		176		248		- 0		11		- 0		144		855				8/23/07 14:59		197		392		855

		8		23		17		8/23/07 15:59		202		- 0		75		7		162		251		- 0		12		- 0		143		853				8/23/07 15:59		214		394		853

		8		23		18		8/23/07 16:59		215		- 0		64		5		148		248		- 0		11		- 0		142		834				8/23/07 16:59		226		390		834

		8		23		19		8/23/07 17:59		233		- 0		59		5		149		255		- 0		12		- 0		144		857				8/23/07 17:59		245		399		857

		8		23		20		8/23/07 18:59		229		- 0		60		5		148		250		- 0		11		- 0		145		848				8/23/07 18:59		240		395		848

		8		23		21		8/23/07 19:59		235		- 0		59		5		143		250		- 0		12		1		142		848				8/23/07 19:59		247		392		848

		8		23		22		8/23/07 20:59		236		- 0		55		5		142		257		- 0		12		6		141		854				8/23/07 20:59		248		398		854

		8		23		23		8/23/07 21:59		362		- 0		64		5		212		308		- 0		10		6		150		1,117				8/23/07 21:59		372		458		1,117

		8		23		24		8/23/07 22:59		158		- 0		46		3		132		244		- 0		7		6		139		734				8/23/07 22:59		165		383		734

		8		24		1		8/23/07 23:59		116		- 0		39		4		105		228		- 0		6		6		139		643				8/23/07 23:59		122		367		643

		8		24		2		8/24/07 0:59		120		- 0		38		3		103		229		- 0		5		5		139		643				8/24/07 0:59		125		368		643

		8		24		3		8/24/07 1:59		94		- 0		36		3		93		222		- 0		5		5		140		598				8/24/07 1:59		99		362		598

		8		24		4		8/24/07 2:59		98		- 0		35		3		91		222		- 0		6		5		138		598				8/24/07 2:59		104		360		598

		8		24		5		8/24/07 3:59		92		- 0		35		2		92		225		- 0		5		5		140		595				8/24/07 3:59		97		365		595

		8		24		6		8/24/07 4:59		112		- 0		35		2		98		225		- 0		5		5		137		620				8/24/07 4:59		117		362		620

		8		24		7		8/24/07 5:59		250		- 0		46		7		166		268		- 0		8		5		141		892				8/24/07 5:59		258		409		892

		8		24		8		8/24/07 6:59		331		- 0		66		12		222		286		- 0		8		1		145		1,071				8/24/07 6:59		339		431		1,071

		8		24		9		8/24/07 7:59		214		- 0		66		12		168		246		- 0		9		- 0		143		857				8/24/07 7:59		223		389		857

		8		24		10		8/24/07 8:59		191		- 0		74		13		174		249		- 0		9		- 0		143		853				8/24/07 8:59		200		392		853

		8		24		11		8/24/07 9:59		189		- 0		77		13		171		250		- 0		10		- 0		144		855				8/24/07 9:59		199		394		855

		8		24		12		8/24/07 10:59		189		- 0		78		13		165		245		- 0		10		- 0		145		846				8/24/07 10:59		199		390		846

		8		24		13		8/24/07 11:59		186		- 0		78		10		167		251		- 0		10		- 0		145		847				8/24/07 11:59		196		396		847

		8		24		14		8/24/07 12:59		175		- 0		81		13		172		252		- 0		9		- 0		145		847				8/24/07 12:59		184		397		847

		8		24		15		8/24/07 13:59		175		- 0		80		12		171		255		- 0		8		- 0		145		847				8/24/07 13:59		183		400		847

		8		24		16		8/24/07 14:59		184		- 0		78		12		175		258		- 0		9		- 0		140		855				8/24/07 14:59		193		398		855

		8		24		17		8/24/07 15:59		200		- 0		73		9		167		257		- 0		10		- 0		144		859				8/24/07 15:59		210		401		859

		8		24		18		8/24/07 16:59		227		- 0		61		5		157		254		- 0		12		- 0		144		860				8/24/07 16:59		239		398		860

		8		24		19		8/24/07 17:59		235		- 0		56		5		150		258		- 0		11		- 0		144		860				8/24/07 17:59		246		402		860

		8		24		20		8/24/07 18:59		236		- 0		57		6		147		255		- 0		10		- 0		145		856				8/24/07 18:59		246		400		856

		8		24		21		8/24/07 19:59		234		- 0		56		6		142		252		- 0		14		1		144		848				8/24/07 19:59		248		396		848

		8		24		22		8/24/07 20:59		326		- 0		59		5		183		282		- 0		11		6		146		1,018				8/24/07 20:59		337		428		1,018

		8		24		23		8/24/07 21:59		320		- 0		57		5		191		295		- 0		10		6		149		1,033				8/24/07 21:59		330		444		1,033

		8		24		24		8/24/07 22:59		151		- 0		42		3		120		242		- 0		9		6		141		714				8/24/07 22:59		160		383		714

		8		25		1		8/24/07 23:59		109		- 0		31		3		80		221		- 0		7		6		142		599				8/24/07 23:59		116		363		599

		8		25		2		8/25/07 0:59		117		- 0		32		3		84		227		- 0		8		5		144		621				8/25/07 0:59		125		371		621

		8		25		3		8/25/07 1:59		125		- 0		33		3		87		232		- 0		8		5		145		638				8/25/07 1:59		133		377		638

		8		25		4		8/25/07 2:59		130		- 0		31		3		82		227		- 0		7		5		144		630				8/25/07 2:59		137		371		630

		8		25		5		8/25/07 3:59		236		- 0		37		2		126		280		- 0		7		5		153		846				8/25/07 3:59		243		433		846

		8		25		6		8/25/07 4:59		117		- 0		28		2		76		220		- 0		8		5		141		597				8/25/07 4:59		125		361		597

		8		25		7		8/25/07 5:59		174		- 0		31		7		102		235		- 0		10		5		137		701				8/25/07 5:59		184		372		701

		8		25		8		8/25/07 6:59		348		- 0		52		12		185		287		- 0		11		1		147		1,043				8/25/07 6:59		359		434		1,043

		8		25		9		8/25/07 7:59		347		- 0		67		15		203		293		- 0		10		- 0		148		1,083				8/25/07 7:59		357		441		1,083

		8		25		10		8/25/07 8:59		280		- 0		69		14		182		276		- 0		11		- 0		145		977				8/25/07 8:59		291		421		977

		8		25		11		8/25/07 9:59		251		- 0		68		14		171		267		- 0		11		- 0		144		925				8/25/07 9:59		262		411		925

		8		25		12		8/25/07 10:59		228		- 0		67		14		156		252		- 0		11		- 0		143		871				8/25/07 10:59		239		395		871

		8		25		13		8/25/07 11:59		354		- 0		82		12		225		302		- 0		10		- 0		147		1,132				8/25/07 11:59		364		449		1,132

		8		25		14		8/25/07 12:59		329		- 0		87		15		226		306		- 0		12		- 0		145		1,120				8/25/07 12:59		341		451		1,120

		8		25		15		8/25/07 13:59		307		- 0		84		14		214		298		- 0		12		- 0		151		1,080				8/25/07 13:59		319		449		1,080

		8		25		16		8/25/07 14:59		291		- 0		77		12		193		293		- 0		12		- 0		150		1,029				8/25/07 14:59		303		443		1,029

		8		25		17		8/25/07 15:59		296		- 0		68		9		166		274		- 0		13		- 0		147		973				8/25/07 15:59		309		421		973

		8		25		18		8/25/07 16:59		265		- 0		53		5		132		259		- 0		14		- 0		145		873				8/25/07 16:59		279		404		873

		8		25		19		8/25/07 17:59		387		- 0		64		6		184		297		- 0		13		- 0		150		1,102				8/25/07 17:59		400		447		1,102

		8		25		20		8/25/07 18:59		269		- 0		55		6		127		254		- 0		12		- 0		144		867				8/25/07 18:59		281		398		867

		8		25		21		8/25/07 19:59		267		- 0		54		6		124		262		- 0		13		2		145		873				8/25/07 19:59		280		407		873

		8		25		22		8/25/07 20:59		396		- 0		54		6		156		299		- 0		14		6		150		1,080				8/25/07 20:59		410		449		1,080

		8		25		23		8/25/07 21:59		210		- 0		42		5		109		246		- 0		10		6		143		770				8/25/07 21:59		220		389		770

		8		25		24		8/25/07 22:59		123		- 0		33		3		80		220		- 0		9		6		141		614				8/25/07 22:59		132		361		614

		8		26		1		8/25/07 23:59		108		- 0		30		4		79		216		- 0		7		6		143		593				8/25/07 23:59		115		359		593

		8		26		2		8/26/07 0:59		113		- 0		31		4		82		223		- 0		7		5		145		609				8/26/07 0:59		120		368		609

		8		26		3		8/26/07 1:59		240		- 0		40		4		142		296		- 0		7		5		157		891				8/26/07 1:59		247		453		891

		8		26		4		8/26/07 2:59		132		- 0		29		3		87		235		- 0		7		5		146		646				8/26/07 2:59		139		381		646

		8		26		5		8/26/07 3:59		159		- 0		32		2		103		252		- 0		7		5		149		709				8/26/07 3:59		166		401		709

		8		26		6		8/26/07 4:59		112		- 0		28		2		78		221		- 0		7		5		142		596				8/26/07 4:59		119		363		596

		8		26		7		8/26/07 5:59		168		- 0		32		6		105		234		- 0		7		5		142		701				8/26/07 5:59		175		376		701

		8		26		8		8/26/07 6:59		383		- 0		57		12		200		298		- 0		13		1		153		1,117				8/26/07 6:59		396		451		1,117

		8		26		9		8/26/07 7:59		303		- 0		63		14		176		269		- 0		11		- 0		140		976				8/26/07 7:59		314		409		976

		8		26		10		8/26/07 8:59		297		- 0		71		13		189		278		- 0		11		- 0		147		1,007				8/26/07 8:59		308		425		1,007

		8		26		11		8/26/07 9:59		290		- 0		76		14		197		280		- 0		11		- 0		146		1,014				8/26/07 9:59		301		426		1,014

		8		26		12		8/26/07 10:59		258		- 0		69		14		165		250		- 0		12		- 0		146		914				8/26/07 10:59		270		396		914

		8		26		13		8/26/07 11:59		343		- 0		78		11		211		289		- 0		14		- 0		148		1,094				8/26/07 11:59		357		437		1,094

		8		26		14		8/26/07 12:59		346		- 0		80		14		218		293		- 0		13		- 0		148		1,113				8/26/07 12:59		359		441		1,113

		8		26		15		8/26/07 13:59		360		- 0		83		13		223		298		- 0		13		- 0		150		1,139				8/26/07 13:59		373		448		1,139

		8		26		16		8/26/07 14:59		365		- 0		77		10		214		298		- 0		12		- 0		152		1,129				8/26/07 14:59		377		450		1,129

		8		26		17		8/26/07 15:59		399		- 0		68		8		195		298		- 0		13		- 0		149		1,129				8/26/07 15:59		412		447		1,129

		8		26		18		8/26/07 16:59		426		- 0		59		6		186		292		- 0		15		- 0		152		1,135				8/26/07 16:59		441		444		1,135

		8		26		19		8/26/07 17:59		429		- 0		57		4		177		291		- 0		13		- 0		152		1,124				8/26/07 17:59		442		443		1,124

		8		26		20		8/26/07 18:59		434		- 0		59		4		178		296		- 0		13		- 0		149		1,134				8/26/07 18:59		447		445		1,134

		8		26		21		8/26/07 19:59		416		- 0		60		5		173		303		- 0		14		3		150		1,124				8/26/07 19:59		430		453		1,124

		8		26		22		8/26/07 20:59		429		- 0		53		4		155		296		- 0		12		6		153		1,108				8/26/07 20:59		441		449		1,108

		8		26		23		8/26/07 21:59		192		- 0		37		3		87		227		- 0		10		6		140		702				8/26/07 21:59		202		367		702

		8		26		24		8/26/07 22:59		131		- 0		33		3		70		208		- 0		8		6		137		596				8/26/07 22:59		139		345		596

		8		27		1		8/26/07 23:59		244		- 0		66		2		199		278		- 0		7		6		145		947				8/26/07 23:59		251		423		947

		8		27		2		8/27/07 0:59		160		- 0		56		2		157		244		- 0		7		5		143		774				8/27/07 0:59		167		387		774

		8		27		3		8/27/07 1:59		122		- 0		52		2		136		229		- 0		6		5		141		693				8/27/07 1:59		128		370		693

		8		27		4		8/27/07 2:59		142		- 0		53		2		145		233		- 0		6		5		139		725				8/27/07 2:59		148		372		725

		8		27		5		8/27/07 3:59		121		- 0		52		2		138		231		- 0		6		5		138		693				8/27/07 3:59		127		369		693

		8		27		6		8/27/07 4:59		123		- 0		50		2		139		234		- 0		7		5		141		701				8/27/07 4:59		130		375		701

		8		27		7		8/27/07 5:59		173		- 0		51		3		160		242		- 0		6		5		143		783				8/27/07 5:59		179		385		783

		8		27		8		8/27/07 6:59		358		- 0		67		4		242		297		- 0		9		1		151		1,128				8/27/07 6:59		367		448		1,128

		8		27		9		8/27/07 7:59		231		- 0		59		4		168		248		- 0		12		- 0		143		865				8/27/07 7:59		243		391		865

		8		27		10		8/27/07 8:59		222		- 0		63		5		161		248		- 0		12		- 0		145		856				8/27/07 8:59		234		393		856

		8		27		11		8/27/07 9:59		222		- 0		67		5		163		243		- 0		13		- 0		141		854				8/27/07 9:59		235		384		854

		8		27		12		8/27/07 10:59		227		- 0		66		4		156		239		- 0		13		- 0		144		850				8/27/07 10:59		240		383		850

		8		27		13		8/27/07 11:59		227		- 0		66		3		159		244		- 0		11		- 0		146		856				8/27/07 11:59		238		390		856

		8		27		14		8/27/07 12:59		222		- 0		68		3		167		244		- 0		14		- 0		145		864				8/27/07 12:59		236		389		864

		8		27		15		8/27/07 13:59		225		- 0		69		3		168		244		- 0		13		- 0		143		865				8/27/07 13:59		238		387		865

		8		27		16		8/27/07 14:59		222		- 0		71		3		171		248		- 0		14		- 0		140		868				8/27/07 14:59		236		388		868

		8		27		17		8/27/07 15:59		234		- 0		67		3		167		251		- 0		15		- 0		141		877				8/27/07 15:59		249		392		877

		8		27		18		8/27/07 16:59		242		- 0		60		2		153		247		- 0		14		- 0		144		861				8/27/07 16:59		256		391		861

		8		27		19		8/27/07 17:59		248		- 0		61		2		152		247		- 0		15		- 0		139		865				8/27/07 17:59		263		386		865

		8		27		20		8/27/07 18:59		241		- 0		63		3		154		246		- 0		14		- 0		141		863				8/27/07 18:59		255		387		863

		8		27		21		8/27/07 19:59		268		- 0		63		3		164		251		- 0		11		3		142		905				8/27/07 19:59		279		393		905

		8		27		22		8/27/07 20:59		273		- 0		63		2		166		258		- 0		11		6		145		924				8/27/07 20:59		284		403		924

		8		27		23		8/27/07 21:59		377		- 0		73		3		220		292		- 0		12		6		152		1,134				8/27/07 21:59		389		444		1,134

		8		27		24		8/27/07 22:59		227		- 0		59		2		162		250		- 0		9		6		144		858				8/27/07 22:59		236		394		858

		8		28		1		8/27/07 23:59		264		- 0		72		2		207		280		- 0		8		6		149		988				8/27/07 23:59		272		429		988

		8		28		2		8/28/07 0:59		160		- 0		62		2		155		239		- 0		7		5		142		772				8/28/07 0:59		167		381		772

		8		28		3		8/28/07 1:59		148		- 0		60		2		149		230		- 0		7		5		141		743				8/28/07 1:59		155		371		743

		8		28		4		8/28/07 2:59		144		- 0		59		2		149		232		- 0		7		5		141		740				8/28/07 2:59		151		373		740

		8		28		5		8/28/07 3:59		125		- 0		56		2		141		227		- 0		7		5		140		703				8/28/07 3:59		132		367		703

		8		28		6		8/28/07 4:59		152		- 0		58		2		155		240		- 0		7		5		141		760				8/28/07 4:59		159		381		760

		8		28		7		8/28/07 5:59		196		- 0		59		2		178		252		- 0		7		5		143		843				8/28/07 5:59		203		395		843

		8		28		8		8/28/07 6:59		292		- 0		73		2		238		285		- 0		9		1		149		1,049				8/28/07 6:59		301		434		1,049

		8		28		9		8/28/07 7:59		237		- 0		67		2		181		246		- 0		9		- 0		143		884				8/28/07 7:59		246		389		884

		8		28		10		8/28/07 8:59		224		- 0		66		2		165		240		- 0		11		- 0		144		851				8/28/07 8:59		235		384		851

		8		28		11		8/28/07 9:59		214		- 0		65		2		155		238		- 0		13		- 0		143		831				8/28/07 9:59		227		381		831

		8		28		12		8/28/07 10:59		212		- 0		67		2		154		240		- 0		14		- 0		143		833				8/28/07 10:59		226		383		833

		8		28		13		8/28/07 11:59		199		- 0		66		2		153		241		- 0		13		- 0		143		818				8/28/07 11:59		212		384		818

		8		28		14		8/28/07 12:59		207		- 0		68		2		158		242		- 0		15		- 0		144		835				8/28/07 12:59		222		386		835

		8		28		15		8/28/07 13:59		212		- 0		70		2		168		248		- 0		14		- 0		145		859				8/28/07 13:59		226		393		859

		8		28		16		8/28/07 14:59		212		- 0		69		2		169		248		- 0		14		- 0		145		859				8/28/07 14:59		226		393		859

		8		28		17		8/28/07 15:59		214		- 0		66		2		155		241		- 0		16		- 0		143		837				8/28/07 15:59		230		384		837

		8		28		18		8/28/07 16:59		219		- 0		61		2		149		238		- 0		16		- 0		143		828				8/28/07 16:59		235		381		828

		8		28		19		8/28/07 17:59		228		- 0		62		2		153		237		- 0		16		- 0		143		843				8/28/07 17:59		244		380		843

		8		28		20		8/28/07 18:59		239		- 0		64		3		148		234		- 0		16		- 0		142		847				8/28/07 18:59		255		376		847

		8		28		21		8/28/07 19:59		223		- 0		66		3		147		235		- 0		16		3		143		836				8/28/07 19:59		239		378		836

		8		28		22		8/28/07 20:59		223		- 0		63		3		150		239		- 0		15		6		144		842				8/28/07 20:59		238		383		842

		8		28		23		8/28/07 21:59		231		- 0		65		2		170		244		- 0		11		6		142		871				8/28/07 21:59		242		386		871

		8		28		24		8/28/07 22:59		335		- 0		77		2		253		294		- 0		10		6		150		1,127				8/28/07 22:59		345		444		1,127

		8		29		1		8/28/07 23:59		112		- 0		43		2		105		217		- 0		8		6		138		630				8/28/07 23:59		120		355		630

		8		29		2		8/29/07 0:59		98		- 0		40		2		96		212		- 0		7		5		139		600				8/29/07 0:59		105		351		600

		8		29		3		8/29/07 1:59		103		- 0		40		2		99		213		- 0		7		5		139		609				8/29/07 1:59		110		352		609

		8		29		4		8/29/07 2:59		98		- 0		40		2		99		212		- 0		7		5		139		603				8/29/07 2:59		105		351		603

		8		29		5		8/29/07 3:59		98		- 0		40		2		100		212		- 0		7		5		139		603				8/29/07 3:59		105		351		603

		8		29		6		8/29/07 4:59		148		- 0		44		2		128		230		- 0		8		5		140		706				8/29/07 4:59		156		370		706

		8		29		7		8/29/07 5:59		353		- 0		58		7		232		299		- 0		10		5		151		1,114				8/29/07 5:59		363		450		1,114

		8		29		8		8/29/07 6:59		211		- 0		61		10		174		246		- 0		11		1		144		858				8/29/07 6:59		222		390		858

		8		29		9		8/29/07 7:59		188		- 0		72		13		179		244		- 0		11		- 0		145		853				8/29/07 7:59		199		389		853

		8		29		10		8/29/07 8:59		176		- 0		77		13		173		238		- 0		12		- 0		144		832				8/29/07 8:59		188		382		832

		8		29		11		8/29/07 9:59		166		- 0		81		14		176		235		- 0		13		- 0		139		823				8/29/07 9:59		179		374		823

		8		29		12		8/29/07 10:59		195		- 0		81		13		174		237		- 0		14		- 0		141		854				8/29/07 10:59		209		378		854

		8		29		13		8/29/07 11:59		189		- 0		81		10		174		242		- 0		14		- 0		144		854				8/29/07 11:59		203		386		854

		8		29		14		8/29/07 12:59		185		- 0		86		14		185		242		- 0		13		- 0		144		868				8/29/07 12:59		198		386		868

		8		29		15		8/29/07 13:59		177		- 0		87		12		186		247		- 0		15		- 0		144		868				8/29/07 13:59		192		391		868

		8		29		16		8/29/07 14:59		179		- 0		83		10		177		237		- 0		13		- 0		143		843				8/29/07 14:59		192		380		843

		8		29		17		8/29/07 15:59		212		- 0		78		8		170		242		- 0		15		- 0		144		869				8/29/07 15:59		227		386		869

		8		29		18		8/29/07 16:59		229		- 0		65		4		158		242		- 0		16		- 0		143		857				8/29/07 16:59		245		385		857

		8		29		19		8/29/07 17:59		244		- 0		59		5		155		242		- 0		15		- 0		143		863				8/29/07 17:59		259		385		863

		8		29		20		8/29/07 18:59		239		- 0		61		5		150		241		- 0		14		- 0		143		854				8/29/07 18:59		253		384		854

		8		29		21		8/29/07 19:59		240		- 0		60		5		146		241		- 0		15		3		143		853				8/29/07 19:59		255		384		853

		8		29		22		8/29/07 20:59		224		- 0		58		5		145		240		- 0		14		6		145		837				8/29/07 20:59		238		385		837

		8		29		23		8/29/07 21:59		232		- 0		56		5		155		249		- 0		12		6		145		860				8/29/07 21:59		244		394		860

		8		29		24		8/29/07 22:59		304		- 0		62		3		210		291		- 0		10		6		151		1,037				8/29/07 22:59		314		442		1,037

		8		30		1		8/29/07 23:59		139		- 0		43		3		121		236		- 0		8		6		141		697				8/29/07 23:59		147		377		697

		8		30		2		8/30/07 0:59		131		- 0		43		3		120		232		- 0		7		5		142		684				8/30/07 0:59		138		374		684

		8		30		3		8/30/07 1:59		106		- 0		43		3		111		227		- 0		7		5		141		644				8/30/07 1:59		113		368		644

		8		30		4		8/30/07 2:59		105		- 0		40		3		105		223		- 0		6		5		141		628				8/30/07 2:59		111		364		628

		8		30		5		8/30/07 3:59		109		- 0		40		2		107		221		- 0		7		5		141		632				8/30/07 3:59		116		362		632

		8		30		6		8/30/07 4:59		141		- 0		46		2		129		233		- 0		7		5		142		706				8/30/07 4:59		148		375		706

		8		30		7		8/30/07 5:59		350		- 0		61		7		228		305		- 0		10		5		152		1,118				8/30/07 5:59		360		457		1,118

		8		30		8		8/30/07 6:59		207		- 0		63		10		166		252		- 0		10		1		146		854				8/30/07 6:59		217		398		854

		8		30		9		8/30/07 7:59		184		- 0		74		14		179		248		- 0		13		- 0		141		852				8/30/07 7:59		197		389		852

		8		30		10		8/30/07 8:59		174		- 0		79		13		168		240		- 0		12		- 0		144		829				8/30/07 8:59		186		384		829

		8		30		11		8/30/07 9:59		193		- 0		82		14		177		248		- 0		12		- 0		144		870				8/30/07 9:59		205		392		870

		8		30		12		8/30/07 10:59		185		- 0		82		13		169		243		- 0		13		- 0		144		850				8/30/07 10:59		198		387		850

		8		30		13		8/30/07 11:59		185		- 0		82		11		172		247		- 0		13		- 0		143		854				8/30/07 11:59		198		390		854

		8		30		14		8/30/07 12:59		179		- 0		88		14		181		247		- 0		12		- 0		141		863				8/30/07 12:59		191		388		863

		8		30		15		8/30/07 13:59		167		- 0		89		12		181		259		- 0		12		- 0		145		866				8/30/07 13:59		179		404		866

		8		30		16		8/30/07 14:59		177		- 0		84		12		172		254		- 0		13		- 0		143		856				8/30/07 14:59		190		397		856

		8		30		17		8/30/07 15:59		200		- 0		78		9		164		255		- 0		15		- 0		144		864				8/30/07 15:59		215		399		864

		8		30		18		8/30/07 16:59		215		- 0		67		5		157		253		- 0		16		- 0		145		857				8/30/07 16:59		231		398		857

		8		30		19		8/30/07 17:59		234		- 0		62		6		153		255		- 0		15		- 0		144		868				8/30/07 17:59		249		399		868

		8		30		20		8/30/07 18:59		247		- 0		62		6		150		256		- 0		16		- 0		141		877				8/30/07 18:59		263		397		877

		8		30		21		8/30/07 19:59		226		- 0		60		5		145		250		- 0		16		3		141		845				8/30/07 19:59		242		391		845

		8		30		22		8/30/07 20:59		220		- 0		58		6		149		255		- 0		15		6		142		850				8/30/07 20:59		235		397		850

		8		30		23		8/30/07 21:59		271		- 0		57		5		173		278		- 0		12		6		147		949				8/30/07 21:59		283		425		949

		8		30		24		8/30/07 22:59		307		- 0		58		3		198		304		- 0		9		6		149		1,034				8/30/07 22:59		316		453		1,034

		8		31		1		8/30/07 23:59		130		- 0		39		4		109		234		- 0		8		6		136		666				8/30/07 23:59		138		370		666

		8		31		2		8/31/07 0:59		99		- 0		36		4		98		229		- 0		6		5		139		617				8/31/07 0:59		105		368		617

		8		31		3		8/31/07 1:59		92		- 0		34		4		95		229		- 0		6		5		139		605				8/31/07 1:59		98		368		605

		8		31		4		8/31/07 2:59		94		- 0		34		4		92		222		- 0		6		5		140		597				8/31/07 2:59		100		362		597

		8		31		5		8/31/07 3:59		103		- 0		34		3		95		224		- 0		7		5		140		610				8/31/07 3:59		110		364		610

		8		31		6		8/31/07 4:59		120		- 0		37		3		107		229		- 0		7		5		139		648				8/31/07 4:59		127		368		648

		8		31		7		8/31/07 5:59		330		- 0		56		7		214		306		- 0		10		5		148		1,077				8/31/07 5:59		340		454		1,077

		8		31		8		8/31/07 6:59		212		- 0		61		12		157		251		- 0		11		3		144		851				8/31/07 6:59		223		395		851

		8		31		9		8/31/07 7:59		188		- 0		72		14		164		249		- 0		12		- 0		143		842				8/31/07 7:59		200		392		842

		8		31		10		8/31/07 8:59		182		- 0		79		13		172		248		- 0		10		- 0		143		848				8/31/07 8:59		192		391		848

		8		31		11		8/31/07 9:59		186		- 0		82		14		171		252		- 0		10		- 0		143		859				8/31/07 9:59		196		395		859

		8		31		12		8/31/07 10:59		203		- 0		82		13		168		253		- 0		9		- 0		143		871				8/31/07 10:59		212		396		871

		8		31		13		8/31/07 11:59		179		- 0		81		10		165		248		- 0		11		- 0		144		837				8/31/07 11:59		190		392		837

		8		31		14		8/31/07 12:59		179		- 0		83		13		172		246		- 0		9		- 0		143		845				8/31/07 12:59		188		389		845

		8		31		15		8/31/07 13:59		168		- 0		83		12		170		250		- 0		9		- 0		143		835				8/31/07 13:59		177		393		835

		8		31		16		8/31/07 14:59		186		- 0		80		11		163		251		- 0		11		- 0		143		845				8/31/07 14:59		197		394		845

		8		31		17		8/31/07 15:59		198		- 0		74		8		155		254		- 0		12		- 0		143		845				8/31/07 15:59		210		397		845

		8		31		18		8/31/07 16:59		222		- 0		61		4		145		252		- 0		13		- 0		142		841				8/31/07 16:59		235		394		841

		8		31		19		8/31/07 17:59		236		- 0		57		5		146		252		- 0		13		- 0		143		851				8/31/07 17:59		249		395		851

		8		31		20		8/31/07 18:59		221		- 0		57		5		137		252		- 0		14		- 0		142		828				8/31/07 18:59		235		394		828

		8		31		21		8/31/07 19:59		229		- 0		55		5		135		248		- 0		13		3		142		830				8/31/07 19:59		242		390		830

		8		31		22		8/31/07 20:59		245		- 0		51		5		147		257		- 0		12		6		142		865				8/31/07 20:59		257		399		865

		8		31		23		8/31/07 21:59		390		- 0		59		5		206		305		- 0		9		6		151		1,132				8/31/07 21:59		399		456		1,132

		8		31		24		8/31/07 22:59		169		- 0		43		3		128		247		- 0		7		6		139		742				8/31/07 22:59		176		386		742

		9		1		1		8/31/07 23:59		127		- 0		33		4		87		234		- 0		8		6		143		642				8/31/07 23:59		135		377		642

		9		1		2		9/1/07 0:59		167		- 0		34		4		104		256		- 0		7		6		149		728				9/1/07 0:59		174		405		728

		9		1		3		9/1/07 1:59		252		- 0		42		4		144		305		- 0		7		6		158		917				9/1/07 1:59		259		463		917

		9		1		4		9/1/07 2:59		246		- 0		40		4		137		299		- 0		8		6		157		896				9/1/07 2:59		254		456		896

		9		1		5		9/1/07 3:59		252		- 0		40		2		138		295		- 0		7		6		156		897				9/1/07 3:59		259		451		897

		9		1		6		9/1/07 4:59		133		- 0		31		3		86		226		- 0		6		6		143		635				9/1/07 4:59		139		369		635

		9		1		7		9/1/07 5:59		181		- 0		35		7		108		233		- 0		9		6		142		721				9/1/07 5:59		190		375		721

		9		1		8		9/1/07 6:59		250		- 0		52		12		143		256		- 0		12		3		148		877				9/1/07 6:59		262		404		877

		9		1		9		9/1/07 7:59		245		- 0		63		14		159		249		- 0		12		- 0		149		892				9/1/07 7:59		257		398		892

		9		1		10		9/1/07 8:59		242		- 0		72		14		167		252		- 0		12		- 0		150		909				9/1/07 8:59		254		402		909

		9		1		11		9/1/07 9:59		222		- 0		71		14		159		248		- 0		11		- 0		148		874				9/1/07 9:59		233		396		874

		9		1		12		9/1/07 10:59		225		- 0		73		13		161		255		- 0		11		- 0		144		882				9/1/07 10:59		236		399		882

		9		1		13		9/1/07 11:59		275		- 0		85		11		206		287		- 0		11		- 0		152		1,027				9/1/07 11:59		286		439		1,027

		9		1		14		9/1/07 12:59		205		- 0		80		15		171		258		- 0		10		- 0		149		888				9/1/07 12:59		215		407		888

		9		1		15		9/1/07 13:59		217		- 0		82		13		182		271		- 0		11		- 0		151		927				9/1/07 13:59		228		422		927

		9		1		16		9/1/07 14:59		314		- 0		86		11		217		289		- 0		11		- 0		148		1,075				9/1/07 14:59		325		437		1,075

		9		1		17		9/1/07 15:59		233		- 0		70		8		151		254		- 0		12		- 0		149		877				9/1/07 15:59		245		403		877

		9		1		18		9/1/07 16:59		247		- 0		61		5		141		257		- 0		12		- 0		149		872				9/1/07 16:59		259		406		872

		9		1		19		9/1/07 17:59		259		- 0		58		5		135		261		- 0		13		- 0		149		880				9/1/07 17:59		272		410		880

		9		1		20		9/1/07 18:59		254		- 0		60		6		128		258		- 0		13		- 0		147		867				9/1/07 18:59		267		405		867

		9		1		21		9/1/07 19:59		268		- 0		58		6		132		263		- 0		13		3		149		892				9/1/07 19:59		281		412		892

		9		1		22		9/1/07 20:59		419		- 0		58		6		172		306		- 0		14		6		154		1,135				9/1/07 20:59		433		460		1,135

		9		1		23		9/1/07 21:59		226		- 0		43		5		114		254		- 0		11		6		146		806				9/1/07 21:59		237		400		806

		9		1		24		9/1/07 22:59		120		- 0		34		3		81		224		- 0		8		6		141		616				9/1/07 22:59		128		365		616

		9		2		1		9/1/07 23:59		168		- 0		34		3		100		243		- 0		8		6		148		711				9/1/07 23:59		176		391		711

		9		2		2		9/2/07 0:59		206		- 0		35		4		115		265		- 0		8		6		152		791				9/2/07 0:59		214		417		791

		9		2		3		9/2/07 1:59		264		- 0		38		4		136		293		- 0		8		6		156		905				9/2/07 1:59		272		449		905

		9		2		4		9/2/07 2:59		266		- 0		37		4		134		295		- 0		7		6		156		906				9/2/07 2:59		273		451		906

		9		2		5		9/2/07 3:59		268		- 0		37		2		131		286		- 0		8		6		156		894				9/2/07 3:59		276		442		894

		9		2		6		9/2/07 4:59		140		- 0		29		2		85		227		- 0		7		6		143		639				9/2/07 4:59		147		370		639

		9		2		7		9/2/07 5:59		202		- 0		33		6		109		236		- 0		10		6		143		745				9/2/07 5:59		212		379		745

		9		2		8		9/2/07 6:59		376		- 0		58		13		199		296		- 0		11		3		155		1,111				9/2/07 6:59		387		451		1,111

		9		2		9		9/2/07 7:59		239		- 0		63		14		158		254		- 0		12		- 0		149		889				9/2/07 7:59		251		403		889

		9		2		10		9/2/07 8:59		236		- 0		66		13		155		246		- 0		11		- 0		148		875				9/2/07 8:59		247		394		875

		9		2		11		9/2/07 9:59		220		- 0		69		14		156		251		- 0		12		- 0		148		870				9/2/07 9:59		232		399		870

		9		2		12		9/2/07 10:59		232		- 0		71		13		156		247		- 0		13		- 0		148		880				9/2/07 10:59		245		395		880

		9		2		13		9/2/07 11:59		229		- 0		70		11		152		249		- 0		12		- 0		147		870				9/2/07 11:59		241		396		870

		9		2		14		9/2/07 12:59		223		- 0		72		14		158		253		- 0		11		- 0		148		879				9/2/07 12:59		234		401		879

		9		2		15		9/2/07 13:59		236		- 0		73		12		166		259		- 0		10		- 0		150		905				9/2/07 13:59		246		409		905

		9		2		16		9/2/07 14:59		305		- 0		77		9		195		294		- 0		10		- 0		153		1,043				9/2/07 14:59		315		447		1,043

		9		2		17		9/2/07 15:59		373		- 0		71		7		193		309		- 0		11		- 0		155		1,119				9/2/07 15:59		384		464		1,119

		9		2		18		9/2/07 16:59		364		- 0		57		5		160		283		- 0		13		- 0		152		1,033				9/2/07 16:59		377		435		1,033

		9		2		19		9/2/07 17:59		377		- 0		57		4		165		293		- 0		12		- 0		152		1,060				9/2/07 17:59		389		445		1,060

		9		2		20		9/2/07 18:59		442		- 0		63		4		175		303		- 0		13		- 0		155		1,156				9/2/07 18:59		455		458		1,156

		9		2		21		9/2/07 19:59		442		- 0		59		4		166		306		- 0		12		3		155		1,147				9/2/07 19:59		454		461		1,147

		9		2		22		9/2/07 20:59		221		- 0		40		3		99		245		- 0		11		6		144		769				9/2/07 20:59		232		389		769

		9		2		23		9/2/07 21:59		147		- 0		33		3		72		218		- 0		8		6		140		626				9/2/07 21:59		155		358		626

		9		2		24		9/2/07 22:59		196		- 0		34		3		86		242		- 0		7		6		144		718				9/2/07 22:59		203		386		718

		9		3		1		9/2/07 23:59		154		- 0		54		2		143		240		- 0		7		6		142		748				9/2/07 23:59		161		382		748

		9		3		2		9/3/07 0:59		108		- 0		48		2		123		228		- 0		7		6		139		662				9/3/07 0:59		115		367		662

		9		3		3		9/3/07 1:59		101		- 0		47		2		117		223		- 0		7		6		139		642				9/3/07 1:59		108		362		642

		9		3		4		9/3/07 2:59		92		- 0		45		2		114		220		- 0		6		6		138		623				9/3/07 2:59		98		358		623

		9		3		5		9/3/07 3:59		88		- 0		44		2		113		217		- 0		6		6		139		614				9/3/07 3:59		94		356		614

		9		3		6		9/3/07 4:59		108		- 0		45		2		119		218		- 0		7		6		139		643				9/3/07 4:59		115		357		643

		9		3		7		9/3/07 5:59		141		- 0		48		2		139		237		- 0		8		6		141		722				9/3/07 5:59		149		378		722

		9		3		8		9/3/07 6:59		290		- 0		64		3		216		285		- 0		12		3		150		1,023				9/3/07 6:59		302		435		1,023

		9		3		9		9/3/07 7:59		252		- 0		63		3		181		265		- 0		11		- 0		148		923				9/3/07 7:59		263		413		923

		9		3		10		9/3/07 8:59		236		- 0		64		3		162		252		- 0		12		- 0		146		876				9/3/07 8:59		248		398		876

		9		3		11		9/3/07 9:59		233		- 0		65		3		161		251		- 0		11		- 0		145		869				9/3/07 9:59		244		396		869

		9		3		12		9/3/07 10:59		232		- 0		70		3		174		257		- 0		12		- 0		148		896				9/3/07 10:59		244		405		896

		9		3		13		9/3/07 11:59		229		- 0		67		3		164		256		- 0		12		- 0		146		878				9/3/07 11:59		241		402		878

		9		3		14		9/3/07 12:59		226		- 0		69		3		167		255		- 0		12		- 0		147		879				9/3/07 12:59		238		402		879

		9		3		15		9/3/07 13:59		224		- 0		71		3		173		260		- 0		11		- 0		148		890				9/3/07 13:59		235		408		890

		9		3		16		9/3/07 14:59		235		- 0		73		2		175		266		- 0		10		- 0		148		910				9/3/07 14:59		245		414		910

		9		3		17		9/3/07 15:59		231		- 0		67		2		160		252		- 0		11		- 0		147		871				9/3/07 15:59		242		399		871

		9		3		18		9/3/07 16:59		251		- 0		62		2		162		260		- 0		13		- 0		148		897				9/3/07 16:59		264		408		897

		9		3		19		9/3/07 17:59		251		- 0		60		2		158		255		- 0		13		- 0		147		887				9/3/07 17:59		264		402		887

		9		3		20		9/3/07 18:59		249		- 0		65		3		155		251		- 0		13		- 0		147		882				9/3/07 18:59		262		398		882

		9		3		21		9/3/07 19:59		245		- 0		63		3		152		255		- 0		12		5		147		882				9/3/07 19:59		257		402		882

		9		3		22		9/3/07 20:59		277		- 0		64		3		167		265		- 0		12		6		149		942				9/3/07 20:59		289		414		942

		9		3		23		9/3/07 21:59		328		- 0		70		3		206		291		- 0		11		6		152		1,067				9/3/07 21:59		339		443		1,067

		9		3		24		9/3/07 22:59		158		- 0		54		2		133		231		- 0		8		6		142		735				9/3/07 22:59		166		373		735

		9		4		1		9/3/07 23:59		190		- 0		69		2		183		251		- 0		8		6		146		856				9/3/07 23:59		198		397		856

		9		4		2		9/4/07 0:59		130		- 0		61		2		152		234		- 0		8		6		141		734				9/4/07 0:59		138		375		734

		9		4		3		9/4/07 1:59		109		- 0		58		2		142		224		- 0		7		6		140		688				9/4/07 1:59		116		364		688

		9		4		4		9/4/07 2:59		124		- 0		58		2		151		232		- 0		7		6		141		721				9/4/07 2:59		131		373		721

		9		4		5		9/4/07 3:59		104		- 0		55		2		135		215		- 0		6		6		138		661				9/4/07 3:59		110		353		661

		9		4		6		9/4/07 4:59		142		- 0		59		2		156		233		- 0		8		6		141		746				9/4/07 4:59		150		374		746

		9		4		7		9/4/07 5:59		140		- 0		55		1		157		234		- 0		9		6		141		743				9/4/07 5:59		149		375		743

		9		4		8		9/4/07 6:59		264		- 0		69		2		226		279		- 0		10		3		149		1,003				9/4/07 6:59		274		428		1,003

		9		4		9		9/4/07 7:59		343		- 0		80		2		256		296		- 0		11		- 0		153		1,140				9/4/07 7:59		354		449		1,140

		9		4		10		9/4/07 8:59		224		- 0		68		2		176		252		- 0		11		- 0		147		881				9/4/07 8:59		235		399		881

		9		4		11		9/4/07 9:59		227		- 0		69		2		174		243		- 0		11		- 0		147		874				9/4/07 9:59		238		390		874

		9		4		12		9/4/07 10:59		227		- 0		71		2		179		245		- 0		13		- 0		147		885				9/4/07 10:59		240		392		885

		9		4		13		9/4/07 11:59		229		- 0		71		2		175		241		- 0		11		- 0		147		876				9/4/07 11:59		240		388		876

		9		4		14		9/4/07 12:59		217		- 0		73		2		186		251		- 0		12		- 0		148		890				9/4/07 12:59		229		399		890

		9		4		15		9/4/07 13:59		220		- 0		74		2		184		248		- 0		10		- 0		148		887				9/4/07 13:59		230		396		887

		9		4		16		9/4/07 14:59		230		- 0		76		2		197		254		- 0		10		- 0		148		917				9/4/07 14:59		240		402		917

		9		4		17		9/4/07 15:59		221		- 0		70		2		174		245		- 0		10		- 0		147		870				9/4/07 15:59		231		392		870

		9		4		18		9/4/07 16:59		231		- 0		67		2		174		250		- 0		13		- 0		147		884				9/4/07 16:59		244		397		884

		9		4		19		9/4/07 17:59		231		- 0		68		3		174		248		- 0		10		- 0		147		881				9/4/07 17:59		241		395		881

		9		4		20		9/4/07 18:59		246		- 0		73		3		179		244		- 0		11		- 0		147		903				9/4/07 18:59		257		391		903

		9		4		21		9/4/07 19:59		229		- 0		71		3		166		241		- 0		12		5		146		873				9/4/07 19:59		241		387		873

		9		4		22		9/4/07 20:59		299		- 0		78		3		218		272		- 0		11		6		150		1,038				9/4/07 20:59		310		422		1,038

		9		4		23		9/4/07 21:59		322		- 0		82		2		239		280		- 0		11		6		152		1,095				9/4/07 21:59		333		432		1,095

		9		4		24		9/4/07 22:59		168		- 0		65		2		166		233		- 0		8		6		144		793				9/4/07 22:59		176		377		793

		9		5		1		9/4/07 23:59		109		- 0		47		2		105		214		- 0		6		6		140		630				9/4/07 23:59		115		354		630

		9		5		2		9/5/07 0:59		124		- 0		47		2		115		223		- 0		6		6		143		666				9/5/07 0:59		130		366		666

		9		5		3		9/5/07 1:59		121		- 0		47		2		114		224		- 0		5		6		143		662				9/5/07 1:59		126		367		662

		9		5		4		9/5/07 2:59		151		- 0		49		2		133		235		- 0		6		6		146		728				9/5/07 2:59		157		381		728

		9		5		5		9/5/07 3:59		142		- 0		48		2		128		232		- 0		6		6		145		709				9/5/07 3:59		148		377		709

		9		5		6		9/5/07 4:59		116		- 0		45		2		113		217		- 0		6		6		141		646				9/5/07 4:59		122		358		646

		9		5		7		9/5/07 5:59		114		- 0		39		1		102		206		- 0		8		6		137		615				9/5/07 5:59		122		343		615

		9		5		8		9/5/07 6:59		120		- 0		42		2		104		203		- 0		9		3		136		619				9/5/07 6:59		129		339		619

		9		5		9		9/5/07 7:59		213		- 0		52		2		142		243		- 0		11		- 0		142		805				9/5/07 7:59		224		385		805

		9		5		10		9/5/07 8:59		384		- 0		66		2		202		283		- 0		13		- 0		151		1,102				9/5/07 8:59		397		434		1,102

		9		5		11		9/5/07 9:59		310		- 0		62		2		165		257		- 0		12		- 0		147		956				9/5/07 9:59		322		404		956

		9		5		12		9/5/07 10:59		338		- 0		63		2		174		260		- 0		13		- 0		148		998				9/5/07 10:59		351		408		998

		9		5		13		9/5/07 11:59		329		- 0		64		3		176		262		- 0		12		- 0		149		996				9/5/07 11:59		341		411		996

		9		5		14		9/5/07 12:59		374		- 0		71		3		212		288		- 0		11		- 0		153		1,112				9/5/07 12:59		385		441		1,112

		9		5		15		9/5/07 13:59		356		- 0		70		2		206		283		- 0		10		- 0		150		1,079				9/5/07 13:59		366		433		1,079

		9		5		16		9/5/07 14:59		403		- 0		72		2		219		293		- 0		12		- 0		153		1,155				9/5/07 14:59		415		446		1,155

		9		5		17		9/5/07 15:59		286		- 0		60		2		158		255		- 0		12		- 0		148		921				9/5/07 15:59		298		403		921

		9		5		18		9/5/07 16:59		288		- 0		57		2		153		249		- 0		14		- 0		147		911				9/5/07 16:59		302		396		911

		9		5		19		9/5/07 17:59		327		- 0		60		2		164		252		- 0		13		- 0		148		967				9/5/07 17:59		340		400		967

		9		5		20		9/5/07 18:59		265		- 0		60		3		141		245		- 0		15		- 0		145		875				9/5/07 18:59		280		390		875

		9		5		21		9/5/07 19:59		274		- 0		62		3		145		251		- 0		12		5		146		896				9/5/07 19:59		286		397		896

		9		5		22		9/5/07 20:59		391		- 0		70		3		203		294		- 0		12		6		152		1,131				9/5/07 20:59		403		446		1,131

		9		5		23		9/5/07 21:59		309		- 0		61		2		174		273		- 0		10		6		148		984				9/5/07 21:59		319		421		984

		9		5		24		9/5/07 22:59		141		- 0		47		2		115		220		- 0		8		6		139		678				9/5/07 22:59		149		359		678

		9		6		1		9/5/07 23:59		110		- 0		42		2		102		216		- 0		6		6		139		623				9/5/07 23:59		116		355		623

		9		6		2		9/6/07 0:59		101		- 0		42		2		101		219		- 0		5		6		140		617				9/6/07 0:59		106		359		617

		9		6		3		9/6/07 1:59		113		- 0		44		2		113		224		- 0		6		6		142		650				9/6/07 1:59		119		366		650

		9		6		4		9/6/07 2:59		106		- 0		42		2		104		216		- 0		6		6		141		622				9/6/07 2:59		112		357		622

		9		6		5		9/6/07 3:59		106		- 0		41		2		107		214		- 0		6		6		140		622				9/6/07 3:59		112		354		622

		9		6		6		9/6/07 4:59		122		- 0		43		2		114		219		- 0		7		6		139		651				9/6/07 4:59		129		358		651

		9		6		7		9/6/07 5:59		359		- 0		60		7		218		294		- 0		11		6		150		1,104				9/6/07 5:59		370		444		1,104

		9		6		8		9/6/07 6:59		220		- 0		64		12		177		246		- 0		11		3		144		876				9/6/07 6:59		231		390		876

		9		6		9		9/6/07 7:59		202		- 0		76		15		192		247		- 0		11		- 0		140		883				9/6/07 7:59		213		387		883

		9		6		10		9/6/07 8:59		190		- 0		81		15		190		243		- 0		10		- 0		144		872				9/6/07 8:59		200		387		872

		9		6		11		9/6/07 9:59		188		- 0		83		14		188		245		- 0		11		- 0		140		869				9/6/07 9:59		199		385		869

		9		6		12		9/6/07 10:59		193		- 0		85		14		185		241		- 0		10		- 0		142		869				9/6/07 10:59		203		383		869

		9		6		13		9/6/07 11:59		188		- 0		85		11		188		246		- 0		11		- 0		142		870				9/6/07 11:59		199		388		870

		9		6		14		9/6/07 12:59		185		- 0		86		13		189		248		- 0		11		- 0		136		868				9/6/07 12:59		196		384		868

		9		6		15		9/6/07 13:59		171		- 0		88		12		196		252		- 0		10		- 0		143		873				9/6/07 13:59		181		395		873

		9		6		16		9/6/07 14:59		180		- 0		87		10		187		253		- 0		10		- 0		141		867				9/6/07 14:59		190		394		867

		9		6		17		9/6/07 15:59		201		- 0		81		8		179		254		- 0		12		- 0		140		875				9/6/07 15:59		213		394		875

		9		6		18		9/6/07 16:59		217		- 0		66		5		165		251		- 0		13		- 0		142		860				9/6/07 16:59		230		393		860

		9		6		19		9/6/07 17:59		246		- 0		62		5		162		243		- 0		12		- 0		142		872				9/6/07 17:59		258		385		872

		9		6		20		9/6/07 18:59		236		- 0		65		5		155		245		- 0		12		- 0		140		858				9/6/07 18:59		248		385		858

		9		6		21		9/6/07 19:59		239		- 0		63		5		157		252		- 0		11		5		140		871				9/6/07 19:59		250		392		871

		9		6		22		9/6/07 20:59		238		- 0		60		5		157		251		- 0		13		6		145		875				9/6/07 20:59		251		396		875

		9		6		23		9/6/07 21:59		226		- 0		58		5		161		263		- 0		10		6		147		876				9/6/07 21:59		236		410		876

		9		6		24		9/6/07 22:59		226		- 0		58		3		178		272		- 0		9		6		148		900				9/6/07 22:59		235		420		900

		9		7		1		9/6/07 23:59		94		- 0		41		3		98		233		- 0		6		6		137		620				9/6/07 23:59		100		370		620

		9		7		2		9/7/07 0:59		95		- 0		39		3		100		231		- 0		6		6		139		619				9/7/07 0:59		101		370		619

		9		7		3		9/7/07 1:59		104		- 0		42		3		111		245		- 0		5		6		142		658				9/7/07 1:59		109		387		658

		9		7		4		9/7/07 2:59		107		- 0		40		3		107		241		- 0		5		6		141		650				9/7/07 2:59		112		382		650

		9		7		5		9/7/07 3:59		108		- 0		40		2		104		239		- 0		5		6		140		644				9/7/07 3:59		113		379		644

		9		7		6		9/7/07 4:59		101		- 0		39		2		100		231		- 0		7		6		137		623				9/7/07 4:59		108		368		623

		9		7		7		9/7/07 5:59		317		- 0		57		7		201		312		- 0		8		6		147		1,055				9/7/07 5:59		325		459		1,055

		9		7		8		9/7/07 6:59		224		- 0		63		13		172		262		- 0		10		3		145		891				9/7/07 6:59		234		407		891

		9		7		9		9/7/07 7:59		194		- 0		73		15		179		258		- 0		10		- 0		143		873				9/7/07 7:59		204		401		873

		9		7		10		9/7/07 8:59		193		- 0		80		14		186		258		- 0		11		- 0		143		884				9/7/07 8:59		204		401		884

		9		7		11		9/7/07 9:59		196		- 0		82		14		183		250		- 0		10		- 0		140		876				9/7/07 9:59		206		390		876

		9		7		12		9/7/07 10:59		192		- 0		84		14		179		254		- 0		10		- 0		142		875				9/7/07 10:59		202		396		875

		9		7		13		9/7/07 11:59		186		- 0		84		12		181		260		- 0		10		- 0		141		875				9/7/07 11:59		196		401		875

		9		7		14		9/7/07 12:59		171		- 0		85		13		183		262		- 0		10		- 0		140		866				9/7/07 12:59		181		402		866

		9		7		15		9/7/07 13:59		180		- 0		87		13		191		262		- 0		10		- 0		141		884				9/7/07 13:59		190		403		884

		9		7		16		9/7/07 14:59		187		- 0		84		12		178		260		- 0		10		- 0		135		866				9/7/07 14:59		197		395		866

		9		7		17		9/7/07 15:59		203		- 0		79		9		169		267		- 0		12		- 0		135		874				9/7/07 15:59		215		402		874

		9		7		18		9/7/07 16:59		229		- 0		66		5		157		263		- 0		13		- 0		139		872				9/7/07 16:59		242		402		872

		9		7		19		9/7/07 17:59		234		- 0		62		6		154		264		- 0		12		- 0		140		873				9/7/07 17:59		246		404		873

		9		7		20		9/7/07 18:59		242		- 0		62		7		148		261		- 0		13		- 0		140		875				9/7/07 18:59		255		401		875

		9		7		21		9/7/07 19:59		240		- 0		63		6		147		260		- 0		12		5		141		874				9/7/07 19:59		252		401		874

		9		7		22		9/7/07 20:59		242		- 0		59		6		153		271		- 0		12		6		144		893				9/7/07 20:59		254		415		893

		9		7		23		9/7/07 21:59		349		- 0		66		6		207		314		- 0		10		6		150		1,109				9/7/07 21:59		359		464		1,109

		9		7		24		9/7/07 22:59		118		- 0		45		3		109		232		- 0		7		6		133		654				9/7/07 22:59		125		365		654

		9		8		1		9/7/07 23:59		174		- 0		35		4		101		246		- 0		7		6		145		717				9/7/07 23:59		181		391		717

		9		8		2		9/8/07 0:59		174		- 0		32		4		98		251		- 0		7		6		148		720				9/8/07 0:59		181		399		720

		9		8		3		9/8/07 1:59		246		- 0		38		4		130		291		- 0		7		6		153		875				9/8/07 1:59		253		444		875

		9		8		4		9/8/07 2:59		250		- 0		37		4		130		297		- 0		7		6		154		885				9/8/07 2:59		257		451		885

		9		8		5		9/8/07 3:59		218		- 0		35		2		116		281		- 0		7		6		150		815				9/8/07 3:59		225		431		815

		9		8		6		9/8/07 4:59		127		- 0		28		3		77		223		- 0		7		6		140		611				9/8/07 4:59		134		363		611

		9		8		7		9/8/07 5:59		203		- 0		32		7		109		243		- 0		11		6		142		753				9/8/07 5:59		214		385		753

		9		8		8		9/8/07 6:59		395		- 0		61		13		204		297		- 0		11		3		150		1,135				9/8/07 6:59		406		447		1,135

		9		8		9		9/8/07 7:59		296		- 0		70		16		184		267		- 0		11		- 0		145		988				9/8/07 7:59		307		412		988

		9		8		10		9/8/07 8:59		230		- 0		70		14		163		248		- 0		11		- 0		145		882				9/8/07 8:59		241		393		882

		9		8		11		9/8/07 9:59		238		- 0		75		15		175		255		- 0		9		- 0		148		916				9/8/07 9:59		247		403		916

		9		8		12		9/8/07 10:59		240		- 0		76		13		174		258		- 0		10		- 0		148		921				9/8/07 10:59		250		406		921

		9		8		13		9/8/07 11:59		342		- 0		89		13		230		301		- 0		10		- 0		151		1,135				9/8/07 11:59		352		452		1,135

		9		8		14		9/8/07 12:59		291		- 0		86		14		214		283		- 0		10		- 0		148		1,047				9/8/07 12:59		301		431		1,047

		9		8		15		9/8/07 13:59		325		- 0		92		14		239		305		- 0		10		- 0		149		1,133				9/8/07 13:59		335		454		1,133

		9		8		16		9/8/07 14:59		353		- 0		87		12		223		301		- 0		9		- 0		148		1,134				9/8/07 14:59		362		449		1,134

		9		8		17		9/8/07 15:59		248		- 0		66		9		143		259		- 0		11		- 0		145		880				9/8/07 15:59		259		404		880

		9		8		18		9/8/07 16:59		267		- 0		57		6		137		260		- 0		11		- 0		148		886				9/8/07 16:59		278		408		886

		9		8		19		9/8/07 17:59		281		- 0		56		8		131		259		- 0		11		- 0		147		891				9/8/07 17:59		292		406		891

		9		8		20		9/8/07 18:59		276		- 0		57		7		131		258		- 0		13		- 0		147		889				9/8/07 18:59		289		405		889

		9		8		21		9/8/07 19:59		430		- 0		62		7		181		309		- 0		12		5		147		1,154				9/8/07 19:59		442		456		1,154

		9		8		22		9/8/07 20:59		298		- 0		46		5		132		271		- 0		10		6		147		915				9/8/07 20:59		308		418		915

		9		8		23		9/8/07 21:59		177		- 0		35		4		91		232		- 0		8		6		140		695				9/8/07 21:59		185		372		695

		9		8		24		9/8/07 22:59		153		- 0		33		3		93		243		- 0		7		6		145		685				9/8/07 22:59		160		388		685

		9		9		1		9/8/07 23:59		221		- 0		32		4		116		276		- 0		6		6		152		814				9/8/07 23:59		227		428		814

		9		9		2		9/9/07 0:59		284		- 0		35		4		142		314		- 0		7		6		158		951				9/9/07 0:59		291		472		951

		9		9		3		9/9/07 1:59		1,103		- 0		86		8		479		756		- 0		11		6		231		2,678				9/9/07 1:59		1,114		987		2,678

		9		9		4		9/9/07 2:59		1,181		- 0		82		7		470		735		- 0		11		6		228		2,720				9/9/07 2:59		1,192		963		2,720

		9		9		5		9/9/07 3:59		1,075		- 0		77		4		433		674		- 0		10		6		219		2,499				9/9/07 3:59		1,085		893		2,499

		9		9		6		9/9/07 4:59		178		- 0		27		3		94		241		- 0		8		6		146		703				9/9/07 4:59		186		387		703

		9		9		7		9/9/07 5:59		201		- 0		28		7		100		238		- 0		11		6		141		732				9/9/07 5:59		212		379		732

		9		9		8		9/9/07 6:59		404		- 0		55		14		195		306		- 0		13		3		152		1,144				9/9/07 6:59		417		458		1,144

		9		9		9		9/9/07 7:59		330		- 0		64		16		193		288		- 0		12		- 0		149		1,052				9/9/07 7:59		342		437		1,052

		9		9		10		9/9/07 8:59		332		- 0		76		15		203		285		- 0		11		- 0		145		1,067				9/9/07 8:59		343		430		1,067

		9		9		11		9/9/07 9:59		235		- 0		67		14		155		255		- 0		11		- 0		144		880				9/9/07 9:59		246		399		880

		9		9		12		9/9/07 10:59		236		- 0		67		13		153		254		- 0		10		- 0		148		881				9/9/07 10:59		246		402		881

		9		9		13		9/9/07 11:59		344		- 0		78		13		211		301		- 0		10		- 0		153		1,110				9/9/07 11:59		354		454		1,110

		9		9		14		9/9/07 12:59		330		- 0		79		14		206		295		- 0		11		- 0		150		1,085				9/9/07 12:59		341		445		1,085

		9		9		15		9/9/07 13:59		329		- 0		78		12		200		297		- 0		9		- 0		150		1,075				9/9/07 13:59		338		447		1,075

		9		9		16		9/9/07 14:59		374		- 0		80		10		215		318		- 0		10		- 0		156		1,163				9/9/07 14:59		384		474		1,163

		9		9		17		9/9/07 15:59		375		- 0		65		7		185		309		- 0		11		- 0		153		1,105				9/9/07 15:59		386		462		1,105

		9		9		18		9/9/07 16:59		397		- 0		58		6		172		305		- 0		12		- 0		153		1,103				9/9/07 16:59		409		458		1,103

		9		9		19		9/9/07 17:59		387		- 0		55		4		164		293		- 0		12		- 0		152		1,068				9/9/07 17:59		399		445		1,068

		9		9		20		9/9/07 18:59		398		- 0		60		4		164		301		- 0		12		- 0		153		1,092				9/9/07 18:59		410		454		1,092

		9		9		21		9/9/07 19:59		330		- 0		54		4		142		280		- 0		13		5		148		976				9/9/07 19:59		343		428		976

		9		9		22		9/9/07 20:59		222		- 0		38		4		95		241		- 0		10		6		142		758				9/9/07 20:59		232		383		758

		9		9		23		9/9/07 21:59		150		- 0		31		3		69		218		- 0		9		6		140		626				9/9/07 21:59		159		358		626

		9		9		24		9/9/07 22:59		200		- 0		32		3		83		245		- 0		8		6		143		721				9/9/07 22:59		208		388		721

		9		10		1		9/9/07 23:59		181		- 0		54		2		155		255		- 0		7		6		145		807				9/9/07 23:59		188		400		807

		9		10		2		9/10/07 0:59		131		- 0		49		2		132		233		- 0		6		6		142		702				9/10/07 0:59		137		375		702

		9		10		3		9/10/07 1:59		105		- 0		46		2		116		221		- 0		6		6		139		641				9/10/07 1:59		111		360		641

		9		10		4		9/10/07 2:59		101		- 0		44		2		114		219		- 0		7		6		136		630				9/10/07 2:59		108		355		630

		9		10		5		9/10/07 3:59		142		- 0		48		2		136		239		- 0		6		6		142		721				9/10/07 3:59		148		381		721

		9		10		6		9/10/07 4:59		140		- 0		49		2		134		240		- 0		7		6		141		719				9/10/07 4:59		147		381		719

		9		10		7		9/10/07 5:59		254		- 0		56		3		190		285		- 0		11		6		149		955				9/10/07 5:59		265		434		955

		9		10		8		9/10/07 6:59		266		- 0		55		4		169		265		- 0		11		3		148		922				9/10/07 6:59		277		413		922

		9		10		9		9/10/07 7:59		249		- 0		57		5		157		256		- 0		9		- 0		146		879				9/10/07 7:59		258		402		879

		9		10		10		9/10/07 8:59		238		- 0		63		4		161		255		- 0		13		- 0		147		881				9/10/07 8:59		251		402		881

		9		10		11		9/10/07 9:59		230		- 0		64		4		161		260		- 0		12		- 0		147		879				9/10/07 9:59		242		407		879

		9		10		12		9/10/07 10:59		233		- 0		66		4		161		257		- 0		12		- 0		146		879				9/10/07 10:59		245		403		879

		9		10		13		9/10/07 11:59		236		- 0		65		3		160		254		- 0		13		- 0		146		878				9/10/07 11:59		249		400		878

		9		10		14		9/10/07 12:59		225		- 0		68		3		168		259		- 0		11		- 0		146		880				9/10/07 12:59		236		405		880

		9		10		15		9/10/07 13:59		233		- 0		67		3		164		260		- 0		10		- 0		145		884				9/10/07 13:59		243		405		884

		9		10		16		9/10/07 14:59		240		- 0		67		3		162		255		- 0		12		- 0		144		883				9/10/07 14:59		252		399		883

		9		10		17		9/10/07 15:59		239		- 0		64		2		156		257		- 0		13		- 0		147		877				9/10/07 15:59		252		404		877

		9		10		18		9/10/07 16:59		259		- 0		56		2		148		251		- 0		12		- 0		146		874				9/10/07 16:59		271		397		874

		9		10		19		9/10/07 17:59		262		- 0		57		2		149		256		- 0		13		- 0		146		886				9/10/07 17:59		275		402		886

		9		10		20		9/10/07 18:59		254		- 0		61		3		149		254		- 0		12		1		146		879				9/10/07 18:59		266		400		879

		9		10		21		9/10/07 19:59		253		- 0		59		3		145		252		- 0		13		5		145		874				9/10/07 19:59		266		397		874

		9		10		22		9/10/07 20:59		313		- 0		62		3		176		273		- 0		11		6		149		993				9/10/07 20:59		324		422		993

		9		10		23		9/10/07 21:59		379		- 0		68		3		207		306		- 0		10		6		154		1,133				9/10/07 21:59		389		460		1,133

		9		10		24		9/10/07 22:59		183		- 0		52		2		140		249		- 0		8		6		143		783				9/10/07 22:59		191		392		783

		9		11		1		9/10/07 23:59		183		- 0		65		2		177		250		- 0		7		6		145		836				9/10/07 23:59		190		395		836

		9		11		2		9/11/07 0:59		130		- 0		59		2		147		225		- 0		7		6		140		715				9/11/07 0:59		137		365		715

		9		11		3		9/11/07 1:59		125		- 0		58		2		146		230		- 0		7		6		140		714				9/11/07 1:59		132		370		714

		9		11		4		9/11/07 2:59		127		- 0		57		2		147		232		- 0		6		6		140		717				9/11/07 2:59		133		372		717

		9		11		5		9/11/07 3:59		130		- 0		57		2		149		233		- 0		6		6		140		723				9/11/07 3:59		136		373		723

		9		11		6		9/11/07 4:59		144		- 0		58		2		156		240		- 0		9		6		142		756				9/11/07 4:59		153		382		756

		9		11		7		9/11/07 5:59		232		- 0		64		2		203		273		- 0		11		6		145		936				9/11/07 5:59		243		418		936

		9		11		8		9/11/07 6:59		343		- 0		72		2		253		304		- 0		12		3		153		1,144				9/11/07 6:59		355		457		1,144

		9		11		9		9/11/07 7:59		241		- 0		64		2		179		249		- 0		11		- 0		147		892				9/11/07 7:59		252		396		892

		9		11		10		9/11/07 8:59		241		- 0		64		2		168		246		- 0		12		- 0		144		878				9/11/07 8:59		253		390		878

		9		11		11		9/11/07 9:59		230		- 0		68		2		173		251		- 0		12		- 0		145		881				9/11/07 9:59		242		396		881

		9		11		12		9/11/07 10:59		228		- 0		67		2		172		249		- 0		11		- 0		145		874				9/11/07 10:59		239		394		874

		9		11		13		9/11/07 11:59		222		- 0		68		3		179		254		- 0		11		- 0		146		882				9/11/07 11:59		233		400		882

		9		11		14		9/11/07 12:59		226		- 0		69		2		179		251		- 0		11		- 0		145		885				9/11/07 12:59		237		396		885

		9		11		15		9/11/07 13:59		212		- 0		71		3		186		252		- 0		10		- 0		145		880				9/11/07 13:59		222		397		880

		9		11		16		9/11/07 14:59		227		- 0		68		3		177		250		- 0		13		- 0		144		882				9/11/07 14:59		240		394		882

		9		11		17		9/11/07 15:59		230		- 0		66		3		169		249		- 0		12		- 0		144		873				9/11/07 15:59		242		393		873

		9		11		18		9/11/07 16:59		245		- 0		63		2		163		241		- 0		13		- 0		143		871				9/11/07 16:59		258		384		871

		9		11		19		9/11/07 17:59		254		- 0		62		2		158		241		- 0		15		- 0		142		873				9/11/07 17:59		269		383		873

		9		11		20		9/11/07 18:59		256		- 0		66		3		160		235		- 0		14		1		141		876				9/11/07 18:59		270		376		876

		9		11		21		9/11/07 19:59		253		- 0		67		3		162		233		- 0		12		5		142		877				9/11/07 19:59		265		375		877

		9		11		22		9/11/07 20:59		242		- 0		66		2		164		241		- 0		12		6		145		880				9/11/07 20:59		254		386		880

		9		11		23		9/11/07 21:59		232		- 0		63		3		168		246		- 0		12		6		147		877				9/11/07 21:59		244		393		877

		9		11		24		9/11/07 22:59		327		- 0		77		2		260		302		- 0		10		6		155		1,140				9/11/07 22:59		337		457		1,140

		9		12		1		9/11/07 23:59		102		- 0		44		2		108		220		- 0		6		6		136		624				9/11/07 23:59		108		356		624

		9		12		2		9/12/07 0:59		96		- 0		43		2		108		218		- 0		6		6		139		618				9/12/07 0:59		102		357		618

		9		12		3		9/12/07 1:59		95		- 0		43		2		108		217		- 0		6		6		139		616				9/12/07 1:59		101		356		616

		9		12		4		9/12/07 2:59		99		- 0		44		2		114		215		- 0		7		6		139		625				9/12/07 2:59		106		354		625

		9		12		5		9/12/07 3:59		95		- 0		42		2		111		214		- 0		5		6		138		614				9/12/07 3:59		100		352		614

		9		12		6		9/12/07 4:59		140		- 0		48		2		142		236		- 0		8		6		141		724				9/12/07 4:59		148		377		724

		9		12		7		9/12/07 5:59		224		- 0		57		8		176		262		- 0		11		6		147		891				9/12/07 5:59		235		409		891

		9		12		8		9/12/07 6:59		201		- 0		66		12		183		248		- 0		10		4		144		869				9/12/07 6:59		211		392		869

		9		12		9		9/12/07 7:59		187		- 0		76		14		195		245		- 0		10		- 0		142		869				9/12/07 7:59		197		387		869

		9		12		10		9/12/07 8:59		178		- 0		83		13		193		243		- 0		11		- 0		142		864				9/12/07 8:59		189		385		864

		9		12		11		9/12/07 9:59		163		- 0		86		14		190		240		- 0		10		- 0		141		845				9/12/07 9:59		173		381		845

		9		12		12		9/12/07 10:59		178		- 0		87		14		192		242		- 0		11		- 0		142		866				9/12/07 10:59		189		384		866

		9		12		13		9/12/07 11:59		165		- 0		87		11		191		243		- 0		10		- 0		142		850				9/12/07 11:59		175		385		850

		9		12		14		9/12/07 12:59		153		- 0		89		14		194		246		- 0		11		- 0		141		848				9/12/07 12:59		164		387		848

		9		12		15		9/12/07 13:59		154		- 0		90		13		191		242		- 0		10		- 0		141		841				9/12/07 13:59		164		383		841

		9		12		16		9/12/07 14:59		168		- 0		89		11		189		242		- 0		11		- 0		141		851				9/12/07 14:59		179		383		851

		9		12		17		9/12/07 15:59		182		- 0		84		8		183		244		- 0		12		- 0		142		856				9/12/07 15:59		194		386		856

		9		12		18		9/12/07 16:59		221		- 0		74		5		180		244		- 0		15		- 0		143		882				9/12/07 16:59		236		387		882

		9		12		19		9/12/07 17:59		217		- 0		67		5		168		239		- 0		13		- 0		141		851				9/12/07 17:59		230		380		851

		9		12		20		9/12/07 18:59		234		- 0		69		5		167		241		- 0		14		1		142		874				9/12/07 18:59		248		383		874

		9		12		21		9/12/07 19:59		212		- 0		68		4		160		239		- 0		14		5		141		844				9/12/07 19:59		226		380		844

		9		12		22		9/12/07 20:59		232		- 0		65		4		169		244		- 0		14		6		143		878				9/12/07 20:59		246		387		878

		9		12		23		9/12/07 21:59		231		- 0		63		4		169		247		- 0		12		6		146		879				9/12/07 21:59		243		393		879

		9		12		24		9/12/07 22:59		251		- 0		67		3		214		272		- 0		9		6		147		971				9/12/07 22:59		260		419		971

		9		13		1		9/12/07 23:59		108		- 0		46		3		120		227		- 0		6		6		138		654				9/12/07 23:59		114		365		654

		9		13		2		9/13/07 0:59		104		- 0		43		3		113		219		- 0		5		6		138		632				9/13/07 0:59		109		357		632

		9		13		3		9/13/07 1:59		95		- 0		43		3		109		219		- 0		5		6		137		617				9/13/07 1:59		100		356		617

		9		13		4		9/13/07 2:59		98		- 0		43		2		114		219		- 0		6		6		135		624				9/13/07 2:59		104		354		624

		9		13		5		9/13/07 3:59		98		- 0		43		2		112		219		- 0		5		6		133		618				9/13/07 3:59		103		352		618

		9		13		6		9/13/07 4:59		144		- 0		48		2		137		237		- 0		6		6		139		720				9/13/07 4:59		150		376		720

		9		13		7		9/13/07 5:59		229		- 0		55		7		167		256		- 0		9		6		146		876				9/13/07 5:59		238		402		876

		9		13		8		9/13/07 6:59		215		- 0		67		12		183		247		- 0		10		4		143		881				9/13/07 6:59		225		390		881

		9		13		9		9/13/07 7:59		188		- 0		80		14		200		249		- 0		10		- 0		142		882				9/13/07 7:59		198		391		882

		9		13		10		9/13/07 8:59		185		- 0		87		14		194		244		- 0		10		- 0		142		876				9/13/07 8:59		195		386		876

		9		13		11		9/13/07 9:59		181		- 0		88		15		190		246		- 0		11		- 0		136		868				9/13/07 9:59		192		382		868

		9		13		12		9/13/07 10:59		176		- 0		89		14		189		245		- 0		11		- 0		141		866				9/13/07 10:59		187		386		866

		9		13		13		9/13/07 11:59		179		- 0		89		11		189		249		- 0		11		- 0		142		869				9/13/07 11:59		190		391		869

		9		13		14		9/13/07 12:59		181		- 0		92		15		195		243		- 0		10		- 0		140		876				9/13/07 12:59		191		383		876

		9		13		15		9/13/07 13:59		178		- 0		92		13		192		243		- 0		11		- 0		141		870				9/13/07 13:59		189		384		870

		9		13		16		9/13/07 14:59		183		- 0		87		11		181		245		- 0		12		- 0		141		860				9/13/07 14:59		195		386		860

		9		13		17		9/13/07 15:59		197		- 0		82		9		174		246		- 0		14		- 0		142		865				9/13/07 15:59		211		388		865

		9		13		18		9/13/07 16:59		234		- 0		70		6		167		245		- 0		14		- 0		142		879				9/13/07 16:59		248		387		879

		9		13		19		9/13/07 17:59		252		- 0		65		5		162		244		- 0		14		- 0		142		885				9/13/07 17:59		266		386		885

		9		13		20		9/13/07 18:59		217		- 0		66		5		155		242		- 0		14		1		140		841				9/13/07 18:59		231		382		841

		9		13		21		9/13/07 19:59		234		- 0		67		5		158		250		- 0		14		5		139		873				9/13/07 19:59		248		389		873

		9		13		22		9/13/07 20:59		232		- 0		64		5		164		255		- 0		13		6		144		883				9/13/07 20:59		245		399		883

		9		13		23		9/13/07 21:59		237		- 0		63		4		167		256		- 0		11		6		147		892				9/13/07 21:59		248		403		892

		9		13		24		9/13/07 22:59		228		- 0		62		3		190		280		- 0		8		6		148		926				9/13/07 22:59		236		428		926

		9		14		1		9/13/07 23:59		134		- 0		47		3		126		235		- 0		7		6		141		699				9/13/07 23:59		141		376		699

		9		14		2		9/14/07 0:59		95		- 0		43		3		107		220		- 0		6		6		139		620				9/14/07 0:59		101		359		620

		9		14		3		9/14/07 1:59		95		- 0		43		3		106		218		- 0		6		6		139		617				9/14/07 1:59		101		357		617

		9		14		4		9/14/07 2:59		96		- 0		42		3		109		222		- 0		5		6		139		623				9/14/07 2:59		101		361		623

		9		14		5		9/14/07 3:59		94		- 0		43		2		109		225		- 0		5		6		139		623				9/14/07 3:59		99		364		623

		9		14		6		9/14/07 4:59		146		- 0		47		3		133		240		- 0		6		6		141		721				9/14/07 4:59		152		381		721

		9		14		7		9/14/07 5:59		361		- 0		66		8		235		301		- 0		10		6		153		1,141				9/14/07 5:59		371		454		1,141

		9		14		8		9/14/07 6:59		213		- 0		67		13		176		252		- 0		9		4		145		880				9/14/07 6:59		222		397		880

		9		14		9		9/14/07 7:59		191		- 0		78		14		188		249		- 0		8		- 0		144		873				9/14/07 7:59		199		393		873

		9		14		10		9/14/07 8:59		178		- 0		85		14		193		247		- 0		10		- 0		144		871				9/14/07 8:59		188		391		871

		9		14		11		9/14/07 9:59		183		- 0		87		15		192		241		- 0		10		- 0		143		872				9/14/07 9:59		193		384		872

		9		14		12		9/14/07 10:59		186		- 0		88		14		188		240		- 0		12		- 0		142		871				9/14/07 10:59		198		382		871

		9		14		13		9/14/07 11:59		191		- 0		89		12		191		240		- 0		12		- 0		143		878				9/14/07 11:59		203		383		878

		9		14		14		9/14/07 12:59		174		- 0		93		15		195		245		- 0		11		- 0		142		875				9/14/07 12:59		185		387		875

		9		14		15		9/14/07 13:59		178		- 0		91		13		189		245		- 0		12		- 0		142		870				9/14/07 13:59		190		387		870

		9		14		16		9/14/07 14:59		186		- 0		86		12		184		246		- 0		14		- 0		142		870				9/14/07 14:59		200		388		870

		9		14		17		9/14/07 15:59		206		- 0		81		9		167		247		- 0		15		- 0		141		866				9/14/07 15:59		221		388		866

		9		14		18		9/14/07 16:59		225		- 0		69		5		160		246		- 0		15		- 0		141		862				9/14/07 16:59		240		387		862

		9		14		19		9/14/07 17:59		241		- 0		65		5		156		240		- 0		16		- 0		141		865				9/14/07 17:59		257		381		865

		9		14		20		9/14/07 18:59		224		- 0		67		5		150		244		- 0		14		1		141		846				9/14/07 18:59		238		385		846

		9		14		21		9/14/07 19:59		240		- 0		67		5		156		245		- 0		14		5		143		875				9/14/07 19:59		254		388		875

		9		14		22		9/14/07 20:59		243		- 0		64		5		158		247		- 0		14		6		145		882				9/14/07 20:59		257		392		882

		9		14		23		9/14/07 21:59		318		- 0		69		4		194		278		- 0		11		6		149		1,030				9/14/07 21:59		329		427		1,030

		9		14		24		9/14/07 22:59		181		- 0		53		3		146		245		- 0		8		6		139		782				9/14/07 22:59		189		384		782

		9		15		1		9/14/07 23:59		129		- 0		34		3		85		219		- 0		7		6		141		624				9/14/07 23:59		136		360		624

		9		15		2		9/15/07 0:59		189		- 0		38		4		110		248		- 0		7		6		147		750				9/15/07 0:59		196		395		750

		9		15		3		9/15/07 1:59		231		- 0		42		3		131		276		- 0		7		6		153		849				9/15/07 1:59		238		429		849

		9		15		4		9/15/07 2:59		266		- 0		41		3		139		283		- 0		7		6		153		900				9/15/07 2:59		273		436		900

		9		15		5		9/15/07 3:59		258		- 0		41		3		142		286		- 0		8		6		152		895				9/15/07 3:59		266		438		895

		9		15		6		9/15/07 4:59		141		- 0		34		2		90		219		- 0		8		6		142		642				9/15/07 4:59		149		361		642

		9		15		7		9/15/07 5:59		237		- 0		42		8		130		253		- 0		9		6		144		831				9/15/07 5:59		246		397		831

		9		15		8		9/15/07 6:59		268		- 0		57		14		160		259		- 0		11		4		148		921				9/15/07 6:59		279		407		921

		9		15		9		9/15/07 7:59		248		- 0		68		15		176		260		- 0		12		- 0		145		923				9/15/07 7:59		260		405		923

		9		15		10		9/15/07 8:59		222		- 0		73		14		167		248		- 0		10		- 0		145		879				9/15/07 8:59		232		393		879

		9		15		11		9/15/07 9:59		220		- 0		76		15		169		254		- 0		12		- 0		141		888				9/15/07 9:59		232		395		888

		9		15		12		9/15/07 10:59		216		- 0		76		14		164		252		- 0		12		- 0		146		880				9/15/07 10:59		228		398		880

		9		15		13		9/15/07 11:59		219		- 0		78		11		170		255		- 0		11		- 0		144		890				9/15/07 11:59		230		399		890

		9		15		14		9/15/07 12:59		216		- 0		82		13		179		247		- 0		11		- 0		145		893				9/15/07 12:59		227		392		893

		9		15		15		9/15/07 13:59		276		- 0		91		14		217		278		- 0		10		- 0		149		1,035				9/15/07 13:59		286		427		1,035

		9		15		16		9/15/07 14:59		259		- 0		82		11		189		263		- 0		11		- 0		147		962				9/15/07 14:59		270		410		962

		9		15		17		9/15/07 15:59		248		- 0		72		7		158		258		- 0		13		- 0		148		905				9/15/07 15:59		261		406		905

		9		15		18		9/15/07 16:59		259		- 0		60		5		146		257		- 0		13		- 0		148		888				9/15/07 16:59		272		405		888

		9		15		19		9/15/07 17:59		268		- 0		59		5		136		255		- 0		14		- 0		147		884				9/15/07 17:59		282		402		884

		9		15		20		9/15/07 18:59		261		- 0		60		5		132		257		- 0		14		1		147		878				9/15/07 18:59		275		404		878

		9		15		21		9/15/07 19:59		262		- 0		57		5		129		262		- 0		13		5		145		878				9/15/07 19:59		275		407		878

		9		15		22		9/15/07 20:59		410		- 0		56		5		174		305		- 0		13		6		151		1,120				9/15/07 20:59		423		456		1,120

		9		15		23		9/15/07 21:59		188		- 0		39		4		101		234		- 0		9		6		142		723				9/15/07 21:59		197		376		723

		9		15		24		9/15/07 22:59		136		- 0		35		3		91		227		- 0		8		6		141		647				9/15/07 22:59		144		368		647

		9		16		1		9/15/07 23:59		201		- 0		34		3		111		251		- 0		6		6		148		761				9/15/07 23:59		207		399		761

		9		16		2		9/16/07 0:59		926		- 0		79		5		416		599		- 0		12		6		206		2,250				9/16/07 0:59		938		805		2,250

		9		16		3		9/16/07 1:59		361		- 0		42		3		173		331		- 0		8		6		164		1,088				9/16/07 1:59		369		495		1,088

		9		16		4		9/16/07 2:59		1,147		- 0		88		5		508		725		- 0		12		6		224		2,716				9/16/07 2:59		1,159		949		2,716

		9		16		5		9/16/07 3:59		751		- 0		64		4		342		527		- 0		9		6		196		1,900				9/16/07 3:59		760		723		1,900

		9		16		6		9/16/07 4:59		166		- 0		30		3		97		239		- 0		8		6		146		695				9/16/07 4:59		174		385		695

		9		16		7		9/16/07 5:59		212		- 0		32		7		111		239		- 0		11		6		143		761				9/16/07 5:59		223		382		761

		9		16		8		9/16/07 6:59		357		- 0		56		12		182		284		- 0		10		4		152		1,057				9/16/07 6:59		367		436		1,057

		9		16		9		9/16/07 7:59		313		- 0		67		15		195		287		- 0		11		- 0		148		1,035				9/16/07 7:59		324		435		1,035

		9		16		10		9/16/07 8:59		234		- 0		66		13		160		256		- 0		11		- 0		146		887				9/16/07 8:59		245		402		887

		9		16		11		9/16/07 9:59		228		- 0		68		15		161		253		- 0		9		- 0		146		880				9/16/07 9:59		237		399		880

		9		16		12		9/16/07 10:59		263		- 0		73		14		179		270		- 0		10		- 0		150		960				9/16/07 10:59		273		420		960

		9		16		13		9/16/07 11:59		301		- 0		74		11		192		288		- 0		9		- 0		149		1,024				9/16/07 11:59		310		437		1,024

		9		16		14		9/16/07 12:59		334		- 0		81		13		223		307		- 0		11		- 0		151		1,118				9/16/07 12:59		345		458		1,118

		9		16		15		9/16/07 13:59		346		- 0		81		11		226		312		- 0		11		- 0		154		1,141				9/16/07 13:59		357		466		1,141

		9		16		16		9/16/07 14:59		363		- 0		80		10		218		317		- 0		11		- 0		155		1,154				9/16/07 14:59		374		472		1,154

		9		16		17		9/16/07 15:59		368		- 0		67		6		185		302		- 0		12		- 0		154		1,094				9/16/07 15:59		380		456		1,094

		9		16		18		9/16/07 16:59		426		- 0		60		4		184		306		- 0		12		- 0		155		1,148				9/16/07 16:59		438		461		1,148

		9		16		19		9/16/07 17:59		311		- 0		54		4		134		263		- 0		12		- 0		149		927				9/16/07 17:59		323		412		927

		9		16		20		9/16/07 18:59		345		- 0		57		4		144		274		- 0		13		1		150		989				9/16/07 18:59		358		424		989

		9		16		21		9/16/07 19:59		350		- 0		55		4		150		281		- 0		12		5		150		1,009				9/16/07 19:59		362		431		1,009

		9		16		22		9/16/07 20:59		289		- 0		43		3		114		251		- 0		10		6		147		864				9/16/07 20:59		299		398		864

		9		16		23		9/16/07 21:59		154		- 0		30		3		73		218		- 0		9		6		140		634				9/16/07 21:59		163		358		634

		9		16		24		9/16/07 22:59		155		- 0		29		3		75		226		- 0		9		6		144		648				9/16/07 22:59		164		370		648

		9		17		1		9/16/07 23:59		157		- 0		53		2		148		243		- 0		7		6		143		759				9/16/07 23:59		164		386		759

		9		17		2		9/17/07 0:59		139		- 0		50		2		139		233		- 0		7		6		142		718				9/17/07 0:59		146		375		718

		9		17		3		9/17/07 1:59		113		- 0		47		2		125		224		- 0		7		6		140		665				9/17/07 1:59		120		364		665

		9		17		4		9/17/07 2:59		102		- 0		44		2		118		220		- 0		7		6		139		638				9/17/07 2:59		109		359		638

		9		17		5		9/17/07 3:59		96		- 0		44		2		115		216		- 0		7		6		139		625				9/17/07 3:59		103		355		625

		9		17		6		9/17/07 4:59		140		- 0		48		2		139		237		- 0		7		6		142		721				9/17/07 4:59		147		379		721

		9		17		7		9/17/07 5:59		239		- 0		58		4		197		278		- 0		9		6		149		941				9/17/07 5:59		248		427		941

		9		17		8		9/17/07 6:59		350		- 0		70		4		252		313		- 0		12		4		155		1,160				9/17/07 6:59		362		468		1,160

		9		17		9		9/17/07 7:59		232		- 0		61		4		169		254		- 0		12		- 0		148		880				9/17/07 7:59		244		402		880

		9		17		10		9/17/07 8:59		236		- 0		66		4		165		249		- 0		12		- 0		146		880				9/17/07 8:59		248		395		880

		9		17		11		9/17/07 9:59		232		- 0		69		4		167		248		- 0		13		- 0		146		880				9/17/07 9:59		245		394		880

		9		17		12		9/17/07 10:59		240		- 0		67		4		162		246		- 0		13		- 0		145		877				9/17/07 10:59		253		391		877

		9		17		13		9/17/07 11:59		239		- 0		67		3		163		246		- 0		12		- 0		146		875				9/17/07 11:59		251		392		875

		9		17		14		9/17/07 12:59		226		- 0		67		3		167		253		- 0		12		- 0		145		874				9/17/07 12:59		238		398		874

		9		17		15		9/17/07 13:59		225		- 0		68		3		165		254		- 0		10		- 0		147		872				9/17/07 13:59		235		401		872

		9		17		16		9/17/07 14:59		226		- 0		68		2		162		252		- 0		13		- 0		148		872				9/17/07 14:59		239		400		872

		9		17		17		9/17/07 15:59		245		- 0		65		2		158		248		- 0		14		- 0		146		880				9/17/07 15:59		259		394		880

		9		17		18		9/17/07 16:59		260		- 0		56		2		148		247		- 0		15		- 0		145		873				9/17/07 16:59		275		392		873

		9		17		19		9/17/07 17:59		262		- 0		58		2		144		246		- 0		12		- 0		144		870				9/17/07 17:59		274		390		870

		9		17		20		9/17/07 18:59		261		- 0		61		3		150		246		- 0		11		1		146		880				9/17/07 18:59		272		392		880

		9		17		21		9/17/07 19:59		250		- 0		59		3		149		250		- 0		12		5		147		876				9/17/07 19:59		262		397		876

		9		17		22		9/17/07 20:59		256		- 0		60		3		154		259		- 0		11		6		147		896				9/17/07 20:59		267		406		896

		9		17		23		9/17/07 21:59		356		- 0		70		3		217		300		- 0		12		6		153		1,117				9/17/07 21:59		368		453		1,117

		9		17		24		9/17/07 22:59		215		- 0		57		2		159		256		- 0		7		6		147		850				9/17/07 22:59		222		403		850

		9		18		1		9/17/07 23:59		230		- 0		72		2		209		270		- 0		8		6		150		947				9/17/07 23:59		238		420		947

		9		18		2		9/18/07 0:59		144		- 0		61		2		161		239		- 0		7		6		142		763				9/18/07 0:59		151		381		763

		9		18		3		9/18/07 1:59		124		- 0		60		2		151		229		- 0		7		6		142		722				9/18/07 1:59		131		371		722

		9		18		4		9/18/07 2:59		120		- 0		57		2		146		223		- 0		7		6		141		703				9/18/07 2:59		127		364		703

		9		18		5		9/18/07 3:59		128		- 0		58		2		152		229		- 0		7		6		141		723				9/18/07 3:59		135		370		723

		9		18		6		9/18/07 4:59		142		- 0		59		2		162		238		- 0		7		6		142		758				9/18/07 4:59		149		380		758

		9		18		7		9/18/07 5:59		216		- 0		66		2		209		271		- 0		8		6		148		927				9/18/07 5:59		224		419		927

		9		18		8		9/18/07 6:59		314		- 0		74		2		261		301		- 0		13		4		154		1,124				9/18/07 6:59		327		455		1,124

		9		18		9		9/18/07 7:59		232		- 0		66		2		181		243		- 0		12		- 0		147		884				9/18/07 7:59		244		390		884

		9		18		10		9/18/07 8:59		236		- 0		68		2		176		241		- 0		12		- 0		146		880				9/18/07 8:59		248		387		880

		9		18		11		9/18/07 9:59		232		- 0		69		2		169		241		- 0		10		- 0		144		869				9/18/07 9:59		242		385		869

		9		18		12		9/18/07 10:59		245		- 0		68		2		172		237		- 0		11		- 0		144		879				9/18/07 10:59		256		381		879

		9		18		13		9/18/07 11:59		225		- 0		69		2		178		247		- 0		11		- 0		145		878				9/18/07 11:59		236		392		878

		9		18		14		9/18/07 12:59		213		- 0		73		2		181		250		- 0		10		- 0		147		876				9/18/07 12:59		223		397		876

		9		18		15		9/18/07 13:59		218		- 0		71		2		180		250		- 0		11		- 0		146		879				9/18/07 13:59		229		396		879

		9		18		16		9/18/07 14:59		208		- 0		72		2		182		253		- 0		11		- 0		147		876				9/18/07 14:59		219		400		876

		9		18		17		9/18/07 15:59		225		- 0		69		2		176		246		- 0		14		- 0		144		877				9/18/07 15:59		239		390		877

		9		18		18		9/18/07 16:59		236		- 0		64		2		166		240		- 0		13		- 0		144		865				9/18/07 16:59		249		384		865

		9		18		19		9/18/07 17:59		250		- 0		66		2		169		239		- 0		12		- 0		144		881				9/18/07 17:59		262		383		881

		9		18		20		9/18/07 18:59		252		- 0		68		2		161		233		- 0		13		1		139		870				9/18/07 18:59		265		372		870

		9		18		21		9/18/07 19:59		241		- 0		69		2		169		239		- 0		11		5		144		880				9/18/07 19:59		252		383		880

		9		18		22		9/18/07 20:59		233		- 0		67		3		171		242		- 0		12		6		145		880				9/18/07 20:59		245		387		880

		9		18		23		9/18/07 21:59		245		- 0		69		2		196		260		- 0		9		6		148		936				9/18/07 21:59		254		408		936

		9		18		24		9/18/07 22:59		273		- 0		75		2		249		294		- 0		9		6		151		1,060				9/18/07 22:59		282		445		1,060

		9		19		1		9/18/07 23:59		98		- 0		44		2		110		220		- 0		5		6		135		621				9/18/07 23:59		103		355		621

		9		19		2		9/19/07 0:59		100		- 0		43		2		111		219		- 0		6		6		138		624				9/19/07 0:59		106		357		624

		9		19		3		9/19/07 1:59		97		- 0		43		2		110		218		- 0		5		6		138		619				9/19/07 1:59		102		356		619

		9		19		4		9/19/07 2:59		99		- 0		42		2		111		218		- 0		6		6		138		622				9/19/07 2:59		105		356		622

		9		19		5		9/19/07 3:59		98		- 0		42		2		109		212		- 0		6		6		137		614				9/19/07 3:59		104		349		614

		9		19		6		9/19/07 4:59		147		- 0		48		2		142		230		- 0		7		6		139		721				9/19/07 4:59		154		369		721

		9		19		7		9/19/07 5:59		282		- 0		60		6		209		277		- 0		11		6		148		1,000				9/19/07 5:59		293		425		1,000

		9		19		8		9/19/07 6:59		208		- 0		65		11		183		249		- 0		11		4		143		875				9/19/07 6:59		219		392		875

		9		19		9		9/19/07 7:59		192		- 0		76		14		195		250		- 0		11		- 0		140		878				9/19/07 7:59		203		390		878

		9		19		10		9/19/07 8:59		186		- 0		83		14		195		244		- 0		10		- 0		142		874				9/19/07 8:59		196		386		874

		9		19		11		9/19/07 9:59		176		- 0		85		14		191		240		- 0		12		- 0		137		856				9/19/07 9:59		188		377		856

		9		19		12		9/19/07 10:59		173		- 0		87		13		188		240		- 0		11		- 0		142		856				9/19/07 10:59		184		382		856

		9		19		13		9/19/07 11:59		181		- 0		85		10		187		239		- 0		11		- 0		140		854				9/19/07 11:59		192		379		854

		9		19		14		9/19/07 12:59		167		- 0		90		14		201		248		- 0		10		- 0		142		872				9/19/07 12:59		177		390		872

		9		19		15		9/19/07 13:59		166		- 0		88		13		198		248		- 0		10		- 0		143		866				9/19/07 13:59		176		391		866

		9		19		16		9/19/07 14:59		170		- 0		87		11		197		251		- 0		11		- 0		144		871				9/19/07 14:59		181		395		871

		9		19		17		9/19/07 15:59		186		- 0		80		7		180		248		- 0		11		- 0		143		856				9/19/07 15:59		197		391		856

		9		19		18		9/19/07 16:59		213		- 0		68		5		171		244		- 0		12		- 0		142		855				9/19/07 16:59		225		386		855

		9		19		19		9/19/07 17:59		240		- 0		65		5		168		246		- 0		13		- 0		144		882				9/19/07 17:59		253		390		882

		9		19		20		9/19/07 18:59		239		- 0		66		5		168		249		- 0		13		1		144		886				9/19/07 18:59		252		393		886

		9		19		21		9/19/07 19:59		221		- 0		63		5		160		245		- 0		12		6		144		856				9/19/07 19:59		233		389		856

		9		19		22		9/19/07 20:59		227		- 0		61		5		166		249		- 0		11		6		146		872				9/19/07 20:59		238		395		872

		9		19		23		9/19/07 21:59		226		- 0		61		5		172		255		- 0		9		6		146		881				9/19/07 21:59		235		401		881

		9		19		24		9/19/07 22:59		209		- 0		58		3		187		260		- 0		8		6		148		881				9/19/07 22:59		217		408		881

		9		20		1		9/19/07 23:59		104		- 0		42		3		110		219		- 0		6		6		138		629				9/19/07 23:59		110		357		629

		9		20		2		9/20/07 0:59		96		- 0		41		4		107		219		- 0		6		6		140		618				9/20/07 0:59		102		359		618

		9		20		3		9/20/07 1:59		95		- 0		40		3		104		221		- 0		6		6		139		615				9/20/07 1:59		101		360		615

		9		20		4		9/20/07 2:59		100		- 0		40		3		107		217		- 0		5		6		139		618				9/20/07 2:59		105		356		618

		9		20		5		9/20/07 3:59		104		- 0		40		2		105		217		- 0		8		6		138		621				9/20/07 3:59		112		355		621

		9		20		6		9/20/07 4:59		149		- 0		46		3		133		234		- 0		8		6		142		721				9/20/07 4:59		157		376		721

		9		20		7		9/20/07 5:59		239		- 0		54		6		166		255		- 0		12		6		148		887				9/20/07 5:59		251		403		887

		9		20		8		9/20/07 6:59		216		- 0		65		10		176		246		- 0		12		4		145		875				9/20/07 6:59		228		391		875

		9		20		9		9/20/07 7:59		195		- 0		75		14		186		240		- 0		11		- 0		142		864				9/20/07 7:59		206		382		864

		9		20		10		9/20/07 8:59		193		- 0		82		13		185		241		- 0		12		- 0		143		868				9/20/07 8:59		205		384		868

		9		20		11		9/20/07 9:59		189		- 0		87		14		192		238		- 0		11		- 0		143		875				9/20/07 9:59		200		381		875

		9		20		12		9/20/07 10:59		187		- 0		88		14		193		239		- 0		10		- 0		142		874				9/20/07 10:59		197		381		874

		9		20		13		9/20/07 11:59		192		- 0		87		11		188		246		- 0		10		- 0		141		876				9/20/07 11:59		202		387		876

		9		20		14		9/20/07 12:59		176		- 0		89		14		194		246		- 0		9		- 0		144		873				9/20/07 12:59		185		390		873

		9		20		15		9/20/07 13:59		177		- 0		88		12		190		249		- 0		10		- 0		143		870				9/20/07 13:59		187		392		870

		9		20		16		9/20/07 14:59		195		- 0		85		10		188		251		- 0		10		- 0		142		881				9/20/07 14:59		205		393		881

		9		20		17		9/20/07 15:59		214		- 0		77		8		174		244		- 0		13		- 0		140		871				9/20/07 15:59		227		384		871

		9		20		18		9/20/07 16:59		241		- 0		66		4		167		244		- 0		14		- 0		140		876				9/20/07 16:59		255		384		876

		9		20		19		9/20/07 17:59		246		- 0		62		5		159		243		- 0		12		- 0		143		871				9/20/07 17:59		258		386		871

		9		20		20		9/20/07 18:59		249		- 0		63		6		157		241		- 0		13		1		143		873				9/20/07 18:59		262		384		873

		9		20		21		9/20/07 19:59		240		- 0		61		6		156		242		- 0		12		6		144		867				9/20/07 19:59		252		386		867

		9		20		22		9/20/07 20:59		235		- 0		59		5		158		251		- 0		11		6		147		872				9/20/07 20:59		246		398		872

		9		20		23		9/20/07 21:59		317		- 0		64		5		201		285		- 0		10		6		152		1,041				9/20/07 21:59		327		437		1,041

		9		20		24		9/20/07 22:59		183		- 0		50		3		147		243		- 0		7		6		143		782				9/20/07 22:59		190		386		782

		9		21		1		9/20/07 23:59		103		- 0		41		4		104		213		- 0		6		6		140		617				9/20/07 23:59		109		353		617

		9		21		2		9/21/07 0:59		105		- 0		39		4		103		213		- 0		7		6		140		616				9/21/07 0:59		112		353		616

		9		21		3		9/21/07 1:59		108		- 0		40		3		104		216		- 0		6		6		140		624				9/21/07 1:59		114		356		624

		9		21		4		9/21/07 2:59		109		- 0		38		3		100		212		- 0		6		6		140		614				9/21/07 2:59		115		352		614

		9		21		5		9/21/07 3:59		108		- 0		40		2		103		214		- 0		7		6		140		621				9/21/07 3:59		115		354		621

		9		21		6		9/21/07 4:59		161		- 0		44		2		124		233		- 0		8		6		142		721				9/21/07 4:59		169		375		721

		9		21		7		9/21/07 5:59		367		- 0		61		8		222		306		- 0		12		6		155		1,137				9/21/07 5:59		379		461		1,137

		9		21		8		9/21/07 6:59		214		- 0		63		12		169		250		- 0		12		4		147		872				9/21/07 6:59		226		397		872

		9		21		9		9/21/07 7:59		205		- 0		73		15		181		249		- 0		12		- 0		142		878				9/21/07 7:59		217		391		878

		9		21		10		9/21/07 8:59		198		- 0		81		14		185		245		- 0		9		- 0		146		878				9/21/07 8:59		207		391		878

		9		21		11		9/21/07 9:59		195		- 0		83		15		187		247		- 0		8		- 0		141		876				9/21/07 9:59		203		388		876

		9		21		12		9/21/07 10:59		189		- 0		84		14		192		248		- 0		11		- 0		144		881				9/21/07 10:59		200		392		881

		9		21		13		9/21/07 11:59		192		- 0		84		12		188		253		- 0		10		- 0		142		881				9/21/07 11:59		202		395		881

		9		21		14		9/21/07 12:59		185		- 0		86		15		189		250		- 0		9		- 0		142		876				9/21/07 12:59		194		392		876

		9		21		15		9/21/07 13:59		176		- 0		85		13		184		253		- 0		9		- 0		146		867				9/21/07 13:59		185		399		867

		9		21		16		9/21/07 14:59		188		- 0		84		10		187		255		- 0		9		- 0		147		880				9/21/07 14:59		197		402		880

		9		21		17		9/21/07 15:59		208		- 0		78		8		172		251		- 0		11		- 0		145		875				9/21/07 15:59		219		396		875

		9		21		18		9/21/07 16:59		224		- 0		66		5		164		251		- 0		14		- 0		146		871				9/21/07 16:59		238		397		871

		9		21		19		9/21/07 17:59		231		- 0		63		6		162		254		- 0		14		- 0		146		875				9/21/07 17:59		245		400		875

		9		21		20		9/21/07 18:59		246		- 0		63		6		157		248		- 0		12		1		144		878				9/21/07 18:59		258		392		878

		9		21		21		9/21/07 19:59		234		- 0		61		6		156		257		- 0		11		6		146		877				9/21/07 19:59		245		403		877

		9		21		22		9/21/07 20:59		241		- 0		58		5		157		257		- 0		12		6		149		885				9/21/07 20:59		253		406		885

		9		21		23		9/21/07 21:59		384		- 0		66		5		221		304		- 0		9		6		156		1,151				9/21/07 21:59		393		460		1,151

		9		21		24		9/21/07 22:59		155		- 0		46		3		130		241		- 0		6		6		143		731				9/21/07 22:59		161		384		731

		9		22		1		9/21/07 23:59		211		- 0		37		4		122		263		- 0		6		6		153		803				9/21/07 23:59		217		416		803

		9		22		2		9/22/07 0:59		260		- 0		40		4		145		293		- 0		7		6		159		914				9/22/07 0:59		267		452		914

		9		22		3		9/22/07 1:59		463		- 0		54		5		232		397		- 0		8		6		176		1,341				9/22/07 1:59		471		573		1,341

		9		22		4		9/22/07 2:59		425		- 0		51		4		219		390		- 0		9		6		174		1,280				9/22/07 2:59		434		564		1,280

		9		22		5		9/22/07 3:59		277		- 0		40		3		151		309		- 0		9		6		160		954				9/22/07 3:59		286		469		954

		9		22		6		9/22/07 4:59		160		- 0		33		3		99		233		- 0		9		6		147		690				9/22/07 4:59		169		380		690

		9		22		7		9/22/07 5:59		261		- 0		40		7		133		260		- 0		11		6		149		867				9/22/07 5:59		272		409		867

		9		22		8		9/22/07 6:59		259		- 0		52		12		144		252		- 0		13		4		149		886				9/22/07 6:59		272		401		886

		9		22		9		9/22/07 7:59		243		- 0		63		16		154		255		- 0		11		- 0		141		883				9/22/07 7:59		254		396		883

		9		22		10		9/22/07 8:59		230		- 0		71		14		159		251		- 0		9		- 0		146		881				9/22/07 8:59		239		397		881

		9		22		11		9/22/07 9:59		219		- 0		75		15		167		252		- 0		12		- 0		146		887				9/22/07 9:59		231		398		887

		9		22		12		9/22/07 10:59		222		- 0		74		15		162		254		- 0		10		- 0		144		882				9/22/07 10:59		232		398		882

		9		22		13		9/22/07 11:59		241		- 0		78		12		178		263		- 0		9		- 0		149		930				9/22/07 11:59		250		412		930

		9		22		14		9/22/07 12:59		203		- 0		78		15		168		256		- 0		13		- 0		148		882				9/22/07 12:59		216		404		882

		9		22		15		9/22/07 13:59		274		- 0		87		14		213		288		- 0		9		- 0		151		1,037				9/22/07 13:59		283		439		1,037

		9		22		16		9/22/07 14:59		260		- 0		79		11		184		272		- 0		10		- 0		148		965				9/22/07 14:59		270		420		965

		9		22		17		9/22/07 15:59		240		- 0		68		8		145		253		- 0		12		- 0		147		874				9/22/07 15:59		252		400		874

		9		22		18		9/22/07 16:59		262		- 0		59		6		135		251		- 0		13		- 0		146		873				9/22/07 16:59		275		397		873

		9		22		19		9/22/07 17:59		267		- 0		60		6		131		257		- 0		13		- 0		146		881				9/22/07 17:59		280		403		881

		9		22		20		9/22/07 18:59		267		- 0		60		6		131		256		- 0		13		1		147		881				9/22/07 18:59		280		403		881

		9		22		21		9/22/07 19:59		280		- 0		54		5		128		254		- 0		13		6		145		885				9/22/07 19:59		293		399		885

		9		22		22		9/22/07 20:59		348		- 0		50		5		152		278		- 0		11		6		142		992				9/22/07 20:59		359		420		992

		9		22		23		9/22/07 21:59		189		- 0		37		4		101		239		- 0		9		6		140		726				9/22/07 21:59		198		379		726

		9		22		24		9/22/07 22:59		130		- 0		32		3		85		225		- 0		9		6		141		631				9/22/07 22:59		139		366		631

		9		23		1		9/22/07 23:59		220		- 0		32		3		111		252		- 0		7		6		147		779				9/22/07 23:59		227		399		779

		9		23		2		9/23/07 0:59		218		- 0		30		3		106		254		- 0		8		6		146		771				9/23/07 0:59		226		400		771

		9		23		3		9/23/07 1:59		288		- 0		33		3		134		290		- 0		9		6		155		919				9/23/07 1:59		297		445		919

		9		23		4		9/23/07 2:59		312		- 0		34		3		143		298		- 0		9		6		157		964				9/23/07 2:59		321		455		964

		9		23		5		9/23/07 3:59		290		- 0		33		3		132		286		- 0		8		6		153		910				9/23/07 3:59		298		439		910

		9		23		6		9/23/07 4:59		141		- 0		25		3		78		215		- 0		9		6		140		617				9/23/07 4:59		150		355		617

		9		23		7		9/23/07 5:59		244		- 0		34		7		118		246		- 0		11		6		144		811				9/23/07 5:59		255		390		811

		9		23		8		9/23/07 6:59		333		- 0		50		12		165		279		- 0		13		4		145		1,003				9/23/07 6:59		346		424		1,003

		9		23		9		9/23/07 7:59		293		- 0		61		14		169		268		- 0		13		- 0		143		962				9/23/07 7:59		306		411		962

		9		23		10		9/23/07 8:59		269		- 0		67		14		169		263		- 0		11		- 0		145		940				9/23/07 8:59		280		408		940

		9		23		11		9/23/07 9:59		239		- 0		67		15		156		255		- 0		10		- 0		147		890				9/23/07 9:59		249		402		890

		9		23		12		9/23/07 10:59		293		- 0		73		14		182		273		- 0		11		- 0		149		997				9/23/07 10:59		304		422		997

		9		23		13		9/23/07 11:59		319		- 0		75		12		194		289		- 0		10		- 0		151		1,051				9/23/07 11:59		329		440		1,051

		9		23		14		9/23/07 12:59		356		- 0		82		16		221		311		- 0		9		- 0		150		1,146				9/23/07 12:59		365		461		1,146

		9		23		15		9/23/07 13:59		347		- 0		83		14		218		312		- 0		10		- 0		151		1,136				9/23/07 13:59		357		463		1,136

		9		23		16		9/23/07 14:59		351		- 0		77		10		206		310		- 0		10		- 0		152		1,117				9/23/07 14:59		361		462		1,117

		9		23		17		9/23/07 15:59		416		- 0		69		7		192		304		- 0		11		- 0		152		1,152				9/23/07 15:59		427		456		1,152

		9		23		18		9/23/07 16:59		386		- 0		54		6		169		288		- 0		12		- 0		149		1,066				9/23/07 16:59		398		437		1,066

		9		23		19		9/23/07 17:59		450		- 0		57		4		170		307		- 0		12		- 0		149		1,149				9/23/07 17:59		462		456		1,149

		9		23		20		9/23/07 18:59		440		- 0		62		4		166		303		- 0		13		1		151		1,140				9/23/07 18:59		453		454		1,140

		9		23		21		9/23/07 19:59		428		- 0		54		4		151		288		- 0		12		6		150		1,094				9/23/07 19:59		440		438		1,094

		9		23		22		9/23/07 20:59		184		- 0		36		3		84		226		- 0		9		6		140		688				9/23/07 20:59		193		366		688

		9		23		23		9/23/07 21:59		156		- 0		30		3		70		212		- 0		8		6		139		625				9/23/07 21:59		164		351		625

		9		23		24		9/23/07 22:59		256		- 0		33		3		97		257		- 0		8		6		147		808				9/23/07 22:59		264		404		808

		9		24		1		9/23/07 23:59		119		- 0		46		2		118		214		- 0		7		6		136		649				9/23/07 23:59		126		350		649

		9		24		2		9/24/07 0:59		120		- 0		45		2		116		216		- 0		6		6		135		647				9/24/07 0:59		126		351		647

		9		24		3		9/24/07 1:59		105		- 0		43		2		111		213		- 0		7		6		138		625				9/24/07 1:59		112		351		625

		9		24		4		9/24/07 2:59		107		- 0		43		2		110		206		- 0		7		6		138		618				9/24/07 2:59		114		344		618

		9		24		5		9/24/07 3:59		105		- 0		43		2		109		207		- 0		7		6		135		615				9/24/07 3:59		112		342		615

		9		24		6		9/24/07 4:59		122		- 0		45		2		119		213		- 0		7		6		138		652				9/24/07 4:59		129		351		652

		9		24		7		9/24/07 5:59		196		- 0		50		2		153		235		- 0		15		6		143		800				9/24/07 5:59		211		378		800

		9		24		8		9/24/07 6:59		394		- 0		62		3		226		285		- 0		12		5		152		1,139				9/24/07 6:59		406		437		1,139

		9		24		9		9/24/07 7:59		261		- 0		59		3		160		247		- 0		12		1		146		890				9/24/07 7:59		273		393		890

		9		24		10		9/24/07 8:59		251		- 0		63		4		157		245		- 0		14		- 0		145		878				9/24/07 8:59		265		390		878

		9		24		11		9/24/07 9:59		247		- 0		64		4		157		247		- 0		12		- 0		144		875				9/24/07 9:59		259		391		875

		9		24		12		9/24/07 10:59		248		- 0		66		3		162		246		- 0		12		- 0		146		882				9/24/07 10:59		260		392		882

		9		24		13		9/24/07 11:59		242		- 0		65		3		157		246		- 0		11		- 0		146		869				9/24/07 11:59		253		392		869

		9		24		14		9/24/07 12:59		239		- 0		66		3		166		248		- 0		11		- 0		145		878				9/24/07 12:59		250		393		878

		9		24		15		9/24/07 13:59		267		- 0		70		2		185		261		- 0		11		- 0		148		944				9/24/07 13:59		278		409		944

		9		24		16		9/24/07 14:59		280		- 0		71		2		189		269		- 0		10		- 0		147		970				9/24/07 14:59		290		416		970

		9		24		17		9/24/07 15:59		251		- 0		65		2		160		255		- 0		12		- 0		147		892				9/24/07 15:59		263		402		892

		9		24		18		9/24/07 16:59		260		- 0		55		2		146		251		- 0		13		- 0		144		872				9/24/07 16:59		273		395		872

		9		24		19		9/24/07 17:59		274		- 0		58		2		144		247		- 0		14		- 0		143		882				9/24/07 17:59		288		390		882

		9		24		20		9/24/07 18:59		262		- 0		60		3		144		250		- 0		13		1		145		878				9/24/07 18:59		275		395		878

		9		24		21		9/24/07 19:59		257		- 0		59		3		142		248		- 0		14		6		145		874				9/24/07 19:59		271		393		874

		9		24		22		9/24/07 20:59		298		- 0		62		3		164		265		- 0		11		6		144		953				9/24/07 20:59		309		409		953

		9		24		23		9/24/07 21:59		340		- 0		66		3		197		292		- 0		12		6		150		1,066				9/24/07 21:59		352		442		1,066

		9		24		24		9/24/07 22:59		191		- 0		53		2		141		246		- 0		9		6		143		793				9/24/07 22:59		200		389		793

		9		25		1		9/24/07 23:59		219		- 0		69		2		194		265		- 0		10		6		146		911				9/24/07 23:59		229		411		911

		9		25		2		9/25/07 0:59		177		- 0		64		2		170		248		- 0		8		6		143		820				9/25/07 0:59		185		391		820

		9		25		3		9/25/07 1:59		132		- 0		58		2		144		227		- 0		8		6		140		717				9/25/07 1:59		140		367		717

		9		25		4		9/25/07 2:59		138		- 0		56		2		148		226		- 0		8		6		140		724				9/25/07 2:59		146		366		724

		9		25		5		9/25/07 3:59		136		- 0		57		2		148		232		- 0		7		6		140		728				9/25/07 3:59		143		372		728

		9		25		6		9/25/07 4:59		221		- 0		65		2		187		260		- 0		8		6		146		896				9/25/07 4:59		229		406		896

		9		25		7		9/25/07 5:59		298		- 0		71		2		233		292		- 0		13		6		150		1,067				9/25/07 5:59		311		442		1,067

		9		25		8		9/25/07 6:59		282		- 0		65		2		201		266		- 0		14		5		148		983				9/25/07 6:59		296		414		983

		9		25		9		9/25/07 7:59		238		- 0		64		2		168		248		- 0		12		1		147		880				9/25/07 7:59		250		395		880

		9		25		10		9/25/07 8:59		242		- 0		63		2		164		240		- 0		13		- 0		145		869				9/25/07 8:59		255		385		869

		9		25		11		9/25/07 9:59		245		- 0		66		2		163		240		- 0		13		- 0		144		873				9/25/07 9:59		258		384		873

		9		25		12		9/25/07 10:59		245		- 0		65		2		164		241		- 0		10		- 0		144		872				9/25/07 10:59		255		385		872

		9		25		13		9/25/07 11:59		240		- 0		67		2		165		243		- 0		10		- 0		144		871				9/25/07 11:59		250		387		871

		9		25		14		9/25/07 12:59		239		- 0		69		2		170		247		- 0		10		- 0		143		881				9/25/07 12:59		249		390		881

		9		25		15		9/25/07 13:59		241		- 0		69		2		170		240		- 0		12		- 0		144		879				9/25/07 13:59		253		384		879

		9		25		16		9/25/07 14:59		243		- 0		69		2		170		244		- 0		12		- 0		143		883				9/25/07 14:59		255		387		883

		9		25		17		9/25/07 15:59		254		- 0		66		2		155		235		- 0		14		- 0		143		870				9/25/07 15:59		268		378		870

		9		25		18		9/25/07 16:59		268		- 0		62		2		155		242		- 0		15		- 0		144		889				9/25/07 16:59		283		386		889

		9		25		19		9/25/07 17:59		254		- 0		65		2		154		239		- 0		16		- 0		143		875				9/25/07 17:59		270		382		875

		9		25		20		9/25/07 18:59		239		- 0		65		3		149		231		- 0		14		1		142		846				9/25/07 18:59		253		373		846

		9		25		21		9/25/07 19:59		230		- 0		67		3		163		243		- 0		15		6		145		872				9/25/07 19:59		245		388		872

		9		25		22		9/25/07 20:59		237		- 0		65		3		160		242		- 0		14		6		145		872				9/25/07 20:59		251		387		872

		9		25		23		9/25/07 21:59		229		- 0		65		2		173		251		- 0		11		6		147		884				9/25/07 21:59		240		398		884

		9		25		24		9/25/07 22:59		331		- 0		78		2		260		298		- 0		9		6		153		1,137				9/25/07 22:59		340		451		1,137

		9		26		1		9/25/07 23:59		113		- 0		44		2		110		217		- 0		6		6		139		638				9/25/07 23:59		119		356		638

		9		26		2		9/26/07 0:59		111		- 0		43		2		109		211		- 0		6		6		139		628				9/26/07 0:59		117		350		628

		9		26		3		9/26/07 1:59		104		- 0		41		2		106		217		- 0		7		6		138		623				9/26/07 1:59		111		355		623

		9		26		4		9/26/07 2:59		104		- 0		41		2		108		214		- 0		6		6		138		620				9/26/07 2:59		110		352		620

		9		26		5		9/26/07 3:59		109		- 0		42		2		112		216		- 0		7		6		139		633				9/26/07 3:59		116		355		633

		9		26		6		9/26/07 4:59		167		- 0		49		2		149		240		- 0		9		6		142		766				9/26/07 4:59		176		382		766

		9		26		7		9/26/07 5:59		229		- 0		57		8		176		250		- 0		14		6		147		888				9/26/07 5:59		243		397		888

		9		26		8		9/26/07 6:59		212		- 0		67		11		180		244		- 0		13		5		140		872				9/26/07 6:59		225		384		872

		9		26		9		9/26/07 7:59		192		- 0		76		15		186		243		- 0		12		1		140		866				9/26/07 7:59		204		383		866

		9		26		10		9/26/07 8:59		179		- 0		81		14		185		240		- 0		11		- 0		141		851				9/26/07 8:59		190		381		851

		9		26		11		9/26/07 9:59		172		- 0		82		14		186		242		- 0		11		- 0		140		848				9/26/07 9:59		183		382		848

		9		26		12		9/26/07 10:59		184		- 0		83		13		186		243		- 0		10		- 0		142		861				9/26/07 10:59		194		385		861

		9		26		13		9/26/07 11:59		173		- 0		84		11		187		247		- 0		12		- 0		141		855				9/26/07 11:59		185		388		855

		9		26		14		9/26/07 12:59		169		- 0		87		15		185		239		- 0		11		- 0		142		848				9/26/07 12:59		180		381		848

		9		26		15		9/26/07 13:59		174		- 0		87		13		189		239		- 0		11		- 0		142		854				9/26/07 13:59		185		381		854

		9		26		16		9/26/07 14:59		179		- 0		84		11		184		243		- 0		9		- 0		141		851				9/26/07 14:59		188		384		851

		9		26		17		9/26/07 15:59		197		- 0		79		8		174		246		- 0		13		- 0		142		858				9/26/07 15:59		210		388		858

		9		26		18		9/26/07 16:59		228		- 0		68		4		166		247		- 0		14		- 0		142		869				9/26/07 16:59		242		389		869

		9		26		19		9/26/07 17:59		259		- 0		64		4		162		243		- 0		13		- 0		142		888				9/26/07 17:59		272		385		888

		9		26		20		9/26/07 18:59		248		- 0		65		4		162		244		- 0		13		2		142		880				9/26/07 18:59		261		386		880

		9		26		21		9/26/07 19:59		240		- 0		63		5		166		247		- 0		12		6		140		879				9/26/07 19:59		252		387		879

		9		26		22		9/26/07 20:59		239		- 0		60		4		165		250		- 0		11		6		144		881				9/26/07 20:59		250		394		881

		9		26		23		9/26/07 21:59		261		- 0		61		4		187		269		- 0		9		6		146		945				9/26/07 21:59		270		415		945

		9		26		24		9/26/07 22:59		285		- 0		63		3		212		285		- 0		8		6		151		1,013				9/26/07 22:59		293		436		1,013

		9		27		1		9/26/07 23:59		115		- 0		42		3		110		224		- 0		5		6		139		644				9/26/07 23:59		120		363		644

		9		27		2		9/27/07 0:59		101		- 0		40		3		105		220		- 0		6		6		137		619				9/27/07 0:59		107		357		619

		9		27		3		9/27/07 1:59		106		- 0		40		3		104		225		- 0		5		6		133		622				9/27/07 1:59		111		358		622

		9		27		4		9/27/07 2:59		102		- 0		39		2		100		221		- 0		6		6		138		615				9/27/07 2:59		108		359		615

		9		27		5		9/27/07 3:59		106		- 0		39		2		99		217		- 0		6		6		138		614				9/27/07 3:59		112		355		614

		9		27		6		9/27/07 4:59		163		- 0		45		2		127		233		- 0		8		6		141		726				9/27/07 4:59		171		374		726

		9		27		7		9/27/07 5:59		243		- 0		53		7		159		258		- 0		14		6		146		887				9/27/07 5:59		257		404		887

		9		27		8		9/27/07 6:59		227		- 0		64		11		169		249		- 0		11		5		139		876				9/27/07 6:59		238		388		876

		9		27		9		9/27/07 7:59		209		- 0		73		15		179		247		- 0		12		1		136		872				9/27/07 7:59		221		383		872

		9		27		10		9/27/07 8:59		197		- 0		80		14		187		245		- 0		10		- 0		145		879				9/27/07 8:59		207		390		879

		9		27		11		9/27/07 9:59		192		- 0		81		15		183		243		- 0		11		- 0		144		869				9/27/07 9:59		203		387		869

		9		27		12		9/27/07 10:59		191		- 0		82		14		184		246		- 0		9		- 0		145		872				9/27/07 10:59		200		391		872

		9		27		13		9/27/07 11:59		195		- 0		83		11		189		251		- 0		9		- 0		146		885				9/27/07 11:59		204		397		885

		9		27		14		9/27/07 12:59		181		- 0		86		14		194		246		- 0		9		- 0		144		875				9/27/07 12:59		190		390		875

		9		27		15		9/27/07 13:59		174		- 0		86		13		194		253		- 0		10		- 0		147		878				9/27/07 13:59		184		400		878

		9		27		16		9/27/07 14:59		185		- 0		81		11		188		259		- 0		10		- 0		146		880				9/27/07 14:59		195		405		880

		9		27		17		9/27/07 15:59		210		- 0		76		9		173		254		- 0		10		- 0		143		875				9/27/07 15:59		220		397		875

		9		27		18		9/27/07 16:59		232		- 0		64		5		165		253		- 0		11		- 0		142		873				9/27/07 16:59		243		395		873

		9		27		19		9/27/07 17:59		248		- 0		61		5		154		250		- 0		13		- 0		142		874				9/27/07 17:59		261		392		874

		9		27		20		9/27/07 18:59		241		- 0		62		5		156		249		- 0		12		3		144		872				9/27/07 18:59		253		393		872

		9		27		21		9/27/07 19:59		248		- 0		59		5		154		249		- 0		11		6		142		873				9/27/07 19:59		259		391		873

		9		27		22		9/27/07 20:59		238		- 0		58		5		156		259		- 0		11		6		144		877				9/27/07 20:59		249		403		877

		9		27		23		9/27/07 21:59		365		- 0		66		4		225		319		- 0		9		6		153		1,147				9/27/07 21:59		374		472		1,147

		9		27		24		9/27/07 22:59		177		- 0		49		3		141		249		- 0		7		6		143		776				9/27/07 22:59		184		392		776

		9		28		1		9/27/07 23:59		102		- 0		38		3		99		220		- 0		6		6		139		614				9/27/07 23:59		108		359		614

		9		28		2		9/28/07 0:59		104		- 0		38		3		99		220		- 0		6		6		140		616				9/28/07 0:59		110		360		616

		9		28		3		9/28/07 1:59		106		- 0		38		3		99		221		- 0		6		6		140		620				9/28/07 1:59		112		361		620

		9		28		4		9/28/07 2:59		105		- 0		38		3		101		221		- 0		6		6		141		621				9/28/07 2:59		111		362		621

		9		28		5		9/28/07 3:59		106		- 0		38		2		97		219		- 0		7		6		140		616				9/28/07 3:59		113		359		616

		9		28		6		9/28/07 4:59		158		- 0		42		3		121		241		- 0		8		6		142		721				9/28/07 4:59		166		383		721

		9		28		7		9/28/07 5:59		241		- 0		51		8		151		262		- 0		14		6		148		881				9/28/07 5:59		255		410		881

		9		28		8		9/28/07 6:59		229		- 0		59		11		159		253		- 0		12		5		144		872				9/28/07 6:59		241		397		872

		9		28		9		9/28/07 7:59		201		- 0		71		15		178		262		- 0		13		1		141		882				9/28/07 7:59		214		403		882

		9		28		10		9/28/07 8:59		200		- 0		78		14		176		252		- 0		9		- 0		139		869				9/28/07 8:59		209		391		869

		9		28		11		9/28/07 9:59		198		- 0		81		15		180		255		- 0		8		- 0		140		877				9/28/07 9:59		206		395		877

		9		28		12		9/28/07 10:59		191		- 0		82		14		180		256		- 0		9		- 0		140		873				9/28/07 10:59		200		396		873

		9		28		13		9/28/07 11:59		188		- 0		83		12		188		259		- 0		10		- 0		142		882				9/28/07 11:59		198		401		882

		9		28		14		9/28/07 12:59		182		- 0		86		15		191		257		- 0		8		- 0		138		878				9/28/07 12:59		190		395		878

		9		28		15		9/28/07 13:59		178		- 0		84		14		186		260		- 0		7		- 0		146		876				9/28/07 13:59		185		406		876

		9		28		16		9/28/07 14:59		189		- 0		81		11		181		258		- 0		8		- 0		146		874				9/28/07 14:59		197		404		874

		9		28		17		9/28/07 15:59		208		- 0		76		7		173		258		- 0		12		- 0		145		880				9/28/07 15:59		220		403		880

		9		28		18		9/28/07 16:59		231		- 0		64		4		161		254		- 0		12		- 0		145		873				9/28/07 16:59		243		399		873

		9		28		19		9/28/07 17:59		246		- 0		62		4		152		247		- 0		13		- 0		142		866				9/28/07 17:59		259		389		866

		9		28		20		9/28/07 18:59		241		- 0		62		4		153		253		- 0		13		3		142		873				9/28/07 18:59		254		395		873

		9		28		21		9/28/07 19:59		241		- 0		59		4		153		255		- 0		12		6		144		876				9/28/07 19:59		253		399		876

		9		28		22		9/28/07 20:59		247		- 0		56		4		155		263		- 0		10		6		147		889				9/28/07 20:59		257		410		889

		9		28		23		9/28/07 21:59		295		- 0		58		4		193		294		- 0		9		6		150		1,010				9/28/07 21:59		304		444		1,010

		9		28		24		9/28/07 22:59		128		- 0		41		3		114		231		- 0		6		6		138		669				9/28/07 22:59		134		369		669

		9		29		1		9/28/07 23:59		260		- 0		37		3		136		293		- 0		8		6		156		900				9/28/07 23:59		268		449		900

		9		29		2		9/29/07 0:59		297		- 0		37		3		141		294		- 0		7		6		158		943				9/29/07 0:59		304		452		943

		9		29		3		9/29/07 1:59		499		- 0		49		3		219		399		- 0		8		6		175		1,358				9/29/07 1:59		507		574		1,358

		9		29		4		9/29/07 2:59		915		- 0		71		4		373		590		- 0		10		6		207		2,177				9/29/07 2:59		925		797		2,177

		9		29		5		9/29/07 3:59		1,085		- 0		80		4		420		643		- 0		10		6		218		2,467				9/29/07 3:59		1,095		861		2,467

		9		29		6		9/29/07 4:59		157		- 0		27		2		82		221		- 0		8		6		142		647				9/29/07 4:59		165		363		647

		9		29		7		9/29/07 5:59		319		- 0		39		8		138		273		- 0		12		6		149		944				9/29/07 5:59		331		422		944

		9		29		8		9/29/07 6:59		344		- 0		55		12		173		282		- 0		11		5		151		1,035				9/29/07 6:59		355		433		1,035

		9		29		9		9/29/07 7:59		375		- 0		75		16		224		299		- 0		10		1		150		1,150				9/29/07 7:59		385		449		1,150

		9		29		10		9/29/07 8:59		315		- 0		77		14		195		277		- 0		12		- 0		149		1,039				9/29/07 8:59		327		426		1,039

		9		29		11		9/29/07 9:59		362		- 0		87		17		236		297		- 0		11		- 0		153		1,163				9/29/07 9:59		373		450		1,163

		9		29		12		9/29/07 10:59		275		- 0		75		14		176		263		- 0		10		- 0		150		963				9/29/07 10:59		285		413		963

		9		29		13		9/29/07 11:59		317		- 0		79		12		210		288		- 0		9		- 0		151		1,067				9/29/07 11:59		326		439		1,067

		9		29		14		9/29/07 12:59		282		- 0		79		16		199		284		- 0		9		- 0		147		1,017				9/29/07 12:59		291		431		1,017

		9		29		15		9/29/07 13:59		294		- 0		79		14		192		293		- 0		7		- 0		146		1,025				9/29/07 13:59		301		439		1,025

		9		29		16		9/29/07 14:59		326		- 0		77		11		193		293		- 0		11		- 0		150		1,061				9/29/07 14:59		337		443		1,061

		9		29		17		9/29/07 15:59		415		- 0		74		8		192		307		- 0		12		- 0		152		1,158				9/29/07 15:59		427		459		1,158

		9		29		18		9/29/07 16:59		420		- 0		63		5		170		297		- 0		12		- 0		153		1,120				9/29/07 16:59		432		450		1,120

		9		29		19		9/29/07 17:59		297		- 0		57		5		122		251		- 0		10		- 0		147		890				9/29/07 17:59		307		398		890

		9		29		20		9/29/07 18:59		380		- 0		62		5		149		274		- 0		12		3		150		1,035				9/29/07 18:59		392		424		1,035

		9		29		21		9/29/07 19:59		421		- 0		59		5		162		297		- 0		13		6		152		1,117				9/29/07 19:59		434		449		1,117

		9		29		22		9/29/07 20:59		417		- 0		49		4		145		284		- 0		10		6		151		1,067				9/29/07 20:59		427		435		1,067

		9		29		23		9/29/07 21:59		173		- 0		33		4		81		215		- 0		7		6		138		657				9/29/07 21:59		180		353		657

		9		29		24		9/29/07 22:59		144		- 0		29		3		75		214		- 0		7		6		140		619				9/29/07 22:59		151		354		619

		9		30		1		9/29/07 23:59		247		- 0		30		3		108		255		- 0		6		6		149		805				9/29/07 23:59		253		404		805

		9		30		2		9/30/07 0:59		296		- 0		35		4		127		288		- 0		6		6		154		918				9/30/07 0:59		302		442		918

		9		30		3		9/30/07 1:59		334		- 0		36		3		134		298		- 0		6		6		158		976				9/30/07 1:59		340		456		976

		9		30		4		9/30/07 2:59		304		- 0		31		3		120		274		- 0		8		6		154		900				9/30/07 2:59		312		428		900

		9		30		5		9/30/07 3:59		305		- 0		33		3		121		274		- 0		9		6		154		905				9/30/07 3:59		314		428		905

		9		30		6		9/30/07 4:59		158		- 0		25		3		72		213		- 0		9		6		139		625				9/30/07 4:59		167		352		625

		9		30		7		9/30/07 5:59		441		- 0		41		8		151		282		- 0		16		6		152		1,098				9/30/07 5:59		457		434		1,098

		9		30		8		9/30/07 6:59		281		- 0		48		11		131		244		- 0		14		5		145		879				9/30/07 6:59		295		389		879

		9		30		9		9/30/07 7:59		272		- 0		56		14		135		240		- 0		14		1		146		878				9/30/07 7:59		286		386		878

		9		30		10		9/30/07 8:59		288		- 0		66		12		153		248		- 0		11		- 0		148		927				9/30/07 8:59		299		396		927

		9		30		11		9/30/07 9:59		270		- 0		65		14		153		251		- 0		14		- 0		147		915				9/30/07 9:59		284		398		915

		9		30		12		9/30/07 10:59		271		- 0		64		14		146		246		- 0		10		- 0		148		900				9/30/07 10:59		281		394		900

		9		30		13		9/30/07 11:59		376		- 0		73		10		196		278		- 0		11		- 0		153		1,097				9/30/07 11:59		387		431		1,097

		9		30		14		9/30/07 12:59		393		- 0		77		12		206		288		- 0		9		- 0		154		1,140				9/30/07 12:59		402		442		1,140

		9		30		15		9/30/07 13:59		306		- 0		70		10		175		274		- 0		8		- 0		149		993				9/30/07 13:59		314		423		993

		9		30		16		9/30/07 14:59		383		- 0		70		9		186		292		- 0		9		- 0		152		1,102				9/30/07 14:59		392		444		1,102

		9		30		17		9/30/07 15:59		436		- 0		64		7		174		295		- 0		11		- 0		152		1,139				9/30/07 15:59		447		447		1,139

		9		30		18		9/30/07 16:59		429		- 0		54		4		156		275		- 0		14		- 0		150		1,083				9/30/07 16:59		443		425		1,083

		9		30		19		9/30/07 17:59		326		- 0		51		4		118		249		- 0		12		- 0		146		907				9/30/07 17:59		338		395		907

		9		30		20		9/30/07 18:59		470		- 0		60		4		159		294		- 0		14		3		151		1,155				9/30/07 18:59		484		445		1,155

		9		30		21		9/30/07 19:59		360		- 0		51		4		129		262		- 0		12		6		146		971				9/30/07 19:59		372		408		971

		9		30		22		9/30/07 20:59		256		- 0		37		3		93		231		- 0		11		6		142		781				9/30/07 20:59		267		373		781

		9		30		23		9/30/07 21:59		217		- 0		31		3		75		219		- 0		10		6		140		701				9/30/07 21:59		227		359		701

		9		30		24		9/30/07 22:59		214		- 0		30		3		77		223		- 0		8		6		145		707				9/30/07 22:59		222		368		707

		10		1		1		9/30/07 23:59		168		- 0		53		2		147		234		- 0		8		6		144		761				9/30/07 23:59		176		378		761

		10		1		2		10/1/07 0:59		110		- 0		47		2		121		214		- 0		7		6		140		647				10/1/07 0:59		117		354		647

		10		1		3		10/1/07 1:59		115		- 0		47		2		122		213		- 0		5		6		140		649				10/1/07 1:59		120		353		649

		10		1		4		10/1/07 2:59		171		- 0		50		2		144		231		- 0		6		6		143		753				10/1/07 2:59		177		374		753

		10		1		5		10/1/07 3:59		122		- 0		47		2		122		216		- 0		7		6		141		662				10/1/07 3:59		129		357		662

		10		1		6		10/1/07 4:59		166		- 0		51		2		145		236		- 0		6		6		143		755				10/1/07 4:59		172		379		755

		10		1		7		10/1/07 5:59		304		- 0		60		3		203		275		- 0		11		6		149		1,010				10/1/07 5:59		315		424		1,010

		10		1		8		10/1/07 6:59		409		- 0		67		4		232		289		- 0		14		5		150		1,170				10/1/07 6:59		423		439		1,170

		10		1		9		10/1/07 7:59		278		- 0		61		4		169		243		- 0		14		1		144		915				10/1/07 7:59		292		387		915

		10		1		10		10/1/07 8:59		265		- 0		67		4		168		248		- 0		11		- 0		143		907				10/1/07 8:59		276		391		907

		10		1		11		10/1/07 9:59		270		- 0		69		4		168		245		- 0		13		- 0		144		912				10/1/07 9:59		283		389		912

		10		1		12		10/1/07 10:59		264		- 0		71		3		169		245		- 0		12		- 0		144		908				10/1/07 10:59		276		389		908

		10		1		13		10/1/07 11:59		260		- 0		73		2		174		251		- 0		12		- 0		144		916				10/1/07 11:59		272		395		916

		10		1		14		10/1/07 12:59		254		- 0		74		2		184		251		- 0		13		- 0		144		922				10/1/07 12:59		267		395		922

		10		1		15		10/1/07 13:59		255		- 0		72		2		179		250		- 0		12		- 0		144		914				10/1/07 13:59		267		394		914

		10		1		16		10/1/07 14:59		258		- 0		74		2		181		254		- 0		12		- 0		144		925				10/1/07 14:59		270		398		925

		10		1		17		10/1/07 15:59		261		- 0		71		2		169		251		- 0		12		- 0		144		909				10/1/07 15:59		273		395		909

		10		1		18		10/1/07 16:59		274		- 0		62		2		162		249		- 0		14		- 0		144		906				10/1/07 16:59		288		393		906

		10		1		19		10/1/07 17:59		284		- 0		65		2		160		248		- 0		14		- 0		142		915				10/1/07 17:59		298		390		915

		10		1		20		10/1/07 18:59		281		- 0		66		2		159		245		- 0		13		3		143		913				10/1/07 18:59		294		388		913

		10		1		21		10/1/07 19:59		280		- 0		65		2		165		253		- 0		10		6		144		926				10/1/07 19:59		290		397		926

		10		1		22		10/1/07 20:59		353		- 0		71		3		199		277		- 0		12		6		147		1,067				10/1/07 20:59		365		424		1,067

		10		1		23		10/1/07 21:59		362		- 0		74		3		223		299		- 0		11		6		153		1,131				10/1/07 21:59		373		452		1,131

		10		1		24		10/1/07 22:59		278		- 0		64		2		185		272		- 0		9		6		144		961				10/1/07 22:59		287		416		961

		10		2		1		10/1/07 23:59		179		- 0		66		2		178		251		- 0		7		6		143		833				10/1/07 23:59		186		394		833

		10		2		2		10/2/07 0:59		115		- 0		59		2		152		232		- 0		6		6		140		712				10/2/07 0:59		121		372		712

		10		2		3		10/2/07 1:59		103		- 0		57		2		139		219		- 0		5		6		140		670				10/2/07 1:59		108		359		670

		10		2		4		10/2/07 2:59		95		- 0		54		2		140		216		- 0		4		6		140		657				10/2/07 2:59		99		356		657

		10		2		5		10/2/07 3:59		92		- 0		53		2		134		218		- 0		5		6		140		649				10/2/07 3:59		97		358		649

		10		2		6		10/2/07 4:59		134		- 0		60		2		164		240		- 0		5		6		143		753				10/2/07 4:59		139		383		753

		10		2		7		10/2/07 5:59		152		- 0		59		2		173		249		- 0		8		6		142		791				10/2/07 5:59		160		391		791

		10		2		8		10/2/07 6:59		338		- 0		72		2		253		295		- 0		10		5		151		1,125				10/2/07 6:59		348		446		1,125

		10		2		9		10/2/07 7:59		330		- 0		72		2		229		280		- 0		9		1		146		1,068				10/2/07 7:59		339		426		1,068

		10		2		10		10/2/07 8:59		251		- 0		68		2		189		254		- 0		10		- 0		144		918				10/2/07 8:59		261		398		918

		10		2		11		10/2/07 9:59		251		- 0		71		2		181		252		- 0		12		- 0		142		911				10/2/07 9:59		263		394		911

		10		2		12		10/2/07 10:59		245		- 0		72		2		195		253		- 0		11		- 0		141		919				10/2/07 10:59		256		394		919

		10		2		13		10/2/07 11:59		252		- 0		75		2		200		257		- 0		12		- 0		145		942				10/2/07 11:59		264		402		942

		10		2		14		10/2/07 12:59		256		- 0		81		2		218		264		- 0		10		- 0		145		976				10/2/07 12:59		266		409		976

		10		2		15		10/2/07 13:59		250		- 0		79		2		210		258		- 0		10		- 0		144		953				10/2/07 13:59		260		402		953

		10		2		16		10/2/07 14:59		252		- 0		81		2		221		269		- 0		9		- 0		145		980				10/2/07 14:59		261		414		980

		10		2		17		10/2/07 15:59		245		- 0		72		2		177		247		- 0		13		- 0		143		899				10/2/07 15:59		258		390		899

		10		2		18		10/2/07 16:59		257		- 0		69		2		177		246		- 0		12		- 0		143		905				10/2/07 16:59		269		389		905

		10		2		19		10/2/07 17:59		249		- 0		69		2		162		243		- 0		15		- 0		143		883				10/2/07 17:59		264		386		883

		10		2		20		10/2/07 18:59		247		- 0		70		2		164		244		- 0		12		3		143		886				10/2/07 18:59		259		387		886

		10		2		21		10/2/07 19:59		249		- 0		71		2		177		250		- 0		11		6		143		909				10/2/07 19:59		260		393		909

		10		2		22		10/2/07 20:59		266		- 0		73		2		201		269		- 0		11		6		145		974				10/2/07 20:59		277		414		974

		10		2		23		10/2/07 21:59		364		- 0		83		2		270		307		- 0		11		6		152		1,195				10/2/07 21:59		375		459		1,195

		10		2		24		10/2/07 22:59		258		- 0		76		2		245		290		- 0		9		6		151		1,036				10/2/07 22:59		267		441		1,036

		10		3		1		10/2/07 23:59		157		- 0		50		2		135		240		- 0		8		6		143		742				10/2/07 23:59		165		383		742

		10		3		2		10/3/07 0:59		116		- 0		45		2		116		222		- 0		7		6		140		655				10/3/07 0:59		123		362		655

		10		3		3		10/3/07 1:59		114		- 0		45		2		118		223		- 0		7		6		140		654				10/3/07 1:59		121		363		654

		10		3		4		10/3/07 2:59		119		- 0		45		2		125		224		- 0		7		6		141		668				10/3/07 2:59		126		365		668

		10		3		5		10/3/07 3:59		114		- 0		45		2		121		221		- 0		7		6		140		655				10/3/07 3:59		121		361		655

		10		3		6		10/3/07 4:59		184		- 0		50		2		153		241		- 0		9		6		143		789				10/3/07 4:59		193		384		789

		10		3		7		10/3/07 5:59		389		- 0		68		7		249		293		- 0		12		6		151		1,174				10/3/07 5:59		401		444		1,174

		10		3		8		10/3/07 6:59		230		- 0		67		10		180		246		- 0		10		5		144		892				10/3/07 6:59		240		390		892

		10		3		9		10/3/07 7:59		214		- 0		78		13		199		247		- 0		11		1		139		902				10/3/07 7:59		225		386		902

		10		3		10		10/3/07 8:59		209		- 0		86		13		196		241		- 0		13		- 0		141		900				10/3/07 8:59		222		382		900

		10		3		11		10/3/07 9:59		211		- 0		91		13		199		248		- 0		11		- 0		143		916				10/3/07 9:59		222		391		916

		10		3		12		10/3/07 10:59		220		- 0		94		11		204		250		- 0		13		- 0		144		937				10/3/07 10:59		233		394		937

		10		3		13		10/3/07 11:59		204		- 0		92		10		201		248		- 0		13		- 0		142		909				10/3/07 11:59		217		390		909

		10		3		14		10/3/07 12:59		197		- 0		97		13		207		245		- 0		12		- 0		141		913				10/3/07 12:59		209		386		913

		10		3		15		10/3/07 13:59		196		- 0		95		12		204		248		- 0		12		- 0		140		907				10/3/07 13:59		208		388		907

		10		3		16		10/3/07 14:59		195		- 0		92		10		200		253		- 0		11		- 0		141		903				10/3/07 14:59		206		394		903

		10		3		17		10/3/07 15:59		231		- 0		88		8		194		255		- 0		14		- 0		143		933				10/3/07 15:59		245		398		933

		10		3		18		10/3/07 16:59		254		- 0		77		5		183		256		- 0		14		- 0		144		933				10/3/07 16:59		268		400		933

		10		3		19		10/3/07 17:59		277		- 0		75		6		181		251		- 0		15		- 0		141		947				10/3/07 17:59		292		392		947

		10		3		20		10/3/07 18:59		262		- 0		71		6		174		245		- 0		14		3		143		919				10/3/07 18:59		276		388		919

		10		3		21		10/3/07 19:59		231		- 0		67		5		167		243		- 0		13		6		140		872				10/3/07 19:59		244		383		872

		10		3		22		10/3/07 20:59		252		- 0		66		5		178		249		- 0		12		6		141		910				10/3/07 20:59		264		390		910

		10		3		23		10/3/07 21:59		328		- 0		69		5		221		276		- 0		11		6		145		1,061				10/3/07 21:59		339		421		1,061

		10		3		24		10/3/07 22:59		317		- 0		71		4		239		302		- 0		9		6		149		1,097				10/3/07 22:59		326		451		1,097

		10		4		1		10/3/07 23:59		170		- 0		53		3		153		258		- 0		8		6		143		795				10/3/07 23:59		178		401		795

		10		4		2		10/4/07 0:59		147		- 0		49		4		138		250		- 0		7		6		142		744				10/4/07 0:59		154		392		744

		10		4		3		10/4/07 1:59		139		- 0		48		3		136		247		- 0		7		6		144		730				10/4/07 1:59		146		391		730

		10		4		4		10/4/07 2:59		111		- 0		45		3		120		234		- 0		7		6		141		666				10/4/07 2:59		118		375		666

		10		4		5		10/4/07 3:59		151		- 0		49		2		142		252		- 0		7		6		145		753				10/4/07 3:59		158		397		753

		10		4		6		10/4/07 4:59		184		- 0		51		3		159		262		- 0		9		6		146		820				10/4/07 4:59		193		408		820

		10		4		7		10/4/07 5:59		374		- 0		71		8		252		310		- 0		11		6		147		1,178				10/4/07 5:59		385		457		1,178

		10		4		8		10/4/07 6:59		235		- 0		68		11		194		254		- 0		12		5		138		918				10/4/07 6:59		247		392		918

		10		4		9		10/4/07 7:59		210		- 0		79		13		198		251		- 0		11		1		139		901				10/4/07 7:59		221		390		901

		10		4		10		10/4/07 8:59		200		- 0		86		13		193		250		- 0		11		- 0		139		892				10/4/07 8:59		211		389		892

		10		4		11		10/4/07 9:59		185		- 0		89		14		192		249		- 0		12		- 0		144		885				10/4/07 9:59		197		393		885

		10		4		12		10/4/07 10:59		207		- 0		91		13		196		248		- 0		11		- 0		143		909				10/4/07 10:59		218		391		909

		10		4		13		10/4/07 11:59		182		- 0		89		11		188		246		- 0		12		- 0		142		870				10/4/07 11:59		194		388		870

		10		4		14		10/4/07 12:59		187		- 0		92		14		198		247		- 0		12		- 0		141		892				10/4/07 12:59		199		388		892

		10		4		15		10/4/07 13:59		185		- 0		94		13		198		254		- 0		10		- 0		142		896				10/4/07 13:59		195		396		896

		10		4		16		10/4/07 14:59		185		- 0		91		10		194		255		- 0		12		- 0		141		888				10/4/07 14:59		197		396		888

		10		4		17		10/4/07 15:59		230		- 0		85		7		184		257		- 0		13		- 0		141		918				10/4/07 15:59		243		398		918

		10		4		18		10/4/07 16:59		240		- 0		73		5		175		254		- 0		15		- 0		142		904				10/4/07 16:59		255		396		904

		10		4		19		10/4/07 17:59		273		- 0		72		6		176		256		- 0		16		- 0		147		946				10/4/07 17:59		289		403		946

		10		4		20		10/4/07 18:59		247		- 0		71		6		167		253		- 0		14		5		146		908				10/4/07 18:59		261		399		908

		10		4		21		10/4/07 19:59		240		- 0		67		5		161		251		- 0		14		6		145		890				10/4/07 19:59		254		396		890

		10		4		22		10/4/07 20:59		249		- 0		63		5		166		258		- 0		13		6		145		904				10/4/07 20:59		262		403		904

		10		4		23		10/4/07 21:59		319		- 0		68		5		215		296		- 0		12		6		147		1,068				10/4/07 21:59		331		443		1,068

		10		4		24		10/4/07 22:59		319		- 0		69		4		228		311		- 0		10		6		151		1,097				10/4/07 22:59		329		462		1,097

		10		5		1		10/4/07 23:59		156		- 0		51		3		141		251		- 0		7		6		141		757				10/4/07 23:59		163		392		757

		10		5		2		10/5/07 0:59		149		- 0		50		4		139		252		- 0		7		6		143		750				10/5/07 0:59		156		395		750

		10		5		3		10/5/07 1:59		130		- 0		47		3		126		242		- 0		7		6		139		700				10/5/07 1:59		137		381		700

		10		5		4		10/5/07 2:59		129		- 0		46		3		124		240		- 0		8		6		140		695				10/5/07 2:59		137		380		695

		10		5		5		10/5/07 3:59		115		- 0		44		2		115		226		- 0		7		6		138		654				10/5/07 3:59		122		364		654

		10		5		6		10/5/07 4:59		180		- 0		52		2		146		249		- 0		7		6		144		786				10/5/07 4:59		187		393		786

		10		5		7		10/5/07 5:59		337		- 0		62		7		211		284		- 0		11		6		144		1,063				10/5/07 5:59		348		428		1,063

		10		5		8		10/5/07 6:59		235		- 0		68		11		187		257		- 0		10		5		143		917				10/5/07 6:59		245		400		917

		10		5		9		10/5/07 7:59		211		- 0		78		13		197		257		- 0		13		1		139		908				10/5/07 7:59		224		396		908

		10		5		10		10/5/07 8:59		200		- 0		86		13		203		249		- 0		11		- 0		145		908				10/5/07 8:59		211		394		908

		10		5		11		10/5/07 9:59		198		- 0		88		13		204		245		- 0		12		- 0		143		904				10/5/07 9:59		210		388		904

		10		5		12		10/5/07 10:59		202		- 0		89		13		194		246		- 0		12		- 0		144		900				10/5/07 10:59		214		390		900

		10		5		13		10/5/07 11:59		196		- 0		89		12		196		249		- 0		12		- 0		145		898				10/5/07 11:59		208		394		898

		10		5		14		10/5/07 12:59		185		- 0		91		15		192		244		- 0		11		- 0		144		882				10/5/07 12:59		196		388		882

		10		5		15		10/5/07 13:59		194		- 0		93		14		203		249		- 0		12		- 0		142		907				10/5/07 13:59		206		391		907

		10		5		16		10/5/07 14:59		192		- 0		89		11		197		255		- 0		13		- 0		146		902				10/5/07 14:59		205		401		902

		10		5		17		10/5/07 15:59		221		- 0		84		9		180		254		- 0		15		- 0		144		907				10/5/07 15:59		236		398		907

		10		5		18		10/5/07 16:59		236		- 0		73		5		175		253		- 0		13		- 0		145		900				10/5/07 16:59		249		398		900

		10		5		19		10/5/07 17:59		256		- 0		72		5		169		255		- 0		17		- 0		146		920				10/5/07 17:59		273		401		920

		10		5		20		10/5/07 18:59		264		- 0		70		6		167		252		- 0		14		5		145		922				10/5/07 18:59		278		397		922

		10		5		21		10/5/07 19:59		249		- 0		66		5		163		256		- 0		14		6		144		904				10/5/07 19:59		263		400		904

		10		5		22		10/5/07 20:59		259		- 0		62		5		164		263		- 0		12		6		144		915				10/5/07 20:59		271		407		915

		10		5		23		10/5/07 21:59		370		- 0		68		5		221		302		- 0		12		6		152		1,137				10/5/07 21:59		382		454		1,137

		10		5		24		10/5/07 22:59		221		- 0		56		3		169		267		- 0		9		6		147		879				10/5/07 22:59		230		414		879

		10		6		1		10/5/07 23:59		156		- 0		35		3		93		222		- 0		7		6		140		663				10/5/07 23:59		163		362		663

		10		6		2		10/6/07 0:59		149		- 0		33		3		87		225		- 0		7		6		143		654				10/6/07 0:59		156		368		654

		10		6		3		10/6/07 1:59		197		- 0		37		4		106		250		- 0		8		6		146		753				10/6/07 1:59		205		396		753

		10		6		4		10/6/07 2:59		289		- 0		42		3		146		296		- 0		9		6		154		945				10/6/07 2:59		298		450		945

		10		6		5		10/6/07 3:59		266		- 0		40		2		133		285		- 0		8		6		151		891				10/6/07 3:59		274		436		891

		10		6		6		10/6/07 4:59		179		- 0		35		3		96		234		- 0		8		6		144		706				10/6/07 4:59		187		378		706

		10		6		7		10/6/07 5:59		458		- 0		54		8		185		308		- 0		13		6		153		1,185				10/6/07 5:59		471		461		1,185

		10		6		8		10/6/07 6:59		275		- 0		54		11		152		262		- 0		11		6		146		917				10/6/07 6:59		286		408		917

		10		6		9		10/6/07 7:59		262		- 0		66		15		160		252		- 0		14		1		144		915				10/6/07 7:59		276		396		915

		10		6		10		10/6/07 8:59		249		- 0		76		14		166		252		- 0		13		- 0		143		914				10/6/07 8:59		262		395		914

		10		6		11		10/6/07 9:59		236		- 0		76		14		164		258		- 0		12		- 0		143		903				10/6/07 9:59		248		401		903

		10		6		12		10/6/07 10:59		245		- 0		76		14		163		253		- 0		13		- 0		146		910				10/6/07 10:59		258		399		910

		10		6		13		10/6/07 11:59		235		- 0		78		11		171		259		- 0		12		- 0		146		912				10/6/07 11:59		247		405		912

		10		6		14		10/6/07 12:59		235		- 0		81		14		172		262		- 0		11		- 0		138		913				10/6/07 12:59		246		400		913

		10		6		15		10/6/07 13:59		226		- 0		81		13		167		255		- 0		12		- 0		145		899				10/6/07 13:59		238		400		899

		10		6		16		10/6/07 14:59		241		- 0		79		10		168		256		- 0		13		- 0		145		911				10/6/07 14:59		254		401		911

		10		6		17		10/6/07 15:59		255		- 0		72		7		151		262		- 0		15		- 0		142		906				10/6/07 15:59		270		404		906

		10		6		18		10/6/07 16:59		264		- 0		65		4		143		262		- 0		15		- 0		145		899				10/6/07 16:59		279		407		899

		10		6		19		10/6/07 17:59		284		- 0		66		5		136		258		- 0		12		- 0		145		905				10/6/07 17:59		296		403		905

		10		6		20		10/6/07 18:59		267		- 0		63		5		126		251		- 0		15		5		144		877				10/6/07 18:59		282		395		877

		10		6		21		10/6/07 19:59		297		- 0		59		5		131		257		- 0		13		6		144		912				10/6/07 19:59		310		401		912

		10		6		22		10/6/07 20:59		305		- 0		50		5		127		261		- 0		13		6		144		913				10/6/07 20:59		318		405		913

		10		6		23		10/6/07 21:59		432		- 0		54		5		170		311		- 0		14		6		154		1,146				10/6/07 21:59		446		465		1,146

		10		6		24		10/6/07 22:59		210		- 0		39		3		106		246		- 0		8		6		144		762				10/6/07 22:59		218		390		762

		10		7		1		10/6/07 23:59		231		- 0		37		3		105		242		- 0		10		6		145		780				10/6/07 23:59		241		387		780

		10		7		2		10/7/07 0:59		221		- 0		35		3		97		236		- 0		10		6		145		754				10/7/07 0:59		231		381		754

		10		7		3		10/7/07 1:59		179		- 0		33		3		85		221		- 0		9		6		142		678				10/7/07 1:59		188		363		678

		10		7		4		10/7/07 2:59		175		- 0		32		3		86		222		- 0		9		6		143		676				10/7/07 2:59		184		365		676

		10		7		5		10/7/07 3:59		226		- 0		35		2		98		238		- 0		10		6		145		761				10/7/07 3:59		236		383		761

		10		7		6		10/7/07 4:59		291		- 0		39		2		121		250		- 0		10		6		146		866				10/7/07 4:59		301		396		866

		10		7		7		10/7/07 5:59		342		- 0		44		7		138		257		- 0		14		6		146		955				10/7/07 5:59		356		403		955

		10		7		8		10/7/07 6:59		287		- 0		54		10		143		244		- 0		15		6		145		904				10/7/07 6:59		302		389		904

		10		7		9		10/7/07 7:59		269		- 0		63		14		146		242		- 0		15		1		145		896				10/7/07 7:59		284		387		896

		10		7		10		10/7/07 8:59		270		- 0		72		13		155		239		- 0		15		- 0		143		906				10/7/07 8:59		285		382		906

		10		7		11		10/7/07 9:59		266		- 0		73		13		156		240		- 0		14		- 0		141		904				10/7/07 9:59		280		381		904

		10		7		12		10/7/07 10:59		262		- 0		70		12		155		245		- 0		15		- 0		145		904				10/7/07 10:59		277		390		904

		10		7		13		10/7/07 11:59		292		- 0		69		10		164		254		- 0		11		- 0		147		949				10/7/07 11:59		303		401		949

		10		7		14		10/7/07 12:59		331		- 0		75		13		184		270		- 0		10		- 0		146		1,031				10/7/07 12:59		341		416		1,031

		10		7		15		10/7/07 13:59		411		- 0		81		13		216		296		- 0		10		- 0		153		1,180				10/7/07 13:59		421		449		1,180

		10		7		16		10/7/07 14:59		374		- 0		71		9		174		272		- 0		9		- 0		150		1,059				10/7/07 14:59		383		422		1,059

		10		7		17		10/7/07 15:59		317		- 0		59		6		134		254		- 0		11		- 0		145		926				10/7/07 15:59		328		399		926

		10		7		18		10/7/07 16:59		330		- 0		52		4		125		253		- 0		13		- 0		142		921				10/7/07 16:59		343		395		921

		10		7		19		10/7/07 17:59		331		- 0		54		3		121		253		- 0		14		- 0		141		919				10/7/07 17:59		345		394		919

		10		7		20		10/7/07 18:59		452		- 0		60		4		152		287		- 0		14		5		145		1,118				10/7/07 18:59		466		432		1,118

		10		7		21		10/7/07 19:59		472		- 0		57		4		155		293		- 0		14		6		146		1,148				10/7/07 19:59		486		439		1,148

		10		7		22		10/7/07 20:59		279		- 0		40		3		103		243		- 0		10		6		144		829				10/7/07 20:59		289		387		829

		10		7		23		10/7/07 21:59		229		- 0		34		3		84		236		- 0		10		6		143		745				10/7/07 21:59		239		379		745

		10		7		24		10/7/07 22:59		335		- 0		36		3		110		282		- 0		7		6		152		931				10/7/07 22:59		342		434		931

		10		8		1		10/7/07 23:59		125		- 0		47		2		125		235		- 0		7		6		141		689				10/7/07 23:59		132		376		689

		10		8		2		10/8/07 0:59		111		- 0		45		2		115		223		- 0		6		6		140		648				10/8/07 0:59		117		363		648

		10		8		3		10/8/07 1:59		113		- 0		44		2		116		228		- 0		7		6		141		658				10/8/07 1:59		120		369		658

		10		8		4		10/8/07 2:59		130		- 0		44		2		121		231		- 0		7		6		141		683				10/8/07 2:59		137		372		683

		10		8		5		10/8/07 3:59		114		- 0		44		2		120		224		- 0		8		6		141		659				10/8/07 3:59		122		365		659

		10		8		6		10/8/07 4:59		161		- 0		48		2		139		245		- 0		8		6		144		753				10/8/07 4:59		169		389		753

		10		8		7		10/8/07 5:59		214		- 0		53		3		162		263		- 0		11		6		144		856				10/8/07 5:59		225		407		856

		10		8		8		10/8/07 6:59		398		- 0		63		4		229		307		- 0		15		6		152		1,174				10/8/07 6:59		413		459		1,174

		10		8		9		10/8/07 7:59		412		- 0		68		4		227		298		- 0		13		1		149		1,173				10/8/07 7:59		425		447		1,173

		10		8		10		10/8/07 8:59		294		- 0		64		4		172		263		- 0		13		- 0		142		952				10/8/07 8:59		307		405		952

		10		8		11		10/8/07 9:59		275		- 0		64		4		160		261		- 0		13		- 0		143		920				10/8/07 9:59		288		404		920

		10		8		12		10/8/07 10:59		278		- 0		64		3		160		254		- 0		13		- 0		144		917				10/8/07 10:59		291		398		917

		10		8		13		10/8/07 11:59		326		- 0		68		2		183		275		- 0		12		- 0		144		1,011				10/8/07 11:59		338		419		1,011

		10		8		14		10/8/07 12:59		400		- 0		79		2		234		315		- 0		13		- 0		153		1,197				10/8/07 12:59		413		468		1,197

		10		8		15		10/8/07 13:59		414		- 0		76		2		225		305		- 0		10		- 0		152		1,185				10/8/07 13:59		424		457		1,185

		10		8		16		10/8/07 14:59		401		- 0		78		2		226		304		- 0		11		- 0		152		1,174				10/8/07 14:59		412		456		1,174

		10		8		17		10/8/07 15:59		371		- 0		70		2		192		285		- 0		13		- 0		148		1,081				10/8/07 15:59		384		433		1,081

		10		8		18		10/8/07 16:59		304		- 0		56		2		145		254		- 0		17		- 0		143		921				10/8/07 16:59		321		397		921

		10		8		19		10/8/07 17:59		295		- 0		58		2		140		252		- 0		16		- 0		143		906				10/8/07 17:59		311		395		906

		10		8		20		10/8/07 18:59		305		- 0		62		2		155		259		- 0		16		5		143		948				10/8/07 18:59		321		402		948

		10		8		21		10/8/07 19:59		414		- 0		71		3		202		297		- 0		12		6		150		1,155				10/8/07 19:59		426		447		1,155

		10		8		22		10/8/07 20:59		424		- 0		69		2		201		301		- 0		12		6		149		1,165				10/8/07 20:59		436		450		1,165

		10		8		23		10/8/07 21:59		383		- 0		69		2		203		302		- 0		14		6		149		1,128				10/8/07 21:59		397		451		1,128

		10		8		24		10/8/07 22:59		218		- 0		54		2		142		247		- 0		10		6		141		820				10/8/07 22:59		228		388		820

		10		9		1		10/8/07 23:59		267		- 0		74		2		214		280		- 0		9		6		145		998				10/8/07 23:59		276		425		998

		10		9		2		10/9/07 0:59		342		- 0		79		2		244		306		- 0		8		6		150		1,136				10/9/07 0:59		350		456		1,136

		10		9		3		10/9/07 1:59		268		- 0		73		2		216		283		- 0		10		6		148		1,006				10/9/07 1:59		278		431		1,006

		10		9		4		10/9/07 2:59		329		- 0		75		2		235		292		- 0		9		6		152		1,100				10/9/07 2:59		338		444		1,100

		10		9		5		10/9/07 3:59		350		- 0		76		2		245		299		- 0		10		6		153		1,141				10/9/07 3:59		360		452		1,141

		10		9		6		10/9/07 4:59		327		- 0		77		2		246		305		- 0		12		6		152		1,127				10/9/07 4:59		339		457		1,127

		10		9		7		10/9/07 5:59		365		- 0		77		2		249		307		- 0		11		6		150		1,168				10/9/07 5:59		376		457		1,168

		10		9		8		10/9/07 6:59		268		- 0		64		2		183		257		- 0		15		6		144		938				10/9/07 6:59		283		401		938

		10		9		9		10/9/07 7:59		261		- 0		65		2		177		253		- 0		12		1		142		914				10/9/07 7:59		273		395		914

		10		9		10		10/9/07 8:59		266		- 0		66		2		164		246		- 0		16		- 0		143		903				10/9/07 8:59		282		389		903

		10		9		11		10/9/07 9:59		269		- 0		68		2		166		245		- 0		13		- 0		143		905				10/9/07 9:59		282		388		905

		10		9		12		10/9/07 10:59		260		- 0		68		2		164		250		- 0		12		- 0		144		901				10/9/07 10:59		272		394		901

		10		9		13		10/9/07 11:59		266		- 0		68		2		165		245		- 0		14		- 0		144		903				10/9/07 11:59		280		389		903

		10		9		14		10/9/07 12:59		255		- 0		70		2		178		255		- 0		13		- 0		142		916				10/9/07 12:59		268		397		916

		10		9		15		10/9/07 13:59		257		- 0		69		2		173		250		- 0		11		- 0		144		905				10/9/07 13:59		268		394		905

		10		9		16		10/9/07 14:59		265		- 0		69		2		173		254		- 0		10		- 0		144		916				10/9/07 14:59		275		398		916

		10		9		17		10/9/07 15:59		265		- 0		68		2		177		248		- 0		13		- 0		144		916				10/9/07 15:59		278		392		916

		10		9		18		10/9/07 16:59		271		- 0		64		2		154		246		- 0		14		- 0		143		894				10/9/07 16:59		285		389		894

		10		9		19		10/9/07 17:59		263		- 0		68		2		154		243		- 0		16		- 0		143		889				10/9/07 17:59		279		386		889

		10		9		20		10/9/07 18:59		260		- 0		70		2		160		243		- 0		15		5		143		898				10/9/07 18:59		275		386		898

		10		9		21		10/9/07 19:59		255		- 0		69		2		164		245		- 0		15		6		140		897				10/9/07 19:59		270		385		897

		10		9		22		10/9/07 20:59		268		- 0		68		2		167		249		- 0		11		6		141		913				10/9/07 20:59		279		390		913

		10		9		23		10/9/07 21:59		262		- 0		68		2		176		253		- 0		12		6		144		924				10/9/07 21:59		274		397		924

		10		9		24		10/9/07 22:59		314		- 0		72		2		204		276		- 0		10		6		147		1,030				10/9/07 22:59		324		423		1,030

		10		10		1		10/9/07 23:59		381		- 0		63		2		183		292		- 0		11		6		152		1,091				10/9/07 23:59		392		444		1,091

		10		10		2		10/10/07 0:59		274		- 0		55		2		144		253		- 0		9		6		145		887				10/10/07 0:59		283		398		887

		10		10		3		10/10/07 1:59		287		- 0		56		2		151		268		- 0		9		6		147		926				10/10/07 1:59		296		415		926

		10		10		4		10/10/07 2:59		226		- 0		51		2		135		248		- 0		10		6		144		821				10/10/07 2:59		236		392		821

		10		10		5		10/10/07 3:59		239		- 0		52		2		138		247		- 0		10		6		145		838				10/10/07 3:59		249		392		838

		10		10		6		10/10/07 4:59		293		- 0		57		2		161		259		- 0		10		6		147		936				10/10/07 4:59		303		406		936

		10		10		7		10/10/07 5:59		428		- 0		66		2		209		303		- 0		14		6		151		1,179				10/10/07 5:59		442		454		1,179

		10		10		8		10/10/07 6:59		339		- 0		56		2		160		258		- 0		15		6		145		981				10/10/07 6:59		354		403		981

		10		10		9		10/10/07 7:59		329		- 0		56		3		162		252		- 0		15		1		144		961				10/10/07 7:59		344		396		961

		10		10		10		10/10/07 8:59		304		- 0		57		3		146		239		- 0		15		- 0		143		906				10/10/07 8:59		319		382		906

		10		10		11		10/10/07 9:59		310		- 0		57		2		146		237		- 0		16		- 0		141		909				10/10/07 9:59		326		378		909

		10		10		12		10/10/07 10:59		312		- 0		56		2		137		239		- 0		14		- 0		143		904				10/10/07 10:59		326		382		904

		10		10		13		10/10/07 11:59		305		- 0		58		2		149		244		- 0		16		- 0		144		920				10/10/07 11:59		321		388		920

		10		10		14		10/10/07 12:59		315		- 0		58		3		148		237		- 0		12		- 0		143		915				10/10/07 12:59		327		380		915

		10		10		15		10/10/07 13:59		300		- 0		59		2		149		241		- 0		13		- 0		144		908				10/10/07 13:59		313		385		908

		10		10		16		10/10/07 14:59		316		- 0		59		2		150		241		- 0		13		- 0		143		925				10/10/07 14:59		329		384		925

		10		10		17		10/10/07 15:59		307		- 0		57		2		142		243		- 0		15		- 0		144		908				10/10/07 15:59		322		387		908

		10		10		18		10/10/07 16:59		311		- 0		55		2		138		243		- 0		16		- 0		143		908				10/10/07 16:59		327		386		908

		10		10		19		10/10/07 17:59		302		- 0		56		2		130		235		- 0		18		- 0		143		886				10/10/07 17:59		320		378		886

		10		10		20		10/10/07 18:59		298		- 0		57		3		132		235		- 0		15		5		143		887				10/10/07 18:59		313		378		887

		10		10		21		10/10/07 19:59		303		- 0		58		3		143		243		- 0		14		6		143		913				10/10/07 19:59		317		386		913

		10		10		22		10/10/07 20:59		305		- 0		56		2		144		249		- 0		12		6		143		919				10/10/07 20:59		317		392		919

		10		10		23		10/10/07 21:59		451		- 0		67		2		205		293		- 0		13		6		151		1,188				10/10/07 21:59		464		444		1,188

		10		10		24		10/10/07 22:59		265		- 0		55		2		158		253		- 0		10		6		146		895				10/10/07 22:59		275		399		895

		10		11		1		10/10/07 23:59		330		- 0		60		2		178		280		- 0		11		6		150		1,018				10/10/07 23:59		341		430		1,018

		10		11		2		10/11/07 0:59		218		- 0		53		2		139		252		- 0		10		6		145		825				10/11/07 0:59		228		397		825

		10		11		3		10/11/07 1:59		335		- 0		60		2		178		287		- 0		11		6		149		1,027				10/11/07 1:59		346		436		1,027

		10		11		4		10/11/07 2:59		257		- 0		54		2		153		261		- 0		9		6		146		888				10/11/07 2:59		266		407		888

		10		11		5		10/11/07 3:59		357		- 0		61		2		188		284		- 0		10		6		151		1,059				10/11/07 3:59		367		435		1,059

		10		11		6		10/11/07 4:59		357		- 0		59		3		181		277		- 0		13		6		147		1,044				10/11/07 4:59		370		424		1,044

		10		11		7		10/11/07 5:59		262		- 0		59		7		152		252		- 0		15		6		143		896				10/11/07 5:59		277		395		896

		10		11		8		10/11/07 6:59		271		- 0		70		11		172		254		- 0		14		6		143		942				10/11/07 6:59		285		397		942

		10		11		9		10/11/07 7:59		250		- 0		80		14		184		252		- 0		16		1		144		941				10/11/07 7:59		266		396		941

		10		11		10		10/11/07 8:59		248		- 0		87		13		187		249		- 0		17		- 0		143		943				10/11/07 8:59		265		392		943

		10		11		11		10/11/07 9:59		225		- 0		86		13		184		247		- 0		12		- 0		145		912				10/11/07 9:59		237		392		912

		10		11		12		10/11/07 10:59		227		- 0		87		13		189		253		- 0		12		- 0		145		925				10/11/07 10:59		239		398		925

		10		11		13		10/11/07 11:59		232		- 0		85		12		184		245		- 0		11		- 0		144		913				10/11/07 11:59		243		389		913

		10		11		14		10/11/07 12:59		219		- 0		88		14		189		250		- 0		10		- 0		145		916				10/11/07 12:59		229		395		916

		10		11		15		10/11/07 13:59		210		- 0		88		13		193		245		- 0		9		- 0		144		902				10/11/07 13:59		219		389		902

		10		11		16		10/11/07 14:59		208		- 0		83		10		181		247		- 0		11		- 0		144		884				10/11/07 14:59		219		391		884

		10		11		17		10/11/07 15:59		236		- 0		80		7		173		255		- 0		15		- 0		145		911				10/11/07 15:59		251		400		911

		10		11		18		10/11/07 16:59		255		- 0		68		5		164		249		- 0		16		- 0		145		902				10/11/07 16:59		271		394		902

		10		11		19		10/11/07 17:59		306		- 0		68		6		169		257		- 0		17		- 0		147		969				10/11/07 17:59		323		404		969

		10		11		20		10/11/07 18:59		301		- 0		68		5		161		250		- 0		17		5		146		953				10/11/07 18:59		318		396		953

		10		11		21		10/11/07 19:59		268		- 0		63		6		160		255		- 0		15		6		145		919				10/11/07 19:59		283		400		919

		10		11		22		10/11/07 20:59		257		- 0		59		5		156		255		- 0		15		6		143		896				10/11/07 20:59		272		398		896

		10		11		23		10/11/07 21:59		283		- 0		59		5		169		265		- 0		11		6		145		942				10/11/07 21:59		294		410		942

		10		11		24		10/11/07 22:59		407		- 0		67		4		233		308		- 0		10		6		149		1,186				10/11/07 22:59		417		457		1,186

		10		12		1		10/11/07 23:59		206		- 0		46		4		138		256		- 0		8		6		144		808				10/11/07 23:59		214		400		808

		10		12		2		10/12/07 0:59		194		- 0		46		4		133		254		- 0		10		6		145		792				10/12/07 0:59		204		399		792

		10		12		3		10/12/07 1:59		173		- 0		46		4		128		248		- 0		8		6		144		758				10/12/07 1:59		181		392		758

		10		12		4		10/12/07 2:59		181		- 0		45		3		124		249		- 0		9		6		144		761				10/12/07 2:59		190		393		761

		10		12		5		10/12/07 3:59		206		- 0		47		2		132		254		- 0		10		6		146		803				10/12/07 3:59		216		400		803

		10		12		6		10/12/07 4:59		431		- 0		60		3		200		305		- 0		13		6		153		1,170				10/12/07 4:59		444		458		1,170

		10		12		7		10/12/07 5:59		279		- 0		56		7		154		248		- 0		18		6		143		911				10/12/07 5:59		297		391		911

		10		12		8		10/12/07 6:59		272		- 0		64		11		158		244		- 0		14		6		144		913				10/12/07 6:59		286		388		913

		10		12		9		10/12/07 7:59		243		- 0		72		13		166		245		- 0		13		1		142		894				10/12/07 7:59		256		387		894

		10		12		10		10/12/07 8:59		232		- 0		79		13		180		243		- 0		10		- 0		143		900				10/12/07 8:59		242		386		900

		10		12		11		10/12/07 9:59		229		- 0		81		13		180		244		- 0		12		- 0		144		904				10/12/07 9:59		241		388		904

		10		12		12		10/12/07 10:59		234		- 0		82		13		185		245		- 0		11		- 0		142		913				10/12/07 10:59		245		387		913

		10		12		13		10/12/07 11:59		231		- 0		80		11		181		253		- 0		11		- 0		140		906				10/12/07 11:59		242		393		906

		10		12		14		10/12/07 12:59		226		- 0		83		14		187		252		- 0		9		- 0		139		910				10/12/07 12:59		235		391		910

		10		12		15		10/12/07 13:59		221		- 0		85		13		192		254		- 0		9		- 0		138		912				10/12/07 13:59		230		392		912

		10		12		16		10/12/07 14:59		236		- 0		79		11		180		252		- 0		10		- 0		140		909				10/12/07 14:59		246		392		909

		10		12		17		10/12/07 15:59		243		- 0		73		8		154		247		- 0		12		- 0		141		876				10/12/07 15:59		255		388		876

		10		12		18		10/12/07 16:59		293		- 0		66		5		155		248		- 0		15		- 0		140		921				10/12/07 16:59		308		388		921

		10		12		19		10/12/07 17:59		287		- 0		64		6		151		249		- 0		18		1		141		916				10/12/07 17:59		305		390		916

		10		12		20		10/12/07 18:59		292		- 0		64		6		151		251		- 0		16		5		143		925				10/12/07 18:59		308		394		925

		10		12		21		10/12/07 19:59		275		- 0		59		6		143		253		- 0		14		6		140		896				10/12/07 19:59		289		393		896

		10		12		22		10/12/07 20:59		287		- 0		56		5		145		252		- 0		12		6		141		904				10/12/07 20:59		299		393		904

		10		12		23		10/12/07 21:59		304		- 0		55		5		160		267		- 0		12		6		144		953				10/12/07 21:59		316		411		953

		10		12		24		10/12/07 22:59		319		- 0		57		4		184		287		- 0		9		6		147		1,015				10/12/07 22:59		328		434		1,015

		10		13		1		10/12/07 23:59		156		- 0		30		4		77		213		- 0		9		6		137		633				10/12/07 23:59		165		350		633

		10		13		2		10/13/07 0:59		167		- 0		30		4		74		211		- 0		9		6		139		640				10/13/07 0:59		176		350		640

		10		13		3		10/13/07 1:59		247		- 0		33		4		102		252		- 0		8		6		145		798				10/13/07 1:59		255		397		798

		10		13		4		10/13/07 2:59		187		- 0		30		3		83		228		- 0		9		6		141		687				10/13/07 2:59		196		369		687

		10		13		5		10/13/07 3:59		171		- 0		30		2		73		216		- 0		9		6		139		645				10/13/07 3:59		180		355		645

		10		13		6		10/13/07 4:59		237		- 0		34		2		92		232		- 0		14		6		143		760				10/13/07 4:59		251		375		760

		10		13		7		10/13/07 5:59		351		- 0		44		8		122		248		- 0		17		6		145		941				10/13/07 5:59		368		393		941

		10		13		8		10/13/07 6:59		298		- 0		52		11		128		240		- 0		13		6		144		892				10/13/07 6:59		311		384		892

		10		13		9		10/13/07 7:59		285		- 0		61		14		137		239		- 0		15		1		141		895				10/13/07 7:59		300		380		895

		10		13		10		10/13/07 8:59		284		- 0		68		13		145		238		- 0		12		- 0		141		902				10/13/07 8:59		296		379		902

		10		13		11		10/13/07 9:59		274		- 0		69		14		147		239		- 0		13		- 0		142		898				10/13/07 9:59		287		381		898

		10		13		12		10/13/07 10:59		272		- 0		68		14		146		239		- 0		13		- 0		143		894				10/13/07 10:59		285		382		894

		10		13		13		10/13/07 11:59		382		- 0		80		12		201		280		- 0		13		- 0		149		1,117				10/13/07 11:59		395		429		1,117

		10		13		14		10/13/07 12:59		340		- 0		80		15		192		272		- 0		13		- 0		147		1,059				10/13/07 12:59		353		419		1,059

		10		13		15		10/13/07 13:59		326		- 0		75		13		179		267		- 0		8		- 0		148		1,017				10/13/07 13:59		334		415		1,017

		10		13		16		10/13/07 14:59		273		- 0		66		11		148		256		- 0		13		- 0		146		913				10/13/07 14:59		286		402		913

		10		13		17		10/13/07 15:59		302		- 0		63		7		138		251		- 0		12		- 0		146		919				10/13/07 15:59		314		397		919

		10		13		18		10/13/07 16:59		294		- 0		54		5		115		244		- 0		14		- 0		145		871				10/13/07 16:59		308		389		871

		10		13		19		10/13/07 17:59		294		- 0		57		5		113		249		- 0		14		1		144		878				10/13/07 17:59		308		393		878

		10		13		20		10/13/07 18:59		306		- 0		56		6		119		246		- 0		16		5		145		899				10/13/07 18:59		322		391		899

		10		13		21		10/13/07 19:59		315		- 0		52		6		118		248		- 0		13		6		142		900				10/13/07 19:59		328		390		900

		10		13		22		10/13/07 20:59		469		- 0		50		6		153		285		- 0		15		6		148		1,133				10/13/07 20:59		484		433		1,133

		10		13		23		10/13/07 21:59		409		- 0		47		5		143		287		- 0		10		6		150		1,058				10/13/07 21:59		419		437		1,058

		10		13		24		10/13/07 22:59		241		- 0		36		3		97		246		- 0		8		6		143		781				10/13/07 22:59		249		389		781

		10		14		1		10/13/07 23:59		222		- 0		32		4		90		233		- 0		11		6		144		742				10/13/07 23:59		233		377		742

		10		14		2		10/14/07 0:59		187		- 0		29		4		79		221		- 0		8		6		142		676				10/14/07 0:59		195		363		676

		10		14		3		10/14/07 1:59		235		- 0		31		4		87		233		- 0		9		6		145		749				10/14/07 1:59		244		378		749

		10		14		4		10/14/07 2:59		171		- 0		28		4		72		216		- 0		9		6		141		647				10/14/07 2:59		180		357		647

		10		14		5		10/14/07 3:59		237		- 0		31		2		87		233		- 0		10		6		143		750				10/14/07 3:59		247		376		750

		10		14		6		10/14/07 4:59		282		- 0		34		3		99		240		- 0		12		6		144		819				10/14/07 4:59		294		384		819

		10		14		7		10/14/07 5:59		366		- 0		40		8		125		256		- 0		18		6		141		961				10/14/07 5:59		384		397		961

		10		14		8		10/14/07 6:59		306		- 0		50		12		127		243		- 0		16		6		142		901				10/14/07 6:59		322		385		901

		10		14		9		10/14/07 7:59		289		- 0		59		15		139		246		- 0		13		1		141		904				10/14/07 7:59		302		387		904

		10		14		10		10/14/07 8:59		281		- 0		65		14		144		243		- 0		12		- 0		145		904				10/14/07 8:59		293		388		904

		10		14		11		10/14/07 9:59		282		- 0		67		14		148		246		- 0		13		- 0		141		911				10/14/07 9:59		295		387		911

		10		14		12		10/14/07 10:59		283		- 0		66		13		141		244		- 0		13		- 0		144		904				10/14/07 10:59		296		388		904

		10		14		13		10/14/07 11:59		288		- 0		67		10		143		242		- 0		12		- 0		143		907				10/14/07 11:59		300		385		907

		10		14		14		10/14/07 12:59		278		- 0		69		13		148		250		- 0		12		- 0		144		914				10/14/07 12:59		290		394		914

		10		14		15		10/14/07 13:59		333		- 0		76		13		177		278		- 0		11		- 0		147		1,034				10/14/07 13:59		344		425		1,034

		10		14		16		10/14/07 14:59		296		- 0		66		9		141		255		- 0		11		- 0		146		924				10/14/07 14:59		307		401		924

		10		14		17		10/14/07 15:59		311		- 0		58		7		129		252		- 0		15		- 0		145		917				10/14/07 15:59		326		397		917

		10		14		18		10/14/07 16:59		330		- 0		53		5		117		245		- 0		14		- 0		145		910				10/14/07 16:59		344		390		910

		10		14		19		10/14/07 17:59		327		- 0		54		4		116		244		- 0		16		1		144		906				10/14/07 17:59		343		388		906

		10		14		20		10/14/07 18:59		331		- 0		54		4		119		247		- 0		15		5		144		919				10/14/07 18:59		346		391		919

		10		14		21		10/14/07 19:59		339		- 0		52		4		116		244		- 0		14		6		144		919				10/14/07 19:59		353		388		919

		10		14		22		10/14/07 20:59		511		- 0		53		4		151		295		- 0		13		6		152		1,185				10/14/07 20:59		524		447		1,185

		10		14		23		10/14/07 21:59		514		- 0		48		3		139		292		- 0		13		6		154		1,171				10/14/07 21:59		527		446		1,171

		10		14		24		10/14/07 22:59		303		- 0		37		3		93		245		- 0		11		6		146		844				10/14/07 22:59		314		391		844

		10		15		1		10/14/07 23:59		332		- 0		71		2		230		309		- 0		11		6		152		1,114				10/14/07 23:59		343		461		1,114

		10		15		2		10/15/07 0:59		237		- 0		61		2		184		269		- 0		7		6		148		915				10/15/07 0:59		244		417		915

		10		15		3		10/15/07 1:59		222		- 0		59		2		170		257		- 0		7		6		147		870				10/15/07 1:59		229		404		870

		10		15		4		10/15/07 2:59		255		- 0		61		2		187		271		- 0		10		6		148		940				10/15/07 2:59		265		419		940

		10		15		5		10/15/07 3:59		206		- 0		56		2		164		249		- 0		8		6		146		837				10/15/07 3:59		214		395		837

		10		15		6		10/15/07 4:59		301		- 0		65		2		215		298		- 0		10		6		152		1,049				10/15/07 4:59		311		450		1,049

		10		15		7		10/15/07 5:59		387		- 0		72		3		240		308		- 0		14		6		153		1,182				10/15/07 5:59		401		461		1,182

		10		15		8		10/15/07 6:59		264		- 0		61		3		171		258		- 0		15		6		145		922				10/15/07 6:59		279		403		922

		10		15		9		10/15/07 7:59		260		- 0		63		3		165		258		- 0		12		1		145		908				10/15/07 7:59		272		403		908

		10		15		10		10/15/07 8:59		253		- 0		67		3		164		252		- 0		13		- 0		145		897				10/15/07 8:59		266		397		897

		10		15		11		10/15/07 9:59		259		- 0		69		3		165		257		- 0		12		- 0		145		910				10/15/07 9:59		271		402		910

		10		15		12		10/15/07 10:59		259		- 0		68		3		155		251		- 0		12		- 0		145		893				10/15/07 10:59		271		396		893

		10		15		13		10/15/07 11:59		259		- 0		68		3		165		259		- 0		12		- 0		146		912				10/15/07 11:59		271		405		912

		10		15		14		10/15/07 12:59		256		- 0		69		2		169		257		- 0		12		- 0		145		912				10/15/07 12:59		268		402		912

		10		15		15		10/15/07 13:59		268		- 0		70		2		171		253		- 0		11		- 0		146		921				10/15/07 13:59		279		399		921

		10		15		16		10/15/07 14:59		269		- 0		69		2		162		253		- 0		11		- 0		145		911				10/15/07 14:59		280		398		911

		10		15		17		10/15/07 15:59		274		- 0		67		2		155		248		- 0		13		- 0		145		905				10/15/07 15:59		287		393		905

		10		15		18		10/15/07 16:59		283		- 0		60		2		150		252		- 0		14		- 0		145		906				10/15/07 16:59		297		397		906

		10		15		19		10/15/07 17:59		289		- 0		62		2		148		250		- 0		13		1		144		909				10/15/07 17:59		302		394		909

		10		15		20		10/15/07 18:59		283		- 0		63		3		152		250		- 0		12		5		144		913				10/15/07 18:59		295		394		913

		10		15		21		10/15/07 19:59		311		- 0		64		3		170		258		- 0		12		6		144		967				10/15/07 19:59		323		402		967

		10		15		22		10/15/07 20:59		324		- 0		66		2		174		263		- 0		10		6		147		993				10/15/07 20:59		334		410		993

		10		15		23		10/15/07 21:59		410		- 0		72		3		217		298		- 0		11		6		152		1,169				10/15/07 21:59		421		450		1,169

		10		15		24		10/15/07 22:59		342		- 0		70		2		211		301		- 0		8		6		153		1,095				10/15/07 22:59		350		454		1,095

		10		16		1		10/15/07 23:59		352		- 0		83		2		254		309		- 0		9		6		154		1,170				10/15/07 23:59		361		463		1,170

		10		16		2		10/16/07 0:59		323		- 0		81		2		248		304		- 0		8		6		154		1,126				10/16/07 0:59		331		458		1,126

		10		16		3		10/16/07 1:59		292		- 0		78		2		232		289		- 0		9		6		152		1,060				10/16/07 1:59		301		441		1,060

		10		16		4		10/16/07 2:59		230		- 0		70		2		208		280		- 0		8		6		149		953				10/16/07 2:59		238		429		953

		10		16		5		10/16/07 3:59		209		- 0		67		2		191		264		- 0		6		6		147		892				10/16/07 3:59		215		411		892

		10		16		6		10/16/07 4:59		317		- 0		79		2		248		302		- 0		11		6		154		1,118				10/16/07 4:59		328		456		1,118

		10		16		7		10/16/07 5:59		357		- 0		81		2		263		310		- 0		13		6		153		1,184				10/16/07 5:59		370		463		1,184

		10		16		8		10/16/07 6:59		308		- 0		75		2		228		287		- 0		14		6		149		1,068				10/16/07 6:59		322		436		1,068

		10		16		9		10/16/07 7:59		260		- 0		65		2		170		250		- 0		14		1		142		905				10/16/07 7:59		274		392		905

		10		16		10		10/16/07 8:59		267		- 0		68		2		169		249		- 0		11		- 0		139		906				10/16/07 8:59		278		388		906

		10		16		11		10/16/07 9:59		267		- 0		67		2		161		248		- 0		15		- 0		145		905				10/16/07 9:59		282		393		905

		10		16		12		10/16/07 10:59		272		- 0		68		2		165		252		- 0		12		- 0		145		916				10/16/07 10:59		284		397		916

		10		16		13		10/16/07 11:59		256		- 0		68		2		170		253		- 0		14		- 0		145		908				10/16/07 11:59		270		398		908

		10		16		14		10/16/07 12:59		254		- 0		69		2		170		252		- 0		11		- 0		145		902				10/16/07 12:59		265		397		902

		10		16		15		10/16/07 13:59		256		- 0		68		2		172		249		- 0		12		- 0		145		904				10/16/07 13:59		268		394		904

		10		16		16		10/16/07 14:59		257		- 0		69		2		172		247		- 0		13		- 0		144		905				10/16/07 14:59		270		391		905

		10		16		17		10/16/07 15:59		276		- 0		68		2		163		246		- 0		15		- 0		144		914				10/16/07 15:59		291		390		914

		10		16		18		10/16/07 16:59		296		- 0		65		3		159		244		- 0		16		- 0		145		928				10/16/07 16:59		312		389		928

		10		16		19		10/16/07 17:59		301		- 0		68		3		159		248		- 0		19		1		145		944				10/16/07 17:59		320		393		944

		10		16		20		10/16/07 18:59		274		- 0		69		3		157		245		- 0		16		5		144		912				10/16/07 18:59		290		389		912

		10		16		21		10/16/07 19:59		252		- 0		67		3		157		245		- 0		14		6		142		886				10/16/07 19:59		266		387		886

		10		16		22		10/16/07 20:59		264		- 0		66		3		167		249		- 0		12		6		144		911				10/16/07 20:59		276		393		911

		10		16		23		10/16/07 21:59		263		- 0		66		3		177		252		- 0		11		6		144		921				10/16/07 21:59		274		396		921

		10		16		24		10/16/07 22:59		306		- 0		72		2		214		269		- 0		9		6		146		1,025				10/16/07 22:59		315		415		1,025

		10		17		1		10/16/07 23:59		306		- 0		59		3		177		269		- 0		12		6		149		981				10/16/07 23:59		318		418		981

		10		17		2		10/17/07 0:59		363		- 0		63		2		201		301		- 0		10		6		154		1,100				10/17/07 0:59		373		455		1,100

		10		17		3		10/17/07 1:59		401		- 0		64		3		205		302		- 0		10		6		154		1,143				10/17/07 1:59		411		456		1,143

		10		17		4		10/17/07 2:59		335		- 0		62		2		192		289		- 0		9		6		148		1,042				10/17/07 2:59		344		437		1,042

		10		17		5		10/17/07 3:59		369		- 0		65		3		210		298		- 0		11		6		153		1,114				10/17/07 3:59		380		451		1,114

		10		17		6		10/17/07 4:59		339		- 0		61		3		187		272		- 0		16		6		148		1,032				10/17/07 4:59		355		420		1,032

		10		17		7		10/17/07 5:59		261		- 0		61		7		161		249		- 0		17		6		144		906				10/17/07 5:59		278		393		906

		10		17		8		10/17/07 6:59		263		- 0		71		10		172		249		- 0		18		6		147		936				10/17/07 6:59		281		396		936

		10		17		9		10/17/07 7:59		204		- 0		76		14		159		245		- 0		15		1		146		861				10/17/07 7:59		219		391		861

		10		17		10		10/17/07 8:59		224		- 0		86		12		178		253		- 0		16		- 0		147		916				10/17/07 8:59		240		400		916

		10		17		11		10/17/07 9:59		210		- 0		84		13		167		242		- 0		13		- 0		145		875				10/17/07 9:59		223		387		875

		10		17		12		10/17/07 10:59		241		- 0		87		14		183		252		- 0		13		- 0		148		938				10/17/07 10:59		254		400		938

		10		17		13		10/17/07 11:59		242		- 0		85		12		187		258		- 0		15		- 0		146		945				10/17/07 11:59		257		404		945

		10		17		14		10/17/07 12:59		226		- 0		89		14		190		253		- 0		13		- 0		146		931				10/17/07 12:59		239		399		931

		10		17		15		10/17/07 13:59		193		- 0		86		13		184		248		- 0		11		- 0		145		879				10/17/07 13:59		204		393		879

		10		17		16		10/17/07 14:59		230		- 0		81		11		183		248		- 0		13		- 0		147		912				10/17/07 14:59		243		395		912

		10		17		17		10/17/07 15:59		258		- 0		79		8		176		259		- 0		16		- 0		146		941				10/17/07 15:59		274		405		941

		10		17		18		10/17/07 16:59		255		- 0		67		5		151		245		- 0		17		- 0		146		887				10/17/07 16:59		272		391		887

		10		17		19		10/17/07 17:59		258		- 0		66		5		147		243		- 0		16		1		147		882				10/17/07 17:59		274		390		882

		10		17		20		10/17/07 18:59		253		- 0		66		5		147		244		- 0		15		5		146		881				10/17/07 18:59		268		390		881

		10		17		21		10/17/07 19:59		263		- 0		64		4		158		250		- 0		15		6		145		906				10/17/07 19:59		278		395		906

		10		17		22		10/17/07 20:59		272		- 0		60		4		157		246		- 0		15		6		146		907				10/17/07 20:59		287		392		907

		10		17		23		10/17/07 21:59		268		- 0		57		4		164		251		- 0		11		6		145		907				10/17/07 21:59		279		396		907

		10		17		24		10/17/07 22:59		341		- 0		61		3		193		268		- 0		8		6		148		1,029				10/17/07 22:59		349		416		1,029

		10		18		1		10/17/07 23:59		288		- 0		55		3		179		278		- 0		9		6		151		969				10/17/07 23:59		297		429		969

		10		18		2		10/18/07 0:59		358		- 0		60		3		202		304		- 0		9		6		154		1,097				10/18/07 0:59		367		458		1,097

		10		18		3		10/18/07 1:59		352		- 0		59		3		194		298		- 0		10		6		153		1,075				10/18/07 1:59		362		451		1,075

		10		18		4		10/18/07 2:59		367		- 0		59		3		192		296		- 0		9		6		152		1,084				10/18/07 2:59		376		448		1,084

		10		18		5		10/18/07 3:59		381		- 0		60		2		195		287		- 0		12		6		153		1,096				10/18/07 3:59		393		440		1,096

		10		18		6		10/18/07 4:59		432		- 0		63		3		211		297		- 0		13		6		152		1,177				10/18/07 4:59		445		449		1,177

		10		18		7		10/18/07 5:59		277		- 0		57		7		151		243		- 0		16		6		144		902				10/18/07 5:59		293		387		902

		10		18		8		10/18/07 6:59		291		- 0		69		12		168		244		- 0		15		6		144		949				10/18/07 6:59		306		388		949

		10		18		9		10/18/07 7:59		259		- 0		77		14		174		245		- 0		13		3		143		928				10/18/07 7:59		272		388		928

		10		18		10		10/18/07 8:59		225		- 0		82		13		175		241		- 0		13		- 0		140		890				10/18/07 8:59		238		381		890

		10		18		11		10/18/07 9:59		233		- 0		83		15		174		241		- 0		14		- 0		143		904				10/18/07 9:59		247		384		904

		10		18		12		10/18/07 10:59		238		- 0		83		13		173		243		- 0		15		- 0		146		911				10/18/07 10:59		253		389		911

		10		18		13		10/18/07 11:59		227		- 0		82		12		173		240		- 0		13		- 0		145		891				10/18/07 11:59		240		385		891

		10		18		14		10/18/07 12:59		220		- 0		86		15		176		243		- 0		10		- 0		143		894				10/18/07 12:59		230		386		894

		10		18		15		10/18/07 13:59		222		- 0		84		14		179		245		- 0		12		- 0		143		900				10/18/07 13:59		234		388		900

		10		18		16		10/18/07 14:59		232		- 0		80		11		176		247		- 0		12		- 0		144		901				10/18/07 14:59		244		391		901

		10		18		17		10/18/07 15:59		255		- 0		73		7		157		247		- 0		16		- 0		143		898				10/18/07 15:59		271		390		898

		10		18		18		10/18/07 16:59		309		- 0		68		5		159		255		- 0		16		- 0		146		959				10/18/07 16:59		325		401		959

		10		18		19		10/18/07 17:59		286		- 0		63		4		142		240		- 0		15		1		145		897				10/18/07 17:59		301		385		897

		10		18		20		10/18/07 18:59		277		- 0		64		5		150		246		- 0		15		5		145		907				10/18/07 18:59		292		391		907

		10		18		21		10/18/07 19:59		264		- 0		62		4		148		244		- 0		14		6		143		886				10/18/07 19:59		278		387		886

		10		18		22		10/18/07 20:59		278		- 0		59		4		154		246		- 0		13		6		144		904				10/18/07 20:59		291		390		904

		10		18		23		10/18/07 21:59		287		- 0		56		4		157		258		- 0		13		6		145		927				10/18/07 21:59		300		403		927

		10		18		24		10/18/07 22:59		416		- 0		65		3		219		308		- 0		8		6		154		1,180				10/18/07 22:59		424		462		1,180

		10		19		1		10/18/07 23:59		214		- 0		49		3		143		258		- 0		9		6		145		828				10/18/07 23:59		223		403		828

		10		19		2		10/19/07 0:59		260		- 0		52		3		155		274		- 0		9		6		147		906				10/19/07 0:59		269		421		906

		10		19		3		10/19/07 1:59		379		- 0		58		3		190		310		- 0		7		6		154		1,108				10/19/07 1:59		386		464		1,108

		10		19		4		10/19/07 2:59		284		- 0		54		3		159		283		- 0		9		6		149		947				10/19/07 2:59		293		432		947

		10		19		5		10/19/07 3:59		376		- 0		58		3		185		300		- 0		11		6		154		1,092				10/19/07 3:59		387		454		1,092

		10		19		6		10/19/07 4:59		380		- 0		58		3		178		292		- 0		14		6		150		1,080				10/19/07 4:59		394		442		1,080

		10		19		7		10/19/07 5:59		268		- 0		55		8		142		247		- 0		19		6		144		890				10/19/07 5:59		287		391		890

		10		19		8		10/19/07 6:59		270		- 0		68		11		162		248		- 0		14		6		144		923				10/19/07 6:59		284		392		923

		10		19		9		10/19/07 7:59		239		- 0		73		13		167		244		- 0		15		3		142		897				10/19/07 7:59		254		386		897

		10		19		10		10/19/07 8:59		231		- 0		81		13		169		244		- 0		15		- 0		141		894				10/19/07 8:59		246		385		894

		10		19		11		10/19/07 9:59		226		- 0		82		15		174		242		- 0		11		- 0		144		894				10/19/07 9:59		237		386		894

		10		19		12		10/19/07 10:59		220		- 0		82		13		169		248		- 0		15		- 0		142		889				10/19/07 10:59		235		390		889

		10		19		13		10/19/07 11:59		229		- 0		82		12		173		248		- 0		11		- 0		142		897				10/19/07 11:59		240		390		897

		10		19		14		10/19/07 12:59		212		- 0		81		14		165		242		- 0		12		- 0		141		867				10/19/07 12:59		224		383		867

		10		19		15		10/19/07 13:59		228		- 0		83		13		176		253		- 0		9		- 0		141		903				10/19/07 13:59		237		394		903

		10		19		16		10/19/07 14:59		236		- 0		79		11		162		252		- 0		11		- 0		140		891				10/19/07 14:59		247		392		891

		10		19		17		10/19/07 15:59		268		- 0		76		8		157		254		- 0		16		- 0		144		923				10/19/07 15:59		284		398		923

		10		19		18		10/19/07 16:59		292		- 0		68		5		153		253		- 0		19		- 0		146		935				10/19/07 16:59		311		399		935

		10		19		19		10/19/07 17:59		306		- 0		66		5		151		254		- 0		18		1		143		943				10/19/07 17:59		324		397		943

		10		19		20		10/19/07 18:59		283		- 0		64		5		147		250		- 0		16		5		142		912				10/19/07 18:59		299		392		912

		10		19		21		10/19/07 19:59		263		- 0		61		4		141		253		- 0		14		6		140		882				10/19/07 19:59		277		393		882

		10		19		22		10/19/07 20:59		272		- 0		56		4		144		262		- 0		15		6		144		903				10/19/07 20:59		287		406		903

		10		19		23		10/19/07 21:59		276		- 0		54		4		148		265		- 0		10		6		144		908				10/19/07 21:59		286		409		908

		10		19		24		10/19/07 22:59		418		- 0		63		4		205		321		- 0		11		6		148		1,175				10/19/07 22:59		429		469		1,175

		10		20		1		10/19/07 23:59		282		- 0		36		3		102		254		- 0		9		6		147		839				10/19/07 23:59		291		401		839

		10		20		2		10/20/07 0:59		253		- 0		35		3		94		243		- 0		10		6		146		790				10/20/07 0:59		263		389		790

		10		20		3		10/20/07 1:59		269		- 0		36		3		94		252		- 0		8		6		146		814				10/20/07 1:59		277		398		814

		10		20		4		10/20/07 2:59		252		- 0		35		3		89		246		- 0		10		6		144		784				10/20/07 2:59		262		390		784

		10		20		5		10/20/07 3:59		287		- 0		36		2		97		254		- 0		13		6		147		842				10/20/07 3:59		300		401		842

		10		20		6		10/20/07 4:59		511		- 0		45		3		143		294		- 0		14		6		153		1,170				10/20/07 4:59		525		447		1,170

		10		20		7		10/20/07 5:59		315		- 0		45		8		108		244		- 0		21		6		143		890				10/20/07 5:59		336		387		890

		10		20		8		10/20/07 6:59		316		- 0		55		12		126		238		- 0		20		6		143		916				10/20/07 6:59		336		381		916

		10		20		9		10/20/07 7:59		303		- 0		64		15		138		248		- 0		15		3		132		918				10/20/07 7:59		318		380		918

		10		20		10		10/20/07 8:59		292		- 0		71		14		136		244		- 0		15		- 0		143		915				10/20/07 8:59		307		387		915

		10		20		11		10/20/07 9:59		277		- 0		70		14		138		246		- 0		14		- 0		142		902				10/20/07 9:59		291		388		902

		10		20		12		10/20/07 10:59		271		- 0		69		12		136		239		- 0		15		- 0		145		888				10/20/07 10:59		286		384		888

		10		20		13		10/20/07 11:59		272		- 0		70		10		145		250		- 0		13		- 0		143		904				10/20/07 11:59		285		393		904

		10		20		14		10/20/07 12:59		265		- 0		74		15		156		256		- 0		10		- 0		141		917				10/20/07 12:59		275		397		917

		10		20		15		10/20/07 13:59		271		- 0		75		14		154		250		- 0		14		- 0		143		922				10/20/07 13:59		285		393		922

		10		20		16		10/20/07 14:59		281		- 0		69		11		144		257		- 0		13		- 0		143		917				10/20/07 14:59		294		400		917

		10		20		17		10/20/07 15:59		284		- 0		63		8		132		262		- 0		13		- 0		143		904				10/20/07 15:59		297		405		904

		10		20		18		10/20/07 16:59		307		- 0		57		5		119		256		- 0		17		- 0		145		907				10/20/07 16:59		324		401		907

		10		20		19		10/20/07 17:59		304		- 0		57		5		112		249		- 0		13		1		145		886				10/20/07 17:59		317		394		886

		10		20		20		10/20/07 18:59		313		- 0		55		5		110		244		- 0		14		5		145		892				10/20/07 18:59		327		389		892

		10		20		21		10/20/07 19:59		323		- 0		53		5		114		253		- 0		15		6		145		914				10/20/07 19:59		338		398		914

		10		20		22		10/20/07 20:59		388		- 0		46		4		127		264		- 0		14		6		145		995				10/20/07 20:59		402		409		995

		10		20		23		10/20/07 21:59		484		- 0		48		5		149		294		- 0		14		6		152		1,153				10/20/07 21:59		498		446		1,153

		10		20		24		10/20/07 22:59		357		- 0		40		3		119		274		- 0		8		6		150		958				10/20/07 22:59		365		424		958

		10		21		1		10/20/07 23:59		456		- 0		43		3		134		288		- 0		11		6		151		1,092				10/20/07 23:59		467		439		1,092

		10		21		2		10/21/07 0:59		348		- 0		37		3		109		265		- 0		12		6		146		927				10/21/07 0:59		360		411		927

		10		21		3		10/21/07 1:59		384		- 0		37		2		111		270		- 0		10		6		151		972				10/21/07 1:59		394		421		972

		10		21		4		10/21/07 2:59		426		- 0		39		3		120		282		- 0		13		6		151		1,040				10/21/07 2:59		439		433		1,040

		10		21		5		10/21/07 3:59		497		- 0		41		3		129		292		- 0		15		6		153		1,136				10/21/07 3:59		512		445		1,136

		10		21		6		10/21/07 4:59		495		- 0		41		4		127		267		- 0		17		6		150		1,107				10/21/07 4:59		512		417		1,107

		10		21		7		10/21/07 5:59		325		- 0		43		8		107		238		- 0		19		6		143		889				10/21/07 5:59		344		381		889

		10		21		8		10/21/07 6:59		337		- 0		54		11		123		239		- 0		20		6		147		938				10/21/07 6:59		357		386		938

		10		21		9		10/21/07 7:59		323		- 0		63		15		135		246		- 0		18		3		146		950				10/21/07 7:59		341		392		950

		10		21		10		10/21/07 8:59		290		- 0		68		14		133		239		- 0		15		- 0		144		903				10/21/07 8:59		305		383		903

		10		21		11		10/21/07 9:59		282		- 0		68		15		136		237		- 0		14		- 0		138		891				10/21/07 9:59		296		375		891

		10		21		12		10/21/07 10:59		296		- 0		67		13		135		246		- 0		16		- 0		147		920				10/21/07 10:59		312		393		920

		10		21		13		10/21/07 11:59		280		- 0		64		11		128		241		- 0		13		- 0		144		882				10/21/07 11:59		293		385		882

		10		21		14		10/21/07 12:59		283		- 0		67		13		136		245		- 0		14		- 0		142		900				10/21/07 12:59		297		387		900

		10		21		15		10/21/07 13:59		291		- 0		67		12		140		247		- 0		12		- 0		143		911				10/21/07 13:59		303		390		911

		10		21		16		10/21/07 14:59		295		- 0		63		8		128		244		- 0		15		- 0		144		899				10/21/07 14:59		310		388		899

		10		21		17		10/21/07 15:59		312		- 0		58		5		121		257		- 0		16		- 0		143		913				10/21/07 15:59		328		400		913

		10		21		18		10/21/07 16:59		319		- 0		50		5		113		256		- 0		17		- 0		143		903				10/21/07 16:59		336		399		903

		10		21		19		10/21/07 17:59		331		- 0		54		4		106		248		- 0		17		1		145		908				10/21/07 17:59		348		393		908

		10		21		20		10/21/07 18:59		316		- 0		53		4		103		242		- 0		16		6		145		886				10/21/07 18:59		332		387		886

		10		21		21		10/21/07 19:59		327		- 0		51		4		103		250		- 0		16		6		144		902				10/21/07 19:59		343		394		902

		10		21		22		10/21/07 20:59		349		- 0		43		4		99		251		- 0		17		6		145		914				10/21/07 20:59		366		396		914

		10		21		23		10/21/07 21:59		416		- 0		42		3		108		272		- 0		15		6		149		1,011				10/21/07 21:59		431		421		1,011

		10		21		24		10/21/07 22:59		512		- 0		45		3		120		294		- 0		12		6		154		1,148				10/21/07 22:59		524		448		1,148

		10		22		1		10/21/07 23:59		284		- 0		62		3		161		256		- 0		11		6		146		930				10/21/07 23:59		295		402		930

		10		22		2		10/22/07 0:59		270		- 0		62		3		159		256		- 0		14		6		147		916				10/22/07 0:59		284		403		916

		10		22		3		10/22/07 1:59		305		- 0		65		3		173		268		- 0		10		6		148		977				10/22/07 1:59		315		416		977

		10		22		4		10/22/07 2:59		314		- 0		63		3		178		271		- 0		12		6		146		993				10/22/07 2:59		326		417		993

		10		22		5		10/22/07 3:59		285		- 0		61		3		164		265		- 0		10		6		145		939				10/22/07 3:59		295		410		939

		10		22		6		10/22/07 4:59		287		- 0		59		3		153		252		- 0		12		6		144		915				10/22/07 4:59		299		396		915

		10		22		7		10/22/07 5:59		282		- 0		62		3		145		249		- 0		17		6		144		908				10/22/07 5:59		299		393		908

		10		22		8		10/22/07 6:59		265		- 0		59		4		133		239		- 0		18		6		145		870				10/22/07 6:59		283		384		870

		10		22		9		10/22/07 7:59		258		- 0		64		4		136		240		- 0		18		3		144		867				10/22/07 7:59		276		384		867

		10		22		10		10/22/07 8:59		305		- 0		72		4		155		254		- 0		15		- 0		147		953				10/22/07 8:59		320		401		953

		10		22		11		10/22/07 9:59		305		- 0		73		5		158		254		- 0		17		- 0		147		959				10/22/07 9:59		322		401		959

		10		22		12		10/22/07 10:59		293		- 0		70		4		149		252		- 0		14		- 0		144		926				10/22/07 10:59		307		396		926

		10		22		13		10/22/07 11:59		328		- 0		71		4		160		254		- 0		11		- 0		148		976				10/22/07 11:59		339		402		976

		10		22		14		10/22/07 12:59		256		- 0		69		4		152		249		- 0		12		- 0		145		886				10/22/07 12:59		268		394		886

		10		22		15		10/22/07 13:59		259		- 0		67		4		150		252		- 0		12		- 0		144		888				10/22/07 13:59		271		396		888

		10		22		16		10/22/07 14:59		262		- 0		67		4		149		252		- 0		11		- 0		140		886				10/22/07 14:59		273		392		886

		10		22		17		10/22/07 15:59		315		- 0		68		3		147		248		- 0		14		- 0		143		938				10/22/07 15:59		329		391		938

		10		22		18		10/22/07 16:59		302		- 0		62		3		135		244		- 0		15		- 0		144		905				10/22/07 16:59		317		388		905

		10		22		19		10/22/07 17:59		329		- 0		67		3		147		250		- 0		17		1		147		961				10/22/07 17:59		346		397		961

		10		22		20		10/22/07 18:59		323		- 0		68		3		146		254		- 0		16		6		147		963				10/22/07 18:59		339		401		963

		10		22		21		10/22/07 19:59		306		- 0		64		3		142		245		- 0		17		6		145		929				10/22/07 19:59		323		390		929

		10		22		22		10/22/07 20:59		280		- 0		64		3		141		242		- 0		15		6		145		897				10/22/07 20:59		295		387		897

		10		22		23		10/22/07 21:59		271		- 0		64		3		139		246		- 0		12		6		144		886				10/22/07 21:59		283		390		886

		10		22		24		10/22/07 22:59		278		- 0		63		3		148		247		- 0		14		6		144		904				10/22/07 22:59		292		391		904

		10		23		1		10/22/07 23:59		251		- 0		71		3		167		254		- 0		13		6		145		911				10/22/07 23:59		264		399		911

		10		23		2		10/23/07 0:59		269		- 0		73		3		185		262		- 0		9		6		146		954				10/23/07 0:59		278		408		954

		10		23		3		10/23/07 1:59		292		- 0		75		3		198		268		- 0		9		6		146		997				10/23/07 1:59		301		414		997

		10		23		4		10/23/07 2:59		267		- 0		70		3		176		259		- 0		10		6		146		937				10/23/07 2:59		277		405		937

		10		23		5		10/23/07 3:59		260		- 0		68		3		174		256		- 0		10		6		143		920				10/23/07 3:59		270		399		920

		10		23		6		10/23/07 4:59		258		- 0		68		3		168		252		- 0		12		6		144		912				10/23/07 4:59		270		396		912

		10		23		7		10/23/07 5:59		252		- 0		67		3		157		243		- 0		19		6		144		891				10/23/07 5:59		271		387		891

		10		23		8		10/23/07 6:59		262		- 0		69		3		163		250		- 0		17		6		144		913				10/23/07 6:59		279		394		913

		10		23		9		10/23/07 7:59		269		- 0		68		3		160		245		- 0		18		3		144		911				10/23/07 7:59		287		389		911

		10		23		10		10/23/07 8:59		263		- 0		68		3		152		244		- 0		17		- 0		146		893				10/23/07 8:59		280		390		893

		10		23		11		10/23/07 9:59		295		- 0		71		3		165		253		- 0		18		- 0		147		954				10/23/07 9:59		313		400		954

		10		23		12		10/23/07 10:59		292		- 0		73		3		167		250		- 0		14		- 0		145		943				10/23/07 10:59		306		395		943

		10		23		13		10/23/07 11:59		297		- 0		73		3		165		249		- 0		15		- 0		146		948				10/23/07 11:59		312		395		948

		10		23		14		10/23/07 12:59		271		- 0		72		3		166		250		- 0		17		- 0		144		924				10/23/07 12:59		288		394		924

		10		23		15		10/23/07 13:59		256		- 0		72		3		167		252		- 0		13		- 0		143		905				10/23/07 13:59		269		395		905

		10		23		16		10/23/07 14:59		260		- 0		72		3		162		250		- 0		16		- 0		142		905				10/23/07 14:59		276		392		905

		10		23		17		10/23/07 15:59		304		- 0		72		3		164		253		- 0		16		- 0		143		955				10/23/07 15:59		320		396		955

		10		23		18		10/23/07 16:59		249		- 0		68		3		138		239		- 0		21		- 0		146		865				10/23/07 16:59		270		385		865

		10		23		19		10/23/07 17:59		264		- 0		70		3		144		240		- 0		17		1		145		885				10/23/07 17:59		281		385		885

		10		23		20		10/23/07 18:59		300		- 0		74		3		164		250		- 0		16		6		145		959				10/23/07 18:59		316		395		959

		10		23		21		10/23/07 19:59		275		- 0		72		3		160		248		- 0		16		6		143		922				10/23/07 19:59		291		391		922

		10		23		22		10/23/07 20:59		265		- 0		70		3		161		247		- 0		16		6		145		913				10/23/07 20:59		281		392		913

		10		23		23		10/23/07 21:59		250		- 0		68		2		161		246		- 0		12		6		144		890				10/23/07 21:59		262		390		890

		10		23		24		10/23/07 22:59		261		- 0		71		2		187		255		- 0		10		6		142		934				10/23/07 22:59		271		397		934

		10		24		1		10/23/07 23:59		386		- 0		64		2		183		275		- 0		10		6		147		1,075				10/23/07 23:59		396		422		1,075

		10		24		2		10/24/07 0:59		423		- 0		70		3		212		300		- 0		9		6		152		1,174				10/24/07 0:59		432		452		1,174

		10		24		3		10/24/07 1:59		439		- 0		69		3		211		295		- 0		10		6		152		1,183				10/24/07 1:59		449		447		1,183

		10		24		4		10/24/07 2:59		430		- 0		69		3		214		292		- 0		13		6		151		1,177				10/24/07 2:59		443		443		1,177

		10		24		5		10/24/07 3:59		439		- 0		69		3		213		288		- 0		10		6		152		1,180				10/24/07 3:59		449		440		1,180

		10		24		6		10/24/07 4:59		287		- 0		59		3		157		248		- 0		15		6		142		915				10/24/07 4:59		302		390		915

		10		24		7		10/24/07 5:59		289		- 0		63		9		156		245		- 0		17		6		141		924				10/24/07 5:59		306		386		924

		10		24		8		10/24/07 6:59		257		- 0		73		12		157		242		- 0		20		6		149		917				10/24/07 6:59		277		391		917

		10		24		9		10/24/07 7:59		231		- 0		79		15		164		228		- 0		16		3		143		878				10/24/07 7:59		247		371		878

		10		24		10		10/24/07 8:59		252		- 0		86		14		178		235		- 0		15		- 0		142		922				10/24/07 8:59		267		377		922

		10		24		11		10/24/07 9:59		221		- 0		84		16		165		224		- 0		16		- 0		143		870				10/24/07 9:59		237		367		870

		10		24		12		10/24/07 10:59		271		- 0		91		14		190		242		- 0		14		- 0		144		965				10/24/07 10:59		285		386		965

		10		24		13		10/24/07 11:59		264		- 0		87		10		187		243		- 0		14		- 0		146		952				10/24/07 11:59		278		389		952

		10		24		14		10/24/07 12:59		238		- 0		88		13		188		242		- 0		11		- 0		145		926				10/24/07 12:59		249		387		926

		10		24		15		10/24/07 13:59		241		- 0		87		12		184		242		- 0		12		- 0		145		923				10/24/07 13:59		253		387		923

		10		24		16		10/24/07 14:59		261		- 0		83		10		183		245		- 0		15		- 0		145		943				10/24/07 14:59		276		390		943

		10		24		17		10/24/07 15:59		249		- 0		77		7		156		236		- 0		18		- 0		145		889				10/24/07 15:59		267		381		889

		10		24		18		10/24/07 16:59		252		- 0		70		5		148		242		- 0		19		- 0		147		883				10/24/07 16:59		271		389		883

		10		24		19		10/24/07 17:59		273		- 0		68		5		149		242		- 0		19		1		148		906				10/24/07 17:59		292		390		906

		10		24		20		10/24/07 18:59		264		- 0		66		5		148		238		- 0		15		6		146		889				10/24/07 18:59		279		384		889

		10		24		21		10/24/07 19:59		293		- 0		66		5		155		240		- 0		18		6		146		930				10/24/07 19:59		311		386		930

		10		24		22		10/24/07 20:59		277		- 0		63		5		154		243		- 0		17		6		145		909				10/24/07 20:59		294		388		909

		10		24		23		10/24/07 21:59		275		- 0		61		4		156		244		- 0		13		6		144		903				10/24/07 21:59		288		388		903

		10		24		24		10/24/07 22:59		279		- 0		59		4		166		249		- 0		11		6		144		918				10/24/07 22:59		290		393		918

		10		25		1		10/24/07 23:59		413		- 0		64		4		206		296		- 0		11		6		152		1,152				10/24/07 23:59		424		448		1,152

		10		25		2		10/25/07 0:59		427		- 0		66		4		214		308		- 0		11		6		153		1,188				10/25/07 0:59		438		461		1,188

		10		25		3		10/25/07 1:59		428		- 0		65		3		210		308		- 0		12		6		153		1,186				10/25/07 1:59		440		461		1,186

		10		25		4		10/25/07 2:59		424		- 0		65		3		204		305		- 0		12		6		153		1,172				10/25/07 2:59		436		458		1,172

		10		25		5		10/25/07 3:59		368		- 0		60		3		180		286		- 0		14		6		150		1,067				10/25/07 3:59		382		436		1,067

		10		25		6		10/25/07 4:59		292		- 0		56		3		141		255		- 0		12		6		145		910				10/25/07 4:59		304		400		910

		10		25		7		10/25/07 5:59		292		- 0		60		8		146		253		- 0		25		6		147		937				10/25/07 5:59		317		400		937

		10		25		8		10/25/07 6:59		241		- 0		70		11		145		240		- 0		19		6		147		878				10/25/07 6:59		260		387		878

		10		25		9		10/25/07 7:59		239		- 0		77		13		155		234		- 0		19		3		145		884				10/25/07 7:59		258		379		884

		10		25		10		10/25/07 8:59		232		- 0		83		12		157		233		- 0		14		- 0		146		877				10/25/07 8:59		246		379		877

		10		25		11		10/25/07 9:59		223		- 0		85		13		157		233		- 0		17		- 0		145		873				10/25/07 9:59		240		378		873

		10		25		12		10/25/07 10:59		271		- 0		86		11		176		240		- 0		14		- 0		145		944				10/25/07 10:59		285		385		944

		10		25		13		10/25/07 11:59		274		- 0		86		11		179		251		- 0		16		- 0		147		965				10/25/07 11:59		290		398		965

		10		25		14		10/25/07 12:59		271		- 0		88		12		183		253		- 0		14		- 0		147		968				10/25/07 12:59		285		400		968

		10		25		15		10/25/07 13:59		261		- 0		86		11		176		247		- 0		13		- 0		147		941				10/25/07 13:59		274		394		941

		10		25		16		10/25/07 14:59		251		- 0		79		11		158		242		- 0		13		- 0		147		900				10/25/07 14:59		264		389		900

		10		25		17		10/25/07 15:59		243		- 0		73		8		144		245		- 0		18		- 0		147		877				10/25/07 15:59		261		392		877

		10		25		18		10/25/07 16:59		304		- 0		71		6		149		255		- 0		24		- 0		150		960				10/25/07 16:59		328		405		960

		10		25		19		10/25/07 17:59		267		- 0		65		6		137		246		- 0		21		1		148		890				10/25/07 17:59		288		394		890

		10		25		20		10/25/07 18:59		263		- 0		64		6		135		242		- 0		18		6		146		880				10/25/07 18:59		281		388		880

		10		25		21		10/25/07 19:59		269		- 0		62		5		136		243		- 0		14		6		146		883				10/25/07 19:59		283		389		883

		10		25		22		10/25/07 20:59		315		- 0		61		5		147		249		- 0		16		6		147		946				10/25/07 20:59		331		396		946

		10		25		23		10/25/07 21:59		265		- 0		55		5		139		248		- 0		12		6		145		875				10/25/07 21:59		277		393		875

		10		25		24		10/25/07 22:59		285		- 0		55		4		144		249		- 0		10		6		145		898				10/25/07 22:59		295		394		898

		10		26		1		10/25/07 23:59		352		- 0		58		4		169		277		- 0		10		6		148		1,024				10/25/07 23:59		362		425		1,024

		10		26		2		10/26/07 0:59		328		- 0		55		4		154		274		- 0		10		6		146		978				10/26/07 0:59		338		420		978

		10		26		3		10/26/07 1:59		302		- 0		54		4		142		265		- 0		11		6		145		928				10/26/07 1:59		313		410		928

		10		26		4		10/26/07 2:59		309		- 0		53		4		139		255		- 0		10		6		144		920				10/26/07 2:59		319		399		920

		10		26		5		10/26/07 3:59		309		- 0		54		3		137		254		- 0		14		6		145		922				10/26/07 3:59		323		399		922

		10		26		6		10/26/07 4:59		301		- 0		54		3		131		246		- 0		13		6		144		900				10/26/07 4:59		314		390		900

		10		26		7		10/26/07 5:59		267		- 0		59		8		129		246		- 0		22		6		146		883				10/26/07 5:59		289		392		883

		10		26		8		10/26/07 6:59		307		- 0		71		12		151		257		- 0		17		6		148		970				10/26/07 6:59		324		405		970

		10		26		9		10/26/07 7:59		251		- 0		78		15		152		247		- 0		15		3		142		903				10/26/07 7:59		266		389		903

		10		26		10		10/26/07 8:59		233		- 0		82		14		155		242		- 0		16		- 0		145		887				10/26/07 8:59		249		387		887

		10		26		11		10/26/07 9:59		227		- 0		80		15		153		245		- 0		15		- 0		146		881				10/26/07 9:59		242		391		881

		10		26		12		10/26/07 10:59		238		- 0		82		14		158		249		- 0		15		- 0		144		900				10/26/07 10:59		253		393		900

		10		26		13		10/26/07 11:59		286		- 0		86		12		175		248		- 0		11		- 0		147		965				10/26/07 11:59		297		395		965

		10		26		14		10/26/07 12:59		258		- 0		85		13		174		246		- 0		12		- 0		146		935				10/26/07 12:59		270		392		935

		10		26		15		10/26/07 13:59		264		- 0		85		13		171		244		- 0		16		- 0		146		938				10/26/07 13:59		280		390		938

		10		26		16		10/26/07 14:59		285		- 0		82		11		170		248		- 0		16		- 0		147		960				10/26/07 14:59		301		395		960

		10		26		17		10/26/07 15:59		243		- 0		74		8		141		237		- 0		17		- 0		146		865				10/26/07 15:59		260		383		865

		10		26		18		10/26/07 16:59		262		- 0		69		5		138		240		- 0		22		- 0		146		882				10/26/07 16:59		284		386		882

		10		26		19		10/26/07 17:59		298		- 0		69		5		143		248		- 0		21		1		149		935				10/26/07 17:59		319		397		935

		10		26		20		10/26/07 18:59		260		- 0		64		5		134		242		- 0		17		6		145		873				10/26/07 18:59		277		387		873

		10		26		21		10/26/07 19:59		317		- 0		64		5		152		258		- 0		17		6		147		965				10/26/07 19:59		334		405		965

		10		26		22		10/26/07 20:59		332		- 0		61		5		148		255		- 0		17		6		147		971				10/26/07 20:59		349		402		971

		10		26		23		10/26/07 21:59		271		- 0		56		5		135		249		- 0		14		6		145		880				10/26/07 21:59		285		394		880

		10		26		24		10/26/07 22:59		286		- 0		54		4		142		260		- 0		11		6		145		908				10/26/07 22:59		297		405		908

		10		27		1		10/26/07 23:59		496		- 0		49		4		147		295		- 0		11		6		154		1,163				10/26/07 23:59		507		449		1,163

		10		27		2		10/27/07 0:59		518		- 0		47		4		145		294		- 0		12		6		154		1,179				10/27/07 0:59		530		448		1,179

		10		27		3		10/27/07 1:59		492		- 0		49		4		140		293		- 0		11		6		153		1,147				10/27/07 1:59		503		446		1,147

		10		27		4		10/27/07 2:59		513		- 0		48		4		140		295		- 0		12		6		153		1,172				10/27/07 2:59		525		448		1,172

		10		27		5		10/27/07 3:59		495		- 0		46		3		129		291		- 0		17		6		151		1,137				10/27/07 3:59		512		442		1,137

		10		27		6		10/27/07 4:59		365		- 0		41		4		104		248		- 0		14		6		145		927				10/27/07 4:59		379		393		927

		10		27		7		10/27/07 5:59		326		- 0		47		8		108		242		- 0		20		6		145		903				10/27/07 5:59		346		387		903

		10		27		8		10/27/07 6:59		297		- 0		58		12		117		235		- 0		21		3		144		888				10/27/07 6:59		318		379		888

		10		27		9		10/27/07 7:59		281		- 0		66		15		123		233		- 0		19		- 0		147		883				10/27/07 7:59		300		380		883

		10		27		10		10/27/07 8:59		326		- 0		75		15		143		244		- 0		18		- 0		148		969				10/27/07 8:59		344		392		969

		10		27		11		10/27/07 9:59		292		- 0		73		15		142		238		- 0		14		- 0		144		918				10/27/07 9:59		306		382		918

		10		27		12		10/27/07 10:59		295		- 0		73		14		139		243		- 0		14		- 0		145		923				10/27/07 10:59		309		388		923

		10		27		13		10/27/07 11:59		277		- 0		71		12		137		237		- 0		14		- 0		145		893				10/27/07 11:59		291		382		893

		10		27		14		10/27/07 12:59		267		- 0		72		14		135		236		- 0		11		- 0		145		881				10/27/07 12:59		278		381		881

		10		27		15		10/27/07 13:59		277		- 0		72		14		138		244		- 0		11		- 0		142		899				10/27/07 13:59		288		386		899

		10		27		16		10/27/07 14:59		289		- 0		69		11		129		244		- 0		16		- 0		146		905				10/27/07 14:59		305		390		905

		10		27		17		10/27/07 15:59		330		- 0		66		8		127		250		- 0		17		- 0		147		946				10/27/07 15:59		347		397		946

		10		27		18		10/27/07 16:59		357		- 0		64		6		125		251		- 0		18		1		148		970				10/27/07 16:59		375		399		970

		10		27		19		10/27/07 17:59		316		- 0		60		5		113		243		- 0		19		6		147		909				10/27/07 17:59		335		390		909

		10		27		20		10/27/07 18:59		353		- 0		61		6		118		247		- 0		16		6		147		954				10/27/07 18:59		369		394		954

		10		27		21		10/27/07 19:59		321		- 0		56		5		111		240		- 0		14		6		145		898				10/27/07 19:59		335		385		898

		10		27		22		10/27/07 20:59		333		- 0		48		5		109		242		- 0		17		6		144		904				10/27/07 20:59		350		386		904

		10		27		23		10/27/07 21:59		343		- 0		45		5		108		248		- 0		11		6		146		911				10/27/07 21:59		354		394		911

		10		27		24		10/27/07 22:59		473		- 0		47		4		136		280		- 0		13		6		151		1,110				10/27/07 22:59		486		431		1,110

		10		28		1		10/27/07 23:59		504		- 0		47		5		139		283		- 0		11		6		153		1,147				10/27/07 23:59		515		436		1,147

		10		28		2		10/28/07 0:59		411		- 0		43		4		113		262		- 0		11		6		148		998				10/28/07 0:59		422		410		998

		10		28		3		10/28/07 1:59		395		- 0		40		4		104		254		- 0		14		6		147		965				10/28/07 1:59		409		401		965

		10		28		4		10/28/07 2:59		475		- 0		43		3		122		271		- 0		11		6		149		1,081				10/28/07 2:59		486		420		1,081

		10		28		5		10/28/07 3:59		367		- 0		39		3		99		244		- 0		12		6		146		916				10/28/07 3:59		379		390		916

		10		28		6		10/28/07 4:59		351		- 0		40		3		100		243		- 0		16		6		146		906				10/28/07 4:59		367		389		906

		10		28		7		10/28/07 5:59		304		- 0		46		8		100		234		- 0		21		6		147		865				10/28/07 5:59		325		381		865

		10		28		8		10/28/07 6:59		335		- 0		59		12		122		247		- 0		23		3		149		950				10/28/07 6:59		358		396		950

		10		28		9		10/28/07 7:59		291		- 0		67		15		123		243		- 0		19		- 0		147		905				10/28/07 7:59		310		390		905

		10		28		10		10/28/07 8:59		276		- 0		70		14		124		235		- 0		18		- 0		146		884				10/28/07 8:59		294		381		884

		10		28		11		10/28/07 9:59		274		- 0		70		14		125		236		- 0		17		- 0		144		881				10/28/07 9:59		291		380		881

		10		28		12		10/28/07 10:59		334		- 0		73		13		142		248		- 0		17		- 0		148		976				10/28/07 10:59		351		396		976

		10		28		13		10/28/07 11:59		298		- 0		70		12		132		247		- 0		16		- 0		146		921				10/28/07 11:59		314		393		921

		10		28		14		10/28/07 12:59		278		- 0		69		14		133		245		- 0		15		- 0		143		897				10/28/07 12:59		293		388		897

		10		28		15		10/28/07 13:59		295		- 0		68		11		128		241		- 0		15		- 0		147		905				10/28/07 13:59		310		388		905

		10		28		16		10/28/07 14:59		319		- 0		65		9		127		247		- 0		18		- 0		147		933				10/28/07 14:59		337		394		933

		10		28		17		10/28/07 15:59		321		- 0		60		7		117		243		- 0		17		- 0		147		913				10/28/07 15:59		338		390		913

		10		28		18		10/28/07 16:59		297		- 0		55		5		101		242		- 0		21		1		148		872				10/28/07 16:59		318		390		872

		10		28		19		10/28/07 17:59		340		- 0		58		5		109		246		- 0		21		6		148		932				10/28/07 17:59		361		394		932

		10		28		20		10/28/07 18:59		356		- 0		57		5		111		245		- 0		22		6		147		950				10/28/07 18:59		378		392		950

		10		28		21		10/28/07 19:59		340		- 0		52		5		103		242		- 0		17		6		146		912				10/28/07 19:59		357		388		912

		10		28		22		10/28/07 20:59		347		- 0		47		5		96		239		- 0		17		6		147		905				10/28/07 20:59		364		386		905

		10		28		23		10/28/07 21:59		354		- 0		43		4		94		240		- 0		14		6		146		902				10/28/07 21:59		368		386		902

		10		28		24		10/28/07 22:59		421		- 0		44		4		102		259		- 0		15		6		148		999				10/28/07 22:59		436		407		999

		10		29		1		10/28/07 23:59		281		- 0		62		3		153		254		- 0		11		6		145		915				10/28/07 23:59		292		399		915

		10		29		2		10/29/07 0:59		281		- 0		61		4		152		249		- 0		12		6		145		909				10/29/07 0:59		293		394		909

		10		29		3		10/29/07 1:59		277		- 0		62		3		156		248		- 0		12		6		145		909				10/29/07 1:59		289		393		909

		10		29		4		10/29/07 2:59		278		- 0		59		3		150		251		- 0		15		6		145		907				10/29/07 2:59		293		396		907

		10		29		5		10/29/07 3:59		287		- 0		60		3		147		242		- 0		14		6		145		904				10/29/07 3:59		301		387		904

		10		29		6		10/29/07 4:59		299		- 0		61		3		144		244		- 0		16		6		144		917				10/29/07 4:59		315		388		917

		10		29		7		10/29/07 5:59		333		- 0		64		4		157		256		- 0		18		6		145		982				10/29/07 5:59		351		401		982

		10		29		8		10/29/07 6:59		260		- 0		61		4		132		235		- 0		25		4		145		867				10/29/07 6:59		285		380		867

		10		29		9		10/29/07 7:59		315		- 0		68		5		146		247		- 0		19		- 0		147		948				10/29/07 7:59		334		394		948

		10		29		10		10/29/07 8:59		257		- 0		68		4		137		243		- 0		18		- 0		146		874				10/29/07 8:59		275		389		874

		10		29		11		10/29/07 9:59		262		- 0		70		4		138		243		- 0		18		- 0		141		876				10/29/07 9:59		280		384		876

		10		29		12		10/29/07 10:59		275		- 0		71		4		144		243		- 0		14		- 0		144		895				10/29/07 10:59		289		387		895

		10		29		13		10/29/07 11:59		318		- 0		72		4		160		252		- 0		12		- 0		148		965				10/29/07 11:59		330		400		965

		10		29		14		10/29/07 12:59		277		- 0		70		3		152		246		- 0		13		- 0		146		907				10/29/07 12:59		290		392		907

		10		29		15		10/29/07 13:59		283		- 0		69		4		155		244		- 0		12		- 0		146		913				10/29/07 13:59		295		390		913

		10		29		16		10/29/07 14:59		269		- 0		70		3		151		244		- 0		13		- 0		146		896				10/29/07 14:59		282		390		896

		10		29		17		10/29/07 15:59		306		- 0		68		3		150		247		- 0		13		- 0		147		935				10/29/07 15:59		319		394		935

		10		29		18		10/29/07 16:59		287		- 0		64		3		133		237		- 0		14		1		147		885				10/29/07 16:59		301		384		885

		10		29		19		10/29/07 17:59		272		- 0		65		4		127		239		- 0		19		6		148		880				10/29/07 17:59		291		387		880

		10		29		20		10/29/07 18:59		283		- 0		67		4		133		242		- 0		15		6		146		896				10/29/07 18:59		298		388		896

		10		29		21		10/29/07 19:59		316		- 0		67		4		142		246		- 0		16		6		147		944				10/29/07 19:59		332		393		944

		10		29		22		10/29/07 20:59		317		- 0		67		4		144		243		- 0		18		6		147		946				10/29/07 20:59		335		390		946

		10		29		23		10/29/07 21:59		290		- 0		66		4		142		246		- 0		16		6		146		916				10/29/07 21:59		306		392		916

		10		29		24		10/29/07 22:59		276		- 0		64		4		145		245		- 0		13		6		146		899				10/29/07 22:59		289		391		899

		10		30		1		10/29/07 23:59		249		- 0		71		3		170		254		- 0		14		6		145		912				10/29/07 23:59		263		399		912

		10		30		2		10/30/07 0:59		261		- 0		71		3		172		248		- 0		9		6		145		915				10/30/07 0:59		270		393		915

		10		30		3		10/30/07 1:59		363		- 0		78		3		218		246		- 0		11		6		149		1,075				10/30/07 1:59		374		395		1,075

		10		30		4		10/30/07 2:59		258		- 0		70		3		174		248		- 0		10		6		145		915				10/30/07 2:59		268		393		915

		10		30		5		10/30/07 3:59		259		- 0		68		3		162		250		- 0		12		6		145		904				10/30/07 3:59		271		395		904

		10		30		6		10/30/07 4:59		273		- 0		67		3		156		246		- 0		15		6		145		912				10/30/07 4:59		288		391		912

		10		30		7		10/30/07 5:59		268		- 0		65		3		154		248		- 0		17		4		145		904				10/30/07 5:59		285		393		904

		10		30		8		10/30/07 6:59		295		- 0		65		3		158		244		- 0		16		- 0		145		926				10/30/07 6:59		311		389		926

		10		30		9		10/30/07 7:59		305		- 0		69		3		163		246		- 0		16		- 0		147		949				10/30/07 7:59		321		393		949

		10		30		10		10/30/07 8:59		296		- 0		71		3		165		246		- 0		12		- 0		146		939				10/30/07 8:59		308		392		939

		10		30		11		10/30/07 9:59		289		- 0		72		3		164		239		- 0		12		- 0		146		924				10/30/07 9:59		301		385		924

		10		30		12		10/30/07 10:59		265		- 0		72		3		163		242		- 0		15		- 0		145		905				10/30/07 10:59		280		387		905

		10		30		13		10/30/07 11:59		268		- 0		72		3		168		245		- 0		14		- 0		146		916				10/30/07 11:59		282		391		916

		10		30		14		10/30/07 12:59		250		- 0		73		3		175		244		- 0		12		- 0		145		902				10/30/07 12:59		262		389		902

		10		30		15		10/30/07 13:59		249		- 0		73		3		177		243		- 0		12		- 0		145		903				10/30/07 13:59		261		388		903

		10		30		16		10/30/07 14:59		235		- 0		73		3		164		241		- 0		14		- 0		145		875				10/30/07 14:59		249		386		875

		10		30		17		10/30/07 15:59		250		- 0		75		3		147		238		- 0		19		2		147		881				10/30/07 15:59		269		385		881

		10		30		18		10/30/07 16:59		272		- 0		73		3		146		240		- 0		16		6		148		905				10/30/07 16:59		288		388		905

		10		30		19		10/30/07 17:59		241		- 0		71		3		138		234		- 0		15		6		146		855				10/30/07 17:59		256		380		855

		10		30		20		10/30/07 18:59		261		- 0		73		3		160		246		- 0		15		6		145		910				10/30/07 18:59		276		391		910

		10		30		21		10/30/07 19:59		258		- 0		73		3		159		244		- 0		15		6		144		902				10/30/07 19:59		273		388		902

		10		30		22		10/30/07 20:59		242		- 0		69		3		160		241		- 0		13		6		144		878				10/30/07 20:59		255		385		878

		10		30		23		10/30/07 21:59		254		- 0		71		3		176		247		- 0		10		6		145		913				10/30/07 21:59		264		392		913

		10		30		24		10/30/07 22:59		239		- 0		71		3		185		253		- 0		9		6		145		912				10/30/07 22:59		248		398		912

		10		31		1		10/30/07 23:59		303		- 0		64		3		182		270		- 0		9		6		150		987				10/30/07 23:59		312		420		987

		10		31		2		10/31/07 0:59		392		- 0		68		3		208		288		- 0		11		6		154		1,130				10/31/07 0:59		403		442		1,130

		10		31		3		10/31/07 1:59		384		- 0		69		3		209		292		- 0		12		6		154		1,130				10/31/07 1:59		396		446		1,130

		10		31		4		10/31/07 2:59		363		- 0		67		3		205		289		- 0		11		6		153		1,098				10/31/07 2:59		374		442		1,098

		10		31		5		10/31/07 3:59		417		- 0		69		4		215		293		- 0		11		6		152		1,167				10/31/07 3:59		428		445		1,167

		10		31		6		10/31/07 4:59		292		- 0		58		5		159		244		- 0		12		6		144		920				10/31/07 4:59		304		388		920

		10		31		7		10/31/07 5:59		273		- 0		60		8		154		236		- 0		16		4		144		896				10/31/07 5:59		289		380		896

		10		31		8		10/31/07 6:59		287		- 0		72		12		178		249		- 0		17		- 0		145		960				10/31/07 6:59		304		394		960

		10		31		9		10/31/07 7:59		264		- 0		81		14		187		245		- 0		13		- 0		145		948				10/31/07 7:59		277		390		948

		10		31		10		10/31/07 8:59		262		- 0		89		13		193		250		- 0		14		- 0		145		966				10/31/07 8:59		276		395		966

		10		31		11		10/31/07 9:59		241		- 0		88		14		190		250		- 0		12		- 0		146		941				10/31/07 9:59		253		396		941

		10		31		12		10/31/07 10:59		231		- 0		88		12		188		246		- 0		12		- 0		145		922				10/31/07 10:59		243		391		922

		10		31		13		10/31/07 11:59		227		- 0		86		13		191		245		- 0		12		- 0		142		916				10/31/07 11:59		239		387		916

		10		31		14		10/31/07 12:59		204		- 0		88		12		190		243		- 0		12		- 0		144		893				10/31/07 12:59		216		387		893

		10		31		15		10/31/07 13:59		218		- 0		91		13		194		249		- 0		12		- 0		146		922				10/31/07 13:59		230		395		922

		10		31		16		10/31/07 14:59		241		- 0		88		11		187		248		- 0		12		- 0		146		933				10/31/07 14:59		253		394		933

		10		31		17		10/31/07 15:59		217		- 0		80		8		156		246		- 0		14		3		144		868				10/31/07 15:59		231		390		868

		10		31		18		10/31/07 16:59		263		- 0		73		6		165		251		- 0		16		6		147		925				10/31/07 16:59		279		398		925

		10		31		19		10/31/07 17:59		284		- 0		70		6		172		253		- 0		16		6		146		953				10/31/07 17:59		300		399		953

		10		31		20		10/31/07 18:59		284		- 0		69		5		168		252		- 0		13		6		146		944				10/31/07 18:59		297		398		944

		10		31		21		10/31/07 19:59		256		- 0		66		5		157		246		- 0		17		6		144		898				10/31/07 19:59		273		390		898

		10		31		22		10/31/07 20:59		254		- 0		62		5		157		246		- 0		14		6		142		886				10/31/07 20:59		268		388		886

		10		31		23		10/31/07 21:59		274		- 0		60		4		167		250		- 0		10		6		143		914				10/31/07 21:59		284		393		914

		10		31		24		10/31/07 22:59		379		- 0		71		4		239		295		- 0		10		6		150		1,156				10/31/07 22:59		389		445		1,156

		11		1		1		10/31/07 23:59		419		- 0		66		4		218		302		- 0		9		6		149		1,174				10/31/07 23:59		428		451		1,174

		11		1		2		11/1/07 0:59		366		- 0		61		4		201		294		- 0		9		6		147		1,087				11/1/07 0:59		375		441		1,087

		11		1		3		11/1/07 1:59		392		- 0		63		3		200		292		- 0		8		6		147		1,110				11/1/07 1:59		400		439		1,110

		11		1		4		11/1/07 2:59		386		- 0		62		3		196		288		- 0		11		6		147		1,098				11/1/07 2:59		397		435		1,098

		11		1		5		11/1/07 3:59		401		- 0		63		3		202		292		- 0		9		6		150		1,126				11/1/07 3:59		410		442		1,126

		11		1		6		11/1/07 4:59		289		- 0		57		5		155		253		- 0		12		6		145		922				11/1/07 4:59		301		398		922

		11		1		7		11/1/07 5:59		279		- 0		58		7		154		242		- 0		17		4		142		904				11/1/07 5:59		296		384		904

		11		1		8		11/1/07 6:59		284		- 0		70		10		167		229		- 0		15		- 0		142		917				11/1/07 6:59		299		371		917

		11		1		9		11/1/07 7:59		263		- 0		79		12		175		223		- 0		15		- 0		140		907				11/1/07 7:59		278		363		907

		11		1		10		11/1/07 8:59		256		- 0		87		12		187		230		- 0		11		- 0		143		925				11/1/07 8:59		267		373		925

		11		1		11		11/1/07 9:59		245		- 0		86		14		182		223		- 0		12		- 0		140		902				11/1/07 9:59		257		363		902

		11		1		12		11/1/07 10:59		231		- 0		86		11		184		229		- 0		12		- 0		142		894				11/1/07 10:59		243		371		894

		11		1		13		11/1/07 11:59		226		- 0		87		11		183		239		- 0		10		- 0		142		898				11/1/07 11:59		236		381		898

		11		1		14		11/1/07 12:59		237		- 0		90		13		189		235		- 0		10		- 0		143		917				11/1/07 12:59		247		378		917

		11		1		15		11/1/07 13:59		223		- 0		87		12		182		235		- 0		11		- 0		142		892				11/1/07 13:59		234		377		892

		11		1		16		11/1/07 14:59		236		- 0		84		10		176		239		- 0		15		- 0		136		896				11/1/07 14:59		251		375		896

		11		1		17		11/1/07 15:59		274		- 0		81		7		168		243		- 0		16		3		142		934				11/1/07 15:59		290		385		934

		11		1		18		11/1/07 16:59		309		- 0		72		5		166		237		- 0		14		6		142		951				11/1/07 16:59		323		379		951

		11		1		19		11/1/07 17:59		288		- 0		66		5		156		237		- 0		17		6		142		917				11/1/07 17:59		305		379		917

		11		1		20		11/1/07 18:59		277		- 0		64		5		152		240		- 0		15		6		142		903				11/1/07 18:59		292		382		903

		11		1		21		11/1/07 19:59		275		- 0		63		4		155		241		- 0		13		6		142		901				11/1/07 19:59		288		383		901

		11		1		22		11/1/07 20:59		270		- 0		60		4		156		247		- 0		13		6		143		899				11/1/07 20:59		283		390		899

		11		1		23		11/1/07 21:59		287		- 0		57		4		159		250		- 0		12		6		145		919				11/1/07 21:59		299		395		919

		11		1		24		11/1/07 22:59		418		- 0		65		4		218		301		- 0		9		6		152		1,174				11/1/07 22:59		427		453		1,174

		11		2		1		11/1/07 23:59		433		- 0		65		4		211		297		- 0		9		6		152		1,177				11/1/07 23:59		442		449		1,177

		11		2		2		11/2/07 0:59		333		- 0		57		3		178		274		- 0		8		6		148		1,006				11/2/07 0:59		341		422		1,006

		11		2		3		11/2/07 1:59		307		- 0		56		3		165		264		- 0		9		6		146		956				11/2/07 1:59		316		410		956

		11		2		4		11/2/07 2:59		263		- 0		52		2		145		248		- 0		8		6		142		866				11/2/07 2:59		271		390		866

		11		2		5		11/2/07 3:59		443		- 0		63		3		202		299		- 0		13		6		153		1,181				11/2/07 3:59		456		452		1,181

		11		2		6		11/2/07 4:59		315		- 0		54		5		148		250		- 0		13		6		145		937				11/2/07 4:59		328		395		937

		11		2		7		11/2/07 5:59		295		- 0		53		7		141		236		- 0		17		4		142		896				11/2/07 5:59		312		378		896

		11		2		8		11/2/07 6:59		283		- 0		66		11		163		234		- 0		17		- 0		143		916				11/2/07 6:59		300		377		916

		11		2		9		11/2/07 7:59		265		- 0		75		14		169		233		- 0		14		- 0		141		911				11/2/07 7:59		279		374		911

		11		2		10		11/2/07 8:59		239		- 0		82		13		174		229		- 0		12		- 0		143		891				11/2/07 8:59		251		372		891

		11		2		11		11/2/07 9:59		248		- 0		84		12		177		231		- 0		10		- 0		143		906				11/2/07 9:59		258		374		906

		11		2		12		11/2/07 10:59		252		- 0		84		13		177		233		- 0		10		- 0		143		913				11/2/07 10:59		262		376		913

		11		2		13		11/2/07 11:59		241		- 0		85		12		185		236		- 0		11		- 0		143		913				11/2/07 11:59		252		379		913

		11		2		14		11/2/07 12:59		229		- 0		87		14		186		236		- 0		12		- 0		144		908				11/2/07 12:59		241		380		908

		11		2		15		11/2/07 13:59		226		- 0		84		13		174		236		- 0		10		- 0		143		886				11/2/07 13:59		236		379		886

		11		2		16		11/2/07 14:59		227		- 0		81		11		169		234		- 0		16		- 0		143		882				11/2/07 14:59		243		377		882

		11		2		17		11/2/07 15:59		273		- 0		80		7		157		239		- 0		22		3		143		925				11/2/07 15:59		295		382		925

		11		2		18		11/2/07 16:59		263		- 0		68		6		141		232		- 0		17		6		142		876				11/2/07 16:59		280		374		876

		11		2		19		11/2/07 17:59		267		- 0		66		6		135		228		- 0		16		6		142		866				11/2/07 17:59		283		370		866

		11		2		20		11/2/07 18:59		299		- 0		67		5		152		243		- 0		17		6		143		933				11/2/07 18:59		316		386		933

		11		2		21		11/2/07 19:59		289		- 0		63		5		148		242		- 0		15		6		141		910				11/2/07 19:59		304		383		910

		11		2		22		11/2/07 20:59		289		- 0		58		5		145		240		- 0		14		6		142		900				11/2/07 20:59		303		382		900

		11		2		23		11/2/07 21:59		293		- 0		56		5		146		244		- 0		12		6		144		906				11/2/07 21:59		305		388		906

		11		2		24		11/2/07 22:59		288		- 0		56		5		148		259		- 0		13		6		145		921				11/2/07 22:59		301		404		921

		11		3		1		11/2/07 23:59		326		- 0		44		4		114		251		- 0		10		6		144		898				11/2/07 23:59		336		395		898

		11		3		2		11/3/07 0:59		279		- 0		41		4		103		239		- 0		9		6		142		823				11/3/07 0:59		288		381		823

		11		3		3		11/3/07 1:59		292		- 0		42		4		104		239		- 0		12		6		142		841				11/3/07 1:59		304		381		841

		11		3		4		11/3/07 2:59		431		- 0		48		3		130		269		- 0		10		6		148		1,044				11/3/07 2:59		441		417		1,044

		11		3		5		11/3/07 3:59		490		- 0		50		4		141		288		- 0		18		6		151		1,147				11/3/07 3:59		508		439		1,147

		11		3		6		11/3/07 4:59		343		- 0		45		5		107		248		- 0		14		6		144		914				11/3/07 4:59		357		392		914

		11		3		7		11/3/07 5:59		330		- 0		48		9		114		242		- 0		21		4		143		911				11/3/07 5:59		351		385		911

		11		3		8		11/3/07 6:59		336		- 0		60		11		133		240		- 0		18		- 0		143		941				11/3/07 6:59		354		383		941

		11		3		9		11/3/07 7:59		331		- 0		70		15		144		239		- 0		18		- 0		143		961				11/3/07 7:59		349		382		961

		11		3		10		11/3/07 8:59		307		- 0		78		14		145		242		- 0		17		- 0		144		946				11/3/07 8:59		324		386		946

		11		3		11		11/3/07 9:59		283		- 0		77		14		146		235		- 0		17		- 0		143		914				11/3/07 9:59		300		378		914

		11		3		12		11/3/07 10:59		302		- 0		78		13		148		240		- 0		18		- 0		144		942				11/3/07 10:59		320		384		942

		11		3		13		11/3/07 11:59		277		- 0		76		13		147		239		- 0		14		- 0		143		910				11/3/07 11:59		291		382		910

		11		3		14		11/3/07 12:59		257		- 0		76		14		146		235		- 0		13		- 0		142		884				11/3/07 12:59		270		377		884

		11		3		15		11/3/07 13:59		280		- 0		80		14		153		242		- 0		15		- 0		144		927				11/3/07 13:59		295		386		927

		11		3		16		11/3/07 14:59		294		- 0		78		11		144		240		- 0		14		- 0		141		922				11/3/07 14:59		308		381		922

		11		3		17		11/3/07 15:59		273		- 0		74		7		123		233		- 0		17		3		142		871				11/3/07 15:59		290		375		871

		11		3		18		11/3/07 16:59		287		- 0		66		5		119		235		- 0		16		6		142		876				11/3/07 16:59		303		377		876

		11		3		19		11/3/07 17:59		348		- 0		68		5		132		244		- 0		17		6		143		963				11/3/07 17:59		365		387		963

		11		3		20		11/3/07 18:59		322		- 0		64		5		125		242		- 0		16		6		141		921				11/3/07 18:59		338		383		921

		11		3		21		11/3/07 19:59		326		- 0		59		5		120		242		- 0		12		6		141		911				11/3/07 19:59		338		383		911

		11		3		22		11/3/07 20:59		333		- 0		49		5		116		239		- 0		14		6		143		905				11/3/07 20:59		347		382		905

		11		3		23		11/3/07 21:59		331		- 0		48		4		119		248		- 0		13		6		146		915				11/3/07 21:59		344		394		915

		11		3		24		11/3/07 22:59		505		- 0		54		4		163		300		- 0		10		6		150		1,192				11/3/07 22:59		515		450		1,192

		11		4		1		11/3/07 23:59		390		- 0		50		4		130		264		- 0		10		6		145		999				11/3/07 23:59		400		409		999

		11		4		2		11/4/07 0:59		438		- 0		51		4		139		276		- 0		12		6		147		1,073				11/4/07 0:59		450		423		1,073

		11		4		3		11/4/07 1:59		342		- 0		46		4		109		250		- 0		13		6		145		916				11/4/07 1:59		355		395		916

		11		4		4		11/4/07 2:59		345		- 0		47		3		110		245		- 0		12		6		145		913				11/4/07 2:59		357		390		913

		11		4		5		11/4/07 3:59		340		- 0		48		3		108		242		- 0		13		6		145		905				11/4/07 3:59		353		387		905

		11		4		6		11/4/07 4:59		336		- 0		49		5		107		240		- 0		16		6		143		901				11/4/07 4:59		352		383		901

		11		4		7		11/4/07 5:59		350		- 0		51		7		116		243		- 0		20		4		143		935				11/4/07 5:59		370		386		935

		11		4		8		11/4/07 6:59		285		- 0		60		11		119		235		- 0		24		- 0		142		875				11/4/07 6:59		309		377		875

		11		4		9		11/4/07 7:59		274		- 0		70		14		126		229		- 0		19		- 0		142		876				11/4/07 7:59		293		371		876

		11		4		10		11/4/07 8:59		273		- 0		75		13		128		226		- 0		19		- 0		141		875				11/4/07 8:59		292		367		875

		11		4		11		11/4/07 9:59		275		- 0		75		13		129		219		- 0		17		- 0		138		866				11/4/07 9:59		292		357		866

		11		4		12		11/4/07 10:59		280		- 0		76		11		130		224		- 0		18		- 0		142		880				11/4/07 10:59		298		366		880

		11		4		13		11/4/07 11:59		294		- 0		74		11		132		230		- 0		16		- 0		137		895				11/4/07 11:59		310		367		895

		11		4		14		11/4/07 12:59		301		- 0		77		12		139		239		- 0		17		- 0		142		927				11/4/07 12:59		318		381		927

		11		4		15		11/4/07 13:59		282		- 0		72		11		125		228		- 0		18		- 0		141		877				11/4/07 13:59		300		369		877

		11		4		16		11/4/07 14:59		295		- 0		71		9		122		232		- 0		18		- 0		139		886				11/4/07 14:59		313		371		886

		11		4		17		11/4/07 15:59		339		- 0		74		6		122		241		- 0		19		3		145		949				11/4/07 15:59		358		386		949

		11		4		18		11/4/07 16:59		359		- 0		68		5		118		240		- 0		22		6		145		963				11/4/07 16:59		381		385		963

		11		4		19		11/4/07 17:59		353		- 0		66		5		113		239		- 0		24		6		141		947				11/4/07 17:59		377		380		947

		11		4		20		11/4/07 18:59		317		- 0		62		4		105		225		- 0		21		6		141		882				11/4/07 18:59		338		366		882

		11		4		21		11/4/07 19:59		310		- 0		60		4		101		226		- 0		22		6		137		868				11/4/07 19:59		332		363		868

		11		4		22		11/4/07 20:59		373		- 0		56		4		110		238		- 0		19		6		139		946				11/4/07 20:59		392		377		946

		11		4		23		11/4/07 21:59		359		- 0		54		4		103		236		- 0		16		6		142		920				11/4/07 21:59		375		378		920

		11		4		24		11/4/07 22:59		351		- 0		49		4		98		235		- 0		15		6		144		901				11/4/07 22:59		366		379		901

		11		5		1		11/4/07 23:59		273		- 0		67		3		163		239		- 0		13		6		143		907				11/4/07 23:59		286		382		907

		11		5		2		11/5/07 0:59		274		- 0		67		3		165		240		- 0		14		6		144		913				11/5/07 0:59		288		384		913

		11		5		3		11/5/07 1:59		279		- 0		65		3		155		237		- 0		10		6		142		898				11/5/07 1:59		289		379		898

		11		5		4		11/5/07 2:59		273		- 0		65		3		158		240		- 0		13		6		143		902				11/5/07 2:59		286		383		902

		11		5		5		11/5/07 3:59		273		- 0		65		3		159		240		- 0		12		6		142		900				11/5/07 3:59		285		382		900

		11		5		6		11/5/07 4:59		288		- 0		65		3		153		234		- 0		16		6		142		906				11/5/07 4:59		304		376		906

		11		5		7		11/5/07 5:59		325		- 0		65		3		158		238		- 0		16		4		141		952				11/5/07 5:59		341		379		952

		11		5		8		11/5/07 6:59		284		- 0		63		4		143		234		- 0		22		- 0		141		890				11/5/07 6:59		306		375		890

		11		5		9		11/5/07 7:59		264		- 0		66		5		139		230		- 0		22		- 0		141		867				11/5/07 7:59		286		371		867

		11		5		10		11/5/07 8:59		275		- 0		75		5		149		230		- 0		19		- 0		141		894				11/5/07 8:59		294		371		894

		11		5		11		11/5/07 9:59		261		- 0		73		4		142		230		- 0		19		- 0		141		870				11/5/07 9:59		280		371		870

		11		5		12		11/5/07 10:59		260		- 0		75		4		146		231		- 0		17		- 0		141		874				11/5/07 10:59		277		372		874

		11		5		13		11/5/07 11:59		279		- 0		74		4		152		240		- 0		15		- 0		142		905				11/5/07 11:59		294		382		905

		11		5		14		11/5/07 12:59		267		- 0		72		4		147		236		- 0		16		- 0		142		884				11/5/07 12:59		283		378		884

		11		5		15		11/5/07 13:59		303		- 0		75		4		160		242		- 0		14		- 0		142		940				11/5/07 13:59		317		384		940

		11		5		16		11/5/07 14:59		255		- 0		74		3		139		226		- 0		16		- 0		139		853				11/5/07 14:59		271		365		853

		11		5		17		11/5/07 15:59		283		- 0		79		4		143		233		- 0		17		3		143		904				11/5/07 15:59		300		376		904

		11		5		18		11/5/07 16:59		327		- 0		74		3		144		238		- 0		19		6		143		955				11/5/07 16:59		346		381		955

		11		5		19		11/5/07 17:59		286		- 0		71		3		135		228		- 0		24		6		141		895				11/5/07 17:59		310		369		895

		11		5		20		11/5/07 18:59		265		- 0		69		3		132		228		- 0		19		6		140		863				11/5/07 18:59		284		368		863

		11		5		21		11/5/07 19:59		313		- 0		72		3		150		242		- 0		14		6		142		943				11/5/07 19:59		327		384		943

		11		5		22		11/5/07 20:59		324		- 0		73		3		154		244		- 0		18		6		143		965				11/5/07 20:59		342		387		965

		11		5		23		11/5/07 21:59		311		- 0		71		3		150		238		- 0		14		6		143		937				11/5/07 21:59		325		381		937

		11		5		24		11/5/07 22:59		272		- 0		69		3		150		240		- 0		14		6		139		894				11/5/07 22:59		286		379		894

		11		6		1		11/5/07 23:59		262		- 0		70		3		169		250		- 0		13		6		145		917				11/5/07 23:59		275		395		917

		11		6		2		11/6/07 0:59		286		- 0		73		3		187		250		- 0		12		6		146		963				11/6/07 0:59		298		396		963

		11		6		3		11/6/07 1:59		273		- 0		70		3		174		243		- 0		9		6		144		922				11/6/07 1:59		282		387		922

		11		6		4		11/6/07 2:59		287		- 0		69		3		182		252		- 0		10		6		145		954				11/6/07 2:59		297		397		954

		11		6		5		11/6/07 3:59		263		- 0		71		3		176		250		- 0		12		6		145		925				11/6/07 3:59		275		395		925

		11		6		6		11/6/07 4:59		262		- 0		68		3		166		245		- 0		10		6		144		903				11/6/07 4:59		272		389		903

		11		6		7		11/6/07 5:59		267		- 0		63		3		154		235		- 0		16		4		141		882				11/6/07 5:59		283		376		882

		11		6		8		11/6/07 6:59		293		- 0		63		3		161		240		- 0		19		- 0		142		921				11/6/07 6:59		312		382		921

		11		6		9		11/6/07 7:59		299		- 0		66		3		158		232		- 0		17		- 0		142		917				11/6/07 7:59		316		374		917

		11		6		10		11/6/07 8:59		312		- 0		69		3		162		236		- 0		15		- 0		143		940				11/6/07 8:59		327		379		940

		11		6		11		11/6/07 9:59		290		- 0		71		3		160		234		- 0		15		- 0		140		913				11/6/07 9:59		305		374		913

		11		6		12		11/6/07 10:59		327		- 0		71		3		167		242		- 0		17		- 0		144		971				11/6/07 10:59		344		386		971

		11		6		13		11/6/07 11:59		277		- 0		70		3		161		237		- 0		16		- 0		139		904				11/6/07 11:59		293		376		904

		11		6		14		11/6/07 12:59		265		- 0		72		3		166		242		- 0		17		- 0		145		909				11/6/07 12:59		282		387		909

		11		6		15		11/6/07 13:59		261		- 0		72		3		162		242		- 0		14		- 0		144		897				11/6/07 13:59		275		386		897

		11		6		16		11/6/07 14:59		297		- 0		74		3		168		246		- 0		16		- 0		145		949				11/6/07 14:59		313		391		949

		11		6		17		11/6/07 15:59		264		- 0		74		3		145		232		- 0		17		3		143		882				11/6/07 15:59		281		375		882

		11		6		18		11/6/07 16:59		294		- 0		72		3		146		233		- 0		15		6		144		914				11/6/07 16:59		309		377		914

		11		6		19		11/6/07 17:59		268		- 0		70		4		141		228		- 0		19		6		143		879				11/6/07 17:59		287		371		879

		11		6		20		11/6/07 18:59		275		- 0		71		3		149		231		- 0		19		6		144		898				11/6/07 18:59		294		375		898

		11		6		21		11/6/07 19:59		288		- 0		73		3		162		241		- 0		16		6		145		934				11/6/07 19:59		304		386		934

		11		6		22		11/6/07 20:59		275		- 0		71		3		159		240		- 0		16		6		145		916				11/6/07 20:59		291		385		916

		11		6		23		11/6/07 21:59		254		- 0		69		3		163		240		- 0		11		6		145		892				11/6/07 21:59		265		385		892

		11		6		24		11/6/07 22:59		248		- 0		70		3		175		251		- 0		10		6		145		908				11/6/07 22:59		258		396		908

		11		7		1		11/6/07 23:59		354		- 0		62		3		171		275		- 0		10		6		150		1,031				11/6/07 23:59		364		425		1,031

		11		7		2		11/7/07 0:59		336		- 0		61		3		162		264		- 0		10		6		150		992				11/7/07 0:59		346		414		992

		11		7		3		11/7/07 1:59		361		- 0		63		3		169		264		- 0		10		6		151		1,028				11/7/07 1:59		371		415		1,028

		11		7		4		11/7/07 2:59		391		- 0		65		3		182		270		- 0		9		6		152		1,078				11/7/07 2:59		400		422		1,078

		11		7		5		11/7/07 3:59		375		- 0		63		3		180		268		- 0		13		6		151		1,060				11/7/07 3:59		388		419		1,060

		11		7		6		11/7/07 4:59		297		- 0		57		4		143		239		- 0		13		6		145		903				11/7/07 4:59		310		384		903

		11		7		7		11/7/07 5:59		321		- 0		61		8		155		243		- 0		18		4		146		957				11/7/07 5:59		339		389		957

		11		7		8		11/7/07 6:59		261		- 0		66		11		151		229		- 0		18		- 0		143		880				11/7/07 6:59		279		372		880

		11		7		9		11/7/07 7:59		254		- 0		78		14		167		228		- 0		16		- 0		143		899				11/7/07 7:59		270		371		899

		11		7		10		11/7/07 8:59		226		- 0		81		13		160		229		- 0		15		- 0		144		868				11/7/07 8:59		241		373		868

		11		7		11		11/7/07 9:59		232		- 0		83		14		161		228		- 0		14		- 0		144		877				11/7/07 9:59		246		372		877

		11		7		12		11/7/07 10:59		283		- 0		88		13		187		241		- 0		17		- 0		146		975				11/7/07 10:59		300		387		975

		11		7		13		11/7/07 11:59		259		- 0		84		12		182		237		- 0		13		- 0		146		932				11/7/07 11:59		272		383		932

		11		7		14		11/7/07 12:59		243		- 0		86		14		182		233		- 0		13		- 0		145		916				11/7/07 12:59		256		378		916

		11		7		15		11/7/07 13:59		242		- 0		86		14		184		236		- 0		13		- 0		143		918				11/7/07 13:59		255		379		918

		11		7		16		11/7/07 14:59		247		- 0		82		11		177		235		- 0		16		- 0		141		908				11/7/07 14:59		263		376		908

		11		7		17		11/7/07 15:59		252		- 0		79		9		148		228		- 0		20		3		139		878				11/7/07 15:59		272		367		878

		11		7		18		11/7/07 16:59		270		- 0		69		6		144		222		- 0		20		6		142		880				11/7/07 16:59		290		364		880

		11		7		19		11/7/07 17:59		278		- 0		65		6		140		225		- 0		18		6		141		880				11/7/07 17:59		296		366		880

		11		7		20		11/7/07 18:59		319		- 0		68		6		162		240		- 0		17		6		144		962				11/7/07 18:59		336		384		962

		11		7		21		11/7/07 19:59		317		- 0		65		5		156		236		- 0		14		6		144		944				11/7/07 19:59		331		380		944

		11		7		22		11/7/07 20:59		299		- 0		61		5		151		236		- 0		17		6		143		919				11/7/07 20:59		316		379		919

		11		7		23		11/7/07 21:59		288		- 0		59		4		151		236		- 0		15		6		143		903				11/7/07 21:59		303		379		903

		11		7		24		11/7/07 22:59		281		- 0		57		4		158		243		- 0		11		6		145		907				11/7/07 22:59		292		388		907

		11		8		1		11/7/07 23:59		296		- 0		60		4		145		240		- 0		12		6		144		906				11/7/07 23:59		308		384		906

		11		8		2		11/8/07 0:59		304		- 0		59		4		142		240		- 0		11		6		143		909				11/8/07 0:59		315		383		909

		11		8		3		11/8/07 1:59		295		- 0		59		4		141		245		- 0		12		6		142		905				11/8/07 1:59		307		387		905

		11		8		4		11/8/07 2:59		305		- 0		59		4		135		241		- 0		13		6		143		904				11/8/07 2:59		318		384		904

		11		8		5		11/8/07 3:59		308		- 0		59		3		137		240		- 0		14		6		142		909				11/8/07 3:59		322		382		909

		11		8		6		11/8/07 4:59		340		- 0		61		4		139		241		- 0		18		6		143		952				11/8/07 4:59		358		384		952

		11		8		7		11/8/07 5:59		285		- 0		60		9		134		229		- 0		18		5		141		882				11/8/07 5:59		303		370		882

		11		8		8		11/8/07 6:59		269		- 0		71		11		150		230		- 0		24		1		142		897				11/8/07 6:59		293		372		897

		11		8		9		11/8/07 7:59		265		- 0		81		14		160		232		- 0		18		- 0		142		911				11/8/07 7:59		283		374		911

		11		8		10		11/8/07 8:59		239		- 0		84		13		161		230		- 0		17		- 0		139		882				11/8/07 8:59		256		369		882

		11		8		11		11/8/07 9:59		239		- 0		86		14		164		232		- 0		15		- 0		139		888				11/8/07 9:59		254		371		888

		11		8		12		11/8/07 10:59		244		- 0		86		12		167		236		- 0		14		- 0		142		902				11/8/07 10:59		258		378		902

		11		8		13		11/8/07 11:59		248		- 0		85		12		167		233		- 0		14		- 0		142		902				11/8/07 11:59		262		375		902

		11		8		14		11/8/07 12:59		262		- 0		88		14		180		240		- 0		16		- 0		142		943				11/8/07 12:59		278		382		943

		11		8		15		11/8/07 13:59		273		- 0		90		13		186		244		- 0		19		- 0		143		968				11/8/07 13:59		292		387		968

		11		8		16		11/8/07 14:59		234		- 0		83		12		157		231		- 0		16		- 0		139		872				11/8/07 14:59		250		370		872

		11		8		17		11/8/07 15:59		316		- 0		84		8		162		249		- 0		20		3		145		987				11/8/07 15:59		336		394		987

		11		8		18		11/8/07 16:59		366		- 0		77		6		162		252		- 0		22		6		145		1,036				11/8/07 16:59		388		397		1,036

		11		8		19		11/8/07 17:59		387		- 0		73		6		161		249		- 0		20		6		145		1,047				11/8/07 17:59		407		394		1,047

		11		8		20		11/8/07 18:59		308		- 0		68		6		144		240		- 0		18		6		143		933				11/8/07 18:59		326		383		933

		11		8		21		11/8/07 19:59		261		- 0		65		5		132		235		- 0		19		6		141		865				11/8/07 19:59		280		376		865

		11		8		22		11/8/07 20:59		331		- 0		65		5		154		251		- 0		17		6		144		974				11/8/07 20:59		348		395		974

		11		8		23		11/8/07 21:59		294		- 0		61		5		142		242		- 0		16		6		143		908				11/8/07 21:59		310		385		908

		11		8		24		11/8/07 22:59		287		- 0		58		4		139		243		- 0		13		6		143		892				11/8/07 22:59		300		386		892

		11		9		1		11/8/07 23:59		296		- 0		56		4		140		251		- 0		12		6		145		911				11/8/07 23:59		308		396		911

		11		9		2		11/9/07 0:59		297		- 0		56		4		140		250		- 0		12		6		145		911				11/9/07 0:59		309		395		911

		11		9		3		11/9/07 1:59		300		- 0		56		4		134		245		- 0		13		6		144		902				11/9/07 1:59		313		389		902

		11		9		4		11/9/07 2:59		308		- 0		56		4		132		247		- 0		10		6		144		906				11/9/07 2:59		318		391		906

		11		9		5		11/9/07 3:59		282		- 0		55		4		123		241		- 0		18		6		142		871				11/9/07 3:59		300		383		871

		11		9		6		11/9/07 4:59		354		- 0		59		5		138		252		- 0		16		6		144		974				11/9/07 4:59		370		396		974

		11		9		7		11/9/07 5:59		317		- 0		61		9		136		243		- 0		24		5		144		938				11/9/07 5:59		341		387		938

		11		9		8		11/9/07 6:59		318		- 0		73		12		155		236		- 0		21		1		144		959				11/9/07 6:59		339		380		959

		11		9		9		11/9/07 7:59		272		- 0		81		15		157		226		- 0		20		- 0		142		912				11/9/07 7:59		292		368		912

		11		9		10		11/9/07 8:59		289		- 0		87		14		163		231		- 0		18		- 0		143		946				11/9/07 8:59		307		374		946

		11		9		11		11/9/07 9:59		254		- 0		85		14		156		228		- 0		17		- 0		142		896				11/9/07 9:59		271		370		896

		11		9		12		11/9/07 10:59		277		- 0		86		13		157		225		- 0		18		- 0		142		917				11/9/07 10:59		295		367		917

		11		9		13		11/9/07 11:59		252		- 0		83		12		150		224		- 0		15		- 0		137		873				11/9/07 11:59		267		361		873

		11		9		14		11/9/07 12:59		247		- 0		88		13		158		221		- 0		19		- 0		139		885				11/9/07 12:59		266		360		885

		11		9		15		11/9/07 13:59		281		- 0		87		13		159		230		- 0		18		- 0		142		929				11/9/07 13:59		299		372		929

		11		9		16		11/9/07 14:59		293		- 0		86		12		159		234		- 0		18		- 0		143		944				11/9/07 14:59		311		377		944

		11		9		17		11/9/07 15:59		372		- 0		89		9		165		245		- 0		22		3		145		1,050				11/9/07 15:59		394		390		1,050

		11		9		18		11/9/07 16:59		309		- 0		75		6		139		239		- 0		25		6		144		943				11/9/07 16:59		334		383		943

		11		9		19		11/9/07 17:59		392		- 0		76		6		157		249		- 0		23		6		145		1,054				11/9/07 17:59		415		394		1,054

		11		9		20		11/9/07 18:59		387		- 0		73		6		154		253		- 0		22		6		146		1,047				11/9/07 18:59		409		399		1,047

		11		9		21		11/9/07 19:59		326		- 0		70		5		142		244		- 0		20		6		141		954				11/9/07 19:59		346		385		954

		11		9		22		11/9/07 20:59		298		- 0		62		5		130		238		- 0		17		6		143		900				11/9/07 20:59		315		381		900

		11		9		23		11/9/07 21:59		329		- 0		63		4		143		242		- 0		14		6		142		945				11/9/07 21:59		343		384		945

		11		9		24		11/9/07 22:59		317		- 0		60		4		138		244		- 0		13		6		135		917				11/9/07 22:59		330		379		917

		11		10		1		11/9/07 23:59		333		- 0		48		4		109		250		- 0		13		6		142		904				11/9/07 23:59		346		392		904

		11		10		2		11/10/07 0:59		339		- 0		47		4		108		249		- 0		12		6		145		910				11/10/07 0:59		351		394		910

		11		10		3		11/10/07 1:59		342		- 0		48		4		109		248		- 0		11		6		144		912				11/10/07 1:59		353		392		912

		11		10		4		11/10/07 2:59		344		- 0		48		4		106		245		- 0		11		6		145		909				11/10/07 2:59		355		390		909

		11		10		5		11/10/07 3:59		330		- 0		48		3		103		243		- 0		18		6		144		895				11/10/07 3:59		348		387		895

		11		10		6		11/10/07 4:59		341		- 0		48		4		102		240		- 0		17		6		142		899				11/10/07 4:59		358		382		899

		11		10		7		11/10/07 5:59		314		- 0		53		8		110		236		- 0		21		5		142		889				11/10/07 5:59		335		378		889

		11		10		8		11/10/07 6:59		315		- 0		64		12		123		234		- 0		22		1		142		913				11/10/07 6:59		337		376		913

		11		10		9		11/10/07 7:59		278		- 0		73		15		128		227		- 0		15		- 0		142		879				11/10/07 7:59		293		369		879

		11		10		10		11/10/07 8:59		274		- 0		75		14		131		229		- 0		17		- 0		141		881				11/10/07 8:59		291		370		881

		11		10		11		11/10/07 9:59		280		- 0		74		14		130		224		- 0		15		- 0		140		877				11/10/07 9:59		295		364		877

		11		10		12		11/10/07 10:59		311		- 0		78		13		149		237		- 0		17		- 0		141		947				11/10/07 10:59		328		378		947

		11		10		13		11/10/07 11:59		300		- 0		77		12		145		235		- 0		15		- 0		143		926				11/10/07 11:59		315		378		926

		11		10		14		11/10/07 12:59		285		- 0		80		13		146		233		- 0		18		- 0		143		919				11/10/07 12:59		303		376		919

		11		10		15		11/10/07 13:59		285		- 0		77		13		143		233		- 0		12		- 0		143		906				11/10/07 13:59		297		376		906

		11		10		16		11/10/07 14:59		308		- 0		78		11		144		241		- 0		15		- 0		144		941				11/10/07 14:59		323		385		941

		11		10		17		11/10/07 15:59		280		- 0		72		9		118		230		- 0		20		4		142		875				11/10/07 15:59		300		372		875

		11		10		18		11/10/07 16:59		316		- 0		67		6		116		233		- 0		20		6		143		907				11/10/07 16:59		336		376		907

		11		10		19		11/10/07 17:59		334		- 0		65		6		114		230		- 0		17		6		143		914				11/10/07 17:59		351		373		914

		11		10		20		11/10/07 18:59		300		- 0		62		6		108		229		- 0		18		6		140		870				11/10/07 18:59		318		369		870

		11		10		21		11/10/07 19:59		376		- 0		64		5		124		243		- 0		18		6		136		974				11/10/07 19:59		394		379		974

		11		10		22		11/10/07 20:59		329		- 0		53		5		113		235		- 0		16		6		143		901				11/10/07 20:59		345		378		901

		11		10		23		11/10/07 21:59		342		- 0		51		4		111		237		- 0		18		6		142		912				11/10/07 21:59		360		379		912

		11		10		24		11/10/07 22:59		338		- 0		48		4		108		241		- 0		13		6		144		902				11/10/07 22:59		351		385		902

		11		11		1		11/10/07 23:59		326		- 0		51		4		104		233		- 0		12		6		143		878				11/10/07 23:59		338		376		878

		11		11		2		11/11/07 0:59		323		- 0		50		4		100		232		- 0		14		6		143		872				11/11/07 0:59		337		375		872

		11		11		3		11/11/07 1:59		331		- 0		50		4		100		238		- 0		14		6		142		885				11/11/07 1:59		345		380		885

		11		11		4		11/11/07 2:59		347		- 0		50		4		101		238		- 0		16		6		143		904				11/11/07 2:59		363		381		904

		11		11		5		11/11/07 3:59		356		- 0		50		3		104		241		- 0		17		6		144		921				11/11/07 3:59		373		385		921

		11		11		6		11/11/07 4:59		380		- 0		53		4		109		236		- 0		20		6		144		952				11/11/07 4:59		400		380		952

		11		11		7		11/11/07 5:59		369		- 0		56		8		114		238		- 0		24		5		144		958				11/11/07 5:59		393		382		958

		11		11		8		11/11/07 6:59		422		- 0		67		12		136		244		- 0		25		1		146		1,052				11/11/07 6:59		447		390		1,052

		11		11		9		11/11/07 7:59		392		- 0		78		14		146		244		- 0		20		- 0		146		1,040				11/11/07 7:59		412		390		1,040

		11		11		10		11/11/07 8:59		394		- 0		84		13		146		241		- 0		18		- 0		146		1,042				11/11/07 8:59		412		387		1,042

		11		11		11		11/11/07 9:59		358		- 0		81		13		144		237		- 0		21		- 0		146		1,000				11/11/07 9:59		379		383		1,000

		11		11		12		11/11/07 10:59		328		- 0		79		13		137		233		- 0		15		- 0		144		950				11/11/07 10:59		343		377		950

		11		11		13		11/11/07 11:59		280		- 0		74		10		124		224		- 0		16		- 0		143		872				11/11/07 11:59		296		367		872

		11		11		14		11/11/07 12:59		278		- 0		76		12		126		224		- 0		18		- 0		141		875				11/11/07 12:59		296		365		875

		11		11		15		11/11/07 13:59		277		- 0		74		11		122		228		- 0		19		- 0		142		874				11/11/07 13:59		296		370		874

		11		11		16		11/11/07 14:59		280		- 0		71		8		118		231		- 0		21		- 0		143		873				11/11/07 14:59		301		374		873

		11		11		17		11/11/07 15:59		401		- 0		77		7		128		246		- 0		27		5		146		1,037				11/11/07 15:59		428		392		1,037

		11		11		18		11/11/07 16:59		342		- 0		68		6		110		239		- 0		25		6		144		939				11/11/07 16:59		367		383		939

		11		11		19		11/11/07 17:59		426		- 0		73		5		124		250		- 0		19		6		146		1,049				11/11/07 17:59		445		396		1,049

		11		11		20		11/11/07 18:59		352		- 0		67		5		112		242		- 0		19		6		144		947				11/11/07 18:59		371		386		947

		11		11		21		11/11/07 19:59		366		- 0		64		5		108		245		- 0		22		6		145		961				11/11/07 19:59		388		390		961

		11		11		22		11/11/07 20:59		316		- 0		57		4		95		228		- 0		20		6		143		869				11/11/07 20:59		336		371		869

		11		11		23		11/11/07 21:59		384		- 0		58		4		105		240		- 0		15		6		144		956				11/11/07 21:59		399		384		956

		11		11		24		11/11/07 22:59		359		- 0		54		4		95		239		- 0		16		6		143		915				11/11/07 22:59		375		382		915

		11		12		1		11/11/07 23:59		303		- 0		71		3		154		245		- 0		13		6		143		939				11/11/07 23:59		316		388		939

		11		12		2		11/12/07 0:59		278		- 0		70		3		151		245		- 0		13		6		142		909				11/12/07 0:59		291		387		909

		11		12		3		11/12/07 1:59		279		- 0		68		3		148		241		- 0		14		6		142		901				11/12/07 1:59		293		383		901

		11		12		4		11/12/07 2:59		305		- 0		68		3		151		243		- 0		13		6		143		932				11/12/07 2:59		318		386		932

		11		12		5		11/12/07 3:59		306		- 0		70		3		153		247		- 0		18		6		143		946				11/12/07 3:59		324		390		946

		11		12		6		11/12/07 4:59		292		- 0		70		3		145		241		- 0		16		6		142		914				11/12/07 4:59		308		383		914

		11		12		7		11/12/07 5:59		285		- 0		66		4		138		234		- 0		22		5		140		893				11/12/07 5:59		307		374		893

		11		12		8		11/12/07 6:59		375		- 0		72		4		159		245		- 0		21		1		144		1,021				11/12/07 6:59		396		389		1,021

		11		12		9		11/12/07 7:59		386		- 0		79		5		165		253		- 0		21		- 0		143		1,053				11/12/07 7:59		407		396		1,053

		11		12		10		11/12/07 8:59		300		- 0		80		4		152		237		- 0		17		- 0		142		933				11/12/07 8:59		317		379		933

		11		12		11		11/12/07 9:59		306		- 0		80		4		154		244		- 0		17		- 0		142		947				11/12/07 9:59		323		386		947

		11		12		12		11/12/07 10:59		296		- 0		79		4		149		238		- 0		15		- 0		142		922				11/12/07 10:59		311		380		922

		11		12		13		11/12/07 11:59		260		- 0		75		4		143		237		- 0		15		- 0		141		875				11/12/07 11:59		275		378		875

		11		12		14		11/12/07 12:59		288		- 0		78		4		160		248		- 0		14		- 0		142		932				11/12/07 12:59		302		390		932

		11		12		15		11/12/07 13:59		288		- 0		77		4		165		249		- 0		16		- 0		142		940				11/12/07 13:59		304		391		940

		11		12		16		11/12/07 14:59		268		- 0		75		4		143		234		- 0		16		- 0		141		880				11/12/07 14:59		284		375		880

		11		12		17		11/12/07 15:59		387		- 0		85		4		162		256		- 0		20		5		145		1,063				11/12/07 15:59		407		401		1,063

		11		12		18		11/12/07 16:59		375		- 0		78		4		157		246		- 0		23		6		144		1,033				11/12/07 16:59		398		390		1,033

		11		12		19		11/12/07 17:59		326		- 0		76		4		144		235		- 0		22		6		142		956				11/12/07 17:59		348		377		956

		11		12		20		11/12/07 18:59		303		- 0		73		4		138		233		- 0		19		6		141		917				11/12/07 18:59		322		374		917

		11		12		21		11/12/07 19:59		267		- 0		73		3		132		227		- 0		17		6		140		866				11/12/07 19:59		284		367		866

		11		12		22		11/12/07 20:59		277		- 0		71		3		136		232		- 0		18		6		141		884				11/12/07 20:59		295		373		884

		11		12		23		11/12/07 21:59		280		- 0		72		3		139		235		- 0		16		6		141		894				11/12/07 21:59		296		376		894

		11		12		24		11/12/07 22:59		318		- 0		73		3		148		238		- 0		15		6		141		942				11/12/07 22:59		333		379		942

		11		13		1		11/12/07 23:59		275		- 0		69		3		159		244		- 0		11		6		142		909				11/12/07 23:59		286		386		909

		11		13		2		11/13/07 0:59		274		- 0		73		3		173		245		- 0		10		6		144		928				11/13/07 0:59		284		389		928

		11		13		3		11/13/07 1:59		272		- 0		72		3		170		244		- 0		10		6		144		919				11/13/07 1:59		282		388		919

		11		13		4		11/13/07 2:59		261		- 0		70		3		169		245		- 0		12		6		144		909				11/13/07 2:59		273		389		909

		11		13		5		11/13/07 3:59		261		- 0		69		3		165		247		- 0		11		6		143		905				11/13/07 3:59		272		390		905

		11		13		6		11/13/07 4:59		269		- 0		68		3		159		241		- 0		14		6		142		903				11/13/07 4:59		283		383		903

		11		13		7		11/13/07 5:59		274		- 0		66		3		152		236		- 0		17		5		140		893				11/13/07 5:59		291		376		893

		11		13		8		11/13/07 6:59		282		- 0		64		3		156		238		- 0		21		1		141		906				11/13/07 6:59		303		379		906

		11		13		9		11/13/07 7:59		267		- 0		66		3		141		228		- 0		15		- 0		140		860				11/13/07 7:59		282		368		860

		11		13		10		11/13/07 8:59		287		- 0		69		3		152		233		- 0		16		- 0		141		901				11/13/07 8:59		303		374		901

		11		13		11		11/13/07 9:59		291		- 0		71		3		158		240		- 0		15		- 0		141		918				11/13/07 9:59		306		381		918

		11		13		12		11/13/07 10:59		317		- 0		74		3		166		242		- 0		13		- 0		142		957				11/13/07 10:59		330		384		957

		11		13		13		11/13/07 11:59		303		- 0		74		3		167		242		- 0		12		- 0		142		943				11/13/07 11:59		315		384		943

		11		13		14		11/13/07 12:59		287		- 0		73		3		166		239		- 0		15		- 0		142		925				11/13/07 12:59		302		381		925

		11		13		15		11/13/07 13:59		283		- 0		71		3		164		244		- 0		12		- 0		142		919				11/13/07 13:59		295		386		919

		11		13		16		11/13/07 14:59		305		- 0		74		3		169		243		- 0		14		- 0		143		951				11/13/07 14:59		319		386		951

		11		13		17		11/13/07 15:59		279		- 0		75		3		146		232		- 0		19		5		142		900				11/13/07 15:59		298		374		900

		11		13		18		11/13/07 16:59		276		- 0		69		3		142		227		- 0		17		6		141		881				11/13/07 16:59		293		368		881

		11		13		19		11/13/07 17:59		271		- 0		70		3		137		225		- 0		16		6		141		869				11/13/07 17:59		287		366		869

		11		13		20		11/13/07 18:59		313		- 0		73		3		160		239		- 0		16		6		142		951				11/13/07 18:59		329		381		951

		11		13		21		11/13/07 19:59		325		- 0		74		3		164		244		- 0		14		6		143		973				11/13/07 19:59		339		387		973

		11		13		22		11/13/07 20:59		278		- 0		70		3		160		243		- 0		13		6		143		914				11/13/07 20:59		291		386		914

		11		13		23		11/13/07 21:59		284		- 0		69		3		162		239		- 0		11		6		142		916				11/13/07 21:59		295		381		916

		11		13		24		11/13/07 22:59		261		- 0		69		3		172		244		- 0		10		6		142		906				11/13/07 22:59		271		386		906

		11		14		1		11/13/07 23:59		428		- 0		67		3		194		287		- 0		10		6		151		1,145				11/13/07 23:59		438		438		1,145

		11		14		2		11/14/07 0:59		434		- 0		66		3		201		294		- 0		11		6		152		1,166				11/14/07 0:59		445		446		1,166

		11		14		3		11/14/07 1:59		318		- 0		60		3		152		257		- 0		8		6		146		950				11/14/07 1:59		326		403		950

		11		14		4		11/14/07 2:59		432		- 0		67		3		203		295		- 0		12		6		152		1,169				11/14/07 2:59		444		447		1,169

		11		14		5		11/14/07 3:59		420		- 0		63		3		195		285		- 0		11		6		150		1,134				11/14/07 3:59		431		435		1,134

		11		14		6		11/14/07 4:59		300		- 0		56		4		148		239		- 0		13		6		144		910				11/14/07 4:59		313		383		910

		11		14		7		11/14/07 5:59		326		- 0		62		8		154		237		- 0		16		5		143		951				11/14/07 5:59		342		380		951

		11		14		8		11/14/07 6:59		298		- 0		69		12		167		235		- 0		15		1		143		940				11/14/07 6:59		313		378		940

		11		14		9		11/14/07 7:59		292		- 0		79		14		185		234		- 0		15		- 0		140		959				11/14/07 7:59		307		374		959

		11		14		10		11/14/07 8:59		288		- 0		85		13		186		234		- 0		17		- 0		138		961				11/14/07 8:59		305		372		961

		11		14		11		11/14/07 9:59		250		- 0		83		14		180		231		- 0		14		- 0		130		902				11/14/07 9:59		264		361		902

		11		14		12		11/14/07 10:59		255		- 0		85		13		179		235		- 0		13		- 0		140		920				11/14/07 10:59		268		375		920

		11		14		13		11/14/07 11:59		237		- 0		82		11		180		234		- 0		10		- 0		138		892				11/14/07 11:59		247		372		892

		11		14		14		11/14/07 12:59		229		- 0		84		14		184		237		- 0		9		- 0		138		895				11/14/07 12:59		238		375		895

		11		14		15		11/14/07 13:59		211		- 0		84		13		181		243		- 0		9		- 0		141		882				11/14/07 13:59		220		384		882

		11		14		16		11/14/07 14:59		240		- 0		82		10		178		243		- 0		12		- 0		142		907				11/14/07 14:59		252		385		907

		11		14		17		11/14/07 15:59		250		- 0		78		8		153		237		- 0		17		5		139		887				11/14/07 15:59		267		376		887

		11		14		18		11/14/07 16:59		261		- 0		67		5		146		239		- 0		19		6		140		885				11/14/07 16:59		280		379		885

		11		14		19		11/14/07 17:59		275		- 0		64		6		144		238		- 0		17		6		138		888				11/14/07 17:59		292		376		888

		11		14		20		11/14/07 18:59		304		- 0		65		5		159		251		- 0		18		6		138		947				11/14/07 18:59		322		389		947

		11		14		21		11/14/07 19:59		290		- 0		64		5		153		246		- 0		13		6		137		916				11/14/07 19:59		303		383		916

		11		14		22		11/14/07 20:59		275		- 0		59		5		149		238		- 0		11		6		136		881				11/14/07 20:59		286		374		881

		11		14		23		11/14/07 21:59		281		- 0		58		5		154		248		- 0		11		6		141		905				11/14/07 21:59		292		389		905

		11		14		24		11/14/07 22:59		288		- 0		57		4		157		249		- 0		12		6		140		913				11/14/07 22:59		300		389		913

		11		15		1		11/14/07 23:59		292		- 0		60		4		141		247		- 0		12		6		142		904				11/14/07 23:59		304		389		904

		11		15		2		11/15/07 0:59		294		- 0		60		4		138		246		- 0		13		6		141		902				11/15/07 0:59		307		387		902

		11		15		3		11/15/07 1:59		290		- 0		60		4		132		237		- 0		11		6		141		881				11/15/07 1:59		301		378		881

		11		15		4		11/15/07 2:59		290		- 0		59		4		131		242		- 0		12		6		138		883				11/15/07 2:59		302		380		883

		11		15		5		11/15/07 3:59		303		- 0		58		3		129		246		- 0		16		6		139		901				11/15/07 3:59		319		385		901

		11		15		6		11/15/07 4:59		295		- 0		60		4		124		237		- 0		17		6		141		884				11/15/07 4:59		312		378		884

		11		15		7		11/15/07 5:59		346		- 0		69		8		149		252		- 0		25		5		142		997				11/15/07 5:59		371		394		997

		11		15		8		11/15/07 6:59		357		- 0		82		11		170		249		- 0		22		1		143		1,034				11/15/07 6:59		379		392		1,034

		11		15		9		11/15/07 7:59		348		- 0		90		15		179		247		- 0		21		- 0		141		1,041				11/15/07 7:59		369		388		1,041

		11		15		10		11/15/07 8:59		338		- 0		96		14		179		246		- 0		20		- 0		143		1,036				11/15/07 8:59		358		389		1,036

		11		15		11		11/15/07 9:59		335		- 0		96		15		182		247		- 0		19		- 0		144		1,037				11/15/07 9:59		354		391		1,037

		11		15		12		11/15/07 10:59		331		- 0		96		15		180		250		- 0		20		- 0		142		1,035				11/15/07 10:59		351		392		1,035

		11		15		13		11/15/07 11:59		337		- 0		94		12		180		252		- 0		20		- 0		144		1,039				11/15/07 11:59		357		396		1,039

		11		15		14		11/15/07 12:59		345		- 0		97		15		184		251		- 0		18		- 0		145		1,054				11/15/07 12:59		363		396		1,054

		11		15		15		11/15/07 13:59		338		- 0		96		14		179		254		- 0		24		- 0		143		1,048				11/15/07 13:59		362		397		1,048

		11		15		16		11/15/07 14:59		344		- 0		94		12		176		255		- 0		21		- 0		142		1,044				11/15/07 14:59		365		397		1,044

		11		15		17		11/15/07 15:59		260		- 0		83		9		134		235		- 0		23		5		142		891				11/15/07 15:59		283		377		891

		11		15		18		11/15/07 16:59		302		- 0		77		5		139		240		- 0		24		6		142		936				11/15/07 16:59		326		382		936

		11		15		19		11/15/07 17:59		301		- 0		72		6		135		235		- 0		23		6		142		919				11/15/07 17:59		324		377		919

		11		15		20		11/15/07 18:59		320		- 0		73		6		140		236		- 0		24		6		143		948				11/15/07 18:59		344		379		948

		11		15		21		11/15/07 19:59		379		- 0		76		5		157		251		- 0		23		6		145		1,042				11/15/07 19:59		402		396		1,042

		11		15		22		11/15/07 20:59		316		- 0		68		5		142		236		- 0		20		6		143		936				11/15/07 20:59		336		379		936

		11		15		23		11/15/07 21:59		287		- 0		63		5		129		231		- 0		17		6		140		878				11/15/07 21:59		304		371		878

		11		15		24		11/15/07 22:59		348		- 0		65		4		145		243		- 0		12		6		138		961				11/15/07 22:59		360		381		961

		11		16		1		11/15/07 23:59		296		- 0		58		5		137		245		- 0		15		6		143		906				11/15/07 23:59		311		388		906

		11		16		2		11/16/07 0:59		294		- 0		56		4		139		249		- 0		11		6		145		903				11/16/07 0:59		305		394		903

		11		16		3		11/16/07 1:59		298		- 0		57		4		141		254		- 0		11		6		145		916				11/16/07 1:59		309		399		916

		11		16		4		11/16/07 2:59		289		- 0		57		4		137		250		- 0		13		6		144		900				11/16/07 2:59		302		394		900

		11		16		5		11/16/07 3:59		304		- 0		58		4		136		244		- 0		15		6		144		910				11/16/07 3:59		319		388		910

		11		16		6		11/16/07 4:59		308		- 0		56		5		128		239		- 0		17		6		142		900				11/16/07 4:59		325		381		900

		11		16		7		11/16/07 5:59		288		- 0		60		8		130		230		- 0		21		5		141		884				11/16/07 5:59		309		371		884

		11		16		8		11/16/07 6:59		342		- 0		76		11		159		239		- 0		19		1		144		991				11/16/07 6:59		361		383		991

		11		16		9		11/16/07 7:59		287		- 0		84		14		159		235		- 0		22		- 0		142		944				11/16/07 7:59		309		377		944

		11		16		10		11/16/07 8:59		307		- 0		91		14		168		234		- 0		18		- 0		144		976				11/16/07 8:59		325		378		976

		11		16		11		11/16/07 9:59		276		- 0		91		14		164		233		- 0		17		- 0		144		941				11/16/07 9:59		293		377		941

		11		16		12		11/16/07 10:59		247		- 0		87		12		158		221		- 0		18		- 0		142		886				11/16/07 10:59		265		363		886

		11		16		13		11/16/07 11:59		298		- 0		90		12		180		225		- 0		14		- 0		144		963				11/16/07 11:59		312		369		963

		11		16		14		11/16/07 12:59		266		- 0		91		14		179		233		- 0		14		- 0		144		941				11/16/07 12:59		280		377		941

		11		16		15		11/16/07 13:59		273		- 0		90		13		176		234		- 0		17		- 0		143		945				11/16/07 13:59		290		377		945

		11		16		16		11/16/07 14:59		284		- 0		88		10		172		235		- 0		18		- 0		144		952				11/16/07 14:59		302		379		952

		11		16		17		11/16/07 15:59		265		- 0		83		8		146		231		- 0		21		5		144		901				11/16/07 15:59		286		375		901

		11		16		18		11/16/07 16:59		288		- 0		72		5		141		229		- 0		20		6		144		905				11/16/07 16:59		308		373		905

		11		16		19		11/16/07 17:59		287		- 0		68		5		136		229		- 0		18		6		143		893				11/16/07 17:59		305		372		893

		11		16		20		11/16/07 18:59		281		- 0		65		5		135		230		- 0		19		6		142		883				11/16/07 18:59		300		372		883

		11		16		21		11/16/07 19:59		336		- 0		67		4		153		244		- 0		15		6		144		971				11/16/07 19:59		351		388		971

		11		16		22		11/16/07 20:59		303		- 0		59		4		140		234		- 0		15		6		143		906				11/16/07 20:59		318		377		906

		11		16		23		11/16/07 21:59		292		- 0		58		4		146		245		- 0		12		6		144		909				11/16/07 21:59		304		389		909

		11		16		24		11/16/07 22:59		304		- 0		57		4		154		251		- 0		14		6		146		937				11/16/07 22:59		318		397		937

		11		17		1		11/16/07 23:59		341		- 0		50		4		112		243		- 0		12		6		145		912				11/16/07 23:59		353		388		912

		11		17		2		11/17/07 0:59		340		- 0		49		4		111		241		- 0		12		6		146		909				11/17/07 0:59		352		387		909

		11		17		3		11/17/07 1:59		340		- 0		49		4		109		246		- 0		12		6		146		912				11/17/07 1:59		352		392		912

		11		17		4		11/17/07 2:59		347		- 0		49		4		108		243		- 0		12		6		145		913				11/17/07 2:59		359		388		913

		11		17		5		11/17/07 3:59		352		- 0		49		3		105		238		- 0		13		6		145		912				11/17/07 3:59		365		383		912

		11		17		6		11/17/07 4:59		330		- 0		50		4		103		237		- 0		16		6		143		888				11/17/07 4:59		346		380		888

		11		17		7		11/17/07 5:59		299		- 0		54		8		107		233		- 0		19		5		143		868				11/17/07 5:59		318		376		868

		11		17		8		11/17/07 6:59		309		- 0		63		11		122		230		- 0		19		1		144		897				11/17/07 6:59		328		374		897

		11		17		9		11/17/07 7:59		273		- 0		71		14		125		226		- 0		18		- 0		142		869				11/17/07 7:59		291		368		869

		11		17		10		11/17/07 8:59		272		- 0		76		13		128		232		- 0		17		- 0		144		882				11/17/07 8:59		289		376		882

		11		17		11		11/17/07 9:59		281		- 0		76		14		131		226		- 0		17		- 0		143		887				11/17/07 9:59		298		369		887

		11		17		12		11/17/07 10:59		296		- 0		78		13		140		234		- 0		17		- 0		144		923				11/17/07 10:59		313		378		923

		11		17		13		11/17/07 11:59		326		- 0		78		13		146		236		- 0		16		- 0		143		957				11/17/07 11:59		342		379		957

		11		17		14		11/17/07 12:59		314		- 0		83		15		153		243		- 0		16		- 0		144		967				11/17/07 12:59		330		387		967

		11		17		15		11/17/07 13:59		313		- 0		81		13		148		236		- 0		16		- 0		145		951				11/17/07 13:59		329		381		951

		11		17		16		11/17/07 14:59		281		- 0		76		11		127		228		- 0		20		- 0		141		884				11/17/07 14:59		301		369		884

		11		17		17		11/17/07 15:59		371		- 0		81		8		136		245		- 0		20		5		146		1,012				11/17/07 15:59		391		391		1,012

		11		17		18		11/17/07 16:59		354		- 0		70		6		123		239		- 0		21		6		145		964				11/17/07 16:59		375		384		964

		11		17		19		11/17/07 17:59		353		- 0		69		6		121		237		- 0		18		6		145		955				11/17/07 17:59		371		382		955

		11		17		20		11/17/07 18:59		295		- 0		66		5		109		228		- 0		22		6		143		873				11/17/07 18:59		317		371		873

		11		17		21		11/17/07 19:59		309		- 0		63		5		108		228		- 0		19		6		143		881				11/17/07 19:59		328		371		881

		11		17		22		11/17/07 20:59		314		- 0		53		5		104		229		- 0		17		6		144		871				11/17/07 20:59		331		373		871

		11		17		23		11/17/07 21:59		356		- 0		53		4		111		241		- 0		14		6		145		930				11/17/07 21:59		370		386		930

		11		17		24		11/17/07 22:59		331		- 0		51		4		108		241		- 0		12		6		145		899				11/17/07 22:59		343		386		899

		11		18		1		11/17/07 23:59		330		- 0		52		4		104		238		- 0		16		6		144		896				11/17/07 23:59		346		382		896

		11		18		2		11/18/07 0:59		339		- 0		53		4		105		239		- 0		13		6		144		904				11/18/07 0:59		352		383		904

		11		18		3		11/18/07 1:59		348		- 0		53		4		106		239		- 0		14		6		144		916				11/18/07 1:59		362		383		916

		11		18		4		11/18/07 2:59		339		- 0		52		4		101		239		- 0		15		6		144		899				11/18/07 2:59		354		383		899

		11		18		5		11/18/07 3:59		358		- 0		54		4		105		234		- 0		19		6		144		924				11/18/07 3:59		377		378		924

		11		18		6		11/18/07 4:59		337		- 0		54		5		98		230		- 0		22		6		144		896				11/18/07 4:59		359		374		896

		11		18		7		11/18/07 5:59		370		- 0		59		8		111		240		- 0		27		5		145		965				11/18/07 5:59		397		385		965

		11		18		8		11/18/07 6:59		415		- 0		70		12		140		243		- 0		25		1		146		1,051				11/18/07 6:59		440		389		1,051

		11		18		9		11/18/07 7:59		388		- 0		79		15		145		238		- 0		25		- 0		146		1,035				11/18/07 7:59		413		384		1,035

		11		18		10		11/18/07 8:59		390		- 0		83		14		151		242		- 0		21		- 0		146		1,047				11/18/07 8:59		411		388		1,047

		11		18		11		11/18/07 9:59		383		- 0		83		15		151		242		- 0		22		- 0		146		1,041				11/18/07 9:59		405		388		1,041

		11		18		12		11/18/07 10:59		326		- 0		81		13		136		238		- 0		19		- 0		145		959				11/18/07 10:59		345		383		959

		11		18		13		11/18/07 11:59		267		- 0		76		11		123		229		- 0		21		- 0		143		869				11/18/07 11:59		288		372		869

		11		18		14		11/18/07 12:59		291		- 0		79		13		129		230		- 0		18		- 0		144		904				11/18/07 12:59		309		374		904

		11		18		15		11/18/07 13:59		266		- 0		74		12		122		235		- 0		20		- 0		143		872				11/18/07 13:59		286		378		872

		11		18		16		11/18/07 14:59		358		- 0		79		9		132		243		- 0		23		- 0		146		989				11/18/07 14:59		381		389		989

		11		18		17		11/18/07 15:59		348		- 0		79		7		119		239		- 0		27		5		143		966				11/18/07 15:59		375		382		966

		11		18		18		11/18/07 16:59		344		- 0		71		6		111		240		- 0		22		6		143		942				11/18/07 16:59		366		383		942

		11		18		19		11/18/07 17:59		347		- 0		71		5		108		241		- 0		27		6		143		949				11/18/07 17:59		374		384		949

		11		18		20		11/18/07 18:59		392		- 0		72		5		113		237		- 0		21		6		144		990				11/18/07 18:59		413		381		990

		11		18		21		11/18/07 19:59		433		- 0		71		5		119		244		- 0		26		6		146		1,050				11/18/07 19:59		459		390		1,050

		11		18		22		11/18/07 20:59		377		- 0		62		4		104		234		- 0		23		6		144		956				11/18/07 20:59		400		378		956

		11		18		23		11/18/07 21:59		368		- 0		60		4		96		226		- 0		20		6		144		924				11/18/07 21:59		388		370		924

		11		18		24		11/18/07 22:59		335		- 0		55		4		89		223		- 0		19		6		142		873				11/18/07 22:59		354		365		873

		11		19		1		11/18/07 23:59		274		- 0		72		4		140		229		- 0		15		6		141		880				11/18/07 23:59		289		370		880

		11		19		2		11/19/07 0:59		282		- 0		71		4		139		230		- 0		17		6		141		890				11/19/07 0:59		299		371		890

		11		19		3		11/19/07 1:59		270		- 0		72		3		136		228		- 0		18		6		141		875				11/19/07 1:59		288		369		875

		11		19		4		11/19/07 2:59		278		- 0		71		3		136		231		- 0		18		6		140		883				11/19/07 2:59		296		371		883

		11		19		5		11/19/07 3:59		292		- 0		71		4		136		229		- 0		19		6		142		899				11/19/07 3:59		311		371		899

		11		19		6		11/19/07 4:59		302		- 0		72		4		140		233		- 0		20		6		142		918				11/19/07 4:59		322		375		918

		11		19		7		11/19/07 5:59		386		- 0		79		4		157		245		- 0		26		6		144		1,048				11/19/07 5:59		412		389		1,048

		11		19		8		11/19/07 6:59		330		- 0		74		5		142		234		- 0		25		1		142		953				11/19/07 6:59		355		376		953

		11		19		9		11/19/07 7:59		389		- 0		82		5		165		250		- 0		24		- 0		143		1,058				11/19/07 7:59		413		393		1,058

		11		19		10		11/19/07 8:59		311		- 0		82		6		145		236		- 0		21		- 0		142		943				11/19/07 8:59		332		378		943

		11		19		11		11/19/07 9:59		306		- 0		81		6		140		237		- 0		25		- 0		142		937				11/19/07 9:59		331		379		937

		11		19		12		11/19/07 10:59		312		- 0		83		5		146		242		- 0		24		- 0		143		954				11/19/07 10:59		336		385		954

		11		19		13		11/19/07 11:59		330		- 0		82		4		148		240		- 0		22		- 0		143		970				11/19/07 11:59		352		383		970

		11		19		14		11/19/07 12:59		370		- 0		85		4		163		248		- 0		20		- 0		144		1,035				11/19/07 12:59		390		392		1,035

		11		19		15		11/19/07 13:59		359		- 0		85		4		164		249		- 0		25		- 0		144		1,030				11/19/07 13:59		384		393		1,030

		11		19		16		11/19/07 14:59		378		- 0		86		4		162		251		- 0		23		- 0		144		1,047				11/19/07 14:59		401		395		1,047

		11		19		17		11/19/07 15:59		303		- 0		85		4		139		233		- 0		22		5		142		933				11/19/07 15:59		325		375		933

		11		19		18		11/19/07 16:59		333		- 0		79		4		138		237		- 0		22		6		142		959				11/19/07 16:59		355		379		959

		11		19		19		11/19/07 17:59		359		- 0		81		3		146		243		- 0		22		6		143		1,003				11/19/07 17:59		381		386		1,003

		11		19		20		11/19/07 18:59		377		- 0		83		4		155		245		- 0		22		6		144		1,035				11/19/07 18:59		399		389		1,035

		11		19		21		11/19/07 19:59		316		- 0		78		3		143		236		- 0		19		6		142		944				11/19/07 19:59		335		378		944

		11		19		22		11/19/07 20:59		327		- 0		77		4		143		239		- 0		19		6		143		958				11/19/07 20:59		346		382		958

		11		19		23		11/19/07 21:59		281		- 0		73		3		135		228		- 0		19		6		141		886				11/19/07 21:59		300		369		886

		11		19		24		11/19/07 22:59		275		- 0		72		3		133		229		- 0		15		6		141		873				11/19/07 22:59		290		370		873

		11		20		1		11/19/07 23:59		269		- 0		75		3		153		232		- 0		13		6		141		891				11/19/07 23:59		282		373		891

		11		20		2		11/20/07 0:59		273		- 0		73		3		152		235		- 0		12		6		142		896				11/20/07 0:59		285		377		896

		11		20		3		11/20/07 1:59		272		- 0		74		3		157		235		- 0		11		6		142		900				11/20/07 1:59		283		377		900

		11		20		4		11/20/07 2:59		276		- 0		72		3		156		234		- 0		12		6		142		900				11/20/07 2:59		288		376		900

		11		20		5		11/20/07 3:59		264		- 0		71		3		155		238		- 0		12		6		141		889				11/20/07 3:59		276		379		889

		11		20		6		11/20/07 4:59		286		- 0		72		3		156		234		- 0		14		6		142		913				11/20/07 4:59		300		376		913

		11		20		7		11/20/07 5:59		310		- 0		73		3		156		236		- 0		17		6		142		944				11/20/07 5:59		327		378		944

		11		20		8		11/20/07 6:59		262		- 0		70		3		142		229		- 0		19		1		140		867				11/20/07 6:59		281		369		867

		11		20		9		11/20/07 7:59		302		- 0		75		4		148		231		- 0		20		- 0		142		921				11/20/07 7:59		322		373		921

		11		20		10		11/20/07 8:59		293		- 0		76		3		146		230		- 0		18		- 0		141		907				11/20/07 8:59		311		371		907

		11		20		11		11/20/07 9:59		295		- 0		76		3		148		227		- 0		17		- 0		142		908				11/20/07 9:59		312		369		908

		11		20		12		11/20/07 10:59		274		- 0		73		3		143		225		- 0		14		- 0		140		872				11/20/07 10:59		288		365		872

		11		20		13		11/20/07 11:59		276		- 0		73		3		146		223		- 0		18		- 0		141		880				11/20/07 11:59		294		364		880

		11		20		14		11/20/07 12:59		267		- 0		74		3		148		229		- 0		17		- 0		141		879				11/20/07 12:59		284		370		879

		11		20		15		11/20/07 13:59		266		- 0		76		3		151		231		- 0		15		- 0		141		883				11/20/07 13:59		281		372		883

		11		20		16		11/20/07 14:59		290		- 0		78		3		148		229		- 0		19		- 0		142		909				11/20/07 14:59		309		371		909

		11		20		17		11/20/07 15:59		349		- 0		82		3		162		244		- 0		23		5		144		1,012				11/20/07 15:59		372		388		1,012

		11		20		18		11/20/07 16:59		360		- 0		79		3		158		239		- 0		20		6		144		1,009				11/20/07 16:59		380		383		1,009

		11		20		19		11/20/07 17:59		361		- 0		80		3		157		240		- 0		18		6		144		1,010				11/20/07 17:59		379		384		1,010

		11		20		20		11/20/07 18:59		294		- 0		75		3		145		232		- 0		19		6		142		917				11/20/07 18:59		313		374		917

		11		20		21		11/20/07 19:59		292		- 0		73		3		144		228		- 0		17		6		142		905				11/20/07 19:59		309		370		905

		11		20		22		11/20/07 20:59		310		- 0		75		3		161		237		- 0		15		6		142		950				11/20/07 20:59		325		379		950

		11		20		23		11/20/07 21:59		309		- 0		75		3		163		236		- 0		12		6		142		947				11/20/07 21:59		321		378		947

		11		20		24		11/20/07 22:59		255		- 0		73		3		165		235		- 0		11		6		142		890				11/20/07 22:59		266		377		890

		11		21		1		11/20/07 23:59		309		- 0		60		3		142		243		- 0		11		6		146		920				11/20/07 23:59		320		389		920

		11		21		2		11/21/07 0:59		324		- 0		63		3		152		252		- 0		10		6		146		956				11/21/07 0:59		334		398		956

		11		21		3		11/21/07 1:59		305		- 0		61		3		142		245		- 0		9		6		145		915				11/21/07 1:59		314		390		915

		11		21		4		11/21/07 2:59		304		- 0		60		3		143		245		- 0		12		6		146		919				11/21/07 2:59		316		391		919

		11		21		5		11/21/07 3:59		303		- 0		60		3		141		238		- 0		12		6		144		907				11/21/07 3:59		315		382		907

		11		21		6		11/21/07 4:59		295		- 0		59		3		136		225		- 0		17		6		142		884				11/21/07 4:59		312		367		884

		11		21		7		11/21/07 5:59		317		- 0		65		8		149		234		- 0		20		6		143		942				11/21/07 5:59		337		377		942

		11		21		8		11/21/07 6:59		259		- 0		70		11		146		231		- 0		18		1		142		877				11/21/07 6:59		277		373		877

		11		21		9		11/21/07 7:59		243		- 0		79		13		155		222		- 0		20		- 0		142		873				11/21/07 7:59		263		364		873

		11		21		10		11/21/07 8:59		258		- 0		84		12		161		224		- 0		19		- 0		144		903				11/21/07 8:59		277		368		903

		11		21		11		11/21/07 9:59		234		- 0		85		14		158		223		- 0		15		- 0		139		868				11/21/07 9:59		249		362		868

		11		21		12		11/21/07 10:59		242		- 0		85		12		159		224		- 0		18		- 0		142		881				11/21/07 10:59		260		366		881

		11		21		13		11/21/07 11:59		263		- 0		86		11		174		235		- 0		15		- 0		144		929				11/21/07 11:59		278		379		929

		11		21		14		11/21/07 12:59		254		- 0		88		14		170		226		- 0		14		- 0		141		907				11/21/07 12:59		268		367		907

		11		21		15		11/21/07 13:59		274		- 0		91		12		181		236		- 0		14		- 0		139		949				11/21/07 13:59		288		375		949

		11		21		16		11/21/07 14:59		242		- 0		86		10		154		228		- 0		17		- 0		140		878				11/21/07 14:59		259		368		878

		11		21		17		11/21/07 15:59		350		- 0		88		8		171		246		- 0		22		5		146		1,036				11/21/07 15:59		372		392		1,036

		11		21		18		11/21/07 16:59		319		- 0		75		5		153		239		- 0		20		6		145		962				11/21/07 16:59		339		384		962

		11		21		19		11/21/07 17:59		297		- 0		68		5		143		233		- 0		17		6		143		912				11/21/07 17:59		314		376		912

		11		21		20		11/21/07 18:59		281		- 0		66		4		143		228		- 0		17		6		142		887				11/21/07 18:59		298		370		887

		11		21		21		11/21/07 19:59		306		- 0		66		5		148		230		- 0		15		6		143		919				11/21/07 19:59		321		373		919

		11		21		22		11/21/07 20:59		330		- 0		64		5		155		245		- 0		15		6		144		964				11/21/07 20:59		345		389		964

		11		21		23		11/21/07 21:59		281		- 0		58		4		144		237		- 0		14		6		143		886				11/21/07 21:59		295		380		886

		11		21		24		11/21/07 22:59		294		- 0		58		4		151		241		- 0		11		6		145		909				11/21/07 22:59		305		386		909

		11		22		1		11/21/07 23:59		287		- 0		59		4		136		243		- 0		9		6		143		886				11/21/07 23:59		296		386		886

		11		22		2		11/22/07 0:59		282		- 0		59		4		134		238		- 0		13		6		143		879				11/22/07 0:59		295		381		879

		11		22		3		11/22/07 1:59		302		- 0		60		3		138		240		- 0		12		6		143		905				11/22/07 1:59		314		383		905

		11		22		4		11/22/07 2:59		301		- 0		61		3		140		240		- 0		11		6		144		906				11/22/07 2:59		312		384		906

		11		22		5		11/22/07 3:59		311		- 0		62		3		134		241		- 0		13		6		144		914				11/22/07 3:59		324		385		914

		11		22		6		11/22/07 4:59		338		- 0		64		3		140		244		- 0		17		6		144		956				11/22/07 4:59		355		388		956

		11		22		7		11/22/07 5:59		305		- 0		67		7		139		227		- 0		22		6		143		916				11/22/07 5:59		327		370		916

		11		22		8		11/22/07 6:59		364		- 0		82		11		169		236		- 0		18		1		145		1,026				11/22/07 6:59		382		381		1,026

		11		22		9		11/22/07 7:59		365		- 0		91		13		181		236		- 0		18		- 0		145		1,050				11/22/07 7:59		383		381		1,050

		11		22		10		11/22/07 8:59		330		- 0		94		13		176		230		- 0		19		- 0		145		1,008				11/22/07 8:59		349		375		1,008

		11		22		11		11/22/07 9:59		351		- 0		96		14		183		231		- 0		19		- 0		145		1,039				11/22/07 9:59		370		376		1,039

		11		22		12		11/22/07 10:59		331		- 0		95		13		175		230		- 0		16		- 0		145		1,005				11/22/07 10:59		347		375		1,005

		11		22		13		11/22/07 11:59		299		- 0		91		11		167		223		- 0		17		- 0		143		952				11/22/07 11:59		316		366		952

		11		22		14		11/22/07 12:59		306		- 0		95		14		173		233		- 0		19		- 0		144		983				11/22/07 12:59		325		377		983

		11		22		15		11/22/07 13:59		292		- 0		93		13		168		226		- 0		18		- 0		143		953				11/22/07 13:59		310		369		953

		11		22		16		11/22/07 14:59		306		- 0		93		11		169		227		- 0		22		- 0		144		973				11/22/07 14:59		328		371		973

		11		22		17		11/22/07 15:59		305		- 0		89		8		149		223		- 0		24		5		143		945				11/22/07 15:59		329		366		945

		11		22		18		11/22/07 16:59		327		- 0		78		6		146		222		- 0		25		6		143		953				11/22/07 16:59		352		365		953

		11		22		19		11/22/07 17:59		405		- 0		78		6		162		233		- 0		23		6		145		1,058				11/22/07 17:59		428		378		1,058

		11		22		20		11/22/07 18:59		396		- 0		78		5		160		236		- 0		21		6		145		1,048				11/22/07 18:59		417		381		1,048

		11		22		21		11/22/07 19:59		339		- 0		74		5		147		235		- 0		23		6		144		973				11/22/07 19:59		362		379		973

		11		22		22		11/22/07 20:59		286		- 0		65		5		133		224		- 0		17		6		142		877				11/22/07 20:59		303		366		877

		11		22		23		11/22/07 21:59		283		- 0		63		4		129		225		- 0		15		6		142		866				11/22/07 21:59		298		367		866

		11		22		24		11/22/07 22:59		317		- 0		65		4		141		232		- 0		14		6		143		923				11/22/07 22:59		331		375		923

		11		23		1		11/22/07 23:59		324		- 0		63		4		136		239		- 0		12		6		144		929				11/22/07 23:59		336		383		929

		11		23		2		11/23/07 0:59		308		- 0		60		4		131		235		- 0		14		6		143		901				11/23/07 0:59		322		378		901

		11		23		3		11/23/07 1:59		333		- 0		62		4		134		238		- 0		15		6		144		936				11/23/07 1:59		348		382		936

		11		23		4		11/23/07 2:59		335		- 0		63		4		132		242		- 0		16		6		145		944				11/23/07 2:59		351		387		944

		11		23		5		11/23/07 3:59		348		- 0		63		4		132		241		- 0		15		6		145		954				11/23/07 3:59		363		386		954

		11		23		6		11/23/07 4:59		310		- 0		62		4		123		234		- 0		18		6		144		899				11/23/07 4:59		328		378		899

		11		23		7		11/23/07 5:59		414		- 0		71		8		154		249		- 0		25		6		145		1,071				11/23/07 5:59		439		394		1,071

		11		23		8		11/23/07 6:59		294		- 0		76		12		138		231		- 0		20		1		142		914				11/23/07 6:59		314		373		914

		11		23		9		11/23/07 7:59		329		- 0		87		15		161		235		- 0		22		- 0		143		992				11/23/07 7:59		351		378		992

		11		23		10		11/23/07 8:59		347		- 0		96		15		175		244		- 0		20		- 0		145		1,042				11/23/07 8:59		367		389		1,042

		11		23		11		11/23/07 9:59		341		- 0		96		15		177		241		- 0		20		- 0		145		1,035				11/23/07 9:59		361		386		1,035

		11		23		12		11/23/07 10:59		285		- 0		92		13		161		234		- 0		19		- 0		143		947				11/23/07 10:59		304		377		947

		11		23		13		11/23/07 11:59		299		- 0		90		11		160		236		- 0		19		- 0		143		958				11/23/07 11:59		318		379		958

		11		23		14		11/23/07 12:59		280		- 0		92		13		163		234		- 0		17		- 0		143		943				11/23/07 12:59		297		377		943

		11		23		15		11/23/07 13:59		291		- 0		94		13		164		241		- 0		20		- 0		145		969				11/23/07 13:59		311		386		969

		11		23		16		11/23/07 14:59		352		- 0		97		11		174		249		- 0		20		- 0		146		1,049				11/23/07 14:59		372		395		1,049

		11		23		17		11/23/07 15:59		290		- 0		88		8		139		233		- 0		27		5		141		932				11/23/07 15:59		317		374		932

		11		23		18		11/23/07 16:59		308		- 0		79		6		138		237		- 0		24		6		142		940				11/23/07 16:59		332		379		940

		11		23		19		11/23/07 17:59		313		- 0		76		5		132		235		- 0		23		6		140		931				11/23/07 17:59		336		375		931

		11		23		20		11/23/07 18:59		323		- 0		76		5		134		236		- 0		25		6		139		944				11/23/07 18:59		348		375		944

		11		23		21		11/23/07 19:59		340		- 0		74		5		140		244		- 0		23		6		144		977				11/23/07 19:59		363		388		977

		11		23		22		11/23/07 20:59		398		- 0		73		5		151		250		- 0		23		6		144		1,050				11/23/07 20:59		421		394		1,050

		11		23		23		11/23/07 21:59		327		- 0		68		5		133		237		- 0		17		6		142		935				11/23/07 21:59		344		379		935

		11		23		24		11/23/07 22:59		296		- 0		62		4		124		236		- 0		15		6		140		882				11/23/07 22:59		311		376		882

		11		24		1		11/23/07 23:59		358		- 0		55		5		104		239		- 0		15		6		144		926				11/23/07 23:59		373		383		926

		11		24		2		11/24/07 0:59		365		- 0		57		4		108		244		- 0		14		6		145		942				11/24/07 0:59		379		389		942

		11		24		3		11/24/07 1:59		395		- 0		58		4		110		246		- 0		14		6		145		978				11/24/07 1:59		409		391		978

		11		24		4		11/24/07 2:59		387		- 0		58		5		106		242		- 0		17		6		144		964				11/24/07 2:59		404		386		964

		11		24		5		11/24/07 3:59		311		- 0		55		4		90		234		- 0		20		6		141		861				11/24/07 3:59		331		375		861

		11		24		6		11/24/07 4:59		445		- 0		62		4		112		249		- 0		24		6		145		1,049				11/24/07 4:59		469		394		1,049

		11		24		7		11/24/07 5:59		337		- 0		65		8		106		236		- 0		28		6		143		929				11/24/07 5:59		365		379		929

		11		24		8		11/24/07 6:59		324		- 0		72		12		117		232		- 0		28		1		143		930				11/24/07 6:59		352		375		930

		11		24		9		11/24/07 7:59		307		- 0		83		15		124		228		- 0		24		- 0		144		925				11/24/07 7:59		331		372		925

		11		24		10		11/24/07 8:59		304		- 0		87		13		126		224		- 0		21		- 0		143		918				11/24/07 8:59		325		367		918

		11		24		11		11/24/07 9:59		307		- 0		85		15		127		223		- 0		25		- 0		143		925				11/24/07 9:59		332		366		925

		11		24		12		11/24/07 10:59		354		- 0		90		13		142		237		- 0		21		- 0		145		1,003				11/24/07 10:59		375		382		1,003

		11		24		13		11/24/07 11:59		386		- 0		91		12		149		243		- 0		25		- 0		145		1,050				11/24/07 11:59		411		388		1,050

		11		24		14		11/24/07 12:59		336		- 0		91		14		140		240		- 0		21		- 0		145		988				11/24/07 12:59		357		385		988

		11		24		15		11/24/07 13:59		320		- 0		85		14		131		235		- 0		21		- 0		145		951				11/24/07 13:59		341		380		951

		11		24		16		11/24/07 14:59		323		- 0		86		11		126		235		- 0		21		- 0		143		944				11/24/07 14:59		344		378		944

		11		24		17		11/24/07 15:59		329		- 0		85		9		121		240		- 0		27		5		143		959				11/24/07 15:59		356		383		959

		11		24		18		11/24/07 16:59		362		- 0		78		6		118		238		- 0		26		6		127		962				11/24/07 16:59		388		365		962

		11		24		19		11/24/07 17:59		323		- 0		75		6		110		235		- 0		28		6		143		926				11/24/07 17:59		351		378		926

		11		24		20		11/24/07 18:59		329		- 0		72		5		110		239		- 0		24		6		142		927				11/24/07 18:59		353		381		927

		11		24		21		11/24/07 19:59		331		- 0		69		5		107		237		- 0		25		6		143		923				11/24/07 19:59		356		380		923

		11		24		22		11/24/07 20:59		435		- 0		68		5		123		247		- 0		23		6		146		1,053				11/24/07 20:59		458		393		1,053

		11		24		23		11/24/07 21:59		352		- 0		62		5		107		238		- 0		16		6		144		932				11/24/07 21:59		368		382		932

		11		24		24		11/24/07 22:59		313		- 0		57		5		100		235		- 0		17		6		143		876				11/24/07 22:59		330		378		876

		11		25		1		11/24/07 23:59		309		- 0		58		4		97		228		- 0		17		6		143		863				11/24/07 23:59		326		371		863

		11		25		2		11/25/07 0:59		330		- 0		60		4		100		231		- 0		15		6		143		890				11/25/07 0:59		345		374		890

		11		25		3		11/25/07 1:59		309		- 0		59		4		94		231		- 0		17		6		143		865				11/25/07 1:59		326		374		865

		11		25		4		11/25/07 2:59		341		- 0		60		4		99		232		- 0		18		6		144		904				11/25/07 2:59		359		376		904

		11		25		5		11/25/07 3:59		329		- 0		59		4		97		229		- 0		19		6		144		888				11/25/07 3:59		348		373		888

		11		25		6		11/25/07 4:59		438		- 0		65		5		115		244		- 0		23		6		146		1,041				11/25/07 4:59		461		390		1,041

		11		25		7		11/25/07 5:59		331		- 0		66		9		106		229		- 0		26		6		143		915				11/25/07 5:59		357		372		915

		11		25		8		11/25/07 6:59		408		- 0		77		12		130		237		- 0		30		1		143		1,038				11/25/07 6:59		438		380		1,038

		11		25		9		11/25/07 7:59		405		- 0		87		15		136		233		- 0		23		- 0		142		1,041				11/25/07 7:59		428		375		1,041

		11		25		10		11/25/07 8:59		334		- 0		88		14		130		225		- 0		25		- 0		144		960				11/25/07 8:59		359		369		960

		11		25		11		11/25/07 9:59		308		- 0		88		14		127		224		- 0		23		- 0		143		927				11/25/07 9:59		331		367		927

		11		25		12		11/25/07 10:59		328		- 0		91		14		133		228		- 0		23		- 0		144		961				11/25/07 10:59		351		372		961

		11		25		13		11/25/07 11:59		402		- 0		92		13		150		243		- 0		22		- 0		146		1,068				11/25/07 11:59		424		389		1,068

		11		25		14		11/25/07 12:59		388		- 0		91		13		149		245		- 0		21		- 0		146		1,053				11/25/07 12:59		409		391		1,053

		11		25		15		11/25/07 13:59		325		- 0		86		12		125		231		- 0		24		- 0		143		946				11/25/07 13:59		349		374		946

		11		25		16		11/25/07 14:59		322		- 0		83		8		118		230		- 0		25		- 0		144		931				11/25/07 14:59		347		374		931

		11		25		17		11/25/07 15:59		430		- 0		88		7		131		244		- 0		25		5		143		1,073				11/25/07 15:59		455		387		1,073

		11		25		18		11/25/07 16:59		457		- 0		82		5		125		246		- 0		29		6		143		1,093				11/25/07 16:59		486		389		1,093

		11		25		19		11/25/07 17:59		376		- 0		79		5		112		239		- 0		26		6		143		987				11/25/07 17:59		402		382		987

		11		25		20		11/25/07 18:59		353		- 0		75		5		108		232		- 0		26		6		144		950				11/25/07 18:59		379		376		950

		11		25		21		11/25/07 19:59		350		- 0		72		5		106		237		- 0		25		6		142		943				11/25/07 19:59		375		379		943

		11		25		22		11/25/07 20:59		401		- 0		71		5		109		239		- 0		23		6		144		998				11/25/07 20:59		424		383		998

		11		25		23		11/25/07 21:59		433		- 0		65		5		109		239		- 0		23		6		145		1,025				11/25/07 21:59		456		384		1,025

		11		25		24		11/25/07 22:59		343		- 0		61		5		93		228		- 0		18		6		144		898				11/25/07 22:59		361		372		898

		11		26		1		11/25/07 23:59		327		- 0		81		4		150		240		- 0		15		6		144		967				11/25/07 23:59		342		384		967

		11		26		2		11/26/07 0:59		318		- 0		78		4		148		241		- 0		15		6		143		952				11/26/07 0:59		333		384		952

		11		26		3		11/26/07 1:59		310		- 0		77		4		145		237		- 0		17		6		143		939				11/26/07 1:59		327		380		939

		11		26		4		11/26/07 2:59		301		- 0		76		4		141		232		- 0		14		6		142		916				11/26/07 2:59		315		374		916

		11		26		5		11/26/07 3:59		380		- 0		81		4		155		240		- 0		19		6		144		1,029				11/26/07 3:59		399		384		1,029

		11		26		6		11/26/07 4:59		391		- 0		83		4		159		244		- 0		18		6		144		1,050				11/26/07 4:59		409		388		1,050

		11		26		7		11/26/07 5:59		317		- 0		80		4		138		234		- 0		21		6		142		942				11/26/07 5:59		338		376		942

		11		26		8		11/26/07 6:59		306		- 0		79		5		140		234		- 0		27		1		142		934				11/26/07 6:59		333		376		934

		11		26		9		11/26/07 7:59		332		- 0		85		6		145		237		- 0		25		- 0		144		974				11/26/07 7:59		357		381		974

		11		26		10		11/26/07 8:59		309		- 0		87		5		142		233		- 0		21		- 0		143		939				11/26/07 8:59		330		376		939

		11		26		11		11/26/07 9:59		290		- 0		88		5		139		232		- 0		22		- 0		141		917				11/26/07 9:59		312		373		917

		11		26		12		11/26/07 10:59		289		- 0		87		5		139		230		- 0		19		- 0		142		912				11/26/07 10:59		308		372		912

		11		26		13		11/26/07 11:59		304		- 0		84		5		141		236		- 0		21		- 0		142		932				11/26/07 11:59		325		378		932

		11		26		14		11/26/07 12:59		310		- 0		83		5		141		235		- 0		21		- 0		142		937				11/26/07 12:59		331		377		937

		11		26		15		11/26/07 13:59		302		- 0		86		5		144		233		- 0		22		- 0		143		935				11/26/07 13:59		324		376		935

		11		26		16		11/26/07 14:59		315		- 0		87		5		139		234		- 0		22		- 0		144		945				11/26/07 14:59		337		378		945

		11		26		17		11/26/07 15:59		404		- 0		96		5		153		249		- 0		26		5		143		1,081				11/26/07 15:59		430		392		1,081

		11		26		18		11/26/07 16:59		361		- 0		85		4		139		239		- 0		27		6		141		1,003				11/26/07 16:59		388		380		1,003

		11		26		19		11/26/07 17:59		320		- 0		84		4		133		233		- 0		22		6		142		944				11/26/07 17:59		342		375		944

		11		26		20		11/26/07 18:59		322		- 0		84		4		134		232		- 0		23		6		142		947				11/26/07 18:59		345		374		947

		11		26		21		11/26/07 19:59		300		- 0		81		4		131		235		- 0		26		6		140		924				11/26/07 19:59		326		375		924

		11		26		22		11/26/07 20:59		309		- 0		81		4		134		240		- 0		21		6		143		937				11/26/07 20:59		330		383		937

		11		26		23		11/26/07 21:59		375		- 0		86		4		155		252		- 0		20		6		145		1,043				11/26/07 21:59		395		397		1,043

		11		26		24		11/26/07 22:59		322		- 0		82		4		143		238		- 0		19		6		142		958				11/26/07 22:59		341		380		958

		11		27		1		11/26/07 23:59		260		- 0		78		4		137		232		- 0		14		6		141		871				11/26/07 23:59		274		373		871

		11		27		2		11/27/07 0:59		268		- 0		78		4		143		236		- 0		12		6		141		888				11/27/07 0:59		280		377		888

		11		27		3		11/27/07 1:59		265		- 0		80		4		140		235		- 0		15		6		141		886				11/27/07 1:59		280		376		886

		11		27		4		11/27/07 2:59		268		- 0		77		4		138		227		- 0		14		6		141		875				11/27/07 2:59		282		368		875

		11		27		5		11/27/07 3:59		263		- 0		78		3		140		233		- 0		15		6		141		880				11/27/07 3:59		278		374		880

		11		27		6		11/27/07 4:59		308		- 0		79		4		147		236		- 0		19		6		143		942				11/27/07 4:59		327		379		942

		11		27		7		11/27/07 5:59		370		- 0		84		4		162		245		- 0		22		6		143		1,037				11/27/07 5:59		392		388		1,037

		11		27		8		11/27/07 6:59		365		- 0		82		4		162		244		- 0		28		1		142		1,028				11/27/07 6:59		393		386		1,028

		11		27		9		11/27/07 7:59		368		- 0		84		4		157		237		- 0		24		- 0		140		1,014				11/27/07 7:59		392		377		1,014

		11		27		10		11/27/07 8:59		390		- 0		85		4		166		241		- 0		21		- 0		144		1,051				11/27/07 8:59		411		385		1,051

		11		27		11		11/27/07 9:59		393		- 0		84		4		165		239		- 0		19		- 0		144		1,047				11/27/07 9:59		412		383		1,047

		11		27		12		11/27/07 10:59		382		- 0		85		4		169		240		- 0		20		- 0		144		1,043				11/27/07 10:59		402		384		1,043

		11		27		13		11/27/07 11:59		328		- 0		82		3		158		237		- 0		18		- 0		144		970				11/27/07 11:59		346		381		970

		11		27		14		11/27/07 12:59		256		- 0		77		3		144		228		- 0		15		- 0		142		865				11/27/07 12:59		271		370		865

		11		27		15		11/27/07 13:59		311		- 0		80		3		156		235		- 0		19		- 0		143		948				11/27/07 13:59		330		378		948

		11		27		16		11/27/07 14:59		381		- 0		86		3		168		241		- 0		22		1		145		1,047				11/27/07 14:59		403		386		1,047

		11		27		17		11/27/07 15:59		307		- 0		84		4		142		231		- 0		27		5		142		942				11/27/07 15:59		334		373		942

		11		27		18		11/27/07 16:59		275		- 0		78		4		130		226		- 0		26		6		141		886				11/27/07 16:59		301		367		886

		11		27		19		11/27/07 17:59		302		- 0		80		4		137		226		- 0		23		6		141		919				11/27/07 17:59		325		367		919

		11		27		20		11/27/07 18:59		312		- 0		82		4		143		233		- 0		23		6		142		945				11/27/07 18:59		335		375		945

		11		27		21		11/27/07 19:59		375		- 0		86		4		164		243		- 0		24		6		145		1,046				11/27/07 19:59		399		388		1,046

		11		27		22		11/27/07 20:59		356		- 0		84		4		162		246		- 0		19		6		144		1,021				11/27/07 20:59		375		390		1,021

		11		27		23		11/27/07 21:59		310		- 0		81		4		153		237		- 0		17		6		143		951				11/27/07 21:59		327		380		951

		11		27		24		11/27/07 22:59		269		- 0		77		3		151		228		- 0		14		6		141		889				11/27/07 22:59		283		369		889

		11		28		1		11/27/07 23:59		280		- 0		65		4		127		234		- 0		16		6		143		875				11/27/07 23:59		296		377		875

		11		28		2		11/28/07 0:59		296		- 0		65		4		130		232		- 0		13		6		143		887				11/28/07 0:59		309		375		887

		11		28		3		11/28/07 1:59		298		- 0		63		4		130		231		- 0		14		6		143		889				11/28/07 1:59		312		374		889

		11		28		4		11/28/07 2:59		289		- 0		64		3		130		236		- 0		14		6		143		887				11/28/07 2:59		303		379		887

		11		28		5		11/28/07 3:59		302		- 0		63		4		131		235		- 0		18		6		143		902				11/28/07 3:59		320		378		902

		11		28		6		11/28/07 4:59		320		- 0		66		4		135		233		- 0		20		6		143		927				11/28/07 4:59		340		376		927

		11		28		7		11/28/07 5:59		329		- 0		71		8		144		240		- 0		22		6		144		964				11/28/07 5:59		351		384		964

		11		28		8		11/28/07 6:59		373		- 0		82		12		172		249		- 0		24		1		145		1,058				11/28/07 6:59		397		394		1,058

		11		28		9		11/28/07 7:59		357		- 0		91		15		180		248		- 0		23		- 0		144		1,058				11/28/07 7:59		380		392		1,058

		11		28		10		11/28/07 8:59		355		- 0		97		13		183		241		- 0		20		- 0		145		1,055				11/28/07 8:59		375		386		1,055

		11		28		11		11/28/07 9:59		348		- 0		98		15		182		238		- 0		18		- 0		142		1,041				11/28/07 9:59		366		380		1,041

		11		28		12		11/28/07 10:59		293		- 0		94		14		168		231		- 0		17		- 0		142		960				11/28/07 10:59		310		373		960

		11		28		13		11/28/07 11:59		304		- 0		91		11		168		237		- 0		18		- 0		144		974				11/28/07 11:59		322		381		974

		11		28		14		11/28/07 12:59		275		- 0		93		14		169		235		- 0		16		- 0		142		943				11/28/07 12:59		291		377		943

		11		28		15		11/28/07 13:59		291		- 0		92		13		170		239		- 0		17		- 0		145		967				11/28/07 13:59		308		384		967

		11		28		16		11/28/07 14:59		312		- 0		91		12		171		241		- 0		21		1		145		995				11/28/07 14:59		333		386		995

		11		28		17		11/28/07 15:59		336		- 0		90		9		160		237		- 0		28		5		128		994				11/28/07 15:59		364		365		994

		11		28		18		11/28/07 16:59		313		- 0		77		7		145		233		- 0		24		6		144		949				11/28/07 16:59		337		377		949

		11		28		19		11/28/07 17:59		401		- 0		79		6		164		244		- 0		20		6		140		1,060				11/28/07 17:59		421		384		1,060

		11		28		20		11/28/07 18:59		387		- 0		80		5		159		245		- 0		18		6		144		1,045				11/28/07 18:59		405		389		1,045

		11		28		21		11/28/07 19:59		379		- 0		78		5		159		244		- 0		20		6		145		1,037				11/28/07 19:59		399		389		1,037

		11		28		22		11/28/07 20:59		320		- 0		70		4		144		238		- 0		19		6		143		945				11/28/07 20:59		339		381		945

		11		28		23		11/28/07 21:59		277		- 0		67		4		133		229		- 0		13		6		141		871				11/28/07 21:59		290		370		871

		11		28		24		11/28/07 22:59		312		- 0		67		4		144		235		- 0		13		6		142		923				11/28/07 22:59		325		377		923

		11		29		1		11/28/07 23:59		308		- 0		62		4		134		239		- 0		15		6		141		909				11/28/07 23:59		323		380		909

		11		29		2		11/29/07 0:59		299		- 0		63		3		138		238		- 0		11		6		142		900				11/29/07 0:59		310		380		900

		11		29		3		11/29/07 1:59		299		- 0		62		3		140		242		- 0		12		6		139		904				11/29/07 1:59		311		381		904

		11		29		4		11/29/07 2:59		300		- 0		63		3		137		243		- 0		10		6		141		904				11/29/07 2:59		310		384		904

		11		29		5		11/29/07 3:59		302		- 0		62		3		132		237		- 0		14		6		141		897				11/29/07 3:59		316		378		897

		11		29		6		11/29/07 4:59		319		- 0		66		5		139		237		- 0		17		6		141		929				11/29/07 4:59		336		378		929

		11		29		7		11/29/07 5:59		279		- 0		67		7		134		231		- 0		18		6		143		884				11/29/07 5:59		297		374		884

		11		29		8		11/29/07 6:59		309		- 0		79		12		158		238		- 0		16		1		145		958				11/29/07 6:59		325		383		958

		11		29		9		11/29/07 7:59		284		- 0		88		13		164		241		- 0		16		- 0		145		952				11/29/07 7:59		300		386		952

		11		29		10		11/29/07 8:59		271		- 0		90		12		164		238		- 0		14		- 0		144		935				11/29/07 8:59		285		382		935

		11		29		11		11/29/07 9:59		234		- 0		88		13		158		230		- 0		13		- 0		140		876				11/29/07 9:59		247		370		876

		11		29		12		11/29/07 10:59		273		- 0		90		13		164		236		- 0		14		- 0		145		935				11/29/07 10:59		287		381		935

		11		29		13		11/29/07 11:59		246		- 0		89		12		160		239		- 0		15		- 0		145		905				11/29/07 11:59		261		384		905

		11		29		14		11/29/07 12:59		227		- 0		90		12		161		238		- 0		10		- 0		144		883				11/29/07 12:59		237		382		883

		11		29		15		11/29/07 13:59		215		- 0		89		12		154		235		- 0		14		- 0		143		863				11/29/07 13:59		229		378		863

		11		29		16		11/29/07 14:59		234		- 0		88		11		156		234		- 0		15		1		144		883				11/29/07 14:59		249		378		883

		11		29		17		11/29/07 15:59		345		- 0		93		8		174		258		- 0		18		5		147		1,050				11/29/07 15:59		363		405		1,050

		11		29		18		11/29/07 16:59		360		- 0		81		5		165		256		- 0		21		6		145		1,041				11/29/07 16:59		381		401		1,041

		11		29		19		11/29/07 17:59		313		- 0		73		5		150		248		- 0		20		6		144		959				11/29/07 17:59		333		392		959

		11		29		20		11/29/07 18:59		320		- 0		72		5		148		246		- 0		18		6		143		959				11/29/07 18:59		338		389		959

		11		29		21		11/29/07 19:59		270		- 0		68		4		138		234		- 0		17		6		141		878				11/29/07 19:59		287		375		878

		11		29		22		11/29/07 20:59		283		- 0		63		4		136		241		- 0		18		6		142		893				11/29/07 20:59		301		383		893

		11		29		23		11/29/07 21:59		271		- 0		61		4		140		245		- 0		12		6		142		881				11/29/07 21:59		283		387		881

		11		29		24		11/29/07 22:59		283		- 0		61		3		148		255		- 0		9		6		142		908				11/29/07 22:59		292		397		908

		11		30		1		11/29/07 23:59		319		- 0		61		3		164		272		- 0		8		6		145		977				11/29/07 23:59		327		417		977

		11		30		2		11/30/07 0:59		319		- 0		59		3		160		269		- 0		9		6		147		973				11/30/07 0:59		328		416		973

		11		30		3		11/30/07 1:59		288		- 0		58		3		145		258		- 0		13		6		146		917				11/30/07 1:59		301		404		917

		11		30		4		11/30/07 2:59		377		- 0		63		3		177		282		- 0		10		6		149		1,067				11/30/07 2:59		387		431		1,067

		11		30		5		11/30/07 3:59		295		- 0		57		3		143		256		- 0		10		6		145		916				11/30/07 3:59		305		401		916

		11		30		6		11/30/07 4:59		290		- 0		58		3		138		248		- 0		14		6		143		902				11/30/07 4:59		304		391		902

		11		30		7		11/30/07 5:59		301		- 0		63		7		149		249		- 0		17		6		143		935				11/30/07 5:59		318		392		935

		11		30		8		11/30/07 6:59		247		- 0		69		11		144		233		- 0		19		1		141		865				11/30/07 6:59		266		374		865

		11		30		9		11/30/07 7:59		265		- 0		81		13		164		234		- 0		18		- 0		140		915				11/30/07 7:59		283		374		915

		11		30		10		11/30/07 8:59		249		- 0		84		12		159		233		- 0		14		- 0		142		894				11/30/07 8:59		263		375		894

		11		30		11		11/30/07 9:59		281		- 0		89		14		177		239		- 0		13		- 0		143		955				11/30/07 9:59		294		382		955

		11		30		12		11/30/07 10:59		283		- 0		91		13		178		245		- 0		14		- 0		140		964				11/30/07 10:59		297		385		964

		11		30		13		11/30/07 11:59		256		- 0		87		11		169		242		- 0		11		- 0		143		919				11/30/07 11:59		267		385		919

		11		30		14		11/30/07 12:59		281		- 0		89		14		178		246		- 0		14		- 0		143		966				11/30/07 12:59		295		389		966

		11		30		15		11/30/07 13:59		267		- 0		88		13		175		242		- 0		13		- 0		142		940				11/30/07 13:59		280		384		940

		11		30		16		11/30/07 14:59		261		- 0		85		10		157		232		- 0		15		1		140		902				11/30/07 14:59		276		372		902

		11		30		17		11/30/07 15:59		306		- 0		84		8		151		237		- 0		18		5		144		953				11/30/07 15:59		324		381		953

		11		30		18		11/30/07 16:59		327		- 0		75		5		148		243		- 0		19		6		145		968				11/30/07 16:59		346		388		968

		11		30		19		11/30/07 17:59		295		- 0		71		5		137		237		- 0		20		6		143		913				11/30/07 17:59		315		380		913

		11		30		20		11/30/07 18:59		287		- 0		69		5		134		235		- 0		18		6		143		897				11/30/07 18:59		305		378		897

		11		30		21		11/30/07 19:59		287		- 0		68		5		138		236		- 0		18		6		141		900				11/30/07 19:59		305		377		900

		11		30		22		11/30/07 20:59		338		- 0		63		4		144		242		- 0		17		6		143		956				11/30/07 20:59		355		385		956

		11		30		23		11/30/07 21:59		288		- 0		58		4		137		241		- 0		13		6		142		889				11/30/07 21:59		301		383		889

		11		30		24		11/30/07 22:59		293		- 0		60		4		140		247		- 0		11		6		144		904				11/30/07 22:59		304		391		904

		12		1		1		11/30/07 23:59		705		- 0		69		4		189		295		- 0		12		6		161		1,442				11/30/07 23:59		717		456		1,442

		12		1		2		12/1/07 0:59		723		- 0		68		4		183		284		- 0		6		6		160		1,433				12/1/07 0:59		729		444		1,433

		12		1		3		12/1/07 1:59		699		- 0		72		4		189		296		- 0		11		6		163		1,441				12/1/07 1:59		710		459		1,441

		12		1		4		12/1/07 2:59		704		- 0		70		4		189		298		- 0		9		6		165		1,445				12/1/07 2:59		713		463		1,445

		12		1		5		12/1/07 3:59		715		- 0		69		4		178		284		- 0		13		6		161		1,430				12/1/07 3:59		728		445		1,430

		12		1		6		12/1/07 4:59		741		- 0		65		4		170		269		- 0		16		6		154		1,424				12/1/07 4:59		757		423		1,424

		12		1		7		12/1/07 5:59		737		- 0		73		9		189		266		- 0		21		6		151		1,452				12/1/07 5:59		758		417		1,452

		12		1		8		12/1/07 6:59		687		- 0		79		13		198		257		- 0		22		3		149		1,408				12/1/07 6:59		709		406		1,408

		12		1		9		12/1/07 7:59		655		- 0		90		16		213		260		- 0		20		- 0		154		1,409				12/1/07 7:59		675		414		1,409

		12		1		10		12/1/07 8:59		647		- 0		98		15		214		256		- 0		20		- 0		153		1,404				12/1/07 8:59		667		409		1,404

		12		1		11		12/1/07 9:59		649		- 0		103		16		229		263		- 0		17		- 0		151		1,427				12/1/07 9:59		666		414		1,427

		12		1		12		12/1/07 10:59		693		- 0		102		15		236		269		- 0		14		- 0		154		1,483				12/1/07 10:59		707		423		1,483

		12		1		13		12/1/07 11:59		692		- 0		102		12		234		267		- 0		16		- 0		153		1,475				12/1/07 11:59		708		420		1,475

		12		1		14		12/1/07 12:59		675		- 0		106		15		237		269		- 0		13		- 0		152		1,467				12/1/07 12:59		688		421		1,467

		12		1		15		12/1/07 13:59		692		- 0		106		14		239		272		- 0		17		- 0		152		1,492				12/1/07 13:59		709		424		1,492

		12		1		16		12/1/07 14:59		639		- 0		101		11		207		262		- 0		20		1		152		1,393				12/1/07 14:59		659		414		1,393

		12		1		17		12/1/07 15:59		698		- 0		98		9		202		265		- 0		19		6		152		1,447				12/1/07 15:59		717		417		1,447

		12		1		18		12/1/07 16:59		752		- 0		89		5		193		263		- 0		19		7		152		1,480				12/1/07 16:59		771		415		1,480

		12		1		19		12/1/07 17:59		720		- 0		88		5		186		262		- 0		19		7		151		1,438				12/1/07 17:59		739		413		1,438

		12		1		20		12/1/07 18:59		728		- 0		85		5		182		260		- 0		22		7		149		1,437				12/1/07 18:59		750		409		1,437

		12		1		21		12/1/07 19:59		720		- 0		80		5		181		263		- 0		18		7		149		1,421				12/1/07 19:59		738		412		1,421

		12		1		22		12/1/07 20:59		764		- 0		73		5		185		270		- 0		17		7		152		1,472				12/1/07 20:59		781		422		1,472

		12		1		23		12/1/07 21:59		743		- 0		70		5		176		269		- 0		14		7		154		1,438				12/1/07 21:59		757		423		1,438

		12		1		24		12/1/07 22:59		708		- 0		69		5		177		278		- 0		10		7		158		1,412				12/1/07 22:59		718		436		1,412

		12		2		1		12/1/07 23:59		656		- 0		72		4		209		305		- 0		8		6		158		1,419				12/1/07 23:59		664		463		1,419

		12		2		2		12/2/07 0:59		647		- 0		73		4		218		320		- 0		5		6		163		1,436				12/2/07 0:59		652		483		1,436

		12		2		3		12/2/07 1:59		657		- 0		73		4		213		315		- 0		2		6		162		1,433				12/2/07 1:59		659		477		1,433

		12		2		4		12/2/07 2:59		649		- 0		70		4		200		307		- 0		5		6		160		1,400				12/2/07 2:59		654		467		1,400

		12		2		5		12/2/07 3:59		650		- 0		71		4		203		309		- 0		9		6		160		1,412				12/2/07 3:59		659		469		1,412

		12		2		6		12/2/07 4:59		685		- 0		72		4		208		304		- 0		12		6		156		1,445				12/2/07 4:59		697		460		1,445

		12		2		7		12/2/07 5:59		679		- 0		74		9		208		290		- 0		15		6		151		1,431				12/2/07 5:59		694		441		1,431

		12		2		8		12/2/07 6:59		677		- 0		87		12		229		288		- 0		15		3		153		1,463				12/2/07 6:59		692		441		1,463

		12		2		9		12/2/07 7:59		629		- 0		99		14		238		288		- 0		12		- 0		153		1,431				12/2/07 7:59		641		441		1,431

		12		2		10		12/2/07 8:59		617		- 0		105		13		243		286		- 0		13		- 0		153		1,430				12/2/07 8:59		630		439		1,430

		12		2		11		12/2/07 9:59		634		- 0		106		14		244		289		- 0		13		- 0		152		1,452				12/2/07 9:59		647		441		1,452

		12		2		12		12/2/07 10:59		590		- 0		105		13		239		287		- 0		12		- 0		153		1,399				12/2/07 10:59		602		440		1,399

		12		2		13		12/2/07 11:59		594		- 0		102		11		233		288		- 0		15		- 0		153		1,395				12/2/07 11:59		609		441		1,395

		12		2		14		12/2/07 12:59		610		- 0		104		13		245		290		- 0		10		- 0		150		1,421				12/2/07 12:59		620		440		1,421

		12		2		15		12/2/07 13:59		609		- 0		102		13		236		287		- 0		12		- 0		153		1,411				12/2/07 13:59		621		440		1,411

		12		2		16		12/2/07 14:59		661		- 0		101		10		227		292		- 0		22		1		154		1,467				12/2/07 14:59		683		446		1,467

		12		2		17		12/2/07 15:59		755		- 0		101		8		227		301		- 0		22		6		154		1,574				12/2/07 15:59		777		455		1,574

		12		2		18		12/2/07 16:59		735		- 0		92		5		214		296		- 0		23		7		152		1,524				12/2/07 16:59		758		448		1,524

		12		2		19		12/2/07 17:59		720		- 0		89		5		203		287		- 0		20		7		152		1,483				12/2/07 17:59		740		439		1,483

		12		2		20		12/2/07 18:59		679		- 0		87		5		198		282		- 0		21		7		151		1,429				12/2/07 18:59		700		433		1,429

		12		2		21		12/2/07 19:59		663		- 0		83		5		195		286		- 0		20		7		152		1,411				12/2/07 19:59		683		438		1,411

		12		2		22		12/2/07 20:59		727		- 0		77		4		208		298		- 0		25		7		153		1,499				12/2/07 20:59		752		451		1,499

		12		2		23		12/2/07 21:59		685		- 0		73		4		199		302		- 0		19		7		156		1,444				12/2/07 21:59		704		458		1,444

		12		2		24		12/2/07 22:59		701		- 0		73		4		190		301		- 0		18		7		155		1,447				12/2/07 22:59		719		456		1,447

		12		3		1		12/2/07 23:59		700		- 0		98		4		226		282		- 0		26		6		150		1,493				12/2/07 23:59		726		432		1,493

		12		3		2		12/3/07 0:59		707		- 0		99		4		226		288		- 0		11		6		152		1,492				12/3/07 0:59		718		440		1,492

		12		3		3		12/3/07 1:59		701		- 0		97		4		226		290		- 0		8		6		152		1,485				12/3/07 1:59		709		442		1,485

		12		3		4		12/3/07 2:59		703		- 0		99		4		226		288		- 0		9		6		152		1,486				12/3/07 2:59		712		440		1,486

		12		3		5		12/3/07 3:59		729		- 0		99		4		227		291		- 0		11		6		151		1,517				12/3/07 3:59		740		442		1,517

		12		3		6		12/3/07 4:59		782		- 0		99		4		232		296		- 0		11		6		151		1,581				12/3/07 4:59		793		447		1,581

		12		3		7		12/3/07 5:59		716		- 0		97		4		210		276		- 0		20		6		147		1,475				12/3/07 5:59		736		423		1,475

		12		3		8		12/3/07 6:59		723		- 0		95		5		208		272		- 0		22		3		147		1,474				12/3/07 6:59		745		419		1,474

		12		3		9		12/3/07 7:59		814		- 0		106		5		226		283		- 0		17		- 0		149		1,600				12/3/07 7:59		831		432		1,600

		12		3		10		12/3/07 8:59		750		- 0		108		7		220		279		- 0		20		- 0		147		1,530				12/3/07 8:59		770		426		1,530

		12		3		11		12/3/07 9:59		745		- 0		108		6		219		273		- 0		22		- 0		147		1,519				12/3/07 9:59		767		420		1,519

		12		3		12		12/3/07 10:59		693		- 0		107		4		217		274		- 0		20		- 0		147		1,461				12/3/07 10:59		713		421		1,461

		12		3		13		12/3/07 11:59		690		- 0		105		4		208		269		- 0		23		- 0		146		1,444				12/3/07 11:59		713		415		1,444

		12		3		14		12/3/07 12:59		700		- 0		105		4		209		272		- 0		17		- 0		146		1,454				12/3/07 12:59		717		418		1,454

		12		3		15		12/3/07 13:59		684		- 0		108		4		215		274		- 0		21		- 0		146		1,452				12/3/07 13:59		705		420		1,452

		12		3		16		12/3/07 14:59		750		- 0		111		4		213		271		- 0		22		1		146		1,517				12/3/07 14:59		772		417		1,517

		12		3		17		12/3/07 15:59		967		- 0		125		4		241		292		- 0		26		6		149		1,810				12/3/07 15:59		993		441		1,810

		12		3		18		12/3/07 16:59		906		- 0		109		4		222		286		- 0		21		7		148		1,702				12/3/07 16:59		927		434		1,702

		12		3		19		12/3/07 17:59		842		- 0		107		4		214		279		- 0		21		7		148		1,621				12/3/07 17:59		863		427		1,621

		12		3		20		12/3/07 18:59		796		- 0		106		4		207		273		- 0		20		7		147		1,561				12/3/07 18:59		816		420		1,561

		12		3		21		12/3/07 19:59		736		- 0		104		4		199		268		- 0		17		7		146		1,480				12/3/07 19:59		753		414		1,480

		12		3		22		12/3/07 20:59		697		- 0		98		4		194		269		- 0		18		7		144		1,431				12/3/07 20:59		715		413		1,431

		12		3		23		12/3/07 21:59		724		- 0		104		4		207		273		- 0		16		7		146		1,481				12/3/07 21:59		740		419		1,481

		12		3		24		12/3/07 22:59		783		- 0		107		4		229		289		- 0		15		7		152		1,585				12/3/07 22:59		798		441		1,585

		12		4		1		12/3/07 23:59		771		- 0		109		4		238		291		- 0		10		6		152		1,581				12/3/07 23:59		781		443		1,581

		12		4		2		12/4/07 0:59		679		- 0		105		4		230		292		- 0		12		6		141		1,469				12/4/07 0:59		691		433		1,469

		12		4		3		12/4/07 1:59		694		- 0		105		4		229		289		- 0		15		6		141		1,483				12/4/07 1:59		709		430		1,483

		12		4		4		12/4/07 2:59		699		- 0		104		4		229		284		- 0		12		6		150		1,488				12/4/07 2:59		711		434		1,488

		12		4		5		12/4/07 3:59		738		- 0		103		4		234		292		- 0		16		6		151		1,543				12/4/07 3:59		754		443		1,543

		12		4		6		12/4/07 4:59		764		- 0		104		4		236		293		- 0		18		6		151		1,575				12/4/07 4:59		782		444		1,575

		12		4		7		12/4/07 5:59		708		- 0		101		4		216		277		- 0		19		6		148		1,478				12/4/07 5:59		727		425		1,478

		12		4		8		12/4/07 6:59		706		- 0		95		4		208		269		- 0		25		3		146		1,455				12/4/07 6:59		731		415		1,455

		12		4		9		12/4/07 7:59		723		- 0		99		4		210		265		- 0		23		- 0		145		1,469				12/4/07 7:59		746		410		1,469

		12		4		10		12/4/07 8:59		709		- 0		103		4		211		271		- 0		18		- 0		146		1,462				12/4/07 8:59		727		417		1,462

		12		4		11		12/4/07 9:59		670		- 0		102		3		208		265		- 0		20		- 0		146		1,414				12/4/07 9:59		690		411		1,414

		12		4		12		12/4/07 10:59		665		- 0		102		3		207		268		- 0		18		- 0		146		1,409				12/4/07 10:59		683		414		1,409

		12		4		13		12/4/07 11:59		697		- 0		104		3		216		277		- 0		18		- 0		147		1,462				12/4/07 11:59		715		424		1,462

		12		4		14		12/4/07 12:59		693		- 0		102		4		217		271		- 0		21		- 0		147		1,455				12/4/07 12:59		714		418		1,455

		12		4		15		12/4/07 13:59		700		- 0		105		3		223		271		- 0		20		- 0		148		1,471				12/4/07 13:59		720		419		1,471

		12		4		16		12/4/07 14:59		702		- 0		107		3		214		266		- 0		24		1		146		1,463				12/4/07 14:59		726		412		1,463

		12		4		17		12/4/07 15:59		901		- 0		118		4		242		288		- 0		23		6		150		1,731				12/4/07 15:59		924		438		1,731

		12		4		18		12/4/07 16:59		865		- 0		108		4		229		286		- 0		21		7		148		1,667				12/4/07 16:59		886		434		1,667

		12		4		19		12/4/07 17:59		817		- 0		108		4		223		282		- 0		22		7		148		1,610				12/4/07 17:59		839		430		1,610

		12		4		20		12/4/07 18:59		779		- 0		107		4		220		276		- 0		21		7		148		1,561				12/4/07 18:59		800		424		1,561

		12		4		21		12/4/07 19:59		707		- 0		104		4		209		271		- 0		17		7		144		1,461				12/4/07 19:59		724		415		1,461

		12		4		22		12/4/07 20:59		703		- 0		102		4		212		274		- 0		16		7		145		1,462				12/4/07 20:59		719		419		1,462

		12		4		23		12/4/07 21:59		766		- 0		107		4		244		290		- 0		16		7		150		1,583				12/4/07 21:59		782		440		1,583

		12		4		24		12/4/07 22:59		755		- 0		108		4		252		294		- 0		11		7		152		1,583				12/4/07 22:59		766		446		1,583

		12		5		1		12/4/07 23:59		684		- 0		90		4		216		298		- 0		6		6		153		1,458				12/4/07 23:59		690		451		1,458

		12		5		2		12/5/07 0:59		690		- 0		91		4		216		296		- 0		19		6		151		1,473				12/5/07 0:59		709		447		1,473

		12		5		3		12/5/07 1:59		707		- 0		89		4		218		294		- 0		19		6		151		1,489				12/5/07 1:59		726		445		1,489

		12		5		4		12/5/07 2:59		716		- 0		90		4		221		289		- 0		21		6		151		1,499				12/5/07 2:59		737		440		1,499

		12		5		5		12/5/07 3:59		662		- 0		86		4		202		281		- 0		24		6		151		1,416				12/5/07 3:59		686		432		1,416

		12		5		6		12/5/07 4:59		674		- 0		89		5		212		285		- 0		27		6		153		1,451				12/5/07 4:59		701		438		1,451

		12		5		7		12/5/07 5:59		698		- 0		92		10		216		274		- 0		29		6		148		1,474				12/5/07 5:59		727		422		1,474

		12		5		8		12/5/07 6:59		668		- 0		104		16		228		267		- 0		30		3		147		1,462				12/5/07 6:59		698		414		1,462

		12		5		9		12/5/07 7:59		641		- 0		115		17		246		270		- 0		23		- 0		147		1,459				12/5/07 7:59		664		417		1,459

		12		5		10		12/5/07 8:59		627		- 0		122		15		254		275		- 0		25		- 0		148		1,467				12/5/07 8:59		652		423		1,467

		12		5		11		12/5/07 9:59		643		- 0		121		15		258		276		- 0		20		- 0		137		1,470				12/5/07 9:59		663		413		1,470

		12		5		12		12/5/07 10:59		709		- 0		124		14		277		282		- 0		23		- 0		151		1,580				12/5/07 10:59		732		433		1,580

		12		5		13		12/5/07 11:59		718		- 0		121		15		276		287		- 0		20		- 0		151		1,586				12/5/07 11:59		738		438		1,586

		12		5		14		12/5/07 12:59		685		- 0		128		16		288		296		- 0		20		- 0		149		1,582				12/5/07 12:59		705		445		1,582

		12		5		15		12/5/07 13:59		699		- 0		126		15		280		287		- 0		19		- 0		150		1,576				12/5/07 13:59		718		437		1,576

		12		5		16		12/5/07 14:59		710		- 0		125		12		283		291		- 0		25		1		151		1,597				12/5/07 14:59		735		442		1,597

		12		5		17		12/5/07 15:59		661		- 0		115		9		232		273		- 0		29		6		147		1,471				12/5/07 15:59		690		420		1,471

		12		5		18		12/5/07 16:59		692		- 0		103		6		224		266		- 0		29		7		147		1,473				12/5/07 16:59		721		413		1,473

		12		5		19		12/5/07 17:59		687		- 0		97		6		217		268		- 0		30		7		146		1,457				12/5/07 17:59		717		414		1,457

		12		5		20		12/5/07 18:59		688		- 0		96		6		218		271		- 0		27		7		147		1,459				12/5/07 18:59		715		418		1,459

		12		5		21		12/5/07 19:59		699		- 0		95		6		225		276		- 0		28		7		149		1,485				12/5/07 19:59		727		425		1,485

		12		5		22		12/5/07 20:59		755		- 0		94		6		238		288		- 0		26		7		152		1,565				12/5/07 20:59		781		440		1,565

		12		5		23		12/5/07 21:59		640		- 0		89		5		224		286		- 0		21		7		153		1,424				12/5/07 21:59		661		439		1,424

		12		5		24		12/5/07 22:59		674		- 0		89		5		237		297		- 0		21		7		152		1,481				12/5/07 22:59		695		449		1,481

		12		6		1		12/5/07 23:59		644		- 0		87		5		207		278		- 0		22		6		152		1,400				12/5/07 23:59		666		430		1,400

		12		6		2		12/6/07 0:59		655		- 0		90		5		210		278		- 0		14		6		152		1,410				12/6/07 0:59		669		430		1,410

		12		6		3		12/6/07 1:59		665		- 0		87		5		205		269		- 0		20		6		152		1,410				12/6/07 1:59		685		421		1,410

		12		6		4		12/6/07 2:59		689		- 0		88		5		203		269		- 0		15		6		153		1,426				12/6/07 2:59		704		422		1,426

		12		6		5		12/6/07 3:59		689		- 0		89		5		204		273		- 0		21		6		152		1,438				12/6/07 3:59		710		425		1,438

		12		6		6		12/6/07 4:59		758		- 0		93		5		215		274		- 0		23		6		151		1,525				12/6/07 4:59		781		425		1,525

		12		6		7		12/6/07 5:59		721		- 0		96		11		211		260		- 0		27		6		136		1,467				12/6/07 5:59		748		396		1,467

		12		6		8		12/6/07 6:59		667		- 0		104		14		219		247		- 0		28		3		145		1,427				12/6/07 6:59		695		392		1,427

		12		6		9		12/6/07 7:59		652		- 0		117		16		239		246		- 0		23		- 0		143		1,436				12/6/07 7:59		675		389		1,436

		12		6		10		12/6/07 8:59		659		- 0		126		16		252		249		- 0		22		- 0		148		1,472				12/6/07 8:59		681		397		1,472

		12		6		11		12/6/07 9:59		703		- 0		128		16		270		263		- 0		19		- 0		147		1,547				12/6/07 9:59		722		410		1,547

		12		6		12		12/6/07 10:59		707		- 0		128		15		279		272		- 0		18		- 0		152		1,571				12/6/07 10:59		725		424		1,571

		12		6		13		12/6/07 11:59		707		- 0		127		12		280		271		- 0		16		- 0		152		1,565				12/6/07 11:59		723		423		1,565

		12		6		14		12/6/07 12:59		672		- 0		129		17		280		274		- 0		16		- 0		142		1,530				12/6/07 12:59		688		416		1,530

		12		6		15		12/6/07 13:59		699		- 0		129		15		280		277		- 0		17		- 0		152		1,568				12/6/07 13:59		716		429		1,568

		12		6		16		12/6/07 14:59		699		- 0		122		12		258		265		- 0		20		1		149		1,524				12/6/07 14:59		719		414		1,524

		12		6		17		12/6/07 15:59		695		- 0		118		9		231		263		- 0		29		6		145		1,496				12/6/07 15:59		724		408		1,496

		12		6		18		12/6/07 16:59		812		- 0		108		6		233		268		- 0		25		7		146		1,604				12/6/07 16:59		837		414		1,604

		12		6		19		12/6/07 17:59		727		- 0		99		6		217		266		- 0		27		7		147		1,494				12/6/07 17:59		754		413		1,494

		12		6		20		12/6/07 18:59		719		- 0		98		6		213		262		- 0		27		7		146		1,477				12/6/07 18:59		746		408		1,477

		12		6		21		12/6/07 19:59		720		- 0		96		5		208		259		- 0		26		7		144		1,464				12/6/07 19:59		746		403		1,464

		12		6		22		12/6/07 20:59		727		- 0		92		5		213		261		- 0		23		7		146		1,473				12/6/07 20:59		750		407		1,473

		12		6		23		12/6/07 21:59		772		- 0		95		5		231		279		- 0		24		7		152		1,566				12/6/07 21:59		796		431		1,566

		12		6		24		12/6/07 22:59		681		- 0		89		5		212		270		- 0		18		7		152		1,435				12/6/07 22:59		699		422		1,435

		12		7		1		12/6/07 23:59		789		- 0		92		5		214		282		- 0		21		6		152		1,562				12/6/07 23:59		810		434		1,562

		12		7		2		12/7/07 0:59		740		- 0		91		5		208		278		- 0		9		6		152		1,489				12/7/07 0:59		749		430		1,489

		12		7		3		12/7/07 1:59		747		- 0		91		5		204		275		- 0		11		6		150		1,490				12/7/07 1:59		758		425		1,490

		12		7		4		12/7/07 2:59		761		- 0		90		5		205		273		- 0		15		6		150		1,505				12/7/07 2:59		776		423		1,505

		12		7		5		12/7/07 3:59		803		- 0		95		4		210		282		- 0		17		6		152		1,568				12/7/07 3:59		820		434		1,568

		12		7		6		12/7/07 4:59		753		- 0		93		5		191		259		- 0		18		6		147		1,471				12/7/07 4:59		771		406		1,471

		12		7		7		12/7/07 5:59		794		- 0		100		10		210		259		- 0		21		6		146		1,546				12/7/07 5:59		815		405		1,546

		12		7		8		12/7/07 6:59		961		- 0		120		14		260		275		- 0		25		3		148		1,806				12/7/07 6:59		986		423		1,806

		12		7		9		12/7/07 7:59		805		- 0		125		17		253		259		- 0		22		- 0		145		1,627				12/7/07 7:59		827		404		1,627

		12		7		10		12/7/07 8:59		699		- 0		125		15		238		246		- 0		15		- 0		145		1,483				12/7/07 8:59		714		391		1,483

		12		7		11		12/7/07 9:59		652		- 0		126		16		241		248		- 0		18		- 0		147		1,448				12/7/07 9:59		670		395		1,448

		12		7		12		12/7/07 10:59		666		- 0		124		16		238		243		- 0		18		- 0		147		1,452				12/7/07 10:59		684		390		1,452

		12		7		13		12/7/07 11:59		653		- 0		124		14		246		256		- 0		23		- 0		149		1,464				12/7/07 11:59		676		405		1,464

		12		7		14		12/7/07 12:59		686		- 0		129		16		259		262		- 0		22		- 0		148		1,523				12/7/07 12:59		708		410		1,523

		12		7		15		12/7/07 13:59		666		- 0		124		16		235		248		- 0		30		- 0		147		1,465				12/7/07 13:59		696		395		1,465

		12		7		16		12/7/07 14:59		680		- 0		121		13		228		255		- 0		29		1		144		1,470				12/7/07 14:59		709		399		1,470

		12		7		17		12/7/07 15:59		913		- 0		132		10		250		275		- 0		34		6		150		1,770				12/7/07 15:59		947		425		1,770

		12		7		18		12/7/07 16:59		936		- 0		118		6		245		275		- 0		37		7		149		1,772				12/7/07 16:59		973		424		1,772

		12		7		19		12/7/07 17:59		898		- 0		112		6		233		273		- 0		36		7		149		1,715				12/7/07 17:59		934		422		1,715

		12		7		20		12/7/07 18:59		932		- 0		114		7		233		280		- 0		32		7		149		1,753				12/7/07 18:59		964		429		1,753

		12		7		21		12/7/07 19:59		843		- 0		107		6		217		271		- 0		30		7		149		1,630				12/7/07 19:59		873		420		1,630

		12		7		22		12/7/07 20:59		752		- 0		95		6		194		255		- 0		27		7		144		1,480				12/7/07 20:59		779		399		1,480

		12		7		23		12/7/07 21:59		734		- 0		95		6		201		271		- 0		25		7		141		1,481				12/7/07 21:59		759		412		1,481

		12		7		24		12/7/07 22:59		777		- 0		96		6		216		284		- 0		22		7		147		1,554				12/7/07 22:59		799		431		1,554

		12		8		1		12/7/07 23:59		753		- 0		80		6		169		260		- 0		22		6		147		1,443				12/7/07 23:59		775		407		1,443

		12		8		2		12/8/07 0:59		732		- 0		78		6		160		253		- 0		21		6		151		1,407				12/8/07 0:59		753		404		1,407

		12		8		3		12/8/07 1:59		714		- 0		78		6		157		251		- 0		23		6		150		1,385				12/8/07 1:59		737		401		1,385

		12		8		4		12/8/07 2:59		794		- 0		78		6		159		254		- 0		25		6		151		1,474				12/8/07 2:59		819		405		1,474

		12		8		5		12/8/07 3:59		786		- 0		81		5		159		258		- 0		26		6		151		1,472				12/8/07 3:59		812		409		1,472

		12		8		6		12/8/07 4:59		878		- 0		83		5		166		253		- 0		23		6		149		1,563				12/8/07 4:59		901		402		1,563

		12		8		7		12/8/07 5:59		759		- 0		86		11		164		239		- 0		28		6		146		1,438				12/8/07 5:59		787		385		1,438

		12		8		8		12/8/07 6:59		770		- 0		96		15		185		234		- 0		30		3		146		1,478				12/8/07 6:59		800		380		1,478

		12		8		9		12/8/07 7:59		717		- 0		106		16		194		234		- 0		27		- 0		144		1,437				12/8/07 7:59		744		378		1,437

		12		8		10		12/8/07 8:59		715		- 0		110		15		199		236		- 0		28		- 0		146		1,449				12/8/07 8:59		743		382		1,449

		12		8		11		12/8/07 9:59		778		- 0		117		16		226		249		- 0		23		- 0		148		1,556				12/8/07 9:59		801		397		1,556

		12		8		12		12/8/07 10:59		762		- 0		113		15		217		246		- 0		24		- 0		145		1,522				12/8/07 10:59		786		391		1,522

		12		8		13		12/8/07 11:59		780		- 0		115		13		233		265		- 0		16		- 0		149		1,572				12/8/07 11:59		796		414		1,572

		12		8		14		12/8/07 12:59		775		- 0		118		15		231		263		- 0		19		- 0		148		1,569				12/8/07 12:59		794		411		1,569

		12		8		15		12/8/07 13:59		788		- 0		118		13		228		259		- 0		25		- 0		150		1,581				12/8/07 13:59		813		409		1,581

		12		8		16		12/8/07 14:59		733		- 0		109		11		198		247		- 0		21		1		145		1,465				12/8/07 14:59		754		392		1,465

		12		8		17		12/8/07 15:59		876		- 0		114		9		202		256		- 0		24		6		146		1,631				12/8/07 15:59		900		402		1,631

		12		8		18		12/8/07 16:59		914		- 0		106		6		196		256		- 0		28		7		148		1,661				12/8/07 16:59		942		404		1,661

		12		8		19		12/8/07 17:59		843		- 0		100		6		184		257		- 0		29		7		147		1,573				12/8/07 17:59		872		404		1,573

		12		8		20		12/8/07 18:59		792		- 0		98		6		175		251		- 0		30		7		144		1,503				12/8/07 18:59		822		395		1,503

		12		8		21		12/8/07 19:59		775		- 0		92		6		169		248		- 0		22		7		141		1,461				12/8/07 19:59		797		389		1,461

		12		8		22		12/8/07 20:59		804		- 0		84		6		170		253		- 0		27		7		145		1,494				12/8/07 20:59		831		398		1,494

		12		8		23		12/8/07 21:59		857		- 0		85		6		180		267		- 0		23		7		149		1,573				12/8/07 21:59		880		416		1,573

		12		8		24		12/8/07 22:59		754		- 0		82		5		167		259		- 0		22		7		150		1,446				12/8/07 22:59		776		409		1,446

		12		9		1		12/8/07 23:59		663		- 0		81		6		193		292		- 0		15		6		152		1,409				12/8/07 23:59		678		444		1,409

		12		9		2		12/9/07 0:59		667		- 0		80		6		190		290		- 0		18		6		152		1,408				12/9/07 0:59		685		442		1,408

		12		9		3		12/9/07 1:59		669		- 0		79		6		183		291		- 0		16		6		153		1,403				12/9/07 1:59		685		444		1,403

		12		9		4		12/9/07 2:59		706		- 0		81		5		185		288		- 0		16		6		152		1,441				12/9/07 2:59		722		440		1,441

		12		9		5		12/9/07 3:59		719		- 0		83		5		187		288		- 0		18		6		152		1,459				12/9/07 3:59		737		440		1,459

		12		9		6		12/9/07 4:59		787		- 0		86		5		199		294		- 0		22		6		152		1,552				12/9/07 4:59		809		446		1,552

		12		9		7		12/9/07 5:59		729		- 0		87		11		184		276		- 0		19		6		146		1,458				12/9/07 5:59		748		422		1,458

		12		9		8		12/9/07 6:59		762		- 0		101		14		215		280		- 0		25		3		147		1,548				12/9/07 6:59		787		427		1,548

		12		9		9		12/9/07 7:59		696		- 0		107		15		219		273		- 0		19		- 0		146		1,475				12/9/07 7:59		715		419		1,475

		12		9		10		12/9/07 8:59		669		- 0		113		15		219		268		- 0		21		- 0		146		1,452				12/9/07 8:59		690		414		1,452

		12		9		11		12/9/07 9:59		630		- 0		111		15		215		267		- 0		19		- 0		146		1,403				12/9/07 9:59		649		413		1,403

		12		9		12		12/9/07 10:59		662		- 0		113		15		222		276		- 0		18		- 0		147		1,452				12/9/07 10:59		680		423		1,452

		12		9		13		12/9/07 11:59		719		- 0		117		12		250		295		- 0		17		- 0		152		1,562				12/9/07 11:59		736		447		1,562

		12		9		14		12/9/07 12:59		725		- 0		118		14		251		294		- 0		16		- 0		148		1,566				12/9/07 12:59		741		442		1,566

		12		9		15		12/9/07 13:59		735		- 0		114		13		246		295		- 0		20		- 0		151		1,574				12/9/07 13:59		755		446		1,574

		12		9		16		12/9/07 14:59		677		- 0		105		10		215		279		- 0		23		1		149		1,458				12/9/07 14:59		700		428		1,458

		12		9		17		12/9/07 15:59		692		- 0		102		9		196		277		- 0		26		6		146		1,452				12/9/07 15:59		718		423		1,452

		12		9		18		12/9/07 16:59		723		- 0		96		6		192		277		- 0		28		7		146		1,474				12/9/07 16:59		751		423		1,474

		12		9		19		12/9/07 17:59		741		- 0		94		5		186		274		- 0		23		7		146		1,476				12/9/07 17:59		764		420		1,476

		12		9		20		12/9/07 18:59		712		- 0		95		5		187		275		- 0		26		7		145		1,451				12/9/07 18:59		738		420		1,451

		12		9		21		12/9/07 19:59		704		- 0		92		5		179		280		- 0		17		7		145		1,429				12/9/07 19:59		721		425		1,429

		12		9		22		12/9/07 20:59		816		- 0		89		5		198		291		- 0		20		7		150		1,575				12/9/07 20:59		836		441		1,575

		12		9		23		12/9/07 21:59		801		- 0		87		5		192		298		- 0		13		7		152		1,555				12/9/07 21:59		814		450		1,555

		12		9		24		12/9/07 22:59		739		- 0		84		5		178		290		- 0		14		7		150		1,465				12/9/07 22:59		753		440		1,465

		12		10		1		12/9/07 23:59		629		- 0		97		5		221		291		- 0		21		6		153		1,422				12/9/07 23:59		650		444		1,422

		12		10		2		12/10/07 0:59		601		- 0		97		4		219		287		- 0		23		6		152		1,391				12/10/07 0:59		624		439		1,391

		12		10		3		12/10/07 1:59		642		- 0		97		4		218		291		- 0		24		6		152		1,435				12/10/07 1:59		666		443		1,435

		12		10		4		12/10/07 2:59		679		- 0		97		4		219		287		- 0		23		6		152		1,468				12/10/07 2:59		702		439		1,468

		12		10		5		12/10/07 3:59		679		- 0		96		4		222		286		- 0		22		6		152		1,468				12/10/07 3:59		701		438		1,468

		12		10		6		12/10/07 4:59		696		- 0		97		4		221		290		- 0		24		6		151		1,490				12/10/07 4:59		720		441		1,490

		12		10		7		12/10/07 5:59		755		- 0		100		5		230		290		- 0		27		6		150		1,564				12/10/07 5:59		782		440		1,564

		12		10		8		12/10/07 6:59		691		- 0		96		5		214		280		- 0		29		3		147		1,464				12/10/07 6:59		720		427		1,464

		12		10		9		12/10/07 7:59		694		- 0		99		5		214		269		- 0		31		- 0		146		1,458				12/10/07 7:59		725		415		1,458

		12		10		10		12/10/07 8:59		698		- 0		104		5		221		275		- 0		25		- 0		148		1,476				12/10/07 8:59		723		423		1,476

		12		10		11		12/10/07 9:59		719		- 0		105		5		227		276		- 0		26		- 0		149		1,508				12/10/07 9:59		745		425		1,508

		12		10		12		12/10/07 10:59		688		- 0		103		5		218		278		- 0		26		- 0		148		1,465				12/10/07 10:59		714		426		1,465

		12		10		13		12/10/07 11:59		755		- 0		107		4		239		287		- 0		28		- 0		151		1,571				12/10/07 11:59		783		438		1,571

		12		10		14		12/10/07 12:59		761		- 0		106		5		238		286		- 0		26		- 0		150		1,572				12/10/07 12:59		787		436		1,572

		12		10		15		12/10/07 13:59		774		- 0		108		6		235		282		- 0		25		- 0		149		1,578				12/10/07 13:59		799		431		1,578

		12		10		16		12/10/07 14:59		688		- 0		107		4		215		274		- 0		30		1		147		1,466				12/10/07 14:59		718		421		1,466

		12		10		17		12/10/07 15:59		737		- 0		111		5		206		272		- 0		30		6		146		1,513				12/10/07 15:59		767		418		1,513

		12		10		18		12/10/07 16:59		731		- 0		103		4		198		262		- 0		32		7		146		1,483				12/10/07 16:59		763		408		1,483

		12		10		19		12/10/07 17:59		711		- 0		102		5		197		271		- 0		24		7		145		1,462				12/10/07 17:59		735		416		1,462

		12		10		20		12/10/07 18:59		708		- 0		99		5		199		270		- 0		27		7		146		1,461				12/10/07 18:59		735		416		1,461

		12		10		21		12/10/07 19:59		715		- 0		98		4		203		274		- 0		22		7		148		1,471				12/10/07 19:59		737		422		1,471

		12		10		22		12/10/07 20:59		753		- 0		103		4		225		288		- 0		24		7		150		1,554				12/10/07 20:59		777		438		1,554

		12		10		23		12/10/07 21:59		673		- 0		100		4		216		288		- 0		22		7		152		1,461				12/10/07 21:59		695		440		1,461

		12		10		24		12/10/07 22:59		624		- 0		96		4		211		280		- 0		18		7		150		1,390				12/10/07 22:59		642		430		1,390

		12		11		1		12/10/07 23:59		628		- 0		102		4		235		289		- 0		19		6		151		1,436				12/10/07 23:59		647		440		1,436

		12		11		2		12/11/07 0:59		653		- 0		103		4		246		295		- 0		18		6		152		1,478				12/11/07 0:59		671		447		1,478

		12		11		3		12/11/07 1:59		614		- 0		101		4		226		285		- 0		16		6		151		1,404				12/11/07 1:59		630		436		1,404

		12		11		4		12/11/07 2:59		638		- 0		99		4		237		297		- 0		16		6		151		1,449				12/11/07 2:59		654		448		1,449

		12		11		5		12/11/07 3:59		613		- 0		97		4		224		282		- 0		15		6		150		1,391				12/11/07 3:59		628		432		1,391

		12		11		6		12/11/07 4:59		666		- 0		101		4		230		290		- 0		25		6		152		1,473				12/11/07 4:59		691		442		1,473

		12		11		7		12/11/07 5:59		756		- 0		103		4		235		293		- 0		24		6		151		1,571				12/11/07 5:59		780		444		1,571

		12		11		8		12/11/07 6:59		749		- 0		98		4		241		292		- 0		26		3		151		1,564				12/11/07 6:59		775		443		1,564

		12		11		9		12/11/07 7:59		720		- 0		98		4		223		278		- 0		24		- 0		147		1,495				12/11/07 7:59		744		425		1,495

		12		11		10		12/11/07 8:59		699		- 0		102		4		221		277		- 0		22		- 0		148		1,472				12/11/07 8:59		721		425		1,472

		12		11		11		12/11/07 9:59		707		- 0		102		4		223		275		- 0		21		- 0		147		1,479				12/11/07 9:59		728		422		1,479

		12		11		12		12/11/07 10:59		697		- 0		101		4		220		278		- 0		19		- 0		147		1,466				12/11/07 10:59		716		425		1,466

		12		11		13		12/11/07 11:59		763		- 0		107		4		246		294		- 0		20		- 0		149		1,583				12/11/07 11:59		783		443		1,583

		12		11		14		12/11/07 12:59		745		- 0		108		4		249		291		- 0		20		- 0		151		1,567				12/11/07 12:59		765		442		1,567

		12		11		15		12/11/07 13:59		738		- 0		110		4		254		300		- 0		23		- 0		152		1,581				12/11/07 13:59		761		452		1,581

		12		11		16		12/11/07 14:59		759		- 0		109		4		244		290		- 0		23		1		150		1,579				12/11/07 14:59		782		440		1,579

		12		11		17		12/11/07 15:59		716		- 0		104		4		213		272		- 0		27		6		146		1,487				12/11/07 15:59		743		418		1,487

		12		11		18		12/11/07 16:59		775		- 0		102		4		215		279		- 0		24		7		146		1,552				12/11/07 16:59		799		425		1,552

		12		11		19		12/11/07 17:59		692		- 0		98		4		203		272		- 0		27		7		143		1,446				12/11/07 17:59		719		415		1,446

		12		11		20		12/11/07 18:59		688		- 0		99		4		201		270		- 0		23		7		145		1,436				12/11/07 18:59		711		415		1,436

		12		11		21		12/11/07 19:59		711		- 0		102		4		222		289		- 0		26		7		145		1,505				12/11/07 19:59		737		434		1,505

		12		11		22		12/11/07 20:59		755		- 0		104		4		239		291		- 0		22		7		150		1,571				12/11/07 20:59		777		441		1,571

		12		11		23		12/11/07 21:59		667		- 0		103		4		238		289		- 0		19		7		152		1,478				12/11/07 21:59		686		441		1,478

		12		11		24		12/11/07 22:59		620		- 0		101		4		236		290		- 0		16		7		152		1,425				12/11/07 22:59		636		442		1,425

		12		12		1		12/11/07 23:59		772		- 0		96		4		210		284		- 0		12		6		150		1,535				12/11/07 23:59		784		434		1,535

		12		12		2		12/12/07 0:59		727		- 0		96		4		210		287		- 0		2		6		152		1,485				12/12/07 0:59		729		439		1,485

		12		12		3		12/12/07 1:59		756		- 0		98		4		209		285		- 0		2		6		151		1,511				12/12/07 1:59		758		436		1,511

		12		12		4		12/12/07 2:59		800		- 0		99		4		216		284		- 0		7		6		151		1,568				12/12/07 2:59		807		435		1,568

		12		12		5		12/12/07 3:59		802		- 0		98		4		217		289		- 0		8		6		151		1,575				12/12/07 3:59		810		440		1,575

		12		12		6		12/12/07 4:59		731		- 0		94		5		202		271		- 0		14		6		147		1,470				12/12/07 4:59		745		418		1,470

		12		12		7		12/12/07 5:59		769		- 0		100		10		220		275		- 0		20		6		147		1,547				12/12/07 5:59		789		422		1,547

		12		12		8		12/12/07 6:59		836		- 0		115		14		256		292		- 0		20		3		150		1,687				12/12/07 6:59		856		442		1,687

		12		12		9		12/12/07 7:59		835		- 0		124		17		276		289		- 0		19		- 0		146		1,705				12/12/07 7:59		854		435		1,705

		12		12		10		12/12/07 8:59		839		- 0		130		16		280		285		- 0		22		- 0		149		1,721				12/12/07 8:59		861		434		1,721

		12		12		11		12/12/07 9:59		662		- 0		121		16		250		272		- 0		21		- 0		141		1,483				12/12/07 9:59		683		413		1,483

		12		12		12		12/12/07 10:59		633		- 0		119		15		249		271		- 0		23		- 0		145		1,455				12/12/07 10:59		656		416		1,455

		12		12		13		12/12/07 11:59		659		- 0		123		13		259		279		- 0		17		- 0		145		1,495				12/12/07 11:59		676		424		1,495

		12		12		14		12/12/07 12:59		666		- 0		128		16		277		282		- 0		21		- 0		146		1,536				12/12/07 12:59		687		428		1,536

		12		12		15		12/12/07 13:59		647		- 0		127		16		273		285		- 0		26		- 0		150		1,523				12/12/07 13:59		673		435		1,523

		12		12		16		12/12/07 14:59		653		- 0		116		12		238		271		- 0		26		1		146		1,462				12/12/07 14:59		679		417		1,462

		12		12		17		12/12/07 15:59		753		- 0		124		9		251		286		- 0		34		6		149		1,611				12/12/07 15:59		787		435		1,611

		12		12		18		12/12/07 16:59		848		- 0		116		7		252		293		- 0		31		7		150		1,703				12/12/07 16:59		879		443		1,703

		12		12		19		12/12/07 17:59		830		- 0		111		7		243		286		- 0		34		7		149		1,666				12/12/07 17:59		864		435		1,666

		12		12		20		12/12/07 18:59		863		- 0		112		7		245		287		- 0		34		7		149		1,704				12/12/07 18:59		897		436		1,704

		12		12		21		12/12/07 19:59		709		- 0		103		7		216		272		- 0		28		7		145		1,487				12/12/07 19:59		737		417		1,487

		12		12		22		12/12/07 20:59		696		- 0		96		7		215		277		- 0		29		7		147		1,472				12/12/07 20:59		725		424		1,472

		12		12		23		12/12/07 21:59		749		- 0		98		6		237		296		- 0		24		7		152		1,569				12/12/07 21:59		773		448		1,569

		12		12		24		12/12/07 22:59		682		- 0		93		6		223		291		- 0		23		7		152		1,477				12/12/07 22:59		705		443		1,477

		12		13		1		12/12/07 23:59		803		- 0		99		6		220		280		- 0		20		6		150		1,585				12/12/07 23:59		823		430		1,585

		12		13		2		12/13/07 0:59		800		- 0		99		6		220		283		- 0		12		6		151		1,577				12/13/07 0:59		812		434		1,577

		12		13		3		12/13/07 1:59		802		- 0		96		6		210		280		- 0		11		6		149		1,561				12/13/07 1:59		813		429		1,561

		12		13		4		12/13/07 2:59		781		- 0		97		6		204		273		- 0		10		6		148		1,525				12/13/07 2:59		791		421		1,525

		12		13		5		12/13/07 3:59		734		- 0		93		5		189		262		- 0		11		6		146		1,445				12/13/07 3:59		745		408		1,445

		12		13		6		12/13/07 4:59		729		- 0		94		6		191		261		- 0		12		6		146		1,444				12/13/07 4:59		741		407		1,444

		12		13		7		12/13/07 5:59		974		- 0		114		11		238		282		- 0		20		6		147		1,792				12/13/07 5:59		994		429		1,792

		12		13		8		12/13/07 6:59		1,040		- 0		128		15		276		284		- 0		17		3		148		1,909				12/13/07 6:59		1,057		432		1,909

		12		13		9		12/13/07 7:59		1,013		- 0		139		18		291		283		- 0		15		- 0		147		1,905				12/13/07 7:59		1,028		430		1,905

		12		13		10		12/13/07 8:59		905		- 0		142		15		279		275		- 0		16		- 0		147		1,779				12/13/07 8:59		921		422		1,779

		12		13		11		12/13/07 9:59		924		- 0		141		16		285		272		- 0		17		- 0		148		1,804				12/13/07 9:59		941		420		1,804

		12		13		12		12/13/07 10:59		844		- 0		139		15		269		269		- 0		15		- 0		150		1,701				12/13/07 10:59		859		419		1,701

		12		13		13		12/13/07 11:59		714		- 0		132		13		249		255		- 0		15		- 0		147		1,525				12/13/07 11:59		729		402		1,525

		12		13		14		12/13/07 12:59		759		- 0		135		16		263		262		- 0		17		- 0		148		1,600				12/13/07 12:59		776		410		1,600

		12		13		15		12/13/07 13:59		753		- 0		133		15		262		267		- 0		16		- 0		148		1,594				12/13/07 13:59		769		415		1,594

		12		13		16		12/13/07 14:59		913		- 0		137		13		276		280		- 0		19		1		150		1,789				12/13/07 14:59		932		430		1,789

		12		13		17		12/13/07 15:59		1,134		- 0		143		11		291		296		- 0		21		6		151		2,053				12/13/07 15:59		1,155		447		2,053

		12		13		18		12/13/07 16:59		1,104		- 0		130		8		273		294		- 0		23		7		150		1,989				12/13/07 16:59		1,127		444		1,989

		12		13		19		12/13/07 17:59		1,147		- 0		125		7		275		296		- 0		25		7		151		2,032				12/13/07 17:59		1,172		447		2,032

		12		13		20		12/13/07 18:59		1,082		- 0		121		7		263		292		- 0		26		7		149		1,947				12/13/07 18:59		1,108		441		1,947

		12		13		21		12/13/07 19:59		968		- 0		116		8		248		288		- 0		18		7		149		1,802				12/13/07 19:59		986		437		1,802

		12		13		22		12/13/07 20:59		917		- 0		109		7		234		284		- 0		19		7		150		1,726				12/13/07 20:59		936		434		1,726

		12		13		23		12/13/07 21:59		830		- 0		104		7		217		276		- 0		13		7		148		1,602				12/13/07 21:59		843		424		1,602

		12		13		24		12/13/07 22:59		734		- 0		99		6		200		263		- 0		11		7		145		1,464				12/13/07 22:59		745		408		1,464

		12		14		1		12/13/07 23:59		728		- 0		95		7		196		273		- 0		10		6		148		1,463				12/13/07 23:59		738		421		1,463

		12		14		2		12/14/07 0:59		738		- 0		95		7		188		267		- 0		9		6		146		1,457				12/14/07 0:59		747		413		1,457

		12		14		3		12/14/07 1:59		754		- 0		94		7		190		270		- 0		7		6		148		1,475				12/14/07 1:59		761		418		1,475

		12		14		4		12/14/07 2:59		756		- 0		95		6		185		263		- 0		10		6		146		1,467				12/14/07 2:59		766		409		1,467

		12		14		5		12/14/07 3:59		766		- 0		96		5		184		262		- 0		5		6		146		1,471				12/14/07 3:59		771		408		1,471

		12		14		6		12/14/07 4:59		943		- 0		107		6		216		281		- 0		11		6		149		1,720				12/14/07 4:59		954		430		1,720

		12		14		7		12/14/07 5:59		1,097		- 0		119		11		250		294		- 0		10		6		149		1,934				12/14/07 5:59		1,107		443		1,934

		12		14		8		12/14/07 6:59		1,091		- 0		130		15		270		297		- 0		13		3		151		1,968				12/14/07 6:59		1,104		448		1,968

		12		14		9		12/14/07 7:59		1,044		- 0		140		18		285		288		- 0		17		- 0		147		1,939				12/14/07 7:59		1,061		435		1,939

		12		14		10		12/14/07 8:59		1,002		- 0		146		16		287		284		- 0		16		- 0		148		1,898				12/14/07 8:59		1,018		432		1,898

		12		14		11		12/14/07 9:59		893		- 0		142		16		278		275		- 0		18		- 0		149		1,771				12/14/07 9:59		911		424		1,771

		12		14		12		12/14/07 10:59		899		- 0		142		16		274		282		- 0		13		- 0		148		1,773				12/14/07 10:59		912		430		1,773

		12		14		13		12/14/07 11:59		743		- 0		130		14		249		266		- 0		16		- 0		147		1,565				12/14/07 11:59		759		413		1,565

		12		14		14		12/14/07 12:59		772		- 0		134		17		259		268		- 0		17		- 0		146		1,613				12/14/07 12:59		789		414		1,613

		12		14		15		12/14/07 13:59		739		- 0		129		14		251		269		- 0		19		- 0		146		1,568				12/14/07 13:59		758		415		1,568

		12		14		16		12/14/07 14:59		846		- 0		135		12		260		276		- 0		21		1		150		1,702				12/14/07 14:59		867		426		1,702

		12		14		17		12/14/07 15:59		1,100		- 0		146		10		278		288		- 0		25		6		150		2,002				12/14/07 15:59		1,125		438		2,002

		12		14		18		12/14/07 16:59		1,064		- 0		129		8		263		287		- 0		21		7		149		1,929				12/14/07 16:59		1,085		436		1,929

		12		14		19		12/14/07 17:59		1,129		- 0		128		9		261		294		- 0		25		7		153		2,006				12/14/07 17:59		1,154		447		2,006

		12		14		20		12/14/07 18:59		1,155		- 0		127		8		265		299		- 0		20		7		151		2,031				12/14/07 18:59		1,175		450		2,031

		12		14		21		12/14/07 19:59		994		- 0		115		8		240		285		- 0		17		7		149		1,815				12/14/07 19:59		1,011		434		1,815

		12		14		22		12/14/07 20:59		999		- 0		109		7		237		288		- 0		19		7		150		1,816				12/14/07 20:59		1,018		438		1,816

		12		14		23		12/14/07 21:59		749		- 0		99		7		197		261		- 0		16		7		146		1,481				12/14/07 21:59		765		407		1,481

		12		14		24		12/14/07 22:59		749		- 0		97		6		198		266		- 0		14		7		148		1,485				12/14/07 22:59		763		414		1,485

		12		15		1		12/14/07 23:59		808		- 0		87		7		163		250		- 0		14		6		147		1,482				12/14/07 23:59		822		397		1,482

		12		15		2		12/15/07 0:59		886		- 0		90		7		177		257		- 0		7		6		150		1,580				12/15/07 0:59		893		407		1,580

		12		15		3		12/15/07 1:59		801		- 0		88		6		156		244		- 0		9		6		145		1,455				12/15/07 1:59		810		389		1,455

		12		15		4		12/15/07 2:59		824		- 0		88		6		159		245		- 0		2		6		146		1,476				12/15/07 2:59		826		391		1,476

		12		15		5		12/15/07 3:59		833		- 0		88		5		156		239		- 0		5		6		145		1,477				12/15/07 3:59		838		384		1,477

		12		15		6		12/15/07 4:59		980		- 0		98		6		180		257		- 0		4		6		147		1,680				12/15/07 4:59		984		404		1,680

		12		15		7		12/15/07 5:59		1,201		- 0		113		11		218		265		- 0		8		6		148		1,969				12/15/07 5:59		1,209		413		1,969

		12		15		8		12/15/07 6:59		1,240		- 0		124		15		249		281		- 0		6		3		150		2,068				12/15/07 6:59		1,246		431		2,068

		12		15		9		12/15/07 7:59		1,185		- 0		135		18		260		273		- 0		4		- 0		145		2,019				12/15/07 7:59		1,189		418		2,019

		12		15		10		12/15/07 8:59		1,043		- 0		139		16		250		267		- 0		4		- 0		147		1,866				12/15/07 8:59		1,047		414		1,866

		12		15		11		12/15/07 9:59		1,007		- 0		136		17		249		263		- 0		11		- 0		145		1,828				12/15/07 9:59		1,018		408		1,828

		12		15		12		12/15/07 10:59		928		- 0		129		15		235		258		- 0		12		- 0		147		1,724				12/15/07 10:59		940		405		1,724

		12		15		13		12/15/07 11:59		848		- 0		124		13		220		253		- 0		10		- 0		147		1,615				12/15/07 11:59		858		400		1,615

		12		15		14		12/15/07 12:59		797		- 0		124		15		220		248		- 0		8		- 0		145		1,557				12/15/07 12:59		805		393		1,557

		12		15		15		12/15/07 13:59		918		- 0		128		14		230		258		- 0		13		- 0		149		1,709				12/15/07 13:59		931		407		1,709

		12		15		16		12/15/07 14:59		1,008		- 0		132		13		237		268		- 0		16		1		146		1,821				12/15/07 14:59		1,024		414		1,821

		12		15		17		12/15/07 15:59		1,154		- 0		136		10		240		277		- 0		17		6		151		1,991				12/15/07 15:59		1,171		428		1,991

		12		15		18		12/15/07 16:59		1,237		- 0		129		9		240		283		- 0		16		7		149		2,069				12/15/07 16:59		1,253		432		2,069

		12		15		19		12/15/07 17:59		1,198		- 0		123		8		228		279		- 0		17		7		150		2,010				12/15/07 17:59		1,215		429		2,010

		12		15		20		12/15/07 18:59		1,136		- 0		119		8		218		274		- 0		16		7		148		1,924				12/15/07 18:59		1,152		422		1,924

		12		15		21		12/15/07 19:59		1,163		- 0		117		7		215		276		- 0		16		7		147		1,949				12/15/07 19:59		1,179		423		1,949

		12		15		22		12/15/07 20:59		1,057		- 0		103		7		198		266		- 0		10		7		148		1,794				12/15/07 20:59		1,067		414		1,794

		12		15		23		12/15/07 21:59		970		- 0		99		7		186		266		- 0		7		7		147		1,688				12/15/07 21:59		977		413		1,688

		12		15		24		12/15/07 22:59		785		- 0		90		5		160		248		- 0		5		7		145		1,445				12/15/07 22:59		790		393		1,445

		12		16		1		12/15/07 23:59		679		- 0		81		7		190		285		- 0		1		6		151		1,399				12/15/07 23:59		680		436		1,399

		12		16		2		12/16/07 0:59		658		- 0		82		7		188		292		- 0		19		6		152		1,405				12/16/07 0:59		677		444		1,405

		12		16		3		12/16/07 1:59		680		- 0		80		7		185		285		- 0		19		6		149		1,412				12/16/07 1:59		699		434		1,412

		12		16		4		12/16/07 2:59		690		- 0		81		6		187		287		- 0		20		6		152		1,429				12/16/07 2:59		710		439		1,429

		12		16		5		12/16/07 3:59		728		- 0		83		5		190		286		- 0		22		6		152		1,472				12/16/07 3:59		750		438		1,472

		12		16		6		12/16/07 4:59		804		- 0		87		6		203		296		- 0		20		6		151		1,574				12/16/07 4:59		824		447		1,574

		12		16		7		12/16/07 5:59		750		- 0		89		10		191		275		- 0		20		6		147		1,488				12/16/07 5:59		770		422		1,488

		12		16		8		12/16/07 6:59		835		- 0		105		14		224		286		- 0		20		3		148		1,635				12/16/07 6:59		855		434		1,635

		12		16		9		12/16/07 7:59		791		- 0		112		15		232		286		- 0		20		- 0		146		1,602				12/16/07 7:59		811		432		1,602

		12		16		10		12/16/07 8:59		790		- 0		115		14		233		287		- 0		21		- 0		149		1,608				12/16/07 8:59		811		436		1,608

		12		16		11		12/16/07 9:59		757		- 0		115		14		230		282		- 0		25		- 0		146		1,568				12/16/07 9:59		782		428		1,568

		12		16		12		12/16/07 10:59		720		- 0		112		15		218		270		- 0		23		- 0		145		1,502				12/16/07 10:59		743		415		1,502

		12		16		13		12/16/07 11:59		761		- 0		111		12		222		284		- 0		22		- 0		148		1,560				12/16/07 11:59		783		432		1,560

		12		16		14		12/16/07 12:59		697		- 0		110		14		218		276		- 0		20		- 0		147		1,482				12/16/07 12:59		717		423		1,482

		12		16		15		12/16/07 13:59		695		- 0		104		12		206		276		- 0		22		- 0		146		1,461				12/16/07 13:59		717		422		1,461

		12		16		16		12/16/07 14:59		723		- 0		104		9		203		274		- 0		23		1		147		1,484				12/16/07 14:59		746		421		1,484

		12		16		17		12/16/07 15:59		871		- 0		107		8		215		296		- 0		22		6		145		1,669				12/16/07 15:59		893		441		1,669

		12		16		18		12/16/07 16:59		873		- 0		101		6		208		287		- 0		20		7		145		1,648				12/16/07 16:59		893		432		1,648

		12		16		19		12/16/07 17:59		734		- 0		96		5		188		280		- 0		23		7		147		1,479				12/16/07 17:59		757		427		1,479

		12		16		20		12/16/07 18:59		742		- 0		93		5		184		276		- 0		18		7		146		1,470				12/16/07 18:59		760		422		1,470

		12		16		21		12/16/07 19:59		736		- 0		91		5		184		274		- 0		19		7		147		1,462				12/16/07 19:59		755		421		1,462

		12		16		22		12/16/07 20:59		840		- 0		87		5		200		294		- 0		16		7		151		1,599				12/16/07 20:59		856		445		1,599

		12		16		23		12/16/07 21:59		796		- 0		88		5		191		292		- 0		14		7		151		1,543				12/16/07 21:59		810		443		1,543

		12		16		24		12/16/07 22:59		756		- 0		87		4		181		289		- 0		13		7		152		1,489				12/16/07 22:59		769		441		1,489

		12		17		1		12/16/07 23:59		749		- 0		104		4		236		296		- 0		15		6		149		1,560				12/16/07 23:59		764		445		1,560

		12		17		2		12/17/07 0:59		746		- 0		105		4		234		292		- 0		16		6		152		1,555				12/17/07 0:59		762		444		1,555

		12		17		3		12/17/07 1:59		680		- 0		102		4		226		279		- 0		17		6		151		1,465				12/17/07 1:59		697		430		1,465

		12		17		4		12/17/07 2:59		686		- 0		100		4		225		284		- 0		20		6		152		1,477				12/17/07 2:59		706		436		1,477

		12		17		5		12/17/07 3:59		722		- 0		100		4		226		287		- 0		19		6		151		1,515				12/17/07 3:59		741		438		1,515

		12		17		6		12/17/07 4:59		740		- 0		102		4		234		292		- 0		22		6		151		1,551				12/17/07 4:59		762		443		1,551

		12		17		7		12/17/07 5:59		733		- 0		99		5		224		276		- 0		25		6		148		1,517				12/17/07 5:59		758		424		1,517

		12		17		8		12/17/07 6:59		719		- 0		96		5		215		263		- 0		26		5		147		1,474				12/17/07 6:59		745		410		1,474

		12		17		9		12/17/07 7:59		700		- 0		103		5		217		272		- 0		24		- 0		147		1,467				12/17/07 7:59		724		419		1,467

		12		17		10		12/17/07 8:59		694		- 0		106		5		214		269		- 0		27		- 0		147		1,460				12/17/07 8:59		721		416		1,460

		12		17		11		12/17/07 9:59		759		- 0		115		5		247		287		- 0		24		- 0		150		1,587				12/17/07 9:59		783		437		1,587

		12		17		12		12/17/07 10:59		702		- 0		108		4		227		273		- 0		26		- 0		148		1,488				12/17/07 10:59		728		421		1,488

		12		17		13		12/17/07 11:59		764		- 0		109		4		247		286		- 0		23		- 0		151		1,584				12/17/07 11:59		787		437		1,584

		12		17		14		12/17/07 12:59		768		- 0		109		4		248		285		- 0		23		- 0		151		1,589				12/17/07 12:59		791		436		1,589

		12		17		15		12/17/07 13:59		763		- 0		111		4		244		286		- 0		23		- 0		150		1,582				12/17/07 13:59		786		436		1,582

		12		17		16		12/17/07 14:59		704		- 0		107		4		214		272		- 0		24		1		147		1,474				12/17/07 14:59		728		419		1,474

		12		17		17		12/17/07 15:59		881		- 0		118		5		231		286		- 0		25		6		151		1,702				12/17/07 15:59		906		437		1,702

		12		17		18		12/17/07 16:59		781		- 0		104		4		211		274		- 0		20		7		147		1,549				12/17/07 16:59		801		421		1,549

		12		17		19		12/17/07 17:59		772		- 0		105		4		206		271		- 0		23		7		147		1,534				12/17/07 17:59		795		418		1,534

		12		17		20		12/17/07 18:59		718		- 0		101		4		203		273		- 0		21		7		146		1,474				12/17/07 18:59		739		419		1,474

		12		17		21		12/17/07 19:59		674		- 0		100		4		192		263		- 0		22		7		146		1,407				12/17/07 19:59		696		409		1,407

		12		17		22		12/17/07 20:59		712		- 0		100		4		207		277		- 0		19		7		149		1,474				12/17/07 20:59		731		426		1,474

		12		17		23		12/17/07 21:59		778		- 0		104		4		227		290		- 0		15		7		151		1,577				12/17/07 21:59		793		441		1,577

		12		17		24		12/17/07 22:59		754		- 0		105		4		227		292		- 0		16		7		152		1,556				12/17/07 22:59		770		444		1,556

		12		18		1		12/17/07 23:59		741		- 0		109		5		239		293		- 0		14		6		151		1,557				12/17/07 23:59		755		444		1,557

		12		18		2		12/18/07 0:59		669		- 0		107		4		236		290		- 0		13		6		153		1,478				12/18/07 0:59		682		443		1,478

		12		18		3		12/18/07 1:59		686		- 0		107		4		236		289		- 0		12		6		152		1,491				12/18/07 1:59		698		441		1,491

		12		18		4		12/18/07 2:59		702		- 0		105		4		235		289		- 0		10		6		151		1,504				12/18/07 2:59		712		440		1,504

		12		18		5		12/18/07 3:59		699		- 0		106		4		235		285		- 0		11		6		151		1,497				12/18/07 3:59		710		436		1,497

		12		18		6		12/18/07 4:59		763		- 0		105		4		239		288		- 0		17		6		151		1,574				12/18/07 4:59		780		439		1,574

		12		18		7		12/18/07 5:59		693		- 0		103		4		223		279		- 0		19		6		148		1,475				12/18/07 5:59		712		427		1,475

		12		18		8		12/18/07 6:59		715		- 0		100		4		224		275		- 0		20		5		148		1,492				12/18/07 6:59		735		423		1,492

		12		18		9		12/18/07 7:59		689		- 0		101		4		220		275		- 0		20		- 0		147		1,456				12/18/07 7:59		709		422		1,456

		12		18		10		12/18/07 8:59		709		- 0		103		4		219		276		- 0		17		- 0		147		1,476				12/18/07 8:59		726		423		1,476

		12		18		11		12/18/07 9:59		692		- 0		105		4		222		278		- 0		16		- 0		147		1,464				12/18/07 9:59		708		425		1,464

		12		18		12		12/18/07 10:59		692		- 0		102		4		228		278		- 0		23		- 0		149		1,476				12/18/07 10:59		715		427		1,476

		12		18		13		12/18/07 11:59		700		- 0		104		4		226		278		- 0		18		- 0		148		1,479				12/18/07 11:59		718		426		1,479

		12		18		14		12/18/07 12:59		683		- 0		102		4		226		281		- 0		23		- 0		148		1,467				12/18/07 12:59		706		429		1,467

		12		18		15		12/18/07 13:59		717		- 0		109		4		238		283		- 0		21		- 0		146		1,517				12/18/07 13:59		738		429		1,517

		12		18		16		12/18/07 14:59		676		- 0		107		4		216		275		- 0		26		1		147		1,452				12/18/07 14:59		702		422		1,452

		12		18		17		12/18/07 15:59		847		- 0		115		4		243		292		- 0		26		6		150		1,682				12/18/07 15:59		873		442		1,682

		12		18		18		12/18/07 16:59		880		- 0		114		4		238		291		- 0		25		7		150		1,709				12/18/07 16:59		905		441		1,709

		12		18		19		12/18/07 17:59		804		- 0		109		4		227		280		- 0		22		7		148		1,601				12/18/07 17:59		826		428		1,601

		12		18		20		12/18/07 18:59		906		- 0		112		4		239		292		- 0		22		7		150		1,732				12/18/07 18:59		928		442		1,732

		12		18		21		12/18/07 19:59		746		- 0		105		4		217		275		- 0		20		7		147		1,522				12/18/07 19:59		766		422		1,522

		12		18		22		12/18/07 20:59		694		- 0		103		4		215		277		- 0		24		7		147		1,472				12/18/07 20:59		718		424		1,472

		12		18		23		12/18/07 21:59		752		- 0		108		4		244		293		- 0		17		7		150		1,576				12/18/07 21:59		769		443		1,576

		12		18		24		12/18/07 22:59		721		- 0		109		4		253		296		- 0		16		7		152		1,558				12/18/07 22:59		737		448		1,558

		12		19		1		12/18/07 23:59		652		- 0		92		4		204		283		- 0		7		6		151		1,400				12/18/07 23:59		659		434		1,400

		12		19		2		12/19/07 0:59		644		- 0		89		4		202		279		- 0		16		6		151		1,392				12/19/07 0:59		660		430		1,392

		12		19		3		12/19/07 1:59		677		- 0		91		4		214		289		- 0		15		6		150		1,447				12/19/07 1:59		692		439		1,447

		12		19		4		12/19/07 2:59		642		- 0		91		4		204		284		- 0		18		6		153		1,401				12/19/07 2:59		660		437		1,401

		12		19		5		12/19/07 3:59		669		- 0		90		5		206		283		- 0		19		6		152		1,430				12/19/07 3:59		688		435		1,430

		12		19		6		12/19/07 4:59		745		- 0		96		5		221		286		- 0		26		6		151		1,536				12/19/07 4:59		771		437		1,536

		12		19		7		12/19/07 5:59		694		- 0		95		10		212		275		- 0		27		6		146		1,466				12/19/07 5:59		721		421		1,466

		12		19		8		12/19/07 6:59		680		- 0		103		12		228		269		- 0		24		5		146		1,468				12/19/07 6:59		704		415		1,468

		12		19		9		12/19/07 7:59		661		- 0		116		13		247		270		- 0		22		- 0		147		1,477				12/19/07 7:59		683		417		1,477

		12		19		10		12/19/07 8:59		640		- 0		121		13		254		270		- 0		27		- 0		148		1,473				12/19/07 8:59		667		418		1,473

		12		19		11		12/19/07 9:59		654		- 0		123		14		268		280		- 0		27		- 0		149		1,513				12/19/07 9:59		681		429		1,513

		12		19		12		12/19/07 10:59		698		- 0		124		13		282		285		- 0		23		- 0		151		1,577				12/19/07 10:59		721		436		1,577

		12		19		13		12/19/07 11:59		686		- 0		125		13		287		293		- 0		23		- 0		153		1,579				12/19/07 11:59		709		446		1,579

		12		19		14		12/19/07 12:59		666		- 0		128		15		290		293		- 0		25		- 0		153		1,570				12/19/07 12:59		691		446		1,570

		12		19		15		12/19/07 13:59		659		- 0		125		13		286		293		- 0		24		- 0		152		1,552				12/19/07 13:59		683		445		1,552

		12		19		16		12/19/07 14:59		655		- 0		119		11		259		280		- 0		27		1		149		1,501				12/19/07 14:59		682		429		1,501

		12		19		17		12/19/07 15:59		749		- 0		124		8		248		286		- 0		36		6		149		1,606				12/19/07 15:59		785		435		1,606

		12		19		18		12/19/07 16:59		845		- 0		114		6		246		290		- 0		33		7		150		1,690				12/19/07 16:59		878		440		1,690

		12		19		19		12/19/07 17:59		874		- 0		112		7		245		286		- 0		29		7		150		1,711				12/19/07 17:59		903		436		1,711

		12		19		20		12/19/07 18:59		808		- 0		109		7		232		280		- 0		27		7		149		1,618				12/19/07 18:59		835		429		1,618

		12		19		21		12/19/07 19:59		713		- 0		99		6		214		276		- 0		27		7		147		1,489				12/19/07 19:59		740		423		1,489

		12		19		22		12/19/07 20:59		703		- 0		97		6		209		272		- 0		25		7		147		1,466				12/19/07 20:59		728		419		1,466

		12		19		23		12/19/07 21:59		783		- 0		100		6		232		291		- 0		17		7		150		1,586				12/19/07 21:59		800		441		1,586

		12		19		24		12/19/07 22:59		763		- 0		96		5		229		296		- 0		18		7		152		1,565				12/19/07 22:59		781		448		1,565

		12		20		1		12/19/07 23:59		856		- 0		99		6		198		255		- 0		17		6		149		1,586				12/19/07 23:59		873		404		1,586

		12		20		2		12/20/07 0:59		853		- 0		99		6		192		261		- 0		6		6		148		1,573				12/20/07 0:59		859		409		1,573

		12		20		3		12/20/07 1:59		789		- 0		94		5		176		246		- 0		7		6		146		1,470				12/20/07 1:59		796		392		1,470

		12		20		4		12/20/07 2:59		870		- 0		98		6		193		257		- 0		5		6		148		1,583				12/20/07 2:59		875		405		1,583

		12		20		5		12/20/07 3:59		789		- 0		95		4		176		247		- 0		9		6		147		1,473				12/20/07 3:59		798		394		1,473

		12		20		6		12/20/07 4:59		813		- 0		97		5		175		242		- 0		12		6		145		1,495				12/20/07 4:59		825		387		1,495

		12		20		7		12/20/07 5:59		1,039		- 0		111		9		223		259		- 0		15		6		148		1,810				12/20/07 5:59		1,054		407		1,810

		12		20		8		12/20/07 6:59		1,113		- 0		128		15		255		265		- 0		11		5		147		1,939				12/20/07 6:59		1,124		412		1,939

		12		20		9		12/20/07 7:59		1,056		- 0		136		16		261		263		- 0		10		- 0		146		1,887				12/20/07 7:59		1,066		409		1,887

		12		20		10		12/20/07 8:59		962		- 0		141		14		261		264		- 0		11		- 0		146		1,800				12/20/07 8:59		973		410		1,800

		12		20		11		12/20/07 9:59		924		- 0		139		15		256		255		- 0		8		- 0		146		1,743				12/20/07 9:59		932		401		1,743

		12		20		12		12/20/07 10:59		923		- 0		136		15		254		258		- 0		12		- 0		149		1,747				12/20/07 10:59		935		407		1,747

		12		20		13		12/20/07 11:59		744		- 0		124		12		223		242		- 0		11		- 0		145		1,502				12/20/07 11:59		755		387		1,502

		12		20		14		12/20/07 12:59		704		- 0		128		14		224		237		- 0		13		- 0		144		1,463				12/20/07 12:59		717		381		1,463

		12		20		15		12/20/07 13:59		796		- 0		130		14		235		251		- 0		12		- 0		147		1,585				12/20/07 13:59		808		398		1,585

		12		20		16		12/20/07 14:59		924		- 0		133		11		249		262		- 0		17		1		149		1,746				12/20/07 14:59		941		411		1,746

		12		20		17		12/20/07 15:59		1,003		- 0		131		9		245		264		- 0		25		6		148		1,831				12/20/07 15:59		1,028		412		1,831

		12		20		18		12/20/07 16:59		1,093		- 0		122		7		240		265		- 0		24		7		149		1,907				12/20/07 16:59		1,117		414		1,907

		12		20		19		12/20/07 17:59		1,017		- 0		113		8		225		265		- 0		27		7		149		1,810				12/20/07 17:59		1,044		414		1,810

		12		20		20		12/20/07 18:59		1,013		- 0		114		8		224		270		- 0		27		7		149		1,811				12/20/07 18:59		1,040		419		1,811

		12		20		21		12/20/07 19:59		860		- 0		103		8		199		248		- 0		24		7		147		1,596				12/20/07 19:59		884		395		1,596

		12		20		22		12/20/07 20:59		749		- 0		92		7		179		241		- 0		27		7		145		1,447				12/20/07 20:59		776		386		1,447

		12		20		23		12/20/07 21:59		825		- 0		98		9		204		266		- 0		21		7		151		1,580				12/20/07 21:59		846		417		1,580

		12		20		24		12/20/07 22:59		760		- 0		92		6		189		256		- 0		20		7		151		1,481				12/20/07 22:59		780		407		1,481

		12		21		1		12/20/07 23:59		789		- 0		88		6		177		260		- 0		18		6		146		1,490				12/20/07 23:59		807		406		1,490

		12		21		2		12/21/07 0:59		769		- 0		89		6		178		261		- 0		14		6		151		1,474				12/21/07 0:59		783		412		1,474

		12		21		3		12/21/07 1:59		764		- 0		87		6		176		260		- 0		15		6		151		1,466				12/21/07 1:59		779		411		1,466

		12		21		4		12/21/07 2:59		796		- 0		88		6		172		259		- 0		15		6		150		1,491				12/21/07 2:59		811		409		1,491

		12		21		5		12/21/07 3:59		855		- 0		90		5		179		265		- 0		16		6		150		1,567				12/21/07 3:59		871		415		1,567

		12		21		6		12/21/07 4:59		778		- 0		91		5		164		244		- 0		16		6		145		1,449				12/21/07 4:59		794		389		1,449

		12		21		7		12/21/07 5:59		937		- 0		101		9		194		253		- 0		17		6		147		1,664				12/21/07 5:59		954		400		1,664

		12		21		8		12/21/07 6:59		927		- 0		112		13		218		255		- 0		20		5		147		1,696				12/21/07 6:59		947		402		1,696

		12		21		9		12/21/07 7:59		981		- 0		129		16		244		254		- 0		21		- 0		146		1,790				12/21/07 7:59		1,002		400		1,790

		12		21		10		12/21/07 8:59		895		- 0		126		14		231		252		- 0		17		- 0		146		1,681				12/21/07 8:59		912		398		1,681

		12		21		11		12/21/07 9:59		837		- 0		120		16		226		245		- 0		17		- 0		144		1,604				12/21/07 9:59		854		389		1,604

		12		21		12		12/21/07 10:59		796		- 0		125		15		221		248		- 0		22		- 0		145		1,571				12/21/07 10:59		818		393		1,571

		12		21		13		12/21/07 11:59		741		- 0		120		13		210		239		- 0		25		- 0		145		1,493				12/21/07 11:59		766		384		1,493

		12		21		14		12/21/07 12:59		794		- 0		126		13		221		244		- 0		25		- 0		147		1,571				12/21/07 12:59		819		391		1,571

		12		21		15		12/21/07 13:59		904		- 0		133		12		237		256		- 0		24		- 0		148		1,714				12/21/07 13:59		928		404		1,714

		12		21		16		12/21/07 14:59		1,013		- 0		135		11		243		267		- 0		21		1		147		1,838				12/21/07 14:59		1,034		414		1,838

		12		21		17		12/21/07 15:59		1,236		- 0		144		9		259		279		- 0		27		6		149		2,107				12/21/07 15:59		1,263		428		2,107

		12		21		18		12/21/07 16:59		1,138		- 0		126		8		237		278		- 0		25		7		148		1,965				12/21/07 16:59		1,163		426		1,965

		12		21		19		12/21/07 17:59		1,169		- 0		123		8		232		281		- 0		23		7		153		1,996				12/21/07 17:59		1,192		434		1,996

		12		21		20		12/21/07 18:59		1,048		- 0		114		8		216		270		- 0		20		7		149		1,832				12/21/07 18:59		1,068		419		1,832

		12		21		21		12/21/07 19:59		998		- 0		107		7		207		267		- 0		29		7		148		1,770				12/21/07 19:59		1,027		415		1,770

		12		21		22		12/21/07 20:59		907		- 0		97		7		185		250		- 0		21		7		147		1,622				12/21/07 20:59		928		397		1,622

		12		21		23		12/21/07 21:59		758		- 0		90		7		170		239		- 0		21		7		146		1,438				12/21/07 21:59		779		385		1,438

		12		21		24		12/21/07 22:59		822		- 0		91		6		176		250		- 0		15		7		147		1,513				12/21/07 22:59		837		397		1,513

		12		22		1		12/21/07 23:59		794		- 0		74		7		133		234		- 0		14		6		150		1,413				12/21/07 23:59		808		384		1,413

		12		22		2		12/22/07 0:59		802		- 0		75		6		134		237		- 0		16		6		148		1,424				12/22/07 0:59		818		385		1,424

		12		22		3		12/22/07 1:59		791		- 0		74		7		132		234		- 0		19		6		149		1,411				12/22/07 1:59		810		383		1,411

		12		22		4		12/22/07 2:59		782		- 0		74		6		129		233		- 0		16		6		148		1,396				12/22/07 2:59		798		381		1,396

		12		22		5		12/22/07 3:59		816		- 0		74		5		130		238		- 0		18		6		149		1,437				12/22/07 3:59		834		387		1,437

		12		22		6		12/22/07 4:59		900		- 0		76		6		138		230		- 0		17		6		148		1,521				12/22/07 4:59		917		378		1,521

		12		22		7		12/22/07 5:59		832		- 0		81		11		141		227		- 0		22		6		144		1,464				12/22/07 5:59		854		371		1,464

		12		22		8		12/22/07 6:59		834		- 0		91		13		159		227		- 0		19		5		145		1,492				12/22/07 6:59		853		372		1,492

		12		22		9		12/22/07 7:59		791		- 0		104		16		173		231		- 0		21		- 0		145		1,479				12/22/07 7:59		812		376		1,479

		12		22		10		12/22/07 8:59		733		- 0		108		14		170		225		- 0		24		- 0		144		1,417				12/22/07 8:59		757		369		1,417

		12		22		11		12/22/07 9:59		762		- 0		110		15		177		230		- 0		27		- 0		145		1,466				12/22/07 9:59		789		375		1,466

		12		22		12		12/22/07 10:59		759		- 0		106		15		173		226		- 0		22		- 0		145		1,446				12/22/07 10:59		781		371		1,446

		12		22		13		12/22/07 11:59		792		- 0		107		12		178		234		- 0		23		- 0		145		1,491				12/22/07 11:59		815		379		1,491

		12		22		14		12/22/07 12:59		762		- 0		112		15		174		223		- 0		28		- 0		143		1,457				12/22/07 12:59		790		366		1,457

		12		22		15		12/22/07 13:59		794		- 0		110		13		169		225		- 0		24		- 0		145		1,479				12/22/07 13:59		818		370		1,479

		12		22		16		12/22/07 14:59		854		- 0		111		11		172		231		- 0		28		1		144		1,551				12/22/07 14:59		882		375		1,551

		12		22		17		12/22/07 15:59		1,095		- 0		120		9		190		251		- 0		28		5		148		1,845				12/22/07 15:59		1,123		399		1,845

		12		22		18		12/22/07 16:59		1,163		- 0		114		7		188		248		- 0		28		7		148		1,903				12/22/07 16:59		1,191		396		1,903

		12		22		19		12/22/07 17:59		1,151		- 0		111		7		183		253		- 0		21		7		148		1,880				12/22/07 17:59		1,172		401		1,880

		12		22		20		12/22/07 18:59		1,073		- 0		104		7		171		246		- 0		23		7		147		1,777				12/22/07 18:59		1,096		393		1,777

		12		22		21		12/22/07 19:59		1,031		- 0		99		6		165		242		- 0		16		7		144		1,709				12/22/07 19:59		1,047		386		1,709

		12		22		22		12/22/07 20:59		999		- 0		91		6		152		239		- 0		15		7		146		1,654				12/22/07 20:59		1,014		385		1,654

		12		22		23		12/22/07 21:59		846		- 0		85		5		134		225		- 0		8		7		145		1,454				12/22/07 21:59		854		370		1,454

		12		22		24		12/22/07 22:59		955		- 0		86		5		144		239		- 0		5		7		145		1,586				12/22/07 22:59		960		384		1,586

		12		23		1		12/22/07 23:59		799		- 0		77		5		165		268		- 0		2		6		149		1,471				12/22/07 23:59		801		417		1,471

		12		23		2		12/23/07 0:59		746		- 0		75		5		165		267		- 0		13		6		152		1,430				12/23/07 0:59		759		419		1,430

		12		23		3		12/23/07 1:59		766		- 0		76		5		161		271		- 0		13		6		152		1,449				12/23/07 1:59		779		423		1,449

		12		23		4		12/23/07 2:59		774		- 0		74		4		161		266		- 0		16		6		148		1,451				12/23/07 2:59		790		414		1,451

		12		23		5		12/23/07 3:59		792		- 0		73		5		162		270		- 0		16		6		151		1,475				12/23/07 3:59		808		421		1,475

		12		23		6		12/23/07 4:59		742		- 0		74		5		156		259		- 0		21		6		151		1,414				12/23/07 4:59		763		410		1,414

		12		23		7		12/23/07 5:59		809		- 0		79		7		172		259		- 0		21		6		149		1,503				12/23/07 5:59		830		408		1,503

		
