February 1, 2008
File Number : R-3648-2007
Information request No 2 of EBMI to the Distributor
Page 1 of 2

INFORMATION REQUEST No 2 
FOR EBMI BY ITS EXPERTS 
PERTAINING TO THE APPLICATION
FOR APPROVAL OF DISTRIBUTOR’S 2008-2017 SUPPLY PLAN

1. Reference :
HQD-1, Document 1, pg. 37, lines 9-10.

Preamble :
In this sentence, HQD says that it will make the amount of unutilized patrimonial electricity minimal. In its decision D-2005-178 in file R-3550-2004, at p. 28, the Régie requested that the Distributor file, in Excel format, certain information relative to supply and patrimonial electricity.

Request :

1.1 Please indicate if the information requested at p. 28 of the decision D-2005-178 has been filed and provide us with the reference.

1.2 Unless already provided in 1.1, please supply actual curves for load duration and chronological hourly demand for the years 2005, 2006 and 2007.

1.3 Unless already provided in 1.1 please supply the volume of non-heritage pool electricity profile used for each of these hours. Please provide the breakdown by each long-term contract and for any amount related to short-term supply.
1.4 Unless already provided in 1.1, please supply the volumes in excess of the heritage electricity profile for each of these hours.

1.5 Unless already provided in 1.1, please supply the unused volumes of heritage pool electricity for each of these hours

1.6 Unless already provided in 1.1, please give reasons for differences from year to year in the total annual unused volume of heritage pool energy for the three years requested

2. Reference :
HQD-1, Document 2, Annexe 4B, pg. 215.
Preamble :

The table lists the amounts, generation location, and in-service dates for long-term electricity supply contracts entered into by HQD.
Request :

2.1 Please confirm that these are all the long-term contracts for supply in addition to the heritage pool. If the list is not complete, please provide the information (as per the table list) concerning any other long-term contract.

2.2 Please confirm that the contracts (or parts of contracts) designated “base” are take or pay contracts for the entire contracted amount to be supplied on the basis of 24 hours a day, seven days per week at all times that the generating facility is in service. If this is not the case, please provide the terms of the contract.

3. Reference :
 HQD-1, Document 1, pg. 36, table 5.1.
Preamble :

The table indicates the expected amounts of surplus energy in each year of the Plan.

Request :

3.1 Please provide the hourly profile in 2008 and 2009 of the surplus non-heritage pool energy.
4. Reference :
HQD-1, Document 1, pg. 39, lines 19-22.
Preamble :

These lines describe possible methods of resale for excess supply remaining after the suspension of the TCE contract.
Request :

4.1 By requesting a prior transaction agreement with HQD, does HQD considers that it is limiting the number of additional potential participants to any RFPs?

4.2
Has any potential participant indicated to HQD that it considers the requirement for a prior transaction agreement to be a barrier to its participation?

