## Instructions
Registered Entity Instructions
FAC-003 Outage Reporting Form
Reporting Instructions in case of Outage
• The Registered Entity will use this Outage Reporting Form if any Sustained Outages have occurred per FAC-003.
• Reports are due on the 20th day of the month immediately following the end of the preceding calendar quarter.
Submission Frequency (Periodic Data Submittal Schedule is included in the Québec Annual Implementation Plan for a given calendar year):
Only if there were FAC-003 events in the quarter, per the following schedule - Quarter Due Date:
January 1 through March 31: April 20
April 1 through June 30: July 20
July 1 through September 30: October 20
October 1 through December 31: January 20
Guidelines
The applicable Transmission Owner and applicable Generator Owner will submit a quarterly report to NPCC and the Régie identifying all¹ Sustained Outages of applicable lines² operated within their Rating and all Rated Electrical Operating Conditions as determined by the applicable Transmission Owner or applicable Generator Owner to have been caused by vegetation.
1: This requirement does not apply to circumstances that are beyond the control of a Transmission Owner or Generator Owner subject to this reliability standard, including natural disasters such as earthquakes, fires, tornados, hurricanes, landslides, wind shear, fresh gale, major storms as defined either by the Transmission Owner, Generator Owner, or an applicable regulatory body, ice storms, and floods; human or animal activity such as logging, animal severing tree, vehicle contact with tree, or installation, removal, or digging of vegetation.
2: Applicable lines, including but not limited to those that cross lands owned by provincial, public, private, or Indigenous nations, are defined as: Each overhead transmission line operated at 200kV or higher; Each overhead transmission line operated below 200 kV identified as an element of an IROL by the Reliability Coordinator; Each overhead transmission line identified above located outside the fenced area of the switchyard, station or substation and any portion of the span of the transmission line that is crossing the substation fence.
Instructions
1. Complete information in the Outage Reporting Form tab based on the the guidelines above. Contact NPCC and the Régie if there are any questions.
2. If necessary, contact the Régie (secretariat-PSCAQ@regie-energie.qc.ca) to create a new mandate in the SSCQ for this submission.
3. Complete the information in the Outage Reporting Form tab, submit this form to the Documents webpart of the created mandate in the SSCQ prior to the deadline listed above. Notify NPCC and the Régie of its upload.

## Outage Reporting Form
FAC-003 Outage Reporting Form
Please complete the following sections per the instructions provided in the Instructions tab.
General Information
Registered Entity Name: | (Registered Entity Name)
NIR Number: | (NIR Number)
Function: | (TO/GO)
Phone contact: | (XXX) XXX-XXXX XXXX
Date of Report: | (Date)
Reporting Quarter - Year: | (Quarter/yyyy)
Description of the Outage(s) (confidential and non-public)
Transmission Circuit Information | [5 empty] | Transmission Outage Description |  |  |  |  | Vegetation Description | [5 empty] | Other comments |  |  | Corrective and Preventative Actions |  | Other Comments
Name of the circuit(s) affected by the vegetation contact | Has the reported circuit experienced a previous vegetation-related transmission outage within the last eight reporting quarters? | State the quarter if the reported circuit has experienced a previous vegetation-related transmission outage | Nominal voltage level of the circuit | Element of Interconnection Reliability Operating Limit (IROL)? | Flow on the facility just prior to the outage | Outage start date | Outage start time | Outage Duration | Detailed description of the cause of the outage | Category associated with the Sustained Outage | Vegetation Location Inside or outside the ROW | If the vegetation causing the outage was located outside of the ROW provide the horizontal distance* to the edge of the ROW | If the vegetation causing the outage was located outside of the ROW provide the horizontal distance* to the nearest conductor | Tree type | Tree height | Tree condition | Weather event/Condition | Reported quarter | Reported year | Mitigation/remediation actions taken by Registered Entity to address recurrence of the contact/encroachment | Actions taken by NPCC
(Name) | (Y/N) | (Quarter/Year) | (kV) | (Y/N) | (% of normal rating) | (mm/dd/yyy) | (hh:mm) | (minutes) |  | (1A&B ; 2A&B ; 3 ; 4A&B) | (Intérieur/extérieur) | (meters) | (meters) |  | (meters) |  |  |  | (yyyy)
(Name) | (Y/N) | (Quarter/Year) | (kV) | (Y/N) | (% of normal rating) | (mm/dd/yyy) | (hh:mm) | (minutes) |  | (1A&B ; 2A&B ; 3 ; 4A&B) | (Intérieur/extérieur) | (meters) | (meters) |  | (meters) |  |  |  | (yyyy)
(Name) | (Y/N) | (Quarter/Year) | (kV) | (Y/N) | (% of normal rating) | (mm/dd/yyy) | (hh:mm) | (minutes) |  | (1A&B ; 2A&B ; 3 ; 4A&B) | (Intérieur/extérieur) | (meters) | (meters) |  | (meters) |  |  |  | (yyyy)
*Horizontal distance – measured along the ground from tree stump to a point on the ground directly below the conductor.