Québec Operations and Planning (O&P) Reliability Standards Self-Report Form

Enforcement Milestones and Deadlines	2

Registered Entity Contact Information	3

General Information	4

Information for Operations and Planning (O&P) Reliability Standards	6

Helpful Resources	10

Revision History	11

# Enforcement Milestones and Deadlines

Please note the important dates/deadlines below (subject to change and may not be inclusive).

| Activity | Utilization | Approximate Deadline |
| --- | --- | --- |
| Preliminary Screen | To inform you that NPCC has confirmed the standard and requirements were applicable, and to remind you of your obligation to preserve documentation pertaining to the possible Non-Compliance. | Generally, within five (5) business days after submittal. |
| Triage | NPCC’s initial risk and mitigation assessment to determine priority and level of effort. NPCC internal process. | Generally, within fourteen (14) calendar days after the English version of the Self-Report was received by NPCC (following the translation of the French version either by the entity or by NPCC). |
| Request for information (RFI) | NPCC’s request to obtain information needed to complete Enforcement review. | Depending on the initial risk assessment, the initial RFI may be issued after approximately one year following the submittal of the Self-Report. Generally, fourteen (14) calendar days are given to respond for each RFI. |
| Request for settlement | Registered Entity’s request to negotiate the terms of the possible Non-Compliance disposition. | Registered Entities can request settlement at any time. |
| Simplified Identification, Correction and Monitoring Procedure (SICM) | To inform the Registered Entity that the possible Non-Compliance is of minimal/moderate risk Non-Compliance and no monetary penalty is levied. | Varies |
| Notice of Non-Compliance | To inform the Registered Entity of the proposed financial penalty or sanction as a result of Non-Compliance. | Varies |
| Mitigating Measures/Actions and/or Mitigation Plan | Entity measures, actions or plans to correct the possible Non-Compliance. | Generally, the measures, actions or plan to correct and prevent recurrence are submitted within three (3) months following the Self-Report. |

# Registered Entity Contact Information

| Registered Entity: |  |
| --- | --- |
| Régie Identification Number (NIR): |  |
| Contact Information of the person submitting the Self-Report: |  |
| Email: |  |
| Phone: |  |
| Contact Information of the person NPCC should contact for supplemental information regarding the Self-Report: |  |
| Email: |  |
| Phone: |  |

# General Information

| Standard associated with possible Non-Compliance: |  |
| --- | --- |
| Requirement and/or part associated with the possible Non-Compliance: |  |
| Function(s) associated with the possible Non-Compliance: (Select all that apply.) | ☐BA ☐RC ☐TOP ☐TO ☐GOP ☐GO ☐DP ☐PA/PC ☐TP ☐LSE ☐RP ☐TSP |
| Was the possible Non-Compliance self-identified during a compliance engagement or self-reported outside a compliance engagement? | ☐ Self-identified during an engagement ☐ Outside of a compliance engagement |
| Discovery date: |  |
| Circumstances surrounding the identification of the possible Non-Compliance: - Who discovered it, how was it discovered, what prompted the actions that led to the discovery, and what was discovered? - If it was discovered through an internal control, explain the internal control and the periodicity of that internal control. If it was discovered through a compliance activity related to another requirement, explain that activity and the associated requirement. |  |
| Start date of the possible Non-Compliance: |  |
| Effective/expected end date of the possible Non-Compliance: |  |
| Describe any ongoing or completed Extent of condition (EOC) activity(ies). The EOC should consider the following: - Other affiliate companies or facilities across your corporate structure. - Procedures, assets, facilities, or personnel directly or potentially affected by the possible Non-Compliance. - Other affected Reliability Standards, to determine if any were also violated based on the circumstances of the reported possible Non-Compliance. - Prior compliance history involving similar conduct or gap in internal controls, if known. - Whether the extent of condition changed from what was originally reported (e.g., additional devices/facilities/personnel found to be affected). - Date when the EOC activity(ies) will be completed. If no EOC activity(ies) was performed, elaborate on the reasons. |  |
| Describe the cause(s) of the possible Non-Compliance. Identify all contributing causes to effectively correct the instant issue and prevent recurrence. |  |
| Please provide any additional comments you may have. |  |

# Information for Operations and Planning (O&P) Reliability Standards

The description and scope of possible Non-Compliance - Describe the possible Non-Compliance including what occurred, when it happened, and any other relevant details - Describe the Facilities, elements, relays, components, or procedures subject to Non-Compliance and provide their number. - Provide the unique identifier for each Facility, element, component, or procedure subject to Non-Compliance. - Provide any additional details.

The potential impact to the electric power transmission system - Describe your entity and any relevant details related to the impact of the Non-Compliance (e.g. total load served, total generation owned, your host Transmission Owner, Reliability Coordinator, Planning Coordinator, or Transmission Planner). - Describe the Facility, elements, or components’ inherent properties (e.g. MW, MVA, voltage, generation type by fuel, historical (past two-three years) capacity factor of noncompliant generating assets, and whether they are part of designated IROLs). - What are the potential consequences of this possible Non-Compliance to the electric power transmission? - Has Registered Entity performed analytical studies (e.g. power flow)? Explain/elaborate. - Has Registered Entity reviewed historical loads? Explain/elaborate. - What is the potential reliability impact (serious/moderate/minimal)?

The likelihood and actual impact to the electric power transmission system - Explain any circumstances or existence of processes/procedures that serve to reduce the actual impact. - Explain in detail the: - Preventive controls; - Detective controls; - Corrective controls. - Explain the functionality of each control and specify whether they are software-controlled and/or staff enabled. - Explain whether any actual issues with the electric power transmission were experienced due to this Non-Compliance. - Elaborate on the inherent design of the local electric power system affected by the possible Non-Compliance. - Elaborate on the compensating controls that are used in conjunction with other controls to reduce the likelihood or magnitude of the specific threat. - Based on these controls, describe the risk posed to the reliability of the electric power transmission system (serious/moderate/minimal)?

The mitigation of possible Non-Compliance - Describe action(s) taken to restore compliance with the standard (e.g. performed missing maintenance, communicated the change to the Planning Coordinator, updated relay settings, etc.). - Provide a date when the possible Non-Compliance was remediated or is expected to be remediated. - Describe action(s) taken to address and eliminate the root cause. - Provide a date when the root cause was addressed or is expected to be addressed. - Describe other action(s) taken to prevent recurrence (e.g. implemented enhanced training, added alarms to Energy Management System, purchased compliance software solutions, updated procedures, perform monthly reviews, etc.). - Provide a date when the action(s) were taken to prevent recurrence.

# Helpful Resources

| Link | Brief Description |
| --- | --- |
| NERC Guidance on Self-Report and Mitigation Plan | Provides more in-depth questions and examples of quality self-reports |
| Quebec Reliability Standards Compliance Monitoring and Enforcement Program (QCMEP) 2022 | Outlines the agreement between Régie de l’énergie (the “Régie”), Northeast Power Coordinating Council, Inc. (“NPCC”) and the North American Electric Reliability Corporation (“NERC”) and sets out the process NPCC monitors and assesses compliance with Reliability Standards within Québec. |
| QCMEP Implementation Plan | NPCC’s priorities for the implementation of the QCMEP during the current calendar year. |

# Revision History

| Revision | Date | Author | Description of Change | Approval |
| --- | --- | --- | --- | --- |
| 1.0 | October 2025 | NPCC | Initial draft. Changed formatting, updated questions, added informational sections. | Régie de l’énergie |
| 1.1 | December 2025 | NPCC | Changed formatting and updated implementation plan. | Régie de l’énergie |
| 1.2 | January 2026 | NPCC | Added the first question to the section The description and scope of possible Non-Compliance. | Régie de l’énergie |
| 1.3 | May 2026 | NPCC | Added a question regarding possible non-compliances identified through compliance engagements and made additional changes to the General Information section. | Régie de l’énergie |