Québec Reliability Standard Audit Worksheet

TOP-003-6.1 — Transmission Operator and Balancing Authority Data and Information Specification and Collection

(This section to be completed by NPCC)

| Audit ID: | NPCC-NIRnnnn-YYYYMMDD |
| --- | --- |
| Registered Entity: | Registered name of entity being audited |
| Régie Identification Number: | NIRnnnn |
| Compliance Enforcement Authority: | Régie de l’énergie |
| Compliance Assessment Date(s): | Month DD, YYYY, to Month DD, YYYY |
| Compliance Monitoring Method: | [On-site Audit ¦ Off-site Audit ¦ Spot Check] |
| Names of Auditors: | Supplied by NPCC |

# Applicability of Requirements

|  | BA | DP | GO | GOP | LSE | PA | RC | RP | TO | TOP | TP | TSP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  |  |  |  |  |  |  |  | X |  |  |
| R2 | X |  |  |  |  |  |  |  |  |  |  |  |
| R3 |  |  |  |  |  |  |  |  |  | X |  |  |
| R4 | X |  |  |  |  |  |  |  |  |  |  |  |
| R5 | X | X | X | X |  |  |  |  | X | X |  |  |

Legend:

| Text with blue background: | Fixed text – do not edit |
| --- | --- |
| Text entry area with green background: | Registered Entity-supplied information |
| Text entry area with white background: | Auditor-supplied information |

Disclaimer

This Québec Reliability Standard Audit Worksheet (QRSAW) was developed to facilitate NPCC’s assessment of a Registered Entity’s compliance with this Reliability Standard and its Québec appendix (the Appendix). This QRSAW contains all of the same substantive questions and issues as the NERC RSAW used in the United States. QRSAW language is written to specific versions of each Reliability Standard and its Appendix. Registered Entities using this QRSAW should choose the version of the QRSAW applicable to the Reliability Standard being assessed. While the information included in this QRSAW provides some of the methodology that NPCC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements. In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this QRSAW, to determine compliance with the Reliability Standard. The Reliability Standards can be found on the Régie’s website. Additionally, Reliability Standards are updated frequently, and this QRSAW may not necessarily be updated with the same frequency. Therefore, it is imperative that entities treat this QRSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard. It is the responsibility of the Registered Entity to verify its compliance with the latest version of the Reliability Standards, approved by the applicable governmental authority, relevant to its registration status.

This QRSAW provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a Registered Entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard. A Registered Entity’s evidence submitted as per the examples contained within this QRSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NPCC reserves the right to request additional evidence from the Registered Entity that is not included in this QRSAW.

Findings

(This section to be completed by NPCC)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | Positive Observations |
| --- | --- |

Subject Matter Experts

Identify the Subject Matter Expert(s) (SME) responsible for this Reliability Standard.

Registered Entity Response (Required; insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

R1 Supporting Evidence and Documentation

- Each Transmission Operator shall maintain documented specification(s) for the data and information necessary for it to perform its Operational Planning Analyses, Real- time monitoring, and Real-time Assessments. The specification shall include, but not be limited to:

[Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

  - A list of data and information needed by the Transmission Operator to support its Operational Planning Analyses, Real-time monitoring, and Real-time Assessments including non-BES data and information, external network data and information, and identification of the entities responsible for responding to the specification as deemed necessary by the Transmission Operator.

  - Provisions for notification of current Protection System and Remedial Action Scheme (RAS) status or degradation that impacts System reliability.

  - Provisions for notification of BES generating unit(s) during local forecasted cold weather to include:

    - Operating limitations based on:

      - capability and availability;

      - fuel supply and inventory concerns;

      - fuel switching capabilities; and

      - environmental constraints

    - Generating unit(s) minimum:

      - design temperature; or

      - historical operating temperature; or

      - current cold weather performance temperature determined by an engineering analysis.

  - Identification of a mutually agreeable process for resolving conflicts.

  - Method(s) for the entity identified in Part 1.1 to provide the data and information that includes at a minimum the following.

    - Specified deadlines or periodicity which data and information is to be provided;

    - Performance criteria for the availability and accuracy of data and information as applicable;

    - Provisions to update or correct data and information, as applicable or necessary;

    - A mutually agreeable format;

    - Mutually agreeable method(s) for securely transferring data and information.

- Each Transmission Operator shall make available its dated, current, in force documented specification(s) for data and information.

Registered Entity Response (Required):

Compliance Narrative:

Provide a brief and simple explanation to demonstrate compliance with this Requirement. It is recommended to provide references to supplied evidence, including links to the appropriate page.

Evidence Requested:

Provide the following evidence, or any other evidence to demonstrate compliance.

Documented specification for the data and information necessary for the Registered Entity to perform its Operational Planning Analyses, Real-time monitoring, and Real-time Assessments.

## Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by NPCC):

Compliance Assessment Approach Specific to TOP-003-6.1, R1

(This section to be completed by NPCC)

|  | (R1) Review the documented specification and verify that it met the following criteria outlined in Requirement R1: |
| --- | --- |
|  | (Part 1.1) A list of data and information needed by the Registered Entity to support its Operational Planning Analyses, Real-time monitoring, and Real-time Assessments, including non-BES data and information, external network data and information, and identification of the Registered Entities responsible for responding to the specification as deemed necessary by the Registered Entity. |
|  | (Part 1.2) Provisions for notification of current Protection System and Remedial Action Scheme (RAS) status or degradation that impacts System reliability. |
|  | (Part 1.3) Provisions for notification of BES generating unit(s) during local forecasted cold weather including the following: |
|  | (Part 1.3.1.1) Operating limitations based on capability and availability |
|  | (Part 1.3.1.2) Operating limitations based on fuel supply and inventory concerns |
|  | (Part 1.3.1.3) Operating limitations based on fuel switching capabilities |
|  | (Part 1.3.1.4) Operating limitations based on environmental constraints |
|  | (Part 1.3.2) Generating unit(s) minimum temperature based on one of the following: |
|  | (Part 1.3.2.1) design temperature; or |
|  | (Part 1.3.2.2) historical operating temperature; or |
|  | (Part 1.3.2.3) current cold weather performance temperature determined by an engineering analysis. |
|  | (Part 1.4) Identification of a mutually agreeable process for resolving conflicts. |
|  | (Part 1.5) Method(s) for the Registered Entity identified in Part 1.1 to provide the data and information that includes at a minimum the following. |
|  | (Part 1.5.1) Specified deadlines or periodicity which data and information is to be provided; |
|  | (Part 1.5.2) Performance criteria for the availability and accuracy of data and information as applicable; |
|  | (Part 1.5.3) Provisions to update or correct data and information, as applicable or necessary; |
|  | (Part 1.5.4) A mutually agreeable format; |
|  | (Part 1.5.5) Mutually agreeable method(s) for securely transferring data and information. |
| Note to Auditor: The Transmission Operator specification(s) must request generating unit(s) minimum operating temperature. The Generator Owner has the option to establish a minimum operating temperature using the methods of 1.3.2.1 – 1.3.2.3 |  |

## Auditor Notes:

R2 Supporting Evidence and Documentation

- Each Balancing Authority shall maintain documented specification(s) for the data and information necessary for it to perform its analysis functions and Real-time monitoring. The data specification shall include, but not be limited to: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

  - A list of data and information needed by the Balancing Authority to support its analysis functions and Real-time monitoring including non-Bulk Electric System data and information, and external network data and information, as deemed necessary by the Balancing Authority, and identification of the entity responsible for responding to the specification.

  - Provisions for notification of current Protection System and Remedial Action Scheme status or degradation that impacts System reliability.

  - Provisions for notification of BES generating unit(s) status during local forecasted cold weather to include:

    - Operating limitations based on:

      - capability and availability;

      - fuel supply and inventory concerns;

      - fuel switching capabilities; and

      - environmental constraints.

    - Generating unit(s) minimum:

      - design temperature; or

      - historical operating temperature; or

      - current cold weather performance temperature determined by an engineering analysis.

  - Identification of a mutually agreeable process in resolving conflicts.

  - Methods for the entity identified in Part 2.1 to provide data and information that includes at a minimum the following.

    - Specific deadlines or periodicity in which data and information is to be provided;

    - Performance criteria for the availability and accuracy of data and information, as applicable;

    - Provisions to update or correct data and information, as applicable or necessary.

    - A mutually agreeable format.

    - A mutually agreeable method(s) for securely transferring data and information.

- Each Balancing Authority shall make available its dated, current, in force documented specification(s) for data and information.

Registered Entity Response (Required):

Compliance Narrative:

Provide a brief and simple explanation to demonstrate compliance with this Requirement. It is recommended to provide references to supplied evidence, including links to the appropriate page.

Evidence Requested:

Provide the following evidence, or any other evidence to demonstrate compliance.

Documented specification(s) for the data and information necessary for the Registered Entity to perform its analysis functions and Real-time monitoring.

## Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by NPCC):

Compliance Assessment Approach Specific to TOP-003-6.1, R2

(This section to be completed by NPCC)

|  | (R2) Review the documented specification and verify that it met the following criteria outlined in Requirement R2: |
| --- | --- |
|  | (Part 2.1) A list of data and information needed by the Registered Entity to support its analysis functions and Real-time monitoring including non‐Bulk Electric System data and information, and external network data and information, as deemed necessary by the Balancing Authority, and identification of the Registered Entity responsible for responding to the specification. |
|  | (Part 2.2) Provisions for notification of current Protection System and Remedial Action Scheme (RAS) status or degradation that impacts System reliability. |
|  | (Part 2.3) Provisions for notification of BES generating unit(s) status during local forecasted cold weather to include: |
|  | (Part 2.3.1.1) Operating limitations based on capability and availability |
|  | (Part 2.3.1.2) Operating limitations based on fuel supply and inventory concerns |
|  | (Part 2.3.1.3) Operating limitations based on fuel switching capabilities |
|  | (Part 2.3.1.4) Operating limitations based on environmental constraints |
|  | (Part 2.3.2) Generating unit(s) minimum temperature based on one of the following: |
|  | (Part 2.3.2.1) design temperature; or |
|  | (Part 2.3.2.2) historical operating temperature; or |
|  | (Part 2.3.2.3) current cold weather performance temperature determined by an engineering analysis. |
|  | (Part 2.4) Identification of a mutually agreeable process in resolving conflicts. |
|  | (Part 2.5) Methods for the Registered Entity identified in Part 2.1 to provide data and information that includes at a minimum the following: |
|  | (Part 2.5.1) Specific deadlines or periodicity in which data and information is to be provided |
|  | (Part 2.5.2) Performance criteria for the availability and accuracy of data and information, as applicable |
|  | (Part 2.5.3) Provisions to update or correct data and information, as applicable or necessary |
|  | (Part 2.5.4) A mutually agreeable format |
|  | (Part 2.5.5) A mutually agreeable method(s) for securely transferring data and information |
| Note to Auditor: The Balancing Authority specification must request generating unit(s) minimum operating temperature. The Generator Owner has the option to establish a minimum operating temperature using the methods of 2.3.2.1 – 2.3.2.3 |  |

## Auditor Notes:

R3 Supporting Evidence and Documentation

- Each Transmission Operator shall distribute its data and information specification(s) to entities that have data and information required by the Transmission Operator’s Operational Planning Analyses, Real- time monitoring, and Real-time Assessments. [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

- Each Transmission Operator shall make available evidence that it has distributed its data specification(s) to entities that have data and information required by the Transmission Operator’s Operational Planning Analyses, Real-time monitoring, and Real-time Assessments.

Such evidence could include but is not limited to web postings with an electronic notice of the posting, dated operator logs, voice recordings, postal receipts showing the recipient, date and contents, or e-mail records.

Registered Entity Response (Required):

Compliance Narrative:

Provide a brief and simple explanation to demonstrate compliance with this Requirement. It is recommended to provide references to supplied evidence, including links to the appropriate page.

Evidence Requested:

Provide the following evidence, or any other evidence to demonstrate compliance.

Evidence that the Registered Entity has distributed its data and information specification to Registered Entities that have data and information required by the Registered Entity’s Operational Planning Analyses, Real-time monitoring, and Real-time Assessments. This evidence could include, but is not limited to, 1) web postings with an electronic notice of the posting, 2) dated operator logs, 3) voice recordings, 4) postal receipts showing the recipient, date, and contents, or 5) e-mail records.

Documented specification for the data and information necessary for the Registered Entity to perform its Operational Planning Analyses, Real-time monitoring, and Real-time Assessments.

## Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by NPCC):

Compliance Assessment Approach Specific to TOP-003-6.1, R3

(This section to be completed by NPCC)

|  | (R3) Review evidence that demonstrates that the Registered Entity distributed its data specifications to other Registered Entities that have data and information required by the Registered Entity’s Operational Planning Analyses, Real-time monitoring, and Real-time Assessments. |
| --- | --- |
| Note to Auditor: |  |

## Auditor Notes:

R4 Supporting Evidence and Documentation

- Each Balancing Authority shall distribute its data and information specification(s) to entities that have data and information required by the Balancing Authority’s analysis functions and Real-time monitoring. [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

- Each Balancing Authority shall make available evidence that it has distributed its data specification(s) to entities that have data and information required by the Balancing Authority’s analysis functions and Real-time monitoring. Such evidence could include but is not limited to web postings with an electronic notice of the posting, dated operator logs, voice recordings, postal receipts showing the recipient, or e-mail records.

Registered Entity Response (Required):

Compliance Narrative:

Provide a brief and simple explanation to demonstrate compliance with this Requirement. It is recommended to provide references to supplied evidence, including links to the appropriate page.

Evidence Requested:

Provide the following evidence, or any other evidence to demonstrate compliance.

Evidence that the Registered Entity has distributed its data and information specification(s) to Registered Entities that have data and information required by the Registered Entity’s analysis functions and Real-time monitoring. This evidence could include, but is not limited to, 1) web postings with an electronic notice of the posting, 2) dated operator logs, 3) voice recordings, 4) postal receipts showing the recipient, date, and contents, or 5) e-mail records.

Documented specification(s) for the data and information necessary for the Registered Entity to perform its analysis functions and Real-time monitoring.

## Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by NPCC):

Compliance Assessment Approach Specific to TOP-003-6.1, R4

(This section to be completed by NPCC)

|  | (R4) Verify that the Registered Entity distributed its data and information specifications to other Registered Entities that have data and information required by the Registered Entity’s analysis functions and Real-time monitoring. |
| --- | --- |
| Note to Auditor: |  |

## Auditor Notes:

R5 Supporting Evidence and Documentation

- Each Transmission Operator, Balancing Authority, Generator Owner, Generator Operator, Transmission Owner, and Distribution Provider receiving a data and information specification(s) in Requirement R3 or R4 shall satisfy the obligations of the documented specifications. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning, Same-Day Operations, Real-time Operations]

- Each Transmission Operator, Balancing Authority, Generator Owner, Generator Operator, Transmission Owner, and Distribution Provider receiving a specification(s) in Requirement R3 or R4 shall make available evidence that it has satisfied the obligations of the documented specification. Such evidence could include, but is not limited to, electronic or hard copies of data transmittals or attestations of receiving entities.

Registered Entity Response (Required):

Compliance Narrative:

Provide a brief and simple explanation to demonstrate compliance with this Requirement. It is recommended to provide references to supplied evidence, including links to the appropriate page.

Evidence Requested:

Provide the following evidence, or any other evidence to demonstrate compliance.

Data and information specification(s) received Registered Entity.

Electronic or hard copies of data transmittals showing satisfaction of the Registered Entity’s obligations for the data and information specifications received or attestations of receiving Registered Entities.

## Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by NPCC):

Compliance Assessment Approach Specific to TOP-003-6.1, R5

(This section to be completed by NPCC)

|  | (R5) For all data and information specifications received by the Registered Entity, review evidence and verify that the Registered Entity satisfied its obligations under the specifications. |
| --- | --- |
| Note to Auditor: |  |

## Auditor Notes:

Additional Information

Reliability Standard

# The full text of TOP-003-6.1 may be found on the Régie de l’énergie Entities subject to reliability standards Website.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | March 2026 | Initial Document | Document Created from NERC RSAW |

Compliance Assessment Date(s): The date(s) the actual compliance assessment (on-site audit, off-site audit, spot check, etc.) occurs.